Name of journal: World Journal of Hepatology

ESPS Manuscript NO: 13602

Columns: Review

Percutaneous microwave ablation vs radiofrequency ablation in the treatment of hepatocellular carcinoma

Poulou LS et al. MWA vs RFA for HCC

Loukia S Poulou, Evanthia Botsa, Ioanna Thanou, Panayiotis D Ziakas, Loukas Thanos

Loukia S Poulou, Research Unit in Radiology and Medical Imaging, Evgenidion Hospital, National and Kapodistrian University of Athens, Athens 11528, Greece

Evanthia Botsa, First Paediatric Clinic, Agia Sofia Children’s Hospital, National and Kapodistrian University of Athens, Athens 11527, Greece

Ioanna Thanou, Loukas Thanos, Department of Medical Imaging and Interventional Radiology, Sotiria General Hospital for Chest Diseases, Athens 11527, Greece

Panayiotis D Ziakas, Division of Infectious Diseases, Warren Alpert Medical School of Brown University, Rhode Island Hospital, Providence, RI 02903, United States

Author contributions: All the authors performed the bibliographic search, wrote the paper and approved the final version.

Conflict-of-interest: The authors declare that there are no conflicts of interest.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Loukas Thanos, MD, Department of Medical Imaging and Interventional Radiology, Sotiria General Hospital for Chest Diseases, Mesogeion Av. 152, Athens 11527, Greece. loutharad@yahoo.com

Telephone: +30-210-7763362

Fax: +30-210-7707345

Received: August 28, 2014

Peer-review started: August 30, 2014

First decision: September 28, 2014

Revised: October 22, 2014

Accepted: February 9, 2015

Article in press:

Published online:

Abstract

Hepatocellular cancer ranks fifth among cancers and is related to chronic viral hepatitis, alcohol abuse, steatohepatitis and liver autoimmunity. Surgical resection and orthotopic liver transplantation have curative potential, but fewer than 20% of patients are suitable candidates. Interventional treatments are offered to the vast majority of patients. Radiofrequency (RFA) and microwave ablation (MWA) are among the therapeutic modalities, with similar indications which include the presence of up to three lesions, smaller than 3 cm in size, and the absence of extrahepatic disease. The therapeutic effect of both methods relies on thermal injury, but MWA uses an electromagnetic field as opposed to electrical current used in RFA. Unlike MWA, the effect of RFA is partially limited by the heat-sink effect and increased impedance of the ablated tissue. Compared with RFA, MWA attains a more predictable ablation zone, permits simultaneous treatment of multiple lesions, and achieves larger coagulation volumes in a shorter procedural time. Major complications of both methods are comparable and infrequent (~2%-3%), and they include haemorrhage, infection/abscess, visceral organ injury, liver failure, and pneumothorax. RFA may incur the additional complication of skin burns. Nevertheless, there is no compelling evidence for differences in clinical outcomes, including local recurrence rates and survival.

Key words: Microwave; Radiofrequency; Ablation; Hepatocellular carcinoma; Percutaneous

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: Hepatocellular carcinoma (HCC) is a common neoplasia with high morbidity and mortality. Nowadays, technologic progress has led to several diagnostic and therapeutic challenges regarding HCC, including the optimal use of percutaneous ablation methods, defining their indications and assessing the survival impact. Both radiofrequency and microwave ablation are widely used with their respective advantages and may both offer palliation or cure in the context of a multifaceted treatment approach.

Poulou LS, Botsa E, Thanou I, Ziakas PD, Thanos L. Percutaneous microwave ablation vs radiofrequency ablation in the treatment of hepatocellular carcinoma. World J Hepatol 2015; In press

EPIDEMIOLOGY OF HEPATOCELLULAR CARCINOMA

Hepatocellular carcinoma (HCC) is the most common primary liver neoplasia and a protean disease with a poor prognosis. Its incidence is estimated to range from 500000 to 1000000 cases annually, ranking it fifth across cancers worldwide[1] and third as cause of death from neoplasia[2]. HCC is more prevalent in Asia due to hepatitis B (HBV) infection endemicity and among males aged between 30 and 50 years[3]. According to National Comprehensive Cancer Network, patients at risk for HCC are those with cirrhosis related to hepatitis B and C (HBV, HCV), alcohol abuse, hereditary haemochromatosis, non-alcoholic fatty liver disease, stage 4 primary biliary cirrhosis, alpha 1 antitrypsin deficiency, or exposure to aflatoxins. The incidence of HCC has increased in the United States from 1.6 to 4.9 cases per 100000[4], and this increase is expected to continue. Plausible reasons include the effects of the HCV epidemic as well as the rise in Non-Alcoholic Steatohepatitis-associated HCC cases[4].

DIAGNOSIS AND SURVEILLANCE

Imaging is important at all stages of diagnosis, therapy and follow-up of patients with HCC. The diagnostic modalities used in the diagnosis, treatment planning, management and follow-up of HCC are Ultrasonography (US), Computed Tomography (CT) scanning and Magnetic Resonance Imaging (MRI)[5]. The European Association for the Study of the Liver (EASL) and the American Association for the Study of Liver Disease suggest US as the preferred modality for bi-annual surveillance of patients at high risk of HCC[6].

The most characteristic imaging findings of HCC on contrast-enhanced CT and MRI studies are arterial enhancement, contrast washout and pseudocapsule bright enhancement on portal, venous and delayed phase[7]. Heterogeneity, central necrosis and abnormal internal vessels are characteristic findings of large HCCs[8].

The prognosis and treatment decisions of solid tumours are generally related to tumour stage. However, prognosis for HCC patients also depends on the underlying liver function. Currently, the Barcelona Clinic Liver Cancer (BCLC) staging system[9] is widely used in clinical practice and in clinical trials. It is a staging system that also assigns treatment based on tumour stage, liver function, performance status, and treatment intent[10].

Since most HCCs develop in the setting of chronic liver disease, the risk of death involves tumour and non-tumour related factors. An HCC diagnosed as symptomatic disease has a disappointing 5-year survival of 0% to 10% [11], as opposed to early detection of small HCCs by surveillance which may be amenable to cure. The best case scenario is for a malignant nodule to be found before reaching 2 cm in size. It is crucial to diagnose HCC at an early stage, given that major advances are unlikely to emerge from treating late stage disease.

STANDARD TREATMENT

HCC treatment has a short time window before end-organ liver dysfunction leads to increased complications rate and mortality. In past years, diagnosis of HCC was made at advanced stage, with symptomatic disease and various extent of liver function compromise. As a consequence, no treatment (whether surgical resection or systemic chemotherapy) provided significant curative potential or the substantial capacity to prolong survival and the associated morbidity. Owing to the surveillance guidelines currently in place, early detection is now common, liver function is adequately preserved, symptoms are absent and several treatment options are feasible[12].

The standard treatment options of HCC consist of surgical resection, orthotopic liver transplantation, ablation, transarterial therapies (chemoembolization or radiotherapy) and chemotherapy and notably targeted molecular therapies.

Therapies with curative potential include hepatectomy, liver transplantation and percutaneous thermal ablation. The remaining options are mostly palliative, with a non-curative intent but with a positive impact on survival. For patients with solitary HCC or early multifocal disease and decompensated cirrhosis, the optimal choice is liver transplantation[13,14]. The Milan criteria applied in liver transplantation require a solitary lesion < 5 cm or up to three lesions < 3 cm[15].

Surgical resection may be warranted for patients that either do not have cirrhosis or have cirrhosis with residual liver function, normal bilirubin and hepatic vein pressure gradient < 10 mmHg. Five-year disease-free survival estimates exceeding 50% have been described for resection and liver transplantation[16,17].

Systemic chemotherapy has limited activity and is outweighed by frequent toxicity and lack of significant survival benefit[18]. Molecular targeted approaches include sorafenib, a multikinase inhibitor which has prolonged overall survival rates over placebo in a recent study[1]. Expert opinion is mandatory for the selection of candidates and their assignment to different treatments.

INTERVENTIONAL TREATMENTS

Few patients (less than 20%) are amenable to resection and transplantation due to difficulties related to size, location and number of tumours, vascular and extrahepatic involvement and functional hepatic reserve due to cirrhosis. The ultimate treatment choice for the remaining 80% is interventional therapies. In patients with early- or intermediate-stage disease, interventional therapies could control disease progression until definitive therapy or increase the patient’s eligibility for a curative treatment. In advanced disease, the main aim of treatment is to control symptoms, prolong survival, and improve quality of life[19]. Available interventional therapies include direct ablation, transarterial embolization or chemoembolization (TACE), drug-eluting beads and transarterial radioembolization.

Ablation involves the use of chemicals or thermal energy delivered directly to the tumour to achieve necrosis. The types of thermal ablation available are hyperthermic [radiofrequency ablation (RFA), microwave ablation (MWA), and laser ablation] and hypothermic (cryoablation).

Percutaneous thermal ablation, either RFA or MWA, is considered the optimal locoregional treatment choice for focal unresectable HCC of early stage, but its use has been proposed for several other clinical scenarios such as the reduction of the tumour burden and as a bridge to transplantation[20,21].

RFA VS MWA: PRINCIPLES AND APPLICATION

In RFA, an electrical current in the radiofrequency range is delivered through a needle electrode under imaging or surgical guidance, producing heat-based thermal cytotoxicity[22]. A complete electrical circuit is created and completed through grounding pads attached to the thighs or back. Temperatures range between 60 ℃ to 100 ℃ and result in almost instant coagulation necrosis[23]. These temperatures are observed near the electrode resulting in a small area of necrosis, with the larger portion of the final ablation zone being attributed to thermal conduction into more peripheral areas around the electrode[24]. Tissue boiling and charring act as electrical insulators and limit the effect of RFA through increased impedance; hence, the important tissue properties for RFA are electrical and thermal conductivity[24]. Radiofrequency ablation is also moderated by the heat-sink effect, a phenomenon that occurs when thermal energy is dispersed from the target lesion due to blood flow in the vessels adjacent to it[25]. Consequently, the shape and size of the ablation zone may be unpredictable and the efficacy of RFA may be restricted as multiple sessions are necessary for complete tumour eradication[26]. In order to attain larger necrosis volumes, numerous innovative electrode modifications are applied, such as expandable electrodes or internally cooled electrodes as well as multiple electrodes. The result is ablation zones of lesions up to 2–5 cm. A margin of 0.5–1.0 cm of healthy liver tissue is mandatory to be ablated in order to secure treatment of the peripheral tumour, including any microscopic extension beyond the radiographically visible margins[27].

RFA is more effective in HCC than in liver metastases due to the so-called “oven effect”. Owing to cirrhosis and its pseudocapsule, the surrounding fibrotic liver of HCC functions as an oven, and higher peak temperatures with prolongation of the duration of cytotoxic temperatures are achieved within the tumour[28].

MWA uses electromagnetic energy (up to 2 cm surrounding the antenna); in the absence of current flow, the electromagnetic field creates a rapid and homogeneous heating of tissue and subsequently coagulation necrosis. The best heating effect is achieved in tissues with a high content of water and the worst is observed in fat[24]. Another mechanism of MWA function is ionic polarization with conversion of kinetic energy into heat. A more homogeneous, larger ablation zone that is easily predicted is feasible and the heat-sink effect is attenuated[29,30]. One reason for the reduced heat-sink effect may be the faster heating and higher temperatures provided by microwave energy. Notably, the ablation heat beyond the microwave field is conducted in a similar way as in RFA with the heat-sink effect still present[31]. Another consequence of the different production of heat seen with MWA is that the time needed for ablation is less in MWA than that required in RFA.

MWA equipment consists of a generator and a monopolar electrode connected to the generator that is introduced to the lesion through an access needle, applying a coaxial technique[32]. The devices use frequencies higher than 900 MHz (in the United State 915 MHz and 2.54 GHz). Microwaves of 915 MHz can penetrate more deeply than 2450 MHz microwaves[33]; thus, the low frequency MWA may theoretically result in larger ablation zones. To prevent skin burns at the insertion site, internal circulation of fluid or carbon dioxide through the needle shaft is applied achieving continuous cooling[34]. As opposed to RFA, MWA permits the simultaneous treatment of multiple lesions with multiple electrodes that can produce larger ablation volumes. Each microwave application can produce a discrete focus of approximately 1.6 cm of necrosis for 120 s at 60 W[32]. In contrast to RFA, grounding pads are not needed because the completion of an electrical circuit is not required. Therefore, the presence of metallic materials like surgical clips or a pacemaker does not constitute a contraindication.

These advantages of MWA are also its flaws. The higher thermal efficiency of MWA can easily injure the adjacent critical tissues because the tissue surrounding the antenna may be ablated rapidly. Simultaneous deployment of multiple probes of microwave antennae can significantly increase the diameter of the ablation zone, whereas recession of the coagulation zone for the inter-antenna distance may not entirely cover the large tumour and result in incomplete ablation[35]. The summary comparison of the two methods is seen in Table 1.

EVOLUTION OF ELECTRODES

Since the most important disadvantage of RFA is that the temperature falls quickly as the distance from the electrode tip increases due to increased tissue impedance. Research has focused to the development of new electrodes that would overcome this limitation[36]. The evolution in RFA ablation devices and technologies has improved the results of RFA in terms of achieving a larger necrotic burden. Expandable and multitined electrodes were initially introduced which are now widely used and are adequately studied with satisfactory results. Attempts to increase ablated lesion sizes have involved the use of perfused electrodes[37], expandable-wet electrodes[38], cooled-wet electrodes[39,40]and saline-enhanced bipolar single electrodes[41].

Another technological progress in electrodes is the use of bipolar and multipolar electrodes rather than the monopolar type. In monopolar mode, the current travels outward toward a dispersive pad and the heat is diverted from the ablation site in all directions. A bipolar electrode does not require a grounding pad since both electrodes are located inside one probe and the alternative current circuit is concentrated between the probes within the target lesion only[42,43]. Additionally, one electrode is thermally shielded by the opposing electrode, an effect that results in active heating of the tissue in its proximity[44]. The heating effect is trapped between the two electrodes, producing higher temperatures and larger ablation lesions. Haemmerich et al[45] demonstrated that bipolar modes showed an improved electric potential profile and temperature distribution as compared with the monopolar mode. Multipolar mode is based on simultaneous insertion of multiple, internally cooled bipolar probes[46]. In bipolar mode, the two parallel probes should be inserted and the lesion must be between them; this is sometimes technically difficult and can cause probe insertion-related complications. Moreover, there is no way of controlling the heat generated in the vicinity of the probes. Of note, in terms of technical effectiveness, Seror et al[47] showed that multipolar ablation of small HCC lesions improves the rate of complete necrosis during pathologic examination compared with monopolar techniques.

The introduction of MRI-compatible devices providing real-time control of tissue temperature proved a useful tool and signalled an evolution in ablation techniques[48]. MRI is the only imaging modality that can provide quantitative and high spatial resolution real-time monitoring of rate-of-change temperature (and hence thermal dose) in the heated area, determining the cut-off point (or endpoint) for the application of power.

Microwave ablation is a highly effective modality, with its most important limitation being the heating of antenna shaft that results in reduced power delivery[49-52]. Some manufacturers have introduced internal or external water-cooling systems of the antenna, at the expense of increased shaft diameter and complexity[53,54]. A microwave ablation system has recently been introduced that can provide high power (140 W). It uses a small diameter antenna (17 gauge) as it incorporates a novel gas-cooling mechanism[55].

CLINICAL STUDIES OF RFA IN HCC

RFA is indicated in patients with early HCC, as staged by BCLC, who are not eligible for surgical treatment due to comorbidities, and in patients who refuse resection or when there is a need to preserve liver function[56]. The ablation success rate for lesions smaller than 2 cm reaches 90% with a local recurrence rate of 1%[57]. For this reason, RFA is considered effective for tumours < 3 cm; combined locoregional treatment should be considered for lesions > 3 cm[58]. RFA combined with TACE is recommended for tumours larger than 3 cm in diameter, but RFA may also be used for four or more nodules where applicable[59].

The main contraindications of RFA are severe bleeding diathesis (platelet count less than 50000/μL), haemostatic compromise, decompensated ascites, jaundice and presence of metallic devices such as pacemakers. Relative contraindications are lesions near the gastrointestinal tract, biliary system and heart. RFA should also be avoided for tumours within 1 cm proximity to the hepatic portal tract. Major complications include liver failure, bleeding, infection, abscesses, intercostal nerve injury, organ injury, tumour lysis syndrome and pneumothorax[60]. In a multicentre study of RFA for malignant liver tumours in 2320 patients, the rate of major complications reached 2.2%[61].

The technical effectiveness of RFA is evaluated with the use of contrast-enhanced CT or MRI. A tumour is considered successfully ablated by the lack of any enhanced regions during the arterial phase and the presence of at least a 0.5 cm margin of apparently normal surrounding hepatic tissue during the portal phase. An incomplete safety margin is shown to be an independent risk factor for local tumour progression on multivariate analysis. Nodular peripheral enhancement is suggestive of tumour viability[59].

Local recurrence rates of small HCCs after RFA were reported within the range of 1.3%–12% at 1 year, 1.7%–24% at 2 years, and 3.2% at both 5 and 10 years. Factors correlated with local recurrence included larger tumour size (diameter > 2 cm or > 3 cm), tumour without encapsulation, poorly-differentiated HCC, sub-capsular location, an ablative margin of less than 1 cm and a nearby vessel that could induce a heat-sink effect. This increase in local recurrence is presumably due to unexplored peri-tumoral satellite nodules, insufficient safety margin, or incomplete ablation. Owing to underlying advanced liver disease in the presence of HCC, additional new recurrence is very common in patients with HCC[62].

Complete tumour necrosis in early stage HCC is reported to be 80%–95% and 5%-year survival 33%–57%[63]. According to some series, percutaneous RFA show 5-year survival rates of 48%-55% in early stage HCC, and 51%-64% in Child-Pugh class A cirrhosis[64]. Patients with resectable tumours may have prolonged survival over those with non-resectable tumours; this is likely a reflection of the better physiologic state of patients deemed eligible for surgery[65].

HCC appears most commonly in patients with cirrhosis. Since these patients are not usually considered ideal candidates for surgery, it is difficult to conduct a study comparing RFA against surgery in such patients. Most reports of percutaneous RFA for HCC are single-centre retrospective studies conducted among patients not eligible for resection. Resection remains the gold standard therapy in early stage HCC. The few published studies that compared RFA to resection showed no benefit in survival rates (overall or disease-free): 4-year overall survival of 67.9% for ablation vs 64% for surgery[66]. Huang et al[67] applied the Milan criteria (no more than one HCC of 5 cm or smaller, or up to 3 HCCs measuring 3 cm or smaller) and patients were randomized to receive RFA or surgery. Significant differences were reported: 4-year and 5-year survival rates of 66% and 55% respectively for ablation vs 83% and 76% for surgery. Overall, recurrence was more frequent in the group of patients that were ablated. The limitations of this study lay in more patients being lost in follow-up in the surgery group[23].

CLINICAL STUDIES OF MWA IN HCC

Indications and contraindications for MWA are the same as those for RFA, apart from the size of a lesion that can be ablated; according to most studies, MWA can treat 5-8 cm tumours[68]. Furthermore, MWA allows simultaneous ablation of multiple tumours or even combined resection and ablation. In a multicentre effort that gathered data for patients treated with MWA for tumours of any origin, the advantages included the short total time of microwave application for each lesion (median: 4 min/lesion) and the fewer microwave applications for each ablated lesion (> 50% had one application and > 75% two applications). Of the 140 patients analysed, 114 (81.4%) patients received microwave alone, and 26 (18.6%) were treated with microwave combined with resection. Forty per cent of patients were treated with microwave for multiple tumours[31].

Major complications include bile duct stenosis, bleeding, haemothorax or intrahepatic haematoma, peritoneal haemorrhage, liver abscess, colon perforation and tumour seeding[68]. In another multicentre study, 736 patients with hepatic lesions underwent MWA; the reported rate of major complications was 2.9%. MWA was not proven to increase the risk of damage of vascular structures and/or bleeding. Minor complications included pain, post-ablation syndrome, and asymptomatic pleural effusions, which are usually self-limiting and do not require any further treatment. With the peri-procedural mortality rate being reported to be as low as < 0.01%, the safety of MWA was established[69].

MWA shares a high rate of local recurrence in HCC with all other ablation modalities. Lee et al[70] studied surgical MWA in tumours of 2–6 cm in diameter. All early postoperative CT imaging showed no residual lesions; however, on follow-up, 42% of patients experienced local tumour progression. As Lee et al[70] noted, high local tumour progression is a drawback of MWA and can be attributed to the use of a large applicator (5 mm in diameter), which increases the risk of tumour puncture and subsequent tumour seeding.

Although MWA is a new method and the cumulative reported experience is limited, there is growing interest in this modality as a treatment choice of HCC that can yield promising survival results[71,72]. The reported 1-year and 5-year survival estimates were 92.7% and 56.7%, respectively[73]. A recent multicentre study from China documented that 1007 patients with primary liver cancer treated by MWA achieved 1-year and 5-year survival rates of 91.2%, and 59.8%, respectively[72,74]. For larger tumours, (> 5 cm) the reported 5-year survival rates ranged from 29% to 68.6%.

COMPARISON OF MWA VERSUS RFA IN HCC

Obvious advantages of MWA over RFA include the capacity to heat charred tissues without increasing impedance and lower intratumoral temperature, as well as the lack of grounding pads that can cause skin burns. In addition, microwaves in animal studies seem to achieve larger ablation zones and faster ablation times[34], thereby allowing tumours to be treated with fewer applicator insertions compared to RFA[70]. The effect of MWA on perivascular tumours is also better because of the attenuated heat-sink effect[75]; consequently, microwave ablation should be preferred for tumours near the hepatic veins and inferior vena cava.

RFA appears to be effective for lesions up to 3 cm distant from the vessels due to the heat-sink effect (efficacy: 97% and 5-year survival: 68%)[76], while MWA seems to overcome size limitation of RFA treating lesions up to 7 cm, showing a faster ablation procedure, a reduced heat-sink effect and improved convection profile; however, MWA emerges as more appropriate for superficial lesions[77].

The results concerning local disease control rate of MWA vs RFA are controversial. Early reports show similar rates for local tumour control for MWA and RFA. In a retrospective comparative study of 102 patients, a complete ablation rate of 95% was reported for MWA and 93% for RFA[78]. On the other hand, Shibata et al[50] performed a randomized trial in 72 patients and reported local control rates of 89% for MWA and 96% for RFA. Overall, the published studies support the comparability of the two methods in terms of overall survival, local recurrence and complication rates (Table 2), with some notable exceptions.

One study[79] showed MWA to be superior in terms of local recurrence (3.9% vs 13.5% in the RFA group). On the contrary, Ohmoto et al[80] and Ding et al[81] describe fewer recurrences in the RFA group over MWA (9% vs 19% and 5.2% vs 10.9%, respectively). In the latter study, authors ascribe this difference to the fact that larger lesions were ablated (26.7% were > 3 cm in the MWA group as opposed to 15.3% in the RFA group). The size of the tumour lesion is a well-known factor associated with local recurrence; it seems to have played a role in different results among studies.

Across studies, the survival rates were generally comparable for MWA over RFA groups, having being reported within the range of 68%-100% at 1st year and 24%-78% at 4th year.

EVALUATION OF RESPONSE

As locoregional therapies can increase tumour dimensions due to necrosis or haemorrhage, the role of tumour size quantification in assessing tumour response in this setting is limited[15]. The modified RECIST and European Association for Study of the Liver (EASL) criteria are applied to HCC. The EASL criteria were developed in 2000 for evaluating the HCC response to locoregional therapies. Residual viable tumour tissue is defined as the arterially enhancing tissue within the treated hepatocellular carcinoma and is measured to assess treatment response. The EASL criteria use bi-dimensional measurements and categorize response in a similar way to the World Health Organization guidelines. On the other hand, modified RECIST were proposed in 2010 which quantified the longest diameter of the enhancing part of hepatocellular carcinoma, assessed in the arterial phase of CT or MR imaging and measured to avoid any major areas of intervening necrosis[82]. However, different liver tumours in the same patient may be treated at different points, and the lack of provision for that fact poses a significant limitation of all current criteria for quantifying liver tumour response to locoregional therapies. More specifically, the same patient may have both treated and untreated tumours. Nevertheless, knowledge of these criteria is necessary as they are part of a common language between radiologists and oncologists.

Evolving imaging biomarkers involve volumetric quantification, diffusion-weighted imaging of lesions and apparent diffusion coefficient values, lesion perfusion, MR spectroscopy and US and MR elastography[83]. The use of PET in the evaluation of treatment response is also increasing.

CONCLUSION

The great progress of oncology over the last few years now permits the treatment of more patients with advanced disease who were previously considered unfit for surgery or indeed any kind of palliative treatment. Locoregional treatments such as RFA and MWA constitute the backbone of interventional treatment in HCC, a malignancy that affects up to a million people per year worldwide. The two methods differ in their mechanism of action (RFA uses current as opposed to MWA that uses electromagnetic energy), with MWA having a more advantageous profile in terms of ablation volume, procedural time and simultaneous treatment of multiple lesions. However, with respect to clinical end-points, there is no solid proof as yet to support the advantage of one over the other. The evolution of devices and instruments coupled with the progress of multidisciplinary patient management may allow a better stratification that would maximize treatment benefit.

REFERENCES

1 Himoto T, Kurokohchi K, Watanabe S, Masaki T. Recent advances in radiofrequency ablation for the management of hepatocellular carcinoma. Hepat Mon 2012; 12: e5945 [PMID: 23162600 DOI: 10.5812/hepatmon.5945]

2 Parkin DM, Bray F, Ferlay J, Pisani P. Global cancer statistics, 2002. CA Cancer J Clin 2005; 55: 74-108 [PMID: 15761078 DOI: 10.3322/canjclin.55.2.74]

3 Yang JD, Roberts LR. Epidemiology and management of hepatocellular carcinoma. Infect Dis Clin North Am 2010; 24: 899-919, viii [PMID: 20937457 DOI: 10.1016/j.idc.2010.07.004]

4 Altekruse SF, McGlynn KA, Reichman ME. Hepatocellular carcinoma incidence, mortality, and survival trends in the United States from 1975 to 2005. J Clin Oncol 2009; 27: 1485-1491 [PMID: 19224838 DOI: 10.1200/JCO.2008.20.7753]

5 Ghanaati H, Alavian SM, Jafarian A, Ebrahimi Daryani N, Nassiri-Toosi M, Jalali AH, Shakiba M. Imaging and Imaging-Guided Interventions in the Diagnosis and Management of Hepatocellular Carcinoma (HCC)-Review of Evidence. Iran J Radiol 2012; 9: 167-177 [PMID: 23407596 DOI: 10.5812/iranjradiol.8242]

6 Blum HE. Hepatocellular carcinoma: HCC. Hepat Mon 2011; 11: 69-70 [PMID: 22087121]

7 Yu SC, Yeung DT, So NM. Imaging features of hepatocellular carcinoma. Clin Radiol 2004; 59: 145-156 [PMID: 14746783 DOI: 10.1016/S0009-9260(03)00316-7]

8 Lee KH, O'Malley ME, Kachura JR, Haider M, Hanbidge A. Pictorial essay. Hepatocellular carcinoma: imaging and imaging-guided intervention. AJR Am J Roentgenol 2003; 180: 1015-1022 [PMID: 12646447 DOI: 10.2214/ajr.180.4.1801015]

9 Zhang BH, Yang BH, Tang ZY. Randomized controlled trial of screening for hepatocellular carcinoma. J Cancer Res Clin Oncol 2004; 130: 417-422 [PMID: 15042359 DOI: 10.1007/s00432-004-0552-0]

10 Llovet JM, Brú C, Bruix J. Prognosis of hepatocellular carcinoma: the BCLC staging classification. Semin Liver Dis 1999; 19: 329-338 [PMID: 10518312 DOI: 10.1055/s-2007-1007122]

11 Llovet JM, Burroughs A, Bruix J. Hepatocellular carcinoma. Lancet 2003; 362: 1907-1917 [PMID: 14667750 DOI: 10.1016/S0140-6736(03)14964-1]

12 Forner A, Reig ME, de Lope CR, Bruix J. Current strategy for staging and treatment: the BCLC update and future prospects. Semin Liver Dis 2010; 30: 61-74 [PMID: 20175034 DOI: 10.1055/s-0030-1247133]

13 Mazzaferro V, Regalia E, Doci R, Andreola S, Pulvirenti A, Bozzetti F, Montalto F, Ammatuna M, Morabito A, Gennari L. Liver transplantation for the treatment of small hepatocellular carcinomas in patients with cirrhosis. N Engl J Med 1996; 334: 693-699 [PMID: 8594428 DOI: 10.1056/NEJM199603143341104]

14 Bismuth H, Majno PE, Adam R. Liver transplantation for hepatocellular carcinoma. Semin Liver Dis 1999; 19: 311-322 [PMID: 10518310 DOI: 10.1055/s-2007-1007120]

15 Bruix J, Sherman M; American Association for the Study of Liver Disease. Management of hepatocellular carcinoma: an update. Hepatology 2011; 53: 1020-1022 [PMID: 21374666 DOI: 10.1002/hep.24199]

16 Liu JH, Chen PW, Asch SM, Busuttil RW, Ko CY. Surgery for hepatocellular carcinoma: does it improve survival? Ann Surg Oncol 2004; 11: 298-303 [PMID: 14993025]

17 Yamamoto J, Iwatsuki S, Kosuge T, Dvorchik I, Shimada K, Marsh JW, Yamasaki S, Starzl TE. Should hepatomas be treated with hepatic resection or transplantation? Cancer 1999; 86: 1151-1158 [PMID: 10506698]

18 Okada S, Okazaki N, Nose H, Yoshimori M, Aoki K. Prognostic factors in patients with hepatocellular carcinoma receiving systemic chemotherapy. Hepatology 1992; 16: 112-117 [PMID: 1377657]

19 Molla N, AlMenieir N, Simoneau E, Aljiffry M, Valenti D, Metrakos P, Boucher LM, Hassanain M. The role of interventional radiology in the management of hepatocellular carcinoma. Curr Oncol 2014; 21: e480-e492 [PMID: 24940108 DOI: 10.3747/co.21.1829]

20 Gamblin TC, Geller DA. Downstaging hepatocellular carcinoma prior to liver transplantation. Liver Transpl 2005; 11: 1466-1468 [PMID: 16315292 DOI: 10.1002/lt.20528]

21 Heckman JT, Devera MB, Marsh JW, Fontes P, Amesur NB, Holloway SE, Nalesnik M, Geller DA, Steel JL, Gamblin TC. Bridging locoregional therapy for hepatocellular carcinoma prior to liver transplantation. Ann Surg Oncol 2008; 15: 3169-3177 [PMID: 18696158 DOI: 10.1245/s10434-008-0071-3]

22 Goldberg SN, Gazelle GS, Mueller PR. Thermal ablation therapy for focal malignancy: a unified approach to underlying principles, techniques, and diagnostic imaging guidance. AJR Am J Roentgenol 2000; 174: 323-331 [PMID: 10658699 DOI: 10.2214/ajr.174.2.1740323]

23 Gervais DA, Arellano RS. Percutaneous tumor ablation for hepatocellular carcinoma. AJR Am J Roentgenol 2011; 197: 789-794 [PMID: 21940565 DOI: 10.2214/AJR.11.7656]

24 Brace CL. Radiofrequency and microwave ablation of the liver, lung, kidney, and bone: what are the differences? Curr Probl Diagn Radiol 2009; 38: 135-143 [PMID: 19298912 DOI: 10.1067/j.cpradiol.2007.10.001]

25 Lu DS, Raman SS, Limanond P, Aziz D, Economou J, Busuttil R, Sayre J. Influence of large peritumoral vessels on outcome of radiofrequency ablation of liver tumors. J Vasc Interv Radiol 2003; 14: 1267-1274 [PMID: 14551273]

26 Mulier S, Ni Y, Jamart J, Ruers T, Marchal G, Michel L. Local recurrence after hepatic radiofrequency coagulation: multivariate meta-analysis and review of contributing factors. Ann Surg 2005; 242: 158-171 [PMID: 16041205]

27 Crocetti L, de Baere T, Lencioni R. Quality improvement guidelines for radiofrequency ablation of liver tumours. Cardiovasc Intervent Radiol 2010; 33: 11-17 [PMID: 19924474 DOI: 10.1007/s00270-009-9736-y]

28 Livraghi T, Goldberg SN, Lazzaroni S, Meloni F, Solbiati L, Gazelle GS. Small hepatocellular carcinoma: treatment with radio-frequency ablation versus ethanol injection. Radiology 1999; 210: 655-661 [PMID: 10207464 DOI: 10.1148/radiology.210.3.r99fe40655]

29 Simon CJ, Dupuy DE, Mayo-Smith WW. Microwave ablation: principles and applications. Radiographics 2005; 25 Suppl 1: S69-S83 [PMID: 16227498 DOI: 10.1148/rg.25si055501]

30 Yu NC, Raman SS, Kim YJ, Lassman C, Chang X, Lu DS. Microwave liver ablation: influence of hepatic vein size on heat-sink effect in a porcine model. J Vasc Interv Radiol 2008; 19: 1087-1092 [PMID: 18589324 DOI: 10.1016/j.jvir.2008.03.023]

31 Lloyd DM, Lau KN, Welsh F, Lee KF, Sherlock DJ, Choti MA, Martinie JB, Iannitti DA. International multicentre prospective study on microwave ablation of liver tumours: preliminary results. HPB (Oxford) 2011; 13: 579-585 [PMID: 21762302 DOI: 10.1111/j.1477-2574.2011.00338.x]

32 Gillams AR. Image guided tumour ablation. Cancer Imaging 2005; 5: 103-109 [PMID: 16305946 DOI: 10.1102/1470-7330.2005.0015]

33 Sun Y, Wang Y, Ni X, Gao Y, Shao Q, Liu L, Liang P. Comparison of ablation zone between 915- and 2,450-MHz cooled-shaft microwave antenna: results in in vivo porcine livers. AJR Am J Roentgenol 2009; 192: 511-514 [PMID: 19155418 DOI: 10.2214/AJR.07.3828]

34 Lubner MG, Brace CL, Hinshaw JL, Lee FT. Microwave tumor ablation: mechanism of action, clinical results, and devices. J Vasc Interv Radiol 2010; 21: S192-S203 [PMID: 20656229 DOI: 10.1016/j.jvir.2010.04.007]

35 Shi W, Liang P, Zhu Q, Yu X, Shao Q, Lu T, Wang Y, Dong B. Microwave ablation: results with double 915 MHz antennae in ex vivo bovine livers. Eur J Radiol 2011; 79: 214-217 [PMID: 20395095 DOI: 10.1016/j.ejrad.2010.03.015]

36 Curley SA. Radiofrequency ablation of malignant liver tumors. Oncologist 2001; 6: 14-23 [PMID: 11161225]

37 Kettenbach J, Köstler W, Rücklinger E, Gustorff B, Hüpfl M, Wolf F, Peer K, Weigner M, Lammer J, Müller W, Goldberg SN. Percutaneous saline-enhanced radiofrequency ablation of unresectable hepatic tumors: initial experience in 26 patients. AJR Am J Roentgenol 2003; 180: 1537-1545 [PMID: 12760914 DOI: 10.2214/ajr.180.6.1801537]

38 Miao Y, Ni Y, Yu J, Zhang H, Baert A, Marchal G. An ex vivo study on radiofrequency tissue ablation: increased lesion size by using an "expandable-wet" electrode. Eur Radiol 2001; 11: 1841-1847 [PMID: 11511912 DOI: 10.1007/s003300100891]

39 Ni Y, Miao Y, Mulier S, Yu J, Baert AL, Marchal G. A novel "cooled-wet" electrode for radiofrequency ablation. Eur Radiol 2000; 10: 852-854 [PMID: 10823647 DOI: 10.1007/s003300051018]

40 Miao Y, Ni Y, Yu J, Marchal G. A comparative study on validation of a novel cooled-wet electrode for radiofrequency liver ablation. Invest Radiol 2000; 35: 438-444 [PMID: 10901106]

41 Burdío F, Güemes A, Burdío JM, Navarro A, Sousa R, Castiella T, Cruz I, Burzaco O, Lozano R. Bipolar saline-enhanced electrode for radiofrequency ablation: results of experimental study of in vivo porcine liver. Radiology 2003; 229: 447-456 [PMID: 14512509 DOI: 10.1148/radiol.2292020978]

42 McGahan JP, Gu WZ, Brock JM, Tesluk H, Jones CD. Hepatic ablation using bipolar radiofrequency electrocautery. Acad Radiol 1996; 3: 418-422 [PMID: 8796695]

43 Curley SA, Davidson BS, Fleming RY, Izzo F, Stephens LC, Tinkey P, Cromeens D. Laparoscopically guided bipolar radiofrequency ablation of areas of porcine liver. Surg Endosc 1997; 11: 729-733 [PMID: 9214320]

44 Haemmerich D, Staelin ST, Tungjitkusolmun S, Lee FT, Mahvi DM, Webster JG. Hepatic bipolar radio-frequency ablation between separated multiprong electrodes. IEEE Trans Biomed Eng 2001; 48: 1145-1152 [PMID: 11585038 DOI: 10.1109/10.951517]

45 Haemmerich D, Tungjitkusolmun S, Staelin ST, Lee FT, Mahvi DM, Webster JG. Finite-element analysis of hepatic multiple probe radio-frequency ablation. IEEE Trans Biomed Eng 2002; 49: 836-842 [PMID: 12148822 DOI: 10.1109/TBME.2002.800790]

46 Ito N, Pfeffer J, Isfort P, Penzkofer T, Kuhl CK, Mahnken AH, Schmitz-Rode T, Bruners P. Bipolar radiofrequency ablation: development of a new expandable device. Cardiovasc Intervent Radiol 2014; 37: 770-776 [PMID: 23892758 DOI: 10.1007/s00270-013-0703-2]

47 Seror O, N'Kontchou G, Van Nhieu JT, Rabahi Y, Nahon P, Laurent A, Trinchet JC, Cherqui D, Vicaut E, Beaugrand M, Sellier N. Histopathologic comparison of monopolar versus no-touch multipolar radiofrequency ablation to treat hepatocellular carcinoma within Milan criteria. J Vasc Interv Radiol 2014; 25: 599-607 [PMID: 24529547 DOI: 10.1016/j.jvir.2013.11.025]

48 Cernicanu A, Lepetit-Coiffé M, Viallon M, Terraz S, Becker CD. New horizons in MR-controlled and monitored radiofrequency ablation of liver tumours. Cancer Imaging 2007; 7: 160-166 [PMID: 17981524 DOI: 10.1102/1470-7330.2007.0022]

49 Seki T, Wakabayashi M, Nakagawa T, Itho T, Shiro T, Kunieda K, Sato M, Uchiyama S, Inoue K. Ultrasonically guided percutaneous microwave coagulation therapy for small hepatocellular carcinoma. Cancer 1994; 74: 817-825 [PMID: 8039109]

50 Shibata T, Iimuro Y, Yamamoto Y, Maetani Y, Ametani F, Itoh K, Konishi J. Small hepatocellular carcinoma: comparison of radio-frequency ablation and percutaneous microwave coagulation therapy. Radiology 2002; 223: 331-337 [PMID: 11997534 DOI: 10.1148/radiol.2232010775]

51 Lau WY, Leung TW, Yu SC, Ho SK. Percutaneous local ablative therapy for hepatocellular carcinoma: a review and look into the future. Ann Surg 2003; 237: 171-179 [PMID: 12560774 DOI: 10.1097/01.SLA.0000048443.71734.BF]

52 Brace CL. Microwave ablation technology: what every user should know. Curr Probl Diagn Radiol 2009; 38: 61-67 [PMID: 19179193 DOI: 10.1067/j.cpradiol.2007.08.011]

53 Kuang M, Lu MD, Xie XY, Xu HX, Mo LQ, Liu GJ, Xu ZF, Zheng YL, Liang JY. Liver cancer: increased microwave delivery to ablation zone with cooled-shaft antenna--experimental and clinical studies. Radiology 2007; 242: 914-924 [PMID: 17229876 DOI: 10.1148/radiol.2423052028]

54 Cheng Z, Xiao Q, Wang Y, Sun Y, Lu T, Liang P. 915MHz microwave ablation with implanted internal cooled-shaft antenna: initial experimental study in in vivo porcine livers. Eur J Radiol 2011; 79: 131-135 [PMID: 20074887 DOI: 10.1016/j.ejrad.2009.12.013]

55 Knavel EM, Hinshaw JL, Lubner MG, Andreano A, Warner TF, Lee FT, Brace CL. High-powered gas-cooled microwave ablation: shaft cooling creates an effective stick function without altering the ablation zone. AJR Am J Roentgenol 2012; 198: W260-W265 [PMID: 22358023 DOI: 10.2214/AJR.11.6503]

56 European Association For The Study Of The Liver, European Organisation For Research And Treatment Of Cancer. EASL-EORTC clinical practice guidelines: management of hepatocellular carcinoma. J Hepatol 2012; 56: 908-943 [PMID: 22424438 DOI: 10.1016/j.jhep.2011.12.001]

57 Livraghi T, Meloni F, Di Stasi M, Rolle E, Solbiati L, Tinelli C, Rossi S. Sustained complete response and complications rates after radiofrequency ablation of very early hepatocellular carcinoma in cirrhosis: Is resection still the treatment of choice? Hepatology 2008; 47: 82-89 [PMID: 18008357 DOI: 10.1002/hep.21933]

58 Peng ZW, Zhang YJ, Chen MS, Xu L, Liang HH, Lin XJ, Guo RP, Zhang YQ, Lau WY. Radiofrequency ablation with or without transcatheter arterial chemoembolization in the treatment of hepatocellular carcinoma: a prospective randomized trial. J Clin Oncol 2013; 31: 426-432 [PMID: 23269991 DOI: 10.1200/JCO.2012.42.9936]

59 Minami Y, Kudo M. Radiofrequency ablation of hepatocellular carcinoma: a literature review. Int J Hepatol 2011; 2011: 104685 [PMID: 21994847 DOI: 10.4061/2011/104685]

60 Georgiades CS, Hong K, Geschwind JF. Radiofrequency ablation and chemoembolization for hepatocellular carcinoma. Cancer J 2008; 14: 117-122 [PMID: 18391617 DOI: 10.1097/PPO.0b013e31816a0fac]

61 Livraghi T, Solbiati L, Meloni MF, Gazelle GS, Halpern EF, Goldberg SN. Treatment of focal liver tumors with percutaneous radio-frequency ablation: complications encountered in a multicenter study. Radiology 2003; 226: 441-451 [PMID: 12563138 DOI: 10.1148/radiol.2262012198]

62 Lin SM. Local ablation for hepatocellular carcinoma in taiwan. Liver Cancer 2013; 2: 73-83 [PMID: 24159599 DOI: 10.1159/000343843]

63 Qian GJ, Wang N, Shen Q, Sheng YH, Zhao JQ, Kuang M, Liu GJ, Wu MC. Efficacy of microwave versus radiofrequency ablation for treatment of small hepatocellular carcinoma: experimental and clinical studies. Eur Radiol 2012; 22: 1983-1990 [PMID: 22544225 DOI: 10.1007/s00330-012-2442-1]

64 Buscarini L, Buscarini E. Therapy of HCC-radiofrequency ablation. Hepatogastroenterology 2001; 48: 15-19 [PMID: 11268953]

65 N'Kontchou G, Mahamoudi A, Aout M, Ganne-Carrié N, Grando V, Coderc E, Vicaut E, Trinchet JC, Sellier N, Beaugrand M, Seror O. Radiofrequency ablation of hepatocellular carcinoma: long-term results and prognostic factors in 235 Western patients with cirrhosis. Hepatology 2009; 50: 1475-1483 [PMID: 19731239 DOI: 10.1002/hep.23181]

66 Chen MS, Li JQ, Zheng Y, Guo RP, Liang HH, Zhang YQ, Lin XJ, Lau WY. A prospective randomized trial comparing percutaneous local ablative therapy and partial hepatectomy for small hepatocellular carcinoma. Ann Surg 2006; 243: 321-328 [PMID: 16495695 DOI: 10.1097/01.sla.0000201480.65519.b8]

67 Huang J, Yan L, Cheng Z, Wu H, Du L, Wang J, Xu Y, Zeng Y. A randomized trial comparing radiofrequency ablation and surgical resection for HCC conforming to the Milan criteria. Ann Surg 2010; 252: 903-912 [PMID: 21107100 DOI: 10.1097/SLA.0b013e3181efc656]

68 Liang P, Yu J, Lu MD, Dong BW, Yu XL, Zhou XD, Hu B, Xie MX, Cheng W, He W, Jia JW, Lu GR. Practice guidelines for ultrasound-guided percutaneous microwave ablation for hepatic malignancy. World J Gastroenterol 2013; 19: 5430-5438 [PMID: 24023485 DOI: 10.3748/wjg.v19.i33.5430]

69 Livraghi T, Meloni F, Solbiati L, Zanus G; Collaborative Italian Group using AMICA system. Complications of microwave ablation for liver tumors: results of a multicenter study. Cardiovasc Intervent Radiol 2012; 35: 868-874 [PMID: 21833809 DOI: 10.1007/s00270-011-0241-8]

70 Lee KF, Hui JW, Cheung YS, Wong JS, Chong CN, Wong J, Yu SC, Lai PB. Surgical ablation of hepatocellular carcinoma with 2.45-GHz microwave: a critical appraisal of treatment outcomes. Hong Kong Med J 2012; 18: 85-91 [PMID: 22477730]

71 Martin RC, Scoggins CR, McMasters KM. Safety and efficacy of microwave ablation of hepatic tumors: a prospective review of a 5-year experience. Ann Surg Oncol 2010; 17: 171-178 [PMID: 19707829 DOI: 10.1245/s10434-009-0686-z]

72 Liang P, Wang Y, Yu X, Dong B. Malignant liver tumors: treatment with percutaneous microwave ablation--complications among cohort of 1136 patients. Radiology 2009; 251: 933-940 [PMID: 19304921 DOI: 10.1148/radiol.2513081740]

73 Dong B, Liang P, Yu X, Su L, Yu D, Cheng Z, Zhang J. Percutaneous sonographically guided microwave coagulation therapy for hepatocellular carcinoma: results in 234 patients. AJR Am J Roentgenol 2003; 180: 1547-1555 [PMID: 12760916 DOI: 10.2214/ajr.180.6.1801547]

74 Liang P, Yu J, Yu XL, Wang XH, Wei Q, Yu SY, Li HX, Sun HT, Zhang ZX, Liu HC, Cheng ZG, Han ZY. Percutaneous cooled-tip microwave ablation under ultrasound guidance for primary liver cancer: a multicentre analysis of 1363 treatment-naive lesions in 1007 patients in China. Gut 2012; 61: 1100-1101 [PMID: 21997552 DOI: 10.1136/gutjnl-2011-300975]

75 Liang P, Wang Y. Microwave ablation of hepatocellular carcinoma. Oncology 2007; 72 Suppl 1: 124-131 [PMID: 18087193 DOI: 10.1159/000111718]

76 Lencioni R, Crocetti L. Local-regional treatment of hepatocellular carcinoma. Radiology 2012; 262: 43-58 [PMID: 22190656 DOI: 10.1148/radiol.11110144]

77 Donati M, Basile F. New trends in the multidisciplinary treatment of liver tumors. Future Oncol 2013; 9: 1093-1096 [PMID: 23902241 DOI: 10.2217/fon.13.127]

78 Lu MD, Xu HX, Xie XY, Yin XY, Chen JW, Kuang M, Xu ZF, Liu GJ, Zheng YL. Percutaneous microwave and radiofrequency ablation for hepatocellular carcinoma: a retrospective comparative study. J Gastroenterol 2005; 40: 1054-1060 [PMID: 16322950 DOI: 10.1007/s00535-005-1671-3]

79 Abdelaziz A, Elbaz T, Shousha HI, Mahmoud S, Ibrahim M, Abdelmaksoud A, Nabeel M. Efficacy and survival analysis of percutaneous radiofrequency versus microwave ablation for hepatocellular carcinoma: an Egyptian multidisciplinary clinic experience. Surg Endosc 2014; 28: 3429-3434 [PMID: 24935203 DOI: 10.1007/s00464-014-3617-4]

80 Ohmoto K, Yoshioka N, Tomiyama Y, Shibata N, Kawase T, Yoshida K, Kuboki M, Yamamoto S. Comparison of therapeutic effects between radiofrequency ablation and percutaneous microwave coagulation therapy for small hepatocellular carcinomas. J Gastroenterol Hepatol 2009; 24: 223-227 [PMID: 18823439 DOI: 10.1111/j.1440-1746.2008.05596.x]

81 Ding J, Jing X, Liu J, Wang Y, Wang F, Wang Y, Du Z. Comparison of two different thermal techniques for the treatment of hepatocellular carcinoma. Eur J Radiol 2013; 82: 1379-1384 [PMID: 23726122 DOI: 10.1016/j.ejrad.2013.04.025]

82 Lencioni R, Llovet JM. Modified RECIST (mRECIST) assessment for hepatocellular carcinoma. Semin Liver Dis 2010; 30: 52-60 [PMID: 20175033 DOI: 10.1055/s-0030-1247132]

83 Gonzalez-Guindalini FD, Botelho MP, Harmath CB, Sandrasegaran K, Miller FH, Salem R, Yaghmai V. Assessment of liver tumor response to therapy: role of quantitative imaging. Radiographics 2013; 33: 1781-1800 [PMID: 24108562 DOI: 10.1148/rg.336135511]

84 Xu HX, Xie XY, Lu MD, Chen JW, Yin XY, Xu ZF, Liu GJ. Ultrasound-guided percutaneous thermal ablation of hepatocellular carcinoma using microwave and radiofrequency ablation. Clin Radiol 2004; 59: 53-61 [PMID: 14697375]

85 Simo KA, Sereika SE, Newton KN, Gerber DA. Laparoscopic-assisted microwave ablation for hepatocellular carcinoma: safety and efficacy in comparison with radiofrequency ablation. J Surg Oncol 2011; 104: 822-829 [PMID: 21520094 DOI: 10.1002/jso.21933]

86 Zhang L, Wang N, Shen Q, Cheng W, Qian GJ. Therapeutic efficacy of percutaneous radiofrequency ablation versus microwave ablation for hepatocellular carcinoma. PLoS One 2013; 8: e76119 [PMID: 24146824 DOI: 10.1371/journal.pone.0076119]

P- Reviewer: Chen CH      S- Editor: Gong XM

L- Editor: E- Editor:

Table 1 Comparison of radiofrequency over microwave ablation methods

| RFA | MWA |
| --- | --- |
| Electric current | Electromagnetic energy |
| Grounding pads (risk of burns due to ground pads) | No grounding pads (no risk of burns) |
| Tissue charring and boiling cause increase of impedance that reduce electrical and thermal conductivity | Rapid and homogeneous heating+ ionic polarization |
| Lower intratumoral temperatures | Higher intratumoral temperatures |
| More peri-procedural pain | Less peri-procedural pain |
| Unpredictable ablation zone | More predictable ablation zone |
| Heat-sink effect | Less susceptible to heat-sink effect |
| Single lesion can be treated | Simultaneous treatment of multiple lesions |
| More procedural time | Shorter procedural time |
| Less ablation volume | Larger ablation volume |
| Similar complications and complication rate |
| Surgical clips or pacemaker are contraindications | Surgical clips or a pacemaker not a contraindication |

RFA: Radiofrequency; MWA: Microwave ablation.

Table 2 Comparison of clinical outcomes across published series of hepatocellular carcinoma patients for microwave ablation over radiofrequency

|  |  |  |  |  |  |  |  |  |  | Overall survival |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ref. | Method | Guidance | Patients | Lesions | Age | Time | Size in cm | Complete Ablation (%) | Local recurrence (%) | 1 yr (%) | 2 yr (%) | 3 yr (%) | 4 yr (%) | 5 yr (%) | Median (months) |
| Shibata et al[50] | MWA | Percutaneous | 36 | 46 | 62.5 | - | < 4 | 89 | 17.4 | - | - | - | - | - | - |
|  | RFA | Percutaneous | 36 | 48 | 63.6 | - | < 4 | 96 | 8.3 | - | - | - | - | - | - |
| Xu et al[84] | MWA | Percutaneous | 54 | 112 | 53.4 | - | 2.5 +/-1.1 | 94.6 | 7.1 | - | - | - | - | - | - |
|  | RFA | Percutaneous | 43 | 78 | 53.4 | - | 2.6 +/-1.4 | 89.7 | 12.8 | - | - | - | - | - | - |
| Simo et al[85] | MWA | Laparoscopic, US | 13 | 15 | 59 | 8-10 min | 2.31 | - | - | - | - | - | - | - | 7 |
|  | RFA | Laparoscopic, US | 22 | 27 | 59 | 10-12 min | 2.53 | - | - | - | - | - | - | - | 19 |
| Lu et al[78] | MWA | Percutaneous, US | 49 | 98 | - | 5 min | 3(25/49) | 94.9 | 11.8 | 81.6 | 61.2 | 50.5 | 36.8 | - | 32.5 |
|  | RFA | Percutaneous, US | 53 | 72 | - | 10 min | 3(32/53) | 93.1 | 20.9 | 71.7 | 47.2 | 37.6 | 24.2 |  | 27,1 |
| Qian et al[63] | MWA | Percutaneous, US | 22 | 22 | - | - | 4.8 | 95.5 | 18 | - | - | - | - | - | - |
|  | RFA | Percutaneous, US | 20 | 20 | - | - | 3.5 | 95 | 15 | - | - | - | - | - | - |
| Zhang et al[86] | MWA | Percutaneous, US | 77 | 105 | 54 +/-9.5 | 8 min | 3(36) -5(41) | 86.7 | 10.5 | 92.2 | - | 51.7 | - | 38.5 | - |
|  | RFA | Percutaneous, US | 78 | 97 | 54 +/-10.5 | 6-20 min | 3(47) -5(31) | 83.4 | 11.8 | 91 | - | 64.1 | - | 41.3 | - |
| Abdelaziz et al[79] | MWA | Percutaneous | 66 | - | 53.5 +/-5 | - | 2.9+/-0.97 | 96.1 | 3.9 | 96.4 | 62 | - | - | - | - |
|  | RFA | Percutaneous | 45 | - | 56.8 +/-7.3 | - | 2.95 +/ 1.03 | 94.2 | 13.5 | 67.6 | 47.4 | - | - | - | - |
| Ding et al[81] | MWA | Percutaneous | 85 | 98 | 59 | 10 | < 3 | 98.5 | 10.9 | 98.7 | 92.3 | 82.7 | 77.8 | - | 45.34 |
|  | RFA | Percutaneous | 113 | 131 | 58.6 | 12 | < 3 | 99 | 5.2 | 98 | 90.7 | 77.6 | 77.6 | - | 52.99 |
| Ohmoto et al[80] | MWA | Percutaneous | 49 | 56 | 64 |  | < 2 |  | 19 | 89 | 70 | 49 | 39 | - | - |
|  | RFA | Percutaneous | 34 | 37 | 67 |  | < 2 |  | 9 | 100 | 83 | 70 | 70 | - | - |

MWA: Microwave ablation; RFA: Radiofrequency; US: Ultrasonography.