Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 22123

Manuscript Type: ORIGINAL ARTICLE

Clinical Trials Study

Diagnostic value of high-resolution micro-endoscopy for classification of colon polyps

Tan T et al. High-resolution micro-endoscopy for classification of colon polyps

Tao Tan, Ya-Wei Qu, Juan Shu, Min-Li Liu, Ling Zhang, Hai-Feng Liu

Tao Tan, Ya-Wei Qu, Juan Shu, Min-Li Liu, Ling Zhang, Hai-Feng Liu, Department of Gastroenterology, General Hospital of Chinese People’s Armed Police Forces, Beijing 100039, China

Author contributions: Liu HF designed the study; Tan T and Qu YW performed the research; Shu J, Liu ML and Zhang L selected the images and analyzed the data; Tan T wrote the paper.

Institutional review board statement: This study was approved by the General Hospital of Chinese people’s Armed police Forces Institutional Review Board.

Clinical trial registration statement: This registration policy applies to Clinical Trials Study.

Informed consent statement: All Study participants, or their legal guardian, provided informed written consent prior to study enrollment.

Conflict-of-interest statement: No potential conflicts of interest relevant to this article were reported.

Data sharing statement: No additional data are available.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CCBY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creative commons.org/licenses/by-nc/4.0/

Correspondence to: Hai-Feng Liu, MD, Department of Gastroenterology, General Hospital of Chinese People’s Armed Police Forces, No. 69 Yongding Road, Haidian District, Beijing 100039, China. haifengliu333@163.com

Telephone: +86-10-57976547

Fax: +86-10-57976549

Received: August 16, 2015

Peer-review started: August 17, 2015

First decision: October 14, 2015

Revised: October 19, 2015

Accepted: November 9, 2015

Article in press:

Published online:

Abstract

AIM: To study a new imaging equipment high-resolution micro-endoscopy (HRME) in diagnosis of pathological classification of colon polyps.

METHODS: We selected 114 specimens of colon polyps, 30 of which were colon polyps with known pathological types and 84 of which were prospective polyp specimens; 10 normal colon mucosa specimens served as controls. We obtained images of 30 colon polyp specimens with known pathological types using HRME and analyzed the characteristics of these images to develop HRME diagnostic criteria for different pathological types of colon polyps. Based on these criteria, we performed a prospective study of 84 colon polyp specimens using HRME and compared the results to those of the pathological examination to evaluate the diagnostic value of HRME in the pathological classification of different types of colon polyps.

RESULTS: In the 30 cases of known pathological type of colon polyp samples, adenomatous polyps have 21 cases, of which nine cases of tubular adenoma, seven cases of villous adenoma and five cases of mixed adenomas. Nine cases of non-adenomatous polyps, including four cases of inflammatory polyps and hyperplastic polyps five cases. 10 cases of normal colonic mucosa were confirmed by pathology of chronic inflammation. In a prospective study of 84 cases. By using HRME, 23 cases were diagnosised as inflammatory polyps, 11 cases as hyperplastic polyps, 18 cases as tubular adenoma, 8 cases as villous adenoma and 24 cases as mixed adenomas. After pathological examination, 24 cases were diagnosised as inflammatory polyps, 11 cases as hyperplastic polyps, 19 cases as tubular adenoma, 8 cases as villous adenoma and 22 cases as mixed adenomas. Compared to pathological examinations, the sensitivities, specificities, accuracies, and positive and negative predictive values of HRME in diagnosing inflammatory polyps (87.5%, 96.7%, 94.0%, 91.3%, 95.1%), hyperplastic polyps (72.7%, 95.9%, 86.9%, 72.7%, 95.9%), tubular adenomas (73.7%, 93.8%, 77.4%, 77.8%, 92.4%), villous adenomas (75.0%, 97.4%, 90.1%, 75.0%, 97.4%), and mixed adenomas (81.2%, 90.3%, 73.4%, 75.0%, 93.3%) were relatively high.

CONCLUSION: HRME has a relatively high diagnostic value in pathological classification of colon polyps. It may be an alternative to confocal microendoscopy in lower-resource or community-based settings.

Keywords: High-resolution micro-endoscopy; Colon polyps; Pathology; Diagnostic criteria

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: High-resolution micro-endoscopy (HRME) is a new imaging method that can achieve cytology imaging, which can obtain real time pathology diagnosis. In this study, we summed up HRME diagnostic criteria for pathological types of colon polyps. According to the criteria, we made a prospective study of the diagnostic value of colon polyps by using HRME. The results showed that, HRME has a relatively high diagnostic value in the pathological classification of colon polyps. This low cost microendoscopic platform may be an alternative to confocal microendoscopy in lower-resource or community-based settings.

Tan T, Qu YW, Shu J, Liu ML, Zhang L, Liu HF. Diagnostic value of high-resolution micro-endoscopy for classification of colon polyps. World J Gastroenterol 2015; In press

INTRODUCTION

Colon polyps are common diseases of the gastrointestinal system[1-3]. Generally, colon polyps can be divided into adenomatous polyps and nonadenomatous polyps. Adenomatous polyps have evil change tendency, but nonadenomatous polyps have no this evil change tendency. At present, diagnosis of colon polyps depends mainly on conventional white light endoscopy (WLE), which, however, cannot directly identify the pathological types of colon polyps[1-3]. When we find polyps, we usually use endoscopic resection (endoscopic mucosal resection or endoscopic submucosal dissection, etc.), and then remove the polyp tissues for pathology examination to determine its pathological types. This method will increase the risk of bleeding and perforation and it is unnecessary for nonadenomatous polyps. At the same time, it also increased the cost of time and money for patients.

Therefore, we need a new endoscopic technique, able to timely, accurately and quickly to judge the pathological types of colon polyps, to reduce unnecessary biopsies and costs. This technique can even realized optical biopsy under endoscopy.

High-resolution micro-endoscopy (HRME) is a new imaging technique that allows real-time pathological diagnoses by means of nuclear imaging[4,5]. Recently, some scholars applied this technique in clinical trials and achieved satisfactory outcomes[6,7]. Based on the experiences of other investigators, we designed an HRME imaging system. In order to verify the effectiveness of this kind of imaging system in clinical practice, we selected ex vivo colon polyp specimens as our subjects and performed HRME imaging of these specimens and analyzed different types of colon polyps in order to develop preliminary diagnostic criteria for HRME. In addition, we compared the results of HRME with those of the pathological examination to evaluate the value of this imaging system in the diagnosis of different types of colon polyps.

MATERIALS AND METHODS

Objects

The present study included 114 patients diagnosed with colon polyps who underwent electronic colonoscopy between August 2014 and November 2014 in the Gastrointestinal Endoscopy Center of the General Hospital of Chinese People’s Armed Police Forces. We obtained 114 polyp specimens via electrocoagulation, endoscopic mucosal resection (EMR), or endoscopic submucosal dissection (ESD) and observed the specimens ex vivo using HRME. In addition, we obtained 10 normal colon mucosa specimens by biopsy. The study was supported by the hospital ethics committee.

General methods

HRME system: We used our self-developed HRME imaging system in the present study. This system included a 30 000-pixel optical fiber 1.8 m in length, a 10 × microscope lens, a 500-nm dichroscope, an optical filter, a three-dimensional combined translation stage, a scientific-grade cooled CCD camera, and image-processing software. During the imaging process, images were transferred to the computer at a rate of 17 frames/s.

The probe used in the current study provides a 720μm diameter field-of-view with 4.4μm spatial resolution (Figure 1).

Reagents: Reagents used included the following: 0.01% proflavine hydrochloride (Sigma Company, United States), normal saline (Chen Xin Pharmaceutical Company, Beijing, China), pronase particles (Beijing Tide Pharmaceutical Company, Beijing, China), and sodium bicarbonate (Beijing Tide Pharmaceutical Company, Beijing, China).

Imaging methods: Routine bowel preparation was carried out for all patients before inspection because during the inspection the bowel should be clean. Endoscopic resection was performed on colon polyps found during WLE, and imaging of the specimens then was carried out using HRME.

For HRME sample pretreatment, we washed the removed polyp and biopsy specimens with normal saline slowly to remove fecal residue on the surface and then washed the polyp and biopsy specimens repeatedly with a solution containing pronase and sodium bicarbonate to take away the mucus on the surface. The specimens were washed with normal saline again and were wiped with dry cotton balls.

As noted, we established an imaging system and activated the imaging software. We adjusted the focus so that each pixel could be identified clearly in the field of view, which was defined as the optimal imaging state.

For image processing, we placed a specimen on the imaging plate and topically sprayed the specimen with 2-3 mL of 0.01% proflavine hydrochloride. After 30 s, the specimen was washed with phosphate-buffered saline to remove the stain, and the liquid on the surface was gently wiped with dry cotton balls. The surface of the specimen was observed from different angles using the cephalic end of the optical fiber. Each imaging site was marked and recorded during imaging process in order to ensure the same site observed by HRME and pathology. Clear images were retained for subsequent analysis.

Pathological examination: After imaging, each site of imaging tissues was removed for pathologic examination. In pathological process, we used the transverse section slices instead of longitudinal section. Pathological diagnosis divided colon polyps into adenomatous polyps (tubular adenomas, villous adenomas, and mixed adenomas) and nonadenomatous polyps (inflammatory polyps and hyperplastic polyps). Pathological diagnosis was completed by two pathologists.

HRME diagnosis: HRME diagnosis proceeded as follows: First, we established the diagnostic criteria. Retrospective analysis was carried out for HRME imaging of 30 colon polyp specimens, and HRME diagnostic criteria were established according to the characteristics of various images for different pathological types of colon polyps.

According to the established diagnostic criteria, we carried out a prospective study of high-resolution micro-endoscopic imaging for 84 colon polyp specimens and compared the results with those of the pathological examination in order to evaluate the sensitivities, specificities, accuracies, positive predictive values and negative predictive values of HRME in diagnosing various types of colon polyps.

The entire process of HRME imaging was completed within 15 minutes. The specimens were examined by 2 systemically trained doctors together. The result of image analysis was compared with that following the pathological examination. The image analysis was carried out in a double-blind mode.

Statistical analysis

We used SPSS 17.0 (IBM, Armonk, NY, USA) for data analysis. Data in the present study were analyzed using the fourfold table test. We calculated the sensitivities, specificities, accuracies, and positive and negative predictive values of HRME in diagnosing inflammatory polyps, hyperplastic polyps, tubular adenomas, villous adenomas, and mixed adenomas.

RESULTS

General conditions

Among 114 patients, 77 were males and 37 were females (male: female ratio = 2.1: 1). The mean age was 48.4 ± 5.3 year (range, 19–81 year). Polyp diameters ranged from 0.6 to 4.2 cm. Among 30 colon polyp specimens with known pathological types, 21 were adenomatous polyps and included 9 cases of tubular adenomas, 7 cases of villous adenomas, and 5 cases of mixed adenomas; 9 cases were nonadenomatous polyps and included 4 cases of inflammatory polyps and 5 cases of hyperplastic polyps. Ten normal colon mucosa specimens were proved by pathological examination to have chronic inflammation.

HRME diagnostic criteria for colon polyps

HRME identifies the target tissue by observing the size, morphology, arrangement, and glandular structures of the nucleus and calculating the nuclear–cytoplasmic ratio of the region of interest. The image characteristics of colon polyps with different pathological types were analyzed and summarized to develop initial HRME diagnostic criteria. For inflammatory polyps, the nuclei had the same size and regular round, oval, and daisy-like glandular structures (Figure 2A). For hyperplastic polyps, the size, morphology, and cavity diameter of the glands were slightly curved and dilated, or expanded epithelia were observed occasionally (Figure 2B). For tubular adenomas, there were relatively many linear crypts: The glands were enlarged, parallel arrangement of the nuclei with dilated openings was observed occasionally, and the glands were tubelike in shape (Figure 2C). For villous adenomas, there were extra widened or even open crypts like the tubular adenoma, the lengths of glands were different, and villouslike structures were observed (Figure 2D). For mixed adenomas, the characteristics of the mixed adenoma fell between those of villous ademonas and those of tubular adenomas (Figure 2E).

Results of the prospective study using HRME

Among 84 cases enrolled in the prospective study, HRME showed that 50 specimens were adenomatous polyps, including 18 cases of tubular adenomas, 8 cases of villous adenomas, and 24 cases of mixed adenomas, and that 34 specimens were nonadenomatous polyps, including 23 cases of inflammatory polyps and 11 cases of hyperplastic polyps. The pathological examination showed that 49 specimens were adenomatous polyps, including 19 cases of tubular adenomas, 8 cases of villous adenomas, and 22 cases of mixed adenomas, and that 35 specimens were nonadenomatous polyps, including 24 cases of inflammatory polyps and 11 cases of hyperplastic polyps (Table 1). Statistical analysis showed that the sensitivities, specificities, accuracies, positive predictive values (PPV), and negative predictive values (NPV) of HRME were relatively high in diagnosing inflammatory polyps (87.5%, 96.7%, 94.0%, 91.3%, and 95.1%, respectively), hyperplastic polyps (72.7%, 95.9%, 86.9%, 72.7%, and 95.9%, respectively), tubular adenomas (73.7%, 93.8%, 77.4%, 77.8%, and 92.4%, respectively), villous adenomas (75.0%, 97.4%, 90.1%, 75.0%, and 97.4%, respectively) and mixed adenomas (81.2%, 90.3%, 73.4%, 75.0%, and 93.3%, respectively) (Table 2).

DISCUSSION

Colon polyps are abnormal growths that arise from the mucosa of the colon and protrude into the lumen. Moreover, colon polyps are the most common benign tumors in the colon[1-3,20]. Substantial clinical, pathological, and epidemiological data have suggested that the incidence of adenomas developing into colon cancer is 1.5%–9.4% and that the process of oncogenesis requires 8–10 year[8,9]. Clinical studies have proved that about 80% of colon cancers develop from colon adenomas and that the incidence of colon cancer in patients with colon adenomas is 4 times that in the normal population[10]. Therefore, physicians must learn the clinical and pathological characteristics of colon polyps to prevent colon cancer and reduce its incidence and mortality.

Based on histopathological features, colon polyps are divided into nonadenomatous polyps and adenomas[10,11,20]. Nonadenomatous polyps include inflammatory polyps, hyperplastic polyps, hamartomatous polyps, etc. Adenomas polyps include tubular adenomas, villous adenomas, and tubular–villous adenomas (mixed type). At present, the process of adenoma–carcinoma transition has been proved by molecular studies that showed that the oncogenesis of adenomatous polyps is closely related to their size, morphology, and pathological types[12]. Therefore, clinicians need early identification of the pathological types of adenomatous polyps[10-12]. The results of the present study showed that HRME was highly effective in diagnosing tubular adenomas, villous adenomas, and mixed adenomas. Compared with histopathological examination, HRME has advantages such as simple operation, short process time, low cost, and real-time pathological imaging. Therefore, we believe that HRME has an important value in identifying the pathological types of colon polyps[6,13,14]. Because the sample size in the present study was limited and the training of personnel participating in the study was not homogeneous, large-sample studies should be carried out, and personnel training should be improved to make the results more reliable.

HRME is a new imaging method based on high-resolution fiber optics and molecular imaging techniques. It can perform real-time imaging of the target tissue and thereby achieve tissue imaging at the cellular level[4]. HRME uses a light-emitting diode as an excitation source to emit light. The excitation light is filtered by an optical filter to form a narrow-band excitation light that is focused by the objective lens and is conducted through the high-resolution optic fiber to reach the targeted tissue and to produce a fluorescent signal. The fluorescent signal returns via the optical fiber and is magnified by the objective lens. The excitation light and the fluorescent signal are separated by a dichroscope, and only the fluorescent signal is conducted to the charge-coupled device (CCD) chip for imaging. The cytological images of the target tissue are thus obtained. When we found lesions under white light endoscopy, we cannot judge the character of lesions right now. At this time, we can use HRME for lesions imaging, because of the instant histopathological characteristics of HRME, so we can make an accurate judgment for lesion properties at the first time and it will help doctors to make the best the choice of treatment.

Recently, some scholars used the HRME technique for in vivo histopathological imaging, and the results suggested a favorable future for the application of HRME[15-19]. Perhaps high-resolution fiber optics can be combined with endoscopy during clinical practice to develop images of the target lesions. In 2014, Vila et al[15] combined HRME with WLE to observe Barrett mucosa–associated tumors and achieved satisfactory results. In 2012, Pierce[7] combined HRME with colonoscope for real-time imaging of the cervical epithelia and found that the efficacy of diagnosis was improved. In addition, some scholars combined HRME with cystoscopy and bronchoscopy to directly observe cellular changes in target lesions. They found that HRME was quite useful in guiding biopsy and in identifying the surgical margin[7,16,19].

At present, the study of HRME is still in the preclinical stage. Although many studies have suggested its promising future, this kind of new technique still has some shortcomings[4,15-19]. The limitations of HRME are as follows. First, HRME is a small-field-of-view imaging equipment and the field of imaging is only about 720 (m, so it can not realize macroscopic imaging for lesions. Because of this limitation, HRME can only be used for further detailed check of the suspicious lesion after wide field endoscopic examination. Second, HRME is a microscopic imaging method, subtle movement in the process of imaging, such as breathing and heartbeat, could produce motion artifacts, so it is more difficult to handle HRME than white light endoscopy. Third, the lack of contrast agents is a major problem for HRME. Recently, more and more studies have examined specific contrast agents developed for certain molecules. These specific contrast agents can be used in HRME imaging and can obtain quantitative and qualitative data to improve the diagnostic rate for certain diseases. To date, no unified standard describes lesions observed during HRME, which limits the clinical application of this imaging technique. In the present study, we used HRME in the imaging of colon polyps, developed diagnostic criteria for different types of colon polyps, and laid a foundation for future research.

How to connect HRME diagnosis with pathological diagnosis is the focus of HRME imaging. Because HRME only observed tissue surface, therefore, in the pathological process, we must ensure that it is a transverse section instead of longitudinal section. In this study, all of the specimens for pathological examinations were made with transverse sections. This is the true sense of point-to-point biopsy.

The limitations of this study are as follows. First, in this study we used HRME to image for ex vivo specimens of colon polyps, but we didn’t make an in vivo study. Second, fluorescence imaging agents used in the study is proflavine hydrochloride, it can combine with the DNA and RNA in the nucleus. But proflavine hydrochloride is a kind of nonspecific fluorescence imaging agents, it cannot be used in targeted imaging of lesions. Finally, a part of specimens were used in the study came from biopsy, due to the small size of biopsy specimens, it is difficult to rinse off completely and it affected the imaging effect, thus influenced the outcome of the preliminary diagnosis.

So far, the diagnostic value of HRME is still in preclinical stage, although it shows a good prospect of clinical application. Because HRME imaging equipment is not perfect enough, so it is not widely used in clinical. The practicability and diagnostic accuracy of HRME need further randomized controlled trials to validate and it plays an important role in the clinical application of HRME.

In conclusion, HRME is a newly developed imaging tool that shows promise for imaging at the cellular and subcellular levels and potentially can carry out real-time pathological imaging in target tissues[4,5,7,15-19]. Preclinical studies have verified that this technique has relatively high sensitivity, specificity, and accuracy, which suggest a promising future in clinical practice[6,7,13-19]. Future research should improve this imaging system continuously and should involve the development of new contrast agents that facilitate the combination of this technique with endoscopy.

ACKNOWLEDGMENTS

I would like to thank Professor Liu for design and guidance of the subject and I also thank all group members for their efforts and perseverance.

COMMENTS

Background

Colon polyps are the most common benign tumors in the colon. Substantial clinical, pathological, and epidemiological data have suggested that the incidence of adenomas developing into colon cancer is 1.5%–9.4%. Clinical studies have proved that about 80% of colon cancers develop from colon adenomas and that the incidence of colon cancer in patients with colon adenomas is 4 times that in the normal population. White light endoscopy is the most common method to diagnosis colon polyps, which, however, cannot directly identify the pathological types of colon polyps. Pathological examination needs much more money and time.

Research frontiers

This study developed a new, low-cost imaging equipment (HRME) to image colon polyps. The characteristics of colon polyps in HRME was not studied before. This study summarized HRME characteristics of different pathological types of colon polyps and evaluated the diagnostic value of HRME in the pathological classification of different types of colon polyps.

Innovations and breakthroughs

We summarized HRME diagnostic criteria for colon polyps. We are able to timely, accurately and quickly to judge the pathological types of colon polyps in the future.

Applications

HRME can be used in many fields. It can quickly and accurately distinguish the benign and malignant lesions, thereby reducing waiting time for pathology.

Terminology

HRME: A new imaging method based on high-resolution fiber optics and molecular imaging techniques. It can perform real-time imaging of the target tissue and thereby achieve tissue imaging at the cellular level. It identifies the target tissue by observing the size, morphology, arrangement, and glandular structures of the nucleus and calculating the nuclear–cytoplasmic ratio of the region of interest.

Peer-review

Overall, this is an interesting study which shows clearly that HRME has a relatively high diagnostic value in pathological classification of colon polyps.

REFERENCES

1 Solakoglu T, Atalay R, Koseoglu H, Ozer Sarı S, Demirezer Bolat A, Akın E, Yurekli OT, Selvi E, Buyukaşık Ş, Ersoy O. Analysis of 2222 colorectal polyps in 896 patients: a tertiary referreal hospital study. Turk J Gastroenterol 2014; 25: 175-179 [PMID: 25003678 DOI: 10.5152/tjg.2014.5059]

2 Bertolini J, Wittekind C. Large adenomas of the colon and rectum--specific features of the diagnostics. Zentralbl Chir 2013; 138 Suppl 2: e70-e74 [PMID: 22174119 DOI: 10.1055/s-0031-1283740]

3 Guarinos C, Sanchez-Fortun C, Rodriguez-Soler M, Perez-Carbonell L, Egoavil C. Clinical subtypes and molecular characteristics of serrated polyposis syndrome. Clin Gastroenterol Hepatol 2013; 11: 705-711 [PMID: 23376323 DOI: 10.1016/j.cgh.2012.12.045]

4 Pierce M, Yu D, Richards-K. High-resolution fiber-optical microendoscopy for in situ imaging. J Visual Exper 2011; 11: 2306 [DOI: 10.1016/j.cgh.2014.08.004]

5 Parikh ND, Perl D, Lee MH, Chang SS, Polydorides AD, Moshier E, Godbold J, Zhou E, Mitcham J, Richards-Kortum R, Anandasabapathy S. In vivo classification of colorectal neoplasia using high-resolution microendoscopy: Improvement with experience. J Gastroenterol Hepatol 2015; 30: 1155-1160 [PMID: 25753782 DOI: 10.1111/jgh.12937]

6 Parikh ND, Perl D, Lee MH, Shah B, Young Y, Chang SS, Shukla R, Polydorides AD, Moshier E, Godbold J, Zhou E, Mitcham J, Richards-Kortum R, Anandasabapathy S. In vivo diagnostic accuracy of high-resolution microendoscopy in differentiating neoplastic from non-neoplastic colorectal polyps: a prospective study. Am J Gastroenterol 2014; 109: 68-75 [PMID: 24296752 DOI: 10.1038/ajg.2013.387]

7 Pierce MC, Guan Y, Quinn MK, Zhang X, Zhang WH, Qiao YL, Castle P, Richards-Kortum R. A pilot study of low-cost, high-resolution microendoscopy as a tool for identifying women with cervical precancer. Cancer Prev Res (Phila) 2012; 5: 1273-1279 [PMID: 22926339 DOI: 10.1158/1940-6207.CAPR-12-0221]

8 Grahn SW, Varma MG. Factors that increase risk of colon polyps. Clin Colon Rectal Surg 2008; 21: 247-255 [PMID: 20011435 DOI: 10.1055/s-0028-1089939]

9 Steele SR, Johnson EK, Champagne B, Davis B, Lee S, Rivadeneira D, Ross H, Hayden DA, Maykel JA. Endoscopy and polyps-diagnostic and therapeutic advances in management. World J Gastroenterol 2013; 19: 4277-4288 [PMID: 23885138 DOI: 10.3748/wjg.v19.i27.4277]

10 Levene Y, Hutchinson JM, Tinkler-Hundal E, Quirke P, West NP. The correlation between endoscopic and histopathological measurements in colorectal polyps. Histopathology 2015; 66: 485-490 [PMID: 24898056 DOI: 10.1111/his.12472]

11 Rickert A, Aliyev R, Belle S, Post S, Kienle P, Kahler G. Oncologic colorectal resection after endoscopic treatment of malignant polyps: does endoscopy have an adverse effect on oncologic and surgical outcomes? Gastrointest Endosc 2014; 79: 951-956 [PMID: 24412574 DOI: 10.1016/j.gie.2013.11.014]

12 Paggi S, Radaelli F, Repici A, Hassan C. Advances in the removal of diminutive colorectal polyps. Expert Rev Gastroenterol Hepatol 2015; 9: 237-244 [PMID: 25155348 DOI: 10.1586/17474124.2014.950955]

13 Chang SS, Shukla R, Polydorides AD, Vila PM, Lee M, Han H, Kedia P, Lewis J, Gonzalez S, Kim MK, Harpaz N, Godbold J, Richards-Kortum R, Anandasabapathy S. High resolution microendoscopy for classification of colorectal polyps. Endoscopy 2013; 45: 553-559 [PMID: 23780842 DOI: 10.1055/s-0032-1326502]

14 Hur C, Choi SE；Kong CY, Wang GQ, Xu H, Polydorides AD, Xue LY, Perzan KE, Tramontano AC, Richards-Kortum RR, Anandasabapathy S. High-resolution microendoscopy for esophageal cancer screening in China: A cost-effectiveness analysis. World J Gastroenterol 2015; 18: 5513-5523 [PMID: 25987774 DOI: 10.3748/wjg.v21.i18.5513]

15 Vila PM, Kingsley MJ, Polydorides AD, Protano MA, Pierce MC, Sauk J, Kim MK, Patel K, Godbold JH, Waye JD, Richards-Kortum R, Anandasabapathy S. Accuracy and interrater reliability for the diagnosis of Barrett's neoplasia among users of a novel, portable high-resolution microendoscope. Dis Esophagus 2014; 27: 55-62 [PMID: 23442220 DOI: 10.1111/dote.12040]

16 Regunathan R, Woo J, Pierce MC, Polydorides AD, Raoufi M, Roayaie S, Schwartz M, Labow D, Shin D, Suzuki R, Bhutani MS, Coghlan LG, Richards-Kortum R, Anandasabapathy S, Kim MK. Feasibility and preliminary accuracy of high-resolution imaging of the liver and pancreas using FNA compatible microendoscopy (with video). Gastrointest Endosc 2012; 76: 293-300 [PMID: 22817784 DOI: 10.1016/j.gie.2012.04.445]

17 Muldoon TJ, Roblyer D, Williams MD, Stepanek VM, Richards-Kortum R, Gillenwater AM. Noninvasive imaging of oral neoplasia with a high-resolution fiber-optic microendoscope. Head Neck 2012; 34: 305-312 [PMID: 21413101 DOI: 10.1002/hed.21735]

18 Vila PM, Park CW, Pierce MC, Goldstein GH, Levy L, Gurudutt VV, Polydorides AD, Godbold JH, Teng MS, Genden EM, Miles BA, Anandasabapathy S, Gillenwater AM, Richards-Kortum R, Sikora AG. Discrimination of benign and neoplastic mucosa with a high-resolution microendoscope (HRME) in head and neck cancer. Ann Surg Oncol 2012; 19: 3534-3539 [PMID: 22492225 DOI: 10.1245/s10434-012-2351-1]

19 Quinn MK, Bubi TC, Pierce MC, Kayembe MK, Ramogola-Masire D, Richards-Kortum R. High-resolution microendoscopy for the detection of cervical neoplasia in low-resource settings. PLoS One 2012; 7: e44924 [PMID: 23028683 DOI: 10.1371/journal.pone.0044924]

20 Spicak J, Benes M, Hucl T, Stirand P, Drastich P, Wohl P, Kamenar D, Kliment M, Kundratova E, Urban O, Pintova J, Pícha J, Suchanek S, Zelizko V, Stefanova M, Rehor M, Nosek V, Zavoral M. A detailed study of colon polyps. Vnitr Lek 2012; 58: 18-23 [PMID: 22448696]

P-Reviewer: Amornyotin S, Mentes O   S-Editor: Qi Y

L-Editor:   E-Editor:

Table 1 Comparison between the results of high-resolution micro-endoscopy and those of the pathological examination

| Pathological diagnosis | HRME diagnosis | Total |
| --- | --- | --- |
|  | Inflammatory | Hyperplastic | Tubular | Villous | Mixed |  |
| Inflammatory | 21 | 2 | 0 | 0 | 1 | 24 |
| Hyperplastic | 2 | 8 | 0 | 0 | 1 | 11 |
| Tubular | 0 | 1 | 14 | 1 | 3 | 19 |
| Villous | 0 | 0 | 1 | 6 | 1 | 8 |
| Mixed | 0 | 0 | 3 | 1 | 18 | 22 |
| Total | 23 | 11 | 18 | 8 | 24 | 84 |

HRME: High-resolution micro-endoscopy.

Table 2 Efficacy of diagnosis using high-resolution micro-endoscopy for colon polyp classification

| HRME | Sensitivity | Specificity | Accuracy | PPV | NPV |
| --- | --- | --- | --- | --- | --- |
| Inflammatory | 87.5% | 96.7% | 94.0% | 91.3 | 95.1 |
| Hyperplastic | 72.7% | 95.9% | 86.9% | 72.7 | 95.9 |
| Tubular | 73.7% | 93.8% | 77.4% | 77.8 | 92.4 |
| Villous | 75.0% | 97.4% | 90.1% | 75.0 | 97.4 |
| Mixed | 81.2% | 90.3% | 73.4% | 75.0 | 93.3 |

HRME: High-resolution micro-endoscopy; PPV: Positive predictive values; NPV: Negative predictive values.

Figure 1 Structural diagram and image of the high-resolution micro-endoscopy.

a                      b                   c

A

a                      b                   c

B

a                      b                   c

C

a                      b                   c

D

a                      b                   c

E

Figure 2 High-resolution micro-endoscopy diagnostic criteria for colon polyps. A: Inflammatory polyps: a: WLE images; b: HRME images; c: Pathological images. B: Hyperplastic polyps: a: WLE images; b: HRME images; c: Pathological images. C: Tubular adenoma: a: WLE images; b: HRME images; c: Pathological images. D: Villous adenomas: a: WLE images; b: HRME images; c: Pathological images. E: Mixed adenomas: a: WLE images; b: HRME images; c: Pathological images, HE × 40. WLE: White light endoscopy; HRME: High-resolution micro-endoscopy.