Name of Journal: World Journal of Methodology

Manuscript NO: 35432

Manuscript Type: Minireviews

Pancreatic imaging: Current status of clinical practices and small animal studies

Yin T et al. Pancreatic imaging

Ting Yin, Yewei Liu, Ronald Peeters, Yuanbo Feng, Yicheng Ni

Ting Yin, Yewei Liu, Ronald Peeters, Yuanbo Feng, Yicheng Ni, Department of Imaging and Pathology, Biomedical Sciences Group, KU Leuven, 3000 Leuven, Belgium

ORCID number: Ting Yin (0000-0001-7235-288X); Yewei Liu (0000-0002-4360-0132); Ronald Peeters (0000-0002-7055-4039); Yuanbo Feng (0000-0002-4235-3491); Yicheng Ni (0000-0002-8553-7565​).

Author contributions: Ni Y set up the format and the frame of this mini-review article, and final approval of the manuscript; Yin T wrote and edited the manuscript; Peeters R approved sections related to MRI techniques and edited the manuscript; Liu Y and Feng Y provided suggestions regarding to clinical aspects.

Conflict-of-interest statement: The authors declare no potential conflicts of interest.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Manuscript source: Unsolicited manuscript

Correspondence to: Yicheng Ni, MD, PhD, Professor, Department of Radiology, University Hospitals, KU Leuven, Herestraat 49, 3000 Leuven, Belgium. yicheng.ni@med.kuleuven.be

Telephone: +32-16-330165

Fax: +32-16-343765

Received: July 14, 2017

Peer-review started: July 17, 2017

First decision: August 4, 2017

Revised: August 22, 2017

Accepted: September 3, 2017

Article in press:

Published online:

Abstract

Different causative factors acting on the pancreas can result in diseases such as pancreatitis, diabetes and pancreatic tumors. The high incidence and mortality of pancreatic diseases have placed diagnostic imaging in a crucial position in daily clinical practice. In this mini-review article different pancreatic imaging techniques are discussed, from the standard clinical imaging modalities and state of the art clinical magnetic resonance imaging techniques to current situations in pre-clinical pancreatic imaging studies. In particular, the challenges of pre-clinical rodent pancreatic imaging are addressed, with both the image acquisition techniques and the post-processing methods for rodent pancreatic imaging elaborated.

Key words: Pancreatic imaging; Rats; State of the art clinical magnetic resonance imaging; 3.0T scanner; Quantitative magnetic resonance imaging

© The Author(s) 2017. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: In this minireview, the challenges of pre-clinical rodent pancreatic imaging are addressed, basic clinical magnetic resonance imaging techniques and post-processing methods for rodent pancreatic imaging are also elaborated.

Yin T, Liu Y, Peeters R, Feng Y, Ni Y. Pancreatic imaging: Current status of clinical practices and small animal studies. World J Methodol 2017; In press

INTRODUCTION

The pancreas is an important visceral organ performing both endocrine and exocrine functions. Abnormalities of the pancreas result in diseases such as pancreatitis, diabetes, and pancreatic tumors[1,2]. The onset of diabetes is usually long after beta cell dysfunction and insulin resistance[3,4]; pancreatic cancer is generally asymptomatic and frequently diagnosed at a late stage[5]; acute pancreatitis is a painful inflammatory condition often with severe complications and high mortality despite treatment[6], while chronic pancreatitis can mimic the symptoms of pancreatic cancer and lead to misdiagnosis[7]. The high incidence of pancreatitis and diabetes, and poor survival rate of pancreatic cancers have increased the demand for new diagnostic and therapeutic strategies[8,9] Herein multimodality multi-parametric imaging plays an indispensable role in disease detection, therapy guidance and patient follow-up. In this mini-review, current situations of common clinical practices and recent development of pre-clinical rodent studies in pancreatic imaging are inspected and discussed with the emphasis on basic magnetic resonance imaging (MRI) techniques and post-processing methods for rodent pancreatic studies.

OVERVIEW OF CLINICAL IMAGING MODALITIES

Ultrasound

As an initial step, abdominal ultrasound is most commonly used in screening for biliary stones and tumors, as this equipment is widely available at relatively low costs[10]. However, the quality of ultrasound images and diagnostic accuracy are highly user-dependent, and the retroperitoneal location of the pancreas may impose image artifacts and hamper the ultrasound diagnosis[11]. For further confirmation and staging of pancreatic diseases, imaging modalities with higher quality and sensitivity are needed.

Computed tomography

Contrast-enhanced multi-detector computed tomography (MDCT) remains the standard modality in clinic for the assessment of pancreatitis and pancreatic cancer[12,13]. Due to its high spatial resolution and fast image acquisition, MDCT combined with contrast agents injection, has shown its powerful capacity in the staging of pancreatitis and pancreatic cancer with high sensitivity and specificity[7,12].

MRI

MRI as a non-ionizing imaging modality has been increasingly utilized in clinic due to its multi-parametric capability[14]. With the constant improvement of the new MRI hardware and imaging reconstruction algorithms, MRI is currently capable of acquiring images of spatial resolution approaching to that of CT. Meanwhile, with the application of accelerated parallel imaging techniques, most MRI protocols have the feasibility to be accomplished in one or a few breath-holds[14,15].

Traditionally, T2-weighted MRI sequences are commonly used to provide structural information on the anatomy of the pancreatic ductal system and lesions[14]. MR cholangiopancreatography (MRCP) using heavily T2-weighted sequences has been widely applied as non-invasive alternative to endoscopic retrograde cholangiopancreatography (ERCP) for biliopancreatic duct system evaluation[16]. The combination of dual-echo (in/opposed-phase) T1-weighted MRI sequences is useful for hemorrhage and fat content assessment[14]. Dynamic contrast-enhanced (DCE) MRI scans are performed for differential diagnosis and grading of solid pancreatic lesions and pancreatitis by analyzing the pharmacokinetic parameters or contrast concentration curves[17,18]. In addition, diffusion-weighted MRI (DWI) protocols have also shown a great potential to depict and characterize pancreatic diseases including acute/chronic pancreatitis and benign or malignant tumors[19] without a need to use contrast agents.

Other more advanced but less popular pancreatic imaging modalities, often with a certain invasiveness or radiation exposure, include endoscopic and contrast enhanced US (EUS and CEUS), positron emission computed tomography and single-photon emission computed tomography incorporated with X-ray based CT (PET/CT and SPECT/CT) for improved spatial resolution and co-localization of imaging findings, etc. For a more comprehensive overview, a recent review article about imaging pancreatic diseases is recommended[5].

CURRENT STATUS OF RODENT PANCREATIC IMAGING

Challenges in rodent pancreatic imaging

In order to develop new diagnostic and therapeutic strategies against pancreatic diseases, rodent models are commonly used in preclinical studies. However, imaging the pancreas in rodents proves to be extremely challenging due to motion artifacts and uncertain anatomy. The pancreas in humans represents a retroperitoneal solid organ, which can be identified by imaging modalities even without contrast enhancement, as stated above. However, unlike the human pancreas, the rodent pancreas appears as a soft, diffuse and irregularly lobulated organ, which is very difficult to discern from surrounding tissues[19-22], even during open abdominal surgery (Figure 1). Pancreas-specific contrast agents would facilitate pancreas visualization, but currently those pancreatic specific markers are unavailable yet. Without specific labeling, rodent caudate liver lobes and abdominal fat tissue are frequently identified as pancreas by mistake. In some animal studies, pancreas associated injuries in other solid organs, instead of the pancreas itself, were investigated using contrast-enhanced protocols and MR spectroscopy (MRS)[23,24].

Three dimensional pancreatic imaging

To avoid the misdiagnosis and to have a detailed overview of the pancreas anatomy, two pancreatic imaging studies were performed using contrast-enhanced high-resolution three dimensional (3D) modalities to provide more precise anatomical information of the rodent pancreas[20,22]. In a micro-CT study[20], the in vivo rat pancreatic tail portion could be identified after a two-step contrast injection. Unlike the human pancreas that can be readily depicted by MRI even without using any contrast agent (Figure 2), detailed 3D rodent pancreatic anatomy and surrounding landmarks could only be demonstrated (Figure 2) by biliopancreatic local infusion of mixed contrast media in a post-mortem model[22].

Diabetes imaging

In order to achieve early diagnosis in diabetes, the development of pancreatic specific contrast agents became a hot topic. Among others, some contrast agents were used to target pancreatic beta cells for diabetes related research subjects, for instance, glucagon-like peptide-1 (GLP1) receptor and GLP1 analogues have been frequently studied in rodent diabetes imaging[25,26]. The micro-vascular changes in case of diabetes and pancreatic inflammation were also investigated[27,28].

Pancreatitis imaging

The first attempt of rodent pancreatitis imaging started during the 1980’s, conducted by Paajanen et al[29], in which Gd-DTPA was applied as a contrast agent for T2/T1 relaxation measurements in an acute hemorrhagic pancreatitis model. In 1989, Kushnir et al[30] performed several MRS experiments to identify imaging bio-markers in an acute pancreatitis model. More recently, specific nanoparticles were developed for pancreatitis imaging, with lipase as the target[31]. Imaging of acute edematous pancreatitis can also be performed with MRCP, T2 relaxation measurement and non-specific contrast enhancement using modified protocols on a state of the art clinical MRI scanner[32].

Pancreatic tumor imaging

The direct visualization of rodent pancreas and corresponding pancreatic landmarks could facilitate more precise diagnosis of a pancreatic tumor in the early stages. As a tumor grows to a certain volume, the identification of the solid tumor mass is much easier to perform than imaging other pancreatic disorders. Quantitative T2 and T1 relaxation measurements, DWI parameters and perfusion information can be obtained using multi-parametric MRI[33]. Currently, rodent pancreatic tumor models are increasingly used to investigate new therapeutic strategies in longitudinal follow-up studies by non-invasive MRI.

RODENT PANCREATIC IMAGING USING A CLINICAL MRI SCANNER

Rationale behind the use of a clinical MRI scanner for rodent pancreatic research

Due to the small size of the rodent pancreas, it is necessary to use high resolution 3D anatomical images for precise pancreas localization. Misdiagnosis could be avoided by carefully tracking the anatomy of the surrounding organs or tissues in 3D mode. Unfortunately, 3D anatomical MRI in the abdominal region is extremely challenging in commonly used high-field pre-clinical scanners, due to their high sensitivity to motion artifacts at high magnetic field and unavoidable long scanning durations. Alternatively, by the combined use of dedicated multi-channel coils and accelerated parallel imaging, clinical MR scanners have shown the feasibility and flexibility for rodent abdominal imaging[22,32,33].

Limits and benefits of clinical scanners

The biggest problem using clinical scanners for small animal studies is the limited gradient strength[34]. Most clinical MRI scanners have a gradient amplitude of 40 mT/m and slew rates up to 200 T/m per second. Although the maximum gradient amplitude in the recent 3T Siemens Prisma scanner has been increased to 80 mT/m, the gradient strengths are still up to 10 times lower than that of the current state of the art pre-clinical scanners. Consequently, the minimum slice thickness and minimal field of view (FOV) in the clinical systems are more restricted. In our studies, to maintain enough signal-to-noise-ratio (SNR), most 2D scans were performed with a slice thickness of 2 mm, which is identical to those acquired from small animal scanners. However, the minimal FOV is usually limited to around 70 mm. The limited gradient strengths also hamper the use of echo planar imaging (EPI) due to the prolonged readout, which leads to severe image distortions.

On the other hand, current state of the art clinical MRI scanners provide an excellent hardware stability, higher field homogeneity and a dedicated user interface, and are more widely accessible compared to small animal scanners. With the combination of dedicated clinical multi-channel surface coils and the self-calibrated parallel imaging techniques GRAPPA (GeneRalized Autocalibrating Partial Parallel Acquisition), it is possible to acquire high SNR images in rodent heterogeneous abdominal region with a sufficiently short scan duration. Moreover, lower magnetic field and application of GRAPPA provide a higher feasibility to rodent abdominal imaging.

Basic clinical MRI techniques for rodent pancreatic imaging

In our serial studies[22,32,33], clinical scanners were used for pancreatic imaging: the Magnetom Tim Trio (Siemens, Erlangen, 45 mT/m, 200 T/m per second) combined with an 8-channel wrist coil; and the Magnetom Prisma (Siemens, Erlangen, 80 mT/m, 200 T/m per second) together with a 16-channel wrist coil. There are several standard clinical protocols which can be directly translated to pre-clinical research, including T2-weighted 3D turbo spin-echo (TSE) based SPACE (3D TSE with variable-flip-angle refocusing RF pulses) imaging and MRCP protocols, standard 2D multi-echo spin-echo sequences for T2 relaxation, as well as diffusion and perfusion sequences. The animal models introduced in these studies[22,32,33] are a rat acute pancreatitis model and a rat orthotopic pancreatic tumor model, in which we intended to characterize pathological changes including edema, hemorrhage and necrosis by those modified MRI methods.

Three-dimensional volumetric images: As mentioned above, 3D imaging would facilitate the localization of rodent pancreas. The other benefit is the possibility of volumetric measurements in 3D. In case of edematous pancreatitis, edema volume is a biomarker for pancreatitis. Meanwhile, 3D views could also provide a more accurate measurement for irregularly shaped abdominal tumors (Figure 2). The volume of the target tissue can be obtained from post-process image segmentation. The most important 3D imaging protocols used here are T2-weighted SPACE and MRCP, which are also widely used in clinical MRI abdominal examinations.

Quantitative MRI measurements: Quantitative MRI relaxation measurements are useful in organ/tissue characterization. T2 mapping is helpful in the assessment of fluid content and hemorrhage; and native T1 mapping is essential for the calculation of the tissue concentration time curve (CTC) in DCE protocols. In these studies, mono-exponential T2 mapping and inversion recovery based T1 mapping were performed.

Measurements of Gaussian and non-Gaussian diffusion for water in biological tissues can be accomplished using DWI with different combinations of diffusion weightings. Mean diffusivity and diffusion kurtosis were obtained from 3-trace diffusion images.

Moreover, tissue perfusion can be characterized using DCE protocols, after the injection of a gadolinium based MRI contrast agent. After the signal conversion to gadolinium concentration using pre-contrast native T1 relaxation information, either semi-quantitative information or quantitative parameters from the pharmacokinetic Tofts model were extracted. Detailed MRI protocol parameters are elaborated in the different serial studies[22,32,33].

Data processing

In these studies, open-source software and in-house built programs were used for data processing. This includes image segmentation, registration and 3D image visualization in open-source software ITK-SNAP (www.itksnap.org) and MeVisLab (MeVis Medical Solutions, Bremen, Germany); DICOM process, MRI mathematical modeling and quantitative analysis in Matlab programs (MathWorks, Natick, Massachusetts); and statistical analysis and data visualization using programs combining both Matlab and R (https://cran.r-project.org). Detailed image processing equations are included in the next section.

SOME OF THE ONGOING RESEARCH IN RODENT PANCREATIC MRI STUDIES

Identified objectives

Present research project aims at providing practical solutions to rodent pancreatic imaging using clinical facilities, from ex vivo to noninvasive in vivo imaging with the following systematic objectives identified: (1) to overcome the limitations of clinical MRI scanner for small rodent imaging studies; (2) detailed visualization of a complete pancreas and topographic landmarks through contrast enhanced CT and MR imaging in a rat postmortem model; (3) to explore noninvasive MR imaging methods for characterization of the Caerulein induced acute pancreatitis in rats; (4) to estimate the reliability of 3D isotropic MRI and quantitative multi-parametric MRI for characterization of an orthotopic pancreatic head tumor model in rats; and (5) to investigate therapeutic response of a vascular disruption agent in rat pancreatic tumor models with further modified quantitative multi-parametric methods.

Processing for quantitative parameters in rodent pancreatic MRI

MRI quantitative parameters can be obtained from advanced image processing methods using machine learning algorithms[35-37]. For practical considerations, quantitative parameters are re-generated from in-house built Matlab programs using non-linear least square methods with CPU (Central Processing Unit) acceleration.

T2 mapping: Traditionally, the transverse relaxation time T2 is obtained using multi-echo spin-echo pulse sequences, by sampling signals at several different echo-times (TE), and fitted to either multi- or single-exponential decay functions[38]. Fast T2 mapping can be obtained using balanced steady-state free precession (SSFP) readout[39].

T1 mapping: On a clinical scanner, fast T1 mapping can be measured using inversion recovery methods or from variable flip angles experiments[39,40]. Since the MRI acquisition has to be synchronized with animal respiration, the effective repetition time (TR) is usually longer than 1 second. Thus, inversion recovery based protocols would be suggested for T1 mapping in rodent pancreatic imaging. Typically, the equation for measured signal in the inversion recovery T1 mapping experiment is a three-parameter function: SI(t) = a + b*exp(-t/T1*), where SI(t) is the signal intensity after each inversion time t, and T1* is the effective longitudinal relaxation time. The actual T1 relaxation time can be obtained after correction for the flip angles[41], or the Look-Locker readout[42].

Diffusion-weighted model: In DWI experiments, the simple Gaussian diffusion can be assumed using a mono-exponential model. The two-compartment intravoxel incoherent motion model on the other hand is currently widely used in clinical pancreatitis and pancreatic tumor studies[43,44], and separates diffusion into the true-diffusion and the pseudo-diffusion fraction. Alternatively, sampling with high b-values above 1000 sec/mm2 can be applied for non-Gaussian diffusion estimation using a diffusion kurtosis model[45].

Post-processing for DCE model: The first step in DCE data post-processing is the conversion of the raw MRI signal to the tissue concentration time curve (CTC). The tissue concentration Ct of contrast agent (CA) during the DCE perfusion experiment is solved as: 1/T1(t) = 1/T10 + r1* Ct(t), where T10 is the T1 value before contrast injection, obtained from inversion recovery T1 mapping, and r1 is the longitudinal relaxivity of the applied CA. In a high temporal resolution DCE experiment, the T1 relaxation T1(t) after CA injection can be converted from the signal intensity (SI) time curve as described previously[33]. Alternatively, CTC information can be directly extracted from the dynamic T1 mapping.

The vascular input function (VIF) Cp is determined by the CA concentration in blood Cb: Cp = Cb/(1 - Hct), which is obtained from CTC of the aorta or a major vein, and the hematocrit level Hct which is set to 42% in our studies. VIF is usually fitted into a bi-exponential function for further kinetic modeling. Perfusion indices, the transfer coefficient Ktrans and the rate constant kep, can be obtained from the standard or the modified Tofts model[46]. In practice, the discrete convolution can be constructed as a matrix multiplication. The fraction volume ve of extravascular extracellular space is calculated as: ve = Ktrans/kep.

In summary, the diagnosis of pancreatic diseases and their management have been largely facilitated by ever advancing multimodal and multi-parametric imaging technologies in clinical settings. Likewise, thanks to the above-mentioned efforts, preclinical research on rodent models of pancreatic pathologies are also rapidly progressing in terms of visual identification of rodent pancreas on 2D and 3D images, imaging characterization of common pancreatic disorders such as pancreatitis and pancreatic malignancies, and noninvasive imaging follow-up of investigative therapies for new drug development. Eventually clinical practices in patients suffering from those often deadly diseases on this complex visceral organ of pancreas will benefit from all these translational studies.

REFERENCES

1 Nakamura T, Takeuchi T, Tando Y. Pancreatic dysfunction and treatment options. Pancreas 1998; 16: 329-336 [PMID: 9548675]

2 Cascinu S, Falconi M, Valentini V, Jelic S; ESMO Guidelines Working Group. Pancreatic cancer: ESMO Clinical Practice Guidelines for diagnosis, treatment and follow-up. Ann Oncol 2010; 21 Suppl 5: v55-v58 [PMID: 20555103 DOI: 10.1093/annonc/mdq165]

3 Weyer C, Tataranni PA, Bogardus C, Pratley RE. Insulin resistance and insulin secretory dysfunction are independent predictors of worsening of glucose tolerance during each stage of type 2 diabetes development. Diabetes Care 2001; 24: 89-94 [PMID: 11194248]

4 Souza F, Freeby M, Hultman K, Simpson N, Herron A, Witkowsky P, Liu E, Maffei A, Harris PE. Current progress in non-invasive imaging of beta cell mass of the endocrine pancreas. Curr Med Chem 2006; 13: 2761-2773 [PMID: 17073627]

5 Dimastromatteo J, Brentnall T, Kelly KA. Imaging in pancreatic disease. Nat Rev Gastroenterol Hepatol 2017; 14: 97-109 [PMID: 27826137 DOI: 10.1038/nrgastro.2016.144]

6 Whitcomb DC. Clinical practice. Acute pancreatitis. N Engl J Med 2006; 354: 2142-2150 [PMID: 16707751 DOI: 10.1056/NEJMcp054958]

7 Tummala P, Junaidi O, Agarwal B. Imaging of pancreatic cancer: An overview. J Gastrointest Oncol 2011; 2: 168-174 [PMID: 22811847 DOI: 10.3978/j.issn.2078-6891.2011.036]

8 Garrido-Laguna I, Hidalgo M. Pancreatic cancer: from state-of-the-art treatments to promising novel therapies. Nat Rev Clin Oncol 2015; 12: 319-334 [PMID: 25824606 DOI: 10.1038/nrclinonc.2015.53]

9 Coté GA, Smith J, Sherman S, Kelly K. Technologies for imaging the normal and diseased pancreas. Gastroenterology 2013; 144: 1262-1271.e1 [PMID: 23622136 DOI: 10.1053/j.gastro.2013.01.076]

10 Erchinger FG,  Dimcevski G, Engjom T, Gilja OH. Transabdominal ultrasonography of the pancreas: basic and new aspects. Imaging Med 2011; 3: 412-422 [DOI: 10.2217/iim.11.36]

11 Dimcevski G, Erchinger FG, Havre R, Gilja OH. Ultrasonography in diagnosing chronic pancreatitis: new aspects. World J Gastroenterol 2013; 19: 7247-7257 [PMID: 24259955 DOI: 10.3748/wjg.v19.i42.7247]

12 Poruk KE, Firpo MA, Adler DG, Mulvihill SJ. Screening for pancreatic cancer: why, how, and who? Ann Surg 2013; 257: 17-26 [PMID: 22895395 DOI: 10.1097/SLA.0b013e31825ffbfb]

13 Working Party of the British Society of Gastroenterology; Association of Surgeons of Great Britain and Ireland; Pancreatic Society of Great Britain and Ireland; Association of Upper GI Surgeons of Great Britain and Ireland. UK guidelines for the management of acute pancreatitis. Gut 2005; 54 Suppl 3: iii1-iii9 [PMID: 15831893 DOI: 10.1136/gut.2004.057026]

14 Sandrasegaran K, Lin C, Akisik FM, Tann M. State-of-the-art pancreatic MRI. AJR Am J Roentgenol 2010; 195: 42-53 [PMID: 20566796 DOI: 10.2214/ajr.195.3_supplement.0s42]

15 Matos C, Cappeliez O, Winant C, Coppens E, Devière J, Metens T. MR imaging of the pancreas: a pictorial tour. Radiographics 2002; 22: e2 [PMID: 11796914 DOI: 10.1148/radiographics.22.1.g02jae2e2]

16 Mandelia A, Gupta AK, Verma DK, Sharma S. The Value of Magnetic Resonance Cholangio-Pancreatography (MRCP) in the Detection of Choledocholithiasis. J Clin Diagn Res 2013; 7: 1941-1945 [PMID: 24179904 DOI: 10.7860/JCDR/2013/6158.3365]

17 Kim JH, Lee JM, Park JH, Kim SC, Joo I, Han JK, Choi BI. Solid pancreatic lesions: characterization by using timing bolus dynamic contrast-enhanced MR imaging assessment--a preliminary study. Radiology 2013; 266: 185-196 [PMID: 23192779 DOI: 10.1148/radiol.12120111]

18 Coenegrachts K, Van Steenbergen W, De Keyzer F, Vanbeckevoort D, Bielen D, Chen F, Dockx S, Maes F, Bosmans H. Dynamic contrast-enhanced MRI of the pancreas: initial results in healthy volunteers and patients with chronic pancreatitis. J Magn Reson Imaging 2004; 20: 990-997 [PMID: 15558558 DOI: 10.1002/jmri.20212]

19 Barral M, Taouli B, Guiu B, Koh DM, Luciani A, Manfredi R, Vilgrain V, Hoeffel C, Kanematsu M, Soyer P. Diffusion-weighted MR imaging of the pancreas: current status and recommendations. Radiology 2015; 274: 45-63 [PMID: 25531479 DOI: 10.1148/radiol.14130778]

20 Akladios CY, Bour G, Raykov Z, Mutter D, Marescaux J AM. Structural imaging of the pancreas in rat using micro-CT: application to a non-invasive longitudinal evaluation of pancreatic ductal carcinoma monitoring. J Cancer Res Ther 2013; 1: 70-76 [DOI: 10.14312/2052-4994.2013-11]

21 Tchokonte-Nana V, Longo-Mbenza B, Page BJ, Du Toit DF. Morphogenetic and clinical perspectives on the neogenesis of pancreatic duct ligation-induced islet cells : a review. Adv Clin Exp Med 2011; 20: 5-14

22 Yin T, Coudyzer W, Peeters R, Liu Y, Cona MM, Feng Y, Xia Q, Yu J, Jiang Y, Dymarkowski S, Huang G, Chen F, Oyen R, Ni Y. Three-dimensional contrasted visualization of pancreas in rats using clinical MRI and CT scanners. Contrast Media Mol Imaging 2015; 10: 379-387 [PMID: 25876187 DOI: 10.1002/cmmi.1640]

23 Zhang JX, Dang SC, Zhang Y, Sha X, Zhang LR, Wei CS, Chen M, Jiang DL. MRI shows clodronate-liposomes attenuating liver injury in rats with severe acute pancreatitis. Hepatobiliary Pancreat Dis Int 2010; 9: 192-200 [PMID: 20382593]

24 Santhakumari R, Reddy IY, Archana R. Effect of type 2 diabetes mellitus on brain metabolites by using proton magnetic resonance spectroscopy-a systematic review. Int J Pharma Bio Sci 2014; 5: 1118-1123 [PMID: 25568610]

25 Wang P, Yoo B, Yang J, Zhang X, Ross A, Pantazopoulos P, Dai G, Moore A. GLP-1R-targeting magnetic nanoparticles for pancreatic islet imaging. Diabetes 2014; 63: 1465-1474 [PMID: 24458362 DOI: 10.2337/db13-1543]

26 Smits MM, Tonneijck L, Muskiet MH, Kramer MH, Diamant M, Pieters-van den Bos IC, van Raalte DH, Cahen DL. Glucagon-like peptide-1 receptor agonist exenatide has no acute effect on MRI-measured exocrine pancreatic function in patients with type 2 diabetes: a randomized trial. Diabetes Obes Metab 2016; 18: 281-288 [PMID: 26640129 DOI: 10.1111/dom.12612]

27 Medarova Z, Castillo G, Dai G, Bolotin E, Bogdanov A, Moore A. Noninvasive magnetic resonance imaging of microvascular changes in type 1 diabetes. Diabetes 2007; 56: 2677-2682 [PMID: 17682091 DOI: 10.2337/db07-0822]

28 Medarova Z, Greiner DL, Ifediba M, Dai G, Bolotin E, Castillo G, Bogdanov A, Kumar M, Moore A. Imaging the pancreatic vasculature in diabetes models. Diabetes Metab Res Rev 2011; 27: 767-772 [PMID: 22069257 DOI: 10.1002/dmrr.1249]

29 Paajanen H, Brasch RC, Dean PB. Experimental acute pancreatitis: MR relaxation time studies using gadolinium-DTPA. Magn Reson Med 1988; 6: 63-73 [PMID: 3352506]

30 Kushnir T, Kaplan O, Askenasy N, Navon G. Identification of a characteristic 31P NMR signal in acute experimental pancreatitis with the aid of 1H-31P correlated 2D measurements of intact pancreas. Magn Reson Med 1989; 10: 119-124 [PMID: 2755330]

31 Zhang HW, Wang LQ, Xiang QF, Zhong Q, Chen LM, Xu CX, Xiang XH, Xu B, Meng F, Wan YQ, Deng DY. Specific lipase-responsive polymer-coated gadolinium nanoparticles for MR imaging of early acute pancreatitis. Biomaterials 2014; 35: 356-367 [PMID: 24103651 DOI: 10.1016/j.biomaterials.2013.09.046]

32 Yin T, Peeters R, Liu Y, Feng Y, Zhang X, Jiang Y, Yu J, Dymarkowski S, Himmelreich U, Oyen R, Ni Y. Visualization, Quantification and Characterization of Caerulein-Induced Acute Pancreatitis in Rats by 3.0T Clinical MRI, Biochemistry and Histomorphology. Theranostics 2017; 7: 285-294 [PMID: 28042334 DOI: 10.7150/thno.16282]

33 Yin T, Peeters R, Feng Y, Liu Y, Yu J, Dymarkowski S, Himmelreich U, Oyen R, Ni Y. Characterization of a rat orthotopic pancreatic head tumor model using three-dimensional and quantitative multi-parametric MRI. NMR Biomed 2017; 30: e3637 [PMID: 28008670 DOI: 10.1002/nbm.3676]

34 Herrmann KH, Schmidt S, Kretz A, Haenold R, Krumbein I, Metzler M, Gaser C, Witte OW, Reichenbach JR. Possibilities and limitations for high resolution small animal MRI on a clinical whole-body 3T scanner. MAGMA 2012; 25: 233-244 [PMID: 22042538 DOI: 10.1007/s10334-011-0284-5]

35 Jambor I, Pesola M, Merisaari H, Taimen P, Boström PJ, Liimatainen T, Aronen HJ. Relaxation along fictitious field, diffusion-weighted imaging, and T2 mapping of prostate cancer: Prediction of cancer aggressiveness. Magn Reson Med 2016; 75: 2130-2140 [PMID: 26094849 DOI: 10.1002/mrm.25808]

36 Duan C, Kallehauge JF, Bretthorst GL, Tanderup K, Ackerman JJ, Garbow JR. Are complex DCE-MRI models supported by clinical data? Magn Reson Med 2017; 77: 1329-1339 [PMID: 26946317 DOI: 10.1002/mrm.26189]

37 Wurnig MC, Kenkel D, Filli L, Boss A. A Standardized Parameter-Free Algorithm for Combined Intravoxel Incoherent Motion and Diffusion Kurtosis Analysis of Diffusion Imaging Data. Invest Radiol 2016; 51: 203-210 [PMID: 26561050 DOI: 10.1097/RLI.0000000000000223]

38 Dortch RD, Yankeelov TE, Yue Z, Quarles CC, Gore JC, Does MD. Evidence of multiexponential T2 in rat glioblastoma. NMR Biomed 2009; 22: 609-618 [PMID: 19267385 DOI: 10.1002/nbm.1374]

39 Schmitt P, Griswold MA, Jakob PM, Kotas M, Gulani V, Flentje M, Haase A. Inversion recovery TrueFISP: quantification of T(1), T(2), and spin density. Magn Reson Med 2004; 51: 661-667 [PMID: 15065237 DOI: 10.1002/mrm.20058]

40 Cheng HL, Stikov N, Ghugre NR, Wright GA. Practical medical applications of quantitative MR relaxometry. J Magn Reson Imaging 2012; 36: 805-824 [PMID: 22987758 DOI: 10.1002/jmri.23718]

41 Deichmann R, Hahn D, Haase A. Fast T1 mapping on a whole-body scanner. Magn Reson Med 1999; 42: 206-209 [PMID: 10398969]

42 Cooper MA, Nguyen TD, Spincemaille P, Prince MR, Weinsaft JW, Wang Y. How accurate is MOLLI T1 mapping in vivo? Validation by spin echo methods. PLoS One 2014; 9: e107327 [PMID: 25211243 DOI: 10.1371/journal.pone.0107327]

43 Kuru TH, Roethke MC, Stieltjes B, Maier-Hein K, Schlemmer HP, Hadaschik BA, Fenchel M. Intravoxel incoherent motion (IVIM) diffusion imaging in prostate cancer - what does it add? J Comput Assist Tomogr 2014; 38: 558-564 [PMID: 24733005 DOI: 10.1097/RCT.0000000000000088]

44 Kang KM, Lee JM, Yoon JH, Kiefer B, Han JK, Choi BI. Intravoxel incoherent motion diffusion-weighted MR imaging for characterization of focal pancreatic lesions. Radiology 2014; 270: 444-453 [PMID: 24126370 DOI: 10.1148/radiol.13122712]

45 Rosenkrantz AB, Padhani AR, Chenevert TL, Koh DM, De Keyzer F, Taouli B, Le Bihan D. Body diffusion kurtosis imaging: Basic principles, applications, and considerations for clinical practice. J Magn Reson Imaging 2015; 42: 1190-1202 [PMID: 26119267 DOI: 10.1002/jmri.24985]

46 Tofts PS. T1-weighted DCE Imaging Concepts : Modelling, Acquisition and Analysis. MAGNETOM Flash, 2010: 1-5

P-Reviewer: Barauskas G, Weng CF S-Editor: Ji FF L-Editor: E-Editor:

Specialty type: Medical laboratory technology

Country of origin: Belgium

Peer-review report classification

Grade A (Excellent): A, A

Grade B (Very good): 0

Grade C (Good): 0

Grade D (Fair): 0

Grade E (Poor): 0

Figure 1 Anatomical difference between human and rodent pancreas. Unlike the human pancreas which is a well-defined solid organ (A), the rat pancreas appears as a soft, diffuse and irregularly lobulated organ (B), which is very difficult to discern from surrounding tissues even at open abdominal surgery. To better visualize it, the pancreatic ductal system was infused with Evans blue dye while the arterial system was injected with a barium sulphate suspension.

Figure 2 Typical human pancreatic magnetic resonance imaging vs rodent pancreatic magnetic resonance imaging. The upper transverse image shows the human pancreas (contoured by arrowheads) as a solid organ adjacent to the liver (L), gallbladder (G), spleen (S), kidney (K) and small intestines (I). The lower 3-D images display the coronal (left), transverse (mid) and sagittal (right) views of the contrast-infused rat pancreas with green color coding, adjacent to the liver (L), spleen (S), kidney (K) and colon (C). MRI: Magnetic resonance imaging.