Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 3752

Columns: Diagnostic Advances

Liver elastography, comments on EFSUMB elastography guidelines 2013

Cui XW et al. Liver elastography

Xin-Wu Cui, Mireen Friedrich-Rust, Chiara De Molo, Andre Ignee, Dagmar Schreiber-Dietrich, Christoph F Dietrich

Xin-Wu Cui, Chiara De Molo, Andre Ignee, Christoph F Dietrich, Department of Internal Medicine, Caritas-Krankenhaus Bad Mergentheim, 97980 Bad Mergentheim, Germany

Mireen Friedrich-Rust, Department of Internal Medicine 1, J.W.Goethe University Hospital, 60590 Frankfurt, Germany

Dagmar Schreiber-Dietrich, Department of Pediatrics, Asklepiosklinik St. Augustin, Abt. Neonatologie und Pädiatrische Intensivmedizin, 52757 St. Augustin, Germany

Author contributions: Dietrich CF established the design and conception of the paper; Cui XW, Dietrich CF, Friedrich Rust M, De Molo C, Ignee A and Schreiber-Dietrich D analyzed the literature data; Dietrich CF provided the first draft of the manuscript; Cui XW, Friedrich Rust M, De Molo C, Ignee A and Schreiber-Dietrich D discussed and revised critically for intellectual content; Dietrich CF, Cui XW, and Friedrich Rust M provided figures. Dietrich CF, Cui XW, Friedrich Rust M, De Molo C, Ignee A and Schreibe -Dietrich D discussed the statement and conclusions, the comments of the reviewer, and approved the final version to be published.

Correspondence to: Christoph F Dietrich, Professor, Department of Internal Medicine, Caritas-Krankenhaus Bad Mergentheim, Uhlandstr. 7, 97980 Bad Mergentheim Germany. christoph.dietrich@ckbm.de

Telephone: +49-7931–582201	Fax: +49-7931–582290

Received: May 20, 2013                   Revised: August 11, 2013

Accepted:  September 16, 2013

Published online:

Abstract

# Recently the European Federation of Societies for Ultrasound in Medicine and Biology Guidelines and Recommendations have been published assessing the clinical use of ultrasound elastography. The document is intended to form a reference and to guide clinical users in a practical way. They give practical advice for the use and interpretation. Liver disease forms the largest section, reflecting published experience to date including evidence from meta-analyses with shear wave and strain elastography. In this review comments and illustrations on the guidelines are given.

© 2013 Baishideng. All rights reserved.

Key words: Liver; Ultrasound; Elastography; Guidelines; Fibrosis

Core tip: The presented paper is intended to comment the “European Federation of Societies for Ultrasound in Medicine and Biology Guidelines and Recommendations on the Clinical Use of Ultrasound Elastography” and discuss the multivariate factors that have an influence on liver stiffness, and the current techniques of ultrasound elastography as well as magnetic resonance elastography.

Cui XW, Friedrich-Rust M, De Molo C, Ignee A, Schreiber-Dietrich D, Dietrich CF. Liver elastography, comments on EFSUMB elastography guidelines 2013.

Available from: URL:

DOI:

# INTRODUCTION

Non-invasive methods for liver stiffness (LS) assessment have been researched over decades, often mirroring the development of new drugs in the treatment of chronic liver disease. So far, two main forms of elastography have become established in clinical practice. The first is known as quasi-static or strain elastography (SE). Imaging of strain and elastic modulus distributions in soft tissues based on external tissue compression, with subsequent computation of the strain profile along the transducer axis, was first described by Ophir et al[1, 2]. Strain imaging can be applied to the liver by inducing probe pressure[3]. The temporal derivative of strain, i.e., the strain rate, is a measure of the rate of deformation[4]. Strain Rate Imaging is a Doppler-based method that can be used to measure strain of moving tissue[5, 6]. The second form is shear wave elastography (SWE). Shear waves are generated in the tissues when a directional force is applied to the tissue which causes shear deformation. Shear waves are rapidly attenuated by tissue, they travel much more slowly (between 1 and 10 m/s) and they are not supported by liquids of low viscosity[7].

The use of different ultrasound methods to estimate liver fibrosis have been published, such as Transient Elastography (TE) (FibroScan™)[8-10], Strain Elastography (e.g., Hitachi Aloka Medical)[11-14] and SWE using Acoustic Radiation Force Impulse (ARFI) (Siemens et al)[14-16]. Other techniques including 2D-SWE (Supersonic, Siemens) and 3D-SWE (Supersonic) have since been introduced[17-19].

Recently the European Federation of Societies for Ultrasound in Medicine and Biology (EFSUMB) Guidelines and Recommendations have been published assessing the clinical use of ultrasound elastography[7, 20]. The document is intended to form a reference and to guide clinical users in a practical way. The guidelines also give practical advice on its use and interpretation. Liver disease forms the largest section, reflecting the published experience to date, including evidence from meta-analyses with shear wave and strain elastography. This article comments on the EFSUMB elastography guidelines, discusses the multivariate factors that have an influence on liver stiffness, and the current techniques of ultrasound elastography as well as magnetic resonance elastography (MRE).

# LIVER STIFFNESS AS A DYNAMIC AND MULTIFUNCTIONAL PROCESS

Liver stiffness (elasticity) is a dynamic and multifunctional process. This means that factors influencing the stiffness and elasticity of a healthy liver are different to the factors in advanced fibrosis. However, many studies have examined the grade of liver fibrosis as the sole indicator of liver stiffness[21-25] (Table 1); a few others have evaluated more factors[26-29] (Table 1).

In patients with chronic liver disease, the assessment of the patient should include age, liver-related comorbidity, aetiology and duration of the liver disease, grading (inflammation), fatty infiltration, risk of malignant transformation, fibrosis, general comorbidity and many other factors. Such factors are important as they guide management and indicate prognosis. Therefore, the assessment of liver fibrosis is only one of many other important factors to determine before treatment. However, the focus on the assessment of liver fibrosis seems to be overstated and many studies lack the design of multivariate analysis.

Factors influencing liver elasticity in healthy subjects depend mainly on blood volume and perfusion parameters that are reported by surgeons during daily routine. Studies have reported a positive correlation of liver stiffness with central venous pressure[30], therefore knowledge of co-existing cardiac and pulmonary disease is necessary for interpretation of results.

In addition, it is also reported that food intake could significantly increase the liver stiffness in adults[31, 32], children[33] and the patients with chronic or resolved hepatitis C virus infection[34], therefore, elastography should be performed in fasting conditions. However, there is controversy on the influence of respiration on liver stiffness. Yun reported that liver stiffness was significantly elevated during expiration especially in patients without liver cirrhosis[35] while Goertz did not find differences on the liver stiffness in deep inspiration, deep expiration and during Valsalva maneuver[32].

In liver cirrhosis, the degree and architecture of fibrosis is presumed to be the most important factor influencing liver stiffness (elasticity). The factors influencing liver elasticity in intermediate (significant) fibrosis are still not known in detail.

The factors influencing liver elasticity in patients with inflammatory disease (at least to some degree), independent of fibrosis, are acute hepatitis, any flare of transaminase values, acute- on chronic hepatitis[36, 37], cholestasis[38] and acute liver failure[39]. In a recent study of 104 patients with chronic hepatitis B (CHB) and 453 patients within chronic hepatitis C (CHC), histological necro-inflammatory activity was found to be an independent risk factor for the overestimation of liver stiffness in HCV and HBV, while histological steatosis was a risk factor in HCV patients only[40].

Other factors influencing liver elasticity in patients with fatty liver (hepatic steatosis) with or without inflammatory activity, with or without fibrosis, have also been described[41-47].

The multivariate intercorrelation of factors influencing liver elasticity under different circumstances is not known. Since multiple factors have shown to influence liver stiffness measurements, interpretation of results has to be performed taking into account all these risk factors.

# DIAGNOSIS OF LIVER FIBROSIS

## Liver biopsy

Liver biopsy (LB) has been considered the “gold-standard” for grading and follow-up of necro-inflammatory activity and staging of fibrosis for more than fifty years[48, 49].

However, substantial limitations are obvious. Firstly, it is an invasive method with a significant complication rate[50]. A review of the literature regarding possible complications has recently been published[51]. Secondly, liver biopsy has shown some sampling variability[52]. The specimen obtained by LB represents a very small part of the liver (about 1/50000) but inflammatory and fibrotic activity is known to be patchy within the liver. The sampling variability can be reduced by mini-laparoscopic guided biopsy with the ability to evaluate the liver surface[53-57], however, it has been shown that the sampling error using mini-laparoscopic guided biopsy is still about 30%[58]. Liver biopsy has also shown some intra- and inter-observer variability[58, 59]. Thirdly, there is a high inter-observer variability during microscopic evaluation[58].

Therefore, one difficulty for the evaluation of non-invasive markers of fibrosis is the use of liver biopsy as a reference method. Taking into account the limitations of liver biopsy, a perfect non-invasive method cannot be distinguished from an unacceptable fibrosis marker. Thus a new reference marker is needed. Studies have shown that non-invasive tests for liver fibrosis with FibroTest, ELF and TE can predict 5-10 year survival of patients with CHC[60-64]. However, more studies using liver related mortality as the endpoint are still awaited to identify the best non-invasive methods[3].

## Serum marker of liver fibrosis

One important non-invasive method for assessment of the severity of fibrosis includes serum markers[65-68]. So far, many serum biomarkers, both direct and indirect, have been evaluated for their ability to stage liver fibrosis[69-71]. Direct serum markers, reflecting either the deposition or the removal of extracellular matrix in the liver, include: (1) collagens such as type IV collagen, procollagen III N-peptide, collagenases; (2) inhibitors of collagens such as matrix metalloproteases and tissue inhibitory metalloprotease-1; and (3) glycoproteins such as serum hyaluronate, laminin, and YKL-40. So–called indirect markers include factors that can be measured from routine blood tests, such as platelet count, prothrombin index, and AST/ALT (aspartate aminotransferase / alanine aminotransferase), which indicate alterations in hepatic function. The usefulness of these markers has been assessed mostly in patients with CHC[70-72]{Manning, 2008 #60} and hyaluronate has been the most extensively studied direct marker[73, 74]. These direct and indirect markers, when used individually, are useful for the diagnosis or the exclusion of cirrhosis but have limited accuracy for the diagnosis of clinically significant fibrosis[75]. Therefore, more sophisticated algorithms or indices combining the results of groups of markers have been developed to improve the diagnostic accuracy. The FibroTest™ (proprietary formula; Biopredictive, Paris, France) was the first algorithm that combined these data[76]. Thereafter, several other indices, such as Fibrosure™ in the USA (LabCorp, Burlington, NC, United States), the Fibrometers™ (BioLiveScale, Angers, France), the FibroSpect II™ (Promotheus Laboratory Inc. San Diego, Ca, United States), the ELF™ (Enhanced Liver Fibrosis Test, iQur Ltd, Southampton, United Kingdom) and the Hepascore™ (PathWest, University of Western Australia, Australia), have been developed. They are mainly for patients with CHC[77-80], but can also be used in patients with hepatitis B[81, 82] and HIV-HCV co-infection[83, 84]. Among these indices, Fibrotest has been the one most extensively studied[69].

In a prospective cohort of 537 HCV-infected patients, Fibrotest had a 5 year prognostic value (HCV-related complications and death) similar to that of liver biopsy[61]. In a meta-analysis[85] which included 6378 subjects with both FibroTest and biopsy (3501 HCV and 1457 HBV), the mean standardized area under the receiver operator curve (AUROC) for diagnosing significant fibrosis was 0.84 (95%CI: 0.83–0.86), without differences between HCV, 0.85 (0.82–0.87) and HBV, 0.80 (0.77–0.84). ELF has been evaluated in a recently published study[86] that included 196 patients. The ELF panel had an AUROC of 0.90 for distinguishing severe fibrosis, 0.82 for moderate fibrosis, and 0.76 for no fibrosis, and it was improved to 0.98, 0.93, and 0.84, respectively, by the addition of simple markers. The clinical utility model showed that 82% and 88% of liver biopsies could potentially be avoided for the diagnosis of severe fibrosis using ELF and the combined panel, respectivel[62, 64].

### Advantages and limitations

The practical advantages of analysing serum biomarkers to measure fibrosis include their high applicability and high inter-laboratory reproducibility[87, 88]. However, the direct markers of liver fibrosis are not routinely available in most hospital settings, and none of the serum markers are liver specific—their results can be influenced by comorbidity. For example, FibroTest and Hepascore produce false-positive results in patients with Gilbert’s syndrome or haemolysis as these patients have hyperbilirubinaemia[89]. Similarly, acute hepatitis can produce false-positive results in the marker measuring the level of aminotransferases, such as aspartate-to-platelet ratio index (APRI), Forns index, FIB-4, or Fibrometer tests.

## Magnetic resonance elastography

In recent years, magnetic resonance elastography (MRE) has been developed as a non-invasive functional MRI method for assessing and staging liver fibrosis, using a modified phase-contrast method to image the propagation characteristics of shear waves in the liver[90, 91]. Elasticity is quantified by MRE and expressed in kilopascals (kPa) using a formula that determines the shear modulus, equivalent to one-third of the Young’s modulus which is estimated with TE[72, 92]. So far, there is only limited data on the accuracy of MRE. Several studies[92-96] have evaluated the usefulness of MRE for the assessment of liver stiffness among patients with chronic liver disease and have shown that increased shear stiffness measured on MRE is associated with increased severity of the fibrotic process. In addition, MRE has relatively high sensitivity and specificity for predicting the stage of hepatic fibrosis. It has shown at least equivalent diagnostic performance in fibrosis staging compared with TE with fewer limitations regarding its application in patients with a large amount of ascites or who are obese[92-95] .Yin et al[95] reported sensitivity of 86% and 78%, and specificity of 85% and 96%, with cut-off values of 4.89 and 6.47 kPa, respectively. Huwart et al[93] showed similarly high sensitivity of 98% and 95%, and specificity of 100% and 100%, for discrimination, but lower cut-off values of 2.5 kPa and 3.1 kPa were used. The reason for the difference in cut-off values obtained in the two studies may potentially be explained by the differently manufactured scanners used for MRE acquisition, case mixes, imaging protocols, and post-processing procedures. A meta-analysis has been recently published[97].

### Advantages and limitations

Compared with TE, dynamic MRE has the potential to assess larger volumes (almost the entire liver) and to provide full three-dimensional information about the viscoelastic properties of tissues[98], moreover, due to the theoretical advantages, MRE is capable of application to patients with obesity or ascites. However, MRE cannot be performed on the liver of patients with iron overload because of signal-to-noise limitations and it is too costly and time-consuming to use in routine practice[72].

# INTRODUCTION TO ULTRASOUND ELASTOGRAPHY

## Transient elastography

Transient Elastography (TE, FibroScan®) was the first tool introduced for routine clinical use (Echosens, Paris, France) (Figure 1). TE does not display a conventional ultrasound image. TE has been mainly evaluated in patients with chronic viral hepatitis C and also in a few patients with human immunodeficiency virus (HIV)/ viral hepatitis C co-infection and some other liver diseases (see below)[99].

### Technique

Basic principles: TE is an ultrasound-based non-invasive method. It is characterized by the material’s strain response to external stress according to the principle of Hooke’s law[9]. Briefly, an ultrasound transducer probe is mounted on the axis of a vibrator. Vibrations of mild amplitude and low frequency (50 Hz) are transmitted by the transducer from a right intercostal space, inducing an elastic shear wave that propagates through the liver. Pulse-echo ultrasound acquisition is used to follow the propagation of the shear wave and to measure its speed. This speed is proportional to the tissue stiffness, with faster wave progression occurring through stiffer material. The elastic modulus E is expressed as E = 3qV2, where V is the shear wave speed and q is the material density (assumed constant for tissues): the stiffer the tissue, the faster the shear wave propagates[100]. TE measures LS in a cylindrical volume approximately 10 mm wide and 40 mm long, between 25 and 65 mm below the skin surface with the standard M-probe, and between 35 and 75 mm for the recently developed XL probe, recommended for obese patients[101, 102]. This volume is at least 100 times bigger than a biopsy sample and it has been suggested, therefore, that the results compared to liver biopsy are more representative of the hepatic parenchyma. However, TE does not work for the left liver lobe or from a subcostal approach and the measurement is only feasible via a few intercostal spaces. Therefore, the technique is limited. Inter- and intra-observer variability depend on the intercostal space used, the presence of ascites, musculoskeletal habitus, depth of subcutaneous tissue, position of the patient, and many other factors[47, 103].

How to perform? The measurements with FibroScan® are taken from the right liver lobe via an intercostal space, while the patient lies flat on his/her back, with the right arm tucked behind the head to facilitate access to the liver parenchyma. The tip of the probe is covered with coupling gel and placed on the skin between the ribs at the level of the right lobe where liver biopsy would be performed. Once the measurement area has been located, the operator presses the probe button (shot) to start an acquisition. When a shot is unsuccessful, the machine does not give a reading. Measurement of LS is measured in kilopascals (kPa) (range is between 2.5 and 75 kPa)[100].

Advantages: TE with FibroScan® is a rapid procedure (less than 5 min), painless, and easy to perform even in the outpatient clinic or at the bedside. The results are immediately available[103]. The examination can be performed by a nurse after a short learning curve (about 100 examinations)[104]. In addition, TE analysis has excellent inter- and intra-observer agreement, which makes it suitable for widespread application in clinical practice[103, 105, 106].

Limitations: TE provides only a regional elasticity measurement (determined by the width of the ultrasound beam and depth of the shear wave penetration), but no anatomical images or elastograms. Other drawbacks include limited depth (several cm), the inability of the shear wave to propagate beyond fluid collections (ascites) and difficulty in obtaining sufficient signal in obese patients. Recently, a new probe (XL probe; Echosens, Paris, France) has been proposed for overweight and obese patients[107], and a so-called S-probe has been developed for patients with narrow intercostal spaces, especially children[108]. However, it remains impossible to obtain TE results from patients with ascites[105].

The validity of the TE result also depends on two important parameters: (1) the success rate (the ratio of the number of successful measurements to the total number of acquisitions) should be at least 60%; and (2) the interquartile range (IQR), which reflects the variability of the validated measurements, should not exceed 30% of the median value[109] (Figure 1). Both the feasibility and reproducibility of the TE measurement may be affected by high body mass index (BMI). In a study with 13369 TE measurements, a failure rate of 3.1% was reported. Unreliable results were reported in 15.8% of measurements and were associated with a BMI > 30 kg/m2, age >  52 years, female sex, operator experience and type 2 diabetes[47].

The clinical interpretation of TE results should always be made by an expert clinician and with reference to the patient’s history, disease aetiology and essential laboratory parameters et al[110].

Intra- and inter-observer variability: Many studies[103, 105, 106] have shown that the intra- and inter-observer reproducibility of TE measurements are good, at least in non-obese subjects. In the study by Sandrin et al[105] intra- and inter-observer variation in TE was investigated in 15 patients and was around 3%, but with a wide variation (2%–18%). The sample size of this study was small, and therefore inadequate to draw firm conclusions on host- and disease-related co-variates that may interfere with TE performance. Another study by Fraquelli et al[103] with a larger sample obtained similar results; 800 TE examinations were performed by two operators in 200 patients with various chronic liver diseases. Both inter- and intra-observer agreement was high and TE reproducibility was excellent, with an intraclass correlation coefficient (ICC) of 0.98. However, inter-observer agreement was significantly reduced in patients with mild hepatic fibrosis, and hepatic steatosis.

The probe location during the TE measurement may affect its reproducibility. In a recent study[111] TE was performed on 625 consecutive patients with chronic liver disease at three different sampling sites. Sampling variability according to probe location was seen in approximately 30% of patients and it was suggested that TE should be performed from various sites to minimize the sampling error.

### Review of the literature

Chronic viral hepatitis: For patients with chronic hepatitis C, LS values > 6.8–7.6 kPa are indicative of significant fibrosis (F ≥ 2) using the gold standard of liver biopsy, and the cut-off values for predicting complete cirrhosis (F = 4) range between 11.0 and 13.6 kPa[20, 112, 113]. TE is able to distinguish mild fibrosis from advanced liver fibrosis and cirrhosis, which is important for decision making[114]. In contrast, TE does not allow differentiation between the contiguous stages of liver fibrosis. In a meta-analysis including 40 studies[114], the pooled sensitivity and specificity of TE was 79% and 78% for the diagnosis of significant fibrosis; 82% and 86% for diagnosing severe fibrosis; and 83% and 89% for the diagnosis of liver cirrhosis.

It might be of interest to remember that conventional ultrasound techniques can also distinguish between liver cirrhosis and early liver disease in approx. 70% of patients with high specificity but low sensitivity[115-124]. However, TE had an acceptable diagnostic accuracy for detecting early compensated cirrhosis in patients with CHB who did not fulfil the clinical and ultrasound criteria for cirrhosis[125]. Conventional ultrasound techniques are helpful in the detection of complications of liver cirrhosis including portal hypertension[126, 127] and can also give important information about fatty infiltration[128-132] and inflammation[133-136]. In a study with 90 patients with suspected liver cirrhosis, liver surface nodularity on conventional ultrasound and TE showed comparable results for diagnosis and exclusion of liver cirrhosis, with the best results when both methods were combined. Liver surface nodularity was better for the diagnosis of liver cirrhosis, while TE was better at ruling out cirrhosis[137].

The performances of TE, when compared, have been shown to be similar between patients with HBV and HCV[138]. Several studies have investigated the performance of TE in an Asian population with CHB[125, 139-144] and concluded that TE is a promising and accurate tool for the early detection of cirrhosis. It is demonstrated that the optimal cut-off values for diagnosing HBV-related cirrhosis were between 9.0 and 10.1 kPa in the Asian population[125, 140, 142, 145], which is lower than that in patients with CHC[146, 147]. Since there is an increasing number of evidence on the usefulness of TE in patients with CHB, especially in the Asian population, TE should also be recommended in patients with CHB, though the evidence is more limited compared to CHC. Future and updated guidelines have to include this recommendation.

It would be interesting to know in what percentage of patients TE can give important additional information which is of relevance to the treatment, over and above sophisticated ultrasound technology in the hand of an expert hepatologist[43, 148].

### EFSUMB Recommendations

TE can be used to assess the severity of liver fibrosis in patients with chronic viral hepatitis, provided that confounding factors are taken into account, and especially to distinguish patients with nil/mild fibrosis from those with significant fibrosis, and to identify those with cirrhosis. TE is useful for assessement of liver fibrosis in patients with NAFLD, alcoholic liver diseases, and in patients co-infected with human immunodeficiency virus (HIV) and hepatitis C virus. Other types of chronic liver disease might also have been investigated, but the evidence is more limited. TE is useful for assessement of liver fibrosis in patients with post-transplant recurrence of chronic hepatitis C. TE has some value for predicting the occurrence of complications of liver cirrhosis, portal hypertension, HCC and liver-associated mortality. It cannot replace upper gastrointestinal endoscopy for identifying patient with varices[20].

# POINT SHEAR WAVE ELASTOGRAPHY (PSWE) WITH ACOUSTIC RADIATION FORCE IMPULSE IMAGING

Point shear wave elastography (PSWE) has been introduced by different companies, each currently at different stages of development[7, 20]. Acoustic radiation force impulse (ARFI) was the second method to be introduced as a tool for liver fibrosis assessment in a clinical setting. ARFI has a significant advantage over TE in that it simultaneously displays a conventional ultrasound image. The accuracy of both methods has been shown to be similar in the differentiation of normal liver parenchyma from liver cirrhosis[15, 149, 150]. ARFI has been mainly evaluated in patients with chronic viral hepatitis C and in a few other liver diseases.

### Technique

Basic principles: ARFI quantification has been developed by two companies (Siemens and Philips) according to the guidelines[7, 20], almost all reported studies were done with a conventional high-end ultrasound machine (Siemens S2000). It uses a region of interest (ROI) cursor to interrogate the elastic properties of a specific anatomic region, while real-time B-mode imaging of the abdomen being performed. Short-duration acoustic pulses with a fixed transmit frequency of 2.67 MHz, are generated in the vicinity of the ROI and the subsequent mechanical excitation of the tissues results in tissue displacement and the formation of shear waves that propagate away from the region of excitation. Ultrasound tracking beams laterally adjacent to the single push-beam are used to estimate the shear wave speed in the tissue by the measurement of the time to peak displacement at each lateral location[151]. The shear wave speed is estimated in the central window 5 mm long by 4 mm wide within a graphically displayed ROI of size 10 mm long by 6 mm wide. The results are expressed in meters per second (m/s) (range: 0.5–4.4 m/s with ±20% accuracy over the range), the shear wave propagation speed being proportional to the square root of the tissue elasticity[152, 153]. The ARFI imaging examination takes approx. 5 min. Unlike FibroScan®, ARFI can be utilized in patients with ascites. No limitations concerning measurement are known[154].

Tips and tricks: When scanning the right lobe (especially segment VIII), an optimal window should be used. To reduce the variance of the measurement, it is recommended to apply minimal scan pressure and for the patient to minimize breathing, the influence of cardiac motion should also be avoided. In general, the best and most consistent results will occur when the "normal" state of the liver is measured. When scanning intercostally, no pressure should be applied to the liver and the patient should be asked to just stop breathing for a moment (instead of deep inspiration and breath hold).

In difficult patients, several measurement attempts are needed to “average” out the readings, and data that varies significantly should be excluded. It is recommended to put the patient in a left lateral decubitus position with right arm behind the head in order to get better access to the liver without excessive pushing or the need for breath holds[155]. However, it may still not be possible to get reliable readings in 5.3 % of patients[156].

Intra- and inter-observer variability: Reproducibility of ARFI is also an important pre-requisite for its widespread application in clinical practice. Good inter-observer variability has been reported[157]. Since ARFI allows different measurement sites, comparison of measurements in the right and left liver lobes have been made, and have shown a trend toward higher values in the left lobe[157-159]. However, results in the right lobe revealed higher diagnostic accuracy compared to the left (AUROC: for diagnosis of F1, F2, F3, F4, right lobe: 0.92; 0.83; 0.86; 0.80; left lobe: 0.77; 0.71; 0.78; 0.84; sensitivity, specificity, PPV and NPV of right lobe: 0.88; 0.81; 0.74; 0.92; left lobe: 0.80; 0.75; 0.87; 0.68)[159] (Table 2).

### Clinical applications

Chronic viral hepatitis: In patients with significant fibrosis (F≥2) the ARFI cut-off values published have been between 1.21-1.34 m/s (AUROCs 0.85-0.89)[23, 149, 150] and in patients with cirrhosis, 1.55-2 m/s (AUROC’s 0.89-0.93)[15, 23, 149, 160] (Figure 2). Similar to TE, SWE has not proved accurate enough to distinguish between contiguous stages of fibrosis [20].

Other liver diseases: ARFI has also been evaluated in patients with NAFLD and NASH[161, 162] and in patients after liver transplantation[163].

Meta-analysis: Friedrich-Rust et al[154] published a meta-analysis which included 9 studies with a combined total of 518 patients with chronic liver disease and evaluated the diagnostic performance of ARFI imaging for the staging of liver fibrosis. The diagnostic accuracy of ARFI quantified by the AUROC was 87% for predicting significant fibrosis (F ≥ 2), 91% for the diagnosis of severe fibrosis (F ≥ 3) and 93% for the diagnosis of liver cirrhosis. The meta-analysis revealed good diagnostic accuracy for ARFI in the diagnosis of significant liver fibrosis and excellent diagnostic accuracy for the diagnosis of liver cirrhosis.

It was also shown that a comparison of ARFI with TE in the four studies that included 312 patients, resulted in comparable diagnostic accuracies for both methods in the diagnosis of severe fibrosis, and slightly, but significantly, higher diagnostic accuracies of TE for the diagnosis of significant fibrosis and liver cirrhosis. However, a recent study showed superior results for ARFI elastography[150]. Future multicentre studies are necessary to compare the different methods before any conclusions can be drawn.

### Advantages and limitations

In contrast to TE, ARFI has been shown to be less influenced by obesity and ascites[151]. One study showed that valid liver stiffness measurement (LSM) were obtained in all 23 patients with morbid obesity (mean BMI was higher than 44 kg/m2)[164]. In addition, it can be easily added to a commercial ultrasound machine.

However, in contrast to TE values, ARFI values have a narrow measurement range (0.5– 4.4 metres/s), which limits the definition of cut-off values required for decisions on patient management. In addition, inflammatory activity and elevated aminotransferase levels may lead to overestimation of ARFI-LS values[15, 25] as has been shown for TE. Moreover, since this is a new technique, the quality criteria are not yet well-defined.

### EFSUMB Recommendations

pSWE with ARFI can be used to assess the severity of liver fibrosis in patients with chronic viral hepatitis, especially with hepatitis C. pSWE with ARFI is promising for liver fibrosis assessment in patients with NAFLD, and post-transplant patients[7, 20].

# 2D SHEAR WAVE ELASTOGRAPHY

Shear wave elastography (SWE, Aixplorer®, SuperSonic Imagine (SSI), France) has been introduced as a 2D and also 3D-technique. So far, only 2D shear wave elastography (2D-SWE) has been evaluated in studies on the liver. The studies of 3D-SWE have mainly focused on the breast[165, 166].

### Technique

This technique is based on the combination of a radiation force induced in the tissues by focused ultrasonic beams and very high frame rate (up to 5000 f/s) ultrasound imaging capable of catching, in real time, the transient propagation of the resulting shear waves[167, 168]. The local shear wave speed is recovered using a dedicated time-of-flight estimation technique and enables the 2-D quantitative mapping of elasticity. This imaging modality can be performed using a conventional ultrasound probe, during a standard intercostal ultrasound examination. Three supersonic shear wave imaging sequences are applied successively to the left, middle and right parts of the 2-D ultrasound image. The resulting elasticity images in the three regions are concatenated to provide the final image covering the entire region-of-interest. The ability of the SWE technique to provide a quantitative and local estimation of liver shear modulus with a millimetric resolution has been proven in a pilot study in 15 healthy volunteers[18]. Liver moduli extracted from in vivo data from healthy volunteers, were consistent with those reported in the literature (Young's modulus ranging from 4 to 7.5 kPa). Moreover, LSM using the SWE mode was fast (less than one second), repeatable (5.7% standard deviation) and reproducible (6.7% standard deviation)[3].

Intra- and inter-observer variability: To date, there has only been one study[169] aimed at assessing the intra- and inter-observer precision of 2D-SWE measurements in the evaluation of liver elasticity. It was reported that the reproducibility was good with high intra- and inter-observer agreement. In this study, 2D-SWE was performed on 60 volunteers (42 cases with 10 consecutive measurements, 18 cases with 2 measurements) on 2 different days by 2 operators (one expert and one novice). The intra-observer agreement between measurements performed in the same subject on the same day (day 1 or day 2) showed intraclass correlation coefficient (ICC) values of 0.95 and 0.93 for the expert operator and novice, respectively, and the ICC values for intra-observer agreement between measurements performed in the same subject on different days were 0.84 and 0.65, respectively. The inter-observer agreement was 0.88. Therefore, real-time 2D-SWE has been shown to be a reproducible method to measure liver elasticity, but the novice operator showed lower measurement reproducibility over time than the expert operator.

### Clinical application

Chronic hepatitis C: 2D-SWE might be used in assessing liver fibrosis for patients with chronic hepatitis C (CHC), as has been proved in two large studies. Ferraioli et al assessed the accuracy of 2D-SWE in comparison with transient elastography in 121 patients with CHC using liver biopsy as the reference standard, and found that liver stiffness values increased in parallel with the degree of liver fibrosis both with 2D-SWE and TE. The AUROC was 0.92 for 2D-SWE and 0.84 for TE (P = 0.002); 0.98 for 2D-SWE and 0.96 for TE (P = 0.14); 0.98 for 2D-SWE and 0.96 for TE (P = 0.48), when comparing F0-F1 vs F2- F4, F0- F2 vs F3-F4, and F0 -F3 vs F4, respectively (Figure 3). Therefore, the real-time 2D-SWE was more accurate than TE in assessing significant fibrosis (≥ F2)[170]. In the other study which included 113 hepatitis C virus patients, a good agreement was shown between 2D-SWE and TE, the AUROC for elasticity values assessed by 2D-SWE were 0.948, 0.962 and 0.968 for patients with predicted fibrosis levels F ≥ 2, F ≥ 3 and F = 4, respectively. However, LB was only available in 39 patients[17].

### EFSUMB Recommendations

2D-SWE can be used to assess the severity of liver fibrosis in patients with chronic viral hepatitis, especially with hepatitis C[7, 20].

# STRAIN ELASTOGRAPHY

Strain elastography (SE), also termed as quasi-static strain imaging, has been developed by several manufacturers, however, only Hitachi ultrasound system has been evaluated for use in liver.

### Technique

SE is based upon the fact that soft tissue can be more easily compressed than hard tissue. When subtle compression is applied with probe, SE shows the relative degree of tissue strain, but not demonstrates the physical elasticity directly. SE calculates the strain response of the tissue to stress (relative tissue elasticity) and displays it as a colour overlay [pranges from red (soft) to blue (hard)] on the B-mode image[171]. The echo signals could be captured in real-time by incorporating a high speed algorithm, in addition, both the B-mode image and corresponding tissue elasticity image could be simultaneous displayed[172]. Semi-quantitative elastography techniques are based on quantification of the strain distribution within a defined ROI.

Because the pressure generated by the operator’s compression may influence both the image of elasticity and the resulting elasticity score, Hitachi medical system has recently developed an elastography method that did not require extra external stress. The required liver distortion for future analysis would be achieved from the rhythmic pulsations of the abdominal aorta or the heart.

### Clinical application

In 2007, Frederich-Rust et al[11] reported the clinical application of SE in the liver. They developed an elasticity score by assessing the colour-coded strain image using the computer program Matlab. The diagnostic accuracy for F2, F3 and F4 were 0.75, 0.73 and 0.69, respectively. In 2009, the same group[173] compared SE with TE (Fibroscan) and serum fibrosis marker (Fibrotest), and concluded that SE in its evaluated format could not replace TE for non-invasive assessment of liver fibrosis at the time of the study. After the software for elastography was developed by Hitachi medical systems, good results were published by several studies. Morikawa et al[174] transferred the pixel data in the ROI into a histogram and a binary image for semi quantification with a devised system, and found that the mean value on the histogram and the percentage of hard tissue may directly represent liver elasticity. The diagnostic accuracy of SE for liver fibrosis was also compared with TE, the author felt SE compared favourably with TE and suggested SE could potentially be used as a routine imaging tool to evaluate liver fibrosis. A Chinese group[175] utilized a new Hitachi ultrasound system (HI VISION Preius) and concluded that there was a strong positive correlation (r = 0.81) between the elasticity index and fibrosis stage. Diagnostic accuracies of SE for the diagnosis of F1, F2, F3, F4 were 0.93, 0.92, 0.84 and 0.66, respectively. Koizumi Y et al[176] performed a semi-quantitative analysis using the elastic ratio method (ratio of strain distribution in two selected ROI) on 70 patients with CHC and with the hepatic vein as the internal control and found that the AUROC curves for elastic ratio were superior to serum fibrosis markers and scores of fibrotic change based on blood results (Figure 4).

More studies including meta-analysis about the use of SE for the evaluation of liver fibrosis are required to establish a protocol for accurate imaging and to standardize analysis.

### Advantages

The main advantage of this technique is the relatively large region of interest that can be interrogated in the right liver lobe, plus the quantification method that can measure the change from the diffuse soft uniform architecture of the liver to a patchy hard pattern as hepatic fibrosis progresses.

### Intra- and inter-observer reproducibility

The intra-observer variability and intra-observer agreement of SE for the assessment of liver fibrosis have been criticized in several studies[173, 177, 178]. In a more recent study, a Japanese group[176] used a semi-quantitative method (elastic ratio) and found that the measurements obtained from four separate locations had no observed variation between the two operators (K = 0.835, ICC 0.966).

### EFSUMB recommendations

The evidence with this approach is still too limited to allow recommendation for its clinical use, at least in European patients[7, 20].

# ADVANTAGES AND DISADVANTAGES OF CURRENT NON-INVASIVE METHODS IN EVALUATING LIVER FIBROSIS

Advantages and disadvantages of currently available non-invasive methods in patients with chronic viral hepatitis C are summarized in Table 3.

# ELASTOGRAPHY FOR DETECTION AND CHARACTERIZATION OF FOCAL LIVER LESIONS

Elastography methods have been also applied for detection and characterisation of focal liver lesions (FLL). Although the method so far cannot be applied to all segments and the limited depth of penetration is so far disappointing, several studies have evaluated the performance of ARFI to differentiate FLL, and the results are encouraging. ARFI has shown a high accuracy for the identification of malignant FLL. In a meta-analysis by Ying et al[179] including 590 lesions in eight studies, the summary sensitivity and specificity for identification of malignant liver lesions were 0.86 and 0.89, respectively. The hierarchical summary receiver operating characteristic (HSROC) was 0.94. However, one paper showed that ARFI did not permit differentiation between benign and malignant FLL because high ARFI values occur in benign as well as in malignant lesions[180]. In another study by Gallotti A, the mean shear wave speed of HCC, haemangioma, adenoma, metastasis, FNH was 2.17, 2.30, 1.25, 2.87, 2.75 m/s, respectively. Adenoma showed similar stiffness to the surrounding liver, and was significantly softer than the other four types of lesion. FNH showed different stiffness to HCC and metastasis, however, haemangioma showed no difference to HCC, metastasis and FNH[181] (Figures 5 and 6). The performance of ARFI is summarized in the following Table 4.

### EFSUMB Recommendations

Although promising results have been reported, more research is needed, especially in comparison to CEUS, before recommendations on its use in clinical practice can be made. So far, elastography cannot be recommended for the differential diagnosis of benign from malignant liver lesions[7, 20].

# REFERENCES

1 Ophir J, Céspedes I, Ponnekanti H, Yazdi Y, Li X. Elastography: a quantitative method for imaging the elasticity of biological tissues. Ultrason Imaging 1991; 13: 111-134 [PMID: 1858217]

2 Ophir J, Garra B, Kallel F, Konofagou E, Krouskop T, Righetti R, Varghese T. Elastographic imaging. Ultrasound Med Biol 2000; 26 Suppl 1: S23-S29 [PMID: 10794867]

3 Sporea I, Friedrich-Rust M, Gilja OH. Estimation of liver stiffness using ultrasound waves. In: Dietrich CF, editor EFSUMB European Course Book. London: European Federation of Societies for Ultrasound in Medicine and Biology, 2012: 91-108

4 Dietrich CF. Real-time tissue elastography. Multiple clinical applications. Multiple clinical solutions. Endoskopie Heute 2011; 24: 177-212

5 Matre K, Moen CA, Fanneløp T, Dahle GO, Grong K. Multilayer radial systolic strain can identify subendocardial ischemia: an experimental tissue Doppler imaging study of the porcine left ventricular wall. Eur J Echocardiogr 2007; 8: 420-430 [PMID: 17597008 DOI: 10.1016/j.euje.2007.03.031]

6 Gilja OH, Heimdal A, Hausken T, Gregersen H, Matre K, Berstad A, Ødegaard S. Strain during gastric contractions can be measured using Doppler ultrasonography. Ultrasound Med Biol 2002; 28: 1457-1465 [PMID: 12498941]

7 Bamber J, Cosgrove D, Dietrich CF, Fromageau J, Bojunga J, Calliada F, Cantisani V, Correas JM, D'Onofrio M, Drakonaki EE, Fink M, Friedrich-Rust M, Gilja OH, Havre RF, Jenssen C, Klauser AS, Ohlinger R, Saftoiu A, Schaefer F, Sporea I, Piscaglia F. EFSUMB guidelines and recommendations on the clinical use of ultrasound elastography. Part 1: Basic principles and technology. Ultraschall Med 2013; 34: 169-184 [PMID: 23558397 DOI: 10.1055/s-0033-1335205]

8 Rockey DC. Noninvasive assessment of liver fibrosis and portal hypertension with transient elastography. Gastroenterology 2008; 134: 8-14 [PMID: 18166342 DOI: 10.1053/j.gastro.2007.11.053]

9 Talwalkar JA, Kurtz DM, Schoenleber SJ, West CP, Montori VM. Ultrasound-based transient elastography for the detection of hepatic fibrosis: systematic review and meta-analysis. Clin Gastroenterol Hepatol 2007; 5: 1214-1220 [PMID: 17916549 DOI: 10.1016/j.cgh.2007.07.020]

10 Friedrich-Rust M, Ong MF, Martens S, Sarrazin C, Bojunga J, Zeuzem S, Herrmann E. Performance of transient elastography for the staging of liver fibrosis: a meta-analysis. Gastroenterology 2008; 134: 960-974 [PMID: 18395077 DOI: 10.1053/j.gastro.2008.01.034]

11 Friedrich-Rust M, Ong MF, Herrmann E, Dries V, Samaras P, Zeuzem S, Sarrazin C. Real-time elastography for noninvasive assessment of liver fibrosis in chronic viral hepatitis. AJR Am J Roentgenol 2007; 188: 758-764 [PMID: 17312065 DOI: 10.2214/AJR.06.0322]

12 Tatsumi C, Kudo M, Ueshima K, Kitai S, Takahashi S, Inoue T, Minami Y, Chung H, Maekawa K, Fujimoto K, Akiko T, Takeshi M. Noninvasive evaluation of hepatic fibrosis using serum fibrotic markers, transient elastography (FibroScan) and real-time tissue elastography. Intervirology 2008; 51 Suppl 1: 27-33 [PMID: 18544945 DOI: 10.1159/000122602]

13 Havre RF, Elde E, Gilja OH, Odegaard S, Eide GE, Matre K, Nesje LB. Freehand real-time elastography: impact of scanning parameters on image quality and in vitro intra- and interobserver validations. Ultrasound Med Biol 2008; 34: 1638-1650 [PMID: 18524458 DOI: 10.1016/j.ultrasmedbio.2008.03.009]

14 Sporea I, Sirli R, Bota S, Popescu A, Sendroiu M, Jurchis A. Comparative study concerning the value of acoustic radiation force impulse elastography (ARFI) in comparison with transient elastography (TE) for the assessment of liver fibrosis in patients with chronic hepatitis B and C. Ultrasound Med Biol 2012; 38: 1310-1316 [PMID: 22698510 DOI: 10.1016/j.ultrasmedbio.2012.03.011]

15 Sporea I, Bota S, Peck-Radosavljevic M, Sirli R, Tanaka H, Iijima H, Badea R, Lupsor M, Fierbinteanu-Braticevici C, Petrisor A, Saito H, Ebinuma H, Friedrich-Rust M, Sarrazin C, Takahashi H, Ono N, Piscaglia F, Borghi A, D'Onofrio M, Gallotti A, Ferlitsch A, Popescu A, Danila M. Acoustic Radiation Force Impulse elastography for fibrosis evaluation in patients with chronic hepatitis C: an international multicenter study. Eur J Radiol 2012; 81: 4112-4118 [PMID: 23000186 DOI: 10.1016/j.ejrad.2012.08.018]

16 Lupsor M, Badea R, Stefanescu H, Sparchez Z, Branda H, Serban A, Maniu A. Performance of a new elastographic method (ARFI technology) compared to unidimensional transient elastography in the noninvasive assessment of chronic hepatitis C. Preliminary results. J Gastrointestin Liver Dis 2009; 18: 303-310 [PMID: 19795024]

17 Bavu E, Gennisson JL, Couade M, Bercoff J, Mallet V, Fink M, Badel A, Vallet-Pichard A, Nalpas B, Tanter M, Pol S. Noninvasive in vivo liver fibrosis evaluation using supersonic shear imaging: a clinical study on 113 hepatitis C virus patients. Ultrasound Med Biol 2011; 37: 1361-1373 [PMID: 21775051 DOI: 10.1016/j.ultrasmedbio.2011.05.016]

18 Muller M, Gennisson JL, Deffieux T, Tanter M, Fink M. Quantitative viscoelasticity mapping of human liver using supersonic shear imaging: preliminary in vivo feasibility study. Ultrasound Med Biol 2009; 35: 219-229 [PMID: 19081665 DOI: 10.1016/j.ultrasmedbio.2008.08.018]

19 Current status and perspectives of elastography. Eur J Radiol 2013; [PMID: 23540945 DOI: 10.1016/j.ejrad.2013.02.028]

20 Cosgrove D, Piscaglia F, Bamber J, Bojunga J, Correas JM, Gilja OH, Klauser AS, Sporea I, Calliada F, Cantisani V, D'Onofrio M, Drakonaki EE, Fink M, Friedrich-Rust M, Fromageau J, Havre RF, Jenssen C, Ohlinger R, Săftoiu A, Schaefer F, Dietrich CF. EFSUMB guidelines and recommendations on the clinical use of ultrasound elastography. Part 2: Clinical applications. Ultraschall Med 2013; 34: 238-253 [PMID: 23605169 DOI: 10.1055/s-0033-1335375]

21 Marginean CO, Marginean C. Elastographic assessment of liver fibrosis in children: A prospective single center experience. Eur J Radiol 2012; 81: e870-e874 [PMID: 22609320 DOI: 10.1016/j.ejrad.2012.04.014]

22 Sporea I, Şirli R, Popescu A, Bota S, Badea R, Lupşor M, Focşa M, Dănilă M. Is it better to use two elastographic methods for liver fibrosis assessment? World J Gastroenterol 2011; 17: 3824-3829 [PMID: 21987625 DOI: 10.3748/wjg.v17.i33.3824]

23 Sporea I, Sirli R, Bota S, Fierbinţeanu-Braticevici C, Petrişor A, Badea R, Lupşor M, Popescu A, Dănilă M. Is ARFI elastography reliable for predicting fibrosis severity in chronic HCV hepatitis? World J Radiol 2011; 3: 188-193 [PMID: 21860715 DOI: 10.4329/wjr.v3.i7.188]

24 Bota S, Sporea I, Sirli R, Popescu A, Dănilă M, Sendroiu M. Factors that influence the correlation of acoustic radiation force impulse (ARFI), elastography with liver fibrosis. Med Ultrason 2011; 13: 135-140 [PMID: 21655540]

25 Yoon KT, Lim SM, Park JY, Kim do Y, Ahn SH, Han KH, Chon CY, Cho M, Lee JW, Kim SU. Liver stiffness measurement using acoustic radiation force impulse (ARFI) elastography and effect of necroinflammation. Dig Dis Sci 2012; 57: 1682-1691 [PMID: 22302243 DOI: 10.1007/s10620-012-2044-4]

26 Kumar R, Rastogi A, Sharma MK, Bhatia V, Tyagi P, Sharma P, Garg H, Chandan Kumar KN, Bihari C, Sarin SK. Liver stiffness measurements in patients with different stages of nonalcoholic fatty liver disease: diagnostic performance and clinicopathological correlation. Dig Dis Sci 2013; 58: 265-274 [PMID: 22790906 DOI: 10.1007/s10620-012-2306-1]

27 Nahon P, Kettaneh A, Tengher-Barna I, Ziol M, de Lédinghen V, Douvin C, Marcellin P, Ganne-Carrié N, Trinchet JC, Beaugrand M. Assessment of liver fibrosis using transient elastography in patients with alcoholic liver disease. J Hepatol 2008; 49: 1062-1068 [PMID: 18930329 DOI: 10.1016/j.jhep.2008.08.011]

28 Wang JH, Changchien CS, Hung CH, Eng HL, Tung WC, Kee KM, Chen CH, Hu TH, Lee CM, Lu SN. FibroScan and ultrasonography in the prediction of hepatic fibrosis in patients with chronic viral hepatitis. J Gastroenterol 2009; 44: 439-446 [PMID: 19308312 DOI: 10.1007/s00535-009-0017-y]

29 Lupsor M, Badea R, Stefanescu H, Grigorescu M, Serban A, Radu C, Crişan D, Sparchez Z, Iancu S, Maniu A. Performance of unidimensional transient elastography in staging non-alcoholic steatohepatitis. J Gastrointestin Liver Dis 2010; 19: 53-60 [PMID: 20361076]

30 Millonig G, Friedrich S, Adolf S, Fonouni H, Golriz M, Mehrabi A, Stiefel P, Pöschl G, Büchler MW, Seitz HK, Mueller S. Liver stiffness is directly influenced by central venous pressure. J Hepatol 2010; 52: 206-210 [PMID: 20022130 DOI: 10.1016/j.jhep.2009.11.018]

31 Popescu A, Bota S, Sporea I, Sirli R, Danila M, Racean S, Suseanu D, Gradinaru O, Ivascu Siegfried C. The influence of food intake on liver stiffness values assessed by acoustic radiation force impulse elastography-preliminary results. Ultrasound Med Biol 2013; 39: 579-584 [PMID: 23415282 DOI: 10.1016/j.ultrasmedbio.2012.11.013]

32 Goertz RS, Egger C, Neurath MF, Strobel D. Impact of food intake, ultrasound transducer, breathing maneuvers and body position on acoustic radiation force impulse (ARFI) elastometry of the liver. Ultraschall Med 2012; 33: 380-385 [PMID: 22723037 DOI: 10.1055/s-0032-1312816]

33 Goldschmidt I, Streckenbach C, Dingemann C, Pfister ED, di Nanni A, Zapf A, Baumann U. Application and limitations of transient liver elastography in children. J Pediatr Gastroenterol Nutr 2013; 57: 109-113 [PMID: 23539048 DOI: 10.1097/MPG.0b013e31829206a0]

34 Mederacke I, Wursthorn K, Kirschner J, Rifai K, Manns MP, Wedemeyer H, Bahr MJ. Food intake increases liver stiffness in patients with chronic or resolved hepatitis C virus infection. Liver Int 2009; 29: 1500-1506 [PMID: 19732330 DOI: 10.1111/j.1478-3231.2009.02100.x]

35 Yun MH, Seo YS, Kang HS, Lee KG, Kim JH, An H, Yim HJ, Keum B, Jeen YT, Lee HS, Chun HJ, Um SH, Kim CD, Ryu HS. The effect of the respiratory cycle on liver stiffness values as measured by transient elastography. J Viral Hepat 2011; 18: 631-636 [PMID: 21029256 DOI: 10.1111/j.1365-2893.2010.01376.x]

36 Coco B, Oliveri F, Maina AM, Ciccorossi P, Sacco R, Colombatto P, Bonino F, Brunetto MR. Transient elastography: a new surrogate marker of liver fibrosis influenced by major changes of transaminases. J Viral Hepat 2007; 14: 360-369 [PMID: 17439526 DOI: 10.1111/j.1365-2893.2006.00811.x]

37 Arena U, Vizzutti F, Corti G, Ambu S, Stasi C, Bresci S, Moscarella S, Boddi V, Petrarca A, Laffi G, Marra F, Pinzani M. Acute viral hepatitis increases liver stiffness values measured by transient elastography. Hepatology 2008; 47: 380-384 [PMID: 18095306 DOI: 10.1002/hep.22007]

38 Millonig G, Reimann FM, Friedrich S, Fonouni H, Mehrabi A, Büchler MW, Seitz HK, Mueller S. Extrahepatic cholestasis increases liver stiffness (FibroScan) irrespective of fibrosis. Hepatology 2008; 48: 1718-1723 [PMID: 18836992 DOI: 10.1002/hep.22577]

39 Kuroda H, Takikawa Y, Onodera M, Kakisaka K, Yoshida Y, Kataoka K, Sawara K, Miyamoto Y, Oikawa K, Endo R, Suzuki K. Serial changes of liver stiffness measured by acoustic radiation force impulse imaging in acute liver failure: a case report. J Clin Ultrasound 2012; 40: 99-104 [PMID: 22086825 DOI: 10.1002/jcu.20893]

40 Fraquelli M, Rigamonti C, Casazza G, Donato MF, Ronchi G, Conte D, Rumi M, Lampertico P, Colombo M. Etiology-related determinants of liver stiffness values in chronic viral hepatitis B or C. J Hepatol 2011; 54: 621-628 [PMID: 21146243 DOI: 10.1016/j.jhep.2010.07.017]

41 Wong VW, Vergniol J, Wong GL, Foucher J, Chan AW, Chermak F, Choi PC, Merrouche W, Chu SH, Pesque S, Chan HL, de Lédinghen V. Liver stiffness measurement using XL probe in patients with nonalcoholic fatty liver disease. Am J Gastroenterol 2012; 107: 1862-1871 [PMID: 23032979 DOI: 10.1038/ajg.2012.331]

42 de Lédinghen V, Wong VW, Vergniol J, Wong GL, Foucher J, Chu SH, Le Bail B, Choi PC, Chermak F, Yiu KK, Merrouche W, Chan HL. Diagnosis of liver fibrosis and cirrhosis using liver stiffness measurement: comparison between M and XL probe of FibroScan®. J Hepatol 2012; 56: 833-839 [PMID: 22173167 DOI: 10.1016/j.jhep.2011.10.017]

43 de Lédinghen V, Vergniol J, Foucher J, Merrouche W, le Bail B. Non-invasive diagnosis of liver steatosis using controlled attenuation parameter (CAP) and transient elastography. Liver Int 2012; 32: 911-918 [PMID: 22672642 DOI: 10.1111/j.1478-3231.2012.02820.x]

44 de Lédinghen V, Vergniol J, Gonzalez C, Foucher J, Maury E, Chemineau L, Villars S, Gin H, Rigalleau V. Screening for liver fibrosis by using FibroScan(®) and FibroTest in patients with diabetes. Dig Liver Dis 2012; 44: 413-418 [PMID: 22285146 DOI: 10.1016/j.dld.2011.12.005]

45 Palmeri ML, Wang MH, Rouze NC, Abdelmalek MF, Guy CD, Moser B, Diehl AM, Nightingale KR. Noninvasive evaluation of hepatic fibrosis using acoustic radiation force-based shear stiffness in patients with nonalcoholic fatty liver disease. J Hepatol 2011; 55: 666-672 [PMID: 21256907 DOI: 10.1016/j.jhep.2010.12.019]

46 Myers RP, Crotty P, Pomier-Layrargues G, Ma M, Urbanski SJ, Elkashab M. Prevalence, risk factors and causes of discordance in fibrosis staging by transient elastography and liver biopsy. Liver Int 2010; 30: 1471-1480 [PMID: 20807336 DOI: 10.1111/j.1478-3231.2010.02331.x]

47 Castéra L, Foucher J, Bernard PH, Carvalho F, Allaix D, Merrouche W, Couzigou P, de Lédinghen V. Pitfalls of liver stiffness measurement: a 5-year prospective study of 13,369 examinations. Hepatology 2010; 51: 828-835 [PMID: 20063276 DOI: 10.1002/hep.23425]

48 Gebo KA, Herlong HF, Torbenson MS, Jenckes MW, Chander G, Ghanem KG, El-Kamary SS, Sulkowski M, Bass EB. Role of liver biopsy in management of chronic hepatitis C: a systematic review. Hepatology 2002; 36: S161-S172 [PMID: 12407590 DOI: 10.1053/jhep.2002.36989]

49 McHutchison J, Poynard T, Afdhal N. Fibrosis as an end point for clinical trials in liver disease: a report of the international fibrosis group. Clin Gastroenterol Hepatol 2006; 4: 1214-1220 [PMID: 16979947 DOI: 10.1016/j.cgh.2006.07.006]

50 Seeff LB, Everson GT, Morgan TR, Curto TM, Lee WM, Ghany MG, Shiffman ML, Fontana RJ, Di Bisceglie AM, Bonkovsky HL, Dienstag JL. Complication rate of percutaneous liver biopsies among persons with advanced chronic liver disease in the HALT-C trial. Clin Gastroenterol Hepatol 2010; 8: 877-883 [PMID: 20362695 DOI: 10.1016/j.cgh.2010.03.025]

51 Jenssen C, Dietrich CF. Kontraindikationen, Komplikationen, Komplikationsmanagement. In: Dietrich CF, Nuernberg D, editors. Interventioneller Ultraschall. Stuttgart, New York: Thieme, 2011: 127-160

52 Ratziu V, Charlotte F, Heurtier A, Gombert S, Giral P, Bruckert E, Grimaldi A, Capron F, Poynard T. Sampling variability of liver biopsy in nonalcoholic fatty liver disease. Gastroenterology 2005; 128: 1898-1906 [PMID: 15940625]

53 Denzer U, Arnoldy A, Kanzler S, Galle PR, Dienes HP, Lohse AW. Prospective randomized comparison of minilaparoscopy and percutaneous liver biopsy: diagnosis of cirrhosis and complications. J Clin Gastroenterol 2007; 41: 103-110 [PMID: 17198072 DOI: 10.1097/01.mcg.0000225612.86846.82]

54 Helmreich-Becker I, Schirmacher P, Denzer U, Hensel A, Meyer zum Büschenfelde KH, Lohse AW. Minilaparoscopy in the diagnosis of cirrhosis: superiority in patients with Child-Pugh A and macronodular disease. Endoscopy 2003; 35: 55-60 [PMID: 12510227 DOI: 10.1055/s-2003-36419]

55 Manns MP, Schneider A, Meier PN. Minilaparoscopy for early diagnosis of cirrhosis: is the endoscopist's eye better than the histopathologist's? Endoscopy 2003; 35: 74-75 [PMID: 12510230 DOI: 10.1055/s-2003-36396]

56 Orlando R, Lirussi F. Laparoscopy and guided liver biopsy in the diagnosis of cirrhosis: conventional technique vs. minilaparoscopy. Endoscopy 2003; 35: 1079-180; author reply 1080 [PMID: 14648425 DOI: 10.1055/s-2003-44605-1]

57 Schneider AR, Riemann JF, Arnold JC. [Value of minilaparoscopy in comparison with conventional laparoscopy in diagnosis of liver diseases--intermediate term results of a prospective, randomized study]. Z Gastroenterol 2001; 39: 15-18 [PMID: 11216430]

58 Regev A, Berho M, Jeffers LJ, Milikowski C, Molina EG, Pyrsopoulos NT, Feng ZZ, Reddy KR, Schiff ER. Sampling error and intraobserver variation in liver biopsy in patients with chronic HCV infection. Am J Gastroenterol 2002; 97: 2614-2618 [PMID: 12385448 DOI: 10.1111/j.1572-0241.2002.06038.x]

59 Persico M, Palmentieri B, Vecchione R, Torella R, de SI. Diagnosis of chronic liver disease: reproducibility and validation of liver biopsy. Am J Gastroenterol 2002; 97: 491-492 [PMID: 11866299 DOI: 10.1111/j.1572-0241.2002.05507.x]

60 Vergniol J, Foucher J, Terrebonne E, Bernard PH, le Bail B, Merrouche W, Couzigou P, de Ledinghen V. Noninvasive tests for fibrosis and liver stiffness predict 5-year outcomes of patients with chronic hepatitis C. Gastroenterology 2011; 140: 1970-199, 1970-199, [PMID: 21376047 DOI: 10.1053/j.gastro.2011.02.058]

61 Ngo Y, Munteanu M, Messous D, Charlotte F, Imbert-Bismut F, Thabut D, Lebray P, Thibault V, Benhamou Y, Moussalli J, Ratziu V, Poynard T. A prospective analysis of the prognostic value of biomarkers (FibroTest) in patients with chronic hepatitis C. Clin Chem 2006; 52: 1887-1896 [PMID: 16931569 DOI: 10.1373/clinchem.2006.070961]

62 Parkes J, Roderick P, Harris S, Day C, Mutimer D, Collier J, Lombard M, Alexander G, Ramage J, Dusheiko G, Wheatley M, Gough C, Burt A, Rosenberg W. Enhanced liver fibrosis test can predict clinical outcomes in patients with chronic liver disease. Gut 2010; 59: 1245-1251 [PMID: 20675693 DOI: 10.1136/gut.2009.203166]

63 Parkes J, Guha IN, Harris S, Rosenberg WM, Roderick PJ. Systematic review of the diagnostic performance of serum markers of liver fibrosis in alcoholic liver disease. Comp Hepatol 2012; 11: 5 [PMID: 23273224 DOI: 10.1186/1476-5926-11-5]

64 Parkes J, Guha IN, Roderick P, Harris S, Cross R, Manos MM, Irving W, Zaitoun A, Wheatley M, Ryder S, Rosenberg W. Enhanced Liver Fibrosis (ELF) test accurately identifies liver fibrosis in patients with chronic hepatitis C. J Viral Hepat 2011; 18: 23-31 [PMID: 20196799 DOI: 10.1111/j.1365-2893.2009.01263.x]

65 Rosenberg WM, Voelker M, Thiel R, Becka M, Burt A, Schuppan D, Hubscher S, Roskams T, Pinzani M, Arthur MJ. Serum markers detect the presence of liver fibrosis: a cohort study. Gastroenterology 2004; 127: 1704-1713 [PMID: 15578508]

66 Poynard T, Zoulim F, Ratziu V, Degos F, Imbert-Bismut F, Deny P, Landais P, El Hasnaoui A, Slama A, Blin P, Thibault V, Parvaz P, Munteanu M, Trepo C. Longitudinal assessment of histology surrogate markers (FibroTest-ActiTest) during lamivudine therapy in patients with chronic hepatitis B infection. Am J Gastroenterol 2005; 100: 1970-1980 [PMID: 16128941 DOI: 10.1111/j.1572-0241.2005.41957.x]

67 Ratziu V, Massard J, Charlotte F, Messous D, Imbert-Bismut F, Bonyhay L, Tahiri M, Munteanu M, Thabut D, Cadranel JF, Le Bail B, de Ledinghen V, Poynard T. Diagnostic value of biochemical markers (FibroTest-FibroSURE) for the prediction of liver fibrosis in patients with non-alcoholic fatty liver disease. BMC Gastroenterol 2006; 6: 6 [PMID: 16503961 DOI: 10.1186/1471-230X-6-6]

68 Lainé F, Bendavid C, Moirand R, Tessier S, Perrin M, Guillygomarc'h A, Guyader D, Calon E, Renault A, Brissot P, Turlin B, Deugnier Y. Prediction of liver fibrosis in patients with features of the metabolic syndrome regardless of alcohol consumption. Hepatology 2004; 39: 1639-1646 [PMID: 15185305 DOI: 10.1002/hep.20219]

69 Castera L. Transient elastography and other noninvasive tests to assess hepatic fibrosis in patients with viral hepatitis. J Viral Hepat 2009; 16: 300-314 [PMID: 19254351 DOI: 10.1111/j.1365-2893.2009.01087.x]

70 Pinzani M, Vizzutti F, Arena U, Marra F. Technology Insight: noninvasive assessment of liver fibrosis by biochemical scores and elastography. Nat Clin Pract Gastroenterol Hepatol 2008; 5: 95-106 [PMID: 18253138 DOI: 10.1038/ncpgasthep1025]

71 Manning DS, Afdhal NH. Diagnosis and quantitation of fibrosis. Gastroenterology 2008; 134: 1670-1681 [PMID: 18471546 DOI: 10.1053/j.gastro.2008.03.001]

72 Castera L. Noninvasive methods to assess liver disease in patients with hepatitis B or C. Gastroenterology 2012; 142: 1293-1302.e4 [PMID: 22537436 DOI: 10.1053/j.gastro.2012.02.017]

73 Mehta P, Ploutz-Snyder R, Nandi J, Rawlins SR, Sanderson SO, Levine RA. Diagnostic accuracy of serum hyaluronic acid, FIBROSpect II, and YKL-40 for discriminating fibrosis stages in chronic hepatitis C. Am J Gastroenterol 2008; 103: 928-936 [PMID: 18371145 DOI: 10.1111/j.1572-0241.2007.01761.x]

74 Halfon P, Bourlière M, Pénaranda G, Deydier R, Renou C, Botta-Fridlund D, Tran A, Portal I, Allemand I, Rosenthal-Allieri A, Ouzan D. Accuracy of hyaluronic acid level for predicting liver fibrosis stages in patients with hepatitis C virus. Comp Hepatol 2005; 4: 6 [PMID: 16008833 DOI: 10.1186/1476-5926-4-6]

75 Lackner C, Struber G, Liegl B, Leibl S, Ofner P, Bankuti C, Bauer B, Stauber RE. Comparison and validation of simple noninvasive tests for prediction of fibrosis in chronic hepatitis C. Hepatology 2005; 41: 1376-1382 [PMID: 15915455 DOI: 10.1002/hep.20717]

76 Imbert-Bismut F, Ratziu V, Pieroni L, Charlotte F, Benhamou Y, Poynard T. Biochemical markers of liver fibrosis in patients with hepatitis C virus infection: a prospective study. Lancet 2001; 357: 1069-1075 [PMID: 11297957 DOI: 10.1016/S0140-6736(00)04258-6]

77 Lok AS, Ghany MG, Goodman ZD, Wright EC, Everson GT, Sterling RK, Everhart JE, Lindsay KL, Bonkovsky HL, Di Bisceglie AM, Lee WM, Morgan TR, Dienstag JL, Morishima C. Predicting cirrhosis in patients with hepatitis C based on standard laboratory tests: results of the HALT-C cohort. Hepatology 2005; 42: 282-292 [PMID: 15986415 DOI: 10.1002/hep.20772]

78 Sud A, Hui JM, Farrell GC, Bandara P, Kench JG, Fung C, Lin R, Samarasinghe D, Liddle C, McCaughan GW, George J. Improved prediction of fibrosis in chronic hepatitis C using measures of insulin resistance in a probability index. Hepatology 2004; 39: 1239-1247 [PMID: 15122752 DOI: 10.1002/hep.20207]

79 Islam S, Antonsson L, Westin J, Lagging M. Cirrhosis in hepatitis C virus-infected patients can be excluded using an index of standard biochemical serum markers. Scand J Gastroenterol 2005; 40: 867-872 [PMID: 16109665 DOI: 10.1080/00365520510015674]

80 Patel K, Gordon SC, Jacobson I, Hézode C, Oh E, Smith KM, Pawlotsky JM, McHutchison JG. Evaluation of a panel of non-invasive serum markers to differentiate mild from moderate-to-advanced liver fibrosis in chronic hepatitis C patients. J Hepatol 2004; 41: 935-942 [PMID: 15582126 DOI: 10.1016/j.jhep.2004.08.008]

81 Hui AY, Chan HL, Wong VW, Liew CT, Chim AM, Chan FK, Sung JJ. Identification of chronic hepatitis B patients without significant liver fibrosis by a simple noninvasive predictive model. Am J Gastroenterol 2005; 100: 616-623 [PMID: 15743360 DOI: 10.1111/j.1572-0241.2005.41289.x]

82 Zeng MD, Lu LG, Mao YM, Qiu DK, Li JQ, Wan MB, Chen CW, Wang JY, Cai X, Gao CF, Zhou XQ. Prediction of significant fibrosis in HBeAg-positive patients with chronic hepatitis B by a noninvasive model. Hepatology 2005; 42: 1437-1445 [PMID: 16317674 DOI: 10.1002/hep.20960]

83 Kelleher TB, Mehta SH, Bhaskar R, Sulkowski M, Astemborski J, Thomas DL, Moore RE, Afdhal NH. Prediction of hepatic fibrosis in HIV/HCV co-infected patients using serum fibrosis markers: the SHASTA index. J Hepatol 2005; 43: 78-84 [PMID: 15894397 DOI: 10.1016/j.jhep.2005.02.025]

84 Sterling RK, Lissen E, Clumeck N, Sola R, Correa MC, Montaner J, S Sulkowski M, Torriani FJ, Dieterich DT, Thomas DL, Messinger D, Nelson M. Development of a simple noninvasive index to predict significant fibrosis in patients with HIV/HCV coinfection. Hepatology 2006; 43: 1317-1325 [PMID: 16729309 DOI: 10.1002/hep.21178]

85 Poynard T, Morra R, Halfon P, Castera L, Ratziu V, Imbert-Bismut F, Naveau S, Thabut D, Lebrec D, Zoulim F, Bourliere M, Cacoub P, Messous D, Munteanu M, de Ledinghen V. Meta-analyses of FibroTest diagnostic value in chronic liver disease. BMC Gastroenterol 2007; 7: 40 [PMID: 17937811 DOI: 10.1186/1471-230X-7-40]

86 Guha IN, Parkes J, Roderick P, Chattopadhyay D, Cross R, Harris S, Kaye P, Burt AD, Ryder SD, Aithal GP, Day CP, Rosenberg WM. Noninvasive markers of fibrosis in nonalcoholic fatty liver disease: Validating the European Liver Fibrosis Panel and exploring simple markers. Hepatology 2008; 47: 455-460 [PMID: 18038452 DOI: 10.1002/hep.21984]

87 Calès P, Veillon P, Konaté A, Mathieu E, Ternisien C, Chevailler A, Godon A, Gallois Y, Joubaud F, Hubert-Fouchard I, Oberti F, Réaud S, Hunault G, Mauriat F, Lunel-Fabiani F. Reproducibility of blood tests of liver fibrosis in clinical practice. Clin Biochem 2008; 41: 10-18 [PMID: 17988658 DOI: 10.1016/j.clinbiochem.2007.08.009]

88 Imbert-Bismut F, Messous D, Thibault V, Myers RB, Piton A, Thabut D, Devers L, Hainque B, Mercadier A, Poynard T. Intra-laboratory analytical variability of biochemical markers of fibrosis (Fibrotest) and activity (Actitest) and reference ranges in healthy blood donors. Clin Chem Lab Med 2004; 42: 323-333 [PMID: 15080567 DOI: 10.1515/CCLM.2004.058]

89 Poynard T, Munteanu M, Imbert-Bismut F, Charlotte F, Thabut D, Le Calvez S, Messous D, Thibault V, Benhamou Y, Moussalli J, Ratziu V. Prospective analysis of discordant results between biochemical markers and biopsy in patients with chronic hepatitis C. Clin Chem 2004; 50: 1344-1355 [PMID: 15192028 DOI: 10.1373/clinchem.2004.032227]

90 Muthupillai R, Lomas DJ, Rossman PJ, Greenleaf JF, Manduca A, Ehman RL. Magnetic resonance elastography by direct visualization of propagating acoustic strain waves. Science 1995; 269: 1854-1857 [PMID: 7569924]

91 Wang Y, Ganger DR, Levitsky J, Sternick LA, McCarthy RJ, Chen ZE, Fasanati CW, Bolster B, Shah S, Zuehlsdorff S, Omary RA, Ehman RL, Miller FH. Assessment of chronic hepatitis and fibrosis: comparison of MR elastography and diffusion-weighted imaging. AJR Am J Roentgenol 2011; 196: 553-561 [PMID: 21343496 DOI: 10.2214/AJR.10.4580]

92 Talwalkar JA, Yin M, Fidler JL, Sanderson SO, Kamath PS, Ehman RL. Magnetic resonance imaging of hepatic fibrosis: emerging clinical applications. Hepatology 2008; 47: 332-342 [PMID: 18161879 DOI: 10.1002/hep.21972]

93 Huwart L, Sempoux C, Salameh N, Jamart J, Annet L, Sinkus R, Peeters F, ter Beek LC, Horsmans Y, Van Beers BE. Liver fibrosis: noninvasive assessment with MR elastography versus aspartate aminotransferase-to-platelet ratio index. Radiology 2007; 245: 458-466 [PMID: 17940304 DOI: 10.1148/radiol.2452061673]

94 Rouvière O, Yin M, Dresner MA, Rossman PJ, Burgart LJ, Fidler JL, Ehman RL. MR elastography of the liver: preliminary results. Radiology 2006; 240: 440-448 [PMID: 16864671 DOI: 10.1148/radiol.2402050606]

95 Yin M, Talwalkar JA, Glaser KJ, Manduca A, Grimm RC, Rossman PJ, Fidler JL, Ehman RL. Assessment of hepatic fibrosis with magnetic resonance elastography. Clin Gastroenterol Hepatol 2007; 5: 1207-1213.e2 [PMID: 17916548 DOI: 10.1016/j.cgh.2007.06.012]

96 Huwart L, Sempoux C, Vicaut E, Salameh N, Annet L, Danse E, Peeters F, ter Beek LC, Rahier J, Sinkus R, Horsmans Y, Van Beers BE. Magnetic resonance elastography for the noninvasive staging of liver fibrosis. Gastroenterology 2008; 135: 32-40 [PMID: 18471441 DOI: 10.1053/j.gastro.2008.03.076]

97 Wang QB, Zhu H, Liu HL, Zhang B. Performance of magnetic resonance elastography and diffusion-weighted imaging for the staging of hepatic fibrosis: A meta-analysis. Hepatology 2012; 56: 239-247 [PMID: 22278368 DOI: 10.1002/hep.25610]

98 Manduca A, Oliphant TE, Dresner MA, Mahowald JL, Kruse SA, Amromin E, Felmlee JP, Greenleaf JF, Ehman RL. Magnetic resonance elastography: non-invasive mapping of tissue elasticity. Med Image Anal 2001; 5: 237-254 [PMID: 11731304]

99 Wong VW, Chan HL. Transient elastography. J Gastroenterol Hepatol 2010; 25: 1726-1731 [PMID: 21039833 DOI: 10.1111/j.1440-1746.2010.06437.x]

100 Castéra L, Vergniol J, Foucher J, Le Bail B, Chanteloup E, Haaser M, Darriet M, Couzigou P, De Lédinghen V. Prospective comparison of transient elastography, Fibrotest, APRI, and liver biopsy for the assessment of fibrosis in chronic hepatitis C. Gastroenterology 2005; 128: 343-350 [PMID: 15685546]

101 Wong GL. Transient elastography: Kill two birds with one stone? World J Hepatol 2013; 5: 264-274 [PMID: 23717737 DOI: 10.4254/wjh.v5.i5.264]

102 Wong GL, Vergniol J, Lo P, Wai-Sun Wong V, Foucher J, Le Bail B, Choi PC, Chermak F, Leung KS, Merrouche W, Chan HL, de Lédinghen V. Non-invasive assessment of liver fibrosis with transient elastography (FibroScan®): applying the cut-offs of M probe to XL probe. Ann Hepatol 2013; 12: 570-580 [PMID: 23813135]

103 Fraquelli M, Rigamonti C, Casazza G, Conte D, Donato MF, Ronchi G, Colombo M. Reproducibility of transient elastography in the evaluation of liver fibrosis in patients with chronic liver disease. Gut 2007; 56: 968-973 [PMID: 17255218 DOI: 10.1136/gut.2006.111302]

104 Kettaneh A, Marcellin P, Douvin C, Poupon R, Ziol M, Beaugrand M, de Lédinghen V. Features associated with success rate and performance of FibroScan measurements for the diagnosis of cirrhosis in HCV patients: a prospective study of 935 patients. J Hepatol 2007; 46: 628-634 [PMID: 17258346 DOI: 10.1016/j.jhep.2006.11.010]

105 Sandrin L, Fourquet B, Hasquenoph JM, Yon S, Fournier C, Mal F, Christidis C, Ziol M, Poulet B, Kazemi F, Beaugrand M, Palau R. Transient elastography: a new noninvasive method for assessment of hepatic fibrosis. Ultrasound Med Biol 2003; 29: 1705-1713 [PMID: 14698338]

106 Saito H, Tada S, Nakamoto N, Kitamura K, Horikawa H, Kurita S, Saito Y, Iwai H, Ishii H. Efficacy of non-invasive elastometry on staging of hepatic fibrosis. Hepatol Res 2004; 29: 97-103 [PMID: 15163431 DOI: 10.1016/j.hepres.2004.03.007]

107 Myers RP, Pomier-Layrargues G, Kirsch R, Pollett A, Duarte-Rojo A, Wong D, Beaton M, Levstik M, Crotty P, Elkashab M. Feasibility and diagnostic performance of the FibroScan XL probe for liver stiffness measurement in overweight and obese patients. Hepatology 2012; 55: 199-208 [PMID: 21898479 DOI: 10.1002/hep.24624]

108 Engelmann G, Gebhardt C, Wenning D, Wühl E, Hoffmann GF, Selmi B, Grulich-Henn J, Schenk JP, Teufel U. Feasibility study and control values of transient elastography in healthy children. Eur J Pediatr 2012; 171: 353-360 [PMID: 21861093 DOI: 10.1007/s00431-011-1558-7]

109 Lucidarme D, Foucher J, Le Bail B, Vergniol J, Castera L, Duburque C, Forzy G, Filoche B, Couzigou P, de Lédinghen V. Factors of accuracy of transient elastography (fibroscan) for the diagnosis of liver fibrosis in chronic hepatitis C. Hepatology 2009; 49: 1083-1089 [PMID: 19140221 DOI: 10.1002/hep.22748]

110 Castera L, Forns X, Alberti A. Non-invasive evaluation of liver fibrosis using transient elastography. J Hepatol 2008; 48: 835-847 [PMID: 18334275 DOI: 10.1016/j.jhep.2008.02.008]

111 Zelber-Sagi S, Yeshua H, Shlomai A, Blendis L, Leshno M, Levit S, Halpern Z, Oren R. Sampling variability of transient elastography according to probe location. Eur J Gastroenterol Hepatol 2011; 23: 507-514 [PMID: 21537125 DOI: 10.1097/MEG.0b013e328346c0f7]

112 EASL Clinical Practice Guidelines: management of hepatitis C virus infection. J Hepatol 2011; 55: 245-264 [PMID: 21371579 DOI: 10.1016/j.jhep.2011.02.023]

113 Ferraioli G, Tinelli C, Dal Bello B, Zicchetti M, Lissandrin R, Filice G, Filice C, Above E, Barbarini G, Brunetti E, Calderon W, Di Gregorio M, Gulminetti R, Lanzarini P, Ludovisi S, Maiocchi L, Malfitano A, Michelone G, Minoli L, Mondelli M, Novati S, Patruno SF, Perretti A, Poma G, Sacchi P, Zanaboni D, Zaramella M. Performance of liver stiffness measurements by transient elastography in chronic hepatitis. World J Gastroenterol 2013; 19: 49-56 [PMID: 23326162 DOI: 10.3748/wjg.v19.i1.49]

114 Tsochatzis EA, Gurusamy KS, Ntaoula S, Cholongitas E, Davidson BR, Burroughs AK. Elastography for the diagnosis of severity of fibrosis in chronic liver disease: a meta-analysis of diagnostic accuracy. J Hepatol 2011; 54: 650-659 [PMID: 21146892 DOI: 10.1016/j.jhep.2010.07.033]

115 Harbin WP, Robert NJ, Ferrucci JT. Diagnosis of cirrhosis based on regional changes in hepatic morphology: a radiological and pathological analysis. Radiology 1980; 135: 273-283 [PMID: 7367613]

116 Dietrich CF, Wehrmann T, Zeuzem S, Braden B, Caspary WF, Lembcke B. [Analysis of hepatic echo patterns in chronic hepatitis C]. Ultraschall Med 1999; 20: 9-14 [PMID: 10226340 DOI: 10.1055/s-1999-14225]

117 Dietrich CF, Lee JH, Gottschalk R, Herrmann G, Sarrazin C, Caspary WF, Zeuzem S. Hepatic and portal vein flow pattern in correlation with intrahepatic fat deposition and liver histology in patients with chronic hepatitis C. AJR Am J Roentgenol 1998; 171: 437-443 [PMID: 9694471 DOI: 10.2214/ajr.171.2.9694471]

118 Aubé C, Oberti F, Korali N, Namour MA, Loisel D, Tanguy JY, Valsesia E, Pilette C, Rousselet MC, Bedossa P, Rifflet H, Maïga MY, Penneau-Fontbonne D, Caron C, Calès P. Ultrasonographic diagnosis of hepatic fibrosis or cirrhosis. J Hepatol 1999; 30: 472-478 [PMID: 10190731]

119 Gaiani S, Gramantieri L, Venturoli N, Piscaglia F, Siringo S, D'Errico A, Zironi G, Grigioni W, Bolondi L. What is the criterion for differentiating chronic hepatitis from compensated cirrhosis? A prospective study comparing ultrasonography and percutaneous liver biopsy. J Hepatol 1997; 27: 979-985 [PMID: 9453422]

120 Colli A, Fraquelli M, Andreoletti M, Marino B, Zuccoli E, Conte D. Severe liver fibrosis or cirrhosis: accuracy of US for detection--analysis of 300 cases. Radiology 2003; 227: 89-94 [PMID: 12601199 DOI: 10.1148/radiol.2272020193]

121 Honda H, Onitsuka H, Masuda K, Nishitani H, Nakata H, Watanabe K. Chronic liver disease: value of volumetry of liver and spleen with computed tomography. Radiat Med ; 8: 222-226 [PMID: 2093942]

122 Hess CF, Schmiedl U, Koelbel G, Knecht R, Kurtz B. Diagnosis of liver cirrhosis with US: receiver-operating characteristic analysis of multidimensional caudate lobe indexes. Radiology 1989; 171: 349-351 [PMID: 2649915]

123 Bernatik T, Strobel D, Hahn EG, Becker D. Doppler measurements: a surrogate marker of liver fibrosis? Eur J Gastroenterol Hepatol 2002; 14: 383-387 [PMID: 11943950]

124 Schalm SW. The diagnosis of cirrhosis: clinical relevance and methodology. J Hepatol 1997; 27: 1118-1119 [PMID: 9453441]

125 Kim do Y, Kim SU, Ahn SH, Park JY, Lee JM, Park YN, Yoon KT, Paik YH, Lee KS, Chon CY, Han KH. Usefulness of FibroScan for detection of early compensated liver cirrhosis in chronic hepatitis B. Dig Dis Sci 2009; 54: 1758-1763 [PMID: 19005758 DOI: 10.1007/s10620-008-0541-2]

126 Berzigotti A, Piscaglia F. Ultrasound in portal hypertension--part 2--and EFSUMB recommendations for the performance and reporting of ultrasound examinations in portal hypertension. Ultraschall Med 2012; 33: 8-32; quiz 30-1 [PMID: 22322479 DOI: 10.1055/s-0031-1299145]

127 Dietrich CF, Nuernberg D. Interventioneller Ultraschall. Lehrbuch und Atlas für die interventionelle Sonographie. Stuttgart, New York: Thieme, 2012

128 Dietrich CF, Jenssen C. [Focal liver lesion, incidental finding]. Dtsch Med Wochenschr 2012; 137: 2099-2116 [PMID: 23033169 DOI: 10.1055/s-0032-1305302]

129 Claudon M, Dietrich CF, Choi BI, Cosgrove DO, Kudo M, Nolsøe CP, Piscaglia F, Wilson SR, Barr RG, Chammas MC, Chaubal NG, Chen MH, Clevert DA, Correas JM, Ding H, Forsberg F, Fowlkes JB, Gibson RN, Goldberg BB, Lassau N, Leen EL, Mattrey RF, Moriyasu F, Solbiati L, Weskott HP, Xu HX. Guidelines and good clinical practice recommendations for contrast enhanced ultrasound (CEUS) in the liver--update 2012: a WFUMB-EFSUMB initiative in cooperation with representatives of AFSUMB, AIUM, ASUM, FLAUS and ICUS. Ultraschall Med2013; 34: 11-29 [PMID: 23129518 DOI: 10.1055/s-0032-1325499]

130 Dietrich CF. Liver tumor characterization--comments and illustrations regarding guidelines. Ultraschall Med 2012; 33 Suppl 1: S22-S30 [PMID: 22723025 DOI: 10.1055/s-0032-1312892]

131 Dietrich CF, Cui XW, Schreiber-Dietrich DG, Ignee A. EFSUMB guidelines 2011: comments and illustrations. Ultraschall Med 2012; 33 Suppl 1: S11-S21 [PMID: 22723024 DOI: 10.1055/s-0032-1312890]

132 Hirche TO, Ignee A, Hirche H, Schneider A, Dietrich CF. Evaluation of hepatic steatosis by ultrasound in patients with chronic hepatitis C virus infection. Liver Int 2007; 27: 748-757 [PMID: 17617117 DOI: 10.1111/j.1478-3231.2007.01491.x]

133 Dietrich CF, Lee JH, Herrmann G, Teuber G, Roth WK, Caspary WF, Zeuzem S. Enlargement of perihepatic lymph nodes in relation to liver histology and viremia in patients with chronic hepatitis C. Hepatology 1997; 26: 467-472 [PMID: 9252160 DOI: 10.1002/hep.510260230]

134 Dietrich CF, Stryjek-Kaminska D, Teuber G, Lee JH, Caspary WF, Zeuzem S. Perihepatic lymph nodes as a marker of antiviral response in patients with chronic hepatitis C infection. AJR Am J Roentgenol 2000; 174: 699-704 [PMID: 10701612 DOI: 10.2214/ajr.174.3.1740699]

135 Dietrich CF, Leuschner MS, Zeuzem S, Herrmann G, Sarrazin C, Caspary WF, Leuschner UF. Peri-hepatic lymphadenopathy in primary biliary cirrhosis reflects progression of the disease. Eur J Gastroenterol Hepatol 1999; 11: 747-753 [PMID: 10445795]

136 Braden B, Faust D, Ignee A, Schreiber D, Hirche T, Dietrich CF. Clinical relevance of perihepatic lymphadenopathy in acute and chronic liver disease. J Clin Gastroenterol 2008; 42: 931-936 [PMID: 18645531 DOI: 10.1097/MCG.0b013e31811edcf7]

137 Berzigotti A, Abraldes JG, Tandon P, Erice E, Gilabert R, García-Pagan JC, Bosch J. Ultrasonographic evaluation of liver surface and transient elastography in clinically doubtful cirrhosis. J Hepatol 2010; 52: 846-853 [PMID: 20385422 DOI: 10.1016/j.jhep.2009.12.031]

138 Cardoso AC, Carvalho-Filho RJ, Stern C, Dipumpo A, Giuily N, Ripault MP, Asselah T, Boyer N, Lada O, Castelnau C, Martinot-Peignoux M, Valla DC, Bedossa P, Marcellin P. Direct comparison of diagnostic performance of transient elastography in patients with chronic hepatitis B and chronic hepatitis C. Liver Int 2012; 32: 612-621 [PMID: 22103765 DOI: 10.1111/j.1478-3231.2011.02660.x]

139 Wong GL, Wong VW, Choi PC, Chan AW, Chan HL. Development of a non-invasive algorithm with transient elastography (Fibroscan) and serum test formula for advanced liver fibrosis in chronic hepatitis B. Aliment Pharmacol Ther 2010; 31: 1095-1103 [PMID: 20180785 DOI: 10.1111/j.1365-2036.2010.04276.x]

140 Chan HL, Wong GL, Choi PC, Chan AW, Chim AM, Yiu KK, Chan FK, Sung JJ, Wong VW. Alanine aminotransferase-based algorithms of liver stiffness measurement by transient elastography (Fibroscan) for liver fibrosis in chronic hepatitis B. J Viral Hepat 2009; 16: 36-44 [PMID: 18673426 DOI: 10.1111/j.1365-2893.2008.01037.x]

141 Wong GL, Wong VW, Choi PC, Chan AW, Chum RH, Chan HK, Lau KK, Chim AM, Yiu KK, Chan FK, Sung JJ, Chan HL. Assessment of fibrosis by transient elastography compared with liver biopsy and morphometry in chronic liver diseases. Clin Gastroenterol Hepatol 2008; 6: 1027-1035 [PMID: 18456573 DOI: 10.1016/j.cgh.2008.02.038]

142 Kim SU, Ahn SH, Park JY, Kang W, Kim do Y, Park YN, Chon CY, Han KH. Liver stiffness measurement in combination with noninvasive markers for the improved diagnosis of B-viral liver cirrhosis. J Clin Gastroenterol 2009; 43: 267-271 [PMID: 18987556 DOI: 10.1097/MCG.0b013e31816f212e]

143 Fibroscan can avoid liver biopsy in Indian patients with Chronic Hepatitis B. J Gastroenterol Hepatol 2013; [PMID: 23808910 DOI: 10.1111/jgh.12318]

144 Fung J, Lai CL, Wong DK, Seto WK, Hung I, Yuen MF. Significant changes in liver stiffness measurements in patients with chronic hepatitis B: 3-year follow-up study. J Viral Hepat 2011; 18: e200-e205 [PMID: 21692933 DOI: 10.1111/j.1365-2893.2010.01428.x]

145 Kim SU, Han KH, Ahn SH. Transient elastography in chronic hepatitis B: an Asian perspective. World J Gastroenterol 2010; 16: 5173-5180 [PMID: 21049551]

146 Colletta C, Smirne C, Fabris C, Toniutto P, Rapetti R, Minisini R, Pirisi M. Value of two noninvasive methods to detect progression of fibrosis among HCV carriers with normal aminotransferases. Hepatology 2005; 42: 838-845 [PMID: 16121354 DOI: 10.1002/hep.20814]

147 Foucher J, Chanteloup E, Vergniol J, Castéra L, Le Bail B, Adhoute X, Bertet J, Couzigou P, de Lédinghen V. Diagnosis of cirrhosis by transient elastography (FibroScan): a prospective study. Gut 2006; 55: 403-408 [PMID: 16020491 DOI: 10.1136/gut.2005.069153]

148 Myers RP, Pollett A, Kirsch R, Pomier-Layrargues G, Beaton M, Levstik M, Duarte-Rojo A, Wong D, Crotty P, Elkashab M. Controlled Attenuation Parameter (CAP): a noninvasive method for the detection of hepatic steatosis based on transient elastography. Liver Int 2012; 32: 902-910 [PMID: 22435761 DOI: 10.1111/j.1478-3231.2012.02781.x]

149 Friedrich-Rust M, Wunder K, Kriener S, Sotoudeh F, Richter S, Bojunga J, Herrmann E, Poynard T, Dietrich CF, Vermehren J, Zeuzem S, Sarrazin C. Liver fibrosis in viral hepatitis: noninvasive assessment with acoustic radiation force impulse imaging versus transient elastography. Radiology 2009; 252: 595-604 [PMID: 19703889 DOI: 10.1148/radiol.2523081928]

150 Rizzo L, Calvaruso V, Cacopardo B, Alessi N, Attanasio M, Petta S, Fatuzzo F, Montineri A, Mazzola A, L'abbate L, Nunnari G, Bronte F, Di Marco V, Craxì A, Cammà C. Comparison of transient elastography and acoustic radiation force impulse for non-invasive staging of liver fibrosis in patients with chronic hepatitis C. Am J Gastroenterol 2011; 106: 2112-2120 [PMID: 21971536 DOI: 10.1038/ajg.2011.341]

151 Palmeri ML, Wang MH, Dahl JJ, Frinkley KD, Nightingale KR. Quantifying hepatic shear modulus in vivo using acoustic radiation force. Ultrasound Med Biol 2008; 34: 546-558 [PMID: 18222031 DOI: 10.1016/j.ultrasmedbio.2007.10.009]

152 Nightingale K, McAleavey S, Trahey G. Shear-wave generation using acoustic radiation force: in vivo and ex vivo results. Ultrasound Med Biol 2003; 29: 1715-1723 [PMID: 14698339]

153 Sarvazyan AP, Rudenko OV, Swanson SD, Fowlkes JB, Emelianov SY. Shear wave elasticity imaging: a new ultrasonic technology of medical diagnostics. Ultrasound Med Biol 1998; 24: 1419-1435 [PMID: 10385964]

154 Friedrich-Rust M, Nierhoff J, Lupsor M, Sporea I, Fierbinteanu-Braticevici C, Strobel D, Takahashi H, Yoneda M, Suda T, Zeuzem S, Herrmann E. Performance of Acoustic Radiation Force Impulse imaging for the staging of liver fibrosis: a pooled meta-analysis. J Viral Hepat 2012; 19: e212-e219 [PMID: 22239521 DOI: 10.1111/j.1365-2893.2011.01537.x]

155 Dietrich CF, Serra C, Jedrzejczyk K. Ultrasound of the liver. In: Dietrich CF, editor EFSUMB European Course Book. London: European Federation of Societies for Ultrasound in Medicine and Biology, 2012: 31-90

156 Sporea I, Sirli RL, Deleanu A, Iulia R, Tudora A, Dan I, Popescu A. What did we learn from the first 3,459 cases of liver stiffness measurement by transient elastography (FibroScan®)? Ultraschall Med 2011; 32: 40-45 [PMID: 20603784 DOI: 10.1055/s-0029-1245525]

157 Piscaglia F, Salvatore V, Di Donato R, D'Onofrio M, Gualandi S, Gallotti A, Peri E, Borghi A, Conti F, Fattovich G, Sagrini E, Cucchetti A, Andreone P, Bolondi L. Accuracy of VirtualTouch Acoustic Radiation Force Impulse (ARFI) imaging for the diagnosis of cirrhosis during liver ultrasonography. Ultraschall Med 2011; 32: 167-175 [PMID: 21321842 DOI: 10.1055/s-0029-1245948]

158 Karlas T, Pfrepper C, Wiegand J, Wittekind C, Neuschulz M, Mössner J, Berg T, Tröltzsch M, Keim V. Acoustic radiation force impulse imaging (ARFI) for non-invasive detection of liver fibrosis: examination standards and evaluation of interlobe differences in healthy subjects and chronic liver disease. Scand J Gastroenterol 2011; 46: 1458-1467 [PMID: 21916815 DOI: 10.3109/00365521.2011.610004]

159 Toshima T, Shirabe K, Takeishi K, Motomura T, Mano Y, Uchiyama H, Yoshizumi T, Soejima Y, Taketomi A, Maehara Y. New method for assessing liver fibrosis based on acoustic radiation force impulse: a special reference to the difference between right and left liver. J Gastroenterol 2011; 46: 705-711 [PMID: 21264479 DOI: 10.1007/s00535-010-0365-7]

160 Kircheis G, Sagir A, Vogt C, Vom Dahl S, Kubitz R, Häussinger D. Evaluation of acoustic radiation force impulse imaging for determination of liver stiffness using transient elastography as a reference. World J Gastroenterol 2012; 18: 1077-1084 [PMID: 22416182 DOI: 10.3748/wjg.v18.i10.1077]

161 Yoneda M, Suzuki K, Kato S, Fujita K, Nozaki Y, Hosono K, Saito S, Nakajima A. Nonalcoholic fatty liver disease: US-based acoustic radiation force impulse elastography. Radiology 2010; 256: 640-647 [PMID: 20529989 DOI: 10.1148/radiol.10091662]

162 Friedrich-Rust M, Romen D, Vermehren J, Kriener S, Sadet D, Herrmann E, Zeuzem S, Bojunga J. Acoustic radiation force impulse-imaging and transient elastography for non-invasive assessment of liver fibrosis and steatosis in NAFLD. Eur J Radiol 2012; 81: e325-e331 [PMID: 22119555 DOI: 10.1016/j.ejrad.2011.10.029]

163 Crespo G, Fernández-Varo G, Mariño Z, Casals G, Miquel R, Martínez SM, Gilabert R, Forns X, Jiménez W, Navasa M. ARFI, FibroScan, ELF, and their combinations in the assessment of liver fibrosis: a prospective study. J Hepatol 2012; 57: 281-287 [PMID: 22521355 DOI: 10.1016/j.jhep.2012.03.016]

164 Guzmán-Aroca F, Frutos-Bernal MD, Bas A, Luján-Mompeán JA, Reus M, Berná-Serna Jde D, Parrilla P. Detection of non-alcoholic steatohepatitis in patients with morbid obesity before bariatric surgery: preliminary evaluation with acoustic radiation force impulse imaging. Eur Radiol 2012; 22: 2525-2532 [PMID: 22648049 DOI: 10.1007/s00330-012-2505-3]

165 Youk JH, Gweon HM, Son EJ, Chung J, Kim JA, Kim EK. Three-dimensional shear-wave elastography for differentiating benign and malignant breast lesions: comparison with two-dimensional shear-wave elastography. Eur Radiol 2013; 23: 1519-1527 [PMID: 23212276 DOI: 10.1007/s00330-012-2736-3]

166 Lee SH, Chang JM, Kim WH, Bae MS, Cho N, Yi A, Koo HR, Kim SJ, Kim JY, Moon WK. Differentiation of benign from malignant solid breast masses: comparison of two-dimensional and three-dimensional shear-wave elastography. Eur Radiol 2013; 23: 1015-1026 [PMID: 23085867 DOI: 10.1007/s00330-012-2686-9]

167 Bercoff J, Pernot M, Tanter M, Fink M. Monitoring thermally-induced lesions with supersonic shear imaging. Ultrason Imaging 2004; 26: 71-84 [PMID: 15344412]

168 Bercoff J, Tanter M, Fink M. Supersonic shear imaging: a new technique for soft tissue elasticity mapping. IEEE Trans Ultrason Ferroelectr Freq Control 2004; 51: 396-409 [PMID: 15139541]

169 Ferraioli G, Tinelli C, Zicchetti M, Above E, Poma G, Di Gregorio M, Filice C. Reproducibility of real-time shear wave elastography in the evaluation of liver elasticity. Eur J Radiol 2012; 81: 3102-3106 [PMID: 22749107 DOI: 10.1016/j.ejrad.2012.05.030]

170 Ferraioli G, Tinelli C, Dal Bello B, Zicchetti M, Filice G, Filice C. Accuracy of real-time shear wave elastography for assessing liver fibrosis in chronic hepatitis C: a pilot study. Hepatology 2012; 56: 2125-2133 [PMID: 22767302 DOI: 10.1002/hep.25936]

171 Frey H. [Realtime elastography. A new ultrasound procedure for the reconstruction of tissue elasticity]. Radiologe 2003; 43: 850-855 [PMID: 14605701 DOI: 10.1007/s00117-003-0943-2]

172 Jaffer OS, Lung PF, Bosanac D, Shah A, Sidh Ps. Is ultrasound elastography of the liver ready to replace biopsy? A critical review of the current techniques. Ultrasound 2012; 20: 24-32

173 Friedrich-Rust M, Schwarz A, Ong M, Dries V, Schirmacher P, Herrmann E, Samaras P, Bojunga J, Bohle RM, Zeuzem S, Sarrazin C. Real-time tissue elastography versus FibroScan for noninvasive assessment of liver fibrosis in chronic liver disease. Ultraschall Med 2009; 30: 478-484 [PMID: 19813157 DOI: 10.1055/s-0028-1109488]

174 Morikawa H, Fukuda K, Kobayashi S, Fujii H, Iwai S, Enomoto M, Tamori A, Sakaguchi H, Kawada N. Real-time tissue elastography as a tool for the noninvasive assessment of liver stiffness in patients with chronic hepatitis C. J Gastroenterol 2011; 46: 350-358 [PMID: 20697747 DOI: 10.1007/s00535-010-0301-x]

175 Wang J, Guo L, Shi X, Pan W, Bai Y, Ai H. Real-time elastography with a novel quantitative technology for assessment of liver fibrosis in chronic hepatitis B. Eur J Radiol 2012; 81: e31-e36 [PMID: 21216123 DOI: 10.1016/j.ejrad.2010.12.013]

176 Koizumi Y, Hirooka M, Kisaka Y, Konishi I, Abe M, Murakami H, Matsuura B, Hiasa Y, Onji M. Liver fibrosis in patients with chronic hepatitis C: noninvasive diagnosis by means of real-time tissue elastography--establishment of the method for measurement. Radiology 2011; 258: 610-617 [PMID: 21273523 DOI: 10.1148/radiol.10100319]

177 Sãftoiu A, Gheonea DI, Ciurea T. Hue histogram analysis of real-time elastography images for noninvasive assessment of liver fibrosis. AJR Am J Roentgenol 2007; 189: W232-W233 [PMID: 17885039 DOI: 10.2214/AJR.07.2571]

178 Ferraioli G, Gulizia R, Filice C. Real-time elastography in the assessment of liver fibrosis. AJR Am J Roentgenol 2007; 189: W170 [PMID: 17715090 DOI: 10.2214/AJR.07.2318]

179 Ying L, Lin X, Xie ZL, Tang FY, Hu YP, Shi KQ. Clinical utility of acoustic radiation force impulse imaging for identification of malignant liver lesions: a meta-analysis. Eur Radiol 2012; 22: 2798-2805 [PMID: 22772145 DOI: 10.1007/s00330-012-2540-0]

180 Heide R, Strobel D, Bernatik T, Goertz RS. Characterization of focal liver lesions (FLL) with acoustic radiation force impulse (ARFI) elastometry. Ultraschall Med 2010; 31: 405-409 [PMID: 20652853 DOI: 10.1055/s-0029-1245565]

181 Gallotti A, D'Onofrio M, Romanini L, Cantisani V, Pozzi Mucelli R. Acoustic Radiation Force Impulse (ARFI) ultrasound imaging of solid focal liver lesions. Eur J Radiol 2012; 81: 451-455 [PMID: 21330078 DOI: 10.1016/j.ejrad.2010.12.071]

182 Yu H, Wilson SR. Differentiation of benign from malignant liver masses with Acoustic Radiation Force Impulse technique. Ultrasound Q 2011; 27: 217-223 [PMID: 22124386 DOI: 10.1097/RUQ.0b013e318239422e]

183 Cho SH, Lee JY, Han JK, Choi BI. Acoustic radiation force impulse elastography for the evaluation of focal solid hepatic lesions: preliminary findings. Ultrasound Med Biol 2010; 36: 202-208 [PMID: 20018432 DOI: 10.1016/j.ultrasmedbio.2009.10.009]

184 Shuang-Ming T, Ping Z, Ying Q, Li-Rong C, Ping Z, Rui-Zhen L. Usefulness of acoustic radiation force impulse imaging in the differential diagnosis of benign and malignant liver lesions. Acad Radiol 2011; 18: 810-815 [PMID: 21419668 DOI: 10.1016/j.acra.2011.01.026]

185 Kapoor A, Kapoor A, Mahajan G, Sidhu BS, Lakhanpal VP. Real-time elastography in differentiating metastatic from nonmetastatic liver nodules. Ultrasound Med Biol 2011; 37: 207-213 [PMID: 21257087 DOI: 10.1016/j.ultrasmedbio.2010.11.013]

186 Davies G, Koenen M. Acoustic radiation force impulse elastography in distinguishing hepatic haemangiomata from metastases: preliminary observations. Br J Radiol 2011; 84: 939-943 [PMID: 21385910 DOI: 10.1259/bjr/97637841]

P-Reviewers Badea R, Kim SU          S-Editor Wen LL             L-Editor                  E-Editor

A

B

C

Figure 1 Transient elastography (Fibroscan®, A) for the evaluation of normal liver (B) and liver cirrhosis (C).

A

B

C

D

E

Figure 2 p-shear wave elastography with acoustic radiation force impulse for the evaluation of histologically proved liver fibrosis and cirrhosis. (A: F0, B: F1, C: F2, D: F3, E: F4=cirrhosis).

A

B

C

D

E

Figure 3 2D-shear wave elastography with supersonic shear imaging for the evaluation of histologically proved liver fibrosis and cirrhosis. (A: F0, B: F1, C: F2, D: F3, E: F4= cirrhosis).

A

B

C

Figure 4 Strain elastography for the evaluation of histologically proved liver fibrosis and cirrhosis. (A: F0, B: F2, C: F4=cirrhosis).

A

B

Figure 5 p- shear wave elastography with acoustic radiation force impulse for evaluation of focal liver fatty lesion (A) and liver metastasis (B).

A

B

Figure 6 2D shear wave elastography with supersonic shear imaging for the evaluation of liver heamangioma (A) and metastasis (B).

Table 1 Examples of studies

|  | Title | Comment | Ref |
| --- | --- | --- | --- |
| Univariate approach |  |  |
|  | Elastographic assessment of liver fibrosis in children: A prospective single center experience | Pearson’s correlation | [21] |
|  | Is it better to use two elastographic methods for liver fibrosis assessment? | Spearman rank correlation | [22] |
|  | Is ARFI elastography reliable for predicting fibrosis severity in chronic HCV hepatitis? | Spearman rank correlation | [23] |
|  | Factors that influence the correlation of acoustic radiation force impulse, elastography with liver fibrosis | Spearman rank correlation | [24] |
|  | Liver stiffness measurement using acoustic radiation force impulse elastography and effect of necroinflammation | Pearson product-moment correlation | [25] |
| Multivariate approach |  |  |
|  | Liver Stiffness Measurements in Patients with Different Stages of Non-alcoholic Fatty Liver Disease: Diagnostic Performance and Clinicopathological Correlation | Spearman’s correlation (no attention paid to Bonferroni or alpha correction) | [26] |
|  |  | 6 factors (higher age, serum albumin, serum AST, serum cholesterol, diabetes mellitus, LSM), LSM is the only independent predictor of advanced fibrosis (odds ratio 1.47, 95%CI: 1.23–1.77, P < 0.001) |  |
|  | Assessment of liver fibrosis using transient elastography in patients with alcoholic liver disease | Spearman’s correlation (with Bonferroni test). In multivariate analysis including fibrosis, HAH, and steatosis, fibrosis was the only histological parameter significantly correlated with LSM | [27] |
|  | FibroScan and ultrasonography in the prediction of hepatic fibrosis in patients with chronic viral hepatitis | Pearson correlation (no attention paid to Bonferroni or alpha correction) | [28] |
|  |  | 12 factors. Multivariate analysis showed that LSM positively correlates with hepatic fibrosis, necro-inflammatory activity and ultrasound scores. |  |
|  | Performance of unidimensional transient elastography in staging non-alcoholic steatohepatitis | Spearman’s correlation (no attention paid to Bonferroni or alpha correction) | [29] |
|  |  | 4 factors (fibrosis, Ballooning, Lobular inflammation, steatosis). Multivariate analysis found fibrosis as the only factor influencing independently liver stiffness in NASH patients. |  |

LSM: Liver stiffness measurement; HAH: Hepatic abscess of hydatid origin; NASH: Non-alcoholic steatohepatitis.

Table 2 Mean shear wave velocities (VirtualTouch values) of the left and right liver lobes

| Author | n | Subjects | Left lobe (m/s) | Right lobe (m/s) |
| --- | --- | --- | --- | --- |
| Karlas et al[158] | 50 | Healthy individuals | 1.28±0.19 | 1.15±0.17 |
| Karlas et al[158] | 23 | Patients with F1, F2 fibrosis | 2.1±0.73 | 1.75±0.89 |
| Toshima et al[159] | 103 | 24 healthy volunteers, 79 patients with chronic liver disease | 1.90±0.68 | 1.61±0.51 |
| Piscaglia et al[157] | 14 | Healthy individuals | 1.29 (1.00-1.60) | 1.15 (0.80-1.74) |
| Piscaglia et al[157] | 114 | Patients with chronic liver disease | 1.79 (0.80-4.00) | 1.67 (0.45-3.76) |

Table 3 Advantages and disadvantages of non-invasive methods to evaluate liver fibrosis

| Parameters | Transient elastography | ARFI | 2D-SWE | MR Elastography | Serum biomarkers |
| --- | --- | --- | --- | --- | --- |
| Advantages | High and rapid performance | High and rapid performance | High and rapid performance | High performance (applicability) | Availability |
|  | Reproducibility | Reproducibility | Reproducibility | Reproducibility | Reproducibility |
|  | Easy to learn | Easy to learn | Easy to learn, large ROI | Examination of the whole liver | Low cost |
|  |  | Combined with conventional ultrasound | Combined with conventional ultrasound | Combined with conventional MRI |  |
|  |  | Obesity and ascites are not limiting | Ascites are not limiting | obesity and ascites are not limiting |  |
| Disadvantages | Technical requirements (equipment) without additional use | Technical requirements (ultrasound equipment) | Technical requirements (ultrasound equipment) | Technical requirements (MRI equipment) | Non-specific (hyperbilirubinemia, hemolysis, inflammation, others) |
|  | Intermediate cost | Intermediate cost | Intermediate cost | Extremely high cost, time consuming | Relatively high cost, limited availability (patent) |
|  | Limited recognition of intermediate stages of fibrosis | Limited recognition of intermediate stages of fibrosis | Limited recognition of intermediate stages of fibrosis | Limited recognition of intermediate stages of fibrosis | Limited recognition of intermediate stages of fibrosis |
|  | Blind selection of region of interest |  |  | Not applicable in case of iron deposition | Results not immediately available |
|  | Restricted value in obese patients and ascites | Narrow range of values, small ROI |  |  |  |
|  | False positive values in patients with acute hepatitis, cholestasis, and heart failure | Quality criteria not well defined | Quality criteria not well defined |  |  |

ARFI: Acoustic Radiation Force Impulse.

Table 4 Performance of acoustic radiation force impulse in the identification of malignant focal liver lesions

| No. of FLL | Rate of malignancy (%) | Reference standard | Lesion types | ARFI cut-off (m/s) | QUADAS score | Author |
| --- | --- | --- | --- | --- | --- | --- |
| 105 | 64.8 | Biopsy, imaging | Haemangioma,FNH, focal fatty sparing, focal fat deposits adenomas, HCC, metastasis | 2.7 | 11 | [182] |
| 60 | 71:7 | Biopsy, CT/MRI | haemangioma, HCC, CCC, metastasis | 2.0 | 10 | [183] |
| 128 | 53.1 | Biopsy, surgery, imaging | Haemangioma, FNH, focal fatty change, abscess, adenoma, solitary necrotic nodule, HCC, metastasis, CCC | 2.2 | 10 | [184] |
| 42 | 64.3 | Biopsy | Haemangioma, lymphoma, FNH, sarcoid, abscess, focal fatty sparing, HCC, metastasis | 2.5 | 12 | [185] |
| 45 | 22.2 | Biopsy, CT/MRI | Haemangioma, metastasis | 2.5 | 8 | [186] |

QUADAS: Quality assessment of diagnostic accuracy studies; HCC: Hepatocellular Carcinoma; FNH: Focal nodular hyperplasia; CCC: Cholangiocarcinomas; FLL: Focal liver lesions.