Name of Journal: World Journal of Meta-Analysis

Manuscript NO: 53255

Manuscript Type: Meta-Analysis

Single-balloon and spiral enteroscopy may have similar diagnostic and therapeutic yields to double-balloon enteroscopy: results from a meta-analysis of randomized controlled trials and prospective studies

Gu Y et al. SBE and SE may have similar diagnostic and therapeutic yields to DBE

Yong Gu, Xin Shi, Yan Yang, Xiao-fei Ye, Qiong Wu, Zhi-ping Yang, Shui-xiang He

Yong Gu, Shui-xiang He, Department of Gastroenterology, The First Affiliated Hospital of Xi'an Jiaotong University, Xi'an 710061, Shaanxi Province, China

Yong Gu, Department of Digestive System Diseases, Shaanxi Provincial Crops Hospital of Chinese People's Armed Police Force, Xi'an 710054, Shaanxi Province, China

Xin Shi, Yan Yang, Qiong Wu, Zhi-ping Yang, State Key Laboratory of Cancer Biology, National Clinical Research Center for Digestive Diseases and Xijing Hospital of Digestive Diseases, Fourth Military Medical University, Xi'an 710032, Shaanxi Province, China

Xiao-fei Ye, Department of Health Statistics, Second Military Medical University, Shanghai 200433, China

Author contributions: Gu Y, Shi X, and Yang Y contributed equally to this work; He SX and Yang ZP were the co-corresponding authors, and contributed to study conception and design; Shi X and Wu Q performed the analysis and interpretation of the data; Gu Y and Yang Y drafted the manuscript; Yang ZP critically revised the article for important intellectual content; and He SX approved the final manuscript.

Corresponding author: Shui-xiang He, MD, PhD, Chief Doctor, Professor, Department of Gastroenterology, The First Affiliated Hospital of Xi'an Jiaotong University, 277 West Yanta Road, Xi'an 710061, Shaanxi Province, China. hesx123@126.com

Received: December 12, 2019

Revised: January 7, 2020

Accepted: March 22, 2020

Published online:

Abstract

Background

Double-balloon, single-balloon, and spiral enteroscopy (DBE, SBE, and SE) have revolutionized the management of intestinal diseases. However, evidence about efficacies of these methods is lacking. We aimed to conduct a meta-analysis comparing the clinical outcomes among DBE, SBE, and SE.

Methods

We searched randomized controlled trials and prospective studies in Medline, Pubmed, Embase, Cochrane Library, and Chinese CQVIP database. Studies referencing the comparison of at least two of these three methods were included. Primary outcome was diagnostic yield. Other outcomes were therapeutic yield, total enteroscopy, examination time, time to maximum insertion, and depth of maximal insertion (DMI).

Results

Eleven studies including 727 patients were identified: DBE vs SE (n = 6), DBE vs SBE (n = 4), and SBE vs SE (n = 1). The diagnostic and therapeutic yields did not differ significantly when comparing DBE with SE [odds ratio (OR) = 1.19, 95% confidence interval (CI): 0.68-2.08; OR = 1.17, 95%CI: 0.61-2.23) and DBE with SBE (OR = 0.85, 95%CI: 0.55-1.33; OR = 1.71, 95%CI: 0.64 - 4.60). Total enteroscopy, examination time, time to maximum insertion, and DMI were similar between SBE and DBE. DBE was superior to SE with regard to DMI [mean difference (MD) = 36.76, 95%CI: 5.09-68.43), with longer time to maximum insertion (MD = 15.14, 95%CI: 12-18.27) and examination time (MD = 12.98, 95%CI: 9.57-16.38).

Conclusion

DBE and SBE have similar clinical outcomes. Compared with DBE, SE seems to have similar diagnostic and therapeutic yields, but shorter procedural time in cost of less depth of insertion. SE needs further evaluation vs SBE. DBE is recommended for complete enteroscopy.

Key words: double-balloon enteroscopy; single-balloon enteroscopy; spiral enteroscopy; meta-analysis; randomized controlled trials

Gu Y, Shi X, Yang Y, Ye Xf, Wu Q, Yang Zp, He Sx. Single-balloon and spiral enteroscopy may have similar diagnostic and therapeutic yields to double-balloon enteroscopy: results from a meta-analysis of randomized controlled trials and prospective studies. World J Meta-Anal 2020; In press

Core tip: We conducted a meta-analysis to compare the effectiveness of double-balloon, single-balloon, and spiral enteroscopy. We found that double-balloon enteroscopy may have similar clinical outcomes to single-balloon enteroscopy, and spiral enteroscopy seems to have similar diagnostic and therapeutic yields, but shorter procedural time in cost of less depth of insertion when compared with double-balloon enteroscopy.

Introduction

When double-balloon enteroscopy (DBE) was introduced into the clinic by Yamamoto in 2001[1], dramatic changes have happened in the diagnosis and management of disorders in the distant part of small bowel, which were dependent on surgically assisted enteroscopy or rope guided enteroscopy before. Currently, there are another two different systems: Single-balloon enteroscopy (SBE) and spiral enteroscopy (SE). Although the balloon-assisted enteroscopy techniques follow the push-and-pull principle, SE is dependent on a new system: Pleating of the small bowel via rotation[2].

There have been several randomized controlled trials (RCTs) comparing DBE with SBE[3-6]. In these studies, DBE has been shown to be similar to SBE with regard to diagnostic/therapeutic yield, depth of maximal insertion, and procedure time, but superior to SBE in terms of total enteroscopy. There have been seven studies including four RCTs and three prospective studies comparing DBE with SE[2,7-12]. In these studies, diagnostic yield was supposed to be similar between DBE and SE. Two recent meta-analyses only compared DBE with SBE, and did not evaluate SE[13,14]. Another meta-analysis compared balloon enteroscpy (combined DBE with SBE) with SE[15]. Moreover, these three meta-analyses included May’s study, in which SBE was not really applied but by detaching one balloon from double-balloon enteroscope[16,17]. In addition, they did not include Chinese studies due to language barrage.

Therefore, we conducted a meta-analysis aimed to evaluate the efficacy of DBE, SBE, and SE for the management of small bowel diseases.

Materials and Methods

The methodology and reporting of this study followed the PRISMA statement guidelines recommended by Cochrane collaboration for meta-analysis[18].

Data sources and searches

A comprehensive literature search was independently performed by two authors. The search was performed on Medline, Pubmed, Embase, Cochrane Library, and Chinese CQVIP database (http://en.cqvip.com/) from January 2008 to October 2018, using the search terms “balloon enteroscopy”, “single balloon enteroscopy”, “double balloon enteroscopy”, and “spiral enteroscopy”. Boolean operators AND, OR, and NOT were used. Meanwhile, abstracts from the conference proceedings were also retrieved.

Study selection

RCTs and prospective studies comparing DBE, SBE, and SE were eligible for inclusion. Retrospective studies and non-comparative studies that used only DBE, SBE, or SE were excluded. The studies were restricted to studies performed in human and published in English and Chinese. And a manual search of the references of all retrieved studies was performed in case of omission of the ongoing or completed trials. Two investigators independently assessed the eligibility and validity of each study. Queries concerning inclusion were resolved by discussion and consensus between the two reviewers.

Outcome measures

The primary outcome evaluated in this study was diagnostic yield rate, defined as the percentage of enteroscopy procedures with findings relevant to the indication of the procedure[10]. Other outcomes were therapeutic yield rate, total enteroscopy rate, depth of maximal insertion (DMI), time to maximum insertion, and examination time (per-oral and per-anal).

Data extraction

The following data from each study were extracted: First author’s name, publication year, country, study design, interventions, patient demographics, indications, number of endoscopies, diagnostic and therapeutic yields, DMI, time to maximum insertion, and examination time (per-oral and per-anal). Different opinions between the reviewers were revolved through discussion.

Risk of bias assessment

As described in the Cochrane Handbook for Systematic Reviews of Interventions[19], we assessed the quality of RCT based on random sequence generation, allocation concealment, blinding of participants and investigators, blinding of outcome assessment, incomplete outcome data, selective reporting, and other bias. We used the Newcastle-Ottawa Scale to assess the quality of prospective study[20]. Any disagreement was resolved via discussions.

Statistical analysis

Statistical analyses were performed using RevMan software (version 5.3; Copenhagen: The Nordic Cochrane Centre, The Cochrane Collaboration, 2014). Standard deviation was obtained from the range and interquartile range as recommended[21,22]. Results are expressed as odds ratio (OR) for categorical variables or mean difference (MD) for continuous variables with 95% confidence interval (CI). Heterogeneity was assessed using I2 test. P < 0.05 or I2 > 50% was considered as significant heterogeneity. A fixed- or random-effects model was used, depending on the absence or presence of significant heterogeneity. Potential for publication bias was assessed by funnel plot. P < 0.05 was considered statistically significant.

Results

Description of studies

The detailed steps of our literature search are shown in figure 1. Briefly, a total of 384 articles were identified. After screening, 22 potentially relevant articles and abstracts were retrieved from the electronic databases. After excluding 11 studies based on the predefined inclusion criteria, 11 studies were identified. Six trials compared DBE with SE[2,8-12], four compared DBE with SBE[3-6], and one compared SBE with SE[7], which were evaluated separately in the meta-analysis. Baseline characteristics and outcome measures are shown in tables 1 and 2. The risks of bias of the RCTs included in this meta-analysis are detailed in Supplementary figure 1. Each prospective study achieved eight points in assessing quality according to the Newcastle-Ottawa Scale.

DBE vs SE

There were six comparisons of DBE vs SE: Five from Europe and one from Asia[2,8-12]. Three were RCTs[2,8,11] and three were prospective studies[9,10,12]. A total of 370 procedures were analyzed, including 255 DBE and 115 SE procedures.

As shown in figure 2, there was no significant difference in diagnostic yield (OR = 1.19, 95%CI: 0.68-2.08) or therapeutic yield (OR = 1.17, 95%CI: 0.61-2.23) between DBE and SE. DBE resulted in deeper DMI (MD = 36.76, 95%CI: 5.09-68.43), corresponding to longer time to maximum insertion (MD = 15.14, 95%CI: 12.00-18.27) and examination time (MD = 12.98, 95%CI: 9.57-16.38). There was no statistical heterogeneity between the studies with regard to diagnostic yield, therapeutic yield, DMI, time to maximum insertion, and examination time (P > 0.05). The funnel plot did not show publication bias in terms of diagnostic yield between DBE and SE (Supplementary figure 2).

DBE vs SBE

There were four RCTs comparing DBE with SBE[3-6]. A total of 327 procedures were analyzed, including 171 DBE and 156 SBE procedures.

As shown in figure 3, there were no significant differences in diagnostic yield (OR = 0.85, 95%CI: 0.55-1.33), therapeutic yield (OR = 1.71, 95%CI: 0.64-4.60), total enteroscopy (OR = 6.10, 95%CI: 0.31-118.52), DMI (MD = -20.42, 95%CI: -89.29-48.45), per-oral examination time (MD = -7.45, 95%CI: -36.60-21.16), or per-anal examination time (MD = 2.48, 95%CI: -6.49-11.44). There was no statistical heterogeneity between the studies with regard to diagnostic yield, therapeutic yield, or per-anal examination time (P > 0.05). The funnel plot did not show publication bias in terms of diagnostic yield between DBE and SBE (Supplementary figure 3).

SBE vs SE

We could not conduct a meta-analysis since there was only one trial comparing SBE vs SE. In the single trial[7], patients needed for an anterograde enteroscopy were randomized to receive SBE (n = 17) or SE (n = 13), thus evaluating a direct comparison between SBE and SE. However, this was insufficient to compare these modalities using meta-analysis. In this trial which ceased without reaching the required sample size, there were no significant differences identified between SBE and SE with regard to diagnostic yield (41% vs 69%, P = 0.16), therapeutic yield (24% vs 46%, P = 0.26), DMI (285.3 ± 80.8 cm vs 330.0 ± 88.2 cm, P = 0.16), or procedure time (38.3 ± 12.4 vs 37.0 ± 10.5, P = 0.76).

Sensitivity/subgroup analysis

We did not perform additional sensitivity or subgroup analysis to assess the observed heterogeneity due to limited number of studies.

Discussion

Although the small intestine has long been considered the final frontier of endoscopy, significant progress in small-bowel enteroscopy techniques has led to increased diagnostic and therapeutic capabilities[23]. This meta-analysis including 727 patients, to our knowledge, is the first systemic meta-analysis comparing DBE, SBE, and SE with regard to clinical outcomes. Our study showed that DBE and SBE had similar clinical outcomes. We also identified that the diagnostic and therapeutic yields were comparable between DBE and SE. It was noteworthy that compared with DBE, SE had shorter procedural time but less depth of insertion. However, SE needs further evaluation vs SBE for clinical outcomes.

In our meta-analysis, double- and single-balloon systems showed similar performance in diagnostic and therapeutic yields, DMI, time to maximum insertion, and examination time. As for diagnostic yield, these four RCTs included in our study showed no significant difference. But in two retrospective studies we excluded[24,25], diagnostic yields were significantly higher in SBE, compared to the DBE group (61.7% vs 48.2%, P < 0.001; 62.0% vs 35.6%, P = 0.014). Nevertheless, retrospective studies easily suffered from patient selection bias, which was also declared by the author. These findings are consistent with previous meta-analyses[13,14]. However, the two meta-analyses included May’s study[17] which was based on the P-type Fujinon instrument for both DBE and SBE. Although the P-type enteroscope allowed deeper intubation in the small bowel, therapeutic maneuvers were difficult to perform using this instrument in comparison with the T-type[26]. Lipka et al[14] mentioned that the P-system was less comparable to the Olympus system used in the other trials. Although results were similar to the previous, our study excluding that trial may be more credible. It is interesting that these two meta-analyses included the same four RCTs but reached the controversial conclusion in terms of total enteroscopy rate. Wadhwa et al concluded that DBE was superior to SBE with regard to complete small bowel visualization (relative risk [RR] = 0.37, 95%CI: 0.19-0.73), while Lipka not (RR 1.73, 95%CI: 0.86-3.48). The recommendation to prefer DBE in patients in whom total enteroscopy is desired may be based on the feeling of many endoscopists. In our study, total enteroscopy rate tended to be higher in DBE than SBE, although the difference was not significant (OR = 6.10, 95%CI: 0.31-118.52). Complete enteroscopy may not be necessary to make a diagnosis, but it plays a role in determining the extension of a known disease and the number of the lesions, especially for the fact that many small bowel diseases are not solitary but multiple, such as vascular malformations, polyps in polyposis syndrome, or Crohn’s stenosis[27]. Similarly, previous studies have shown that the rate of complete enteroscopy by using the DBE method is approximately 40% to 80%[28], while the rates of SBE decreased to approximately 5% to 25%[29,30]. If complete enteroscopy is needed for identifying the extent and number of the lesions, specifically for those once diagnosed by capsule endoscopy with multiple lesions, we recommended DBE technique because it provides a higher rate of complete enteroscopy at present[27].

Spiral enteroscopy, first reported in 2009[31], is another newly developed enteroscopy, which was found to have the advantages of shorter examination time and being more stable within the bowel, thus allowing controlled examination of the intestinal mucosa[31-33]. The previous meta-analysis conducted by Baniya et al[15] combined prospective and retrospective studies, demonstrating that balloon enteroscopy (DBE + SBE) and SE were similar with regard to diagnostic and therapeutic success rates and DMI, but the procedure time was significantly less for the SE group. Excluding retrospective study, we identified three RCTs and three prospective studies comparing DBE with SE, and found that there were no significant differences between DBE and SE with regard to diagnostic and therapeutic yields. However, our study showed that DBE resulted in deeper DMI, in cost of longer procedure time, which is consistent with previous studies[2,9,11]. Although the difference was not significant, DBE tended to achieve deeper small bowel insertion compared to SE[8,12]. Only one study compared DBE and SE in terms of total enteroscopy, and the total enteroscopy rate was 92% in the DBE group and 8% in the SE group (P = 0.002)[2]. Compared with SE, we also recommended DBE if complete enteroscopy was needed.

Up to now, there have been only two studies testing SE vs SBE. One RCT conducted by Moran et al[7] showed no significant differences between SE and SBE with respect to diagnostic yield, therapeutic yield, DMI, and procedure time. One retrospective study conducted by Khashab et al showed that SE and SBE were similar in diagnostic yield but the insertion depth was significantly higher in SE. Small sample size and retrospective design prevented giving a definitive judgement, and future adequately powered prospective study is required to confirm these findings[7,23].

Recently, a novel motorized spiral endoscope has been introduced into clinical evaluation[34]. This novel enteroscopy is currently been evaluated for its efficacy and safety in three prospective clinical trials. It seems to provide a faster and deeper approach to the small bowel with similar safety and efficacy to balloon enteroscopy[35].

There were some limitations to the current study. First, the sample sizes of studies we included were small and we lacked high-quality prospective randomized multicenter trials. Second, a limited number of studies obstructed subgroup and sensitivity analyses. Third, there was no uniform method for insertion depth estimation and different methods of enteroscopic distance estimation were used, which may have an impact on the results[23]. Fourth, due to limited studies comparing SBE with SE, we could not conduct a meta-analysis. Fifth, we only identified and included those studies that were published in English and Chinese because of the language barrier for the authors. Therefore, our meta-analysis may not include some useful published in other kinds of languages. Finally, peroral enteroscopy tended to provide higher diagnostic and therapeutic yields than peranal method. However, a limited number of studies also obstructed separate analysis.

In conclusion, the present meta-analysis has demonstrated that DBE and SBE have similar clinical outcomes. Compared with DBE, SE seem to have similar diagnostic and therapeutic yields, but shorter procedural time in cost of less depth of insertion. SE needs further evaluation vs SBE for clinical outcomes. DBE is recommended for complete enteroscopy.

Article Highlights

Research background

There are three different methods for the management of disorders in the distant part of small bowel: Double-balloon enteroscopy (DBE), single-balloon enteroscopy (SBE), and spiral enteroscopy (SE).

Research motivation

The efficacy of the three methods in terms of diagnostic and therapeutic yield rates, total enteroscopy rate, depth of maximal insertion, time to maximum insertion, and examination time remains unclear.

Research objectives

We aimed to compare the efficacy of DBE, SBE, and SE for the management of small bowel diseases.

Research methods

We searched randomized controlled trials and prospective studies in MEDLINE, PubMed, Embase, Cochrane Library, and Chinese CQVIP database. Statistical analyses were performed via RevMan software.

Research results

The diagnostic and therapeutic yields did not differ significantly when comparing DBE with SE and DBE with SBE. Total enteroscopy, examination time, time to maximum insertion, and depth of maximal insertion were similar between SBE and DBE. DBE was superior to SE with regard to depth of maximal insertion, with longer time to maximum insertion and examination time.

Research conclusions

DBE and SBE may have similar clinical outcomes. Compared with DBE, SE seems to have similar diagnostic and therapeutic yields, but shorter procedural time in cost of less depth of insertion.

Research perspectives

SE needs further evaluation vs SBE. DBE is recommended for complete enteroscopy.
References

1 Yamamoto H, Sekine Y, Sato Y, Higashizawa T, Miyata T, Iino S, Ido K, Sugano K. Total enteroscopy with a nonsurgical steerable double-balloon method. Gastrointest Endosc 2001; 53: 216-220 [PMID: 11174299 DOI: 10.1067/mge.2001.112181]

2 Messer I, May A, Manner H, Ell C. Prospective, randomized, single-center trial comparing double-balloon enteroscopy and spiral enteroscopy in patients with suspected small-bowel disorders. Gastrointest Endosc 2013; 77: 241-249 [PMID: 23043851 DOI: 10.1016/j.gie.2012.08.020]

3 Efthymiou M, Desmond PV, Brown G, La Nauze R, Kaffes A, Chua TJ, Taylor AC. SINGLE-01: a randomized, controlled trial comparing the efficacy and depth of insertion of single- and double-balloon enteroscopy by using a novel method to determine insertion depth. Gastrointest Endosc 2012; 76: 972-980 [PMID: 22980289 DOI: 10.1016/j.gie.2012.06.033]

4 Ren W, Wang L, Ning L, Li Y, Zhao X. Comparison of diagnosis of small bowel disease between single ballom and double ballon enteroscopy. Zhongguo Jiceng Yiyao 2011; 18: 1653-1655 [DOI: 10.3760/cma.j.issn.1008-6706.2011.12.034]

5 Takano N, Yamada A, Watabe H, Togo G, Yamaji Y, Yoshida H, Kawabe T, Omata M, Koike K. Single-balloon versus double-balloon endoscopy for achieving total enteroscopy: a randomized, controlled trial. Gastrointest Endosc 2011; 73: 734-739 [PMID: 21272875 DOI: 10.1016/j.gie.2010.10.047]

6 Domagk D, Mensink P, Aktas H, Lenz P, Meister T, Luegering A, Ullerich H, Aabakken L, Heinecke A, Domschke W, Kuipers E, Bretthauer M. Single- vs double-balloon enteroscopy in small-bowel diagnostics: a randomized multicenter trial. Endoscopy 2011; 43: 472-476 [PMID: 21384320 DOI: 10.1055/s-0030-1256247]

7 Moran RA, Barola S, Law JK, Amateau SK, Rolshud D, Corless E, Kiswani V, Singh VK, Kalloo AN, Khashab MA, Marie Lennon A, Okolo PI 3rd, Kumbhari V. A Randomized Controlled Trial Comparing the Depth of Maximal Insertion Between Anterograde Single-Balloon Versus Spiral Enteroscopy. Clin Med Insights Gastroenterol 2018; 11: 1179552218754881 [PMID: 29398926 DOI: 10.1177/1179552218754881]

8 Oka S, Tanaka S, Aoyama T, Igawa A, Nakano M, Watari I, Imagawa H, Chayama K. Sa1460 Prospective Cross-Over Trial Comparing Spiral Enteroscopy and Double Balloon Endoscopy in Patients With Small-Bowel Lesions by Less-Experienced Japanese Endoscopists. Gastrointest Endosc 2015; 81: AB225 [DOI: 10.1016/j.gie.2015.03.1297]

9 Despott EJ, Murino A, Bourikas L, Nakamura M, Ramachandra V, Fraser C. A prospective comparison of performance during back-to-back, anterograde manual spiral enteroscopy and double-balloon enteroscopy. Dig Liver Dis 2015; 47: 395-400 [PMID: 25869553 DOI: 10.1016/j.dld.2015.02.003]

10 Rahmi G, Samaha E, Vahedi K, Ponchon T, Fumex F, Filoche B, Gay G, Delvaux M, Lorenceau-Savale C, Malamut G, Canard JM, Chatellier G, Cellier C. Multicenter comparison of double-balloon enteroscopy and spiral enteroscopy. J Gastroenterol Hepatol 2013; 28: 992-998 [PMID: 23488827 DOI: 10.1111/jgh.12188]

11 May A, Manner H, Aschmoneit I, Ell C. Prospective, cross-over, single-center trial comparing oral double-balloon enteroscopy and oral spiral enteroscopy in patients with suspected small-bowel vascular malformations. Endoscopy 2011; 43: 477-483 [PMID: 21437852 DOI: 10.1055/s-0030-1256340]

12 Frieling T, Heise J, Sassenrath W, Hülsdonk A, Kreysel C. Prospective comparison between double-balloon enteroscopy and spiral enteroscopy. Endoscopy 2010; 42: 885-888 [PMID: 20803420 DOI: 10.1055/s-0030-1255714]

13 Wadhwa V, Sethi S, Tewani S, Garg SK, Pleskow DK, Chuttani R, Berzin TM, Sethi N, Sawhney MS. A meta-analysis on efficacy and safety: single-balloon vs double-balloon enteroscopy. Gastroenterol Rep (Oxf) 2015; 3: 148-155 [PMID: 25698560 DOI: 10.1093/gastro/gov003]

14 Lipka S, Rabbanifard R, Kumar A, Brady P. Single versus double balloon enteroscopy for small bowel diagnostics: a systematic review and meta-analysis. J Clin Gastroenterol 2015; 49: 177-184 [PMID: 25564409 DOI: 10.1097/MCG.0000000000000274]

15 Baniya R, Upadhaya S, Subedi SC, Khan J, Sharma P, Mohammed TS, Bachuwa G, Jamil LH. Balloon enteroscopy versus spiral enteroscopy for small-bowel disorders: a systematic review and meta-analysis. Gastrointest Endosc 2017; 86: 997-1005 [PMID: 28652176 DOI: 10.1016/j.gie.2017.06.015]

16 Ross A. Push-and-pull enteroscopy: one balloon or two? Am J Gastroenterol 2010; 105: 582-584 [PMID: 20203640 DOI: 10.1038/ajg.2009.714]

17 May A, Färber M, Aschmoneit I, Pohl J, Manner H, Lotterer E, Möschler O, Kunz J, Gossner L, Mönkemüller K, Ell C. Prospective multicenter trial comparing push-and-pull enteroscopy with the single- and double-balloon techniques in patients with small-bowel disorders. Am J Gastroenterol 2010; 105: 575-581 [PMID: 20051942 DOI: 10.1038/ajg.2009.712]

18 Moher D, Liberati A, Tetzlaff J, Altman DG; PRISMA Group. Preferred reporting items for systematic reviews and meta-analyses: the PRISMA statement. BMJ 2009; 339: b2535 [PMID: 19622551 DOI: 10.1136/bmj.b2535]

19 Higgins JP, Altman DG, Gøtzsche PC, Jüni P, Moher D, Oxman AD, Savovic J, Schulz KF, Weeks L, Sterne JA; Cochrane Bias Methods Group; Cochrane Statistical Methods Group. The Cochrane Collaboration's tool for assessing risk of bias in randomised trials. BMJ 2011; 343: d5928 [PMID: 22008217 DOI: 10.1136/bmj.d5928]

20 Wells GA, Shea B, O’Connell D, Peterson J, Welch V, Losos M. The Newcastle-Ottawa Scale (NOS) for Assessing the Quality of Nonrandomised Studies in Metaanalyses. Ottawa: Ottawa Hospital Research Institute. available from: URL: http://www.ohri.ca/programs/clinical_epidemiology/oxford.asp

21 Hozo SP, Djulbegovic B, Hozo I. Estimating the mean and variance from the median, range, and the size of a sample. BMC Med Res Methodol 2005; 5: 13 [PMID: 15840177 DOI: 10.1186/1471-2288-5-13]

22 Higgins J, Green S. Cochrane Handbook for Systematic Reviews of Interventions Version 5.1.0 [updated March 2011]. Cambridge, UK: The Cochrane Collaboration, 2011

23 Khashab MA, Lennon AM, Dunbar KB, Singh VK, Chandrasekhara V, Giday S, Canto MI, Buscaglia JM, Kapoor S, Shin EJ, Kalloo AN, Okolo PI 3rd. A comparative evaluation of single-balloon enteroscopy and spiral enteroscopy for patients with mid-gut disorders. Gastrointest Endosc 2010; 72: 766-772 [PMID: 20619404 DOI: 10.1016/j.gie.2010.04.043]

24 Lu Z, Qi Y, Weng J, Ma L, Wan X, Wan R, Lu L, Zhao H. Efficacy and Safety of Single-Balloon Versus Double-Balloon Enteroscopy: A Single-Center Retrospective Analysis. Med Sci Monit 2017; 23: 1933-1939 [PMID: 28432283 DOI: 10.12659/msm.900343]

25 Lenz P, Roggel M, Domagk D. Double- vs single-balloon enteroscopy: single center experience with emphasis on procedural performance. Int J Colorectal Dis 2013; 28: 1239-1246 [PMID: 23503664 DOI: 10.1007/s00384-013-1673-1]

26 Riccioni ME, Bizzotto A, Cianci R. How can we compare apples and oranges? Am J Gastroenterol 2010; 105: 2504; author reply 2504-2504; author reply 2505 [PMID: 21048685 DOI: 10.1038/ajg.2010.283]

27 May A. How much importance do we have to place on complete enteroscopy? Gastrointest Endosc 2011; 73: 740-742 [PMID: 21457816 DOI: 10.1016/j.gie.2010.11.030]

28 Pohl J, Blancas JM, Cave D, Choi KY, Delvaux M, Ell C, Gay G, Jacobs MA, Marcon N, Matsui T, May A, Mulder CJ, Pennazio M, Perez-Cuadrado E, Sugano K, Vilmann P, Yamamoto H, Yano T, Zhong JJ. Consensus report of the 2nd International Conference on double balloon endoscopy. Endoscopy 2008; 40: 156-160 [PMID: 18253908 DOI: 10.1055/s-2007-966994]

29 Aktas H, de Ridder L, Haringsma J, Kuipers EJ, Mensink PB. Complications of single-balloon enteroscopy: a prospective evaluation of 166 procedures. Endoscopy 2010; 42: 365-368 [PMID: 20178072 DOI: 10.1055/s-0029-1243931]

30 Ramchandani M, Reddy DN, Gupta R, Lakhtakia S, Tandan M, Rao GV, Darisetty S. Diagnostic yield and therapeutic impact of single-balloon enteroscopy: series of 106 cases. J Gastroenterol Hepatol 2009; 24: 1631-1638 [PMID: 19686408 DOI: 10.1111/j.1440-1746.2009.05936.x]

31 Akerman PA, Agrawal D, Cantero D, Pangtay J. Spiral enteroscopy with the new DSB overtube: a novel technique for deep peroral small-bowel intubation. Endoscopy 2008; 40: 974-978 [PMID: 19065477 DOI: 10.1055/s-0028-1103402]

32 Buscaglia JM, Dunbar KB, Okolo PI 3rd, Judah J, Akerman PA, Cantero D, Draganov PV. The spiral enteroscopy training initiative: results of a prospective study evaluating the Discovery SB overtube device during small bowel enteroscopy (with video). Endoscopy 2009; 41: 194-199 [PMID: 19280530 DOI: 10.1055/s-0028-1119602]

33 Akerman PA, Agrawal D, Chen W, Cantero D, Avila J, Pangtay J. Spiral enteroscopy: a novel method of enteroscopy by using the Endo-Ease Discovery SB overtube and a pediatric colonoscope. Gastrointest Endosc 2009; 69: 327-332 [PMID: 19100974 DOI: 10.1016/j.gie.2008.07.042]

34 Neuhaus H, Beyna T, Schneider M, Devière J. Novel motorized spiral enteroscopy: first clinical case. VideoGIE 2016; 1: 32-33 [PMID: 29905207 DOI: 10.1016/j.vgie.2016.08.005]

35 Schneider M, Höllerich J, Beyna T. Device-assisted enteroscopy: A review of available techniques and upcoming new technologies. World J Gastroenterol 2019; 25: 3538-3545 [PMID: 31367155 DOI: 10.3748/wjg.v25.i27.3538]

Footnotes

Conflict-of-interest statement: All authors declare no conflicts of interest. The authors alone are responsible for the content and writing of the paper.

PRISMA 2009 Checklist statement: The authors have read the PRISMA 2009 Checklist, and the manuscript was prepared and revised according to the PRISMA 2009 Checklist.

Open-Access: This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Manuscript source: Invited Manuscript

Peer-review started: December 12, 2019

First decision: January 7, 2020

Article in press:

Specialty type: Medicine, research and experimental

Country of origin: China

Peer-review report classification

Grade A (Excellent): 0

Grade B (Very good): 0

Grade C (Good): C

Grade D (Fair): D

Grade E (Poor): 0

P-Reviewer: Kuwai T, Yamamoto S S-Editor: Gong ZM L-Editor: Wang TQ E-Editor:

Figure Legends

Figure 1 Flow chart.

Figure 2 Outcome measures between double-balloon enteroscopy and spiral enteroscopy. A: diagnostic yield; B: therapeutic yield; C: depth of maximal insertion; D: time to maximum insertion; and E: examination time.

Figure 3 Outcome measures between double-balloon enteroscopy and single-balloon enteroscopy. A: diagnostic yield; B: therapeutic yield; C: total enteroscopy; D: depth of maximal insertion; E: examination time (per-oral); and F: examination time (per-anal).

Table 1 Study characteristics

| Ref. | Country | Study design | Intervention | No. of patients | Male/Female | Age | Indications (OGIB/others) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Moran et al[7], 2018 | United States | RCT | SBE | 17 | 3/14 | 55.8 ± 20.3 | 8/9 |
|  |  |  | SE | 13 | 10/3 | 53.1 ± 18.3 | 7/6 |
| Oka et al[8], 2015 | Japan | RCT | DBE | 10 | 6/4 | 63.9 ± 12.8 | 0/10 |
|  |  |  | SE | 10 | 6/4 | 63.9 ± 12.8 | 0/10 |
| Despott et al[9], 2015 | United Kingdom | Prospective | DBE | 15 | 5/10 | 51.4 ± 5.4 | 0/15 |
|  |  |  | SE | 15 | 5/10 | 51.4 ± 5.4 | 0/15 |
| Messer et al[2], 2013 | Germany | RCT | DBE | 13 | 6/7 | 47.6 ± 20/7 | 7/6 |
|  |  |  | SE | 13 | 7/6 | 61.2 ± 18.6 | 12/1 |
| Rahmi et al[10], 2013 | France | Prospective | DBE | 191 | 76/115 | 59.0 ± 15.9 | 151/40 |
|  |  |  | SE | 50 | 25/25 | 58.4 ± 14.3 | 43/7 |
| May et al[11], 2011 | Germany | RCT | DBE | 10 | 6/4 | 69 ± 12 | 10/0 |
|  |  |  | SE | 10 | 6/4 | 69 ± 12 | 10/0 |
| Frieling et al[12], 2010 | Germany | Prospective | DBE | 17 | 7/10 | 61 ± 17 | 14/3 |
|  |  |  | SE | 18 | 10/8 | 58 ± 25 | 11/7 |
| Efthymiou et al[3], 2012 | Australia | RCT | DBE | 57 | 24/33 | 61 (49-68)1 | 44/13 |
|  |  |  | SBE | 50 | 19/31 | 67 (51-72)1 | 40/10 |
| Domagk et al[6], 2011 | Germany | RCT | DBE | 65 | 32/33 | 52 (18-84)2 | 29/36 |
|  |  |  | SBE | 65 | 35/30 | 53 (21-80)2 | 26/39 |
| Takano et al[5], 2011 | Japan | RCT | DBE | 20 | 15/5 | 62.7 ± 16.1 | 13/7 |
|  |  |  | SBE | 18 | 13/5 | 64.9 ± 14.7 | 10/8 |
| Ren et al[4], 2011 | China | RCT | DBE | 50 | 35/15 | 42.3 | 25/25 |
|  |  |  | SBE |  |  |  |  |

1median (IQR). 2median (range). RCT: randomized controlled trial; SBE: single-balloon enteroscopy; SE: spiral enteroscopy; DBE: double-balloon enteroscopy; OGIB: obscure gastrointestinal bleeding.
Table 2 Outcome measures of enteroscopy

| Ref. | Intervention | No. of endoscopy | Diagnostic yield, n (%) | Therapeutic yield, n (%) | Total enteroscopy, n (%) | DMI, mean ± SD (cm) | Time to maximum insertion, mean ± SD (min) | Examination time, mean ± SD (min) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Oral | Anal |
| Moran et al[7], 2018 | SBE | 17 | 7/17 (41.2) | 4/17 (24) | NA | 285.3 ± 80.8 | NA | 36.1 ± 11.4 | NA |
|  | SE | 13 | 9/13 (69.2) | 6/13 (46) | NA | 330.0 ± 88.2 | NA | 34.8 ± 4.7 | NA |
| Oka et al[8], 2015 | DBE | 10 | 10/10 (100) | NA | NA | 228 ± 22.0 | 32.9 ± 5.2 | 38.9 ± 5.0 | NA |
|  | SE | 10 | 9/10 (90) | NA | NA | 214 ± 16.9 | 19.5 ± 2.6 | 28.2 ± 4.3 | NA |
| Despott et al[9], 2015 | DBE | 14 | NA | NA | NA | 265 (227-324)3 | 45 (35-53)3 | 54 (45-62)3 | NA |
|  | SE | 14 | NA | NA | NA | 175 (132-212)3 | 24 (20-28)3 | 28 (27-36)3 | NA |
| Messer et al[2], 2013 | DBE | 13 | 6/13 (46) | 12/13 (92) | 12/13 (92.3) | 346.2 ± 63.3 | 46.2 ± 12.5 | 59.6 ± 14.5 | 76.1 ± 21.8 |
|  | SE | 13 | 9/13 (69) | 12/13 (92) | 1/13 (7.7) | 268.5 ± 76.3 | 26.2 ± 7.7 | 43.4 ± 10.2 | 51.9 ± 11.0 |
| Rahmi et al[10], 2013 | DBE | 191 | 143/191 (74.9) | 133/191 (69.6) | NA | 200 (150-300)2 | NA | 60 (45-80)2 | NA |
|  | SE | 50 | 35/50 (70.0) | 33/50 (66) | NA | 220 (200-300)2 | NA | 55 (45-80)2 | NA |
| May et al[11], 2011 | DBE | 10 | NA | 141 | NA | 310 (220-430)3 | 46.5 ± 19.3 | 65.0 ± 12.8 | NA |
|  | SE | 10 | NA | 91 | NA | 250 (200-340)3 | 24.3 ± 11.8 | 43.3 ± 9.3 | NA |
| Frieling et al[12], 2010 | DBE | 17 | 8/17 (47.1) | NA | NA | 265 ± 88.1 | NA | 41.8 ± 9.5 |  |
|  | SE | 18 | 6/18 (33.4) | NA | NA | 216 ± 54.1 | NA | 46.5 ± 12 |  |
| Efthymiou et al[3], 2012 | DBE | 66 | 35/66 (53) | 17/66 (26) | 0/5 | 234.1 ± 99.3 | NA | 60 (45-70)2 |  |
|  | SBE | 53 | 30/53 (57) | 16/53 (30) | 0/1 | 203.8 ± 87.6 | NA | 60 (45-67)2 |  |
| Domagk et al[6], 2011 | DBE | 65 | 28/65 (43) | 6/65 (9) | 12/65 (18) | 253 (120-450)3 | NA | 105 (40-140)3 |  |
|  | SBE | 65 | 24/65 (37) | 3/65 (5) | 7/65 (11) | 258 (100-560)3 | NA | 96 (35-135)3 |  |
| Takano et al[5], 2011 | DBE | 20 | 10/20 (50) | 7/20 (35) | 8/14 (57) | NA | NA | 70.4 ± 26.5 | 90.4 ± 13.7 |
|  | SBE | 18 | 11/18 (61) | 5/18 (28) | 0/14 | NA | NA | 92.8 ± 20.6 | 93.1 ± 22.6 |
| Ren et al[4], 2011 | DBE | 20 | 12/20 (60) | NA | 0/6 | 328 (200-450)3 | NA | 70.3 (41-123)3 | 81.4 (55-141)3 |
|  | SBE | 20 | 18/20 (90) | NA | 0/5 | 360 (300-450)3 | NA | 63.7 (38-112)3 | 73.1 (45-132)3 |

1Angiodysplasias treated with APC. 2median (IQR). 3median (range). SBE: single-balloon enteroscopy; SE: spiral enteroscopy; DBE: double-balloon enteroscopy; NA: not available; DMI: depth of maximal insertion; SD: standard deviate.