Name of Journal: World Journal of Clinical Cases

Manuscript NO: 60884

Manuscript Type: CASE REPORT

Intracardiac, pulmonary cement embolism in a 67-year-old female after cement-augmented pedicle screw instrumentation: A case report and review of literature

Liang TZ et al. Intracardiac, pulmonary cement embolism after CAPSI

Tong-Zhou Liang, Hai-Peng Zhu, Bo Gao, Yan Peng, Wen-Jie Gao

Tong-Zhou Liang, Bo Gao, Yan Peng, Wen-Jie Gao, Department of Orthopedics, Sun Yat-Sen Memorial Hospital, Sun Yat-Sen University, Guangzhou 510289, Guangdong Province, China

Hai-Peng Zhu, Department of Orthopedics, Guangdong Women and Children Hospital, Guangzhou 518117, Guangdong Province, China

Author contributions: Liang TZ and Zhu HP contributed equally to the work; Liang TZ, Zhu HP, and Gao B provided patient care, monitored the patient’s vital signs, provided treatment, and abstracted laboratory and clinical data; Gao WJ and Zhu HP performed a regular follow-up of the patient; Peng Y, Gao WJ, and Liang TZ contributed to the writing of the manuscript; All authors reviewed and approved the final manuscript and issued final approval for the version to be submitted.

Supported by Fundamental Research Funds for the Central Universities, No. 20ykpy94.

Corresponding author: Wen-Jie Gao, MD, PhD, Attending Doctor, Department of Orthopedics, Sun Yat-Sen Memorial Hospital, Sun Yat-Sen University, No. 33 Yingfeng Road, Haizhu District, Guangzhou 510289, Guangdong Province, China. gaowj7@mail.sysu.edu.cn

Received: November 24, 2020

Revised: February 4, 2021

Accepted: March 3, 2021

Published online: May 6, 2021

Abstract

BACKGROUND

We report a case of pulmonary and intravenous cement embolism after cement-augmented pedicle screw instrumentation in treating spondylolisthesis underlying osteoporotic bone, which was successfully managed by conservative treatment. We describe the treatment and outcome of the patient, hoping to shed light on the management of bone cement embolism.

CASE SUMMARY

A 67-year-old female suffered from progressive low back pain and numbness in lower extremities for 30 years. She was diagnosed with L4 and L5 spondylolisthesis, spinal stenosis, and osteoporosis. The patient underwent spinal canal decompression, an interbody fusion of L4/5 and L5/S1, cement-augmented pedicle screw instrumentation in L4-L5 segments, and regular pedicle screw in S1 segments. Three days postoperatively, a sudden drop in oxygen saturation occurred. Computerized tomography scan confirmed pulmonary and intravenous embolism. The patient was treated conservatively by continuous low-flow oxygen inhalation, anti-coagulation, and antibiotic therapy for 1 mo and continued anticoagulation treatment for 6 mo. The patient showed no further symptoms in a 30-mo follow-up.

CONCLUSION

Intracardiac, pulmonary cement embolism after cement-augmented pedicle screw instrumentation is extremely rare. Careful clinical and radiographic evaluation is required in multiple sites of bone cement embolism. Conservative treatment may be a primary consideration in scattered emboli without life-threatening conditions, but a clinical decision should be made on an individualized basis.

Key Words: Osteoporosis; Polymethyl methacrylate cement; Pulmonary embolism; Cement-augmented pedicle screw instrumentation; Conservative treatment; Case report

©The Author(s) 2021. Published by Baishideng Publishing Group Inc. All rights reserved.

Liang TZ, Zhu HP, Gao B, Peng Y, Gao WJ. Intracardiac, pulmonary cement embolism in a 67-year-old female after cement-augmented pedicle screw instrumentation: A case report and review of literature. World J Clin Cases 2021;

9(13): 3120-3129 URL: https://www.wjgnet.com/2307-8960/full/v9/i13/3120.htm DOI: https://dx.doi.org/10.12998/wjcc.v9.i13.3120

Core Tip: Intracardiac and pulmonary cement embolism event after cement-augmented pedicle screw instrumentation is an extremely rare complication in orthopedics surgery. In our case, the patient developed no symptoms except for rapid decrease in oxygen saturation to 70%. The case presents evidence for treating cement embolism cases without severe life-threatening complications, which include close monitoring, oxygen inhalation, anti-coagulation, and antibiotic therapy. This case improves our understanding of bone cement embolism and informs optimization of the duration and type of anticoagulant drugs to be used when the complication occurs.

INTRODUCTION

Currently, pedicle screw instrumentation is a common and necessary approach in spinal surgery. With a surge in the aging population, degenerative lumbar disease and osteoporosis have become increasingly common. When dealing with osteoporotic patients, the strength of internal fixation is reduced, thus leading to increased intraoperative bleeding and higher postoperative revision rate and failure rate. A study performed by Wang et al[1] showed that osteoporosis is a risk factor for longer instrumented posterior spinal fusion[1]. Longer instrumented extending to the adjacent segment may lead to several complications such as proximal junctional kyphosis that undermine the effectiveness of surgery[1,2]. To enhance the anchoring strength, several techniques have been used, including bicortical screws, tricortical screws, expandable screws, iliac screws, and iliosacral screws[3,4]. While it is not recommended to extend the extra fixation segment, the strength of bicortical or tricortical screws are also limited and may lead to internal fixation failure in an osteoporotic patients[5].

Cement-augmented pedicle screw instrumentation (CAPSI), first reported in the 1970s, has been widely applied in spinal surgeries for osteoporotic patients[6]. Generally, the indications for CAPSI include osteoporotic spine and revision surgeries[7,8]. Bone cement augmentation has complications of leakage into the intraspinal space and venous system and may lead to neurological deficits, pulmonary cement embolism (PCE), or intracardiac cement embolism (ICE)[9,10]. Compared to vertebroplasty, only a few studies focused on embolism events caused by CAPSI[11]. PCE and ICE caused by cement leakage into the venous system after CAPSI have been rarely reported. However, the incidence of cement embolism is increasing, and the treatment of severe multiple organ embolism remains controversial. It is estimated that the risk of all cement leakage was around 21.8%, while the incidence for symptomatic pulmonary embolism was between 0.2%-1.4%[12]. In this article, a case of conservative treatment for intracardiac and pulmonary cement embolism after CAPSI and a 30-mo uneventful outcome status is reported.

CASE PRESENTATION

Chief complaints

Low back pain for 30 years, worsening with numbness of both lower limbs for 3 mo.

History of present illness

A 67-year-old woman initially presented with the symptoms of chronic low back pain for 30 years. The patient received pain relief treatment, but she was not examined systematically because of poor compliance. The pain was then exacerbated and was accompanied by numbness in the lateral thigh of both sides for 3 mo. Therefore, the patient came to our hospital for a comprehensive examination.

History of past illness

The patient was diagnosed with hypertension for 10 years. The highest blood pressure level was around 150/90 mmHg. The patient did not have dizziness, vertigo, or blurred vision. She began to take metoprolol 47.5 mg once a day and yielded a good control of blood pressure level. The patient had no record of vascular diseases or embolism.

Personal and family history

Her family members had no records of thrombotic disease.

Physical examination

A physical examination revealed a step sign on the L5 and S1 spinous process with tenderness on the paraspinal muscles of L4-S1. The Laseque sign was negative for both limbs of the patient. Sciatica was not induced by bilateral femoral nerve stretching test of both lower limbs. No obvious scoliosis and kyphosis were observed in the patient.

Laboratory examinations

Prothrombin and partial thromboplastin times were normal, and D-dimers were slightly increased at 632 ng/mL. The blood analysis showed a hemoglobin level of 133 g/L, a platelet count of 247 ×109/L, and a white count of 5.77 × 109/L, which were all within the normal range. Three days after the surgery when the drop of oxygen saturation occurred, blood analysis revealed a leukocytosis 14.27 × 109/L, with predominant neutrophils (91.6%) with decreased hemoglobin at 96 g/L and normal platelet count. D-dimers were significantly increased at 7669 ng/mL (referenced range: 68-494 ng/mL). Creatine kinase was increased slightly at 219 U/L (referenced range < 190 U/L). Arterial blood gas revealed an elevated pH 7.479 and reduced oxygen partial pressure at 58.6 mmHg. The blood biochemistries, electrocardiogram, and urine analysis were normal.

Imaging examinations

The T-value measured by dual-energy X-ray absorptiometry was -3.21 SD, which indicated osteoporosis of the lumbar spine. The average Hounsfield unit value of the L4 vertebrae was 98.82, while the average Hounsfield unit value of the L5 vertebrae was 98.77 (Supplementary Figure 1). A preoperative radiograph and computed tomography (CT) scan showed L4 and L5 isthmic spondylolisthesis. The magnetic resonance imaging scan indicated anterior L4 spondylolisthesis complicated with spinal canal stenosis of the L4-S1 segment. Bilateral nerve root was compressed significantly. After surgery, chest CT was performed to evaluate the severity of embolism. Multiple columnar high-density shadows in pulmonary arteries of multiple segments of right pulmonary arteries, anteromedial basal segment, and basal lateral segment of left lower lobe and azygos vein were observed.

Surgery procedure

The patient was anesthetized and placed in a prone position. Under fluoroscopic guidance, 6.5 mm fenestrated pedicle screws were inserted in L4 and L5, and regular pedicle screws were inserted in S1. For cement augmentation, 2 mL of high-viscosity polymethyl methacrylate bone cement was injected into each pedicle screw gently 4 min after mixture without application of high-pressure injection system. An L4 and L5 Laminectomy and decompression were performed, and the nerve roots were released. A standard posterior lumbar interbody fusion was performed of the L4/5 and L5/S1 segments.

Postoperative course and conservative treatment

The patient’s condition was stable after surgery. The low back pain and numbness in the lower extremities were relieved immediately. Her oxygen saturation remained normal at 99%. However, on the third day after surgery, the patient presented with a sudden decrease in oxygen saturation to 70%. X-ray of lumbar vertebrae showed leakage of cement from the venous system (Figure 1). The patient did not have a cough, hemoptysis, or shortness of breath, and there were no signs of chest pain or palpitation. The oxygen saturation raised to 85% after low-flow oxygen inhalation. A blood gas analysis revealed a pH 7.479, partial pressure of carbon dioxide = 41.0 mmHg, and oxygen partial pressure = 58.6 mmHg. Blood D-dimer was raised from 631 ng/mL 1 d preoperative to 7669 ng/mL 3 d postoperative. Spirometry revealed small airway dysfunction without diffusion impairment. The pulmonary function test showed that the diffusion function was normal, but small airway dysfunction existed. Chest CT confirmed the presence of multiple columnar high-density shadows in the pulmonary arteries of multiple segments of right pulmonary arteries, anteromedial basal segment, and basal lateral segment of left lower lobe and azygos vein (Figure 2). The bone cement embolism was located within the right and left lower lobe of the lung. The CT scan also revealed exudation and inflammation of both lungs. The electrocardiograph was normal, and the molecular markers of myocardial infarction including creatine kinase (219 U/L), lactate dehydrogenase (293 U/L), and myoglobin (78.4 ug/L) were slightly elevated. The Pulmonary Embolism Severity Index and simple Pulmonary Embolism Severity Index score for the patient were 20 and 1, respectively. Because the patient exhibited no significant hemodynamic disorder or signs of cardiac failure, she was treated with continuous low-flow oxygen inhalation and 5000 IU/d low molecular weight heparin. Blood oxygen was restored in 2 h. The patient developed the symptoms of fever and her white blood cell count elevated to 12.4 × 109/L. Meanwhile, plain radiography indicated diffuse exudation in the lungs.

FINAL DIAGNOSIS

The final diagnosis of the presented case is intracardiac, pulmonary, and venous bone cement embolism after cement-augmented pedicle screw instrumentation.

TREATMENT

To treat plausible infection, 500 mg/d of levofloxacin was used. After the commencement of cement embolism, the patient was nursed sitting up regularly and was atomized to clear airway secretions twice daily. The patient developed no further embolism, and blood oxygen was maintained above 98%. Therefore, the patient was discharged 3 wk after surgery. The patient was treated with low molecular weight heparin 5000 IU/d for 1 mo and was switched to 2.5 mg/d of warfarin for 6 mo after discharge. The coagulation function was closely monitored by international normalized ratio during warfarin administration.

OUTCOME AND FOLLOW-UP

Regular tests and serial cardiac and pulmonary assessments were carried out and revealed no signs of an exacerbation. She did not report further discomfort in the 30-mo follow-up (Figure 3).

DISCUSSION

In the case we presented, the patient was diagnosed with L4-L5 isthmic spondylolisthesis, spinal canal stenosis, and osteoporosis. The patient developed symptoms such as decreased blood oxygen saturation after surgery, and imaging confirmed the occurrence of bone cement embolism in multiple organs. The patient has obtained good clinical outcome under conservative treatment. In a randomized, controlled trial, Ghogawala et al[13] suggested lumbar laminectomy plus fusion may yield better clinical improvement compared with laminectomy alone[13]. To improve the quality of life and prevent internal fixation failure, we decided to perform CAPSI in L4 and L5 segments. CAPSI was first described in 1975, and it has been widely used to increase screw holding power and resist pull-out force, especially in osteoporotic patients.

Bone cement leakage is a common complication of a bone cement-augmented pedicle screw. Two major complications underlying CAPSI are PCE and perivertebral cement leakage (PCL). It is estimated that the risk of PCE in an augmented pedicle screw insertion is approximately 1.5%-7.9%[14]. Janssen et al[11] reported the risk of cardiac cement embolism following percutaneous vertebroplasty was approximately 3.9%. Approximately 71% of patients with underlying CAPSI may develop cement leakage, but most of them were asymptomatic[11]. In a study conducted by Ulusoy et al[15], the distribution of intravenous leakage locations in PCL-positive cases was 10.8% in both the azygos vein and inferior vena cava. In PCE-positive patients, emboli in segmentary and subsegmental arteries were detected in 52% of patients, while 48% had emboli detected in the lobar and main pulmonary arteries[15]. In this case, the intracardiac, pulmonary, and vein cement embolism were all developed after CAPSI.

Very few studies have focused on the risk factors of an embolism following CAPSI. Known risk factors for PCE include thoracic spine instrumentation, spinal metastases, more instrumented levels, and more total cement volume[16]. Risk factors of symptomatic PCE include more than 10 instrumented levels, previous cardiopulmonary disease, and a total cement amount of more than 30 mL[15,17]. Besides, large-scale and multi-center retrospective studies should be conducted to determine risk factors of PCE and ICE after CAPSI. In the case we presented here, the patient did not present with the risk factors mentioned above. However, the patient was diagnosed with osteoporosis, which might also be considered as a risk factor for CAPSI.

Most cardiopulmonary cement embolisms are asymptomatic, but in some cases, cement embolisms can lead to severe clinical outcomes[18,19]. More devastating clinical outcomes may occur when PCL enters the lumbar venous plexus, azygos vein, inferior vena cava, the right heart, and eventually the pulmonary arteries[20-26]. Symptoms such as dyspnea, oxygen desaturation, tachypnea, or cardiopulmonary arrest seem to begin a few days or immediately after surgery (Figure 4 and Table 1). Life-threatening conditions including acute respiratory distress, pericardial effusion, and fatal cardiac perforation may occur[15,27,28]. Most PCE and ICE patients develop symptoms during hospitalization[29], but in some cases, it may take more than 5 years before the symptoms emerge[30].

Many studies have reported removing the central embolism caused by large emboli through surgery. Open surgery may be considered when the patient develops life threating conditions such as progressive dyspnea, chest pain, hemodynamic disruption, cardiac perforation, or tamponade[31]. After careful evaluation of the location and the shape of the cement emboli, percutaneous retrieval is an approach that is considered to extract the embolus. There is a viable algorithm and indication of reverting to surgery in treating symptomatic central bone cement embolization. After careful evaluation of clinical presentation, cement size and location, and vital signs, the decision of interventional radiology or either open/minimal invasive cardiac surgery can be made[9]. Sometimes, the embolus may be difficult to extract, and forced removal may cause extra damage. In this case, the symptomatic cardiopulmonary embolism was treated using conservative treatments under close monitoring. It is not practical to remove all the sparse and fragile emboli through catheter-based retrieval. Therefore, in the case of mild clinical manifestation with stable hemodynamic status, conservative treatment including anticoagulation, continuous low-flow oxygen inhalation, and antibiotics can be an option. Some preventive measures have been used to avoid embolic complications of CAPSI (Table 2).

Baroud et al[32] suggested the use of high-viscosity bone cement and longer mixing time[32], while lower injection pressure and intermittent injections have also been recommended[33]. Close monitoring under consecutive fluoroscopy can detect early leakages.

CONCLUSION

Spine surgeons should pay more attention to the occurrence of cement embolism when treating an osteoporotic or metastatic spine tumor through CAPSI. In this case, the patient developed intracardiac, pulmonary, and intravenous embolism without significant clinical symptoms. The leakage may be caused by the injection of bone cement into paravertebral veins. The patient was treated with continuous low-flow oxygen inhalation, anticoagulation, and antibiotics, and the prognosis was acceptable in a 30-mo follow-up. When making clinical decisions, conservative treatment may be considered in patients without significant symptoms and when the embolus is small. Despite the rare complications, CAPSI is generally a reliable and safe surgical procedure. Nevertheless, more studies are needed to establish a decision-making algorithm regarding CAPSI related embolism events.

ACKNOWLEDGEMENTS

The authors would like to thank the patient for their involvement in the present study.

REFERENCES

1 Wang H, Ma L, Yang D, Wang T, Yang S, Wang Y, Wang Q, Zhang F, Ding W. Incidence and risk factors for the progression of proximal junctional kyphosis in degenerative lumbar scoliosis following long instrumented posterior spinal fusion. Medicine (Baltimore) 2016; 95: e4443 [PMID: 27512860 DOI: 10.1097/MD.0000000000004443]

2 Hyun SJ, Kim YJ, Rhim SC. Patients with proximal junctional kyphosis after stopping at thoracolumbar junction have lower muscularity, fatty degeneration at the thoracolumbar area. Spine J 2016; 16: 1095-1101 [PMID: 27217332 DOI: 10.1016/j.spinee.2016.05.008]

3 Zhuang XM, Yu BS, Zheng ZM, Zhang JF, Lu WW. Effect of the degree of osteoporosis on the biomechanical anchoring strength of the sacral pedicle screws: an in vitro comparison between unaugmented bicortical screws and polymethylmethacrylate augmented unicortical screws. Spine (Phila Pa 1976) 2010; 35: E925-E931 [PMID: 20098349 DOI: 10.1097/BRS.0b013e3181c5fb21]

4 Weng F, Wang J, Yang L, Zeng J, Chu Y, Tian Z. Application value of expansive pedicle screw in the lumbar short-segment fixation and fusion for osteoporosis patients. Exp Ther Med 2018; 16: 665-670 [PMID: 30112031 DOI: 10.3892/etm.2018.6248]

5 Guo HZ, Tang YC, Li YX, Yuan K, Guo DQ, Mo GY, Luo PJ, Zhou TP, Zhang SC, Liang. The Effect and Safety of Polymethylmethacrylate-Augmented Sacral Pedicle Screws Applied in Osteoporotic Spine with Lumbosacral Degenerative Disease: A 2-Year Follow-up of 25 Patients. World Neurosurg 2019; 121: e404-e410 [PMID: 30266711 DOI: 10.1016/j.wneu.2018.09.121]

6 Zindrick MR, Wiltse LL, Widell EH, Thomas JC, Holland WR, Field BT, Spencer CW. A biomechanical study of intrapeduncular screw fixation in the lumbosacral spine. Clin Orthop Relat Res 1986: 99-112 [PMID: 3956001]

7 Hoppe S, Keel MJ. Pedicle screw augmentation in osteoporotic spine: indications, limitations and technical aspects. Eur J Trauma Emerg Surg 2017; 43: 3-8 [PMID: 27995283 DOI: 10.1007/s00068-016-0750-x]

8 Liu D, Sheng J, Wu HH, Kang X, Xie QY, Luo Y, Zhou JJ, Zheng W. Biomechanical study of injectable hollow pedicle screws for PMMA augmentation in severely osteoporotic lumbar vertebrae: effect of PMMA distribution and volume on screw stability. J Neurosurg Spine 2018; 29: 639-646 [PMID: 30192220 DOI: 10.3171/2018.4.SPINE171225]

9 Sidhu GS, Kepler CK, Savage KE, Eachus B, Albert TJ, Vaccaro AR. Neurological deficit due to cement extravasation following a vertebral augmentation procedure. J Neurosurg Spine 2013; 19: 61-70 [PMID: 23641675 DOI: 10.3171/2013.4.SPINE12978]

10 D'Errico S, Niballi S, Bonuccelli D. Fatal cardiac perforation and pulmonary embolism of leaked cement after percutaneous vertebroplasty. J Forensic Leg Med 2019; 63: 48-51 [PMID: 30861473 DOI: 10.1016/j.jflm.2019.03.004]

11 Janssen I, Ryang YM, Gempt J, Bette S, Gerhardt J, Kirschke JS, Meyer B. Risk of cement leakage and pulmonary embolism by bone cement-augmented pedicle screw fixation of the thoracolumbar spine. Spine J 2017; 17: 837-844 [PMID: 28108403 DOI: 10.1016/j.spinee.2017.01.009]

12 Zhang J, Wang G, Zhang N. A Meta-Analysis Of Complications Associated With The Use Of Cement-Augmented Pedicle Screws In Osteoporosis Of Spine. Orthop Traumatol Surg Res 2020: 102791 [PMID: 33338677 DOI: 10.1016/j.otsr.2020.102791]

13 Ghogawala Z, Dziura J, Butler WE, Dai F, Terrin N, Magge SN, Coumans JV, Harrington JF, Amin-Hanjani S, Schwartz JS, Sonntag VK, Barker FG 2nd, Benzel EC. Laminectomy plus Fusion vs Laminectomy Alone for Lumbar Spondylolisthesis. N Engl J Med 2016; 374: 1424-1434 [PMID: 27074067 DOI: 10.1056/NEJMoa1508788]

14 Singh V, Mahajan R, Das K, Chhabra HS, Rustagi T. Surgical Trend Analysis for Use of Cement Augmented Pedicle Screws in Osteoporosis of Spine: A Systematic Review (2000-2017). Global Spine J 2019; 9: 783-795 [PMID: 31552160 DOI: 10.1177/2192568218801570]

15 Ulusoy OL, Kahraman S, Karalok I, Kaya E, Enercan M, Sever C, Abay B, Karadereler S, Hamzaoglu A. Pulmonary cement embolism following cement-augmented fenestrated pedicle screw fixation in adult spinal deformity patients with severe osteoporosis (analysis of 2978 fenestrated screws). Eur Spine J 2018; 27: 2348-2356 [PMID: 29671110 DOI: 10.1007/s00586-018-5593-1]

16 Hsieh MK, Kao FC, Chiu PY, Chen LH, Yu CW, Niu CC, Lai PL, Tsai TT. Risk factors of neurological deficit and pulmonary cement embolism after percutaneous vertebroplasty. J Orthop Surg Res 2019; 14: 406 [PMID: 31783861 DOI: 10.1186/s13018-019-1459-4]

17 Corcos G, Dbjay J, Mastier C, Leon S, Auperin A, De Baere T, Deschamps F. Cement leakage in percutaneous vertebroplasty for spinal metastases: a retrospective evaluation of incidence and risk factors. Spine (Phila Pa 1976) 2014; 39: E332-E338 [PMID: 24299719 DOI: 10.1097/BRS.0000000000000134]

18 Chang CY, Huang SF. Asymptomatic pulmonary cement embolism. CMAJ 2017; 189: E543 [PMID: 28396332 DOI: 10.1503/cmaj.160579]

19 Pannirselvam V, Hee HT. Asymptomatic cement embolism in the right atrium after vertebroplasty using high-viscosity cement: a case report. J Orthop Surg (Hong Kong) 2014; 22: 244-247 [PMID: 25163966 DOI: 10.1177/230949901402200228]

20 Rasch A, Sindermann J, Scheld HH, Hoffmeier A. Pulmonary Palacos embolism: a case report. Thorac Cardiovasc Surg 2010; 58: 437-439 [PMID: 20922632 DOI: 10.1055/s-0029-1240847]

21 Tang YC, Guo HZ, Guo DQ, Luo PJ, Li YX, Mo GY, Ma YH, Peng JC, Liang, Zhang SC. Effect and potential risks of using multilevel cement-augmented pedicle screw fixation in osteoporotic spine with lumbar degenerative disease. BMC Musculoskelet Disord 2020; 21: 274 [PMID: 32345282 DOI: 10.1186/s12891-020-03309-y]

22 Akinola B, Lutchman L, Barker P, Rai A. Pulmonary cement embolism during cement augmentation of pedicle screw fixation: a case report. J Orthop Surg (Hong Kong) 2010; 18: 364-366 [PMID: 21187553 DOI: 10.1177/230949901001800322]

23 Zheng N, Liang M, Zhang HD, Zhu SH, Yang TT, Zhuo L, Wang GF, Liu HX, Liu L. Fatal extensive bone cement embolism: histological findings confirmed by Fourier transform infrared spectroscopy. Forensic Sci Int 2013; 229: e23-e25 [PMID: 23821787 DOI: 10.1016/j.forsciint.2013.03.031]

24 Rahimizadeh A, Hassani V, Soufiani H, Rahimizadeh A, Karimi M, Asgari N. Symptomatic pulmonary cement embolism after pedicle screw polymethylmethacrylate cement augmentation: A case report and review. Surg Neurol Int 2020; 11: 18 [PMID: 32123606 DOI: 10.25259/SNI_592_2019]

25 Röllinghoff M, Siewe J, Eysel P, Delank KS. Pulmonary cement embolism after augmentation of pedicle screws with bone cement. Acta Orthop Belg 2010; 76: 269-273 [PMID: 20503956]

26 Tonolini M, Bianco R. Pulmonary cement embolism after pedicle screw vertebral stabilization. J Emerg Trauma Shock 2012; 5: 272-273 [PMID: 22988411 DOI: 10.4103/0974-2700.99710]

27 Andrä M, Baumer H, Mittergradnegger F, Laschitz M, Petek T, Wandschneider W. Life-Threatening Cardiac Perforation After Posterior Spondylodesis. Ann Thorac Surg 2017; 104: e355-e357 [PMID: 29054227 DOI: 10.1016/j.athoracsur.2017.06.021]

28 Gosev I, Nascimben L, Huang PH, Mauri L, Steigner M, Mizuguchi A, Shah AM, Aranki SF. Right ventricular perforation and pulmonary embolism with polymethylmethacrylate cement after percutaneous kyphoplasty. Circulation 2013; 127: 1251-1253 [PMID: 23509033 DOI: 10.1161/CIRCULATIONAHA.112.144535]

29 Kim SY, Seo JB, Do KH, Lee JS, Song KS, Lim TH. Cardiac perforation caused by acrylic cement: a rare complication of percutaneous vertebroplasty. AJR Am J Roentgenol 2005; 185: 1245-1247 [PMID: 16247143 DOI: 10.2214/AJR.04.1443]

30 Lim KJ, Yoon SZ, Jeon YS, Bahk JH, Kim CS, Lee JH, Ha JW. An intraatrial thrombus and pulmonary thromboembolism as a late complication of percutaneous vertebroplasty. Anesth Analg 2007; 104: 924-926 [PMID: 17377108 DOI: 10.1213/01.ane.0000256974.84535.7a]

31 Tran I, Gerckens U, Remig J, Zintl G, Textor J. First report of a life-threatening cardiac complication after percutaneous balloon kyphoplasty. Spine (Phila Pa 1976) 2013; 38: E316-E318 [PMID: 23232213 DOI: 10.1097/BRS.0b013e318281507a]

32 Baroud G, Crookshank M, Bohner M. High-viscosity cement significantly enhances uniformity of cement filling in vertebroplasty: an experimental model and study on cement leakage. Spine (Phila Pa 1976) 2006; 31: 2562-2568 [PMID: 17047545 DOI: 10.1097/01.brs.0000240695.58651.62]

33 Krueger A, Bliemel C, Zettl R, Ruchholtz S. Management of pulmonary cement embolism after percutaneous vertebroplasty and kyphoplasty: a systematic review of the literature. Eur Spine J 2009; 18: 1257-1265 [PMID: 19575243 DOI: 10.1007/s00586-009-1073-y]

Footnotes

Informed consent statement: The patient and her families provided informed written consent form for reporting the case.

Conflict-of-interest statement: The authors declare that they have no conflict of interest.

CARE Checklist (2016) statement: The authors have read the CARE Checklist (2016), and the manuscript was prepared and revised according to the CARE Checklist (2016).

Open-Access: This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/Licenses/by-nc/4.0/

Manuscript source: Unsolicited manuscript

Peer-review started: November 24, 2020

First decision: January 24, 2021

Article in press: March 3, 2021

Specialty type: Medicine, research and experimental

Country/Territory of origin: China

Peer-review report’s scientific quality classification

Grade A (Excellent): 0

Grade B (Very good): B, B, B

Grade C (Good): 0

Grade D (Fair): 0

Grade E (Poor): 0

P-Reviewer: Saha S, Wood AM S-Editor: Zhang L L-Editor: Filipodia P-Editor: Zhang YL

Figure Legends

Figure 1 Internal fixation of a 67-year-old patient with osteoporotic bone. A: Preoperative (March 15, 2017) lumbar spine plain radiograph lateral view; B: Anteroposterior view; C: Postoperative lumbar spine plain radiograph lateral view at 3 d (March 25, 2017); D: Anteroposterior view showing the leakage of bone cement through the venous system (high-density line indicated by the red arrow) and the extent of cement augmentation of the lumbar spine.

Figure 2 Bone cement entering the vascular system. A-C: Postoperative computerized tomography scan showing the bone cement emboli in the pulmonary, cardiac, and venous system at 6 d (March 30, 2017). Cement is indicated by the red arrow; and D: Three-dimensional reconstruction of the thoracic showing the distribution of the emboli.

Figure 3 Radiography examination after indicated time of embolization. A: Preoperative chest radiography at 2 d; B: Postoperative chest radiography at 12 mo (March, 2018); C: Postoperative chest radiography at 24 mo (March, 2019); D: Postoperative computerized tomography scan at 30 mo (September, 2019).

Figure 4 Timeline flow diagram of the case. CT: Computerized tomography; LMWH: Low molecular weight heparin.

Table 1 A timeline of the patient

| ## Date | ## Oxygen saturation | ## Platelets, 109/L | ## WBC, 109/L | ## Hemoglobin, g/L | ## D-dimer, ng/mL | ## Clinical intervention |
| --- | --- | --- | --- | --- | --- | --- |
| ## March 13, 2017 | ## 99% | ## 172 | ## 6.75 | ## 121 | ## 631 | ## Admission |
| ## March 23, 2017 | ## 99% | ## - | ## - | ## - | ## - | ## Lumbar surgery |
| ## March 24, 2017 | ## 99% | ## 158 | ## 14.27 | ## 96 | ## 7698.90 | ## Vital signs monitering |
| ## March 25, 2017 | ## 70% | ## 113 | ## 12.4 | ## 84 |  | ## Pulmonary expert consultation |
| ## March 26, 2017 | ## 85% | ## 121 | ## 8.90 | ## 85 | ## 5667 | ## Levofloxacin 500 mg qd+ LMWH 5000 IU qd |
| ## April 1, 2017 | ## 98% | ## - | ## - | ## - | ## - | ## Levofloxacin 500 mg qd+ LMWH 5000 IU qd |
| ## April 14, 2017 | ## 98% | ## - | ## - | ## - | ## 4638 | ## Discharged |

WBC: White blood cell; LMWH: Low molecular weight heparin.

Table 2 Summary of reported cardiopulmonary embolism caused by cement-augmented pedicle screw instrumentation

| ## Ref. | ## Sex | ## Age | ## Vertebrae augmented | ## Time of embolism detected Post-op | ## Clinical presentation | ## Treatment | ## Outcome |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ## Rasch et al[20], 2010 |  | ## 55 | ## L3/4 | ## 2 d | ## Tachycardia, dyspnea and oxygen desaturation | ## Pulmonary arteriotomy and cement removement | ## Discharged without severe complication |
| ## Tang et al[21], 2020 | ## F | ## 73 | ## L3-L5 | ## 6 d | ## Dyspnea, blood oxygen desaturation | ## Oxygen inhalation and anticoagulation treatment | ## Uneventful recovery in 2 yr follow-up |
| ## Akinola et al[22], 2010 | ## M | ## 76 | ## L3-L5 | ## Immediate | ## No symptoms | ## Anticoagulation treatment for 6 mo | ## Uneventful recovery in 6 mo follow-up |
| ## Zheng et al[23], 2013 | ## F | ## 47 | ## T1-T4, T9 | ## 1 h | ## Dyspnea, low blood pressure, unconsciousness | ## NA | ## Death |
| ## Rahimizadeh et al[24], 2020 | ## F | ## N.A. (middle aged) | ## L3 | ## 1 d | ## Cardiopulmonary arrest | ## Resuscitation, anticoagulation treatment | ## Uneventful recovery in 12 mo follow-up |
| ## Röllinghoff et al[25], 2010 | ## F | ## 69 | ## T8-L1 | ## NA | ## No symptoms | ## NA | ## Uneventful recovery in 18 mo follow-up |
| ## Tonolini et al[26], 2012 | ## F | ## 75 | ## L1/L3 | ## Immediate | ## Dyspnea with tachypnea and bilateral hypoventilation | ## Anticoagulation treatment | ## Discharged without severe complication |

NA: Not applicable.

Published by Baishideng Publishing Group Inc

7041 Koll Center Parkway, Suite 160, Pleasanton, CA 94566, USA

Telephone: +1-925-3991568

E-mail: bpgoffice@wjgnet.com

Help Desk: https://www.f6publishing.com/helpdesk

https://www.wjgnet.com

© 2021 Baishideng Publishing Group Inc. All rights reserved.