**Name of Journal:** *World Journal of Transplantation*

**Manuscript NO:** 86565

**Manuscript Type:** MINIREVIEWS

**Liver volumetric and anatomic assessment in living donor liver transplantation: the role of modern imaging and artificial intelligence**

Machry M *et al*. Imaging in liver transplantation

Mayara Machry, Luis Fernando Ferreira, Angelica Maria Lucchese, Antonio Nocchi Kalil, Flavia Heinz Feier

**Mayara Machry, Angelica Maria Lucchese, Antonio Nocchi Kalil, Flavia Heinz Feier,** Department of Hepato-Biliary-Pancreatic Surgery and Liver Transplantation, Irmandade Santa Casa de Misericórdia de Porto Alegre, Porto Alegre 90020-090, Brazil

**Luis Fernando Ferreira, Antonio Nocchi Kalil, Flavia Heinz Feier,** Postgraduation Program in Medicine: Hepatology, Federal University of Health Sciences of Porto Alegre, Porto Alegre 90050-170, Brazil

**Author contributions:** Machry M and Feier FH designed the research study; Ferreira LF and Machry M wrote the manuscript; Kalil AN, Feier FH and Lucchese AM wrote the manuscript and critically evaluated the final version; All authors have read and approve the final manuscript.

**Supported by** Part by The Coordenação de Aperfeiçoamento de Pessoal de Nível Superior–Brasil (CAPES).

**Corresponding author: Flavia Heinz Feier, PhD, Professor,** Department of Hepato-Biliary-Pancreatic Surgery and Liver Transplantation, Irmandade Santa Casa de Misericórdia de Porto Alegre, Rua Prof Annes Dias, Porto Alegre 90020-090, Brazil. flavia.feier@gmail.com

**Received:** June 27, 2023

**Revised:** August 17, 2023

**Accepted:** October 17, 2023

**Published online:**

**Abstract**

The shortage of deceased donor organs has prompted the development of alternative liver grafts for transplantation. Living-donor liver transplantation (LDLT) has emerged as a viable option, expanding the donor pool and enabling timely transplantation with favorable graft function and improved long-term outcomes. An accurate evaluation of the donor liver’s volumetry (LV) and anatomical study is crucial to ensure adequate future liver remnant, graft volume and precise liver resection. Thus, ensuring donor safety and an appropriate graft-to-recipient weight ratio. Manual LV (MLV) using computed tomography has traditionally been considered the gold standard for assessing liver volume. However, the method has been limited by cost, subjectivity, and variability. Automated LV techniques employing advanced segmentation algorithms offer improved reproducibility, reduced variability, and enhanced efficiency compared to manual measurements. However, the accuracy of automated LV requires further investigation. The study provides a comprehensive review of traditional and emerging LV methods, including semi-automated image processing, automated LV techniques, and machine learning-based approaches. Additionally, the study discusses the respective strengths and weaknesses of each of the aforementioned techniques. The use of artificial intelligence (AI) technologies, including machine learning and deep learning, is expected to become a routine part of surgical planning in the near future. The implementation of AI is expected to enable faster and more accurate image study interpretations, improve workflow efficiency, and enhance the safety, speed, and cost-effectiveness of the procedures. Accurate preoperative assessment of the liver plays a crucial role in ensuring safe donor selection and improved outcomes in LDLT. MLV has inherent limitations that have led to the adoption of semi-automated and automated software solutions. Moreover, AI has tremendous potential for LV and segmentation; however, its widespread use is hindered by cost and availability. Therefore, the integration of multiple specialties is necessary to embrace technology and explore its possibilities, ranging from patient counseling to intraoperative decision-making through automation and AI.

**Key Words:** Liver transplantation; Living-donor; Diagnostic imaging; Artificial intelligence; Machine learning; Deep learning

Machry M, Ferreira LF, Lucchese AM, Kalil AN, Feier FH. Liver volumetric and anatomic assessment in living donor liver transplantation: the role of modern imaging and artificial intelligence. *World J Transplant* 2023; In press

**Core Tip:** Accurate liver’s volumetry (LV) is imperative for successful living-donor liver transplantation to ensure adequate future liver remnant and graft volumes. Manual computed tomography scan delineation conventionally serves as the standard approach; however, it is constrained by factors such as cost, subjectivity, and variability. In contrast, automated LV techniques utilizing advanced segmentation algorithms present superior reproducibility, reduced variability, and enhanced efficiency compared with manual measurements. However, the accuracy of automated LV requires further investigation. The study comprehensively reviewed both traditional and emerging LV methods, including semi-automated image processing, automated LV techniques, and machine learning-based approaches, while analyzing their respective strengths and weaknesses.

**INTRODUCTION**

Liver transplantation is the first-line treatment for patients with terminal liver disease. Deceased donor organ shortage and cultural barriers have led to the development of alternative graft types. Living-donor liver transplantation (LDLT) has emerged as an extension of the *ex-situ* graft transection concept, encompassing reduced-size and split-liver techniques. By enabling the expansion of the donor pool, LDLT offers the advantage of timely transplantation and holds the potential for excellent graft function and improved long-term outcomes[[1-6](#_ENREF_1" \o "Lan, 2018 #66)]. Moreover, LDLT reduces waiting list mortality.

An adequate preoperative evaluation of the donor is essential for successful LDLT. Sufficient future liver remnant (FLR) and graft volume must be ensured through liver’s volumetry (LV) studies[[7](#_ENREF_7),[8](#_ENREF_8)]. An FLR of 30% to 35% of the original liver volume is required for donor safety, whereas at least 4% of the standard liver volume or more than 0.8 and less than 3–3.5 of the graft recipient weight ratio (estimated before the surgery through imaging and confirmed after the graft is weighted) is required to meet the recipient’s needs[[9](#_ENREF_9),[10](#_ENREF_10)]. Small grafts are associated with cellular damage due to excessive portal flow, leading to "small-for-size syndrome,” whereas large grafts may receive inadequate portal flow, resulting in "large-for-size syndrome"[[11-17](#_ENREF_11)].

Manual liver volumetry (MLV) conducted on portal venous phase multidetector computed tomography (CT) scans with intravenous contrast is conventionally considered the standard method for measuring LV[[7](#_ENREF_7),[18](#_ENREF_18),[19](#_ENREF_19)]. However, it can be costly, time-consuming, subjective, and prone to inter- and intra-observer variabilities. The process entails manual tracing of the liver borders using specialized software, necessitating the expertise of an experienced radiologist, often without the input of the surgeon. The percentage of error (PE) may vary significantly, ranging from 2% to 20%, which can have a dramatic effect on the final graft volume and transplantation outcomes[[20-24](#_ENREF_20" \o "Johnson, 2005 #102)].

Advancements in medical imaging, computational algorithms, and artificial intelligence (AI) have set the stage for the development and application of automated LV techniques. Automated LV holds significant promise in the evaluation of LDLT, as it utilizes sophisticated segmentation algorithms to delineate liver boundaries from CT or magnetic resonance imaging (MRI) scans. Therefore, enabling volumetric calculations and comprehensive volumetric analysis and allowing for the assessment of lobe-specific volumes, segmental volumes, and overall liver volume. Such automated approaches offer advantages over manual measurements, including enhanced reproducibility, reduced intra- and interobserver variability, and improved efficiency. However, the accuracy of automated LV techniques is yet to be conclusively determined[[25-28](#_ENREF_25" \o "Kalshabay, 2023 #76)].

The study aimed to provide a comprehensive review of the literature, presenting both traditional and emerging methods of LV and anatomical liver assessment, while discussing their respective strengths and weaknesses. By examining the current state of LV techniques, the review aimed to contribute to the advancement and optimization of liver transplantation outcomes.

**MANUAL LIVER VOLUMETRY**

The introduction of multiphasic CT and MRI techniques has led to the widespread adoption of MLV as the standard practice in liver transplant centers to estimate liver volume before accepting a living-donor as a suitable candidate. During the donor evaluation, a complete anatomical analysis of the hepatic veins, portal vein and hepatic arteries is provided by multiphasic CT and MRI. Bile duct anatomy is evaluated in cholangio MRI studies, specially, in left lobe and right lobe donors.

If the donor´s anatomy is suitable for the planned procedure, LV is carried out. The procedure involves manual delineation of the liver borders using sequential image slices to determine the overall liver volume. Subsequently, a transection plane is selected based on the specific type of liver graft and the inclusion of the middle hepatic vein (MHV)[[25](#_ENREF_25),[29-31](#_ENREF_29)] (Figure 1).

Limitations include reliance on operator expertise and medical specialty, leading to discrepancies between the analyses performed by radiologists and surgeons, potentially related to the transection line. Furthermore, the inclusion of blood vessels and bile ducts in the final volume calculation can lead to overestimations[[32](#_ENREF_32" \o "Tongyoo, 2012 #83)]. Additionally, the LV procedure itself is time-consuming, typically requiring approximately 20-40 min to complete, which significantly affects the daily workflow of both radiologists and surgeons[[19](#_ENREF_19),[33](#_ENREF_33)]. In terms of accuracy, PE ranges from 5% to 36% when comparing the estimated volume with the actual graft weight (AGW)[[34](#_ENREF_34" \o "Çelik, 2023 #98)]. It is important to note that errors can occur in both directions, resulting in overestimation and underestimations[[8](#_ENREF_8" \o "Radtke, 2007 #97)].

It is routinely considered that the density of the liver is equivalent to the density of water; therefore, the AGW is representative of the graft volume[[35](#_ENREF_35" \o "Fu-Gui, 2009 #110)]. However, studies measuring AGW have identified the necessity of correction factors when estimating graft volume, as highlighted in Table 1. Recently, Lemke *et al*[[36](#_ENREF_36" \o "Lemke, 2006 #111)], measured the mean physical density of 16 transplanted liver lobes to be 1.1157 g/mL, asserting that the conversion factor was, on average, 12% higher than expected. Tongyoo *et al*[[32](#_ENREF_32" \o "Tongyoo, 2012 #83)] demonstrated that the AGW of a right lobe donor liver graft (RLDG) was approximately 91% of the estimated right lobe liver volume. The 9% volume reduction was attributed to intrahepatic blood flushed out of the liver by the preservation solution during back-table preparation[[9](#_ENREF_9),[31](#_ENREF_31),[37](#_ENREF_37)]. Other inaccuracies may have been due to the inclusion of the MHV and/or the caudate lobe[[38](#_ENREF_38" \o "Yonemura, 2005 #112)].

**SEMI-AUTOMATED IMAGE PROCESSING**

Semi-automated methods have been developed to address observer-related issues associated with manual measurements and to enhance the efficiency of LV and hepatic segmentation. An example of such a method is the MeVis Liver Analyzer (MeVis Medical Solutions AG, Bremen, Germany), which is a computer-assisted software that operates on CT images. Moreover, the software employs a modified live-wire algorithm to automatically determine the contours between user-defined boundary points based on the CT values and gradients. The algorithm parameters were tailored to each CT phase, including the venous (V), arterial (HA), and native (N) phases. To ensure accurate liver segmentation, manual correction of automatically delineated contours and manual drawing of the contour parts were performed. Live-wire contours were interactively determined on 3 mm axial two-dimensional (2D) CT slices. The software automatically interpolates and optimizes the contours of intermediate slices, with final adjustments made by the operator through manual corrections, if necessary (Figure 2).

Volumetric calculations, expressed in milliliters (mL), were performed by adding the areas of all segmented regions. Surrounding structures such as major extrahepatic vessels (portal vein, hepatic artery, and inferior vena cava) and the gallbladder fossa were excluded from the volume calculations (Figure 3).

Goja *et al*[[39](#_ENREF_39" \o "Goja, 2018 #100)] discovered that semiautomated software tools exhibited the highest correlation (*r* = 0.82) for measuring right lobe grafts. However, left lobe grafts tend to be overestimated, whereas left lateral segment (LLS) grafts are often underestimated, with an underestimation of approximately 66% of the total LLS grafts. One possible explanation for the underestimation of LLS grafts is that CT scans typically underestimate the volume because the actual surgical plane of transection is approximately 1 cm to the right of the falciform ligament, whereas the radiological plane of transection is exactly at the falciform ligament. Other studies have addressed the accuracy of semi-automated image processing (SAIP), and their results are presented in Table 2.

**AUTOMATED LIVER VOLUMETRY TECHNIQUES**

Automated LV relies on advanced image-processing techniques and algorithms to accurately segment the liver from CT or MRI scans. The principles and algorithms vary depending on the approach employed. However, some common techniques and concepts are involved.

***Image preprocessing***

Before liver segmentation, image preprocessing techniques may be applied to enhance the image quality, reduce noise, and improve the contrast between the liver and surrounding structures. These techniques include filtering, intensity normalization, and image enhancement methods.

***Segmentation algorithms***

Segmentation algorithms were used to delineate the liver region of interest from the remaining images. Additionally, such algorithms aim to accurately identify the liver boundaries. Commonly used algorithms include threshold-based methods, region growing, active contours (or snakes), level sets, graph cuts, and machine-learning-based techniques.

***Threshold-based methods***

Threshold-based methods involve setting intensity thresholds to separate the liver from the background or other organs. The liver is segmented based on predefined intensity ranges or statistical measures such as the mean intensity or intensity distribution.

***Region growing***

Region-growing algorithms start from a seed point within the liver and iteratively develop the region by including pixels with similar characteristics (*e.g.*, intensity, texture, or gradient) until a stopping criterion is met. The method is particularly useful when the liver has a distinct intensity pattern compared to the surrounding tissues.

***Active contours (snakes)***

Active contour models, also known as snakes, use an energy-optimization approach to iteratively deform a contour to fit the liver boundary. The contour was attracted to the image edges or intensity gradients, ensuring accurate delineation of the liver boundaries.

***Level sets***

Level-set methods are mathematical techniques used to evolve a curve or surface over time to delineate the liver boundaries. The methods use the concept of level sets, which represent the evolving contour as a zero-level set of a higher-dimensional function.

***Graph cuts***

Graph cut algorithms model the liver segmentation problem as an optimization task in a graph framework. The graph is constructed using image features, and the segmentation is achieved by identifying the minimum energy cut that separates the liver from the background.

***Machine learning-based techniques and deep learning***

Machine learning algorithms, such as random forests, support vector machines, and deep learning models, can be trained on annotated liver images to automatically segment the liver. Such algorithms learn the patterns and features that distinguish the liver from other structures and can provide accurate and robust segmentation results[[40](#_ENREF_40" \o "Chartrand, 2017 #86)].

Most software tools employ a combination of techniques or advanced algorithms that are specific to their methodology. The choice of algorithm depends on factors such as image quality, complexity of liver structures, computational efficiency, and specific requirements of the application. Each algorithm has its advantages, limitations, and parameter settings, which must be carefully considered and optimized for accurate LV. A combination of techniques can be used to improve accuracy and robustness[[41](#_ENREF_41" \o "Lee, 2017 #87)].

For example, the initial segmentation can be obtained using thresholding or region growth, followed by refinement using active contours or graph cuts. Hybrid approaches that combine multiple algorithms can leverage the strength of each technique to achieve more accurate LV. Additionally, the validation and evaluation of the automated LV results against the ground truth or manual segmentations are critical for assessing the algorithm's performance and reliability[[42](#_ENREF_42" \o "Chan, 2020 #85)].

Most computer aided diagnostics used in clinical practice use conventional machine learning approaches, in which the effectiveness depends on the domain expertise of the developers. So, the limitations of conventional learning are linked to the limitations of the human developer. Manual and semi-automated volumetry is dependent on conventional machine learning. Deep learning has emerged as a state-of-the-art machine-learning method for many applications. Deep learning is a type of representation learning method in which a complex multilayer neural network architecture learns representations of data automatically by transforming the input information into multiple levels of abstraction[[43](#_ENREF_43" \o "LeCun, 2015 #84)].

Deep convolutional neural networks (DCNN) are widely used in image pattern recognition. They can automatically extract relevant features from training samples by adjusting their weights through backpropagation. In contrast to manual feature design, the DCNN learns feature representations during training. When trained with a large and representative dataset, the DCNN features outperformed the hand-engineered features by being highly selective and invariant. The automated deep learning process enables the analysis of numerous cases, surpassing human capabilities. Deep learning proves robust in handling variations across different classes, as long as the training set is diverse and extensive[[40-43](#_ENREF_40" \o "Chartrand, 2017 #86)].

**ACCURACY AND RELIABILITY**

Automated LV and deep machine learning for LDLT has gained attention in recent years. There has been an increase in the number and quality of AI and machine learning studies in the medical field, mainly those focused on automating the interpretation of 2D image tests (MRI, CT, and radiographs), assembling three-dimensional models of organs and tissues, and volumetric calculations, including virtual segmentation of the liver. In liver resection and liver transplantation, most studies have a small number of cases, focusing on adult liver transplantation and RLDG, with very few studies on left lobe donor graft and left lateral segment donor graft[[26](#_ENREF_26)-28,[42-44](#_ENREF_42)]. The higher risk of the small-for-size syndrome in adult liver transplantation justifies the intense volumetric and anatomical studies on RLDG. Usually, for pediatric recipients (< 10 kg), an inaccurate volumetric assessment will rarely lead to insufficient liver volume; in contrast, the risk of the large-for-size syndrome is higher compared to the small-for-size syndrome. In such cases, the surgeon usually reduces the graft on the back table or converts it into a mono-segmental graft before implantation[[45](#_ENREF_46" \o "Kasahara, 2003 #120)].

Automated software allows the surgeon to choose the transection plane; some studies have compared the correlation of these measurements for RLDG when performed by the surgeon using automated software with the manual measurements performed by radiologists. Moreover, both measurements had a good correlation with the AGW (*r* > 0.80), along with no significant difference between measurements by the surgeon and the radiologist[[29](#_ENREF_29" \o "Bozkurt, 2019 #99)].

As it is of paramount importance that the surgeon who is going to perform the procedure to perform the anatomical assessment and to choose the adequate liver segmentation plane, new softwares, focusing on the surgeon's interaction are being developed. A more user-friendly automated platform was developed by a group from the Republic of Korea[[46](#_ENREF_47)], which they referred to as Dr. Liver. They validated the method in 50 RLDG and compared it to MLV. The correlation with AGW was better for the automated Dr. Liver (*r* = 0.98) than for the MLV (*r* = 0.92), although they were both good correlations. However, the percentage of absolute difference (%AD) from AGW of Dr. Liver (3.1% ± 2.8%) was significantly smaller than that of the MLV (10.2% ± 7.5%). None of the Dr. Liver measurements percentages of %AD was > 10%, while they were 46% for MLV measurements. Evaluation of %AD is very important in clinical practice because an error percentage of more than 10% can result in a small-for-size boundary graft volume. Also, the total time for task completion was shorter for Dr. Liver *vs* MLV (7.3 ± 1.4 min *vs* 37.9 ± 7.0 min).

**CONCLUSION**

Accurate preoperative assessment of the liver plays a critical role in ensuring the selection of suitable donors and improving recipient outcomes after LDLT. MLV initially emerged as the gold standard for accurate assessment. However, the time-consuming nature of the manual analysis, reliance on operator expertise, and high variability in PE have prompted the adoption of SAIP software tools, and more recently, automated software solutions. AI represents the future of LV and segmentation and offers immense potential in the field, leading to a future fully automated liver segmentation and volumetry based on deep-learning. However, the widespread adoption and daily application of AI are hindered by cost and accessibility limitations. We are responsible for embracing technology and fostering interdisciplinary collaborations in the fields of radiology, engineering, informatics, and surgery. The possibilities afforded by AI are limitless, ranging from patient counseling and education to intraoperative decision-making facilitated by automation and AI assistance.

**ACKNOWLEDGEMENTS**

We thank Dr. Renato Kist and Dr. Fernando Hexsel for kindly providing the manual volumetry images for this work.

**REFERENCES**

1 **Lan X**, Zhang H, Li HY, Chen KF, Liu F, Wei YG, Li B. Feasibility of using marginal liver grafts in living donor liver transplantation. *World J Gastroenterol* 2018; **24**: 2441-2456 [PMID: 29930466 DOI: 10.3748/wjg.v24.i23.2441]

2 **Miller CM**, Quintini C, Dhawan A, Durand F, Heimbach JK, Kim-Schluger HL, Kyrana E, Lee SG, Lerut J, Lo CM, Pomfret EA. The International Liver Transplantation Society Living Donor Liver Transplant Recipient Guideline. *Transplantation* 2017; **101**: 938-944 [PMID: 28437386 DOI: 10.1097/TP.0000000000001571]

3 **Raghu VK**, Carr-Boyd PD, Squires JE, Vockley J, Goldaracena N, Mazariegos GV. Domino transplantation for pediatric liver recipients: Obstacles, challenges, and successes. *Pediatr Transplant* 2021; **25**: e14114 [PMID: 34448327 DOI: 10.1111/petr.14114]

4 **Siraj MS**. Deceased Organ Transplantation in Bangladesh: The Dynamics of Bioethics, Religion and Culture. *HEC Forum* 2022; **34**: 139-167 [PMID: 33595774 DOI: 10.1007/s10730-020-09436-2]

5 **Vanholder R**, Domínguez-Gil B, Busic M, Cortez-Pinto H, Craig JC, Jager KJ, Mahillo B, Stel VS, Valentin MO, Zoccali C, Oniscu GC. Organ donation and transplantation: a multi-stakeholder call to action. *Nat Rev Nephrol* 2021; **17**: 554-568 [PMID: 33953367 DOI: 10.1038/s41581-021-00425-3]

6 **Yeh H**, Smoot E, Schoenfeld DA, Markmann JF. Geographic inequity in access to livers for transplantation. *Transplantation* 2011; **91**: 479-486 [PMID: 21200366 DOI: 10.1097/TP.0b013e3182066275]

7 **Kamel IR**, Kruskal JB, Warmbrand G, Goldberg SN, Pomfret EA, Raptopoulos V. Accuracy of volumetric measurements after virtual right hepatectomy in potential donors undergoing living adult liver transplantation. *AJR Am J Roentgenol* 2001; **176**: 483-487 [PMID: 11159100 DOI: 10.2214/ajr.176.2.1760483]

8 **Radtke A**, Sotiropoulos GC, Nadalin S, Molmenti EP, Schroeder T, Lang H, Saner F, Valentin-Gamazo C, Frilling A, Schenk A, Broelsch CE, Malagó M. Preoperative volume prediction in adult living donor liver transplantation: how much can we rely on it? *Am J Transplant* 2007; **7**: 672-679 [PMID: 17229068 DOI: 10.1111/j.1600-6143.2006.01656.x]

9 **Hiroshige S**, Shimada M, Harada N, Shiotani S, Ninomiya M, Minagawa R, Soejima Y, Suehiro T, Honda H, Hashizume M, Sugimachi K. Accurate preoperative estimation of liver-graft volumetry using three-dimensional computed tomography. *Transplantation* 2003; **75**: 1561-1564 [PMID: 12792515 DOI: 10.1097/01.tp.0000053755.08825.12]

10 **Lo CM**, Fan ST, Liu CL, Wei WI, Lo RJ, Lai CL, Chan JK, Ng IO, Fung A, Wong J. Adult-to-adult living donor liver transplantation using extended right lobe grafts. *Ann Surg* 1997; **226**: 261-9; discussion 269-70 [PMID: 9339932 DOI: 10.1097/00000658-199709000-00005]

11 **Martel G**, Cieslak KP, Huang R, van Lienden KP, Wiggers JK, Belblidia A, Dagenais M, Lapointe R, van Gulik TM, Vandenbroucke-Menu F. Comparison of techniques for volumetric analysis of the future liver remnant: implications for major hepatic resections. *HPB (Oxford)* 2015; **17**: 1051-1057 [PMID: 26373675 DOI: 10.1111/hpb.12480]

12 **Michalopoulos GK**, Bhushan B. Liver regeneration: biological and pathological mechanisms and implications. *Nat Rev Gastroenterol Hepatol* 2021; **18**: 40-55 [PMID: 32764740 DOI: 10.1038/s41575-020-0342-4]

13 **Miki A**, Sakuma Y, Ohzawa H, Saito A, Meguro Y, Watanabe J, Morishima K, Endo K, Sasanuma H, Shimizu A, Lefor AK, Yasuda Y, Sata N. Clearance of the liver remnant predicts short-term outcome in patients undergoing resection of hepatocellular carcinoma. *World J Gastroenterol* 2022; **28**: 5614-5625 [PMID: 36304091 DOI: 10.3748/wjg.v28.i38.5614]

14 **Park S**, Choi GS, Kim JM, Lee S, Joh JW, Rhu J. 3D Printing Model of Abdominal Cavity of Liver Transplantation Recipient to Prevent Large-for-Size Syndrome. *Int J Bioprint* 2022; **8**: 609 [PMID: 36404778 DOI: 10.18063/ijb.v8i4.609]

15 **Pu X**, He D, Liao A, Yang J, Lv T, Yan L, Yang J, Wu H, Jiang L. A Novel Strategy for Preventing Posttransplant Large-For-Size Syndrome in Adult Liver Transplant Recipients: A Pilot Study. *Transpl Int* 2021; **35**: 10177 [PMID: 35185367 DOI: 10.3389/ti.2021.10177]

16 **Shoreem H**, Gad EH, Soliman H, Hegazy O, Saleh S, Zakaria H, Ayoub E, Kamel Y, Abouelella K, Ibrahim T, Marawan I. Small for size syndrome difficult dilemma: Lessons from 10 years single centre experience in living donor liver transplantation. *World J Hepatol* 2017; **9**: 930-944 [PMID: 28824744 DOI: 10.4254/wjh.v9.i21.930]

17 **Sparrelid E**, Olthof PB, Dasari BVM, Erdmann JI, Santol J, Starlinger P, Gilg S. Current evidence on posthepatectomy liver failure: comprehensive review. *BJS Open* 2022; **6** [PMID: 36415029 DOI: 10.1093/bjsopen/zrac142]

18 **Higashiyama H**, Yamaguchi T, Mori K, Nakano Y, Yokoyama T, Takeuchi T, Yamamoto N, Yamaoka Y, Tanaka K, Kumada K. Graft size assessment by preoperative computed tomography in living related partial liver transplantation. *Br J Surg* 1993; **80**: 489-492 [PMID: 8495320 DOI: 10.1002/bjs.1800800429]

19 **Suzuki K**, Epstein ML, Kohlbrenner R, Garg S, Hori M, Oto A, Baron RL. Quantitative radiology: automated CT liver volumetry compared with interactive volumetry and manual volumetry. *AJR Am J Roentgenol* 2011; **197**: W706-W712 [PMID: 21940543 DOI: 10.2214/AJR.10.5958]

20 **Johnson TN**, Tucker GT, Tanner MS, Rostami-Hodjegan A. Changes in liver volume from birth to adulthood: a meta-analysis. *Liver Transpl* 2005; **11**: 1481-1493 [PMID: 16315293 DOI: 10.1002/lt.20519]

21 **Noda T**, Todani T, Watanabe Y, Yamamoto S. Liver volume in children measured by computed tomography. *Pediatr Radiol* 1997; **27**: 250-252 [PMID: 9126583 DOI: 10.1007/s002470050114]

22 **Poovathumkadavil A**, Leung KF, Al Ghamdi HM, Othman Iel H, Meshikhes AW. Standard formula for liver volume in Middle Eastern Arabic adults. *Transplant Proc* 2010; **42**: 3600-3605 [PMID: 21094823 DOI: 10.1016/j.transproceed.2010.07.098]

23 **Yoshizumi T**, Gondolesi GE, Bodian CA, Jeon H, Schwartz ME, Fishbein TM, Miller CM, Emre S. A simple new formula to assess liver weight. *Transplant Proc* 2003; **35**: 1415-1420 [PMID: 12826175 DOI: 10.1016/s0041-1345(03)00482-2]

24 **Yuan D**, Lu T, Wei YG, Li B, Yan LN, Zeng Y, Wen TF, Zhao JC. Estimation of standard liver volume for liver transplantation in the Chinese population. *Transplant Proc* 2008; **40**: 3536-3540 [PMID: 19100432 DOI: 10.1016/j.transproceed.2008.07.135]

25 **Kalshabay Y**, Zholdybay Z, Di Martino M, Medeubekov U, Baiguissova D, Ainakulova A, Doskhanov M, Baimakhanov B. CT volume analysis in living donor liver transplantation: accuracy of three different approaches. *Insights Imaging* 2023; **14**: 82 [PMID: 37184628 DOI: 10.1186/s13244-023-01431-8]

26 **Lee S**, Elton DC, Yang AH, Koh C, Kleiner DE, Lubner MG, Pickhardt PJ, Summers RM. Fully Automated and Explainable Liver Segmental Volume Ratio and Spleen Segmentation at CT for Diagnosing Cirrhosis. *Radiol Artif Intell* 2022; **4**: e210268 [PMID: 36204530 DOI: 10.1148/ryai.210268]

27 **Perez AA**, Noe-Kim V, Lubner MG, Graffy PM, Garrett JW, Elton DC, Summers RM, Pickhardt PJ. Deep Learning CT-based Quantitative Visualization Tool for Liver Volume Estimation: Defining Normal and Hepatomegaly. *Radiology* 2022; **302**: 336-342 [PMID: 34698566 DOI: 10.1148/radiol.2021210531]

28 **Wang K**, Mamidipalli A, Retson T, Bahrami N, Hasenstab K, Blansit K, Bass E, Delgado T, Cunha G, Middleton MS, Loomba R, Neuschwander-Tetri BA, Sirlin CB, Hsiao A; members of the NASH Clinical Research Network. Automated CT and MRI Liver Segmentation and Biometry Using a Generalized Convolutional Neural Network. *Radiol Artif Intell* 2019; **1** [PMID: 32582883 DOI: 10.1148/ryai.2019180022]

29 **Bozkurt B**, Emek E, Arikan T, Ceyhan O, Yazici P, Sahin T, Mammadov E, Serin A, Gurcan NI, Yuzer Y, Tokat Y. Liver Graft Volume Estimation by Manual Volumetry and Software-Aided Interactive Volumetry: Which is Better? *Transplant Proc* 2019; **51**: 2387-2390 [PMID: 31324483 DOI: 10.1016/j.transproceed.2019.01.152]

30 **Hagen F**, Mair A, Bitzer M, Bösmüller H, Horger M. Fully automated whole-liver volume quantification on CT-image data: Comparison with manual volumetry using enhanced and unenhanced images as well as two different radiation dose levels and two reconstruction kernels. *PLoS One* 2021; **16**: e0255374 [PMID: 34339472 DOI: 10.1371/journal.pone.0255374]

31 **Mohapatra N**, Gurumoorthy Subramanya Bharathy K, Kumar Sinha P, Vasantrao Sasturkar S, Patidar Y, Pamecha V. Three-Dimensional Volumetric Assessment of Graft Volume in Living Donor Liver Transplantation: Does It Minimise Errors of Estimation? *J Clin Exp Hepatol* 2020; **10**: 1-8 [PMID: 32025161 DOI: 10.1016/j.jceh.2019.03.006]

32 **Tongyoo A**, Pomfret EA, Pomposelli JJ. Accurate estimation of living donor right hemi-liver volume from portal vein diameter measurement and standard liver volume calculation. *Am J Transplant* 2012; **12**: 1229-1239 [PMID: 22221803 DOI: 10.1111/j.1600-6143.2011.03909.x]

33 **Mokry T**, Bellemann N, Müller D, Lorenzo Bermejo J, Klauß M, Stampfl U, Radeleff B, Schemmer P, Kauczor HU, Sommer CM. Accuracy of estimation of graft size for living-related liver transplantation: first results of a semi-automated interactive software for CT-volumetry. *PLoS One* 2014; **9**: e110201 [PMID: 25330198 DOI: 10.1371/journal.pone.0110201]

34 **Çelik H**, Odaman H, Altay C, Ünek T, Özbilgin M, Egeli T, Ağalar C, Astarcıoğlu İK, Barlık F. Manual and semi-automated computed tomography volumetry significantly overestimates the right liver lobe graft weight: a single-center study with adult living liver donors. *Diagn Interv Radiol* 2023 [PMID: 37154817 DOI: 10.4274/dir.2023.221903]

35 **Fu-Gui L**, Lu-Nan Y, Bo L, Yong Z, Tian-Fu W, Ming-Qing X, Wen-Tao W, Zhe-Yu C. Estimation of standard liver volume in Chinese adult living donors. *Transplant Proc* 2009; **41**: 4052-4056 [PMID: 20005340 DOI: 10.1016/j.transproceed.2009.08.079]

36 **Lemke AJ**, Brinkmann MJ, Schott T, Niehues SM, Settmacher U, Neuhaus P, Felix R. Living donor right liver lobes: preoperative CT volumetric measurement for calculation of intraoperative weight and volume. *Radiology* 2006; **240**: 736-742 [PMID: 16868277 DOI: 10.1148/radiol.2403042062]

37 **Satou S**, Sugawara Y, Tamura S, Yamashiki N, Kaneko J, Aoki T, Hasegawa K, Beck Y, Makuuchi M, Kokudo N. Discrepancy between estimated and actual weight of partial liver graft from living donors. *J Hepatobiliary Pancreat Sci* 2011; **18**: 586-591 [PMID: 21360082 DOI: 10.1007/s00534-011-0374-9]

38 **Yonemura Y**, Taketomi A, Soejima Y, Yoshizumi T, Uchiyama H, Gion T, Harada N, Ijichi H, Yoshimitsu K, Maehara Y. Validity of preoperative volumetric analysis of congestion volume in living donor liver transplantation using three-dimensional computed tomography. *Liver Transpl* 2005; **11**: 1556-1562 [PMID: 16315296 DOI: 10.1002/lt.20537]

39 **Goja S**, Yadav SK, Yadav A, Piplani T, Rastogi A, Bhangui P, Saigal S, Soin AS. Accuracy of preoperative CT liver volumetry in living donor hepatectomy and its clinical implications. *Hepatobiliary Surg Nutr* 2018; **7**: 167-174 [PMID: 30046567 DOI: 10.21037/hbsn.2017.08.02]

40 **Chartrand G**, Cheng PM, Vorontsov E, Drozdzal M, Turcotte S, Pal CJ, Kadoury S, Tang A. Deep Learning: A Primer for Radiologists. *Radiographics* 2017; **37**: 2113-2131 [PMID: 29131760 DOI: 10.1148/rg.2017170077]

41 **Lee JG**, Jun S, Cho YW, Lee H, Kim GB, Seo JB, Kim N. Deep Learning in Medical Imaging: General Overview. *Korean J Radiol* 2017; **18**: 570-584 [PMID: 28670152 DOI: 10.3348/kjr.2017.18.4.570]

42 **Chan HP**, Samala RK, Hadjiiski LM, Zhou C. Deep Learning in Medical Image Analysis. *Adv Exp Med Biol* 2020; **1213**: 3-21 [PMID: 32030660 DOI: 10.1007/978-3-030-33128-3\_1]

43 **LeCun Y**, Bengio Y, Hinton G. Deep learning. *Nature* 2015; **521**: 436-444 [PMID: 26017442 DOI: 10.1038/nature14539]

44 **Ahn Y**, Yoon JS, Lee SS, Suk HI, Son JH, Sung YS, Lee Y, Kang BK, Kim HS. Deep Learning Algorithm for Automated Segmentation and Volume Measurement of the Liver and Spleen Using Portal Venous Phase Computed Tomography Images. *Korean J Radiol* 2020; **21**: 987-997 [PMID: 32677383 DOI: 10.3348/kjr.2020.0237]

45 **Kasahara M**, Kaihara S, Oike F, Ito T, Fujimoto Y, Ogura Y, Ogawa K, Ueda M, Rela M, D Heaton N, Tanaka K. Living-donor liver transplantation with monosegments. *Transplantation* 2003; **76**: 694-696 [PMID: 12973111 DOI: 10.1097/01.TP.0000079446.94204.F9]

46 **Yang X**, Yang JD, Hwang HP, Yu HC, Ahn S, Kim BW, You H. Segmentation of liver and vessels from CT images and classification of liver segments for preoperative liver surgical planning in living donor liver transplantation. *Comput Methods Programs Biomed* 2018; **158**: 41-52 [PMID: 29544789 DOI: 10.1016/j.cmpb.2017.12.008]

47 **Pomposelli JJ**, Tongyoo A, Wald C, Pomfret EA. Variability of standard liver volume estimation versus software-assisted total liver volume measurement. *Liver Transpl* 2012; **18**: 1083-1092 [PMID: 22532341 DOI: 10.1002/lt.23461]

**Footnotes**

**Conflict-of-interest statement:** Authors declare no conflict of interests for this article.

**Open-Access:** This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: https://creativecommons.org/Licenses/by-nc/4.0/

**Provenance and peer review:** Invited article; Externally peer reviewed.

**Peer-review model:** Single blind

**Peer-review started:** June 27, 2023

**First decision:** July 28, 2023

**Article in press:**

**Specialty type:** Transplantation

**Country/Territory of origin:** Brazil

**Peer-review report’s scientific quality classification**

Grade A (Excellent): 0

Grade B (Very good): 0


Grade C (Good): C, C

Grade D (Fair): 0


Grade E (Poor): 0

**P-Reviewer:** Yao W, China; Zheng H, China **S-Editor:** Fan JR **L-Editor:** A **P-Editor:**


**Figure Legends**



**Figure 1 Manual volumetric study performed in our institution for pre-operative living-donor evaluation (Hepatic VCAR-GE Healthcare).**



**Figure 2 MeVis software images and tables output: The software returns multiple images and tables.** PV: Peripheral vein; MHV: Middle hepatic vein; HA: Hepatic artery.



**Figure 3 Resection planes volumetric estimation using MeVis.** A: Right Lobe Graft without middle hepatic vein (MHV), peripheral vein and hepatic artery; B: Right Lobe Graft without MHV, HV; C: Right Lobe Graft without MHV, Graft and Remnant; D: Table showing total, plane, graft and remnant liver volumes. MHV: Middle hepatic vein.

**Table 1 Formulas to estimate liver volumetry by computerized tomography**

|  |  |  |
| --- | --- | --- |
| **Ref.** | **Formula** | **Research place** |
| Poovathumkadavil *et al*[[22](#_ENREF_22)], 2010 | LV = 12.26 × BW(kg) + 555.65 | Saudi Arabia |
| Noda *et al*[[21](#_ENREF_21)], 1997 | LV = 0.05012 × BW0.78 | Japan |
| Johnson *et al*[[20](#_ENREF_20)], 2005 | LV = 0.722 × BSA1.176 | North America |
| Yuan *et al*[[24](#_ENREF_24)], 2008 | LV = 949.7 × BSA (m2) - 48.3 × age - 247.4 | China |
| Yoshizumi *et al*[[23](#_ENREF_23)], 2003 | LV = (0.772 × BSA)/1.08 | North America |

LV: Liver volume; BW: Body weight; BSA: Body surface area.

**Table 2 Results of semi-automated image processing in different analysis**

|  |  |  |
| --- | --- | --- |
| **Ref.** | **Software and comparison** | **Reports** |
| Pomposelli *et al*[[47](#_ENREF_48)], 2012 | Software MeVis | A nonsignificant volume difference of approximately 17.5 mL and a low percentage error of approximately 2.8% |
| Compared right lobe graft volumes estimated by SAIP with actual graft weights measured during LDLT |
| Çelik *et al*[[34](#_ENREF_34)], 2023 | CT Liver Analysis, Philips Healthcare-RLDG volumes by manual and SA were compared to AGW | Both manual and SA overestimated the graft weight (manual: 893 ± 155 mL *vs* AGW: 787 ± 128 g, *P* < 0.001, SA: 879 ± 143 mL *vs* AGW, *P* < 0.001). The mean interaction time was 27.3 ± 14.2 min for manual and 6.8 ± 1.4 min for SAIP (*P* < 0.001) |
| Mohapatra *et al*[[31](#_ENREF_31)], 2020 | Myrian XP Liver 3D software (France)-RLDG, LLDG and LLSDG volumes by manual and SA were compared to AGW | Both manual and SA showed strong correlation with AGW (*r* = 0.834 and 0.856, respectively). The mean percentage error for manual and SA was 14.2 ± 12.5% and 12.2 ± 11.8%, respectively. The overall accuracy improved using SA (*P* = 0.015) |
| Kalshabay *et al*[[25](#_ENREF_25)], 2023 | Vitrea software, including two different applications for manual segmentation (Volume analysis) and automated segmentation (CT liver analysis) | The manual method correlated better with AGW (*r* = 0.730) in comparison with the SA (*r* = 0.685) and the automated (*r* = 0.699) methods (*P* < 0.001). The mean error ratio in volume estimation by each application was 12.7 ± 16.6% for manual, 17.1 ± 17.3% for SA, 14.7 ± 16.8% for automated methods |
| SA software (OsiriX MD) |
|  | RLDG |
| Goja *et al*[[39](#_ENREF_39)], 2018 | AW Volume share 6 (GE Healthcare; Chicago, Illinois, United States) | RLDGt: There was no statistically significant difference between mean SA and AGW in RL (722 ± 134 *vs* 717 ± 126 gm; *P* = 0.06). LLDG: Correlated strongly (*r* = 0.81, *P* < 0.001), mean SA was significantly high as compared to mean of AGW (460 ± 118 *vs* 433 ± 102 gm; *P* = 0.003). LLSDG: Mean SA was significantly low as compared to mean of AGW (203 ± 48 *vs* 254 ± 49 gm; *P* < 0.001) |
| RLDG, LLDG and LLSDG volumes by SA were compared to AGW |

CT: Computerized tomography; SA: Semi-automated; AGW: Actual graft weight, RLDG: Right lobe donor graft; LLDG: Left lobe donor graft; LLSDG: Left lateral segment donor graft.