| Assessment of platelet function: Laboratory and point-of-care methods Rita Paniccia, Raffaella Priora, Agatina Alessandrello Liotta, Niccolò Maggini, Rosanna Abbate |
| --- |
| CITATION | Paniccia R, Priora R, Alessandrello Liotta A, Maggini N, Abbate R. Assessment of platelet function: Laboratory and point-of-care methods. World J Transl Med 2014; 3(2): 69-83 |
| URL | http://www.wjgnet.com/2220-6132/full/v3/i2/69.htm |
| DOI | http://dx.doi.org/10.5528/wjtm.v3.i2.69 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | This review discussed the scenario of available platelet function laboratory and point-of-care methods suitable in different clinical setting. As this matter has become of crucial importance in the bleeding management and for monitoring antiplatelet therapies, improved ability to assess platelet function in a timely and efficient manner is essential. Traditional platelet function methods, requiring a fair degree of expertise, have been limited to specialized laboratory. Many efforts have been carried out for improving platelet function assays for centralized laboratory, such as different point-of-care testing methodologies have been developed. Moreover, different guidelines and recommendations for their method standardization are growing. |
| KEY WORDS | Platelets; Method; Test; Point of care testing; Laboratory assessment; Bleeding; Thrombosis; Platelet function |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Translational Medicine |
| ISSN | 2220-6132 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

ESPS Manuscript NO:8694

Columns: REVIEW

Assessment of platelet function: Laboratory and point-of-care methods

Rita Paniccia, Raffaella Priora, Agatina Alessandrello Liotta, Niccolò Maggini, Rosanna Abbate

Rita Paniccia, Raffaella Priora, Rosanna Abbate, Department of Experimental and Clinical Medicine, Thrombosis Center, University of Florence, 50134 Florence, Italy

Rita Paniccia, Raffaella Priora, Agatina Alessandrello Liotta, Niccolò Maggini, Rosanna Abbate, Department of Heart and Vessels, Azienda Ospedaliero-Universitaria Careggi, 50134 Florence, Italy

Author contributions: Paniccia R conceived and designed the review, prepared the manuscript  and searched  literature;  Priora R contributed to literature review and preparation of the manuscript; Alessandrello Liotta A and Maggini N contributed to editing and finalizing the manuscript; Abbate R approved of the version to be published.

Correspondence to: Rita Paniccia, MSc, Department of Experimental and Clinical Medicine, Thrombosis Center, University of Florence, Viale Pieraccini, 19, 50134 Florence,

Italy. rita.paniccia@unifi.it

Telephone: +39-055-7949419  Fax: +39-055-7949929

Received: January 2, 2014        Revised: March 14, 2014

Accepted: April 25, 2014

Published online: August 12, 2014

Abstract

In the event of blood vessel damage, human platelets are promptly recruited on the site of injury and, after their adhesion, activation and aggregation, prevent blood loss with the formation of a clot. The consequence of abnormal regulation can be either hemorrhage or the development of thrombosis. Qualitative and/or quantitative defects in platelets promote bleeding, whereas the residual reactivity of platelets, despite antiplatelet therapies, play an important role in promoting arterial thrombotic complications. Platelet function is traditionally assessed to investigate the origin of a bleeding syndrome, to predict the risk of bleeding prior surgery or during pregnancy or to monitor the efficacy of antiplatelet therapy in thrombotic syndromes that, now, can be considered a new discipline. “Old” platelet function laboratory tests such as the evaluation of bleeding time and the platelet aggregation analysis in platelet-rich plasma are traditionally utilized to aid in the diagnosis and management of patients with platelet and hemostatic disorders and used as diagnostic tools both in bleeding and thrombotic diathesis in specialized laboratories. Now, new and renewed automated systems have been introduced to provide a simple, rapid assessment of platelet function including point of care methods. These new methodologies are also suitable for being used in non-specialized laboratories and in critical area for assessing platelet function in whole blood without the requirement of sample processing. Some of these methods are also beginning to be incorporated into routine clinical use and can be utilized as not only as first panel for the diagnosis of platelet dysfunction, but also for monitoring anti-platelet therapy and to potentially assess risk of both bleeding and/or thrombosis.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Platelets; Method; Test; Point of care testing; Laboratory assessment; Bleeding; Thrombosis; Platelet function

Core tip: This review discussed the scenario of available platelet function laboratory and point-of-care methods suitable in different clinical setting. As this matter has become of crucial importance in the bleeding management and for monitoring antiplatelet therapies, improved ability to assess platelet function in a timely and efficient manner is essential. Traditional platelet function methods, requiring a fair degree of expertise, have been limited to specialized laboratory. Many efforts have been carried out for improving platelet function assays for centralized laboratory, such as different point-of-care testing methodologies have been developed. Moreover, different guidelines and recommendations for their method standardization are growing.

Paniccia R, Priora R, Alessandrello Liotta A, Maggini N, Abbate R. Assessment of platelet function: Laboratory and point-of-care methods. World J Transl Med 2014; 3(2): 69-83  Available from: URL: http://www.wjgnet.com/2220-6132/full/v3/i2/69.htm  DOI: http://dx.doi.org/10.5528/wjtm.v3.i2.69

INTRODUCTION

Platelets are multifunctional cells that play a role in many pathophysiological processes including haemostasis and thrombosis, clot retraction, vessel constriction and repair, inflammation including promotion of atherosclerosis, host defense and tumor growth/metastasis[1,2]. Bizzozero in the late 1800s first described platelets, identifying them as distinct cells and observing that aggregated platelets form thrombi into damaged parts of vessel[3].

Notwithstanding the multiple roles of platelets, the available platelet tests investigate those functions directly involved in haemostasis[4,5]. The fine relationships between platelets and the vessel wall, i.e., the primary haemostasis, is the first phase of haemostatic process. At the injury of a vessel wall platelets are involved in sequential functional responses including adhesion, spreading, shape change, aggregation, release reaction, exposure of a procoagulant surface and clot retraction. The progression of these different steps conveys the activated platelets rapidly to form a hemostatic plug that occludes the site of lesion to prevent blood loss[6]. If one of these functions and/or platelet number are defective, then hemostasis is impaired and an associated increased risk of bleeding could be also present. On the other hand, an increase in platelet count or reactivity may lead to unsuitable thrombus formation. Upon and within atherosclerotic lesions platelets adhere, aggregate with the development of arterial thrombi that may result in stroke and myocardial infarction, two of the major causes of morbidity and mortality in the western world[7]. The prevention of arterial thrombotic complications, the antiplatelet therapy and its monitoring, can be beneficial, but their management should be carefully conducted without increasing the risk of bleeding[1,8-11].

To date, platelet function testing has been used to identify the possible causes of bleeding[12] to monitor pro-haemostatic therapy in patients at high risk of bleeding and to verify normal platelet function prior and during surgery[13,14]. Recently, different methodologies have progressively developed for monitoring the response to antiplatelet therapy and for the identification of patients with residual platelet reactivity at risk of thrombotic complications[15-18].

Development of platelet function testing

At the beginning of 1900s the bleeding time (BT) by Duke procedure[19], was the first test for evaluating the capacity of platelets to form a plug. For long time, this test has been considered a useful screening test to identify both congenital or acquired platelet disorders[20].

The cornerstone for the diagnosis of platelet function was the platelet aggregation in platelet-rich plasma (PRP) according to Born’s studies[21]. This method measures the capacity of platelet to aggregate to each other in response to external aggregating agents-agonists, i.e., adenosine-diphosphate (ADP), arachidonic acid (AA), collagen, epinephrine (EPI) and others[22]. Since the late 1980s new laboratory tests of platelet function have become available, such as flow cytometry as well as the evaluation of platelet nucleotides[23].

Because platelet dysfunction may be due to a wide multiplicity of defects, to diagnose an affected platelet function is difficult and there are no pivotal screening tests. The current laboratory assessment of platelet defects usually investigates platelet adhesion/aggregation and/or measurement of granule content/release. However, these tests are labor intensive, costly, time consuming and require a fair degree of expertise and experience. These problems have mainly limited their extensive clinic use. Actually, these methodologies are available only in specialized clinical laboratories dedicated to the studies of pathophysiological processes including haemostasis and thrombosis. As the evaluation of platelet function has become of crucial importance in the management of severe bleeding, improved ability to assess platelet function in a timely and efficient manner is essential. During the last two decades, different point of care testing (POCT) instruments for the assessment of platelet function at the bedside of patients at high risk of bleeding or thrombotic complications have been developed. Now, simple platelet function tests on whole blood (WB), that may be employed as POCT at bedside or within non-specialized laboratories, have been proposed[24-28]. In Table 1 the different laboratory and point-of-care assays for the evaluation of platelet function are reported; in Table 2 advantages and disadvantages of these methodologies are indicated and in Table 3 the clinical value of the principal platelet tests is specified.

This report attempts to focus on the scenario of available platelet function POCT with the pertinent instrumentation more suitable for the use in different clinical setting of critical area such for the diagnosis of inherited and acquired bleeding disorders or for monitoring residual platelet reactivity of patients on antiplatelet treatment.

PLATELET FUNCTION LABORATORY TESTING

Bleeding time

The skin Bleeding time (BT) is the oldest test for assessing in vivo primary haemostasis[20]. BT assesses the capacity of platelets to form a haemostatic plug. The time, that the platelets employ to occlude an in vivo skin wound, is recorded by evaluating the ability of platelets to stop the bleeding[29]. BT still remains a useful test to identify both congenital and acquired disorders of primary haemostasis in those laboratories that don’t perform other platelet function tests. The technique is easy and quick to perform without any WB processing; but it can be affected by an inaccurate operator managing and by skin thickness and temperature. Notwithstanding, BT was fulfilled by the use of an available device to standardize the size and the depth of cut, a lack of precision and uncertain correlation with clinical patient state remain. No study has clearly established the ability of BT evaluation to predict the risk of bleeding in patients[30] and only a study reported that BT could predict clinical bleeding in patients with acute myocardial infarction undergoing thrombolytic therapy[31]. Moreover, this test is not used routinely to monitor the effect of antiplatelet therapy[32].

Platelet aggregation on platelet-rich plasma

The Light Transmission Aggregometry (LTA), method performed on PRP and developed in the 1960s[21,33], is still considered as the gold standard test for investigating platelet functions. This analysis measures in vitro the platelet-to-platelet aggregation in a glycoprotein(GP)ⅡbⅢa-dependent manner, the most important function of platelets. PRP and platelet poor plasma (PPP), obtained after opportune centrifugation of citrated blood samples, are used to perform LTA. The addition of an agonist to optically dense PRP, promotes platelet aggregation resulting in an increase of brightness of plasma sample. The aggregometer records the rate and extent percentage of increase in light transmission from 0% (maximal optical density of PRP) to 100% (no optical density of autologous PPP) by a photometer. Multi-channel easy to use aggregometers are available to achieve platelet aggregation tests including automatic setting of 100% (PPP) and 0% (PRP) baselines of light transmission, computer aid and storage of results and disposable stirring bar-preloaded cuvettes. Different agonists can be added to PRP sample in order to obtain information about many different aspects of platelet function. Different parameters can be obtained from the evaluation of the aggregation trace: lag phase, shape change, primary and secondary aggregation, slope, and the maximal aggregation (%) at a fixed time.

However, despite the widespread use of LTA test, it is poorly standardized and variation between laboratory practice has been evidenced[34,35]. Because LTA is recognized to be the most important and common assay that clinical laboratories can perform to diagnose platelet function disorders, its procedure is constantly substantiated by an ongoing standardization process. Recently, specific guidelines for LTA that want to stabilize/normalize  the correct procedure, have been published[36-39].

Concisely, these guidelines discuss the possible problematic pre-analytical, analytical and post-examination aspects of LTA, in order to guide toward an accepted, agreed and standardized procedure. Regarding some principal pre-analytic aspects, a complete record of medication taken by patients should be done prior the blood sampling. Blood withdrawal should be atraumatically performed with the use of 19 and 21 gauge needles.  Evacuated tube systems are accepted and the anticoagulant recommended is the buffered trisodium citrate at the concentration of 109 mmoL/L (described as 3.2%). Also the Anticoagulant-Citrate-Dextrose solution (formula) A (ACD-A), that maintains the pH at 7.2 may be used. The citrated blood specimens must be gently mixed, maintained at room temperature (RT) and softly, but rapidly, transferred to the laboratory. Samples should be tested no more than 4 h from withdrawals. Regarding some principal analytic aspects, the PRP should be obtained by centrifugation at RT at 170-200 g for 10 min, whereas the autologous PPP may be prepared by centrifugation (after removal of PRP or using whole samples) at 1500 g for at least 15 min at RT. The adjustment of platelet count of PRP is still matter of debate. The need of adjustment of PRP with autologous PPP occurs in general  for standardizing the platelet count between 200 and 300 × 109 platelets/L and in particular  for lowering the platelet  count for matching  it with that of a thrombocytopenic patient[36]. Previous in house reference intervals (RI) for the % maximal aggregation response specific for each concentration of agonist used must be established on healthy adult volunteers (these RI can be applied to children older than neonates). LTA tracings should be studied and the final interpretative comment shall be organized by a laboratory physician. The principal agonists are commonly used  at the following  recommended  final concentrations: ADP, 2.0-10 mol/L; arachidonic acid, 0.5-1.64 mmol/L (usually 1.0 mmol/L); collagen, 1-5 g/mL (typically 2 g/mL); epinephrine, 5-10 mol/L (typically 5.0 mol/L); ristocetin, 0.5-0.6 mg/mL at low concentration and 1.2-1.5 mg/mL at high concentration.

To date, platelet aggregometry is still the most widely used method for identifying and diagnosing platelet function disorders or for monitoring antiplatelet therapies. Actually, this analysis is considered the first panel test to study hemorrhagic patient with inherited or acquired platelet dysfunctions[37,40-43]. When congenital/acquired bleeding disorders are suspected, apart from the most commonly agonists ADP, AA and collagen - used principally for monitoring antiplatelet therapies - other agonists should be also used: ristocetin, epinephrine, thrombin receptor activating peptide (TRAP), thromboxane A2 mimetic U46619, calcium ionophore A23187.

Monitoring antiplatelet therapies by using LTA allows to predict major adverse cardiovascular events (MACE) in cardiovascular patients at high risk. The rate of residual platelet reactivity defined by ADP-, AA-LTA or both has been associated with the development of ischemic events both in ACS patients and in those with stable coronary artery disease[44-49].

ADP agonist is generally used to investigate congenital/acquired bleeding disorders by LTA[22]. In the presence of different platelet alteration, ADP induced platelet aggregation may result reduced (P2Y12 defects, storage pool deficiency of  and  granules, and defects of  granules) or severely impaired (Glanzmann’s thrombasthenia)[42,50]. ADP at high concentrations (i.e., ≥ 10 µmol/L) is used to monitor thienopyridines effect: ticlopidine, clopidogrel, prasugrel and ticagrelor act through the P2Y12 ADP receptor causing selective inhibition of responses to ADP[44,45,51-55]. For the classification of patients responsive or not to clopidogrel therapy, a collectively shared cut-off value of 70% for 10 mol/L ADP-induced maximal extent aggregation was found[45,51,56,57]. AA is the agonist of choice to investigate the efficacy of the ASA antiplatelet therapy[58-60]. ASA is able to inhibit platelet aggregation by irreversible inactivation of the COX-1 enzyme resulting in an inhibition of the TXA2 production[61]. The concentrations of 1 and 1.3 mmol/L AA are usually used to monitor antiplatelet therapy and the cut-off value of 20% is used to identify patients responsive or not to ASA treatment[62-67]. Platelet aggregation profile induced by collagen (1-5 g/mL) is characterized by a lag phase before aggregation arises. Collagen binds to the GPVI and GPⅠa/Ⅱa platelet receptors inducing granule release and TXA2 generation. Recently, RPR identified by collagen aggregation in ACS patients on ASA has been reported associated with cardiovascular events[67,68] and with the polymorphism C807T predisposing to MACE[69]. Collagen induced platelet aggregation can be impaired in different condition of platelet function disorders, such as: Glanzmann’s thrombastenia, abnormalities of the signal-transduction pathways caused by COX-1 deficiency (aspirin like defect) or defects of platelet granules ( and/orstorage pool deficiency)[42]. Epinephrine (5-10 mol/L) is a weak agonist that binds to the α2-adrenergic receptor on the surface of platelets leading to inhibition of adenylcyclase and the release of calcium ions. Platelet aggregation induced by epinephrine is similar to that obtained with ADP and characterized by an initial primary wave of aggregation, the release of stored ADP from the platelet dense bodies and second wave sustained aggregation[38]. ASA inhibits aggregation to any concentration of epinephrine[67]. Impaired response to epinephrine can be present in some congenital platelet disorders such as the Wiskott-Aldrich syndrome or the Quebec platelet syndrome. Ristocetin (1.2-1.5 mg/mL) causes platelet agglutination through the Von Willebrand Factor (VWF) and GPIb-IX-V complex. In the presence of Bernard-Soulier syndrome a severely impaired platelet agglutination induced by ristocetin is present. Moreover, LTA test performed by using different concentrations of ristocetin (0.6-1.2-1.5 mg/mL), exerts an important role to analyze possible VW Disease (VWD) and to differentiate the VWD variants[42,43].

In summary, LTA test is considered the first diagnostic step in the evaluation of platelet disorders. Since these platelet alterations are complex, in order to perform a diagnostic hypothesis, LTA results should be supported by further and more specific tests. Lumiaggregometry method for the identification of impaired platelet secretion (i.e., the measurement of the platelet content of adenine nucleotide and serotonin), flow cytometry analysis or western blotting test for the identification of expression of specific platelet component and the evaluation of deficiency of  and  granules by electron microscopy can specifically confirm the LTA results and should be performed as second diagnostic step[42].

Platelet aggregation on WB

Platelet aggregation on WB is achieved by impedance platelet aggregometry, based on the principle that activated platelets expose their surface receptors which allow them to bind to artificial surfaces[70,71]. This test measures the change in electrical resistance or impedance between two electrodes set at a fixed distance within WB sample. The platelet adhesion to electrodes and the response to classical agonists get other platelets aggregate to those stacked to the electrodes, increasing the impedance. The extent of the increase in impedance is normally recorded in Ohm. The use of WB allow to assess platelet function under more physiological conditions taking into account that also the contributions of other blood elements that may affect platelet function. In addition, another important aspect is that WB aggregometry takes place on surfaces. Platelet aggregation on WB has many advantages as well as the use of small sample volume, the immediate analysis without no sample manipulation, loss of time or possible failure of subpopulation of platelets.

Recently, a new multiple electrode aggregometry (MEA) by using a five channel computerized WB aggregometer (Multiple Platelet Function Analyzer - Dynabyte - Roche Diagnostics, Germany) equipped by disposable cuvettes ready to use with two independent sensor units and an automated pipetting has become available. The increase of impedance is detected for each sensor unit separately and calculated automatically as area under curve (AUC). By using this device with these advantages, MEA has acquired the high valence for being considered a POCT. Because MEA may use different agonists (similarly to LTA), it is suitable for diagnosis of bleeding and also for monitoring antiplatelet therapy[72-77]. Indeed, MEA has been used to investigate the presence of VWD in patient with severe aortic stenosis[78] and on the other hand the high thrombotic risk due to heparin induced thrombocytopenia (HIT)[79].

In particular, MEA, beyond the identification of cardiovascular patients at risk of MACE[72-75], is able to discriminate those patients that have a too much high inhibition of platelet function and at risk of bleeding[80]. In the same manner, Ranucci et al[81] reported that the use of MEA before cardiac surgery allowed to identify those patient at risk of bleeding. Different reports elucidated that MEA might be able to identify preoperatively those patients at risk of blood loss after cardiac surgery[82,83] and it is de facto entered as rapid and useful tool for the management of postoperative severe bleeding[84]. More recently, Malek et al[85] reported that low extent of TRAP-induced platelet aggregation by using this method was a factor independently associated with intramyocardial hemorrhage of patients with myocardial infarction.

Flow cytometry platelet analysis

Platelet analysis by using flow cytometry (FC) may offer information on the functional status in vivo of platelets[23]. This technique allows the evaluation of the physical and antigenic properties of platelets, i.e., surface expression of receptors, bound ligands, secretion, presence of platelet aggregates and leukocyte-platelet aggregates. FC is able to measure cell size and granularity of a large population of cells, not only the platelets and to quantify the fluorescence emitted by fluorochrome-labeled antibodies and ligands bound to the cells evaluated.

FC can be a useful tool for the diagnosis of inherited or acquired platelet dysfunctions (i.e., Bernard- Soulier Syndrome or HIT, respectively). In addition, FC is able to recognize the pathological activation state of platelets (i.e., in the setting of acute coronary syndromes or cardiopulmonary bypass); the efficacy of antiplatelet drugs[86] and, finally, the state of stored platelet for the evaluation of efficacy of platelet transfusion[87,88].

A panel of antibodies may be used to study in detail the membrane glycoprotein receptors of platelets. To count binding, antibodies may be directly conjugated with different fluorochromes such as fluorescein isothiocyanate (FITC) or phycoerythrin (PE). But, also a specie-specific secondary antibody coupled to a fluorochrome can be used to recognize a primary antibody linked to surface antigens[23]. For FC both PRP and WB can be used. Prior fixation of platelets with paraformaldehyde stabilizes surface antigens and consents transport of reagent components. In the WB, the use of a double labeling binding allows the identification of platelets or mixed cell aggregates[89,90]. The results of FC are represented in the form of histograms with mean fluorescence intensity (MFI) plotted against cell number.

PLATELET FUNCTION POINT-OF-CARE TESTING

The Platelet Function Analyser - PFA-100/ Innovance PFA-200

This POC method PFA-100/Innovance PFA-200 (Siemens, Munich, Germany) assesses platelet function in WB and has been considered the standardization of BT[24,25,91]. The PFA-100 and the updated system Innovance PFA-200[92] by using apposite cartridges simulates primary haemostasis under shear stress conditions. Citrated WB is drew at high shear stress rate through a defined microscopic aperture (147 m) into a collagen-coated membrane (C) filled with either epinephrine (EPI), CEPI cartridge, or ADP, CADP cartridge. In response to shear stress and agonists platelets undergo adhesion and aggregation upon the membrane forming a platelet clot which occludes the aperture. The time taken to occlude the hole is the closure time (CT), a measure of overall platelet-related haemostasis and this interval will be prolonged depending on the platelet activity. The use of two different cartridges with distinct agonists allows to distinguish the platelet function alterations due to intrinsic defects (principally by using CADP cartridge) or to antiplatelet therapy with ASA (CEPI cartridge)[93-97], whereas the new Innovance cartridge is affected by thienopyridine therapy[98]. In comparison to BT test, this method is revealed more sensitive[27,46] especially for diagnosis of VWD and platelet function defects[25].

The PFA-100 is sensitive to many variables that influence platelet function as well as low platelet count and haematocrit. Thus, to exclude thrombocytopenia or anemia, a WB count should always be performed prior test. In addition, it has been demonstrated that different determinants such as high levels of VWF, fibrinogen or erythrocytes tend to shorten CEPI CT[99,100]. Moreover, the PFA CT by CEPI cartridge could reveal high residual platelet reactivity despite aspirin therapy, and consequently predict the risk of ischemic events[101-103]. In ACS patients on ASA treatment, a high concordance between LTA and PFA-100 CEPI test results and a significant negative predictive value for the PFA system have been reported[65]. In addition, PFA CEPI shortened CT was demonstrated to be significant and independent predictor of MACEs in patients with AMI undergoing primary PCI[103-105].

Assessment of platelet dysfunction with PFA-100 in different clinical setting or in patients undergoing different kinds of elective surgeries, may provide useful information for postoperative blood transfusion management[106,107]. Especially in cardiac surgery PFA methodology showed a high predictive value of platelet function for management of intra- and postoperative blood loss[108-111]. In patients with biventricular assist device implantation on treatment with clopidogrel, the strict monitoring of impaired platelet function with this method (by using CADP cartridge) allowed them to go under successful transplantation with no major blood loss[112]. Prolonged CTs by CADP assay were found be independent risk factors for post-partum hemorrhage (PPH) severity[113] and prolonged CTs by CADP cartridge have been consistently described to be correlated in women with menorrhagia[114]. The presurgical correction of the prolonged PFA-100 CT with DDAVP treatment, allowed to maintain the number of postoperative blood transfusions not significantly different from that of patients with normal presurgical PFA CT[106].

It has been suggested that PFA system could be used as a screening tool that could be integrated into a panel of existing tests[38,42]. In particular, it is reported that this test presents a high negative predictive value[63,96]: so, in the presence of normal CT in a suspected platelet defect, further detailed analysis, e.g., platelet aggregation, might be eliminated from the investigation[5].

VerifyNow system

The VerifyNow system (ITC, Edison, NJ, United States) is a POC turbidimetric-based optical detection device that measures platelet aggregation in a system cartridge containing fibrinogen-coated beads and specific agonist[115]. The instrument measures changes in light transmission and thus records the rate of aggregation in WB. This methodology originally was developed for monitoring antiplatelet therapy with to GPⅡb/Ⅲa antagonists. Now, the system provides other 2 different assays each sensitive to targeted drugs: Aspirin Assay with AA as agonist (sensitive to ASA) and P2Y12 Assay with ADP as agonist and PGE1 as suppressor of intracellular free calcium levels to reduce the non-specific contribution of the ADP-binding to P2Y1 receptors (sensitive to thienopyridines). The VerifyNow system allows a rapid assessment of the platelet function also without the requirement of a specialized laboratory. Since the VerifyNow is a cartridge-based WB assay, it is not necessary to perform tests with any blood manipulation and instrument handling. Actually, this methodology is so waived that it is largely used to monitor antiplatelet therapies[116].

For Aspirin Assay, results are expressed as Aspirin Reaction Units (ARU) and for the identification of responsiveness to ASA treatment a specific cut-off value of 550 ARU is recommended by manufacturers[117]. In stroke patients on low dose of ASA[96] and in coronary artery disease patients on dual antiplatelet therapy[65,46,118] a moderate agreement between VerifyNow system and LTA results was observed. For the VerifyNow P2Y12 assay results are expressed as P2Y12 Reaction Units (PRU). Different laboratory and clinical studies relative to patient on different thienopyridines have tried to choose a cut-off value for discriminating patients not responsive to drug[44,51,119-122].

The potential role of this system for prediction of postoperative bleeding in surgical practice remains placed for the evaluation of the extent of inhibition of platelet function in response to antiplatelet medication[123]. Actually, by using this system antiplatelet therapy for outpatients or patients immediately after surgery could be tailored to the individual depending on the results.

Plateletworks

Plateletworks system is a POC assay based on platelet aggregation on WB. This system consists of the Plateletworks aggregation kits and the Ichor blood counter (Helena Laboratories, Beaumont, TX, United States). The Plateletworks procedure compares the platelet count measured in the control sample (EDTA tube) with those obtained after aggregation in citrate blood with either collagen, ADP or AA (citrate tube plus agonist). Platelet aggregation is measured as the decrease of platelet count. Results are available in minutes and without any manipulation of blood sample[124]. This method has showed a relationship with LTA, VerifyNow system and Thromboelastography[125,126] and may be used to monitor antiplatelet therapy[127]. Plateletworks gives information about both platelet count and function within an acute care situation. However, it is still under consideration and has not reported to predict clinical outcomes.

IMPACT Cone And Plate(Let) Analyzer

IMPACT (Image Analysis Monitoring Platelet Adhesion Cone and Plate Technology) Cone and Plate(let) Analyzer (CPA) (DiaMed, Cressier, Switzerland) is a new POC completely automated system that evaluates platelet function simulating in vitro primary haemostasis[4,27,28,128]. Citrated WB is exposed to shear stress by the spinning of a cone in a standardized polystyrene plate. After automated staining, the percentage of the well surface covered by platelet aggregates -representing platelet adhesion - and the average size of the aggregates (per m2) - representing platelet aggregation - are measured by image analysis software.

This system is highly dependent on plasma VWF, fibrinogen binding the platelet glycoproteins GPIb and GPⅡb/Ⅲa to the plastic surface. Therefore, this instrument methodology should be a reliable device for the diagnosis of platelet defects. Moreover, the addition of the agonists AA and ADP in the system allows to monitor dual antiplatelet therapy[128-130]. This system still needs an experienced use and additional studies must be conducted for assessing its possible role for monitoring inherited or acquired platelet dysfunctions.

Viscoelastic methods

These methods are global tests for the assessment of haemostatic process, based on the measurements of changes in viscoelastic forces in WB. These analyses are able to assess the extent of platelet count  and function, clotting and fibrinolytic activation[131,132]. To date, three principal systems are available: Thromboelastography, performed on “old” renewed devices (TEG, Haemoscope, Niles, IL, United States), Thromboelastometry, formerly called Rotational Thromboelastography, performed on a new device (ROTEM , TEM Int., Munich, Germany) and Sonoclot analysis performed on a new device (Sonoclot Signature, Sienco, Boulder, CO, United States). All these systems providing a graphic representation of clot formation and lysis, are now used as a bedside monitor in different clinical setting such as cardiac surgery, liver transplantation and trauma center[133,134]. For TEG and ROTEM, in a rotating system consisting of a pin suspended by a torsion wire in a cup the WB clot entraps the pin promoting a motion that increases as the clot strengthens and decreases when the clot lyses. In Sonoclot device in the cup the pin is moved up and down at ultrasonic rate.

Different studies[135-142] reported these systems to be predictive of risk of increased postoperative bleeding. Other reports have stated the use of different parameters provided by these tests are predictors of both postoperative bleeding and blood product use[143-145].

Thrombelastograph Platelet Mapping System has been developed to monitor antiplatelet therapy[146-149]. A weak clot is formed by the addition of reptilase and factor XIII, by adding AA or ADP the clot strength is increased allowing this assay to be sensitive to dual antiplatelet therapy.

However, further large prospective studies should be performed in order to define the possible role of these devices in monitoring antiplatelet therapy.

FUTURE PERSPECTIVES

As reported in this review, several in vitro tests for the assessment of platelet (dys)function in order to screen different idiopathic or acquired pathological conditions -hemorrhagic and/or prothrombotic status - have been developed. Now, platelet testing is mostly used thanks also to the recent and constant standardization effort.  These available tests allow to study global platelet function  including  the different steps of platelet activation. For example, the POC platelet tests simultaneously evaluate in vitro platelet adhesion and aggregation; platelet aggregometry in PRP and in WB (by using the new Multiplate system) is a comprehensive examination of platelet secretion and aggregation phenomena, also considering the role of other blood cells (platelet aggregation in WB); viscoelastic methods analyze the global hemostasis with the regard of clot retraction (Tables 2 and 3).

To date, platelet function tests are available to address the different phases of platelet activation. Platelet assays, evaluating platelet adhesion under static or flow conditions and platelet spreading have been developed[107,150]. Platelet adhesion tests in static condition, using a large number of different surfaces - glass beads, cultured vascular cells, purified matrix proteins or complete subendothelial extracellular matrix from cultured endothelial cells - that goes to the detriment of univocal results and standardized procedure,  might be achieved[151]. Under flow conditions, platelets adhesion is affected by rheological conditions such as shear rate, presence of red blood cells, red blood cell deformability, and viscosity of the medium. In this multitude of conditions, platelet adhesion can be evaluated by using microfluidic devices for example biochip containing several different adhesion molecules[152,153]. Platelet spreading tests, using fluorescence microscopy or scanning electron microscopy are frequently employed[154]. Platelet secretion may be evaluated measuring the concentration of several compound released - nucleotides (ATP, ADP), serotonin (5-HT), Platelet Factor 4 (PF4), beta-thromboglobulin , thrombospondin-1) by using different methodologies such as: ELISA, HPLC, fluorescence microscopy or  flow cytometry[42,155,156]. The assessment of these distinct steps - platelet adhesion, secretion and interactions with circulating cells - might be helpful to better define pathological conditions related to different platelet dysfunction. However, most of these assays, prevalently aimed for research studies show different clinical impact and methodological challenges. Main limitations of the application of these assays in clinical practice are the scarcity of clinical and laboratory data, often divergent each other, and the lack of clear indications or guidelines for a correct use of such tests. In the future, specific, standardized, more rapid and easy tests - whose clinical value has been well defined - for the study of single steps of platelet function or for the definition of clinical value of new platelet biomarkers by using new tests showing high sensitivity  and specificity,  are desirable for routinely laboratory analysis.

New potential biomarkers of platelet activation

Recent studies have shown that the interaction of activated platelets with CD34+ cells might potentially contribute in the differentiation of CD34+ cells to endothelial progenitor cells (EPCs)[157] and mature endothelial cells  (EC)[158]. The identification of cellular mediators, tissue specific chemokines, factors and molecular determinants involved in this interactions could be useful to identify new strategies for the vascular repair and tissue regeneration in ischemic organs[159,160].

In this contest, the chemokine CXCL12 (stromal cell-derived factor-1, SDF-1), principally produced by platelet and stored in  granules, but also released from endothelial cells, is directly involved[161]. The principal role of CXCL12 is related to the  platelet activation accompanied with P-selectin expression and release of different platelet chemokines[162,163]. In the site of vascular injury, CXCL12 stimulates the differentiation of CD34+ cells into EPCs and ECs, so exerting an important role in neointima formation[157,162]. Actually, the measurement  of CXCL12 and/or the rapid identification of platelet-CD34+ cell complexes in the future might be used,  on hand, as assessment of a predictive biomarker of ischemic events in combination with other vascular parameters and, other hand,  to early detect CD34+ cells as biomarkers for cardiovascular diseases or for tissue renewal and/or repair.

CONCLUSION

New guidelines for platelet function testing have been written in the 2011[38] and, recently, new procedures for improving the ongoing standardization of LTA have been reported in the 2013[39]. From the late 1980’s to nowadays, the study effort, in the field of application of platelet function methods as diagnostic tool for evaluating bleeding disorders and monitoring the efficacy of antiplatelet therapies, is at this time again in progress. However, the increasing number of new POC methods for the assessment of platelet function is making possible the introduction of these tests into the routine laboratory and opening the door for the their application in different clinical settings such as inherited bleeding disorders, cardiovascular intensive care, trauma coagulopathy, liver transplantation and obstetric care for the prediction of bleeding.

To date, the improvement of reliable, advanced and innovative, but simple to use WB methodologies, that simulate primary hemostasis, is allowing to screen rapidly patients and to guide the clinicians for an appropriate diagnosis of bleeding risk or for tailoring correctly the antiplatelet therapy. Surely, the general consensus is that the in vivo BT should be replaced. On the other hand, the use of platelet aggregometry in PRP of WB at the light of new instruments should be implemented into routine laboratories. Similarly, some POC platelet function tests could also be, actually, used as instruments for evaluating bleeding risk, thrombotic risk and monitoring antiplatelet therapy not only at the bedside, but also in centralized or in satellite laboratories. Conversely, platelet function testing is become increasingly used in critical area outside of the specialized laboratory. Although the presence of these new methodologies represents an important improvement, a validation procedure, the study of reliability and quality control testing of these point of care tests is becoming an increasingly important issue[38].

In conclusion, old and new platelet function tests are now available. Many tests are beginning to prove to be useful supplements to the existing set of platelet function tests, but large prospective well designed clinical trials are necessary for defining the true applications of these tests. In the future, the developments in platelet genome and proteome may lead advances in the field of platelet function testing which may have a significant impact upon the diagnosis and management of patient affected by hemorrhagic or thrombotic defects.

REFERENCES

1	George JN. Platelets. Lancet 2000; 355: 1531-1539 [PMID: 10801186 DOI: 10.1016/S0140-6736(00)02175-9

2	Jackson SP. The growing complexity of platelet aggregation. Blood 2007; 109: 5087-5095 [PMID: 17311994 DOI: 10.1182/blood-2006-12-027698

3	de Gaetano G. A new blood corpuscle: an impossible interview with Giulio Bizzozero. Thromb Haemost 2001; 86: 973-979 [PMID: 11686354]

4	Harrison P. Platelet function analysis. Blood Rev 2005; 19: 111-123 [PMID: 15603914 DOI: 10.1016/j.blre.2004.05.002

5	Harrison P. Assessment of platelet function in the laboratory. Hamostaseologie 2009; 29: 25-31 [PMID: 19151842]

6	Michelson AD. How platelets work: platelet function and dysfunction. J Thromb Thrombolysis 2003; 16: 7-12 [PMID: 14760205 DOI: 10.1023/B: THRO.0000014586.77684.82

7	Ruggeri ZM. Platelets in atherothrombosis. Nat Med 2002; 8: 1227-1234 [PMID: 12411949 DOI: 10.1038/nm1102-1227

8	Serebruany VL, Malinin AI, Ferguson JJ, Vahabi J, Atar D, Hennekens CH. Bleeding risks of combination vs. single antiplatelet therapy: a meta-analysis of 18 randomized trials comprising 129,314 patients. Fundam Clin Pharmacol 2008; 22: 315-321 [PMID: 18485150 DOI: 10.1111/j.1472-8206.2008.00582.x]

9	Cuisset T, Frere C, Quilici J, Uhry S, Alessi MC, Bonnet JL. Post-PCI fatal bleeding in aspirin and clopidogrel hyper responder: shifting from antiplatelet resistance to bleeding risk assessment? Int J Cardiol 2010; 138: 212-213 [PMID: 18707772 DOI: 10.1016/j.ijcard.2008.06.044]

10	Gorog DA, Fuster V. Platelet function tests in clinical cardiology: unfulfilled expectations. J Am Coll Cardiol 2013; 61: 2115-2129 [PMID: 23541972 DOI: 10.1016/j.jacc.2012.11.080]

11	Aradi D, Sibbing D, Bonello L. Current evidence for monitoring platelet reactivity in acute coronary syndrome: a plea for individualized antiplatelet treatment. Int J Cardiol 2013; 167: 1794-1797 [PMID: 23290951 DOI: 10.1016/j.ijcard.2012.12.026]

12	Peerschke EI. The laboratory evaluation of platelet dysfunction. Clin Lab Med 2002; 22: 405-420 [PMID: 12134468 DOI: 10.1016/S0272-2712(01)00008-7]

13	Rand ML, Leung R, Packham MA. Platelet function assays. Transfus Apher Sci 2003; 28: 307-317 [PMID: 12725958 DOI: 10.1016/S1473-0502(03)00050-8]

14	Kozek-Langenecker S. Management of massive operative blood loss. Minerva Anestesiol 2007; 73: 401-415 [PMID: 17380100]

15	Patti G, Nusca A, Mangiacapra F, Gatto L, D’Ambrosio A, Di Sciascio G. Point-of-care measurement of clopidogrel responsiveness predicts clinical outcome in patients undergoing percutaneous coronary intervention results of the ARMYDA-PRO (Antiplatelet therapy for Reduction of MYocardial Damage during Angioplasty-Platelet Reactivity Predicts Outcome) study. J Am Coll Cardiol 2008; 52: 1128-1133 [PMID: 18804738 DOI: 10.1016/j.jacc.2008.06.038]

16	Tantry US, Gurbel PA. Platelet monitoring for PCI: is it really necessary? Hamostaseologie 2009; 29: 368-375 [PMID: 19882080]

17	Abbate R, Crea F, De Servi S, Filippi E, Gensini GF, Golinos P, Savonitto S. [Extent of platelet aggregation inhibition and clinical events: new evidence with prasugrel]. G Ital Cardiol (Rome) 2010; 11: 127-137 [PMID: 20408476]

18	Fileti L, Campo G, Valgimigli M. Latest clinical data on testing for high on-treatment platelet reactivity. Rev Cardiovasc Med 2011; 12 Suppl 1: S14-S22 [PMID: 22080983 DOI: 10.3909/ricm12S1S0001]

19	Duke WW. The relation of blood platelets to hemorrhagic disease. Description of a method for determining the bleeding time and the coagulation time and report of three cases of hemorrahagic disease relieved by blood transfusion. JAMA 1910; 55: 1185-1192 DOI: 10.1001/jama.1910.04330140029009

20	Rodgers RP, Levin J. A critical reappraisal of the bleeding time. Semin Thromb Hemost 1990; 16: 1-20 [PMID: 2406907 DOI: 10.1055/s-2007-1002658]

21	Born GV. Aggregation of blood platelets by adenosine diphosphate and its reversal. Nature 1962; 194: 927-929 [PMID: 13871375 DOI: 10.1038/194927b0]

22	Bolton-Maggs PH, Chalmers EA, Collins PW, Harrison P, Kitchen S, Liesner RJ, Minford A, Mumford AD, Parapia LA, Perry DJ, Watson SP, Wilde JT, Williams MD. A review of inherited platelet disorders with guidelines for their management on behalf of the UKHCDO. Br J Haematol 2006; 135: 603-633 [PMID: 17107346 DOI: 10.1111/j.1365-2141.2006.06343.x]

23	Michelson AD. Evaluation of platelet function by flow cytometry. Pathophysiol Haemost Thromb 2006; 35: 67-82 [PMID: 16855350 DOI: 10.1159/000093547]

24	Harrison P. The role of PFA-100 testing in the investigation and management of haemostatic defects in children and adults. Br J Haematol 2005; 130: 3-10 [PMID: 15982339 DOI: 10.1111/j.1365-2141.2005.05511.x]

25	Hayward CP, Harrison P, Cattaneo M, Ortel TL, Rao AK. Platelet function analyzer (PFA)-100 closure time in the evaluation of platelet disorders and platelet function. J Thromb Haemost 2006; 4: 312-319 [PMID: 16420557 DOI: 10.1111/j.1538-7836.2006.01771.x]

26	Gurbel PA, Becker RC, Mann KG, Steinhubl SR, Michelson AD. Platelet function monitoring in patients with coronary artery disease. J Am Coll Cardiol 2007; 50: 1822-1834 [PMID: 17980247 DOI: 10.1016/j.jacc.2007.07.051]

27	Michelson AD, Frelinger AL, Furman MI. Current options in platelet function testing. Am J Cardiol 2006; 98: 4N-10N [PMID: 17097417 DOI: 10.1016/j.amjcard.2006.09.008]

28	Harrison P, Frelinger AL, Furman MI, Michelson AD. Measuring antiplatelet drug effects in the laboratory. Thromb Res 2007; 120: 323-336 [PMID: 17239428]

29	Quick AJ. The bleeding time as a test of hemostatic function. Am J Clin Pathol 1975; 64: 87-94 PMID: 1080353

30	Peterson P, Hayes TE, Arkin CF, Bovill EG, Fairweather RB, Rock WA, Triplett DA, Brandt JT. The preoperative bleeding time test lacks clinical benefit: College of American Pathologists’ and American Society of Clinical Pathologists’ position article. Arch Surg 1998; 133: 134-139 [PMID: 9484723 DOI: 10.1001/archsurg.133.2.134]

31	Gimple LW, Gold HK, Leinbach RC, Coller BS, Werner W, Yasuda T, Johns JA, Ziskind AA, Finkelstein D, Collen D. Correlation between template bleeding times and spontaneous bleeding during treatment of acute myocardial infarction with recombinant tissue-type plasminogen activator. Circulation 1989; 80: 581-588 [PMID: 2504511 DOI: 10.1161/01.CIR.80.3.581]

32	Jakubowski JA, Matsushima N, Asai F, Naganuma H, Brandt JT, Hirota T, Freestone S, Winters KJ. A multiple dose study of prasugrel (CS-747), a novel thienopyridine P2Y12 inhibitor, compared with clopidogrel in healthy humans. Br J Clin Pharmacol 2007; 63: 421-430 [PMID: 17076696 DOI: 10.1111/j.1365-2125.2006.02792.x]

33	O’Brien JM. Platelet aggregation. II. Some results from a new method of study. J Clin Pathol 1962; 15: 452-458

34	Moffat KA, Ledford-Kraemer MR, Nichols WL, Hayward CP; North American Specialized Coagulation Laboratory Association.  Variability in clinical laboratory practice in testing for disorders of platelet function: results of two surveys of the North American Specialized Coagulation Laboratory Association. Thromb Haemost 2005; 93: 549-553 [PMID: 15735808 DOI: 10.1160/TH04-10-0670]

35	Jennings I, Woods TA, Kitchen S, Walker ID. Platelet function testing: practice among UK National External Quality Assessment Scheme for Blood Coagulation participants, 2006. J Clin Pathol 2008; 61: 950-954 [PMID: 18663056 DOI: 10.1136/jcp.2008.057174]

36	Christie DJ, Avari T, Carrington LR, Cohen E, DeBiase B, Harrison P, Kickler T, Kottke-Marchant K, Ledford-Kraemer MR, Rand ML, Schmaier AH, McCabe White M. Platelet Function Testing by Aggregometry: Approved Guideline. Wayne PA: Clinical and Laboratory Standards Institute, 2008; 28: 1-45

37	Hayward CP, Moffat KA, Raby A, Israels S, Plumhoff E, Flynn G, Zehnder JL. Development of North American consensus guidelines for medical laboratories that perform and interpret platelet function testing using light transmission aggregometry. Am J Clin Pathol 2010; 134: 955-963 [PMID: 21088160 DOI: 10.1309/AJCP9V3RRVNZMKDS]

38	Harrison P, Mackie I, Mumford A, Briggs C, Liesner R, Winter M, Machin S. Guidelines for the laboratory investigation of heritable disorders of platelet function. Br J Haematol 2011; 155: 30-44 [PMID: 21790527 DOI: 10.1111/j.1365-2141.2011.08793.x]

39	Cattaneo M, Cerletti C, Harrison P, Hayward CP, Kenny D, Nugent D, Nurden P, Rao AK, Schmaier AH, Watson SP, Lussana F, Pugliano MT, Michelson AD. Recommendations for the Standardization of Light Transmission Aggregometry: A Consensus of the Working Party from the Platelet Physiology Subcommittee of SSC/ISTH. J Thromb Haemost 2013; 11: 1183-1189 [PMID: 23574625 DOI: 10.1111/jth.12231]

40	Hayward CP. Diagnostic approach to platelet function disorders. Transfus Apher Sci 2008; 38: 65-76 [PMID: 18291723 DOI: 10.1016/j.transci.2007.12.009]

41	Hayward CP, Pai M, Liu Y, Moffat KA, Seecharan J, Webert KE, Cook RJ, Heddle NM. Diagnostic utility of light transmission platelet aggregometry: results from a prospective study of individuals referred for bleeding disorder assessments. J Thromb Haemost 2009; 7: 676-684 [PMID: 19143930 DOI: 10.1111/j.1538-7836.2009.03273.x]

42	Podda G, Femia EA, Pugliano M, Cattaneo M. Congenital defects of platelet function. Platelets 2012; 23: 552-563 [PMID: 23020613 DOI: 10.3109/09537104.2012.724737]

43	Gadisseur A, Hermans C, Berneman Z, Schroyens W, Deckmyn H, Michiels JJ. Laboratory diagnosis and molecular classification of von Willebrand disease. Acta Haematol 2009; 121: 71-84 [PMID: 19506352 DOI: 10.1159/000214846]

44	Breet NJ, van Werkum JW, Bouman HJ, Kelder JC, Ruven HJ, Bal ET, Deneer VH, Harmsze AM, van der Heyden JA, Rensing BJ, Suttorp MJ, Hackeng CM, ten Berg JM. Comparison of platelet function tests in predicting clinical outcome in patients undergoing coronary stent implantation. JAMA 2010; 303: 754-762 [PMID: 20179285 DOI: 10.1001/jama.2010.181]

45	Buonamici P, Marcucci R, Migliorini A, Gensini GF, Santini A, Paniccia R, Moschi G, Gori AM, Abbate R, Antoniucci D. Impact of platelet reactivity after clopidogrel administration on drug-eluting stent thrombosis. J Am Coll Cardiol 2007; 49: 2312-2317 [PMID: 17572245 DOI: 10.1016/j.jacc.2007.01.094]

46	Chen WH, Cheng X, Lee PY, Ng W, Kwok JY, Tse HF, Lau CP. Aspirin resistance and adverse clinical events in patients with coronary artery disease. Am J Med 2007; 120: 631-635 [PMID: 17602938 DOI: 10.1016/j.amjmed.2006.10.021]

47	Lev EI. Aspirin resistance transient laboratory finding or important clinical entity? J Am Coll Cardiol 2009; 53: 678-680 [PMID: 19232900 DOI: 10.1016/j.jacc.2008.11.018]

48	Killu AM, Wright RS, Kopecky SL. Questions and answers on proper peri-operative management of antiplatelet therapy after coronary stent implantation to prevent stent thrombosis. Am J Cardiol 2013; 112: 1046-1050 [PMID: 23891247 DOI: 10.1016/j.amjcard.2013]

49	Fifi JT, Brockington C, Narang J, Leesch W, Ewing SL, Bennet H, Berenstein A, Chong J. Clopidogrel resistance is associated with thromboembolic complications in patients undergoing neurovascular stenting. AJNR Am J Neuroradiol 2013; 34: 716-720 [PMID: 23194833 DOI: 10.3174/ajnr.A3405]

50	Nurden AT, Nurden P. Congenital platelet disorders and understanding of platelet function. Br J Haematol 2014; 165: 165-178 [PMID: 24286193 DOI: 10.1111/bjh.12662]

51	Paniccia R, Antonucci E, Gori AM, Marcucci R, Giglioli C, Antoniucci D, Gensini GF, Abbate R, Prisco D. Different methodologies for evaluating the effect of clopidogrel on platelet function in high-risk coronary artery disease patients. J Thromb Haemost 2007; 5: 1839-1847 [PMID: 17723123 DOI: 10.1111/j.1538-7836.2007.02656.x]

52	Steinhubl S, Roe MT. Optimizing platelet P2Y12 inhibition for patients undergoing PCI. Cardiovasc Drug Rev 2007; 25: 188-203 [PMID: 17614940 DOI: 10.1111/j.1527-3466.2007.00013.x]

53	Gachet C. P2 receptors, platelet function and pharmacological implications. Thromb Haemost 2008; 99: 466-472 [PMID: 18327393 DOI: 10.1160/TH07-11-0673]

54	Bonello L, Laine M, Kipson N, Mancini J, Helal O, Fromonot J, Gariboldi V, Condo J, Thuny F, Frere C, Camoin-Jau L, Paganelli F, Dignat-George F, Guieu R. Ticagrelor increases adenosine plasma concentration in patients with an acute coronary syndrome. J Am Coll Cardiol 2014; 63: 872-877 [PMID: 24291273 DOI: 10.1016/j.jacc.2013.09.067]

55	Cayla G, Cuisset T, Silvain J, O’Connor SA, Kerneis M, Castelli C, Quilici J, Bonnet JL, Alessi MC, Morange PE, Collet JP, Montalescot G. Prasugrel monitoring and bleeding in real world patients. Am J Cardiol 2013; 111: 38-44 [PMID: 23040597 DOI: 10.1016/j.amjcard.2012.08.043]

56	Cuisset T, Frere C, Quilici J, Barbou F, Morange PE, Hovasse T, Bonnet JL, Alessi MC. High post-treatment platelet reactivity identified low-responders to dual antiplatelet therapy at increased risk of recurrent cardiovascular events after stenting for acute coronary syndrome. J Thromb Haemost 2006; 4: 542-549 [PMID: 16371119 DOI: 10.1111/j.1538-7836.2005.01751.x]

57	Bonello L, Tantry US, Marcucci R, Blindt R, Angiolillo DJ, Becker R, Bhatt DL, Cattaneo M, Collet JP, Cuisset T, Gachet C, Montalescot G, Jennings LK, Kereiakes D, Sibbing D, Trenk D, Van Werkum JW, Paganelli F, Price MJ, Waksman R, Gurbel PA. Consensus and future directions on the definition of high on-treatment platelet reactivity to adenosine diphosphate. J Am Coll Cardiol 2010; 56: 919-933 [PMID: 20828644 DOI: 10.1016/j.jacc.2010.04.047]

58	Eikelboom J, Feldman M, Mehta SR, Michelson AD, Oates JA, Topol E. Aspirin resistance and its implications in clinical practice. MedGenMed 2005; 7: 76 [PMID: 16369302]

59	Wang TH, Bhatt DL, Topol EJ. Aspirin and clopidogrel resistance: an emerging clinical entity. Eur Heart J 2006; 27: 647-654 [PMID: 16364973 DOI: 10.1093/eurheartj/ehi684]

60	Thomas MR, Storey RF. Impact of aspirin dosing on the effects of P2Y12 inhibition in patients with acute coronary syndromes. J Cardiovasc Transl Res 2014; 7: 19-28 [PMID: 24309957 DOI: 10.1007/s12265-013-9524-6]

61	Roth GJ, Majerus PW. The mechanism of the effect of aspirin on human platelets. I. Acetylation of a particulate fraction protein. J Clin Invest 1975; 56: 624-632 [PMID: 1159076 DOI: 10.1172/JCI108132]

62	Gum PA, Kottke-Marchant K, Poggio ED, Gurm H, Welsh PA, Brooks L, Sapp SK, Topol EJ. Profile and prevalence of aspirin resistance in patients with cardiovascular disease. Am J Cardiol 2001; 88: 230-235 [PMID: 11472699 DOI: 10.1016/S0002-9149(01)01631-9]

63	Gum PA, Kottke-Marchant K, Welsh PA, White J, Topol EJ. A prospective, blinded determination of the natural history of aspirin resistance among stable patients with cardiovascular disease. J Am Coll Cardiol 2003; 41: 961-965 [PMID: 12651041 DOI: 10.1016/S0735-1097(02)03014-0]

64	Lev EI, Alviar CL, Arikan ME, Dave BP, Granada JF, DeLao T, Tellez A, Maresh K, Kleiman NS. Platelet reactivity in patients with subacute stent thrombosis compared with non-stent-related acute myocardial infarction. Am Heart J 2007; 153: 41.e1-41.e6 [PMID: 17174635 DOI: 10.1016/j.ahj.2006.10.020]

65	Paniccia R, Antonucci E, Gori AM, Marcucci R, Poli S, Romano E, Valente S, Giglioli C, Fedi S, Gensini GF, Abbate R, Prisco D. Comparison of different methods to evaluate the effect of aspirin on platelet function in high-risk patients with ischemic heart disease receiving dual antiplatelet treatment. Am J Clin Pathol 2007; 128: 143-149 [PMID: 17580282 DOI: 10.1309/0G1PEJ00J8KP8357]

66	Floyd CN, Ferro A. Mechanisms of aspirin resistance. Pharmacol Ther 2014; 141: 69-78 [PMID: 23993980 DOI: 10.1016/j.pharmthera.2013.08.005]

67	Kovács EG, Katona E, Bereczky Z, Homoródi N, Balogh L, Tóth E, Péterfy H, Kiss RG, Edes I, Muszbek L.. Evaluation of laboratory methods routinely used to detect the effect of aspirin against new reference methods. Thromb Res 2013; In press [PMID: 24207016 DOI: 10.1016/j.thromres.2013.10.008]

68	Gori AM, Marcucci R, Migliorini A, Valenti R, Moschi G, Paniccia R, Buonamici P, Gensini GF, Vergara R, Abbate R, Antoniucci D. Incidence and clinical impact of dual nonresponsiveness to aspirin and clopidogrel in patients with drug-eluting stents. J Am Coll Cardiol 2008; 52: 734-739 [PMID: 18718420 DOI: 10.1016/j.jacc.2008.05.032]

69	Giusti B, Gori AM, Marcucci R, Sestini I, Saracini C, Paniccia R, Poli S, Giglioli C, Valente S, Prisco D, Gensini GF, Abbate R. Role of glycoprotein Ia gene polymorphisms in determining platelet function in myocardial infarction patients undergoing percutaneous coronary intervention on dual antiplatelet treatment. Atherosclerosis 2008; 196: 341-348 [PMID: 17157856 DOI: 10.1016/j.atherosclerosis.2006.11.009]

70	Cardinal DC, Flower RJ. The electronic aggregometer: a novel device for assessing platelet behavior in blood. J Pharmacol Methods 1980; 3: 135-158 [PMID: 7392654 DOI: 10.1016/0160-5402(80)90024-8]

71	Mackie IJ, Jones R, Machin SJ. Platelet impedance aggregation in whole blood and its inhibition by antiplatelet drugs. J Clin Pathol 1984; 37: 874-878 [PMID: 6206096 DOI: 10.1136/jcp.37.8.874]

72	Paniccia R, Antonucci E, Maggini N, Romano E, Gori AM, Marcucci R, Prisco D, Abbate R. Assessment of platelet function on whole blood by multiple electrode aggregometry in high-risk patients with coronary artery disease receiving antiplatelet therapy. Am J Clin Pathol 2009; 131: 834-842 [PMID: 19461090 DOI: 10.1309/AJCPTE3K1SGAPOIZ]

73	Paniccia R, Antonucci E, Maggini N, Miranda M, Gori AM, Marcucci R, Giusti B, Balzi D, Prisco D, Abbate R. Comparison of methods for monitoring residual platelet reactivity after clopidogrel by point-of-care tests on whole blood in high-risk patients. Thromb Haemost 2010; 104: 287-292 [PMID: 20458439 DOI: 10.1160/TH09-12-0832]

74	Sibbing D, Braun S, Morath T, Mehilli J, Vogt W, Schömig A, Kastrati A, von Beckerath N. Platelet reactivity after clopidogrel treatment assessed with point-of-care analysis and early drug-eluting stent thrombosis. J Am Coll Cardiol 2009; 53: 849-856 [PMID: 19264241 DOI: 10.1016/j.jacc.2008.11.030]

75	Sibbing D, Morath T, Braun S, Stegherr J, Mehilli J, Vogt W, Schömig A, Kastrati A, von Beckerath N. Clopidogrel response status assessed with Multiplate point-of-care analysis and the incidence and timing of stent thrombosis over six months following coronary stenting. Thromb Haemost 2010; 103: 151-159 [PMID: 20062919 DOI: 10.1160/TH09-05-0284]

76	Beynon C, Sakowitz OW, Unterberg AW. Multiple electrode aggregometry in antiplatelet-related intracerebral haemorrhage. J Clin Neurosci 2013; 20: 1805-1806 [PMID: 23830689 DOI: 10.1016/j.jocn.2013.02.022]

77	Würtz M, Hvas AM, Christensen KH, Rubak P, Kristensen SD, Grove EL.  Rapid evaluation of platelet function using the Multiplate® Analyzer. Platelets 2013; In press [PMID: 24246241 DOI: 10.3109/09537104.2013.849804]

78	Bolliger D, Dell-Kuster S, Seeberger MD, Tanaka KA, Gregor M, Zenklusen U, Tsakiris DA, Filipovic M. Impact of loss of high-molecular-weight von Willebrand factor multimers on blood loss after aortic valve replacement. Br J Anaesth 2012; 108: 754-762 [PMID: 22311365 DOI: 10.1093/bja/aer512]

79	Morel-Kopp MC, Aboud M, Tan CW, Kulathilake C, Ward C. Whole blood impedance aggregometry detects heparin-induced thrombocytopenia antibodies. Thromb Res 2010; 125: e234-e239 [PMID: 20053425 DOI: 10.1016/j.thromres.2009.12.001]

80	Sibbing D, Schulz S, Braun S, Morath T, Stegherr J, Mehilli J, Schömig A, von Beckerath N, Kastrati A. Antiplatelet effects of clopidogrel and bleeding in patients undergoing coronary stent placement. J Thromb Haemost 2010; 8: 250-256 [PMID: 19943882 DOI: 10.1111/j.1538-7836.2009.03709.x]

81	Ranucci M, Baryshnikova E, Soro G, Ballotta A, De Benedetti D, Conti D; Surgical and Clinical Outcome Research (SCORE) Group. Multiple electrode whole-blood aggregometry and bleeding in cardiac surgery patients receiving thienopyridines. Ann Thorac Surg 2011; 91: 123-129 [PMID: 21172499 DOI: 10.1016/j.athoracsur.2010.09.022]

82	Mengistu AM, Wolf MW, Boldt J, Röhm KD, Lang J, Piper SN. Evaluation of a new platelet function analyzer in cardiac surgery: a comparison of modified thromboelastography and whole-blood aggregometry. J Cardiothorac Vasc Anesth 2008; 22: 40-46 [PMID: 18249329 DOI: 10.1053/j.jvca.2007.02.015]

83	Rahe-Meyer N, Winterhalter M, Boden A, Froemke C, Piepenbrock S, Calatzis A, Solomon C. Platelet concentrates transfusion in cardiac surgery and platelet function assessment by multiple electrode aggregometry. Acta Anaesthesiol Scand 2009; 53: 168-175 [PMID: 19175576 DOI: 10.1111/j.1399-6576.2008.01845.x]

84	Görlinger K, Shore-Lesserson L, Dirkmann D, Hanke AA, Rahe-Meyer N, Tanaka KA. Management of hemorrhage in cardiothoracic surgery. J Cardiothorac Vasc Anesth 2013; 27: S20-S34 [PMID: 23910533 DOI: 10.1053/j.jvca.2013.05.014]

85	Malek LA, Klopotowski M, Spiewak M, Wozniak K, Was J, Misko J, Ruzyllo W, Witkowski A.  Platelet Reactivity and Intramyocardial Hemorrhage in Patients With ST-Segment Elevation Myocardial Infarction. Clin Appl Thromb Hemost 2013; In press [PMID: 23344994 DOI: 10.1177/1076029612474715]

86	Aleil B, Ravanat C, Cazenave JP, Rochoux G, Heitz A, Gachet C. Flow cytometric analysis of intraplatelet VASP phosphorylation for the detection of clopidogrel resistance in patients with ischemic cardiovascular diseases. J Thromb Haemost 2005; 3: 85-92 [PMID: 15634270 DOI: 10.1111/j.1538-7836.2004.01063.x]

87	Linden MD, Furman MI, Frelinger AL, Fox ML, Barnard MR, Li Y, Przyklenk K, Michelson AD. Indices of platelet activation and the stability of coronary artery disease. J Thromb Haemost 2007; 5: 761-765 [PMID: 17371489 DOI: 10.1111/j.1538-7836.2007.02462.x]

88	Ferrer-Marin F, Chavda C, Lampa M, Michelson AD, Frelinger AL, Sola-Visner M. Effects of in vitro adult platelet transfusions on neonatal hemostasis. J Thromb Haemost 2011; 9: 1020-1028 [PMID: 21320282 DOI: 10.1111/j.1538-7836.2011.04233.x]

89	Furman MI, Barnard MR, Krueger LA, Fox ML, Shilale EA, Lessard DM, Marchese P, Frelinger AL, Goldberg RJ, Michelson AD. Circulating monocyte-platelet aggregates are an early marker of acute myocardial infarction. J Am Coll Cardiol 2001; 38: 1002-1006 [PMID: 11583872 DOI: 10.1016/S0735-1097(01)01485-1]

90	Barnard MR, Linden MD, Frelinger AL, Li Y, Fox ML, Furman MI, Michelson AD. Effects of platelet binding on whole blood flow cytometry assays of monocyte and neutrophil procoagulant activity. J Thromb Haemost 2005; 3: 2563-2570 [PMID: 16241954 DOI: 10.1111/j.1538-7836.2005.01603.x]

91	Kundu SK, Heilmann EJ, Sio R, Garcia C, Davidson RM, Ostgaard RA. Description of an in vitro platelet function analyzer--PFA-100. Semin Thromb Hemost 1995; 21 Suppl 2: 106-112 [PMID: 7660150]

92	Koessler J, Ehrenschwender M, Kobsar A, Brunner K. Evaluation of the new INNOVANCE® PFA P2Y cartridge in patients with impaired primary haemostasis. Platelets 2012; 23: 571-578 [PMID: 22185369 DOI: 10.3109/09537104.2011.640967]

93	Favaloro EJ. Clinical application of the PFA-100. Curr Opin Hematol 2002; 9: 407-415 [PMID: 12172459 DOI: 10.1097/00062752-200209000-00004]

94	Favaloro EJ. Clinical utility of the PFA-100. Semin Thromb Hemost 2008; 34: 709-733 [PMID: 19214910 DOI: 10.1055/s-0029-1145254]

95	Homoncik M, Jilma B, Hergovich N, Stohlawetz P, Panzer S, Speiser W. Monitoring of aspirin (ASA) pharmacodynamics with the platelet function analyzer PFA-100. Thromb Haemost 2000; 83: 316-321 [PMID: 10739392]

96	Harrison P, Segal H, Blasbery K, Furtado C, Silver L, Rothwell PM. Screening for aspirin responsiveness after transient ischemic attack and stroke: comparison of 2 point-of-care platelet function tests with optical aggregometry. Stroke 2005; 36: 1001-1005 [PMID: 15817896 DOI: 10.1161/01.STR.0000162719.11058.bd]

97	Fontana P, Nolli S, Reber G, de Moerloose P. Biological effects of aspirin and clopidogrel in a randomized cross-over study in 96 healthy volunteers. J Thromb Haemost 2006; 4: 813-819 [PMID: 16634751 DOI: 10.1111/j.1538-7836.2006.01867.x]

98	Edwards A, Jakubowski JA, Rechner AR, Sugidachi A, Harrison P. Evaluation of the INNOVANCE PFA P2Y test cartridge: sensitivity to P2Y(12) blockade and influence of anticoagulant. Platelets 2012; 23: 106-115 [PMID: 21848368 DOI: 10.3109/09537104.2011.601361]

99	Chakroun T, Gerotziafas G, Robert F, Lecrubier C, Samama MM, Hatmi M, Elalamy I. In vitro aspirin resistance detected by PFA-100 closure time: pivotal role of plasma von Willebrand factor. Br J Haematol 2004; 124: 80-85 [PMID: 14675411 DOI: 10.1046/j.1365-2141.2003.04727.x]

100	Mannini L, Marcucci R, Paniccia R, Antonucci E, Giglioli C, Valente S, Gori AM, Prisco D, Gensini GF, Abbate R. Erythrocyte deformability and white blood cell count are associated with aspirin resistance in high-risk vascular patients. Clin Hemorheol Microcirc 2006; 35: 175-181 [PMID: 16899924 DOI: 10.1016/S1567-5688(06)81592-8]

101	Gianetti J, Parri MS, Sbrana S, Paoli F, Maffei S, Paradossi U, Berti S, Clerico A, Biagini A. Platelet activation predicts recurrent ischemic events after percutaneous coronary angioplasty: a 6 months prospective study. Thromb Res 2006; 118: 487-493 [PMID: 16343603 DOI: 10.1016/j.thromres.2005.10.011]

102	Hovens MM, Snoep JD, Eikenboom JC, van der Bom JG, Mertens BJ, Huisman MV. Prevalence of persistent platelet reactivity despite use of aspirin: a systematic review. Am Heart J 2007; 153: 175-181 [PMID: 17239674 DOI: 10.1016/j.ahj.2006.10.040]

103	Marcucci R, Paniccia R, Antonucci E, Gori AM, Fedi S, Giglioli C, Valente S, Prisco D, Abbate R, Gensini GF. Usefulness of aspirin resistance after percutaneous coronary intervention for acute myocardial infarction in predicting one-year major adverse coronary events. Am J Cardiol 2006; 98: 1156-1159 [PMID: 17056317 DOI: 10.1016/j.amjcard.2006.05.041]

104	Reny JL, De Moerloose P, Dauzat M, Fontana P. Use of the PFA-100 closure time to predict cardiovascular events in aspirin-treated cardiovascular patients: a systematic review and meta-analysis. J Thromb Haemost 2008; 6: 444-450 [PMID: 18194417 DOI: 10.1111/j.1538-7836.2008.02897.x]

105	Crescente M, Di Castelnuovo A, Iacoviello L, Vermylen J, Cerletti C, de Gaetano G. Response variability to aspirin as assessed by the platelet function analyzer (PFA)-100. A systematic review. Thromb Haemost 2008; 99: 14-26 [PMID: 18217130 DOI: 10.1160/TH07-08-0530]

106	Koscielny J, von Tempelhoff GF, Ziemer S, Radtke H, Schmutzler M, Sinha P, Salama A, Kiesewetter H, Latza R. A practical concept for preoperative management of patients with impaired primary hemostasis. Clin Appl Thromb Hemost 2004; 10: 155-166 [PMID: 15094936 DOI: 10.1177/107602960401000206]

107	Rechner AR. Platelet function testing in clinical diagnostics. Hamostaseologie 2011; 31: 79-87 [PMID: 21152677 DOI: 10.5482/ha-1133]

108	Raman S, Silverman NA. Clinical utility of the platelet function analyzer (PFA-100) in cardiothoracic procedures involving extracorporeal circulation. J Thorac Cardiovasc Surg 2001; 122: 190-191 [PMID: 11436059 DOI: 10.1067/mtc.2001.114344]

109	Cammerer U, Dietrich W, Rampf T, Braun SL, Richter JA. The predictive value of modified computerized thromboelastography and platelet function analysis for postoperative blood loss in routine cardiac surgery. Anesth Analg 2003; 96: 51-57, table of contents [PMID: 12505922 DOI: 10.1213/00000539-200301000-00011]

110	Sucker C, Litmathe J, Feindt P, Zotz R. Platelet function analyzer (PFA-100) as a useful tool for the prediction of transfusion requirements during aortic valve replacement. Thorac Cardiovasc Surg 2011; 59: 233-236 [PMID: 21412708 DOI: 10.1055/s-0030-1250375]

111	Steinlechner B, Zeidler P, Base E, Birkenberg B, Ankersmit HJ, Spannagl M, Quehenberger P, Hiesmayr M, Jilma B. Patients with severe aortic valve stenosis and impaired platelet function benefit from preoperative desmopressin infusion. Ann Thorac Surg 2011; 91: 1420-1426 [PMID: 21439546 DOI: 10.1016/j.athoracsur.2011.01.052]

112	Fries D, Innerhofer P, Streif W, Schobersberger W, Margreiter J, Antretter H, Hörmann C. Coagulation monitoring and management of anticoagulation during cardiac assist device support. Ann Thorac Surg 2003; 76: 1593-1597 [PMID: 14602292 DOI: 10.1016/S0003-4975(03)01034-8]

113	Chauleur C, Cochery-Nouvellon E, Mercier E, Aya G, Fabbro-Peray P, Mismetti P, Lissade-Lavigne G, Gris JC. Some hemostasis variables at the end of the population distributions are risk factors for severe postpartum hemorrhages. J Thromb Haemost 2008; 6: 2067-2074 [PMID: 18826390 DOI: 10.1111/j.1538-7836.2008.03168.x]

114	Philipp CS, Miller CH, Faiz A, Dilley A, Michaels LA, Ayers C, Bachmann G, Dowling N, Saidi P. Screening women with menorrhagia for underlying bleeding disorders: the utility of the platelet function analyser and bleeding time. Haemophilia 2005; 11: 497-503 [PMID: 16128894 DOI: 10.1111/j.1365-2516.2005.01129.x]

115	Smith JW, Steinhubl SR, Lincoff AM, Coleman JC, Lee TT, Hillman RS, Coller BS. Rapid platelet-function assay: an automated and quantitative cartridge-based method. Circulation 1999; 99: 620-625 [PMID: 9950658 DOI: 10.1161/01.CIR.99.5.620]

116	Tantry US, Bonello L, Aradi D, Price MJ, Jeong YH, Angiolillo DJ, Stone GW, Curzen N, Geisler T, Ten Berg J, Kirtane A, Siller-Matula J, Mahla E, Becker RC, Bhatt DL, Waksman R, Rao SV, Alexopoulos D, Marcucci R, Reny JL, Trenk D, Sibbing D, Gurbel PA. Consensus and update on the definition of on-treatment platelet reactivity to adenosine diphosphate associated with ischemia and bleeding. J Am Coll Cardiol 2013; 62: 2261-2273 [PMID: 24076493 DOI: 10.1016/j.jacc.2013.07.101]

117	Malinin A, Spergling M, Muhlestein B, Steinhubl S, Serebruany V. Assessing aspirin responsiveness in subjects with multiple risk factors for vascular disease with a rapid platelet function analyzer. Blood Coagul Fibrinolysis 2004; 15: 295-301 [PMID: 15166914 DOI: 10.1097/00001721-200406000-00002]

118	Dichiara J, Bliden KP, Tantry US, Chaganti SK, Kreutz RP, Gesheff TB, Kreutz Y, Gurbel PA. Platelet function measured by VerifyNow identifies generalized high platelet reactivity in aspirin treated patients. Platelets 2007; 18: 414-423 [PMID: 17763150 DOI: 10.1080/09537100701206824]

119	Marcucci R, Gori AM, Paniccia R, Giusti B, Valente S, Giglioli C, Buonamici P, Antoniucci D, Abbate R, Gensini GF. Cardiovascular death and nonfatal myocardial infarction in acute coronary syndrome patients receiving coronary stenting are predicted by residual platelet reactivity to ADP detected by a point-of-care assay: a 12-month follow-up. Circulation 2009; 119: 237-242 [PMID: 19118249 DOI: 10.1161/CIRCULATIONAHA.108.812636]

120	Price MJ, Endemann S, Gollapudi RR, Valencia R, Stinis CT, Levisay JP, Ernst A, Sawhney NS, Schatz RA, Teirstein PS. Prognostic significance of post-clopidogrel platelet reactivity assessed by a point-of-care assay on thrombotic events after drug-eluting stent implantation. Eur Heart J 2008; 29: 992-1000 [PMID: 18263931 DOI: 10.1093/eurheartj/ehn046]

121	Angiolillo DJ, Curzen N, Gurbel P, Vaitkus P, Lipkin F, Li W, Jakubowski JA, Zettler M, Effron MB, Trenk D. Pharmacodynamic Evaluation of Switching From Ticagrelor to Prasugrel in Patients With Stable Coronary Artery Disease: Results of the SWAP-2 Study (Switching Anti Platelet-2). J Am Coll Cardiol 2014; 63: 1500-1509 [PMID: 24333493 DOI: 10.1016/j.jacc.2013.11.032]

122	Jeong YH, Bliden KP, Antonino MJ, Park KS, Tantry US, Gurbel PA. Usefulness of the VerifyNow P2Y12 assay to evaluate the antiplatelet effects of ticagrelor and clopidogrel therapies. Am Heart J 2012; 164: 35-42 [PMID: 22795280 DOI: 10.1016/j.ahj.2012.03.022]

123	Yu PJ, Cassiere HA, Dellis SL, Manetta F, Stein J, Hartman AR. P2Y12 Platelet Function Assay for Assessment of Bleeding Risk in Coronary Artery Bypass Grafting. J Card Surg 2014; In press [PMID: 24588751 DOI: 10.1111/jocs.12312]

124	Campbell J, Ridgway H, Carville D. Plateletworks: a novel point of care platelet function screen. Mol Diagn Ther 2008; 12: 253-258 [PMID: 18652521 DOI: 10.1007/BF03256290]

125	Lennon MJ, Gibbs NM, Weightman WM, McGuire D, Michalopoulos N. A comparison of Plateletworks and platelet aggregometry for the assessment of aspirin-related platelet dysfunction in cardiac surgical patients. J Cardiothorac Vasc Anesth 2004; 18: 136-140 [PMID: 15073699 DOI: 10.1053/j.jvca.2004.01.015]

126	Craft RM, Chavez JJ, Snider CC, Muenchen RA, Carroll RC. Comparison of modified Thrombelastograph and Plateletworks whole blood assays to optical platelet aggregation for monitoring reversal of clopidogrel inhibition in elective surgery patients. J Lab Clin Med 2005; 145: 309-315 [PMID: 15976759 DOI: 10.1016/j.lab.2005.03.010]

127	White MM, Krishnan R, Kueter TJ, Jacoski MV, Jennings LK. The use of the point of care Helena ICHOR/Plateletworks and the Accumetrics Ultegra RPFA for assessment of platelet function with GPIIB-IIIa antagonists. J Thromb Thrombolysis 2004; 18: 163-169 [PMID: 15815877 DOI: 10.1007/s11239-005-0341-x]

128	Varon D, Dardik R, Shenkman B, Kotev-Emeth S, Farzame N, Tamarin I, Savion N. A new method for quantitative analysis of whole blood platelet interaction with extracellular matrix under flow conditions. Thromb Res 1997; 85: 283-294 [PMID: 9062952 DOI: 10.1016/S0049-3848(97)00014-5]

129	Anand SX, Kim MC, Kamran M, Sharma SK, Kini AS, Fareed J, Hoppensteadt DA, Carbon F, Cavusoglu E, Varon D, Viles-Gonzalez JF, Badimon JJ, Marmur JD. Comparison of platelet function and morphology in patients undergoing percutaneous coronary intervention receiving bivalirudin versus unfractionated heparin versus clopidogrel pretreatment and bivalirudin. Am J Cardiol 2007; 100: 417-424 [PMID: 17659921 DOI: 10.1016/j.amjcard.2007.02.106]

130	Shenkman B, Matetzky S, Fefer P, Hod H, Einav Y, Lubetsky A, Varon D, Savion N. Variable responsiveness to clopidogrel and aspirin among patients with acute coronary syndrome as assessed by platelet function tests. Thromb Res 2008; 122: 336-345 [PMID: 18155752 DOI: 10.1016/j.thromres.2007.10.018]

131	Luddington RJ. Thrombelastography/thromboelastometry. Clin Lab Haematol 2005; 27: 81-90 [PMID: 15784122 DOI: 10.1111/j.1365-2257.2005.00681.x]

132	Ganter MT, Hofer CK. Coagulation monitoring: current techniques and clinical use of viscoelastic point-of-care coagulation devices. Anesth Analg 2008; 106: 1366-1375 [PMID: 18420846 DOI: 10.1213/ane.0b013e318168b367]

133	Wikkelsoe AJ, Afshari A, Wetterslev J, Brok J, Moeller AM. Monitoring patients at risk of massive transfusion with Thrombelastography or Thromboelastometry: a systematic review. Acta Anaesthesiol Scand 2011; 55: 1174-1189 [PMID: 22092122 DOI: 10.1111/j.1399-6576.2011.02534.x]

134	Görlinger K, Dirkmann D, Solomon C, Hanke AA. Fast interpretation of thromboelastometry in non-cardiac surgery: reliability in patients with hypo-, normo-, and hypercoagulability. Br J Anaesth 2013; 110: 222-230 [PMID: 23112213 DOI: 10.1093/bja/aes374]

135	Welsby IJ, Jiao K, Ortel TL, Brudney CS, Roche AM, Bennett-Guerrero E, Gan TJ. The kaolin-activated Thrombelastograph predicts bleeding after cardiac surgery. J Cardiothorac Vasc Anesth 2006; 20: 531-535 [PMID: 16884984 DOI: 10.1053/j.jvca.2005.04.013]

136	Bolliger D, Tanaka KA. Roles of thrombelastography and thromboelastometry for patient blood management in cardiac surgery. Transfus Med Rev 2013; 27: 213-220 [PMID: 24075802 DOI: 10.1016/j.tmrv.2013.08.004]

137	Dirkmann D, Görlinger K, Dusse F, Kottenberg E, Peters J. Early thromboelastometric variables reliably predict maximum clot firmness in patients undergoing cardiac surgery: a step towards earlier decision making. Acta Anaesthesiol Scand 2013; 57: 594-603 [PMID: 23240733 DOI: 10.1111/aas.12040]

138	Lee GC, Kicza AM, Liu KY, Nyman CB, Kaufman RM, Body SC. Does rotational thromboelastometry (ROTEM) improve prediction of bleeding after cardiac surgery? Anesth Analg 2012; 115: 499-506 [PMID: 22713683 DOI: 10.1213/ANE.0b013e31825e7c39]

139	Johansson PI, Sølbeck S, Genet G, Stensballe J, Ostrowski SR. Coagulopathy and hemostatic monitoring in cardiac surgery: an update. Scand Cardiovasc J 2012; 46: 194-202 [PMID: 22375889 DOI: 10.3109/14017431.2012.671487]

140	Johansson PI, Oliveri RS, Ostrowski SR. Hemostatic resuscitation with plasma and platelets in trauma. J Emerg Trauma Shock 2012; 5: 120-125 [PMID: 22787340 DOI: 10.4103/0974-2700.96479]

141	Tanaka KA, Bolliger D, Vadlamudi R, Nimmo A. Rotational thromboelastometry (ROTEM)-based coagulation management in cardiac surgery and major trauma. J Cardiothorac Vasc Anesth 2012; 26: 1083-1093 [PMID: 22863406 DOI: 10.1053/j.jvca.2012.06.015]

142	Song JG, Jeong SM, Jun IG, Lee HM, Hwang GS. Five-minute parameter of thromboelastometry is sufficient to detect thrombocytopenia and hypofibrinogenaemia in patients undergoing liver transplantation. Br J Anaesth 2014; 112: 290-297 [PMID: 24065728 DOI: 10.1093/bja/aet325]

143	Rugeri L, Levrat A, David JS, Delecroix E, Floccard B, Gros A, Allaouchiche B, Negrier C. Diagnosis of early coagulation abnormalities in trauma patients by rotation thrombelastography. J Thromb Haemost 2007; 5: 289-295 [PMID: 17109736 DOI: 10.1111/j.1538-7836.2007.02319.x]

144	Anderson L, Quasim I, Soutar R, Steven M, Macfie A, Korte W. An audit of red cell and blood product use after the institution of thromboelastometry in a cardiac intensive care unit. Transfus Med 2006; 16: 31-39 [PMID: 16480437 DOI: 10.1111/j.1365-3148.2006.00645.x]

145	Spalding GJ, Hartrumpf M, Sierig T, Oesberg N, Kirschke CG, Albes JM. Cost reduction of perioperative coagulation management in cardiac surgery: value of „bedside“ thrombelastography (ROTEM). Eur J Cardiothorac Surg 2007; 31: 1052-1057 [PMID: 17398108 DOI: 10.1016/j.ejcts.2007.02.022]

146	Tantry US, Bliden KP, Gurbel PA. Overestimation of platelet aspirin resistance detection by thrombelastograph platelet mapping and validation by conventional aggregometry using arachidonic acid stimulation. J Am Coll Cardiol 2005; 46: 1705-1709 [PMID: 16256872 DOI: 10.1016/j.jacc.2005.05.090]

147	Hobson AR, Agarwala RA, Swallow RA, Dawkins KD, Curzen NP. Thrombelastography: current clinical applications and its potential role in interventional cardiology. Platelets 2006; 17: 509-518 [PMID: 17127479 DOI: 10.1080/09537100600935259]

148	Agarwal S, Coakley M, Reddy K, Riddell A, Mallett S. Quantifying the effect of antiplatelet therapy: a comparison of the platelet function analyzer (PFA-100) and modified thromboelastography (mTEG) with light transmission platelet aggregometry. Anesthesiology 2006; 105: 676-683 [PMID: 17006064 DOI: 10.1097/00000542-200610000-00011]

149	Cattano D, Altamirano AV, Kaynak HE, Seitan C, Paniccia R, Chen Z, Huang H, Prisco D, Hagberg CA, Pivalizza EG. Perioperative assessment of platelet function by Thromboelastograph Platelet Mapping in cardiovascular patients undergoing non-cardiac surgery. J Thromb Thrombolysis 2013; 35: 23-30 [PMID: 22851059 DOI: 10.1007/s11239-012-0788-5]

150	E Kehrel B, F Brodde M. State of the art in platelet function testing. Transfus Med Hemother 2013; 40: 73-86 [PMID: 23653569 DOI: 10.1159/000350469]

151	Stevens JM. Platelet adhesion assays performed under static conditions. Methods Mol Biol 2004; 272: 145-151 [PMID: 15226542]

152	Roest M, Reininger A, Zwaginga JJ, King MR, Heemskerk JW; Biorheology Subcommittee of the SSC of the ISTH. Flow chamber-based assays to measure thrombus formation in vitro: requirements for standardization. J Thromb Haemost 2011; 9: 2322-2324 [PMID: 22947397 DOI: 10.1111/j.1538-7836.2011.04492.x]

153	Van Kruchten R, Cosemans JM, Heemskerk JW. Measurement of whole blood thrombus formation using parallel-plate flow chambers - a practical guide. Platelets 2012; 23: 229-242 [PMID: 22502645]

154	Aslan JE, Itakura A, Gertz JM, McCarty OJ. Platelet shape change and spreading. Methods Mol Biol 2012; 788: 91-100 [PMID: 22130702 DOI: 10.1007/978-1-61779-307-3_7]

155	Kirchmaier CM, Pillitteri D. Diagnosis and Management of Inherited Platelet Disorders. Transfus Med Hemother 2010; 37: 237-246 [PMID: 21113246 DOI: 10.1159/000320257]

156	Ge S, Woo E, White JG, Haynes CL. Electrochemical measurement of endogenous serotonin release from human blood platelets. Anal Chem 2011; 83: 2598-2604 [PMID: 21384903 DOI: 10.1021/ac102929y]

157	Stellos K, Gawaz M.  Platelet interaction with progenitor cells: Potential implications for regenerative medicine. Thromb Haemost 2007; 98: 922-929 [PMID: 18000594 DOI: 10.1160/TH07-02-0147]

158	Langer H, May AE, Daub K, Heinzmann U, Lang P, Schumm M, Vestweber D, Massberg S, Schönberger T, Pfisterer I, Hatzopoulos AK, Gawaz M. Adherent platelets recruit and induce differentiation of murine embryonic endothelial progenitor cells to mature endothelial cells in vitro. Circ Res 2006; 98: e2-10 [PMID: 16373597 DOI: 10.1161/01.RES.0000201285.87524.9e]

159	Lev EI, Estrov Z, Aboulfatova K, Harris D, Granada JF, Alviar C, Kleiman NS, Dong JF. Potential role of activated platelets in homing of human endothelial progenitor cells to subendothelial matrix. Thromb Haemost 2006; 96: 498-504 [PMID: 17003929 DOI: 10.1160/TH06-05-0250]

160	Schächinger V, Erbs S, Elsässer A, Haberbosch W, Hambrecht R, Hölschermann H, Yu J, Corti R, Mathey DG, Hamm CW, Süselbeck T, Werner N, Haase J, Neuzner J, Germing A, Mark B, Assmus B, Tonn T, Dimmeler S, Zeiher AM. Improved clinical outcome after intracoronary administration of bone-marrow-derived progenitor cells in acute myocardial infarction: final 1-year results of the REPAIR-AMI trial. Eur Heart J 2006; 27: 2775-2783 [PMID: 17098754 DOI: 10.1093/eurheartj/ehl388]

161	Chatterjee M, Gawaz M. Platelet-derived CXCL12 (SDF-1α): basic mechanisms and clinical implications. J Thromb Haemost 2013; 11: 1954-1967 [PMID: 24024928 DOI: 10.1111/jth.12404]

162	Gleissner CA, von Hundelshausen P, Ley K. Platelet chemokines in vascular disease. Arterioscler Thromb Vasc Biol 2008; 28: 1920-1927 [PMID: 18723831 DOI: 10.1161/ATVBAHA.108.169417]

163	Gear AR, Suttitanamongkol S, Viisoreanu D, Polanowska-Grabowska RK, Raha S, Camerini D. Adenosine diphosphate strongly potentiates the ability of the chemokines MDC, TARC, and SDF-1 to stimulate platelet function. Blood 2001; 97: 937-945 [PMID: 11159520 DOI: 10.1182/blood.V97.4.937]

P- Reviewer:  Borrione P, Cid J, Stellos KS    Editor: Song XX    L- Editor: A    E- Editor: Lu YJ

# Text boxes

Table 1  Laboratory and point-of-care assays for evaluation of platelet function

| Platelet function tests | Principle of method | Application of the methods |
| --- | --- | --- |
| Platelet adhesion studies |  |  |
| Bleeding time | In vivo stopping of blood flow | Screening test of platelet function on defects of primary hemostasis |
| Platelet Function Analyzer - PFA-100/InnovancePFA-200 | In vitro stopping of high shear blood flow by platelet plug in whole blood | Assessment of bleeding risk, thrombotic risk, drug effects Sensitive to severe platelet dysfunctions Detection of VWD |
| Impact Cone and Plate(let) analyzer | Shear-induced platelet adhesion/aggregation onto surface in whole blood | Screening of congenital primary hemostasis abnormalities Evaluation of platelet response to aspirin and clopidogrel (scarce data). |
| Platelet-To-Platelet Aggregation Studies |  |  |
| Light transmission platelet aggregation | Low shear platelet-to-platelet aggregation in response to agonists in platelet-rich-plasma | Screening test for bleeding behavior Diagnostic for platelet surface glycoprotein defects Monitoring of the platelet response to antiplatelet agents |
| Impedance platelet aggregation | Low shear platelet-to-platelet aggregation in response to agonists in whole blood | Screening test for bleeding behavior Diagnostic for platelet surface glycoprotein defects Monitoring of the platelet response to antiplatelet agents |
| VerifyNow system | Fibrinogen-platelet agglutination in response to agonist in whole blood | Monitoring of the platelet response to antiplatelet agents |
| Plateletworks | Platelet counting pre- and post-activation in whole blood | Monitoring of the platelet response to antiplatelet agents |
| Analysis of Clot Formation |  |  |
| Thromboelastography/ Thromboelastometry | Monitoring of rate and quality of clot formation in whole blood based on viscoelastic blood changes | Assessment of global haemostasis Possible definition of different platelet and clotting abnormalities Diagnosis and treatment of bleeding after cardiac surgery, liver transplantation, trauma and PPH |
| Platelet function tests to investigate platelet activation |  |  |
| Flow cytometry | Cell counting, cell sorting, biomarker detection and protein engineering laser-based detection of suspending fluorescent label platelets in a stream of fluid | Expression of platelet specific surface and/or cytoplasmatic markers; VASP phosphorylation state1 (Monitoring of CD41/61, CD42, CD62P, etc. Activation markers directly dependent on thienopyridine target) |
| Radio- or Enzyme Linked-Immune Assays: Soluble markers determination1 | Ligand binding assays | Measurement of Beta-thromboglobulin, PF4, GPV, Soluble P-Selectin, Thromboxanes |

1Not planned in this report. GP: Glycoprotein; PPH: Post-partum hemorrhage; VASP: Vasodilator-stimulated phosphoprotein; VWD: Von Willebrand Disease.

Table 2  Advantages and disadvantages of different platelet function methodologies

| Platelet tests | Advantages | Disadvantages |
| --- | --- | --- |
| Bleeding time | Physiological In vivo test Easy, quick No WB processing | Operator dependent Invasive Poorly standardized Dependent on different variables (skin thickness, t°C) |
| Light transmission platelet aggregation in PRP | Historical gold standard Flexible Diagnostic method Different agonists available Sensitive for anti-plt therapy | Pre- and analytic variables Time-consuming High sample volume Sample preparation |
| WB Impedance Platelet Aggregometry | No sample preparation Flexible Diagnostic method Different agonists available Sensitive for anti-plt therapy Close to POCT (Multiple system) | Limited HCT and platelet count range |
| Flow Cytometry | Small blood volumes Diagnosis ex vivo of platelet activation Evaluation of efficacy of thienopyridyne therapy | Expensive Specialized equipment Experienced operator Careful sample processing Probable, possible artifacts |
| Platelet Function Analyzer -PFA-100 /Innovance PFA-200 | In vitro standardized BT POCT Easy, quick Sensitive to severe platelet dysfunctions | Nonflexible Platelet count- HCT-dependent Not sensitivity for platelet secretion defects. |
| VerifyNow system | POCT WB assay Easy, quick No WB processing | Expensive Nonflexible Monitoring antiplatelet therapy only Limited HCT and platelet count |
| Impact Cone and Plate(let) analyzer | WB assay Global platelet function Small sample volume | Expensive Experienced staff Lacking of clinical studies Not widely available |
| Plateletworks | POC WB system Minimal sample preparation Easy, rapid screening test | Indirect assay Required platelet count method Not so well studied |
| Viscoelastic methods | POCT Global hemostasis test Anticoagulation monitoring Predicts bleeding Reduces blood transfusions Improve clinical outcome | Measure clot properties Depend on: platelet function, coagulation and fibrinolysis factors More studies are needed |

HCT: Hematocrit; plt: Platelet; POCT: Point-of-Care Testing; PRP: Platelet-rich-plasma; WB: Whole blood.

Table 3  Major platelet function tests: Clinical value

| Platelet tests | Clinical value | Ref. |
| --- | --- | --- |
| Light transmission platelet aggregation | Assessment of: (1) idiopathic bleeding behavior (primary hemostasis defective); (2) residual platelet reactivity of patients on antiplatelet treatment to stratify risk of ischemic events; (3) detection of VWD (RIPA test); (4) diagnostic for platelet surface glycoprotein defects. | Moffat et al[34] Hayward et al[41] Gadisseur et al[43] Breet et al[44] Buonamici et al[45] Paniccia et al[51,65] Gum et al[63] Rechner[107] |
| Whole blood platelet aggregation | Assessment of: (1) idiopathic bleeding behavior (primary hemostasis defective); (2) residual platelet reactivity of patients on antiplatelet treatment to stratify risk of ischemic events; (3) acquired bleeding risk: antiplatelet therapy, surgical coagulopathy; (4) detection of VWD (RIPA test); (5) diagnostic for HIT. | Paniccia et al[72] Paniccia et al[73] Sibbing et al[74] Sibbing et al[75] Würtz et al[77] Bolliger et al[78] Morel-Kopp et al[79] Ranucci et al[81] Görlinger et al[84] |
| PFA-100 Innovance PFA-200 | Assessment of: (1) idiopathic bleeding behavior (primary hemostasis defective); (2) detection of VWD; (3) acquired bleeding risk: anti-plt therapy, surgical coagulopathy; (4) thrombotic risk also in relation to potential failure of anti-plt therapy; (5) platelet function in pregnancy, kidney or liver disease. | Hayward et al[25] Favaloro[94] Koessler et al[92] Marcucci et al[103] Reny et al[104] Crescente et al[105] Raman et al[108] Cammerer et al[109] Chauleur et al[113] |
| VerifyNow system | Assessment of: (1) residual platelet reactivity of patients on antiplatelet treatment to stratify risk of ischemic events; (2) low platelet reactivity of patients on antiplatelet treatment to stratify risk of bleeding events (scarce clinical data). | Breet et al[44] Paniccia et al[51,65] Tantry et al[116] Marcucci et al[119] Price et al[120] Angiolillo et al[121] |

HIT: Heparin-Induced Thrombocytopenia; plt: Platelet; RIPA: Ristocetin-Induced Platelet Aggregation; VWD: Von Willebrand Disease.