| Contribution of cardiovascular magnetic resonance in the evaluation of coronary arteries Sophie Mavrogeni, George Markousis-Mavrogenis, Genovefa Kolovou |
| --- |
| CITATION | Mavrogeni S, Markousis-Mavrogenis G, Kolovou G. Contribution of cardiovascular magnetic resonance in the evaluation of coronary arteries. World J Cardiol 2014; 6(10): 1060-1066 |
| URL | http://www.wjgnet.com/1949-8462/full/v6/i10/1060.htm |
| DOI | http://dx.doi.org/10.4330/wjc.v6.i10.1060 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | Cardiovascular magnetic resonance (CMR) allows the non-radiating assessment of coronary arteries. At the moment it is indicated only to detection of abnormal coronary artery origin, ectasia and/or aneurysms (class Ⅰ indication) and coronary artery bypass grafts (class Ⅱ indication). The utilisation of coronary MRA (CMRA) for coronary artery disease diagnosis is not at the moment part of clinical routine. However, due to lack of radiation is particularly useful for children and women. A combined CMR protocol, including CMRA and stress perfusion-fibrosis evaluation may offer a non-invasive assessment of cardiovascular profile in high risk patients. |
| KEY WORDS | Coronary angiography; Coronary venous system; Gadolinium; Magnetic resonance imaging |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Cardiology |
| ISSN | 1949-8462 ( online) |
| PUBLISHER | Baishideng Publishing Group Co., Limited, Flat C, 23/F., Lucky Plaza, 315-321 Lockhart Road, Wan Chai, Hong Kong, China |
| WEBSITE | http://www.wjgnet.com |

ESPS Manuscript NO: 9650

Columns: TOPIC HIGHLIGHT

Contribution of cardiovascular magnetic resonance in the evaluation of coronary arteries

Sophie Mavrogeni, George Markousis-Mavrogenis, Genovefa Kolovou

Sophie Mavrogeni, George Markousis-Mavrogenis, Genovefa Kolovou, Onassis Cardiac Surgery Center, 17561 Athens, Greece

Author contributions: All the authors both contributed to this paper.

Correspondence to: Sophie Mavrogeni, MD, FESC, Onassis Cardiac Surgery Center, 50 Esperou Street, 17561 Athens, Greece. soma13@otenet.gr

Telephone: +30-210-9882797  Fax: +30-210-9882797

Received: February 22, 2014    Revised: August 11, 2014    Accepted: September 4, 2014

Published online: October 26, 2014

Abstract

Cardiovascular magnetic resonance (CMR) allows the nonradiating assessment of coronary arteries; to achieve better image quality cardiorespiratory artefacts should be corrected. Coronary MRA (CMRA) at the moment is indicated only for the detection of abnormal coronary origin, coronary artery ectasia and/or aneurysms (class Ⅰ indication) and coronary bypass grafts (class Ⅱ indication). CMRA utilisation for coronary artery disease is not yet part of clinical routine. However, the lack of radiation is of special value for the coronary artery evaluation in children and women. CMRA can assess the proximal part of coronary arteries in almost all cases. The best results have been observed in the evaluation of the left anterior descending and the right coronary artery, while the left circumflex, which is located far away from the coil elements, is frequently imaged with reduced quality, compared to the other two. Different studies detected an increase in wall thickness of the coronaries in patients with type Ⅰ diabetes and abnormal renal function. Additionally, the non-contrast enhanced T1-weighed images detected the presence of thrombus in acute myocardial infarction. New techniques using delayed gadolinium enhanced imaging promise the direct visualization of inflamed plaques in the coronary arteries. The major advantage of CMR is the potential of an integrated protocol offering assessment of coronary artery anatomy, cardiac function, inflammation and stress perfusion-fibrosis in the same study, providing an individualized clinical profile of patients with heart disease.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Coronary angiography; Coronary venous system; Gadolinium; Magnetic resonance imaging

Core tip: Cardiovascular magnetic resonance (CMR) allows the non-radiating assessment of coronary arteries. At the moment it is indicated only to detection of abnormal coronary artery origin, ectasia and/or aneurysms (class Ⅰ indication) and coronary artery bypass grafts (class Ⅱ indication). The utilisation of coronary MRA (CMRA) for coronary artery disease diagnosis is not at the moment part of clinical routine. However, due to lack of radiation is particularly useful for children and women. A combined CMR protocol, including CMRA and stress perfusion-fibrosis evaluation may offer a non-invasive assessment of cardiovascular profile in high risk patients.

Mavrogeni S, Markousis-Mavrogenis G, Kolovou G. Contribution of cardiovascular magnetic resonance in the evaluation of coronary arteries. World J Cardiol 2014; 6(10): 1060-1066  Available from: URL: http://www.wjgnet.com/1949-8462/full/v6/i10/1060.htm  DOI: http://dx.doi.org/10.4330/wjc.v6.i10.1060

INTRODUCTION

Coronary artery disease (CAD) with its sequelae including myocardial infarction and heart failure, is the main cause of increased mortality in our days[1,2]. The usual way for CAD assessment is the use of invasive coronary angiography; however, the high incidence of CAD and the queries of invasive assessment necessitate the use of a noninvasive evaluation of coronaries[3,4].

Cardiovascular magnetic resonance (CMR) can provide a combined approach including coronary arteries, cardiac function and stress myocardial perfusion-fibrosis evaluation. Coronary magnetic resonance angiography (CMRA) has been already used for assessment of coronary anatomy and vessels’ wall, providing useful information in CAD[5-7].

In this review we provide an update of clinical applications of CMRA, discussing the current limitations and the challenges for future applications.

INDICATIONS FOR CMRA

The clinical indications of CMRA are at the moment limited only to the detection of abnormal origin of coronary arteries, coronary ectasia and/or aneurysms (class Ⅰ indication) and coronary bypass grafts (CABG) evaluation (class Ⅱ indication). The routine application of CMRA for diagnosis of CAD is not at the moment part of clinical practice[8,9].

CORONARY VESSELS ABNORMALITIES AND ANEURYSMS (CLASS I INDICATION)

CMRA assesses precisely the abnormal coronary arteries and the location and dimensions of coronary aneurysms. The larger caliber and the proximal location of the coronary artery aneurysms (CAA) facilitate their imaging. The most important benefit of CMRA is the absence of ionizing radiation, which is of special clinical value for children and women[8,10]. Clinical entities, characterized by ectatic or aneurysmatic coronaries, include Kawasaki disease, autoimmune vasculitis and coronary artery ectasia[11,12].

KAWASAKI DISEASE AND OTHER AUTOIMMUNE VASCULITIS

In Kawasaki disease, CMR can diagnose lesions both in acute and chronic phase. During the acute phase, a complete evaluation of the coronary anatomy, left and right ventricular function, myocardial inflammation and myocardial fibrosis either due to inflammatory process or due to myocardial infarction is essential.

The presence of CAA needs serial evaluation for patients’ risk stratification. Although transthoracic echocardiography is usually sufficient in young children, the visualization of the coronary arteries becomes progressively more difficult as children grow up. According to previous publications, coronary magnetic resonance, using navigator techniques, has an excellent correlation with X-ray coronary angiography using both Pearson coefficient and Bland-Altman analysis and can be used as a reliable alternative for KD patients[13,14]. Recently, the application of free-breathing techniques in children with KD using the whole-heart approach detected successfully not only the abnormalities of coronary lumen, but also the abnormally thickened vessel wall and improved risk stratification and monitoring of therapy[15]. In parallel with coronary assessment, during the same examination, an evaluation of function and wall motion of both ventricles can be also performed using the standard SSFP sequence[16]. However, only anatomic evaluation is not sufficient to successfully risk stratify KD patients. Previous studies in patients with atherosclerotic coronary artery disease proved that maybe a severe anatomic lesion could not provoke severe myocardial ischemia and in contrary, a marginal coronary lesion can induce significant myocardial ischemia[17]. Magnetic resonance (MR) first-pass myocardial perfusion imaging during hyperaemia, due to the vasodilating agent adenosine, demonstrates a high diagnostic performance of MR perfusion imaging for the detection of anatomically defined coronary artery stenoses[18].

Other autoimmune vasculitis that can potentially develop coronary aneurysms include polyarteritis nodosa, microscopic polyangiitis and Wegener granulomatosis[19]. In these diseases the application of coronary MRA with simultaneous assessment of myocardial oedema-fibrosis may reveal disease activity and pathophysiology of heart lesion noninvasively and without radiation[20].

CORONARY ARTERY ECTASIA

Coronary artery ectasia (CAE) represents a form of atherosclerosis, detected in 3%-8% of subjects during X-ray coronary angiography. Sluggish blood flow is produced within the ectatic segments, leading to chest pain in effort and myocardial infarction, independently of the significance of coexisting stenosis. CAE is the dilatation of an artery 1.5 times greater than the normal coronary artery and is assessed in 5% of angiographic and in 0.22%-1.4% of autopsy cases[21-24]. It may involve the entire vessel or be localized in a specific part of the vessel. If it involves the entire vessel, it is called “ectasia”. It is due to atherosclerosis in > 50% of cases. Ectasia coexists with coronary artery disease in the majority of patients. Only 10%-20% of CAE coexist with systemic diseases[25,26], such as scleroderma[27,28], Ehlers-Danlos syndrome[29], different types of antineutrophil cytoplasmic antibody (ANCA)-related vasculitis[19] (Figure 1A), syphilitic aortitis[30] and Kawasaki disease[14] (Figure 1B). In some patients, CAE has a congenital origin[31]. The differentiation between congenital and acquired coronary aneurysms is rather difficult. Acquired CAE should also be differentiated from aneurysms due to different coronary procedures.

The correct follow up of ectatic vessels demands repeated angiograms and CMRA offers an excellent alternative for the evaluation of the initial part of left main, left anterior descending and right coronary arteries[32]. CMRA has been already proved a valuable clinical tool for diagnosis of abnormal coronary origin, and is in some cases superior to X-ray coronary angiography; however, it is still under investigation for the assessment of the CAD[32]. Our group proved that CMRA is equal to quantitative coronary angiography for evaluation of ecstatic/aneurysmatic disease. Furthermore, it is a non-invasive, nonradiating technique[4]. Compared with CT, CMRA does not need use of a contrast agent. CMRA can also give additional data about, vessels’ blood flow and stress perfusion-fibrosis pattern[33].

CORONARY BYPASS-GRAFTS (CLASS II INDICATION)

Bypass grafts can be assessed very well by coronary MRA, because they are relatively immobile and have larger diameter compared to coronary arteries. Different imaging ways have been already used, including spin echo[34-37] and gradient echo techniques. The application of contrast agents for better imaging of the blood signal[38,39]. increased the sensitivity to 95%.

However, metallic clips in grafts constitute the commonest limitation of coronary bypass MRA. Coronary MRA can be used at some special centers to detect lesions in bypass grafts[8].

CORONARY MAGNETIC RESONANCE ANGIOGRAPHY FOR ASSESSMENT OF CAD

Coronary MRA assesses the initial part of the coronary arteries in almost 100% of patients, with excellent results acquired for the left anterior descending (LAD) and the right coronary artery (RCA); the left circumflex (LCX), due to its peculiar way, is at a increased distance from the cardiac coil, and therefore its visualization is of inferior quality. According top revious studies, the imaged length for LAD is 50 mm, for RCA is 80 mm and for LCX is 40 mm[40-47]. An excellent agreement between the proximal parts of coronary arteries measured by MRA and by invasive angiography was assessed by previous studies[48].

Unfortunately, the resolution of CMRA remains lower compared with invasive coronary angiography and does not allow the evaluation of stenosis in small coronary arteries. This is the reason of the low specificity documented in a recent international multicenter study[4]; however, CMRA was shown to have a high sensitivity (92%) for the detection of CAD and its diagnostic performance was ameliorated. In a subanalysis of left main or three vessel disease, a sensitivity of 100% and a negative predictive value of 100% was documented. These findings were also supported by smaller single-center studies[40,49-57].

Recently, a meta-analysis compared coronary MRA and multi-slice computed tomography (CT) for assessment of significant CAD[34]. CT was more accurate than MRA and therefore CT was suggested as the preferred non-invasive alternative to X-ray coronary angiography. However, the superiority of CMRA is that it can offer more data about the patient, including cardiac anatomy, function, inflammation, stress perfusion and fibrosis evaluation.

Recently, a multicenter study showed that whole-heart CMRA at 1.5 T can detect significant CAD with high sensitivity (88%) and moderate specificity (72%). Additionally, a negative predictive value (NPV) of 88% indicates that this technique can effectively be used to exclude the presence of significant CAD[58]. We should mention that this NPV reported by this trial is identical to the NPV of the CORE-64 CTA multicenter study[59]. Proving the value of CMRA to rule out CAD in patients with low pre-test probability (< 20%)[60].

Finally, in a direct comparison between CMRA and CTA no significant difference was proved for the detection of CAD between 3 T MR and 64-slice CTA[61]. A comparison between coronary MRA, CTA and invasive coronary angiography (CA) is shown in Table 1.

CORONARY VESSEL WALL ASSESSMENT

The initial CMR images of the coronary vessel wall were taken using fast spin echo techniques[62,63]. A double inversion recovery preparation was used to take black-blood images improving the contrast between blood and vessel wall[64]. Recently, the double inversion recovery prepulse has been combined with fast gradient echo[65], spiral[66] and radial acquisitions[67].

Various studies documented the capability of vessel wall imaging to detect remodeling of coronary arteries in CAD and increased vessel wall thickness in type I diabetes with abnormal renal function[68,69]. It was also documented by Jansen et al[70] that non-contrast enhanced T1-weighed MR visualized thrombus in acute myocardial infarction.

Recently, new techniques using delayed gadolinium enhancement facilitated the direct assessment of inflamed plaques in the coronary arteries. Clinically used contrast agents showed non-specific uptake in plaques of patients with chronic angina[71]. Acute coronary syndromes[72] and systemic lupus erythematosus[73]. The contrast enhancement by CMR, assessed in patients with stable angina, was associated with calcified or mixed plaques on MSCT, while in ACS it was transient, probably due to inflammatory process.

New contrast agents have been already used in animals and their accumulation in blood was associated with increased endothelial permeability and/or increased neo-vascularization[74]. Additionally, increased accumulation of iron-oxide particles (USPIO) was indicative of increased endothelial permeability and vessel wall inflammation, due to intraplaque macrophages[75,76].

Such molecules have been used as targets for new molecular contrast agents that allowed the assessment of inflammatory indexes, such as intercellular adhesion molecule-1 (ICAM-1), vascular adhesion molecule-1 (VCAM-1) or matrix metalloproteinase (MMP)[77,78]. Furthrmore, thrombi labeling using a fibrin-specific contrast agent[79,80] and evaluation of extracellular matrix remodelling, using targeting elastin is a new promising molecular imaging technique[81,82] for early detection of plaque vulnerability[83].

CONCLUSION

CMR is a non-invasive, non-radiating technique for evaluation of coronary arteries and coronary wall. Its major advantage is the potential of a combined protocol, including coronary arteries, cardiac anatomy, function, inflammation and stress perfusion-fibrosis in the same study in CAD and/or heart failure.

CMRA current indications include: (1) assessment of abnormal coronary arteries, coronary ectasia and/or aneurysm (class Ⅰ indication); and (2) coronary bypass grafts (class Ⅱ indication). In the future, it may be used to exclude CAD in selected patients. However, further improvements are needed to support its use for routine assessment of high risk populations.

REFERENCES

1	Ford ES, Ajani UA, Croft JB, Critchley JA, Labarthe DR, Kottke TE, Giles WH, Capewell S. Explaining the decrease in U.S. deaths from coronary disease, 1980-2000. N Engl J Med 2007; 356: 2388-2398 [PMID: 17554120 DOI: 10.1056/NEJMsa053935]

2	Roger VL, Go AS, Lloyd-Jones DM, Adams RJ, Berry JD, Brown TM, Carnethon MR, Dai S, de Simone G, Ford ES, Fox CS, Fullerton HJ, Gillespie C, Greenlund KJ, Hailpern SM, Heit JA, Ho PM, Howard VJ, Kissela BM, Kittner SJ, Lackland DT, Lichtman JH, Lisabeth LD, Makuc DM, Marcus GM, Marelli A, Matchar DB, McDermott MM, Meigs JB, Moy CS, Mozaffarian D, Mussolino ME, Nichol G, Paynter NP, Rosamond WD, Sorlie PD, Stafford RS, Turan TN, Turner MB, Wong ND, Wylie-Rosett J. Heart disease and stroke statistics--2011 update: a report from the American Heart Association. Circulation 2011; 123: e18-e209 [PMID: 21160056 DOI: 10.1161/CIR.0b013e3182009701]

3	Patel MR, Peterson ED, Dai D, Brennan JM, Redberg RF, Anderson HV, Brindis RG, Douglas PS. Low diagnostic yield of elective coronary angiography. N Engl J Med 2010; 362: 886-895 [PMID: 20220183 DOI: 10.1056/NEJMoa0907272]

4	Kim WY, Danias PG, Stuber M, Flamm SD, Plein S, Nagel E, Langerak SE, Weber OM, Pedersen EM, Schmidt M, Botnar RM, Manning WJ. Coronary magnetic resonance angiography for the detection of coronary stenoses. N Engl J Med 2001; 345: 1863-1869 [PMID: 11756576 DOI: 10.1056/NEJMoa010866]

5	Spuentrup E, Botnar RM. Coronary magnetic resonance imaging: visualization of the vessel lumen and the vessel wall and molecular imaging of arteriothrombosis. Eur Radiol 2006; 16: 1-14 [PMID: 16132919 DOI: 10.1007/s00330-005-2886-7]

6	Chiribiri A, Kelle S, Götze S, Kriatselis C, Thouet T, Tangcharoen T, Paetsch I, Schnackenburg B, Fleck E, Nagel E. Visualization of the cardiac venous system using cardiac magnetic resonance. Am J Cardiol 2008; 101: 407-412 [PMID: 18237610 DOI: 10.1016/j.amjcard.2007.08.049]

7	Chiribiri A, Kelle S, Köhler U, Tops LF, Schnackenburg B, Bonamini R, Bax JJ, Fleck E, Nagel E. Magnetic resonance cardiac vein imaging: relation to mitral valve annulus and left circumflex coronary artery. JACC Cardiovasc Imaging 2008; 1: 729-738 [PMID: 19356509 DOI: 10.1016/j.jcmg.2008.06.009]

8	Hundley WG, Bluemke DA, Finn JP, Flamm SD, Fogel MA, Friedrich MG, Ho VB, Jerosch-Herold M, Kramer CM, Manning WJ, Patel M, Pohost GM, Stillman AE, White RD, Woodard PK. ACCF/ACR/AHA/NASCI/SCMR 2010 expert consensus document on cardiovascular magnetic resonance: a report of the American College of Cardiology Foundation Task Force on Expert Consensus Documents. J Am Coll Cardiol 2010; 55: 2614-2662 [PMID: 20513610 DOI: 10.1016/j.jacc.2009.11.011]

9	Chiribiri A, Ishida M, Nagel E, Botnar RM. Coronary imaging with cardiovascular magnetic resonance: Current state of the art. Prog Cardiovasc Dis 2011; 54: 240-252 [DOI: 10.1016/j.pcad.2011.09.002]

10	Chiribiri A, Ishida M, Nagel E, Botnar RM. Coronary imaging with cardiovascular magnetic resonance: current state of the art. Prog Cardiovasc Dis 2011; 54: 240-252 [PMID: 22014491 DOI: 10.1016/j.ijcard.2008.05.075]

11	Mavrogeni S, Papadopoulos G, Hussain T, Chiribiri A, Botnar R, Greil GF. The emerging role of cardiovascular magnetic resonance in the evaluation of Kawasaki disease. Int J Cardiovasc Imaging 2013; 29: 1787-1798 [PMID: 23949280 DOI: 10.1007/s10554-013-0276-9]

12	Mavrogeni S. Coronary artery ectasia: from diagnosis to treatment. Hellenic J Cardiol 2010; 51: 158-163 [PMID: 20378518]

13	Mavrogeni S, Papadopoulos G, Douskou M, Kaklis S, Seimenis I, Baras P, Nikolaidou P, Bakoula C, Karanasios E, Manginas A, Cokkinos DV. Magnetic resonance angiography is equivalent to X-ray coronary angiography for the evaluation of coronary arteries in Kawasaki disease. J Am Coll Cardiol 2004; 43: 649-652 [PMID: 14975477 DOI: 10.1016/j.jacc.2003.08.052]

14	Greil GF, Stuber M, Botnar RM, Kissinger KV, Geva T, Newburger JW, Manning WJ, Powell AJ. Coronary magnetic resonance angiography in adolescents and young adults with kawasaki disease. Circulation 2002; 105: 908-911 [PMID: 11864916 DOI: 10.1161/hc0802.105563]

15	Greil GF, Seeger A, Miller S, Claussen CD, Hofbeck M, Botnar RM, Sieverding L. Coronary magnetic resonance angiography and vessel wall imaging in children with Kawasaki disease. Pediatr Radiol 2007; 37: 666-673 [PMID: 17541574 DOI: 10.1007/s00247-007-0498-x]

16	Mavrogeni S, Papadopoulos G, Douskou M, Kaklis S, Seimenis I, Varlamis G, Karanasios E, Krikos X, Giannoulia A, Cokkinos DV. Magnetic resonance angiography, function and viability evaluation in patients with Kawasaki disease. J Cardiovasc Magn Reson 2006; 8: 493-498 [PMID: 16758550 DOI: 10.1080/10976640600604773]

17	Doesch C, Seeger A, Doering J, Herdeg C, Burgstahler C, Claussen CD, Gawaz M, Miller S, May AE. Risk stratification by adenosine stress cardiac magnetic resonance in patients with coronary artery stenoses of intermediate angiographic severity. JACC Cardiovasc Imaging 2009; 2: 424-433 [PMID: 19580724 DOI: 10.1016/j.jcmg.2008.11.017]

18	Giang TH, Nanz D, Coulden R, Friedrich M, Graves M, Al-Saadi N, Lüscher TF, von Schulthess GK, Schwitter J. Detection of coronary artery disease by magnetic resonance myocardial perfusion imaging with various contrast medium doses: first European multi-centre experience. Eur Heart J 2004; 25: 1657-1665 [PMID: 15351166 DOI: 10.1016/j.ehj.2004.06.037]

19	Mavrogeni S, Manoussakis MN, Karagiorga TC, Douskou M, Panagiotakos D, Bournia V, Cokkinos DV, Moutsopoulos HM. Detection of coronary artery lesions and myocardial necrosis by magnetic resonance in systemic necrotizing vasculitides. Arthritis Rheum 2009; 61: 1121-1129 [PMID: 19644909 DOI: 10.1002/art.24695]

20	Mavrogeni S, Sfikakis PP, Gialafos E, Bratis K, Karabela G, Stavropoulos E, Spiliotis G, Sfendouraki E, Panopoulos S, Bournia V, Kolovou G, Kitas GD. Cardiac tissue characterization and the diagnostic value of cardiovascular magnetic resonance in systemic connective tissue diseases. Arthritis Care Res (Hoboken) 2014; 66: 104-112 [PMID: 24106233 DOI: 10.1002/acr.22181]

21	Hartnell GG, Parnell BM, Pridie RB. Coronary artery ectasia. Its prevalence and clinical significance in 4993 patients. Br Heart J 1985; 54: 392-395 [PMID: 4052280 DOI: 10.1136/hrt.54.4.392]

22	Markis JE, Joffe CD, Cohn PF, Feen DJ, Herman MV, Gorlin R. Clinical significance of coronary arterial ectasia. Am J Cardiol 1976; 37: 217-222 [PMID: 1108631 DOI: 10.1016/0002-9149(76)90315-5]

23	Oliveros RA, Falsetti HL, Carroll RJ, Heinle RA, Ryan GF. Atherosclerotic coronary artery aneurysm. Report of five cases and review of literature. Arch Intern Med 1974; 134: 1072-1076 [PMID: 4215378 DOI: 10.1001/archinte.1974.00320240106014]

24	Swaye PS, Fisher LD, Litwin P, Vignola PA, Judkins MP, Kemp HG, Mudd JG, Gosselin AJ. Aneurysmal coronary artery disease. Circulation 1983; 67: 134-138 [PMID: 6847792 DOI: 10.1161/01.CIR.67.1.134]

25	Falsetti HL, Carrol RJ. Coronary artery aneurysm. A review of the literature with a report of 11 new cases. Chest 1976; 69: 630-636 [PMID: 1083790 DOI: 10.1378/chest.69.5.630]

26	Befeler B, Aranda MJ, Embi A, Mullin FL, El-Sherif N, Lazzara R. Coronary artery aneurysms: study of the etiology, clinical course and effect on left ventricular function and prognosis. Am J Med 1977; 62: 597-607 [PMID: 300567 DOI: 10.1016/0002-9343(77)90423-5]

27	Chaithiraphan S, Goldberg E, O’Reilly M, Jootar P. Multiple aneurysms of coronary artery in sclerodermal heart disease. Angiology 1973; 24: 86-93 [PMID: 4693051 DOI: 10.1177/000331977302400204]

28	Tarek el-G, Yasser AE, Gheita T. Coronary angiographic findings in asymptomatic systemic sclerosis. Clin Rheumatol 2006; 25: 487-490 [PMID: 16440131 DOI: 10.1007/s10067-005-0073-5]

29	Imahori S, Bannerman RM, Graf CJ, Brennan JC. Ehlers-Danlos syndrome with multiple arterial lesions. Am J Med 1969; 47: 967-977 [PMID: 5362873 DOI: 10.1016/0002-9343(69)90210-1]

30	Davidson A, Eshaghpour E, Young N, Mintz GS. Late thrombosis of a coronary artery mycotic aneurysm. Am Heart J 1991; 121: 1549-1550 [PMID: 2017990 DOI: 10.1016/0002-8703(91)90168-H]

31	Cohen P, O’Gara PT. Coronary artery aneurysms: a review of the natural history, pathophysiology, and management. Cardiol Rev 2008; 16: 301-304 [PMID: 18923233 DOI: 10.1097/CRD.0b013e3181852659]

32	Bluemke DA, Achenbach S, Budoff M, Gerber TC, Gersh B, Hillis LD, Hundley WG, Manning WJ, Printz BF, Stuber M, Woodard PK. Noninvasive coronary artery imaging: magnetic resonance angiography and multidetector computed tomography angiography: a scientific statement from the american heart association committee on cardiovascular imaging and intervention of the council on cardiovascular radiology and intervention, and the councils on clinical cardiology and cardiovascular disease in the young. Circulation 2008; 118: 586-606 [PMID: 18586979 DOI: 10.1161/CIRCULATIONAHA.108.189695]

33	Mavrogeni SI, Manginas A, Papadakis E, Foussas S, Douskou M, Baras P, Seimenis I, Cokkinos DV. Correlation between magnetic resonance angiography (MRA) and quantitative coronary angiography (QCA) in ectatic coronary vessels. J Cardiovasc Magn Reson 2004; 6: 17-23 [PMID: 15054925 DOI: 10.1081/JCMR-120027801]

34	Galjee MA, van Rossum AC, Doesburg T, van Eenige MJ, Visser CA. Value of magnetic resonance imaging in assessing patency and function of coronary artery bypass grafts. An angiographically controlled study. Circulation 1996; 93: 660-666 [PMID: 8640993 DOI: 10.1161/01.CIR.93.4.660]

35	Jenkins JP, Love HG, Foster CJ, Isherwood I, Rowlands DJ. Detection of coronary artery bypass graft patency as assessed by magnetic resonance imaging. Br J Radiol 1988; 61: 2-4 [PMID: 3258170 DOI: 10.1259/0007-1285-61-721-2]

36	Rubinstein RI, Askenase AD, Thickman D, Feldman MS, Agarwal JB, Helfant RH. Magnetic resonance imaging to evaluate patency of aortocoronary bypass grafts. Circulation 1987; 76: 786-791 [PMID: 3498558 DOI: 10.1161/01.CIR.76.4.786]

37	White RD, Caputo GR, Mark AS, Modin GW, Higgins CB. Coronary artery bypass graft patency: noninvasive evaluation with MR imaging. Radiology 1987; 164: 681-686 [PMID: 3497409 DOI: 10.1148/radiology.164.3.3497409]

38	Vrachliotis TG, Bis KG, Aliabadi D, Shetty AN, Safian R, Simonetti O. Contrast-enhanced breath-hold MR angiography for evaluating patency of coronary artery bypass grafts. AJR Am J Roentgenol 1997; 168: 1073-1080 [PMID: 9124118 DOI: 10.2214/ajr.168.4.9124118]

39	Wintersperger BJ, von Smekal A, Engelmann MG, Knez A, Penzkofer HV, Laub G, Reiser M. [Contrast media enhanced magnetic resonance angiography for determining patency of a coronary bypass. A comparison with coronary angiography]. Rofo 1997; 167: 572-578 [PMID: 9465951 DOI: 10.1055/s-2007-1015585]

40	Botnar RM, Stuber M, Danias PG, Kissinger KV, Manning WJ. Improved coronary artery definition with T2-weighted, free-breathing, three-dimensional coronary MRA. Circulation 1999; 99: 3139-3148 [PMID: 10377077 DOI: 10.1161/01.CIR.99.24.3139]

41	Hofman MB, Paschal CB, Li D, Haacke EM, van Rossum AC, Sprenger M. MRI of coronary arteries: 2D breath-hold vs 3D respiratory-gated acquisition. J Comput Assist Tomogr 1995; 19: 56-62 [PMID: 7822549 DOI: 10.1097/00004728-199501000-00011]

42	Lobbes MB, Miserus RJ, Heeneman S, Passos VL, Mutsaers PH, Debernardi N, Misselwitz B, Post M, Daemen MJ, van Engelshoven JM, Leiner T, Kooi ME. Atherosclerosis: contrast-enhanced MR imaging of vessel wall in rabbit model--comparison of gadofosveset and gadopentetate dimeglumine. Radiology 2009; 250: 682-691 [PMID: 19244042 DOI: 10.1148/radiol.2503080875]

43	Manning WJ, Li W, Boyle NG, Edelman RR. Fat-suppressed breath-hold magnetic resonance coronary angiography. Circulation 1993; 87: 94-104 [PMID: 8419029 DOI: 10.1161/01.CIR.87.1.94]

44	Paschal CB, Haacke EM, Adler LP. Three-dimensional MR imaging of the coronary arteries: preliminary clinical experience. J Magn Reson Imaging 1993; 3: 491-500 [PMID: 8324308 DOI: 10.1002/jmri.1880030311]

45	Post JC, van Rossum AC, Hofman MB, Valk J, Visser CA. Three-dimensional respiratory-gated MR angiography of coronary arteries: comparison with conventional coronary angiography. AJR Am J Roentgenol 1996; 166: 1399-1404 [PMID: 8633453 DOI: 10.2214/ajr.166.6.8633453]

46	Stuber M, Botnar RM, Danias PG, Sodickson DK, Kissinger KV, Van Cauteren M, De Becker J, Manning WJ. Double-oblique free-breathing high resolution three-dimensional coronary magnetic resonance angiography. J Am Coll Cardiol 1999; 34: 524-531 [PMID: 10440168 DOI: 10.1016/S0735-1097(99)00223-5]

47	Scheidegger MB, Müller R, Boesiger P. Magnetic resonance angiography: methods and its applications to the coronary arteries. Technol Health Care 1994; 2: 255-265 [PMID: 7842310]

48	Bogaert J, Kuzo R, Dymarkowski S, Beckers R, Piessens J, Rademakers FE. Coronary artery imaging with real-time navigator three-dimensional turbo-field-echo MR coronary angiography: initial experience. Radiology 2003; 226: 707-716 [PMID: 12601209 DOI: 10.1148/radiol.2263011750]

49	Dewey M, Teige F, Schnapauff D, Laule M, Borges AC, Rutsch W, Hamm B, Taupitz M. Combination of free-breathing and breathhold steady-state free precession magnetic resonance angiography for detection of coronary artery stenoses. J Magn Reson Imaging 2006; 23: 674-681 [PMID: 16568418 DOI: 10.1002/jmri.20568]

50	Jahnke C, Paetsch I, Nehrke K, Schnackenburg B, Gebker R, Fleck E, Nagel E. Rapid and complete coronary arterial tree visualization with magnetic resonance imaging: feasibility and diagnostic performance. Eur Heart J 2005; 26: 2313-2319 [PMID: 15987709 DOI: 10.1093/eurheartj/ehi391]

51	Jahnke C, Paetsch I, Schnackenburg B, Bornstedt A, Gebker R, Fleck E, Nagel E. Coronary MR angiography with steady-state free precession: individually adapted breath-hold technique versus free-breathing technique. Radiology 2004; 232: 669-676 [PMID: 15284430 DOI: 10.1148/radiol.2323031225]

52	Maintz D, Aepfelbacher FC, Kissinger KV, Botnar RM, Danias PG, Heindel W, Manning WJ, Stuber M. Coronary MR angiography: comparison of quantitative and qualitative data from four techniques. AJR Am J Roentgenol 2004; 182: 515-521 [PMID: 14736693 DOI: 10.2214/ajr.182.2.1820515]

53	Manning WJ, Li W, Edelman RR. A preliminary report comparing magnetic resonance coronary angiography with conventional angiography. N Engl J Med 1993; 328: 828-832 [PMID: 8285929 DOI: 10.1056/NEJM199303253281202]

54	Ozgun M, Hoffmeier A, Kouwenhoven M, Botnar RM, Stuber M, Scheld HH, Manning WJ, Heindel W, Maintz D. Comparison of 3D segmented gradient-echo and steady-state free precession coronary MRI sequences in patients with coronary artery disease. AJR Am J Roentgenol 2005; 185: 103-109 [PMID: 15972408 DOI: 10.2214/ajr.185.1.01850103]

55	Sakuma H, Ichikawa Y, Chino S, Hirano T, Makino K, Takeda K. Detection of coronary artery stenosis with whole-heart coronary magnetic resonance angiography. J Am Coll Cardiol 2006; 48: 1946-1950 [PMID: 17112982 DOI: 10.1016/j.jacc.2006.07.055]

56	Sakuma H, Ichikawa Y, Suzawa N, Hirano T, Makino K, Koyama N, Van Cauteren M, Takeda K. Assessment of coronary arteries with total study time of less than 30 minutes by using whole-heart coronary MR angiography. Radiology 2005; 237: 316-321 [PMID: 16126921 DOI: 10.1148/radiol.2371040830]

57	Schuetz GM, Zacharopoulou NM, Schlattmann P, Dewey M. Meta-analysis: noninvasive coronary angiography using computed tomography versus magnetic resonance imaging. Ann Intern Med 2010; 152: 167-177 [PMID: 20124233 DOI: 10.7326/0003-4819-152-3-201002020-00008]

58	Kato S, Kitagawa K, Ishida N, Ishida M, Nagata M, Ichikawa Y, Katahira K, Matsumoto Y, Seo K, Ochiai R, Kobayashi Y, Sakuma H. Assessment of coronary artery disease using magnetic resonance coronary angiography: a national multicenter trial. J Am Coll Cardiol 2010; 56: 983-991 [PMID: 20828652 DOI: 10.1016/j.jacc.2010.01.071]

59	Miller JM, Rochitte CE, Dewey M, Arbab-Zadeh A, Niinuma H, Gottlieb I, Paul N, Clouse ME, Shapiro EP, Hoe J, Lardo AC, Bush DE, de Roos A, Cox C, Brinker J, Lima JA. Diagnostic performance of coronary angiography by 64-row CT. N Engl J Med 2008; 359: 2324-2336 [PMID: 19038879 DOI: 10.1056/NEJMoa0806576]

60	Nagel E. Magnetic resonance coronary angiography: the condemned live longer. J Am Coll Cardiol 2010; 56: 992-994 [PMID: 20828653 DOI: 10.1016/j.jacc.2010.02.069]

61	Hamdan A, Asbach P, Wellnhofer E, Klein C, Gebker R, Kelle S, Kilian H, Huppertz A, Fleck E. A prospective study for comparison of MR and CT imaging for detection of coronary artery stenosis. JACC Cardiovasc Imaging 2011; 4: 50-61 [PMID: 21232704 DOI: 10.1016/j.jcmg.2010.10.007]

62	Botnar RM, Stuber M, Kissinger KV, Kim WY, Spuentrup E, Manning WJ. Noninvasive coronary vessel wall and plaque imaging with magnetic resonance imaging. Circulation 2000; 102: 2582-2587 [PMID: 11085960 DOI: 10.1161/01.CIR.102.21.2582]

63	Fayad ZA, Fuster V, Fallon JT, Jayasundera T, Worthley SG, Helft G, Aguinaldo JG, Badimon JJ, Sharma SK. Noninvasive in vivo human coronary artery lumen and wall imaging using black-blood magnetic resonance imaging. Circulation 2000; 102: 506-510 [PMID: 10920061 DOI: 10.1161/01.CIR.102.5.506]

64	Edelman RR, Chien D, Kim D. Fast selective black blood MR imaging. Radiology 1991; 181: 655-660 [PMID: 1947077 DOI: 10.1148/radiology.181.3.1947077]

65	Botnar RM, Stuber M, Lamerichs R, Smink J, Fischer SE, Harvey P, Manning WJ. Initial experiences with in vivo right coronary artery human MR vessel wall imaging at 3 tesla. J Cardiovasc Magn Reson 2003; 5: 589-594 [PMID: 14664136 DOI: 10.1081/JCMR-120025232]

66	Botnar RM, Kim WY, Börnert P, Stuber M, Spuentrup E, Manning WJ. 3D coronary vessel wall imaging utilizing a local inversion technique with spiral image acquisition. Magn Reson Med 2001; 46: 848-854 [PMID: 11675634 DOI: 10.1002/mrm.1268]

67	Katoh M, Spuentrup E, Buecker A, Schaeffter T, Stuber M, Günther RW, Botnar RM. MRI of coronary vessel walls using radial k-space sampling and steady-state free precession imaging. AJR Am J Roentgenol 2006; 186: S401-S406 [PMID: 16714616 DOI: 10.2214/AJR.04.1864]

68	Kim WY, Stuber M, Börnert P, Kissinger KV, Manning WJ, Botnar RM. Three-dimensional black-blood cardiac magnetic resonance coronary vessel wall imaging detects positive arterial remodeling in patients with nonsignificant coronary artery disease. Circulation 2002; 106: 296-299 [PMID: 12119242 DOI: 10.1161/01.CIR.0000025629.85631.1E]

69	Kim WY, Astrup AS, Stuber M, Tarnow L, Falk E, Botnar RM, Simonsen C, Pietraszek L, Hansen PR, Manning WJ, Andersen NT, Parving HH. Subclinical coronary and aortic atherosclerosis detected by magnetic resonance imaging in type 1 diabetes with and without diabetic nephropathy. Circulation 2007; 115: 228-235 [PMID: 17190865 DOI: 10.1161/CIRCULATIONAHA.106.633339]

70	Jansen CH, Perera D, Makowski MR, Wiethoff AJ, Phinikaridou A, Razavi RM, Marber MS, Greil GF, Nagel E, Maintz D, Redwood S, Botnar RM. Detection of intracoronary thrombus by magnetic resonance imaging in patients with acute myocardial infarction. Circulation 2011; 124: 416-424 [PMID: 21747055 DOI: 10.1161/CIRCULATIONAHA.110.965442]

71	Yeon SB, Sabir A, Clouse M, Martinezclark PO, Peters DC, Hauser TH, Gibson CM, Nezafat R, Maintz D, Manning WJ, Botnar RM. Delayed-enhancement cardiovascular magnetic resonance coronary artery wall imaging: comparison with multislice computed tomography and quantitative coronary angiography. J Am Coll Cardiol 2007; 50: 441-447 [PMID: 17662397 DOI: 10.1016/j.jacc.2007.03.052]

72	Ibrahim T, Makowski MR, Jankauskas A, Maintz D, Karch M, Schachoff S, Manning WJ, Schömig A, Schwaiger M, Botnar RM. Serial contrast-enhanced cardiac magnetic resonance imaging demonstrates regression of hyperenhancement within the coronary artery wall in patients after acute myocardial infarction. JACC Cardiovasc Imaging 2009; 2: 580-588 [PMID: 19442944 DOI: 10.1016/j.jcmg.2008.12.029]

73	Puntmann VO, D’Cruz D, Taylor PC, Hussain T, Indermuhle A, Butzbach B, Botnar R, Nagel E. Contrast enhancement imaging in coronary arteries in SLE. JACC Cardiovasc Imaging 2012; 5: 962-964 [PMID: 22974810 DOI: 10.1016/j.jcmg.2012.03.017]

74	Phinikaridou A, Andia ME, Protti A, Indermuehle A, Shah A, Smith A, Warley A, Botnar RM. Noninvasive magnetic resonance imaging evaluation of endothelial permeability in murine atherosclerosis using an albumin-binding contrast agent. Circulation 2012; 126: 707-719 [PMID: 22753191 DOI: 10.1161/CIRCULATIONAHA.112.092098]

75	Kooi ME, Cappendijk VC, Cleutjens KB, Kessels AG, Kitslaar PJ, Borgers M, Frederik PM, Daemen MJ, van Engelshoven JM. Accumulation of ultrasmall superparamagnetic particles of iron oxide in human atherosclerotic plaques can be detected by in vivo magnetic resonance imaging. Circulation 2003; 107: 2453-2458 [PMID: 12719280 DOI: 10.1161/01.CIR.0000068315.98705.CC]

76	Tang TY, Howarth SP, Miller SR, Graves MJ, Patterson AJ, U-King-Im JM, Li ZY, Walsh SR, Brown AP, Kirkpatrick PJ, Warburton EA, Hayes PD, Varty K, Boyle JR, Gaunt ME, Zalewski A, Gillard JH. The ATHEROMA (Atorvastatin Therapy: Effects on Reduction of Macrophage Activity) Study. Evaluation using ultrasmall superparamagnetic iron oxide-enhanced magnetic resonance imaging in carotid disease. J Am Coll Cardiol 2009; 53: 2039-2050 [PMID: 19477353 DOI: 10.1016/j.jacc.2009.03.018]

77	Nahrendorf M, Jaffer FA, Kelly KA, Sosnovik DE, Aikawa E, Libby P, Weissleder R. Noninvasive vascular cell adhesion molecule-1 imaging identifies inflammatory activation of cells in atherosclerosis. Circulation 2006; 114: 1504-1511 [PMID: 17000904 DOI: 10.1161/CIRCULATIONAHA.106.646380]

78	Nahrendorf M, Keliher E, Panizzi P, Zhang H, Hembrador S, Figueiredo JL, Aikawa E, Kelly K, Libby P, Weissleder R. 18F-4V for PET-CT imaging of VCAM-1 expression in atherosclerosis. JACC Cardiovasc Imaging 2009; 2: 1213-1222 [PMID: 19833312 DOI: 10.1016/j.jcmg.2009.04.016]

79	Botnar RM, Buecker A, Wiethoff AJ, Parsons EC, Katoh M, Katsimaglis G, Weisskoff RM, Lauffer RB, Graham PB, Gunther RW, Manning WJ, Spuentrup E. In vivo magnetic resonance imaging of coronary thrombosis using a fibrin-binding molecular magnetic resonance contrast agent. Circulation 2004; 110: 1463-1466 [PMID: 15238457 DOI: 10.1161/01.CIR.0000134960.31304.87]

80	Botnar RM, Perez AS, Witte S, Wiethoff AJ, Laredo J, Hamilton J, Quist W, Parsons EC, Vaidya A, Kolodziej A, Barrett JA, Graham PB, Weisskoff RM, Manning WJ, Johnstone MT. In vivo molecular imaging of acute and subacute thrombosis using a fibrin-binding magnetic resonance imaging contrast agent. Circulation 2004; 109: 2023-2029 [PMID: 15066940 DOI: 10.1161/01.CIR.0000127034.50006.C0]

81	Makowski MR, Wiethoff AJ, Blume U, Cuello F, Warley A, Jansen CH, Nagel E, Razavi R, Onthank DC, Cesati RR, Marber MS, Schaeffter T, Smith A, Robinson SP, Botnar RM. Assessment of atherosclerotic plaque burden with an elastin-specific magnetic resonance contrast agent. Nat Med 2011; 17: 383-388 [PMID: 21336283 DOI: 10.1038/nm.2310]

82	von Bary C, Makowski M, Preissel A, Keithahn A, Warley A, Spuentrup E, Buecker A, Lazewatsky J, Cesati R, Onthank D, Schickl N, Schachoff S, Hausleiter J, Schömig A, Schwaiger M, Robinson S, Botnar R. MRI of coronary wall remodeling in a swine model of coronary injury using an elastin-binding contrast agent. Circ Cardiovasc Imaging 2011; 4: 147-155 [PMID: 21378029 DOI: 10.1161/CIRCIMAGING.109.895607]

83	Chiribiri A, Botnar RM, Nagel E. Magnetic resonance coronary angiography: where are we today? Curr Cardiol Rep 2013; 15: 328 [PMID: 23307168 DOI: 10.1007/s11886-012-0328-0]

P- Reviewer: Ueda H    S- Editor: Song XX    L- Editor: A    E- Editor: Wu HL

Figure Legends

Figure 1  Magnetic resonance angiography. A: Ectatic coronaries in a patient with polyarteritis nodosa, assessed by MRA; B: Aneurysmatic coronaries in a patient with Kawasaki disease, assessed by MRA. MRA: Magnetic resonance angiography.

# Text boxes

Table 1  Comparison between invasive coronary coronary angiography, CTA and magnetic resonance angiography

|  | CA | CTA | MRA |
| --- | --- | --- | --- |
| Noninvasive | No | Yes | Yes |
| Radiation | Yes | Yes | No |
| Nephrotoxicity | Yes | Yes | No |
| Accuracy | +++ | ++ | + |
| Negative predictive value | +++ | +++ | ++ |
| Cost | High | High | High |
| Calcium detection | ± | + | - |
| Anomalous coronaries | +++ | +++ | +++ |
| Ectasia/aneurysm | +++ | +++ | +++ |
| Graft assessment | +++ | +++ | +++ |
| CAD evaluation | +++ | ++ | + |
| Plaque evaluation | +++ | ± | ± |

CA: Coronary angiography; MRA: Magnetic resonance angiography; CAD: Coronary artery disease; CTA: Computed tomography coronary angiography.