**Name of journal:** ***World Journal of Hepatology***

**Manuscript NO: 51192**

**Manuscript type: MINIREVIEWS**

**Concise review of machine perfusion in liver transplantation**

Desai CS *et al*.Machine perfusion in liver transplantation

Chirag S Desai, David A Gerber

**Chirag S Desai, David A Gerber,** Department of Surgery, University of North Carolina at Chapel Hill, Chapel Hill, NC 27599, United States

**David A Gerber,** Lineberger Cancer Center, University of North Carolina at Chapel Hill, Chapel Hill, NC 27599, United States

**ORCID number:** Chirag S Desai (0000-0002-3784-0973); David A Gerber (0000-0002-7972-5228).

**Author contributions:** Gerber DA performed the review and wrote the paper; Desai CS wrote the paper.

**Conflict-of-interest statement:** The authors declare that they have no conflicts of interest.

**Open-Access:** This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

**Manuscript source:** Unsolicited manuscript

**Corresponding author: David A Gerber, MD, Professor,** Department of Surgery, University of North Carolina at Chapel Hill, CB#7211, 4025 Burnett-Womack Building, Chapel Hill, NC 27599, United States. david\_gerber@med.unc.edu

**Telephone:** +1-919-9668008

**Fax:** +1-919-9666308

**Received:** September 1, 2019

**Peer-review started:** September 1, 2019

**First decision:** September 20, 2019

**Revised:** November 21, 2019

**Accepted:** November 29, 2019

**Article in press:** November 29, 2019

**Published online:** January 27, 2020

**Abstract**

With the advances and clinical growth in liver transplantation over the last four decades the focus on expanding deceased donor organs has been in need of scientific research. In the past ten years several researchers have looked at the domain of machine perfusion as it applies to deceased donor livers. The following review focuses on the clinical trials and recent advances that will likely have the earliest entrance into the clinical arena.

**Key words:** Liver transplantation; Machine perfusion; *Ex vivo* perfusion; Ischemia reperfusion; Organ preservation

**© The Author(s) 2020** Published by Baishideng Publishing Group Inc. All rights reserved.

**Core tip:** The processes involved in optimizing and expanding the deceased donor liver pool has led to the incorporation of machine perfusion technologies (as is similarly done in kidney transplantation). While none of the systems is approved for clinical use, several have gone through clinical trials. This summary provides an overview of those technologies that are likely to be used in clinical liver transplantation.

**Citation:** Desai CS, Gerber DA. Concise review of machine perfusion in liver transplantation. *World J Hepatol* 2020; 12(1): 6-9

**URL:** https://www.wjgnet.com/1948-5182/full/v12/i1/6.htm

**DOI:** https://dx.doi.org/10.4254/wjh.v12.i1.6

**INTRODUCTION**

Clinical advances in liver transplantation over the last three decades have resulted in more than 10000 liver transplants being performed annually throughout the world, with 1- and 5-year patient survival outcomes in excess of 90% and 70%, respectively[1]. Unfortunately, the increasing incidence of liver disease amongst the general population[2] is contributing to a growing discrepancy between the number of transplantable organs and the number of patients on the liver transplant waitlist. To expand the donor pool requires using marginal donor organs [*i.e.*, donation after cardiac death (DCD) *vs* brain dead donors (DBD), fatty livers or livers from the elderly with multiple co-morbidities][1]. The consequence of ischemia/reperfusion injury (IRI) in these marginal donor allografts includes an increased rate of primary non-function, early graft dysfunction, biliary complications, decreased long-term graft survival, and increased hospital resource use after transplantation[3]. Strategies to minimize IRI involve focusing on organ preservation techniques. Static cold storage (SCS) is the standard approach to preserve the liver during transit from the donor to the potential recipient. During the last decade machine perfusion has been investigated as a method to modulate liver preservation, improving the function of less optimal grafts, and potentially resuscitating some grafts that previously would have been deemed unsuitable for transplant[4].

While the history of organ perfusion systems goes back decades the first clinical trial of hypothermic machine perfusion (HMP) of the liver was carried out in 2009 by Guarrera *et al*[5] and it provided evidence of the safety and efficacy of HMP by reducing levels of transaminases and total bilirubin. In a follow-up study the investigators showed that HMP provided safe and reliable preservation in 31 adults undergoing liver transplantation when the organ had previously been declined by other transplant centers[6]. In 2014, hypothermic oxygenation machine perfusion (HOPE) was introduced in a study with donors who DCD rather than DBD. This study showed that the outcome of DCD liver transplantation after HOPE conditioning was comparable to matched DBD liver grafts in terms of liver transaminases [aspartate aminotransferase/alanine aminotransferase (AST/ALT)], intensive care unit admission and hospital stay, while costs during hospital stay were significantly lower[7]. This same group carried out a larger clinical trial (*n* = 25) and found that HOPE conditioning of DCD livers significantly reduces graft injury with regard to peak ALT, biliary complications, graft failure and 1-year graft survival compared to SCS[4,8].

The development of normothermic machine perfusion (NMP) as an alternative MP approach led to a 2016 clinical trial with 20 patients[9]. Seven-day median peak AST after transplantation was significantly lower in the NMP group compared to SCS, demonstrating the safety and feasibility of NMP for organ retrieval, transport and transplantation. In 2016, Selzner *et al*[10] showed that grafts preserved by NMP had lower liver transaminase levels 1–3 d after transplantation, but this result was not statistically different compared with SCS. Similar to what was found in the HMP studies, a 2017 study using NMP enabled assessment and transplantation of 12 livers previously declined for transplant, suggesting that avoiding hypoxia during perfusion prevents post-perfusion syndrome and monitoring biliary pH could predict postoperative cholangiopathy[11]. The largest clinical trial to date was coordinated through the Consortium for Organ Preservation in Europe. In a multi-center, randomized control trial involving 220 adult DBD and DCD donors normothermic preservation is associated with a 50% lower level of graft injury, measured by hepatocellular enzyme release, despite a 54% longer mean preservation time and an expanded donor pool (50% lower rate of organ discard). There was no significant difference in bile duct complications, graft survival or patient survival. In summary, this study successfully proves the investigators’ primary endpoint of lower peak serum AST levels in the NMP group implying a benefit in livers used for transplantation[1]. A summary of the clinical trials to date is presented in Table 1[3,5,6,8,12,13].

With the increasing prevalence of obesity, a growing number of livers with macrosteatosis will be considered for transplant. A major area where machine perfusion will be useful involves a defatting strategy. The aim of this strategy is to reduce the triglyceride load in steatotic hepatocytes, improve the organ metabolism and lessen the impact of ischemia-reperfusion injury. Machine perfusion reduces intracellular lipids by enhancing lipid metabolism, lipolysis and increasing the cellular exportation of intracellular triglyceride as very low‐density lipoprotein and the fatty acid mitochondrial β‐oxidation; when used in conjunction with defatting agents[14,15]. This process helps to lower the production of reactive oxygen species, decreased cellular injury and improved microcirculation.

**CONCLUSION**

Machine perfusion (Figure 1) has the potential to transform the field of liver transplantation by allowing clinicians to expand the donor pool while reconditioning the organ prior to implantation.

**REFERENCES**

1 **Nasralla D**, Coussios CC, Mergental H, Akhtar MZ, Butler AJ, Ceresa CDL, Chiocchia V, Dutton SJ, García-Valdecasas JC, Heaton N, Imber C, Jassem W, Jochmans I, Karani J, Knight SR, Kocabayoglu P, Malagò M, Mirza D, Morris PJ, Pallan A, Paul A, Pavel M, Perera MTPR, Pirenne J, Ravikumar R, Russell L, Upponi S, Watson CJE, Weissenbacher A, Ploeg RJ, Friend PJ; Consortium for Organ Preservation in Europe. A randomized trial of normothermic preservation in liver transplantation. *Nature* 2018; **557**: 50-56 [PMID: 29670285 DOI: 10.1038/s41586-018-0047-9]

2 **Younossi ZM**, Koenig AB, Abdelatif D, Fazel Y, Henry L, Wymer M. Global epidemiology of nonalcoholic fatty liver disease-Meta-analytic assessment of prevalence, incidence, and outcomes. *Hepatology* 2016; **64**: 73-84 [PMID: 26707365 DOI: 10.1002/hep.28431]

3 **Quillin RC 3rd**, Guarrera JV. Hypothermic machine perfusion in liver transplantation. *Liver Transpl* 2018; **24**: 276-281 [PMID: 29278454 DOI: 10.1002/lt.25004]

4 **Jia JJ**, Li JH, Yu H, Nie Y, Jiang L, Li HY, Zhou L, Zheng SS. Machine perfusion for liver transplantation: A concise review of clinical trials. *Hepatobiliary Pancreat Dis Int* 2018; **17**: 387-391 [PMID: 30352672 DOI: 10.1016/j.hbpd.2018.06.003]

5 **Guarrera JV**, Henry SD, Samstein B, Odeh-Ramadan R, Kinkhabwala M, Goldstein MJ, Ratner LE, Renz JF, Lee HT, Brown RS Jr, Emond JC. Hypothermic machine preservation in human liver transplantation: the first clinical series. *Am J Transplant* 2010; **10**: 372-381 [PMID: 19958323 DOI: 10.1111/j.1600-6143.2009.02932.x]

6 **Guarrera JV**, Henry SD, Samstein B, Reznik E, Musat C, Lukose TI, Ratner LE, Brown RS Jr, Kato T, Emond JC. Hypothermic machine preservation facilitates successful transplantation of "orphan" extended criteria donor livers. *Am J Transplant* 2015; **15**: 161-169 [PMID: 25521639 DOI: 10.1111/ajt.12958]

7 **Dutkowski P**, Schlegel A, de Oliveira M, Müllhaupt B, Neff F, Clavien PA. HOPE for human liver grafts obtained from donors after cardiac death. *J Hepatol* 2014; **60**: 765-772 [PMID: 24295869 DOI: 10.1016/j.jhep.2013.11.023]

8 **Dutkowski P**, Polak WG, Muiesan P, Schlegel A, Verhoeven CJ, Scalera I, DeOliveira ML, Kron P, Clavien PA. First Comparison of Hypothermic Oxygenated PErfusion Versus Static Cold Storage of Human Donation After Cardiac Death Liver Transplants: An International-matched Case Analysis. *Ann Surg* 2015; **262**: 764-70; discussion 770-1 [PMID: 26583664 DOI: 10.1097/SLA.0000000000001473]

9 **Leithead JA**, Armstrong MJ, Corbett C, Andrew M, Kothari C, Gunson BK, Muiesan P, Ferguson JW. Hepatic ischemia reperfusion injury is associated with acute kidney injury following donation after brain death liver transplantation. *Transpl Int* 2013; **26**: 1116-1125 [PMID: 24033747 DOI: 10.1111/tri.12175]

10 **Selzner M**, Goldaracena N, Echeverri J, Kaths JM, Linares I, Selzner N, Serrick C, Marquez M, Sapisochin G, Renner EL, Bhat M, McGilvray ID, Lilly L, Greig PD, Tsien C, Cattral MS, Ghanekar A, Grant DR. Normothermic ex vivo liver perfusion using steen solution as perfusate for human liver transplantation: First North American results. *Liver Transpl* 2016; **22**: 1501-1508 [PMID: 27339754 DOI: 10.1002/lt.24499]

11 **Mourad MM**, Algarni A, Liossis C, Bramhall SR. Aetiology and risk factors of ischaemic cholangiopathy after liver transplantation. *World J Gastroenterol* 2014; **20**: 6159-6169 [PMID: 24876737 DOI: 10.3748/wjg.v20.i20.6159]

12 **Bral M**, Gala-Lopez B, Bigam D, Kneteman N, Malcolm A, Livingstone S, Andres A, Emamaullee J, Russell L, Coussios C, West LJ, Friend PJ, Shapiro AM. Preliminary Single-Center Canadian Experience of Human Normothermic Ex Vivo Liver Perfusion: Results of a Clinical Trial. *Am J Transplant* 2017; **17**: 1071-1080 [PMID: 27639262 DOI: 10.1111/ajt.14049]

13 **Ravikumar R**, Jassem W, Mergental H, Heaton N, Mirza D, Perera MT, Quaglia A, Holroyd D, Vogel T, Coussios CC, Friend PJ. Liver Transplantation After Ex Vivo Normothermic Machine Preservation: A Phase 1 (First-in-Man) Clinical Trial. *Am J Transplant* 2016; **16**: 1779-1787 [PMID: 26752191 DOI: 10.1111/ajt.13708]

14 **Nagrath D**, Xu H, Tanimura Y, Zuo R, Berthiaume F, Avila M, Yarmush R, Yarmush ML. Metabolic preconditioning of donor organs: defatting fatty livers by normothermic perfusion ex vivo. *Metab Eng* 2009; **11**: 274-283 [PMID: 19508897 DOI: 10.1016/j.ymben.2009.05.005]

15 **Taba Taba Vakili S**, Kailar R, Rahman K, Nezami BG, Mwangi SM, Anania FA, Srinivasan S. Glial cell line-derived neurotrophic factor-induced mice liver defatting: A novel strategy to enable transplantation of steatotic livers. *Liver Transpl* 2016; **22**: 459-467 [PMID: 26714616 DOI: 10.1002/lt.24385]

**P-Reviewer:** Enosawa S, Ferrigno A, Gavriilidis P, Hori T, Nacif L **S-Editor:** Ma RY **L-Editor:** A **E-Editor:** Wu YXJ

**Specialty type:** Gastroenterology and hepatology

**Country of origin:** United States

**Peer-review report classification**

Grade A (Excellent): 0

Grade B (Very good): B

Grade C (Good): C, C, C

Grade D (Fair): 0

Grade E (Poor): E


**Table 1 Machine perfusion in human liver transplantation**

|  |  |  |  |
| --- | --- | --- | --- |
| **Ref.** | **Experimental group (*n*)** | **MP time (h)** | **Device** |
| Guarrera *et al*[6], 2015 | 31 | 3.8 | Hypothermic MP |
| Dutkowski *et al*[8], 2015 | 25 | 2 | Hypothermic oxygenated MP |
| Bral *et al*[12], 2017 | 9 | 11.5 | Normothermic MP |
| Ravikumar *et al*[13], 2016 | 20 | 9.3 | Normothermic MP |
| Selzner *et al*[10], 2016 | 10 | 8 | Normothermic MP |
| Nasralla *et al*[1], 2018 | 121 | 9.13 | Normothermic MP |

MP: Machine perfusion.

Reservoir

Oxygenatoror



Monitor/pump

Collector

**Figure 1 Schematic design of machine perfusion.** Demonstrating system circulation and pumps with the ability to oxygenate the perfusate. Flow comes into the liver through the portal vein with bile collected separately.