Name of Journal: World Journal of Hepatology

Manuscript NO: 75467

Manuscript Type: ORIGINAL ARTICLE

Prospective Study

Volumetric assessment of hepatic grafts using a light detection and ranging system for 3D scanning: Preliminary data

Katsanos G et al. LIDAR volumetric assessment of hepatic grafts

Georgios Katsanos, Konstantina-Eleni Karakasi, Ion-Anastasios Karolos, Athanasios Kofinas, Nikolaos Antoniadis, Vassilios Tsioukas, Georgios Tsoulfas

Georgios Katsanos, Konstantina-Eleni Karakasi, Athanasios Kofinas, Nikolaos Antoniadis, Georgios Tsoulfas, Department of Transplantation, Medical School, Aristotle University of Thessaloniki, Hippokration General Hospital, Thessaloniki 54642, Greece

Ion-Anastasios Karolos, Vassilios Tsioukas, Department of Rural and Surveying Engineering, Aristotle University of Thessaloniki, Thessaloniki 54642, Greece

Author contributions: Katsanos G and Karakasi KE contributed equally to this work; Katsanos G, Karakasi KE, and Tsoulfas G designed the research study; Katsanos G, Karakasi KE, Karolos IA, and Kofinas A performed the research; Antoniadis N and Karakasi KE conducted the data analysis and statistical analysis; Katsanos G, Tsoulfas G, and Tsioukas V analyzed the data and wrote the manuscript; Katsanos G, Kofinas A, and Tsoulfas G revised the manuscript; all authors have read and approved the final manuscript.

Supported by the European Union and Greek national funds through the Operational Program Competitiveness, Entrepreneurship and Innovation, No. T1EDK-03599.

Corresponding author: Georgios Tsoulfas, FACS, FICS, MD, PhD, Professor, Department of Transplantation, Medical School, Aristotle University of Thessaloniki, Hippokration General Hospital, No. 49 Konstantinoupoleos Street, Thessaloniki 54642, Greece. tsoulfasg@gmail.com

Received: January 30, 2022

Revised: April 10, 2022

Accepted: June 27, 2022

Published online: July 27, 2022

Abstract

BACKGROUND

Liver transplantation has evolved into a safe life-saving operation and remains the golden standard in the treatment of end stage liver disease. The main limiting factor in the application of liver transplantation is graft shortage. Many strategies have been developed in order to alleviate graft shortage, such as living donor partial liver transplantation and split liver transplantation for adult and pediatric patients. In these strategies, liver volume assessment is of paramount importance, as size mismatch can have severe consequences in the success of liver transplantation.

AIM

To evaluate the safety, feasibility, and accuracy of light detection and ranging (LIDAR) 3D photography in the prediction of whole liver graft volume and mass.

METHODS

Seven liver grafts procured for orthotopic liver transplantation from brain deceased donors were prospectively measured with an LIDAR handheld camera and their mass was calculated and compared to their actual weight.

RESULTS

The mean error of all measurements was 17.03 g (range 3.56-59.33 g). Statistical analysis of the data yielded a Pearson correlation coefficient index of 0.9968, indicating a strong correlation between the values and a Student’s t-test P-value of 0.26. Mean accuracy of the measurements was calculated at 97.88%.

CONCLUSION

Our preliminary data indicate that LIDAR scanning of liver grafts is a safe, cost-effective, and feasible method of ex vivo determination of whole liver volume and mass. More data are needed to determine the precision and accuracy of this method.

Key Words: Light detection and ranging; Graft volume; 3dscan; Ex vivo volumetry; Liver grafts

©The Author(s) 2022. Published by Baishideng Publishing Group Inc. All rights reserved.

Citation：Katsanos G, Karakasi KE, Karolos IA, Kofinas A, Antoniadis N, Tsioukas V, Tsoulfas G. Volumetric assessment of hepatic grafts using a light detection and ranging system for 3D scanning: Preliminary data. World J Hepatol 2022; 14(7): 1504-1511

URL: https://www.wjgnet.com/1948-5182/full/v14/i7/1504.htm

DOI: https://dx.doi.org/10.4254/wjh.v14.i7. 1504

Core Tip: Liver transplantation (LT) is the golden standard in the treatment of end stage liver disease. The main limiting factor in the application of LT is graft shortage and over the years, many strategies have been developed in order to increase graft availability, such as living donor liver transplantation and split liver transplantation. In these strategies, liver volume assessment is of paramount importance in the success of LT. In this preliminary proof-of-concept study, we evaluated the use of light detection and ranging (LIDAR) technology for ex vivo measurement of hepatic grafts. Preliminary data indicate that LIDAR scanning of liver grafts is a safe, cost-effective, and feasible method of ex vivo determination of whole liver volume and mass.

INTRODUCTION

Liver transplantation (LT) has evolved into a safe life-saving operation and remains the golden standard in the treatment of end stage liver disease[1]. The main limiting factor in the application of LT in the vast range of diseases that progress to end stage liver failure, as well as in the developing transplant oncology, is graft shortage, affecting thousands of adult and pediatric patients[2].

Over the years, many strategies have been developed in order to alleviate graft shortage, such as living donor liver transplantation[3] and split liver transplantation[4]. In these strategies, liver volume assessment is of paramount importance, as size mismatch can have severe consequences in the success of LT[5].

Although several techniques have been developed in order to assess liver graft volumes, few data and methods can accurately calculate partial split graft volumes in split liver transplantation[6], especially in the scenario of donors that have not been subjected to abdominal imaging studies.

Reality capture, on the other hand, is the use of various technical means to capture a digital 3D model representation of a subject from the real world. Recent technological advancements have made reality capture hardware such as light detection and ranging (LIDAR) 3D technology available to the public at reasonable prices. This technology has a multitude of applications and its value has not been extensively explored in liver surgery and liver transplantation[7,8]. We conducted a preliminary proof-of-concept study in order to evaluate the feasibility, safety, and accuracy of 3D LIDAR scanning photography of whole liver grafts and the prediction of liver volume and mass.

MATERIALS AND METHODS

Seven liver grafts procured for orthotopic liver transplantation from brain deceased donors were prospectively measured in this single blind, ongoing study. During the standard back table procedure, grafts were weighed and their mass in grams was recorded using a DSW200D weight scale (DELMAC Group, Athens, Greece). Before graft storage in the traditional nylon bags, the graft was placed on a flat sterile surface and photographed using an Original Structure 3D Scanning Sensor from the Occipital company (Occipital inc., Boulder, United States) (Figure 1). This particular sensor can be adapted to any device with the iOS and iPadOS operating system (Figure 2A), using a special bracket suitable for each corresponding model of iPhone or iPad of the end user. For the purposes of this study, an iPad (6th generation; Apple Inc., California, United States) was used (Figure 2B). The structure sensor communicates with the iPad via a USB to a lightning cable, while the 3D scanning process is done using a suitable iPadOS compatible application provided by Occipital. This application provides the user with the ability to convert the point cloud resulting from the scanning process into a Mesh 3D digital .obj format. The Occipital structure sensor is a mobile based structure light system (SLS). This SLS consists of a laser-emitting diode, an infrared radiation range projector, and an infrared sensor and the iPad’s RGB sensor that provide measuring data to an included system on a chip (SOC) for processing. The output stream from the structure sensor alone consists of a point dataset, with a VGA resolution (640 × 480 pixels), where every pixel records the distance from sensor to the target. The infrared sensor records the reflectance intensity of the infrared (IR) light pattern projected by the IR projector onto the target while its SOC triangulates the 3D scene using specific algorithmic patterns. The main advantage of the above procedure is that the extraction of the 3D model does not require any kind of contact with the physical object (in our case the liver transplant). All measurements were conducted in fully sterile conditions with no contact with the grafts. All measurements lasted less than 3 min.

After completing the 3D reconstruction of the liver graft, the final .obj model is imported into the 3D Mesh and Point Cloud management and editing software, the 3D Slicer, a free, open source and multi-platform software package used for medical, biomedical, and related imaging research. A detailed view of an exported model participating in this study is shown in Figure 2C.

To extract the final volume of the liver model, the part of the surface on which the implant is placed (blue background) is removed from the model. The side of the graft that is in contact with the table is considered as a completely flat surface (Figure 2D). The complete flowchart of the procedure is presented on Figure 3.

In this study, mass and volume calculations were conducted by two separate teams that were blinded as to the other team’s results and measurements.

LIDAR calculated volume was converted into mass using a fixed value of liver density defined by convention at 1.07 gr/mL[9,10] .

Calculated liver mass was compared to the actual weighted liver mass of each graft.

Statistical analysis

R studio for windows (R studio, Boston MA, United States) version 4.1.1 was used to perform all the statistical analyses employing packages “rstatix” and “tidyverse”.

RESULTS

From June 2021 until January 2022, seven liver grafts from deceased donors were included in the study. The average donor age was 52.4 years, and the men-to-women ratio was 3:4. Apart from gender and age, we recorded weight, height, body mass index, and body surface area (BSA). Liver core biopsy was performed for all liver grafts as a standard practice in our department. Donor demographics are presented in Table 1. Graft weight was measured in grams (g). LIDAR imaging analysis provided the calculated graft volumes expressed in millilitres (mL). Considering the mean human liver density at 1.07 g/mL, calculated LIDAR volumes were converted to mass in grams by multiplying the volumes by 1.07. The theoretical volume of the grafts was also recorded using the Vauthey-Abdalla formula[11] [total liver volume = -794.41 + 1267.28 × body surface area). Table 2 depicts the results.

The mean duration of the measurement was 123 (74-171) s. No incidence was recorded during the procedure, which was conducted during the usual graft preparation by the surgical team. One graft was discarded due to severe steatosis. In the other six grafts, no cases of graft dysfunction or non-function were recorded in the subsequent transplantation.

LIDAR assisted graft volume and mass calculation results were compared with the actual weighed mass of the grafts. The mean error of all measurements was 17.03 g (range 3.56-59.33 g). Initially, data fluctuation analysis was performed for one factor (ANOVA). Average values, fluctuation, and degrees of freedom were calculated, and the null hypothesis (F < Fcit) was confirmed (Table 3). Statistical analysis of the data yielded a Pearson correlation coefficient index of 0.9968, indicating a strong correlation between the values and a Student’s t-test P-value of 0.26. Mean accuracy of the measurements was calculated at 97.88%. Results are depicted in Figure 4.

DISCUSSION

Liver graft mass and volume and their relations to recipient somatometric characteristics are essential factors for the outcome of LT. Although in standard whole liver adult to adult orthotopic LT, size is usually not an issue and the already existing methods of graft volume evaluation might be sufficient, accurate prediction of partial liver volumes in living donor[12] and split liver transplantation presents a more complex challenge[13]. Up to date, the main methods for partial liver volume calculation rely on preoperative imaging studies[14,15], which present their own set of challenges[16]. In the present work, we conducted a preliminary proof-of-concept study for the evaluation of the available handheld LIDAR technology for the evaluation of hepatic graft volume, as the first step in the development of a method that could eventually accurately estimate partial split liver volumes of grafts evaluated for split liver transplantation. The use of whole grafts aimed at calibrating the method and detecting eventual technical issues, as well as overcoming the technical issues associated with the split liver surgical technique and the fact that split liver transplantation is not currently performed in Greece. Our preliminary data tend to validate the concept of the study; however, it does not have a valuable clinical application per se, as whole liver mass and volume can be easily calculated by simply weighing the graft or by the water displacement method. However, due to the asymmetric structure of the liver, the calculation of partial liver volumes is more complex, and the existing mathematic formulas cannot accurately predict the segmental hepatic volumes that can vary considerably between patients[17], leaving the preoperative imaging studies of the graft in the form of either a computed tomography (CT) or magnetic resonance imaging (MRI) scan as the most used and valuable option. LIDAR assisted liver volumetry could add a useful tool for ex vivo partial liver volume calculation mainly in cases of split liver transplantation for donors that for various reasons did not have a pre-procurement CT or MRI study. Compared to traditional methods for liver volumetry such as CT and MRI, LIDAR volumetric assessment is more cost-effective, less time-consuming, and less operator-dependent. Triple phase liver CT scans or MRI scans can be difficult to obtain even in tertiary hospitals, let alone in the setting of a small rural donor hospital. Moreover, the multi-organ donor is not burdened with intravenous contrast media administration, which may affect kidney function. Liver 3D model capture using the LIDAR camera is performed ex vivo, just after backtable liver preparation, in less than 3 min and under sterile conditions. Actual volume measurement is done utilizing an open, free software package without the need of an expert radiologist. One obvious drawback in comparison to preoperative donor imaging is that the internal anatomy of the liver cannot be assessed and surgical plane planning is not possible. Another issue is that liver volume is measured during a state of non-perfusion, so liver mass and volume may differ if compared to a perfused organ in vivo[10]. LIDAR assisted volumetry showed a better accuracy than the theoretical volume calculation using the VAUTHEY formula. This is probably mainly due to the lack of precise donor data (mainly donor weight), as many rural hospitals do not have the ability to weigh bedridden patients and the donor weight data derive from crude estimation or medical records. Finally, the main flaw of the present study is the inability to scan the inferior surface of the liver and segment I, which lie against a flat surface, and by convention this surface is considered completely flat in our calculations. The subsequent steps in this ongoing study will be the refinement of the measuring technique, and the evaluation of the method in cadaveric livers with simulation of the ex situ splitting procedure and measurement of partial liver volumes (mainly left lateral section volumes), before moving in the actual setting of real world split liver transplantation.

CONCLUSION

Our preliminary data indicate that LIDAR scanning of liver grafts is a safe, cost-effective, and feasible method of ex vivo determination of whole liver volume and mass. More data are needed to determine the precision and accuracy of this method.

ARTICLE HIGHLIGHTS

Research background

Split liver transplantation is a viable option of increasing the number of available grafts, as one liver graft can yield two partial grafts for two donors. In this procedure, partial liver volume estimation, particularly left lateral segment volume estimation, is critical to the outcome of the procedure.

Research motivation

To assess the application of light detection and ranging technology in the ex vivo estimation of whole liver grafts.

Research objectives

To evaluate the feasibility, safety, and accuracy of 3D light detection and ranging (LIDAR) scanning photography of whole liver grafts and the prediction of liver volume and mass.

Research methods

Seven liver grafts procured for orthotopic liver transplantation from brain deceased donors were prospectively measured in this single blind, ongoing study. All measurements were conducted in fully sterile conditions with no contact with the grafts. LIDAR calculated volume was converted into mass using a fixed value of liver density defined by convention at 1.07 gr/mL. Calculated liver mass was compared to the actual weighted liver mass of each graft.

Research results

From June 2021 until January 2022, seven liver grafts from deceased donors were included in the study. Graft weight was measured in grams (g). LIDAR imaging analysis provided the calculated graft volumes expressed in millilitres (mL). Considering the mean human liver density at 1.07 g/mL, calculated LIDAR volumes were converted to mass in grams by multiplying the volumes by 1.07. Statistical analysis of the data yielded a Pearson correlation coefficient index of 0.9968, indicating a strong correlation between the values, and a Student’s t-test P-value of 0.26. Mean accuracy of the measurements was calculated at 97.88%.

Research conclusions

Our preliminary data indicate that LIDAR scanning of liver grafts is a safe, cost-effective, and feasible method of ex vivo determination of whole liver volume and mass. More data are needed to determine the precision and accuracy of this method.

Research perspectives

LIDAR assisted liver volumetry could add a useful tool for ex vivo partial liver volume calculation mainly in cases of split liver transplantation for donors that for various reasons did not have a pre-procurement computed tomography (CT) or magnetic resonance imaging (MRI) study. Compared to traditional methods for liver volumetry such as CT and MRI, LIDAR volumetric assessment is more cost-effective, less time-consuming, and less operator-dependent.

REFERENCES

1 Müller PC, Kabacam G, Vibert E, Germani G, Petrowsky H. Current status of liver transplantation in Europe. Int J Surg 2020; 82S: 22-29 [PMID: 32454252 DOI: 10.1016/j.ijsu.2020.05.062]

2 de Ville de Goyet J, Baumann U, Karam V, Verkade HJ. Letter to the editor: Organ shortage and pediatric liver transplantation: David against Goliath…. Hepatology 2022; 75: 1342-1343 [PMID: 35030272 DOI: 10.1002/hep.32342]

3 Pomfret EA, Sung RS, Allan J, Kinkhabwala M, Melancon JK, Roberts JP. Solving the organ shortage crisis: the 7th annual American Society of Transplant Surgeons' State-of-the-Art Winter Symposium. Am J Transplant 2008; 8: 745-752 [PMID: 18261169 DOI: 10.1111/j.1600-6143.2007.02146.x]

4 Hackl C, Schmidt KM, Süsal C, Döhler B, Zidek M, Schlitt HJ. Split liver transplantation: Current developments. World J Gastroenterol 2018; 24: 5312-5321 [PMID: 30598576 DOI: 10.3748/wjg.v24.i47.5312]

5 Reyes J, Perkins J, Kling C, Montenovo M. Size mismatch in deceased donor liver transplantation and its impact on graft survival. Clin Transplant 2019; 33: e13662 [PMID: 31283049 DOI: 10.1111/ctr.13662]

6 Radtke A, Sotiropoulos GC, Nadalin S, Molmenti EP, Schroeder T, Lang H, Saner F, Valentin-Gamazo C, Frilling A, Schenk A, Broelsch CE, Malagó M. Preoperative volume prediction in adult living donor liver transplantation: how much can we rely on it? Am J Transplant 2007; 7: 672-679 [PMID: 17229068 DOI: 10.1111/j.1600-6143.2006.01656.x]

7 Zalevsky Z, Buller GS, Chen T, Cohen M, Barton-Grimley R. Light detection and ranging (lidar): introduction. J Opt Soc Am A Opt Image Sci Vis 2021; 38: LID1-LID2 [PMID: 34807027 DOI: 10.1364/JOSAA.445792]

8 Svanberg S, Zhao G, Zhang H, Huang J, Lian M, Li T, Zhu S, Li Y, Duan Z, Lin H, Svanberg K. Laser spectroscopy applied to environmental, ecological, food safety, and biomedical research. Opt Express 2016; 24: A515-A527 [PMID: 27136872 DOI: 10.1364/OE.24.00A515]

9 Overmoyer BA, McLaren CE, Brittenham GM. Uniformity of liver density and nonheme (storage) iron distribution. Arch Pathol Lab Med 1987; 111: 549-554 [PMID: 3579513]

10 Niehues SM, Unger JK, Malinowski M, Neymeyer J, Hamm B, Stockmann M. Liver volume measurement: reason of the difference between in vivo CT-volumetry and intraoperative ex vivo determination and how to cope it. Eur J Med Res 2010; 15: 345-350 [PMID: 20947471 DOI: 10.1186/2047-783x-15-8-345]

11 Vauthey JN, Abdalla EK, Doherty DA, Gertsch P, Fenstermacher MJ, Loyer EM, Lerut J, Materne R, Wang X, Encarnacion A, Herron D, Mathey C, Ferrari G, Charnsangavej C, Do KA, Denys A. Body surface area and body weight predict total liver volume in Western adults. Liver Transpl 2002; 8: 233-240 [PMID: 11910568 DOI: 10.1053/jlts.2002.31654]

12 Radtke A, Sgourakis G, Molmenti EP, Beckebaum S, Cicinnati V, Broelsch CE, Peitgen HO, Malagó M, Schroeder T. Computer-assisted surgical planning in adult-to-adult live donor liver transplantation: how much does it help? A single center experience. Transplantation 2012; 94: 1138-1144 [PMID: 23222737 DOI: 10.1097/TP.0b013e31826e5970]

13 Lauterio A, Di Sandro S, Concone G, De Carlis R, Giacomoni A, De Carlis L. Current status and perspectives in split liver transplantation. World J Gastroenterol 2015; 21: 11003-11015 [PMID: 26494957 DOI: 10.3748/wjg.v21.i39.11003]

14 Simpson AL, Geller DA, Hemming AW, Jarnagin WR, Clements LW, D'Angelica MI, Dumpuri P, Gönen M, Zendejas I, Miga MI, Stefansic JD. Liver planning software accurately predicts postoperative liver volume and measures early regeneration. J Am Coll Surg 2014; 219: 199-207 [PMID: 24862883 DOI: 10.1016/j.jamcollsurg.2014.02.027]

15 Reichman TW, Fiorello B, Carmody I, Bohorquez H, Cohen A, Seal J, Bruce D, Loss GE. Using on-site liver 3-D reconstruction and volumetric calculations in split liver transplantation. Hepatobiliary Pancreat Dis Int 2016; 15: 587-592 [PMID: 27919847 DOI: 10.1016/s1499-3872(16)60155-8]

16 Lim MC, Tan CH, Cai J, Zheng J, Kow AW. CT volumetry of the liver: where does it stand in clinical practice? Clin Radiol 2014; 69: 887-895 [PMID: 24824973 DOI: 10.1016/j.crad.2013.12.021]

17 Abdalla EK, Denys A, Chevalier P, Nemr RA, Vauthey JN. Total and segmental liver volume variations: implications for liver surgery. Surgery 2004; 135: 404-410 [PMID: 15041964 DOI: 10.1016/j.surg.2003.08.024]

Footnotes

Institutional review board statement: The study was reviewed and approved by the Aristotle University of Thessaloniki Institutional Review Board (Approval No. 3.479).

Informed consent statement: All study participants, or their legal guardian, provided written consent prior to study enrollment.

Conflict-of-interest statement: All authors of this manuscript having no conflicts of interest to disclose.

Data sharing statement: No additional data are available.

CONSORT 2010 statement: The authors have read the STROBE Statement—checklist of items, and the manuscript was prepared and revised according to the STROBE Statement—checklist of items.

Open-Access: This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: https://creativecommons.org/Licenses/by-nc/4.0/

Provenance and peer review: Invited article; Externally peer reviewed.

Peer-review model: Single blind

Peer-review started: January 30, 2022

First decision: March 7, 2022

Article in press: June 27, 2022

Specialty type: Gastroenterology and hepatology

Country/Territory of origin: Greece

Peer-review report’s scientific quality classification

Grade A (Excellent): A

Grade B (Very good): B

Grade C (Good): C

Grade D (Fair): 0

Grade E (Poor): 0

P-Reviewer: Wang P, China; Yao Y, China S-Editor: Wang LL L-Editor: Wang TQ P-Editor: Wang LL

Figure Legends

Figure 1 Liver graft measurement using an original structure 3D scanning sensor.

Figure 2 The particular sensor can be adapted to any device with iOS and iPadOS operating system. A: The device used in the present study. The structure core sensor, the adjustment bracket, the USB communication cable, and the iPad (6th generation) are shown; B: The Occipital original structure sensor; C: An exported 3D model of a liver graft; D: The final 3D model of the liver graft.

Figure 3 Flowchart of the light detection and ranging assisted volumetric assessment of liver grafts.

Figure 4 Results of light detection and ranging assisted prediction of whole liver mass in grams in the seven liver grafts.

Table 1 Donor demographics.

| N | Gender | Age (yr) | Cause of death | Graft steatosis (%) | Weight (kg) | Height (m) | BMI (kg/m2) | BSA (m2) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Female | 59 | IBI | > 10 | 60 | 1.6 | 23.43 | 1.76 |
| 2 | Male | 32 | IBI | > 10 | 75 | 1.7 | 25.95 | 1.88 |
| 3 | Male | 64 | SH | > 10 | 85 | 1.75 | 27.75 | 2.03 |
| 4 | Female | 63 | ICH | 60 | 70 | 1.6 | 27.34 | 2.06 |
| 5 | Female | 46 | ICH | 5 | 90 | 1.7 | 31.14 | 2.41 |
| 6 | Female | 54 | ICH | 20 | 120 | 1.75 | 39.18 | 1.63 |
| 7 | Male | 49 | IBI | > 10 | 75 | 1.83 | 22.39 | 1.95 |

N: Donor number; BMI: Body mass index; BSA: Body surface area; IBI: Ischemic brain injury; SB: Subarachnoid haemorrhage; ICH: Intracerebral haemorrhage.

Table 2 Results

| N | Graft weight (g) | LIDAR volume (mL) | Vauthey volume (mL) | LIDAR estimated graft mass (g) | LIDAR error (g) | LIDAR error (%) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 1202 | 1179 | 1275.04 | 1261.53 | 59.53 | 4.95 |
| 2 | 1623 | 1490 | 1590.52 | 1594.30 | -28.70 | -1.77 |
| 3 | 2201 | 2090 | 1781.61 | 2236.30 | 35.30 | 1.60 |
| 4 | 1332 | 1248 | 1440.86 | 1335.36 | 3.36 | 0.25 |
| 5 | 1227 | 1141 | 1818.15 | 1220.87 | -6.13 | -0.50 |
| 6 | 1074 | 1040 | 2266.36 | 1112.80 | 38.80 | 3.61 |
| 7 | 1623 | 1482 | 1680.03 | 1585.74 | -37.26 | -2.30 |

Estimated graft mass = Light detection and ranging (LIDAR) volume mL × 1.07 gr/mL. The LIDAR error is calculated by subtracting the LIDAR estimated liver mass from the actual mass (weight) of the grafts. N: Donor number; g: Grams; LIDAR: Light detection and ranging.

Table 3 ANOVA: Single factor

| Source of Variation | SD | df | MS | F | F crit |
| --- | --- | --- | --- | --- | --- |
| Between groups | 225616.3945 | 2 | 112808.1972 | 0.861884735 | 3.554557 |
| Within groups | 2355938.641 | 18 | 130885.4801 |  |  |
| Total | 2581555.035 | 20 |  |  |  |

SD: Standard deviation; df: Degrees of freedom; MS: Mean squares; F crit: F critical.

Published by Baishideng Publishing Group Inc

7041 Koll Center Parkway, Suite 160, Pleasanton, CA 94566, USA

Telephone: +1-925-3991568

E-mail: bpgoffice@wjgnet.com

Help Desk: https://www.f6publishing.com/helpdesk

https://www.wjgnet.com

© 2022 Baishideng Publishing Group Inc. All rights reserved.