Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 11484

Columns: CLINICAL TRIALS STUDY

Use of disposable graduated biopsy forceps improves the accuracy of polyp size measurements during endoscopy

Jin H et al. Graduated biopsy forceps for polyp measurements

Hei-Ying Jin, Qiang Leng

Hei-Ying Jin, Qiang Leng, National Center of Colorectal Surgery, the Third Affiliated Hospital of Nanjing University of Traditional Chinese Medicine, Jiangsu Integrated Colorectal Oncology Center, Nanjing 210001, Jiangsu Province, China

Author contributions: Jin HY contributed to the study design, data collection and analysis and revision of the manuscript; Leng Q contributed to the data collection and analysis and draft of the manuscript.

Supported by National Nature Science Foundation of China, No. 3097383, 81273944; The Nanjing Medical Technology Development Project, NJYX201203

Correspondence to: Hei-Ying Jin, MD, PhD, National Center of Colorectal Surgery, the Third Affiliated Hospital of Nanjing University of Traditional Chinese Medicine, Jiangsu Integrated Colorectal Oncology Center, 1 Jinling Road, Nanjing 210001, Jiangsu Province, China. jinheiying@hotmail.com

Telephone: +86-25-52276200   Fax: +86-25-52276200

Received: March 7, 2014           Revised: June 29, 2014

Accepted: July 24, 2014

Published online:

Abstract

AIM: To determine the accuracy of endoscopic polyp size measurement using disposable graduated biopsy forceps (DGBF).

METHODS: Gradations accurate to 1 mm were assessed with the wire of disposable graduated biopsy forceps. When a polyp was noted, clinicians determined the width of the polyp; then, the graduated biopsy forceps was inserted and the width at the largest diameter of the tumor was measured. After excision, during surgery or endoscopy, the polyp was measured using the vernier caliper.

RESULTS: One hundred and thirty-three colon polyps from 119 patients were studied. The mean diameter, by post polypectomy measurement, was 0.92 ± 0.69 cm; 83 were < 1 cm, 36 were between 1 and 2 cm and 14 were > 2 cm. The mean diameter, by visual estimation, was 1.15 ± 0.88 cm; compared to the actual size, using vernier calipers, the difference was statistically significant. The mean diameter, using the DGBF, was 0.93 ± 0.68 cm; compared to the actual size, using vernier calipers, this difference was not statistically significant. The ratio between the estimated and actual sizes showed that the mean measurement by visual estimation was 1.26 ± 0.30 and it was 1.02 ± 0.11 with the DGBF; this difference was statistically significant.

CONCLUSION: The accuracy of polyp size estimation was low by visual assessment; however, it improved when the DGBF was used.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Disposable graduated biopsy forceps; Polyp size measurement; Colonoscopy and accuracy

Core tip: In this study, we designed a disposable graduated biopsy forceps and used the forceps as “scaleplate” to measure the polyps size. We enrolled 133 polyps from 119 patients and found that the accuracy of the visual estimation for a polyp size is low but can be improved if the disposable graduated biopsy forceps were used as a scale. Though some slight deviation still exists for estimation of polyps over 2 cm, the difference is not significant and does not affect treatment.

Jin HY, Leng Q. Use of disposable graduated biopsy forceps improves the accuracy of polyp size measurements during endoscopy. World J Gastroenterol 2014; In press

INTRODUCTION

The size of a tumor, detected at colonoscopy, is associated with the subsequent management of patients. If the size of a colon polyp is less than 3 cm, endoscopic mucosal resection (EMR) or endoscopic submucosal dissection (ESD) could achieve complete resection with few complications[1,2]. If a colon polyp is greater than 3 cm, then the bowel would need to be resected by endoscopic resection; these cases have been associated with a high risk of complications. However, for colon polyps less than 3 cm, the methods used and risks associated with endoscopic resection are different; that is, for polyps 2-3, 1-2 cm and those less than 1 cm[3,4]. Several clinical guidelines include the size and extent of the tumor as an important factor for deciding on the use of endoscopy for resection of colon polyps. Therefore, accurate measurement of colon polyps, during colonoscopy, is crucial for the appropriate management of patients with colon polyps[5-7]. However, there are no standard criteria for measuring the size of a colon polyp during colonoscopy.

Many clinicians evaluate the size of a polyp based on their personal experience, which may be inconsistent with the actual size of the colon tumor. Eichenseer et al[8] compared the estimated size of 10 to 25-mm polyps, as determined during endoscopy, with the post fixation histopathology of the polyps that were measured by 15 different endoscopists; they found that the mean size variation between the polyp size estimation at endoscopy and the histopathology of the polyps was 73.6% (range of mean size variation, 13%-127%). In addition, 62.6% (range: 0%-91%) included polyps that were clinically sized incorrectly; overestimation of the polyp size, during endoscopy, was more common than underestimation. Furthermore, some endoscopists inaccurately estimated the size of adenomas, and this led to inappropriate surveillance recommendations. Therefore, in order to evaluate the differences between the size estimated by endoscopists and the actual size, as determined by histopathology, we developed a system using disposable graduated biopsy forceps to evaluate the size of colon polyps and compared this to both the estimation reported by endoscopists and the final size determined by histopathology.

MATERIALS AND METHODS

Ethics

The study was approved by the ethics committee of the 3rd affiliated hospital of Nanjing University of Traditional Chinese Medicine.

Study subjects

The graduated biopsy forceps was developed based on the traditional disposable biopsy forceps. At the beginning of the steel wire, of the traditional disposable biopsy forceps, gradations were drawn every 1 mm along a 3-cm total length, using medical pigment. This was used as a scale-plate for estimating the size of the tumors. From April to September 2013, patients with polyps were enrolled from the National Center of Colorectal Surgery, Nanjing University of Traditional Chinese Medicine. First, when the clinicians discovered a polyp or tumor, they assessed the width of the largest diameter of the tumor; then, they inserted a graduated biopsy forceps and measured the width of the largest diameter of the tumor from the vertical view; lastly, the “gold standard” for the width of the largest diameter of the tumor was accurately measured using a vernier caliper, after excising the tumor by surgery or endoscopy (Figure 1). The Hospital Ethics Committee approved the study; all patients signed a consent form. A correct measurement was defined as a variation of less than 10% between the size evaluated and the actual size as measured using a vernier caliper. The accuracy rate was defined as the number of polyps accurately evaluated divided by the total number of polyps. Five endoscopists who had over 2000 cases experience of colonoscopy were involved in the study.

Statistical analysis

The data was analyzed using SPSS 17.0 software for Windows. The paired Student’s t test was used to compare the ratio of the estimated size, by endoscopists, to the actual size measured using the vernier caliper, with that the ratio of the size measured by the graduated biopsy forceps to the actual size measured using the vernier caliper; an analysis of variance was used to compare the differences among the three groups. A P of < 0.05 was considered to be statistically significant.

RESULTS

Basic clinical characteristics of the polyps

One hundred and thirty-three colon polyps from 119 patients (76 male patients; 43 female patients; average age, 58.29 ± 11.45 years; range: 28-82 years) were included. Among the polyps: 40 were rectal polyps, 43 sigmoid colon polyps, seven descending colon polyps, 12 transverse colon polyps, and 31 cecum or ascending colon polyps. Among the patients, two underwent a laparoscopic colectomy, and all others had endoscopic mucosal resection. One hundred and seven were adenomas, while four were villous adenomas (of which, one was a mucosal cancer, 21 were tubulovillous adenomas and one was a neuroendocrine tumor, a carcinoid).

Influence of different tumor sizes on tumor size evaluation

The largest mean diameter of the resected polyps, measured by a vernier caliper, was 0.92 ± 0.69 cm (range: 0.1-4.0 cm); among them, 83 were < 1 cm, 36 were between 1 and 2 cm and 14 were > 2 cm (Figure 2).

For those polyps < 1 cm, the largest mean diameter evaluated by the endoscopists was 0.70 ± 0.23 cm (range: 0.2-1.5 cm); this was different from the actual size measured by the vernier caliper (0.57 ± 0.17 cm)(P = 0.000), and this difference was statistically significant; the largest mean diameter measured using the graduated biopsy forceps was 0.58 ± 0.17 cm; this was not significantly different from the actual size as measured using the vernier caliper (P = 0.096).

For polyps 1 cm to 2 cm, the largest mean diameter measured by the vernier caliper was 1.31 ± 0.34 cm, while the largest mean diameter by endoscopists was 1.77 ± 0.71 cm (range: 0.6-3.0 cm); the difference was statistically significant (P = 0.000). The largest mean diameter measured using the graduated biopsy forceps was 1.323 ± 0.43 cm (range: 0.9-2.1 cm); this was not significantly different from the largest mean diameter measured using the vernier caliper (P = 0.688).

For polyps that were > 2 cm, the largest mean diameter measured using the vernier caliper was 2.70 ± 0.58 cm, while the largest mean diameter evaluated according to endoscopists was 3.12 ± 0.91 cm (range: 2.0-5.0 cm); this difference was  statistically significant (P = 0.006),which implied that the endoscopists tend to over estimate the polyp size . The largest mean diameter measured using the graduated biopsy forceps was 2.64 ± 0.59 cm; this was not significantly different from the largest mean diameter measured using the vernier caliper (P = 0.223).

Influence of different tumor sizes on the accuracy of estimated tumor size

For 83 polyps less than 1 cm, only 22.2% (8/36) could be accurately estimated by clinicians while 86.7% (72/83) could be accurately measured using the graduated biopsy forceps; this difference was statistically significant (P = 0.000).

For 36 polyps between 1 cm and 2 cm, only 11.1% (4/36) could be accurately estimated by clinicians while 66.7% (24/36) were accurately measured using the graduated biopsy forceps; this difference was statistically significant (P = 0.009).

For polyps over 2 cm, none were accurately estimated by clinician assessment while 57.1% were accurately measured using the graduated biopsy forceps.

DISCUSSION

The size of a colon polyp, assessed at colonoscopy, is crucial for determining patient management.  Many clinical guidelines use the size and extent of the tumor as an important factor for determining whether to resect colon polyps using endoscopy[5-7]. However, accurate estimation of the size of a polyp, during colonoscopy, is not guaranteed. Currently, the size of a polyp is evaluated by endoscopists based on their personal experience; however, there is great variation among endoscopists with regard to the evaluation and actual size of a colon polyp. In some studies, the oncological potential of a colon polyp has been related to its size and shape, indicating that the measurement of the colon polyp’s size was an important factor for determination of the risk associated with the colon polyp[9,10]. In this study, the difference between the actual size of the colon polyp and the clinicians’ evaluation was significant. The actual size measured using the vernier caliper varied from that of the endoscopists’ estimated size, and this difference was statistically significant, especially for polyps greater than 1 cm. The reason for the variation in size estimation via endoscopy was the absence of a “scale plate.” All size estimations were done based on the clinicians’ experience. Those clinicians who were more experienced could accurately evaluate the size of the colon polyps; however, the size estimation by those clinicians that were less experienced varied from the actual size. The accuracy of size estimation was improved by using the graduated biopsy forceps during the endoscopy[11]. Morales et al[12] used an open biopsy forceps as a guide to measuring the colon polyp size during colonoscopy; however, there were significant differences between the endoscopic estimates and the post-polypectomy measurements for three quarters of the polyps. Gopalswamy et al[13] compared the accuracy of a linear probe, visual estimation and forceps for estimating polyp size during colonoscopy; they found that the measurement of the polyp size using a linear probe had the best agreement with the actual polyp size, followed closely by visual estimation. The open biopsy forceps method was the least accurate. However, the linear probe requires special software to estimate size, which adds to the examination time and cost of the procedure. In recent years, the computed tomography (CT) colonoscopy has been used to estimate the size of colon polyps with a high degree of accuracy. However, the patients required bowel preparation before a CT colonoscopy and the procedure was very costly[14-16].

To estimate the size of colon polyps, we developed a graduated biopsy forceps based on the traditional disposable biopsy forceps. Gradations were drawn every 1 mm along the 3-cm total length using medical pigment. The accuracy of estimating the size of the colon polyps increased when using the graduated biopsy forceps. In this study, the mean estimated size, by clinicians, was 1.15 cm; this was different from the actual size measured using the vernier caliper, 0.92 cm, and the difference was statistically significant. However, the mean size measured using the graduated biopsy forceps was 1.02 cm, which was statistically the same as the actual size measured using the vernier caliper, 0.93 cm. Therefore, the size measured by the graduated biopsy forceps was consistent with the actual size as measured using the vernier caliper. The ratio of the estimated size, according to the endoscopists, to the actual size, measured using the vernier caliper, was 1.26, while the ratio of the size, measured using the graduated biopsy forceps, to the actual size, measured using the vernier caliper, was 1.02; the difference according to these two ratios was statistically significant (P = 0.000). These findings show that the graduated biopsy forceps could improve the accuracy of size estimation of colon polyps.

Different polyp sizes affected the accuracy of size estimation. The bigger the tumor size, the less accurately the tumor was estimated.From our study, the polyps size by endoscopist tends to be over estimated and the polyps size tends to be more accurately estimated when we used he graduated biopsy forceps. For polyps less than 1 cm, 86.7% could be accurately measured and For polyps between 1 and 2 cm, only 11.1% could be accurately estimated by clinicians while 66.7%were accurately measured using the graduated biopsy forceps. These findings indicate that using the graduated biopsy forceps improved the accuracy of size estimation and decreased the variation of measurements.

However, this type of graduated biopsy forceps could only measure polyps along the longitudinal axis of the bowel; polyps that surrounded the enteric cavity could not be directly measured with the graduated biopsy forceps. In such cases, estimations by clinicians were needed; they identified polyps that surrounded the enteric cavity. In this study, for 14 polyps that were > 2 cm, variation existed in 42.9% (6/14) of the polyps, especially for the lateral spread of the polyps. The size measurement could not be determined in one view, and in such cases the assessment might be different from the actual size.

In conclusion, the estimation of colon polyp size, during endoscopy, based on a clinicians’ experience had lower accuracy; use of a graduated biopsy forceps, during endoscopy, improved the accuracy of size estimation. Although there were variations in the lateral spread of colon polyps that were > 2 cm, the variations were significantly decreased and they did not affect treatment and follow-up.

ACKNOWLEDGEMENTS

Many thanks to Mrs Ping Liu, Mrs Xiu Zhang, Mrs Hui-Ping Lin for the acquisition of data and Dr. Hang Yao, Dr. Kunlan Wu, Dr. Jin-Hao Zhang for the analysis and interpretation of data.

COMMENTS

Background

The size of a tumor, detected at colonoscopy, is associated with the subsequent management of patients. However, there are no standard criteria for measuring the size of a colon polyp during colonoscopy. Several studies showed that some endoscopists inaccurately estimated the size of adenomas, and this led to inappropriate surveillance recommendations. Therefore, in order to evaluate the differences between the size estimated by endoscopists and the actual size, as determined by histopathology, we developed a system using disposable graduated biopsy forceps (DGBF) to evaluate the size of colon polyps and compared this to both the estimation reported by endoscopists and the final size determined by histopathology.

Research frontiers

In order to evaluate the differences between the size estimated by endoscopists and the actual size, as determined by histopathology, authors developed a system using disposable graduated biopsy forceps to evaluate the size of colon polyps and compared this to both the estimation reported by endoscopists and the final size determined by histopathology.

Innovations and breakthroughs

This paper showed an easy method to size colon polyps. The study showed that the accuracy of polyp size estimation was low by visual assessment; however, it improved when the DGBF was used. Although some slight deviations still existed for estimations of polyps over 2 cm, the difference was not significant.

Applications

The DGBF is a very easy method to accurately size polyps under endoscopy. It is very useful method and does not increase the medical cost.

Peer review

The manuscript is novel and potentially helpful to the practicing gastroenterologist. It is a very interesting paper, an original view of the problem.

REFERENCES

1 Saito Y, Fujii T, Kondo H, Mukai H, Yokota T, Kozu T, Saito D. Endoscopic treatment for laterally spreading tumors in the colon. Endoscopy 2001; 33: 682-686 [PMID: 11490384 DOI: 10.1055/s-2001-16213]

2 Wang HM, Huang CM, Zheng CH, Li P, Xie JW, Wang JB, Lin JX, Lu J. Tumor size as a prognostic factor in patients with advanced gastric cancer in the lower third of the stomach. World J Gastroenterol 2012; 18: 5470-5475 [PMID: 23082065 DOI: 10.3748/wjg.v18.i38.5470]

3 Tseng MY, Lin JC, Huang TY, Shih YL, Chu HC, Chang WK, Hsieh TY, Chen PJ. Endoscopic submucosal dissection for early colorectal neoplasms: clinical experience in a tertiary medical center in taiwan. Gastroenterol Res Pract 2013; 2013: 891565 [PMID: 23533391 DOI: 10.1155/2013/891565]

4 Toyonaga T, Man-i M, Chinzei R, Takada N, Iwata Y, Morita Y, Sanuki T, Yoshida M, Fujita T, Kutsumi H, Hayakumo T, Inokuchi H, Azuma T. Endoscopic treatment for early stage colorectal tumors: the comparison between EMR with small incision, simplified ESD, and ESD using the standard flush knife and the ball tipped flush knife. Acta Chir Iugosl 2010; 57: 41-46 [PMID: 21066982 DOI: 10.2298/ACI1003041T]

5 Horiuchi Y, Chino A, Matsuo Y, Kishihara T, Uragami N, Fujimoto Y, Ueno M, Tamegai Y, Hoshino E, Igarashi M. Diagnosis of laterally spreading tumors (LST) in the rectum and selection of treatment: characteristics of each of the subclassifications of LST in the rectum. Dig Endosc 2013; 25: 608-614 [PMID: 23369130 DOI: 10.1111/den.12040]

6 Tanaka S, Terasaki M, Hayashi N, Oka S, Chayama K. Warning for unprincipled colorectal endoscopic submucosal dissection: accurate diagnosis and reasonable treatment strategy. Dig Endosc 2013; 25: 107-116 [PMID: 23368854]

7 Winawer SJ, Zauber AG, Fletcher RH, Stillman JS, O'brien MJ, Levin B, Smith RA, Lieberman DA, Burt RW, Levin TR, Bond JH, Brooks D, Byers T, Hyman N, Kirk L, Thorson A, Simmang C, Johnson D, Rex DK. Guidelines for colonoscopy surveillance after polypectomy: a consensus update by the US Multi-Society Task Force on Colorectal Cancer and the American Cancer Society. CA Cancer J Clin 2006; 56: 143-59; quiz 184-5 [PMID: 16737947 DOI: 10.3322/canjclin.56.3.143]

8 Eichenseer PJ, Dhanekula R, Jakate S, Mobarhan S, Melson JE. Endoscopic mis-sizing of polyps changes colorectal cancer surveillance recommendations. Dis Colon Rectum 2013; 56: 315-321 [PMID: 23392145 DOI: 10.1097/DCR.0b013e31826dd138]

9 Reinhart K, Bannert C, Dunkler D, Salzl P, Trauner M, Renner F, Knoflach P, Ferlitsch A, Weiss W, Ferlitsch M. Prevalence of flat lesions in a large screening population and their role in colonoscopy quality improvement. Endoscopy 2013; 45: 350-356 [PMID: 23616125 DOI: 10.1055/s-0032-1326348]

10 Einspahr JG, Alberts DS, Gapstur SM, Bostick RM, Emerson SS, Gerner EW. Surrogate end-point biomarkers as measures of colon cancer risk and their use in cancer chemoprevention trials. Cancer Epidemiol Biomarkers Prev 1997; 6: 37-48 [PMID: 8993796]

11 Turner JK, Wright M, Morgan M, Williams GT, Dolwani S. A prospective study of the accuracy and concordance between in-situ and postfixation measurements of colorectal polyp size and their potential impact upon surveillance. Eur J Gastroenterol Hepatol 2013; 25: 562-567 [PMID: 23325278 DOI: 10.1097/MEG.0b013e32835d1f2d]

12 Morales TG, Sampliner RE, Garewal HS, Fennerty MB, Aickin M. The difference in colon polyp size before and after removal. Gastrointest Endosc 1996; 43: 25-28 [PMID: 8903813 DOI: 10.1016/S0016-5107(96)70255-9]

13 Gopalswamy N, Shenoy VN, Choudhry U, Markert RJ, Peace N, Bhutani MS, Barde CJ. Is in vivo measurement of size of polyps during colonoscopy accurate? Gastrointest Endosc 1997; 46: 497-502 [PMID: 9434215 DOI: 10.1016/S0016-5107(97)70003-8]

14 Barancin C, Pickhardt PJ, Kim DH, Spier B, Lindstrom M, Reichelderfer M, Gopal D, Pfau P. Prospective blinded comparison of polyp size on computed tomography colonography and endoscopic colonoscopy. Clin Gastroenterol Hepatol 2011; 9: 443-445 [PMID: 21277389 DOI: 10.1016/j.cgh.2011.01.020]

15 Summers RM. Polyp size measurement at CT colonography: what do we know and what do we need to know? Radiology 2010; 255: 707-720 [PMID: 20501711 DOI: 10.1148/radiol.10090877]

16 Yeshwant SC, Summers RM, Yao J, Brickman DS, Choi JR, Pickhardt PJ. Polyps: linear and volumetric measurement at CT colonography. Radiology 2006; 241: 802-811 [PMID: 17114627 DOI: 10.1148/radiol.2413051534]

P-Reviewer: Figueiredo PN, Nowicki MJ S-Editor: Gou SX

L-Editor:    E-Editor:

Figure 1 Comparison of measurements using the graduated biopsy forceps and the vernier caliper. A, B: 0.6 cm, measured by the graduated biopsy forceps; 0.6 cm, measured by the vernier caliper; C, D: 1.4 cm, measured by the graduated biopsy forceps; 1.4 cm, measured by the vernier caliper.

Figure 2 Comparison of the largest diameter measured by the vernier caliper, the clinician's evaluation and the graduated biopsy forceps.