Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 11956

Columns: CASE CONTROL STUDY

Effectiveness of passive-bending, short-type single-balloon-enteroscope for endoscopic retrograde cholangiopancreatography in patients with Roux-en-Y anastomosis

Yamauchi H et al. Passive-bending short-type SBE-assisted ERCP

Hiroshi Yamauchi, Mitsuhiro Kida, Kosuke Okuwaki, Shuko Tokunaga, Shiro Miyazawa, Tomohisa Iwai, Miyoko Takezawa, Hiroshi Imaizumi, Wasaburo Koizumi

Hiroshi Yamauchi, Mitsuhiro Kida, Kosuke Okuwaki, Shuko Tokunaga, Shiro Miyazawa, Tomohisa Iwai, Miyoko Takezawa, Hiroshi Imaizumi, Wasaburo Koizumi, Department of Gastroenterology, Kitasato University East Hospital, Kanagawa 252-0380, Japan

Author contributions: Yamauchi H, Kida M designed study concept; Yamauchi H, Okuwaki K performed the research; Yamauchi H, Kida M, Okuwaki K, Tokunaga S, Miyazawa S, Iwai T, Takezawa M, Imaizumi H contributed the technical support; Kida M, Koizumi W contributed critical revision of the manuscript for important intellectual content; Yamauchi H analyzed the date and wrote the paper.

Correspondence to: Dr. Hiroshi Yamauchi, MD, Department of Gastroenterology, Kitasato University East Hospital, 2-1-1 Asamizodai, Minami-ku, Sagamihara, Kanagawa 252-0380, Japan. yhiroshi@kitasato-u.ac.jp

Telephone: +81-42-7489111   Fax: +81-42-7498690

Received: July 29, 2014       Revised: September 9, 2014

Accepted: October 15, 2014

Published online:

Abstract

AIM: To evaluate the usefulness of short-type-single-balloon-enteroscope (SBE) with passive-bending, high-force transmission functions for endoscopic retrograde cholangiopancreatography (ERCP) in patients with Roux-en-Y anastomosis.

METHODS: Short-type SBE with this technology (SIF-Y0004-V01; working length, 1520 mm; channel diameter, 3.2 mm) was used to perform 50 ERCP procedures in 37 patients. The rate of reaching the blind end, time required to reach the blind end, diagnostic and therapeutic success rates, and procedure time were studied retrospectively and compared with the results of 34 sessions of ERCP performed using a short-type SBE without this technology (SIF-Y0004; working length, 1520 mm; channel diameter, 3.2 mm) in 25 patients.

RESULTS: The rate of reaching the blind end was 90% with SIF-Y0004-V01 and 91% with SIF-Y0004 (P = 0.59). The median time required to reach the papilla was significantly shorter with SIF-Y0004-V01 (16 min) than with SIF-Y0004 (24 min, P = 0.04). The diagnostic success rate was 93% with SIF-Y0004-V01 and 84% with SIF-Y0004 (P = 0.17). The therapeutic success rate was 95% with SIF-Y0004-V01 and 96% with SIF-Y0004 (P = 0.68). The median procedure time was 40 min with SIF-Y0004-V01 and 36 min with SIF-Y0004 (P = 0.50).

CONCLUSION: SIF-Y0004-V01 is useful for ERCP in patients with Roux-en-Y anastomosis and may reduce the time required to reach the blind end.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Endoscopic retrograde cholangiopancreatography; Single balloon enetroscope; Short type; Passive bending; Roux-en-Y anastomosis

Core tip: We performed endoscopic retrograde cholangiopancreatography (ERCP) with a short-type single-balloon-enteroscope (SBE) with passive-bending and high-force transmission functions (working length, 1520 mm; channel diameter, 3.2 mm), and evaluated its effectiveness and compared results with normal short-type SBE (not equipped these functions). This technology is expected to facilitate ERCP after intestinal reconstruction. In our study, the rate of reaching the blind end did not differ significantly, however the median time required to reach the blind end was significantly shorter. This scope is useful for ERCP in patients with a Roux-en-Y anastomosis and may reduce the time required to reach the blind end.

Yamauchi H, Kida M, Okuwaki K, Tokunaga S, Miyazawa S, Iwai T, Takezawa M, Imaizumi H, Koizumi W. Effectiveness of passive-bending, short-type single-balloon-enteroscope for endoscopic retrograde cholangiopancreatograp- hy in patients with Roux-en-Y anastomosis. World J Gastroenterol 2014; In press

INTRODUCTION

Long type double-balloon enteroscope (DBE) was introduced by Yamamoto et al[1] for the purpose of diagnosis and treatment of small intestine. First report of DBE-assited endoscopic retrograde cholangiopancreatography (ERCP) was reported by Haruta et al[2] in patients with Roux-en-Y hepaticojejunostomy after liver transplantation.

The advent of balloon enteroscope has improved the outcomes of ERCP in patients with surgical altered anatomy, and many recent studies have reported that this technique is useful[3-15]. However, performing ERCP with a balloon enteroscope can be challenging, and several problems remain to be solved. For example, balloon enteroscopes lack a lifting device, and the narrow channel diameter precludes the use of wide-guided devices. The development of improved models of endoscopes and specialized devices is needed to improve the rate of reaching the papilla of Vater or choledochojejunal anastomosis (the blind end) and to reliably perform treatment procedures.

We evaluated the usefulness of a short-type single-balloon endoscope (SBE) (SIF-Y0004; working length, 1520 mm; channel diameter, 3.2 mm) in postoperative patients with a reconstructed intestine who underwent ERCP[4]. This scope allowed most wire-guided devices to be used and facilitated treatment procedures. Because a short-type SBE has a short working length, a decreased rate of reaching the blind end was a matter of concern. However, the rate of reaching the blind end with a short-type SBE was similar to that with a conventional SBE (SIF-Q260; Olympus Medical Systems)[7]. The rate of reaching the papilla of Vater or choledochojejunal anastomosis (blind end) during ERCP in patients who have undergone surgical reconstruction of the bowel with a balloon enteroscope is generally higher than 80%, but differs among hospitals[3-12]. Similar results have been obtained with an SBE and a double-balloon enteroscope[13,14]. However, performing ERCP with a balloon enteroscope remains challenging mainly because of two factors: difficulty in reaching the blind end caused by postoperative adhesions, sharp bends at anastomoses, and limited availability of devices that can be used with a balloon enteroscope. To solve these problems, a short-type SBE equipped with passive bending (PB) section and high-force transmission (HFT) functions (SIF-Y0004-V01; working length, 1520 mm; channel diameter, 3.2 mm; Olympus Medical Systems; Tokyo, Japan) was developed.

It was reported colonoscope equipped with this technology can pass through intestine with adhesions or “hairpin” bends, without distending the intestine, potentially causing less discomfort and speeding the insertion time as compared with a conventional colonoscope[15-18]. This technology is expected to facilitate ERCP after intestinal reconstruction[19]. We evaluated the performance of SIF-Y0004-V01 for ERCP in patients with a Roux-en-Y (R-Y) anastomosis ad compared our results with the outcomes of ERCP performed with SIF-Y0004.

MATERIALS AND METHODS

Patients

Between June 2011 through January 2014, we performed 84 ERCP procedures in 62 patients with R-Y anastomosis. SIF-Y0004-V01 was used to perform 50 procedures in 37 patients (SIF-Y0004-V01 group), and SIF-Y0004 was used to perform in 34 procedures in 25 patients (SIF-Y0004 group). As for patient characteristics, the number of patients with portal lymph-node metastasis after surgery for gastric cancer was significantly higher in the SIF-Y0004 group (P = 0.032). Factors likely to influence the rate of reaching the blind end, such as abdominal surgery and peritoneal dissemination, did not differ significantly between the groups. The baseline characteristics of the patients are shown in Table 1.

Endoscope: Features of SIF-Y0004-V01

SIF-Y0004-V01 has three new features. First, SIF-Y0004-V01 has a “PB” section. The PB section only bends passively. When the PB section meets with resistance, such as the reactive force of the intestinal wall, the force applied by the operator is physically transferred at the PB section, pushing the scope tip forward in the lumen. This function is thought to facilitate passage of the scope through sharp bends in the intestine caused by bowel reconstruction (Figure 1).

Second, SIF-Y0004-V01 has the feature of “HFT”. The HFT is designed to facilitate the transmission of push and pull forces and rotational torque applied by the operator to the distal end of the scope. Consequently, the scope responds more sensitively to operator handling and is easier to maneuver. HFT is also expected to improve the rate of reaching the blind end and to facilitate accurate cannulation.

Third, SIF-Y0004-V01 has a short working length of 1520 mm and a working channel diameter of 3.2 mm, enabling the use of nearly all devices used to perform conventional ERCP. The use of retrieval baskets or other devices with commercially available balloon enteroscopes required freehand cannulation. In contrast, SIF-Y0004-V01 allows wire-guided lithotripsy and wire-guided intraductal ultrasonography to be easily performed. The placement of up to 8.5-French stents is possible.

Endoscope: Comparison of SIF-Y0004-V01, SIF-Y0004 and SIF-Q260

Table 2 compares the specifications, including a conventional SBE (SIF-Q260; Olympus Medical Systems). The difference between scopes in this study was the presence or absence of PB and HFT functions. A sliding tube with a working length of 880 mm was used.

Methods

Patients were sedated with pethidine (50 mg) and midazolam (3 to 10 mg), and vital signs were intermittently monitored during all procedures. Propofol was used if necessary. Carbon dioxide insufflation was performed in all patients. The endoscope was inserted with the patient in the prone position, and abdominal compression was applied manually if a scope was technically difficult to insert deeply.

After reaching the intestinal anastomosis, the scope was inserted into either the afferent loop or efferent loop. Next, the balloon was inflated and then insufflated with CO2. The direction of the insufflated intestine was confirmed radiographically. If the scope is placed into the afferent loop, the blind end is depicted, and the direction of movement becomes clearer. We refer to this procedure as “CO2 inflation guidance” (Figure 2).　After reaching the blind end butylscopolamine (20 to 40 mg) or glucagon (1 to 2 mg) was administered as an antispasmodic.

We retrospectively assessed the rate of reaching the blind end, median time required to reach the blind end, diagnostic success rate (defined as the rate of successfully imaging the bile and pancreatic ducts), therapeutic success rate (defined as the rate of successfully completing endoscopic treatment), median procedure time, and complications in patients whom SIF-Y0004-V01 was used (SIF-Y0004-V01 group). The results were then compared with the respective values in patients in whom SIF-Y0004 was used (SIF-Y0004 group). Pancreatitis were evaluated according to the 1991 Consensus Guidelines (Cotton Classification)[20]. Hyperamylasemia was defined as a rise in serum amylase levels to more than 3 times the upper limit of normal. Because a prospective study reported that 25% to 50% of patients had hyperamylasemia and 3% to 12% had pancreatitis after double-balloon enteroscope via an oral approach[21-23], hyperamylasemia and pancreatitis were assessed in all patients with a pancreas, regardless of whether the blind end was reached. In patients in whom the blind end was not reached, SBE-assisted ERCP was not attempted a second time, except if the patient strongly requested to undergo the procedure again. If SBE-assisted ERCP was unsuccessful, open surgery or percutaneous cholangioscopy was performed.

Endoscopists

Five endoscopists performed all endoscopic examinations and procedures. The same operator conducted all procedures from the time of scope insertion to treatment. Endoscopist A, who had the most experience in SBE-assisted ERCP, conducted significantly more ERCP sessions in SIF-Y0004 group than in SIF-Y0004-V01 group (P < 0.01). The number of sessions of ERCP performed by endoscopists B, C, D, and E did not differ between the groups. Patients treated by endoscopist E, who had the least experience, belonged to SIF-Y0004-V01 group (Table 3).

Statistical analysis

Numerical data are presents as mean ± SD, ranges, or both. Continuous variables were analyzed using Student’s t-test or Mann–Whitney U test. Categorical variables were analyzed using Fisher’s exact test. P values less than 0.05 were considered to indicate statistical significance. Statistical analyses were performed using SPSS, version 19 for Windows (SPSS Inc, Chicago, IL, United States).

RESULTS

Rate of reaching the blind end (papilla of Vater or choledochojejunal anastomosis)

The rate of reaching the blind end was 90% (45/50) in SIF-Y0004-V01 group and 91% (31/34) in SIF-Y0004 group. This difference was not significant (P = 0.586).

Mean time required to reach the blind end

The median time required to reach the blind end was significantly shorter in the SIF-Y0004-V01 group (16 min; range, 3 to 56 min) than in the SIF-Y0004 group (24 min; range: 10-66 min; median, 24.5 min; P = 0.039).

Diagnostic success rates

The diagnostic success rate was 93% (42/45) in SIF-Y0004-V01 group and 84% (26/31) in SIF-Y0004 group (P = 0.173), and in patients with an intact papilla was 89% (23/26) in SIF-Y0004-V01 group and 77% (17/22) in SIF-Y0004 group.

Therapeutic success rate

The therapeutic success rate was 95% (40/42) in SIF-Y0004-V01 group and 96% (25/26) in SIF-Y0004 group (P = 0.676), and in patients with an intact papilla was 97% (22/23) in SIF-Y0004-V01 group and 94% (16/17) in SIF-Y0004 group (P = 0.676).

Mean procedure time

The median procedure time was 43.7 min in SIF-Y0004-V01 group and 41.5 min in SIF-Y0004 group (P = 0.691).

Complications

The incidence of hyperamylasemia was 6.0% (3/50) in the SIF-Y0004-V01 group and 14.7% (5/34) in the SIF-Y0004 group in the study group as a whole and 3.5% (1/28) in the SIF-Y0004-V01 group and 10.3% (3/29) in the SIF-Y0004 group in patients with an intact papilla. The incidence of pancreatitis was 0% in the SIF-Y0004-V01 group and 5.9% (2/34) in the SIF-Y0004 group in the study group as a whole and 8.3% (2/29) in the SIF-Y0004 group in patients with an intact papilla. The incidence of gastrointestinal perforation was 2.0% (1/50) in the SIF-Y0004-V01 group and 2.9% (1/34) in the SIF-Y0004 group. Pancreatitis was mild and perforation responded to conservative therapy. There were no significant differences in complications between the groups. Results are shown in Table 4.

Treatment procedures

Stone extraction was performed with a wire-guided basket 27 times in the SIF-Y0004-V01 group and 16 times in the SIF-Y0004 group. Wire-guided endoscopic mechanical lithotripsy was performed 2 times in the SIF-Y0004-V01 group. Wire-guided intraductal ultrasonography was performed 8 times in the SIF-Y0004-V01 group and 10 times in the SIF-Y0004 group. These procedures cannot be performed using commercially available balloon enteroscopes (Figure 3).

DISCUSSION

ERCP in patients with R-Y anastomosis can be challenging because of difficulty in passing through sharp bends at anastomoses, the ligament of Treitz, or postoperative adhesions. Such factors preclude the scope tip from reaching the blind end. Colonoscopes with PB and HFT functions have been reported to reduce pain, as compared with conventional colonoscopes, with no appreciable difference in cecal intubation rate[15-18]. Similar to a colonoscope, the presence of PB and HFS functions appeared to facilitate passage of an SBE. However, the rate of reaching the blind end in patients who undergo ERCP after intestinal reconstruction differs among hospitals. Therefore, the use of a SBE with PB and HFT functions may increase the rate of reaching the blind end. In our study, the median time required to reach the blind end was significantly shorter in SIF-Y0004-V01 group (P = 0.039), whereas the rate of reaching the blind end did not differ significantly between the groups.

Our study had several important limitations. This study was retrospective and had a small sample size. Consequently, some patient characteristics and the endoscopists who performed ERCP differed between the study groups. However, on comparing the results according to the endoscopists who performed ERCP, the number of sessions of ERCP conducted by endoscopist A, who was most experienced in SBE-assisted ERCP, was found to be significantly higher in SIF-Y0004 group (P = 0.001). Moreover, patients treated by endoscopist E, who had only conducted SBE-assisted ERCP in 1 patient previously, belonged to SIF-Y0004-V01 group. Despite these differences, the median time required to reach the blind end was significantly shorter in SIF-Y0004-V01 group. The only difference between the scopes was the insertion section, suggesting that a SBE with PB and HFT functions may be easily inserted to the blind end, even by relatively inexperienced endoscopists.

Further studies are required to confirm our results. However, the PB and HFT functions of SIF-Y0004-V01 were suggested to facilitate ERCP and may reduce the time required to reach the blind end in patients with R-Y anastomosis.

ACKNOWLEDGMENTS

The authors thank Olympus Medical Systems (Tokyo, Japan) for provideng the prototype instruments used in this study.

COMMENTS

Background

Balloon enteroscope has improved the outcomes of endoscopic retrograde cholangiopancreatography (ERCP) in patients with a reconstructed intestine. And many study suggested that short type balloon enteroscope is effective for ERCP in patients with a reconstructed intestine. However, performing ERCP with a balloon enteroscope can be challenging. The development of improved models of endoscopes and specialized devices is needed to improve the rate of reaching the papilla of Vater or choledochojejunal anastomosis and to reliably perform treatment procedures.

Research frontiers

Recently, short type single-balloon-enteroscope (SBE) was developed. This scope has a working length of 1520 mm and a channel diameter of 3.2 mm, allowing most conventional ERCP devices to be employed. And this scope also allowed the use of wire-guided devices that could not be passed through enteroscopes with a 2.8 mm channel diameter.

Innovations and breakthroughs

Balloon-enteroscope assisted-ERCP is an important endoscopic breakthrough for the therapeutic management of the conventionally inaccessible biliopancreatic ducts. However, several problems remain to be solved. The development of improved models of endoscopes and specialized devices is needed to improve the rate of reaching the papilla of Vater or choledochojejunal anastomosis (blind end) and to reliably perform treatment procedures. In this study, authors used a newly designed short-type SBE equipped with passive bending section and high-force transmission functions (working length, 1520 mm; channel diameter, 3.2 mm). This scope was developed to improve the rate of reaching the blind end. It was reported colonoscope equipped with this technology can pass through intestine with adhesions or “hairpin” bends, without distending the intestine, potentially causing less discomfort and speeding the insertion time as compared with a conventional colonoscope. At the time of pass through intestine with postoperative adhesions, sharp bends at anastomosis, this technology is expected to facilitate ERCP after intestinal reconstruction. Authors evaluated the performance of this scope for ERCP in patients with a Roux-en-Y anastomosis ad compared our results with the outcomes of ERCP performed with short-type SBE without this functions.

Applications

This study suggests that short-type SBE with passive bending and high-force transmission functions is useful for ERCP in patients with a Roux-en-Y anastomosis and may reduce the time required to reach the blind end.

Terminology

Roux-en-Y reconstruction of the small intestine is a frequently performed surgical technique in gastrointestinal surgery, hepatobiliary and pancreatic surgery. The location of the Vater’s papilla and choledochojejunal anastomosis of the most patients who are underwent this operation are differed from normal position that was accessible with conventional endoscopes.

Peer review

The authors investigated the effectiveness of short-type SBE with passive bending and high-force transmission functions for ERCP in patients with altered gastrointestinal anatomy, and concluded that short-type SBE is effective for ERCP in patients with a reconstructed intestine. This study clearly shows the effectiveness of short-type SBE as a clinical trial.

REFERENCES

1 Yamamoto H, Sekine Y, Sato Y, Higashizawa T, Miyata T, Iino S, Ido K, Sugano K. Total enteroscopy with a nonsurgical steerable double-balloon method. Gastrointest Endosc 2001; 53: 216-220 [PMID: 11174299 DOI: 10.1067/mge.2001.112181]

2 Haruta H, Yamamoto H, Mizuta K, Kita Y, Uno T, Egami S, Hishikawa S, Sugano K, Kawarasaki H. A case of successful enteroscopic balloon dilation for late anastomotic stricture of choledochojejunostomy after living donor liver transplantation. Liver Transpl 2005; 11: 1608-1610 [PMID: 16315301 DOI: 10.1002/lt.20623]

3 Itoi T, Ishii K, Sofuni A, Itokawa F, Tsuchiya T, Kurihara T, Tsuji S, Ikeuchi n, Umeda J, Moriyasu F. Single-balloon enteroscopy-assisted ERCP in patients with Billroth II gastrectomy or Roux-en-Y anastomosis (with video). Am J Gastroenterol 2010; 105: 93-99 [PMID: 19809409 DOI: 10.1038/ajg.2009.559]

4 Saleem A, Baron TH, Gostout CJ, Topazian MD, Levy MJ, Petersen BT, Wong Kee Song LM. Endoscopic retrograde cholangiopancreatography using a single-balloon enteroscope in patients with altered Roux-en-Y anatomy. Endoscopy 2010; 42: 656-660 [PMID: 20589594 DOI: 10.1055/s-0030-1255557]

5 Wang AY, Sauer BG, Behm BW, Ramanath M, Cox DG, Ellen KL, Shami VM, Kahaleh M. Single-balloon enteroscopy effectively enables diagnostic and therapeutic retrograde cholangiography in patients with surgically altered anatomy. Gastrointest Endosc 2010; 71: 641-649 [PMID: 20189529 DOI: 10.1016/j.gie.2009.10.051]

6 Yamauchi H, Kida M, Okuwaki K, Miyazawa S, Iwai T, Takezawa M, Kikuchi H, Watanabe M, Imaizumi H, Koizumi W. Short-type single balloon enteroscope for endoscopic retrograde cholangiopancreatography with altered gastrointestinal anatomy. World J Gastroenterol 2013; 19: 1728-1735 [PMID: 23555161 DOI: 10.3748/wjg.v19.i11.1728]

7 Obana T, Fujita n, Ito K, Noda Y, Kobayashi G, Horaguchi J, Koshita S, Kanno Y, Ogawa T, Hashimoto S, Masu K. Therapeutic endoscopic retrograde cholangiography using a single-balloon enteroscope in patients with Roux-en-Y anastomosis. Dig Endosc 2013; 25: 601-607 [PMID: 23362835 DOI: 10.1111/den.12039]

8 Aabakken L, Bretthauer M, Line PD. Double-balloon enteroscopy for endoscopic retrograde cholangiography in patients with a Roux-en-Y anastomosis. Endoscopy 2007; 39: 1068-1071 [PMID: 18072058 DOI: 10.1055/s−2007−966841]

9 Mönkemüller K, Bellutti M, Neumann H, Malfertheiner P. Therapeutic ERCP with the double-balloon enteroscope in patients with Roux-en-Y anastomosis. Gastrointest Endosc 2008; 67: 992-996 [PMID: 18279869 DOI: 10.1016/j.gie.2007.10.023]

10 Shimatani M, Matsushita M, Takaoka M, Koyabu M, Ikeura T, Kato K, Fukui T, Uchida K, Okazaki K. Effective "short" double-balloon enteroscope for diagnostic and therapeutic ERCP in patients with altered gastrointestinal anatomy: a large case series. Endoscopy 2009; 41: 849-854 [PMID: 19750447 DOI: 10.1055/s-0029-1215108]

11 Iwamoto S, Ryozawa S, Yamamoto H, Taba K, Ishigaki n, Harano M, Iwano H, Sakaida I. Double balloon endoscope facilitates endoscopic retrograde cholangiopancreatography in roux-en-y anastomosis patients. Dig Endosc 2010; 22: 64-68 [PMID: 20078669 DOI: 10.1111/j.1443-1661.2009.00920.x]

12 Itoi T, Ishii K, Sofuni A, Itokawa F, Tsuchiya T, Kurihara T, Tsuji S, Ikeuchi n, Fukuzawa K, Moriyasu F, Tsuchida A. Long- and short-type double-balloon enteroscopy-assisted therapeutic ERCP for intact papilla in patients with a Roux-en-Y anastomosis. Surg Endosc 2011; 25: 713-721 [PMID: 20976503 DOI: 10.1007/s00464-010-1226-4]

13 Moreels TG, Pelckmans PA. Comparison between double-balloon and single-balloon enteroscopy in therapeutic ERC after Roux-en-Y entero-enteric anastomosis. World J Gastrointest Endosc 2010; 2: 314-317 [PMID: 21160763 DOI: 10.4253/wjge.v2.i9.314]

14 Shah RJ, Smolkin M, Yen R, Ross A, Kozarek RA, Howell DA, Bakis G, Jonnalagadda SS, Al-Lehibi AA, Hardy A, Morgan DR, Sethi A, Stevens PD, Akerman PA, Thakkar SJ, Brauer BC. A multicenter, U.S. experience of single-balloon, double-balloon, and rotational overtube-assisted enteroscopy ERCP in patients with surgically altered pancreaticobiliary anatomy (with video). Gastrointest Endosc 2013; 77: 593-600 [PMID: 23290720 DOI: 10.1016/j.gie.2012.10.015]

15 Hoff G, Bretthauer M, Huppertz-Hauss G, Sauar J, Paulsen J, Dahler S, Kjellevold Ø. Evaluation of a novel colonoscope designed for easier passage through flexures: a randomized study. Endoscopy 2005; 37: 1123-1126 [PMID: 16281143]

16 Garborg KK, Løberg M, Matre J, Holme O, Kalager M, Hoff G, Bretthauer M. Reduced pain during screening colonoscopy with an ultrathin colonoscope: a randomized controlled trial. Endoscopy 2012; 44: 740-746 [PMID: 22622786 DOI: 10.1055/s-0032-1309755]

17 Sato K, Ito S, Shigiyama F, Kitagawa T, Hirahata K, Tominaga K, Maetani I. A prospective randomized study on the benefits of a new small-caliber colonoscope. Endoscopy 2012; 44: 746-753 [PMID: 22833021 DOI: 10.1055/s-0032-1310063]

18 Mizukami T, Ogata H, Hibi T. "Passive-bending colonoscope" significantly improves cecal intubation in difficult cases. World J Gastroenterol 2012; 18: 4454-4456 [PMID: 22969214 DOI: 10.3748/wjg.v18.i32.4454]

19 Saito Y, Kimura H. Responsive insertion technology. Dig Endosc 2011; 23 Suppl 1: 164-167 [PMID: 21535226 DOI: 10.1111/j.1443-1661.2011.01136.x]

20 Cotton PB, Lehman G, Vennes J, Geenen JE, Russell RC, Meyers WC, Liguory C, Nickl N. Endoscopic sphincterotomy complications and their management: an attempt at consensus. Gastrointest Endosc 1991; 37: 383-393 [PMID: 2070995]

21 Kopácová M, Rejchrt S, Tachecí I, Bures J. Hyperamylasemia of uncertain significance associated with oral double-balloon enteroscopy. Gastrointest Endosc 2007; 66: 1133-1138 [PMID: 17892875]

22 Pata C, Akyüz U, Erzin Y, Mutlu n, Mercan A, Dirican A. Post-procedure elevated amylase and lipase levels after double-balloon enteroscopy: relations with the double-balloon technique. Dig Dis Sci 2010; 55: 1982-1988 [PMID: 19731024 DOI: 10.1007/s10620-009-0956-4]

23 Zepeda-Gómez S, Barreto-Zuñiga R, Ponce-de-León S, Meixueiro-Daza A, Herrera-López JA, Camacho J, Tellez-Avila F, Valdovinos-Andraca F, Vargas-Vorackova F. Risk of hyperamylasemia and acute pancreatitis after double-balloon enteroscopy: a prospective study. Endoscopy 2011; 43: 766-770 [PMID: 21626472 DOI: 10.1055/s-0030-1256473]

P-Reviewer: Jovanovic P, Sakai Y S-Editor: Gou SX L-Editor:  E-Editor:

Figure 1 Passive bending section. A: A “stick phenomenon” occurs in the horizontal portion of duodenum and at the Treitz ligament in a patient who had undergone Roux-en-Y gastrectomy; B: The “stick phenomenon” is likely to occur when the scope is pushed. However, the passive bending section bends, propelling the scope tip forward, without pushing up the wall of the small intestine.

Figure 2 Carbon dioxide inflation guidance. A: The tip of the single balloon enteroscope is located at the anastomotic site of the afferent loop; B: Carbon dioxide (CO2) is guiding the correct direction and blind end (arrows).

Figure 3 Therapeutic intervention. A: Radiographic image showing wire-guided mechanical lithotripter; B: Radiographic image showing wire-guided 4-wire retrieval basket; C: Insertion of a wire-guided 4-wire retrieval basket; D: Insertion of a wire-guided intraductal ultrasonographic probe into the intact papilla.

Table 1 Baseline characteristics of the patients n (%)

|  | SIF-Y0004-V01 | SIF-Y0004 | P value | Total no of SBE-assisted ERCP |
| --- | --- | --- | --- | --- |
| Reconstruction method Roux-en-Y gastrectomy Roux-en-Y hepaticojejyunostomy | 34 (68) 16 (32) | 29 (83) 5 (17) | 0.124 | 63 (75) 21 (25) |
| Age, mean ± SD, yr | 71.4 ± 9.2 | 70.0 ± 11.0 | 0.529 | 70.8 ± 9.9 |
| Sex Male Female | 40 (80) 10 (20) | 31 (91) 3 (9) | 0.168 | 71 (85) 13 (15) |
| Reasons for surgery Gastric ulcer Duodenum ulcer Carcinoma of the stomach Malignant lymphoma of the stomach Carcinoma of the duodenum Tumors of the pancreatic Carcinoma of the pancreas SCN NET Tumors of the biliary tract Carcinoma of the bile duct IPNB Pancreaticobiliary maljunction Congenital choledochal cyst Other | 0 (0) 0 (0) 32 (64) 2 (4) 1 (2) 3 (6) 1 (2) 1 (2) 4 (8) 2 (4) 2 (4) 0 (0) 2 (4) | 1 (3) 2 (6) 25 (73) 0 (0) 0 (0) 0 (0) 0 (0) 0 (0) 0 (0) 3 (9) 1 (3) 1 (3) 1 (3) | 0.218 0.080 0.387 0.238 0.407 0.146 0.407 0.407 0.091 0.345 0.809 0.218 0.809 | 1 (1.2) 2 (2.4) 57 (68) 2 (2.4) 1 (1.2) 3 (3.6) 1 (1.2) 1 (1.2) 4 (4.8) 5 (6) 3 (3.6) 1 (1.2) 3 (3.6) |
| Reasons for ERCP AOSC (due to CBD stone) Pancreatitis (due to CBD stone) CBD stone Intrahepatic stone Carcinoma of the pancreas Carcinoma of the gallbladder Cholangiocellular carcinoma IPMN IPNB Pancreaticobiliary maljunction Metastasis of L/n in porta hepatis Stricture of the anastomostic site Other | 0 (0) 1 (2) 26 (52) 10 (20) 2 (4) 1 (2) 3 (6) 0 (0) 2 (4) 1 (2) 0 (0) 4 (8) 1 (2) | 2 (6) 0 (0) 21 (62) 3 (9) 1 (3) 0 (0) 0 (0) 2 (6) 4 (12) 0 (0) 5 (15) 0 (0) 1 (3) | 0.080 0.407 0.365 0.172 0.809 0.407 0.146 0.080 0.165 0.407 0.005 0.091 0.769 | 2 (2) 1 (1) 47 (56) 13 (16) 3 (4) 1 (1) 3 (4) 2 (2) 6 (7) 1 (1) 5 (6) 4 (5) 2 (2) |
| Other abdominal or pelvic surgery | 9 (18) | 10 (29) | 0.236 | 19 (28) |
| Peritoneal metastasis | 0 (0) | 2 (6) | 0.080 | 2 (3) |

SIF-Y0004-V01 (procedure n = 50, patient n = 37); SIF-Y0004 (procedure n = 34, patient n = 25); Total SBE-assisted ERC (procedure n = 84, patient n = 62). ERCP: Endoscopic retrograde cholangiopancreatography; SCN: Serous cystic neoplasm; NET: Neuroendocrine tumors; AOSC: Acute obstructive suppurative cholangitis; CBD: Common bile duct; IPMN: Intraductal papillary mucinous neoplasm; IPNB: Intraductal papillary neoplasm of the bile duct.

Table 2 Specifications of three-types of single-balloon endoscopes

|  | SIF-Y0004-V01 | SIF-Y0004 | SIF-Q260 |
| --- | --- | --- | --- |
| Direction of view | Forward viewing | Forward viewing | Forward viewing |
| Angle of view | 120° | 120° | 140° |
| Outer diameter (mm) Distal end Insertion end | 9.2 9.2 | 9.2 9.2 | 9.2 9.2 |
| Bending section Up/down Right/left | 180°/180° 160°/160° | 180°/180° 160°/160° | 180°/180° 160°/160° |
| Working length (mm) | 1520 | 1520 | 2000 |
| Total length (mm) | 1840 | 1840 | 2345 |
| Working channel diameter (mm) | 3.2 | 3.2 | 2.8 |
| Water jet | Yes | Yes | No |
| Passive bending and high force transmission | Yes | No | No |

Table 3 Number of endoscopic retrograde cholangiopancreatography sessions according to endoscopist (rate of reaching blind end)

| Endoscopist | SIF-Y0004-V01 n = 50 | SIF-Y0004 n = 34 | P value | Experience with SBE-assisted ERCP |
| --- | --- | --- | --- | --- |
| A | 6 (83) | 17 (88) | 0.001 | 56 |
| B | 11 (91) | 8 (88) | 0.872 | 29 |
| C | 13 (85) | 4 (100) | 0.111 | 29 |
| D | 16 (94) | 5 (100) | 0.072 | 26 |
| E | 4 (100) | - | 0.090 | 5 |

ERCP: Endoscopic retrograde cholangiopancreatography; SBE: Single balloon enteroscopy.

Table 4 Results

|  | SIF-Y0004-V01 n = 50 | SIF-Y0004 n = 34 | P value | SBE-assisted ERCP n = 84 |
| --- | --- | --- | --- | --- |
| Reaching the blind end | 90% | 91% | 0.586 | 91% |
| Median time (min) of reaching the blind end, (range) | 16 (3-56) | 24 (10-66) | 0.039 | 19 (3-66) |
| Diagnostic success Total Intact papilla | 93% 89% | 84% 77% | 0.173 0.258 | 90% 83% |
| Therapeutic success Total Intact papilla | 95% 97% | 96% 94% | 0.676 0.676 | 97% 94% |
| Median time (min) of procedure, (range) | 40 (5-99) | 36 (12-125) | 0.498 | 39 (5-125) |
| Hyperamylasemia Total Intact papilla | 6.0% 3.5% | 14.7% 10.3% | 0.723 > 0.999 | 9.5% 5.3% |
| Pancreatitis Total Intact papilla | 0% 0% | 5.9% 8.3% | > 0.999 > 0.999 | 2.3% 3.8% |
| Perforation of gastrointestinal tract | 2% | 2.9% | > 0.999 | 2.4% |

ERCP: Endoscopic retrograde cholangiopancreatography; SBE: Single balloon enteroscopy.