Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 1201

Columns: Field of Vision

Hepatocellular carcinoma after ablation: The imaging follow-up scheme

Liu LN et al. Imaging follow-up for HCC after ablation

Lin-Na Liu, Hui-Xiong Xu, Yi-Feng Zhang, Jun-Mei Xu

Lin-Na Liu, Hui-Xiong Xu, Yi-Feng Zhang, Jun-Mei Xu, Department of Medical Ultrasound, Shanghai Tenth People’s Hospital, Tenth People’s Hospital of Tongji University, Shanghai 200072, China

Author contributions: Liu LN collected the materials and wrote the manuscript; Zhang YF and Xu JM discussed the topic; and Xu HX supervised the publication of this commentary.

Supported by National Scientific Foundation Committee of China, No. 30970837; Key Project from Shanghai Health Bureau No. 20114003; Shanghai Talent Development Project from Shanghai Human Resource and Social Security Bureau, No. 2012045

Correspondence to: Hui-Xiong Xu, MD, PhD, Professor, Department of Medical Ultrasound, Shanghai Tenth People’s Hospital, Tenth People’s Hospital of Tongji University, No. 301 Yanchangzhong Road, Shanghai 200072, China. xuhuixiong@hotmail.com

Telephone: +86-21-66301031        Fax: +86-21-66301031

Received: November 20, 2012        Revised: January 9, 2013

Accepted: January 18, 2013

Published online:

Abstract

Percutaneous ablation by using thermal damage or chemical substance has been widely used in treating hepatocellular carcinoma (HCC). Nowadays contrast-enhanced imaging modalities such as computed tomography (CT), magnetic resonance imaging (MRI), and contrast-enhanced ultrasound (CEUS) are widely used to evaluate the local treatment response after ablation therapies. CEUS is gaining increasing attention because of its characteristics such as real-time scanning, easy performing, no radiation, wide availability, and no allergy reaction. Several studies have documented that CEUS is comparable with CT or MRI in evaluating the local treatment efficacy within 1 mo after treatment. However, little information is available about the role of CEUS in the follow-up assessment after first successful ablation treatment. Zheng et al found that in comparison with contrast-enhanced computed tomography (CECT), the sensitivity, specificity, positive predictive value, negative predictive value  and overall accuracy of CEUS in detecting local tumor progression (LTP) were 67.5%, 97.4%, 81.8%, 94.4%, 92.3%, respectively. In detecting new intrahepatic recurrence, those of CEUS were 77.7%, 92.0%, 92.4%, 76.7%, 84.0%, respectively. They concluded that the sensitivity of CEUS in detecting LTP and new intrahepatic recurrence after ablation is relatively low in comparison with CECT and CEUS cannot replace CECT in the follow-up assessment after percutaneous ablation for HCC. The result is meaningful and instructive, which indicated that in the follow-up, only CEUS is not sufficient. In this commentary, we discussed the discordance between CT and CEUS, as well as the underlying mechanism. We proposed a combination use of CT and CEUS which will reduce the false positive and negative results on both modalities. We also discussed the unsolved issues in the future, such as evidence based ideal imaging follow-up scheme, and cost-effectiveness analysis with regard to the imaging follow-up scheme.

© 2013 Baishideng. All rights reserved.

Key words: Hepatocellular carcinoma; Radiofrequency ablation; Ethanol ablation; Contrast-enhanced ultrasound; Follow-up; Treatment response; Computed tomography

Liu LN, Xu HX, Zhang YF, Xu JM. Hepatocellular carcinoma after ablation: The imaging follow-up scheme. World J Gastroenterol 2013; 19

Available from: URL: http://www.wjgnet.com/1007-9327/full/v19/

DOI: http://dx.doi.org/10.3748/wjg.v19.

INVITED COMMENTARY ON HOT ARTICLES

We have read with great interest the recent article by Zheng et al[1] evaluating the usefulness of contrast-enhanced ultrasound (CEUS) in the follow-up for patients with hepatocellular carcinoma (HCC) who had undergone local ablation therapies.

As a minimal invasive and safe treatment method, percutaneous ablation by using thermal damage or chemical substance has been widely used in treating early HCC, recurrent HCC, or even advanced HCC[2-11]. Percutaneous ablation such as radiofrequency ablation (RFA), microwave ablation and ethanol ablation (EA), has been regarded as the curative treatment method for early HCC[12,13]. In contrast to surgical resection that the tumor is removed from the body, the tumor is not eradicated from the body whereas is deactivated by ablation therapy, therefore, it is of paramount importance to evaluate the treatment efficacy to determine the following treatment and follow-up strategy. Currently, it has been widely accepted to use contrast-enhanced imaging to detect the residual viable tumor or the recurrent HCC[14-19]. The underlying mechanism is that the viable tumor tissue would show arterial hypervascularity (i.e., hyper-enhancement) whereas the destructed tumor would show absence of vascularity (i.e., non-enhancement), thus the distinction between them is achievable. The method is not the most ideal since imaging studies might be failed to detect the tiny viable tumor tissue especially when the neoangiogenesis is not obvious. Percutaneous biopsy might be the choice but it has significant sample error and it is not ethical and practical to sample all over the lesion after ablation. Consequently, nowadays contrast-enhanced imaging modalities such as computed tomography (CT), magnetic resonance imaging (MRI), and CEUS are widely used to evaluate the local treatment response after ablation therapies. Although CT and MRI have been accepted as the reference standard, the newly introduced CEUS is also gaining increasing attention because of its characteristics such as real-time scanning, easy to perform, no radiation, wide availability, and no allergic reaction[20-38]. Several studies have documented that CEUS is comparable with CT or MRI in evaluating the local treatment efficacy within one month after treatment (Table 1)[18,39-41]. Kim et al[42] also demonstrated their opinion that they were in favor of CEUS to be at an advantage for being able to pick up lesions < 2 cm; therefore it has been used effectively in diagnostic algorithms of small 1-2 cm newly detected nodules during HCC. However, until present, little information is available about the role of CEUS in the follow-up assessment after first successful ablation treatment. In the follow-up, the patient may have development of local tumor progression (LTP) or new intrahepatic recurrence, and the task of the imaging modalities is to detect them successfully.

In the study of Zheng et al[1], 141 patients with HCCs who underwent percutaneous ablation therapy were assessed by paired follow-up CEUS and contrast-enhanced computed tomography (CECT). With CECT as the reference standard, the ability of CEUS in detecting LTP or new intrahepatic recurrence during follow-up was evaluated. They found that 33 LTPs and 131 new intrahepatic recurrent foci were detected on CEUS, whereas 40 and 183 on CECT respectively (both P < 0.05). In comparison with CECT, the sensitivity, specificity, positive predictive value (PPV), negative predictive value (NPV) and overall accuracy of CEUS in detecting LTPs were 67.5%, 97.4%, 81.8%, 94.4%, 92.3%, respectively. In detecting new intrahepatic recurrence, those of CEUS were 77.7%, 92.0%, 92.4%, 76.7%, 84.0%, respectively. They concluded that the sensitivity of CEUS in detecting LTP and new intrahepatic recurrence after ablation is relatively low in comparison with CECT and CEUS can not replace CECT in the follow-up assessment after percutaneous ablation for HCC. Their result is interesting and meaningful, and we agree with the authors about the real role of CEUS in the follow-up for HCC patients after ablation therapy.

The discordance in imaging features between CT and CEUS has been well recognized, which is largely due to the difference in pharmacokinetics between CT contrast medium and ultrasound contrast agent[35,43]. The CT contrast medium will diffuse into the interstitial space while the ultrasound contrast agent is a pure blood pool tracer. The characteristic of real-time scanning of CEUS is helpful to detect the subtle lesions with transient arterial hyper-enhancement that is hard to be visualized by CT. Some lesions may show arterial iso-enhancement on CT whereas hyper-enhancement on CEUS because the limitation of time window for CT scanning[44-49]. On the other hand, CEUS also has its shortcomings as the study of Zheng et al[1] has found that the image quality will be affected by the lesion location near liver dome, or the obscuration by gas from lung or intestine. The development of new foci may be multiple and may be located in different lobes of the liver, and the arterial hyper-enhancement on CEUS only lasts for several seconds thus it is hard to detect all the hypervascular lesions in one scanning procedure. Most importantly, in comparison with CT/MRI, universal bias in readers' minds with regards to ultrasound images is present. The quality of procedure and subsequent results are largely operator dependent, thus less uniformity is encountered in clinical practice (Table 2).

The data in the article is detailed and reasonable results have been obtained. Controversy over the role of CEUS vs CECT in diagnosis of HCC after ablation is still present, which is largely depended on the individual fancy and familiarity over the techniques. Frieser et al[39] concluded that CEUS is equal to CECT in evaluating the treatment response. Gallotti et al[46] found that CEUS is excellent in evaluating the treatment response after RFA whereas is not adequate in evaluating the treatment response after EA. It must be very clear that despite the vast number of published literature on the subject, one unanimous consensus may not be achieved.

The unsolved issues should be pointed out as following: (1) The authors should recommend the combination use of CT and CEUS in clinical practice whenever CEUS is available, which will reduce the false positive or negative findings on both modalities[50]. In a study of liver lesion characterization, although not follow-up assessment after ablation, the authors found that the combined assessment of CEUS/CT provided higher sensitivity (97%, both readers) than did separate assessment of CEUS (88% reader 1; 87% reader 2) and CT (74% reader 1; 71% reader 2; P < 0.05), while no change in specificity was provided by combined analysis. The combined assessment of hepatocellular nodule vascularity at CT and CEUS improved sensitivity in the diagnosis of malignancy in patients with liver cirrhosis[50]. However, the study of Zheng et al[1] was retrospective thus it is difficult to evaluate the value of the combination diagnostic procedures in the clinical practice, which prompted a future prospective study to evaluate this issue. Fusion imaging may be another solution to combine the virtues of both modalities[51]; (2) The ideal imaging follow-up scheme is not yet available. Future evidence based studies are necessary to establish the scheme. Eevery practicing clinician must make a decision about using the most accurate, cost effective radiologic test to be used in follow up of liver lesions after local treatment. A reasonable algorithm is proposed as shown in Figure 1, however, further study is mandatory to evaluate its efficacy; (3) Cost-effectiveness analysis should be performed to select the best imaging follow-up scheme; and (4) Long term follow up studies are needed to help guide our approach and therapy.

REFERENCES

1 Zheng SG, Xu HX, Lu MD, Xie XY, Xu ZF, Liu GJ, Liu LN. The role of contrast-enhanced ultrasound in follow-up assessment after percutaneous ablation therapy for hepatocellular carcinoma. World J Gastroenterol 2013; (in press).

2 Xu HX, Wang Y, Lu MD, Liu LN. Percutaneous ultrasound-guided thermal ablation for intrahepatic cholangiocarcinoma. Br J Radiol 2012; 85: 1078-1084 [PMID: 22374282 DOI: 10.1259/bjr/24563774]

3 Ohmoto K, Yamamoto S. Comparison between radiofrequency ablation and percutaneous microwave coagulation therapy for small hepatocellular carcinomas. Clin Radiol 2006; 61: 800-81; author reply 800-81; [PMID: 16905390]

4 Xu HX, Lu MD, Xie XY, Yin XY, Kuang M, Chen JW, Xu ZF, Liu GJ. Prognostic factors for long-term outcome after percutaneous thermal ablation for hepatocellular carcinoma: a survival analysis of 137 consecutive patients. Clin Radiol 2005; 60: 1018-1025 [PMID: 16124984 DOI: 10.1016/j.crad.2005.04.009]

5 Xu HX, Xie XY, Lu MD, Chen JW, Yin XY, Xu ZF, Liu GJ. Ultrasound-guided percutaneous thermal ablation of hepatocellular carcinoma using microwave and radiofrequency ablation. Clin Radiol 2004; 59: 53-61 [PMID: 14697375 DOI: 10.1016/j.crad.2003.09.006]

6 Yin XY, Xie XY, Lu MD, Kuang M, Liu GJ, Xu ZF, Xu HX, Wang Z. Percutaneous ablative therapies of recurrent hepatocellular carcinoma after hepatectomy: proposal of a prognostic model. Ann Surg Oncol 2012; 19: 4300-4306 [PMID: 22766980 DOI: 10.1245/s10434-012-2433-0]

7 Kuang M, Lu MD, Xie XY, Xu HX, Xu ZF, Liu GJ, Yin XY, Huang JF, Lencioni R. Ethanol ablation of hepatocellular carcinoma Up to 5.0 cm by using a multipronged injection needle with high-dose strategy. Radiology 2009; 253: 552-561 [PMID: 19709992 DOI: 10.1148/radiol.2532082021]

8 Yin XY, Xie XY, Lu MD, Xu HX, Xu ZF, Kuang M, Liu GJ, Liang JY, Lau WY. Percutaneous thermal ablation of medium and large hepatocellular carcinoma: long-term outcome and prognostic factors. Cancer 2009; 115: 1914-1923 [PMID: 19241423 DOI: 10.1002/cncr.24196]

9 Lu MD, Yin XY, Xie XY, Xu HX, Xu ZF, Liu GJ, Kuang M, Zheng YL. Percutaneous thermal ablation for recurrent hepatocellular carcinoma after hepatectomy. Br J Surg 2005; 92: 1393-1398 [PMID: 16044409 DOI: 10.1002/bjs.5102]

10 Lu MD, Xu HX, Xie XY, Yin XY, Chen JW, Kuang M, Xu ZF, Liu GJ, Zheng YL. Percutaneous microwave and radiofrequency ablation for hepatocellular carcinoma: a retrospective comparative study. J Gastroenterol 2005; 40: 1054-1060 [PMID: 16322950 DOI: 10.1007/s00535-005-1671-3]

11 Liu LN, Xu HX, Lu MD, Xie XY. Percutaneous ultrasound-guided thermal ablation for liver tumor with artificial pleural effusion or ascites. Chin J Cancer 2010; 29: 830-835 [PMID: 20800026]

12 Poon D, Anderson BO, Chen LT, Tanaka K, Lau WY, Van Cutsem E, Singh H, Chow WC, Ooi LL, Chow P, Khin MW, Koo WH. Management of hepatocellular carcinoma in Asia: consensus statement from the Asian Oncology Summit 2009. Lancet Oncol 2009; 10: 1111-1118 [PMID: 19880065 DOI: 10.1016/S1470-2045(09)70241-4]

13 Bruix J, Sherman M. Management of hepatocellular carcinoma: an update. Hepatology 2011; 53: 1020-1022 [PMID: 21374666 DOI: 10.1002/hep.24199]

14 Xu HX, Lu MD, Xie XH, Xie XY, Kuang M, Xu ZF, Liu GJ, Wang Z, Chen LD, Lin MX. Treatment response evaluation with three-dimensional contrast-enhanced ultrasound for liver cancer after local therapies. Eur J Radiol 2010; 76: 81-88 [PMID: 19500929 DOI: 10.1016/j.ejrad.2009.05.006]

15 Xu HX, Lu MD, Xie XH, Xie XY, Xu ZF, Chen LD, Liu GJ, Liang JY, Lin MX, Wang Z, Huang B. Three-dimensional contrast-enhanced ultrasound of the liver: experience of 92 cases. Ultrasonics 2009; 49: 377-385 [PMID: 19041996 DOI: 10.1016/j.ultras.2008.10.009]

16 Xu HX. Era of diagnostic and interventional ultrasound. World J Radiol 2011; 3: 141-146 [PMID: 21666820 DOI: 10.4329/wjr.v3.i5.141]

17 Xu HX. Contrast-enhanced ultrasound: The evolving applications. World J Radiol 2009; 1: 15-24 [PMID: 21160717 DOI: 10.4329/wjr.v1.i1.15]

18 Lu MD, Yu XL, Li AH, Jiang TA, Chen MH, Zhao BZ, Zhou XD, Wang JR. Comparison of contrast enhanced ultrasound and contrast enhanced CT or MRI in monitoring percutaneous thermal ablation procedure in patients with hepatocellular carcinoma: a multi-center study in China. Ultrasound Med Biol 2007; 33: 1736-1749 [PMID: 17629608 DOI: 10.1016/j.ultrasmedbio.2007.05.004]

19 Ippolito D, Bonaffini PA, Capraro C, Leni D, Corso R, Sironi S.  Viable residual tumor tissue after radiofrequency ablation treatment in hepatocellular carcinoma: evaluation with CT perfusion. Abdom Imaging 2012; [PMID: 22743839 DOI: 10.1007/s00261-012-9924-0]

20 Xu HX, Lu MD, Liu LN, Zhang YF, Guo LH, Liu C, Wang S. Imaging Features of Intrahepatic Biliary Cystadenoma and Cystadenocarcinoma on B-Mode and Contrast-Enhanced Ultrasound. Ultraschall Med 2012; 33: E241-E249 [PMID: 23154870 DOI: 10.1055/s-0031-1299276]

21 Liu LN, Xu HX, Lu MD, Xie XY, Wang WP, Hu B, Yan K, Ding H, Tang SS, Qian LX, Luo BM, Wen YL. Contrast-enhanced ultrasound in the diagnosis of gallbladder diseases: a multi-center experience. PLoS One 2012; 7: e48371 [PMID: 23118996 DOI: 10.1371/journal.pone.0048371]

22 Xu HX, Lu MD, Liu LN, Zhang YF, Guo LH, Xu JM, Liu C. Discrimination between neoplastic and non-neoplastic lesions in cirrhotic liver using contrast-enhanced ultrasound. Br J Radiol 2012; 85: 1376-1384 [PMID: 22553290 DOI: 10.1259/bjr/19932596]

23 Xu HX, Lu MD. The current status of contrast-enhanced ultrasound in China. J Med Ultrason 2010; 37: 97-106[DOI: 10.1007/s10396-010-0264-9]

24 Xu ZF, Xu HX, Xie XY, Liu GJ, Zheng YL, Lu MD. Renal cell carcinoma and renal angiomyolipoma: differential diagnosis with real-time contrast-enhanced ultrasonography. J Ultrasound Med 2010; 29: 709-717 [PMID: 20427782]

25 Xu ZF, Xu HX, Xie XY, Liu GJ, Zheng YL, Liang JY, Lu MD. Renal cell carcinoma: real-time contrast-enhanced ultrasound findings. Abdom Imaging 2010; 35: 750-756 [PMID: 19844755 DOI: .1007/s00261-009-9583-y]

26 Wang Z, Xu HX, Xie XY, Xie XH, Kuang M, Xu ZF, Liu GJ, Chen LD, Lin MX, Lu MD. Imaging features of hepatic angiomyolipomas on real-time contrast-enhanced ultrasound. Br J Radiol 2010; 83: 411-418 [PMID: 19723766 DOI: 10.1259/bjr/81174247]

27 Chen LD, Xu HX, Xie XY, Xie XH, Xu ZF, Liu GJ, Wang Z, Lin MX, Lu MD. Intrahepatic cholangiocarcinoma and hepatocellular carcinoma: differential diagnosis with contrast-enhanced ultrasound. Eur Radiol 2010; 20: 743-753 [PMID: 19760416 DOI: 10.1007/s00330-009-1599-8]

28 Xie XH, Xu HX, Xie XY, Lu MD, Kuang M, Xu ZF, Liu GJ, Wang Z, Liang JY, Chen LD, Lin MX. Differential diagnosis between benign and malignant gallbladder diseases with real-time contrast-enhanced ultrasound. Eur Radiol 2010; 20: 239-248 [PMID: 19657645 DOI: 10.1007/s00330-009-1538-8]

29 Lin MX, Xu HX, Lu MD, Xie XY, Chen LD, Xu ZF, Liu GJ, Xie XH, Liang JY, Wang Z. Diagnostic performance of contrast-enhanced ultrasound for complex cystic focal liver lesions: blinded reader study. Eur Radiol 2009; 19: 358-369 [PMID: 18795298 DOI: 10.1007/s00330-008-1166-8]

30 Xu HX, Xie XY, Lu MD, Liu GJ, Xu ZF, Zheng YL, Liang JY, Chen LD. Contrast-enhanced sonography in the diagnosis of small hepatocellular carcinoma & lt; or =2 cm. J Clin Ultrasound 2008; 36: 257-266 [PMID: 18088056 DOI: 10.1002/jcu.20433]

31 Xu HX, Xie XY, Lu MD, Liu GJ, Xu ZF, Liang JY, Chen LD. Unusual benign focal liver lesions: findings on real-time contrast-enhanced sonography. J Ultrasound Med 2008; 27: 243-254 [PMID: 18204015]

32 Xu HX, Liu GJ, Lu MD, Xie XY, Xu ZF, Zheng YL, Liang JY. Characterization of small focal liver lesions using real-time contrast-enhanced sonography: diagnostic performance analysis in 200 patients. J Ultrasound Med 2006; 25: 349-361 [PMID: 16495496]

33 Xu HX, Liu GJ, Lu MD, Xie XY, Xu ZF, Zheng YL, Liang JY. Characterization of focal liver lesions using contrast-enhanced sonography with a low mechanical index mode and a sulfur hexafluoride-filled microbubble contrast agent. J Clin Ultrasound 2006; 34: 261-272 [PMID: 16788957 DOI: 10.1002/jcu.20234]

34 Xu HX, Lu MD, Liu GJ, Xie XY, Xu ZF, Zheng YL, Liang JY. Imaging of peripheral cholangiocarcinoma with low-mechanical index contrast-enhanced sonography and SonoVue: initial experience. J Ultrasound Med 2006; 25: 23-33 [PMID: 16371552]

35 Claudon M, Dietrich CF, Choi BI, Cosgrove DO, Kudo M, Nolsøe CP, Piscaglia F, Wilson SR, Barr RG, Chammas MC, Chaubal NG, Chen MH, Clevert DA, Correas JM, Ding H, Forsberg F, Fowlkes JB, Gibson RN, Goldberg BB, Lassau N, Leen EL, Mattrey RF, Moriyasu F, Solbíatí L, Weskott HP, Xu HX.Guidelines and Good Clinical Practice Recommendations for Contrast Enhanced Ultrasound (CEUS) in the Liver - Update 2012. Ultraschall Med 2012; [PMID: 23129518 DOI: 10.1016/j.ultrasmedbio.2012.09.002]

36 Wong GL, Xu HX, Xie XY. Detection of focal liver lesions in cirrhotic liver using contrast-enhanced ultrasound. World J Radiol 2009; 1: 25-36 [PMID: 21160718 DOI: 10.4329/wjr.v1.i1.25]

37 Xu HX. Contrast-enhanced ultrasound in the biliary system: Potential uses and indications. World J Radiol 2009; 1: 37-44 [PMID: 21160719 DOI: 10.4329/wjr.v1.i1.37]

38 Xu HX, Chen LD, Liu LN, Zhang YF, Guo LH, Liu C. Contrast-enhanced ultrasound of intrahepatic cholangiocarcinoma: correlation with pathological examination. Br J Radiol 2012; 85: 1029-1037 [PMID: 22374276 DOI: 10.1259/bjr/21653786]

39 Frieser M, Kiesel J, Lindner A, Bernatik T, Haensler JM, Janka R, Hahn EG, Strobel D. Efficacy of contrast-enhanced US versus CT or MRI for the therapeutic control of percutaneous radiofrequency ablation in the case of hepatic malignancies. Ultraschall Med 2011; 32: 148-153 [PMID: 21225567 DOI: 10.1055/s-0029-1245934]

40 Ricci P, Cantisani V, Drudi F, Pagliara E, Bezzi M, Meloni F, Calliada F, Erturk SM, D'Andrea V, D'Ambrosio U, Passariello R. Is contrast-enhanced US alternative to spiral CT in the assessment of treatment outcome of radiofrequency ablation in hepatocellular carcinoma? Ultraschall Med 2009; 30: 252-258 [PMID: 19280552 DOI: 10.1055/s-2008-1027727]

41 Salvaggio G, Campisi A, Lo Greco V, Cannella I, Meloni MF, Caruso G. Evaluation of posttreatment response of hepatocellular carcinoma: comparison of ultrasonography with second-generation ultrasound contrast agent and multidetector CT. Abdom Imaging 2010; 35: 447-453 [PMID: 19562414 DOI: 10.1007/s00261-009-9551-6]

42 Kim TK, Lee KH, Khalili K, Jang HJ. Hepatocellular nodules in liver cirrhosis: contrast-enhanced ultrasound. Abdom Imaging 2011;36:244-263. [PMID:21253723 DOI: 10.1007/s00261-011-9686-0]

43 Chen LD, Xu HX, Xie XY, Lu MD, Xu ZF, Liu GJ, Liang JY, Lin MX. Enhancement patterns of intrahepatic cholangiocarcinoma: comparison between contrast-enhanced ultrasound and contrast-enhanced CT. Br J Radiol 2008; 81: 881-889 [PMID: 18941048 DOI: 10.1259/bjr/22318475]

44 Wiggermann P, Zuber-Jerger I, Zausig Y, Loss M, Scherer MN, Schreyer AG, Stroszczynski C, Jung EM. Contrast-enhanced ultrasound improves real-time imaging of ablation region during radiofrequency ablation: preliminary results. Clin Hemorheol Microcirc 2011; 49: 43-54 [PMID: 22214677 DOI: 10.3233/CH-2011-1456]

45 Liu F, Yu X, Liang P, Cheng Z, Han Z, Dong B. Contrast-enhanced ultrasound-guided microwave ablation for hepatocellular carcinoma inconspicuous on conventional ultrasound. Int J Hyperthermia 2011; 27: 555-562 [PMID: 21797695 DOI: 10.3109/02656736.2011.564262]

46 Gallotti A, D'Onofrio M, Ruzzenente A, Martone E, De Robertis R, Guglielmi A, Pozzi Mucelli R. Contrast-enhanced ultrasonography (CEUS) immediately after percutaneous ablation of hepatocellular carcinoma. Radiol Med 2009; 114: 1094-1105 [PMID: 19756947 DOI: 10.1007/s11547-009-0436-0]

47 Chen MH, Wu W, Yang W, Dai Y, Gao W, Yin SS, Yan K. The use of contrast-enhanced ultrasonography in the selection of patients with hepatocellular carcinoma for radio frequency ablation therapy. J Ultrasound Med 2007; 26: 1055-1063 [PMID: 17646367]

48 Chen MH, Yang W, Yan K, Dai Y, Wu W, Fan ZH, Callstrom MR, Charboneau JW. The role of contrast-enhanced ultrasound in planning treatment protocols for hepatocellular carcinoma before radiofrequency ablation. Clin Radiol 2007; 62: 752-760 [PMID: 17604763 DOI: 10.1016/j.crad.2006.12.013]

49 Solbiati L, Ierace T, Tonolini M, Cova L. Guidance and monitoring of radiofrequency liver tumor ablation with contrast-enhanced ultrasound. Eur J Radiol 2004; 51 Suppl: S19-S23 [PMID: 15311434]

50 Quaia E, Alaimo V, Baratella E, Medeot A, Midiri M, Cova MA. The added diagnostic value of 64-row multidetector CT combined with contrast-enhanced US in the evaluation of hepatocellular nodule vascularity: implications in the diagnosis of malignancy in patients with liver cirrhosis. Eur Radiol 2009; 19: 651-663 [PMID: 18815790 DOI: 10.1007/s00330-008-1179-3]

51 Xu HX, Lu MD, Liu LN, Guo LH. Magnetic navigation in ultrasound-guided interventional radiology procedures. Clin Radiol 2012; 67: 447-454 [PMID: 22153232 DOI: 10.1016/j.crad.2011.10.015]

P-Reviewers Koch TR, Adinolfi LE, Tischendorf J, Marin JJG         S-Editor Wen LL             L-Editor                  E-Editor

Figure 1 An proposed algorithm combining the strengths of the radiologic techniques of contrast-enhanced ultrasound and contrast-enhanced computed tomography. HCC: Hepatocellular carcinoma; CEUS: Contrast-enhanced ultrasound; CECT: Contrast-enhanced computed tomography; AFP, Alpha fetoprotein; TACE, Transarterial chemoembolization; (-): Negative finding; (+): Positive finding.

Table 1 Diagnostic values of contrast-enhanced imaging in evaluating the treatment response after ablation for liver cancer (%)

| References | n | Imaging | Accuracy | Sen | Spe | PPV | NPV |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lu et al[18]1 | 151 patients | CEUS | 96.6 | - | 98.2% | - | - |
| Frieser et al[39] | 76 patients 118 nodules | CEUS | 93.8 | - | - | - | - |
|  |  | CE-CT | 86.2 | - | - | - | - |
|  |  | CEUS | 100 | - | - | - | - |
|  |  | CE-MRI | 88.4 | - | - | - | - |
| Ricci et al[40]2 | 100 patients 100 nodules | CEUS | - | 92.3 | 100 | 100 | 97.4 |
| Salvaggio et al[41]2 | 148 nodules | CEUS | 97 | 83.3 | 100 | - | - |

1In comparison with contrast-enhanced computed tomography (CE-CT) or contrast-enhanced magnetic resonance imaging (CE-MRI); 2In comparison with CE-CT. -: Not applicable. Sen: Sensitivity; Spe: Specificity; PPV: Positive predictive value; NPV: Negative predictive value; CEUS: Contrast-enhanced ultrasound.

Table 2 Comparison between contrast-enhanced ultrasound and contrast-enhanced computed tomography in the follow-up scheme after liver cancer ablation

|  | CEUS | CECT |
| --- | --- | --- |
| Pharmacokinetic of the contrast | Early vascular phase; followed by diffusion into the interstitial space | Pure blood pool tracer; without diffusion into the into the interstitial space |
| Strong points | Real-time scanning, easy to perform, no radiation, wide availability, and no allergic reaction. | High image quality; operator independency; panoramic imaging; easy to interpret |
| Weak points | Image quality is apt to be affected by the lesion location near liver dome, or the obscuration by gas from lung or intestine; Inability to imaging multiple lesions in one procedure; operator dependence | Inferior temporal resolution; allergic reaction to the contrast-medium; unsuitable for the patient with kidney function impairment; radiation; inferior availability |

CEUS: Contrast-enhanced ultrasound;  CE-CT: Contrast-enhanced computed tomography.