Name of journal: World Journal of Diabetes

ESPS Manuscript NO: 13546

Columns: Topic Highlight

WJD 5th Anniversary Special Issues (4): Diabetes-related complications

Utility of different glycemic control metrics for optimizing management of diabetes

Kohnert KD et al. Glycemic control metrics

Klaus-Dieter Kohnert, Peter Heinke, Lutz Vogt, Eckhard Salzsieder

Klaus-Dieter Kohnert, Peter Heinke, Eckhard Salzsieder, Institute of Diabetes “Gerhardt Katsch“, D-17495 Karlsburg, Germany

Lutz Vogt, Diabetes Service Center, D-17495 Karlsburg, Germany

Author contributions: Kohnert KD drafted the manuscript, contributed to revision of the manuscript for intellectual content and approval of the manuscript; Heinke P contributed to analysis and interpretation of data; Vogt L contributed to interpretation of data and revision of the manuscript for intellectual content; Salzsieder E is the guarantor of this work and, as such, takes responsibility for its integrity and accuracy.

Conflict-of-interest: All authors declare no conflict of interest.

Open-Access: This article is an open-access article which selected by an in-house editor and fully peer-reviewed by external reviewers. It distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Klaus-Dieter Kohnert, MD, PhD, Institute of Diabetes “Gerhardt Katsch“ Karlsburg, Greifswalder Str. 11a, D-17495 Karlsburg, Germany. kohnert@diabetes-karlsburg.de

Telephone: +49-383-5568406 		Fax: +49-383-5568444

Received: August 26, 2014

Peer-review started: August 28, 2014

First decision: September 19, 2014

Revised: September 26, 2014

Accepted:  November 27, 2014

Article in press:

Published online:

Abstract

The benchmark for assessing quality of long-term glycemic control and adjustment of therapy is currently glycated hemoglobin (HbA1c). Despite its importance as an indicator for the development of diabetic complications, recent studies have revealed that this metric has some limitations; it conveys a rather complex message, which has to be taken into consideration for diabetes screening and treatment. On the basis of recent clinical trials, the relationship between HbA1c and cardiovascular outcomes in long-standing diabetes has been called into question. It becomes obvious that other surrogate and biomarkers are needed to better predict cardiovascular diabetes complications and assess efficiency of therapy. Glycated albumin, fructosamin, and 1,5-anhydroglucitol have received growing interest as alternative markers of glycemic control. In addition to measures of hyperglycemia, advanced glucose monitoring methods became available. An indispensible adjunct to HbA1c in routine diabetes care is self-monitoring of blood glucose. This monitoring method is now widely used, as it provides immediate feedback to patients on short-term changes, involving fasting, preprandial, and postprandial glucose levels. Beyond the traditional metrics, glycemic variability has been identified as a predictor of hypoglycemia, and it might also be implicated in the pathogenesis of vascular diabetes complications. Assessment of glycemic variability is thus important, but exact quantification requires frequently sampled glucose measurements. In order to optimize diabetes treatment, there is a need for both key metrics of glycemic control on a day-to-day basis and for more advanced, user-friendly monitoring methods. In addition to traditional discontinuous glucose testing, continuous glucose sensing has become a useful tool to reveal insufficient glycemic management. This new technology is particularly effective in patients with complicated diabetes and provides the opportunity to characterize glucose dynamics. Several continuous glucose monitoring (CGM) systems, which have shown usefulness in clinical practice, are presently on the market. They can broadly be divided into systems providing retrospective or real-time information on glucose patterns. The widespread clinical application of CGM is still hampered by the lack of generally accepted measures for assessment of glucose profiles and standardized reporting of glucose data. In this article, we will discuss advantages and limitations of various metrics for glycemic control as well as possibilities for evaluation of glucose data with the special focus on glycemic variability and application of CGM to improve individual diabetes management.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

# Key words: Markers of glycemic control; Postprandial glucose; Hemoglobin A1c; Risk of hyperglycemia and hypoglycemia; Glycemic variability; Glucose dynamics; Standardization; Continuous glucose monitoring; Diabetes mellitus

# Core tip: Hemoglobin A1c (HbA1c) is the gold standard to assess glycemic control and a surrogate for diabetes-associated complications. Self-monitoring of blood glucose complements daily diabetes management but is insufficient in providing complete information on short-term changes in glucose levels induced by effects of food or antidiabetic medication. Key metrics beyond HbA1c are needed for glycemic control on a day-to-day basis as well as more advanced monitoring methods. Herein, we will review advantages and limitations of different metrics for glycemic control as well as possibilities for characterization of glucose dynamics with the special focus on glycemic variability and continuous glucose monitoring.

Kohnert KD, Heinke P, Vogt L, Salzsieder E. Utility of different glycemic control metrics for optimizing management of diabetes. World J Diabetes 2014; In press

# INTRODUCTION

# Since landmark studies have provided evidence that glycated hemoglobin (HbA1c) is linked to vascular complications of diabetes[1,2], this biomarker of glycemia emerged as the benchmark for current diabetes management. Thus, optimal diabetes control aims to restore levels of HbA1c to as normal as possible to reduce or prevent diabetic complications. However, HbA1c has some important limitations and is a rather complex measure of hyperglycemia. It represents an indicator for overall glucose exposure, integrating fasting, preprandial as well as postprandial hyperglycemia, but their relative contribution varies with the quality of glycemic control[3]. Apart from several medical conditions that can cause inaccurate test results, HbA1c neither captures glucose fluctuations nor does it provide any information on glucose dynamics.

# Chronic sustained hyperglycemia is well known to increase the risk for micro- and macrovascular complications in type 1 as well as in type 2 diabetes. Especially postprandial/postchallenge hyperglycemia, independent of HbA1c or fasting glucose, has been associated with cardiovascular disease[4], and this could be confirmed very recently in a post-hoc analysis of the “Effects of prandial versus fasting glycemia on cardiovascular outcomes in type 2 diabetes (HEART2D)” study[5].

# As generally accepted and laid down in the American Diabetes Association (ADA) and International Diabetes Federation (IDF) guidelines, strict glycemic control, implicating comprehensive diabetes evaluation, is needed to prevent or delay diabetes complications. Nevertheless, the outcomes of the ACCORD[6] and ADVANCE[7] trials have taught us that HbA1c levels should be tailored to the patients´ health status―older age and extensive comorbid conditions require less stringent targets. In the overwhelming majority of large clinical trials, HbA1c has been used to predict long-term outcomes related to morbidity and mortality in people with type 1 and type 2 diabetes, but the strength of association with macrovascular end points was weaker than with microvascular end points. Furthermore, it remains still unclear how various measures of glycemia predict diabetes complications and whether a combination of several markers might even be more strongly related to adverse outcomes than a single biomarker. A recent analysis of data from the Diabetes Control and Complication Trial/Epidemiology of Diabetes Interventions and Complication Study by Nathan et al[8] supports the suggestion of using two glycemic markers to strengthen risk prediction. Thus, it would not be surprising if in the near future a combination of shorter and longer term glycemic markers could be used to predict cardiovascular outcomes more precisely. Now, we believe that time has come to move from measurement of HbA1c to other markers, allowing for assessment of short-time and intermediate-time changes in glycemia.

# Although self-monitoring of blood glucose (SMBG) is still the predominant mode of glucose monitoring, the use of advanced technology, such as continuous glucose monitoring (CGM) has shown remarkable benefits and expanded significantly during recent years. One of the major problems in utilization such systems are appropriate evaluation of the great amount of data provided by CGM and the lack of standardization.

# The purpose of the present review is to give an insight into the problems of choosing the most relevant markers of glycemic control and how to evaluate CGM data properly to optimize management of diabetes in order to avoid long-term complications.

# MARKERS OF GLYCEMIC CONTROL

# Glycemic markers are indispensable in routine practice as well as in clinical trials to guide therapy and to investigate the efficacy of medications on patients´ glycemic control. A summary of useful glucose measures is shown in Table 1. As discussed in the following, not only do these markers cover different timeframes of glycemic control, they also provide different information on glucose metabolism and may reflect different pathways.

# Hemoglobin A1c

# HbA1c is formed by nonenzymatic glycation as adduct of glucose and the hemoglobin molecule. The HbA1c value reflects average glucose over 1-3 mo. The National Glycohemoglobin Standardization Program is the organization that evaluates, sets standards for accuracy, and certifies methods for measurement of HbA1c. Besides laboratory tests, even home monitors for patients have been approved, e.g., Bayer A1cNow Selfcheck At-HomeA1c System or BioRad´s Micromat™ II Hemoglobin Instrument.

HbA1c has been used as a biomarker for more than three decades as universally accepted means for monitoring glycemic control and as clinical surrogate endpoint in diabetes. In both patients with type 1 and type 2 diabetes, it is well documented that HbA1c predicts the occurrence of diabetes complications. A review by Khaw and Wareham examined HbA1c as a risk predictor for cardiovascular disease and found that a 1% increment in absolute concentration of HbA1c was associated with about 10-20% increase in cardiovascular risk[9]. Elley et al[10] confirmed in a large prospective cohort study of 48,444 people with type 2 diabetes that increased HbA1c is an independent risk factor for cardiovascular disease, after adjusting for traditional risk factors. This is consistent with work by Ma et al[11] who suggested from data of a retrospective study in older patients with diabetes that elevated HbA1c values are an independent predictor of complex coronary lesions. However, a very recent analysis in subjects without diabetes and cardiovascular disease obtained little additional benefit for prediction of first-onset cardiovascular disease[12]. Prior to the Emerging Risk Factors Collaboration study[12] large trials, such as ACCORD[6] and ADVANCE[7], also failed to demonstrate the ability to alter cardiovascular outcomes upon lowering HbA1c values in patients with long-standing diabetes. This is in contrast to the effects of tight glycemic control in reducing microvascular complications. As a corollary, the uncertainty around HbA1c results in relation to clinical outcomes was augmented. Moreover, deeper insight into the pathogenesis of diabetes has disclosed important limitations of HbA1c measurement. For example, early analyses recognized that diabetic patients with identical HbA1c values can have different mean glucose concentrations[13,14]. The regression analysis shown in Figure 1 for a cohort of our type 2 diabetic patients demonstrates that although the regression coefficients between HbA1c and mean glucose obtained either from CGM or concurrent SMBG measurements are similar (Kohnert et al, Unpublished); wide variations in the relationship among and within the patients can be seen. In a minority of patients such mismatch might partly be explained by unequal temporal distribution of glucose sampling, but more importantly, there are studies to provide evidence that this observation is due to differences in intracellular glycation rates[15]  It appears that glycation of hemoglobin is not simply a concentration-dependent process, and factors other than glucose are likely to be involved. Moreover, conditions that could interfere with HbA1c measurement, causing erroneous values, are high red cell turnover, hemolytic anemia, blood transfusion, chronic renal or liver disease[16], and drug treatment. Under these circumstances, HbA1c cannot be used as a glucose control measure; and alternative markers should be considered. The most important limitation of HbA1c is its inability to predict hypoglycemia and to capture short-term changes of glycemia. Furthermore, we have previously shown that in well-controlled patients with type 2 diabetes, HbA1c is mainly determined by chronic sustained hyperglycemia; glycemic fluctuations go undetected[17]. However, this is critical for safe and timely adjustment of insulin administration and clinical decision making. Thus, there has been increasing interest in additional markers for better glycemic control over shorter timeframes. The markers in question, however, may have specific characteristics and are not equally suited for diabetes management.

# Fasting glucose, postprandial glucose, and mean glucose

# In contrast to HbA1c, estimation of glucose exposure for specific time periods overnight or 2 to 4 hours postprandial may be useful in monitoring effects of food, exercise, or antidiabetic medications. Thus, fasting glucose (FPG) and postprandial glucose (PPG) provide an acute assessment of glycemia. However, in their original work on the relationship between FPG and PPG, Monnier and coauthors have shown that the relative contribution of these measures changes with increasing HbA1c values[3] and worsening of the metabolic situation is indicated by loss of postprandial glycemic control[18]. According to the ADA Standards of medical care in diabetes – 2014[19], FPG values of ≥ 7.0 mmol/L and 2-h plasma glucose (2hPG) of ≥ 11.1 mmol/L are considered criteria for the diagnosis of diabetes. Among a number of studies, which have examined the relationship of FPG or 2hPG to mortality, data from the Baltimore Longitudinal Study on Aging showed that FPG levels, exceeding 7.0 mmol/L increased the risk of mortality and the 2hPG added predictive power to that of FPG alone[20]. Impaired fasting glucose emerged also as independent predictor of cardiovascular mortality in the Australian Diabetes, Obesity and Lifestyle Study[21]. A recent meta-analysis suggested that reduction of FPG was related to a decrease of cardiovascular mortality with data on PPG pointing in the same direction[22].

# Standl et al[23] have listed 14 long-term observational studies showing that elevated PPG levels increase the risk of cardiovascular disease or the occurrence of a cardiovascular event approximately threefold. By contrast, data from prospective studies on the association between PPG and cardiovascular risk in established diabetes are limited. The Diabetes Intervention study[24] has revealed the harmful link between PPG levels >10 mmol/L and increased risk of cardiovascular events and reported that reduction below this level decreased myocardial infarction and death in type 2 diabetes. Cavelot et al[25] confirmed this association in their follow-up study, demonstrating that PPG was a stronger predictor of cardiovascular events than fasting glucose. Data obtained form a study conducted by Esposito et al[26] showed that postmeal incremental glucose values > 2.78 mmol/L, found in two thirds of study participants, were correlated with carotid intima-media thickness. Further support for the concept of treating elevated PPG came from a post-hoc analysis of the HEART2D study[27]. Although all these studies could not clarify, whether PPG is a real marker of cardiovascular events or a surrogate of complex metabolic processes taking place in the postprandial phase[28], this measure appears to be helpful for assessing the meal-induced glucose excursion and efficacy of diabetes treatment. In order to reduce the risk of cardiovascular events, the ADA[19] and IDF[29] recommend PPG values ≤ 10.0 and ≤ 9.0 mmol/L, respectively.

# When considering glucose exposure, mean glucose is the metric with which the quality of diabetes management can be judged by clinicians as well as patients at shorter intervals and more easily than with HbA1c. For this reason, an expert panel of diabetes specialists recommended mean glucose/median glucose of all readings as one of the helpful glucose metrics[30].

# Fructosamin and glycated serum proteins

In recent years, fructosamin and serum glycated proteins with shorter half-lives (14-21 and 17-20 days, respectively) than hemoglobin have been evaluated as markers of glycemia. Fructosamin is formed by attachment of the molecule primarily to albumin via a nonenzymatic reaction. The fructosamin assay uses a colorimetric method, is rapid, inexpensive and specific, and can be applied to measure glycation of serum proteins, principally albumin[31]; however, there is little standardization of this test. Several studies showed good correlations between fructosamin and HbA1c and glycated albumin[32]. Glycated albumin (GA) is a ketoamine that is formed via nonenzymatic glycation and has been reported to be a useful marker of shorter-term glycemic control in diabetes[33]. It is a more rapidly responding indicator than hemoglobin, although the glycation rate for both proteins is comparable[34]. Various methods to quantify GA are available but have not been consistently standardized–most common are affinity chromatography and enzymatic assays. Two cross-sectional studies, a Japanese and an American one, involving diabetic patients on hemodialysis[35,36], suggested that GA is a better marker of glycemic control than HbA1c. The consistent finding of significantly lower % GA/HbA1c ratios in diabetic patients without nephropathy compared to those on dialysis indicates that HbA1c underestimates glycemic control under these circumstances. It is likely that factors such as reduced survival of red blood cells and transfusions contribute to lowering of HbA1c levels in diabetic patients on hemodialysis. GA has been found useful in neonatal and gestational diabetes to detect short-term changes in glycemia[37,38]. Since glycated albumin was shown to be an independent variable of maximum glucose levels, it appears to be a more sensitive marker than HbA1c for glycemic excursions, as they occur during postprandial times[39]. This is important because postprandial glucose excursions are known risk factors for diabetic micro- and macrovascular diabetes complications. More recently, it was found that serum GA levels are higher in relation to HbA1c in diabetes patients with reduced basal pancreatic ß-cell function[40]. If in the state of postprandial hyperglycemia, indicating postprandial ß-cell dysfunction, serum concentrations were found to be increased, then GA could be a useful surrogate marker for cardiovascular risk[41]. This has not yet been confirmed by clinical trials, although the finding of elevated GA, but not HbA1c levels in patient with coronary artery stenosis points out such a relationship[42].

# 1,5- Anhydroglucitol

# Another analyte, 1,5-anhydroglucitol (1,5-AG), has been suggested for use as intermediate marker of glycemia to complement HbA1c measurements[43]. It is a naturally occurring inert polyol, which represents a six-carbon chain monosaccharide with a structure similar to glucose. An automated assay named GlycoMark™ is commercially available. 1,5-AG competes with glucose for tubular re-absorption and can hence not be used as a marker for glycemic control in patients with impaired kidney function. Furthermore, it should be noted that glucose levels exceeding the renal threshold for glycosuria, i.e., 10 mmol/L (180 mg/dL), lead to a rapid reduction in serum concentration of 1,5-AG[44]. Poor glycemic control, indicated by high HbA1c values (> 9.0%, > 75 mmol/mol), is therefore associated with lower not higher levels of 1,5-AG. Although this marker responds sensitively and rapidly to daily glucose excursions in patients with near or at goal HbA1c levels[45], it can not identify hypoglycemia. Dungan et al[46] have reported that 1,5-AG varied markedly in diabetes patients despite similar HbA1c and showed that this was mainly attributable to different postprandial glucose excursions. This makes 1,5-AG superior compared to HbA1c or GA (serum fructosamine) measurements as a marker for identifying postprandial hyperglycemia. Consequently, 1,5-AG has been used to evaluate drug strategies on postprandial glycemia. Studies, including exenatide[47], sitagliptin[48] or biphasic insulin[49], for example, support the usefulness of 1,5-AG as a marker to identify treatment effects on postprandial glycemic excursions that would have otherwise been missed. However, it must be emphasized that 1,5-AG is not able to determine glycemic variability.

# Metrics of glycemic variability

# Clinical observations in patients with type 1 and type 2 diabetes have revealed that glucose profiles can greatly differ even if patients are well-controlled. While in some patients small or moderate glucose excursions and rare hypoglycemia occur, there are marked postprandial increases with frequent hypoglycemic episodes in others. Such ups and downs in glucose levels over time, either measured within 24 hours or from day to day at the same time point, reflect glycemic variability (GV) classified as within-day and between-day variability, respectively[50]. It was Monnier and coauthors[51] who suggested that GV is one of the important components of dysglycemia in diabetes.

# With the advent of CGM, quantification of GV gained considerable clinical importance[52]. Numerous indices for evaluation of various aspects of GV are currently available, which have been carefully characterized by Rodbard[53,54] and Cameron et al[55]. Although they can principally be calculated from frequently sampled SMBG data, i.e., seven- or eight-point glucose profiles, it is advisable to use CGM datasets, because capturing relevant glucose peaks and nadirs requires sampling frequencies of 1-5 minutes. It is thus not unexpected that several studies found the magnitude of GV to depend on the sampling frequency[56,57]. Furthermore, it is very important to clearly differentiate between indices of GV and indices of the quality of glycemic control. Measures of GV quantify short-term changes in glycemia and reflect different and specific aspects of glycemic control but should not be interchanged. Validated indices such as mean amplitude of glycemic excursions (MAGE), mean of daily difference (MODD), continuous overall net glycemic action (CONGA) are often used in clinical research, but they are not easy to calculate. Several computer programs have recently been developed for better handling of sampled glucose data. We previously developed a computer program to calculate MAGE[58], and meanwhile, there is other software available, such as GlyCulator[59] and EasyGV (www.easygv.co.uk) for computing glycemic variability indices. In order to standardize measures of glycemia and glucose data reporting, an expert panel of diabetes specialists recommended for the ease of use, familiarity, and correlation with other factors of glycemic control, the following three measures of GV: SD around the mean glucose (SD), coefficient of variation (CV), and interquartile range (IQR)[30]. Especially, if CGM data are collected, IQR is the most reliable aggregate measure of GV, as the panel announced. Normative values for GV indices have been published by Hill et al[60] and Zhou et al[61].

# In regard to the clinical relevance, it remains controversial whether GV is an independent causative or contributing factor to diabetes complications[62]. Nevertheless, there are a few studies in patients with type 1 diabetes to suggest GV to impact on the development of microvascular complications[63,64]. In an 11-year follow-up study, Bragd et al[65] found that GV measured by SD of blood glucose was a predictor of the prevalence of peripheral neuropathy. Moreover, Snell-Bergeron reported subclinical atherosclerosis to be associated with glucose levels and glucose SD in men with type 1 diabetes[66]. The potential importance of GV for the development of microvascular complications has been corroborated by Soupal et al[67] in a recent cross-sectional study of type 1 diabetes patients. This study showed significantly increased values for GV indices, such as SD, CV, and MAGE, for patients with microvascular complications as compared to those without complications. In this context, it should be noted that analysis of data from the Diabetes Control and Complications Trial showed that long-term fluctuations in glycemia expressed as SDs of HbA1c independently relate to the development of retinopathy and nephropathy[68]. With respect to type 2 diabetes, there are more study data available than for type 1 diabetes, demonstrating close associations between GV and vascular complications[69]. In patients with well-controlled glycemia, Zhou et al[70] reported that increased MAGE is one of the risk factors for microalbuminuria. Văduva et al[71] observed increased values for several GV indices in type 2 diabetic patients with chronic kidney disease compared to those without kidney damage; and Mirani et al[72] noticed glucose profiles with higher GV in insulin-treated diabetes patients on hemodialysis than in the hemodialysis-free intervals. One retrospective long-term follow-up study showed that fasting glucose variability was a risk factor for diabetic retinopathy independent of mean fasting glucose or HbA1c[73]. Regarding macrovascular complications, Chen et al[74] obtained data from a case-control study to suggest a significant association between GV and progression of atherosclerosis, as determined by measurement of carotid intima-media thickness. These latter data are consistent with the value of MAGE in predicting better than HbA1c major adverse cardiac events[75], coronary artery disease in newly diagnosed diabetes[76] and its severity in established type 2 diabetes[77]. A strong argument was presented for the role of GV by the recent analysis of the ADVANCE (Action in Diabetes and Vascular Disease: Preterax and Diamicron MR Controlled Evaluation) trial that revealed a clear association between SD of glucose and macro- as well as microvascular events in type 2 diabetes[78]. It should further be noted that MAGE, has been found by Rizzo et al[79] to be associated with impairment of cognitive function independent from the main markers of glycemia (HbA1c, FPG, PPG); and Penckofer et al[80] reported an impact of GV on mood and life quality in women with type 2 diabetes.

# Finally, experimental findings and clinical observations suggesting that GV more than sustained chronic hyperglycemia induces increased oxidative stress[81] provide sure indications that GV is involved in the development of vascular disease. Because traditional measures of GV, with the exception of % CV, are closely correlated with mean glucose, it remains difficult to define an independent role for GV in the development of diabetes complications. Nevertheless, in clinical practice, minimizing GV is important to achieve acceptable glycemic stability without increasing the risk of hypoglycemia[82-84].

# Metrics of glycemic risk

# Essentially two indices, such as the average daily risk range (ADRR)[85] and the glycemic risk assessment diabetes equation (GRADE)[86] have been developed to grade the quality of glycemic control and to complement clinical assessment of diabetes treatment. These metrics are calculated by converting glucose values obtained from SMBG or CGM into risk scores, i.e., they quantify the risk for glycemic extremes, both hyper- and hypoglycemia. They do not measure GV per se, rather its consequences. Nevertheless, ADRR scores correlate with several GV indices[60,87] and were further shown to correlate with patients´ insulin sensitivity, epinephrine release[88], and weakly with basal ß-cell function (HOMA%B)[89]. The ADRR includes the high blood glucose index (HBGI) and the low blood glucose index (LBGI), which quantify the risk for hyperglycemia and hypoglycemia. Among the advantages of ADRR that should be emphasized are the equal sensitivity to predict excessive hyperglycemic as well as hypoglycemic episodes and the possibility to use either SMBG or CGM data for its calculation[90]. On the other hand, ADRR has been considered as apparently less sensitive to therapeutic effects[87]. Nonetheless, with regard to our own research [Kohnert et al, unpublished data] we were able to differentiate between treatment modalities, as depicted in Figure 2. ADRR is usually reported as cutoff scores based on risk categories[90]. Even glucose meter software programs for automatic calculation are meanwhile available. Treatment studies that have used ADRR as outcome measure are still limited in number. Patton and coauthors[91] published a comprehensive review article on the use of ADRR in assessment research and treatment outcomes research, suggesting that adults and youths with diabetes could well benefit from monitoring their ADRR scores. However, as these authors stated, it is currently unknown to which extent ADRR is used in routine diabetes control.

# GRADE has been introduced by Hill et al[86]. The GRADE score is an expression of the mean GRADE value derived from any glucose profile. The percentage of time spent in a specified range can be given as % GRADEhypoglycemia, %GRADEeuglycemia, %GRADEhyperglycemia. There have been only a few studies that have used GRADE scores, mainly in comparison with GV indices. One study has shown that GRADE was significantly improved in response to unmasking of CGM glucose values[87]; another study found GRADE scores to be reduced concomitant with lowering of GV after adjustment of therapy in patients with type 2 diabetes[84]. Although both ADRR and GRADE indicate increased glycemic risk, it should be noted that they are only moderately correlated with one another[87]. Nevertheless, as shown in Table 2, our data suggest that among the above metrics GRADEhypoglycemia and LBGI derived from CGM data are superior in estimating the risk of hypoglycemia (Kohnert et al, unpublished data).

# Metrics of glucose dynamics

Regulation of glucose concentration is a complex process that is linked with several ultradian rhythms. Even though certain aspects of the failing glucoregulation observed in the development and progression of diabetes may be assessed by classical indices of GV, they do not include a time component[92]. The metrics of GV described above may thus give information about the extent of excursions, yet information about glucose dynamics is not sufficiently provided, i.e., how the glucoregulatory system moves from one state to another over time. In other words, GV indices are not suitable to gain deeper insight into regulatory dynamics. Various analytical methods have been used for indicating the range of glycemic dynamics in nondiabetic and diabetic patients associated with typical disease conditions. Time-series analysis techniques provide an approach to discover changes in glucose dynamics. Thus, autocorrelation function has been applied to glucose time series analysis in nondiabetic and type 1 diabetic individuals[93], but is difficult to exploit in type 2 diabetes due to the largely nonstationary data sequence. Utilizing detrended fluctuation analysis (DFA), Churruca et al[94] and Yamamoto et al[95] observed a loss of glucose profile complexity, as detected by the short- and long-term scaling exponent α1 and α2, in the progression from normoglycemia to impaired glucose tolerance to overt diabetes. Ogata et al[96] have reported that increasing long-range DFA scaling exponents reflect abnormalities in glycemic control. Interestingly, they found that the MAGE was correlated only to the DFA long-range scaling exponent α2 in patients with diabetes. According to Khovanova et al[97], glucose profile dynamics can be defined by three complementary characteristics: nonstationarity (DFA exponent α), linear predictability (autocorrelation coefficient γ), and amplitude of variation (SD of glucose). Kovatchev et al[98] and Molnar et al[99] introduced the Poincaré plot time series analysis tool to acquire temporal glycemic variability from CGM data. The primary method defines short-term and long-term variability, corresponding to the length of the minor SD1 and major SD2 axes of the plot. In his recent work, Crenier[100] extended Poincaré plot quantification by introducing and validating new partial Poincaré plot metrics, e.g., area and shape of the fitting ellipse calculated at specific time points. While the majority of these metrics closely correlated with classical indices of GV, the shape index did not, indicating that the Poincaré plot captures many types of variability. One may speculate that in order to solve the question of whether GV is an independent contributor to the development of diabetes complications, analysis at multiple time scales would provide a better approach than use of classical indices. Indeed, in a recent cross-sectional, observational study, Cui et al[101] introduced Multi-Scale glycemic variability for analysis of CGM data at multiple time scales. They identified five unique ultradian GV cycles that modulate glucose over time ranges of 0.5 to 12 h and showed that greater GV within these cycles was associated with detrimental changes in brain morphology and function.

Biomarkers and surrogate biomarkers for diabetes complications

It is agreed upon that chronic sustained hyperglycemia represents one of the today´s most important surrogate biomarker for development of microvascular diabetes complications. In addition to markers of glycemia, several novel biomarkers have been identified, capable of predicting onset or progression of nephropathy in type 2 diabetes. In a recent systematic review, Hellemons et al[102] assessed the validity of such biomarkers and found, for example, that serum interleukin 18, urinary ceruloplasmin, immunoglobulin G, and transferrin were valid markers to predict onset of diabetic nephropathy.  Vascular cell adhesion molecule 1, interleukin 6, von Willebrand factor, and intercellular adhesion molecule 1 were identified as markers for progression of nephropathy. Although a number of circulating (e.g., high sensitive C-reactive protein, brain natriuretic peptide), genetic, and imaging biomarkers (e.g., carotid intima-media thickness) are significantly related with cardiovascular risk, their predictive power for individuals is restricted. The relationship of hyperglycemia with macrovascular disease is not as clear as with microvascular complications. Since large clinical trials[6,7] failed to provide convincing evidence that HbA1c is a reliable surrogate, adequate markers for cardiovascular outcomes in diabetic individuals with longer disease duration are not yet available[103]. The uncertainty related to cardiovascular disease led to the release of the New Recommendations on Evaluating Cardiovascular Risk in Drugs Intended to Treat Type 2 Diabetes[104] by the United Kingdom Food and Drug Administration (FDA). Given the complexity of diabetes, it is conceivable that no single biomarker can indicate the risk of complications or disease progression. New technologies, including metabolomics, proteomics, and genomics have the potential to unravel the pathogenesis of diabetes and put forward new concepts for the development of biomarkers beyond impaired glucose regulation.

# GLUCOSE MONITORING

# The development of hand-held blood glucose meters some decades ago made it possible for diabetes patients to monitor their own blood glucose levels at any time in a convenient way and enabled adjustment of therapy. With the universal availability of glucose meters, SMBG found broad application for management of glycemic control. However, this traditional monitoring usually measures single glucose values at a time point, which is determined by the user; it provides only a snapshot of the whole glucose picture and rapid changes occurring between single measurements escape detection. Introduction of the CGM technology presented a great step forward toward modern diabetes management, because it overcomes limitations of traditional SMBG by producing glucose profiles instead of distinct measurements over several days, real-time glucose values, glucose trends and warnings when glucose values approach dangerously low or high levels. CGM recordings also provided evidence that diurnal glucose patterns may considerably differ in individual patients, even at identical A1C levels-a fact overlooked in the past. Figure 3 depicts individual average CGM profiles from a subsample of type 2 diabetes patients with identical HbA1c values. As can be seen, the profiles are quite different in that: (1) most of them exceed the target range (5-23% glucose values above 10 mmol/L); (2) they show marked glycemic excursions (%CV 20.6 – 38.1); and (3) the glucose complexity long-range DFA scaling exponent α2 varies between 1.32 and 1.54. It is conceivable that frequent use of CGM and careful pattern analysis is able to improve glycemic control by uncovering such trouble points.

# Clinical study outcomes and data obtained from every-day diabetes management have shown that the use of CGM can consistently improve glycemic control[105]. Notwithstanding that those with unstable diabetes who are prone to hypoglycemia and hypoglycemia unawareness will benefit most, the majority of diabetes patients can achieve their glucose targets when using CGM[106]. Two variants of CGM based on sensor technology are available: retrospective and real-time glucose monitoring[107,108]. While CGM systems such as CGMS Gold, Guardian T, Glucoday, and iPro2 were mainly designed as a tool for health care providers to collect glucose data over a sensing period of 3–7 d during which the data were masked to patients, provide real-time glucose monitors like Guardian RT, Dexcom Seven Plus, and Navigator real-time glucose values, trends, and alarms if glucose levels become high or low. The latter CGMs enable immediate therapeutic action, but require training experience for both health care practitioners and patients. However, all the above systems measure glucose subcutaneously, whereby the kinetics of the sensing process is defined by the physiology of the subcutaneous space. Glucose sensing in the peritoneal space, as recently shown, has the potential to optimize glucose monitoring because of faster intraperitoneal than subcutaneous kinetics[109].

# Even though application of CGMs has convincingly demonstrated practical utility in diabetes management, i.e., food response[110], reduction of glucose variability, time spent in hypo-/hyperglycemia, and improvement of HbA1c levels, this technology is still underutilized for a number of reasons[30]. One of the main problems is the lack of standardized metrics and a more user-friendly presentation of data. There are currently several well-established clinical and research measures that have shown to be useful in analyzing and characterizing CGM profiles. An expert panel of diabetes specialists identified time in range (TIR) as one of the key metrics for guiding diabetes treatment[30]. This metric can be expressed either as “% of glucose readings” or “hours per day”. As the default target range, 3.9-10.0 mmol/L (70-180 mg/dL) was selected. Although this is not a “normal” range, it is commonly considered as acceptable in clinical practice. Individual targets closer to the physiological range can be defined, depending on age, comorbidities or patient compliance.

# CONCLUSION

For the time being, HbA1c will remain the most important metric of long-term glycemic control, but may be supplanted by other parameters with advancing glucose monitoring technologies. Alternative metrics, such as GA and 1,5-AG can be clinically useful to assess medium- or short-term glycemic control, and in certain conditions that could interfere with HbA1c measurement. In view of the fact that many diabetes patients with apparently good glycemic control (HbA1c < 7%, < 53 mmol/mol) have high postmeal incremental glucose values, it seems warranted to integrate measurement of PPG into daily diabetes control. GV is one of the most important parameters that must not be neglected in order to optimize diabetes management. Since the known GV metrics are highly intercorrelated, any validated index can be used for evaluation of glucose fluctuations. MAGE and SD of glucose have been most commonly used; however, % CV is correlated to hypoglycemia and independent of mean glucose. ADRR as well as GRADE estimate the risk induced by high variability of glucose values and weigh low and high glucose equally. They can thus be helpful in patient care for assessments of glycemic quality. Based on our experience, we would recommend, in addition to the long-term measure HbA1c, mean glucose and PPG as shorter-term indicators, and ADRR or GRADE for the quality of glycemic control. We would further recommend SD around the mean glucose, MAGE, and %CV as metrics of GV. Since these measures do not consider a time component Poincaré plot metrics might attract more attention to quantify short-and long-term GV and their relationship to the development of diabetes complications. For practical reasons and according to specific needs, a combination of shorter and longer term glycemic markers should be used for assessment of diabetes control to predict vascular outcomes more precisely. Finally, the control of glucose concentration is incomplete without dynamic measurements. Because of the limited available data, the utility of current metrics of glucose dynamics can not yet be judged, but they have shown promising potential to provide deeper insight into the glucoregulatory system hitherto not achieved with currently used metrics.

Since this article brings into focus metrics of glycemic control, the schematic representation in Figure 4 depicts which of these metrics may be predictive of micro- and macrovascular outcomes in diabetes. Nevertheless, it remains unclear whether glycemic variability and/or changes in glucose dynamics are implicated, but to achieve optimal glycemic control one should be aware that other factors than simply high blood glucose levels are likely to contribute to complications of diabetes. The discovery of new markers as reliable surrogates for clinical outcomes rather than simply glycemic control will advance the ability to assess the risk of complications and target treatment of diabetes.

REFERENCES

1 The Diabetes Control and Complication Trial Research Group. The effect of intensive treatment of diabetes on the development and progression of long-term complications in insulin-dependent diabetes mellitus. N Engl J Med 1993; 329: 977-986 [PMID: 8366922 DOI: 10.1056/NEJM199309303291401]

2 Nathan DM, Cleary PA, Backlund JY, Genuth SM, Lachin JM, Orchard TJ, Raskin P, Zinman B, Diabetes Control and Complications Trial/Epidemiology of Diabetes Interventions and Complications (DCCT/EDIC) Study Research Group. Intensive diabetes treatment and cardiovascular disease in patients with type 1 diabetes. N Engl J Med 2005; 353: 2643-2653 [PMID: 16371630 DOI: 10.1056/NEJMoa052187]

3 Monnier L, Lapinski H, Colette C. Contributions of fasting and postprandial plasma glucose increments to the overall diurnal hyperglycemia of type 2 diabetic patients: variations with increasing levels of HbA(1c). Diabetes Care 2003; 26: 881-885 [PMID: 12610053 DOI: 10.2337/diacare.26.3.881]

4 Temelkova-Kurktschiev TS, Koehler C, Henkel E, Leonhardt W, Fuecker K, Hanefeld M. Postchallenge plasma glucose and glycemic spikes are more strongly associated with atherosclerosis than fasting glucose or HbA1c level. Diabetes Care 2000; 23: 1830-1834 [PMID: 11128361]

5 Raz I, Wilson PW, Strojek K, Kowalska I, Bozikov V, Gitt AK, Jermendy G, Campaigne BN, Kerr L, Milicevic Z, Jacober SJ. Effects of prandial versus fasting glycemia on cardiovascular outcomes in type 2 diabetes: the HEART2D trial. Diabetes Care 2009; 32: 381-386 [PMID: 19246588 DOI: 10.2337/dc08-1671]

6 Gerstein HC, Miller ME, Byington RP, Goff DC, Bigger JT, Buse JB, Cushman WC, Genuth S, Ismail-Beigi F, Grimm RH, Probstfield JL, Simons-Morton DG, Friedewald WT, Action to Control Cardiovascular Risk in Diabetes Study Group. Effects of intensive glucose lowering in type 2 diabetes. N Engl J Med 2008; 358: 2545-2559 [PMID: 18539917 DOI: 10.1056/NEJMoa0802743]

7 Patel A, MacMahon S, Chalmers J, Neal B, Billot L, Woodward M, Marre M, Cooper M, Glasziou P, Grobbee D, Hamet P, Harrap S, Heller S, Liu L, Mancia G, Mogensen CE, Pan C, Poulter N, Rodgers A, Williams B, Bompoint S, de Galan BE, Joshi R, Travert F. Intensive blood glucose control and vascular outcomes in patients with type 2 diabetes. N Engl J Med 2008; 358: 2560-2572 [PMID: 18539916 DOI: 10.1056/NEJMoa0802987]

8 Nathan DM, McGee P, Steffes MW, Lachin JM, ADVANCE Collaborative Group. Relationship of glycated albumin to blood glucose and HbA1c values and to retinopathy, nephropathy, and cardiovascular outcomes in the DCCT/EDIC study. Diabetes 2014; 63: 282-290 [PMID: 23990364 DOI: 10.2337/db13-0782]

9 Khaw KT, Wareham N. Glycated hemoglobin as a marker of cardiovascular risk. Curr Opin Lipidol 2006; 17: 637-643 [PMID: 17095908 DOI: 10.1097/MOL.0b013e3280106b95]

10 Elley CR, Kenealy T, Robinson E, Drury PL. Glycated haemoglobin and cardiovascular outcomes in people with Type 2 diabetes: a large prospective cohort study. Diabet Med 2008; 25: 1295-1301 [PMID: 19046219 DOI: 10.1111/j.1464-5491.2008.02581.x]

11 Ma J, Wang X, Wang Y, Zhao Y, Gao M, Li X. The relationship between glycated hemoglobin and complexity of coronary artery lesions among older patients with diabetes mellitus. PLoS One 2014; 9: e91972 [PMID: 24658008 DOI: 10.1371/journal.pone.0091972]

12 Di Angelantonio E, Gao P, Khan H, Butterworth AS, Wormser D, Kaptoge S, Kondapally Seshasai SR, Thompson A, Sarwar N, Willeit P, Ridker PM, Barr EL, Khaw KT, Psaty BM, Brenner H, Balkau B, Dekker JM, Lawlor DA, Daimon M, Willeit J, Njølstad I, Nissinen A, Brunner EJ, Kuller LH, Price JF, Sundström J, Knuiman MW, Feskens EJ, Verschuren WM, Wald N, Bakker SJ, Whincup PH, Ford I, Goldbourt U, Gómez-de-la-Cámara A, Gallacher J, Simons LA, Rosengren A, Sutherland SE, Björkelund C, Blazer DG, Wassertheil-Smoller S, Onat A, Marín Ibañez A, Casiglia E, Jukema JW, Simpson LM, Giampaoli S, Nordestgaard BG, Selmer R, Wennberg P, Kauhanen J, Salonen JT, Dankner R, Barrett-Connor E, Kavousi M, Gudnason V, Evans D, Wallace RB, Cushman M, D'Agostino RB, Umans JG, Kiyohara Y, Nakagawa H, Sato S, Gillum RF, Folsom AR, van der Schouw YT, Moons KG, Griffin SJ, Sattar N, Wareham NJ, Selvin E, Thompson SG, Danesh J, Emerging Risk Factors Collaboration. Glycated hemoglobin measurement and prediction of cardiovascular disease. JAMA 2014; 311: 1225-1233 [PMID: 24668104]

13 Service FJ, O'Brien PC. Influence of glycemic variables on hemoglobin A1c. Endocr Pract 2007: 350-354 [PMID: 17669710 DOI: 10.4158/EP.13.4.350]

14 Kohnert KD, Vogt L, Augstein P, Heinke P, Zander E, Peterson K, Freyse EJ, Salzsieder E. Relationships between glucose variability and conventional measures of glycemic control in continuously monitored patients with type 2 diabetes. Horm Metab Res 2009; 41: 137-141 [PMID: 19214924 DOI: 10.1055/s-0028-1128143]

15 Cohen RM. A1C: does one size fit all? Diabetes Care 2007; 30: 2756-2758 [PMID: 17901536 DOI: 10.2337/dc07-1301]

16 Saudek CD, Derr RL, Kalyani RR. Assessing glycemia in diabetes using self-monitoring blood glucose and hemoglobin A1c. JAMA 2006; 295: 1688-1697 [PMID: 16609091 DOI: 10.1001/jama.295.14.1688]

17 Kohnert KD, Augstein P, Heinke P, Zander E, Peterson K, Freyse EJ, Salzsieder E. Chronic hyperglycemia but not glucose variability determines HbA1c levels in well-controlled patients with type 2 diabetes. Diabetes Res Clin Pract 2007; 77: 420-426 [PMID: 17331614 DOI: 10.1016/j.diabres.2007.01.021]

18 Monnier L, Colette C, Dunseath GJ, Owens DR. The loss of postprandial glycemic control precedes stepwise deterioration of fasting with worsening diabetes. Diabetes Care 2007; 30: 263-269 [PMID: 17259492 DOI: 10.2337/dc06-1612]

19 American Diabetes Association. Standards of medical care in diabetes-2014. Diabetes Care 2014; 37 Suppl1: S14-S80 [DOI: 10.2337/dc14-S014]

20 Sorkin JD, Muller DC, Fleg JL, Andres R. The relation of fasting and 2-h postchallenge plasma glucose concentrations to mortality: data from the Baltimore Longitudinal Study of Aging with a critical review of the literature. Diabetes Care 2005; 28: 2626-2632 [PMID: 16249530 DOI: 10.2337/diacare28.11.2626]

21 Barr EL, Zimmet PZ, Welborn TA, Jolley D, Magliano DJ, Dunstan DW, Cameron AJ, Dwyer T, Taylor HR, Tonkin AM, Wong TY, McNeil J, Shaw JE. Risk of cardiovascular and all-cause mortality in individuals with diabetes mellitus, impaired fasting glucose, and impaired glucose tolerance: the Australian Diabetes, Obesity, and Lifestyle Study (AusDiab). Circulation 2007; 116: 151-157 [PMID: 17576864 DOI: 10.1161/CIRCULATIONAHA.106.685628]

22 Monami M, Adalsteinsson JE, Desideri CM, Ragghianti B, Dicembrini I, Mannucci E. Fasting and post-prandial glucose and diabetic complication. A meta-analysis. Nutr Metab Cardiovasc Dis 2013; 23: 591-598 [PMID: 23711419 DOI: 10.1016/j.numecd.2013.03.007]

23 Standl E, Schnell O, Ceriello A. Postprandial hyperglycemia and glycemic variability: should we care? Diabetes Care 2011; 34 Suppl 2: S120-S127 [PMID: 21525442 DOI: 10.2337/dc11-s206]

24 Hanefeld M, Fischer S, Julius U, Schulze J, Schwanebeck U, Schmechel H, Ziegelasch HJ, Lindner J. Risk factors for myocardial infarction and death in newly detected NIDDM: the Diabetes Intervention Study, 11-year follow-up. Diabetologia 1996; 39: 1577-1583 [PMID: 8960845 DOI: 10.1007/s001250050617]

25 Cavalot F, Pagliarino A, Valle M, Di Martino L, Bonomo K, Massucco P, Anfossi G, Trovati M. Postprandial blood glucose predicts cardiovascular events and all-cause mortality in type 2 diabetes in a 14-year follow-up: lessons from the San Luigi Gonzaga Diabetes Study. Diabetes Care 2011; 34: 2237-2243 [PMID: 21949221 DOI: 102337/dc10-2414]

26 Esposito K, Ciotola M, Carleo D, Schisano B, Sardelli L, Di Tommaso D, Misso L, Saccomanno F, Ceriello A, Giugliano D. Post-meal glucose peaks at home associate with carotid intima-media thickness in type 2 diabetes. J Clin Endocrinol Metab 2008; 93: 1345-1350 [PMID: 18198229 DOI: 10.1210/jc.2007-2000]

27 Raz I, Ceriello A, Wilson PW, Battioui C, Su EW, Kerr L, Jones CA, Milicevic Z, Jacober SJ. Post hoc subgroup analysis of the HEART2D trial demonstrates lower cardiovascular risk in older patients targeting postprandial versus fasting/premeal glycemia. Diabetes Care 2011; 34: 1511-1513 [PMID: 21593301 DOI: 10.2337/dc10-2375]

28 Avogaro A. Postprandial glucose: marker or risk factor? Diabetes Care 2011; 34: 2333-2335 [PMID: 21949226 DOI: 10.2337/dc11-1442]

29 International Diabetes Federation. Guideline for management of postmeal glucose in diabetes. 2011

30 Bergenstal RM, Ahmann AJ, Bailey T, Beck RW, Bissen J, Buckingham B, Deeb L, Dolin RH, Garg SK, Goland R, Hirsch IB, Klonoff DC, Kruger DF, Matfin G, Mazze RS, Olson BA, Parkin C, Peters A, Powers MA, Rodriguez H, Southerland P, Strock ES, Tamborlane W, Wesley DM. Recommendations for standardizing glucose reporting and analysis to optimize clinical decision making in diabetes: the Ambulatory Glucose Profile (AGP). Diabetes Technol Ther 2013; 15: 198-211 [PMID: 23448694 DOI: 10.1089/dia.20130051]

31 Mittman N, Desiraju B, Fazil I, Kapupara H, Chattopadhyay J, Jani CM, Avram MM. Serum fructosamine versus glycosylated hemoglobin as an index of glycemic control, hospitalization, and infection in diabetic hemodialysis patients. Kidney Int Suppl 2010; 78: S41-S45 [PMID: 20671744 DOI: 10.1038/ki.2010.193]

32 Negoro H, Morley JE, Rosenthal MJ. Utility of serum fructosamine as a measure of glycemia in young and old diabetic and non-diabetic subjects. Am J Med 1988; 85: 360-364 [PMID: 3414731 DOI: 10.1016/0002-9343(88)90587-6 ]

33 Takahashi S, Uchino H, Shimizu T, Kanazawa A, Tamura Y, Sakai K, Watada H, Hirose T, Kawamori R, Tanaka Y. Comparison of glycated albumin (GA) and glycated hemoglobin (HbA1c) in type 2 diabetic patients: usefulness of GA for evaluation of short-term changes in glycemic control. Endocr J 2007; 54: 139-144 [PMID: 17159300 DOI: 10.3747/pdi.2008.00243]

34 Cohen MP, Hud E, Shea E. Rate of formation of glycated albumin revisited and clinical implications. J Diabetes Metab 2010; 1: 102 [DOI: 10.4172/2155-6156.1000102]

35 Inaba M, Okuno S, Kumeda Y, Yamada S, Imanishi Y, Tabata T, Okamura M, Okada S, Yamakawa T, Ishimura E, Nishizawa Y. Glycated albumin is a better glycemic indicator than glycated hemoglobin values in hemodialysis patients with diabetes: effect of anemia and erythropoietin injection. J Am Soc Nephrol 2007; 18: 896-903 [PMID: 17267743 DOI: 10.1681/ASN.200607772]

36 Peacock TP, Shihabi ZK, Bleyer AJ, Dolbare EL, Byers JR, Knovich MA, Calles-Escandon J, Russell GB, Freedman BI. Comparison of glycated albumin and hemoglobin A(1c) levels in diabetic subjects on hemodialysis. Kidney Int 2008; 73: 1062-1068 [PMID: 18288102 DOI: 10.1038/ki.2008.25]

37 Suzuki S, Koga M. Glycemic control indicators in patients with neonatal diabetes mellitus. World J Diabetes 2014; 5: 198-208 [PMID: 24748932 DOI: 10.4239/wjd.v5.i2.198]

38 Seshiah V, Balaji V, Srinivasan A, Balaji MS, Thiyagarajah A. Comparison of glycated albumin (GA) and glycosylated hemoglobin (A1C) in monitoring glycemic excursions during pregnancy. Open J Obstet Gynecol 2013; 3: 47-50 [DOI: 0.4236/ojog.2013.31011]

# 39 Yoshiuchi K, Matsuhisa M, Katakami N, Nakatani Y, Sakamoto K, Matsuoka T, Umayahara Y, Kosugi K, Kaneto H, Yamasaki Y, Hori M. Glycated albumin is a better indicator for glucose excursion than glycated hemoglobin in type 1 and type 2 diabetes. Endocr J 2008; 55: 503-507[PMID:18445997 DOI: 10.1057/endocrj.K07E-089]

# 40 Koga M, Murai J, Saito H, Kasayama S. Glycated albumin and glycated hemoglobin are influenced differently by endogenous insulin secretion in patients with type 2 diabetes. Diabetes Care 2010; 33: 270-272 [PMID: 19846794 DOI: 10.2337/dc 09-1002]

41 Shen Y, Pu LJ, Lu L, Zhang Q, Zhang RY, Shen WF. Glycated albumin is superior to hemoglobin A1c for evaluating the presence and severity of coronary artery disease in type 2 diabetic patients. Cardiology 2012; 123: 84-90 [PMID: 23018602 DOI: 10.1159/000342055]

42 Pu LJ, Lu L, Shen WF, Zhang Q, Zhang RY, Zhang JS, Hu J, Yang ZK, Ding FH, Chen QJ, Shen J, Fang DH, Lou S. Increased serum glycated albumin level is associated with the presence and severity of coronary artery disease in type 2 diabetic patients. Circ J 2007; 71: 1067-1073 [PMID: 17587712 DOI: 10.1253/circj.711067]

43 Dungan KM. 1,5-anhydroglucitol (GlycoMark) as a marker of short-term glycemic control and glycemic excursions. Expert Rev Mol Diagn 2008; 8: 9-19 [PMID: 18088226 DOI: 10.1586/14737159.8.1.9]

44 Akanuma Y, Morita M, Fukuzawa N, Yamanouchi T, Akanuma H. Urinary excretion of 1,5-anhydro-D-glucitol accompanying glucose excretion in diabetic patients. Diabetologia 1988; 31: 831-835 [PMID: 3234638 DOI: 10.1007/BF00277486]

45 Kishimoto M, Yamasaki Y, Kubota M, Arai K, Morishima T, Kawamori R, Kamada T. 1,5 anhydro-d-glucitol evaluated daily glycemic excursions in well-controlled NIDDM. Diabetes Care 1995; 18: 1156-1159 [DOI: 10.2337/diacare.18.81156]

46 Dungan KM, Buse JB, Largay J, Kelly MM, Button EA, Kato S, Wittlin S. 1,5-anhydroglucitol and postprandial hyperglycemia as measured by continuous glucose monitoring system in moderately controlled patients with diabetes. Diabetes Care 2006; 29: 1214-1219 [PMID: 16731998 DOI: 10.2337/dc06-1910]

47 Kazda C, Bachmann O, Button E, Conlin T, Schroeder B, Guan X, Okerson T, Bhole D. Exenatide verbessert bei Patienten mit Typ-2-Diabetes die postprandiale Glucosekontrolle, gemessen an der Konzentration von 1,5-Anhydroglucitol. Diabetologie und Stoffwechsel 2008; 3: A221 [DOI: 10.1055/s-2008-1076368]

48 Kishimoto M, Noda M. A pilot study of the efficacy of miglitol and sitagliptin for type 2 diabetes with a continuous glucose monitoring system and incretin-related markers. Cardiovasc Diabetol 2011; 10: 115 [PMID: 22189184 DOI: 10.1186/1475-2840-10-115]

49 Moses AC, Raskin P, Khutoryansky N. Does serum 1,5-anhydroglucitol establish a relationship between improvements in HbA1c and postprandial glucose excursions? Supportive evidence utilizing the differential effects between biphasic insulin aspart 30 and insulin glargine. Diabet Med 2008; 25: 200-205 [PMID: 18290862 DOI: 10.1111/j.1464-5491.2008.02384.x]

50 Tylee TS, Trence DL. Glycemic variability: looking beyond the A1C. Diabetes Spectrum 2012; 25: 149–153 [DOI: 10.2337/diaspect.25.3.149]

51 Monnier L, Colette C, Owens DR. Glycemic variability: the third component of the dysglycemia in diabetes. Is it important? How to measure it? J Diabetes Sci Technol 2008; 2: 1094-1100 [PMID: 19885298 DOI: 10.1177/193229680800200618]

52 Kohnert KD, Vogt L, Salzsieder E. Advances in understanding glucose variability and the role of continuous glucose monitoring. European Endocrinol 2010; 6: 53-56

53 Rodbard D. Interpretation of continuous glucose monitoring data: glycemic variability and quality of glycemic control. Diabetes Technol Ther 2009; 11 Suppl 1: S55-S67 [PMID: 19469679 DOI: 10.1089/dia.2008.0132]

54 Rodbard D. Clinical interpretation of indices of quality of glycemic control and glycemic variability. Postgrad Med 2011; 123: 107-118 [PMID: 21680995 DOI: 10.3810/pgm2011.07.2310]

55 Cameron FJ, Donath SM, Baghurst PA. Measuring glycaemic variation. Curr Diabetes Rev 2010; 6: 17-26 [PMID: 20214595 DOI: 10.2174/157339910790442592]

56 Baghurst PA, Rodbard D, Cameron FJ. The minimum frequency of glucose measurements from which glycemic variation can be consistently assessed. J Diabetes Sci Technol 2010; 4: 1382-1385 [PMID: 21129333 DOI: 10.1177/193229681000400612]

57 Kohnert KD, Heinke P, Fritzsche G, Vogt L, Augstein P, Salzsieder E. Evaluation of the mean absolute glucose change as a measure of glycemic variability using continuous glucose monitoring data. Diabetes Technol Ther 2013; 15: 448-454 [PMID: 23550553 DOI: 10.1089/dia2012.0303]

58 Fritzsche G, Kohnert KD, Heinke P, Vogt L, Salzsieder E. The use of a computer program to calculate the mean amplitude of glycemic excursions. Diabetes Technol Ther 2011; 13: 319-325 [PMID: 21291337 DOI: 10.1089/dia.2010.0108]

59 Czerwoniuk D, Fendler W, Walenciak L, Mlynarski W. GlyCulator: a glycemic variability calculation tool for continuous glucose monitoring data. J Diabetes Sci Technol 2011; 5: 447-451 [PMID: 21527118 DOI: 10.1177/193229681100500236]

60 Hill NR, Oliver NS, Choudhary P, Levy JC, Hindmarsh P, Matthews DR. Normal reference range for mean tissue glucose and glycemic variability derived from continuous glucose monitoring for subjects without diabetes in different ethnic groups. Diabetes Technol Ther 2011; 13: 921-928 [PMID: 21714681 DOI: 10.1089/dia2010.0247]

61 Zhou J, Li H, Ran X, Yang W, Li Q, Peng Y, Li Y, Gao X, Luan X, Wang W, Jia W. Reference values for continuous glucose monitoring in Chinese subjects. Diabetes Care 2009; 32: 1188-1193 [PMID: 19389816 DOI: 10.2337/dc09-0076]

62 Kilpatrick ES. Arguments for and against the role of glucose variability in the development of diabetes complications. J Diabetes Sci Technol 2009; 3: 649-655 [PMID: 20144307 DOI: 10.1177/193229680900300405]

63 Kilpatrick ES, Rigby AS, Atkin SL. The effect of glucose variability on the risk of microvascular complications in type 1 diabetes. Diabetes Care 2006; 29: 1486-1490 [PMID: 16801566 DOI: 10.2337/dc06-0293]

64 Monnier L, Colette C, Leiter L, Ceriello A, Hanefeld M, Owens D, Tajima N, Tuomiletho J, Davidson J, MD9 and on behalf of the PGR Group. The effect of glucose variability on the risk of microvascular complications in type 1 diabetes. Diabetes Care 2007; 30: 185-186 [PMID: 17192364 DOI: 10.2337/dc06-1594]

65 Bragd J, Adamson U, Bäcklund LB, Lins PE, Moberg E, Oskarsson P. Can glycaemic varaibility, as calculated from blood glucose self-monitoring, predict the development of complications in type 1 diabetes over a decade? Diabetes Metab 2008; 34: 612-616 [PMID: 18824382 DOI: 10.1016/j.diabet.200804.005]

66 Snell-Bergeon JK, Roman R, Rodbard D, Garg S, Maahs DM, Schauer IE, Bergman BC, Kinney GL, Rewers M. Glycaemic variability is associated with coronary artery calcium in men with Type 1 diabetes: the Coronary Artery Calcification in Type 1 Diabetes study. Diabet Med 2010; 27: 1436-1442 [PMID: 21059097 DOI: 10.1111/j.1464-5491.2010.03127.x]

67 Šoupal J, Škrha J, Fajmon M, Horová E, Mráz M, Škrha J, Prázný M. Glycemic variability is higher in type 1 diabetes patients with microvascular complications irrespective of glycemic control. Diabetes Technol Ther 2014; 16: 198-203 [PMID: 24401008 DOI: 10.1089/dia.2013.0205]

68 Kilpatrick ES, Rigby AS, Atkin SL. A1C variability and the risk of microvascular complications in type 1 diabetes: data from the Diabetes Control and Complications Trial. Diabetes Care 2008; 31: 2198-2202 [PMID: 18650371 DOI: 10.2337/dc08-0864]

69 Nalysnyk L, Hernandez-Medina M, Krishnarajah G. Glycaemic variability and complications in patients with diabetes mellitus: evidence from a systematic review of the literature. Diabetes Obes Metab 2010; 12: 288-298 [PMID: 20380649 DOI: 10.1111/j.1463-1326.2009.01160.x]

70 Zhou J, Jia WP, Ma XJ, Bao YQ, Lu W, Li M, Li Q, Hu C, Xiang KS. [Relationship between blood glucose variability and microalbuminuria in type 2 diabetic patients with well-controlled glycosylated hemoglobin]. Zhonghua Yi Xue Za Zhi 2008; 88: 2977-2981 [PMID: 19080075]

71 Vaduva C, Popa S, Mota M, Mota E. Analysis of chronic kidney disease – associated glycemic variability in patients with type 2 diabetes using continuous glucose monitoring system. Rom J Diabetes Nutr Metab Dis 2013; 20: 315-322 [DOI: 10.2478/rjdnmd-2013-0030]

72 Mirani M, Berra C, Finazzi S, Calvetta A, Radaelli MG, Favareto F, Graziani G, Badalamenti S. Inter-day glycemic variability assessed by continuous glucose monitoring in insulin-treated type 2 diabetes patients on hemodialysis. Diabetes Technol Ther 2010; 12: 749-753 [PMID: 20809678 DOI: 10.1089/dia.2010.0052]

73 Takao T, Ide T, Yanagisawa H, Kikuchi M, Kawazu S, Matsuyama Y. The effect of fasting plasma glucose variability on the risk of retinopathy in type 2 diabetic patients: Retrospective long-term follow-up. Diabetes Res Clin Pract 2010; 89: 296-302 [PMID: 20416966 DOI: 10.1016/j.diabres.2010.03.027]

74 Chen XM, Zhang Y, Shen XP, Huang Q, Ma H, Huang YL, Zhang WQ, Wu HJ. Correlation between glucose fluctuations and carotid intima-media thickness in type 2 diabetes. Diabetes Res Clin Pract 2010; 90: 95-99 [PMID: 20605247 DOI: 10.1016/j.diabres.2010.05.004]

75 Su G, Mi SH, Tao H, Li Z, Yang HX, Zheng H, Zhou Y, Tian L. Impact of admission glycemic variability, glucose, and glycosylated hemoglobin on major adverse cardiac events after acute myocardial infarction. Diabetes Care 2013; 36: 1026-1032 [PMID: 23349547 DOI: 10.2337/dc12-0925]

76 Mi SH, Su G, Li Z, Yang HX, Zheng H, Tao H, Zhou Y, Tian L. Comparison of glycemic variability and glycated hemoglobin as risk factors of coronary artery disease in patients with undiagnosed diabetes. Chin Med J (Engl) 2012; 125: 38-43 [PMID: 22340463]

77 Su G, Mi S, Tao H, Li Z, Yang H, Zheng H, Zhou Y, Ma C. Association of glycemic variability and the presence and severity of coronary artery disease in patients with type 2 diabetes. Cardiovasc Diabetol 2011; 10: 19 [PMID: 21349201 DOI: 10.1186/1475-2840-10-19]

78 Hirakawa Y, Arima H, Zoungas S, Ninomiya T, Cooper M, Hamet P, Mancia G, Poulter N, Harrap S, Woodward M, Chalmers J. Impact of visit-to-visit glycemic variability on the risks of macrovascular and microvascular events and all-cause mortality in type 2 diabetes: the ADVANCE trial. Diabetes Care 2014; 37: 2359-2365 [PMID: 24812434 DOI: 10.2337/dc14-0199]

79 Rizzo MR, Marfella R, Barbieri M, Boccardi V, Vestini F, Lettieri B, Canonico S, Paolisso G. Relationships between daily acute glucose fluctuations and cognitive performance among aged type 2 diabetic patients. Diabetes Care 2010; 33: 2169-2174 [PMID: 20573753 DOI: 10.2337/dc10-0389]

80 Penckofer S, Quinn L, Byrn M, Ferrans C, Miller M, Strange P. Does glycemic variability impact mood and quality of life? Diabetes Technol Ther 2012; 14: 303-310 [PMID: 22324383 DOI: 10.1089/dia.2011.0191]

81 Monnier L, Mas E, Ginet C, Michel F, Villon L, Cristol JP, Colette C. Activation of oxidative stress by acute glucose fluctuations compared with sustained chronic hyperglycemia in patients with type 2 diabetes. JAMA 2006; 295: 1681-1687 [PMID: 16609090 DOI: 10.1001/jama.295.14.1681]

82 Monnier L, Wojtusciszyn A, Colette C, Owens D. The contribution of glucose variability to asymptomatic hypoglycemia in persons with type 2 diabetes. Diabetes Technol Ther 2011; 13: 813-818 [PMID: 21561372 DOI: 10.1089/dia.2011.0049]

83 Qu Y, Jacober SJ, Zhang Q, Wolka LL, DeVries JH. Rate of hypoglycemia in insulin-treated patients with type 2 diabetes can be predicted from glycemic variability data. Diabetes Technol Ther 2012; 14: 1008-1012 [PMID: 23101951 DOI: 10.1089/dia2012.0099]

84 Kohnert KD, Heinke P, Vogt L, Zander E, Fritzsche G, Augstein P, Salzsieder E. Reduced glucose variability is associated with improved quality of glycemic control in patients with type 2 diabetes: a 12-month observational study. J Endocrinol Metab 2011; 1: 64-72

85 Kovatchev BP, Cox DJ. Assessment of risk for severe hypoglycemia among adults with IDDM: validation of the low blood glucose index. Diabetes Care 1998; 21: 1870-1875 [PMID: 9802735 DOI: 10.2337/diacare.21.11.1870]

86 Hill NR, Hindmarsh PC, Stevens RJ, Stratton IM, Levy JC, Matthews DR. A method for assessing quality of control from glucose profiles. Diabet Med 2007; 24: 753-758 [PMID: 17459094 DOI: 10.1111/j.1464.5491.2007.02119.x]

87 Rodbard D, Bailey T, Jovanovic L, Zisser H, Kaplan R, Garg SK. Improved quality of glycemic control and reduced glycemic variability with use of continuous glucose monitoring. Diabetes Technol Ther 2009; 11: 717-723 [PMID: 19905888 DOI: 10.1089/dia.2009.0077]

88 Pitsillides AN, Anderson SM, Kovatchev B. Hypoglycemia risk and glucose variability indices derived from routine self-monitoring of blood glucose are related to laboratory measures of insulin sensitivity and epinephrine counterregulation. Diabetes Technol Ther 2011; 13: 11-17 [PMID: 21175266 DOI: 10.1089/dia.2010.0103]

89 Park SA, Ko SH, Lee SH, Cho JH, Moon SD, Jang SA, Song KH, Son HS, Yoon KH, Cha BY, Son HY, Ahn YB. Average Daily Risk Range-index of glycemic variability-related factor in type 2 diabetic inpatients. Korean Diabetes J 2009; 33: 31-39 [DOI: 10.4093/kdj.2009.33.1.31]

90 Kovatchev BP, Otto E, Cox D, Gonder-Frederick L, Clarke W. Evaluation of a new measure of blood glucose variability in diabetes. Diabetes Care 2006; 29: 2433-2438 [PMID: 17065680 DOI: 10.2337/dc06-1085]

91 Patton SR, Clements MA. Average daily risk range as a measure for clinical research and routine care. J Diabetes Sci Technol 2013; 7: 1370-1375 [PMID: 24124966]

92 Service FJ. Glucose variability. Diabetes 2013; 62: 1398-1404 [PMID: 23613565 DOI: 10.2337/db12-1396]

93 Bremer T, Gough DA. Is blood glucose predictable from previous values? A solicitation for data. Diabetes 1999; 48: 445-451 [PMID: 10078542 DOI: 10.2337/diabetes.483.452]

94 Churruca J, Vigil L, Luna E, Ruiz-Galiana J, Varela M. The route to diabetes: Loss of complexity in the glycemic profile from health through the metabolic syndrome to type 2 diabetes. Diabetes Metab Syndr Obes 2008; 1: 3-11 [PMID: 21437151 DOI: 102147/DMSO.S3812]

95 Yamamoto N, Kubo Y, Ishizawa K, Kim G, Moriya T, Yamanouchi T, Otsuka K. Detrended fluctuation analysis is considered to be useful as a new indicator for short-term glucose complexity. Diabetes Technol Ther 2010; 12: 775-783 [PMID: 20809679 DOI: 10.1089/dia.2010.0059]

96 Ogata H, Tokuyama K, Nagasaka S, Ando A, Kusaka I, Sato N, Goto A, Ishibashi S, Kiyono K, Struzik ZR, Yamamoto Y. Long-range negative correlation of glucose dynamics in humans and its breakdown in diabetes mellitus. Am J Physiol Regul Integr Comp Physiol 2006; 291: R1638-R1643 [PMID: 16873556 DOI: 10.1152/ajpregu.00241.2006]

97 Khovanova NA, Khovanov IA, Sbano L, Griffiths F, Holt TA. Characterisation of linear predictability and non-stationarity of subcutaneous glucose profiles. Comput Methods Programs Biomed 2013; 110: 260-267 [PMID: 23253451 DOI: 10.1016/j.cmpb.2012.11.009]

98 Kovatchev BP, Clarke WL, Breton M, Brayman K, McCall A. Quantifying temporal glucose variability in diabetes via continuous glucose monitoring: mathematical methods and clinical application. Diabetes Technol Ther 2005; 7: 849-862 [PMID: 16386091 DOI: 10.1089/dia.2005.7.849]

99 Molnár GA, Boros AG, Pótó L, Tamaskó M, Wittmann I. The Poincaré plot, but not the correlation R value, is a good marker of temporal variability of CGMS data. Diabetes Technol Ther 2008; 10: 506-507 [PMID: 19049381 DOI: 10.1089/dia.2007.0301]

100 Crenier L. Poincaré plot quantification for assessing glucose variability from continuous glucose monitoring systems and a new risk marker for hypoglycemia: application to type 1 diabetes patients switching to continuous subcutaneous insulin infusion. Diabetes Technol Ther 2014; 16: 247-254 [PMID: 24237387 DOI: 10.1089/dia.20130241]

101 Cui X, Abduljalil A, Manor BD, Peng CK, Novak V. Multi-scale variability: a link to gray matter atrophy and cognitive decline in type 2 diabetes. Plos One 2014; 9: e86284 [DOI: 10.1371/journal.pone.0086284]

102 Hellemons ME, Kerschbaum J, Bakker SJ, Neuwirt H, Mayer B, Mayer G, de Zeeuw D, Lambers Heerspink HJ, Rudnicki M. Validity of biomarkers predicting onset or progression of nephropathy in patients with Type 2 diabetes: a systematic review. Diabet Med 2012; 29: 567-577 [PMID: 21913962 DOI: 10.1111/j.1464-5491.2011.03437.x]

103 Caveney EJ, Cohen OJ. Diabetes and biomarkers. J Diabetes Sci Technol 2011; 5: 192-197 [DOI: 10.1177/193229681100500127]

104 Food and Drug Administration. Guidance for Industry: Diabetes Mellitus—Evaluating cardiovascular risk in new antidiabetic therapies to treat type 2 diabetes. United States: Department of Health and Human Services, 2008

105 Buckingham B. Clinical overview of continuous glucose monitoring. J Diabetes Sci Technol 2008; 2: 300-306 [PMID: 19885360 DOI: 10.1177/193229680800200223]

106 Beck RW, Hirsch IB, Laffel L, Tamborlane WV, Bode BW, Buckingham B, Chase P, Clemons R, Fiallo-Scharer R, Fox LA, Gilliam LK, Huang ES, Kollman C, Kowalski AJ, Lawrence JM, Lee J, Mauras N, O'Grady M, Ruedy KJ, Tansey M, Tsalikian E, Weinzimer SA, Wilson DM, Wolpert H, Wysocki T, Xing D, Juvenile Diabetes Research Foundation Continuous Glucose Monitoring Study Group. The effect of continuous glucose monitoring in well-controlled type 1 diabetes. Diabetes Care 2009; 32: 1378-1383 [PMID: 19429875 DOI: 10.2337/dc09-0108]

107 Blevins TC. Professional continuous glucose monitoring in clinical practice 2010. J Diabetes Sci Technol 2010; 4: 440-456 [PMID: 20307406]

108 Mastrototaro J, Welsh JB, Lee S. Practical considerations in the use of real-time continuous glucose monitoring alerts. J Diabetes Sci Technol 2010; 4: 733-739 [PMID: 20513341 DOI: 10.1177/193229681000400329]

109 Burnett DR, Huyett LM, Zisser HC, Doyle FJ, Mensh BD. Glucose sensing in the peritoneal space offers faster kinetics than sensing in the subcutaneous space. Diabetes 2014; 63: 2498-2505 [PMID: 24622798 DOI: 10.2337/db13-1649]

110 Karolina P, Chlup R, Jana Z, Kohnert KD, Kudlova P, Bartek J, Nakladalova M, Doubravova B, Seckar P. Influence of oral antidiabetic drugs on hyperglycemic response to foods in persons with type 2 diabetes mellitus as assessed by continuous glucose monitoring system: a pilot study. J Diabetes Sci Technol 2010; 4: 983-992 [PMID: 20663465 DOI: 10.1177/193229681000400430]

P-Reviewer: Tamemoto H, Verrotti A, Zdravkovic M S-Editor: Tian YL

L-Editor:   E-Editor:

Table 1 Traditional and alternative markers of glycemic control

| Marker | Time span of glycemic control | Ref. |
| --- | --- | --- |
| Hemoglobin A1c | 1-3 mo | Cohen[15], 2007 |
| Glycated serum proteins | 2-3 wk | Takahashi et al[33], 2007 |
| 1,5-Anhydroglucitol | 1-2 wk | Dungan et al[41], 2008 |
| Glycemic variability indices | 24-72 h | Rodbard[51], 2009 |
| Mean plasma glucose | 24-72 h | Bergenstal et al[30], 2013 |
| Fasting plasma glucose | 8 ̶ 10 h | Monami et al[22], 2013 |
| Postprandial plasma glucose | 2-4 h | Standl et al[23], 2011 |

Table 2 Linear regression relating hypoglycemia as dependent variable with measures of glycemic control as independent variables in type 2 diabetes

| Asymptomatic hypoglycemia | Measure | R² | P value |
| --- | --- | --- | --- |
| Time (h/d) spent < 3.9 mmol/L | GRADEHYPO | 0.734 | < 0.001 |
|  | LBGI | 0.471 | < 0.001 |
|  | % CV | 0.293 | < 0.001 |
|  | HbA1c | 0.048 | 0.020 |

Data analyzed from 114 patients treated with diet and oral antidiabetic drugs. GRADEHYPO: Glycemic risk assessment diabetes equation hypoglycemia; LBGI: Low blood glucose index; %CV: Percent coefficient of variation (Kohnert et al, Unpublished data)

Figure 1 Relationship between HbA1c and mean glucose obtained from (A) continuous glucose monitoring (CGM) and (B) self-monitoring of blood glucose in a cohort of 114 non-insulin treated type 2 diabetic patients. Medians (25th–75th percentile) for age, diabetes duration, and HbA1c were 59.0-68.0 yr, 2.0–10.0 yr, and 6.0-7.3% (42-56 mmol/mol), respectively. The lines denote the regression lines (black), 95%CI (blue), and prediction intervals (red) (Kohnert et al, Unpublished data).

Figure 2 Differentiation between treatment groups of type 2 diabetic patients using the average daily risk range (ADRR) scores. Sample size for each group is given in parenthesis. Between-treatment group differences were evaluated by one-way analysis of variance and are statistically significant (P < 0.001). MET: Metformin; SU: Sulfonylurea; OAD: Oral antidiabetic drugs; INS: Insulin (Kohnert et al, Unpublished data).

Figure 3 Continuous glucose monitoring traces from seven patients with an HbA1c value of 6.5% selected from the type 2 diabetes cohort treated with oral antidiabetes drugs. Average 24-h glucose profiles are shown. Shading indicates the glucose target range 3.9-10.0 mmol/L (modified from Kohnert et al, Bull Karaganda University 2013; 72: 6-15).

Figure 4 Glycemic Markers and Risk of Diabetic Complications. The solid lines show established relationships of the glycemic markers with microvascular and macrovascular diabetes complications; dotted lines represent possible relations with glycemic variability. FPG: Fasting plasma glucose; PPG: Postprandial plasma glucose; HbA1c: Hemoglobin A1c; GA: Glycated albumin; 1,5 AG: 1,5 Anhydroglucitol; SD: Standard deviation of plasma glucose values; MAGE: Mean amplitude of glycemic excursions; CV: Coefficient of variation; ADRR: Average daily risk range; GRADE: Glycemic risk assessment diabetes equation.

# Text boxes

Microvascular diabetes outcomes

HbA1c,

GA, 1,5 AG

Diabetes onset

FPG, PPG,

HbA1c

Macrovascular diabetes outcomes

PPG, HbA1c,

FPG, 1,5 AG,

Glycemic Variability

SD, MAGE, %CV

Glycemic Risk

ADRR, GRADE