| Diagnostic and prognostic utility of non-invasive imaging in diabetes management Cristina Barsanti, Francesca Lenzarini, Claudia Kusmic |
| --- |
| CITATION | Barsanti C, Lenzarini F, Kusmic C. Diagnostic and prognostic utility of non-invasive imaging in diabetes management. World J Diabetes 2015; 6(6): 792-806 |
| URL | http://www.wjgnet.com/1948-9358/full/v6/i6/792.htm |
| DOI | http://dx.doi.org/10.4239/wjd.v6.i6.792 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Non-invasive imaging techniques are increasingly employed in every medical field, both for diagnostic purposes and for monitoring of pathological progression and/or efficacy of treatments. Several imaging modalities are currently available to provide structural and functional information about tissue and organ physiology, and thanks to technical improvements and development of hybrid devices, multimodal imaging combining advantages of different techniques offers now new potentialities for research and clinics. Aim of this review is to overview the principal features of most used diagnostic imaging modalities and to explore main current and forthcoming applications for the study and management of diabetes and its complications. |
| KEY WORDS | Medical non-invasive imaging; Diabetes; Diabetic complications; Molecular imaging; Multimodal imaging; Hybrid scanners |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Diabetes |
| ISSN | 1948-9358 ( online) |
| PUBLISHER | Published by Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Diabetes

ESPS Manuscript NO: 13583

Columns: REVIEW

Diagnostic and prognostic utility of non-invasive imaging in diabetes management

Cristina Barsanti, Francesca Lenzarini, Claudia Kusmic

Cristina Barsanti, Francesca Lenzarini, Claudia Kusmic, Institute of Clinical Physiology, Italian National Research Council, 56124 Pisa, Italy

Author contributions: Kusmic C conceived and designed the review; Lenzarini F and Kusmic C search and analysis of references; Barsanti C and Kusmic C wrote the paper.

Correspondence to: Claudia Kusmic, PhD, Institute of Clinical Physiology, Italian National Research Council, Via G Moruzzi 1, 56124 Pisa, Italy. kusmic@ifc.cnr.it

Telephone: +39-50-3153306

Received: August 27, 2014  Revised: December 23, 2014   Accepted: April 10, 2015

Published online: June 25, 2015

Abstract

Medical imaging technologies are acquiring an increasing relevance to assist clinicians in diagnosis and to guide management and therapeutic treatment of patients, thanks to their non invasive and high resolution properties. Computed tomography, magnetic resonance imaging, and ultrasonography are the most used imaging modalities to provide detailed morphological reconstructions of tissues and organs. In addition, the use of contrast dyes or radionuclide-labeled tracers permits to get functional and quantitative information about tissue physiology and metabolism in normal and disease state. In recent years, the development of multimodal and hydrid imaging techniques is coming to be the new frontier of medical imaging for the possibility to overcome limitations of single modalities and to obtain physiological and pathophysiological measurements within an accurate anatomical framework. Moreover, the employment of molecular probes, such as ligands or antibodies, allows a selective in vivo targeting of biomolecules involved in specific cellular processes, so expanding the potentialities of imaging techniques for clinical and research applications. This review is aimed to give a survey of characteristics of main diagnostic non-invasive imaging techniques. Current clinical appliances and future perspectives of imaging in the diagnostic and prognostic assessment of diabetic complications affecting different organ systems will be particularly addressed.

Key words: Medical non-invasive imaging; Diabetes; Diabetic complications; Molecular imaging; Multimodal imaging; Hybrid scanners

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: Non-invasive imaging techniques are increasingly employed in every medical field, both for diagnostic purposes and for monitoring of pathological progression and/or efficacy of treatments. Several imaging modalities are currently available to provide structural and functional information about tissue and organ physiology, and thanks to technical improvements and development of hybrid devices, multimodal imaging combining advantages of different techniques offers now new potentialities for research and clinics. Aim of this review is to overview the principal features of most used diagnostic imaging modalities and to explore main current and forthcoming applications for the study and management of diabetes and its complications.

Barsanti C, Lenzarini F, Kusmic C. Diagnostic and prognostic utility of non-invasive imaging in diabetes management. World J Diabetes 2015; 6(6): 792-806  Available from: URL: http://www.wjgnet.com/1948-9358/full/v6/i6/792.htm  DOI: http://dx.doi.org/10.4239/wjd.v6.i6.792

INTRODUCTION

While X-ray diagnostic imaging has been in use for more than 100 years, it is in the last 40-45 years that imaging has made a great impact on healthcare due to the development of several modalities. Medical imaging technologies may be roughly divided into structural and functional imaging categories. The former entails the assessment of anatomical and morphological features of tissues and organs. Computed tomography (CT), magnetic resonance imaging (MRI), and ultrasound (US) scans are the prototypal and the most used non-invasive technologies for this imaging class. However, structural imaging alone may not provide the clinician or researcher with all the necessary information to fully characterize the pathophysiology of diseases. As such, functional imaging has come into existence and is comprised of a multitude of non-invasive, quantitative imaging techniques that are currently in use to study tissue and organ physiology, to probe molecular processes, and to study pathophysiological molecules and metabolites. The parallel development of specific contrast agents has significantly helped to improve the signal to noise ratio of the acquired images, and to gather both structural and functional information during the same scan sequence or within the same modality. Functional imaging is mainly achieved through the use of CT, MRI, and US, as well as through positron emission tomography (PET), single-photon emission computed tomography (SPECT), and optical imaging. Complementary information from structural and functional imaging can assist to determine the nature, location and extent of disease in patients, to guide interventions and to monitor the effects of treatment. Just for an example, MRI can be used to quantitatively determine the three-dimensional structure of an organ or tumour mass and by using the contrast agent, e.g., gadolinium, it is also possible to monitor the blood flow which is an indicator of its functional state.

An accurate visual representation of the anatomy and sometimes of the functional state of the patient has been a goal of clinicians for several decades in many medical fields, although this aspect is often still neglected in diabetic patients. Nevertheless, the rapid rise in the prevalence of diabetes to 382 million individuals worldwide during the last 20 years and the expected rise to 592 million by 2030[1] has global implications and requires paradigm-shifting approaches to diagnosis, treatment monitoring, and prevention. Over the long term, hyperglycaemic conditions can lead to serious diseases affecting the cardiovascular system, eyes, kidneys, nerves, and teeth[2-6]. In addition, people with diabetes also have a higher risk of developing infections, cognitive impairment and dementia[7,8], and lower limb amputations[9].

The present review aims to overview the current principal diagnostic appliances of imaging in the field of diabetes and its complications. In addition, mention will be also deserved to molecular and multimodal imaging, the two more recent approaches to non-invasive imaging tests that, by progressing in parallel with advancements in molecular pathology and with refinement of techniques, represent the new frontier of medical imaging and management of patients with diabetes.

DIAGNOSTIC IMAGING APPROACHES

A short analysis and comparison of the most employed techniques in diagnostic imaging can be of help in the evaluation of the approaches deserving advanced research with a view to both present application and future clinical translation. Table 1 sums up the main characteristics of the principal imaging modalities.

SPECT and PET

In nuclear medicine images of various body parts are produced by using small amount of radioactive tracers, administered intravenously or orally. Then, external detectors capture and form images from the radiation emitted by the radiopharmaceuticals.

There are two main nuclear imaging modalities: SPECT and PET, characterized by a very high sensitivity range (femto- to picomolar concentration range) but a limited spatial resolution (Table 1). Typical SPECT radionuclides are  photon emitters (Table 2) and they are usually employed to label tracers of blood flow such as N-isopropyl-123I-iodoamphetamine (123I-IMP) and 99mTc-hexamethyl-propylene amine oxime (99mTc-HMPAO). Different SPECT radioisotopes can have one or more energy emission lines, therefore several processes can theoretically be imaged simultaneously by setting SPECT scanners at different energy windows. Among the limits of SPECT imaging there are the low temporal resolution, the limited number of available radiopharmaceuticals, and the difficulty to achieve absolute quantitative information due to lack of attenuation and scatter corrections necessary at the time of image reconstruction[10].

PET differs from SPECT in that it relies on nuclides that are neutron-deficient, positron (+) emitters, with shorter half-lives (Table 2). It offers several advantages over SPECT. First of all, the large number of available radiolabeled compounds allows to image a large variety of functional cellular processes such as glucose and amino acid metabolism, neurotransmission, receptor affinity, gene expression, cell and molecular targeting. Moreover, the possibility of corrections at the time of image reconstruction allows quantitative measurements[11]. However, one of the main disadvantages of PET is that all radionuclides decay at the same energy (photon energy of 511 KeV)[11]. Therefore, it is not possible to simultaneously discriminate between different radiotracers at different energy windows. Furthermore, the short half-life of radioisotopes restrains the clinical use of PET mainly at those clinical centers which are equipped with a cyclotron. For this reason, radiopharmaceuticals with longer half-lives, such as 18F-fluorodeoxyglucose (18F-FDG) and 18F-fluoro-6-thia-heptadecanoic acid (18F-FTHA), have been implemented to assess glucose and fatty acid metabolism, respectively[12].

X-ray CT

A CT scan consists of an X-ray beam (generated by an external source) passing through the body where a portion of the X-rays are either absorbed or scattered by the internal structures and organs, while the remaining X-ray pattern is transmitted to a rotating detector along multiple linear paths to create cross-sectional pictures of the body[13]. CT scan involves a higher radiation dose than the conventional radiography. However, the radiation dose for a particular study depends on multiple factors: volume scanned, number and type of scan sequences, the desired resolution and image quality.

On the basis of the high spatial resolution (Table 1), CT scans can provide detailed information to diagnose, plan treatment for, and evaluate many conditions in adults and children. Additionally, the detailed images provided by CT scans may eliminate the need for exploratory surgery. CT scans are very good at imaging bone, soft tissue and blood vessel, even if the use of dyes with high atomic numbers is sometimes useful to improve soft tissue contrast. Iodine-based compounds (classified into non-ionic and ionic) are mainly used as water soluble CT contrast agent to be injected intravascularly or into any sinus or body cavity, and can also give an indication of the renal function (e.g., kidney filtration). Concerns about CT scans include the risks from exposure to ionizing radiation and possible allergic or toxic reactions to the intravenous contrast agents. The overall adverse reactions occur in 1% to 3% of people with non-ionic contrast agents and in 4% to 12% with ionic contrast agents[14]. Skin rashes may appear within a week to 3% of people[15].

Two of the most prevalent clinical and diagnostic applications, especially on the cardiovascular field, are the CT angiogram (CTA) and artery calcium scoring. The former can be used to view arteries and veins and requires contrast dye injected into the bloodstream. CTA images can be 3D reconstructed to overview all the organ vasculature and can be rotated and viewed from all angles.

As the artery calcium score test is concerned, it does not use X-ray contrast, and pictures are taken to look for the presence of calcium depots in the blood vessels, mainly in the coronary arteries. Calcium deposits are a very specific sign of coronary artery disease, as they are associated with cholesterol and scar tissue buildup in the arteries. While the amount of calcium in the arteries increases with age, patients who have significantly elevated amounts of calcium depots are at increased risk to heart attacks or other cardiovascular complications[16].

Magnetic resonance

MRI uses strong magnetic fields and pulses of radio waves to produce cross-sectional images of organs and internal structures in the body at high spatial resolution (Table 1). Because the signal detected varies depending on the water content and local magnetic properties of a particular area of the body, MRI provides an excellent soft tissue contrast. Unfortunately, its sensitivity is low (micro- to millimolar concentration range) and at present there are a limited number of ligands. The physical basis of magnetic MRI is the quantum interaction between a nuclear spin of certain atoms (1H, 13C, 19F, 23Na, 31P and others) and an external magnetic field. MRI scanner detects the radio frequency signal which is emitted only by excited atoms in the body, when they are perturbed by an applied pulse in the range of the radio waves. Image contrast depends on three parameters: the proton density, the longitudinal relaxation time which corresponds to the energy transfer between excited spins and tissue (T1, spin-lattice relaxation time), and the transverse relaxation time which is related to the decay of magnetization by interaction between nuclei (T2, spin-spin relaxation time)[17]. Variable image contrast can be achieved by using different pulse sequences and by changing the imaging parameters. Signal intensities on T1, T2, and proton density-weighted images relate to specific tissue characteristics. Moreover, it is possible to employ contrast agents that magnetically modify the proton spin environment to provide a positive enhancement (T1-targeted), mostly achieved by gadolinium chelates, or negative enhancement (T2- and T2*-targeted probes), by using paramagnetic ultra-small particles of iron oxide (USPIOs)[18].

In 1990, Ogawa et al[19] discovered that deoxyhemoglobin acts as a natural contrast agent to study brain activity on the basis of changes in blood flow, thus providing a functional value to MRI. Functional MRI based on the blood-oxygen-level-dependent (BOLD) contrast is applied both in the research field and, to a lesser extent, in the clinical arena. In this latter case, it is used to anatomically map the brain and detect the effects of tumors, stroke, head and brain injury, or diseases such as Alzheimer’s[20-22].

Although MRI does not use ionizing radiation and no harmful side-effects are known to be associated with temporary exposure to the strong magnetic field, there are important safety concerns to consider before performing or undergoing an MRI scan. The magnet, indeed, may cause pacemakers (and any other implanted medical devices that contain metal) to malfunction or heat up during the exam.

While MRI provides information on the spatial location and local chemical environment of protons, proton magnetic resonance spectroscopy (1H-MRS) is a non-invasive technique providing biochemical information about tissues. 1H-MRS is based on the principle that the resonance frequency of protons is also dependent on their chemical environment (e.g., protons have a slightly different resonance frequency in lipids than in water). Therefore, protons can be visualized at a specific chemical shift (peak position along the X-axis) depending on their chemical environment. The panel of metabolites that can be recognized by MRS include some amino acids, neurotransmitters, choline, lactate, lipids, creatinine, and myo-inositol. MRS is currently used to investigate brain and metabolic disease[23-25].

Ultrasound imaging

Diagnostic ultrasound, or US, is an imaging method that uses high-frequency sound waves (1 to 12 MHz) and their echoes to produce relatively precise images of structures within the body (Table 1). The transducer probe is the main part of an ultrasound machine. It generates and receives sound waves using a principle called the piezoelectric effect. The sound waves travel into the body and hit a boundary between tissues (e.g., between fluid and soft tissues or between soft tissues and bone). Some of the sound waves get reflected back to the probe, while some others travel on further until they reach another boundary and get reflected. The machine calculates the distance from the probe to the tissue or organ (boundaries) by using the speed of sound in tissue and the time of each echo’s return, and then displays a 2D-image based on the echoes’ intensity. Transducer probes come in many shapes, sizes and frequency of emitted sound waves. This latter parameter determines how deep the sound waves penetrate into the body, and so affects the resolution of the image.

Contrast enhanced ultrasound extends ultrasound techniques to the exploitation of gas-filled microspheres [microbubbles (MB)] as an ultrasound contrast medium. MB are commercially available for clinical use in cardiovascular imaging, being confined by their size to the intravascular space. Their proven clinical tolerability, along with the advantages of real-time imaging, high spatial resolution, and the relatively low cost of equipment renders molecular targeting of MB an attractive option for future development from its current preclinical stage to the actual clinical application[26-29]. A variant of US is based upon the Doppler effect (Doppler US). When the object reflecting the ultrasound waves is moving, it changes the frequency of the echoes as a function of its velocity. Doppler US measures the change in frequency of the echoes to calculate how fast the object is moving, and it is mostly used to measure the rate of blood flow.

Optical imaging

Optical imaging is based on the detection of molecular emission in the electromagnetic spectrum (visible and near-infrared) by a high sensitive and high resolution charge-coupled device digital camera. It extends over a wide range on the imaging resolution scale (Table 1) and is often complementary to other imaging modalities.

Optical imaging offers a number of important advantages over the existing radiological imaging techniques. It uses non-ionizing radiation, which significantly reduces patient radiation exposure, provide high sensitivity detection (pico- to nanomolar concentrations) and allows for repeated studies over time. Moreover, optical imaging has the potential to differentiate among soft tissues, and between native tissues and tissue labeled with contrast media (either endogenous or exogenous compounds), using their different photon absorption or scattering profiles at different wavelengths. Optical imaging encompasses a host of light-based imaging modalities, including diffuse optical tomography (DOT), optical coherence tomography (OCT), and hyper-spectral imaging, that holds great potential for improving disease prevention, diagnosis, and treatment in healthcare facilities.

DOT modality utilizes red and near-infrared light ( 650-900 nm) to probe the optical properties of tissues. By measuring the spatio-temporal variations of transmitted and back-scattered light intensities, it is possible to image regional variations in the chemical concentration of specific molecules to detect cellular physiological changes (e.g., neuronal activation). The limited spatial resolution (approximately 1 cm) of DOT is balanced by a high temporal resolution (approximately 10 ms), a potential large optical penetration depth (up to several cm) which depends on the characteristics of the light source and by the light-transmittance of the tissue, a high intrinsic contrast associated with hemoglobin (contrast factor of 10-100 in most soft tissues), and the capability of spectral discrimination of multiple chromophores. DOT has been used in multiple thick tissue imaging appliances, including brain functional imaging, breast cancer imaging, and tissue oxygenation analysis. Methods to improve DOT imaging performance by combining multi-modality information such as from X-ray, CT and MRI are also being explored[30-33].

OCT detects light that has been back-scattered from structures at a particular depth by exploiting constructive and destructive interference between the returning light and a reference beam. It is a technique for obtaining sub-surface images (up to 2 mm), now in use in a variety of applications, including art conservation, artery disease, and diagnosis of diabetic retinopathy[34].

HIS imaging, or imaging spectroscopy, represents a hybrid modality for optical imaging which combines the power of conventional digital imaging and spectroscopy. Indeed, it provides a three-dimensional matrix, or image cube, merging information coming from every pixel of the entire 2D-image with the optical spectrum over a large number of wavelengths (typically tens to hundreds)[35]. The high spatial and spectral resolution offered by HIS allows to detect and quantify tissue environment in the early stages of disease progression. In the medical and clinical scenarios, HIS has exhibited a great potential in the early diagnosis of several forms of cancer, peripheral artery disease, burn wounds, diabetic foot, and ischemic tissue pathology[36-39].

Hybrid techniques for multimodal imaging

To overcome single modality limitations (e.g., the strong variation in sensitivity, spatial and/or temporal resolution, and quantitative analysis capabilities), multimodal imaging which combines techniques with complementary strength has grown up fast in clinical practice. Most of the examinations, however, are performed on separate machines, with some drawbacks that can impact on the diagnostic accuracy: an inaccurate anatomic matching due to patient repositioning, side-by-side or co-registration of images, time-consuming and expensive processes. In the last decade, the development of combined PET-CT integrated systems has revolutionized the concept of hybrid imaging[40]. On the success of PET-CT hybrid scanners, more recently also SPECT-CT hybrid devices have been introduced[41]. However, there are also some negative aspects in using CT as complementary anatomical imaging modality, such as the additional radiation to the patient and the poor soft tissue contrast in the absence of contrast agents. These shortcomings do not apply to MRI and, hence, the idea to combine PET and MRI in a unique device. Hybrid PET-MRI scanners are currently available mainly for preclinical studies on small animals, and in a proof-of-principle phase for clinical applications. Hybrid bimodal PET-MRI imaging is attracting great interest because, unlike PET-CT that requires sequential acquisition of PET and CT images, it makes available the simultaneous acquisition of PET and MRI images, and potentially performs dynamic imaging to obtain valuable functional information within an accurate anatomical framework[42-44].

Targeted molecular imaging

The significant advancement provided by molecular targeting of imaging probes with respect to the traditional diagnostic techniques of morphological, functional or metabolic imaging runs parallel to the advancements in the hybrid imaging systems[45,46]. Molecular imaging approach allows the selective in vivo targeting of biomolecules that are specifically expressed in cellular processes contributing to the development of a variety of disease states. It requires the availability of appropriate molecular probes, composed by a label system that can be visualized by imaging devices and a ligand that recognizes and binds the molecular target (e.g., antibody, peptide, small synthetic or natural molecules). The application of targeted molecular imaging has already proven valuable in clinical oncological practice for early detection and diagnosis as well as in prognosis[47]. Despite its great capability, however, molecular imaging approach in other medical fields is still mainly confined to the laboratory settings and almost exclusively used in preclinical studies. Many areas of research are very active in this field, especially studies centered on the detection of pre-disease states or molecular states that occur before typical disease symptoms are overt[48,49]. Other important areas of interest are the imaging of gene expression and the development of novel biomarkers[50,51]. Nevertheless, at present there are some barriers to a widespread clinical translation of molecular imaging: the paucity of approved molecular imaging agents; the difficulty of combining the suitable characteristics of the probe (feasibility of synthesis, pharmacokinetics, high binding efficacy and specificity) with the lack of toxicity in patients; the reduced interest for industrial investment considering that, by its very nature, molecular imaging (as well as personalized medicine) decreases the size of the possible patient set from a commercial point of view[52,53].

MEDICAL AND CLINICAL APPLICATIONS OF IMAGING IN DIABETES

A general view of the different non-invasive imaging approaches and their applications on the medical and clinical settings is offered in this section. Some advantages and drawbacks of alternative or combined approaches are also described. Table 3 sums up the most employed imaging modalities in the diagnosis and monitoring of diabetic complications and end-organ damage.

Pancreatic islet and beta cells imaging

The loss of functional -cells is decisive in the development of both type 1 (T1D) and type 2 (T2D) diabetes. T1D is characterized by an autoimmune reaction against pancreatic -cells, while T2D leads to -cell dysfunction due to insulin resistance[54,55].

The possibility to non invasively imaging the severity and the extent of a critical mass of -cell destruction could significantly aid in the diagnosis and treatment of diabetes. However, imaging of -cells is a major challenge due to the small size of pancreatic islets, the low density distribution of islets throughout the pancreas, and the scarce inherent contrast from the surrounding tissues.

A variety of currently available imaging techniques, including MRI[56,57], bioluminescence imaging[58,59], and nuclear imaging (PET and SPECT) have been tested for the study of -cell diseases[60]. The majority of the cited studies was carried out on animal models, and even though the translational potential of some of the methods is hampered by the depth of the pancreas in the human body, in many cases the possibility of a clinical transfer embodies a real opportunity.

Since zinc plays a critical role in the biosynthesis and secretion of insulin, Lubag et al[61] demonstrated the feasibility of utilizing zinc-responsive T1-contrast MRI for monitoring islet -cells function in animal models. Currently, there are two approaches that have been developed for monitoring -cell function using MRI: manganese-enhanced and a zinc-responsive contrast agent[62].

Moreover, MRI proved to be useful at diagnosing and monitoring immune cell infiltration of the pancreas[63-66] by using superparamagnetic iron oxide nanoparticles as T2-weighted negative contrast agent.

Very recent preclinical studies proposed the use of PET imaging to evaluate the loss of pancreatic islet cells in a rodent model of T1D, using [18F]-fallypride, a dopamine D2/D3 receptor radiotracer[67].

Finally, PET, MRI and US have been used in several trials to investigate the efficacy of different imaging modalities for visualizing transplanted islets[68]. Since these methodologies have different advantages and disadvantages, their use in combination is recommended for accurate assessment of the condition of transplanted islets[69].

Diabetic nephropathy and kidney imaging

In diabetic patients, renal functional deterioration is the result of heterogeneous renal structural changes and represents 35%-40% of new cases of renal insufficiency requiring dialysis. Renal damage occurs in multiple stages and diagnostic tests that help to identify early stages of kidney alterations will provide significant benefits to get the disease under control. In the early stages of diabetic nephropathy, kidney size may be enlarged from hyperfiltration[70-72]. With progression of kidney disease in diabetes, the kidneys diminish in size due to glomerulo-sclerosis[70]. US imaging is typically performed to assess kidney size[73]. Moreover, a renal ultrasound examination can reveal hyperechogenicity that is suggestive of chronic kidney disease, and can assist in ruling out any obstruction. In addition, Doppler US can support in both the evaluation of renal parenchymal perfusion and the computation of renal resistance parameters to assess endothelial dysfunction and microvascular impairment in the kidneys of diabetic patients[74].

Also quantitative diffusion-weighted MRI and BOLD-MRI can play a role in the evaluation of renal disease[75-77] and may facilitate the development of more effective follow-up and treatment modalities[78].

Brain imaging in diabetes

The technique of choice to image the brain is MRI that spans from coarse anatomical studies of atrophic areas to the more detailed investigations of both functional and structural alterations in both gray and white matter of specific cerebral areas. It has been suggested that the risk of decreases in cognitive ability, usually associated with aging, is increased in type 2 diabetic patients. Some recent and comprehensive reviews focused on the relationship between diabetes and brain abnormalities[22,79]. A consistent number of studies were aimed to measure volumetric differences in diabetic population by MRI. During aging, a global brain atrophy with an average decline in the brain volume of 0.1%-0.5% per year is physiological[80,81]. However, brain volume in T2D patients is reduced of 0.5%-2.0% relative to controls[22], correspondent to an extra 2-5 years of normal aging. Brain atrophy can be generalized or focal, with the medial temporal lobe mainly involved[22], and can be related to either the white or the gray matter, or both. Ryan et al[79] reported that insulin resistance is a predictor of gray matter atrophy and cognitive impairment. Moreover, the analyses of T2-weighted MR brain images of diabetic patients revealed micro- and macrovascular alterations induced by the chronic inflammation associated with hyperglycemia, which could play a role in the hyperintense lesions of the white matter observed[82]. Several MRI studies indicated a significant correlation between T2D and brain infarct, mostly lacunar necrosis[22], and such parameters as insulin resistance, nephropathy, diabetes duration and high systolic blood pressure are suggested as main determinants of the increased occurrence of brain infarcts in the diabetic population[22].

At present, there are few studies on brain metabolism of diabetic patients by MR spectroscopy[23-24,83]. They were mainly addressed to determine the alterations of the resonance peaks of brain metabolites and neurotransmitters under different conditions of cognitive impairment[22].

Brain microvascular function can be investigated by imaging of cerebral blood flow and cerebrovascular reactivity. The former is assessed by SPECT (using 123I- or 99Tc- labeled tracers), MRI (phase-contrast or arterial spin-labeling modalities) and transcranial Doppler US. Cerebrovascular reactivity, assessed by MRI or trancranial Doppler US, is the measure of the microvascular reserve defined as the increase of blood flow under maximal cerebral vasodilation induced by acetazolamide or CO2. At present, however, studies on cerebral blood flow and cerebrovascular reactivity in patients with T2DM show conflicting results[22].

Imaging of vasculature and vascular changes

Non-invasive techniques provide information on macrovascular anatomy, as well as on functional parameters concerning vessel flows, tissue perfusion, microcirculation, all of which are affected by complications concurring in the high morbidity and mortality on diabetic patients.

Ultrasonography is mainly used to assess the atherosclerotic burden in non coronary arteries. Doppler US has been successfully employed for an early and accurate characterization of the vasculopathy of lower limb arteries (a strong risk factor in the development of diabetic foot ulcers)[84], thus favoring the prevention or delay of foot complications, especially amputation. Moreover, the measurement of the carotid intima-media thickness (IMT) by US has been demonstrated a useful marker of the progression of atherosclerosis throughout the body, and an excellent predictor of cardiovascular events even in diabetic population[85,86]. Furthermore, carotid IMT can be used to evaluate the efficacy of new treatments[87-90].

At present, techniques based on CT technology, such as coronary artery calcium scoring and coronary multi-slice CT angiography, are considered the most robust imaging techniques for non-invasive visualization of coronary atherosclerosis, assessment of plaque composition and level of calcification[91-93]. Also MRI is emerging as an important modality to assess atherosclerotic plaque burden and morphology in non coronary arteries[94,95].

Nevertheless, because altered vessel morphology may be ambiguous, the ability to non invasively evaluate molecular and cellular pathological processes becomes crucial in terms of early detection and preventive treatment. The use of functional and molecular imaging approaches will provide valuable diagnostic tools. Recently, by using MRI in experimental studies on rodent diabetic models, Medarova et al[96] evaluated pancreatic vascular volume, microvascular flow, and permeability, that are common disease biomarkers for both T1D and T2D[97-99].

Moreover, PET imaging studies reported a strong relation between peripheral artery atherosclerosis and increased regional 18F-FDG uptake (glycolytic metabolism) in subjects presenting impaired glucose tolerance and T2D[100,101]. In addition, inflammatory condition associated with atheroma or atherosclerosis progression has been investigated by both single and dual-modal imaging, using 18F-FDG-PET/CT[102], USPIO-MRI[103-105], nanoparticle PET-CT[106]. Finally, it is very promising, but mainly limited to the preclinical field, the use of nanoparticles appropriately functionalized with ligands or antibodies vs cell membrane molecules (VCAM-1, PECAM-1, E-selectin, P-selectin) to detect activated endothelial cells in different imaging modalities (OCT, MRI, enhanced US, PET)[107-109], or even in the same acquisition session (hybrid MRI or PET-CT and MRI-PET scanners)[110,111] in order to obtain a molecular contrast.

Imaging of ulcerations and diabetic foot

Lower extremity and particularly foot ulcers are among the most frequent complications of diabetes. It is estimated that 15%-25% of T1D and T2D patients are affected by skin ulcers in their lifetime[112]. Factors as peripheral neuropathy and vascular disease contribute to the development of skin ulcerations. Some valuable information on vasculopathy can be provided by Doppler US examination in patients with diabetic foot[113]. Moreover, in the last few years hyperspectral imaging (HIS) has been launched as a useful diagnostic tool to monitor microvascular changes and tissue perfusion impairment associated with diabetic ulcer formation and healing[114]. By selecting proper wavelengths within the visible and very near infrared region (400-1000 nm) of the electromagnetic spectrum, HIS allows to acquire spatial maps of oxy- and deoxyhemoglobin and, thus, to quantify tissue oxygenation. In the management of diabetic foot ulcers, it represents a valuable tool in the assessment of wound healing potential and in guiding the proper therapy in order to prevent infections and amputations. If left untreated, a relevant cases of foot ulcers lead to infection, limited joint mobility, muscular alterations and deep-tissue necrosis[112]. Bones may also be involved in two different clinical conditions associated with diabetic complications, such as osteomyelitis and Charcot osteoarthropathy[115]. The former is mainly due to direct bone contamination from a soft-tissue ulcer and accounts for approximately one third of diabetic foot infections, whereas the latter is a chronic and progressive inflammatory disease affecting the bone and joints. Both osteomyelitis and Charcot foot are conditions with an increased risk of lower limb amputation from 25% to 50%. It has been suggested that about 50% of those amputations could be avoided by an early diagnosis and a multidisciplinary approach. The major diagnostic difficulty is in distinguishing osteomyelitis from non-infectious bony disorders as Charcot foot[115].

X-ray planar radiographs are relatively inexpensive and readily available, but their sensitivity is quite poor and false negative results are not so rare, especially in the first stages of osteomyelitis. Bone biopsy is considered the technique of choice for detection of osteomyelitis, however conventional imaging (MRI, SPECT and hybrid SPECT/CT) are valuable support in the early diagnosis of infections and their accurate anatomical localization[116]. In addition, due to their non-invasive nature, imaging studies proved particularly useful in monitoring the progression of the disease and the efficiency of specific treatments. Valabhji et al[117] show the effective role of MRI also in guiding the time course of the antibiotic therapy in the management of diabetic foot complicated by osteomyelitis. Unfortunately, the major limitation of MRI imaging is its inability to accurately differentiate osteomyelitis from other inflammatory bone disease. Similarly, the use of SPECT imaging modality that combines technetium methyl-diphosphonate (99mTc-MDP) bone scan with technetium hexamethylpropylene amine oxime (99mTc-HMPAO)-labeled leukocytes scan is adequate for osteomyelitis diagnosis[118], but is poor in the anatomical localization of the infection, due to the limited spatial resolution of nuclear imaging.

Recently, new hybrid imaging technologies combining SPECT localization of 99mTc-HMPAO-labeled leukocytes and high resolution X-ray CT have been introduced and provided effective in the differential diagnosing of osteomyelitis in patients with diabetes[116]. The use of 18F-FDG-PET has emerged as a possible alternative nuclear imaging modality combined with CT in the diagnosis of bone infection secondary to diabetic ulcerations. However, at present, the data on the role of PET and PET/CT in the evaluation of diabetic foot infections are limited and the results reported are rather inconsistent, especially in the absence of an appropriate reference standard[119].

Imaging of diabetic cardiomyopathy

Accumulating data from experimental, pathological, epidemiological, and clinical studies have shown that diabetes mellitus results in cardiac functional and structural changes, independent of hypertension, coronary artery disease or any other known cardiac disease, which support the existence of diabetic cardiomyopathy. The pathophysiology of diabetic heart disease is likely multifactorial, involving altered myocardial metabolism, endothelial dysfunction and vascular disease, autonomic neuropathy, and increased myocardial fibrosis. Most of the conventional non-invasive imaging modalities can provide valuable insights into the disease process and can be useful for monitoring disease progression and evaluating the effectiveness of medical interventions.

Ventricular function and perfusion: Conventional diagnostic imaging modalities currently aids in non-invasive assessment of both systolic and diastolic dysfunction in diabetic patients. Pulsed wave Doppler studies measuring transmitral inflow, deceleration time and isovolumic relaxation time are the gold standard to diagnose ventricular diastolic dysfunction[120,121]. Moreover, tissue Doppler imaging and strain rate imaging are considered more sensitive for detection of LV dysfunction than conventional trans-thoracic echocardiography, especially in the early stages of diabetes in which the sole sub-endocardial dysfunction is overt. Cardiac MRI has recently emerged as a very good imaging tool for the diagnosis of structural and functional disorders of the myocardium. Gadolinium-enhanced cardiac MRI has been found to be useful in the prediction of major adverse cardiac events in diabetic patients without previous history of ischemic heart disease[95,122]. Cardiac MRI is also useful to detect diastolic dysfunction and myocardial steatosis[95]. Among the available imaging modalities, only PET allows quantitative assessment of myocardial blood flow using radiotracers kinetics[95,123,124]. The combined images by MRI and PET provide a high spatial resolution detection of myocardial metabolic abnormalities and currently represent the more valuable imaging analysis in the diagnosis and prognosis of diabetic disease. Unfortunately, many diabetic patients with advanced stages of cardiomyopathy have had mechanical interventions that have inserted metallic devices into the heart (e.g., defibrillators, left ventricular assist devices) that preclude the possibility to use MRI. Under these circumstances, the low anatomical (spatial) resolution of PET can be compensated by the combined PET/CT imaging. This recent hybrid modality is also particularly indicated in the case of diabetic patients with or at risk of coronary artery disease, since CT is currently considered very reliable in evaluating coronary artery calcium plaque burden and, with the aid of contrast agents, it provides an accurate coronary angiogram[125,126].

Cardiac autonomic neuropathy in diabetes: It is one of the diabetic complications that increase the risk of myocardial infarction and sudden death in diabetic patients. The need of an early diagnosis of cardiac autonomic neuropathy (CAN) for clinical decision-making of these patients is evident considering that it was estimated that the 5-year mortality rate is 5 times higher in diabetic patients with CAN compared with patients without evidence of CAN[127]. CAN detection requires several indirect tests to assess the activity of both the parasympathetic and the sympathetic branches of the autonomic system. However, the only direct method to assess cardiac autonomic activity is by using nuclear imaging. Currently, either SPECT and PET clinical imaging is limited to assess sympathetic activity and innervation, with parasympathetic imaging limited mostly to preclinical and translational studies[95]. Cardiac sympathetic imaging is focused on synaptic junction, and in particular on the pre-synaptic endings, where the norepinephrine transporter (NET) protein, also known as uptake 1, is localized[128]. NET is responsible for the most part of the re-uptake of synaptic norepinephrine that is released following sympathetic nerve endings stimulation. Several studies used radiolabeled analogs of norepinephrine to evaluate the cardiac neuronal activity and function. The most commonly used is metaiodobenzylguanidine (MIBG), a molecule that is taken up by NET protein but that is not catabolized by monoamine oxidase or catechol-o-methyltransferase, thus allowing to accumulate into the sympathetic synaptic endings[129]. MIBG can be easily labeled with the radionuclide 123I, a  photon emitter and, thus, imaged by SPECT scanner. Besides, some PET tracers have also been developed based on molecules sharing similarities with norepinephrine, including 11C-meta hydroxyephedrine (11C-HED), 11C-epinephrine (11C-EPI) and 11C-guanyl-meta-octopamine (11C-GMO). Both clinical and experimental studies with these tracers have provided significant information on cardiac sympathetic dysfunction in many diseases, diabetes included[130-132].

More recently, experimental and pre-clinical studies tested a new 18F-labeled NET substrate (namely, 18F-LMI1195) designed to allow PET cardiac neuronal imaging with high sensitivity and resolution[133].

Altered myocardial metabolism: It is commonly accepted that one of the mechanism leading to diabetic cardiomyopathy is the accumulation of fatty acids in myocardial tissue (myocardial steatosis). When the fatty acid uptake oversteps the oxidative capability of myocyte, the exceeding fatty acids are stored in the cell cytoplasm as triglycerides. Intracellular triglycerides are inert per se. However, a proportional part of them are transformed in toxic intermediates through non-oxidative pathways. At present, myocardial triglycerides can be quantified (thus having an estimate of their toxic metabolites) by means of 1H-MRS scanners with field strength ≥ 1.5 Tesla. Several experimental and clinical studies have used 1H-MRS to correlate the increased myocardial triglyceride content and ventricular dysfunction in diabetes[95]. Magnetic resonance spectroscopy is also suitable to monitor the effect of pharmacological treatment of diabetes on intra-myocardial triglyceride accumulation[134,135].

Measuring of visceral and liver fat

Excessive body fat is a major risk factor for several diseases, including insulin resistance, T2D, and cardiovascular disease. In addition, fat accumulation in specific body tissues and/or organs (named, ectopic fat) such as visceral, intrahepatic and intramuscular lipid stores, pericardial, perivascular and perirenal fat depots, is considered an important predictor of cardiometabolic and vascular risk[136,137]. Therefore, regional fat distribution might be a more predictive factor for specific risks than obesity itself and an accurate measurement of fat accumulation might represent an additional prognostic value in the risk assessment of patients. Dual energy X-ray absorptiometry (DEXA) is considered the reference choice to evaluate body composition[138]. It measures three different compartments: fat mass, non-bone lean mass and bone mineral content. DEXA is accurate, time and cost effective, widely available, and has low radiation exposure but is, on the whole, unable to discriminate among fat depots, except for a software that has been recently proposed to quantify the visceral fat compartment[139]. For this reason, MRI and CT are currently considered the gold standard methods to measure adiposity and accurately distinguish between subcutaneous and ectopic visceral fat. However, the use of CT for fat distribution analysis is discouraged, especially in children, due to the high levels of radiation exposure. More recently, several studies have reported grey-scale and/or contrast-enhanced US as a promising technique to measure subcutaneous adipose tissue thickness and abdominal visceral fat[140,141]. Moreover, a strong correlation between US and CT assessment of fat depots was found[140]. If adequately validated, US might represent the clinical standard methodology for longitudinal studies on fat content and distribution in response to treatment[142]. In addition, contrast-enhanced US showed a good sensitivity (> 95%) and specificity (> 90%) even in revealing fatty liver[143,144]. However, as hepatic fat quantification is concerned, also CT, dual-energy CT (80 and 140 kVp), MRI and 1H-MRS perform very well, with high specificity, and are considered the front runners in the non invasive diagnosis and quantification of moderate to severe liver steatosis[145-147].

CONCLUSION

Considering the current trends in medicine, it can be expected that diagnostic non-invasive imaging techniques, particularly multimodal hybrid devices, will become increasingly available in the clinical arena and assume an always more important role in supplementing the clinical evaluation of the diabetic patient.

The challenge is to combine the diagnostic utility of imaging tools with therapeutic entities (“theranostics”) in order to improve risk stratification and personalized therapy for diabetes management. It poses both scientific and technical problems: molecular and cellular biology and pathology on one side, and physical and chemical methodologies on the other. As for the contribution of medicinal chemistry, it is required the use of nanometer-scale materials to provide molecular imaging with simultaneous treatment. The nanomaterial platforms have to integrate molecular targeting ligands, therapeutic moieties and complementary imaging (multi)-modalities. Recently, Arifin et al[148] have introduced a biohybrid theranostic agent composed by human pancreatic islets encapsulated in a porous matrix together with functionalized Gd-gold nanoparticles which could serve as a contrast agent for three complementary imaging modalities (MRI, CT and US). They found that microcapsules containing islet cells were able to restore normoglycemia in a mouse diabetic model and could be tracked by trimodal non-invasive imaging. Analogously, Barnett et al[149] reported the theranostic capabilities of functionalized magneto-capsules containing human pancreatic islet -cells in mouse and swine pre-clinical models. Moreover, dextran-coated iron oxide nanoprobes, suitable for MRI, have been functionalized with small interfering RNA[150,151] to silencing specific genes of choice. Although important in proving new principles, at present these contributions are still in an exploratory, preclinical stage. Future studies should be performed in models endowed with increased power of predicting human efficacy and safety, thus warranting clinical translation and development in a demanding regulatory environment.

REFERENCES

1	International Diabetes Federation. IDF Diabetes Atlas. Available from: URL: http://www.idf.org/diabetesatlas

2	Ahmed N. Advanced glycation endproducts--role in pathology of diabetic complications. Diabetes Res Clin Pract 2005; 67: 3-21 [PMID: 15620429 DOI: 10.1016/j.diabres.2004.09.004]

3	Ehrlich R, Harris A, Ciulla TA, Kheradiya N, Winston DM, Wirostko B. Diabetic macular oedema: physical, physiological and molecular factors contribute to this pathological process. Acta Ophthalmol 2010; 88: 279-291 [PMID: 20222885 DOI: 10.1111/j.1755-3768.2008.01501.x]

4	Luitse MJ, Biessels GJ, Rutten GE, Kappelle LJ. Diabetes, hyperglycaemia, and acute ischaemic stroke. Lancet Neurol 2012; 11: 261-271 [PMID: 22341034 DOI: 10.1016/S1474-4422(12)70005-4]

5	Maric-Bilkan C. Obesity and diabetic kidney disease. Med Clin North Am 2013; 97: 59-74 [PMID: 23290730 DOI: 10.1016/j.mcna.2012.10.010]

6	Sima C, Glogauer M. Diabetes mellitus and periodontal diseases. Curr Diab Rep 2013; 13: 445-452 [PMID: 23430581 DOI: 10.1007/s11892-013-0367-y]

7	Biessels GJ, Staekenborg S, Brunner E, Brayne C, Scheltens P. Risk of dementia in diabetes mellitus: a systematic review. Lancet Neurol 2006; 5: 64-74 [PMID: 16361024 DOI: 10.1016/S1474-4422(05)70284-2]

8	McCrimmon RJ, Ryan CM, Frier BM. Diabetes and cognitive dysfunction. Lancet 2012; 379: 2291-2299 [PMID: 22683129 DOI: 10.1016/S0140-6736(12)60360-2]

9	Faglia E. Characteristics of peripheral arterial disease and its relevance to the diabetic population. Int J Low Extrem Wounds 2011; 10: 152-166 [PMID: 21856972 DOI: 10.1177/1534734611417352]

10	Buvat I, Benali H, Todd-Pokropek A, Di Paola R. Scatter correction in scintigraphy: the state of the art. Eur J Nucl Med 1994; 21: 675-694 [PMID: 7957356]

11	Valk PE, Bailey DE, Townsend DW, Maisey MN. Positron emission tomography: Basic science and clinical practice. London: Springer-Verlag, 2003

12	Schlyer DJ. PET tracers and radiochemistry. Ann Acad Med Singapore 2004; 33: 146-154 [PMID: 15098627]

13	Liu BJ, Huang HK. Principles of X-ray anatomical imaging. In: Dhawan AP, Huang HK, Kim DS. Principles and advanced methods in medical imaging and image analysis. Singapore: World Scientific Publishig Co, 2008: 29-62

14	Wang H, Wang HS, Liu ZP. Agents that induce pseudo-allergic reaction. Drug Discov Ther 2011; 5: 211-219 [PMID: 22466368 DOI: 10.5582/ddt.2011.v5.5.211]

15	Christiansen C. X-ray contrast media--an overview. Toxicology 2005; 209: 185-187 [PMID: 15767033 DOI: 10.1016/j.tox.2004.12.020]

16	Hou ZH, Lu B, Gao Y, Jiang SL, Wang Y, Li W, Budoff MJ. Prognostic value of coronary CT angiography and calcium score for major adverse cardiac events in outpatients. JACC Cardiovasc Imaging 2012; 5: 990-999 [PMID: 23058065 DOI: 10.1016/j.jcmg.2012.06.006]

17	Westbrook C, Roth CK, Talbot J. MRI in practice. 4th ed. Chichester: Wiley-Blackwell, 2011

18	Bjørnerud A, Johansson L. The utility of superparamagnetic contrast agents in MRI: theoretical consideration and applications in the cardiovascular system. NMR Biomed 2004; 17: 465-477 [PMID: 15526351 DOI: 10.1002/nbm.904]

19	Ogawa S, Lee TM, Kay AR, Tank DW. Brain magnetic resonance imaging with contrast dependent on blood oxygenation. Proc Natl Acad Sci USA 1990; 87: 9868-9872 [PMID: 2124706]

20	Bruzzone MG, D’Incerti L, Farina LL, Cuccarini V, Finocchiaro G. CT and MRI of brain tumors. Q J Nucl Med Mol Imaging 2012; 56: 112-137 [PMID: 22617235]

21	Wang D, Hui SC, Shi L, Huang WH, Wang T, Mok VC, Chu WC, Ahuja AT. Application of multimodal MR imaging on studying Alzheimer’s disease: a survey. Curr Alzheimer Res 2013; 10: 877-892 [PMID: 23919775 DOI: 10.2174/15672050113109990150]

22	Brundel M, Kappelle LJ, Biessels GJ. Brain imaging in type 2 diabetes. Eur Neuropsychopharmacol 2014; 24: 1967-1981 [PMID: 24726582 DOI: 10.1016/j.euroneuro.2014.01.023]

23	Kreis R, Ross BD. Cerebral metabolic disturbances in patients with subacute and chronic diabetes mellitus: detection with proton MR spectroscopy. Radiology 1992; 184: 123-130 [PMID: 1319074 DOI: 10.1148/radiology.184.1.1319074]

24	Geissler A, Fründ R, Schölmerich J, Feuerbach S, Zietz B. Alterations of cerebral metabolism in patients with diabetes mellitus studied by proton magnetic resonance spectroscopy. Exp Clin Endocrinol Diabetes 2003; 111: 421-427 [PMID: 14614649 DOI: 10.1055/s-2003-44289]

25	Bittšanský M, Výbohová D, Dobrota D. Proton magnetic resonance spectroscopy and its diagnostically important metabolites in the brain. Gen Physiol Biophys 2012; 31: 101-112 [PMID: 22447836 DOI: 10.4149/gpb_2012_007]

26	Kaufmann BA, Lewis C, Xie A, Mirza-Mohd A, Lindner JR. Detection of recent myocardial ischaemia by molecular imaging of P-selectin with targeted contrast echocardiography. Eur Heart J 2007; 28: 2011-2017 [PMID: 17526905 DOI: 10.1093/eurheartj/ehm176]

27	Kaufmann BA, Sanders JM, Davis C, Xie A, Aldred P, Sarembock IJ, Lindner JR. Molecular imaging of inflammation in atherosclerosis with targeted ultrasound detection of vascular cell adhesion molecule-1. Circulation 2007; 116: 276-284 [PMID: 17592078 DOI: 10.1161/CIRCULATIONAHA.106.684738]

28	Lindner JR. Molecular imaging of myocardial and vascular disorders with ultrasound. JACC Cardiovasc Imaging 2010; 3: 204-211 [PMID: 20159648 DOI: 10.1016/j.jcmg.2009.09.021]

29	Yan Y, Liao Y, Yang L, Wu J, Du J, Xuan W, Ji L, Huang Q, Liu Y, Bin J. Late-phase detection of recent myocardial ischaemia using ultrasound molecular imaging targeted to intercellular adhesion molecule-1. Cardiovasc Res 2011; 89: 175-183 [PMID: 20733010 DOI: 10.1093/cvr/cvq269]

30	Ntziachristos V, Yodh AG, Schnall M, Chance B. Concurrent MRI and diffuse optical tomography of breast after indocyanine green enhancement. Proc Natl Acad Sci USA 2000; 97: 2767-2772 [PMID: 10706610 DOI: 10.1073/pnas.040570597]

31	Gulsen G, Birgul O, Unlu MB, Shafiiha R, Nalcioglu O. Combined diffuse optical tomography (DOT) and MRI system for cancer imaging in small animals. Technol Cancer Res Treat 2006; 5: 351-363 [PMID: 16866566]

32	Yuan Z, Zhang Q, Sobel ES, Jiang H. Tomographic x-ray-guided three-dimensional diffuse optical tomography of osteoarthritis in the finger joints. J Biomed Opt 2008; 13: 044006 [PMID: 19021334 DOI: 10.1117/1.2965547]

33	Yang X, Gong H, Quan G, Deng Y, Luo Q. Combined system of fluorescence diffuse optical tomography and microcomputed tomography for small animal imaging. Rev Sci Instrum 2010; 81: 054304 [PMID: 20515159 DOI: 10.1063/1.3422252]

34	Fercher AF, Drexler W, Hitzenberger CK, Lasser T. Optical coherence tomography-principles and applications. Rep Prog Phys 2003; 66: 239-303

35	Schweizer SM, Moura JF. Efficient detection in hyperspectral imagery. IEEE Trans Image Process 2001; 10: 584-597 [PMID: 18249648 DOI: 10.1109/83.913593]

36	Kiyotoki S, Nishikawa J, Okamoto T, Hamabe K, Saito M, Goto A, Fujita Y, Hamamoto Y, Takeuchi Y, Satori S, Sakaida I. New method for detection of gastric cancer by hyperspectral imaging: a pilot study. J Biomed Opt 2013; 18: 26010 [PMID: 23389679 DOI: 10.1117/1.JBO.18.2.026010]

37	Gaudi S, Meyer R, Ranka J, Granahan JC, Israel SA, Yachik TR, Jukic DM. Hyperspectral imaging of melanocytic lesions. Am J Dermatopathol 2014; 36: 131-136 [PMID: 24247577 DOI: 10.1097/DAD.0b013e31829bad10]

38	Khaodhiar L, Dinh T, Schomacker KT, Panasyuk SV, Freeman JE, Lew R, Vo T, Panasyuk AA, Lima C, Giurini JM, Lyons TE, Veves A. The use of medical hyperspectral technology to evaluate microcirculatory changes in diabetic foot ulcers and to predict clinical outcomes. Diabetes Care 2007; 30: 903-910 [PMID: 17303790 DOI: 10.2337/dc06-2209]

39	Nouvong A, Hoogwerf B, Mohler E, Davis B, Tajaddini A, Medenilla E. Evaluation of diabetic foot ulcer healing with hyperspectral imaging of oxyhemoglobin and deoxyhemoglobin. Diabetes Care 2009; 32: 2056-2061 [PMID: 19641161 DOI: 10.2337/dc08-2246]

40	Beyer T, Townsend DW, Brun T, Kinahan PE, Charron M, Roddy R, Jerin J, Young J, Byars L, Nutt R. A combined PET/CT scanner for clinical oncology. J Nucl Med 2000; 41: 1369-1379 [PMID: 10945530]

41	O’Connor MK, Kemp BJ. Single-photon emission computed tomography/computed tomography: basic instrumentation and innovations. Semin Nucl Med 2006; 36: 258-266 [PMID: 16950143 DOI: 10.1053/j.semnuclmed.2006.05.005]

42	Hicks R, Lau E, Binns D. Hybrid imaging is the future of molecular imaging. Biomed Imaging Interv J 2007; 3: e49 [PMID: 21614291 DOI: 10.2349/biij.3.3.e49]

43	Catana C, Drzezga A, Heiss WD, Rosen BR. PET/MRI for neurologic applications. J Nucl Med 2012; 53: 1916-1925 [PMID: 23143086 DOI: 10.2967/jnumed.112.105346]

44	Pichler BJ, Kolb A, Nägele T, Schlemmer HP. PET/MRI: paving the way for the next generation of clinical multimodality imaging applications. J Nucl Med 2010; 51: 333-336 [PMID: 20150252 DOI: 10.2967/jnumed.109.061853]

45	Choudhury RP, Fuster V, Fayad ZA. Molecular, cellular and functional imaging of atherothrombosis. Nat Rev Drug Discov 2004; 3: 913-925 [PMID: 15520814]

46	Anderson CJ, Bulte JW, Chen K, Chen X, Khaw BA, Shokeen M, Wooley KL, VanBrocklin HF. Design of targeted cardiovascular molecular imaging probes. J Nucl Med 2010; 51 Suppl 1: 3S-17S [PMID: 20395345 DOI: 10.2967/jnumed.109.068130]

47	Seaman ME, Contino G, Bardeesy N, Kelly KA. Molecular imaging agents: impact on diagnosis and therapeutics in oncology. Expert Rev Mol Med 2010; 12: e20 [PMID: 20633310 DOI: 10.1017/S1462399410001511]

48	Kelly KA, Bardeesy N, Anbazhagan R, Gurumurthy S, Berger J, Alencar H, Depinho RA, Mahmood U, Weissleder R. Targeted nanoparticles for imaging incipient pancreatic ductal adenocarcinoma. PLoS Med 2008; 5: e85 [PMID: 18416599 DOI: 10.1371/journal.pmed.0050085]

49	Mena E, Choyke P, Tan E, Landgren O, Kurdziel K. Molecular imaging in myeloma precursor disease. Semin Hematol 2011; 48: 22-31 [PMID: 21232655 DOI: 10.1053/j.seminhematol.2010.11.006]

50	Youn H, Chung JK. Reporter gene imaging. AJR Am J Roentgenol 2013; 201: W206-W214 [PMID: 23883235 DOI: 10.2214/AJR.13.10555]

51	Vande Velde G, Himmelreich U, Neeman M. Reporter gene approaches for mapping cell fate decisions by MRI: promises and pitfalls. Contrast Media Mol Imaging 2013; 8: 424-431 [PMID: 24375898 DOI: 10.1002/cmmi.1590]

52	Frangioni JV. Translating in vivo diagnostics into clinical reality. Nat Biotechnol 2006; 24: 909-913 [PMID: 16900127 DOI: 10.1038/nbt0806-909]

53	Sinusas AJ, Thomas JD, Mills G. The future of molecular imaging. JACC Cardiovasc Imaging 2011; 4: 799-806 [PMID: 21757172 DOI: 10.1016/j.jcmg.2011.05.003]

54	Daneman D. Type 1 diabetes. Lancet 2006; 367: 847-858 [PMID: 16530579 DOI: 10.1016/S0140-6736(06)68341-4]

55	Cernea S, Dobreanu M. Diabetes and beta cell function: from mechanisms to evaluation and clinical implications. Biochem Med (Zagreb) 2013; 23: 266-280 [PMID: 24266296 DOI: 10.11613/BM.2013.033]

56	Antkowiak PF, Tersey SA, Carter JD, Vandsburger MH, Nadler JL, Epstein FH, Mirmira RG. Noninvasive assessment of pancreatic beta-cell function in vivo with manganese-enhanced magnetic resonance imaging. Am J Physiol Endocrinol Metab 2009; 296: E573-E578 [PMID: 19116376 DOI: 10.1152/ajpendo.90336.2008]

57	Antkowiak PF, Vandsburger MH, Epstein FH. Quantitative pancreatic β cell MRI using manganese-enhanced Look-Locker imaging and two-site water exchange analysis. Magn Reson Med 2012; 67: 1730-1739 [PMID: 22189705 DOI: 10.1002/rmn.23139]

58	Park SY, Wang X, Chen Z, Powers AC, Magnuson MA, Head WS, Piston DW, Bell GI. Optical imaging of pancreatic beta cells in living mice expressing a mouse insulin I promoter-firefly luciferase transgene. Genesis 2005; 43: 80-86 [PMID: 16108006 DOI: 10.1002/gene.20157]

59	Smith SJ, Zhang H, Clermont AO, Powers AC, Kaufman DB, Purchio AF, West DB. In vivo monitoring of pancreatic beta-cells in a transgenic mouse model. Mol Imaging 2006; 5: 65-75 [PMID: 16954020]

60	Wu Z, Kandeel F. Radionuclide probes for molecular imaging of pancreatic beta-cells. Adv Drug Deliv Rev 2010; 62: 1125-1138 [PMID: 20854861 DOI: 10.1016/j.addr.2010.09.006]

61	Lubag AJ, De Leon-Rodriguez LM, Burgess SC, Sherry AD. Noninvasive MRI of β-cell function using a Zn2+-responsive contrast agent. Proc Natl Acad Sci USA 2011; 108: 18400-18405 [PMID: 22025712 DOI: 10.1073/pnas.1109649108]

62	Malaisse WJ, Maedler K. Imaging of the β-cells of the islets of Langerhans. Diabetes Res Clin Pract 2012; 98: 11-18 [PMID: 22854107 DOI: 10.1016/j.diabres.2012.07.001]

63	Denis MC, Mahmood U, Benoist C, Mathis D, Weissleder R. Imaging inflammation of the pancreatic islets in type 1 diabetes. Proc Natl Acad Sci USA 2004; 101: 12634-12639 [PMID: 15304647 DOI: 10.1073/pnas.0404307101]

64	Turvey SE, Swart E, Denis MC, Mahmood U, Benoist C, Weissleder R, Mathis D. Noninvasive imaging of pancreatic inflammation and its reversal in type 1 diabetes. J Clin Invest 2005; 115: 2454-2461 [PMID: 16110329]

65	Gaglia JL, Guimaraes AR, Harisinghani M, Turvey SE, Jackson R, Benoist C, Mathis D, Weissleder R. Noninvasive imaging of pancreatic islet inflammation in type 1A diabetes patients. J Clin Invest 2011; 121: 442-445 [PMID: 21123946 DOI: 10.1172/JCI44339]

66	Granot D, Shapiro EM. Release activation of iron oxide nanoparticles: (REACTION) a novel environmentally sensitive MRI paradigm. Magn Reson Med 2011; 65: 1253-1259 [PMID: 21360745 DOI: 10.1002/mrm.22839]

67	Garcia A, Venugopal A, Pan ML, Mukherjee J. Imaging pancreas in healthy and diabetic rodent model using [18F]fallypride positron emission tomography/computed tomography. Diabetes Technol Ther 2014; 16: 640-643 [PMID: 24828096 DOI: 10.1089/dia.2014.0041]

68	Eriksson O, Mintz A, Liu C, Yu M, Naji A, Alavi A. On the use of [18F]DOPA as an imaging biomarker for transplanted islet mass. Ann Nucl Med 2014; 28: 47-52 [PMID: 24166476 DOI: 10.1007/s12149-013-0779-4]

69	Sakata N, Yoshimatsu G, Tsuchiya H, Aoki T, Mizuma M, Motoi F, Katayose Y, Kodama T, Egawa S, Unno M. Imaging of transplanted islets by positron emission tomography, magnetic resonance imaging, and ultrasonography. Islets 2013; 5: 179-187 [PMID: 24231367 DOI: 10.4161/isl.26980]

70	Mogensen CE, Christensen CK, Vittinghus E. The stages in diabetic renal disease. With emphasis on the stage of incipient diabetic nephropathy. Diabetes 1983; 32 Suppl 2: 64-78 [PMID: 6400670]

71	Kleinman KS, Fine LG. Prognostic implications of renal hypertrophy in diabetes mellitus. Diabetes Metab Rev 1988; 4: 179-189 [PMID: 3281809]

72	Premaratne E, Macisaac RJ, Tsalamandris C, Panagiotopoulos S, Smith T, Jerums G. Renal hyperfiltration in type 2 diabetes: effect of age-related decline in glomerular filtration rate. Diabetologia 2005; 48: 2486-2493 [PMID: 16261309 DOI: 10.1007/s00125-005-0002-9]

73	Rigalleau V, Garcia M, Lasseur C, Laurent F, Montaudon M, Raffaitin C, Barthe N, Beauvieux MC, Vendrely B, Chauveau P, Combe C, Gin H. Large kidneys predict poor renal outcome in subjects with diabetes and chronic kidney disease. BMC Nephrol 2010; 11: 3 [PMID: 20199663 DOI: 10.1186/1471-2369-11-3]

74	Platt JF, Rubin JM, Ellis JH. Diabetic nephropathy: evaluation with renal duplex Doppler US. Radiology 1994; 190: 343-346 [PMID: 8284379 DOI: 10.1148/radiology.190.2.8284379]

75	Ries M, Basseau F, Tyndal B, Jones R, Deminière C, Catargi B, Combe C, Moonen CW, Grenier N. Renal diffusion and BOLD MRI in experimental diabetic nephropathy. Blood oxygen level-dependent. J Magn Reson Imaging 2003; 17: 104-113 [PMID: 12500279 DOI: 10.1002/jmri.1022]

76	Inoue T, Kozawa E, Okada H, Inukai K, Watanabe S, Kikuta T, Watanabe Y, Takenaka T, Katayama S, Tanaka J, Suzuki H. Noninvasive evaluation of kidney hypoxia and fibrosis using magnetic resonance imaging. J Am Soc Nephrol 2011; 22: 1429-1434 [PMID: 21757771 DOI: 10.1681/ASN.2010111143]

77	Lu L, Sedor JR, Gulani V, Schelling JR, O’Brien A, Flask CA, MacRae Dell K. Use of diffusion tensor MRI to identify early changes in diabetic nephropathy. Am J Nephrol 2011; 34: 476-482 [PMID: 22024476 DOI: 10.1159/000333044]

78	Cakmak P, Yağcı AB, Dursun B, Herek D, Fenkçi SM. Renal diffusion-weighted imaging in diabetic nephropathy: correlation with clinical stages of disease. Diagn Interv Radiol 2014; 20: 374-378 [PMID: 25010370 DOI: 10.5152/dir.13513]

79	Ryan JP, Fine DF, Rosano C. Type 2 diabetes and cognitive impairment: contributions from neuroimaging. J Geriatr Psychiatry Neurol 2014; 27: 47-55 [PMID: 24394151 DOI: 10.1177/0891988713516543]

80	Resnick SM, Pham DL, Kraut MA, Zonderman AB, Davatzikos C. Longitudinal magnetic resonance imaging studies of older adults: a shrinking brain. J Neurosci 2003; 23: 3295-3301 [PMID: 12716936]

81	Scahill RI, Frost C, Jenkins R, Whitwell JL, Rossor MN, Fox NC. A longitudinal study of brain volume changes in normal aging using serial registered magnetic resonance imaging. Arch Neurol 2003; 60: 989-994 [PMID: 12873856 DOI: 10.1001/archneur.60.7.989]

82	Wardlaw JM, Smith EE, Biessels GJ, Cordonnier C, Fazekas F, Frayne R, Lindley RI, O’Brien JT, Barkhof F, Benavente OR, Black SE, Brayne C, Breteler M, Chabriat H, Decarli C, de Leeuw FE, Doubal F, Duering M, Fox NC, Greenberg S, Hachinski V, Kilimann I, Mok V, Oostenbrugge Rv, Pantoni L, Speck O, Stephan BC, Teipel S, Viswanathan A, Werring D, Chen C, Smith C, van Buchem M, Norrving B, Gorelick PB, Dichgans M. Neuroimaging standards for research into small vessel disease and its contribution to ageing and neurodegeneration. Lancet Neurol 2013; 12: 822-838 [PMID: 23867200 DOI: 10.1016/S1474-4422(13)70124-8]

83	Kario K, Ishikawa J, Hoshide S, Matsui Y, Morinari M, Eguchi K, Ishikawa S, Shimada K. Diabetic brain damage in hypertension: role of renin-angiotensin system. Hypertension 2005; 45: 887-893 [PMID: 15824198 DOI: 10.1161/01.HYP.0000163460.07639.3f]

84	Rahman A, Moizuddin M, Ahmad M, Salim M. Vasculopathy in patients with diabetic foot using Doppler ultrasound. Pak J Med Sci 2009; 25: 428-433

85	Yoshida M, Mita T, Yamamoto R, Shimizu T, Ikeda F, Ohmura C, Kanazawa A, Hirose T, Kawamori R, Watada H. Combination of the Framingham risk score and carotid intima-media thickness improves the prediction of cardiovascular events in patients with type 2 diabetes. Diabetes Care 2012; 35: 178-180 [PMID: 22028278 DOI: 10.2337/dc11-1333]

86	Katakami N, Kaneto H, Shimomura I. Carotid ultrasonography: A potent tool for better clinical practice in diagnosis of atherosclerosis in diabetic patients. J Diabetes Investig 2014; 5: 3-13 [PMID: 24843729 DOI: 10.1111/jdi.12106]

87	Esposito K, Giugliano D, Nappo F, Marfella R. Regression of carotid atherosclerosis by control of postprandial hyperglycemia in type 2 diabetes mellitus. Circulation 2004; 110: 214-219 [PMID: 15197140 DOI: 10.1161/01.CIR.0000134501.57864.66]

88	Katakami N, Yamasaki Y, Hayaishi-Okano R, Ohtoshi K, Kaneto H, Matsuhisa M, Kosugi K, Hori M. Metformin or gliclazide, rather than glibenclamide, attenuate progression of carotid intima-media thickness in subjects with type 2 diabetes. Diabetologia 2004; 47: 1906-1913 [PMID: 15565373 DOI: 10.1007/s00125-004-1547-8]

89	Mita T, Watada H, Shimizu T, Tamura Y, Sato F, Watanabe T, Choi JB, Hirose T, Tanaka Y, Kawamori R. Nateglinide reduces carotid intima-media thickening in type 2 diabetic patients under good glycemic control. Arterioscler Thromb Vasc Biol 2007; 27: 2456-2462 [PMID: 17872451 DOI: 10.1161/ATVBAHA.107.152835]

90	Davidson M, Meyer PM, Haffner S, Feinstein S, D’Agostino R, Kondos GT, Perez A, Chen Z, Mazzone T. Increased high-density lipoprotein cholesterol predicts the pioglitazone-mediated reduction of carotid intima-media thickness progression in patients with type 2 diabetes mellitus. Circulation 2008; 117: 2123-2130 [PMID: 18413496 DOI: 10.1161/CIRCULATIONAHA.107.746610]

91	Scholte AJ, Schuijf JD, Kharagjitsingh AV, Jukema JW, Pundziute G, van der Wall EE, Bax JJ. Prevalence of coronary artery disease and plaque morphology assessed by multi-slice computed tomography coronary angiography and calcium scoring in asymptomatic patients with type 2 diabetes. Heart 2008; 94: 290-295 [PMID: 17646190 DOI: 10.1136/hrt.2007.121921]

92	Loffroy R, Bernard S, Sérusclat A, Boussel L, Bonnefoy E, D’Athis P, Moulin P, Revel D, Douek P. Noninvasive assessment of the prevalence and characteristics of coronary atherosclerotic plaques by multidetector computed tomography in asymptomatic type 2 diabetic patients at high risk of significant coronary artery disease: a preliminary study. Arch Cardiovasc Dis 2009; 102: 607-615 [PMID: 19786264 DOI: 10.1016/j.acvd.2009.04.007]

93	Maffei E, Seitun S, Nieman K, Martini C, Guaricci AI, Tedeschi C, Weustink AC, Mollet NR, Berti E, Grilli R, Messalli G, Cademartiri F. Assessment of coronary artery disease and calcified coronary plaque burden by computed tomography in patients with and without diabetes mellitus. Eur Radiol 2011; 21: 944-953 [PMID: 21063711 DOI: 10.1007/s00330-010-1996-z]

94	Kerwin WS, Oikawa M, Yuan C, Jarvik GP, Hatsukami TS. MR imaging of adventitial vasa vasorum in carotid atherosclerosis. Magn Reson Med 2008; 59: 507-514 [PMID: 18306402 DOI: 10.1002/mrm.21532]

95	Ng AC, Delgado V, Djaberi R, Schuijf JD, Boogers MJ, Auger D, Bertini M, de Roos A, van der Meer RW, Lamb HJ, Bax JJ. Multimodality imaging in diabetic heart disease. Curr Probl Cardiol 2011; 36: 9-47 [PMID: 21147361 DOI: 10.1016/j.cpcardiol.2010.10.001]

96	Medarova Z, Greiner DL, Ifediba M, Dai G, Bolotin E, Castillo G, Bogdanov A, Kumar M, Moore A. Imaging the pancreatic vasculature in diabetes models. Diabetes Metab Res Rev 2011; 27: 767-772 [PMID: 22069257 DOI: 10.1002/dmrr.1249]

97	Sandler S, Jansson L. Vascular permeability of pancreatic islets after administration of streptozotocin. Virchows Arch A Pathol Anat Histopathol 1985; 407: 359-367 [PMID: 2413613]

98	De Paepe ME, Corriveau M, Tannous WN, Seemayer TA, Colle E. Increased vascular permeability in pancreas of diabetic rats: detection with high resolution protein A-gold cytochemistry. Diabetologia 1992; 35: 1118-1124 [PMID: 1478363]

99	Ehses J, Calderari S, Irminger J, Serradas P, Giroix MH, Egli A, Portha B, Delarche MYD. Islet inflammation in type 2 diabetes (T2D): From endothelial to β-cell dysfunction. Curr Immunol Rev 2007; 3: 216-232 [DOI: 10.2174/157339507781483478]

100	Kim TN, Kim S, Yang SJ, Yoo HJ, Seo JA, Kim SG, Kim NH, Baik SH, Choi DS, Choi KM. Vascular inflammation in patients with impaired glucose tolerance and type 2 diabetes: analysis with 18F-fluorodeoxyglucose positron emission tomography. Circ Cardiovasc Imaging 2010; 3: 142-148 [PMID: 20061516 DOI: 10.1161/CIRCIMAGING.109.888909]

101	Nawaz A, Saboury B, Basu S, Zhuang H, Moghadam-Kia S, Werner T, Mohler ER, Torigian DA, Alavi A. Relation between popliteal-tibial artery atherosclerosis and global glycolytic metabolism in the affected diabetic foot: a pilot study using quantitative FDG-PET. J Am Podiatr Med Assoc 2012; 102: 240-246 [PMID: 22659767]

102	Joshi NV, Vesey AT, Williams MC, Shah AS, Calvert PA, Craighead FH, Yeoh SE, Wallace W, Salter D, Fletcher AM, van Beek EJ, Flapan AD, Uren NG, Behan MW, Cruden NL, Mills NL, Fox KA, Rudd JH, Dweck MR, Newby DE. 18F-fluoride positron emission tomography for identification of ruptured and high-risk coronary atherosclerotic plaques: a prospective clinical trial. Lancet 2014; 383: 705-713 [PMID: 24224999 DOI: 10.1016/S0140-6736(13)61754-7]

103	Trivedi RA, U-King-Im JM, Graves MJ, Cross JJ, Horsley J, Goddard MJ, Skepper JN, Quartey G, Warburton E, Joubert I, Wang L, Kirkpatrick PJ, Brown J, Gillard JH. In vivo detection of macrophages in human carotid atheroma: temporal dependence of ultrasmall superparamagnetic particles of iron oxide-enhanced MRI. Stroke 2004; 35: 1631-1635 [PMID: 15166394 DOI: 10.1161/01.STR.0000131268.50418.b7]

104	McAteer MA, Sibson NR, von Zur Muhlen C, Schneider JE, Lowe AS, Warrick N, Channon KM, Anthony DC, Choudhury RP. In vivo magnetic resonance imaging of acute brain inflammation using microparticles of iron oxide. Nat Med 2007; 13: 1253-1258 [PMID: 17891147 DOI: 10.1038/nm1631]

105	Morishige K, Kacher DF, Libby P, Josephson L, Ganz P, Weissleder R, Aikawa M. High-resolution magnetic resonance imaging enhanced with superparamagnetic nanoparticles measures macrophage burden in atherosclerosis. Circulation 2010; 122: 1707-1715 [PMID: 20937980 DOI: 10.1016/CIRCULATIONAHA.109.891804]

106	Nahrendorf M, Zhang H, Hembrador S, Panizzi P, Sosnovik DE, Aikawa E, Libby P, Swirski FK, Weissleder R. Nanoparticle PET-CT imaging of macrophages in inflammatory atherosclerosis. Circulation 2008; 117: 379-387 [PMID: 18158358 DOI: 10.1161/CIRCULATIONAHA.107.741181]

107	Jefferson A, Wijesurendra RS, McAteer MA, Digby JE, Douglas G, Bannister T, Perez-Balderas F, Bagi Z, Lindsay AC, Choudhury RP. Molecular imaging with optical coherence tomography using ligand-conjugated microparticles that detect activated endothelial cells: rational design through target quantification. Atherosclerosis 2011; 219: 579-587 [PMID: 21872249 DOI: 10.1016/j.atherosclerosis.2011.07.127]

108	Makowski MR, Wiethoff AJ, Blume U, Cuello F, Warley A, Jansen CH, Nagel E, Razavi R, Onthank DC, Cesati RR, Marber MS, Schaeffter T, Smith A, Robinson SP, Botnar RM. Assessment of atherosclerotic plaque burden with an elastin-specific magnetic resonance contrast agent. Nat Med 2011; 17: 383-388 [PMID: 21336283 DOI: 10.1038/nm.2310]

109	Ripa RS, Knudsen A, Hag AM, Lebech AM, Loft A, Keller SH, Hansen AE, von Benzon E, Højgaard L, Kjær A. Feasibility of simultaneous PET/MR of the carotid artery: first clinical experience and comparison to PET/CT. Am J Nucl Med Mol Imaging 2013; 3: 361-371 [PMID: 23900769]

110	Beer AJ, Pelisek J, Heider P, Saraste A, Reeps C, Metz S, Seidl S, Kessler H, Wester HJ, Eckstein HH, Schwaiger M. PET/CT imaging of integrin αvβ3 expression in human carotid atherosclerosis. JACC Cardiovasc Imaging 2014; 7: 178-187 [PMID: 24412187 DOI: 10.1016/j.jcmg2013.12.003]

111	Chan JM, Monaco C, Wylezinska-Arridge M, Tremoleda JL, Gibbs RG. Imaging of the vulnerable carotid plaque: biological targeting of inflammation in atherosclerosis using iron oxide particles and MRI. Eur J Vasc Endovasc Surg 2014; 47: 462-469 [PMID: 24594295 DOI: 10.1016/j.ejvs.2014.01.017]

112	Boulton AJ, Armstrong DG, Albert SF, Frykberg RG, Hellman R, Kirkman MS, Lavery LA, LeMaster JW, Mills JL, Mueller MJ, Sheehan P, Wukich DK. Comprehensive foot examination and risk assessment. Endocr Pract 2008; 14: 576-583 [PMID: 18753100 DOI: 10.4158/EP.14.5.576]

113	Gupta SK, Singh SK. Diabetic foot: a continuing challenge. Adv Exp Med Biol 2012; 771: 123-138 [PMID: 23393676]

114	Yudovsky D, Nouvong A, Pilon L. Hyperspectral imaging in diabetic foot wound care. J Diabetes Sci Technol 2010; 4: 1099-1113 [PMID: 20920429 DOI: 10.1177/193229681000400508]

115	Ertugrul BM, Lipsky BA, Savk O. Osteomyelitis or Charcot neuro-osteoarthropathy? Differentiating these disorders in diabetic patients with a foot problem. Diabet Foot Ankle 2013; 4: [PMID: 24205433 DOI: 10.3402/dfa.v4i0.21855]

116	Israel O, Sconfienza LM, Lipsky BA. Diagnosing diabetic foot infection: the role of imaging and a proposed flow chart for assessment. Q J Nucl Med Mol Imaging 2014; 58: 33-45 [PMID: 24231797]

117	Valabhji J, Oliver N, Samarasinghe D, Mali T, Gibbs RG, Gedroyc WM. Conservative management of diabetic forefoot ulceration complicated by underlying osteomyelitis: the benefits of magnetic resonance imaging. Diabet Med 2009; 26: 1127-1134 [PMID: 19929991 DOI: 10.1111/j.1464-5491.2009.02828.x]

118	Sanlı Y, Ozkan ZG, Unal SN, Türkmen C, Kılıçoğlu O. The Additional Value of Tc 99m HMPAO White Blood Cell SPECT in the Evaluation of Bone and Soft Tissue Infections. Mol Imaging Radionucl Ther 2011; 20: 7-13 [PMID: 23486782 DOI: 10.4274/MIRT.20.02]

119	Treglia G, Sadeghi R, Annunziata S, Zakavi SR, Caldarella C, Muoio B, Bertagna F, Ceriani L, Giovanella L. Diagnostic performance of Fluorine-18-Fluorodeoxyglucose positron emission tomography for the diagnosis of osteomyelitis related to diabetic foot: a systematic review and a meta-analysis. Foot (Edinb) 2013; 23: 140-148 [PMID: 23906976 DOI: 10.1016/j.foot.2013.07.002]

120	Miki T, Yuda S, Kouzu H, Miura T. Diabetic cardiomyopathy: pathophysiology and clinical features. Heart Fail Rev 2013; 18: 149-166 [PMID: 22453289 DOI: 10.1007/s10741-012-9313-3]

121	Pappachan JM, Varughese GI, Sriraman R, Arunagirinathan G. Diabetic cardiomyopathy: Pathophysiology, diagnostic evaluation and management. World J Diabetes 2013; 4: 177-189 [PMID: 24147202 DOI: 10.4239/wjd.v4.i5.177]

122	Yoon YE, Kitagawa K, Kato S, Nakajima H, Kurita T, Dohi K, Ito M, Sakuma H. Prognostic value of unrecognised myocardial infarction detected by late gadolinium-enhanced MRI in diabetic patients with normal global and regional left ventricular systolic function. Eur Radiol 2013; 23: 2101-2108 [PMID: 23553584 DOI: 10.1007/s00330-013-2817-y]

123	Sasso FC, Rambaldi PF, Carbonara O, Nasti R, Torella M, Rotondo A, Torella R, Mansi L. Perspectives of nuclear diagnostic imaging in diabetic cardiomyopathy. Nutr Metab Cardiovasc Dis 2010; 20: 208-216 [PMID: 19939648 DOI: 10.1016/j.numecd.2009.08.013]

124	Yoshinaga K, Tomiyama Y, Suzuki E, Tamaki N. Myocardial blood flow quantification using positron-emission tomography: analysis and practice in the clinical setting. Circ J 2013; 77: 1662-1671 [PMID: 23698028 DOI: 10.1253/circj.CJ-13-0235]

125	Knaapen P, de Haan S, Hoekstra OS, Halbmeijer R, Appelman YE, Groothuis JG, Comans EF, Meijerink MR, Lammertsma AA, Lubberink M, Götte MJ, van Rossum AC. Cardiac PET-CT: advanced hybrid imaging for the detection of coronary artery disease. Neth Heart J 2010; 18: 90-98 [PMID: 20200615]

126	Rana JS, Rozanski A, Berman DS. Combination of myocardial perfusion imaging and coronary artery calcium scanning: potential synergies for improving risk assessment in subjects with suspected coronary artery disease. Curr Atheroscler Rep 2011; 13: 381-389 [PMID: 21826479 DOI: 10.1007/s11883-011-0192-1]

127	Vinik AI, Ziegler D. Diabetic cardiovascular autonomic neuropathy. Circulation 2007; 115: 387-397 [PMID: 17242296 DOI: 10.1161/CIRCULATIONAHA.106.634949]

128	Glowniak JV, Kilty JE, Amara SG, Hoffman BJ, Turner FE. Evaluation of metaiodobenzylguanidine uptake by the norepinephrine, dopamine and serotonin transporters. J Nucl Med 1993; 34: 1140-1146 [PMID: 8315492]

129	Raffel DM, Wieland DM. Development of mIBG as a cardiac innervation imaging agent. JACC Cardiovasc Imaging 2010; 3: 111-116 [PMID: 20129540 DOI: 10.1016/j.cmg.2009.09.015]

130	Allman KC, Stevens MJ, Wieland DM, Hutchins GD, Wolfe ER, Greene DA, Schwaiger M. Noninvasive assessment of cardiac diabetic neuropathy by carbon-11 hydroxyephedrine and positron emission tomography. J Am Coll Cardiol 1993; 22: 1425-1432 [PMID: 8227801 DOI: 10.1016/0735-1097(93)90553-D]

131	Ji SY, Travin MI. Radionuclide imaging of cardiac autonomic innervation. J Nucl Cardiol 2010; 17: 655-666 [PMID: 20454877 DOI: 10.1007/s12350-010-9239-x]

132	Raffel DM, Koeppe RA, Jung YW, Gu G, Jang KS, Sherman PS, Quesada CA. Quantification of cardiac sympathetic nerve density with N-11C-guanyl-meta-octopamine and tracer kinetic analysis. J Nucl Med 2013; 54: 1645-1652 [PMID: 23886728 DOI: 10.2967/jnumed.113.120659]

133	Higuchi T, Yousefi BH, Kaiser F, Gärtner F, Rischpler C, Reder S, Yu M, Robinson S, Schwaiger M, Nekolla SG. Assessment of the 18F-labeled PET tracer LMI1195 for imaging norepinephrine handling in rat hearts. J Nucl Med 2013; 54: 1142-1146 [PMID: 23670901 DOI: 10.2967/jnumed.112.104232]

134	Zib I, Jacob AN, Lingvay I, Salinas K, McGavock JM, Raskin P, Szczepaniak LS. Effect of pioglitazone therapy on myocardial and hepatic steatosis in insulin-treated patients with type 2 diabetes. J Investig Med 2007; 55: 230-236 [PMID: 17850734]

135	van der Meer RW, Rijzewijk LJ, de Jong HW, Lamb HJ, Lubberink M, Romijn JA, Bax JJ, de Roos A, Kamp O, Paulus WJ, Heine RJ, Lammertsma AA, Smit JW, Diamant M. Pioglitazone improves cardiac function and alters myocardial substrate metabolism without affecting cardiac triglyceride accumulation and high-energy phosphate metabolism in patients with well-controlled type 2 diabetes mellitus. Circulation 2009; 119: 2069-2077 [PMID: 19349323 DOI: 10.1161/CIRCULATIONAHA.108.803916]

136	Lim S, Meigs JB. Ectopic fat and cardiometabolic and vascular risk. Int J Cardiol 2013; 169: 166-176 [PMID: 24063931 DOI: 10.1016/j.ijcard.2013.08.077]

137	Lim S. Ectopic fat assessment focusing on cardiometabolic and renal risk. Endocrinol Metab (Seoul) 2014; 29: 1-4 [PMID: 24741447 DOI: 10.3803/EnM.2014.29.1.1]

138	Toombs RJ, Ducher G, Shepherd JA, De Souza MJ. The impact of recent technological advances on the trueness and precision of DXA to assess body composition. Obesity (Silver Spring) 2012; 20: 30-39 [PMID: 21760631 DOI: 10.1038/oby.2011.211]

139	Kaul S, Rothney MP, Peters DM, Wacker WK, Davis CE, Shapiro MD, Ergun DL. Dual-energy X-ray absorptiometry for quantification of visceral fat. Obesity (Silver Spring) 2012; 20: 1313-1318 [PMID: 22282048 DOI: 10.1038/oby.2011.393]

140	Bazzocchi A, Diano D, Ponti F, Salizzoni E, Albisinni U, Marchesini G, Battista G. A 360-degree overview of body composition in healthy people: relationships among anthropometry, ultrasonography, and dual-energy x-ray absorptiometry. Nutrition 2014; 30: 696-701 [PMID: 24800668 DOI: 10.1016/j.nut.2013.11.013]

141	Jung CH, Kim BY, Kim KJ, Jung SH, Kim CH, Kang SK, Mok JO. Contribution of subcutaneous abdominal fat on ultrasonography to carotid atherosclerosis in patients with type 2 diabetes mellitus. Cardiovasc Diabetol 2014; 13: 67 [PMID: 24678948 DOI: 10.1186/1475-2840-13-67]

142	Onitsuka Y, Takeshima F, Ichikawa T, Kohno S, Nakao K. Estimation of visceral fat and fatty liver disease using ultrasound in patients with diabetes. Intern Med 2014; 53: 545-553 [PMID: 24633023 DOI: 10.2169/internalmedicine.53.1294]

143	Webb M, Yeshua H, Zelber-Sagi S, Santo E, Brazowski E, Halpern Z, Oren R. Diagnostic value of a computerized hepatorenal index for sonographic quantification of liver steatosis. AJR Am J Roentgenol 2009; 192: 909-914 [PMID: 19304694 DOI: 10.2214/AJR.07.4016]

144	Janica J, Ustymowicz A, Lukasiewicz A, Panasiuk A, Niemcunowicz-Janica A, Turecka-Kulesza E, Lebkowska U. Comparison of contrast-enhanced ultrasonography with grey-scale ultrasonography and contrast-enhanced computed tomography in diagnosing focal fatty liver infiltrations and focal fatty sparing. Adv Med Sci 2013; 58: 408-418 [PMID: 24133114 DOI: 10.2478/ams-2013-0027]

145	Kodama Y, Ng CS, Wu TT, Ayers GD, Curley SA, Abdalla EK, Vauthey JN, Charnsangavej C. Comparison of CT methods for determining the fat content of the liver. AJR Am J Roentgenol 2007; 188: 1307-1312 [PMID: 17449775 DOI: 10.2214/AJR.06.0992]

146	van Werven JR, Marsman HA, Nederveen AJ, Smits NJ, ten Kate FJ, van Gulik TM, Stoker J. Assessment of hepatic steatosis in patients undergoing liver resection: comparison of US, CT, T1-weighted dual-echo MR imaging, and point-resolved 1H MR spectroscopy. Radiology 2010; 256: 159-168 [PMID: 20574093 DOI: 10.1148/radiol.10091790]

147	Singh D, Das CJ, Baruah MP. Imaging of non alcoholic fatty liver disease: A road less travelled. Indian J Endocrinol Metab 2013; 17: 990-995 [PMID: 24381873 DOI: 10.4103/2230-8210.122606]

148	Arifin DR, Long CM, Gilad AA, Alric C, Roux S, Tillement O, Link TW, Arepally A, Bulte JW. Trimodal gadolinium-gold microcapsules containing pancreatic islet cells restore normoglycemia in diabetic mice and can be tracked by using US, CT, and positive-contrast MR imaging. Radiology 2011; 260: 790-798 [PMID: 21734156 DOI: 10.1148/radiol.11101608]

149	Barnett BP, Ruiz-Cabello J, Hota P, Liddell R, Walczak P, Howland V, Chacko VP, Kraitchman DL, Arepally A, Bulte JW. Fluorocapsules for improved function, immunoprotection, and visualization of cellular therapeutics with MR, US, and CT imaging. Radiology 2011; 258: 182-191 [PMID: 20971778 DOI: 10.1148/radiol.10092339]

150	Wang P, Yigit MV, Medarova Z, Wei L, Dai G, Schuetz C, Moore A. Combined small interfering RNA therapy and in vivo magnetic resonance imaging in islet transplantation. Diabetes 2011; 60: 565-571 [PMID: 21270267 DOI: 10.2337/db10-1400]

151	Wang P, Yigit MV, Ran C, Ross A, Wei L, Dai G, Medarova Z, Moore A. A theranostic small interfering RNA nanoprobe protects pancreatic islet grafts from adoptively transferred immune rejection. Diabetes 2012; 61: 3247-3254 [PMID: 22923469 DOI: 10.2337/db12-0441]

Footnotes

Supported by Consiglio Nazionale delle Ricerche, Italy, No. CNR-DG.RSTL.035.007-035.

Conflict-of-interest: The authors declare that they have no competing interests.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: August 31, 2014

First decision: December 17, 2014

Article in press: April 14, 2015

P- Reviewer: Navedo M    S- Editor: Gong XM    L- Editor: A    E- Editor: Wang CH

# Text boxes

Table 3  Synopsis of imaging modalities and their applications in diabetes

|  | SPECT/PET | CT | MR | US | Optical | Application |
| --- | --- | --- | --- | --- | --- | --- |
| Pancreas (-cell function) | [18F]-tracer |  | MRI |  | Luminescence | Mainly preclinical[61,62] |
| Pancreas (transplant/ inflammation) | [18F]-tracer |  | MRI | High-frequency |  | Preclinical and clinical[63-68] |
| Kidney |  |  | MRI/BOLD-MRI | B-mode/Doppler |  | Clinical[70-78] |
| Brain | [123I]- and [99Tc]-tracer |  | MRI/MRS | Doppler |  | Clinical[22,82,83] |
| Vessels/atherosclerosis | [18F]-tracer | Angio-CT | MRI | B-mode |  | Clinical[85-95,100-106] |
| Ulcerations | [99Tc]-tracer | Hybrid SPECT/CT | MRI | Doppler | HIS | Clinical[113,114,116,117] |
| Heart | [18F]-, [123I]- [11C]-tracer | Hybrid PET/CT | MRI/MRS | Doppler |  | Clinical[95,120-126,130,131,134,135] |
| Visceral fat |  | CT/dual energy CT | MRI/MRS | B-mode |  | Clinical[142,145,146] |

SPECT: Single-photon emission computed tomography; PET: Positron emission tomography; CT: Computed tomography; MRI: Magnetic resonance imaging; US: Ultrasound; MRS: Magnetic resonance spectroscopy; BOLD: Blood-oxygen-level-dependent; HIS: Hyperspectral imaging.

Table 2  Main nuclides used in nuclear medicine to label radiopharmaceuticals

| SPECT | PET |
| --- | --- |
| Nuclide | Half-life |  (KeV%) | Nuclide | Half-life | + (KeV%) |
| 99mTc | 6.02 h | 89 | 18F | 109.8 min | 96.9 |
| 111In | 2.83 d | 90.2 | 11C | 20.4 min | 99.7 |
| 123I | 13.2 h | 83 | 13N | 9.98 min | 99.8 |
| 125I | 60.14 d | 6.5 | 15O | 2.03 min | 99.9 |
|  |  |  | 124I | 4.18 d | 25.0 |
|  |  |  | 64Cu | 12.7 h | 17.9 |
|  |  |  | 68Ga | 68 min | 90.0 |
|  |  |  | 82Rb | 1.2 min | 99.9 |

Radiation types: : Isomeric transition (gamma) decay; +: Positron decay; KeV%: Percentage of energy per decay. SPECT: Single-photon emission computed tomography; PET: Positron emission tomography.

Table 1  Relevant features of the most common imaging modalities

| Imaging modality | Anatomy | Metabolism/ function | Spatial resolution | Weakness |
| --- | --- | --- | --- | --- |
| SPECT | Poor | Yes | 0.3-3 mm | Radiation |
| PET | Poor | Yes | 1-4 mm | Radiation |
| CT | Yes | Yes | 0.5-1 mm | Radiation |
| MRI | Yes | Yes | 50-500 m | Expensive |
| Ultrasound | Yes | Yes | Approximately 200 m | Poor depth penetration |
| Optical | Poor | Yes | 0.1-10 mm | Poor depth penetration |

SPECT: Single-photon emission computed tomography; PET: Positron emission tomography; CT: Computed tomography; MRI: Magnetic resonance imaging.