Name of journal: World Journal of Orthopedics

ESPS Manuscript NO: 1436

Columns: BRIEF ARTICLE

Errors in visual estimation of flexion contractures during total knee arthroplasty

Jacobs CA et al. Errors in visual estimation of flexion contractures during TKA

Cale A Jacobs, Christian P Christensen, Peter W Hester, David M Burandt, Aaron D Sciascia

Cale A Jacobs, Christian P Christensen, Peter W Hester, David M Burandt, Aaron D Sciascia, Lexington Clinic, Lexington, KY 40504, United States

Author contributions: All the authors contributed to this article.

Correspondence to: Cale A Jacobs, PhD, Lexington Clinic, 700 Bob-O-Link Dr., Lexington, KY 40504, United States. calejacobs@hotmail.com

Telephone: +1-859-2588238     Fax: +1-859-2588565

Received: December 11, 2012     Revised: April 23, 2013

Accepted: May 9, 2013

Published online:

Abstract

AIM: To quantify and reduce the errors in visual estimation of knee flexion contractures during total knee arthroplasty (TKA).

METHODS: This study was divided into two parts: Quantification of error and reduction of error. To quantify error, 3 orthopedic surgeons visually estimated preoperative knee flexion contractures from lateral digital images of 23 patients prior to and after surgical draping. A repeated-measure analysis of variance was used to compare the estimated angles prior to and following the placement of the surgical drapes with the true knee angle measured with a long-arm goniometer. In an effort to reduce the error of visual estimation, a dual set of inclinometers were developed to improve intra-operative measurement of knee flexion contracture during TKA. A single surgeon performed 6 knee extension measurements with the device during 146 consecutive TKA cases. Three measurements were taken with the desired tibial liner trial thickness, and 3 were taken with a trial that was 2 mm thicker. An intraclass correlation coefficient (ICC) was calculated to assess the test-retest reliability for the 3 measurements taken with the desired liner thickness, and a paired t-test was used to determine if the knee extension measurements differed when a thicker tibial trial liner was placed.

RESULTS: The surgeons significantly overestimated flexion contractures in 23 TKAs prior to draping and significantly underestimated the contractures after draping (actual knee angle = 6.1˚ ± 6.4˚, pre-drape estimate = 6.9˚ ± 6.8˚, post-drape estimate = 4.3˚ ± 6.1˚, P = 0.003). Following the development and application of the measurement devices, the measurements were highly reliable (ICC = 0.98), and the device indicated that 2.7˚ ± 2.2˚ of knee extension was lost with the insertion of a 2 mm thicker tibial liner. The device failed to detect a difference in knee extension angle with the insertion of the 2 mm thicker liner in 9/146 cases (6.2%).

CONCLUSION: We determined the amount of error associated with visual estimation of knee flexion contractures, and developed a simple, reliable device and method to improve feedback related to sagittal alignment during TKA.

© 2013 Baishideng. All rights reserved.

Key words: Extension; Knee; Arthroplasty; Flexion contracture

Core tip: Fixed flexion contractures of even 1˚ have been reported to result in inferior outcomes after total knee arthroplasty. Despite the importance of correcting flexion deformities during surgery, the knee angle is often estimated visually. We developed an intraoperative measurement device that was highly reliably (ICC = 0.98) and was able to detect a loss of knee extension with the placement of a 2 mm thicker trial polyethylene liner in 93.8% of cases.

Jacobs CA, Christensen CP, Hester PW, Burandt DM, Sciascia AD. Errors in visual estimation of flexion contractures during total knee arthroplasty.

Available from:

DOI:

INTRODUCTION

During total knee arthroplasty (TKA), surgeons often visually evaluate the angle of knee extension when determining if additional soft tissue releases or bony resection are required to correct flexion contractures. However, with the knee draped and tourniquet inflated, errors in the estimation of knee extension angle may occur as the surgeon can no longer visualize the location of the hip joint. The purposes of this two-part study were to (1) determine the effect of surgical draping and tourniquet inflation on visual estimation of knee flexion contractures, and (2) develop and evaluate an inexpensive manual tool to provide surgeons with accurate and reliable measures of knee extension angle during TKA.

MATERIALS AND METHODS

Patients electing to undergo primary TKA (n = 23, age = 64.5 ± 10.9 years, body mass index = 32.2 ± 5.9 kg/m2) volunteered to participate in this IRB-approved study designed to better understand the magnitude of errors in visual estimation of knee flexion contractures during TKA. Once the patient had been anesthetized and in a supine position, a member of the surgical team lifted the operative limb into 20˚-30˚ of hip flexion with the foot rotated so that the second toe was pointed towards the ceiling in order to neutral align the joint. The preoperative knee flexion contracture was then measured using a long-arm goniometer prior to the placement of surgical draping and tourniquet. Digital photographs of the lateral aspect of the surgical limb were taken prior to and after the placement of standard surgical drapes and inflation of the tourniquet. The camera location for all of the photographs was perpendicular to the operative leg and consistently placed 183 cm from the table. The knee was centered within the camera’s field of view, and the hip, knee, and ankle were fully visible prior to draping, after the knee had been partially draped, and after the knee had been fully draped and the tourniquet inflated.

Three board-certified orthopedic surgeons individually estimated the degree of knee flexion contracture from each of the photographs. The order of the resulting 69 images was randomized and the surgeons were blinded to their previous responses as well as the responses of the other surgeons. A repeated-measure analysis of variance (ANOVA) was used to compare the estimated angles prior to and following the placement of the surgical drapes and tourniquet inflation with the preoperative flexion contracture measured with the long-arm goniometer.

The aforementioned results demonstrated a need to reduce the risk of uncorrected flexion contractures by providing surgeons with more accurate and reliable methods to measure knee flexion contractures during TKA. A simple, inexpensive tool that consisted of two inclinometers, both of which featured a freely moving indicator angle indicator arm with an inferior counterweight was developed (Biomet, Warsaw, IN). After placement of the trial components, the inclinometers were used to measure the resulting degree of flexion contracture. The tibial inclinometer was designed to slide over the handle of the tibial trial inserter, and a set screw was tightened to ensure that it was properly fixed to the handle of the inserter. A drill pin was then inserted into the femoral trial, and the femoral inclinometer was placed on the drill pin (Figure 1). As the leg was positioned in approximately 30˚ of hip flexion, the degree of knee flexion contracture was measured as the difference between the 2 angles indicated on the tibial and femoral inclinometers. Simply put, if the two inclinometers were divergent when viewing from the lateral aspect of the knee, then full extension had not been achieved whereas if the two inclinometers were convergent, then the knee was in hyperextension. Full extension (0˚) was present if the two were parallel.

The resulting value was the combination of the angular difference between the femur and tibia, but also included the relative degree of flexion or extension of the femoral component and the degree of posterior slope of the proximal tibial cut (Figure 2). For example, a surgeon performing cruciate-retaining TKA preferred to make the proximal tibial cut with 3˚ of posterior slope. If in this example the femoral component was properly aligned in the sagittal plane (neither flexed nor extended), then the difference between the study device’s two inclinometers would be-3˚ (the two pins would be convergent indicating hyperextension). The knee itself; however, would truly be in full extension (0˚) as the 3˚ posterior slope of the tibial component would create the appearance of hyperextension.

Statistical analysis

To evaluate the efficacy of this device, we evaluated the consistency of measurement and the ability to detect a change in angle. A single surgeon performed 6 knee flexion contracture measurements with the study device during 146 TKA procedures (141 patients). Three of the measurements were made with the intended polyethylene thickness, and 3 measurements were taken with the insertion of a trial liner that was 2 mm thicker than the intended liner. An intraclass correlation coefficient (ICC) was calculated to assess the test-retest reliability for the 3 repeated flexion contracture measurements. To evaluate ability to detect a change in knee angle, we compared the measurements with the 2 different liner thicknesses using a paired t-test. All statistical analyses were performed using SPSS Statistics version 20 (IBM, Armonk, NY, United States).

RESULTS

Prior to draping, the surgeons significantly overestimated the degree of flexion contracture but significantly underestimated the degree of contracture after draping (goniometric measurement = 6.1˚ ± 6.4˚, pre-drape visual estimate = 6.9˚ ± 6.8˚, post-drape visual estimate = 4.3˚± 6.1˚, P = 0.003).

When evaluating the novel intraoperative measurement device, the measurements were highly reliable (ICC = 0.98), and the device indicated that 2.7˚ ± 2.2˚ of knee extension was lost with the insertion of a 2 mm thicker tibial liner. The device failed to detect a difference with the insertion of the 2 mm thicker liner in 9/146 cases (6.2%).

DISCUSSION

The purposes of this two-part study were to determine the effect of surgical draping and tourniquet inflation on visual estimation of knee flexion contractures, and develop and evaluate an inexpensive manual tool to provide surgeons with accurate and reliable measures of knee extension angle during TKA. It was evident after Part I of this study that the ability to correctly estimate the degree of extension during TKA becomes more difficult when the knee is draped.

On average, the three study surgeons visually estimated the knee extension angle to be 2.6˚ less when the knee was draped compared to estimates made prior to draping. This highlights the need for an intraoperative technique that allows more accurately evaluation of sagittal alignment to avoid fixed flexion contractures. Postoperative flexion contractures of even 1˚ may negatively affect clinical outcomes[1-6]. By limiting a patient’s ability to properly accept weight during gait, flexion contractures cause patients to walk with a bent-knee gait, increasing contact forces in the patellofemoral joint of the involved knee[7,8]. Furthermore, postoperative flexion contractures have been demonstrated to create mechanical overloading of the contralateral knee during gait, potentially contributing to the progression of osteoarthritis in the contralateral knee[9]. As such, great care should be taken to properly correct flexion contractures during TKA.

The novel device used in this study provided a consistent method to intraoperatively measure knee flexion contractures without the added expense or operative time associated with computer-assisted navigation or other electronic sensors.

COMMENTS

Background

Fixed flexion contractures of even 1˚ have been reported to result in inferior outcomes after total knee arthroplasty (TKA). Despite the importance of correcting flexion deformities during surgery, the knee angle is often estimated visually.

Research frontiers

When visually estimating knee flexion contractures, surgeons significantly underestimated the contractures after draping.

Innovations and breakthroughs

The authors developed an intraoperative measurement device that was highly reliably and was able to detect a loss of knee extension with the placement of a 2 mm thicker trial polyethylene liner in 93.8% of cases.

Applications

The simple, inexpensive device used in this study may allow surgeons to more consistently correct flexion deformities during TKA.

Peer review

This is a well done, interesting paper, presenting strong data.

REFERENCES

1 Ritter MA, Lutgring JD, Davis KE, Berend ME. The effect of postoperative range of motion on functional activities after posterior cruciate-retaining total knee arthroplasty. J Bone Joint Surg Am 2008; 90: 777-784 [PMID: 18381316 DOI: 10.2106/JBJS.F.01022]

2 Ritter MA, Lutgring JD, Davis KE, Berend ME, Pierson JL, Meneghini RM. The role of flexion contracture on outcomes in primary total knee arthroplasty. J Arthroplasty 2007; 22: 1092-1096 [PMID: 18078875 DOI: 10.1016/j.arth.2006.11.009]

3 Dempsey AL, Branch TP, Mills T, Karsch RM. High-intensity mechanical therapy for loss of knee extension for worker's compensation and non-compensation patients. Sports Med Arthrosc Rehabil Ther Techn 2010; 2: 26 [DOI: 10.1186/1758-2555-2-26]

4 Uhl TL, Jacobs CA. Torque measures of common therapies for the treatment of flexion contractures. J Arthroplasty 2011; 26: 328-34 [DOI: 10.1016/j.arth.2009.12.007]

5 Seyler TM, Marker DR, Bhave A, Plate JF, Marulanda GA, Bonutti PM. Functional problems and arthrofibrosis following total knee arthroplasty. J Bone Joint Surg (Am) 2007; 89: 59-69 [DOI: 10.2106/JBUS.G.00457]

6 Padua M, Ceccarelli E, Bondi R, Campi A, Padua L. Range of motion correlates with patient perception of TKA outcome. Clin Orthop Related Res 2007; 460: 174-177 [DOI: 10.1097/BLO.0b013e318046ccb7]

7 Perry J. Pathologic gait. Instr Course Lect 1990; 39: 325-331 [PMID: 2186119]

8 Sachs RA, Daniel DM, Stone ML, Garfein RF. Patellofemoral problems after anterior cruciate ligament reconstruction. Am J Sports Med 1989; 17: 760-765 [PMID: 2624287 DOI: 10.1177/036354658901700606]

9 Harato K, Nagura T, Matsumoto H, Otani T, Toyama Y, Suda Y. Extension limitation in standing affects weight-bearing asymmetry after unilateral total knee arthroplasty. J Arthroplasty 2010; 25: 225-229 [PMID: 19264442 DOI: 10.1016/j.arth.2009.02.003]

P-Reviewers Trieb K, Grote S S-Editor  Huang XZ      L-Editor    E-Editor

Figure 1 Intraoperative use of the knee flexion contracture measuring device.

Figure 2 The effect of posterior slope of the proximal tibial cut on the measurements with the study device. If the femoral and tibial components were both placed perpendicular to the long axis of each bone as pictured, then the study device would indicate the presence of a 5˚ flexion contracture. However, if the proximal tibia was cut with 5˚ of posterior slope, it would give the false impression that full extension had been achieved as the two inclinometers would be parallel.