| Improved specimen adequacy using jumbo biopsy forceps in patients with Barrett's esophagus Jan Martinek, Jana Maluskova, Magdalena Stefanova, Inna Tuckova, Stepan Suchanek, Zuzana Vackova, Jana Krajciova, Marek Kollar, Miroslav Zavoral, Julius Spicak |
| --- |
| CITATION | Martinek J, Maluskova J, Stefanova M, Tuckova I, Suchanek S, Vackova Z, Krajciova J, Kollar M, Zavoral M, Spicak J. Improved specimen adequacy using jumbo biopsy forceps in patients with barrett’s esophagus. World J Gastroenterol 2015; 21(17): 5328-5335 |
| URL | http://www.wjgnet.com/1007-9327/full/v21/i17/5328.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v21.i17.5328 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Good quality biopsy specimens are required for reliable diagnosis of early neoplasia in patients with Barrett’s esophagus. It remains controversial whether the use of jumbo forceps provides an advantage over large-capacity forceps. We compared the sampling quality using four different biopsy forceps. Biopsies were obtained using a diagnostic endoscope during a single endoscopy. We found a significantly higher proportion of adequate biopsy samples with jumbo forceps as compared to the three large capacity forceps. Thus, jumbo biopsy forceps, when used with a diagnostic endoscope, provide more adequate specimen as compared to large-capacity forceps. |
| KEY WORDS | Barrett’s esophagus; Barrett’s esophagus-related neoplasia; Biopsy forceps; Jumbo forceps; Specimen adequacy |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 15236

Columns: Prospective Study

Improved specimen adequacy using jumbo biopsy forceps in patients with Barrett's esophagus

Jan Martinek, Jana Maluskova, Magdalena Stefanova, Inna Tuckova, Stepan Suchanek, Zuzana Vackova, Jana Krajciova, Marek Kollar, Miroslav Zavoral, Julius Spicak

Jan Martinek, Zuzana Vackova, Jana Krajciova, Julius Spicak, Department of Hepatogastroenterology, Institute for Clinical and Experimental Medicine, 14021 Prague, Czech Republic

Jan Martinek, Faculty of Medicine, University of Ostrava, 70103 Ostrava, Czech Republic

Jana Maluskova, Marek Kollar, Department of Pathology, IKEM, 14021 Prague, Czech Republic

Magdalena Stefanova, Department of Internal Medicine, Hospital “Na Frantisku”, 11000 Prague, Czech Republic

Inna Tuckova, Department of Pathology, Central Military Hospital, 16902 Prague, Czech Republic

Stepan Suchanek, Miroslav Zavoral, Department of Medicine, Charles University, Military University Hospital, 16902 Prague, Czech Republic

Author contributions: Martinek J, Vackova Z, Zavoral M and Spicak J designed the research; Martinek J and Stefanova M performed endoscopic examinations; Martinek J, Suchanek S and Krajciova J performed statistical analyses; Vackova Z and Kollar M collected and analyzed data; Maluskova J and Tuckova I assessed biopsy specimens; Martinek J, Suchanek S, Vackova Z, Kollar M and Spicak J wrote the paper.

Supported by Czech Health Ministry, No. IGA NT/13636.

Ethics approval: The study was reviewed and approved by the Institutional Review Board of Institute for Clinical and Experimental Medicine in Prague and by the Institutional Review Board of University Military Hospital in Prague.

Clinical trial registration: The study is registered at Czech Ministry of Health. The registration number is NT/13636.

Informed consent: All study participants provided informed written consent prior to study enrollment.

Conflict-of-interest: The authors have no conflicts of interest to declare.

Data sharing: No additional data are available.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Jan Martinek, MD, PhD, AGAF, Associate Professor, Department of Hepatogastroenterology, Institute for Clinical and Experimental Medicine, Vídeňska 1921, 14021 Prague, Czech Republic. jan.martinek@volny.cz

Telephone: +420-26-1362617

Fax: +42-26-1362615

Received: November 17, 2014

Peer-review started: November 17, 2014

First decision: December 11, 2014

Revised: January 21, 2015

Accepted: February 11, 2015

Article in press: February 11, 2015

Published online: May 7, 2015

Abstract

AIM: To assess the sampling quality of four different forceps (three large capacity and one jumbo) in patients with Barrett’s esophagus.

METHODS: This was a prospective, single-blind study. A total of 37 patients with Barrett’s esophagus were enrolled. Targeted or random biopsies with all four forceps were obtained from each patient using a diagnostic endoscope during a single endoscopy. The following forceps were tested: A: FB-220K disposable large capacity; B: BI01-D3-23 reusable large capacity; C: GBF-02-23-180 disposable large capacity; and jumbo: disposable Radial Jaw 4 jumbo. The primary outcome measurement was specimen adequacy, defined as a well-oriented biopsy sample 2 mm or greater with the presence of muscularis mucosa.

RESULTS: A total of 436 biopsy samples were analyzed. We found a significantly higher proportion of adequate biopsy samples with jumbo forceps (71%) (p < 0.001 vs forceps A: 26%, forceps B: 17%, and forceps C: 18%). Biopsies with jumbo forceps had the largest diameter (median 2.4 mm) (p < 0.001 vs forceps A: 2 mm, forceps B: 1.6 mm, and forceps C: 2mm). There was a trend for higher diagnostic yield per biopsy with jumbo forceps (forceps A: 0.20, forceps B: 0.22, forceps C: 0.27, and jumbo: 0.28). No complications related to specimen sampling were observed with any of the four tested forceps.

CONCLUSION: Jumbo biopsy forceps, when used with a diagnostic endoscope, provide more adequate specimens as compared to large-capacity forceps in patients with Barrett’s esophagus.

Key words: Barrett’s esophagus; Barrett’s esophagus-related neoplasia; Biopsy forceps; Jumbo forceps; Specimen adequacy

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: Good quality biopsy specimens are required for reliable diagnosis of early neoplasia in patients with Barrett’s esophagus. It remains controversial whether the use of jumbo forceps provides an advantage over large-capacity forceps. We compared the sampling quality using four different biopsy forceps. Biopsies were obtained using a diagnostic endoscope during a single endoscopy. We found a significantly higher proportion of adequate biopsy samples with jumbo forceps as compared to the three large capacity forceps. Thus, jumbo biopsy forceps, when used with a diagnostic endoscope, provide more adequate specimen as compared to large-capacity forceps.

Martinek J, Maluskova J, Stefanova M, Tuckova I, Suchanek S, Vackova Z, Krajciova J, Kollar M, Zavoral M, Spicak J. Improved specimen adequacy using jumbo biopsy forceps in patients with barrett’s esophagus. World J Gastroenterol 2015; 21(17): 5328-5335  Available from: URL: http://www.wjgnet.com/1007-9327/full/v21/i17/5328.htm  DOI: http://dx.doi.org/10.3748/wjg.v21.i17.5328

INTRODUCTION

Barrett’s esophagus (BE) is a precancerous lesion, and the patients with BE should be included in surveillance programs involving regular endoscopic examinations with biopsies. The aim of such surveillance is an early detection of intraepithelial neoplasia (IEN) or cancer[1]. If detected early, IEN or esophageal adenocarcinoma can completely be cured using endoscopic methods such as endoscopic resection and ablation. For patients with BE without IEN, a surveillance endoscopy with four-quadrant biopsies at 2-cm intervals performed every three to five years is commonly recommended, though it is not evidence based[2]. Despite the promising results of advanced imaging modalities with targeted biopsies[3], a traditional protocol with random biopsies is presently considered as the gold standard for BE surveillance[4].

For biopsy, the choice of forceps has traditionally been among standard, large-capacity, or jumbo forceps. While the standard and large-capacity forceps are used with a standard diagnostic endoscope, the jumbo forceps are recommended for use with a therapeutic endoscope with a larger (3.2 mm) channel. However, the new Radial Jaw 4 (RJ4; Boston Scientific, Natick, MA, United States) jumbo forceps have been successfully tested with standard diagnostic endoscope[5-7].

Most of the studies found jumbo forceps superior to standard or large capacity forceps in terms of specimen quality, adequacy, or diagnostic yield[5,6,8-10]. A recent study challenged the requirement for jumbo forceps over large-capacity forceps in patients with BE[11]. The authors found similar rates of adequate specimens with the large-capacity forceps (used with a diagnostic endoscope) when compared with the jumbo forceps (used with a therapeutic endoscope). The insufficient quality of biopsy specimen collected by jumbo forceps used with a therapeutic endoscope can be explained by the fact that maneuvering and taking biopsies from the esophagus with a larger therapeutic endoscope are more difficult as compared to a standard endoscope.

Here we present a study comparing the performances of three types of large-capacity forceps and one type of jumbo forceps (all forceps were used with a diagnostic endoscope) in terms of quality of biopsy specimen in patients with BE. We hypothesized that the use of jumbo forceps with a diagnostic endoscope provides more adequate specimens compared to large-capacity forceps.

MATERIALS AND METHODS

The study was begun in January 2012 at the University Military Hospital in Prague, but later completed in the Institute for Clinical and Experimental Medicine in Prague, where the principal investigator moved in November 2012. The study was continued through March 2013. The study was approved by the institutional review boards of both institutions. Neither financial support nor any free commercial devices were received.

Study design

This was a prospective clinical trial. Two experienced physicians performed all endoscopic examinations. They were not blinded because the four types of forceps are visually different; however, the two pathologists, who evaluated the histologic specimens, were blinded with respect to the type of forceps used. For collecting biopsy specimens, all four tested forceps were used in a random order in each patient (the order of the four tested forceps was provided in a sealed opaque envelope for each patient before starting the endoscopy).

Patients

All consecutive patients examined in our department during the study period, with endoscopic finding of BE with a metaplastic segment longer than 2 cm, were invited to participate. Although a total of 51 patients matching the inclusion criteria were invited, 37 patients were finally enrolled in the study. All the participants provided informed written consent. Exclusion criteria include: inability to give informed consent, prominent or depressed macroscopically visible lesion (exception being the patients with flat lesions of type 0-IIb), an upper gastrointestinal endoscopy with biopsies two months prior to enrollment, esophagitis, previous diagnosis of esophageal carcinoma, previous endoscopic resection or ablation therapy, participation in another clinical trial, esophageal varices, and treatment with anticoagulants (the use of antiplatelet agents was permitted).

Biopsy forceps

Following are the four different types of forceps (with spikes) used for this study: A: FB-220K large capacity disposable biopsy forceps (Olympus Corp., Tokyo, Japan) with an outer diameter of 2.45 mm; B: BI01-D3-23 large capacity reusable biopsy forceps (Medwork, GmbH, Höchstadt/Aisch, Germany) with an outer diameter of 2.3 mm; C: GBF-02-23-180 large capacity disposable biopsy forceps (Medi-Globe GmbH, Rosenheim, Germany) with an outer diameter of 2.3 mm; and jumbo: RJ4 disposable jumbo biopsy forceps with an outer diameter of 2.84 mm. The RJ4 jumbo forceps can safely be used with a standard diagnostic endoscope (Figure 1).

Upper gastrointestinal endoscopy and biopsy protocol

All endoscopies were performed using a diagnostic endoscope (GIF FQ 260 Z, Olympus Corp., Tokyo, Japan). An intravenous sedation with midazolam (3-5 mg) was administered if judged necessary. BE was classified using the Prague C and M criteria. For reliable detection of suspect areas or visible lesions, the whole esophagus was first flushed with water, followed by the careful examination with tri-modal imaging (autofluorescence, narrow-band imaging, high-resolution endoscopy).

According to the length of the Barrett’s segment, the total number of biopsies was estimated and consequently, the approximate number of biopsies to be taken with each forceps was determined. For example, in a patient with BE C6M6, the total estimated number of biopsies was 16 (four biopsies each at 0 cm, 2 cm, 4 cm, and 6 cm). Therefore, four biopsies were taken by each of the tested forceps; the first set of four biopsies was taken with one forceps, followed by a second set of four biopsies taken with another forceps, etc.

In patients with a visible lesion (type 0-IIb) or mucosal irregularities, the targeted biopsies only were taken in separate containers. In patients without targeted biopsies, standard random four-quadrant biopsy samples according to the Seattle protocol were obtained for every 2 cm for the entire length of BE. Biopsies were started at the gastroesophageal junction and then continued proximally. Thus, we performed part of the Seattle protocol with each forceps in turn.

The specimens were collected in separate containers according to the type of forceps (every container contained specimens taken by only one type of forceps) and the level of esophagus.

The biopsies were taken using a “turn and suck” technique. After the esophageal mucosa was positioned in front of the endoscope, the forceps were opened, and the suction was applied. Thereafter, the forceps were closed, suction was revealed, and after the visual control, specimens were finally taken one at a time. The biopsy tissues were formalin fixed and processed for paraffin embedding. Specimens were not mounted before immersion fixation. Five-micron tissue sections were cut and stained with hematoxylin and eosin for histopathologic evaluation.

Pathologic assessment

Two expert pathologists independently evaluated each sample and settled all discrepancies by consensus. For each biopsy specimen, the following data were collected: size including the largest diameter, deepest tissue layer present, and quality of specimen orientation. Good orientation was defined as having two or more tissue layers with correct depth order in linear fashion. The histopathologic diagnosis of each specimen was recorded along with the presence or the absence of intestinal metaplasia. Additionally, we also recorded the overall diagnosis for each patient based on the highest degree of intraepithelial neoplasia.

Study outcomes

We used the same definition of the primary outcome as was used by Gonzalez et al[11], and the authors defined the primary outcome as the specimen adequacy for histologic assessment; an adequate biopsy sample was defined a priori as a well-oriented specimen of 2 mm or greater diameter with at least the presence of muscularis mucosa. Secondary outcomes included detection of intestinal metaplasia and/or intraepithelial neoplasia (diagnostic yield) and adverse events.

Statistical analysis

Data are presented as mean ± SD or median with ranges or appropriate percentiles. The four forceps were compared by performing the overall Fisher’s exact tests for categorical data, analysis of variance for normally distributed data, and Kruskal-Wallis tests for non-normally distributed data. Normality was assessed by the Skewness-Kurtosis test. If the overall testing showed a significant difference among groups (p < 0.05), then pair-wise comparisons between groups were performed by using the Fisher’s exact test and Wilcoxon rank-sum test with Bonferroni correction for multiple comparisons (n = 6, statistical significance for pair-wise comparisons was defined as p < 0.008). Overall diagnostic yield (per biopsy analysis) was calculated as the number of biopsy samples with IEN divided by the total number of biopsy specimens obtained with the respective forceps.

In this study, at least 90 biopsies were taken by each forceps for detecting 15% difference between any two forceps in main outcome parameter (specimen adequacy) with study power of 80% and overall significance level of p < 0.05.

RESULTS

Patients and endoscopy

A total of 37 patients with a median age of 61 years (range: 27-72 years, male: 31, female: 6) were enrolled in the study. The median length of BE segment was 6 cm (range: 2-12 cm). All endoscopies were performed as an outpatient procedure without adverse events such as bleeding or perforations, and the patients did not experience any delayed complications such as bleeding. All minor bleedings after biopsies resolved spontaneously. Patients did not complain of any pain or increased discomfort during or after the procedure.

Neither of the endoscopists experienced any problems getting through the diagnostic channel with the jumbo RJ4 forceps; there was sufficient space around the forceps (Figure 1). One issue we found while taking the biopsies with jumbo forceps was that often, large mucosal defects were created in the esophagus, even though clinically the patients did not come to harm (Figure 2).

Quality of biopsy specimens

Table 1 and Figure 3 present the summaries of the principal results. A total of 436 biopsies were taken; this represents on average 11.8 biopsies per patient (range: 4-25).

More than two-thirds of biopsies taken with jumbo forceps, were adequate (71%), which was significantly more compared to the large-capacity forceps (P < 0.001). Muscularis mucosae were present in 80% of the samples obtained by jumbo forceps. We obtained significantly larger specimens (2.4 mm) using the jumbo forceps (P < 0.001 vs large-capacity forcepts). Specimens taken with jumbo forceps and large-capacity forceps A and C were well-oriented in 60%-70% of samples, whereas 66% of specimens obtained with forceps B were not well-oriented. Figure 4 presents the photomicrographs of adequate and inadequate biopsy samples.

Detection of intestinal metaplasia, intraepithelial neoplasia, and diagnostic yield

Intestinal metaplasia was detected in all patients, but not in all (89%) biopsy specimens. Thirteen patients (35%) had BE without IEN, whereas low-grade IEN was detected in 20 (54%) and high-grade IEN was detected in four patients (11%). Despite the trend for a higher diagnostic yield with jumbo forceps, we did not find any significant differences in detecting intestinal metaplasia or IEN among the four studied forceps (Table 2).

DISCUSSION

In this study, we obtained a significantly higher proportion of adequate biopsy samples with jumbo RJ4 forceps as compared to the biopsy specimens obtained with the other three large-capacity forceps. Larger specimens containing muscularis mucosae (in 80% of samples) were obtained using the jumbo forceps; among the collected specimens, 77% were well-oriented. We chose a percentage of adequate specimens defined a priori as the main outcome parameter, similar to other studies comparing standard, large-capacity, and jumbo (RJ4) forceps[11]. Surprisingly, in this study, the authors found that standard or large-capacity forceps produced adequate specimens in 38% and 32% of samples, respectively, which were significantly more than the samples collected with RJ4 jumbo forceps used with a therapeutic endoscope (25%). The specimens obtained with jumbo forceps had the largest diameter but the lowest proportion of well-oriented specimens (44%)[11].

Many other studies have reported that jumbo forceps collect superior quality biopsy specimens compared to standard or large-capacity forceps[5,6,8-10]. Jumbo forceps (RJ4) is superior than other types of forceps in terms of the followings factors: (1) in obtaining adequate surveillance biopsies in patients with inflammatory bowel disease[8]; (2) in obtaining accurate diagnosis of submucosal lesion[6]; (3) in removing small, sessile colorectal polyps[9]; and (4) in tissue acquisition in patients with BE[5,10]. In the study by Komanduri et al[5], RJ4 jumbo forceps provided 79% adequate samples and large-capacity forceps collected 16% of adequate samples.

Similar to our study, there have been two other studies[5,11] comparing the performance of RJ4 jumbo forceps with other forceps; however, different types of endoscopes were used for biopsies with jumbo forceps. As with the present study, Komanduri et al[5] studied the performance of RJ4 jumbo forceps with a standard diagnostic endoscope (channel 2.8 mm) and obtained 79% adequate samples. On the other hand, Gonzalez et al[11] examined RJ4 jumbo forceps with a therapeutic endoscope with a larger channel (3.2 mm), but obtained only 25% adequate samples. Manipulation and maneuvering with a therapeutic endoscope in the esophagus is difficult compared to a standard endoscope. The “turn and suck technique” requires directing the tip of the endoscope against the esophageal wall in an appropriate angle; for a therapeutic endoscope, such alignment is more problematic. This might explain the higher percentage of biopsy specimens with an improper orientation (and consequently the low percentage of adequate samples) in the study by Gonzalez et al[11].

Jumbo forceps have traditionally been recommended for use with therapeutic endoscopes, which was the basis of the original Seattle biopsy protocol[12]. However, similar to our study, there are two other reports where the authors also used RJ4 jumbo forceps successfully with a standard diagnostic endoscope[5-6], and we, like others, did not experience any difficulties in introducing the jumbo forceps through the smaller channel.

The main aim of the surveillance of patients with BE is the early detection of IEN or esophageal adenocarcinoma, allowing less-invasive endoscopic treatment. Although any benefit has yet to be demonstrated in a randomized control trial (one is underway in the UK at this time), endoscopic surveillance is recommended. Nevertheless, several studies have suggested that patients with BE who undergo surveillance benefit from early-stage cancer diagnosis and improved survival[13-15]; however, no association was found between reduced risk of death from esophageal adenocarcinoma and endoscopic surveillance[16].

The surveillance of patients with BE is still based on random four-quadrant biopsies every 1-2 cm with large-capacity forceps performed every 3-5 years[2]. Although the type of forceps undoubtedly influences specimen adequacy, a majority of available guidelines do not recommend any particular type of forceps to be used for surveillance biopsies[1,4,17]. The random biopsy protocol is time consuming, and an increasing length of BE segment decreases physician adherence to the protocol[18]. Therefore, multiple modern advanced imaging modalities (e.g., narrow-band imaging) have been developed and tested to allow targeted biopsy strategies, which have been shown to increase the diagnostic yield of BE neoplasia[3,19]. Despite these results, a random biopsy protocol still remains the gold standard of care with patients with BE, and all recent guidelines recommend strict adherence to this protocol.

The key question is whether a more adequate biopsy specimen increases the detection of IEN. Komanduri et al[5] demonstrated that the use of RJ4 jumbo forceps improved the detection of IEN. Gonzalez et al[11] did not compare the diagnostic yields of three types of forceps (every patient underwent biopsy with only one type of forceps). Our study was not primarily designed to compare the diagnostic yield among the tested forceps. At present, there is no clear evidence to establish that improving specimen adequacy increases detection of IEN. Although not evidence based, a more adequate specimen is likely to yield better diagnostic accuracy. Larger-sized specimens provide a larger surface area for examination, which might lead to an increased likelihood in detecting neoplastic changes.

Specimen adequacy is also an important issue in patients undergoing post-radiofrequency ablation surveillance. One study (with large-capacity forceps) demonstrated insufficient specimen adequacy, as a majority of samples did not contain subepithelial structures[20]. The second study (with jumbo forceps) found that almost 80% of samples were adequate for evaluation of subsquamous buried glands[21]. These results also suggest a superiority of jumbo forceps in patients undergoing esophageal biopsy.

There have been concerns about the safety of using a jumbo forceps. A large proportion of patients (35%) experienced significant bleeding after biopsy with jumbo forceps for subepithelial lesions[6]. However, in patients with BE, neither severe bleeding nor other serious adverse events have been reported with jumbo forceps[5,11,12]. In our study, none of the patients experienced any significant bleeding after any biopsy nor any other adverse events. There is only one published case report of severe life-threatening bleeding following BE surveillance biopsies so far; the report did not mention the type of the forceps used[22].

The current study has several limitations. Firstly, we investigated specimen adequacy as a primary endpoint and diagnostic yield as a secondary outcome. Second, there was a selection bias; we detected a high proportion of patients with IEN (both low and high grade IEN; 65%). Our department is a referral center providing endoscopic treatment for patients with BE; hence, this explains higher percentage of patients with IEN as compared to other studies (19%[5], 40%[11], and 49%[19]). In addition, the use of tri-modal endoscopy with targeted biopsies (in some patients) may also explain the higher frequency of IEN detection. However, the selection bias did not influence our primary endpoint in any way. Third, the endoscopists were not blinded with respect to forceps (all forceps are visually different).

In summary, to obtain diagnostically adequate biopsy specimens in patients with BE, the jumbo biopsy forceps, when used with a standard diagnostic endoscope, showed superior performance compared to the other three studied large-capacity forceps.

COMMENTS

Background

Barrett’s esophagus (BE) is defined as the replacement of distal esophageal squamous mucosa with metaplastic columnar epithelium. Patients with BE have an increased risk of esophageal adenocarcinoma. Therefore, most guidelines recommend surveillance endoscopy every 2-5 years with targeted and random esophageal biopsies to detect early neoplastic lesions (intraepithelial neoplasia or early cancer). If detected early, esophageal neoplasia can be managed endoscopically.

Research frontiers

Tissue sampling in patients with BE should be performed by using jumbo or large-capacity biopsy forceps. A majority of studies found an advantage of jumbo forceps compared to large-capacity or standard forceps with regard to specimen adequacy. However, the advantage of jumbo forceps has recently been challenged, especially due to improper orientation of specimens. Therefore, we tested the hypothesis that jumbo Radial Jaw 4 (RJ4) forceps, if used with a standard diagnostic endoscope, provide more adequate specimens compared to large-capacity forceps.

Innovations and breakthroughs

The authors found that jumbo RJ4 forceps achieved adequate specimen in 71% of samples. On the other hand, three types of large-capacity forceps achieved adequate specimen in only 17%-26% of samples. There was a trend for higher diagnostic yield with jumbo forceps.

Applications

Based on these findings, the present study recommend the use of RJ4 jumbo forceps for surveillance endoscopy in patients with BE. Further studies should investigate whether better specimen adequacy implies improved detection of intraepithelial neoplasia.

Terminology

Specimen adequacy was defined as a well-oriented biopsy sample 2 mm or greater with the presence of muscularis mucosa.

Peer-review

The authors compared four different forceps for retrieving biopsies from patients with BE. The study appears to be well designed and conducted, and the article is clearly presented.

REFERENCES

1	Spechler SJ, Sharma P, Souza RF, Inadomi JM, Shaheen NJ. American Gastroenterological Association medical position statement on the management of Barrett‘s esophagus. Gastroenterology 2011; 140: 1084-1091 [PMID: 21376940 DOI: 10.1053/j.gastro.2011.01.030]

2	Evans JA, Early DS, Fukami N, Ben-Menachem T, Chandrasekhara V, Chathadi KV, Decker GA, Fanelli RD, Fisher DA, Foley KQ, Hwang JH, Jain R, Jue TL, Khan KM, Lightdale J, Malpas PM, Maple JT, Pasha SF, Saltzman JR, Sharaf RN, Shergill A, Dominitz JA, Cash BD. The role of endoscopy in Barrett’s esophagus and other premalignant conditions of the esophagus. Gastrointest Endosc 2012; 76: 1087-1094 [PMID: 23164510 DOI: 10.1016/j.gie.2012.08.004]

3	Canto MI, Anandasabapathy S, Brugge W, Falk GW, Dunbar KB, Zhang Z, Woods K, Almario JA, Schell U, Goldblum J, Maitra A, Montgomery E, Kiesslich R. In vivo endomicroscopy improves detection of Barrett’s esophagus-related neoplasia: a multicenter international randomized controlled trial (with video). Gastrointest Endosc 2014; 79: 211-221 [PMID: 24219822 DOI: 10.1016/j.gie.2013.09.020]

4	Fitzgerald RC, di Pietro M, Ragunath K, Ang Y, Kang JY, Watson P, Trudgill N, Patel P, Kaye PV, Sanders S, O’Donovan M, Bird-Lieberman E, Bhandari P, Jankowski JA, Attwood S, Parsons SL, Loft D, Lagergren J, Moayyedi P, Lyratzopoulos G, de Caestecker J. British Society of Gastroenterology guidelines on the diagnosis and management of Barrett’s oesophagus. Gut 2014; 63: 7-42 [PMID: 24165758 DOI: 10.1136/gutjnl-2013-305372]

5	Komanduri S, Swanson G, Keefer L, Jakate S. Use of a new jumbo forceps improves tissue acquisition of Barrett’s esophagus surveillance biopsies. Gastrointest Endosc 2009; 70: 1072-8.e1 [PMID: 19595312 DOI: 10.1016/j.gie.2009.04.009]

6	Buscaglia JM, Nagula S, Jayaraman V, Robbins DH, Vadada D, Gross SA, DiMaio CJ, Pais S, Patel K, Sejpal DV, Kim MK. Diagnostic yield and safety of jumbo biopsy forceps in patients with subepithelial lesions of the upper and lower GI tract. Gastrointest Endosc 2012; 75: 1147-1152 [PMID: 22425270 DOI: 10.1016/j.gie.2012.01.032]

7	Korst RJ, Santana-Joseph S, Rutledge JR, Antler A, Bethala V, DeLillo A, Kutner D, Lee BE, Pazwash H, Pittman RH, Rahmin M, Rubinoff M. Patterns of recurrent and persistent intestinal metaplasia after successful radiofrequency ablation of Barrett’s esophagus. J Thorac Cardiovasc Surg 2013; 145: 1529-1534 [PMID: 23219501 DOI: 10.1016/j.jtcvs.2012.11.016]

8	Elmunzer BJ, Higgins PD, Kwon YM, Golembeski C, Greenson JK, Korsnes SJ, Elta GH. Jumbo forceps are superior to standard large-capacity forceps in obtaining diagnostically adequate inflammatory bowel disease surveillance biopsy specimens. Gastrointest Endosc 2008; 68: 273-278; quiz 334, 336 [PMID: 18155204 DOI: 10.1016/j.gie.2007.11.023]

9	Draganov PV, Chang MN, Alkhasawneh A, Dixon LR, Lieb J, Moshiree B, Polyak S, Sultan S, Collins D, Suman A, Valentine JF, Wagh MS, Habashi SL, Forsmark CE. Randomized, controlled trial of standard, large-capacity versus jumbo biopsy forceps for polypectomy of small, sessile, colorectal polyps. Gastrointest Endosc 2012; 75: 118-126 [PMID: 22196811 DOI: 10.1016/j.gie.2011.08.019]

10	Falk GW, Rice TW, Goldblum JR, Richter JE. Jumbo biopsy forceps protocol still misses unsuspected cancer in Barrett‘s esophagus with high-grade dysplasia. Gastrointest Endosc 1999; 49: 170-176 [PMID: 9925694 DOI: 10.1016/S0016-5107(99)70482-7]

11	Gonzalez S, Yu WM, Smith MS, Slack KN, Rotterdam H, Abrams JA, Lightdale CJ. Randomized comparison of 3 different-sized biopsy forceps for quality of sampling in Barrett’s esophagus. Gastrointest Endosc 2010; 72: 935-940 [PMID: 21034895 DOI: 10.1016/j.gie.2010.07.035]

12	Levine DS, Blount PL, Rudolph RE, Reid BJ. Safety of a systematic endoscopic biopsy protocol in patients with Barrett’s esophagus. Am J Gastroenterol 2000; 95: 1152-1157 [PMID: 10811320 DOI: 10.1111/j.1572-0241.2000.02002.x]

13	Wong T, Tian J, Nagar AB. Barrett‘s surveillance identifies patients with early esophageal adenocarcinoma. Am J Med 2010; 123: 462-467 [PMID: 20399324 DOI: 10.1016/j.amjmed.2009.10.013]

14	Corley DA, Levin TR, Habel LA, Weiss NS, Buffler PA. Surveillance and survival in Barrett’s adenocarcinomas: a population-based study. Gastroenterology 2002; 122: 633-640 [PMID: 11874995 DOI: 10.1053/gast.2002.31879]

15	Fitzgerald RC, Saeed IT, Khoo D, Farthing MJ, Burnham WR. Rigorous surveillance protocol increases detection of curable cancers associated with Barrett’s esophagus. Dig Dis Sci 2001; 46: 1892-1898 [PMID: 11575441 DOI: 10.1023/A:1010678913481]

16	Corley DA, Mehtani K, Quesenberry C, Zhao W, de Boer J, Weiss NS. Impact of endoscopic surveillance on mortality from Barrett’s esophagus-associated esophageal adenocarcinomas. Gastroenterology 2013; 145: 312-319.e1 [PMID: 23673354 DOI: 10.1053/j.gastro.2013.05.004]

17	Schafer TW, Hollis-Perry KM, Mondragon RM, Brann OS. An observer-blinded, prospective, randomized comparison of forceps for endoscopic esophageal biopsy. Gastrointest Endosc 2002; 55: 192-196 [PMID: 11818921 DOI: 10.1067/mge.2002.121225]

18	Abrams JA, Kapel RC, Lindberg GM, Saboorian MH, Genta RM, Neugut AI, Lightdale CJ. Adherence to biopsy guidelines for Barrett’s esophagus surveillance in the community setting in the United States. Clin Gastroenterol Hepatol 2009; 7: 736-742; quiz 710 [PMID: 19268726 DOI: 10.1016/j.cgh.2008.12.027]

19	Sharma P, Hawes RH, Bansal A, Gupta N, Curvers W, Rastogi A, Singh M, Hall M, Mathur SC, Wani SB, Hoffman B, Gaddam S, Fockens P, Bergman JJ. Standard endoscopy with random biopsies versus narrow band imaging targeted biopsies in Barrett’s oesophagus: a prospective, international, randomised controlled trial. Gut 2013; 62: 15-21 [PMID: 22315471 DOI: 10.1136/gutjnl-2011-300962]

20	Gupta N, Mathur SC, Dumot JA, Singh V, Gaddam S, Wani SB, Bansal A, Rastogi A, Goldblum JR, Sharma P. Adequacy of esophageal squamous mucosa specimens obtained during endoscopy: are standard biopsies sufficient for postablation surveillance in Barrett’s esophagus? Gastrointest Endosc 2012; 75: 11-18 [PMID: 21907985 DOI: 10.1016/j.gie.2011.06.040]

21	Shaheen NJ, Peery AF, Overholt BF, Lightdale CJ, Chak A, Wang KK, Hawes RH, Fleischer DE, Goldblum JR. Biopsy depth after radiofrequency ablation of dysplastic Barrett’s esophagus. Gastrointest Endosc 2010; 72: 490-496.e1 [PMID: 20598302 DOI: 10.1016/j.gie.2010.04.010]

22	Mannath J, Subramanian V, Kaye PV, Ragunath K. Life-threatening bleeding following Barrett’s surveillance biopsies. Endoscopy 2010; 42 Suppl 2: E211-E212 [PMID: 20845277 DOI: 10.1055/s-0030-1255717]

P- Reviewer: Brusselaers N    S- Editor: Ma YJ    L- Editor: AmEditor    E- Editor: Wang CH

Figure Legends

Figure 1  Easy passage of jumbo Radial Jaw 4 forceps through a 2.8 mm channel.

Figure 2  Esophageal biopsy with jumbo Radial Jaw 4 forceps and a large defect after the biopsy, without bleeding.

Figure 3  Specimen sizes obtained with large-capacity (A-D) and jumbo forceps. Box-Whisker plot.

Figure 4  Specimen orientation. Hematoxylin and eosin-stained examples of an adequate, well-oriented specimen (A) and an inadequate specimen due to the bad orientation (B).

# Text boxes

Table 2  Detection of intestinal metaplasia and intraepithelial neoplasia  n (%)

| Variable | Total (n = 436) | Forceps type |
| --- | --- | --- |
|  |  | Large-capacity | Jumbo (n = 92) |
|  |  | A (n = 121) | B (n = 115) | C (n = 108) |  |
| Intestinal metaplasia | 386 (89) | 103 (85) | 99 (86) | 98 (91) | 86 (93) |
| No IEN | 332 (76) | 97 (80) | 90 (78) | 79 (73) | 66 (72) |
| Low-grade IEN | 91 (21) | 22 (18) | 22 (19) | 26 (24) | 21 (23) |
| High-grade IEN | 13 (3) | 2 (2) | 3 (3) | 3 (3) | 5 (5) |
| Diagnostic yield (per biopsy) | 0.24 | 0.20 | 0.22 | 0.27 | 0.28 |

IEN: Intraepithelial neoplasia.

Table 1  Principal results of the study  n (%)

| Variable | Total (n = 436) | Forceps type |
| --- | --- | --- |
|  |  | Large-capacity | Jumbo (n = 92) |
|  |  | A (n = 121) | B (n = 115) | C (n = 108) |  |
| Adequate specimen | 136 (31) | 32 (26) | 20 (17) | 19 (18) | 65 (71)b,d,f |
| Median size, mm | 2 | 2 | 1.6 | 2a | 2.4b,d,f |
| Muscularis mucosa present | 205 (47) | 54 (45)a | 26 (23) | 51 (47)a | 74 (80)b,d,f |
| Good orientation | 269 (62) | 74 (61)h | 51 (44) | 73 (66)h | 71 (77)d |

bP < 0.001 vs A; dP < 0.001 vs B; fP < 0.001 vs C; aP < 0.005 vs B; hP < 0.01 vs B.