**Name of journal:** *World Journal of Gastroenterology*

**ESPS Manuscript NO: 15618**

**Columns: ORIGINAL ARTICLE**

***Prospective Study***

**Evaluation of diffusion-weighted magnetic resonance imaging without bowel preparation for the detection of ulcerative colitis**

Yu LL *et al.* DWI-MRI without bowel preparation for UC

Li-Li Yu, Hai-Shan Yang, Bu-Tian Zhang, Zhong-Wen Lv, Fu-Rong Wang, Chun-Yu Zhang, Wei-Bo Chen, Hui-Mao Zhang

**Li-Li Yu, Hai-Shan Yang,** **Bu-Tian Zhang, Zhong-Wen Lv, Fu-Rong Wang, Chun-Yu Zhang,**Department of Radiology, The China-Japan Union Hospital of Jilin University, Changchun 130021, Jilin Province, China

**Wei-Bo Chen,** Philips Healthcare, Shanghai 200070, China

**Hui-Mao Zhang,** Department of Radiology, The First Hospital of Jilin University, Changchun 130021, Jilin Province, China

**Author contributions**: Yu LL conceived of the study, and participated in design and coordination, acquisition of data, analysis and interpretation of data, and helped to draft the manuscript; Yang HS and Zhang HM conceived of the study and reviewed radiological images; Zhang BT performed the statistical analysis; Zhang CY communicated with patients and Endoscopic doctor; Lv ZW and Wang FR participated in the MR scan; Chen WB articipated in the design of MR Imaging Protocol.

**Informed consent:** All study participants, or their legal guardian, provided informed written consent prior to study enrollment.

**Conflict-of-interest:** The authors declare that there are no conflicts of interest to disclose.

**Data sharing:** No additional data are available.

**Open-Access:** This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: <http://creativecommons.org/licenses/by-nc/4.0/>

**Correspondence to: Hui-Mao Zhang, ﻿MD, PhD,** Department of Radiology, The China-Japan Union Hospital of Jilin University, No. 71 Xinmin Street, Changchun 130021, Jilin Province, China. yulili999@163.com

**Telephone:** +86-13843109555

**Fax:** +86-431-88783300

**Received:** November 30, 2014

**Peer-review started:** November 30, 2014

**First decision:** January 8, 2015

**Revised:** February 6, 2015

**Accepted:** March 30, 2015

**Article in press:**

**Published online:**

**Abstract**

**AIM:** To evaluate the accuracy of diffusion-weighted imaging (DWI) without bowel preparation, the optimal *b* value and the changes in apparent diffusion coefficient (ADC) in patients with ulcerative colitis (UC).

**METHODS:** A total of20 patients who underwent 3T magnetic resonance imaging (MRI) without bowel preparation and colonoscopy within 24 h were recruited. Biochemical characteristics, including C-reactive protein (CRP), [erythrocyte](app:ds:erythrocyte) [sedimentation](app:ds:sedimentation) [rate](app:ds:rate), hemoglobin, leucocytes, platelets, serum iron and albumin, were determined. Biochemical examinations were then performed within 24 h before or after MR colonography was conducted. DWI was performed at various *b* values (*b* = 0, 400, 600, 800, 1000 s/mm2). Two radiologists independently and blindly reviewed conventional- and contrast-enhanced MR images, DWI and ADC maps; these radiologists also determined ADC in each intestinal segment (rectum, sigmoid, left colon, transverse colon, and right colon). Receiver operating characteristic (ROC) analysis was performed to assess the diagnostic performance of DWI hyperintensity from various *b* factors, ADC values and different radiological signs to detect endoscopic inflammation in the corresponding bowel segment. Optimal ADC threshold was estimated by maximizing the combination of sensitivity and specificity. MR findings were correlated with endoscopic results and clinical markers; these findings were then estimated by ROC.

**RESULTS:** A total of 100 segments (71 with endoscopic colonic inflammation; 29 normal) were included. The proposed total magnetic resonance score (MR-score-T) was correlated with the total modified Baron score (Baron-T; *r =*0.875, *P* < 0.0001); the segmental MR score (MR-score-S) was correlated with the segmental modified Baron score (Baron-S; *r =* 0.761, *p <*0.0001). MR-score-T was correlated with clinical and biological markers of disease activity (*r =* 0.445 to 0.831, *P <*0.05). MR-score-S > 1 corresponded to endoscopic colonic inflammation with sensitivity of 85.9%, specificity of 82.8% and an area under the curve (AUC) of 0.929 (*P <*0.0001). Compared with the accuracy of DWI hyperintensity, it was significantly greater at *b* = 800 than at *b* = 400, 600, 1000 s/mm2 (*P <*0.05) when endoscopic colonic inflammation was detected. DWI hyperintensity at *b*= 800 s/mm2 indicated that endoscopic colonic inflammation exhibited sensitivity of 93.0%, specificity of 79.3% and AUC of 0.867 (*P <*0.0001). Quantitative analysis results revealed that ADC values of *b*= 800 s/mm2 differed significantly between endoscopic inflamed segment and normal [intestinal](app:ds:intestinal) [segment](app:ds:segment) (1.56 ± 0.58 mm2/s *vs* 2.63 ± 0.46 mm2/s, *P <*0.001). The AUC of ADC values was 0.932 (95% confidence interval: 0.881–0.983) when endoscopic inflammation was detected. The threshold ADC value of 2.18 × 10−3 mm2/s indicated that endoscopic inflammation differed from normal [intestinal](app:ds:intestinal) [segment](app:ds:segment) with sensitivity of 89.7% and specificity of 80.3%.

**CONCLUSION:** DWI combined with conventional MRI without bowel preparation provided a quantitative strategy to differentiate actively inflamed [intestinal](app:ds:intestinal) [segment](app:ds:segment)s from the normal mucosa to detect UC.

**Key words:** Diffusion-weighted imaging; Apparent diffusion coefficient; Quantitative; Ulcerative colitis; Without bowel preparation

**© The Author(s) 2015.** Published by Baishideng Publishing Group Inc. All rights reserved.

**Core tip:** Our results indicated that diffusion-weighted imaging (DWI) provides qualitative and quantitative information when this technique is combined with conventional magnetic resonance imaging without bowel preparation; the combined technique demonstrates a good diagnostic performance to detect colonic inflammation in ulcerative colitis. This technique is completely non-invasive, does not apply ionizing radiation or contrast material injection, does not require any bowel preparation and does not cause discomfort to patients. The optimal *b* value 800 s/mm2. DWI hyperintensity at *b* = 800 s/mm2 detected endoscopic colonic inflammation with sensitivity of 93.0% and specificity of 79.3%.

Yu, LL, Yang HS, Zhang BT, Lv ZW, Wang FR, Zhang CY, Chen WB, Zhang HM. Evaluation of diffusion-weighted magnetic resonance imaging without bowel preparation for the detection of ulcerative colitis. *World J Gastroenterol* 2015; In press

**INTRODUCTION**

Magnetic resonance imaging (MRI) is an excellent technique to accurately detect colorectal cancers[1–3].MRI has been applied in diagnosis and follow up of patients with inflammatory bowel disease[3–15].For such examinations and certainly for endoscopy, bowel cleansing preparations are required and are often poorly tolerated by patients[17].Consequently, the use of MRI in clinical practice may be limited.

Only a few studies have reported the use of diffusion-weighted imaging (DWI) in patients with ulcerative colitis (UC)[3,6,10–14,16]. Among these studies, only one paper[14] reported the value of quantitative DWI to assess inflammatory activity in UC. However, optimal *b* value of colon DWI to detect colonic inflammation in patients with UC has not yet been published. As such, optimal *b* value should be determined to produce high-quality apparent diffusion coefficient (ADC) maps that affect the accuracy of ADC measurements and visual imaging interpretations[18].

This study aimed to determine the optimal *b* value of colon DWI to detect colonic inflammation in patients with UC without bowel preparation at 3T, to evaluate the accuracy of DWI combined with MRI and to investigate the changes in ADC of patients with UC.

**MATERIALS AND METHODS**

***Patients***

This prospective and observational study was conducted with an approval from our institutional review board. Informed consent was also obtained from all of the patients. A total of 23 patients with known or suspected UC underwent magnetic resonance colonography, including DWI without bowel preparation followed by colonoscopy within 24 h, between 17 January 2012 and 15 February 2013. Patients who were diagnosed with UC by colonoscopy were enrolled in the study. These patients did not undergo interval treatment for UC between magnetic resonance (MR) and colonoscopy. Furthermore, patients were excluded if they were intolerant to colonoscopy or if they suffered from a toxic megacolon, revealed a history of abdominal surgery and experienced other systemic diseases.

***Clinical and biological markers***

The UC clinical score consisted of a modification of the four-category scoring system of the Mayo Clinic[19–22] (Mayo index), namely, rectal bleeding, stool frequency, functional assessment by a patient and global assessment by a physician. Scores ranged from 0 (normal) to 3 (severe disease). Composite scores ranged from 0 (inactive disease) to 12 (severe disease activity). Biochemical characteristics, including the C-reactive protein (CRP), [erythrocyte](app:ds:erythrocyte) [sedimentation](app:ds:sedimentation) [rate](app:ds:rate) ([ESR](app:ds:ESR)), hemoglobin, leucocytes, platelets, serum iron and albumin, were obtained. Biochemical examinations were then performed within 24 h before or after MR colonography was conducted.

***MRI protocol***

MRI examinations were performed using a 3.0 T Philips scanner (Achieva 3.0T, YX, Best, [Holland](app:ds:Holland)). The following sequences were obtained using an eight-channel, phased-array body coil: (1) axial and coronal balanced turbo field echo with and without fat suppression [repetition time (TR), 3.4 ms; echo time (TE), 1.4 ms; matrix, 224 × 224; flip angle, 45°; slice thickness, 6 mm; gap, 0 mm]; (2) axial and coronal T2-weighted single-shot fast spin echo with and without fat suppression (TR, 2000 ms; TE, 40 ms; matrix, 256 × 256; slice thickness, 6 mm; gap, 0 mm); (3) a 3D fast field echo (FFE) T1 sequence after intravenous administration of 0.2 mL/kg body weight of gadopentetatedimeglumine (Magnevist, Bayer, Germany) at a rate of 2 ml/s for a dynamic study of the axial plane with an arterial phase (25 s after injection) and a portal phase (70 s after injection) and a 2D FFE with fat saturation at 3 min after injection in axial and coronal planes; and (4) axial and/or coronal diffusion-weighted images (*b* = 0, 400, 600, 800 and 1000 s/mm2; TR, 2357 ms; TE, 62 ms; matrix, 300 × 231; slice thickness, 5 mm; gap, 0 mm; number of signals acquired, the field of view ranged between 32 and 40 cm. Acquisition time for the DWI sequences covering the abdomen and the pelvis ranged from 3 min to 5 min.

***MRI analysis***

DWI was examined at *b* = 0, 400, 600, 800 and 1000 s/mm2. Two experienced radiologists who were blinded to clinical and endoscopic examination results independently reviewed DWI images and evaluated the radiological signs of DWI hyperintensity. The presence and the absence of DWI hyperintensity in a specific segment were rated ‘1’ or ‘0’, respectively. ADC maps were generated from the *b* factor (0 and 800 s/mm2). To obtain ADC, we magnified the images and placed the oval regions of interest on the largest possible area covering the bowel wall. The measurements were conducted from the area of brightest signal in the bowel wall on the DWI image. The mean of the two ADCs was accepted as ADC of the segment. Based on a comprehensive review of the literature, seven radiological signs were evaluated: (1) DWI hyperintensity (*b* = 800 s/mm2); (2) rapid gadolinium enhancement after intravenous contrast medium administration (20 s to 25 s after gadolinium infusion); (3) differentiation between the mucosa–submucosa complex and the muscularis; (4) bowel wall thickening (exceeding 5 mm); (5) parietal oedema; (6) the presence of ulceration(s); and (7) comb sign of engorged vasa recta that perpendicularly penetrated the bowel wall (18). These radiological signs were evaluated for each bowel segment as follows: 0 = absence, 1 = presence. The segmental MR-score (MR-score-S) was defined as the sum of the scores of the seven radiological signs for a specific segment. The total MR-score (MR-score-T) was defined as the sum of the MR-score-S for a patient, with values ranging from 0 to 35. MR-scores were independently established by two experienced radiologists and blinded to the endoscopic data.

***Colonoscopy***

Colonoscopy is considered as ‘gold standard’ to detect colonic inflammation in UC. Oral ingestion of 2000 mL to 3000 mL of polyethylene glycol electrolyte solution (Heshuang, China) was used to perform bowel preparation before colonoscopy was conducted. Colonoscopies were performed by two experienced endoscopists who had no prior knowledge of the MRI analysis results. The modified Baron score[19] represents an endoscopic lesion classification. This score ranges from 0 to 4, with 0 for normal mucosa, 1 for granular mucosa with an abnormal vascular pattern, 2 for friable mucosa, 3 for micro-ulceration with spontaneous bleeding and 4 for gross ulceration. The colon was divided into five sections: rectum, sigmoid, left colon, transverse colon and right colon. A segmental modified Baron score (Baron-S) represented the score of each section. The total modified Baron Score (Baron-T) was defined as the sum of the segmental scores. The result was considered ‘positive’ if Baron-S ≥ 1 and ‘negative’ if Baron-S < 1.

***Statistical analyses***

Patients who underwent colonoscopy and were diagnosed with UC were recruited into the analysis. Data were performed with SPSS Statistics version 19.0 and MedCalc version 12.4. All reported *P* values were two-sided and *P <*0.05 was considered statistically significant.

Receiver operating characteristic (ROC) analysis was performed to assess the diagnostic performance of DWI hyperintensity from various *b* factors, ADC, MR-score-S and seven radiological signs to detect endoscopic inflammation in the corresponding bowel segment. Analysis was performed to calculate sensitivity, specificity and area under the ROC curve (AUROC) with the associated *P* value. The Delong mode was used to compare AUROC. Youden index analysis was performed to estimate the optimal ADC threshold value by maximizing the combination of sensitivity and specificity.

Correlative analysis was performed with Spearman’s correlation coefficients as follows: (1) MR-score-S *vs* Baron-S; (2) MR-score-T *vs* Baron-T; (3) MR-score-T *vs* clinical and biological markers; and (4) Baron-T *vs* clinical and biological markers. The correlation coefficient of the MR-score was compared with that of the endoscopic scores.

The inter-observer agreement for ADC measurements was performed by two radiologists and calculated with Pearson’s correlation coefficient. Inter-observer agreements between two independent radiologists for the DWI hyperintensity and MR-score were evaluated by kappa statistic.

**RESULTS**

Among the 23 patients with known UC or suspected UC, 1 case failed to complete a full colonoscopy examination, whereas 2 cases were finally diagnosed as Crohn’s disease. A total of 20 patients were recruited in the study.

***Accuracy of DWI hyperintensity from various b values to*** ***detect endoscopic inflammation***

Table 1 presents sensitivity, specificity and AUROC of DWI hyperintensity at *b* = 400, 600, 800 and 1000 s/mm2. The DWI hyperintensity at *b*= 800 s/mm2 detected endoscopic inflammation with sensitivity and specificity of 93.0% and 79.3%, respectively, with an AUROC of 0.867 (*P <* 0.0001). The accuracy was significantly greater at *b*= 800 s/mm2 than when *b* = 400, 600 or 1000 s/mm2 (*P <* 0.05; Figure 1). No significant differences in accuracy were found for *b* = 400, 600 and 1000 s/mm2 (*P* > 0.05).

Quantitative analysis results revealed that the mean ADC at b = 800 s/mm2 of the proven endoscopic mucosal inflammation was 1.56 ± 0.58 × 10−3 mm2/s (range = 0.46 × 10−3 mm2/s to 2.50 × 10−3 mm2/s) compared with 2.63 ± 0.46 × 10−3 mm2/s (range = 1.44 × 10−3 mm2/s to 4.03 × 10−3 mm2/s) in normal bowel segments (*P <* 0.0001). The AUROC was 0.932 (95% confidence interval, 0.881 to 0.983). A threshold ADC value of 2.18 × 10−3 mm2/s, could differentiate inflamed bowel from normal bowel segments with sensitivity of 89.7% and specificity of 80.3%.

***Correlation between MRI and endoscopic findings***

MR-score-T was correlated with Baron-T (*r =* 0.875, *P* < 0.0001; Figure 2) and MR-score-S was correlated with Baron-S (*r*= 0.761, *P* < 0.0001).

***Diagnostic performance*** ***of*** ***MR-score-S and seven*** ***signs to detect endoscopic inflammation***

Table 2 and Figure 3 present sensitivity, specificity, AUROC and ROC of MR-score-S and the seven signs indicating endoscopic inflammation. Figure 4 shows a concrete and representative case. At MR-score-S > 1, endoscopic colonic inflammation could be detected with sensitivity of 85.9%, specificity of 82.8% and AUROC of 0.929 (*P* < 0.0001). The DWI hyperintensity demonstrated sensitivity and specificity of 93.0% and 79.3%, respectively, to detect endoscopic inflammation with an AUROC of 0.867 (*P <*0.0001). With rapid gadolinium enhancement, endoscopic colonic inflammation was detected with sensitivity of 73.2%, specificity of 93.1% and AUROC of 0.853 (*P <*0.0001). The accuracy between DWI hyperintensity and rapid gadolinium enhancement (*P* = 0.78) was not significantly different. Differentiation between the mucosa–sub mucosa complex and the muscles revealed good sensitivity (80.3%) and specificity (86.2%). The four other signs demonstrated low sensitivities (range: 43.7% to 66.2%) and excellent specificities (range: 89.7% to 93.1%). The presence of oedemas resulted in decreased accuracy compared with the accuracy of the seven signs indicating endoscopic inflammation. No significant differences in accuracy were observed, among other signs.

***Correlation of MR-score-T or*** ***Baron-T with clinical and biological markers***

MR-score-T was correlated with Mayo index (*r*= 0.831, *P <*0.0001). Biological characteristics included CRP, [ESR](app:ds:ESR), hemoglobin, leucocytes, platelets, serum iron and albumin (*r*= 0.445 to 0.748, *P* < 0.05). The correlation coefficients between MR-score-T and clinical and biological markers were similar to the corresponding correlation coefficients between Baron-T and the same disease activity markers (Table 3).

***Inter-observer agreement***

Inter-observer agreements in DWI hyperintensity from various *b* values were consistent with kappa values ranging from 0.719 to 0.825. The inter-observer agreements were applicable to evaluate MR-score with kappa values ranging from 0.679 to 0.897. The two radiologists’ ADC measurements were compared and revealed Pearson’s correlation coefficient was 0.886 (*P <*0.001), thereby indicating excellent inter-observer agreement.

**DISCUSSION**

The selection of the *b* value should satisfy the following three criteria[23]: (1) clearly display and identify the tissue being examined; (2) effectively inhibit the T2 shine-through effect on DWI; and (3) use *b* values as high as possible to determine ADC of the tissue being examined for closer to the true diffusion value. A small *b* value corresponded to high SNR and CNR of DWI images. However, the influence was more distinct on ADC with the T2 shine-through effect, perfusion effects and presence of macroscopic motion. Conversely, a large *b* value indicated that ADC was closer to the real diffusion values of the tissue. However, susceptibility artefacts and geometric deformation of images likely decreased significantly the SNR and the CNR of images.Therefore, the selection of the *b* value should weigh the two aspects of the real diffusion values of tissue and image quality. Oto *et al*[9] evaluated the value of DWI (b = 600 s/mm2) and investigated changes in ADC values in inflamed bowels in patients with Crohn’s disease at 1.5 T. Oussalah *et al*[6] also found that the *b* factor is fixed at 600 s/mm2 with a 1.5 T scanner in UC and Crohn’s disease. Kılıçkesmez *et al*[14] evaluated 28 patients with UC by DW-MRI with *b* = 0, 500 and 1000 s/mm2 on a 1.5 T scanner. The current study defined the range of the *b* value from 0 and 400 s/mm2 to 1000 s/mm2 by referring to previous studies. In the current study, DWI hyperintensity from *b*= 800 s/mm2 demonstrated the most efficient diagnostic performance to detect colonic inflammation in UC. The difference in the *b* value between the results of the current study and that described in a previous study may be related to differences in [field](app:ds:field) [strength](app:ds:strength) and uniformity of the main magnetic field.

Oto *et al*[9] found statistically significant differences between the ADC values of inflamed and normal bowel segments of patients with Crohn’s disease (0.47 × 10−3 mm²/s to 2.60 × 10−3 mm²/s and 1.39 × 10−3 mm²/s to 4.03 × 10−3 mm²/s for inflamed and normal segments, respectively; *P <* 0.05). Kiryu *et al*[7] also found that the ADC values of small and large bowel of patients with active disease were lower than those in patients with inactive disease (1.61 ± 0.44 × 10−3 mm2/s *vs* 2.56 ± 0.51 × 10−3 mm²/s for the small bowel and 1.52 ± 0.43 × 10−3 ± 10−3 mm²/s *vs* 2.31 ± 0.59 × 10−3 mm²/s for the large bowel; *P* < 0.001). Kılıçkesmez *et al*[14] found that the ADC values of the rectum are different (*P* = 0.009) between patients in active (1.08 ± 0.14 × 10−³ mm2/s) and sub-acute phases (1.13 ± 0.23 × 10−3 mm2/s) of the disease and those in remission (1.29 ± 0.17 × 10−³ mm2/s). In the current study, the mean ADC value of proven endoscopic inflamed bowels was 1.56 ± 0.58 × 10−3 mm2/s compared with 2.63 ± 0.46 × 10−3 mm2/s in normal bowel segments (*P <* 0.0001). In these studies, radiologists should be aware of possible overlaps of ADC values that may lead to misdiagnoses when only DWI is interpreted[24].The usefulness of ADC for long-term follow up of patients with UC warrants further investigation.

DWI is a method in which the signal required to produce MR image is determined by the ‘mobility of water’[25]. Diffusivity measurements are characterized by multiple components related to tissue cellularity and organisation, integrity of cell membranes, extracellular space tortuosity and perfusion[26].Endoscopic biopsy is considered as gold standard to detect and quantify UC; invasiveness, patient discomfort, perforation risk and poor patient acceptance of colonoscopy have prompted researchers to investigate alternatives for diagnosing and characterizing UC. In MR or endoscopy examination, oral and rectal bowel cleansing preparations are often poorly tolerated by patients[27,28].The technique used in the current study did not require oral or rectal preparation and fasting; the duration of the procedure was relatively short (approximately 20 min for the whole examination, including patient setup, routine MR and DWI imaging). In the current study, DWI hyperintensity exhibited the same accuracy as rapid gadolinium enhancement to detect endoscopic inflammation in UC; this result suggested that the DWI sequence could replace gadolinium injection in detecting inflammatory colonic segments in UC. In other studies, DWI hyperintensity also showed high accuracy[6–8].DWI combined with MRI without bowel preparation represents a feasible tool. This technique is completely non-invasive, does not apply ionizing radiation[29,30] or contrast material injection, does not require any bowel preparation and does not cause discomfort to patients. Bowel preparation has also been associated with acute exacerbation of UC. Diagnostic methods that do not require bowel preparation could avoid this potential complication. Therefore, the proposed technique can be easily combined with conventional MR examination protocol because of short duration.

Our study showed several limitations, such as small patient population. With our most efficient efforts to magnify images and use oval regions of interest to exclusively cover the bowel wall, the possibility of a partial volume effect was minimised. However, it could not be completely excluded, especially from ADC measurements of the normal bowel wall.

In conclusion, DWI combined with conventional MRI without bowel preparation yielded qualitative and quantitative information; our result demonstrated a good diagnostic performance in detecting colonic inflammation in UC.

**COMMENTS**

***Background***

Magnetic resonance imaging (MRI) is an excellent technique to accurately detect colorectal cancers.MRI has been applied to diagnose and follow up patients with inflammatory bowel disease.In such examinations and endoscopy, bowel cleansing preparations are required and often poorly tolerated by patients.This procedure may limit the use of MRI in clinical practice.

***Research frontiers***

Only a few studies have reported the use of diffusion-weighted imaging (DWI) in patients with ulcerative colitis (UC). Among these studies, only one paper reported the value of quantitative diffusion-weighted MRI in the assessment of the inflammatory activity in UC. The optimal *b* value of colon DWI to detect colonic inflammation in patients with UC has not been published.

***Innovations and breakthroughs***

This results indicated that DWI combined with conventional MRI without bowel preparation yielded qualitative and quantitative information; this study demonstrated good diagnostic performance to detect colonic inflammation in UC.

***Applications***

This technique is completely non-invasive, does not apply ionizing radiation or contrast material injection, does not require any bowel preparation and does not cause discomfort to patients. Diagnostic methods that do not require bowel preparation could avoid acute exacerbation. This procedure can be easily added to conventional MR examination protocol because of short duration.

***Terminology***

The segmental MR-score (MR-score-S) is defined as the sum of the scores of different radiological signs for a specific segment. The total MR-score was defined as the sum of MR-score-S for a patient.


***Peer-review***

DWI combined with conventional MRI without bowel preparation provided a quantitative technique to differentiate actively inflamed [intestinal](app:ds:intestinal) [segment](app:ds:segment)s from the normal mucosa to detect UC.


**REFERENCES**

|  |
| --- |
| 1 **Solak A**, Genç B, Solak I, Kalaycıoğlu S, Sahin N, Yalaz S, Sivrikoz ON. The value of diffusion-weighted magnetic resonance imaging in the differential diagnosis in diffuse bowel wall thickening. *Turk J Gastroenterol* 2013; **24**: 154-160 [PMID: 23934463]  2 **Ichikawa T**, Erturk SM, Motosugi U, Sou H, Iino H, Araki T, Fujii H. High-B-value diffusion-weighted MRI in colorectal cancer. *AJR Am J Roentgenol* 2006; **187**: 181-184 [PMID: 16794174]  3 **Kilickesmez O**, Atilla S, Soylu A, Tasdelen N, Bayramoglu S, Cimilli T, Gurmen N. Diffusion-weighted imaging of the rectosigmoid colon: preliminary findings. *J Comput Assist Tomogr* 2009; **33**: 863-866 [PMID: 19940651 DOI: 10.1097/RCT.0b013e31819a60f]  4 **Koh DM**, Miao Y, Chinn RJ, Amin Z, Zeegen R, Westaby D, Healy JC. MR imaging evaluation of the activity of Crohn's disease. *AJR Am J Roentgenol* 2001; **177**: 1325-1332 [PMID: 11717076]  5 **Maccioni F**, Patak MA, Signore A, Laghi A. New frontiers of MRI in Crohn's disease: motility imaging, diffusion-weighted imaging, perfusion MRI, MR spectroscopy, molecular imaging, and hybrid imaging (PET/MRI). *Abdom Imaging* 2012; **37**: 974-982 [PMID: 22743838 DOI: 10.1007/s00261-012-9890-6]  6 **Oussalah A**, Laurent V, Bruot O, Bressenot A, Bigard MA, Régent D, Peyrin-Biroulet L. Diffusion-weighted magnetic resonance without bowel preparation for detecting colonic inflammation in inflammatory bowel disease. *Gut* 2010; **59**: 1056-1065 [PMID: 20525970 DOI: 10.1136/gut.2009.197665]  7 **Kiryu S**, Dodanuki K, Takao H, Watanabe M, Inoue Y, Takazoe M, Sahara R, Unuma K, Ohtomo K. Free-breathing diffusion-weighted imaging for the assessment of inflammatory activity in Crohn's disease. *J Magn Reson Imaging* 2009; **29**: 880-886 [PMID: 19306416 DOI: 10.1002/jmri.21725]  8 **Oto A**, Kayhan A, Williams JT, Fan X, Yun L, Arkani S, Rubin DT. Active Crohn's disease in the small bowel: evaluation by diffusion weighted imaging and quantitative dynamic contrast enhanced MR imaging. *J Magn Reson Imaging* 2011; **33**: 615-624 [PMID: 21563245 DOI: 10.1002/jmri.22435]  9 **Oto A**, Zhu F, Kulkarni K, Karczmar GS, Turner JR, Rubin D. Evaluation of diffusion-weighted MR imaging for detection of bowel inflammation in patients with Crohn's disease. *Acad Radiol* 2009; **16**: 597-603 [PMID: 19282206 DOI: 10.1016/j.acra.2008.11.009]  10 **Langhorst J**, Kühle CA, Ajaj W, Nüfer M, Barkhausen J, Michalsen A, Dobos GJ, Lauenstein TC. MR colonography without bowel purgation for the assessment of inflammatory bowel diseases: diagnostic accuracy and patient acceptance. *Inflamm Bowel Dis* 2007; **13**: 1001-1008 [PMID: 17352384]  11 **Gandolfi L**. Comparison of magnetic resonance imaging and endoscopy in distinguishing the type and severity of inflammatory bowel disease. *Gastrointest Endosc* 1996; **43**: 86-87 [PMID: 9026433]  12 **Madsen SM**, Thomsen HS, Munkholm P, Dorph S, Schlichting P. Active Crohn's disease and ulcerative colitis evaluated by low-field magnetic resonance imaging. *Scand J Gastroenterol* 1998; **33**: 1193-1200 [PMID: 9867099]  13 **Rimola J**, Rodríguez S, García-Bosch O, Ricart E, Pagès M, Pellisé M, Ayuso C, Panés J. Role of 3.0-T MR colonography in the evaluation of inflammatory bowel disease. *Radiographics* 2009; **29**: 701-719 [PMID: 19448111 DOI: 10.1148/rg.293085115]  14 **Kılıçkesmez O**, Soylu A, Yaşar N, Demirbaş T, Dolapçıoğlu C, Poturoğlu S, Sevindir I, Cimilli T. Is quantitative diffusion-weighted MRI a reliable method in the assessment of the inflammatory activity in ulcerative colitis? *Diagn Interv Radiol* 2010; **16**: 293-298 [PMID: 20698008 DOI: 10.4261/1305-3825.DIR.2989-09.1]  15 **Mentzel HJ**, Reinsch S, Kurzai M, Stenzel M. Magnetic resonance imaging in children and adolescents with chronic inflammatory bowel disease. *World J Gastroenterol* 2014; **20**: 1180-1191 [PMID: 24574794 DOI: 10.3748/wjg.v20.i5.1180]  16 **Aoyagi T**, Shuto K, Okazumi S, Miyauchi H, Kazama T, Matsubara H. Evaluation of ulcerative colitis using diffusion-weighted imaging. *Hepatogastroenterology* 2010; **57**: 468-471 [PMID: 20698210]  17 **Achiam MP**, Løgager V, Chabanova E, Thomsen HS, Rosenberg J. Patient acceptance of MR colonography with improved fecal tagging versus conventional colonoscopy. *Eur J Radiol* 2010; **73**: 143-147 [PMID: 19041207 DOI: 10.1016/j.ejrad.2008.10.003]  18 **Saritas EU**, Lee JH, Nishimura DG. SNR dependence of optimal parameters for apparent diffusion coefficient measurements. *IEEE Trans Med Imaging* 2011; **30**: 424-437 [PMID: 20934948 DOI: 10.1109/TMI.2010.2084583]  19 **Feagan BG**, Greenberg GR, Wild G, Fedorak RN, Paré P, McDonald JW, Dubé R, Cohen A, Steinhart AH, Landau S, Aguzzi RA, Fox IH, Vandervoort MK. Treatment of ulcerative colitis with a humanized antibody to the alpha4beta7 integrin. *N Engl J Med* 2005; **352**: 2499-2507 [PMID: 15958805]  20 **Bewtra M**. An optimized patient-reported ulcerative colitis disease activity measure derived from the Mayo Score and the Simple Clinical Colitis Activity Index. *Inflamm Bowel Dis* 2015; **21**: E1 [PMID: 25479459 DOI: 10.1097/MIB.0000000000000256]  21 **Walmsley RS**. Comment on an optimized patient-reported ulcerative colitis disease activity measure derived from the mayo score and the simple clinical colitis activity index. *Inflamm Bowel Dis* 2014; **20**: E25-E26 [PMID: 25374290 DOI: 10.1097/MIB.0000000000000248]  22 **Bewtra M**, Brensinger CM, Tomov VT, Hoang TB, Sokach CE, Siegel CA, Lewis JD. An optimized patient-reported ulcerative colitis disease activity measure derived from the Mayo score and the simple clinical colitis activity index. *Inflamm Bowel Dis* 2014; **20**: 1070-1078 [PMID: 24810138 DOI: 10.1097/MIB.0000000000000053]  23 **Li W**, Li D, Liu H, Zhou R, Feng C, Ma Y, Yu T. [3.0T MR diffusion-weighted imaging: evaluating diagnosis potency of pulmonary solid benign lesions and malignant tumors and optimizing b value]. *Zhongguo Fei Ai Za Zhi* 2011; **14**: 853-857 [PMID: 22104219 DOI: 10.3779/j.issn.1009-3419.2011.11.04]  24 **Erden A**. Are we expecting too much from the diffusion-weighted MRI? *Turk J Gastroenterol* 2013; **24**: 85-87 [PMID: 23934452]  25 **Laurent V**, Trausch G, Bruot O, Olivier P, Felblinger J, Régent D. Comparative study of two whole-body imaging techniques in the case of melanoma metastases: advantages of multi-contrast MRI examination including a diffusion-weighted sequence in comparison with PET-CT. *Eur J Radiol* 2010; **75**: 376-383 [PMID: 19497694 DOI: 10.1016/j.ejrad.2009.04.059]  26 **Qayyum A**. Diffusion-weighted imaging in the abdomen and pelvis: concepts and applications. *Radiographics* 2009; **29**: 1797-1810 [PMID: 19959522 DOI: 10.1148/rg.296095521]  27 **Belsey J**, Epstein O, Heresbach D. Systematic review: oral bowel preparation for colonoscopy. *Aliment Pharmacol Ther* 2007; **25**: 373-384 [PMID: 17269992]  28 **Florie J**, Birnie E, van Gelder RE, Jensch S, Haberkorn B, Bartelsman JF, van der Sluys Veer A, Snel P, van der Hulst VP, Bonsel GJ, Bossuyt PM, Stoker J. MR colonography with limited bowel preparation: patient acceptance compared with that of full-preparation colonoscopy. *Radiology* 2007; **245**: 150-159 [PMID: 17885188]  29 **Cakmakci E**, Erturk SM, Cakmakci S, Bayram A, Tokgoz S, Caliskan KC, Celebi I. Comparison of the results of computerized tomographic and diffusion-weighted magnetic resonance imaging techniques in inflammatory bowel diseases. *Quant Imaging Med Surg* 2013; **3**: 327-333 [PMID: 24404447 DOI: 10.3978/j.issn.2223-4292.2013.12.03]  30 **Peloquin JM**, Pardi DS, Sandborn WJ, Fletcher JG, McCollough CH, Schueler BA, Kofler JA, Enders FT, Achenbach SJ, Loftus EV. Diagnostic ionizing radiation exposure in a population-based cohort of patients with inflammatory bowel disease. *Am J Gastroenterol* 2008; **103**: 2015-2022 [PMID: 18564113 DOI: 10.1111/j.1572-0241.2008.01920.x] |


**P-Reviewer:** Hayes MJ, Kim ES **S-Editor:** Yu J **L-Editor: E-Editor:**



**Figure 1 Accuracy of diffusion-weighted imaging hyperintensity from various *b* values to detect endoscopic inflammation.**




**Figure 2 Correlation between total magnetic resonance score and total modified Baron score.**




**Figure 3 Accuracy of segmental magnetic resonance score and seven signs indicating endoscopic inflammation.**


A




B



C



D



**Figure 4 A 22-year-old woman with known ulcerative colitis involving the rectum and the sigmoid colon.** Mayo index = 8; total modified Baron score = 12; total MR-score = 22; T2WI without fat saturation (A) and T2WI with fat saturation (B) shows a mild thickening of the sigmoid colon wall (blue arrows); DWI hyperintensity (C; *b* = 800 s/mm2; orange arrows); rapid gadolinium enhancement (D; orange arrows).