| Effectiveness of adaptive servo-ventilation Yasuhiro Tomita, Takatoshi Kasai |
| --- |
| CITATION | Tomita Y, Kasai T. Effectiveness of adaptive servo-ventilation. World J Respirol 2015; 5(2): 112-125 |
| URL | http://www.wjgnet.com/2218-6255/full/v5/i2/112.htm |
| DOI | http://dx.doi.org/10.5320/wjr.v5.i2.112 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Adaptive servo-ventilation (ASV) is a form of positive airway pressure device that is used to treat Cheyne-Stokes respiration and central sleep apnea with various etiologies. Accumulating evidence supports the use of ASV in patients with heart failure. However, some existing data suggest that ASV should be used in other situations. In this review, we highlight the clinical applications and effectiveness of ASV and describe future perspectives regarding its applications. |
| KEY WORDS | Adaptive servo-ventilation; Central sleep apnea; Cheyne-Stokes respiration; Continuous positive airway pressure; Heart failure; Positive airway pressure; Sleep disordered breathing |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Respirology |
| ISSN | 2218-6255 ( online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

ESPS Manuscript NO: 16598

Columns: REVIEW

Effectiveness of adaptive servo-ventilation

Yasuhiro Tomita, Takatoshi Kasai

Yasuhiro Tomita, Cardiovascular Center, Toranomon Hospital, Minato-ku, Tokyo 105-8470, Japan

Yasuhiro Tomita, Takatoshi Kasai, Sleep Center, Toranomon Hospital, Minato-ku, Tokyo 105-8470, Japan

Yasuhiro Tomita, Takatoshi Kasai, Cardio-Respiratory Sleep Medicine, Juntendo University Graduate School of Medicine, Bunkyo-ku, Tokyo 113-8421, Japan

Takatoshi Kasai, Department of Cardiology, Juntendo University Graduate School of Medicine, Bunkyo-ku, Tokyo 113-8421, Japan

Author contributions: Tomita Y and Kasai T drafted the article; Kasai T revised it critically.

Correspondence to: Takatoshi Kasai, MD, PhD, Cardio-Respiratory Sleep Medicine, Juntendo University Graduate School of Medicine, 2-1-1 Hongo Bunkyo-ku, Tokyo 113-8421, Japan. kasai-t@mx6.nisiq.net

Telephone: +81-3-38133111   Fax: +81-3-56890627

Received: January 24, 2015   Revised: April 16, 2015   Accepted: June 9, 2015

Published online: July 28, 2015

Abstract

Adaptive servo-ventilation (ASV) has been developed as a specific treatment for sleep-disordered breathing, in particular Cheyne-Stokes respiration with central sleep apnea (CSA). Heart failure patients often have sleep-disordered breathing, which consists of either obstructive sleep apnea (OSA) or CSA. Other medical conditions, such as stroke, acromegaly, renal failure, and opioid use may be associated with CSA. Continuous positive airway pressure (CPAP) therapy is widely used for patients with OSA, but some of these patients develop CSA on CPAP, which is called treatment-emergent CSA. CPAP can be useful as a treatment for these various forms of CSA, but it is insufficient to eliminate respiratory events in approximately half of patients with CSA. As compared to CPAP, ASV may be a better option to treat CSA, with sufficient alleviation of respiratory events as well as improvement of cardiac function in heart failure patients. In patients without heart failure, ASV can also alleviate CSA and relieve their symptom. Recently, ASV has been widely used for patients with various forms of CSA. ASV may be also used in the setting without CSA, but it should be assessed more carefully. Clinicians should have a better understanding of the indications for ASV in each setting.

Key words: Adaptive servo-ventilation; Central sleep apnea; Cheyne-Stokes respiration; Continuous positive airway pressure; Heart failure; Positive airway pressure; Sleep disordered breathing

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Tomita Y, Kasai T. Effectiveness of adaptive servo-ventilation. World J Respirol 2015; 5(2): 112-125  Available from: URL: http://www.wjgnet.com/2218-6255/full/v5/i2/112.htm  DOI: http://dx.doi.org/10.5320/wjr.v5.i2.112

Core tip: Adaptive servo-ventilation (ASV) is a form of positive airway pressure device that is used to treat Cheyne-Stokes respiration and central sleep apnea with various etiologies. Accumulating evidence supports the use of ASV in patients with heart failure. However, some existing data suggest that ASV should be used in other situations. In this review, we highlight the clinical applications and effectiveness of ASV and describe future perspectives regarding its applications.

INTRODUCTION

Adaptive servo-ventilation (ASV) is one form of non-invasive positive airway pressure (PAP) therapy and was originally developed to treat sleep disordered breathing (SDB), or more precisely Cheyne-Stokes respiration with central sleep apnea (CSR-CSA), which is typically observed in patients with heart failure (HF)[1]. Teschler et al[2] first mentioned ASV in 2001 and reported that it was superior to other treatment options including supplemental oxygen, continuous PAP (CPAP) and bi-level PAP in the suppression of CSR-CSA in patients with HF. Furthermore, several studies have shown that treatment of CSR-CSA with ASV improved underlying cardiac dysfunction in patients with HF[3,4]. ASV can also be used to treat various forms of central sleep apnea (CSA), such as idiopathic CSA, treatment-emergent CSA, opioid-induced CSA and CSA observed in patients with other medical conditions[4-7].

CSA often coexists with obstructive sleep apnea (OSA), another form of SDB, especially in patients with HF. Because ASV provides expiratory positive airway pressure (EPAP), which can maintain an open upper airway, in addition to inspiratory pressure support (PS), it can alleviate coexisting OSA and CSA[8].

More recently, ASV has been applied in various clinical settings beyond just SDB treatment. Some Japanese groups have suggested the use of ASV for the treatment of pulmonary congestion and improvement of hemodynamics in patients with HF regardless of the presence or absence of SDB[9-13]. Another group reported the efficacy of ASV use combined with deep sedation during the pulmonary vein isolation procedure for atrial fibrillation. Thus, ASV is widely used in the field of cardiology and respiratory medicine.

In this review, we describe the fundamental mechanisms and effects of ASV on respiratory and cardiovascular systems, the utility of ASV in various clinical settings, and future perspectives.

FUNDAMENTALS OF ASV

ASV can be considered as an advanced mode of bi-level PAP. ASV devices automatically provide altering PS for each inspiration, ranging from a pre-set minimum to a pre-set maximum level to maintain the moving target ventilation determined by the current breathing of the patient, in addition to back-up ventilation with automatically determined respiratory rates (Figure 1A). ASV devices also provide an EPAP that is sufficient to maintain an open upper airway. More recent ASV devices can automatically alter EPAP levels based on algorithms that aim to alleviate snoring, flow limitation, and obstructive apneas and hypopneas (Figure 1B).

Three ASV devices are manufactured by ResMed Inc., Philips-Respironics Inc. and Weinmann Geräte für Medizin GmbH+Co. KG (Table 1). In the latest version of all of the devices, EPAP automatically varies to eliminate obstructive events. PS is also dynamically adjusted breath-to-breath as necessary to ensure that the actual ventilation matches the target value in addition to the auto-titration of EPAP to maintain airway patency. The main differences between devices are the triggers to determine the target level. ResMed and Weinmann devices provide volume-triggered ASV. The ResMed device establishes a target minute-ventilation that is 90% of the recent average minute volume from a 3-min collection period and attempts to maintain ventilation at the target level. The Weinmann device has no fixed target level of minute volume, but it calculates the relative minute volume of the current breath and attempts to predict future values of minute volume based on a moving window that is focused by 50% on the last 2 min and by 50% on the previous time to stabilize the relative minute volume. The Philips-Respironics device is a flow-triggered ASV that monitors the peak inspiratory flow of the patient over a recent moving 4-min window, calculating an average peak flow at every point within this window to establish a target peak flow. It compares these data to an internal target and maintains a target peak inspiratory flow. There are some minor differences in other features across these three devices.

Other than ASV devices themselves, the important equipment necessary for ASV therapy is patient interfaces include nasal masks, nasal pillows, and oro-nasal (full-face) masks that cover the nose and mouth, and the optional heated humidifier system (Figure 2). The choice of mask rather than the choice of device is the most important issue for patient comfort and tolerance to ASV therapy. Poorly fitted masks decrease the efficacy and adherence to ASV therapy. In addition to the mask itself, headgear or straps are used as a harness. Headgear that are too tight may worsen the air leak and interfere with patient comfort and adherence. The optional heated humidifier can be easily connected to the ASV device and helps to minimize the effects of nasal dryness.

EFFECTS OF ASV ON RESPIRATORY AND CARDIOVASCULAR SYSTEMS

Effects on the respiratory system

ASV devices, which provide EPAP (more recently auto EPAP), auto-adjusted PS and servo-ventilation, have several effects on the respiratory system.

EPAP prevents alveoli from collapsing in the end-expiratory phase and improves gas exchange and oxygenation through alveolar units, which is a common effect across PAP devices[14]. EPAP also prevents upper airway obstruction in patients with OSA[15], consequently decreasing respiratory events and arousals and improving sleep architecture. Auto-adjusted PS, which is provided based on the target minute volume or target peak flow, can reduce respiratory muscle loading of breathing[16] and alleviate CSR-CSA and other forms of CSA. Each ASV device has different algorithms, but all of them provide auto-adjusted PS during inspiration and servo-ventilation, with the goal of stable ventilation. Because breathing instability leads to enhanced sympathetic nervous system activity (SNA)[17,18], ASV may reduce SNA by alleviating CSR-CSA and other forms of CSA and maintaining stable ventilation[9]. Such sympathoinhibitory contributions of ASV may provide beneficial effects on hemodynamics, which may be unique to ASV[19].

Effects on the cardiovascular system

ASV devices have several direct effects on the cardiovascular system. Some small studies in patients with HF suggest acute effects of the short-duration use of ASV, whereas wakefulness will help us understand the hemodynamic effects of ASV. After 30 min of ASV, blood pressure and heart rate were significantly decreased, whereas stroke volume and cardiac output were significantly increased[19]. These findings indicate that in patients with HF, ASV can reduce systemic vascular resistance and consequently reduce left ventricular (LV) afterload, potentially by maintaining a consistent ventilation and providing a related reduction of SNA. ASV also reduces right ventricular (RV) preload, thus diminishing the systemic venous return by increasing the intrathoracic pressure. These cardiac unloading effects are favorable in HF patients. However, in subjects without HF who are usually dependent on preload[20], the cardiac output may decrease in response to ASV.

Another favorable effect of ASV on the cardiovascular system is the improvement of SDB. Both OSA and CSR-CSA, or other forms of CSA, may lead to a deterioration of cardiac function. OSA exaggerates the negative intrathoracic pressure during inspiratory efforts against upper airway obstruction[21]. Therefore, the LV transmural pressure increases (i.e., intraventricular minus intrathoracic pressure), leading to an elevated LV afterload. The sympathetic nervous system is activated in patients with OSA as well as CSA[22,23], leading to a surge in BP and HR. An absence of breathing eliminates the sympathoinhibitory reflex from pulmonary stretch receptors, enhancing SNA. Intermittent hypoxia and arousals also lead to cyclical surges in SNA. Attenuation of SDB by ASV will alleviate these adverse effects on hemodynamics. However, the maintenance of a consistent respiration by auto PS and servo-ventilation, even in cases without SDB, may play a role in the attenuation of SNA.

UTILITIY OF ASV IN VARIOUS CLINICAL SETTINGS

SDB in heart failure

As mentioned previously, ASV was originally developed to treat CSR-CSA in patients with HF. CSR-CSA is characterized as a cyclic pattern of crescendo-decrescendo respiration superimposed by central apnea or hypopnea.

HF patients with an increased left ventricular filling pressure are likely to present CSR-CSA[22]. An elevated pulmonary capillary wedge pressure (PCWP) results in pulmonary congestion, stimulating pulmonary vagal irritant receptors and leading to hyperventilation in association with an increased chemosensitivity[24]. This effect is observed in patients with HF and is most likely due to an increase in SNA[25]. When PaCO2 falls below the apneic threshold due to such hyperventilation because of an increase in the apneic threshold during the transition from wakefulness to sleep[24], central apnea ensues. Apnea persists until PaCO2 rises above the apneic threshold; subsequently, ventilation resumes, ventilatory overshoot occurs, and PaCO2 decreases below the apneic threshold in association with arousal during the ventilatory phase and increased chemosensitivity. The length of the ventilatory phase following central apneas is directly proportional to the lung-to-chemoreceptor circulation time[26] and inversely proportional to cardiac output[27], reflecting a delayed transmission of change in arterial blood gas tension from the lungs to the chemoreceptors in association with impaired cardiac output in HF patients. This phenomenon could also contribute to the pathogenesis of the Cheyne-Stokes respiration (CSR) pattern by facilitating a ventilatory overshoot and undershoot.

As described above, CSR-CSA occurs secondary to HF, but CSR-CSA itself also contributes to the deterioration of cardiac function. HF patients with CSA exhibit an increased SNA during sleep, and this effect persists during wakefulness[23]. In HF, patients with CSR-CSA are associated with a worse prognosis. Thus, CSR-CSA could be a therapeutic target in patients with HF. However, treatment for CSR-CSA in patients with HF should be considered after optimization of HF therapy because CSR-CSA results from HF and pulmonary congestion. Because HF patients with CSR-CSA have associated pulmonary congestion and increased LV filling pressures, CPAP was initially applied to improve pulmonary congestion and decrease the LV filling pressure via cardiac unloading[28]. However, studies regarding the effects of CPAP on the suppression of CSR-CSA in HF patients produced inconsistent results: some of them alleviated CSR-CSA significantly, but others did not[29]. Nevertheless, if CPAP was titrated gradually, then CSR-CSA was alleviated in most of the cases[30] accompanied by an increase in PaCO2[31], a reduction in SNA[32], and improvements in respiratory muscle function[33] and LV systolic function[34].

However, The Canadian Continuous Positive Airway Pressure for Treatment of Central Sleep Apnea in Heart Failure (CANPAP) trial[34], which included 258 patients with HF and CSA to assess the long-term survival benefit of CPAP treatment for CSR-CSA, reported that CPAP did not improve survival. A post-hoc analysis of the CANPAP trial[35] revealed that patients with CSR-CSA that was sufficiently suppressed [i.e., apnea-hypopnea index (AHI) < 15] by CPAP at 3 mo had a significantly better survival, which indicated that treatment that can suppress CSR-CSA more sufficiently and consistently might improve survival in HF patients with CSR-CSA. Because ASV has been recognized as the most effective technique to suppress CSR-CSA, even in patients with an AHI ≥ 15 on CPAP, the effects of ASV on cardiac function during the treatment of CSR-CSA were assessed in several short-term randomized controlled trials (RCTs). Small RCTs investigating the effects of ASV on cardiac function in HF patients with CSR-CSA are summarized in Table 2. Pepperell et al[36] reported that ASV decreased AHI, improved excessive daytime sleepiness and lowered the level of brain natriuretic peptide (BNP) and urinary metadrenaline excretion compared with subtherapeutic use of ASV. However, there was no difference in improvement of cardiac function.

Philippe et al[3] compared ASV with CPAP and concluded that ASV provided a greater benefit in attenuating CSR-CSA and improving cardiac function. Although volume-targeted ASV devices were used in these two studies, Kasai et al[4] investigated the effects of flow-targeted ASV devices on cardiac function by comparing two settings for the same ASV: ASV-mode and CPAP-mode. This study included only patients with CSR-CSA that was not sufficiently suppressed (i.e., AHI ≥ 15 on CPAP) despite ≥ 3 mo of CPAP. In these populations, ASV-mode was superior to CPAP-mode in reducing AHI and improving cardiac function. Bi-level PAP has also been reported to be effective in attenuating CSR-CSA. Fietze et al[37] compared the effects of ASV and Bi-level PAP using the standard spontaneous/timed (S/T) mode. They concluded that both PAPs could reduce AHI and increase LVEF. Between the two PAPs, AHI decreased more in the ASV group, whereas LVEF increased more in the Bi-level PAP group, although these differences were not significant. Based on these studies, ASV can attenuate CSR-CSA more than other PAPs in HF patients with CSR-CSA. ASV can also improve LVEF in HF patients with CSR-CSA after 3 to 6 mo use with good adherence, which indicates that the nightly usage is more than 4 h.

The effects of ASV treatment for CSR-CSA on the long-term prognosis of HF patients will be determined by two ongoing large-scale RCTs: Treatment of Predominant Central Sleep Apnoea by Adaptive Servo Ventilation in Patients With Heart Failure (Serve-HF)[38]; Effect of Adaptive Servo Ventilation (ASV) on Survival and Hospital Admissions in Heart Failure (ADVENT-HF)[39].

The prevalence of OSA is also high in patients with HF, and coexisting OSA with CSR-CSA is common in patients with HF. Therefore, CPAP may not sufficiently alleviate SDB, particularly in patients with a greater proportion of CSR-CSA than OSA. However, ASV can suppress OSA by modifying the EPAP levels in addition to suppressing CSR-CSA. Thus, ASV, particularly more recent ASV devices equipped with auto-titrating EPAP, may be a therapeutic option for SDB without the need to distinguish between OSA and CSR-CSA. Several short-term RCTs have assessed the effects of ASV on cardiac function in HF patients with coexisting CSR-CSA and OSA (Table 3). Two studies comparing the effects of CPAP and ASV on cardiac function suggested different results. Kasai et al[40] reported that ASV significantly reduced AHI more completely and significantly increased LVEF compared with CPAP. Randerath et al[41] reported that ASV reduced AHI and BNP levels, but there were no significant differences in exercise performance and cardiac functions. Another two studies[42,43] comparing an ASV group and a control group without ASV failed to show an improvement of LVEF, although ASV improved SDB in both studies. However, both studies demonstrated a significantly greater reduction of the BNP level in the ASV group, and a study by Yoshihisa et al[42] demonstrated significant improvements in diastolic function and event-free survival (against cardiac death and worsening HF). We should note that the studies by Randerath et al[41] and Yoshihisa et al[42] included HF patients with preserved LVEF, whereas the studies by Kasai et al[40] and Birner et al[43] included only HF patients with reduced LVEF (LVEF < 50%, < 40%). Moreover, residual AHI on ASV was higher than 10/h in the studies conducted by Randerath et al[41] and Birner et al[43]. Differences in the etiology of HF could have led to differences in LVEF improvement. The studies reported by Randerath et al[41] and Birner et al[43] contained a high proportion of ischemic heart disease, whereas those by Kasai et al[40] and by Yoshihisa et al[42] included only 26% and 28%, respectively. The long-term prognostic effects of SDB were greater in HF patients with ischemic heart disease[44]. However, greater short-term reductions in RV and LV volumes were observed in HF patients with idiopathic dilated cardiomyopathy compared with those with ischemic cardiomyopathy[45]. Based on the findings of these studies showing that ASV provides consistent effectiveness to reduce AHI and maintain good compliance in HF patients with coexisting OSA and CSR-CSA, ASV should be recommended to patients with symptoms that are related to their SDB and be considered to improve cardiac functions if the SDB can be alleviated with ASV (i.e., AHI on ASV < 10/h), as well as in some select cases (possibly HF patients with non-ischemic etiologies). Kasai et al[40] also showed a significant correlation between the nightly usage of devices (i.e., ASV and CPAP) and the increase in LVEF; the longer the nightly usage, the greater was the increase in LVEF. This finding indicates that maintenance of better adherence to devices is more important for improvement of cardiac function than the type of device that is used. We should note that OSA can be alleviated by CPAP and that CPAP can alleviate CSR-CSA in approximately 50% of the patients with CSR-CSA[34]. In addition, considering the difference in cost between CPAP and ASV, CPAP should be attempted as a first-line therapy. The effects of ASV on both types of SDB will be determined in an ongoing large-scale RCT that includes HF patients with predominant OSA in addition to those with CSR-CSA (i.e., ADVENT-HF)[39].

Although most of the previous data regarding SDB involve HF patients in the chronic phase, it has been recently reported that hospitalized patients with HF following acute decompensated HF (ADHF) also frequently have SDB and that the presence of either severe OSA or moderate-to-severe CSR-CSA identified during hospitalization following ADHF is a predictor of readmission and mortality[46]. Thus, ASV therapy can be considered in such patients. An ongoing study, Cardiovascular Improvements With MV ASV Therapy in Heart Failure (CAT-HF,) may elucidate whether ASV therapy improves outcomes in these patients[47].

Treatment-emergent CSA

Some patients with OSA develop central respiratory events or a periodic breathing pattern similar to CSR after the removal of upper airway obstruction. This phenomenon has been reported in patients with OSA treated by CPAP and described in various ways, such as “treatment-emergent CSA”, “CPAP-emerged CSA”, “complex SDB”, or “complex sleep apnea syndrome (SAS)”. The term “complex SAS” was first used by Morgenthaler et al[48] and has been most widely applied since that time. However, this term is sometimes misunderstood as solely a mixture of OSA and CSA observed in one patient during a diagnostic sleep study rather than CSA that has emerged in response to treatment. Thus, we use “treatment-emergent CSA” in this review, which is consistent with the term in the third edition of the International Classification of Sleep Disorders (ICSD-3).

In general, studies including patients with CPAP therapy for OSA have found that the prevalence of treatment-emergent CSA ranged from 1.6%-18.0%[6,49-52]. Most residual events during the initial CPAP titration are transient and may disappear over 2 to 3 mo of continued CPAP use[53]. Residual events lead to CPAP intolerance, and therefore, patients with treatment-emergent CSA may sometimes discontinue CPAP prior to alleviating the residual respiratory event. The residual respiratory events that emerged in response CPAP were associated with dyspnea and inadvertent mask removal[54]. More careful follow-up is needed to continue CPAP for such patients.

A prospective study[55] suggested that patients with treatment-emergent CSA were significantly older, but some other studies found no significant difference between patients with and without treatment-emergent CSA. In several retrospective studies[48-50], treatment-emergent CSA was more frequently observed in men than in women. In addition, most epidemiological investigations suggested that body mass index (BMI) did not differ between patients with and without treatment-emergent CSA[49,50,53,55]. In terms of polysomnographic findings, although some studies suggested that greater AHI, central apnea index, or the arousal index during diagnostic sleep studies could be predictors for the development of treatment-emergent CSA, these results were not consistent with those of other studies. One case report suggested that dissociation between apnea termination and arousal during diagnostic sleep study might be suggestive of the presence of treatment-emergent CSA[56]. However, this phenomenon should be studied using a larger sample size.

Bitter et al[6] described that 18% of patients with HF develop treatment-emergent CSA defined as more than 15 episodes of central apnea or periodic breathing per hour when undergoing CPAP titration. When defined as more than 5 episodes, 37% of the patients presented treatment-emergent CSA, which indicates that treatment-emergent CSA is quite common in patients with HF. However, Westhoff et al[57] assessed the prevalence of treatment-emergent CSA among patients with CPAP treatment for OSA with BNP levels that were within the normal range. The prevalence (1.6%) was much lower than that in patients with HF. Thus, HF is one of the risk factors for the development of treatment-emergent CSA. However, this feature may be explained by an underlying CSR pattern of respiratory events with an obvious obstructive phenotype. Such respiratory events were scored as obstructive during diagnostic studies. However, in a CPAP titration study, alleviation of the upper airway obstruction resulted in a prominent underlying CSR[56].

The mechanism underlying the development of treatment-emergent CSA remains to be elucidated and is assumed to be multifactorial. Minute ventilation is determined by the level of PaCO2 via stimulating chemoreceptors. When PaCO2 falls below the apnea threshold, central apnea occurs. Patients with treatment-emergent CSA may be susceptible to frequent arousal due to the intolerance to CPAP, and this effect is secondary to an elevated nasal resistance[58], including a mask leak and mouth breathing[59]. Other comorbidities of the patients can also trigger frequent arousals, leading to unstable sleep and oscillation of PaCO2, which may cause treatment-emergent CSA[60]. Excessive pressure may activate lung stretch receptors, which inhibit central respiratory motor output, and lead to central apnea via the Hering-Breuer reflex[61]. The efficiency of CO2 excretion in patients with OSA is usually reduced but is improved with the application of CPAP. Even if the pressure is appropriate, improved CO2 excretion can induce transient hypocapnia, triggering CSA. The CO2 apnea threshold, which is usually 2–6 mmHg below the eucapnic sleeping CO2 level, may improve to the lower level as the eucapnic sleeping CO2 level decreases over several weeks of CPAP use, resulting in a resolution of the central apnea[62]. This phenomenon may be one of the reasons why most treatment-emergent CSA is transient and may disappear over several weeks[53].

ASV has been reported to be effective for the treatment of treatment-emergent CSA. However, the success rate, defined as the total AHI that was attenuated under 10 events per hour, varies from 76% to 92%[63,64]. Supplemental oxygen plus CPAP or the use of bi-level PAP alone rather than CPAP have also been reported to be effective, but Allam et al[63] reported that ASV was more successful than either CPAP with oxygen or bi-level PAP (including either spontaneous/timed-mode or spontaneous-mode). A retrospective study[65] in which the mean nightly use of ASV was assessed at the first visit (at 4-6 wk following initiation of ASV) revealed good adherence to ASV (5.0-6.0 h per night). In another retrospective study, attenuation of residual AHI on CPAP using ASV resulted in an improvement of sleep fragmentation and a reduction of the arousal index[64]. These findings do not indicate that all patients with treatment-emergent CSA should be treated with ASV because CSA may disappear over several months[53], but they suggest that some patients with treatment-emergent CSA will benefit from ASV in reducing AHI and improving sleep architecture and adherence. In general, we should try to optimize the setting of CPAP, improve nasal resistance, and control mask leaks. Following these efforts and after the confirmation that treatment-emergent CSA remains after several weeks, an upgrade from CPAP to ASV could be considered. We should also consider the cost effectiveness of ASV in patients with treatment-emergent CSA.

In the study by Bitter et al[6] of HF patients with treatment-emergent CSA, all 34 HF patients with treatment-emergent CSA used ASV, and only one of them failed to show a reduction of AHI below 15 events per hour of sleep at 3 mo following the initiation of ASV. As described above, HF patients with treatment-emergent CSA may include some patients with a clear obstructive phenotype and underlying CSR. In such patients, ASV should be recommended in those patients with symptoms that are related to their residual SDB and be considered in cases in which SDB can be successfully alleviated with ASV, as well as in some select cases, similar to HF patients with coexisting OSA and CSR-CSA. Even in these populations, the patients should continue to use CPAP for several weeks with carful observation to exclude “transient” treatment-emergent CSA.

Idiopathic CSA

Idiopathic CSA is categorized as one form of primary CSA with underlying causes or disorders (i.e., HF, cerebrovascular disease, and renal failure) that are not identified. The prevalence of idiopathic CSA is not reported. Although it is not strictly limited to “idiopathic”, the prevalence of CSA in the general population has been reported to be only 0.4%[66], which suggests that the prevalence of idiopathic CSA could be much lower than other forms of primary CSA. The prognosis of idiopathic CSA is also unknown, but it is speculated to be a relatively benign condition due to the absence of other comorbidities[67].

The pathogenesis of idiopathic CSA has not been fully elucidated. However, it has been reported that increased ventilatory responses and hypocapnia play important roles[68]. Arousal and the accompanying hyperventilation have also been reported to be one of the mechanisms that triggers hypocapnia[69].

The patterns and features of respiratory events in patients with idiopathic CSA are not the same as those of typical CSR. Patients with idiopathic CSA exhibit a periodic breathing pattern with a shorter cycle length[26] and less severe desaturations associated with central apneas[70]. In patients with idiopathic CSA, insomnia (difficulty in initiating and maintaining sleep) or hypersomnolence have not been reported to be common presenting symptoms[70,71].

ASV may also be effective for idiopathic CSA. However, there are no solid reports in which the effectiveness of ASV in patients with idiopathic CSA was completely evaluated. Three cases of idiopathic CSA that did not respond well to either CPAP or oxygen were reported to benefit from ASV[5]. In that case series, ASV decreased the mean abnormal breathing event index from 35.2 to 3.5 per hour of sleep, and it also reduced the mean number of arousals caused by the abnormal breathing events from 18.5 to 1.1 per hour of sleep. Moreover, subjective daytime alertness and mood improved after 6 to 12 mo of using ASV. These cases indicated that ASV could be effective in improving symptoms for idiopathic CSA and should be used to relieve symptoms. The efficacy must be verified in larger numbers of patients.

Opioid-induced CSA

Individuals who are either acute or chronic opioid users can develop CSA[72,73]. The prevalence of opioid-induced CSA is unknown, but previous reports suggested that CSA was present in 30%-60% of patients who received methadone, a long-acting -opioid agonist, for the treatment of substance abuse[74,75]. It has been reported that methadone overdose is associated with the presence of CSA and a worse prognosis, but whether the reported worse prognosis in association with methadone overdose indicates the presence of CSA or underlying comorbidities remains unclear[76].

Walker et al[73] reported that symptoms of sleep apnea in the opioid group and in the control group were similar. There were no significant differences in the Epworth Sleepiness Scales or prevalence of comorbidities between the two groups. Specific symptoms of opioid-induced CSA have not been reported. The pattern of CSA observed in patients with opioid use is not similar to that observed in patients with HF, who typically display a CSR pattern. However, the pattern of CSA observed in patients who are taking opioids is similar to ataxic breathing. Ataxic breathing is distinguished from CSR by its irregularity. In addition, there is no cyclical change in tidal volume like that in CSR. The pathophysiology of developing CSA as a result of opioid use is unknown. However, it has been suggested that the inhibitory effects of opioids on the -opioid receptor of carotid bodies may play an important role in the development of CSA.

Various forms of PAP have been used for opioid-induced CSA. A systematic review[77] based on five articles including a total of 127 patients who were using opioids for at least 6 mo showed the effectiveness of PAP for the treatment of opioid-induced CSA. In most of the cases, CPAP therapies were ineffective for the alleviation of CSA. However, ASV was more effective than CPAP. Approximately 60% of the patients with opioid-induced CSA attained a central apnea index of < 10 per hour of sleep on either the bi-level PAP or ASV[77]. In general, the presence of ataxic breathing can be a predictor of a poor response to PAP therapy[77]. Javaheri et al[7] reported the results of a study in which twenty patients with chronic opioid therapy who showed persistent CSA on CPAP underwent ASV titration. In that study, the diagnostic polysomnography showed an average central apnea index (CAI) of 32 per hour of sleep. On the CPAP, in contrast, CSA was not attenuated, and the average CAI was 20 per hour of sleep. However, during ASV titration, the average CAI was 0 per hour of sleep for the final pressures. During the follow-up for a minimum of 9 mo and up to 6 years in 17 of the 20 patients, the adherence to ASV was good (average nightly usage was > 5 h). Long-term RCTs are needed to validate the mortality benefit of ASV in patients with CSA associated with opioid use.

Ischemic stroke-related CSA

SDB is common after ischemic stroke and can be found in more than half of the patients, especially in the acute phase[78,79]. Preexisting OSA has been reported to be a predictor of the development of ischemic stroke. A longitudinal cohort study suggested that a higher obstructive AHI could be predictive of future incident ischemic stroke[80]. Such OSA remains in the acute phase following the stroke attack. In contrast, CSA is likely to occur in the post-acute period of ischemic stroke, and there might be a cause and effect relationship between stroke and CSA during the acute phase following the stroke. This hypothesis is supported by observations in which SDB disappeared after the acute phase of stroke[78,81]. However, there are reports showing that CSA remains in approximately 50% of the ischemic stroke patients at 3 mo after the onset of stroke[78,82,83]. Injury in the brain or central nervous system, which may or may not be reversible, could be a possible explanation for such inconsistent results. In addition, a prospective study assessing 93 patients with stroke demonstrated that the presence of CSA was associated with a decrease in LVEF but was not related to the location or type of stroke. This study suggested that CSA after stroke was only a coexisting phenomenon of underlying cardiovascular diseases[84].

Limited data suggest that the presence of CSA during the acute stroke phase might have a prognostic impact. Rowat et al[85] reported that central periodic breathing patterns, such as CSR, were common in acute stroke (24%) and were independently associated with a poor outcome after stroke. They found that 91% of the patients with central periodic breathing were dead or physically dependent compared with 53% of those without this condition.

However, the treatment of CSA related to stroke has not been well established. ASV has also been applied for CSA related to stroke. Speculation regarding the similarities of the pathophysiology of CSA in relation to stroke and HF has led to the consideration that ASV may be effective in the treatment of CSA after stroke. A single-center retrospective analysis of ASV treatment for CSA in post-acute ischemic stroke patients suggested that ASV was well tolerated and clinically effective in such patients[86]. In that study, the role of ASV was evaluated in the treatment of CSA in post-acute stroke patients, most of whom were treated with other PAPs with insufficient reduction of AHI. ASV significantly improved AHI and reduced daytime sleepiness after 3 to 6 mo.

Other clinical applications of ASV

HF patients without SDB may also benefit from PAP therapy as a result of its cardiac unloading effects. In fact, the short-term application of CPAP (i.e., 5-10 cm H2O) can increase cardiac output in stable HF patients with pulmonary congestion[87]. This possibility has been further assessed in a subgroup analysis of a small randomized trial investigating the effects of CPAP on cardiac function and clinical outcomes in HF patients with and without CSA[88]. In a subgroup analysis of patients without CSA, CPAP had no effect on either LVEF or the composite endpoint of mortality and the cardiac transplantation rate. However, based on recent data showing the acute beneficial effects of the short-term application of ASV on sympathetic nervous system activity[9,89] and hemodynamics[11,19], it has been suggested that ASV and not CPAP may be an effective option for HF patients beyond just as a treatment for SDB. In fact, Takama et al[10] reported that ASV treatment for HF patients resulted in almost equal improvements in BNP levels and LVEF regardless of the severity and type of SDB. Moreover, Koyama et al[13] reported that ASV was associated with better clinical outcomes regardless of the presence or absence of moderate CSA (i.e., AHI < 20 or ≥ 20). In addition, a multicenter, retrospective, observational study that included 115 Japanese HF patients treated with ASV, regardless of the presence or absence of SDB, examined the effects on their symptoms and hemodynamics. Improvements in LVEF and New York Heart Association (NYHA) class after ASV therapy were not influenced by the severity of SDB[90]. The possible benefits of ASV on cardiac function are being assessed in an ongoing randomized clinical trial in which HF patients with and without SDB are being randomized to either ASV treatment or medical therapy to assess changes in the LV ejection fraction at 6 mo (SAVIOR-C)[91].

In general, the acute hemodynamic effects of PAP therapy are more prominent in HF patients with pulmonary congestion or increased LV filling pressure (i.e., pulmonary capillary wedge pressure ≥ 12 mmHg)[11]. Therefore, HF patients with a low filling pressure and those without hypervolemia should not be treated with PAP therapy including ASV, or they should at least be treated with caution[90].

The acute effects of ASV in patients with acute cardiogenic pulmonary edema have also been evaluated[12]. In an observational study, Nakano and colleagues found that after one hour of ASV with supplemental oxygen, plasma catecholamine concentrations fell significantly with declines in blood pressure, heart rate and respiratory rate compared with supplemental oxygen alone. These findings suggest that the use of ASV, in comparison to supplemental oxygen alone, may relieve dyspnea and improve hemodynamics, possibly through the modulation of sympathetic nerve activity. However, this hypothesis remains to be confirmed in a larger-scale randomized study comparing ASV and other PAPs.

In Japan, ASV is sometimes used during pulmonary vein isolation (PVI) by catheter ablation for atrial fibrillation to maintain stable respiration. During the PVI procedure, the use of deep sedation with analgesia (propofol and pentazocine hydrochloride) suppresses respiration and/or results in upper airway collapse, leading to unstable respiration with a large variation that interferes with the PVI procedure, such as catheter positioning. The use of deep sedation with analgesia in combination with ASV lowers the frequency of restless body movements and stabilizes respiration, leading to a decreased total electrical energy supply, shorter fluoroscopy and procedural times, and a decreased rate of recurrence of atrial fibrillation[92]. These findings should be confirmed in a larger-scale randomized study comparing ASV and other PAPs.

FUTURE PERSPECTIVES

We should note that indications for ASV and anticipated clinical outcomes in response to ASV are different in each situation (Table 4).

In HF patients with SDB, one can anticipate improvements with ASV use in cardiac function in addition to symptom relief due to SDB. If the long-term prognostic impacts of ASV for such patients are demonstrated in the future, a benefit of ASV will be more pronounced. Still, we should not overlook the following points: CPAP or ASV should be chosen appropriately, considering the cost-benefit of CPAP rather than ASV because approximately half of the HF patients with CSA can be sufficiently attenuated by CPAP; efforts to maintain adherence to devices should be implemented to derive the maximal benefit from them. In terms of maintaining adherence, intensive support for CPAP use, including a 3-night trial of CPAP in the sleep center, education regarding home use of CPAP for patients and their partners and an additional home visit after initiating home use of CPAP, increased the duration of usage and improved symptoms compared with standard support[93]. Thus, the strategy of initiating ASV for HF patients following admission due to acute decompensated HF is reasonable because more intensive support is available during hospitalization for ADHF. RCTs investigating the application of ASV for ADHF patients are needed, and we should also validate the usefulness of this strategy in the maintenance of adherence.

When treatment-emergent CSA is observed in HF patients, the same indication for HF patients with SDB can be applied. However, in patients without HF, we should avoid the routine use of ASV for treatment-emergent CSA, considering the high cost of ASV. We can apply ASV in such patients only to relieve symptoms of treatment-emergent CSA. We must determine the long-term prognostic impact of changing from CPAP to ASV for HF patients with treatment-emergent CSA. We must also determine which patients will experience prognostic benefits following such changes.

The impacts of ASV for idiopathic CSA or opioid-induced CSA are limited. ASV can attenuate CSA in such patients, but the significance of the effect for patients with no symptoms should be investigated further. The regular use of ASV in these situations may represent overuse and should be avoided.

Other situations of ASV use have been introduced in several reports. However, whether the clinical benefits of ASV exceed those of other PAP devices remains to be clarified. At present, additional evidence is needed to support the use of ASV rather than that of other PAP devices in such situations.

CONCLUSION

As discussed herein, the effectiveness of ASV in the field of cardiovascular and respiratory care is currently being established, and it will be more widely used if positive results are obtained in several large-scale RCTs. Therefore, clinicians should have a better understanding, for instance, of which patients should be targeted for ASV, how to apply it, and what is the anticipated outcome of ASV, with insightful consideration of the cost-effectiveness in each case.

REFERENCES

1	Bradley TD, Floras JS. Sleep apnea and heart failure: Part II: central sleep apnea. Circulation 2003; 107: 1822-1826 [PMID: 12682029 DOI: 10.1161/01.CIR.0000061758.05044.64]

2	Teschler H, Döhring J, Wang YM, Berthon-Jones M. Adaptive pressure support servo-ventilation: a novel treatment for Cheyne-Stokes respiration in heart failure. Am J Respir Crit Care Med 2001; 164: 614-619 [PMID: 11520725 DOI: 10.1164/ajrccm.164.4.9908114]

3	Philippe C, Stoïca-Herman M, Drouot X, Raffestin B, Escourrou P, Hittinger L, Michel PL, Rouault S, d’Ortho MP. Compliance with and effectiveness of adaptive servoventilation versus continuous positive airway pressure in the treatment of Cheyne-Stokes respiration in heart failure over a six month period. Heart 2006; 92: 337-342 [PMID: 15964943 DOI: 10.1136/hrt.2005.060038]

4	Kasai T, Kasagi S, Maeno K, Dohi T, Kawana F, Kato M, Naito R, Ishiwata S, Ohno M, Yamaguchi T, Narui K, Momomura S. Adaptive servo-ventilation in cardiac function and neurohormonal status in patients with heart failure and central sleep apnea nonresponsive to continuous positive airway pressure. JACC Heart Fail 2013; 1: 58-63 [PMID: 24621799 DOI: 10.1016/j.jchf.2012.11.002]

5	Banno K, Okamura K, Kryger MH. Adaptive servo-ventilation in patients with idiopathic Cheyne-Stokes breathing. J Clin Sleep Med 2006; 2: 181-186 [PMID: 17557493]

6	Bitter T, Westerheide N, Hossain MS, Lehmann R, Prinz C, Kleemeyer A, Horstkotte D, Oldenburg O. Complex sleep apnoea in congestive heart failure. Thorax 2011; 66: 402-407 [PMID: 21393364 DOI: 10.1136/thx.2010.146522]

7	Javaheri S, Harris N, Howard J, Chung E. Adaptive servoventilation for treatment of opioid-associated central sleep apnea. J Clin Sleep Med 2014; 10: 637-643 [PMID: 24932143 DOI: 10.5664/jcsm.3788]

8	Randerath WJ, Galetke W, Kenter M, Richter K, Schäfer T. Combined adaptive servo-ventilation and automatic positive airway pressure (anticyclic modulated ventilation) in co-existing obstructive and central sleep apnea syndrome and periodic breathing. Sleep Med 2009; 10: 898-903 [PMID: 19303811 DOI: 10.1016/j.sleep.2008.09.017]

9	Harada D, Joho S, Oda Y, Hirai T, Asanoi H, Inoue H. Short term effect of adaptive servo-ventilation on muscle sympathetic nerve activity in patients with heart failure. Auton Neurosci 2011; 161: 95-102 [PMID: 21195678 DOI: 10.1016/j.autneu.2010.12.001]

10	Takama N, Kurabayashi M. Effectiveness of adaptive servo-ventilation for treating heart failure regardless of the severity of sleep-disordered breathing. Circ J 2011; 75: 1164-1169 [PMID: 21378449 DOI: 10.1253/circj.CJ-10-0831]

11	Yamada S, Sakakibara M, Yokota T, Kamiya K, Asakawa N, Iwano H, Yamada S, Oba K, Tsutsui H. Acute hemodynamic effects of adaptive servo-ventilation in patients with heart failure. Circ J 2013; 77: 1214-1220 [PMID: 23363644 DOI: 10.1253/circj.CJ-12-1088]

12	Nakano S, Kasai T, Tanno J, Sugi K, Sekine Y, Muramatsu T, Senbonmatsu T, Nishimura S. The effect of adaptive servo-ventilation on dyspnoea, haemodynamic parameters and plasma catecholamine concentrations in acute cardiogenic pulmonary oedema. Eur Heart J Acute Cardiovasc Care 2014; Epub ahead of print [PMID: 25178690 DOI: 10.1177/2048872614549103]

13	Koyama T, Watanabe H, Igarashi G, Terada S, Makabe S, Ito H. Short-term prognosis of adaptive servo-ventilation therapy in patients with heart failure. Circ J 2011; 75: 710-712 [PMID: 21266785 DOI: 10.1253/circj.CJ-10-0956]

14	Tobin MJ. Mechanical ventilation. N Engl J Med 1994; 330: 1056-1061 [PMID: 8080509 DOI: 10.1056/NEJM199404143301507]

15	Sullivan CE, Issa FG, Berthon-Jones M, Eves L. Reversal of obstructive sleep apnoea by continuous positive airway pressure applied through the nares. Lancet 1981; 1: 862-865 [PMID: 6112294 DOI: 10.1016/S0140-6736(81)92140-1]

16	Mezzanotte WS, Tangel DJ, Fox AM, Ballard RD, White DP. Nocturnal nasal continuous positive airway pressure in patients with chronic obstructive pulmonary disease. Influence on waking respiratory muscle function. Chest 1994; 106: 1100-1108 [PMID: 7924480 DOI: 10.1378/chest.106.4.1100]

17	Somers VK, Mark AL, Zavala DC, Abboud FM. Influence of ventilation and hypocapnia on sympathetic nerve responses to hypoxia in normal humans. J Appl Physiol (1985) 1989; 67: 2095-2100 [PMID: 2513315]

18	Somers VK, Mark AL, Zavala DC, Abboud FM. Contrasting effects of hypoxia and hypercapnia on ventilation and sympathetic activity in humans. J Appl Physiol (1985) 1989; 67: 2101-2106 [PMID: 2513316]

19	Haruki N, Takeuchi M, Kaku K, Yoshitani H, Kuwaki H, Tamura M, Abe H, Okazaki M, Tsutsumi A, Otsuji Y. Comparison of acute and chronic impact of adaptive servo-ventilation on left chamber geometry and function in patients with chronic heart failure. Eur J Heart Fail 2011; 13: 1140-1146 [PMID: 21831914 DOI: 10.1093/eurjhf/hfr103]

20	Wiesen J, Ornstein M, Tonelli AR, Menon V, Ashton RW. State of the evidence: mechanical ventilation with PEEP in patients with cardiogenic shock. Heart 2013; 99: 1812-1817 [PMID: 23539555 DOI: 10.1136/heartjnl-2013-303642]

21	Bradley TD, Floras JS. Obstructive sleep apnoea and its cardiovascular consequences. Lancet 2009; 373: 82-93 [PMID: 19101028 DOI: 10.1016/S0140-6736(08)61622-0]

22	Solin P, Bergin P, Richardson M, Kaye DM, Walters EH, Naughton MT. Influence of pulmonary capillary wedge pressure on central apnea in heart failure. Circulation 1999; 99: 1574-1579 [PMID: 10096933 DOI: 10.1161/01.CIR.99.12.1574]

23	Spaak J, Egri ZJ, Kubo T, Yu E, Ando S, Kaneko Y, Usui K, Bradley TD, Floras JS. Muscle sympathetic nerve activity during wakefulness in heart failure patients with and without sleep apnea. Hypertension 2005; 46: 1327-1332 [PMID: 16286569 DOI: 10.1161/01.HYP.0000193497.45200.66]

24	Yumino D, Bradley TD. Central sleep apnea and Cheyne-Stokes respiration. Proc Am Thorac Soc 2008; 5: 226-236 [PMID: 18250216 DOI: 10.1513/pats.200708-129MG]

25	Narkiewicz K, Pesek CA, van de Borne PJ, Kato M, Somers VK. Enhanced sympathetic and ventilatory responses to central chemoreflex activation in heart failure. Circulation 1999; 100: 262-267 [PMID: 10411850 DOI: 10.1161/01.CIR.100.3.262]

26	Hall MJ, Xie A, Rutherford R, Ando S, Floras JS, Bradley TD. Cycle length of periodic breathing in patients with and without heart failure. Am J Respir Crit Care Med 1996; 154: 376-381 [PMID: 8756809 DOI: 10.1164/ajrccm.154.2.8756809]

27	Kasravi B, Boehmer JP, Leuenberger UA. A noninvasive method for estimating cardiac output using lung to finger circulation time of oxygen. Am J Cardiol 1998; 82: 915-917 [PMID: 9781980 DOI: 10.1016/S0002-9149(98)00505-0]

28	Naughton MT, Rahman MA, Hara K, Floras JS, Bradley TD. Effect of continuous positive airway pressure on intrathoracic and left ventricular transmural pressures in patients with congestive heart failure. Circulation 1995; 91: 1725-1731 [PMID: 7882480 DOI: 10.1161/01.CIR.91.6.1725]

29	Kasai T. Sleep apnea and heart failure. J Cardiol 2012; 60: 78-85 [PMID: 22824295 DOI: 10.1016/j.jjcc.2012.05.013]

30	Arzt M, Bradley TD. Treatment of sleep apnea in heart failure. Am J Respir Crit Care Med 2006; 173: 1300-1308 [PMID: 16528015 DOI: 10.1164/rccm.200511-1745PP]

31	Naughton MT, Benard DC, Rutherford R, Bradley TD. Effect of continuous positive airway pressure on central sleep apnea and nocturnal PCO2 in heart failure. Am J Respir Crit Care Med 1994; 150: 1598-1604 [PMID: 7952621 DOI: 10.1164/ajrccm.150.6.7952621]

32	Naughton MT, Benard DC, Liu PP, Rutherford R, Rankin F, Bradley TD. Effects of nasal CPAP on sympathetic activity in patients with heart failure and central sleep apnea. Am J Respir Crit Care Med 1995; 152: 473-479 [PMID: 7633695 DOI: 10.1164/ajrccm.152.2.7633695]

33	Granton JT, Naughton MT, Benard DC, Liu PP, Goldstein RS, Bradley TD. CPAP improves inspiratory muscle strength in patients with heart failure and central sleep apnea. Am J Respir Crit Care Med 1996; 153: 277-282 [PMID: 8542129 DOI: 10.1164/ajrccm.153.1.8542129]

34	Bradley TD, Logan AG, Kimoff RJ, Sériès F, Morrison D, Ferguson K, Belenkie I, Pfeifer M, Fleetham J, Hanly P, Smilovitch M, Tomlinson G, Floras JS. Continuous positive airway pressure for central sleep apnea and heart failure. N Engl J Med 2005; 353: 2025-2033 [PMID: 16282177 DOI: 10.1056/NEJMoa051001]

35	Arzt M, Floras JS, Logan AG, Kimoff RJ, Series F, Morrison D, Ferguson K, Belenkie I, Pfeifer M, Fleetham J, Hanly P, Smilovitch M, Ryan C, Tomlinson G, Bradley TD. Suppression of central sleep apnea by continuous positive airway pressure and transplant-free survival in heart failure: a post hoc analysis of the Canadian Continuous Positive Airway Pressure for Patients with Central Sleep Apnea and Heart Failure Trial (CANPAP). Circulation 2007; 115: 3173-3180 [PMID: 17562959 DOI: 10.1161/CIRCULATIONAHA.106.683482]

36	Pepperell JC, Maskell NA, Jones DR, Langford-Wiley BA, Crosthwaite N, Stradling JR, Davies RJ. A randomized controlled trial of adaptive ventilation for Cheyne-Stokes breathing in heart failure. Am J Respir Crit Care Med 2003; 168: 1109-1114 [PMID: 12928310 DOI: 10.1164/rccm.200212-1476OC]

37	Fietze I, Blau A, Glos M, Theres H, Baumann G, Penzel T. Bi-level positive pressure ventilation and adaptive servo ventilation in patients with heart failure and Cheyne-Stokes respiration. Sleep Med 2008; 9: 652-659 [PMID: 18024166 DOI: 10.1016/j.sleep.2007.09.008]

38	ResMed. Treatment of predominant central sleep apnoea by adaptive servo ventilation in patients with heart failure (serve- HF). In: ClinicalTrials.gov [Internet]. Bethesda (MD): National Library of Medicine (US). Available from: URL: https://clinicaltrials.gov/ct2/show/NCT00733343 NLM Identifier:NCT00733343

39	Toronto Rehabilitation Institute. Effect of adaptive servo ventilation (ASV) on survival and hospital admissions in heart failure (ADVENT-HF). In: ClinicalTrials.gov [Internet]. Bethesda (MD): National Library of Medicine (US). Available from: URL: https://clinicaltrials.gov/ct2/show/NCT01128816 NLM Identifier:NCT01128816

40	Kasai T, Usui Y, Yoshioka T, Yanagisawa N, Takata Y, Narui K, Yamaguchi T, Yamashina A, Momomura SI. Effect of flow-triggered adaptive servo-ventilation compared with continuous positive airway pressure in patients with chronic heart failure with coexisting obstructive sleep apnea and Cheyne-Stokes respiration. Circ Heart Fail 2010; 3: 140-148 [PMID: 19933407 DOI: 10.1161/CIRCHEARTFAILURE.109.868786]

41	Randerath WJ, Nothofer G, Priegnitz C, Anduleit N, Treml M, Kehl V, Galetke W. Long-term auto-servoventilation or constant positive pressure in heart failure and coexisting central with obstructive sleep apnea. Chest 2012; 142: 440-447 [PMID: 22281801 DOI: 10.1378/chest.11-2089]

42	Yoshihisa A, Suzuki S, Yamaki T, Sugimoto K, Kunii H, Nakazato K, Suzuki H, Saitoh S, Takeishi Y. Impact of adaptive servo-ventilation on cardiovascular function and prognosis in heart failure patients with preserved left ventricular ejection fraction and sleep-disordered breathing. Eur J Heart Fail 2013; 15: 543-550 [PMID: 23250911 DOI: 10.1093/eurjhf/hfs197]

43	Birner C, Series F, Lewis K, Benjamin A, Wunderlich S, Escourrou P, Zeman F, Luigart R, Pfeifer M, Arzt M. Effects of auto-servo ventilation on patients with sleep-disordered breathing, stable systolic heart failure and concomitant diastolic dysfunction: subanalysis of a randomized controlled trial. Respiration 2014; 87: 54-62 [PMID: 24029470 DOI: 10.1159/000351797]

44	Yumino D, Wang H, Floras JS, Newton GE, Mak S, Ruttanaumpawan P, Parker JD, Bradley TD. Relationship between sleep apnoea and mortality in patients with ischaemic heart failure. Heart 2009; 95: 819-824 [PMID: 19131443 DOI: 10.1136/hrt.2008.160952]

45	Mehta S, Liu PP, Fitzgerald FS, Allidina YK, Douglas Bradley T. Effects of continuous positive airway pressure on cardiac volumes in patients with ischemic and dilated cardiomyopathy. Am J Respir Crit Care Med 2000; 161: 128-134 [PMID: 10619809 DOI: 10.1164/ajrccm.161.1.9903055]

46	Khayat R, Abraham W, Patt B, Brinkman V, Wannemacher J, Porter K, Jarjoura D. Central sleep apnea is a predictor of cardiac readmission in hospitalized patients with systolic heart failure. J Card Fail 2012; 18: 534-540 [PMID: 22748486 DOI: 10.1016/j.cardfail.2012.05.003]

47	ResMed. Cardiovascular improvements with MV ASV therapy in heart failure (CAT-HF). In: ClinicalTrials.gov [Internet]. Bethesda (MD): National Library of Medicine (US). Available from: URL: https://clinicaltrials.gov/ct2/show/NCT01953874?term=NCT01953874&rank=1 Identifier:NCT01953874

48	Morgenthaler TI, Kagramanov V, Hanak V, Decker PA. Complex sleep apnea syndrome: is it a unique clinical syndrome? Sleep 2006; 29: 1203-1209 [PMID: 17040008]

49	Lehman S, Antic NA, Thompson C, Catcheside PG, Mercer J, McEvoy RD. Central sleep apnea on commencement of continuous positive airway pressure in patients with a primary diagnosis of obstructive sleep apnea-hypopnea. J Clin Sleep Med 2007; 3: 462-466 [PMID: 17803008]

50	Endo Y, Suzuki M, Inoue Y, Sato M, Namba K, Hasegawa M, Matsuura M. Prevalence of complex sleep apnea among Japanese patients with sleep apnea syndrome. Tohoku J Exp Med 2008; 215: 349-354 [PMID: 18679009 DOI: 10.1620/tjem.215.349]

51	Javaheri S, Smith J, Chung E. The prevalence and natural history of complex sleep apnea. J Clin Sleep Med 2009; 5: 205-211 [PMID: 19960639]

52	Yaegashi H, Fujimoto K, Abe H, Orii K, Eda S, Kubo K. Characteristics of Japanese patients with complex sleep apnea syndrome: a retrospective comparison with obstructive sleep apnea syndrome. Intern Med 2009; 48: 427-432 [PMID: 19293541 DOI: 10.2169/internalmedicine.48.1459]

53	Dernaika T, Tawk M, Nazir S, Younis W, Kinasewitz GT. The significance and outcome of continuous positive airway pressure-related central sleep apnea during split-night sleep studies. Chest 2007; 132: 81-87 [PMID: 17475636 DOI: 10.1378/chest.06-2562]

54	Pusalavidyasagar SS, Olson EJ, Gay PC, Morgenthaler TI. Treatment of complex sleep apnea syndrome: a retrospective comparative review. Sleep Med 2006; 7: 474-479 [PMID: 16931153 DOI: 10.1016/j.sleep.2006.04.005]

55	Cassel W, Canisius S, Becker HF, Leistner S, Ploch T, Jerrentrup A, Vogelmeier C, Koehler U, Heitmann J. A prospective polysomnographic study on the evolution of complex sleep apnoea. Eur Respir J 2011; 38: 329-337 [PMID: 21464115 DOI: 10.1183/09031936.00162009]

56	Higuchi M, Kasai T, Kasagi S, Kawana F, Ishiwata S, Narui K. A case of obstructive sleep apnea with dissociation between apnea termination and arousal: Is this a hint for complex sleep apnea? Sleep Med 2009; 10: 1063-1065 [PMID: 19477684 DOI: 10.1016/j.sleep.2009.03.004]

57	Westhoff M, Arzt M, Litterst P. Prevalence and treatment of central sleep apnoea emerging after initiation of continuous positive airway pressure in patients with obstructive sleep apnoea without evidence of heart failure. Sleep Breath 2012; 16: 71-78 [PMID: 21347650 DOI: 10.1007/s11325-011-0486-0]

58	Nakazaki C, Noda A, Yasuda Y, Nakata S, Koike Y, Yasuma F, Murohara T, Nakashima T. Continuous positive airway pressure intolerance associated with elevated nasal resistance is possible mechanism of complex sleep apnea syndrome. Sleep Breath 2012; 16: 747-752 [PMID: 21830062 DOI: 10.1007/s11325-011-0570-5]

59	Montesi SB, Bakker JP, Macdonald M, Hueser L, Pittman S, White DP, Malhotra A. Air leak during CPAP titration as a risk factor for central apnea. J Clin Sleep Med 2013; 9: 1187-1191 [PMID: 24235901 DOI: 10.5664/jcsm.3166]

60	Khan MT, Franco RA. Complex sleep apnea syndrome. Sleep Disord 2014; 2014: 798487 [PMID: 24693440 DOI: 10.1155/2014/798487]

61	Trippenbach T. Pulmonary reflexes and control of breathing during development. Biol Neonate 1994; 65: 205-210 [PMID: 8038284 DOI: 10.1159/000244054]

62	Wang J, Wang Y, Feng J, Chen BY, Cao J. Complex sleep apnea syndrome. Patient Prefer Adherence 2013; 7: 633-641 [PMID: 23861580 DOI: 10.2147/PPA.S46626]

63	Allam JS, Olson EJ, Gay PC, Morgenthaler TI. Efficacy of adaptive servoventilation in treatment of complex and central sleep apnea syndromes. Chest 2007; 132: 1839-1846 [PMID: 18079219 DOI: 10.1378/chest.07-1715]

64	Brown SE, Mosko SS, Davis JA, Pierce RA, Godfrey-Pixton TV. A retrospective case series of adaptive servoventilation for complex sleep apnea. J Clin Sleep Med 2011; 7: 187-195 [PMID: 21509335]

65	Kuzniar TJ, Patel S, Nierodzik CL, Smith LC. Comparison of two servo ventilator devices in the treatment of complex sleep apnea. Sleep Med 2011; 12: 538-541 [PMID: 21576036 DOI: 10.1016/j.sleep.2010.09.017]

66	Bixler EO, Vgontzas AN, Ten Have T, Tyson K, Kales A. Effects of age on sleep apnea in men: I. Prevalence and severity. Am J Respir Crit Care Med 1998; 157: 144-148 [PMID: 9445292 DOI: 10.1164/ajrccm.157.1.9706079]

67	Bradley TD, Phillipson EA. Central sleep apnea. Clin Chest Med 1992; 13: 493-505 [PMID: 1521415]

68	Xie A, Rutherford R, Rankin F, Wong B, Bradley TD. Hypocapnia and increased ventilatory responsiveness in patients with idiopathic central sleep apnea. Am J Respir Crit Care Med 1995; 152: 1950-1955 [PMID: 8520761 DOI: 10.1164/ajrccm.152.6.8520761]

69	Xie A, Wong B, Phillipson EA, Slutsky AS, Bradley TD. Interaction of hyperventilation and arousal in the pathogenesis of idiopathic central sleep apnea. Am J Respir Crit Care Med 1994; 150: 489-495 [PMID: 8049835 DOI: 10.1164/ajrccm.150.2.8049835]

70	Bradley TD, McNicholas WT, Rutherford R, Popkin J, Zamel N, Phillipson EA. Clinical and physiologic heterogeneity of the central sleep apnea syndrome. Am Rev Respir Dis 1986; 134: 217-221 [PMID: 3740646]

71	Guilleminault C, Tilkian A, Dement WC. The sleep apnea syndromes. Annu Rev Med 1976; 27: 465-484 [PMID: 180875 DOI: 10.1146/annurev.me.27.020176.002341]

72	Mogri M, Khan MI, Grant BJ, Mador MJ. Central sleep apnea induced by acute ingestion of opioids. Chest 2008; 133: 1484-1488 [PMID: 18574293 DOI: 10.1378/chest.07-1891]

73	Walker JM, Farney RJ, Rhondeau SM, Boyle KM, Valentine K, Cloward TV, Shilling KC. Chronic opioid use is a risk factor for the development of central sleep apnea and ataxic breathing. J Clin Sleep Med 2007; 3: 455-461 [PMID: 17803007]

74	Wang D, Teichtahl H, Drummer O, Goodman C, Cherry G, Cunnington D, Kronborg I. Central sleep apnea in stable methadone maintenance treatment patients. Chest 2005; 128: 1348-1356 [PMID: 16162728 DOI: 10.1378/chest.128.3.1348]

75	Teichtahl H, Prodromidis A, Miller B, Cherry G, Kronborg I. Sleep-disordered breathing in stable methadone programme patients: a pilot study. Addiction 2001; 96: 395-403 [PMID: 11255580 DOI: 10.1080/0965214002005374]

76	Webster LR, Cochella S, Dasgupta N, Fakata KL, Fine PG, Fishman SM, Grey T, Johnson EM, Lee LK, Passik SD, Peppin J, Porucznik CA, Ray A, Schnoll SH, Stieg RL, Wakeland W. An analysis of the root causes for opioid-related overdose deaths in the United States. Pain Med 2011; 12 Suppl 2: S26-S35 [PMID: 21668754 DOI: 10.1111/j.1526-4637.2011.01134.x]

77	Reddy R, Adamo D, Kufel T, Porhomayon J, El-Solh AA. Treatment of opioid-related central sleep apnea with positive airway pressure: a systematic review. J Opioid Manag 2014; 10: 57-62 [PMID: 24604570 DOI: 10.5055/jom.2014.0192]

78	Bassetti CL, Milanova M, Gugger M. Sleep-disordered breathing and acute ischemic stroke: diagnosis, risk factors, treatment, evolution, and long-term clinical outcome. Stroke 2006; 37: 967-972 [PMID: 16543515 DOI: 10.1161/01.STR.0000208215.49243.c3]

79	Parra O, Arboix A, Bechich S, García-Eroles L, Montserrat JM, López JA, Ballester E, Guerra JM, Sopeña JJ. Time course of sleep-related breathing disorders in first-ever stroke or transient ischemic attack. Am J Respir Crit Care Med 2000; 161: 375-380 [PMID: 10673174 DOI: 10.1164/ajrccm.161.2.9903139]

80	Redline S, Yenokyan G, Gottlieb DJ, Shahar E, O’Connor GT, Resnick HE, Diener-West M, Sanders MH, Wolf PA, Geraghty EM, Ali T, Lebowitz M, Punjabi NM. Obstructive sleep apnea-hypopnea and incident stroke: the sleep heart health study. Am J Respir Crit Care Med 2010; 182: 269-277 [PMID: 20339144 DOI: 10.1164/rccm.200911-1746OC]

81	Harbison J, Ford GA, James OF, Gibson GJ. Sleep-disordered breathing following acute stroke. QJM 2002; 95: 741-747 [PMID: 12391386 DOI: 10.1093/qjmed/95.11.741]

82	Parra O, Arboix A, Montserrat JM, Quintó L, Bechich S, García-Eroles L. Sleep-related breathing disorders: impact on mortality of cerebrovascular disease. Eur Respir J 2004; 24: 267-272 [PMID: 15332396 DOI: 10.1183/09031936.04.00061503]

83	Iranzo A, Santamaría J, Berenguer J, Sánchez M, Chamorro A. Prevalence and clinical importance of sleep apnea in the first night after cerebral infarction. Neurology 2002; 58: 911-916 [PMID: 11914407 DOI: 10.1212/WNL.58.6.911]

84	Nopmaneejumruslers C, Kaneko Y, Hajek V, Zivanovic V, Bradley TD. Cheyne-Stokes respiration in stroke: relationship to hypocapnia and occult cardiac dysfunction. Am J Respir Crit Care Med 2005; 171: 1048-1052 [PMID: 15665317 DOI: 10.1164/rccm.200411-1591OC]

85	Rowat AM, Dennis MS, Wardlaw JM. Central periodic breathing observed on hospital admission is associated with an adverse prognosis in conscious acute stroke patients. Cerebrovasc Dis 2006; 21: 340-347 [PMID: 16490944 DOI: 10.1159/000091540]

86	Brill AK, Rösti R, Hefti JP, Bassetti C, Gugger M, Ott SR. Adaptive servo-ventilation as treatment of persistent central sleep apnea in post-acute ischemic stroke patients. Sleep Med 2014; 15: 1309-1313 [PMID: 25190260 DOI: 10.1016/j.sleep.2014.06.013]

87	Baratz DM, Westbrook PR, Shah PK, Mohsenifar Z. Effect of nasal continuous positive airway pressure on cardiac output and oxygen delivery in patients with congestive heart failure. Chest 1992; 102: 1397-1401 [PMID: 1424858 DOI: 10.1378/chest.102.5.1397]

88	Sin DD, Logan AG, Fitzgerald FS, Liu PP, Bradley TD. Effects of continuous positive airway pressure on cardiovascular outcomes in heart failure patients with and without Cheyne-Stokes respiration. Circulation 2000; 102: 61-66 [PMID: 10880416 DOI: 10.1161/01.CIR.102.1.61]

89	D’Elia E, Vanoli E, La Rovere MT, Fanfulla F, Maggioni A, Casali V, Damiano S, Specchia G, Mortara A. Adaptive servo ventilation reduces central sleep apnea in chronic heart failure patients: beneficial effects on autonomic modulation of heart rate. J Cardiovasc Med (Hagerstown) 2013; 14: 296-300 [PMID: 22498996 DOI: 10.2459/JCM.0b013e32835364b2]

90	Momomura SI, Seino Y, Kihara Y, Adachi H, Yasumura Y, Yokoyama H. Adaptive servo-ventilation therapy using an innovative ventilator for patients with chronic heart failure: a real-world, multicenter, retrospective, observational study (SAVIOR-R). Heart Vessels 2014; Epub ahead of print [PMID: 25103691 DOI: 10.1007/s00380-014-0558-8]

91	Saitama medical center, Jichi Medical University. Randomized controlled study of adaptive-servo ventilator in patients with congestive heart failure: confirmatory trial of efficacy on cardiac function. Available from: URL: https://upload.umin.ac.jp/cgi-open-bin/ctr/ctr.cgi?function=brows&action=brows&recptno=R000007761&type=summary&language=E UMIN-CTR ID:UMIN000006549

92	Murakami T, Yamaji H, Numa K, Kawamura H, Murakami M, Higashiya S, Kamikawa S, Hina K, Hirohata S, Kusachi S. Adaptive-servo ventilation combined with deep sedation is an effective strategy during pulmonary vein isolation. Europace 2013; 15: 951-956 [PMID: 23419657 DOI: 10.1093/europace/eut007]

93	Hoy CJ, Vennelle M, Kingshott RN, Engleman HM, Douglas NJ. Can intensive support improve continuous positive airway pressure use in patients with the sleep apnea/hypopnea syndrome? Am J Respir Crit Care Med 1999; 159: 1096-1100 [PMID: 10194151 DOI: 10.1164/ajrccm.159.4.9808008]

Figure Legends

Figure 1  Adaptive servo-ventilation can be considered as an advanced mode of bi-level positive airway pressure. A: In response to central events, adaptive servo-ventilation increases pressure support during hypoventilation and decreases pressure support during hyperventilation, with the goal of stabilizing ventilation; B: In response to obstructive events (apneas, airflow limitation, and snoring), adaptive servo-ventilation increases expiratory positive airway pressure, with the goal of suppressing obstruction.

Figure 2  Several types of masks are available as an adaptive servo-ventilation interface for patients to discover a more comfortable fit: nasal masks (A), a pillow mask (B), an oro-nasal mask (C), and an optional heated humidifier connected to an adaptive servo-ventilation device (D).

Footnotes

Supported by Partly supported by a Grant-in-Aid for Scientiﬁc Research (C), No. 26507010; and a grant to the Respiratory Failure Research Group from Ministry of Health, Labor and Welfare, Japan.

Conflict-of-interest statement: Yasuhiro Tomita and Takatoshi Kasai belong to endowed department (Cardio-Respiratory Sleep Medicine, Juntendo University Graduate School of Medicine) by Philips-Respironics, Teijin Pharma and Fukuda Denshi.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: January 25, 2015

First decision: March 6, 2015

Article in press: June 11, 2015

P- Reviewer: Boots RJ, Boonsarngsuk V, Pereira-Vega A    S- Editor: Song XX    L- Editor: A    E- Editor: Wang CH

# Text boxes

Table 4  Summary of recommendations for the use of adaptive-servo ventilation in various settings

| Settings | Indication | Improvement other than AHI | Supporting evidence |
| --- | --- | --- | --- |
| With SDB |
| HF | After optimization of HF, with CSA not suppressed by CPAP | Daytime sleepiness | RCTs (vs CPAP)[3,4,40,41,43] |
|  |  | LVEF | RCTs (vs control)[36,42] |
|  |  | BNP | RCT (vs Bi-level PAP)[37] |
|  |  | Event-free survival |  |
| Treatment-emergent CSA | With HF | Same as HF |  |
|  | Without HF | Sleep architecture | Retrospective studies (pre-post study, vs CPAP)[64,65] |
|  |  | Adherence of PAP |  |
| Idiopathic CSA | With symptoms | Daytime alertness and mood | Case series (pre-post study, vs CPAP or oxygen)[5] |
| Opioid-induced CSA | Benefit unknown |  |  |
| Stroke-related CSA | Post-acute phase | Daytime sleepiness | A single-center retrospective study (pre-post study)[86] |
| Without SDB |
| HF | Regardless of the presence or absence of SDB | LVEF | A multi-center retrospective study (pre-post study)[91] |
|  |  | NYHA class |  |
| Acute cardiogenic pulmonary edema | With elevated filling pressure | Dyspnea | An observational study (vs supplemental oxygen alone)[12] |
|  |  | High blood pressure |  |
| Atrial fibrillation | During PVI | Procedural time | On-off study[93] |

AHI: Apnea-hypopnea index; ASV: Adaptive-servo ventilation; BNP: Brain natriuretic peptide; CPAP: Continuous positive airway pressure; CSA: Central sleep apnea; HF: Heart failure; LVEF: Left ventricular ejection fraction; NYHA: New York Heart Association; PAP: Positive airway pressure; PVI: Pulmonary vein isolation; RCT: Randomized controlled trial; SDB: Sleep disordered breathing.

Table 3  Clinical trials assessing the effects of adaptive-servo ventilation on cardiac function in heart failure patients with central sleep apnea and coexisting obstructive sleep apnea

| Ref. | Study design | n | Duration (mo) | Baseline | Device usage (h) | Changes |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | AHI | EF |  | AHI | EF |
| Kasai et al[40] | RCT |  |  |  |  |  |  |  |
|  | CPAP | 15 | 3 | 38.6 | 36 | 4.4 | -23.2 | 1.9 |
|  | f-ASV | 16 |  | 36.3 | 35.7 | 5.25 | -35.4 | 9.1 |
| Randerath et al[41] | RCT |  |  |  |  |  |  |  |
|  | CPAP | 34 | 12 | 41 | 43 | 4.3 | -24.0 | 4.9 |
|  | f-ASV | 36 |  | 47 | 47 | 5.2 | -36.0 | -1.9 |
| Yoshihisa et al[42] | RCT |  |  |  |  |  |  |  |
|  | Control | 18 | 6 | 36 | 54 | - | -8.2 | -2.0 |
|  | v-ASV | 18 |  | 37 | 56.1 | 5.6 | -30.2 | 5.1 |
| Birner et al[43] | RCT |  |  |  |  |  |  |  |
|  | Control | 35 | 3 | 43 | 29 | - | 0 | 3.0 |
|  | f-ASV | 37 |  | 52 | 30 | 4.2 | -41.0 | 1.0 |

AHI: Apnea-hypopnea index; ASV: Adaptive-servo ventilation; CPAP: Continuous positive airway pressure; EF: Ejection fraction; f-ASV: Flow-targeted ASV; v-ASV: Volume-targeted ASV; RCT: Randomized controlled trial.

Table 2  Clinical trials assessing the effects of adaptive-servo ventilation on cardiac function in heart failure patients with central sleep apnea

| Ref. | Study design | n | Duration (mo) | Baseline | Device usage (h) | Changes |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | AHI | EF |  | AHI | EF |
| Pepperell et al[36] | RCT |  |  |  |  |  |  |  |
|  | Subtherapeutic | 15 | 1 | 17.7 | 35.7 | 3.9 | -3 | 0.5 |
|  | Therapeutic | 15 |  | 21.9 | 36.5 | 5.0 | -16.5 | 1.8 |
| Philippe et al[3] | RCT |  |  |  |  |  |  |  |
|  | CPAP | 13 | 6 | 40.5 | 30.0 | 4.2 | -20 | -2 |
|  | ASV | 12 |  | 47.0 | 29.0 | 5.8 | -45 | 7 |
| Fietze et al[37] | RCT |  |  |  |  |  |  |  |
|  | Bi-level PAP | 15 | 1.5 | 34.9 | 25.5 | 4.81 | -18.5 | 5.6 |
|  | ASV | 15 |  | 31.7 | 24.6 |  | -20.5 | 1.9 |
| 1Kasai et al[4] | RCT |  |  |  |  |  |  |  |
|  | CPAP-mode | 11 | 3 | 23.02 | 33.0 | 3.3 | 0.1 | -1 |
|  | ASV-mode | 12 |  | 25.02 | 32.0 | 4.7 | -23 | 5.8 |

1Patients with residual AHIs ≥ 15 on CPAP were included; 2AHIs on CPAP were described. AHI: Apnea-hypopnea index; ASV: Adaptive-servo ventilation; Bi-level PAP: Bi-level positive airway pressure; CPAP: Continuous positive airway pressure; EF: Ejection fraction; RCT: Randomized controlled trial.

Table 1  An overview of the futures of the three adaptive servo-ventilation devices

| Manufacturer | ResMed | Philips-Respironics | Weinmann |
| --- | --- | --- | --- |
| Current version | S9 VPAP Adapt, AutoSet CS-A | BiPAP autoSV Advanced System One | Prisma LINE CR |
| EPAP (default) | 4-15 cmH2O auto | 4-15 cmH2O auto | 4-20 cmH2O auto |
| (min EPAP) | 4-15 cmH2O | 4-25 cmH2O | 4-20 cmH2O |
| (max EPAP) | min EPAP-15 cmH2O | min EPAP-25 cmH2O | min EPAP-20 cmH2O |
| IPAP | Max 30 cmH2O | Max 25 cmH2O | Max 30 cmH2O |
| PS | 0 to 30-prevailing EPAP | 0 to 25-prevailing EPAP | 0 to 30-prevailing EPAP |
| Calculation | The recent 3-min average minute volume | The recent 4-min average peak flow | The average of the minute volume in the recent 2-min and an earlier interval |
| Target for PS | 90% of the average minute volume | 90%-95% of the average peak flow (without SDB) | Relative minute volume of the current breath to the average |
|  |  | 60% percentile of peak flow (with SDB) |  |
|  | Approximate the minute volume to the target | Approximate the peak inspiratory flow to the target | Stabilize the relative minute volume |
| Backup rate | Auto (cannot be established manually) | Auto (default) or fixed rate | Auto (default) or fixed rate |

EPAP: Expiratory positive airway pressure; IPAP: Inspiratory positive airway pressure; PS: Pressure support; SDB: Sleep disordered breathing.