| Critical importance of tracheal tube cuff pressure management Taoyuan Robert Feng, Ying Ye, D John Doyle |
| --- |
| CITATION | Feng TR, Ye Y, Doyle DJ. Critical importance of tracheal tube cuff pressure management. World J Anesthesiol 2015; 4(2): 10-12 |
| URL | http://www.wjgnet.com/2218-6182/full/v4/i2/10.htm |
| DOI | http://dx.doi.org/10.5313/wja.v4.i2.10 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | The ideal range for tracheal tube cuff pressures is typically between 20 to 30 cm H2O and is easily measured with a cuff pressure manometer. The importance of tracheal tube cuff pressures is highlighted by the spectrum of complications that can occur: high cuff pressures can result in complications ranging from sore throat and hoarseness to tracheal stenosis, necrosis, and even rupture, while cuff pressures that are too low place the patient at risk for aspiration and consequently, aspiration pneumonitis and pneumonia. |
| KEY WORDS | Tracheal tube cuff pressure; Tracheal injury; Tracheal stenosis; Patient safety; Intubation |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Anesthesiology |
| ISSN | 2218-6182 ( online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Anesthesiology

ESPS Manuscript NO: 16630

Columns: EDITORIAL

Critical importance of tracheal tube cuff pressure management

Taoyuan Robert Feng, Ying Ye, D John Doyle

Taoyuan Robert Feng, Cleveland Clinic Lerner College of Medicine of Case Western Reserve University, Cleveland, OH 44195, United States

Ying Ye, Cleveland Clinic, Cleveland, OH 44195, United States

D John Doyle, Department of General Anesthesia, Cleveland Clinic Abu Dhabi, PO Box 112412, Abu Dhabi, United Arab Emirates

Author contributions: All authors contributed to this manuscript.

Conflict-of-interest statement: None.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Dr. D John Doyle, MD, PhD, Chief, Department of General Anesthesia, Cleveland Clinic Abu Dhabi, PO Box 112412, Abu Dhabi, United Arab Emirates. djdoyle@hotmail.com

Telephone: +971-52-6997627

Fax: +971-2-4108374

Received: January 25, 2015

Peer-review started: January 30, 2015

First decision: April 10, 2015

Revised: April 29, 2015

Accepted: May 27, 2015

Article in press: May 28, 2015

Published online: July 27, 2015

Abstract

The ideal range for tracheal tube cuff pressures is usually taken to be between 20 to 30 cm H2O. This is easily measured with a cuff pressure manometer and should be measured in each instance. The importance of tracheal tube cuff pressures is highlighted by the spectrum of airway complications that can occur with incorrect cuff pressures. High cuff pressures can result in complications ranging from sore throat and hoarseness to tracheal stenosis, necrosis, and even rupture. In such cases, the postulated causative factor is diminished blood flow to tracheal mucosa due to excessive cuff pressure on the tracheal wall. This hypothesized ischemic injury then produces healing fibrosis months or even years later. On the other hand, cuff pressures that are too low place the patient at risk for aspiration of gastric contents and consequently, aspiration pneumonitis and pneumonia. This is why the authors recommend that cuff pressures be measured following all intubations.

Key words: Tracheal tube cuff pressure; Tracheal injury; Tracheal stenosis; Patient safety; Intubation

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: The ideal range for tracheal tube cuff pressures is typically between 20 to 30 cm H2O and is easily measured with a cuff pressure manometer. The importance of tracheal tube cuff pressures is highlighted by the spectrum of complications that can occur: high cuff pressures can result in complications ranging from sore throat and hoarseness to tracheal stenosis, necrosis, and even rupture, while cuff pressures that are too low place the patient at risk for aspiration and consequently, aspiration pneumonitis and pneumonia.

Feng TR, Ye Y, Doyle DJ. Critical importance of tracheal tube cuff pressure management. World J Anesthesiol 2015; 4(2): 10-12  Available from: URL: http://www.wjgnet.com/2218-6182/full/v4/i2/10.htm  DOI: http://dx.doi.org/10.5313/wja.v4.i2.10

TEXT

Anesthesiologists who spend the bulk of their clinical time in ear-nose-throat (ENT) and bronchoscopic procedures (such as the third author) see a surprising number of cases of tracheal stenosis that appear to be related to prior tracheal intubation. In such cases, the postulated causative factor is diminished blood flow to tracheal mucosa due to excessive cuff pressure on the tracheal wall. This hypothesized ischemic injury then produces healing fibrosis months or even years later[1-4]. However, despite a substantial body of published literature dealing with cuff pressure monitoring[5-8], routine monitoring of endotracheal tube (ETT) cuff pressure in clinical practice is rarely done and no established guidelines exist to direct its measurement[9].

The ideal range for ETT cuff pressures is typically between 20 to 30 cm H2O[10-13] and is most reliably assessed with direct continuous manometers during the operative period[14]. One can easily and inexpensively display real-time cuff pressures using an ordinary patient monitor with invasive pressure capability as follows[5]. An ordinary pressure transducer is first electronically connected to the pressure channel of the monitor and zeroed. Next, the hydraulic end of the transducer is connected to the pilot balloon/cuff inflation line of the ETT using air-filled tubing and a three-way stopcock. A 10 mL syringe inserted in the side arm of the stopcock allows air to be added or removed. Finally, a male plug (“dead ender”) is placed in the remaining port of the pressure transducer to seal the system (Ordinarily this port is hooked up to a high-pressure fluid source to make a flush system).

Despite this, few anesthesiologists use such methods in daily clinical practice and typically rely on less quantitative methods to estimate the cuff pressure (Table 1), often with poor compliance. Additionally, these commonly used techniques are much less accurate and often poor estimates of ETT cuff pressures[9,14]. This dilemma is not remedied by clinical experience, as studies have shown that inaccurate cuff pressure assessments can occur in the hands of even the most seasoned anesthesiologists[11,15]. On the contrary, Wujtewicz et al[15] concluded that anesthesiologists may be worse at estimating cuff pressure than a decade ago.

The importance of ETT cuff pressures is highlighted by the spectrum of complications that can occur outside the ideal pressure range. High cuff pressures can result in complications ranging from sore throat and hoarseness[16,17] to tracheal stenosis, necrosis, and even rupture[18-21]. Conversely, lower cuff pressures place the patient at risk for aspiration and consequently, aspiration pneumonitis and pneumonia[22,23]. Although certain complications such as tracheal stenosis remain rare entities, the serious morbidity associated with the disease should be balanced against the ease and low expense of intra-operative cuff pressure monitoring.

Despite the large body of literature dealing with cuff pressure monitoring and the relative ease with which accurate intra-operative cuff pressure monitoring can be implemented, there remains a lack of guidelines and recommendations regarding the issue. Given the fact that studies have shown cuff pressures over 30 cm H2O occur in about 50% of cases where cuff inflation was performed using pilot balloon palpation[24], it raises the question of why mandatory monitoring is not standard of practice. As a profession, should we not be more vigilant with regards to tracheal tube cuff pressures? We say yes.

REFERENCES

1 	Nordin U. The trachea and cuff-induced tracheal injury. An experimental study on causative factors and prevention. Acta Otolaryngol Suppl 1977; 345: 1-71 [PMID: 335778]

2 	Dikkers FG. Tracheal stenosis can occur 20 years after intubation. BMJ 2001; 322: 362 [PMID: 11273242]

3 	Wain JC. Postintubation tracheal stenosis. Semin Thorac Cardiovasc Surg 2009; 21: 284-289 [PMID: 19942129 DOI: 10.1053/j.semtcvs.2009.08.001]

4 	Nseir S, Duguet A, Copin MC, De Jonckheere J, Zhang M, Similowski T, Marquette CH. Continuous control of endotracheal cuff pressure and tracheal wall damage: a randomized controlled animal study. Crit Care 2007; 11: R109 [PMID: 17915017 DOI: 10.1186/cc6142]

5 	Doyle DJ. Digital display of endotracheal tube cuff pressures made simple. Anesthesiology 1999; 91: 329 [PMID: 10422971]

6 	Combes X, Schauvliege F, Peyrouset O, Motamed C, Kirov K, Dhonneur G, Duvaldestin P. Intracuff pressure and tracheal morbidity: influence of filling with saline during nitrous oxide anesthesia. Anesthesiology 2001; 95: 1120-1124 [PMID: 11684980]

7 	Svenson JE, Lindsay MB, O’Connor JE. Endotracheal intracuff pressures in the ED and prehospital setting: is there a problem? Am J Emerg Med 2007; 25: 53-56 [PMID: 17157683 DOI: 10.1016/j.ajem.2006.09.001]

8 	Galinski M, Tréoux V, Garrigue B, Lapostolle F, Borron SW, Adnet F. Intracuff pressures of endotracheal tubes in the management of airway emergencies: the need for pressure monitoring. Ann Emerg Med 2006; 47: 545-547 [PMID: 16713783 DOI: 10.1016/j.annemergmed.2005.08.012]

9 	Stewart SL, Secrest JA, Norwood BR, Zachary R. A comparison of endotracheal tube cuff pressures using estimation techniques and direct intracuff measurement. AANA J 2003; 71: 443-447 [PMID: 15098531]

10 	Jain MK, Tripathi CB. Endotracheal tube cuff pressure monitoring during neurosurgery - Manual vs. automatic method. J Anaesthesiol Clin Pharmacol 2011; 27: 358-361 [PMID: 21897508 DOI: 10.4103/0970-9185.83682]

11 	Sengupta P, Sessler DI, Maglinger P, Wells S, Vogt A, Durrani J, Wadhwa A. Endotracheal tube cuff pressure in three hospitals, and the volume required to produce an appropriate cuff pressure. BMC Anesthesiol 2004; 4: 8 [PMID: 15569386 DOI: 10.1186/1471-2253-4-8]

12 	Seegobin RD, van Hasselt GL. Endotracheal cuff pressure and tracheal mucosal blood flow: endoscopic study of effects of four large volume cuffs. Br Med J (Clin Res Ed) 1984; 288: 965-968 [PMID: 6423162]

13 	Trivedi L, Jha P, Bajiya NR, Tripathi D. We should care more about intracuff pressure: The actual situation in government sector teaching hospital. Indian J Anaesth 2010; 54: 314-317 [PMID: 20882173 DOI: 10.4103/0019-5049.68374]

14 	Sultan P, Carvalho B, Rose BO, Cregg R. Endotracheal tube cuff pressure monitoring: a review of the evidence. J Perioper Pract 2011; 21: 379-386 [PMID: 22165491]

15 	Wujtewicz MA, Sawicka W, Owczuk R, Dylczyk-Sommer A, Wujtewicz M. Tracheal tube cuff pressure depends on the anaesthesiologist’s experience. A follow-up study. Anestezjol Intens Ter 2009; 41: 205-208 [PMID: 20201339]

16 	Liu J, Zhang X, Gong W, Li S, Wang F, Fu S, Zhang M, Hang Y. Correlations between controlled endotracheal tube cuff pressure and postprocedural complications: a multicenter study. Anesth Analg 2010; 111: 1133-1137 [PMID: 20736432 DOI: 10.1213/ANE.0b013e3181f2ecc7]

17 	Loeser EA, Orr DL, Bennett GM, Stanley TH. Endotracheal tube cuff design and postoperative sore throat. Anesthesiology 1976; 45: 684-687 [PMID: 984490]

18 	De S, De S. Post intubation tracheal stenosis. Indian J Crit Care Med 2008; 12: 194-197 [PMID: 19742266 DOI: 10.4103/0972-5229.45081]

19 	Fernandez R, Blanch L, Mancebo J, Bonsoms N, Artigas A. Endotracheal tube cuff pressure assessment: pitfalls of finger estimation and need for objective measurement. Crit Care Med 1990; 18: 1423-1426 [PMID: 2245619]

20 	Luna CM, Legarreta G, Esteva H, Laffaire E, Jolly EC. Effect of tracheal dilatation and rupture on mechanical ventilation using a low-pressure cuff tube. Chest 1993; 104: 639-640 [PMID: 8339669]

21	Striebel HW, Pinkwart LU, Karavias T. [Tracheal rupture caused by overinflation of endotracheal tube cuff]. Anaesthesist 1995; 44: 186-188 [PMID: 7762778]

22 	Diaz E, Rodríguez AH, Rello J. Ventilator-associated pneumonia: issues related to the artificial airway. Respir Care 2005; 50: 900-906; discussion 906-909 [PMID: 15972111]

23 	American Thoracic Society; Infectious Diseases Society of America. Guidelines for the management of adults with hospital-acquired, ventilator-associated, and healthcare-associated pneumonia. Am J Respir Crit Care Med 2005; 171: 388-416 [PMID: 15699079 DOI: 10.1164/rccm.200405-644ST]

24 	Rokamp KZ, Secher NH, Møller AM, Nielsen HB. Tracheal tube and laryngeal mask cuff pressure during anaesthesia - mandatory monitoring is in need. BMC Anesthesiol 2010; 10: 20 [PMID: 21129183 DOI: 10.1186/1471-2253-10-20]

P- Reviewer: DeSousa K, Hadianamrei R, Higa K, Spasojevic SD

S- Editor: Ji FF    L- Editor: A    E- Editor: Yan JL

# Text boxes

Table 1  Common techniques for assessing endotracheal cuff pressures[5,9,24]

| Method | Description |
| --- | --- |
| Minimal occlusive volume technique | Determination of volume of air to inject into cuff based on how much is required to eliminate audible end-inspiratory leak with positive pressure ventilation |
| Minimum leak technique | Determination of volume of air to injection into cuff based on how much is required to auscultate a small end-inspiratory leak |
| Predetermined volume technique | Injection of pre-determined volume of air to inflate cuff |
| Palpation technique | Palpation of pilot balloon after inflating endotracheal cuff |
| Direct intracuff pressure monitoring | Use of a pressure transducer to directly provide a quantitative pressure reading |