| Contrast-enhanced ultrasound in differentiating malignant from benign portal vein thrombosis in hepatocellular carcinoma Luciano Tarantino, Pasquale Ambrosino, Matteo Nicola Dario Di Minno |
| --- |
| CITATION | Tarantino L, Ambrosino P, Di Minno MND. Contrast-enhanced ultrasound in differentiating malignant from benign portal vein thrombosis in hepatocellular carcinoma. World J Gastroenterol 2015; 21(32): 9457-9460 |
| URL | http://www.wjgnet.com/1007-9327/full/v21/i32/9457.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v21.i32.9457 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Portal vein thrombosis (PVT) may occur in liver cirrhosis patients. Malignant PVT is a common complication in cirrhotic patients with concomitant hepatocellular carcinoma (HCC) and, in some cases, it may be even the initial sign of an undetected HCC. Due to its high performance in characterization of PVT in cirrhotic patients, contrast-enhanced ultrasound should be considered as the gold standard method and, often, the only diagnostic tool in cirrhotic patients for differential diagnosis between malignant and benign PVT. |
| KEY WORDS | Contrast-enhanced ultrasound; Hepatocellular carcinoma; Portal vein thrombosis; Benign thrombosis; Malignant thrombosis |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 16705

Columns: EDITORIAL

Contrast-enhanced ultrasound in differentiating malignant from benign portal vein thrombosis in hepatocellular carcinoma

Luciano Tarantino, Pasquale Ambrosino, Matteo Nicola Dario Di Minno

Luciano Tarantino, Department of Surgery, Interventional Hepatology Unit, Andrea Tortora Hospital, 07020 Pagani, Italy

Pasquale Ambrosino, Department of Clinical Medicine and Surgery, Federico II University, 80010 Naples, Italy

Matteo Nicola Dario Di Minno, Unit of Cell and Molecular Biology in Cardiovascular Diseases, Centro Cardiologico Monzino, IRCCS, 20138 Milan, Italy

Author contributions: The three authors equally contributed to the paper.

Correspondence to: Matteo Nicola Dario Di Minno, MD, PhD, Unit of Cell and Molecular Biology in Cardiovascular Diseases, Centro Cardiologico Monzino, IRCCS, Via C. Parea 4, 20138 Milan, Italy. dario.diminno@hotmail.it

Telephone: +39-2-58002857  Fax: +39-2-58002857

Received: January 27, 2015  Revised: July 8, 2015  Accepted: July 15, 2015

Published online: August 28, 2015

Abstract

Portal vein thrombosis (PVT) may occur in liver cirrhosis patients. Malignant PVT is a common complication in cirrhotic patients with concomitant hepatocellular carcinoma (HCC) and, in some cases, it may be even the initial sign of an undetected HCC. Detection of malignant PVT in a patient with liver cirrhosis heavily affects the therapeutic strategy. Gray-scale ultrasound (US) is widely unreliable for differentiating benign and malignant thrombi. Although effective for this differential diagnosis, fine-needle biopsy remains an invasive technique. Sensitivity of color-doppler US in detection of malignant thrombi is highly dependent on the size of the thrombus. Contrast-enhanced computed tomography (CT) and contrast-enhanced magnetic resonance (MRI) can be useful to assess the nature of portal thrombus, while limited data are currently available about the role of positron emission tomography (PET) and PET-CT. In contrast with CT, MRI, PET, and PET-CT, contrast-enhanced ultrasound (CEUS) is a fast, effective, well tolerated and cheap technique, that can be performed even in the same session in which the thrombus has been detected. CEUS can be performed bedside and can be available also in transplanted patients. Moreover, CT and MRI only yield a snapshot analysis during contrast diffusion, while CEUS allows for a continuous real-time imaging of the microcirculation that lasts several minutes, so that the whole arterial phase and the late parenchymal phase of the contrast diffusion can be analyzed continuously by real-time US scanning. Continuous real-time monitoring of contrast diffusion entails an easy detection of thrombus maximum enhancement. Moreover, continuous quantitative analyses of enhancement (wash in - wash out studies) by CEUS during contrast diffusion is nowadays available in most CEUS machines, thus giving a more sophisticated and accurate evaluation of the contrast distribution and an increased confidence in diagnosis in difficult cases. In conclusion, CEUS is a very reliable technique with a high intrinsic sensitivity for portal vein patency assessment. More expensive and sophisticated techniques (i.e., CT, MRI, PET, and PET-CT) should only be indicated in undetermined cases at CEUS.

Key words: Contrast-enhanced ultrasound; Hepatocellular carcinoma; Portal vein thrombosis; Benign thrombosis; Malignant thrombosis

Tarantino L, Ambrosino P, Di Minno MND. Contrast-enhanced ultrasound in differentiating malignant from benign portal vein thrombosis in hepatocellular carcinoma. World J Gastroenterol 2015; 21(32): 9457-9460  Available from: URL: http://www.wjgnet.com/1007-9327/full/v21/i32/9457.htm  DOI: http://dx.doi.org/10.3748/wjg.v21.i32.9457

Core tip: Portal vein thrombosis (PVT) may occur in liver cirrhosis patients. Malignant PVT is a common complication in cirrhotic patients with concomitant hepatocellular carcinoma (HCC) and, in some cases, it may be even the initial sign of an undetected HCC. Due to its high performance in characterization of PVT in cirrhotic patients, contrast-enhanced ultrasound should be considered as the gold standard method and, often, the only diagnostic tool in cirrhotic patients for differential diagnosis between malignant and benign PVT.

MAIN TEXT

Portal vein thrombosis (PVT) may occur in liver cirrhosis patients[1-6] with a prevalence ranging from 0.6% to 11%[2,6]. In addition, PVT is even more frequent in cirrhotic patients with concomitant hepatocellular carcinoma (HCC)[2]. However, PVT in liver cirrhosis may be also associated with inflammatory and infectious diseases (liver, bowel, pancreas), hypercoagulable states, endoscopic sclerotherapy of esophageal varices, and percutaneous ablation therapies[3-5].

Malignant PVT, so named for its neoplastic origin, is a common complication of HCC[1,2,4,5], and, in some cases, it may be even the initial sign of an undetected HCC[7,8].

Detection of malignant PVT in a patient with liver cirrhosis heavily affects the therapeutic strategy. Indeed, some Authors believe that HCC infiltration of the portal vein represents an exclusion criteria for liver transplantation, surgical resection, chemoembolization, and imaging-guided ablation, even in the presence of an uninodular lesion with a diameter lower than 5 cm[9,10].

Although conventional gray-scale ultrasound (US) is a highly sensitive technique for detection of PVT, it remains widely unreliable for differentiating benign and malignant thrombi[11]. Furthermore, although fine-needle biopsy (FNB) under US guidance proved to be effective for this differential diagnosis[7,8], it remains an invasive technique, relatively unsafe in cirrhotic patients, in which an impaired haemostatic balance is often reported.

HCC is a hypervascular malignancy with arterial intralesional flow. The latter is expression of tumoral neoangiogenesis and represents the cornerstone for the diagnostic approach[12]. Indeed, the demonstration of the neovascularization of the portal thrombus allows for a highly specific and non-invasive diagnosis of the malignant nature of PVT[13].

In keeping with this, detection of pulsatile arterial signals at color-doppler US (CDUS) inside the portal thrombi may be a fast and specific technique for assessment of malignant PVT[14,15]. These previous reports also suggested high sensitivity of CDUS for this purpose. However, these results have been challenged by other recent studies[13,16], showing a sensitivity lower than 20%. In reality, sensitivity of CDUS in detection of malignant thrombi is highly dependent on the size of the thrombus and the previous reports do not specify the size of the portal vein thrombi in their series.

The injection of contrast material in a peripheral vein allows for the detection of tissues microcirculation by most imaging techniques.

In 2006, we reported the first work focused on the evaluation of contrast-enhanced ultrasound (CEUS) as a tool for differential diagnosis between malignant and benign PVT. In a series of cirrhotic patients with PVT, we performed a comparative study between FNB of the thrombus, CDUS and CEUS for the differential diagnosis of benign and malignant PVT in cirrhotic patients[13]. In this study, CEUS showed the best performance with high sensitivity (88%) and specificity (100%).

These results were confirmed and extended in a subsequent study on a very large series of patients with hepatic cirrhosis in which we documented that CEUS showed a high sensitivity (94%) and specificity (96%) in differentiating malignant vs non-malignant PVT[17]. In the same year, Rossi et al[18] confirmed the high sensitivity and specificity of CEUS for that indication and, based on all these data, the European Federation of Societies for Ultrasound in Medicine and Biology (EFSUMB) included the “differential diagnosis between malignant and benign portal vein thrombosis” among indications for CEUS in the updated “EFSUMB Guidelines”[19].

In the last five years, several series of cirrhotic patients with PVT evaluated with CEUS were reported, substantially confirming the previous data[20].

Detection of thrombus enhancement by contrast-enhanced computed tomography (CT) and contrast-enhanced magnetic resonance (MRI) can assess the nature of portal thrombus[21,22]. In a series of 58 cirrhotic patients with PVT, Tublin et al[23] reported 100% specificity of multidetector CT (MDCT) in the diagnosis of malignant thrombosis. However, this study showed a rather low overall sensitivity (43%) of MDCT in detecting thrombus neovascularity. In addition, Rossi et al[18] compared CEUS and MDCT as techniques for differential diagnosis of PVT and CEUS proved to be far superior to MDCT and showed a very high sensitivity for detection (100%) and characterization (98%) of PVT, while MDCT showed a rather lower sensitivity both for detection (68%) and characterization (67%).

In 2012, Qian et al[24] compared indexes obtained by correlation between thrombus and aorta or thrombus and patent portal vein in portal phase, using dual-energy spectral CT for characterization of benign and malignant PVT. Interestingly, they reported a very high sensitivity (100%) and specificity (91.7%) of CT.

However, there are several disadvantages of CT, which include higher costs than CEUS, radiation exposure and the use of contrast materials, with important risks of anaphylaxis and nephropathy.

Gadolinium-enhanced MRI angiography is a useful technique for detection and characterization of PVT[22]. However, in our best knowledge, there are no published data on its sensitivity and specificity, and, also for this technique, there are several disadvantages that are mainly high cost of the procedure, limited number of available equipments, and possible severe nephrogenic systemic fibrosis caused by gadolinium.

A very interesting report by Catalano et al[25] described a sophisticated technique using unenhanced diffusion-weighted (DW) MRI imaging in distinguishing bland thrombus from neoplastic thrombus in PVT. In a short series of selected patients with known PVT, using an appropriate cut-off, malignant PVT could be assessed with 100% specificity. However, apart from the costs and scarce availability of the equipment, also in this case there are several drawbacks. DW MRI is an indigenous procedure with relatively low resolution of T2*WI protocol that often misses detection of thrombus in small portal venous branches and needs long times of breath-hold acquisitions, sometimes not feasible in cirrhotic patients.

Although limited data are currently available[26,27] we have also to consider the emerging role of positron emission tomography (PET) and PET-CT in differentiating malignant from benign PVT.

In contrast with CT, MRI, PET, and PET-CT, CEUS is a fast, effective, well tolerated and cheap technique, that can be performed even in the same session in which the thrombus has been detected[28,29]. CEUS can be performed bedside and can be available also in transplanted patients. Moreover, CT and MRI only yield a snapshot analysis during contrast diffusion, while CEUS allows for a continuous real-time imaging of the microcirculation that lasts several minutes, so that the whole arterial phase and the late parenchymal phase of the contrast diffusion can be analyzed continuously by real-time US scanning. Continuous real-time monitoring of contrast diffusion entails an easy detection of thrombus maximum enhancement. In fact, some patients show only a transient and very early enhancement inside the malignant thrombi after injection of the contrast[30]. CT and MRI could miss thrombus neovascularity in these kind of patients if the arterial phase scans are not taken at the time of maximum enhancement. Moreover, continuous quantitative analyses of enhancement (wash in - wash out studies) by CEUS during contrast diffusion is nowadays available in most CEUS machines, thus giving a more sophisticated and accurate evaluation of the contrast distribution and an increased confidence in diagnosis in difficult cases.

In conclusion, CEUS is a very reliable technique with a high intrinsic sensitivity for portal vein patency assessment. CEUS shows significantly higher sensitivity than CT in both detection and characterization of PVT. Due to its high performance in characterization of PVT in cirrhotic patients, we think that CEUS should be considered as the gold standard method and, often, the only diagnostic tool in cirrhotic patients for differential diagnosis between malignant and benign PVT. In this clinical setting, CEUS can be considered the best method for assessing eligibility of cirrhotic patients with HCC and PVT to liver transplantation, surgical resection or percutaneous treatments, without resorting to invasive methods such as FNB. More expensive and sophisticated techniques (i.e., CT, MRI, PET, and PET-CT) should only be indicated in undetermined cases at CEUS.

REFERENCES

1	Cohen J, Edelman RR, Chopra S. Portal vein thrombosis: a review. Am J Med 1992; 92: 173-182 [PMID: 1543202]

2	Gaiani S, Bolondi L, Li Bassi S, Zironi G, Siringo S, Barbara L. Prevalence of spontaneous hepatofugal portal flow in liver cirrhosis. Clinical and endoscopic correlation in 228 patients. Gastroenterology 1991; 100: 160-167 [PMID: 1983817]

3	Valla DC, Condat B. Portal vein thrombosis in adults: pathophysiology, pathogenesis and management. J Hepatol 2000; 32: 865-871 [PMID: 10845677]

4	Calvet X, Bruix J, Brú C, Ginés P, Vilana R, Solé M, Ayuso MC, Bruguera M, Rodes J. Natural history of hepatocellular carcinoma in Spain. Five year’s experience in 249 cases. J Hepatol 1990; 10: 311-317 [PMID: 2164055]

5	Amitrano L, Guardascione MA, Brancaccio V, Margaglione M, Manguso F, Iannaccone L, Grandone E, Balzano A. Risk factors and clinical presentation of portal vein thrombosis in patients with liver cirrhosis. J Hepatol 2004; 40: 736-741 [PMID: 15094219]

6	Okuda K, Ohnishi K, Kimura K, Matsutani S, Sumida M, Goto N, Musha H, Takashi M, Suzuki N, Shinagawa T. Incidence of portal vein thrombosis in liver cirrhosis. An angiographic study in 708 patients. Gastroenterology 1985; 89: 279-286 [PMID: 4007419]

7	Vilana R, Bru C, Bruix J, Castells A, Sole M, Rodes J. Fine-needle aspiration biopsy of portal vein thrombus: value in detecting malignant thrombosis. AJR Am J Roentgenol 1993; 160: 1285-1287 [PMID: 8388621]

8	Dusenbery D, Dodd GD, Carr BI. Percutaneous fine-needle aspiration of portal vein thrombi as a staging technique for hepatocellular carcinoma. Cytologic findings of 46 patients. Cancer 1995; 75: 2057-2062 [PMID: 7697594]

9	Minagawa M, Makuuchi M, Takayama T, Ohtomo K. Selection criteria for hepatectomy in patients with hepatocellular carcinoma and portal vein tumor thrombus. Ann Surg 2001; 233: 379-384 [PMID: 11224626]

10	Llovet JM, Bustamante J, Castells A, Vilana R, Ayuso Mdel C, Sala M, Brú C, Rodés J, Bruix J. Natural history of untreated nonsurgical hepatocellular carcinoma: rationale for the design and evaluation of therapeutic trials. Hepatology 1999; 29: 62-67 [PMID: 9862851]

11	Van Gansbeke D, Avni EF, Delcour C, Engelholm L, Struyven J. Sonographic features of portal vein thrombosis. AJR Am J Roentgenol 1985; 144: 749-752 [PMID: 3883708]

12	Lee HM, Lu DS, Krasny RM, Busuttil R, Kadell B, Lucas J. Hepatic lesion characterization in cirrhosis: significance of arterial hypervascularity on dual-phase helical CT. AJR Am J Roentgenol 1997; 169: 125-130 [PMID: 9207511]

13	Tarantino L, Francica G, Sordelli I, Esposito F, Giorgio A, Sorrentino P, de Stefano G, Di Sarno A, Ferraioli G, Sperlongano P. Diagnosis of benign and malignant portal vein thrombosis in cirrhotic patients with hepatocellular carcinoma: color Doppler US, contrast-enhanced US, and fine-needle biopsy. Abdom Imaging 2006; 31: 537-544 [PMID: 16865315]

14	Tanaka K, Numata K, Okazaki H, Nakamura S, Inoue S, Takamura Y. Diagnosis of portal vein thrombosis in patients with hepatocellular carcinoma: efficacy of color Doppler sonography compared with angiography. AJR Am J Roentgenol 1993; 160: 1279-1283 [PMID: 8388620]

15	Furuse J, Matsutani S, Yoshikawa M, Ebara M, Saisho H, Tsuchiya Y, Ohto M. Diagnosis of portal vein tumor thrombus by pulsed Doppler ultrasonography. J Clin Ultrasound 1992; 20: 439-446 [PMID: 1324947]

16	Rossi S, Rosa L, Ravetta V, Cascina A, Quaretti P, Azzaretti A, Scagnelli P, Tinelli C, Dionigi P, Calliada F. Contrast-enhanced versus conventional and color Doppler sonography for the detection of thrombosis of the portal and hepatic venous systems. AJR Am J Roentgenol 2006; 186: 763-773 [PMID: 16498104]

17	Tarantino L, Francica G, Sordelli I, Nocera V. Contrast-Enhanced Us: a Simple, quick and sensitive tool in the differential diagnosis of benign and malignant portal vein thrombosis in cirrhotic patients with hepatocellular carcinoma. J Hepatol 2008; 48: S12 [DOI: 10.1016/S0168-8278(08)60027-6]

18	Rossi S, Ghittoni G, Ravetta V, Torello Viera F, Rosa L, Serassi M, Scabini M, Vercelli A, Tinelli C, Dal Bello B, Burns PN, Calliada F. Contrast-enhanced ultrasonography and spiral computed tomography in the detection and characterization of portal vein thrombosis complicating hepatocellular carcinoma. Eur Radiol 2008; 18: 1749-1756 [PMID: 18369630 DOI: 10.1007/s00330-008-0931-z]

19	Claudon M, Cosgrove D, Albrecht T, Bolondi L, Bosio M, Calliada F, Correas JM, Darge K, Dietrich C, D’Onofrio M, Evans DH, Filice C, Greiner L, Jäger K, Jong Nd, Leen E, Lencioni R, Lindsell D, Martegani A, Meairs S, Nolsøe C, Piscaglia F, Ricci P, Seidel G, Skjoldbye B, Solbiati L, Thorelius L, Tranquart F, Weskott HP, Whittingham T. Guidelines and good clinical practice recommendations for contrast enhanced ultrasound (CEUS) - update 2008. Ultraschall Med 2008; 29: 28-44 [PMID: 18270887 DOI: 10.1055/s-2007-963785]

20	Raza SA, Jang HJ, Kim TK. Differentiating malignant from benign thrombosis in hepatocellular carcinoma: contrast-enhanced ultrasound. Abdom Imaging 2014; 39: 153-161 [PMID: 24002440 DOI: 10.1007/s00261-013-0034-4]

21	Lin JP, Lu DS. Early enhancement of tumor thrombus in the portal vein on two-phase helical CT. J Comput Assist Tomogr 1996; 20: 653-655 [PMID: 8708075]

22	Okumura A, Watanabe Y, Dohke M, Ishimori T, Amoh Y, Oda K, Dodo Y. Contrast-enhanced three-dimensional MR portography. Radiographics 1999; 19: 973-987 [PMID: 10464804]

23	Tublin ME, Dodd GD, Baron RL. Benign and malignant portal vein thrombosis: differentiation by CT characteristics. AJR Am J Roentgenol 1997; 168: 719-723 [PMID: 9057522]

24	Qian LJ, Zhu J, Zhuang ZG, Xia Q, Cheng YF, Li JY, Xu JR. Differentiation of neoplastic from bland macroscopic portal vein thrombi using dual-energy spectral CT imaging: a pilot study. Eur Radiol 2012; 22: 2178-2185 [PMID: 22622347 DOI: 10.1007/s00330-012-2477-3]

25	Catalano OA, Choy G, Zhu A, Hahn PF, Sahani DV. Differentiation of malignant thrombus from bland thrombus of the portal vein in patients with hepatocellular carcinoma: application of diffusion-weighted MR imaging. Radiology 2010; 254: 154-162 [PMID: 20032150 DOI: 10.1148/radiol.09090304]

26	Hu S, Zhang J, Cheng C, Liu Q, Sun G, Zuo C. The role of 18F-FDG PET/CT in differentiating malignant from benign portal vein thrombosis. Abdom Imaging 2014; 39: 1221-1227 [PMID: 24913670 DOI: 10.1007/s00261-014-0170-5]

27	Ahn SJ, Park MS, Kim KA, Park JY, Kim I, Kang WJ, Lee SK, Kim MJ. ¹⁸F-FDG PET metabolic parameters and MRI perfusion and diffusion parameters in hepatocellular carcinoma: a preliminary study. PLoS One 2013; 8: e71571 [PMID: 23940769 DOI: 10.1371/journal.pone.0071571]

28	Zhang XY, Luo Y, Wen TF, Jiang L, Li C, Zhong XF, Zhang JY, Ling WW, Yan LN, Zeng Y, Wu H. Contrast-enhanced ultrasound: Improving the preoperative staging of hepatocellular carcinoma and guiding individual treatment. World J Gastroenterol 2014; 20: 12628-12636 [PMID: 25253968 DOI: 10.3748/wjg.v20.i35.12628]

29	Soresi M, Giannitrapani L, Cervello M, Licata A, Montalto G. Non invasive tools for the diagnosis of liver cirrhosis. World J Gastroenterol 2014; 20: 18131-18150 [PMID: 25561782 DOI: 10.3748/wjg.v20.i48.18131]

30	Kim TK, Jang HJ. Contrast-enhanced ultrasound in the diagnosis of nodules in liver cirrhosis. World J Gastroenterol 2014; 20: 3590-3596 [PMID: 24707142 DOI: 10.3748/wjg.v20.i13.3590]

FOOTNOTES

Conflict-of-interest statement: Di Minno MND has acted as paid lecturer or board member and received grants and honoraria from Bayer, Biotest, Pfizer and Novo-Nordisk in the last 36 mo for researches unrelated to the present study. All the other Authors have nothing to declare.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: January 28, 2015

First decision: June 19, 2015

Article in press: July 15, 2015

P- Reviewer: Chok KSH, Li HP    S- Editor: Yu J    L- Editor: A    E- Editor: Zhang DN