Copyright Information of the Article Published Online

| TITLE | Inter- and intra-rater reliability of diffusion tensor imaging parameters in the normal pediatric spinal cord |
| --- | --- |
| AUTHOR(s) | Nadia Barakat, Pallav Shah, Scott H Faro, John P Gaughan, Devon Middleton, MJ Mulcahey, Feroze B Mohamed |
| CITATION | Barakat B, Shah P, Faro SH, Gaughan JP, Middleton D, Mulcahey MJ, Mohamed FB. Inter- and intra-rater reliability of diffusion tensor imaging parameters in the normal pediatric spinal cord. World J Radiol 2015; 7(9): 279-285 |
| URL | http://www.wjgnet.com/1949-8470/full/v7/i9/279.htm |
| DOI | http://dx.doi.org/10.4329/wjr.v7.i9.279 |
| OPEN-ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | We tested the reliability of spinal cord diffusion tensor imaging (DTI) by assessing inter- and intra-rater agreement between two region of interest (ROI) selection methods. Results showed moderate to strong agreement between repeated measurements. There was a variation in DTI parameters at lower and upper spinal cord levels and significant differences between raters in the number of pixels they chose to outline ROIs. There were no significant differences in DTI parameter values derived from these ROIs. The study showed that strong reproducibility in spinal cord DTI can be achieved, and highlighted the importance of setting detailed methodology to standardize ROI drawing techniques. |
| KEY WORDS | Diffusion tensor imaging; Reproducibility; Reliability; Spinal cord; Inter-rater; Intra-rater |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Radiology |
| ISSN | 1949-8470 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

Ms. Wjg/20xx                                                                Retrospective Cohort Study

Inter- and intra-rater reliability of diffusion tensor imaging parameters in the normal pediatric spinal cord

Nadia Barakat, Pallav Shah, Scott H Faro, John P Gaughan, Devon Middleton, MJ Mulcahey, Feroze B Mohamed

Nadia Barakat, Pallav Shah, Scott H Faro, Devon Middleton, Feroze B Mohamed, Department of Radiology, Temple University, Philadelphia, PA 19140, United States

Nadia Barakat, John P Gaughan, Biostatistics Consulting Center, Temple University School of Medicine, Philadelphia, PA 19140, United States

MJ Mulcahey, Thomas Jefferson University School of Health Professions, Philadelphia, PA 19107, United States

Author contributions: All the authors solely contributed to this paper.

Correspondence to: Nadia Barakat, PhD, Department of Radiology, Temple University, 3401 N. Broad St., Philadelphia, PA 19140, United States. nadia.barakat@temple.edu

Telephone: +1-215-7079047

Received: February 11, 2015  Revised: June 24, 2015   Accepted: July 29, 2015

Published online: September 28, 2015

Abstract

AIM: To assess inter- and intra-rater reliability (agreement) between two region of interest (ROI) methods in pediatric spinal cord diffusion tensor imaging (DTI).

METHODS: Inner-Field-of-View DTI data previously acquired from ten pediatric healthy subjects (mean age = 12.10 years) was used to assess for reliability. ROIs were drawn by two neuroradiologists on each subject data twice within a 3-mo interval. ROIs were placed on axial B0 maps along the cervical spine using free-hand and fixed-size ROIs. Agreement analyses for fractional anisotropy (FA), axial diffusivity, radial diffusivity and mean diffusivity were performed using intra-class-correlation (ICC) and Cronbach’s alpha statistical methods.

RESULTS: Inter- and intra-rater agreement between the two ROI methods showed moderate (ICC = 0.5) to strong (ICC = 0.84). There were significant differences between raters in the number of pixels selected using free-hand ROIs (P < 0.05). However, no significant differences were observed in DTI parameter values. FA showed highest variability in ICC values (0.10-0.87). Cronbach’s alpha showed moderate-high values for raters and ROI methods.

CONCLUSION: The study showed that high reproducibility in spinal cord DTI can be achieved, and demonstrated the importance of setting detailed methodology for post-processing DTI data, specifically the placement of ROIs.

Key words: Diffusion tensor imaging; Reproducibility; Reliability; Spinal cord; Inter-rater; Intra-rater

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: We tested the reliability of spinal cord diffusion tensor imaging (DTI) by assessing inter- and intra-rater agreement between two region of interest (ROI) selection methods. Results showed moderate to strong agreement between repeated measurements. There was a variation in DTI parameters at lower and upper spinal cord levels and significant differences between raters in the number of pixels they chose to outline ROIs. There were no significant differences in DTI parameter values derived from these ROIs. The study showed that strong reproducibility in spinal cord DTI can be achieved, and highlighted the importance of setting detailed methodology to standardize ROI drawing techniques.

Barakat B, Shah P, Faro SH, Gaughan JP, Middleton D, Mulcahey MJ, Mohamed FB. Inter- and intra-rater reliability of diffusion tensor imaging parameters in the normal pediatric spinal cord. World J Radiol 2015; 7(9): 279-285  Available from: URL: http://www.wjgnet.com/1949-8470/full/v7/i9/279.htm  DOI: http://dx.doi.org/10.4329/wjr.v7.i9.279

INTRODUCTION

Diffusion tensor imaging (DTI) has become an important technique for evaluating the central nervous system noninvasively. The application of DTI in the spinal cord is technically limited by the small cross-sectional size of the spinal cord, cerebral spinal fluid pulsation (CSF), the presence of nearby vascular and osseous structures, respiratory and cardiac motion.

Despite these challenges, studies have successfully reported diffusion measures in the intact human spinal cord[1-9]. Several studies have investigated the clinical utility of DTI in assessing spinal cord pathology and have shown correlations between DTI and clinical scores[10-18]. While these studies used different data acquisition methods and post-processing software, they all shared one common technique to delineate the spinal cord: Manual drawing of regions of interests (ROIs) to calculate DTI parameters. Additionally, they all reported that ROI locations were confirmed using the conventional structural MR imaging sequences, and that care was taken to avoid inclusion of CSF. Interestingly, most of these studies reported that the variability seen in DTI parameters could be due to the user-dependent manual selection of ROIs.

Parameters derived from DTI can provide information about tissue properties which may have clinical significance. To be proven clinically reliable, the quantitative properties of spinal cord DTI need to be assessed by multiple reviewers. While extensive data is available on the reliability and reproducibility of brain DTI[19-24], to the best of our knowledge there is lack of research on the reliability of ROI placement to quantify spinal cord DTI measures. The goal of this study was to assess inter-rater (between) and intra-rater (within) agreement in pediatric spinal cord DTI, as well as agreement between two methods of drawing regions of interest.

MATERIALS AND METHODS

Subjects

This is a retrospective study. Ten pediatric subjects with a mean age of 12.10 years (age range 9 to 15) underwent cervical spinal cord DTI[25]. The subjects had no clinical or imaging evidence of spinal cord injury or pathology. Subjects and their parents provided written informed assent and consent of the IRB-approved protocol.

Imaging

The scans were performed using a 3T Siemens Verio MR scanner with a four-channel neck matrix and an eight-channel spine matrix coils. The protocol consisted of conventional sagittal Turbo Spin Echo T1- and T2-weighted scans, axial TSE T2 weighted scans as well as axial DTI acquisition with an inner Field-of-View single-shot EPI sequence with spatially 2D-selective RF excitations[26,27]. Anesthesia was not administered to the subjects. Neither cardiac nor respiratory gating was performed. The axial DTI images were acquired in the same anatomical location prescribed for the T2-weighted images to cover the cervical spinal cord (C1 to T1 levels). DTI scanning parameters included: 20 diffusion directions, b = 1000 s/mm2, voxel size = 1.2 mm3 × 1.2 mm3 × 3 mm3, axial slices = 35-45 (depending on the subject’s height), TR = 6100-8000 ms, TE = 115 ms, number of averages = 3 and acquisition time = 7 min.

Image processing

Initially, the diffusion data sets were corrected for motion-induced artifacts using the Automated-Image-Registration where the target images (20 directional images) were aligned with the reference image (B0) using a rigid registration algorithm and scaled-least-squares cost function[28]. Tensor estimation and placement of ROIs were performed on MedINRIA. Fractional anisotropy (FA), axial diffusivity (AD), radial diffusivity (RD) and mean diffusivity (MD) measures were calculated.

Placement of regions of interest

The methodology for ROI placement was devised by two board-certified neuroradiologists. ROIs were manually drawn on axial b0 maps along the cervical spinal cord at each cervical intervertebral disk and mid vertebral body level. Two methods of selecting ROIs were examined in this study: (1) free-hand: Where the raters manually outlined the periphery of spinal cord tissue with consistent sparring of the outer margin of the spinal cord that represented approximately one voxel width to minimize volume averaging with the CSF, and (3) pre-set: where raters placed a rectangular 3 by 2 pixels region of interest in the center of the spinal cord (Figure 1).

To asses for inter-rater variability, ROIs were drawn by two board-certified neuroradiologists (rater 1 and rater 2) who received training on using MedINRIA. To assess intra-rater variability, each rater performed ROI analysis on each subject data twice. The two raters worked independently and were blinded to each other’s results and were proficient in DTI post-processing. Data generated from the first set of ROIs was not available during the second assessment. Both neuroradiologists were asked to repeat the measurements after 3 mo.

Data analysis

For each ROI, DTI values were extracted from each voxel. The values of each DTI parameter (FA, AD, RD and MD) were averaged per cord level across all subjects. ROI selection was guided by axial TSE T2 and reconstructed sagittal and coronal b0 maps.

Statistical analysis

Statistical analysis was performed using SAS, version 9.1, to test the inter- and intra-rater agreement between DTI data from the two methods of ROI drawing. This was assessed by (1) calculating the intra-class-correlation (ICC) coefficients[29,30] with 95%CI for each DTI parameter per spinal cord level and (2) calculating Cronbach’s alpha as a measure of test re-test for each rater. Descriptive statistics were calculated for FA, AD, RD, MD, and test re-test differences were compared using paired t tests, with P value ≤ 0.05 considered statistically significant.

RESULTS

Using B0 images, ROIs were drawn manually and by placing a pre-set outline (Figure 1). Descriptive data for ROI drawing methods, raters and trials of spinal cord FA, AD, RD and MD are shown in Table 1. Overall, there were significant differences between raters in the number of pixels they chose to outline free-hand ROIs (P < 0.05). However, there were no significant differences in average inter- or intra-rater DTI parameter values. When two ROI drawing methods were compared to each other, significant differences were found in DTI parameters. Paired t tests were run for spinal cord levels C1 to T1. Data in Table 1 shows mean inter-observer and intra-observer DTI parameter values.

Overall agreement

The ICC coefficients for each DTI parameter as a function of spinal cord level are shown in Figure 2. The agreement was moderate to high among raters and ROI drawing methods. The ROI methods showed moderate (ICC = 0.5) to strong (ICC = 0.84) inter-rater and intra-rater agreement. Of the DTI parameters, FA showed the highest variability of ICC values (0.10-0.87). Low agreement was found in upper spinal cord levels C1 to mid-C3. RD showed slightly higher agreement values than FA (0.26-0.83). The agreement was lower in the pre-set ROIs for FA and RD. Figure 3 shows the Cronbach’s Alpha values evaluating test-retest agreement for each rater. There was a decrease in agreement at upper and lower spinal cord levels, especially in FA values. There was low and fluctuating agreement values in RD for rater 2 when placing pre-fixed size ROIs.

DISCUSSION

This study sought to evaluate within and between rater agreements in DTI parameter values of the normal pediatric cervical spinal cord. Inter-rater reliability refers to the variability between raters and intra-rater reliability measures the agreement within raters across multiple trials.

There were significant differences between raters in the number of pixels they chose to outline using free-hand ROIs. There were no significant differences in DTI parameter values derived from these ROIs. Although one rater was more conservative in selecting the area of spinal cord tissue (16 pixels vs 24 pixels), the difference in the number of pixels may not have been large enough to detect difference in DTI parameter values.

When the free-hand and fixed-size ROI drawing methods were compared to each other, significant differences were found in DTI parameters. The large difference between the numbers of pixels selected to outline the spinal cord may reflect the differences found in DTI values. For example, rater 1 outlined 24 pixels using free-hand compared to 6 pixels when placing the pre-fixed ROI. A conservative outline may not be sensitive enough to detect physiological changes whereas a large ROI may include CSF. Thus consensus is needed to standardize ROI drawing techniques.

Overall agreement between and within raters was evaluated using the ICC coefficient and showed moderate to strong agreement between the repeated measurements (0.50-0.84). There was a variation in all DTI parameters at lower and upper spinal cord levels. Contributing factors to these differences could be signal drop-off at the edge of the neck coil. The lower cervical and upper thoracic levels were positioned at the extremities of the neck coil where signal-to-noise decreases, and accidental inclusion of CSF where image artifacts were prominent. Additionally, the lowest cervical levels (C4-C7) are the most sensitive to cardiac motion. Therefore some cardiac-related artifacts may have biased the selection or placement of ROIs. When examining DTI parameters individually, FA and RD showed the highest variability of ICC values. The agreement was lower in the pre-set ROIs, primarily in the upper and lower spinal cord levels (C1, C2, C6 and C7). The variations in these DTI parameters could be due to their relatively high sensitivity to CSF volume averaging. Furthermore, due to the decrease in cord volume between C1 and T1, consistent ROIs were difficult to maintain. This may have led to the lower agreement in the fixed size ROIs. At levels where the spinal cord cross section is small, the rectangular 3 × 2 ROI may have been too large and included artifact from surrounding CSF, while with larger cross sectional areas, the 3 × 2 pixel-ROIs were too small and did not include enough spinal cord tissue. It is important to note that the 3 × 2 pixel size ROI was chosen to be large enough to obtain sufficient data points but small enough to be potentially suitable for the atrophic spinal cord.

To examine if the raters showed any variability in their repeated measurements Cronbach’s alpha was used. The results showed that although one rater was more conservative in outlining spinal cord area and selected less pixels, strong test re-test agreement was seen for all DTI parameters. There were few data points with lower Cronbach’s alpha values in the lower and upper spinal cord levels, similar to the ICC analysis.

This study has some limitations. Only normally developed subjects were evaluated. A similar study in subjects with spinal cord injuries could provide different insights about the methodology of segmenting and measuring spinal cord tissue. Additionally, although both raters had extensive experience in DTI post-processing and agreed on the methodology used in this study, they may not have discussed all possible components in ROI drawing methods. There was a consensus of ROI size and shape taking into consideration the anatomical changes in cross sectional area at different levels of the spinal cord.

In conclusion, the usefulness of a non-invasive quantitative measurement depends on the validity, intra-rater and inter-rater reliability of the derived data for different conditions. This study demonstrates the importance of developing a robust method of DTI post-processing analysis, specifically ROI placement, to reduce operator variability and thereby develop accurate imaging biomarkers to examine spinal cord injury.

COMMENTS

Background

Diffusion tensor imaging (DTI) is a relatively new technique to examine the spinal cord in vivo. DTI offers a general understanding on structural connectivity of axonal white matter, and is believed to be a more sensitive measure in assessing damage to tracts in the spinal cord. It quantifies diffusion of water molecules in each voxel of an image in directions parallel and transverse to the plane of neuronal axons. The unique anisotropic characteristics of the spinal cord may allow DTI to localize white matter, separate white from gray matter and assess structural damage of the cord. To be proven clinically reliable, the quantitative properties of spinal cord DTI need to be assessed by multiple reviewers. The purpose of this study was to assess inter- and intra-rater reliability between two ROI methods in pediatric spinal cord DTI.

Research frontiers

Information extracted from DTI might allow analysis of the association between anatomical measures and degree of disability. This can be applied to various spinal cord diseases to assess viable tissue after injury and even guide surgical planning. Poor reproducibility limits the potential clinical application of any imaging technique. This study highlights the importance of assessing inter- and intra-rater agreement in the analysis of DTI data.

Innovations and breakthroughs

While extensive data is available on the reliability and reproducibility of brain DTI, to the best of our knowledge there is lack of research on the reliability of ROI placement to quantify spinal cord DTI measures. The goal of this study was to assess inter-rater (between) and intra-rater (within) agreement in pediatric spinal cord DTI, as well as agreement between two methods of drawing regions of interest.

Applications

DTI provides a means to measure tissue integrity following SCI and can allow an association between physical disability and spinal cord volume loss. Given the sensitivity of DTI to white matter integrity, it could and has been used in demyelinating conditions, traumatic spinal cord injury, Wallerian degeneration, and other conditions where white matter integrity in affected or lost.

Terminology

DTI is a MRI-based technique for non-invasively examining diffusion of water molecules in each voxel of an image in directions parallel and transverse to the plane of neuronal axons. The quantitative characteristics of DTI allows for the characterization of physical and biophysical properties of tissue. Fractional anisotropy is a unit-less index used to characterize the directionality of the fibers. Axial diffusivity is parameter derived from DTI calculations that reflects diffusivity of water molecules parallel to the spinal cord tracts. Radial diffusivity represents diffusivity perpendicular to the spinal cord tracts.

Peer-review

This study evaluated within and between rater agreements in DTI parameter values of the normal pediatric cervical spinal cord. Inter-rater reliability refers to the variability between raters and intra-rater reliability measures the agreement within raters across multiple trials. The data showed that high reproducibility in spinal cord DTI can be achieved, and demonstrated the importance of setting detailed methodology for post-processing DTI data, specifically the placement of ROIs.

REFERENCES

1	van Hecke W, Nagels G, Emonds G, Leemans A, Sijbers J, van Goethem J, Parizel PM. A diffusion tensor imaging group study of the spinal cord in multiple sclerosis patients with and without T2 spinal cord lesions. J Magn Reson Imaging 2009; 30: 25-34 [PMID: 19557843 DOI: 10.1002/jmri.21817]

2	Vedantam A, Jirjis MB, Schmit BD, Wang MC, Ulmer JL, Kurpad SN. Characterization and limitations of diffusion tensor imaging metrics in the cervical spinal cord in neurologically intact subjects. J Magn Reson Imaging 2013; 38: 861-867 [PMID: 23389869 DOI: 10.1002/jmri.24039]

3	Ellingson B, Schmit B, Ulmer J, Kurpad S. Diffusion tensor magnetic resonance imaging in spinal cord injury. Concepts in Magnetic Resonance Part A.2008; 32A: 219-237

4	Ellingson BM, Ulmer JL, Kurpad SN, Schmit BD. Diffusion tensor MR imaging of the neurologically intact human spinal cord. AJNR Am J Neuroradiol 2008; 29: 1279-1284 [PMID: 18417607 DOI: 10.3174/ajnr.A1064]

5	Fujiyoshi K, Konomi T, Yamada M, Hikishima K, Tsuji O, Komaki Y, Momoshima S, Toyama Y, Nakamura M, Okano H. Diffusion tensor imaging and tractography of the spinal cord: from experimental studies to clinical application. Exp Neurol 2013; 242: 74-82 [PMID: 22868199 DOI: 10.1016/j.expneurol.2012.07.015]

6	Clark CA, Werring DJ, Miller DH. Diffusion imaging of the spinal cord in vivo: estimation of the principal diffusivities and application to multiple sclerosis. Magn Reson Med 2000; 43: 133-138 [PMID: 10642740]

7	Andre JB, Zaharchuk G, Saritas E, Komakula S, Shankaranarayan A, Banerjee S, Rosenberg J, Nishimura DG, Fischbein NJ. Clinical evaluation of reduced field-of-view diffusion-weighted imaging of the cervical and thoracic spine and spinal cord. AJNR Am J Neuroradiol 2012; 33: 1860-1866 [PMID: 22555576 DOI: 10.3174/ajnr.A3134]

8	Akter M, Hirai T, Minoda R, Murakami R, Saiki S, Okuaki T, Kitajima M, Fukuoka H, Sasao A, Nishimura S, Yumoto E, Awai K, Yamashita Y. Diffusion tensor tractography in the head-and-neck region using a clinical 3-T MR scanner. Acad Radiol 2009; 16: 858-865 [PMID: 19375950]

9	Andre JB, Bammer R. Advanced diffusion-weighted magnetic resonance imaging techniques of the human spinal cord. Top Magn Reson Imaging 2010; 21: 367-378 [PMID: 22158130]

10	Onu M, Roceanu A, Sboto-Frankenstein U, Bendic R, Tarta E, Preoteasa F, Bajenaru O. Diffusion abnormality maps in demyelinating disease: correlations with clinical scores. Eur J Radiol 2012; 81: e386-e391 [PMID: 22257426 DOI: 10.1016/j.ejrad.2011.12.014]

11	Cheran S, Shanmuganathan K, Zhuo J, Mirvis SE, Aarabi B, Alexander MT, Gullapalli RP. Correlation of MR diffusion tensor imaging parameters with ASIA motor scores in hemorrhagic and nonhemorrhagic acute spinal cord injury. J Neurotrauma 2011; 28: 1881-1892 [PMID: 21875333 DOI: 10.1089/neu.2010.1741]

12	Mulcahey MJ, Samdani AF, Gaughan JP, Barakat N, Faro S, Shah P, Betz RR, Mohamed FB. Diagnostic accuracy of diffusion tensor imaging for pediatric cervical spinal cord injury. Spinal Cord 2013; 51: 532-537 [PMID: 23608812 DOI: 10.1038/sc.2013.36]

13	Oh J, Saidha S, Chen M, Smith SA, Prince J, Jones C, Diener-West M, van Zijl PC, Reich DS, Calabresi PA. Spinal cord quantitative MRI discriminates between disability levels in multiple sclerosis. Neurology 2013; 80: 540-547 [PMID: 23325903 DOI: 10.1212/WNL.0b013e31828154c5]

14	Tanenbaum LN. Clinical applications of diffusion imaging in the spine. Magn Reson Imaging Clin N Am 2013; 21: 299-320 [PMID: 23642555 DOI: 10.1016/j.mric.2012.12.002]

15	Shanmuganathan K, Gullapalli RP, Zhuo J, Mirvis SE. Diffusion tensor MR imaging in cervical spine trauma. AJNR Am J Neuroradiol 2008; 29: 655-659 [PMID: 18238846 DOI: 10.3174/ajnr.A0916]

16	Koskinen E, Brander A, Hakulinen U, Luoto T, Helminen M, Ylinen A, Ohman J. Assessing the state of chronic spinal cord injury using diffusion tensor imaging. J Neurotrauma 2013; 30: 1587-1595 [PMID: 23758292 DOI: 10.1089/neu.2013.2943]

17	Barakat N, Mulcahey MJ, Shah P, Samdani A, Krisa L, Faro S, Mohamed FB. Diffusion tensor imaging in pediatric transverse myelitis: a case study. J Pediatr Rehabil Med 2012; 5: 281-286 [PMID: 23411769]

18	Lee JW, Park KS, Kim JH, Choi JY, Hong SH, Park SH, Kang HS. Diffusion tensor imaging in idiopathic acute transverse myelitis. AJR Am J Roentgenol 2008; 191: W52-W57 [PMID: 18647886 DOI: 10.2214/AJR.07.2800]

19	Bisdas S, Bohning DE, Besenski N, Nicholas JS, Rumboldt Z. Reproducibility, interrater agreement, and age-related changes of fractional anisotropy measures at 3T in healthy subjects: effect of the applied b-value. AJNR Am J Neuroradiol 2008; 29: 1128-1133 [PMID: 18372415 DOI: 10.3174/ajnr.A1044]

20	Hakulinen U, Brander A, Ryymin P, Öhman J, Soimakallio S, Helminen M, Dastidar P, Eskola H. Repeatability and variation of region-of-interest methods using quantitative diffusion tensor MR imaging of the brain. BMC Med Imaging 2012; 12: 30 [PMID: 23057584 DOI: 10.1186/1471-2342-12-30]

21	Ozturk A, Sasson AD, Farrell JA, Landman BA, da Motta AC, Aralasmak A, Yousem DM. Regional differences in diffusion tensor imaging measurements: assessment of intrarater and interrater variability. AJNR Am J Neuroradiol 2008; 29: 1124-1127 [PMID: 18356471 DOI: 10.3174/ajnr.A0998]

22	Brander A, Kataja A, Saastamoinen A, Ryymin P, Huhtala H, Ohman J, Soimakallio S, Dastidar P. Diffusion tensor imaging of the brain in a healthy adult population: Normative values and measurement reproducibility at 3 T and 1.5 T. Acta Radiol 2010; 51: 800-807 [PMID: 20707664 DOI: 10.3109/02841851.2010.495351]

23	Veenith TV, Carter E, Grossac J, Newcombe VF, Outtrim JG, Lupson V, Williams GB, Menon DK, Coles JP. Inter subject variability and reproducibility of diffusion tensor imaging within and between different imaging sessions. PLoS One 2013; 8: e65941 [PMID: 23840380 DOI: 10.1371/journal.pone.0065941]

24	Cercignani M, Bammer R, Sormani MP, Fazekas F, Filippi M. Inter-sequence and inter-imaging unit variability of diffusion tensor MR imaging histogram-derived metrics of the brain in healthy volunteers. AJNR Am J Neuroradiol 2003; 24: 638-643 [PMID: 12695195]

25	Barakat N, Mohamed FB, Hunter LN, Shah P, Faro SH, Samdani AF, Finsterbusch J, Betz R, Gaughan J, Mulcahey MJ. Diffusion tensor imaging of the normal pediatric spinal cord using an inner field of view echo-planar imaging sequence. AJNR Am J Neuroradiol 2012; 33: 1127-1133 [PMID: 22300927 DOI: 10.3174/ajnr.A2924]

26	Finsterbusch J. High-resolution diffusion tensor imaging with inner field-of-view EPI. J Magn Reson Imaging 2009; 29: 987-993 [PMID: 19306448]

27	Barakat N, Hunter L, Finsterbusch J, Shah P, Faro SH, Samdani AF, Betz R, Gaughan J, Mulcahey MJ, Mohamed FB. Diffusion tensor imaging of the pediatric spinal cord using an inner-FoV EPI pulse sequence in normals and patients with SCI. Proc Intl Soc Mag Reson Med 2011

28	Barakat N, Middleton D, Hunter L, Finsterbusch J, Shah P, Faro SH, Samdani AF, Betz R, Gaughan J, Mulcahey MJ, Mohamed FB. An investigation of motion correction algorithms for pediatric spinal cord DTI in normals and patients with SCI. Proc Intl Soc Mag Reson Med 2011

29	Haas M. Statistical methodology for reliability studies. J Manipulative Physiol Ther 1991; 14: 119-132 [PMID: 2019821]

30	Shrout PE, Fleiss JL. Intraclass correlations: uses in assessing rater reliability. Psychol Bull 1979; 86: 420-428 [PMID: 18839484]

Figure Legends

Figure 1  B0 images show how each rater outlined manual and fixed size regions of interest.

Figure 2  Intra-class-correlation values as a function of spinal cord level for fractional anisotropy, axial diffusivity, radial diffusivity and mean diffusivity. ROI: Region of interest; FA: Fractional anisotropy; AD: Axial diffusivity; RD: Radial diffusivity; MD: Mean diffusivity.

Figure 3  Cronbach’s alpha values as a function of spinal cord level for fractional anisotropy, axial diffusivity, radial diffusivity and mean diffusivity. ROI: Region of interest; FA: Fractional anisotropy; AD: Axial diffusivity; RD: Radial diffusivity; MD: Mean diffusivity.

Footnotes

Supported by The Shriners Hospitals for Children, No. #8956.

Institutional review board statement: Subjects and their parents provided written informed assent and consent of the IRB-approved protocol.

Informed consent statement: Subjects and their parents provided written informed assent and consent of the IRB-approved protocol.

Conflict-of-interest statement: All the authors participated in this work do not have any conflict of interest.

Data sharing statement: All the authors participated in this work do not have any data sharing.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: February 11, 2015

First decision: March 6, 2015

Article in press: August 3, 2015

P- Reviewer: Li YZ, Prakash N    S- Editor: Song XX    L- Editor: A    E- Editor: Wu HL

# Text boxes

Table 1  Mean  SD inter-rater and intra-rater values for fractional anisotropy, axial diffusivity (× 10-3 mm2/s), radial diffusivity (×10-3 mm2/s), and mean diffusivity (× 10-3 mm2/s), for manually drawn regions of interest and fixed size regions of interest

|  |  |  | Pixels | FA | AD | RD | MD |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Freehand ROI | Rater 1 | Trial 1 | 24 | 0.50 ± 0.13 | 1.35 ± 0.52 | 0.70 ± 0.54 | 0.92 ± 0.53 |
|  |  | Trial 2 | 24 | 0.47 ± 0.13 | 1.16 ± 0.18 | 0.52 ± 0.17 | 0.73 ± 0.18 |
|  | Rater 2 | Trial 1 | 17 | 0.48 ± 0.12 | 1.53 ± 0.65 | 0.88 ± 0.64 | 1.10 ± 0.65 |
|  |  | Trial 2 | 14 | 0.52 ± 0.10 | 1.20 ± 0.16 | 0.48 ± 0.13 | 0.72 ± 0.14 |
| Fixed ROI | Rater 1 | Trial 1 | 6 | 0.54 ± 0.10 | 1.18 ± 0.19 | 0.46 ± 0.14 | 0.70 ± 0.16 |
|  |  | Trial 2 | 6 | 0.54 ± 0.10 | 1.18 ± 0.16 | 0.47 ± 0.13 | 0.71 ± 0.14 |
|  | Rater 2 | Trial 1 | 6 | 0.53 ± 0.10 | 1.64 ± 0.58 | 0.91 ± 0.56 | 1.16 ± 0.56 |
|  |  | Trial 2 | 6 | 0.54 ± 0.10 | 1.19 ± 0.15 | 0.45 ± 0.11 | 0.70 ± 0.12 |

ROI: Region of interest; FA: Fractional anisotropy; AD: Axial diffusivity; RD: Radial diffusivity; MD: Mean diffusivity.