**Name of journal: *World Journal of Obstetrics and Gynecology***

**ESPS Manuscript NO: 17924**

**Columns: MINIREVIEWS**

**Single incision slings: Past, present, and future**

Serels S. Single incision slings: Past, present, and future

Scott Serels

**Scott Serels,** Bladder Control Center of Norwalk, Norwalk, CT 06880, United States

**Scott Serels,** Medical Sciences, Frank H. Netter School of Medicine at Quinnipiac University, Hamden, CT 06518, United States

**Author contributions:** Serels S contributed to this paper.

**Conflict-of-interest:** None.

**Open-Access:** This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: <http://creativecommons.org/licenses/by-nc/4.0/>

**Correspondence to: Scott Serels, MD,** **Director, Assistant Clinical Professor** of Medical Sciences, Bladder Control Center of Norwalk, 12 Elmcrest Terrace, Norwalk, CT 06880, United States. scottserels@hotmail.com

**Telephone:** +1-120-38534200

**Fax:** +1-120-32991938

**Received:** March 30, 2015

**Peer-review started:** April 4, 2015

**First decision:** May 13, 2015

**Revised:** May 30, 2015

**Accepted:** June 18, 2015

**Article in press:**

**Published online:**

**Abstract**

Pubovaginal slings have become the gold standard to treat stress urinary incontinence. Traditionally, the sling referred to a suspensory that was placed under the urethra and brought through the retropubic space and anchored on either side of the midline. Since this original concept, there have been many materials used for the sling, and there have been many different anchoring approaches. Most agree that one of the best materials is polypropylene mesh. However, the means of anchoring the device and where best to have this anchorage placed is debatable. The options for anchoring simply include using darts versus not to hold the sling in place. The location of this anchorage, on the other hand, is much more controversial. The main locations are retropubic, transobturator, and via a single incision. The obturator and retropubic slings have become the standard of care over time. The single incision sling, on the other hand, is starting to be more acceptable which has resulted in it being used more frequently. The single incision relies on mainly anchoring the sling through the obturator internus muscle with possible inclusion of the obturator membrane. The purpose of this review article is to present the data that exists for the use of the single incision sling.

**Key words:** Sling; Stress urinary incontinence; Incontinence; Single incision sling; Surgery

**© The Author(s) 2015.** Published by Baishideng Publishing Group Inc. All rights reserved.

**Core tip:** Polypropylene slings have become the mainstay of therapy for treating stress urinary incontinence in women. Historically, these slings have worked well, but there was always the concern of morbidity. The goal of the single incision sling (SIS) is to provide high efficacy with minimal side effects. The initial use of the SIS was mottled by confusion with the techniques for deployment. The most recent data has shown that when the SIS is used appropriately the success rates are similar to standard mid-urethral slings with minimal risk of bladder, vascular, or nerve injury as well as chronic pain.

Serels S. Single incision slings: Past, present, and future. *World J Obstet Gynecol* 2015; In press

**INTRODUCTION**

Pubovaginal slings have been used for decades. However, it wasn’t until the mid to late 1990’s that the use expanded. This expansion was due in part to the use of polypropylene mesh. It was Ulmsten and Petros who proved to the medical community that one could correct stress urinary incontinence (SUI) by using a piece of polypropylene mesh[1]. Additionally, at the same time the synthetic sling became available, there was an enormous push by the device companies to educate the physicians. This education did not only include Urologists who were the main surgeon providing slings to their patients but it included gynecologists. This initially involved using transvaginal tape through the retropubic space. Although this worked well, there still was the potential for adverse events involving the bowel, bladder, and vascular structures[2,3]. Most of these complications were due to the use of trocars in the retropubic space. The transobturator sling was an evolutionary advancement, which attempted to preserve the high success rates of retropubic polypropylene slings while minimizing the chance of surgical complications. This sling in theory eliminated the chance of bowel injury and significantly reduced the chance of bladder injury. However, it still proved to possibly cause vascular injury to the obturator vessels or nerve injury to the obturator nerve. These patients were also at risk of groin pain either from muscular or tendon injury or perhaps neurologic irritation. Also, the medical community was looking for a sling that was the least invasive with high success rates and minimal chance of complications. In response to these desires, a polypropylene sling using a single vaginal incision was created.

The single incision sling (SIS) technique enables the user to place a piece of polypropylene mesh through a single vaginal incision. The idea of a SIS was first used approximately 7 years ago. The sling material varied in lengths from 8-9 cm. Some of these slings used fixation anchors while others relied more on scaring to provide fixation. Throughout the years, there were even variable length slings developed. The techniques for placement of many of the previous SISs were not consistently uniform. As a result, the early data for the SISs were not always comparable to those seen with transobturator and retropubic slings. However, the most recent retrospective and prospective studies on the use of second-generation SIS systems have demonstrated relatively high success rates with minimal morbidity. This review will provide evidence in support of the SIS.

**SURGICAL TECHNIQUE**

To enhance the understanding of the SIS, it is important to understand how it is placed. The description below provides the generalized technique for the placement of the SIS.

Prior to the surgery, IV antibiotics are administered. The patient is then given either local, general, or regional anesthesia at the discretion of the surgeon in combination with the anesthesiologist. A dorsal lithotomy position is then achieved to facilitate surgery. A foley is inserted to empty the bladder. A 1-2 cm anterior vaginal wall incision is made at the level of the midurethra. The dissection is than carried out laterally to the level of the inferior pubic rami on either side using blunt and sharp dissection. This surgical preparation provides a pathway for the delivery of the sling arms. The polypropylene mesh tip is placed onto an introducer, which is inserted into the dissected pathway and used to pass the distal arm anchors through the obturator internus muscle behind the pubic ramus. The sling is advanced using the introducer until the midline of the sling reaches the patient’s midline under the urethra. This placement of the sling tip is repeated similarly on the opposite side. The polypropylene mesh sling is then brought to rest under the midurethra in a tensionless fashion. The anchors of the sling are resting in the obturator internus muscle. The goal of the surgeon is to visually see the periurethral tissue “pillowing” through the mesh material with a potential space existing between the sling and urethra such that a small instrument could easily be inserted. Cystoscopy is performed to ensure the bladder, urethra, and ureters are not compromised. The vaginal incision is then closed with a running absorbable suture.

**CLINICAL STUDIES**

There have been a tremendous number of articles written on the Single Incision technology. The early articles using SIS were mixed, and most early findings pertaining to their efficacy did not show equivalence to the results of the transobturator and retropubic slings[4]. Walsh showed in 2011 that the use of the TVTsecur sling resulted in cure rates of 76% both subjectively and objectively. He described using both a “U” approach and a hammock approach. He concluded that more studies are needed before TVT secure could be routinely used[5]. There were other slings such as the Ajust sling by C.R. Bard, Inc., New Providence, NJ United States, that conceptually made sense and, if used in the appropriate hands, yielded high success rates. In Jiang *et al*[6] paper, he showed that using the AJust sling resulted in subjective and objective sure rates of 82.3% and 91.2% in a 12-mo follow-up respectively. This was a single site study where there were no cases of bladder perforation or major bleeding. There were also no reported cases of groin pain at 6 and 12 mo[6].

This study exemplifies the importance of technique when placing the SISs. Although this group of researchers was able to achieve high success rates with this sling, the sling was not universally deployed successfully, and, as a result, this sling even with its high success rates is no longer being marketed by C.R. Bard Inc.

Initially, the SIS was thought to work differently than other slings and its placement and tensioning were not standardized. Surgeons were using it to go in the retropubic direction as well as the obturator location. It then became accepted by most that the placement was to be in the obturator internus muscle. The tension could be set in many different ways, but the end result would be a sling that was up against the urethra with the periurethral tissues “puckering or pillowing” through the mesh openings such that a potential space existed to insinuate a small medical instrument between the urethra and the sling (Figure 1).

In the article entitled “Cadaveric Assessment of Synthetic Mid-Urethral Sling Placement”, the placement of the SIS was compared to the obturator and retropubic sling[7]. It was determined that the SIS was similar to the others in appearance and furthermore was most likely at the midurethra and had the most correct tension. It is studies like this that show what is being done by the three sling approaches have different means of achieving the same endpoint.

There are presently around 26 randomized controlled trials, which are using 7 different types of SISs. In these studies approximately 3300 patients were evaluated[8].

Many of the studies have been performed comparing the SIS to the standard mid-urethral slings, which are considered to be either obturator slings or retropubic slings. The majority of these studies support the use of the SIS[9-25]. Lee *et al*[25] recently published a randomized trial comparing single incision versus outside-in transobturator mid-urethral sling. This paper studied the MiniArc SIS and showed an objective cure rate of 94.4% and a patient reported cure of 92.2% at 12 mo. The Monarc sling was the comparator to the MiniArc and it showed statistically similar results with a 96.7% objective sure and a 94.2% subjective cure. The operative time was reduced by 0.5 min in the SIS group. The Monarc group required more analgesia in the first 24 h and reported more short-term groin pain. The quality of life questionnaires and sexual function questionnaires revealed similar results in both groups. The patients undergoing repeat incontinence surgery were 2.7% in the MiniArc group compared to 1.8% in the Monarc group while 6.2% of the Monarc group had groin pain beyond 6 months compared to 0% in the MiniArc group. For both patient groups, BMI and age were associated with higher failure rates[25].

Similar data was shown by Enzelsberger *et al*[26] who also looked at the MiniArc SIS and compared it to the Monarc. In this study, there was an objective cure rate of 82%. They also had shorter OR times and less groin pain. In our long-term study using the Solyx SIS, we also saw subjective success rates of 93% over a mean follow up of 43 mo[27]. There was, however, one recent article by Basu *et al*[28] that showed a lower success rate with the SIS than an obturator sling. This study also had a higher erosion rate with the SIS, which possibly implies a technical issue with using the single incision technology[28].

In the Mostafa *et al*[8] metaanalysis, he primarily looked at the MiniArc sling as compared to either retropubic or obturator slings. This study shows an aggregate objective cure rate of 88% with a subjective cure rate of 76% for the SISs. Additionally, the SIS had shorter operative times, lower incidence of groin pain, earlier return to work, and lower pain scores. There were no significant differences in subjective or objective cure rates for the SIS versus the standard mid-urethral slings. Also, the impact on quality of life and sexual function were similar. The TVT secur was not included in this analysis due to its poor early data and that it is now off the market as of 2012.

**CONCLUSION**

There are many SISs currently available. Each is different in its design and applicator as well as technique for placement. They all hope to provide the same endpoint, which is a backboard for the urethra to use with increases in abdominal pressure. Current data does suggest that if the SIS is used appropriately there would be an enhanced safety profile with less postoperative discomfort and high success rates. It is the responsibility of the medical community to provide guidelines for the use of these slings and to standardize their placement to assure reproducibility of the success rates. The correct use of SISs will ultimately lead to a treatment, which provides high success rates with low morbidity for our patients who suffer with SUI.

**REFERENCES**

1 **Ulmsten U**, Johnson P, Rezapour M. A three-year follow up of tension free vaginal tape for surgical treatment of female stress urinary incontinence. *Br J Obstet Gynaecol* 1999; **106**: 345-350 [PMID: 10426241 DOI: 10.1111/j.1471-0528.1999.tb08272.x]

2 **Boustead GB**. The tension-free vaginal tape for treating female stress urinary incontinence. *BJU Int* 2002; **89**: 687-693 [PMID: 11966625 DOI: 10.1046/j.1464-410X.2002.02659.x]

3 **Kuuva N**, Nilsson CG. A nationwide analysis of complications associated with the tension-free vaginal tape (TVT) procedure. *Acta Obstet Gynecol Scand* 2002; **81**: 72-77 [PMID: 11942891 DOI: 10.1034/j.1600-0412.2002.810113.x]

4 **Petros PE**, Richardson PA. Midurethral Tissue Fixation System sling -- a 'micromethod' for cure of stress incontinence -- preliminary report. *Aust N Z J Obstet Gynaecol* 2005; **45**: 372-375 [PMID: 16171470 DOI: 10.1111/j.1479-828X.2005.00448.x]

5 **Walsh CA**. TVT-Secur mini-sling for stress urinary incontinence: a review of outcomes at 12 months. *BJU Int* 2011; **108**: 652-657 [PMID: 21756280 DOI: 10.1111/j.1464-410x.2011.10333.x.epub]

6 **Jiang T**, Xia Z, Cheng D, Song Y, Guo Z, Hu Q, Zhao Y, Yin Y. Short-term outcomes of adjustable single-incision sling (Ajust™) procedure for stress urinary incontinence: a prospective single-center study. *Eur J Obstet Gynecol Reprod Biol* 2015; **186**: 59-62 [PMID: 25645605 DOI: 10.1016/j.ejogrb.2015.01.002]

7 **Serels S**. Cadaveric Assessment of Synthetic Mid-Urethral Sling Placement. *Open J Urol* 2011; **1**: 19-24 Published Online May 2011 [DOI: 10.4236/oju.2011.12006]

8 **Mostafa A**, Lim CP, Hopper L, Madhuvrata P, Abdel-Fattah M. Single-incision mini-slings versus standard midurethral slings in surgical management of female stress urinary incontinence: an updated systematic review and meta-analysis of effectiveness and complications. *Eur Urol* 2014; **65**: 402-427 [PMID: 24055431 DOI: 10.1016/j.eururo.2013.08.032]

9 **Merali S**, Dolhaniuk C, Unger T. Stress incontinence in women; a pilot study comparing the MiniArc single incision sling system to the Monarc transobturator sling system. *J Minim Invasive Gynecol* 2012; **19**: S33–S34 [DOI: 10.1016/j.jmig.2012.08.104]

10 **Schellart RP**, Oude Rengerink K, Van der Aa F, Lucot JP, Kimpe B, de Ridder DJ, Dijkgraaf MG, Roovers JP. A randomized comparison of a single-incision midurethral sling and a transobturator midurethral sling in women with stress urinary incontinence: results of 12-mo follow-up. *Eur Urol* 2014; **66**: 1179-1185 [PMID: 25168619 DOI: 10.1016/j.eururo.2014.07.027]

11 **Basu M**, Duckett J. A randomised trial of a retropubic tension-free vaginal tape versus a mini-sling for stress incontinence. *BJOG* 2010; **117**: 730-735 [PMID: 20175874 DOI: 10.1111/j.1471-0528.2010.02513.x]

12 **Oliveira R**, Botelho F, Silva P, Resende A, Silva C, Dinis P, Cruz F. Exploratory study assessing efficacy and complications of TVT-O, TVT-Secur, and Mini-Arc: results at 12-month follow-up. *Eur Urol* 2011; **59**: 940-944 [PMID: 21277076 DOI: 10.1016/j.eururo.2011.01.018]

13 **Tutolo M**, De Ridder D, Peeters E, Schillebeeckx C, Van Der Aa F. The impact of surgical volume on postoperative outcomes in patients treated with single incision sling: results from a tertiary referral center. Poster session presented at: ICS 2014, Rio de Janeiro; October20–24, 2014 [DOI: 10.1002/nau.22620]

14 **Kennelly MJ**, Moore R, Nguyen JN, Lukban J, Siegel S. Miniarc single-incision sling for treatment of stress urinary incontinence: 2-year clinical outcomes. *Int Urogynecol J* 2012; **23**: 1285-1291 [PMID: 22527540 DOI: 10.1007/s00192-012-1734-y]

15 **Madsen AM**, El-Nashar SA, Woelk JL, Klingele CJ, Gebhart JB, Trabuco EC. A cohort study comparing a single-incision sling with a retropubic midurethral sling. *Int Urogynecol J* 2014; **25**: 351-358 [PMID: 24043128 DOI: 10.1007/s00192-013-2208-6]

16 **Martan A**, Krhut J, Mašata J, Švabík K, Halaška M, Horčička L, Zachoval R. Prospective randomized study of MiniArc and Ajust single incision sling procedures [published online ahead of print October 27, 2013]. Low Urin Tract Symptoms, 2014; **6**: 172-174 [DOI: 10.1111/luts.12041]

17 **Moore RD**, De Ridder D, Kennelly MJ. Two-year evaluation of the MiniArc in obese versus non-obese patients for treatment of stress urinary incontinence. *Int J Urol* 2013; **20**: 434-440 [PMID: 22989174 DOI: 10.1111/j.1442-2042.2012.03147.x]

18 **Presthus JB**, Van Drie D, Graham C. MiniArc single-incision sling in the office setting. *J Minim Invasive Gynecol* 2014; **19**: 331-338 [PMID: 22381958 DOI: 10.1016/j.jmig.2011.12.023]

19 **Botros C**, Lewis C, Culligan P, Salamon C. A prospective study of a single-incision sling at the time of robotic sacrocolpopexy. *Int Urogynecol J* 2014; **25**: 1541-1546 [PMID: 24894202 DOI: 10.1007/s00192-014-2432-8]

20 **De Ridder D**, Berkers J, Deprest J, Verguts J, Ost D, Hamid D, Van der Aa F. Single incision mini-sling versus a transobutaror sling: a comparative study on MiniArc and Monarc slings. *Int Urogynecol J* 2010; **21**: 773-778 [PMID: 20204323 DOI: 10.1007/s00192-010-1127-z]

21 **Oliveira R**, Silva A, Pinto R, Silva J, Silva C, Guimarães M, Dinis P, Cruz F. Short-term assessment of a tension-free vaginal tape for treating female stress urinary incontinence. *BJU Int* 2009; **104**: 225-228 [PMID: 19154506 DOI: 10.1111/j.1464-410X.2008.08330.x]

22 **Pickens RB**, Klein FA, Mobley JD, White WM. Single incision mid-urethral sling for treatment of female stress urinary incontinence. *Urology* 2011; **77**: 321-324 [PMID: 21167559 DOI: 10.1016/j.urology.2010.07.538]

23 **Sun MJ**, Sun R, Li YI. A comparative study of a single-incision sling and a transobturator sling: clinical efficacy and urodynamic changes. *Int Urogynecol J* 2013; **24**: 823-829 [PMID: 23052630 DOI: 10.1007/s00192-012-1942-5]

24 **Palomba S**, Oppedisano R, Torella M, Falbo A, Maiorana A, Materazzo C, Tartaglia E, Tolino A, Mastrantonio P, Alio L, Colacurci N, Zullo F. A randomized controlled trial comparing three vaginal kits of single-incision mini-slings for stress urinary incontinence: surgical data. *Eur J Obstet Gynecol Reprod Biol* 2012; **163**: 108-112 [PMID: 22552180 DOI: 10.1016/j.ejogrb.2012.03.038]

25 **Lee JK**, Rosamilia A, Dwyer P, Lim YN, Muller R. Randomized trial of a single incision versus an outside-in transobturator midurethral sling in women with stress urinary incontinence: 12 month results. *Am J Obstet Gynecol* 2015; pii: S0002-9378(15)00096-4 [PMID: 25637849 DOI: 10.1016/j.ajog.2015.01.040]


26 **Enzelsberger H**, Cemer I, Enzelsberger S, Schalupny J. MiniArc versus Monarc – a prospective randomized study of the treatment of female stress urinary incontinence with a follow-up of 2 years. *Obstet Gynecol* 2010; **70**: 499-502

27 **Serels S**, Duoso M. Long term follow up of the Solyx single-incision sling system in the treatment of female stress urinary incontinence. *Open J Urol* 2014; **4**: 13-17 Published Online February 2014 [DOI: 10.4236/oju.2014.42003]

28 **Basu M**, Duckett J. Three-year results from a randomised trial of a retropubic mid-urethral sling versus the Miniarc single incision sling for stress urinary incontinence. *Int Urogynecol J* 2013; **24**: 2059-2064 [PMID: 23712578 DOI: 10.1007/s00192-013-2125-8]

**P-Reviewer:** Cosmi E, Tsikouras P, Yokoyama Y **S-Editor:** Ji FF

**L-Editor: E-Editor:**



**Figure 1 Placement of mid-urethal slings to alleviate stress urinary incontinence using the (A) retropubic; (B) transobturator; (C) single incision techniques.**