| Outcome of stenting in biliary and pancreatic benign and malignant diseases: a comprehensive review Benedetto Mangiavillano, Nico Pagano, Todd H Baron, Carmelo Luigiano |
| --- |
| CITATION | Mangiavillano B, Pagano N, Baron TH, Luigiano C. Outcome of stenting in biliary and pancreatic benign and malignant diseases: A comprehensive review. World J Gastroenterol 2015; 21(30): 9038-9054 |
| URL | http://www.wjgnet.com/1007-9327/full/v21/i30/9038.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v21.i30.9038 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Endoscopic stenting plays an indispensable role in the treatment of benign and malignant pancreatico-biliary disorders. This article will cover the indications and outcome of stenting in bilio-pancreatic disease. |
| KEY WORDS | Endoscopic stenting; Self-expandable metal stent; Plastic stent; Strictures; Leaks; Complications |
| COPYRIGHT | © The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Co., Limited, Flat C, 23/F., Lucky Plaza, 315-321 Lockhart Road, Wan Chai, Hong Kong, China |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 17974

Columns: REVIEW

Outcome of stenting in biliary and pancreatic benign and malignant diseases: a comprehensive review

Benedetto Mangiavillano, Nico Pagano, Todd H Baron, Carmelo Luigiano

Benedetto Mangiavillano, Unit of Gastroenterology and Digestive Endoscopy, General Hospital of Sanremo, 18038 Sanremo, Italy

Nico Pagano, Unit of Gastroenterology, Department of Medical and Surgical Sciences, S. Orsola-Malpighi Hospital, University of Bologna, 40138 Bologna, Italy

Todd H Baron, Division of Gastroenterology and Hepatology, University of North Carolina, Chapel Hill, NC 27599, United States

Carmelo Luigiano, Unit of Digestive Endoscopy, San Paolo Hospital, 20142 Milano, Italy

Author contributions: Mangiavillano B, Pagano N and Luigiano C designed research, wrote the text, performed literature search, analyzed the data, edited and finalized the text; and Baron TH reviewed the paper for important intellectual content.

Correspondence to: Benedetto Mangiavillano, MD, Unit of Gastroenterology and Digestive Endoscopy, General Hospital of Sanremo, Via G. Borea 56, 18038 Sanremo, Italy. b_mangiavillano@hotmail.com

Telephone: +39-184-536870   Fax: +39-184-536875

Received: April 1, 2015   Revised: May 4, 2015   Accepted: July 8, 2015

Published online: August 14, 2015

Abstract

Endoscopic stenting has become a widely method for the management of various malignant and benign pancreatico-biliary disorders. Biliary and pancreatic stents are devices made of plastic or metal used primarily to establish patency of an obstructed bile or pancreatic duct and may also be used to treat biliary or pancreatic leaks, pancreatic fluid collections and to prevent post-endoscopic retrograde cholangiopancreatography pancreatitis. In this review, relevant literature search and expert opinions have been used to evaluate the outcome of stenting in biliary and pancreatic benign and malignant diseases.

Key words: Endoscopic stenting; Self-expandable metal stent; Plastic stent; Strictures; Leaks; Complications

© The Author(s) 2015. Published by Baishideng Publishing Group Inc. All rights reserved.

Mangiavillano B, Pagano N, Baron TH, Luigiano C. Outcome of stenting in biliary and pancreatic benign and malignant diseases: A comprehensive review. World J Gastroenterol 2015; 21(30): 9038-9054  Available from: URL: http://www.wjgnet.com/1007-9327/full/v21/i30/9038.htm  DOI: http://dx.doi.org/10.3748/wjg.v21.i30.9038

Core tip: Endoscopic stenting plays an indispensable role in the treatment of benign and malignant pancreatico-biliary disorders. This article will cover the indications and outcome of stenting in bilio-pancreatic disease.

INTRODUCTION

Endoscopic stenting has become a widely used method for the management of various malignant and benign pancreatico-biliary disorders.

Biliary and pancreatic plastic or metal stents are used primarily to establish patency of an obstructed bile duct or main pancreatic duct (MPD) but may also be used to treat biliary or pancreatic leaks, cholecystitis, large non-removable common bile duct (CBD) stones, pancreatic fluid collections (PFCs) and to prevent post endoscopic retrograde cholangiopancreatography (ERCP) pancreatitis (PEP).

This paper will cover the indications an outcome of the different types of stents currently used, techniques of placement, established and upcoming indications, and complications associated with stent use.

BENIGN BILIARY DISEASES

Benign biliary strictures

Benign biliary strictures (BBSs) can be caused by post-operative injury (particularly after cholecystectomy), anastomotic injury following orthotopic liver transplantation (OLT), chronic pancreatitis (CP), primary sclerosing cholangitis (PSC), post-endoscopic sphincterotomy (ES) and other less frequent conditions, such as radiation therapy, IgG4 involvement of the bile ducts and portal biliopathy[1].

The choice of the type and the number of stents is dependent mainly on the etiology of BBSs.

In patients with PSC a single plastic stent (PS) for a dominant bile duct stricture can be sufficient, while for most of these diseases the standard endotherapy is dilation with placement of two or more PSs[2,3].

Bergman et al[4] treated patients with post-cholecystectomy BBSs with two 10 Fr PSs during one year with exchange every three months and in the cohort patients that completed the 12-mo stenting period, during nine years of follow-up achieved a clinical success rate of 80%.

In similar patients, Costamagna et al[5] placed the maximum number of PSs (until four 10 Fr could be placed in the first ERCP) during a year with exchanges every three months and during a 4 years of follow-up achieved a clinical success rate of 97.5%.

These good results were confirmed in the same cohort after a long follow-up (mean 13.7 years, range 11.7 to 19.8) with an 11% stricture recurrence rate, always successfully retreated endoscopically[6].

This approach of progressive dilation with an increasing number of PSs have been undertaken in patients with post-OLT BBSs either anastomotic or non-anastomotic[7-9], in CP strictures[10], or in post-ES strictures[11].

However an important limitation of the multistenting strategy is the need of 3 to 4 ERCPs sessions over the one-year period, with implications of patient satisfaction and quality of life, along with important implications for health care costs.

Moreover, while are reported favourable results of endoscopic plastic stenting for post-operative BBSs (post-cholecystectomy and post-OLT) with a recurrence rate of 20% to 30%, approximately 80% of patients with CP treated with plastic stenting may eventually develop relapse of strictures[1].

For these reasons, there continues to be high interest in pursuing alternative endoscopic approaches that may achieve comparable or better results while requiring fewer interventions.

In this setting the use of self-expandable metal stent (SEMS) is an attractive alternative to single or multiple PSs for treatment of BBSs for several technical and economic reasons.

It is technically difficult to place several PSs during the initial endoscopic procedure due to the diameter of the stricture and the size of the bile duct below the stricture. The small diameter delivery system of metal stent allows placement without stricture dilation enabling an easier endoscopic procedure, whilst a single metal stent expands to a large diameter, equivalent to three 10 Fr PSs and can remain in place for a prolonged period of time before removal.

PSs have a limited patency that requires frequent stent exchanges to prevent or manage stent occlusion.

Metal stents may allow dilation of a benign stricture without the need for progressive stent upsizing, thereby reducing the number of requisite ERCPs, so the higher cost of metal stent may be offset by the decrease in ERCPs.

A tapered deployment catheter is likely to obviate the need for pre-treatment with balloon or passage dilation, thereby reducing the number of devices needed at the time of initial ERCP.

The superior patency of metal stent may lower the cumulative number of ERCPs and time required to fully dilate a BBS.

The initial increased cost of a metal stent compared with one or more PSs should be offset by the need to perform fewer procedures.

Uncovered self-expandable metal stents (USEMSs) are not recommended for treatment of BBSs because tissue ingrowth through the mesh of the stent make stent removal impossible, while for this purpose metal stents must be partially-covered (PC), or even better, fully-covered (FC).

The use of PC-SEMSs showed good result, with a technical success of 100% and clinical success rates of 75% to 90% in both post-operative and inflammatory BBSs[12,13].

However, tissue ingrowth through the uncovered areas of stent mesh leads to both premature stent obstruction and embedding of the stent into the biliary wall, making future retrieval of the PC-SEMS difficult and was also noted in some cases that the tissue hyperplasia at the proximal uncovered portion of the stent resulting in a new stricture[14].

Because of limitations related PC-SEMSs, particularly tissue ingrowth at the uncovered portions, FC-SEMSs were introduced for the treatment of BBSs. The absence of epithelial hyperplasia and embedding of an FCSEMS also allows the possibility of leaving the stent in situ for more than 6 mo, if required.

However, in early reports, stent migration was common because of the nature of the FCSEMS used.

Stent migration has been reported to range from 4% to 40%[15-17].

Several designs for anti-migration properties of FC-SEMSs have been developed such as stents with flared ends, anchoring fins and anchoring flaps.

Among studies using stents with anchoring fins to prevent migration, Mahajan et al[18] achieved a very high (83%) improvement in biliary stricture with a migration rate of 4.5%, but stent removal was not easy and at cholangioscopic examination, performed in half of the patients after stent removal, found biliary mucosal ulcer formation and haemorrhage induced by the anchoring fins.

The use of FC-SEMSs with flared ends was reported in single and multicenter studies with good resolution rate of BBSs, but with a migration rate ranging between 10% and 31%[19-21].

To overcome the problem of the migration, the use of stent with anchoring flaps design showed excellent results.

Park et al[22] compared two types of FC-SEMS in 43 patients with BBSs; one stent had four anchoring flaps at the proximal end and flared distal end, and the other had flared end at both proximal and distal parts without anchoring flaps. After a median of 6 mo, no migration occurred in patients in the anchoring flaps group, while the 33% of patients in the flared end group had migration (P = 0.004). In both groups the FC-SEMSs were removed without difficulty and an immediate improvement of biliary stricture was 91% in the anchoring flaps group and 88% in the flared end group.

These results were also confirmed in a recently prospective multicenter study, in which 24 patients with BBSs were treated with the placement of a FC-SEMS with double lasso and anchoring flaps as first-line therapy. Technical and clinical success were 100% and only one late stent migration occurred (3.3%)[23].

Also with the use of metal stents in most of the published studies stricture resolution rate was noted to be lowest in patients with CP.

However a recent systematic review of the studies published from 2000 to 2012 compared the feasibility, success rate, and complications rate of covered SEMS (376 cases) with multiple PSs (570 cases) in patients with BBSs and showed a significantly higher clinical success rate (P = 0.006) for covered SEMS (77%) compared to PS (33%) in strictures related to CP at 12 mo follow-up and the incidence of late adverse events was lower in patients treated with covered SEMSs compared to PSs (P = 0.02); there were no differences in the success rates of other etiologies, but in all types of BBSs the median number of ERCPs was significantly lower (P = 0.002) with covered SEMSs compared to PSs (1.5 vs 3.9)[24].

Biliary stones

When endoscopic removal of CBD stones fail, insertion of plastic biliary stent to bypass the stone is a useful alternative[25].

Both 7 and 10 Fr straight and double pigtail stents have been used to drain the CBD in patients with irretrievable CBD stones. Placement of a stent is mandatory if biliary clearance cannot be achieved during ERCP, and can be placed temporarily in patients who require more than one session for clearance.

Biliary stenting not only provides a temporary conduit for bile outflow, but stent placement may allow stone extraction to be more successful on the next endoscopic attempt, because the mechanical irritation of the stent due to continuous friction and enhanced by body and intestinal movements, reduce the size of the stone and increase stone fragmentation.

The technical success rate of plastic biliary stenting for CBD stones has been reported to be nearly 100% and the rate of successful stone removal during follow-up has been reported to range from 44% to 92%[26].

Recurrent cholangitis is the most frequent complication of stent occlusion reported between 3.5% and 40%. To prevent this complication a recent RCT compared a group of patients in whom PSs were changed every 3 mo or sooner if symptoms appeared to a group of patients in whom the PSs were changed on demand at the onset of symptoms[27]. The results, suggests stent exchange every 3 mo is the preferred approach[27]. Other complications are stent migration and clogging.

Although metal stents are usually not used in CBD stones, some studies have shown that metal stents have an advantage over PSs in improving subsequent duct clearance and to prevent long-term complications[28,29].

The large diameter of metal stents may facilitate subsequent clearance of bile duct stones, potentially through exerting radial forces to affect stone fragmentation and papillary dilation. Long-term patency may also make metal stent placement an option for patients in whom long-term stenting is desired for any reasons.

Biliary leaks

Biliary leaks (BLs) are most often a consequence of surgery, such as open or laparoscopic cholecystectomy, OLT and hepatic resection, trauma, or invasive procedures, such as liver biopsy and percutaneous transhepatic cholangiography[30].

A variety of endoscopic techniques have been used to manage BLs. These include ES alone, placement of PS with or without ES, and nasobiliary drainage with or without ES. The goal of endoscopic treatment is to reduce the pressure gradient between the biliary tree and the duodenum, allowing preferential flow of bile into the duodenum and preventing outflow through the leak[31].

In a study of 207 patients with BL, Sandha et al[32] proposed an algorithm, recommending ES alone for minimal leaks (< 200 mL/24 h), insertion of a PS for 4 to 6 wk for more severe leaks, presence of strictures, contraindication to ES or poor post-ES drainage. Using this strategy provides satisfactory results in more than 90% of patients[32]. However in published studies the most frequently used approach is the placement of a 7 Fr or 10 Fr stent with or without ES for 4 to 6 wk, with clinical success ranging between 90% and 100%[33-37].

The placement of PS has some disadvantages. When PSs are used at least one repeated procedure is necessary if occlusion or migration occurs. Furthermore, in patients with major BLs, such as those resulting from damage of the CBD or common hepatic duct (often associated with larger defects) multiple PSs can be inserted into the bile duct in order to fill the bile duct lumen and cross the site of the leak.

When endoscopic treatment fails, surgery remains an option but is not preferable for high-risk patients with severe comorbidities[38].

Recently, PC and FC-SEMS have been used to treat complex BLs, which are not responsive to plastic stenting and also as first-step endoscopic therapy, with a clinical success rate ranging between 70% and 100%[39-42]. The use of metal stents not only reduces the pressure of the sphincter of Oddi but may also close the fistula area.

However metal stents cannot be routinely recommended for management of patients with post-OLT BLs, because a high risk of post removal biliary strictures, especially if FC-SEMSs with fins are used[43].

Cholecystitis

Transpapillary gallbladder stenting can be considered in patients with acute calculous or acalculous cholecystitis when standard treatment options fail or are contraindicated. It is useful for patients who are critically ill and for those with severe comorbidity that precludes a surgical cholecystectomy and/or have contraindications for placement of a percutaneous cholecystostomy tube. Such patients include those with the presence of large amounts of ascites, coagulopathy, or an intervening loop of bowel between the diaphragm and the liver that precludes percutaneous access. Endoscopic stenting is contraindicated in patients with perforated gallbladder, who are too unstable to undergo endoscopy or sedation, or who are pregnant, because of the risks of radiation exposure from a prolonged procedure[44,45].

The technical success rate of transpapillary gallbladder stenting varies from 75% to 100%, with a clinical response rate between 70% and 100% and an adverse event rate ranging between 0% and 20% that include post-ERCP pancreatitis, bleeding, perforation of the cystic duct or gallbladder, stent occlusion, stent migration and sepsis[46-49].

In recent years, endoscopic ultrasonography (EUS) guided drainage has been reported as an alternative to the percutaneous transhepatic gallbladder drainage.

The EUS approach is comparable with radiological approach in terms of the technical feasibility, efficacy and safety, as proved in a recently randomized comparative study[50].

Endoscopic transpapillary gallbladder drainage is subject to low technical success rates due to non visualization of the cystic duct on cholangiography and failure of guidewire passage through the cystic duct into the gallbladder. In these circumstances, EUS-guided drainage is gaining favour as an effective alternative to the transpapillary technique of drainage.

In the first published studies of EUS-guided drainage, PSs were used. However, the placement of these stents often requires large tract dilatation, thus increasing the risk of bile leakage, distal migration and clogging, because their small caliber, which can limit bile flow, especially when the content of the gallbladder is thick.

A good alternative to the use of PSs for EUS-guided drainage is the use of metal stents because of their larger diameters. Occlusion is less likely and can seal the gap between the stent and the fistula tract by its covering and expansion, thereby reducing the risk of bile leakage. However the risk of migration with subsequent leakage remains. Migration may be mitigated by placement of a double pigtail PS through the SEMS.

Recently specific FC-SEMSs have been designed to avoid these drawbacks by either enlarging and bending the flares at the ends of the stent 90°, or by means of a “saddle” shape with distal anchor flanges to ensure both lumen apposition and drainage[51,52].

The preliminary data on the use of lumen apposing metal stent (LAMS) for EUS-guided drainage showed mean technical and clinical success rates of 95% and 95%, respectively and a mean overall adverse event rate of 5%[53,54].

These stents also have been shown to provide an additional advantage of allowing access to the gallbladder lumen using slim (< 10 mm) endoscope to perform biopsy, stone removal or debridement[55,56].

Bleeding

Post-ES and biliary bleeding were historically treated with endoscopic hemostatic techniques such as epinephrine injection, thermal therapy, balloon tamponade, clips, and placement of large bore PSs (10 Fr or larger) to tamponade the bleeding site and to maintain biliary drainage (BD)[57].

Recently the use of covered metal stents have been reported for treatment of bleeding. These stents work by tamponading the bleeding site while also providing drainage of the bile duct, especially when occluded by blood clots.

Both PC and FC-SEMS were used in a total of 52 cases reported in the literature and based on these series two weeks of FC-SEMS placement is adequate in this setting[58,59].

Perforations

Traditionally, ERCP-related perforations have been managed surgically. However, only duodenal free wall perforations are treated with a prompt surgical intervention, while distal bile duct injuries that result from penetration of the guidewire through the bile duct during cannulation, or perivaterian perforations, occurring after ES, can be treated with a conservative approach with intravenous antibiotics, hydration, pain control and placement of PSs, to prevent bile leakage and formation of collections in the peritoneal or retroperitoneal space[60].

Recently the use of FC-SEMS have been reported to seal perforations (especially if the hole is large) and to prevent bile leakage into the perforation site.

A total of 28 cases are reported in literature and based on these series 4-6 wk of FC-SEMS placement is adequate in this setting[61].

MALIGNANT BILIARY DISEASES

Endoscopic stenting is the therapeutic modality of choice to decompress the biliary system in pancreaticobiliary malignancies.

Distal malignant biliary obstruction (DMBO) is mainly caused by periampullary tumors, such as carcinoma of the papilla of Vater, pancreatic cancer and distal cholangiocarcinoma, and less commonly by gallbladder carcinoma and metastatic diseases.

Biliary stent placement is a well-established technique for palliation of patients with inoperable DMBO and both PSs and SEMSs are routinely used in current practice.

PSs diameters range from 7 Fr to 12 Fr. Any further increase in PS diameter larger than 10 Fr increases the technical difficulty of placement without improving stent patency. Therefore, a diameter of 10 Fr is thought to be the best combination of patency and technical ease of placement[62].

PSs of 10 Fr have patency rates of approximately 3 mo, are very effective and are inexpensive, however, the short duration of stent patency remains a drawback.

Metal stents, in their fully expanded state, have a lumen diameter three to four times that of PSs. In a recent meta-analyses SEMSs were associated with a significantly longer stent patency (P < 0.001), lower reintervention rate (P = 0.001) and longer patient survival (P = 0.014) in palliation of patients with DMBO when compared to PSs[63].

Therefore, placement of SEMS for palliation of DMBO should be considered especially for patients with a predicted life expectancy of more than 3-4 mo. Uncovered, PC and FC-SEMS are used for palliation of patients with DMBO.

SEMS failure is usually related to tissue ingrowth using the uncovered type, while migration is usually the cause of stent failure using the covered type.

A meta-analysis including only randomized controlled trials that compared stent patency duration and rates of covered vs USEMSs demonstrates that there are no differences in the patency rates at 6 or 12 mo between the two types of stents[64]. There were no differences in the rates of pancreatitis, cholecystitis, perforation, bleeding, cholangitis, or recurrent biliary obstruction, as well as no differences in durations of survival or hospital stay, but covered SEMS migrated significantly more frequently than USEMS[64]. There was a decrease in tissue ingrowth but an increased risk of tissue overgrowth in the covered SEMS group when compared with the USEMS group[64].

Two recently randomized trials showed that the stent patency rate was higher in covered SEMSs compared to USEMSs[65,66].

Hu et al[65], compared the use of a PC-SEMS with an antireflux valve with an USEMS for the palliation of DMBO and showed that the PC-SEMS has longer patency and reduces the risk of ascending cholangitis.

Kitano et al[66], in another randomized trial demonstrated that for palliation of patients with DMBO, PC-SEMSs with an antimigration system had a significantly longer duration of patency (P = 0.019) than USEMSs (median: 583 d vs 314 d, respectively) with absence of stent migration.

Stent migration mostly affects the patency of covered SEMSs and among the findings reported by Kitano et al[66], of particular interest is the absence of migration even with the use of PC-SEMSs.

The risk of migration is related to the conformability of the SEMS in the bile duct, which is influenced by the axial force exerted by the stent.

Stents with high axial force, such as the older stainless steel SEMS, do not conform to the curved bile duct, thus increasing the risk of adverse events especially migration.

Thus, the use of nitinol SEMSs could reduce migration rates, as demonstrated in a recent randomized trial by Soderlund et al[67], that compared the patency rate, patients survival, and adverse events in patients with DMBO and palliated with PC-SEMS made from stainless steel or nitinol and showed that stent failure occurred more often in the stainless steel PCSEMS group compared with the nitinol PC-SEMS group (P = 0.02); stent migration occurred in 13 patients in the stainless steel group and in 3 patients in the nitinol group (P = 0.01).

An increased rate of late adverse events was also demonstrated in a previous retrospective study that compared the use of nitinol and stainless steel USEMS in malignant biliary obstruction[68].

Biliary stenting is a proven technique for drainage of patients with unresectable DMBO, but its role for preoperative drainage in patients with resectable disease who are favorable surgical candidates remains a matter for debate.

A recent meta-analysis on the effect of preoperative biliary stenting on patients with obstructive jaundice suggest that the drainage should be applied selectively, the drainage time should be > 4 wk and that the SEMSs should be used for drainage[69].

Indeed Sun et al[69] compared patients who underwent preoperative drainage to those who did not have preoperative drainage and found overall mortality, overall morbidity, infectious morbidity, incidence of wound infection, intra-abdominal abscess, pancreatic fistulas, bile leak, and delayed gastric emptying were not significantly different. Compared with the non-drainage group, the drainage group had a drainage time of < 4 wk with an increased overall morbidity by 7% to 23%, while the overall morbidity of the drainage group with a drainage time > 4 wk was not significantly different[69]. Compared with the non-drainage group, the overall mortality of the drainage group using SEMSs and PSs as drainage was reduced by 0.5% to 6%, whereas that of the drainage group using PSs was not significantly different[69].

The groups of patients who may benefit from preoperative biliary stenting are those with resectable disease in whom surgery is delayed (e.g., scheduling reasons, further preoperative staging, with underlying comorbidities that require optimization and even improvement in nutritional status) and those with locally advanced or borderline resectable disease requiring neoadjuvant chemotherapy[70].

Metal stents are preferred in these patients because their greater patency rates have shown a cost-benefit advantage in comparison to PSs[71].

Hilar malignant biliary obstruction (HMBO) can be caused by a group of heterogeneous tumors that include cholangiocarcinoma, cancer involving the hepatic confluence by direct extension from gallbladder, liver, and metastatic diseases and is classified according to Bismuth and Corlette into four types[72].

Type Ⅰ lesions is located below the confluence of hepatic ducts, type Ⅱ lesions includes the confluence but do not involve the left or right segmental hepatic ducts, type Ⅲ lesions occlude the common hepatic duct and either the right (Ⅲa) or left (Ⅲb) segmental hepatic ducts and type Ⅳ lesions are multicentric or involve the radicals on both sides.

This classification is helpful in determining and planning endoscopic stent placement.

Both PSs and USEMSs are used for drainage and palliation of HMBO as to not occlude drainage from the contralateral biliary system.

In patients with type Ⅰ lesions jaundice can be easily palliated using a single biliary stent, while palliation of the other types of lesions, especially type Ⅲ and Ⅳ, poses particular difficulties.

In these patients, the risk of incomplete drainage after contrast injection into the biliary system leads to a high incidence of post-procedure cholangitis and for this reason placement of 2 (or sometimes more) stents to drain each occluded segment has been proposed.

Pre-procedure imaging with computed tomography and MRCP is helpful to decide which obstructed segments should be drained and how many stents may be needed. It is important to realize that relief of jaundice generally requires drainage of about 50% of healthy liver or proportionally more in those with underlying dysfunction[73,74].

Therefore, the decision whether to place a single biliary stent or multiple stents depends on the location of strictures, the volume of liver that can be drained to relieve jaundice, and the introduction of contrast into more than 1 segment[75].

The success rate of PS insertion for HMBO is lower than that of DMBO, although relief of symptoms with improvement in quality of life can be achieved in nearly all patients successfully treated[76].

The use of SEMSs for palliation of HMBO is associated with a significantly longer stent patency (P = 0.009) and longer patient survival (P = 0.025) when compared to PSs[63].

In HMBO, SEMSs have been also demonstrated to be more cost-effective and require less subsequent interventions than PSs[77].

In systematic review (10 trials) by Hong et al[78], endoscopic placement of SEMSs was associated with a significantly higher successful drainage rate, lower early adverse event rate, longer stent patency and longer patient survival than PS placement. The unilateral biliary stenting group achieved a significantly higher successful stent insertion rate compared with the bilateral stenting group, whereas no difference was observed between groups with respect to successful drainage rate, early and late adverse events, stent patency and patient survival[78].

In another recent meta-analysis (36 studies: 13 for bilateral SEMSs, 8 for unilateral SEMSs, 8 for bilateral PSs and 7 for unilateral PSs) that compared bilateral and unilateral stenting in HMBO, bilateral metal stenting had a lower odds of overall adverse events and an higher odds of lowering bilirubin levels than unilateral metal stenting, but the 30-d mortality was no different[79]. When analyzing the use of PSs separately, unilateral stenting was comparable to bilateral stenting in terms of success, overall adverse events, cholangitis, and 30-d mortality[79].

Various bilateral drainage techniques and newly developed SEMSs are now available.

Bilateral BD with SEMS can be performed by using one of two methods, the side-by-side (SBS) and stent-in-stent (SIS) methods.

The technical success rate of both bilateral drainage techniques range from 73.3% to 100%, with a functional success rate between 75% and 100%[80].

In a recent quantitative review and meta-analysis of the published data regarding the clinical efficacy of the SBS and SIS techniques for achieving bilateral drainage for HMBO, no significant differences with respect to the rates of successful placement, successful drainage, early and late adverse events, stent occlusion, stent patency and patient survival were seen between the two drainage techniques[81].

The need for preoperative BD of resectable HMBO is still controversial.

In a meta-analysis of 11 studies evaluating the benefit of preoperative BD in HMBO, routine performance of preoperative drainage was not shown to be beneficial[82]. In this meta-analysis comparing preoperative BD to no preoperative BD, Liu et al[82], not demonstrate a decrease in mortality or postoperative hospital stay in patients undergoing preoperative drainage and in addition there was an increase in postoperative adverse event rates and infectious morbidity in the preoperative drainage group.

However preoperative BD is strongly recommended in selected patients such as those undergoing right lobectomy for lesions type ⅢA or Ⅳ, preoperative portal vein embolization with chemoradiation therapy, biliary infection due to undrained biliary segments and presence of severe pruritus[83].

Controversy remains regarding the use of ES before the placement of biliary stents.

A meta-analysis of randomized controlled trials that compared the clinical outcomes of patients who underwent ES with those that did not undergo ES before stent placement showed the incidence of post-ERCP pancreatitis was significantly lower with ES, the incidence of bleeding was significantly higher in ES group, with no significant difference in stent migration and occlusion[84].

When transpapillary stent placement via ERCP fails, owing to anatomical or technical problems such as upper intestinal obstruction, surgically altered anatomy, periampullary diverticulum, or periampullary tumor infiltration, EUS-BD is a good option for biliary decompression in patients with both distal and HMBO[85].

The mean technical and clinical success rates of EUS-guided BD are 91% and 88% respectively, with a mean overall complication rate of 26% and a mortality of 0.4%[86]. Three different EUS-BD approaches have been described: transgastric [hepaticogastrostomy (HPG)], transduodenal (choledochoduodenostomy) stenting, and rendezvous technique[86]. The rendezvous approach is preferred by many endoscopists because it avoids a permanent transluminal fistula which may lead to adverse events[86].

Khashab et al[87], in a retrospective series, found no differences between rendezvous and direct transluminal approach in effectiveness and safety.

Artifon et al[88], in a recent randomized trial compared the outcomes of HPG and choledoco-duodenostomy (CLD) in patients with unresectable DMBO and suggested that the choice of approach should be left to the endoscopist. They reported a technical success rate of 96% for HPG and 91% for CLD, a clinical success rate of 91% for HPG and 77% for CLD, with a mean procedural time of 47.8 minutes for HPG and 48.8 min for CLD[88]. The adverse event rate was 20% for the HPG group and 12.5% for the CLD group[88].

Various types of stents, including PSs, USEMS, and PC and FC-SEMS were used for the EUS-BD[89-92].

No comparative studies exist, but there appears to be a tendency to use covered SEMSs, instead of PSs.

Partially or FC-SEMSs appears to be a better option for three reasons: firstly, upon full expansion SEMS effectively seal the puncture/dilation tract, which theoretically prevents leakage; secondly, their larger diameter provides better long-term patency, which would decrease the need for SEMS revisions; finally, if dysfunction by tissue growth or clogging occurs, management is somewhat less challenging than with PSs, since a new stent can easily be inserted through the occluded SEMS[93-96].

However, migration can result in serious adverse events that can still occur even with the use of a PC or FCSEMS, especially early after the procedure. Proximal or distal SEMS migration caused by a shortening of the stent after deployment may lead to bile leakage into the peritoneal cavity and lead to fatal adverse events[97-99].

To prevent and reduce this complication two new types of hybrid (distal portion covered and proximal portion uncovered) SEMSs with antimigration systems were developed and preliminary outcomes showed no migration and bile leakage[100-102].

Recently, LAMSs were used for EUS-BD to prevent migration and bile leakage[103-106].

BENIGN PANCREATIC DISEASES

Benign pancreatic duct obstruction

Benign pancreatic duct obstruction (BPDO) may be the end-result of several different inflammatory processes with stricture formation, from severe acute pancreatitis and ductal disruption, relapsing acute pancreatitis or CP.

Endoscopic placement of PSs and covered SEMs have been used[107].

In the case of CP, BPDO may be caused by strictures, stones, or a combination of both.

Temporary placement of PS has become the standard of care for the endoscopic treatment of MPD strictures in CP. Different protocols have been used at different centers.

PS can remain in place for fixed intervals or exchanged only when symptoms recur[108].

The European Society of Gastrointestinal Endoscopy (ESGE) guidelines recommend treatment of the dominant MPD stricture in patients with CP by inserting a single 10 Fr PS, with stent exchange planned within 1 year even in asymptomatic patients to prevent adverse events related to longstanding PS occlusion[109].

The placement of PSs in the MPD is technically successful in greater than 90% of attempted cases and is followed by immediate and long-term pain relief in approximately 80% and 50% of patients, respectively[110].

When endoscopic treatment with a single PS fails, placement of multiple stents for 6-12 mo is another option.

Costamagna et al[111] described placement of multiple 8.5-Fr to 11.5-Fr PSs in 19 patients previously treated with one PS, of whom 84% remained asymptomatic during a follow-up period of 3 years.

This multiple PSs approach is currently used in several centers and might decrease the need for repeated stent exchange. It is thought that pancreatic juice is able to flow between the stents into the duodenum even when occluded. This strategy might be particularly useful not only in patients with MPD strictures persisting after 12 mo of single PS but also in patients with a pancreas divisum because this anatomy is associated with more frequent stricture relapse and pain after PS removal compared with a fused pancreas[112].

When adequate stricture dilation with PSs is not achieved, placement of FC-SEMS into the MPD for 2 to 3 mo is another potential option[113-117].

However, in a recent systematic review no significant difference between the two endoscopic treatment methods was seen[118]. Indeed, the technical success rate was 100% in both groups, the immediate clinical success rate was 100% in FCSEMS and 94.7% in multiple PSs, the migration rate was 8.2% for FCSEMS and 10.5% for multiple PSs, the re-intervention rate was 9.8% for FCSEMS and 15.8% for multiple PSs and pain improvement rate was 85.2% for FCSEMS and 84.2% for multiple PSs[118].

Placement of one or more PS into the MPD is also performed for temporary decompression in patients with BPDO due to stones, before extracorporeal shock wave lithotripsy or at the time of ERCP to allow for passage of additional stone fragments and allow for ductal decompression and prevention of pancreatitis secondary to edema from the performance of pancreatic sphincterotomy[119].

Recently temporary placement of a FCSEMS in the MPD was also used for aiding extraction of large pancreatic duct stones[120].

When transpapillary pancreatic duct stenting fails or is not possible because of postsurgical anatomy, EUS pancreatic duct drainage (PDD) is a good option to treat the BPDO, due to stone or MPD stricture from CP, but also due to post-surgical pancreaticojejunal or pancreaticogastric anastomotic stenosis[121].

However EUS-PDD is a challenging procedure with a technical success rate ranging between 58% and 100%, a clinical success rate ranging between 53% and 100% and a mean adverse event rate of 20%[86].

Technical failures are related to difficulty in orienting the echoendoscope along the axis of the MPD, inability to dilate the transmural tract because of dense fibrosis, and difficulty because of the acute angle at which the MPD is accessed at EUS[122].

Only PSs are used for this purpose, however a high rate of stent dysfunction, migration and duct leaks are reported and numerous endoscopic re-interventions are required[86].

Recently the use of a dedicated pancreatic duct stent designed for EUS-PDD was reported, but the single operator inclusion, small sample size (only 8 patients) and lack of a control group limit generalization of results of this study[123]. However, the technical success of 100%, clinical success of 100%, and only one mild early adverse event (abdominal pain) and no late adverse events during a mean follow-up of 7.4 mo suggest this new stent is effective and safe for EUS-PDD[123].

Pancreatic leaks/fistulae

Pancreatic fistula is defined as leakage of pancreatic fluid as a result of pancreatic duct disruption[124].

Ductal disruptions may be a result from acute and CP, abdominal trauma, following abdominal surgery and after pancreatic surgery[125].

Manifestations of pancreatic duct leakage include PFCs, pancreatic ascites, high amylase pleural effusions, and internal and external pancreatic fistulae.

Endoscopic treatment of pancreatic fistula is most commonly performed using PSs placed through the major or minor papilla. Stent placement promotes duct healing by diverting the flow across the leak site and traversing strictures and the pancreatic sphincter into the duodenum. Endoscopic transpapillary drainage is preferable for treatment of small communicating PFCs (< 6 cm) without solid debris and for treatment of pancreatic ascites, pleural effusion, and external fistula when there is a ductal disruption and no PFC. The success rate of endoscopic transpapillary drainage alone for PFCs ranges from 48% to 100%, 55% to 100% for pancreatic ascites and pleural effusions and 55% to 100% for external fistula[126].

Ductal disruptions refractory to PSs placement can be treated with placement of covered SEMS. Indeed there have been case reports describing successful healing of refractory pancreatic fistulas by placement of both PC and FC-SEMS[127-129].

When transpapillary stenting fails, especially in cases of disconnected duct syndrome (a duct leak with a complete transection of the MPD resulting in an isolated segment of the proximal portion of the pancreas) EUS-PDD is a good alternative endoscopic approach[130].

Pancreas divisum

For patients with symptomatic pancreas divisum (acute recurrent pancreatitis, CP, or chronic abdominal pain) endoscopic therapy is a safe and effective option, with the best results seen in patients with acute recurrent pancreatitis[131].

Dorsal duct stenting in patients with pancreas divisum and CP decreased overall pain level, pain medication usage, and the number of hospital admissions per year with an improvement in nausea, vomiting and chronic pain[132].

For dorsal duct stenting a 5 Fr, 7 Fr or 10 Fr PSs is placed with or without minor papilla sphincterotomy or with minor papilla balloon dilation, with a clinical success rate of 54% and 90%[133-138].

Although PSs placement may decrease the number of episodes of pancreatitis, particularly for patients with recurrent pancreatitis, it may result in ductal damage that resembles CP and may be persistent in some cases[139].

In patients with pancreas divisum and CP the FCSEMS have been used for relief of abdominal pain that persisted despite pancreatic PSs implantation[140].

Prevention of post-ERCP pancreatitis

Pancreatic duct stenting has been increasingly used for prevention of PEP. Pancreatic duct stents are thought to reduce the incidence and severity of PEP by facilitating ductal drainage, relieving ductal hypertension from transient procedure-induced stenosis of the pancreatic orifice or over-injection of contrast[141].

There are now several robust studies that confirm the effectiveness of pancreatic duct stenting in preventing PEP, especially in patients at high-risk for PEP[142-144].

The most recent meta-analysis, which included 14 randomized controlled trials involving 1541 patients demonstrated that PS placement prevented post-ERCP pancreatitis compared to no PS placement (7% vs 19%; P < 0.001)[145]. Moreover this is the first meta-analysis with sufficient power to demonstrate that pancreatic stenting is effective in preventing both mild to moderate and severe PEP[145].

A recent study show that urgent placement or replacement of pancreatic stents shortly after ERCP attenuates the course of evolving PEP with a statistically significant improvement in pain, amylase, lipase, and resolution of systemic inflammatory response syndrome[146].

Small caliber, short and softer 3 Fr or 5 Fr stents are most commonly used due to their ease of placement and higher rate of spontaneous migration compared to longer stents[147].

A systematic review and network meta-analysis suggest that stent diameter is more important for the prevention of PEP than stent design and presence of flanges[148].

In this study the use of 5 Fr stent was superior to the 3 Fr stent for the prevention of PEP in high-risk patients, and the 5 Fr single-pigtail, unflanged stent and 5 Fr straight, flanged stent performed similarly[148]. Both performed better than the 3 Fr stent in preventing post-ERCP pancreatitis[148].

Pancreatic stenting is recommended in patients with difficult cannulation, including double-wire cannulation, precut sphincterotomy, pancreatic (major or minor) sphincterotomy, pancreatic endotherapy, diagnostic or therapeutic ERCP for suspected or confirmed sphincter of Oddi dysfunction, history of PEP, balloon dilation of an intact biliary sphincter, and endoscopic ampullectomy[149].

PFCs

Indications for PFCs drainage include development of persistent symptoms thought to be related to the presence of the collection or development of a complications related to the collection such as infection, bleeding, biliary, or gastric outlet obstruction.

For drainage of PFCs the decision of which endoscopic approach to use is based on the anatomical relationship of the PFC to the alimentary canal, the presence of ductal system communication, and the size of the collection.

Transpapillary stenting can be considered in case of a PFC communication with the pancreatic ductal system, located in the pancreatic head and is the sole means of drainage if the PFC is smaller (< 6 cm), or if transmural stenting is not feasible owing to distance (e.g., > 1 cm from the enteral lumen) or is contraindicated (e.g., severe coagulopathy)[150,151] with outcomes described above.

In cases of large PFCs with a visible bulge transmural drainage should be the first approach, and both EUS-guided and non-EUS-guided techniques are used.

However EUS-guided drainage of PFCs showed superior technical and treatment success rates and more favorable safety profiles than traditional non-EUS approaches.

Varadarajulu et al[152] in 2008 published the first RCT; 30 patients were randomized to undergo PFC drainage by EUS (15) or non-EUS guided drainage (15) over a 6-mo period. Of the 15 patients randomized to EUS, drainage was not undertaken in one because an alternative diagnosis was made. All 14 patients randomized to EUS-guided technique underwent successful drainage (100%), while the procedure was technically successful in only 5 of 15 patients (33%) randomized to non-EUS guided drainage group. All 10 patients who failed drainage by non-EUS guided technique underwent successful PFC drainage on crossover to EUS. Major procedure-related bleeding was encountered in 2 patients in whom non-EUS guided technique was performed.

Mangiavillano et al[153], in a series of 21 patients, showed as the technique of single-step EUS-guided drainage was superior to the two-step EUS-guided drainage for PFCs drainage.

Park et al[154] enrolled 60 consecutive patients with PFCs, which were randomly divided into two groups to undergo either EUS guided (31) or non-EUS guided technique (29).

The rate of technically successful drainage was significantly higher for the EUS group (94%) than for the non-EUS guided technique group (72%) (P = 0.039) in intention-to-treat analysis. In cases where non-EUS guided technique failed (8 cases) because the PFCs were non-bulging, a crossover was made to EUS guided technique, which was successfully performed in all these patients. Adverse events occurred in 7% of the EUS group and in 10% of the non-EUS group (P = 0.67). During follow-up, PFC resolution was achieved in 97% in the EUS group and in 91% in the non-EUS group (P = 0.565).

A meta-analysis confirmed the superior technical and treatment success rates and more favorable safety profiles of the EUS guided drainage of PFCs than traditional non-EUS guided technique[155].

The mean technical and clinical success rates reported for EUS guided drainage of PFCs were 97% and 90% respectively, the mean overall adverse event rate was 17% and the mean overall recurrence rate was 8%[86]. The main potential adverse events are bleeding, superinfection, stent migration, perforation and pneumoperitoneum[86].

Many aspects of EUS guided drainage of PFCs have yet to be determined, such as optimal stent size and number, stent type (plastic or metal), as well as stent placement duration.

Evidence supports that keeping PSs in place after PFCs resolution maintains the cystenterostomy tract[156].

For PFCs which contain only fluid (e.g., pseudocysts) the treatment success rates are very high, while for PFCs in which at EUS the contents are not completely anechoic and contain solid material consistent with necrotic tissue, such as pancreatic abscesses or walled-off pancreatic necrosis, clinical resolution is much less than with pseudocysts[157,158].

Traditionally, double pigtail PSs were used for PFC drainage. These stents provide highly secured drainage preventing dislocation and migration.

However, because of their limited size of up to only 10 Fr, these stents are prone to occlusion and endoscopic access to the PFC cavity via the fistula is limited.

Siddiqui et al[159], in a retrospective study, demonstrated that patients with PFCs containing viscous solid debris-laden fluid, EUS guided drainage via a nasocystic irrigation tube alongside transmural stents resulted in a lower stent occlusion rate and better short-term clinical outcomes compared to transmural stents alone.

Therefore is has been suggested that placement of larger or multiple PSs and a nasocystic drainage catheter may facilitate resolution of PFCs, especially those containing significant debris.

Varadarajulu et al[160], showed that the necrotic collections drained with two to three transmural tracts, with multiple PSs in each track and a nasocystic irrigation tube, had a better outcomes compared with necrotic collections treated by conventional drainage techniques. Thus it appears that irrigation improves drainage of the necrotic contents.

Unfortunately, during placement of multiple PSs guidewire access may be lost, proximal migration of the first stent into the collection may occur, and additional procedural time is required.

Recently FCSEMSs, traditionally used for the treatment of a biliary diseases, have been used for drainage of PFCs[161-163].

A FCSEMS can be an alternative to conventional drainage with PSs because it offers the option of a larger-diameter access fistula for drainage and may increase the final success rate while it reduces the time to PFC resolution. In addition, only one passage of the guidewire is needed for placement.

In a systematic review of seventeen studies (881 patients) there was no difference in overall treatment success between patients treated with PSs and FCSEMSs (81% vs 82%) for both pseudocysts (85% vs 83%) and walled-off necrosis (70% vs 78%), no difference in adverse event rates (16% vs 23%) and recurrence rates (10% vs 9%)[164].

Using biliary FCSEMs for PFCs drainage, partial or full migration remains a potentially significant problem. When these stents are used for PFCs, the longer protrusion on both the gastrointestinal tract and the cavity sides entails a risk of contact ulceration, bleeding, and migration.

Lee et al[165], in a recent prospective randomized study compared multiple PSs (25 cases) with a new designed FC-SEMSs (25 cases) for the drainage of PFCs, showed that the median procedure time with FC-SEMS was significantly shorter than with PSs (15 min vs 29.5 min; P < 0.01), the technical success rate was 100% for both groups, the clinical success rate was 80% for both groups, no adverse events occurred in the FCSEMS group, while adverse events occurred in 2 patients in the PSs group (P = 0.16), one recurrence was observed during follow-up in the FC-SEMS group and none in the PSs group (P = 0.15).

More recently, new dedicated LAMSs for drainage of PFCs, have been developed.

They have a large diameter, a saddle-shape design, with bilateral flanges, and a short length between flanges.

The flanges are designed to provide stent stability with a lumen-to-lumen anchoring effect (to distribute pressure evenly on the luminal wall and securely anchor the stent), thereby reducing the risk of migration and leakage alongside the stent and are fully covered to prevent tissue ingrowth and to enable easy removal[166].

Several studies have evaluated safety and efficacy of LAMSs for EUS-GD drainage of PFCs and reported technical success rates ranging between 89% and 100%, clinical success rates ranging between 77% and 100% and adverse event rates ranging between 9% and 25%[167-171].

The large diameter of LAMSs enables direct insertion of an endoscope through the lumen of the stent for performing necrosectomy[172,173].

MALIGNANT PANCREATIC DISEASES

Malignant pancreatic duct obstruction (MPDO) is commonly seen in pancreatic cancer, particularly when the tumor is located in the pancreatic head, and may cause pancreatic duct dilation and “obstructive type” pain[174].

Both PSs (5 Fr to 11.5 Fr in size) and SEMSs have been used for decompression of the pancreatic duct in MPDO, with technical success rates ranging between 81% and 100%, an improvement in pain in between 61% and 100% and an improvement in quality of life in the majority of patients[175-177].

When failure to achieve access to MPD during ERCP occurs because of either failed cannulation or an inaccessible papilla from altered anatomy or proximal duodenal obstruction caused by tumour invasion, MPDO can be treated also with EUS-PDD[178].

CONCLUSION

Advances in stent design have led to a substantial increase in their use for a variety of benign and malignant pancreticobiliary diseases.

Endoscopic stenting has largely replaced surgery and interventional radiologic management of most pancreaticobiliary diseases both malignant (palliation of biliary strictures) and benign (treatment of strictures, leaks and collections).

The advent of metal stents has revolutionized the approach to these diseases, showing promising results even for the treatment of benign disorders.

REFERENCES

1	Baron TH, Davee T. Endoscopic management of benign bile duct strictures. Gastrointest Endosc Clin N Am 2013; 23: 295-311 [PMID: 23540962 DOI: 10.1016/j.giec.2013.01.001]

2	Costamagna G, Boškoski I. Current treatment of benign biliary strictures. Ann Gastroenterol 2013; 26: 37-40 [PMID: 24714594]

3	Draganov P, Hoffman B, Marsh W, Cotton P, Cunningham J. Long-term outcome in patients with benign biliary strictures treated endoscopically with multiple stents. Gastrointest Endosc 2002; 55: 680-686 [PMID: 11979250 DOI: 10.1067/mge.2002.122955]

4	Bergman JJ, Burgemeister L, Bruno MJ, Rauws EA, Gouma DJ, Tytgat GN, Huibregtse K. Long-term follow-up after biliary stent placement for postoperative bile duct stenosis. Gastrointest Endosc 2001; 54: 154-161 [PMID: 11474383 DOI: 10.1067/mge.2001.116455]

5	Costamagna G, Pandolfi M, Mutignani M, Spada C, Perri V. Long-term results of endoscopic management of postoperative bile duct strictures with increasing numbers of stents. Gastrointest Endosc 2001; 54: 162-168 [PMID: 11474384 DOI: 10.1067/mge.2001.116876]

6	Costamagna G, Tringali A, Mutignani M, Perri V, Spada C, Pandolfi M, Galasso D. Endotherapy of postoperative biliary strictures with multiple stents: results after more than 10 years of follow-up. Gastrointest Endosc 2010; 72: 551-557 [PMID: 20630514 DOI: 10.1016/j.gie.2010.04.052]

7	Zoepf T, Maldonado-Lopez EJ, Hilgard P, Malago M, Broelsch CE, Treichel U, Gerken G. Balloon dilatation vs. balloon dilatation plus bile duct endoprostheses for treatment of anastomotic biliary strictures after liver transplantation. Liver Transpl 2006; 12: 88-94 [PMID: 16382450 DOI: 10.1002/lt.20548]

8	Tabibian JH, Asham EH, Han S, Saab S, Tong MJ, Goldstein L, Busuttil RW, Durazo FA. Endoscopic treatment of postorthotopic liver transplantation anastomotic biliary strictures with maximal stent therapy (with video). Gastrointest Endosc 2010; 71: 505-512 [PMID: 20189508 DOI: 10.1016/j.gie.2009.10.023]

9	Tabibian JH, Asham EH, Goldstein L, Han SH, Saab S, Tong MJ, Busuttil RW, Durazo FA. Endoscopic treatment with multiple stents for post-liver-transplantation nonanastomotic biliary strictures. Gastrointest Endosc 2009; 69: 1236-1243 [PMID: 19249040 DOI: 10.1016/j.gie.2008.09.057]

10	Catalano MF, Linder JD, George S, Alcocer E, Geenen JE. Treatment of symptomatic distal common bile duct stenosis secondary to chronic pancreatitis: comparison of single vs. multiple simultaneous stents. Gastrointest Endosc 2004; 60: 945-952 [PMID: 15605010 DOI: 10.1016/S0016-5107(04)02275-8]

11	Pozsár J, Sahin P, László F, Topa L. Endoscopic treatment of sphincterotomy-associated distal common bile duct strictures by using sequential insertion of multiple plastic stents. Gastrointest Endosc 2005; 62: 85-91 [PMID: 15990824 DOI: 10.1016/S0016-5107(05)00547-X]

12	Kahaleh M, Behm B, Clarke BW, Brock A, Shami VM, De La Rue SA, Sundaram V, Tokar J, Adams RB, Yeaton P. Temporary placement of covered self-expandable metal stents in benign biliary strictures: a new paradigm? (with video). Gastrointest Endosc 2008; 67: 446-454 [PMID: 18294506 DOI: 10.1016/j.gie.2007.06.057]

13	Chaput U, Scatton O, Bichard P, Ponchon T, Chryssostalis A, Gaudric M, Mangialavori L, Duchmann JC, Massault PP, Conti F, Calmus Y, Chaussade S, Soubrane O, Prat F. Temporary placement of partially covered self-expandable metal stents for anastomotic biliary strictures after liver transplantation: a prospective, multicenter study. Gastrointest Endosc 2010; 72: 1167-1174 [PMID: 20970790 DOI: 10.1016/j.gie.2010.08.016]

14	Behm B, Brock A, Clarke BW, Ellen K, Northup PG, Dumonceau JM, Kahaleh M. Partially covered self-expandable metallic stents for benign biliary strictures due to chronic pancreatitis. Endoscopy 2009; 41: 547-551 [PMID: 19533560 DOI: 10.1055/s-0029-1214708]

15	Perri V, Boškoski I, Tringali A, Familiari P, Mutignani M, Marmo R, Costamagna G. Fully covered self-expandable metal stents in biliary strictures caused by chronic pancreatitis not responding to plastic stenting: a prospective study with 2 years of follow-up. Gastrointest Endosc 2012; 75: 1271-1277 [PMID: 22464813 DOI: 10.1016/j.gie.2012.02.002]

16	Mangiavillano B, Luigiano C, Viaggi P, Fabbri C, D’Imperio N, Santoro T, Masci E. Covered removable self-expandable metal [corrected] stents for the treatment of refractory benign biliary disease. J Dig Dis 2012; 13: 486-490 [PMID: 22908975 DOI: 10.1111/j.1751-2980.2012.00615.x]

17	Kaffes AJ, Liu K. Fully covered self-expandable metal stents for treatment of benign biliary strictures. Gastrointest Endosc 2013; 78: 13-21 [PMID: 23548962 DOI: 10.1016/j.gie.2013.02.019]

18	Mahajan A, Ho H, Sauer B, Phillips MS, Shami VM, Ellen K, Rehan M, Schmitt TM, Kahaleh M. Temporary placement of fully covered self-expandable metal stents in benign biliary strictures: midterm evaluation (with video). Gastrointest Endosc 2009; 70: 303-309 [PMID: 19523620 DOI: 10.1016/j.gie.2008.11.029]

19	Luigiano C, Bassi M, Ferrara F, Fabbri C, Ghersi S, Morace C, Consolo P, Maimone A, Galluccio G, D’Imperio N, Cennamo V. Placement of a new fully covered self-expanding metal stent for postoperative biliary strictures and leaks not responding to plastic stenting. Surg Laparosc Endosc Percutan Tech 2013; 23: 159-162 [PMID: 23579510 DOI: 10.1097/SLE.0b013e318278c201]

20	Kahaleh M, Brijbassie A, Sethi A, Degaetani M, Poneros JM, Loren DE, Kowalski TE, Sejpal DV, Patel S, Rosenkranz L, McNamara KN, Raijman I, Talreja JP, Gaidhane M, Sauer BG, Stevens PD. Multicenter trial evaluating the use of covered self-expanding metal stents in benign biliary strictures: time to revisit our therapeutic options? J Clin Gastroenterol 2013; 47: 695-699 [PMID: 23442836 DOI: 10.1097/MCG.0b013e31827fd311]

21	Devière J, Nageshwar Reddy D, Püspök A, Ponchon T, Bruno MJ, Bourke MJ, Neuhaus H, Roy A, González-Huix Lladó F, Barkun AN, Kortan PP, Navarrete C, Peetermans J, Blero D, Lakhtakia S, Dolak W, Lepilliez V, Poley JW, Tringali A, Costamagna G. Successful management of benign biliary strictures with fully covered self-expanding metal stents. Gastroenterology 2014; 147: 385-395; quiz e15 [PMID: 24801350 DOI: 10.1053/j.gastro.2014.04.043]

22	Park do H, Lee SS, Lee TH, Ryu CH, Kim HJ, Seo DW, Park SH, Lee SK, Kim MH, Kim SJ. Anchoring flap versus flared end, fully covered self-expandable metal stents to prevent migration in patients with benign biliary strictures: a multicenter, prospective, comparative pilot study (with videos). Gastrointest Endosc 2011; 73: 64-70 [PMID: 21184871 DOI: 10.1016/j.gie.2010.09.039]

23	Mangiavillano B, Manes G, Baron TH, Frego R, Dinelli M, Radaelli F, Teruzzi V, Amato A, Pallotta S, Santoro T, Masci E. The use of double lasso, fully covered self-expandable metal stents with new “anchoring flap” system in the treatment of benign biliary diseases. Dig Dis Sci 2014; 59: 2308-2313 [PMID: 24748231 DOI: 10.1007/s10620-014-3158-7]

24	Siiki A, Helminen M, Sand J, Laukkarinen J. Covered self-expanding metal stents may be preferable to plastic stents in the treatment of chronic pancreatitis-related biliary strictures: a systematic review comparing 2 methods of stent therapy in benign biliary strictures. J Clin Gastroenterol 2014; 48: 635-643 [PMID: 24275713 DOI: 10.1097/MCG.0000000000000020]

25	Trikudanathan G, Navaneethan U, Parsi MA. Endoscopic management of difficult common bile duct stones. World J Gastroenterol 2013; 19: 165-173 [PMID: 23345939 DOI: 10.3748/wjg.v19.i2.165]

26	Yang J, Peng JY, Chen W. Endoscopic biliary stenting for irretrievable common bile duct stones: Indications, advantages, disadvantages, and follow-up results. Surgeon 2012; 10: 211-217 [PMID: 22647840 DOI: 10.1016/j.surge.2012.04.003]

27	Di Giorgio P, Manes G, Grimaldi E, Schettino M, D’Alessandro A, Di Giorgio A, Giannattasio F. Endoscopic plastic stenting for bile duct stones: stent changing on demand or every 3 months. A prospective comparison study. Endoscopy 2013; 45: 1014-1017 [PMID: 24288221 DOI: 10.1055/s-0033-1344556]

28	Cerefice M, Sauer B, Javaid M, Smith LA, Gosain S, Argo CK, Kahaleh M. Complex biliary stones: treatment with removable self-expandable metal stents: a new approach (with videos). Gastrointest Endosc 2011; 74: 520-526 [PMID: 21872710 DOI: 10.1016/j.gie.2011.05.026]

29	Masci E, Bizzotto A, Arena M, Mangiavillano B. Removable covered self-expanding metal stent for extraction of a large biliary stone in a patient on dual antiplatelet therapy. Endoscopy 2014; 46 Suppl 1 UCTN: E342 [PMID: 25090471 DOI: 10.1055/s-0034-1377359]

30	de C Ferreira LE, Baron TH. Acute biliary conditions. Best Pract Res Clin Gastroenterol 2013; 27: 745-756 [PMID: 24160931 DOI: 10.1016/j.bpg.2013.08.008]

31	Bjorkman DJ, Carr-Locke DL, Lichtenstein DR, Ferrari AP, Slivka A, Van Dam J, Brooks DC. Postsurgical bile leaks: endoscopic obliteration of the transpapillary pressure gradient is enough. Am J Gastroenterol 1995; 90: 2128-2133 [PMID: 8540501]

32	Sandha GS, Bourke MJ, Haber GB, Kortan PP. Endoscopic therapy for bile leak based on a new classification: results in 207 patients. Gastrointest Endosc 2004; 60: 567-574 [PMID: 15472680 DOI: 10.1016/S0016-5107(04)01892-9]

33	Ryan ME, Geenen JE, Lehman GA, Aliperti G, Freeman ML, Silverman WB, Mayeux GP, Frakes JT, Parker HW, Yakshe PN, Goff JS. Endoscopic intervention for biliary leaks after laparoscopic cholecystectomy: a multicenter review. Gastrointest Endosc 1998; 47: 261-266 [PMID: 9540880 DOI: 10.1016/S0016-5107(98)70324-4]

34	Marks JM, Ponsky JL, Shillingstad RB, Singh J. Biliary stenting is more effective than sphincterotomy in the resolution of biliary leaks. Surg Endosc 1998; 12: 327-330 [PMID: 9543522]

35	Bridges A, Wilcox CM, Varadarajulu S. Endoscopic management of traumatic bile leaks. Gastrointest Endosc 2007; 65: 1081-1085 [PMID: 17531646 DOI: 10.1016/j.gie.2006.11.038]

36	Mavrogiannis C, Liatsos C, Papanikolaou IS, Karagiannis S, Galanis P, Romanos A. Biliary stenting alone versus biliary stenting plus sphincterotomy for the treatment of post-laparoscopic cholecystectomy biliary leaks: a prospective randomized study. Eur J Gastroenterol Hepatol 2006; 18: 405-409 [PMID: 16538112]

37	Katsinelos P, Kountouras J, Paroutoglou G, Chatzimavroudis G, Germanidis G, Zavos C, Pilpilidis I, Paikos D, Papaziogas B. A comparative study of 10-Fr vs. 7-Fr straight plastic stents in the treatment of postcholecystectomy bile leak. Surg Endosc 2008; 22: 101-106 [PMID: 17516115 DOI: 10.1007/s00464-007-9381-y]

38	Sicklick JK, Camp MS, Lillemoe KD, Melton GB, Yeo CJ, Campbell KA, Talamini MA, Pitt HA, Coleman J, Sauter PA, Cameron JL. Surgical management of bile duct injuries sustained during laparoscopic cholecystectomy: perioperative results in 200 patients. Ann Surg 2005; 241: 786-792; discussion 793-795 [PMID: 15849514 DOI: 10.1097/01.sla.0000161029.27410.71]

39	Bakhru MR, Kahaleh M. Expandable metal stents for benign biliary disease. Gastrointest Endosc Clin N Am 2011; 21: 447-62, viii [PMID: 21684464 DOI: 10.1016/j.giec.2011.04.007]

40	García-Cano J. Use of fully covered self-expanding metal stents in benign biliary diseases. World J Gastrointest Endosc 2012; 4: 142-147 [PMID: 22523615 DOI: 10.4253/wjge.v4.i4.142]

41	Lalezari D, Singh I, Reicher S, Eysselein VE. Evaluation of fully covered self-expanding metal stents in benign biliary strictures and bile leaks. World J Gastrointest Endosc 2013; 5: 332-339 [PMID: 23858377 DOI: 10.4253/wjge.v5.i7.332]

42	Mangiavillano B, Luigiano C, Tarantino I, Barresi L, Dinelli M, Frego R, Bassi M, Fabbri C, Cennamo V, Viaggi P, Traina M, Santoro T, Masci E. Fully covered, self-expandable metal stents for first-step endoscopic treatment of biliary leaks secondary to hepato-biliary surgery: a retrospective study. Dig Liver Dis 2013; 45: 430-432 [PMID: 23280159 DOI: 10.1016/j.dld.2012.11.013]

43	Martins FP, Phillips M, Gaidhane MR, Schmitt T, Kahaleh M. Biliary leak in post-liver-transplant patients: is there any place for metal stent? HPB Surg 2012; 2012: 684172 [PMID: 22619479 DOI: 10.1155/2012/684172]

44	Itoi T, Coelho-Prabhu N, Baron TH. Endoscopic gallbladder drainage for management of acute cholecystitis. Gastrointest Endosc 2010; 71: 1038-1045 [PMID: 20438890 DOI: 10.1016/j.gie.2010.01.026]

45	Hasan MK, Itoi T, Varadarajulu S. Endoscopic management of acute cholecystitis. Gastrointest Endosc Clin N Am 2013; 23: 453-459 [PMID: 23540969 DOI: 10.1016/j.giec.2012.12.010]

46	Lee TH, Park DH, Lee SS, Seo DW, Park SH, Lee SK, Kim MH, Kim SJ. Outcomes of endoscopic transpapillary gallbladder stenting for symptomatic gallbladder diseases: a multicenter prospective follow-up study. Endoscopy 2011; 43: 702-708 [PMID: 21425042 DOI: 10.1055/s-0030-1256226]

47	Maekawa S, Nomura R, Murase T, Ann Y, Oeholm M, Harada M. Endoscopic gallbladder stenting for acute cholecystitis: a retrospective study of 46 elderly patients aged 65 years or older. BMC Gastroenterol 2013; 13: 65 [PMID: 23586815 DOI: 10.1186/1471-230X-13-65]

48	Tujios SR, Rahnama-Moghadam S, Elmunzer JB, Kwon R, Singal AG, Anderson MA, Wamsteker EJ, Taylor JR, Scheiman J, Elta G, Fontana RJ, Piraka CR. Transpapillary Gallbladder Stents can Stabilize or Improve Decompensated Cirrhosis in Patients Awaiting Liver Transplantation. J Clin Gastroenterol 2014; Epub ahead of print [PMID: 25437155 DOI: 10.1097/MCG.0000000000000269]

49	Itoi T, Kawakami H, Katanuma A, Irisawa A, Sofuni A, Itokawa F, Tsuchiya T, Tanaka R, Umeda J, Ryozawa S, Doi S, Sakamoto N, Yasuda I. Endoscopic nasogallbladder tube or stent placement in acute cholecystitis: a preliminary prospective randomized trial in Japan (with videos). Gastrointest Endosc 2015; 81: 111-118 [PMID: 25527052 DOI: 10.1016/j.gie.2014.09.046]

50	Jang JW, Lee SS, Song TJ, Hyun YS, Park do H, Seo DW, Lee SK, Kim MH, Yun SC. Endoscopic ultrasound-guided transmural and percutaneous transhepatic gallbladder drainage are comparable for acute cholecystitis. Gastroenterology 2012; 142: 805-811 [PMID: 22245666 DOI: 10.1053/j.gastro.2011.12.051]

51	Jang JW, Lee SS, Park do H, Seo DW, Lee SK, Kim MH. Feasibility and safety of EUS-guided transgastric/transduodenal gallbladder drainage with single-step placement of a modified covered self-expandable metal stent in patients unsuitable for cholecystectomy. Gastrointest Endosc 2011; 74: 176-181 [PMID: 21704816 DOI: 10.1016/j.gie.2011.03.1120]

52	Moon JH, Choi HJ, Kim DC, Lee YN, Kim HK, Jeong SA, Lee TH, Cha SW, Cho YD, Park SH, Jeong S, Lee DH, Isayama H, Itoi T. A newly designed fully covered metal stent for lumen apposition in EUS-guided drainage and access: a feasibility study (with videos). Gastrointest Endosc 2014; 79: 990-995 [PMID: 24721518 DOI: 10.1016/j.gie.2014.02.015]

53	Itoi T, Binmoeller KF, Shah J, Sofuni A, Itokawa F, Kurihara T, Tsuchiya T, Ishii K, Tsuji S, Ikeuchi N, Moriyasu F. Clinical evaluation of a novel lumen-apposing metal stent for endosonography-guided pancreatic pseudocyst and gallbladder drainage (with videos). Gastrointest Endosc 2012; 75: 870-876 [PMID: 22301347 DOI: 10.1016/j.gie.2011.10.020]

54	de la Serna-Higuera C, Pérez-Miranda M, Gil-Simón P, Ruiz-Zorrilla R, Diez-Redondo P, Alcaide N, Sancho-del Val L, Nuñez-Rodriguez H. EUS-guided transenteric gallbladder drainage with a new fistula-forming, lumen-apposing metal stent. Gastrointest Endosc 2013; 77: 303-308 [PMID: 23206813 DOI: 10.1016/j.gie.2012.09.021]

55	Mönkemüller K, Zabielski M, Didowacz-Grollmann A, von Gruchalla C, Neumann H, Vormbrock K. Endoluminal transgastric endoscopic anastomosis of the gallbladder using an anchoring self-expanding metal stent. Endoscopy 2013; 45 Suppl 2 UCTN: E164-E166 [PMID: 23801284 DOI: 10.1055/s-0032-1325776]

56	Itoi T, Itokawa F, Tsuchiya T, Kurihara T, Tanaka R. Transgastric large gallstone extraction through a lumen-apposing metal stent in a patient with acute cholecystitis. Gastrointest Endosc 2014; 79: 547 [PMID: 24472764 DOI: 10.1016/j.gie.2013.12.010]

57	Debenedet AT, Elta GH. Post-sphincterotomy bleeding: fully-covered metal stents for hemostasis. F1000Res 2013; 2: 171 [PMID: 24555084 DOI: 10.12688/f1000research.2-171.v1]

58	Canena J, Liberato M, Horta D, Romão C, Coutinho A. Short-term stenting using fully covered self-expandable metal stents for treatment of refractory biliary leaks, postsphincterotomy bleeding, and perforations. Surg Endosc 2013; 27: 313-324 [PMID: 22806507 DOI: 10.1007/s00464-012-2368-3]

59	Irani S, Baron TH, Law R, Akbar A, Ross AS, Gluck M, Gan I, Kozarek RA. Endoscopic treatment of nonstricture-related benign biliary diseases using covered self-expandable metal stents. Endoscopy 2015; 47: 315-321 [PMID: 25521570 DOI: 10.1055/s-0034-1391093]

60	Lee SM, Cho KB. Value of temporary stents for the management of perivaterian perforation during endoscopic retrograde cholangiopancreatography. World J Clin Cases 2014; 2: 689-697 [PMID: 25405193 DOI: 10.12998/wjcc.v2.i11.689]

61	García-Cano J, Taberna-Arana L, Jimeno-Ayllón C, Martínez-Fernández R, Serrano-Sánchez L, Reyes-Guevara AK, Viñuelas-Chicano M, Gómez-Ruiz CJ, Morillas-Ariño MJ, Pérez-García JI, Pérez-Vigara G, Pérez-Sola A. Use of fully covered self-expanding metal stents for the management of benign biliary conditions. Rev Esp Enferm Dig 2010; 102: 526-532 [PMID: 20883068 DOI: 10.4321/S1130-01082010000900003]

62	Pfau PR, Pleskow DK, Banerjee S, Barth BA, Bhat YM, Desilets DJ, Gottlieb KT, Maple JT, Siddiqui UD, Tokar JL, Wang A, Song LM, Rodriguez SA. Pancreatic and biliary stents. Gastrointest Endosc 2013; 77: 319-327 [PMID: 23410693 DOI: 10.1016/j.gie.2012.09.026]

63	Hong WD, Chen XW, Wu WZ, Zhu QH, Chen XR. Metal versus plastic stents for malignant biliary obstruction: an update meta-analysis. Clin Res Hepatol Gastroenterol 2013; 37: 496-500 [PMID: 23333231 DOI: 10.1016/j.clinre.2012.12.002]

64	Almadi MA, Barkun AN, Martel M. No benefit of covered vs uncovered self-expandable metal stents in patients with malignant distal biliary obstruction: a meta-analysis. Clin Gastroenterol Hepatol 2013; 11: 27-37.e1 [PMID: 23103324 DOI: 10.1016/j.cgh.2012.10.019]

65	Hu B, Wang TT, Wu J, Shi ZM, Gao DJ, Pan YM. Antireflux stents to reduce the risk of cholangitis in patients with malignant biliary strictures: a randomized trial. Endoscopy 2014; 46: 120-126 [PMID: 24477367 DOI: 10.1055/s-0034-1364872]

66	Kitano M, Yamashita Y, Tanaka K, Konishi H, Yazumi S, Nakai Y, Nishiyama O, Uehara H, Mitoro A, Sanuki T, Takaoka M, Koshitani T, Arisaka Y, Shiba M, Hoki N, Sato H, Sasaki Y, Sato M, Hasegawa K, Kawabata H, Okabe Y, Mukai H. Covered self-expandable metal stents with an anti-migration system improve patency duration without increased complications compared with uncovered stents for distal biliary obstruction caused by pancreatic carcinoma: a randomized multicenter trial. Am J Gastroenterol 2013; 108: 1713-1722 [PMID: 24042190 DOI: 10.1038/ajg.2013.305]

67	Soderlund C, Linder S, Bergenzaun PE, Grape T, Hakansson HO, Kilander A, Lindell G, Ljungman M, Ohlin B, Nielsen J, Rudberg C, Stotzer PO, Svartholm E, Toth E, Frozanpor F. Nitinol versus steel partially covered self-expandable metal stent for malignant distal biliary obstruction: a randomized trial. Endoscopy 2014; 46: 941-948 [PMID: 25321620 DOI: 10.1055/s-0034-1377936]

68	Luigiano C, Ferrara F, Cennamo V, Fabbri C, Bassi M, Ghersi S, Consolo P, Morace C, Polifemo AM, Billi P, Ceroni L, Alibrandi A, D’Imperio N. A comparison of uncovered metal stents for the palliation of patients with malignant biliary obstruction: nitinol vs. stainless steel. Dig Liver Dis 2012; 44: 128-133 [PMID: 21924691 DOI: 10.1016/j.dld.2011.08.015]

69	Sun C, Yan G, Li Z, Tzeng CM. A meta-analysis of the effect of preoperative biliary stenting on patients with obstructive jaundice. Medicine (Baltimore) 2014; 93: e189 [PMID: 25474436 DOI: 10.1097/MD.0000000000000189]

70	Boulay BR, Parepally M. Managing malignant biliary obstruction in pancreas cancer: choosing the appropriate strategy. World J Gastroenterol 2014; 20: 9345-9353 [PMID: 25071329 DOI: 10.3748/wjg.v20.i28.9345]

71	Saxena P, Kumbhari V, Zein ME, Khashab MA. Preoperative biliary drainage. Dig Endosc 2015; 27: 265-277 [PMID: 25293587 DOI: 10.1111/den.12394]

72	Bismuth H, Castaing D, Traynor O. Resection or palliation: priority of surgery in the treatment of hilar cancer. World J Surg 1988; 12: 39-47 [PMID: 2449769 DOI: 10.1007/BF01658484]

73	Vienne A, Hobeika E, Gouya H, Lapidus N, Fritsch J, Choury AD, Chryssostalis A, Gaudric M, Pelletier G, Buffet C, Chaussade S, Prat F. Prediction of drainage effectiveness during endoscopic stenting of malignant hilar strictures: the role of liver volume assessment. Gastrointest Endosc 2010; 72: 728-735 [PMID: 20883850 DOI: 10.1016/j.gie.2010.06.040]

74	Goenka MK, Goenka U. Palliation: Hilar cholangiocarcinoma. World J Hepatol 2014; 6: 559-569 [PMID: 25232449 DOI: 10.4254/wjh.v6.i8.559]

75	Itoi T, Sofuni A, Itokawa F, Tonozuka R, Ishii K. Current status and issues regarding biliary stenting in unresectable biliary obstruction. Dig Endosc 2013; 25 Suppl 2: 63-70 [PMID: 23617652 DOI: 10.1111/den.12062]

76	De Palma GD, Masone S, Rega M, Simeoli I, Salvatori F, Siciliano S, Maione F, Girardi V, Celiento M, Persico G. Endoscopic approach to malignant strictures at the hepatic hilum. World J Gastroenterol 2007; 13: 4042-4045 [PMID: 17696220 DOI: 10.3748/wjg.v13.i30.4042]

77	Perdue DG, Freeman ML, DiSario JA, Nelson DB, Fennerty MB, Lee JG, Overby CS, Ryan ME, Bochna GS, Snady HW, Moore JP. Plastic versus self-expanding metallic stents for malignant hilar biliary obstruction: a prospective multicenter observational cohort study. J Clin Gastroenterol 2008; 42: 1040-1046 [PMID: 18719507 DOI: 10.1097/MCG.0b013e31815853e0]

78	Hong W, Sun X, Zhu Q. Endoscopic stenting for malignant hilar biliary obstruction: should it be metal or plastic and unilateral or bilateral? Eur J Gastroenterol Hepatol 2013; 25: 1105-1112 [PMID: 23542449 DOI: 10.1097/MEG.0b013e328360b9ec]

79	Puli SR, Kalva N, Pamulaparthy SR, Bechtold ML, Cashman MD, Volmar FH, Dhillon S, Shekleton MF, Estes NC, Carr-Locke D. Bilateral and unilateral stenting for malignant hilar obstruction: a systematic review and meta-analysis. Indian J Gastroenterol 2013; 32: 355-362 [PMID: 24214663 DOI: 10.1007/s12664-013-0413-3]

80	Lee TH, Moon JH, Park SH. Bilateral metallic stenting in malignant hilar obstruction. Clin Endosc 2014; 47: 440-446 [PMID: 25325005 DOI: 10.5946/ce.2014.47.5.440]

81	Hong W, Chen S, Zhu Q, Chen H, Pan J, Huang Q. Bilateral stenting methods for hilar biliary obstructions. Clinics (Sao Paulo) 2014; 69: 647-652 [PMID: 25318098 DOI: 10.6061/clinics/2014(09)12]

82	Liu F, Li Y, Wei Y, Li B. Preoperative biliary drainage before resection for hilar cholangiocarcinoma: whether or not? A systematic review. Dig Dis Sci 2011; 56: 663-672 [PMID: 20635143 DOI: 10.1007/s10620-010-1338-7]

83	Paik WH, Loganathan N, Hwang JH. Preoperative biliary drainage in hilar cholangiocarcinoma: When and how? World J Gastrointest Endosc 2014; 6: 68-73 [PMID: 24634710 DOI: 10.4253/wjge.v6.i3.68]

84	Cui PJ, Yao J, Zhao YJ, Han HZ, Yang J. Biliary stenting with or without sphincterotomy for malignant biliary obstruction: a meta-analysis. World J Gastroenterol 2014; 20: 14033-14039 [PMID: 25320543 DOI: 10.3748/wjg.v20.i38.14033]

85	Prichard D, Byrne MF. Endoscopic ultrasound guided biliary and pancreatic duct interventions. World J Gastrointest Endosc 2014; 6: 513-524 [PMID: 25400865 DOI: 10.4253/wjge.v6.i11.513]

86	Fabbri C, Luigiano C, Lisotti A, Cennamo V, Virgilio C, Caletti G, Fusaroli P. Endoscopic ultrasound-guided treatments: are we getting evidence based--a systematic review. World J Gastroenterol 2014; 20: 8424-8448 [PMID: 25024600 DOI: 10.3748/wjg.v20.i26.8424]

87	Khashab MA, Valeshabad AK, Modayil R, Widmer J, Saxena P, Idrees M, Iqbal S, Kalloo AN, Stavropoulos SN. EUS-guided biliary drainage by using a standardized approach for malignant biliary obstruction: rendezvous versus direct transluminal techniques (with videos). Gastrointest Endosc 2013; 78: 734-741 [PMID: 23886353 DOI: 10.1016/j.gie.2013.05.013]

88	Artifon EL, Marson FP, Gaidhane M, Kahaleh M, Otoch JP. Hepaticogastrostomy or choledochoduodenostomy for distal malignant biliary obstruction after failed ERCP: is there any difference? Gastrointest Endosc 2015; 81: 950-959 [PMID: 25500330 DOI: 10.1016/j.gie.2014.09.047]

89	Bories E, Pesenti C, Caillol F, Lopes C, Giovannini M. Transgastric endoscopic ultrasonography-guided biliary drainage: results of a pilot study. Endoscopy 2007; 39: 287-291 [PMID: 17357952 DOI: 10.1055/s-2007-966212]

90	Fabbri C, Luigiano C, Fuccio L, Polifemo AM, Ferrara F, Ghersi S, Bassi M, Billi P, Maimone A, Cennamo V, Masetti M, Jovine E, D’Imperio N. EUS-guided biliary drainage with placement of a new partially covered biliary stent for palliation of malignant biliary obstruction: a case series. Endoscopy 2011; 43: 438-441 [PMID: 21271507 DOI: 10.1055/s-0030-1256097]

91	Kim TH, Kim SH, Oh HJ, Sohn YW, Lee SO. Endoscopic ultrasound-guided biliary drainage with placement of a fully covered metal stent for malignant biliary obstruction. World J Gastroenterol 2012; 18: 2526-2532 [PMID: 22654450 DOI: 10.3748/wjg.v18.i20.2526]

92	Dhir V, Itoi T, Khashab MA, Park do H, Yuen Bun Teoh A, Attam R, Messallam A, Varadarajulu S, Maydeo A. Multicenter comparative evaluation of endoscopic placement of expandable metal stents for malignant distal common bile duct obstruction by ERCP or EUS-guided approach. Gastrointest Endosc 2015; 81: 913-923 [PMID: 25484326 DOI: 10.1016/j.gie.2014.09.054]

93	Park do H, Koo JE, Oh J, Lee YH, Moon SH, Lee SS, Seo DW, Lee SK, Kim MH. EUS-guided biliary drainage with one-step placement of a fully covered metal stent for malignant biliary obstruction: a prospective feasibility study. Am J Gastroenterol 2009; 104: 2168-2174 [PMID: 19513026 DOI: 10.1038/ajg.2009.254]

94	Siddiqui AA, Sreenarasimhaiah J, Lara LF, Harford W, Lee C, Eloubeidi MA. Endoscopic ultrasound-guided transduodenal placement of a fully covered metal stent for palliative biliary drainage in patients with malignant biliary obstruction. Surg Endosc 2011; 25: 549-555 [PMID: 20632191 DOI: 10.1007/s00464-010-1216-6]

95	Horaguchi J, Fujita N, Noda Y, Kobayashi G, Ito K, Koshita S, Kanno Y, Ogawa T, Masu K, Hashimoto S, Ishii S. Metallic stent deployment in endosonography-guided biliary drainage: long-term follow-up results in patients with bilio-enteric anastomosis. Dig Endosc 2012; 24: 457-461 [PMID: 23078440 DOI: 10.1111/j.1443-1661.2012.01316.x]

96	Kawakubo K, Isayama H, Kato H, Itoi T, Kawakami H, Hanada K, Ishiwatari H, Yasuda I, Kawamoto H, Itokawa F, Kuwatani M, Iiboshi T, Hayashi T, Doi S, Nakai Y. Multicenter retrospective study of endoscopic ultrasound-guided biliary drainage for malignant biliary obstruction in Japan. J Hepatobiliary Pancreat Sci 2014; 21: 328-334 [PMID: 24026963 DOI: 10.1002/jhbp.27]

97	Martins FP, Rossini LG, Ferrari AP. Migration of a covered metallic stent following endoscopic ultrasound-guided hepaticogastrostomy: fatal complication. Endoscopy 2010; 42 Suppl 2: E126-E127 [PMID: 20405376 DOI: 10.1055/s-0029-1243911]

98	Song TJ, Hyun YS, Lee SS, Park do H, Seo DW, Lee SK, Kim MH. Endoscopic ultrasound-guided choledochoduodenostomies with fully covered self-expandable metallic stents. World J Gastroenterol 2012; 18: 4435-4440 [PMID: 22969210 DOI: 10.3748/wjg.v18.i32.4435]

99	Park do H, Jeong SU, Lee BU, Lee SS, Seo DW, Lee SK, Kim MH. Prospective evaluation of a treatment algorithm with enhanced guidewire manipulation protocol for EUS-guided biliary drainage after failed ERCP (with video). Gastrointest Endosc 2013; 78: 91-101 [PMID: 23523301 DOI: 10.1016/j.gie.2013.01.042]

100	Giovannini M, Pesenti C, Bories E, Caillol F, Raoul JL. EUS guided hepatico-gastrostomy using a new design partially covered stent (GIOBOR Stent). Gastrointest Endosc 2012; 75 4S: AB441 [DOI: 10.1016/j.gie.2012.03.1188]

101	Galasso D, Bories E, Caillol F, Forero Pineros EA, Pesenti C, Giovannini M. Feasibility of endoscopic ultrasound-guided hepaticogastrostomy in a patient with previous gastric banding. Endoscopy 2013; 45 Suppl 2 UCTN: E233-E234 [PMID: 23945925 DOI: 10.1055/s-0033-1344322]

102	Song TJ, Lee SS, Park do H, Seo DW, Lee SK, Kim MH. Preliminary report on a new hybrid metal stent for EUS-guided biliary drainage (with videos). Gastrointest Endosc 2014; 80: 707-711 [PMID: 25053527 DOI: 10.1016/j.gie.2014.05.327]

103	Itoi T, Binmoeller KF. EUS-guided choledochoduodenostomy by using a biflanged lumen-apposing metal stent. Gastrointest Endosc 2014; 79: 715 [PMID: 24424399 DOI: 10.1016/j.gie.2013.11.021]

104	Perez-Miranda M, De la Serna Higuera C, Gil-Simon P, Hernandez V, Diez-Redondo P, Fernandez-Salazar L. EUS-guided choledochoduodenostomy with lumen-apposing metal stent after failed rendezvous in synchronous malignant biliary and gastric outlet obstruction (with video). Gastrointest Endosc 2014; 80: 342; discussion 343-344 [PMID: 24814773 DOI: 10.1016/j.gie.2014.03.010]

105	Itoi T, Ikeuchi N, Tonozuka R, Mukai S, Sofuni A. EUS-guided choledochojejunostomy with a lumen-apposing metal stent in a post-Whipple patient. Gastrointest Endosc 2015; 81: 1259-1260 [PMID: 25440682 DOI: 10.1016/j.gie.2014.08.033]

106	Glessing BR, Mallery S, Freeman ML, Newcomb MD, Arain MA. EUS-guided choledochoduodenostomy with a lumen-apposing metal stent before duodenal stent placement for malignant biliary and duodenal obstruction. Gastrointest Endosc 2015; 81: 1019-1020 [PMID: 25450606 DOI: 10.1016/j.gie.2014.09.061]

107	Ross AS, Kozarek RA. Therapeutic pancreatic endoscopy. Dig Liver Dis 2010; 42: 749-756 [PMID: 20554487 DOI: 10.1016/j.dld.2010.05.003]

108	Gupta R, Reddy DN. Stent selection for both biliary and pancreatic strictures caused by chronic pancreatitis: multiple plastic stents or metallic stents? J Hepatobiliary Pancreat Sci 2011; 18: 636-639 [PMID: 21644060 DOI: 10.1007/s00534-011-0405-6]

109	Dumonceau JM, Delhaye M, Tringali A, Dominguez-Munoz JE, Poley JW, Arvanitaki M, Costamagna G, Costea F, Devière J, Eisendrath P, Lakhtakia S, Reddy N, Fockens P, Ponchon T, Bruno M. Endoscopic treatment of chronic pancreatitis: European Society of Gastrointestinal Endoscopy (ESGE) Clinical Guideline. Endoscopy 2012; 44: 784-800 [PMID: 22752888 DOI: 10.1055/s-0032-1309840]

110	Dumonceau JM. Endoscopic therapy for chronic pancreatitis. Gastrointest Endosc Clin N Am 2013; 23: 821-832 [PMID: 24079792 DOI: 10.1016/j.giec.2013.06.004]

111	Costamagna G, Bulajic M, Tringali A, Pandolfi M, Gabbrielli A, Spada C, Petruzziello L, Familiari P, Mutignani M. Multiple stenting of refractory pancreatic duct strictures in severe chronic pancreatitis: long-term results. Endoscopy 2006; 38: 254-259 [PMID: 16528652 DOI: 10.1055/s-2005-921069]

112	Eleftherladis N, Dinu F, Delhaye M, Le Moine O, Baize M, Vandermeeren A, Hookey L, Devière J. Long-term outcome after pancreatic stenting in severe chronic pancreatitis. Endoscopy 2005; 37: 223-230 [PMID: 18556820 DOI: 10.1055/s-2005-860988]

113	Sauer B, Talreja J, Ellen K, Ku J, Shami VM, Kahaleh M. Temporary placement of a fully covered self-expandable metal stent in the pancreatic duct for management of symptomatic refractory chronic pancreatitis: preliminary data (with videos). Gastrointest Endosc 2008; 68: 1173-1178 [PMID: 19028226 DOI: 10.1016/j.gie.2008.06.011]

114	Park do H, Kim MH, Moon SH, Lee SS, Seo DW, Lee SK. Feasibility and safety of placement of a newly designed, fully covered self-expandable metal stent for refractory benign pancreatic ductal strictures: a pilot study (with video). Gastrointest Endosc 2008; 68: 1182-1189 [PMID: 19028228 DOI: 10.1016/j.gie.2008.07.027]

115	Moon SH, Kim MH, Park do H, Song TJ, Eum J, Lee SS, Seo DW, Lee SK. Modified fully covered self-expandable metal stents with antimigration features for benign pancreatic-duct strictures in advanced chronic pancreatitis, with a focus on the safety profile and reducing migration. Gastrointest Endosc 2010; 72: 86-91 [PMID: 20493483 DOI: 10.1016/j.gie.2010.01.063]

116	Giacino C, Grandval P, Laugier R. Fully covered self-expanding metal stents for refractory pancreatic duct strictures in chronic pancreatitis. Endoscopy 2012; 44: 874-877 [PMID: 22826158 DOI: 10.1055/s-0032-1309774]

117	Akbar A, Baron TH. Covered self-expanding metal stent use in the pancreatic duct: a case series. Endoscopy 2012; 44: 869-873 [PMID: 22752885 DOI: 10.1055/s-0032-1309835]

118	Shen Y, Liu M, Chen M, Li Y, Lu Y, Zou X. Covered metal stent or multiple plastic stents for refractory pancreatic ductal strictures in chronic pancreatitis: a systematic review. Pancreatology 2014; 14: 87-90 [PMID: 24650959 DOI: 10.1016/j.pan.2013.12.005]

119	Deviere J. Pancreatic stents. Gastrointest Endosc Clin N Am 2011; 21: 499-510, ix [PMID: 21684467 DOI: 10.1016/j.giec.2011.04.011]

120	Qin Z, Linghu EQ. Temporary placement of a fully covered self-expandable metal stent in the pancreatic duct for aiding extraction of large pancreatic duct stones: preliminary data. Eur J Gastroenterol Hepatol 2014; 26: 1273-1277 [PMID: 25171021 DOI: 10.1097/MEG.0000000000000185]

121	Seicean A, Vultur S. Endoscopic therapy in chronic pancreatitis: current perspectives. Clin Exp Gastroenterol 2015; 8: 1-11 [PMID: 25565876 DOI: 10.2147/CEG.S43096]

122	Fujii-Lau LL, Levy MJ. Endoscopic ultrasound-guided pancreatic duct drainage. J Hepatobiliary Pancreat Sci 2015; 22: 51-57 [PMID: 25385528 DOI: 10.1002/jhbp.187]

123	Itoi T, Sofuni A, Tsuchiya T, Ishii K, Ikeuchi N, Tanaka R, Umeda J, Tonozuka R, Honjo M, Mukai S, Takayama T, Moriyasu F. Initial evaluation of a new plastic pancreatic duct stent for endoscopic ultrasonography-guided placement. Endoscopy 2015; 47: 462-465 [PMID: 25590174 DOI: 10.1055/s-0034-1391083]

124	Blatnik JA, Hardacre JM. Management of pancreatic fistulas. Surg Clin North Am 2013; 93: 611-617 [PMID: 23632147 DOI: 10.1016/j.suc.2013.02.011]

125	Larsen M, Kozarek R. Management of pancreatic ductal leaks and fistulae. J Gastroenterol Hepatol 2014; 29: 1360-1370 [PMID: 24650171 DOI: 10.1111/jgh.12574]

126	Varadarajulu S, Rana SS, Bhasin DK. Endoscopic therapy for pancreatic duct leaks and disruptions. Gastrointest Endosc Clin N Am 2013; 23: 863-892 [PMID: 24079795 DOI: 10.1016/j.giec.2013.06.008]

127	Gane E, Fata’ar S, Hamilton I. Management of a persistent pancreatic fistula secondary to a ruptured pseudocyst with endoscopic insertion of an expandable metal stent. Endoscopy 1994; 26: 254-256 [PMID: 8026377 DOI: 10.1055/s-2007-1008955]

128	Bracher GA, Manocha AP, DeBanto JR, Gates LK, Slivka A, Whitcomb DC, Bleau BL, Ulrich CD, Martin SP. Endoscopic pancreatic duct stenting to treat pancreatic ascites. Gastrointest Endosc 1999; 49: 710-715 [PMID: 10343214 DOI: 10.1016/S0016-5107(99)70287-7]

129	Baron TH, Ferreira LE. Covered expandable metal stent placement for treatment of a refractory pancreatic duct leak. Gastrointest Endosc 2007; 66: 1239-1241 [PMID: 18061727 DOI: 10.1016/j.gie.2007.04.023]

130	Ramia JM, Fabregat J, Pérez-Miranda M, Figueras J. [Disconnected panreatic duct syndrome]. Cir Esp 2014; 92: 4-10 [PMID: 23845879 DOI: 10.1016/j.ciresp.2013.02.024]

131	Kanth R, Samji NS, Inaganti A, Komanapalli SD, Rivera R, Antillon MR, Roy PK. Endotherapy in symptomatic pancreas divisum: a systematic review. Pancreatology 2014; 14: 244-250 [PMID: 25062871 DOI: 10.1016/j.pan.2014.05.796]

132	Vitale GC, Vitale M, Vitale DS, Binford JC, Hill B. Long-term follow-up of endoscopic stenting in patients with chronic pancreatitis secondary to pancreas divisum. Surg Endosc 2007; 21: 2199-2202 [PMID: 17514389 DOI: 10.1007/s00464-007-9347-0]

133	Neuhaus H. Therapeutic pancreatic endoscopy. Endoscopy 2002; 34: 54-62 [PMID: 11778130 DOI: 10.1055/s-2002-19391]

134	Testoni PA. Endoscopic stenting in benign pancreatic diseases. JOP 2007; 8: 141-150 [PMID: 17228146]

135	Rustagi T, Golioto M. Diagnosis and therapy of pancreas divisum by ERCP: a single center experience. J Dig Dis 2013; 14: 93-99 [PMID: 23134252 DOI: 10.1111/1751-2980.12004]

136	Bhasin DK, Rana SS, Sidhu RS, Nagi B, Thapa BR, Poddar U, Gupta R, Sinha SK, Singh K. Clinical presentation and outcome of endoscopic therapy in patients with symptomatic chronic pancreatitis associated with pancreas divisum. JOP 2013; 14: 50-56 [PMID: 23306335 DOI: 10.6092/1590-8577/1218]

137	Yamamoto N, Isayama H, Sasahira N, Tsujino T, Nakai Y, Miyabayashi K, Mizuno S, Kogure H, Sasaki T, Hirano K, Tada M, Koike K. Endoscopic minor papilla balloon dilation for the treatment of symptomatic pancreas divisum. Pancreas 2014; 43: 927-930 [PMID: 24826883 DOI: 10.1097/MPA.0000000000000148]

138	Mariani A, Di Leo M, Petrone MC, Arcidiacono PG, Giussani A, Zuppardo RA, Cavestro GM, Testoni PA. Outcome of endotherapy for pancreas divisum in patients with acute recurrent pancreatitis. World J Gastroenterol 2014; 20: 17468-17475 [PMID: 25516660 DOI: 10.3748/wjg.v20.i46.17468]

139	Buxbaum J. The role of endoscopic retrograde cholangiopancreatography in patients with pancreatic disease. Gastroenterol Clin North Am 2012; 41: 23-45 [PMID: 22341248 DOI: 10.1016/j.gtc.2011.12.010]

140	Liao Z, Li ZS, Wang W, Ye Z, Lai XW, Wang XT, Zou DW. Endoscopic placement of a covered self-expandable metal stent in the minor papilla in patients with chronic pancreatitis and pancreas divisum. Endoscopy 2009; 41 Suppl 2: E302-E303 [PMID: 19921601 DOI: 10.1055/s-0029-1214851]

141	Baron TH, Irani S. Prevention of post-ERCP pancreatitis. Minerva Med 2014; 105: 129-136 [PMID: 24727877]

142	Lee TH, Park do H. Endoscopic prevention of post-endoscopic retrograde cholangiopancreatography pancreatitis. World J Gastroenterol 2014; 20: 16582-16595 [PMID: 25469026 DOI: 10.3748/wjg.v20.i44.16582]

143	Shi QQ, Ning XY, Zhan LL, Tang GD, Lv XP. Placement of prophylactic pancreatic stents to prevent post-endoscopic retrograde cholangiopancreatography pancreatitis in high-risk patients: a meta-analysis. World J Gastroenterol 2014; 20: 7040-7048 [PMID: 24944500 DOI: 10.3748/wjg.v20.i22.7040]

144	Hauser G, Milosevic M, Stimac D, Zerem E, Jovanović P, Blazevic I. Preventing post-endoscopic retrograde cholangiopancreatography pancreatitis: what can be done? World J Gastroenterol 2015; 21: 1069-1080 [PMID: 25632179 DOI: 10.3748/wjg.v21.i4.1069]

145	Mazaki T, Mado K, Masuda H, Shiono M. Prophylactic pancreatic stent placement and post-ERCP pancreatitis: an updated meta-analysis. J Gastroenterol 2014; 49: 343-355 [PMID: 23612857 DOI: 10.1007/s00535-013-0806-1]

146	Kerdsirichairat T, Attam R, Arain M, Bakman Y, Radosevich D, Freeman M. Urgent ERCP with pancreatic stent placement or replacement for salvage of post-ERCP pancreatitis. Endoscopy 2014; 46: 1085-1094 [PMID: 25216326 DOI: 10.1055/s-0034-1377750]

147	Rustagi T, Jamidar PA. Endoscopic retrograde cholangiopancreatography (ERCP)-related adverse events: post-ERCP pancreatitis. Gastrointest Endosc Clin N Am 2015; 25: 107-121 [PMID: 25442962 DOI: 10.1016/j.giec.2014.09.006]

148	Afghani E, Akshintala VS, Khashab MA, Law JK, Hutfless SM, Kim KJ, Lennon AM, Kalloo AN, Singh VK. 5-Fr vs. 3-Fr pancreatic stents for the prevention of post-ERCP pancreatitis in high-risk patients: a systematic review and network meta-analysis. Endoscopy 2014; 46: 573-580 [PMID: 24830399 DOI: 10.1055/s-0034-1365701]

149	Dumonceau JM, Andriulli A, Elmunzer BJ, Mariani A, Meister T, Deviere J, Marek T, Baron TH, Hassan C, Testoni PA, Kapral C. Prophylaxis of post-ERCP pancreatitis: European Society of Gastrointestinal Endoscopy (ESGE) Guideline - updated June 2014. Endoscopy 2014; 46: 799-815 [PMID: 25148137 DOI: 10.1055/s-0034-1377875]

150	Catalano MF, Geenen JE, Schmalz MJ, Johnson GK, Dean RS, Hogan WJ. Treatment of pancreatic pseudocysts with ductal communication by transpapillary pancreatic duct endoprosthesis. Gastrointest Endosc 1995; 42: 214-218 [PMID: 7498685 DOI: 10.1016/S0016-5107(95)70094-3]

151	Binmoeller KF, Seifert H, Walter A, Soehendra N. Transpapillary and transmural drainage of pancreatic pseudocysts. Gastrointest Endosc 1995; 42: 219-224 [PMID: 7498686 DOI: 10.1016/S0016-5107(95)70095-1]

152	Varadarajulu S, Christein JD, Tamhane A, Drelichman ER, Wilcox CM. Prospective randomized trial comparing EUS and EGD for transmural drainage of pancreatic pseudocysts (with videos). Gastrointest Endosc 2008; 68: 1102-1111 [PMID: 18640677 DOI: 10.1016/j.gie.2008.04.028]

153	Mangiavillano B, Arcidiacono PG, Masci E, Mariani A, Petrone MC, Carrara S, Testoni S, Testoni PA. Single-step versus two-step endo-ultrasonography-guided drainage of pancreatic pseudocyst. J Dig Dis 2012; 13: 47-53 [PMID: 22188916 DOI: 10.1111/j.1751-2980.2011.00547]

154	Park DH, Lee SS, Moon SH, Choi SY, Jung SW, Seo DW, Lee SK, Kim MH. Endoscopic ultrasound-guided versus conventional transmural drainage for pancreatic pseudocysts: a prospective randomized trial. Endoscopy 2009; 41: 842-848 [PMID: 19798610 DOI: 10.1055/s-0029-1215133]

155	Panamonta N, Ngamruengphong S, Kijsirichareanchai K, Nugent K, Rakvit A. Endoscopic ultrasound-guided versus conventional transmural techniques have comparable treatment outcomes in draining pancreatic pseudocysts. Eur J Gastroenterol Hepatol 2012; 24: 1355-1362 [PMID: 23114741 DOI: 10.1097/MEG.0b013e32835871eb]

156	Arvanitakis M, Delhaye M, Bali MA, Matos C, De Maertelaer V, Le Moine O, Devière J. Pancreatic-fluid collections: a randomized controlled trial regarding stent removal after endoscopic transmural drainage. Gastrointest Endosc 2007; 65: 609-619 [PMID: 17324413 DOI: 10.1016/j.gie.2006.06.083]

157	Baron TH, Harewood GC, Morgan DE, Yates MR. Outcome differences after endoscopic drainage of pancreatic necrosis, acute pancreatic pseudocysts, and chronic pancreatic pseudocysts. Gastrointest Endosc 2002; 56: 7-17 [PMID: 12085029 DOI: 10.1067/mge.2002.125106]

158	Hookey LC, Debroux S, Delhaye M, Arvanitakis M, Le Moine O, Devière J. Endoscopic drainage of pancreatic-fluid collections in 116 patients: a comparison of etiologies, drainage techniques, and outcomes. Gastrointest Endosc 2006; 63: 635-643 [PMID: 16564865 DOI: 10.1016/j.gie.2005.06.028]

159	Siddiqui AA, Dewitt JM, Strongin A, Singh H, Jordan S, Loren DE, Kowalski T, Eloubeidi MA. Outcomes of EUS-guided drainage of debris-containing pancreatic pseudocysts by using combined endoprosthesis and a nasocystic drain. Gastrointest Endosc 2013; 78: 589-595 [PMID: 23660566 DOI: 10.1016/j.gie.2013.03.1337]

160	Varadarajulu S, Phadnis MA, Christein JD, Wilcox CM. Multiple transluminal gateway technique for EUS-guided drainage of symptomatic walled-off pancreatic necrosis. Gastrointest Endosc 2011; 74: 74-80 [PMID: 21612778 DOI: 10.1016/j.gie.2011.03.1122]

161	Fabbri C, Luigiano C, Cennamo V, Polifemo AM, Barresi L, Jovine E, Traina M, D’Imperio N, Tarantino I. Endoscopic ultrasound-guided transmural drainage of infected pancreatic fluid collections with placement of covered self-expanding metal stents: a case series. Endoscopy 2012; 44: 429-433 [PMID: 22382852 DOI: 10.1055/s-0031-1291624]

162	Weilert F, Binmoeller KF, Shah JN, Bhat YM, Kane S. Endoscopic ultrasound-guided drainage of pancreatic fluid collections with indeterminate adherence using temporary covered metal stents. Endoscopy 2012; 44: 780-783 [PMID: 22791588 DOI: 10.1055/s-0032-1309839]

163	Penn DE, Draganov PV, Wagh MS, Forsmark CE, Gupte AR, Chauhan SS. Prospective evaluation of the use of fully covered self-expanding metal stents for EUS-guided transmural drainage of pancreatic pseudocysts. Gastrointest Endosc 2012; 76: 679-684 [PMID: 22732874 DOI: 10.1016/j.gie.2012.04.457]

164	Bang JY, Hawes R, Bartolucci A, Varadarajulu S. Efficacy of metal and plastic stents for transmural drainage of pancreatic fluid collections: a systematic review. Dig Endosc 2015; 27: 486-498 [PMID: 25515976 DOI: 10.1111/den.12418]

165	Lee BU, Song TJ, Lee SS, Park do H, Seo DW, Lee SK, Kim MH. Newly designed, fully covered metal stents for endoscopic ultrasound (EUS)-guided transmural drainage of peripancreatic fluid collections: a prospective randomized study. Endoscopy 2014; 46: 1078-1084 [PMID: 25412095 DOI: 10.1055/s-0034-1390871]

166	Song TJ, Lee SS. Endoscopic drainage of pseudocysts. Clin Endosc 2014; 47: 222-226 [PMID: 24944985 DOI: 10.5946/ce.2014.47.3.222]

167	Gornals JB, De la Serna-Higuera C, Sánchez-Yague A, Loras C, Sánchez-Cantos AM, Pérez-Miranda M. Endosonography-guided drainage of pancreatic fluid collections with a novel lumen-apposing stent. Surg Endosc 2013; 27: 1428-1434 [PMID: 23232994 DOI: 10.1007/s00464-012-2591-y]

168	Chandran S, Efthymiou M, Kaffes A, Chen JW, Kwan V, Murray M, Williams D, Nguyen NQ, Tam W, Welch C, Chong A, Gupta S, Devereaux B, Tagkalidis P, Parker F, Vaughan R. Management of pancreatic collections with a novel endoscopically placed fully covered self-expandable metal stent: a national experience (with videos). Gastrointest Endosc 2015; 81: 127-135 [PMID: 25092104]

169	Walter D, Will U, Sanchez-Yague A, Brenke D, Hampe J, Wollny H, López-Jamar JM, Jechart G, Vilmann P, Gornals JB, Ullrich S, Fähndrich M, de Tejada AH, Junquera F, Gonzalez-Huix F, Siersema PD, Vleggaar FP. A novel lumen-apposing metal stent for endoscopic ultrasound-guided drainage of pancreatic fluid collections: a prospective cohort study. Endoscopy 2015; 47: 63-67 [PMID: 25268308 DOI: 10.1055/s-0034-1378113]

170	Shah RJ, Shah JN, Waxman I, Kowalski TE, Sanchez-Yague A, Nieto J, Brauer BC, Gaidhane M, Kahaleh M. Safety and efficacy of endoscopic ultrasound-guided drainage of pancreatic fluid collections with lumen-apposing covered self-expanding metal stents. Clin Gastroenterol Hepatol 2015; 13: 747-752 [PMID: 25290534 DOI: 10.1016/j.cgh.2014.09.047]

171	Bapaye A, Itoi T, Kongkam P, Dubale N, Mukai S. New fully covered large-bore wide-flare removable metal stent for drainage of pancreatic fluid collections: results of a multicenter study. Dig Endosc 2015; 27: 499-504 [PMID: 25545957 DOI: 10.1111/den.12421]

172	Boumitri C, Parra V, Kedia P, Sharaiha RZ, Kahaleh M. Pancreatic necrosectomy by using a lumen-apposing metal stent. Gastrointest Endosc 2015; 81: 230-231 [PMID: 24929490 DOI: 10.1016/j.gie.2014.04.032]

173	Parra V, Kedia P, Zerbo S, Sharaiha RZ, Kahaleh M. Drainage of infected pancreatic necrosis by using 2 lumen-apposing metal stents, a nasocystic drain, and hydrogen peroxide. Gastrointest Endosc 2015; 81: 1261 [PMID: 25442087 DOI: 10.1016/j.gie.2014.08.009]

174	Mekaroonkamol P, Willingham FF, Chawla S. Endoscopic management of pain in pancreatic cancer. JOP 2015; 16: 33-40 [PMID: 25640780 DOI: 10.6092/1590-8577/2890]

175	Costamagna G, Mutignani M. Pancreatic stenting for malignant ductal obstruction. Dig Liver Dis 2004; 36: 635-638 [PMID: 15460850 DOI: 10.1016/j.dld.2004.05.001]

176	Wehrmann T, Riphaus A, Frenz MB, Martchenko K, Stergiou N. Endoscopic pancreatic duct stenting for relief of pancreatic cancer pain. Eur J Gastroenterol Hepatol 2005; 17: 1395-1400 [PMID: 16292095]

177	Sharaiha RZ, Widmer J, Kahaleh M. Palliation of pancreatic ductal obstruction in pancreatic cancer. Gastrointest Endosc Clin N Am 2013; 23: 917-923 [PMID: 24079797 DOI: 10.1016/j.giec.2013.06.010]

178	Henry WA, Singh VK, Kalloo AN, Khashab MA. Simultaneous EUS-guided transbulbar pancreaticobiliary drainage (with video). Gastrointest Endosc 2012; 76: 1065-107, 1065-107, [PMID: 22197478 DOI: 10.1016/j.gie.2011.09.046]

FOOTNOTES

Conflict-of-interest statement: The authors declare no conflict of interests.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: April 23, 2015

First decision: April 30, 2015

Article in press: July 8, 2015

P- Reviewer: Chowdhury P, De Palma GD, Lakatos PL, Talukdar R    S- Editor: Ma YJ    L- Editor: A    E- Editor: Ma S