**Name of Journal: *World Journal of Gastrointestinal Endoscopy***

**ESPS Manuscript NO: 20041**

**Manuscript Type: Review**

**Colorectal endoscopic submucosal dissection: Recent technical advances for safe and successful procedures**

Yamamoto K *et al*. Safe techniques in colorectal ESD

**Katsumi Yamamoto, Tomoki Michida, Tsutomu Nishida, Shiro Hayashi, Masafumi Naito, Toshifumi Ito**

**Katsumi Yamamoto, Masafumi Naito, Toshifumi Ito,** Department of Gastroenterology, Japan Community Healthcare Organization Osaka Hospital, Osaka 553-0003, Japan

**Tomoki Michida,** Third Department of Internal Medicine, Teikyo University Medical Center, Chiba 299-0111, Japan

**Tsutomu Nishida, Shiro Hayashi,** Department of Gastroenterology, Toyonaka Municipal Hospital, Osaka 560-8565, Japan

**Author contributions:** Yamamoto K designed the clip-flap method and planned and wrote the manuscript; Michida T, Nishida T, Hayashi S, Naito M and Ito T reviewed this article and contributed valuable comments.

**Conflict-of-interest statement**: Authors have no conflict of interests to declare for this article.

**Open-Access:** This article is an open-access article which was selected byan in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

**Correspondence to: Katsumi Yamamoto, MD, PhD,** Department of Gastroenterology, Japan Community Healthcare Organization Osaka Hospital, 4-2-78 Fukushima, Fukushima-ku, Osaka, 553-0003, Japan. yamamoto-kts@umin.ac.jp

**Telephone:** +81-6-64415451

**Fax:** +81-6-64458900

**Received:** May 27, 2015

**Peer-review started:** May 29, 2015

**First decision:** July 6, 2015

**Revised:** August 27, 2015

**Accepted:** September 7, 2015

**Article in press:**

**Published online:**

**Abstract**

Endoscopic submucosal dissection (ESD) is very useful in *en bloc* resection of large superficial colorectal tumors but is a technically difficult procedure because the colonic wall is thin and endoscopic maneuverability is poor because of colonic flexure and extensibility. A high risk of perforation has been reported in colorectal ESD. To prevent complications such as perforation and unexpected bleeding, it is crucial to ensure good visualization of the submucosal layer by creating a mucosal flap, which is an exfoliated mucosa for inserting the tip of the endoscope under it. The creation of a mucosal flap is often technically difficult; however, various types of equipment, appropriate strategy, and novel procedures including our clip-flap method, appear to facilitate mucosal flap creation, improving the safety and success rate of ESD. Favorable treatment outcomes with colorectal ESD have already been reported in many advanced institutions, and appropriate understanding of techniques and development of training systems are required for world-wide standardization of colorectal ESD. Here, we describe recent technical advances for safe and successful colorectal ESD.

**Key words**: Endoscopic submucosal dissection; Colorectal tumors; Mucosal flap; Clip-flap method

© **The Author(s) 2015**. Published by Baishideng Publishing Group Inc. All rights reserved.

**Core tip:** Endoscopic submucosal dissection (ESD) is useful for *en bloc* resection of large colorectal tumors but is a technically difficult procedure. Good visualization of the submucosal layer is crucial for safely and successfully performing colorectal ESD because poor visualization of the operative field may result in perforation or unexpected bleeding. Creating a mucosal flap solves these problems; however, it is the process that requires the most skill in this procedure. To facilitate the mucosal flap creation, we developed the clip-flap method, which is simple and very effective for colorectal ESD. We described recent advances in colorectal ESD techniques and devices.

Yamamoto K, Michida T, Nishida T, Hayashi S, Naito M, Ito T. Colorectal endoscopic submucosal dissection: Recent technical advances for safe and successful procedures. *World J Gastrointest Endosc* 2015; In press

**INTRODUCTION**

Endoscopic submucosal dissection (ESD) was recently developed for *en bloc* resection of early stage gastrointestinal neoplasms with negligible risk of lymph node metastasis[1-5]. Higher rates of *en bloc* resection of large colorectal tumors have been reported with colorectal ESD than with endoscopic mucosal resection (EMR); however, colorectal ESD confers an increased risk of perforation[6-10]. A high degree of technical skill and the development of specific strategies for colorectal ESD are required because of the anatomical characteristics of the colon, namely being a long and winding tube with a thinner wall than other regions of the gastrointestinal tract[4,6]. To prevent complications such as perforation and uncontrollable bleeding, it is crucial to maintain good visualization of the submucosal layer to be dissected[4,11,12]. Therefore, the mucosal flap creation is the key procedure[12], although this process is technically challenging. To facilitate the mucosal flap creation, we recently developed the clip-flap method in which an endoclip is initially substituted for the mucosal flap[13-15]. Several types of endoknives were developed and properly utilizing them according to the requirements is also important. In this review, recent advances in techniques using various devices in colorectal ESD will be described.

**INDICATION FOR COLORECTAL ESD**

Before performing colorectal ESD, the determination of the indications for ESD by preoperative examination is highly important. EMR using a snare remains the main treatment for superficial colorectal tumors. However, EMR is not adequate for *en bloc* resection of flat lesions larger than 20 mm in diameter because incomplete removal and local recurrence are occasionally observed[16,17]. The indications for ESD are therefore considered for a tumor when using EMR for *en bloc* resection is difficult. The guidelines on the indications for colorectal ESD were published in Japanese and Spanish academic societies of gastrointestinal endoscopy[18,19]. Basically, the indications for ESD are colorectal tumors for which endoscopic *en bloc* resection is required but *en bloc* resection with EMR is difficult to apply. The primary objective lesions are large colorectal tumors, such as the laterally spreading tumor granular type (LST-G) with a large nodule or the laterally spreading tumor non-granular type (LST-NG)[20,21], which are suspected to be intramucosal or with slightly invaded submucosal cancers > 20 mm in diameter in the preoperative examinations. Large protruding lesions are also indications for colorectal ESD[18,19]. However, an abundance of caution is required to treat large protruding lesions because even experienced endoscopists sometimes cannot avoid discontinuation of submucosal dissection due to severe submucosal fibrosis and retracted muscle[22]. Even if the size of the tumor is less than 20 mm, mucosal lesions with submucosal fibrosis, which cannot be resected with EMR, can be the indications for ESD.

In contrast, the technical simplicity of EMR can permit its utilization for colorectal tumors > 20 mm in diameter when the preoperative diagnosis is adenoma or mucosal cancer in adenoma[18-20], although piecemeal mucosal resection includes the problem of a high local recurrence rate[20]. Magnifying chromoendoscopy for pit pattern observation[23] and magnifying image-enhanced endoscopy [narrow band imaging (NBI)[24,25] or blue laser imaging(BLI)[26], *etc.*] are useful for preoperative differential diagnosis of adenoma, intramucosal cancer, and submucosal invasive cancers. It is better to avoid preoperative biopsy if the endoscopic treatment is planned to be performed because biopsy often causes submucosal fibrosis, complicating further endoscopic treatment[18]. In addition, the endoscope maneuverability should be analyzed before performing ESD because poor endoscope maneuverability may cause incomplete resection or complications[27,28].

**METHOD FOR SAFE AND SUCCESSFUL ESD**

***Preparation and oral intake***

Bowel preparation is required for adequate visualization of the operative field and as prophylaxis against bacterial peritonitis in case of perforation. Patients are restricted to a low-fiber diet on the day before colorectal ESD and are instructed to orally consume 10 mL after the last meal on the day before the procedure. Two–four liters of an electrolyte solution is orally administrated before the procedure[11,29].

In contrast, no food or drink is allowed on the day of the procedure or the following day. Provided that there are no signs or symptoms of complications, patients will begin drinking water on day 1 and have light meals (rice porridge) on day 2. Meals are upgraded to normal food with alcohol excluded from day 2 until day 3-5 or the date of hospital discharge[30-32].

***Sedation and patient’s position***

Light or conscious sedation is appropriate for colorectal ESD because deep sedation makes alteration of the patient’s position difficult and often leads to severe respiratory fluctuations[11]. At our institution, midazolam (2 mg) and pethidine (17.5-35 mg) is initially intravenously administered. Light sedation is maintained with additional administration of midazolam or pethidine during the procedure. In cases where a long procedure duration is expected, the use of dexmedetomidine may be useful in maintaining good sedation levels[33,34]. Use of a carbon dioxide (CO2) insufflation system (UCR; Olympus Co., Tokyo, Japan) is extremely helpful for reducing the patient’s discomfort and risk of peritonitis in case of perforation[35-37]. Excessive air present during the procedure decreases the endoscope maneuverability, but carbon dioxide can be quickly absorbed[35-37]. Yoshida *et al*[38] reported that CO2 insufflation during colorectal ESD was safe even for patients with obstructive ventilator disturbance.

Scopolamine butylbromide (10 mg) is administrated to all patients except those contraindicated because of reduced bowel movement immediately prior to the procedure. Additional doses may be administered during the procedure. Administration of intravenous glucagon[39] or intraluminal peppermint oil[40] may be useful for patients who are contraindicated for scopolamine.

The patient’s position is critical in performing successful colorectal ESD. In principle, the lesion should be moved upward as far as possible against the force of gravity prior to ESD and followed by a postural change to take advantage of the counter-traction of gravity[4,11,41,42]. The direction of gravity can be understood by the pooling of water or indigo carmine dye[11]. However, the intestinal lumen may become narrower or broader on alteration of the patient’s position due to the movement of air. ESD becomes particularly challenging in narrowed lumen. Therefore, it is recommended that ESD should be commenced after each position (supine, prone, left lateral decubitus position, and right lateral decubitus position) has been adequately assessed as far as possible. In case of large lesions, changing the patient’s position during the procedure is often required to ensure optimal operative field[4].

***Selection of endoscope***

ESD is generally performed using a single-channel colonoscope. At our institution, PCF-H290I or CF-H290I (Olympus), which have a water-jet function, are currently predominantly used because the water-jet function is convenient for hemostasis during ESD. Moreover, a gastroendoscope (GIF-HQ290, GIF-Q260J; Olympus) may be used for lesions in the rectum or distal sigmoid colon because the shorter endoscope can be easily operated in such locations[11,43]. In addition, a gastroendoscope can be used to approach lesions from the oral side in retroflexion more easily than with a conventional colonoscope.

Endoscope maneuverability is crucial to precisely perform ESD. ESD is challenging in cases of poor endoscope maneuverability, although experts can overcome these difficulties in most cases. Straightening of the endoscope is important for maintaining good endoscope maneuverability. Single-balloon[44] (OBCU; Olympus) or double-balloon endoscopy systems[45,46] (PB-20; Fujifilm Co., Tokyo, Japan) may be useful in cases of extremely poor maneuverability.

***Distal attachments (Hoods)***

The use of distal attachments is essential in safely performing colorectal ESD. The cutting area can be broadened and visualized with the use of distal attachments during the procedure. The shapes of distal attachments for colorectal ESD are mainly divided into straight types (D-201; Olympus, Figure 1A) and tapered types. Straight distal attachments allow larger working spaces for the operation of endoknives or forceps; however, the submucosal layer must be cut more deeply to insert the attachment under the exfoliated mucosa compared with tapered distal attachments. At our institution, a distal attachment (F-050/020, M-02/03/01; Top Corp., Tokyo, Japan, Figure 1B and C), which is slightly tapered, is attached to the tip of the endoscope. Small-caliber tip transparent hoods (ST-hood; Fujifilm) (Figure 1D) are useful for accessing narrow cutting areas[4,47]. Furthermore, this distal attachment is used for the tunnel[41,48] or pocket-creation method[49].

***Endoknives and high-frequency generators***

Various types of endoknives are used for colorectal ESD. Short-needle knives are the most widely used type of endoknife for colorectal ESD. The DualKnife[50] (Olympus, Figure 2A) is a short-needle endoknife that has a small disk at the tip of a short needle. The FlushknifeBT[51] /Flushknife (Fujifilm, Figure 2B), Jet B-knife (Zeon Medical, Tokyo, Japan, Figure 2C)[52], and Splash needle (Pentax Medical, Tokyo, Japan) are all short-needle knives with a water-jet function that enable submucosal injection without requiring the injection needle to be changed. The HookKnife[53] (Olympus, Figure 2D) has a hook on the tip that enables hooking and cutting of submucosal tissue. The Hookknife is particularly useful when the tangential approach is difficult or submucosal fibrosis is present because the submucosal tissue can be easily hooked and cut with this endoknife. The SBknife Jr[54-56] (Sumitomo Bakelite, Tokyo, Japan, Figure 2E) and Clutch Cutter[57] (Fujifilm) (Figure 2F) are scissor-type endoknives that have a rotation function. Scissor-type endoknives can be easily operated in the manner of forceps even by inexperienced operators. In addition, it can be efficiently operated even in cases were the tangential approach is difficult or endoscope maneuverability is extremely poor, because the submucosal tissue can be dissected simply by grasping, lifting, and applying an electrical current. The ITknife-nano (Olympus, Figure 2G) is an endoknife with an insulator on the tip of the blade that was developed for colorectal or esophageal ESD. Its use may allow increased dissection speeds[21] because it has a long blade between the insulated-tip and the sheath. The Mucosectom[58] (PENTAX, Figure 2H, 2I) and Swanblade (PENTAX, Figure 2J) have blades on an insulated rod that has a rotation function. These endoknives were developed for the safe and rapid dissection of the submucosal layer. At our institution, the Flushknife BT (DK2618JB15/20) is predominantly used. According to the specific situation, other endoknives may be used in conjunction.

A high-frequency generator with an automated control system is required for ESD. At our institution, the VIO 300D (Erbe Elektromedizin GmbH, Tubingen, Germany) is predominantly used. ICC-200 (Erbe) or ESG-100 (Olympus) is also used for colorectal ESD. The settings on each instrument when using short-needle knives (FlushKnifeBT, DualKnife) and hemostatic forceps (FD-410LR, FD-411QR; Olympus) are shown in Table 1[11,50,59].

***Strategies for improving safety and efficacy of ESD***

ESD is usually initiated either from the anal side of the lesion in a forward direction or from the oral side in retroflexion[11,43]. There are benefits and limitations to both methods. Dissection from the anal side can be performed in almost all cases; however, endoscope maneuverability is somewhat unstable, and the treatment of the mucosa just beyond a haustrum or a colonic flexure is occasionally challenging. Dissection from the oral side in retroflexion requires adequate space with a broad lumen; however, endoscope maneuverability is comparatively stable using this method[11,60]. The method selection by endoscopists largely depends on the institutions’ established procedures and lesion location. At our institution, dissection from the anal side is predominantly performed and dissection from the oral side in retroflexion is occasionally performed in cases where approaching from anal side is difficult.

In either case, it is important to start dissecting the submucosa immediately proximal to the tip of the endoscope to avoid complications, such as perforation and unexpected bleeding, caused by blind procedures. Therefore, insertion of a distal attachment under the exfoliated mucosa of the lesion side is a crucial step in safely and effectively dissecting the submucosal layer. The lesional exfoliated mucosa is called the mucosal flap (Figure 3)[12,61]. Formation of the mucosal flap facilitates safe and sequential dissection.

***Submucosal injection, mucosal incision, and deeper cut***

While approaching from the anal side, a solution is injected in the submucosal layer of the anal side of the lesion and then the lesion tends to be more tangentially approached and more easily dissected (Figure 4B). Saline, 0.4% sodium hyaluronate solution (MucoUp; Johnson and Johnson, Tokyo, Japan) (Sigmavisc; Hyaltech Ltd., Livingston, United Kingdom), or 10% glycerin with a small amount of indigo carmine dye and 0.001% epinephrine are usually used as the injected solution[11,41,47,62]. Sodium hyaluronate solution is the most long-acting agent that can be locally injected for colorectal ESD[63]. Suvenyl (2% hyaluronate, Chugai, Tokyo, Japan) or Artz (1% hyaluronate, Seikagaku Corp. Tokyo, Japan) may be used after coordinating their concentrations[4,47,63].

Following submucosal injection, the mucosa adjacent to the lesion is incised with an adequate margin before incision of the submucosal layer. A complete or partial circumferential mucosal incision is initially made according to the institutions’ established procedures or characteristics of the lesion. A partial circumferential mucosal incision has recently been introduced at an increasing number of institutions because initial complete circumferential mucosal incision can make insertion of the distal attachment under the exfoliated mucosa difficult because of the loss of mucosal tension caused by extensive mucosal incision[4,11,30]. At our institution, a partial circumferential mucosal incision from the anal side is usually made (Figure 4C) because it allows widening of the gap between lesional and non-lesional mucosa and greater ease of insertion of the distal attachment under the exfoliated mucosa. In partially circumferential mucosal incision, a complete circumferential mucosal incision is made after the creation of the mucosal flap.

At our institution, mucosal incision with the Flushknife BT is performed with the endocut I mode. Deeper cut of the submucosal layer is performed with the forced coagulation or swift coagulation mode.

***Creation of the mucosal flap***

Insertion of the distal attachment under the exfoliated mucosa is critical in allowing dissection of the submucosal layer while maintaining a good operative field. However, adequate visualization of the submucosal area at the beginning of the dissection is difficult because it is commonly hidden under the exfoliated mucosa. Poor visualization of the submucosal layer to be dissected may cause perforation and unexpected bleeding. To enhance visualization and ensure safe dissection of the submucosal layer, a mucosal flap must be created. Insertion of the distal attachment under the mucosal flap elevates the mucosal flap and provides counter-traction to the submucosal layer that allows easier dissection (Figure 4J). Therefore, creation of the mucosal flap is the most important step of the ESD procedure[12]; however, this process requires the most technical skill. The presence of submucosal fibrosis or vasculature often hinders smooth dissection and vertical approaches make creation of the mucosal flap more challenging. Changing the type of endoknife (Figure 5A-C) or using a tapered-type distal attachment may have utility in cases where the creation of the mucosal flap proves difficult.

***The******Clip-flap method***

To facilitate the mucosal flap creation, we developed the clip-flap method, in which an endoclip is substituted for the mucosal flap until the flap is completed[13-15]. The basic procedure is as follows.

After submucosal injection, the mucosa adjacent to the lesion on the anal side is incised with an adequate margin and then the submucosal layer is cut deeply (Figure 4A-E). The edge of the exfoliated mucosa is clipped with an endoclip (EZ Clip, HX-610-135; Olympus; Figure 4F and G) while lifting the exfoliated mucosa with the prongs of the endoclip, so that the deep layer of the submucosa is not grasped by the endoclip. The distal attachment is inserted under the endoclip, and then the endoclip is lifted with the distal attachment. Consequently, the exfoliated mucosa is pulled up by the endoclip, allowing clear visualization and effective dissection of the submucosal layer by counter-traction using the endoclip (Figure 4H and I). In addition, the distal attachment can be easily inserted under the endoclip when the tail end of the endoclip is directed toward the intestinal lumen (Figure 4G) by using gravity after a postural change or temporarily lifting the endoclip with the endoknife.

Other than a single endoclip (Figure 4G and H), a cross pattern of endoclips created by attaching one endoclip to another endoclip is used to provide good counter-traction according to the situations[14]. We use the EZ clip in the clip-flap method because it can be easily rotated, and it has a joint between the metal prongs and sheath, most of which is made of plastic. The joint may be utilized as a step difference with which to hook it to the distal attachment. A long endoclip may be inappropriate because it can be a hindrance in a narrow lumen.

In our experience, the clip-flap method was effective in most cases, even in the presence of submucosal fibrosis or with a vertical approach, but can be difficult to use in some situations. When lesions are located within a very narrow lumen, such as in the anal tube, just beyond the colonic flexure, or when endoscope maneuverability is extremely poor, attaching the endoclip to the exfoliated mucosa and inserting the distal attachment under the endoclip may be difficult[14].

The clip-flap method is very simple and requires no special equipment other than common rotatable endoclips. Furthermore, various types of distal attachments, including a tapered type, can be used in the clip-flap method.

The endoscopists may apply the clip-flap method or change the endoknife or distal attachment according to the situation, when inserting the distal attachment under the exfoliated mucosa is difficult.

***Submucosal dissection***

Following mucosal flap formation, adequate visualization of the submucosal layer to be dissected is ensured by lifting the mucosal flap with the distal attachment. Many vessels are present in the submucosal layer. Bleeding worsens the translucency of submucosal layer and makes dissection of the submucosal layer much more challenging after bleeding. Thick vessels are pre-coagulated with hemostatic forceps using the soft coagulation mode and cut after precoagulation with an endoknife[12]. Fat tissue is occasionally observed in the submucosal layer, and the translucent layer to be dissected is found below submucosal fat tissue. The deep submucosal layer should be dissected to determine the presence or absence of massive malignant submucosal invasion[12].

At our institution, submucosal dissection is predominantly performed with the Flushknife BT using forced or swift coagulation mode. Forced coagulation mode is superior to swift coagulation mode for hemostasis but inferior for incision. Therefore, we initially use forced coagulation mode and change to swift coagulation mode in cases where the submucosal tissue cannot be easily incised with forced coagulation mode because of submergence, fat rich tissue, fibrosis, or burnt tissue. Endocut I mode can also be used for incision of burnt tissue or tissue with severe fibrosis.

Submucosal fibrosis is an important factor that has a large impact on the technical difficulty of dissection[10,27,64-66]. Submucosal fibrosis complicates dissection by losing the translucency of the submucosal layer or narrowing the space between the mucosa and muscle. Furthermore, the presence of submucosal fibrosis is often preoperatively unexpected. Endoscopists must dissect the submucosal layer more carefully in cases of submucosal fibrosis because submucosal fibrosis increases perforation risk. Additional submucosal injection of solution widens the gap between the exfoliated mucosa and muscle layer and enhances the safety of submucosal dissection. A short needle knife with a water-jet function, such as Flushknife BT, is very useful in these situations because it enables repeated submucosal injection without changing the injection needle[12,51,67,68]. A HookKnife or scissor-type endoknife, which enable the endoscopists to resect the submucosal tissue while pulling up on it, may also be useful in those situations[55].

**SUCCESS RATES AND COMPLICATIONS**

Single- and multi-center studies of colorectal ESD have reported *en bloc* resection rates of 61%–99.3%, perforation rates of 0%–20.4%, and bleeding rates ranging from 0% to 11.9% (Table 2)[8-10,12,14,29,52,54,56,62,64,65,69-88]. Numerous studies regarding colorectal ESD were reported in Japan where colorectal ESD was initially developed; furthermore, the reports from some other Asian countries and Western countries are continuously increasing. Direct comparison of treatment outcomes is difficult because the technical difficulty of ESD is greatly affected by tumor location, tumor size, the presence of submucosal fibrosis, and endoscope maneuverability. In addition, in some studies, treatment outcomes do not include data of earlier stage of colorectal ESD. However, recent single- and multi-center studies have reported improved treatment outcomes compared with previous studies[6,61,72,86,89]. Nakajima *et al*[86] recently reported a comparatively high *en bloc* resection rate (94.5%) and low perforation rate (2.0%) of colorectal ESD in a Japanese large multi-center prospective study. The development of various devices and improvement of the endoscopist’s skill appear to have contributed to recent improvements in treatment outcomes[21,52,55,90,91]. Probst *et al*[62] reported low perforation rate (1.9%) and permissible *en bloc* resection rate (81.6%) of colorectal ESD in a European single-center study. Furthermore, higher *en bloc* resection rate (96.2%) in their late stage was reported compared with that in their early (60.0%) and middle stage (88.0%). These data reveal that colorectal ESD may be widely spread even in European countries where ESD experience is low.

In contrast, some studies have compared the local recurrence rates after EMR and ESD for large colorectal tumors (Table 3)[92-96]. Those studies demonstrated that local recurrence rates after ESD were significantly lower than after EMR because of the high *en bloc* resection rates with ESD despite the larger tumor sizes compared with EMR[92,93,95,96]. Oka *et al*[96] reported that piecemeal resection was the most important risk factor for local recurrence regardless of EMR or ESD in a large multicenter prospective study. Most local recurrences of mucosal lesions may be addressed with additional endoscopic treatment; however, close follow-up colonoscopy is required to detect local recurrence after piecemeal resection[92-96], even with ESD.

Perforation is a major complication of colorectal ESD; however, most cases of perforation can be conservatively treated by closure with endoclips (Figure 6A and B). However, endoscopists should give particular attention to the risks of perforation because open or laparoscopic surgery may be required for bacterial peritonitis, particularly with delayed perforations[77,85,97]. Larger lesional size, submucosal fibrosis, colonic location, and less experienced ESD operators have all been reported as risk factors for perforation during colorectal ESD[10,27,28,77,87].

Post-operative bleeding is less common with colorectal ESD than with gastric ESD and can conservatively managed with hemostatic forceps or endoscopic clipping in the majority of cases[77,85].

Abdominal pain or fever due to electrocoagulation syndrome after ESD is occasionally observed, particularly in the proximal colon, and when conservatively managed[98]. The occurrence of adverse events may cause an extension in hospital stay[31,32,98].

**CURRENT STATUS AND FUTURE PERSPECTIVES**

The safety and success rates of colorectal ESD have recently improved to favorable levels predominantly in advanced institutions in Japan, some Asian, and a few Western countries. However, colorectal ESD is still a technically difficult procedure for majority of endoscopists, and development of training systems is required for world-wide adoption of colorectal ESD[99,100]. ESD for rectal and smaller lesions, which is less technically difficult, is suitable for initial adoption of colorectal ESD. Substantial experience of gastric ESD, which is less technically challenging than colorectal ESD, is highly useful for performing colorectal ESD; however, it is difficult in Western countries because of the low morbidity rate of gastric cancer. EMR with circumferential mucosal incision may be option in cases where ESD cannot be successfully performed[101]. Before performing colorectal ESD, ESD training using animal models or observing the performance of procedure by ESD experts at other institutions have been shown to be extremely useful in improving operator skill[102-104].

In contrast, some cases are challenging even for experts in colorectal ESD, particularly because of the poor endoscope maneuverability or poor visualization of the operative field due to colonic flexure. Colonic flexure and extensibility commonly causes paradoxical movement of the endoscope. Therefore, double- or single-balloon endoscopy systems have recently been introduced for colorectal ESD at several institutions[44-46] because these endoscopy systems enable the endoscope to be straightened more easily than conventional endoscopy. Ohya *et al*[44] reported that a short-type single-balloon overtube through which a thin conventional endoscope can be introduced was useful for colorectal ESD, particularly for poor endoscope maneuverability in the proximal colon.

Sinker-assisted ESD[105], magnet anchor-guided ESD[106], clip with line-assisted ESD[107,108], clip with rubber- or spring-assisted ESD[109,110], clip-band ESD[111], a double-channel scope method[112,113], and a double endoscopic intraluminal procedure[114,115] have all been described as traction systems that facilitate ESD. Each system has a unique traction system that utilizes specialized equipment to provide counter-traction[107]. Because these traction systems are somewhat complicated or commercially unavailable, they are not widely used in colorectal ESD at present. The improvement of these traction systems or development of new tractions systems or devices[116] may facilitate improvements in the safety or efficacy of colorectal ESD in the future.

**CONCLUSION**

In this review, we have described the technical aspects and recent progresses in colorectal ESD. Maintaining good visualization of the operative field is the most important for safely and successfully performing colorectal ESD. Developments of various devices, novel procedures, and appropriate strategies have resulted in the recent improvement of the treatment outcome in colorectal ESD. Further development of training systems or devices will promote world-wide standardization of colorectal ESD.

**ACKNOWLEDGMENTS**

We would like to thank Dr. Takashi Toyonaga, Dr. Yoshinori Morita, and CE Ken Yoshimura, all at Kobe University Hospital, Japan, for their technical advice.

**REFERENCES**

1 **Ono H**, Kondo H, Gotoda T, Shirao K, Yamaguchi H, Saito D, Hosokawa K, Shimoda T, Yoshida S. Endoscopic mucosal resection for treatment of early gastric cancer. *Gut* 2001; **48**: 225-229 [PMID: 11156645 DOI: 10.1136/gut.48.2.225]

2 **Oyama T,** Kikuchi Y. Aggressive endoscopic mucosal resection in the upper GI tract-Hook knife EMR method. *Minim Invasive Ther Allied Technol* 2002; **11:** 291-295

3 **Yahagi N,** Fujishiro M, Kakushima N, Kobayashi K, Hashimoto T, Oka M, Iguchi M, Enomoto S, Ichinose M, Niwa H, Omata M. Endoscopic submucosal dissection for early gastric cancer using the tip of an electrosurgical snare (thin type). *Dig Endosc* 2004; **16:** 34-38 [DOI: 10.1111/j.1443-1661.2004.00313.x]

4 **Yamamoto H**, Yahagi N, Oyama T. Mucosectomy in the colon with endoscopic submucosal dissection. *Endoscopy* 2005; **37**: 764-768 [PMID: 16032498 DOI: 10.1055/s-2005-870166]

5 **Rösch T**, Sarbia M, Schumacher B, Deinert K, Frimberger E, Toermer T, Stolte M, Neuhaus H. Attempted endoscopic en bloc resection of mucosal and submucosal tumors using insulated-tip knives: a pilot series. *Endoscopy* 2004; **36**: 788-801 [PMID: 15326574 DOI: 10.1055/s-2004-825838]

6 **Tanaka S**, Oka S, Kaneko I, Hirata M, Mouri R, Kanao H, Yoshida S, Chayama K. Endoscopic submucosal dissection for colorectal neoplasia: possibility of standardization. *Gastrointest Endosc* 2007; **66**: 100-107 [PMID: 17591481 DOI: 10.1016/j.gie.2007.02.032]

7 **Saito Y**, Uraoka T, Matsuda T, Emura F, Ikehara H, Mashimo Y, Kikuchi T, Fu KI, Sano Y, Saito D. Endoscopic treatment of large superficial colorectal tumors: a case series of 200 endoscopic submucosal dissections (with video). *Gastrointest Endosc* 2007; **66**: 966-973 [PMID: 17524403 DOI: 10.1016/j.gie.2007.02.053]

8 **Taku K**, Sano Y, Fu KI, Saito Y, Matsuda T, Uraoka T, Yoshino T, Yamaguchi Y, Fujita M, Hattori S, Ishikawa T, Saito D, Fujii T, Kaneko E, Yoshida S. Iatrogenic perforation associated with therapeutic colonoscopy: a multicenter study in Japan. *J Gastroenterol Hepatol* 2007; **22**: 1409-1414 [PMID: 17593224 DOI: 10.1111/j.1440-1746.2007.05022.x]

9 **Zhou PH**, Yao LQ, Qin XY. Endoscopic submucosal dissection for colorectal epithelial neoplasm. *Surg Endosc* 2009; **23**: 1546-1551 [PMID: 19263116 DOI: 10.1007/s00464-009-0395-5]

10 **Kim ES**, Cho KB, Park KS, Lee KI, Jang BK, Chung WJ, Hwang JS. Factors predictive of perforation during endoscopic submucosal dissection for the treatment of colorectal tumors. *Endoscopy* 2011; **43**: 573-578 [PMID: 21448852 DOI: 10.1055/s-0030-1256339]

11 **Yahagi N.** Endoscopic submucosal dissection in the colon. Colonoscopy: Principles and Practice, 2nd ed. Waye JD, Rex DK, Williams CB, editors. Oxford: Wiley-Blackwell, 2009: 603-612

12 **Toyonaga T**, Nishino E, Man-I M, East JE, Azuma T. Principles of quality controlled endoscopic submucosal dissection with appropriate dissection level and high quality resected specimen. *Clin Endosc* 2012; **45**: 362-374 [PMID: 23251883 DOI: 10.5946/ce.2012.45.4.362]

13 **Yamamoto K**, Hayashi S, Nakabori T, Shibuya M, Ichiba M, Inada M. Endoscopic submucosal dissection using endoclips to assist in mucosal flap formation (novel technique: "clip flap method"). *Endoscopy* 2012; **44 Suppl 2 UCTN**: E334-E335 [PMID: 23012008 DOI: 10.1055/s-0032-1309860]

14 **Yamamoto K**, Hayashi S, Saiki H, Indo N, Nakabori T, Yamamoto M, Shibuya M, Nishida T, Ichiba M, Inada M. Endoscopic submucosal dissection for large superficial colorectal tumors using the "clip-flap method". *Endoscopy* 2015; **47**: 262-265 [PMID: 25412089]

15 **Yamamoto K**, Hayashi S, Nishida T, Saiki H, Naito M, Michida T, Ito T. Effective use of the "clip-flap" method for the endoscopic submucosal dissection of a difficult-to-approach superficial gastric tumor. *Endoscopy* 2015; **47** Suppl 1 UCTN: E318-E319 [PMID: 26115394 DOI: 10.1055/s-0034-1392319]

16 **Walsh RM**, Ackroyd FW, Shellito PC. Endoscopic resection of large sessile colorectal polyps. *Gastrointest Endosc* 1992; **38**: 303-309 [PMID: 1607080]

17 **Hotta K**, Fujii T, Saito Y, Matsuda T. Local recurrence after endoscopic resection of colorectal tumors. *Int J Colorectal Dis* 2009; **24**: 225-230 [PMID: 18972121 DOI: 10.1007/s00384-008-0596-8]

18 **Tanaka S**, Kashida H, Saito Y, Yahagi N, Yamano H, Saito S, Hisabe T, Yao T, Watanabe M, Yoshida M, Kudo SE, Tsuruta O, Sugihara K, Watanabe T, Saitoh Y, Igarashi M, Toyonaga T, Ajioka Y, Ichinose M, Matsui T, Sugita A, Sugano K, Fujimoto K, Tajiri H. JGES guidelines for colorectal endoscopic submucosal dissection/endoscopic mucosal resection. *Dig Endosc* 2015; **27**: 417-434 [PMID: 25652022 DOI: 10.1111/den.12456]

19 **Fernández-Esparrach G**, Calderón A, de la Peña J, Díaz Tasende JB, Esteban JM, Gimeno-García AZ, Herreros de Tejada A, Martínez-Ares D, Nicolás-Pérez D, Nogales O, Ono A, Orive-Calzada A, Parra-Blanco A, Rodríguez Muñoz S, Sánchez Hernández E, Sánchez-Yagüe A, Vázquez-Sequeiros E, Vila J, López Rosés L. Endoscopic submucosal dissection. *Endoscopy* 2014; **46**: 361-370 [PMID: 24671864]

20 **Uraoka T**, Saito Y, Matsuda T, Ikehara H, Gotoda T, Saito D, Fujii T. Endoscopic indications for endoscopic mucosal resection of laterally spreading tumours in the colorectum. *Gut* 2006; **55**: 1592-1597 [PMID: 16682427 DOI: 10.1136/gut.2005.087452]

21 **Hotta K**, Yamaguchi Y, Saito Y, Takao T, Ono H. Current opinions for endoscopic submucosal dissection for colorectal tumors from our experiences: indications, technical aspects and complications. *Dig Endosc* 2012; **24 Suppl 1**: 110-116 [PMID: 22533764 DOI: 10.1111/j.1443-1661.2012.01262.x]

22 **Toyonaga T**, Tanaka S, Man-I M, East J, Ono W, Nishino E, Ishida T, Hoshi N, Morita Y, Azuma T. Clinical significance of the muscle-retracting sign during colorectal endoscopic submucosal dissection. *Endosc Int Open* 2015; **3**: E246-E251 [PMID: 26171438 DOI: 10.1055/s-0034-1391665]

23 **Kudo S**, Tamura S, Nakajima T, Yamano H, Kusaka H, Watanabe H. Diagnosis of colorectal tumorous lesions by magnifying endoscopy. *Gastrointest Endosc* 1996; **44**: 8-14 [PMID: 8836710 DOI: 10.1016/S0016-5107(96)70222-5]

24 **Hirata M**, Tanaka S, Oka S, Kaneko I, Yoshida S, Yoshihara M, Chayama K. Evaluation of microvessels in colorectal tumors by narrow band imaging magnification. *Gastrointest Endosc* 2007; **66**: 945-952 [PMID: 17963882 DOI: 10.1016/j.gie.2007.05.053]

25 **Ikematsu H**, Matsuda T, Emura F, Saito Y, Uraoka T, Fu KI, Kaneko K, Ochiai A, Fujimori T, Sano Y. Efficacy of capillary pattern type IIIA/IIIB by magnifying narrow band imaging for estimating depth of invasion of early colorectal neoplasms. *BMC Gastroenterol* 2010; **10**: 33 [PMID: 20346170 DOI: 10.1186/1471-230X-10-33]

26 **Yoshida N**, Hisabe T, Inada Y, Kugai M, Yagi N, Hirai F, Yao K, Matsui T, Iwashita A, Kato M, Yanagisawa A, Naito Y. The ability of a novel blue laser imaging system for the diagnosis of invasion depth of colorectal neoplasms. *J Gastroenterol* 2014; **49**: 73-80 [PMID: 23494646 DOI: 10.1007/s00535-013-0772-7]

27 **Hayashi N**, Tanaka S, Nishiyama S, Terasaki M, Nakadoi K, Oka S, Yoshihara M, Chayama K. Predictors of incomplete resection and perforation associated with endoscopic submucosal dissection for colorectal tumors. *Gastrointest Endosc* 2014; **79**: 427-435 [PMID: 24210654 DOI: 10.1016/j.gie.2013.09.014]

28 **Lee EJ**, Lee JB, Choi YS, Lee SH, Lee DH, Kim do S, Youk EG. Clinical risk factors for perforation during endoscopic submucosal dissection (ESD) for large-sized, nonpedunculated colorectal tumors. *Surg Endosc* 2012; **26**: 1587-1594 [PMID: 22179462 DOI: 10.1007/s00464-011-2075-5]

29 **Hurlstone DP**, Atkinson R, Sanders DS, Thomson M, Cross SS, Brown S. Achieving R0 resection in the colorectum using endoscopic submucosal dissection. *Br J Surg* 2007; **94**: 1536-1542 [PMID: 17948864 DOI: 10.1002/bjs.5720]

30 **Yoshida N**, Naito Y, Sakai K, Sumida Y, Kanemasa K, Inoue K, Morimoto Y, Konishi H, Wakabayashi N, Kokura S, Yagi N, Yanagisawa A, Yoshikawa T. Outcome of endoscopic submucosal dissection for colorectal tumors in elderly people. *Int J Colorectal Dis* 2010; **25**: 455-461 [PMID: 19921221 DOI: 10.1007/s00384-009-0841-9]

31 **Aoki T**, Nakajima T, Saito Y, Matsuda T, Sakamoto T, Itoi T, Khiyar Y, Moriyasu F. Assessment of the validity of the clinical pathway for colon endoscopic submucosal dissection. *World J Gastroenterol* 2012; **18**: 3721-3726 [PMID: 22851865 DOI: 10.3748/wjg.v18.i28.3721]

32 [**Tomiki Y**](http://www.ncbi.nlm.nih.gov/pubmed/?term=Tomiki%20Y%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Kawai M](http://www.ncbi.nlm.nih.gov/pubmed/?term=Kawai%20M%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Takehara K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Takehara%20K%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Tashiro Y](http://www.ncbi.nlm.nih.gov/pubmed/?term=Tashiro%20Y%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Munakata S](http://www.ncbi.nlm.nih.gov/pubmed/?term=Munakata%20S%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Kure K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Kure%20K%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Ishiyama S](http://www.ncbi.nlm.nih.gov/pubmed/?term=Ishiyama%20S%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Sugimoto K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Sugimoto%20K%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Kamiyama H](http://www.ncbi.nlm.nih.gov/pubmed/?term=Kamiyama%20H%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Takahashi M](http://www.ncbi.nlm.nih.gov/pubmed/?term=Takahashi%20M%5BAuthor%5D&cauthor=true&cauthor_uid=25756606), [Sakamoto K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Sakamoto%20K%5BAuthor%5D&cauthor=true&cauthor_uid=25756606). Clinical pathway to discharge 3 days after colorectal endoscopic submucosal dissection. *Dig Endosc* 2015; In press [PMID: 25756606 DOI: 10.1111/den.12468]

33 **Takimoto K**, Ueda T, Shimamoto F, Kojima Y, Fujinaga Y, Kashiwa A, Yamauchi H, Matsuyama K, Toyonaga T, Yoshikawa T. Sedation with dexmedetomidine hydrochloride during endoscopic submucosal dissection of gastric cancer. *Dig Endosc* 2011; **23**: 176-181 [PMID: 21429025 DOI: 10.1111/j.1443-1661.2010.01080.x]

34 **Dere K**, Sucullu I, Budak ET, Yeyen S, Filiz AI, Ozkan S, Dagli G. A comparison of dexmedetomidine versus midazolam for sedation, pain and hemodynamic control, during colonoscopy under conscious sedation. *Eur J Anaesthesiol* 2010; **27**: 648-652 [PMID: 20531094 DOI: 10.1097/EJA.0b013e3283347bfe]

35 **Bretthauer M**, Thiis-Evensen E, Huppertz-Hauss G, Gisselsson L, Grotmol T, Skovlund E, Hoff G. NORCCAP (Norwegian colorectal cancer prevention): a randomised trial to assess the safety and efficacy of carbon dioxide versus air insufflation in colonoscopy. *Gut* 2002; **50**: 604-607 [PMID: 11950803 DOI: 10.1136/gut.50.5.604]

36 **Saito Y**, Uraoka T, Matsuda T, Emura F, Ikehara H, Mashimo Y, Kikuchi T, Kozu T, Saito D. A pilot study to assess the safety and efficacy of carbon dioxide insufflation during colorectal endoscopic submucosal dissection with the patient under conscious sedation. *Gastrointest Endosc* 2007; **65**: 537-542 [PMID: 17321264 DOI: 10.1016/j.gie.2006.11.002]

37 **Uraoka T**, Kato J, Kuriyama M, Hori K, Ishikawa S, Harada K, Takemoto K, Hiraoka S, Fujita H, Horii J, Saito Y, Yamamoto K. CO(2) insufflation for potentially difficult colonoscopies: efficacy when used by less experienced colonoscopists. *World J Gastroenterol* 2009; **15**: 5186-5192 [PMID: 19891018 DOI: 10.3748/wjg.15.5186]

38 **Yoshida M**, Imai K, Hotta K, Yamaguchi Y, Tanaka M, Kakushima N, Takizawa K, Matsubayashi H, Ono H. Carbon dioxide insufflation during colorectal endoscopic submucosal dissection for patients with obstructive ventilatory disturbance. *Int J Colorectal Dis* 2014; **29**: 365-371 [PMID: 24297038 DOI: 10.1007/s00384-013-1806-6]

39 **Tamai N**, Matsuda K, Sumiyama K, Yoshida Y, Tajiri H. Glucagon facilitates colonoscopy and reduces patient discomfort: a randomized double-blind controlled trial with salivary amylase stress analysis. *Eur J Gastroenterol Hepatol* 2013; **25**: 575-579 [PMID: 23337174 DOI: 10.1097/MEG.0b013e32835e33db]

40 **Asao T**, Mochiki E, Suzuki H, Nakamura J, Hirayama I, Morinaga N, Shoji H, Shitara Y, Kuwano H. An easy method for the intraluminal administration of peppermint oil before colonoscopy and its effectiveness in reducing colonic spasm. *Gastrointest Endosc* 2001; **53**: 172-177 [PMID: 11174287 DOI: 10.1067/mge.2000.108477]

41 **Yamamoto H**. Endoscopic submucosal dissection for colorectal tumors. Interventional and Therapeutic Gastrointestinal Endoscopy. Front Gastrointest Res. Mönkemüller K, Wilcox CM, Muñoz-Navas M, editors. Basel: Karger, 2010; **27**: 287-295

42 **Lee BI**. Debates on colorectal endoscopic submucosal dissection - traction for effective dissection: gravity is enough. *Clin Endosc* 2013; **46**: 467-471 [PMID: 24143304 DOI: 10.5946/ce.2013.46.5.467]

43 **Fujishiro M**. Endoscopic submucosal dissection for colorectal neoplasms. *World J Gastrointest Endosc* 2009; **1**: 32-38 [PMID: 21160648 DOI: 10.4253/wjge.v1.i1.32]

44 **Ohya T**, Ohata K, Sumiyama K, Tsuji Y, Koba I, Matsuhashi N, Tajiri H. Balloon overtube-guided colorectal endoscopic submucosal dissection. *World J Gastroenterol* 2009; **15**: 6086-6090 [PMID: 20027682 DOI: 10.3748/wjg.15.6086]

45 **Sunada K**, Yamamoto H. Double-balloon endoscopy: past, present, and future. *J Gastroenterol* 2009; **44**: 1-12 [PMID: 19159069 DOI: 10.1007/s00535-008-2292-4]

46 **Katsuki S,** Fujita T, Waga E, Takahashi K, Kitaoka K, Komatsu Y, Ohta H. More beneficial colonic endoscopic submucosal dissection (ESD) method for patients by employing double balloon endoscopes (DBE). *Gastrointestinal Endoscopy* 2014; **79 Suppl 5:** AB271 [DOI: 10.1016/j.gie.2014.05.221]

47 **Yamamoto H**, Kawata H, Sunada K, Sasaki A, Nakazawa K, Miyata T, Sekine Y, Yano T, Satoh K, Ido K, Sugano K. Successful en-bloc resection of large superficial tumors in the stomach and colon using sodium hyaluronate and small-caliber-tip transparent hood. *Endoscopy* 2003; **35**: 690-694 [PMID: 12929067 DOI: 10.1055/s-2003-41516]

48 **Linghu E**, Feng X, Wang X, Meng J, Du H, Wang H. Endoscopic submucosal tunnel dissection for large esophageal neoplastic lesions. *Endoscopy* 2013; **45**: 60-62 [PMID: 23254407]

49 **Hayashi Y**, Sunada K, Takahashi H, Shinhata H, Lefor AT, Tanaka A, Yamamoto H. Pocket-creation method of endoscopic submucosal dissection to achieve en bloc resection of giant colorectal subpedunculated neoplastic lesions. *Endoscopy* 2014; **46 Suppl 1 UCTN**: E421-E422 [PMID: 25314173 DOI: 10.1055/s-0034-1377438]

50 **Yahagi N,** Uraoka T, Ida Y, Hosoe N, Nakamura R, Kitagawa Y, Ogata H, Hibi T. Endoscopic submucosal dissection using the Flex and the Dual knives. *Techniques in gastrointestinal endoscopy* 2011; **13:** 74-78 [DOI: 10.1016/j.tgie.2011.02.006]

51 **Toyonaga T**, Man-I M, Fujita T, Nishino E, Ono W, Morita Y, Sanuki T, Masuda A, Yoshida M, Kutsumi H, Inokuchi H, Azuma T. The performance of a novel ball-tipped Flush knife for endoscopic submucosal dissection: a case-control study. *Aliment Pharmacol Ther* 2010; **32**: 908-915 [PMID: 20839389 DOI: 10.1111/j.1365-2036.2010.04425.x]

52 **Saito Y**, Otake Y, Sakamoto T, Nakajima T, Yamada M, Haruyama S, So E, Abe S, Matsuda T. Indications for and technical aspects of colorectal endoscopic submucosal dissection. *Gut Liver* 2013; **7**: 263-269 [PMID: 23710305 DOI: 10.5009/gnl.2013.7.3.263]

53 **Oyama T**, Tomori A, Hotta K, Morita S, Kominato K, Tanaka M, Miyata Y. Endoscopic submucosal dissection of early esophageal cancer. *Clin Gastroenterol Hepatol* 2005; **3**: S67-S70 [PMID: 16013002 DOI: 10.1016/S1542-3565(05)00291-0]

54 **Homma K**, Otaki Y, Sugawara M, Kobayashi M. Efficacy of novel SB knife Jr examined in a multicenter study on colorectal endoscopic submucosal dissection. *Dig Endosc* 2012; **24 Suppl 1**: 117-120 [PMID: 22533765 DOI: 10.1111/j.1443-1661.2012.01266.x]

55 **Oka S**, Tanaka S, Takata S, Kanao H, Chayama K. Usefulness and safety of SB knife Jr in endoscopic submucosal dissection for colorectal tumors. *Dig Endosc* 2012; **24 Suppl 1**: 90-95 [PMID: 22533760 DOI: 10.1111/j.1443-1661.2012.01255.x]

56 **Nawata Y,** Homma K, Suzuki Y. Retrospective study of technical aspects and complications of endoscopic submucosal dissection for large superficial colorectal tumors. *Dig Endosc* 2014; **26:** 552-555 [DOI: 10.1111/den.12217]

57 **Akahoshi K**, Okamoto R, Akahane H, Motomura Y, Kubokawa M, Osoegawa T, Nakama N, Chaen T, Oya M, Nakamura K. Endoscopic submucosal dissection of early colorectal tumors using a grasping-type scissors forceps: a preliminary clinical study. *Endoscopy* 2010; **42**: 419-422 [PMID: 20340070 DOI: 10.1055/s-0029-1243973]

58 **Okamoto K**, Kitamura S, Muguruma N, Takaoka T, Fujino Y, Kawahara Y, Okahisa T, Takayama T. Mucosectom2-short blade for safe and efficient endoscopic submucosal dissection of colorectal tumors. *Endoscopy* 2013; **45**: 928-930 [PMID: 24019129 DOI: 10.1055/s-0033-1344644]

59 **Chung HC,** Hsu HY Chia WY, Yang YC, Wei WS, Maw SS. Short-term outcomes of endoscopic submucosal dissection for colorectal neoplasms in a single medical center. *Advances in Digestive Medicine* 2015; **2:** 54-60 [DOI: 10.1016/j.aidm.2015.01.002]

60 **Sakamoto T**, Takamaru H, Mori G, Yamada M, Kinjo Y, So E, Abe S, Otake Y, Nakajima T, Matsuda T, Saito Y. Endoscopic submucosal dissection for colorectal neoplasms. *Ann Transl Med* 2014; **2**: 26 [PMID: 25333002]

61 **Sumiyama K**, Gostout CJ, Rajan E, Bakken TA, Knipschield MA, Marler RJ. Submucosal endoscopy with mucosal flap safety valve. *Gastrointest Endosc* 2007; **65**: 688-694 [PMID: 17324411 DOI: 10.1016/j.gie.2006.07.030]

62 **Probst A**, Golger D, Anthuber M, Märkl B, Messmann H. Endoscopic submucosal dissection in large sessile lesions of the rectosigmoid: learning curve in a European center. *Endoscopy* 2012; **44**: 660-667 [PMID: 22528673 DOI: 10.1055/s-0032-1309403]

63 **Fujishiro M**, Yahagi N, Kashimura K, Mizushima Y, Oka M, Enomoto S, Kakushima N, Kobayashi K, Hashimoto T, Iguchi M, Shimizu Y, Ichinose M, Omata M. Comparison of various submucosal injection solutions for maintaining mucosal elevation during endoscopic mucosal resection. *Endoscopy* 2004; **36**: 579-583 [PMID: 15243878 DOI: 10.1055/s-2004-814517]

64 **Isomoto H**, Nishiyama H, Yamaguchi N, Fukuda E, Ishii H, Ikeda K, Ohnita K, Nakao K, Kohno S, Shikuwa S. Clinicopathological factors associated with clinical outcomes of endoscopic submucosal dissection for colorectal epithelial neoplasms. *Endoscopy* 2009; **41**: 679-683 [PMID: 19670135 DOI: 10.1055/s-0029-1214979]

65 **Matsumoto A**, Tanaka S, Oba S, Kanao H, Oka S, Yoshihara M, Chayama K. Outcome of endoscopic submucosal dissection for colorectal tumors accompanied by fibrosis. *Scand J Gastroenterol* 2010; **45**: 1329-1337 [PMID: 20626303 DOI: 10.3109/00365521.2010.495416]

66 **Lee SP**, Kim JH, Sung IK, Lee SY, Park HS, Shim CS, Han HS. Effect of submucosal fibrosis on endoscopic submucosal dissection of colorectal tumors: pathologic review of 173 cases. *J Gastroenterol Hepatol* 2015; **30**: 872-878 [PMID: 25641510 DOI: 10.1111/jgh.12886]

67 **Takeuchi Y**, Uedo N, Ishihara R, Iishi H, Kizu T, Inoue T, Chatani R, Hanaoka N, Taniguchi T, Kawada N, Higashino K, Shimokawa T, Tatsuta M. Efficacy of an endo-knife with a water-jet function (Flushknife) for endoscopic submucosal dissection of superficial colorectal neoplasms. *Am J Gastroenterol* 2010; **105**: 314-322 [PMID: 19773749 DOI: 10.1038/ajg.2009.547]

68 **Takeuchi Y**, Shimokawa T, Ishihara R, Iishi H, Hanaoka N, Higashino K, Uedo N. An electrosurgical endoknife with a water-jet function (flushknife) proves its merits in colorectal endoscopic submucosal dissection especially for the cases which should be removed en bloc. *Gastroenterol Res Pract* 2013; **2013**: 530123 [PMID: 24174933]

69 **Fujishiro M**, Yahagi N, Kakushima N, Kodashima S, Muraki Y, Ono S, Yamamichi N, Tateishi A, Oka M, Ogura K, Kawabe T, Ichinose M, Omata M. Outcomes of endoscopic submucosal dissection for colorectal epithelial neoplasms in 200 consecutive cases. *Clin Gastroenterol Hepatol* 2007; **5**: 678-83; quiz 645 [PMID: 17466600 DOI: 10.1016/j.cgh.2007.01.006]

70 **Tamegai Y**, Saito Y, Masaki N, Hinohara C, Oshima T, Kogure E, Liu Y, Uemura N, Saito K. Endoscopic submucosal dissection: a safe technique for colorectal tumors. *Endoscopy* 2007; **39**: 418-422 [PMID: 17516348 DOI: 10.1055/s-2007-966427]

71 **Iizuka H**, Okamura S, Onozato Y, Ishihara H, Kakizaki S, Mori M. Endoscopic submucosal dissection for colorectal tumors. *Gastroenterol Clin Biol* 2009; **33**: 1004-1011 [PMID: 19762190 DOI: 10.1016/j.gcb.2009.02.039]

72 **Hotta K**, Oyama T, Shinohara T, Miyata Y, Takahashi A, Kitamura Y, Tomori A. Learning curve for endoscopic submucosal dissection of large colorectal tumors. *Dig Endosc* 2010; **22**: 302-306 [PMID: 21175483 DOI: 10.1111/j.1443-1661.2010.01005.x]

73 **Niimi K**, Fujishiro M, Kodashima S, Goto O, Ono S, Hirano K, Minatsuki C, Yamamichi N, Koike K. Long-term outcomes of endoscopic submucosal dissection for colorectal epithelial neoplasms. *Endoscopy* 2010; **42**: 723-729 [PMID: 20806156 DOI: 10.1055/s-0030-1255675]

74 **Yoshida N**, Naito Y, Kugai M, Inoue K, Wakabayashi N, Yagi N, Yanagisawa A, Yoshikawa T. Efficient hemostatic method for endoscopic submucosal dissection of colorectal tumors. *World J Gastroenterol* 2010; **16**: 4180-4186 [PMID: 20806436 DOI: 10.3748/wjg.v16.i33.4180]

75 **Tanaka S**, Tamegai Y, Tsuda S, Saito Y, Yahagi N, Yamano HO. Multicenter questionnaire survey on the current situation of colorectal endoscopic submucosal dissection in Japan. *Dig Endosc* 2010; **22 Suppl 1**: S2-S8 [PMID: 20590765 DOI: 10.1111/j.1443-1661.2010.00952.x]

76 **Oka S**, Tanaka S, Kanao H, Ishikawa H, Watanabe T, Igarashi M, Saito Y, Ikematsu H, Kobayashi K, Inoue Y, Yahagi N, Tsuda S, Simizu S, Iishi H, Yamano H, Kudo SE, Tsuruta O, Tamura S, Saito Y, Cho E, Fujii T, Sano Y, Nakamura H, Sugihara K, Muto T. Current status in the occurrence of postoperative bleeding, perforation and residual/local recurrence during colonoscopic treatment in Japan. *Dig Endosc* 2010; **22**: 376-380 [PMID: 21175503 DOI: 10.1111/j.1443-1661.2010.01016.x]

77 **Saito Y**, Uraoka T, Yamaguchi Y, Hotta K, Sakamoto N, Ikematsu H, Fukuzawa M, Kobayashi N, Nasu J, Michida T, Yoshida S, Ikehara H, Otake Y, Nakajima T, Matsuda T, Saito D. A prospective, multicenter study of 1111 colorectal endoscopic submucosal dissections (with video). *Gastrointest Endosc* 2010; **72**: 1217-1225 [PMID: 21030017 DOI: 10.1016/j.gie.2010.08.004]

78 **Shono T**, Ishikawa K, Ochiai Y, Nakao M, Togawa O, Nishimura M, Arai S, Nonaka K, Sasaki Y, Kita H. Feasibility of endoscopic submucosal dissection: a new technique for en bloc resection of a large superficial tumor in the colon and rectum. *Int J Surg Oncol* 2011; **2011**: 948293 [PMID: 22312533]

79 **Uraoka T**, Higashi R, Kato J, Kaji E, Suzuki H, Ishikawa S, Akita M, Hirakawa T, Saito S, Hori K, Kawahara Y, Mead RJ, Yamamoto K. Colorectal endoscopic submucosal dissection for elderly patients at least 80 years of age. *Surg Endosc* 2011; **25**: 3000-3007 [PMID: 21484532 DOI: 10.1007/s00464-011-1660-y]

80 **Takeuchi Y**, Ohta T, Matsui F, Nagai K, Uedo N. Indication, strategy and outcomes of endoscopic submucosal dissection for colorectal neoplasm. *Dig Endosc* 2012; **24 Suppl 1**: 100-104 [PMID: 22533762 DOI: 10.1111/j.1443-1661.2012.01277.x]

81 **Tseng MY**, Lin JC, Huang TY, Shih YL, Chu HC, Chang WK, Hsieh TY, Chen PJ. Endoscopic submucosal dissection for early colorectal neoplasms: clinical experience in a tertiary medical center in taiwan. *Gastroenterol Res Pract* 2013; **2013**: 891565 [PMID: 23533391]

82 **Thorlacius H**, Uedo N, Toth E. Implementation of endoscopic submucosal dissection for early colorectal neoplasms in Sweden. *Gastroenterol Res Pract* 2013; **2013**: 758202 [PMID: 23935611]

83 **Hülagü S**, Şentürk Ö, Korkmaz U, Şirin G, Duman AE, Dindar G, Çelebi A, Koç DÖ, Bozkurt N, Yılmaz H, Gürbüz Y, Duman D, Tarçın O. Endoscopic submucosal dissection for colorectal laterally spreading tumors. *Turk J Gastroenterol* 2013; **24**: 532-540 [PMID: 24623293]

84 **Hsu WH**, Sun MS, Lo HW, Tsai CY, Tsai YJ. Clinical practice of endoscopic submucosal dissection for early colorectal neoplasms by a colonoscopist with limited gastric experience. *Gastroenterol Res Pract* 2013; **2013**: 262171 [PMID: 24391666]

85 **Lee EJ**, Lee JB, Lee SH, Kim do S, Lee DH, Lee DS, Youk EG. Endoscopic submucosal dissection for colorectal tumors--1,000 colorectal ESD cases: one specialized institute's experiences. *Surg Endosc* 2013; **27**: 31-39 [PMID: 22729707 DOI: 10.1007/s00464-012-2403-4]

86 **Nakajima T**, Saito Y, Tanaka S, Iishi H, Kudo SE, Ikematsu H, Igarashi M, Saitoh Y, Inoue Y, Kobayashi K, Hisasbe T, Matsuda T, Ishikawa H, Sugihara K. Current status of endoscopic resection strategy for large, early colorectal neoplasia in Japan. *Surg Endosc* 2013; **27**: 3262-3270 [PMID: 23508817 DOI: 10.1007/s00464-013-2903-x]

87 **Hori K**, Uraoka T, Harada K, Higashi R, Kawahara Y, Okada H, Ramberan H, Yahagi N, Yamamoto K. Predictive factors for technically difficult endoscopic submucosal dissection in the colorectum. *Endoscopy* 2014; **46**: 862-870 [PMID: 25208032 DOI: 10.1055/s-0034-1377205]

88 **Białek A**, Pertkiewicz J, Karpińska K, Marlicz W, Bielicki D, Starzyńska T. Treatment of large colorectal neoplasms by endoscopic submucosal dissection: a European single-center study. *Eur J Gastroenterol Hepatol* 2014; **26**: 607-615 [PMID: 24743502 DOI: 10.1097/meg.0000000000000079]

89 **Saito Y**, Kawano H, Takeuchi Y, Ohata K, Oka S, Hotta K, Okamoto K, Homma K, Uraoka T, Hisabe T, Chang DK, Zhou PH. Current status of colorectal endoscopic submucosal dissection in Japan and other Asian countries: progressing towards technical standardization. *Dig Endosc* 2012; **24 Suppl 1**: 67-72 [PMID: 22533756 DOI: 10.1111/j.1443-1661.2012.01282.x]

90 **Tanaka S**, Terasaki M, Kanao H, Oka S, Chayama K. Current status and future perspectives of endoscopic submucosal dissection for colorectal tumors. *Dig Endosc* 2012; **24 Suppl 1**: 73-79 [PMID: 22533757 DOI: 10.1111/j.1443-1661.2012.01252.x]

91 **Yoshida N**, Yagi N, Naito Y, Yoshikawa T. Safe procedure in endoscopic submucosal dissection for colorectal tumors focused on preventing complications. *World J Gastroenterol* 2010; **16**: 1688-1695 [PMID: 20379999 DOI: 10.3748/wjg.v16.i14.1688]

92 **Saito Y**, Fukuzawa M, Matsuda T, Fukunaga S, Sakamoto T, Uraoka T, Nakajima T, Ikehara H, Fu KI, Itoi T, Fujii T. Clinical outcome of endoscopic submucosal dissection versus endoscopic mucosal resection of large colorectal tumors as determined by curative resection. *Surg Endosc* 2010; **24**: 343-352 [PMID: 19517168 DOI: 10.1007/s00464-009-0562-8]

93 **Tajika M**, Niwa Y, Bhatia V, Kondo S, Tanaka T, Mizuno N, Hara K, Hijioka S, Imaoka H, Ogura T, Haba S, Yamao K. Comparison of endoscopic submucosal dissection and endoscopic mucosal resection for large colorectal tumors. *Eur J Gastroenterol Hepatol* 2011; **23**: 1042-1049 [PMID: 21869682 DOI: 10.1097/meg.0b013e32834aa47b]

94 **Terasaki M**, Tanaka S, Oka S, Nakadoi K, Takata S, Kanao H, Yoshida S, Chayama K. Clinical outcomes of endoscopic submucosal dissection and endoscopic mucosal resection for laterally spreading tumors larger than 20 mm. *J Gastroenterol Hepatol* 2012; **27**: 734-740 [PMID: 22098630 DOI: 10.1111/j.1440-1746.2011.06977.x]

95 **Lee EJ**, Lee JB, Lee SH, Youk EG. Endoscopic treatment of large colorectal tumors: comparison of endoscopic mucosal resection, endoscopic mucosal resection-precutting, and endoscopic submucosal dissection. *Surg Endosc* 2012; **26**: 2220-2230 [PMID: 22278105 DOI: 10.1007/s00464-012-2164-0]

96 **Oka S**, Tanaka S, Saito Y, Iishi H, Kudo SE, Ikematsu H, Igarashi M, Saitoh Y, Inoue Y, Kobayashi K, Hisabe T, Tsuruta O, Sano Y, Yamano H, Shimizu S, Yahagi N, Watanabe T, Nakamura H, Fujii T, Ishikawa H, Sugihara K. Local recurrence after endoscopic resection for large colorectal neoplasia: a multicenter prospective study in Japan. *Am J Gastroenterol* 2015; **110**: 697-707 [PMID: 25848926 DOI: 10.1038/ajg.2015.96]

97 **Hotta K**, Shinohara T, Oyama T, Ishii E, Tomori A, Takahashi A, Miyata Y. Criteria for non-surgical treatment of perforation during colorectal endoscopic submucosal dissection. *Digestion* 2012; **85**: 116-120 [PMID: 22269291 DOI: 10.1159/000334682]

98 [**Yamashina T**](http://www.ncbi.nlm.nih.gov/pubmed/?term=Yamashina%20T%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Takeuchi Y](http://www.ncbi.nlm.nih.gov/pubmed/?term=Takeuchi%20Y%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Uedo N](http://www.ncbi.nlm.nih.gov/pubmed/?term=Uedo%20N%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Hamada K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Hamada%20K%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Aoi K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Aoi%20K%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Yamasaki Y](http://www.ncbi.nlm.nih.gov/pubmed/?term=Yamasaki%20Y%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Matsuura N](http://www.ncbi.nlm.nih.gov/pubmed/?term=Matsuura%20N%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Kanesaka T](http://www.ncbi.nlm.nih.gov/pubmed/?term=Kanesaka%20T%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Akasaka T](http://www.ncbi.nlm.nih.gov/pubmed/?term=Akasaka%20T%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Yamamoto S](http://www.ncbi.nlm.nih.gov/pubmed/?term=Yamamoto%20S%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Hanaoka N](http://www.ncbi.nlm.nih.gov/pubmed/?term=Hanaoka%20N%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Higashino K](http://www.ncbi.nlm.nih.gov/pubmed/?term=Higashino%20K%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Ishihara R](http://www.ncbi.nlm.nih.gov/pubmed/?term=Ishihara%20R%5BAuthor%5D&cauthor=true&cauthor_uid=26202127), [Iishi H](http://www.ncbi.nlm.nih.gov/pubmed/?term=Iishi%20H%5BAuthor%5D&cauthor=true&cauthor_uid=26202127). Features of electrocoagulation syndrome after endoscopic submucosal dissection for colorectal neoplasm. *J Gastroenterol Hepatol* 2015; In press [PMID: 26202127 DOI: 10.1111/jgh.13052]

99 **Uraoka T**, Parra-Blanco A, Yahagi N. Colorectal endoscopic submucosal dissection in Japan and Western countries. *Dig Endosc* 2012; **24 Suppl 1**: 80-83 [PMID: 22533758 DOI: 10.1111/j.1443-1661.2012.01279.x]

100 **Ohata K**, Ito T, Chiba H, Tsuji Y, Matsuhashi N. Effective training system in colorectal endoscopic submucosal dissection. *Dig Endosc* 2012; **24 Suppl 1**: 84-89 [PMID: 22533759 DOI: 10.1111/j.1443-1661.2012.01272.x]

101 **Toyonaga T**, Man-I M, Morita Y, Sanuki T, Yoshida M, Kutsumi H, Inokuchi H, Azuma T. The new resources of treatment for early stage colorectal tumors: EMR with small incision and simplified endoscopic submucosal dissection. *Dig Endosc* 2009; **21 Suppl 1**: S31-S37 [PMID: 19691730 DOI: 10.1111/j.1443-1661.2009.00872.x]

102 **Yoshida N**, Yagi N, Inada Y, Kugai M, Kamada K, Katada K, Uchiyama K, Ishikawa T, Takagi T, Handa O, Konishi H, Kokura S, Inoue K, Wakabayashi N, Abe Y, Yanagisawa A, Naito Y. Possibility of ex vivo animal training model for colorectal endoscopic submucosal dissection. *Int J Colorectal Dis* 2013; **28**: 49-56 [PMID: 22777001 DOI: 10.1007/s00384-012-1531-6]

103 **Parra-Blanco A**, Arnau MR, Nicolás-Pérez D, Gimeno-García AZ, González N, Díaz-Acosta JA, Jiménez A, Quintero E. Endoscopic submucosal dissection training with pig models in a Western country. *World J Gastroenterol* 2010; **16**: 2895-2900 [PMID: 20556835 DOI: 10.3748/wjg.v16.i23.2895]

104 **Draganov PV**, Chang M, Coman RM, Wagh MS, An Q, Gotoda T. Role of observation of live cases done by Japanese experts in the acquisition of ESD skills by a western endoscopist. *World J Gastroenterol* 2014; **20**: 4675-4680 [PMID: 24782619 DOI: 10.3748/wjg.v20.i16.4675]

105 **Saito Y**, Emura F, Matsuda T, Uraoka T, Nakajima T, Ikematsu H, Gotoda T, Saito D, Fujii T. A new sinker-assisted endoscopic submucosal dissection for colorectal cancer. *Gastrointest Endosc* 2005; **62**: 297-301 [PMID: 16046999 DOI: 10.1016/S0016-5107(05)00546-8]

106 **Gotoda T**, Oda I, Tamakawa K, Ueda H, Kobayashi T, Kakizoe T. Prospective clinical trial of magnetic-anchor-guided endoscopic submucosal dissection for large early gastric cancer (with videos). *Gastrointest Endosc* 2009; **69**: 10-15 [PMID: 18599053 DOI: 10.1016/j.gie.2008.03.1127]

107 **Oyama T**. Counter traction makes endoscopic submucosal dissection easier. *Clin Endosc* 2012; **45**: 375-378 [PMID: 23251884 DOI: 10.5946/ce.2012.45.4.375]

108 **Okamoto K**, Muguruma N, Kitamura S, Kimura T, Takayama T. Endoscopic submucosal dissection for large colorectal tumors using a cross-counter technique and a novel large-diameter balloon overtube. *Dig Endosc* 2012; **24 Suppl 1**: 96-99 [PMID: 22533761 DOI: 10.1111/j.1443-1661.2012.01264.x]

109 **Sakamoto N**, Osada T, Shibuya T, Beppu K, Matsumoto K, Mori H, Kawabe M, Nagahara A, Otaka M, Ogihara T, Watanabe S. Endoscopic submucosal dissection of large colorectal tumors by using a novel spring-action S-O clip for traction (with video). *Gastrointest Endosc* 2009; **69**: 1370-1374 [PMID: 19403131 DOI: 10.1016/j.gie.2008.12.245]

110 **Tomiki Y**, Ishiyama S, Sugimoto K, Takahashi M, Kojima Y, Tanaka M, Sakamoto K. Colorectal endoscopic submucosal dissection by using latex-band traction. *Endoscopy* 2011; **43 Suppl 2 UCTN**: E250-E251 [PMID: 21837598 DOI: 10.1055/s-0030-1256513]

111 **Parra-Blanco A**, Nicolas D, Arnau MR, Gimeno-Garcia AZ, Rodrigo L, Quintero E. Gastric endoscopic submucosal dissection assisted by a new traction method: the clip-band technique. A feasibility study in a porcine model (with video). *Gastrointest Endosc* 2011; **74**: 1137-1141 [PMID: 22032320 DOI: 10.1016/j.gie.2011.07.037]

112 **Neuhaus H**, Costamagna G, Devière J, Fockens P, Ponchon T, Rösch T; [ARCADE Group](http://www.ncbi.nlm.nih.gov/pubmed/?term=ARCADE%20Group%5BCorporate%20Author%5D). Endoscopic submucosal dissection (ESD) of early neoplastic gastric lesions using a new double-channel endoscope (the "R-scope"). *Endoscopy* 2006; **38**: 1016-1023 [PMID: 17058167 DOI: 10.1055/s-2006-944830]

113 **Yonezawa J**, Kaise M, Sumiyama K, Goda K, Arakawa H, Tajiri H. A novel double-channel therapeutic endoscope ("R-scope") facilitates endoscopic submucosal dissection of superficial gastric neoplasms. *Endoscopy* 2006; **38**: 1011-1015 [PMID: 17058166 DOI: 10.1055/s-2006-944779]


114 **Uraoka T**, Kato J, Ishikawa S, Harada K, Kuriyama M, Takemoto K, Kawahara Y, Saito Y, Okada H. Thin endoscope-assisted endoscopic submucosal dissection for large colorectal tumors (with videos). *Gastrointest Endosc* 2007; **66**: 836-839 [PMID: 17905031 DOI: 10.1016/j.gie.2007.04.028]

**115 Morita Y**, Masuda M, Tanaka S, Fujiwara M, Wakahara C, Toyonaga T, Azuma T. Approach to treating difficult cases of early gastric cancer. Development of a double scope-ESD using transnasal endoscope with a “Split Barrel” [Japanese with English abstract]. *Endoscopia Digestiva* 2010; **22**: 846-852[See comment in PubMed Commons below](#comments)


116 **Yahagi N**, Neuhaus H, Schumacher B, Neugebauer A, Kaehler GF, Schenk M, Fischer K, Fujishiro M, Enderle MD. Comparison of standard endoscopic submucosal dissection (ESD) versus an optimized ESD technique for the colon: an animal study. *Endoscopy* 2009; **41**: 340-345 [PMID: 19340739 DOI: 10.1055/s-0029-1214473]

**P- Reviewer:** Matsumoto K, Yoshida N **S- Editor:** Song XX


**L- Editor:** **E- Editor:**




**Figure 1 Distal attachments for colorectal endoscopic submucosal dissection.** A: D-201; B: F-050; C: M-02; D: Short ST-hood.




**Figure 2** **Various types of endoknives used for colorectal endoscopic submucosal dissection.** A: DualKnife; B: Flushknife BT; C: Jet B-knife; D: Hooknife; E: SBknifeJr; F: Clutch cutter; G: ITknife-nano; H: Mucosectom-short blade; I: Mucosectom-long blade; J: Swanblade.



**Figure 3 Schema of the mucosal flap.** A: After injecting a solution in the submucosal layer, mucosal incision and deeper cut are made; B: Continuing to dissect the submucosal layer allows the creation of the “mucosal flap” [Red arrows (→) point to the “mucosal flap”]. Inserting the distal attachment under the mucosal flap provides good counter-traction to the submucosal layers and allows good visualization of the operative field. Therefore, completion of the mucosal flap facilitates subsequent submucosal dissection.

****

**Figure 4** **Endoscopic submucosal dissection of a laterally spreading tumor, non-granular type lesion using the clip-flap method.** A: A 45 mm, LST-NG was located at the sigmoid colon. The patient was first positioned so that the bowel wall containing the lesion was uppermost, and this maximizes the assistance of gravity during ESD; B: Submucosal injection and mucosal incision was performed at the proximal aspect of the lesion; C: Mucosal incision was made at the proximal aspect of the lesion using Flush Knife BT; D: Deeper cut of the proximal side was made; E: The submucosal layer could not be adequately visualized because it was hidden by the exfoliated mucosa at this region. Insertion of the distal attachment under the exfoliated mucosa was difficult because of the tight space between the exfoliated mucosa and muscle, despite the condition after submucosal injection; F: After the width of endoclip’s prongs was slightly narrowed, the edge of the exfoliated mucosa was clipped with an endoclip while lifting the exfoliated mucosa with the prongs of the endoclip, so that the deep layer of the submucosa was not grasped by the endoclip; G: The endoclip was attached to the exfoliated mucosa. The tail end of the endoclip attached to the mucosa slightly fell toward the intestinal lumen due to gravity, allowing the attachment to be easily inserted under the endoclip; H: The distal attachment was inserted under the endoclip, and then mucosa and the submucosal layer were elevated by the endoclip. The submucosal layer could be clearly visualized and dissected with the endoknife under the direct vision; I: The distal attachment could be inserted under the exfoliated mucosa by cutting the vasculature; J: Following mucosal flap formation, the submucosal layer could be dissected more easily; K: Dissection was completed following complete circumferential incision without any complications. Artificial ulcer after ESD; L: Resected specimen. Histopathological examination confirmed intramucosal cancer, and margin (−). LST-NG: Laterally spreading tumor, non-granular type; ESD: Endoscopic submucosal dissection.

****

**Figure 5** **Three steps of safe submucosal dissection using a scissor-type endoknife (SBknifeJr) in case of a vertical approach.** A: The endoscope was rotated and the exfoliated mucosa was turned down with a tip of an endoknife to clearly visualize the submucosal layer to be dissected along with the scissor tips; B: The edges of the scissor-type endoknife was opened; C: The submucosal layer under the exfoliated mucosa could be safely dissected by grasping and pulling up with the endoknife before application of an electrical current. Repeating these procedures led to the creation of the mucosal flap and successful endoscopic submucosal dissection.



**Figure 6 Management of perforation by clipping.** A: Perforation occurring during colorectal endoscopic submucosal dissection; B: Perforation closure using an endoclip.

**Table 1 Setting of high-frequency generators for colorectal endoscopic submucosal dissection using Flush Knife BT, Dual Knife, and hemostatic forceps (FD-410LR, FD-411QR)**

|  |  |  |  |
| --- | --- | --- | --- |
| **Device** | **Mucosal incision** | **Submucosal dissection** | **Hemostasis** |
| FlushKnifeBT with VIO 300D  (at our institution) | Endocut I, effect 2,  duration 3, interval 3 | Forced coag, effect 2, 40-50 W Swift coag, effect 2, 40-50 W | Forced coag, effect 2, 40-50 W Swift coag, effect 2, 40-50 W |
| with ICC 200 (at our institution) | Endocut, effect 2-3,  80-120 W | Forced coag, 40-50 W Endocut, effect 2-3, 80-120 W | Forced coag, 40-50 W |
| DualKnife with VIO 300D[49] | Dry cut, effect 2, 30 W | Swift coag, effect 4, 30 W | Swift coag, effect 4, 30 W |
| with ESG-100[59] | Pulse-cut-slow, 50 W | Forced coag, effect 2 | Forced coag, effect 2 |
|  |  |  |  |
| **Hemostatic forceps** |  |  |  |
| FD-410LR with VIO 300D[11] |  |  | Soft coag, effect 5, 50 W |
| with ICC 200  (at our institution) |  |  | Soft coag, 80 W |
| with ESG-100[59] |  |  | Soft coag, 80 W |
| FD-411QR with VIO 300D  (at our institution) |  |  | Soft coag, effect 6, 80-100 W |

**Table 2 Previous reports of treatment outcomes following colorectal endoscopic submucosal dissection**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ref. | Year | Country | Study  design | No. of  cases | Tumor  size (mm) | *En bloc*  resection  rate (%) | Complete  *en bloc*  resection  rate (%) | Perforation (%) | Bleeding (%) |
| Fujishiro *et al*[69] | 2007 | Japan | S, R | 200 | 29.9 | 91.5 | 70.5 | 6.0 | 1 |
| Tamegai *et al*[70] | 2007 | Japan | S, R | 71 | 32.7 | 98.6 | 95.6 | 1.4 |  |
| Hurlstome *et al*[29] | 2007 | United Kingdom | S, R | 42 |  | 78.6 | 73.8 | 2.4 | 11.9 |
| Taku *et al*[8] | 2007 | Japan | M, R | 43 |  |  |  | 14.0 |  |
| Zhou *et al*[9] | 2009 | China | S, R | 74 | 32.6 | 93.2 | 89.2 | 8.1 | 1.3 |
| Iizuka *et al*[71] | 2009 | Japan | S, R | 38 | 39 | 61 | 58 | 8.0 |  |
| Isomoto *et al*[64] | 2009 | Japan | S, R | 292 | 26.8 | 90.1 | 79.8 | 8.2 | 0.7 |
| Hotta *et al*[72] | 2010 | Japan | S, R | 120 | 35 | 93.3 | 85 | 7.5 |  |
| Niimi*et al*[73] | 2010 | Japan | S, R | 310 | 28.9 | 90.3 | 74.5 | 4.8 | 1.6 |
| Matsumoto *et al*[65] | 2010 | Japan | S, R | 203 | 32.4 |  | 85.7 | 6.9 |  |
| Yoshida*et al*[74] | 2010 | Japan | S, R | 250 | 29.1 | 86.8 | 81.2 | 6.0 | 2.4 |
| Tanaka *et al*[75] | 2010 | Japan | M, R | 8303 |  |  | 83.8 | 4.8 | 1.6 |
| Oka*et al*[76] | 2010 | Japan | M, R | 688 |  |  |  | 3.3 | 1.7 |
| Saito *et al*[77] | 2010 | Japan | M, P | 1111 | 35 | 88 |  | 4.9 | 1.5 |
| Kim *et al*[10] | 2011 | South Korea | S, R | 108 | 27.6 |  | 78.7 | 20.4 |  |
| Shono*et al*[78] | 2011 | Japan | S, R | 137 | 29.2 | 89.1 | 85.4 | 3.6 |  |
| Uraoka*et al*[79] | 2011 | Japan | S, R | 202 | 39.9 | 91.6 |  | 2.5 | 0.5 |
| Takeuchi *et al*[80] | 2012 | Japan | S, R | 348 | 30 | 91.1 |  | 2.3 | 4.6 |
| Probst*et al*[62] | 2012 | Germany | S, R | 82 | 45.5 | 81.6 | 69.7 | 1.9 | 7.9 |
| Toyonaga *et al*[12] | 2012 | Japan | S, R | 1143 |  | 99.3 |  | 1.4 | 1.2 |
| Homma *et al*[54] | 2012 | Japan | M, R | 102 | 32.4 | 100 |  | 1.0 |  |
| Tseng *et al*[81] | 2013 | Taiwan | S, R | 92 | 37.2 | 90.2 | 89.1 | 12.0 | 0 |
| Thorlacius*et al*[82] | 2013 | Sweden | S, R | 29 | 26 | 72 | 69 | 6.9 | 3.4 |
| Hülagü *et al*[83] | 2013 | Turkey | S, R | 44 | 30 | 77.3 |  | 4.5 | 9.1 |
| Hsu *et al*[84] | 2013 | Taiwan | S, R | 50 | 33 | 86 | 82 | 6.0 | 0 |
| Saito*et al*[52] | 2013 | Japan | S, R | 806 | 37 | 90 |  | 2.8 | 1.9 |
| Lee *et al*[85] | 2013 | South Korea | S, R | 1000 | 24.1 | 97.5 |  | 5.3 | 0.4 |
| Nakajima*et al*[86] | 2013 | Japan | M, P | 816 |  | 94.5 |  | 2.0 | 2.2 |
| Hori *et al*[87] | 2014 | Japan | S, P | 247 | 35 | 93.1 | 92.3 | 2.0 | 0.4 |
| Bialek*et al*[88] | 2014 | Poland | S, R | 37 | 37 | 86.5 | 81.1 | 0 | 5.7 |
| Nawata *et al*[56] | 2014 | Japan | S, R | 150 |  | 98.6 | 91.3 | 0 | 0 |
| Yamamoto *et al*[14] | 2015 | Japan | S, R | 119 | 32.5 | 97.5 | 90.8 | 0.8 | 1.7 |

S: Single center; M: Multicenter; R: Retrospective study; P: Prospective study.

**Table 3 Comparison of local recurrence rates after endoscopic mucosal resection and endoscopic submucosal dissection for removal of large colorectal tumors from previous single-center or multicenter studies**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Ref. | Study design | Recurrence rate after EMR (*En bloc* resection with EMR) (Tumor size with EMR) | Recurrence rate after ESD (*En bloc* resection with ESD) (Tumor size with ESD) | *P* value |
| Saito *et al*[92] | S, R | 14.0%; 33/228  (33%; 74/228) (28 ± 8 mm) | 2%; 3/145 (84%; 122/145) (37 ± 14 mm) | *P* < 0.0001 *P* < 0.0001 *P* = 0.0006 |
| Tajika *et al*[93] | S, R | 15.4%; 16/104  (48.1%; 50/104) (25.5 ± 6.8 mm) | 1.2%; 1/85  (83.5%; 71/85) (31.6 ± 9.0 mm) | *P* = 0.002 *P* < 0.001 *P* < 0.001 |
| Terasaki *et al*[94] | S, R | 8.0%; 14/176  (39.3%; 70/178) | 0%; 0/56 |  |
| Lee *et al*[95] | S, R | 25.7%; 29/113  (42.9%; 60/140) (21.7 ± 3.5 mm) | 0.8%; 2/257  (92.7%; 291/314) (28.9 ± 12.7 mm) | *P* < 0.001 *P* < 0.001 *P* < 0.001 |
| Oka *et al*[96] | M, P | 6.8%; 55/808  (53.2%; 430/808) (32.8 ± 15.7 mm) | 1.4%; 10/716  (95.0%; 680/716) (39.6 ± 18.6 mm) | *P* < 0.01  *P* < 0.01 |

S: Single center; M: Multicenter; R: Retrospective study; P: Prospective study; Tumor size: mean ± SD.