Name of Journal: World Journal of Gastrointestinal Oncology

ESPS Manuscript NO: 20980

Manuscript Type: Review

Role of Raman spectroscopy and surface enhanced Raman spectroscopy in colorectal cancer

Jenkins et al. Raman spectroscopy in colorectal cancer

Cerys A Jenkins, Paul D Lewis, Peter R Dunstan, Dean A Harris

Cerys A Jenkins, Paul D Lewis, Dean A Harris, Swansea University Medical School, Swansea University, SA2 8PP Swansea, United Kingdom

Dean A Harris, Department of Colorectal Surgery, Singleton Hospital, SA2 8QA Swansea, United Kingdom

Peter R Dunstan, Department of Physics, College of Science, Center for Nanohealth, Swansea University, SA2 8PP Swansea, United Kingdom

Author contributions: All authors contributed equally to the writing and proof reading of this paper.

Supported by Cancer Research Wales, No. 248767.

Conflict-of-interest statement: The authors report no conflict of interest.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Dean Harris, MD, FRCS, MB, ChB, Department of Colorectal Surgery, Singleton Hospital, SA2 8QA Swansea, United Kingdom. dean.a.harris@wales.nhs.uk

Telephone: +44-1792-285459

Received: June 27, 2015

Peer-review started: June 30, 2015

First decision: November 6, 2015

Revised: November 24, 2015

Accepted: March 7, 2016

Article in press:

Published online:

Abstract

Colorectal cancer (CRC) is the fourth most common cancer in the United Kingdom (UK) and is the second largest cause of cancer related death in the UK after lung cancer. Currently in the UK there is not a diagnostic test that has sufficient differentiation between patients with cancer and those without cancer so the current referral system relies on symptomatic presentation in a primary care setting. Raman spectroscopy and surface enhanced Raman spectroscopy (SERS) are forms of vibrational spectroscopy that offer a non-destructive method to gain molecular information about biological samples. The techniques offer a wide range of applications from in vivo or in vitro diagnostics using endoscopic probes, to the use of micro-spectrometers for analysis of biofluids. The techniques have the potential to detect molecular changes prior to any morphological changes occurring in the tissue and therefore could offer many possibilities to aid the detection of CRC. The purpose of this review is to look at the current state of diagnostic technology in the UK. The development of Raman spectroscopy and SERS in clinical applications relation for CRC will then be discussed. Finally, future areas of research of Raman/SERS as a clinical tool for the diagnosis of CRC are also discussed.

Key words: Detection; Colorectal Cancer; Spectroscopy; Raman; Surface enhanced Raman spectroscopy

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: This review focuses of the current role of Raman spectroscopy and surface enhanced Raman spectroscopy (SERS) in clinical applications of colorectal cancer. This includes a review of the current research into in vivo endoscopic Raman probes, non-destructive analysis of biofluids and the use of SERS in order to detect low concentration analytes that previously could not be detected with Raman spectroscopy. Both the advantages and disadvantages of the technology are discussed along with possible avenues of future research.

Jenkins CA, Harris DA, Lewis PD, Dunstan PR. Role of Raman spectroscopy and surface enhanced Raman spectroscopy in colorectal cancer. World J Gastrointest Oncol 2016; In press

INTRODUCTION

Colorectal cancer (CRC) is the fourth most common cancer in the United Kingdom (UK) and is the second largest cause of cancer related death in the UK after lung cancer[1]. Currently in the UK there is not a diagnostic test that has sufficient differentiation between patients with cancer and those without cancer so the current referral system relies on symptomatic presentation in a primary care setting[2,3]. CRC results from the progressive accumulation of genetic and epigenetic alterations that disrupt normal cellular mechanisms[4]. The 5-year survival rate for CRC detected in early stages are > 90%, however the 5-year survival rate for later-stage cancers is < 10%[1,5]. This highlights the need for a simple, reliable diagnostic test that can detect early signs of the disease. The majority of colorectal cancers present symptomatically in a primary care setting so it is important that general practitioners (GPs) can identify patients who are at highest risk[2]. The risk associated to patients is based on the referral guideline, in the UK is this based on a combination of symptoms and age of the patient[6]. The relationship between initial symptoms and mortality as a diagnostic indicator have previously been discussed in depth[2,3,7,8]. Unfortunately initial symptoms associated with colorectal cancer can also be symptoms of benign diseases such as irritable bowel syndrome (IBS)[6], and there is currently no diagnostic test available in primary care that has sufficient differentiation to base referral on [3]. Furthermore the detection of colorectal cancer using symptoms has been shown to be ineffective for decreasing mortality rates in comparison to the European average[9].

Raman spectroscopy and surface enhanced Raman spectroscopy (SERS) could hold many advantages for use as a diagnostic tool for colorectal cancer. These techniques have previously been used to discriminate between cancerous and non-cancerous tissue, biofluid samples, as well as in the development of in vivo Raman systems for use in endoscopy. The techniques are non-destructive to samples so can provide molecular information about a sample without the need for staining or in some cases without the need for resection. Raman and SERS have the potential to detect molecular changes in cancerous cells/tissues and biofluids that precede morphological changes such as the development of precursor lesions. The techniques could offer the potential for an early detection tool that detects molecular changes before the stage at which a traditional histopathology would be able to detect. This review paper will discuss the previous applications of Raman spectroscopy and SERS to detect colorectal cancer.

CURRENT DIAGNOSTIC PATHWAYS

In UK, CRC survival outcomes are lower than the European average, this is be attributed to a higher proportion of cancer being diagnosed at late-stage[9]. In order to combat the NHS rolled out a national screening program in 2006. There are currently two types of screening method available to screen for CRC and late-stage adenoma namely flexible sigmoidoscopy (FS) and measurement of markers in faecal samples[10]. FS is a procedure involving the insertion of an endoscope into the rectum of a patient in order to examine the distal colon and rectum; the procedure must be carried out by a trained doctor. Atkin et al[11] (2010) conducted a UK study into the effectiveness of a single FS procedure as a screening tool. A procedure for patients aged 55-64 years the study saw a 33% reduction in CRC cases and a 43% mortality reduction, however this is only applicable with respect to the distal colon [11]. However, the cost of a FS is high in comparison to tests that look for markers in faecal samples because it involves trained staff[12]. Moreover, it can be argued that the results of tests reliant on the opinion of a practitioner can be subjective depending on the experience of the practitioner.

In England and Wales the guaiac faecal Occult Blood test (gFOBT) is commonly used as a screening tool. The test is simple and cheap compared to other methods[12]. Problems that occur with gFOBT regarding dietary requirements of patients before taking the test are solved using immunochemical feacal occult blood testing (iFOBT)[13]. There are different types of iFOBT, all of which detect human specific haemoglobin in faecal samples. Investigations and meta-analysis studies have shown iFOBT to have improved sensitivity in the detection of colorectal cancers and late-stage adenomas in both high-risk, average- risk and populations with no overt rectal bleeding compared to gFOBT without compromising on specificity[14-17]. However, despite the improved sensitivity of iFOBT tests patient uptake of the screening programme in general is poor. In October 2008 of the 2.1 million people that had been invited to partake in the screening programs in England uptake was just 55%-60%[18]. Other diagnostic methods available to clinicians in the UK include double barium enema, CT colonoscopy, MRI imaging and colonoscopy. Outside of the UK there are other diagnostic tests are also in use such as the tumour M2-pyruvate kinase (tumour M2-PK) test. This is a faecal test that investigations have shown this to also be more sensitive than FOBT[19]. However, the cost effectiveness and the sensitivity and specificity of the M2-PK especially compared to the iFOBT still needs to be established in the UK as published results are in disagreement as to whether it is more effective than iFOBT[20]. There is also a real time polymerase chain reaction based blood test that is available outside of the UK that detects methylated Septin 9 (mSept9). The blood test has been shown to have sensitivity and specificity ranging from 50%-90% and 88%-91% respectively[21]. A blood test is a potentially more attractive option for patients compared to faecal and colonoscopy tests so studies are underway to determine if the higher cost of mSept9 would be recovered by higher screening uptake[22].

Raman spectroscopy could offer a highly sensitive and less invasive alternative/complimentary technique to aid CRC detection. However, Raman spectroscopy has not yet found its way into a routine clinical setting. This review will examine the current research status of the application of Raman spectroscopy for detecting CRC to critique the prospective translation of the technique to a clinical setting.

Methods for review

A systematic literature search (PubMed, MEDLINE, Web of Science) was conducted using the following terms; “Diagnosis” “Raman Spectroscopy”, “Surface enhanced Raman Spectroscopy”, “SERS”, “Colorectal cancer”, “Tissue”, “Biofluids”, “Immunoassay”, “CEA”. Following these searches 30 studies were selected for inclusion based on the criteria; (1) That they are original studies based on the clinical applications of Raman spectroscopy, SERS or both for CRC detection in human tissue, biofluids or cell lines; and (2) In the case where there are large amounts of similar studies that they were the first to report such data. Only studies published up to January 2015 were included in this review.

RAMAN SPECTROSCOPY AND SERS FOR THE DETECTION OF CRC

Introduction

Raman spectroscopy is a type of vibrational spectroscopy that allows the user to gain molecular information about a sample through the scattering of incident light. In general, when light is passed through or onto a sample a small proportion of the photons are scattered (approximately 10−5). The majority of this is Rayleigh or elastic scattering; where the energy of the incoming photon is equal to the energy of the scattered photon (Figure 1)[23].  Around 1 in 107 of the incident photons are in-elastically scattered resulting in the incident photon and the scattered photon having a difference in energy.

The inelastic scattering is a relatively weak effect which was first observed in 1928 by Sir CV Raman and is known as Raman scattering[24]. When scattered light is measured with a spectrometer a series of lines are observed, the shift in the energy [measured by wavenumber (cm−1)] from the Rayleigh line (equal to incident energy) is known as the Raman shift. The shift recorded corresponds to specific vibrational or rotational modes of the sample molecule. The intensity of the ‘Raman shift’ for a particular molecule is directly proportional to the concentration of that molecule within a sample so the resulting spectrum of a sample will be a superposition of Raman response of all the Raman active molecules from within a sample e.g., proteins, nucleic acids etc. It is interpreted as the molecular ‘fingerprint’ of the sample, an example of a spectrum can be seen in Figure 2. It is due to the `fingerprint’ that Raman is seen to be desirable for application to cancer detection because it offers the possibility of detecting minute differences in analyte concentrations and is a non-destructive technique.

Vibrational techniques

It should be noted that Raman is not the only type of vibrational spectroscopy that has been reviewed for clinical applications[25,26]. One of the other main areas of vibrational spectroscopy being applied to clinical applications is Fourier transform infrared spectroscopy (FTIR) and a type of enhancement infrared attenuated total reflection. FTIR relies on either the absorbance or the transmission of light through a sample, then similar to Raman the difference in the emitted and absorbed or transmitted light is measured to gain molecular information about a sample. This technique has also been used for diagnosis of colorectal cancer independently and also coupled with immunohistochemical staining[27,28]. Compared with other vibrational spectroscopy techniques Raman holds many desirable properties for the application to a screening method. One of the biggest advantages of using Raman spectroscopy is that samples can be in aqueous solutions due to water having a small Raman cross-section at near-infrared wavelengths, water has a high absorbance in FTIR and therefore can interfere with a spectrum. Table 1 shows a comparison table constructed from literature to give an overview of the strengths and weaknesses of FTIR, Raman and traditional hematoxylin and eosin staining (H&E) when used for clinical applications[25,29,30]. It suggests that for the application to biological samples such as tissues and biofluids Raman could be the most favorable option. Like FTIR it is non destructive and can be performed in real time compared to H&E staining. However, Raman spectroscopy has the advantage over FTIR of being able to scan over a larger wavenumber range than FTIR and with better spatial resolution than both FTIR and H&E. Furthermore, Raman is a technique that relies on scattering so measurements can be taken with single ended endoscopic probes. This is advantageous for in vivo applications because it makes it possible to study samples that are optically too thick for transmission techniques[31]. This, along with the need for a less invasive diagnostic tool that can analyse liquid biofluids leads to the remainder of this review focusing on the application of Raman and SERS technology.

Data manipulation

Many clinical applications of Raman and SERS use chemometic data analysis techniques in order to aid data manipulation and to pick out the small differences that could indicate disease. Details of principle component regression (PCR) and partial least squares (PLS) can be found in Kramer (1998)[32]. Principle component analysis (PCA) applications can be found in Shinzawa et al[33] (2009). This review will only state the technique that has been used in each study.

CLINICAL APPLICATIONS OF RAMAN SPECTROSCOPY IN CRC

Histopathological analysis of tissue biopsies is still considered the gold standard for the diagnosis of malignant tissues that have been surgically resected. Typically, thin sections of tissue are ‘fixed’ usually using formalin and then mounted onto glass slides and stained using various methods in order to determine TNM stage, tumour type, histologic grade and the level of vascular invasion. However, histopathology is a slow process that requires a trained pathologist, it is also inherently subjective[34]. Raman spectroscopy offers the possibility of determining the presence of malignancy by detecting differences in Raman spectral features between normal and malignant tissue. Previously, Raman spectroscopy has been applied to in vivo probes that have the ability to discriminate multiple tissue types[35,36] , biofluid analysis[37] and also analysis of cancerous cell lines for both discrimination and characterization[38,39]. The motivation behind using Raman used in vivo is to aid rapid diagnosis and help to identify possible areas of tissue for biopsy that might otherwise be missed. A summary of the literature and different applications of Raman towards clinical applications for CRC can be found in Table 2.

Table 2 shows that most clinical applications of Raman have been in the near-infrared (NIR) region using 785 nm laser excitation analysing tissue samples. This is likely due to reduced fluorescence of biological; samples in the NIR region, furthermore 785 nm laser is less powerful than visible region lasers so is less likely to cause damage to biological samples. The work is generally done in the ‘fingerprint region’ of the Raman spectrum i.e., 400-1800 cm-1 due to molecular bonds present in biological samples being Raman active in this region. All of the studies use chemometric data analysis so it seems for NR this is essential to differentiate the small differences in the Raman spectra when using biological samples. It is also clear that work in the field has previously been dominated work towards in vivo Raman probes for use during endoscopy but more recent work has used both Raman probes and microspectrometers.

Tissue analysis

Reviews dedicated to Raman spectroscopy for the use of in vivo probes for clinical use for many types of tissue including tissues of the gastrointestinal (GI) tract are already available[25,40,41]. Briefly, the in vivo probes for use during endoscopy for use with GI tissue was first introduced by Shim et al[42] (2000). In general, the in vivo probes use a laser excitation source in the NIR wavelength range (light is non-mutagenic in this region) coupled to an optical fibre probe. The probe can then act as both a source of light and a detector relaying a signal back to a charged coupled device (CCD) detector and computer analysis. The development of the probes is not a simple process, some materials that the probes are manufactured from have a large Raman cross sections leading to design challenges regarding signal to noise ratio (gaining unwanted noise from the material). Other issues can be caused by tissue fluorescence signal being larger than the Raman signal making data acquisition difficult and spectral acquisition times to be impractical for clinical applications (more than 10 min). Nevertheless, some research groups have been successful in designing probes for specific use with gastrointestinal tissue for use in routine endoscopy that have short acquisition times[35,43].

Shim et al[42] (2000) successfully applied an in vivo probe to gain Raman spectra of colonic and oesophageal tissues from 20 patients. The pressure spectral acquisitions were made with 5s exposure time and repeated at normal and malignant sites within both areas of interest. In the colonic tissue subtle differences between spectral area 1100-1800 cm−1 were identified however no significant prominent changes were evident. PCA and LDA analysis was then introduced in order to try and distinguish accuracy for application to GI diagnostics however no specific results relating to diagnostics were published.

Molckovsky et al[44] (2003) were the first to assess the diagnostic potential of near infrared Raman spectroscopy on colonic tissue by using adenomatous polyps as a model for dysplasia. The group used a custom-made fiber-optic Raman probe and used PCA-LDA analysis and LOOCV to analyse a total of 33 polyps from 8 patients. After an initial ex vivo study of polypectomy specimens that involved a total of 54 spectra the analysis algorithm identified a sensitivity of 91% and a specificity of 95%. An in vivo study was then conducted with a total of 19 spectra form 9 polyps, after spectral analysis the algorithm identified adenomas with a sensitivity of 100% and specificity of 89%. A similar study involving a higher number of specimens for a similar use on ex- vivo tissues was conducted by Widjaja et al[45] (2008), the group were able to differentiate cancerous tissue with 100% sensitivity and 98.1%-99.7% specificity using a diagnostic algorithm using PCA and LDA.

Raman spectroscopy has also been investigated as a complimentary technique to histopathology. The first application of Raman spectroscopy for characterisation of colonic tissue (among others) to discriminate between cancerous vs. normal was by Field et al[46] (1995). The group looked at the difference spectra between normal and cancerous tissue, this results showed potential that spectral differences in the tissue could be due to higher nucleic acid levels in the cancerous samples[46].

Beljebbar et al[47] (2009) used a Raman micro spectrometer on 27 normal and 27 cancerous ex-vivo frozen tissue samples. Unsupervised hierarchal cluster analysis to differentiate between normal and adenocarcinomatous human colonic tissues was discussed. The technique was based on the spatial distribution of molecular changes in colon constituents such as proteins, lipids and nucleic acids. The spectroscopic data was then used to create pseudo-colour Raman images of tissues for comparison with histopathological slides. The data was then used to create databases for the purpose of comparing unknown specimens. Six extra frozen unknown samples specimens were fed into the database and were correctly identified as either cancerous or normal[47]. This study showed the potential for Raman spectroscopy to aid histopathology by adding structural molecular information to the visible information gained from H&E staining. This study used frozen tissue samples but there are different fixation methods available. There have been studies on the effect that different fixation methods of both cell lines and tissue samples taken from resection has on the Raman spectral signature but these will not be discussed further in this review[48-50].

It should be noted that Raman spectroscopy used as an adjunct to histopathology has not just been applied to CRC. Some groups have investigated the use of stimulated Raman spectroscopy (SRS) to create spectral histopathological images for breast, brain and skin tissue among others[51-54]. For example, Satoh et al[54] (2014) used SRS and PCA multivariate analysis to produce Raman map images of damaged liver tissue in mice.  The images could then be compared to different staining methods used in histopathology.

DETECTION OF CRC IN BLOOD SAMPLES

The advantage of Raman spectroscopy over other vibrational techniques is its ability to analyse samples in aqueous solution with minimal background. This is advantageous for the study of samples such as urine and blood as they can be analysed without changing their composition by drying.

Berger et al[55] (1999) introduced the idea that Raman had potential for the analysis of biofluids, in particular human blood. Premasisri et al[56] (2012) found that the NR spectra of whole human blood are dominated by the normal modes of either oxygenated or deoxygenated haemoglobin por- phyrin macrocycle and haemoglobin. This leads to the assumption that if NR is to be used for the analysis of blood components such as malignancy specific proteins for CRC other than those associated with red blood cells (RBC) an enhancement mechanism has to be used or blood samples must have RBC removed in order to overcome this issue (Figure 3).

For example, Harris et al[57] (2009) discussed the potential of peripheral blood samples analysed by NR to provide cancer screening in head and neck cancer. Using Raman spectroscopy and LDA analysis alone the study found this technique to have approximately 65% specificity and sensitivity for the discrimination of cancer in peripheral blood samples. The use of non-enhanced Raman spectroscopy for the discrimination of blood serum between normal and colorectal cancer was first Reported by Li et al[37] (2012). Li et al[37] presents a study using clinical samples from 44 colon, 46 rectum and 30 healthy controls. Raman peak parameters and fluorescence background were used along with multivariate analysis techniques such as PCR and PLSR for the dimension deduction of spectral data. Then, LDA on PC’s is used to see diagnostic performance. Three distinct, Raman peaks were found to have significance at 1029 cm-1, 1538 cm-1 and 1170 cm-1. The 1538 cm-1 peak was assigned to beta-carotene and 1170 cm-1 to tryptophan and phenylalanine. The average spectra from the three sample groups were then compared and the latter two peaks were shown to decrease compared to the control group. This is explained as a decrease in anti-cancer related molecules.

This study showed that it is possible to discriminate between serum samples of patients with and without colorectal cancer. The result of the PCR-LDA analysis was promising as it identified normal samples with 87.5% accuracy and 96.7% specificity and colon cancer samples with a sensitivity of 84.8%.

SERS detection methods

Raman spectra are subject to interference from samples that exhibit fluorescence; a fluorescence signal is far greater than the Raman response so it can ‘hide’ any Raman signal. Fluorescence is fairly common when using wavelengths less than 785nm that are commonly used in biological studies. Also, when Raman is used on complex biological samples Raman peaks can be additive, making differentiation between biological markers difficult to resolve, this results in a reliance on data manipulation in order to detect small spectral differences. SERS offers a resolution to some of these issues as it reduces the effects of inherent fluorescence while increasing the intensity of the Raman response of the sample. Premasiri et al[58] (2001) demonstrated the need for an enhancement mechanism in order to detect some low concentration analytes in urine analysis by Raman spectroscopy. It was found that urea had a sufficiently high concentration to be analysed by NR in liquid form however, lower-level nitrogen compounds needed enhanced Raman spectroscopy in order to detect these compounds[58]. Therefore SERS was used as an enhancement mechanism in order to be able to detect the compounds that were in concentrations too small to detect with Raman.

The basic principle of SERS is to amplify the Raman response of a given analyte. The SERS effect was first discovered in 1974, and understood to be an enhancement of Raman scattering in 1977[59, 60]. This is generally achieved by having an analyte attached or close to the surface of a nanoscale metal substrate causing an enhancement factor of up to 1014−15[61,62]. The exact mechanism of SERS enhancement is still an area of active research, however it is generally accepted that two mechanisms contribute to the enhancement[63]. One is based on electromagnetic field enhancement due to excitation of electromagnetic resonances in the SERS active nanoscale metal substrate. The other is known as ‘Chemical enhancement’ which is a result of the metal electrons causing a charge transfer between the metal substrates and the adsorbates. The result of the combined enhancement is an extremely powerful technique that combines ultra sensitive detection limits with the molecular structure information from Raman spectroscopy giving the possibility of single molecule detection[64].

Clinical applications of SERS for CRC

The main use of SERS in clinical applications for CRC has been as a detection method. Lin et al[65] (2011) were the first to report SERS serum analysis for the detection of colorectal cancer. In their study colloidal gold nanoparticles were simply mixed with serum samples from 38 patients and 45 control samples and dropped onto an aluminium substrate. This technique is known as label-free SERS. It generally relies on blood constituents being adsorbed onto the surface of metallic nanoparticles causing an enhanced Raman response. In the Lin et al study a Raman micro-spectrometer (Renishaw, Great Britain) fitted with a 785 nm diode laser was used to gain spectra in the 300-1800 cm−1 range. Spectra from the two groups were normalised to the integrated area under the curve in the 350-1750 cm−1 wavenumber range. The mean spectrum for the normal serum and the cancer serum were then compared to isolate wavenumbers that showed the most variation between the two groups. Then an empirical diagnostic algorithm based on peak intensities at 725 cm−1 and 638 cm−1 was used to classify the normal and the cancer samples. These were chosen based on previous studies by Han et al[66] (2008) that showed the ratio to be important disease marker. This technique was compared PCA-LDA multivariate approach. The PCA analysis then used whole spectra to discern the spectral components that had the largest variation. After comparison the group found PCA-LDA to be more effective at detecting CRC. With specificities for detecting cancer to be 68.4% and 97.4% for the empirical approach and the multivariate approach respectively.

This study showed that through simply mixing gold nanoparticles with serum that it is possible to discriminate between normal and cancer samples using SERS along with both empirical and multivariate analysis techniques. The potential for using whole spectra coupled with PCA-LDA to be used as a screening technique for CRC was then discussed using the PCA-LDA methods in a second publication from the same group[65]. The two publications also included tentative peak assignments and major vibrational bands that have been previously observed in serum samples. The peak assignments are vital to being able to accurately describe what is happening at the molecular level when a patient has a disease. However, due to the additive nature and complex compounds found in serum samples it can sometimes be difficult to be sure of peak assignments. Furthermore, the methods described above such as looking at the 725 cm−1 band can be a marker for disease but it is not specific to CRC. In order for the technology to become useful as a diagnostic there is a need to have a Raman/SERS marker that is specific to CRC.

The need for specific detection has motivated the development of ‘labelled’ SERS probes. These probes have previously been used for detecting disease specific proteins in both tissue and serum samples[67-71]. They have also been used for the detection of circulating tumour cells[72]. However there is little reported on the specific application of targeted SERS probes for use in detecting CRC[73]. In general targeted SERS techniques rely on either aggregation of antibody-functionalised nanoparticles after exposure to a protein or they are used to form of sandwich immunoassay similar to that of an ELISA setup but using SERS active probes rather than fluorescent-tagged antibodies (Figure 4).

Both techniques offer advantages and disadvantages; techniques relying on the aggregation of nanoparticles use fewer antibodies and in general have very simple protocols that can be done on cheap substrates. However, when dealing with the aggregation of nanoparticles it can be difficult to ‘find’ the correct spot on a sample where the SERS intensity is greatest. Furthermore, studies relying on aggregation can be susceptible to large variation as controlling the aggregation can be difficult. SERS based immunoassay holds the advantage over aggregation because if the disease specific protein is in a sandwich style assay then the area to probe is easier to locate and the Raman signal is less likely to be variable, as one would expect more even coverage of the protein over the assay area. One advantage of both of these techniques over current fluorescence methods is that Raman bands are much narrower than those in fluorescence which means there is the potential to use more probes in a multiplex assay than is currently possible with fluorescent probes. Chen et al[73] (2013) developed a SERS based immunoassay for the detection of carcinoembryonic antigen (CEA) in serum of patients with colorectal cancers. CEA antibody functionalised glass slides were used in conjunction with SERS active probes that were also functionalised with CEA[73]. A range of concentrations from 5×10−3 - 5×105 ng/mL CEA were prepared and the SERS response monitored. The SERS intensity was linearly correlated with the concentration of CEA in the characteristic peak or the Raman reporter molecule at 1077 cm−1 and hence a calibration curve was established. CEA concentrations in serum samples form 26 patients with colorectal cancer were then analysed with both SERS immunoassay and electrochemical luminescence. The results were then compared and it was found that the two techniques had similar agreement. Using the calibration curve for the patient samples a detection limit of 5pg/ml was achieved. This is the only study specifically using CEA for the detection of CRC, however there is other work in the literature using CEA conjugated antibodies but towards use for other diseases[69,70].

Ito et al[74] (2014) developed a SERS based assay that used silver nanoscale hexagonal columns (NHC) on phosphor bronze chips. The chips were negatively ionized and 36 clinical serum samples from patients with benign diseases, gastric and colorectal cancers were dropped onto the chips. Using a 632.8 nm laser excitation, measurements were taken and two peaks appeared to be prominent in the SERS spectra at 1350 cm-1 and 1570 cm-1. Polynomial fitting was then used to determine SERS peak height for each of the samples. In order to validate that the SERS peak height and the concentration of the serum samples were correlated the measurements were repeated at different dilutions of the same serum sample. It was found that 10-fold dilutions were the saturating dilution for the NHC chips so 10 fold dilutions were used throughout the rest of the experiment. Finally the SERS peak height for both of the prominent peaks was compared between the three groups of samples and it was found that the SERS peak heights in the benign samples was indeed significantly lower than in the cancerous samples. This was calculated using the Pearson product-moment correlation coefficient and the non-parametric Spearman’s rank correlation coefficient.

Another slightly different approach to using SERS for clinical use for CRC is using SERS as a characterisation/validation tool when developing other nanoscale devices such as the work done by Campos de Paz et al[75] (2012). In this study SERS was used as a characterisation tool in the development of maghemite nanoparticles as a theragnostic device for CRC[75]. The SERS active nanoparticles used in this study were functionalised with Anti-CEA antigen in the hope that they can be used to detect primary and metastatic CRC, it was hoped by the authors that these nanoparticles could then be developed for a variety of applications including MRI enhancement and targeted drug delivery.

Limitations of Raman and SERS in clinical applications

Raman and SERS based tools have shown potential that they will have a place as either an alternative or an adjunct to current diagnostic methods. The development of SERS biomarker detection could also lead to its use in personalized medicine. However, there are still some limitations of Raman and SERS techniques that will need to be overcome before they are routinely used in a clinical setting. These include: (1) Many Raman studies involve costly equipment and expensive substrates, there will need to be investigations into cost reduction for large scale applications; (2) Raman and SERS studies that are carried out in a laboratory will require sample handling and storage, the effect of handling samples and storage techniques on the performance of Raman based tools will need to be quantified; (3) Thermal damage thresholds of in vivo tissue and ex vivo tissue samples from the colon and rectum will need to be established; (4) Many studies for clinical use different analytical techniques, and still require the skill of the user to determine the results of these techniques. User-friendly software for diagnostic analysis of the spectra will need to be developed and tested for multi-user reliability; (5) Inter equipment variability studies will need to be carried out, Raman equipment can often be susceptible to variability from external factors such as room temp, laser stability etc.; and (6) SERS based techniques have been subject to reproducibility issues, CRC is a heterogeneous disease so if immunoassay style tools are to be used then large scale studies with clinical samples will need to be carried out.

CONCLUSION

In the field of cancer detection Raman spectroscopy and SERS has gone through a period of rapid progress in the last decade. The use of Raman in clinical applications for CRC has previously been dominated by the discrimination of cancerous vs. non-cancerous tissue with only a few studies on the use of Raman with biofluids for CRC detection. There are currently successful in vivo Raman tools for real-time use during endoscopy. These tools can be used to gain molecular information through Raman imaging and traditional spectroscopy. Therefore, they aid current endoscopic techniques by giving extra molecular information that could potentially be missed using traditional methods. However, Raman tools are still in general expensive to produce and require specialist knowledge in order to operate the machinery. Furthermore, thermal thresholds for the damage of GI tissue need to be properly established before these tools can be ready for use in a routine clinical setting. In future, national multi-site trials that include large patient numbers are needed to study the thermal threshold of tissues. Future research into the large-scale manufacture (and miniaturisation) of Raman tools needs to be carried out to investigate variability between sites and investigate the cost effectiveness of Raman tools compared to current technology.

In order to detect low concentration analytes SERS has started to become an alternative method to Raman. SERS offers enhanced signals and reduced fluorescence compared to Raman. Current research uses different techniques to gain a SERS response from samples. One of the limitations of SERS based techniques has been that the variations in the plasmon resonance of nanostructures that cause a SERS response are subject to large variability. Therefore, in mixing style SERS methods research into reducing the variability in SERS response even across a single sample will need to be investigated. Another method of gaining a SERS response is through a SERS based immunoassay; this has been successfully used to detect the current accepted biomarker for CRC CEA. The immunoassay design is based on reducing variability by controlling separation of the SERS substrates. SERS immunoassay has the potential to have multiplex detection of analytes in both tissue and biofluids. This could be one of the biggest areas of development if CRC research follows that of diseases such as nasopharyngeal cancer[77]. Furthermore, if SERS is successfully used to detect different concentrations of biomarkers then this opens up the possibility into research towards personalised medicine and detecting changes in the levels of biomarkers using less invasive methods than are currently available in the UK (i.e., through blood based testing). There are currently other CRC detection tests in development that are more advanced than SERS such as mSept9 blood based testing. However, SERS based detection aims to have detection limits below the current available technology; therefore it offers the possibility of research into new biomarkers for CRC based on Raman or SERS spectral signals. Furthermore SERS and Raman based techniques still have the ability to be developed into techniques that are used in conjunction with other developing detection methods.

Both Raman and SERS techniques will also need further research into producing a universal method of background subtraction and analysis of data.  Currently many research groups use different methods of data analysis that can be complex and still require clinicians to interpret results using spectral knowledge. In order for Raman and SERS based detection to be implemented into a clinical setting simple, user-friendly programs will need to be produced that remove the need for interpretation of spectra by a user. If the spectral analysis is automated then Raman and SERS techniques have the potential to become “observer-independent” tools.

Raman and SERS techniques are currently still in development with the aim to be in regular use in a clinical setting. If the technological limitations are overcome then the techniques have the potential to produce more specific, affordable detection and screening for colorectal cancer that can be routinely used in a clinical setting as an alternative or an adjunct to current methods.

The final limitation to Raman and SERS based techniques will be that of persuading clinicians that the new technology can replace existing techniques, it is possible that national based trails showing the robustness of Raman and SERS techniques will go some way to achieving this.

REFERENCES

1 Cancer Research UK. UK key facts 2014. [accessed 2015 Jun]. Available from: URL: http: //www.cancerresearchuk.org/health-professional/cancer-statistics/statistics-by-cancer-type/bowel-cancer/incidence

2 Barrett J, Jiwa M, Rose P, Hamilton W. Pathways to the diagnosis of colorectal cancer: an observational study in three UK cities. Fam Pract 2006; 23: 15-19 [PMID: 16286462 DOI: 10.1093/fampra/cmi093]

3 Astin M, Griffin T, Neal RD, Rose P, and Hamilton W. The diagnostic value of symptoms for colorectal cancer in primary care: a systematic review. Br J Gen Pract 2011; 61: e231-243 [PMID: 21619747 DOI: 10.3399/bjgp11X572427]

4 Kheirelseid E, Miller N and Kerin, M. Molecular biology of colorectal cancer: Review of the literature. Am J Mol Biol 2013; 3: 72-80 [DOI: 10.4236/ajmb.2013.32010]

5 O'Connell JB, Maggard MA, Ko CY. Colon cancer survival rates with the new American Joint Committee on Cancer sixth edition staging. J Natl Cancer Inst 2004; 96: 1420-1425 [PMID: 15467030 DOI: 10.1093/jnci/djh275]

6 National institue of clinical excellence. NICE Guidelines [CG131]. Colorectal cancer, December 2014.

7 Stapley S, Peters TJ, Sharp D, Hamilton W. The mortality of colorectal cancer in relation to the initial symptom at presentation to primary care and to the duration of symptoms: a cohort study using medical records. Br J Cancer 2006; 95: 1321-1325 [PMID: 17060933 DOI: 10.1038/sj.bjc.6603439]

8 Hamilton W, Round A, Sharp D, Peters TJ. Clinical features of colorectal cancer before diagnosis: a population-based case-control study. Br J Cancer 2005; 93: 399-405 [PMID: 16106247]

9 UK Government. Direct access to diagnostic tests for cancer. Best practise referral pathways for GPs. [accessed 2012 Apr]. Available from: URL: https: //www.gov.uk/government/publications/direct-access-to-diagnostic-tests-for-cancer-best-practice-referral-pathways-for-general-practitioners

10 Duffy MJ, van Rossum LG, van Turenhout ST, Malminiemi O, Sturgeon C, Lamerz R, Nicolini A, Haglund C, Holubec L, Fraser CG, Halloran SP. Use of faecal markers in screening for colorectal neoplasia: a European group on tumor markers position paper. Int J Cancer 2011; 128: 3-11 [PMID: 20824704 DOI: 10.1002/ijc.25654]

11 Atkin WS, Edwards R, Kralj-Hans I, Wooldrage K, Hart AR, Northover JM, Parkin DM, Wardle J, Duffy SW, Cuzick J. Once-only flexible sigmoidoscopy screening in prevention of colorectal cancer: a multicentre randomised controlled trial. Lancet 2010; 375: 1624-1633 [PMID: 20430429 DOI: 10.1016/S0140-6736(10)60551-X]

12 Burch JA, Soares-Weiser K, St John DJ, Duffy S, Smith S, Kleijnen J, Westwood M. Diagnostic accuracy of faecal occult blood tests used in screening for colorectal cancer: a systematic review. J Med Screen 2007; 14: 132-137 [PMID: 17925085 DOI: 10.1258/096914107782066220]

13 Levin B, Brooks D, Smith RA, Stone A. Emerging technologies in screening for colorectal cancer: CT colonography, immunochemical fecal occult blood tests, and stool screening using molecular markers. CA Cancer J Clin 2003; 53: 44-55 [PMID: 12568443 DOI: 10.3322/canjclin.53.1.44]

14 Kaul A, Shah A, Magill FH, Hawkins SA, Skaife P. Immunological faecal occult blood testing: a discriminatory test to identify colorectal cancer in symptomatic patients. Int J Surg 2013; 11: 329-331 [PMID: 23459187 DOI: 10.1016/j.ijsu.2013.02.013]

15 Zhu MM, Xu XT, Nie F, Tong JL, Xiao SD, Ran ZH. Comparison of immunochemical and guaiac-based fecal occult blood test in screening and surveillance for advanced colorectal neoplasms: a meta-analysis. J Dig Dis 2010; 11: 148-160 [PMID: 20579218 DOI: 10.1111/j.1751-2980.2010.00430.x]

16 Parra-Blanco A, Gimeno-García AZ, Quintero E, Nicolás D, Moreno SG, Jiménez A, Hernández-Guerra M, Carrillo-Palau M, Eishi Y, López-Bastida J. Diagnostic accuracy of immunochemical versus guaiac faecal occult blood tests for colorectal cancer screening. J Gastroenterol 2010; 45: 703-712 [PMID: 20157748 DOI: 10.1007/s00535-010-0214-8]

17 Park DI, Ryu S, Kim YH, Lee SH, Lee CK, Eun CS, Han DS. Comparison of guaiac-based and quantitative immunochemical fecal occult blood testing in a population at average risk undergoing colorectal cancer screening. Am J Gastroenterol 2010; 105: 2017-2025 [PMID: 20502450 DOI: 10.1038/ajg.2010.179]

18 Logan RF, Patnick J, Nickerson C, Coleman L, Rutter MD, von Wagner C. Outcomes of the Bowel Cancer Screening Programme (BCSP) in England after the first 1 million tests. Gut 2012; 61: 1439-1446 [PMID: 22156981 DOI: 10.1136/gutjnl-2011-300843]

19 Haug U, Rotherbacher D, Wente MN, Steiler CM, Brenner H. Tumour M2-PK as a stool marker for colorectal cancer: comparative analysis in a large sample of unselected older adults vs colorectal cancer patients. Br J Cancer 2007; 96: 1329-1334 [PMID: 17406361 DOI: 10.1038/sj.bjc.6603712]

20 Sithambaram S, Hilmi I, Goh KL. The Diagnostic Accuracy of the M2 Pyruvate Kinase Quick Stool Test- A Rapid Office Based Assay Test for the Detection of Colorectal Cancer. PLoS One 2015; 10: e0131616 [PMID: 26158845  DOI: 10.1371/journal.pone.0131616]

21 Lee HS, Hwang SM, Kim TS, Kim DS, Park DJ, Kang SB, Kim HH, Park KU. Circulating Methylated Septin 9 Nucalic Acid in the Plasma of Patients with Gastrointestinal Cancer in the Stomach and Colon. Transl Oncol 2013; 6: 290-296 [PMID: 23730408]

22 Ladabaum U, Allen J, Wandell M, Ramsey S. Colorectal cancer screening with blood-based biomarkers: cost-effectiveness of methylated septin 9 DNA versus current strategies. Cancer Epidemiol Biomarkers Prev 2013; 22: 1567-1576 [PMID: 23796793 DOI: 10.1158/1055-9965.EPI-13-0204]

23 Lin C, Kuo K T, Chang H. Review: Raman spectroscopy - A novel tool for noninvasive analysis of ocular surface fluid. J Med Biol Eng 2010; 30: 343–354 [DOI: 10.5405/jmbe.846]

24 Loader J. Basic laser Raman spectroscopy. London: Heyden and Sons, 1970

25 Kendall C, Isabelle M, Bazant-Hegemark F, Hutchings J, Orr L, Babrah J, Baker R, Stone N. Vibrational spectroscopy: a clinical tool for cancer diagnostics. Analyst 2009; 134: 1029-1045 [PMID: 19475128 DOI: 10.1039/b822130h]

26 Old OJ, Fullwood LM, Scott R, Lloyd GR, Almond LM, Shepherd NA, Stone N, Barr H, Kendall C. Vibrational spectroscopy for cancer diagnostics. Anal Methods 2014; 3901–3917 [DOI: 10.1039/C3AY42235F]

27 Dong L, Sun X, Chao Z, Zhang S, Zheng J, Gurung R, Du J, Shi J, Xu Y, Zhang Y, Wu J. Evaluation of FTIR spectroscopy as diagnostic tool for colorectal cancer using spectral analysis. Spectrochim Acta A Mol Biomol Spectrosc 2014; 122: 288-294 [PMID: 24316544 DOI: 10.1016/j.saa.2013.11.031]

28 Li QB, Xu Z, Zhang NW, Zhang L, Wang F, Yang LM, Wang JS, Zhou S, Zhang YF, Zhou XS, Shi JS, Wu JG. In vivo and in situ detection of colorectal cancer using Fourier transform infrared spectroscopy. World J Gastroenterol 2005; 11: 327-330 [PMID: 15637737 DOI: 10.3748/wjg.v11.i3.327]

29 Kast RE, Tucker SC, Killian K, Trexler M, Honn KV, Auner GW. Emerging technology: applications of Raman spectroscopy for prostate cancer. Cancer Metastasis Rev 2014; 33: 673-693 [PMID: 24510129 DOI: 10.1007/s10555-013-9489-6]

30 Fischer AH, Jacobson KA, Rose J, Zeller R. Hematoxylin and eosin staining of tissue and cell sections. CSH Protoc 2008; 2008: pdb.prot4986 [PMID: 21356829 DOI: 10.1101/pdb.prot4986]

31 Berger AJ, Wang Y, Feld MS. Rapid, noninvasive concentration measurements of aqueous biological analytes by near-infrared Raman spectroscopy. Appl Opt 1996; 35: 209-212 [PMID: 21069001 DOI: 10.1364/AO.35.000209]

32 Kramer R. Chemometric Techniques for Quantitative Analysis. CRC Press, 1998.

33 Shinzawa H, Awa K, Kanematsu W, Ozaki Y. Multivariate data analysis for Raman spectroscopic imaging. J Raman Spectrosc 2009; 40: 1720–1725 [DOI: 10.1002/jrs.2525]

34 Fleming M, Ravula S, Tatishchev SF, Wang HL. Colorectal carcinoma: Pathologic aspects. J Gastrointest Oncol 2012; 3: 153-173 [PMID: 22943008 DOI: 10.3978/j.issn.2078-6891.2012.030]

35 Shim MG, Wilson BC. Development of an In vivo Raman Spectroscopic System for Diagnostic Applications. J Raman Spectrosc 1997: 28: 131–142. [DOI: 10.1002/(SICI)10974555(199702)28: 2/3<131: : AID-JRS68>3.0.CO; 2-S]

36 Mahadevan-Jansen A, Mitchell MF, Ramanujam N, Utzinger U, Richards-Kortum R. Development of a fiber optic probe to measure NIR Raman spectra of cervical tissue in vivo. Photochem Photobiol 1998; 68: 427-431 [PMID: 9747597 DOI: 10.1111/j.1751-1097.1998.tb09703.x]

37 Li X, Yang T, Li S. Discrimination of serum Raman spectroscopy between normal and colorectal cancer using selected parameters and regression-discriminant analysis. Appl Opt 2012; 51: 5038-5043 [PMID: 22858942 DOI: 10.1364/AO.51.005038]

38 Chen K, Qin Y, Zheng F, Sun M, Shi D. Diagnosis of colorectal cancer using Raman spectroscopy of laser-trapped single living epithelial cells. Opt Lett 2006; 31: 2015-2017 [PMID: 16770417 DOI: 10.1364/OL.31.002015]

39 Ranc V, Srovnal J, Kvítek L, Hajduch M. Discrimination of circulating tumor cells of breast cancer and colorectal cancer from normal human mononuclear cells using Raman spectroscopy. Analyst 2013; 138: 5983-5988 [PMID: 23945652 DOI: 10.1039/C3AN00855J]

40 Hanlon EB, Manoharan R, Koo TW, Shafer KE, Motz JT, Fitzmaurice M, Kramer JR, Itzkan I, Dasari RR, Feld MS. Prospects for in vivo Raman spectroscopy. Phys Med Biol 2000; 45: R1–R59 [DOI: 10.1088/0031-9155/45/2/201]

41 Utzinger U, Richards-Kortum RR. Fiber optic probes for biomedical optical spectroscopy. J Biomed Opt 2003; 8: 121-147 [PMID: 12542388 DOI: 10.1117/1.1528207]

42 Shim MG, Song LM, Marcon NE, Wilson BC. In vivo near-infrared Raman spectroscopy: demonstration of feasibility during clinical gastrointestinal endoscopy. Photochem Photobiol 2000; 72: 146-150 [PMID: 10911740 DOI: 10.1562/0031-8655(2000)0720146IVNIRS2.0.CO2]

43 Wood JJ, Kendall C, Hutchings J, Lloyd GR, Stone N, Shepherd N, Day J, Cook TA. Evaluation of a confocal Raman probe for pathological diagnosis during colonoscopy. Colorectal Dis 2014; 16: 732-738 [PMID: 24836008 DOI: 10.1111/codi.12664]

44 Molckovsky A, Song LM, Shim MG, Marcon NE, Wilson BC. Diagnostic potential of near-infrared Raman spectroscopy in the colon: differentiating adenomatous from hyperplastic polyps. Gastrointest Endosc 2003; 57: 396-402 [PMID: 12612529 DOI: 10.1067/mge.2003.105]

45 Widjaja E, Zheng W, Huang Z. Classification of colonic tissues using near-infrared Raman spectroscopy and support vector machines. Int J Oncol 2008; 32: 653-662 [PMID: 18292943 DOI: 10.3892/ijo.32.3.653]

46 Feld MS, Manoharan R, Salenius J, Orenstein-Carndona J, Roemer TJ, Brennan III JF, Wang Y. Detection and characterization of human tissue lesions with near-infrared Raman spectroscopy. In Photonics West'95, International Society for Optics and Photonics: 1995; 99-104

47 Beljebbar A, Bouché O, Diébold MD, Guillou PJ, Palot JP, Eudes D, Manfait M. Identification of Raman spectroscopic markers for the characterization of normal and adenocarcinomatous colonic tissues. Crit Rev Oncol Hematol 2009; 72: 255-264 [PMID: 19819161 DOI: 10.1016/j.critrevonc.2009.09.004]

48 Jess PR, Smith DD, Mazilu M, Dholakia K, Riches AC, Herrington CS. Early detection of cervical neoplasia by Raman spectroscopy. Int J Cancer 2007; 121: 2723-2728 [PMID: 17724716 DOI: 10.1002/ijc.23046]

49 Chan JW, Taylor DS, Thompson DL. The effect of cell fixation on the discrimination of normal and leukemia cells with laser tweezers Raman spectroscopy. Biopolymers 2009; 91: 132-139 [PMID: 18825777 DOI: 10.1002/bip.21094]

50 Meade AD, Clarke C, Draux F, Sockalingum GD, Manfait M, Lyng FM, Byrne HJ. Studies of chemical fixation effects in human cell lines using Raman microspectroscopy. Anal Bioanal Chem 2010; 396: 1781-1791 [PMID: 20087730 DOI: 10.1007/s00216-009-3411-7]

51 Mittal R, Balu M, Krasieva T, Potma EO, Elkeeb L, Zachary CB, Wilder-Smith P. Evaluation of stimulated Raman scattering microscopy for identifying squamous cell carcinoma in human skin. Lasers Surg Med 2013; 45: 496-502 [PMID: 23996592 DOI: 10.1002/lsm.22168.]

52 Schaeberle MD, Kalasinsky VF, Luke JL, Lewis EN, Levin IW, Treado PJ. Raman chemical imaging: histopathology of inclusions in human breast tissue. Anal Chem 1996; 68: 1829-1833 [PMID: 8686910 DOI: 10.1021/ac951245a]

53 Ji M, Orringer DA, Freudiger CW, Ramkissoon S, Liu X, Lau D, Golby AJ, Norton I, Hayashi M, Agar NY, Young GS, Spino C, Santagata S, Camelo-Piragua S, Ligon KL, Sagher O, Xie XS. Rapid, label-free detection of brain tumors with stimulated Raman scattering microscopy. Sci Transl Med 2013; 5: 201ra119 [PMID: 24005159 DOI: 10.1126/scitranslmed.3005954]

54 Satoh S, Otsuka Y, Ozeki Y, Itoh K, Hashiguchi A, Yamazaki K, Hashimoto H, Sakamoto M. Label-free visualization of acetaminophen-induced liver injury by high-speed stimulated Raman scattering spectral microscopy and multivariate image analysis. Pathol Int 2014; 64: 518-526 [PMID: 25274490 DOI: 10.1111/pin.12206.]

55 Berger AJ, Koo TW, Itzkan I, Horowitz G, Feld MS. Multicomponent blood analysis by near-infrared Raman spectroscopy. Appl Opt 1999; 38: 2916-2926 [PMID: 18319874 DOI: 10.1364/AO.38.002916]

56 Premasiri WR, Lee JC, Ziegler LD. Surface-enhanced Raman scattering of whole human blood, blood plasma, and red blood cells: cellular processes and bioanalytical sensing. J Phys Chem B 2012; 116: 9376-9386 [PMID: 22780445 DOI: 10.1021/jp304932g.]

57 Harris AT, Lungari A, Needham CJ, Smith SL, Lones MA, Fisher SE, Yang XB, Cooper N, Kirkham J, Smith DA, Martin-Hirsch DP, High AS. Potential for Raman spectroscopy to provide cancer screening using a peripheral blood sample. Head Neck Oncol 2009; 1: 34 [PMID: 19761601 DOI: 10.1186/1758-3284-1-34]

58 Premasiri WR, Clarke RH, Womble ME. Urine analysis by laser Raman spectroscopy. Lasers Surg Med 2001; 28: 330-334 [PMID: 11344513 DOI: 10.1002/lsm.1058]

59 Fleischmann M, Hendra PJ, and McQuillan AJ, Raman spectra of pyridine adsorbed at a silver electrode. Chem Phys Lett 1974; 26: 163–166 [DOI: 10.1016/0009-2614(74)85388-1]

60 Albrecht MG, Creighton JA. Anomalously intense Raman spectra of pyridine at a silver electrode. J Am Chem Soc 1977; 99: 5215-5217 [DOI: 10.1021/ja00457a071]

61 Kneipp K, Kneipp H, Manoharan R, Itzkan I, Dasari RR, Feld MS. Surface-enhanced Raman scattering (SERS)—a new tool for single molecule detection and identification. Bioimaging 1998; 6: 104–110 [DOI: 10.1002/1361-6374(199806)6: 2<104: : AID-BIO6>3.0.CO; 2-T]

62 Ru EL, Etchegoin P. Principles of Surface-Enhanced Raman Spectroscopy: and related plasmonic effects. Elsevier Science, 2008

63 Suetaka W. Surface infrared and Raman spectroscopy: methods and applications, vol 3. Springer Science, 1995

64 Kneipp K, Wang Y, Kneipp H, Perelman LT, Itzkan I, Dasari II, Feld MS, Single molecule detection using surface-enhanced Raman scattering (SERS). Phys Rev Lett 1997; 78: 1667–1670 [DOI: 10.1103/PhysRevLett.78.1667]

65 Lin J, Chen R, Feng S, Pan J, Li B, Chen G, Lin S, Li C, Sun LQ, Huang Z, Zeng H, Surface-enhanced Raman scattering spectroscopy for potential noninvasive nasopharyngeal cancer detection. J Raman Spectrosc 2012; 43: 497–502 [DOI: 10.1002/jrs.3072]

66 Han HW, Yan XL, Dong RX, Ban G, Li K. Analysis of serum from type II diabetes mellitus and diabetic complication using surface-enhanced Raman spectra (SERS). Appl Phys B 2008; 94: 667–672 [DOI: 10.1007/s00340-008-3299-5]

67 Ji X, Xu S, Wang L, Liu M, Pan K, Yuan H, Li T. Immunoassay using the probe-labeled Au/Ag core-shell nanoparticles based on surface-enhanced Raman scattering. Colloids Surf A Physicochem Eng Asp 2005; 257: 171-175

68 Chen JW, Lei Y, Liu XJ, Jiang JH, Shen GL, Yu RQ. Immunoassay using surface-enhanced Raman scattering based on aggregation of reporter-labeled immunogold nanoparticles. Anal Bioanal Chem 2008; 392: 187-193 [PMID: 18597080 DOI: 10.1007/s00216-008-2237-z]

69 Chon H, Lee S, Son SW, Oh CH, Choo J. Highly sensitive immunoassay of lung cancer marker carcinoembryonic antigen using surface-enhanced Raman scattering of hollow gold nanospheres. Anal Chem 2009; 81: 3029-3034 [ PMID: 19301845 DOI: 10.1021/ac802722c]

70 Song C, Min L, Zhou N, Yang Y, Yang B, Zhang L, Wang L. Ultrasensitive detection of carcino-embryonic antigen by using novel flower-like gold nanoparticle SERS tags and SERS-active magnetic nanoparticles. RSC Advances 2014; 4: 41666-41669 [DOI: 10.1039/C4RA08402K]

71 Chen Y, Zheng X, Chen G, He C, Zhu W, Feng S, Xi G, Chen R, Lan F, Zeng H. Immunoassay for LMP1 in nasopharyngeal tissue based on surface-enhanced Raman scattering. Int J Nanomedicine 2012; 7: 73-82 [PMID: 22275824 DOI: 10.2147/IJN.S26854]

72 Sha MY, Xu H, Natan MJ, Cromer R. Surface-enhanced Raman scattering tags for rapid and homogeneous detection of circulating tumor cells in the presence of human whole blood. J Am Chem Soc 2008; 130: 17214-17215 [PMID: 19053187 DOI: 10.1021/ja804494m]

73 Chen G, Chen Y, Zheng X, He C, Jianping Lu, Feng S, Chen R, Zeng H. Surface-enhanced Raman scattering study of carcinoembryonic antigen in serum from patients with colorectal cancers. Appl Phys B 2013; 113: 597–602 [DOI: 10.1007/s00340-013-5515-1]

74 Ito H, Inoue H, Hasegawa K, Hasegawa Y, Shimizu T, Kimura S, Onimaru M, Ikeda H, Kudo SE. Use of surface-enhanced Raman scattering for detection of cancer-related serum-constituents in gastrointestinal cancer patients. Nanomedicine 2014; 10: 599-608 [PMID: 24103303 DOI: 10.1016/j.nano.2013.09.00]

75 da Paz MC, Santos Mde F, Santos CM, da Silva SW, de Souza LB, Lima EC, Silva RC, Lucci CM, Morais PC, Azevedo RB, Lacava ZG. Anti-CEA loaded maghemite nanoparticles as a theragnostic device for colorectal cancer. Int J Nanomedicine 2012; 7: 5271-5282 [PMID: 23055733 DOI: 10.2147/IJN.S32139]

76 Lin D, Feng S, Pan J, Chen Y, Lin J, Chen G, Xie S, Zeng H, Chen R. Colorectal cancer detection by gold nanoparticle based surface-enhanced Raman spectroscopy of blood serum and statistical analysis. Opt Express 2011; 19: 13565-13577 [PMID: 21747512 DOI: 10.1364/OE.19.013565]

77 Feng S, Chen R, Lin J, Pan J, Chen G, Li Y, Cheng M, Huang Z, Chen J, Zeng H. Nasopharyngeal cancer detection based on blood plasma surface-enhanced Raman spectroscopy and multivariate analysis. Biosens Bioelectron 2010; 25: 2414-2419 [PMID: 20427174 DOI: 10.1016/j.bios.2010.03.033]

78 Bergholt MS, Zheng W, Lin K, Wang J, Xu H, Ren JL, Ho KY, Teh M, Yeoh KG, Huang Z. Characterizing variability of in vivo Raman spectroscopic properties of different anatomical sites of normal colorectal tissue towards cancer diagnosis at colonoscopy. Anal Chem 2015; 87: 960-966 [PMID: 25495077 DOI: 10.1021/ac503287u]

P- Reviewer: M’Koma A, Sipos F, Sugimura H

S- Editor: Wang JL L- Editor: E- Editor:

Figure 1 Energy shifts involved in light scattering interactions. Adapted from Lin et al[23].

Figure 2 Example Raman spectrum of dried human serum. Spectrum of dried droplet of human serum taken with 785 nm laser excitation, 10 s acquisition time with an InVia Raman spectrometer (Renishaw, UK).

Figure 3 An example spectrum of a surface enhanced Raman spectroscopy response vs Raman response of human blood plasma. Raman spectrum and surface enhanced Raman spectroscopy (SERS) spectrum of dried human plasma droplet at 10% laser power with with 785 nm laser excitation, 10 s acquisition time with an InVia Raman spectrometer (Renishaw, UK). SERS response gained by 1:1 mixing with 40 nm raw gold nanoparticles (Nanocs, USA). Purple: SERS response of plasma; Blue: Raman response of plasma.

A

B

Figure 4 Different methods of producing a surface enhanced Raman spectroscopy response with biological samples. A: Mixing based methods with both non-labeled mixing and labeled or ‘aggregation’ based mixing; B: Labeled surface enhanced Raman spectroscopy based immunoassay.

Table 1 A comparison of Raman spectroscopy, fourier transform infrared spectroscopy and hematoxylin and eosin staining strengths and weaknesses

|  | Raman spectroscopy | FTIR | H&E staining |
| --- | --- | --- | --- |
| Method of Detection | Inelastic scattering of monochromatic (Laser) light. | Absorbance (Polychromatic light source). | Combination of basic and acidic dyes. |
| Real Time | Yes | Yes | No |
| Wavenumber Range (cm-1) | 50-4000 | 400-4000 | N/A |
| Spatial Resolution | 1 μm | 5 μm | Cellular |
| Enhancement techniques | SERS, TERS, CARS, SORS,SRS | ATR | ‘Special’ staining |
| Effect of Water | Minimal | Large absorbance in NIR region | No |
| Destructive to sample | No | No | Yes |

TERS: Tip enhanced Raman spectroscopy; CARS: Coherent anti-Stokes Raman spectroscopy; SORS: Spatially offset Raman spectroscopy; SRS: Stimulated Raman spectroscopy; ATR: Attenuated total reflection.

Table 2 A summary of the different clinical applications of Raman spectroscopy to colorectal cancer

| Method | Sampling type | Sample number | Author/s | Year | Spectral region (cm-1) | Laser excitation (nm) | Data analysis |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Probe | In vivo (tissue) | 20 | Shim et al[42] | 2000 | 450-1800 | 785 | PCA, PLS, ANN |
| Probe | In vivo & ex vivo (tissue) | 9 | Molckovsky et al[44] | 2003 | 900-1800 | 785 | PCA, LDA, LOOCV |
| Micro-spectrometer | In vitro (Primary tissue) | 10 | Chen et al[38] | 2006 | 500-1900 | 782.5 | PCA |
| Probe | Ex vivo (tissue) | 59 | Widjaja et al[45] | 2008 | 800-1800 | 785 | PCA, SVM, LOOCV |
| Micro-spectrometer | Ex vivo (tissue) | 54 | Beljebbar et al[47] | 2009 | 600-1800 | 785 | SVM, PCA |
| Micro-spectrometer | In vitro (serum) | 120 | Li et al[37] | 2012 | 800-1800 | 785 | PCR, PLSR, LDA |
| Micro-spectrometer | In vitro (cell lines) | N/A | Ranc et al[39] | 2013 | 400-1800 | 532 | PCA |
| Probe | In vitro (tissue) | 177 | Wood et al[43] | 2014 | 800-1800 | 830 | PCA, LDA, LOOCV |
| Micro-spectrometer | In vivo (tissue) | 50 | Bergholt et al[78] | 2014 | 800-1800 and 2900-3600 | 785 | PLS, LDA |

PCA: Principle component analysis; LDA: Linear differential analysis; PLS/PLSR: Principle least squares regression analysis; LOOCV: Leave one out cross validation; ANN: Artificial neural network; SVM: Support vector machine.