Name of journal: World Journal of Hepatology

ESPS Manuscript NO: 2146

Columns: REVIEW

Transient elastography: Kill two birds with one stone?

Wong GLH. Fibroscan for liver fibrosis and steatosis

Grace Lai-Hung Wong

Grace Lai-Hung Wong, Department of Medicine and Therapeutics, and Institute of Digestive Disease, The Chinese University of Hong Kong, Hong Kong, China

Author contributions: Wong GLH performed the literature review, analyzed data and wrote the paper.

Correspondence to: Grace Lai-Hung Wong, MD, Department of Medicine and Therapeutics, and Institute of Digestive Disease, The Chinese University of Hong Kong, 9/F Prince of Wales Hospital, 30-32 Ngan Shing Street, Shatin, Hong Kong, China. wonglaihung@cuhk.edu.hk

Telephone: +86-852-26323593		Fax: +86-852-26373852

Received: January 31, 2013               Revised: March 1, 2013

Accepted: March 6, 2013

Published online:

Abstract

Assessment of liver fibrosis and steatosis is crucial in chronic liver diseases in order to determine the prognosis, the need of treatment, as well as monitor disease progression and response to treatment. Liver biopsy is limited by its invasiveness and patient acceptability. Transient elastography (TE, Fibroscan() is a non-invasive tool with satisfactory accuracy and reproducibility to estimate liver fibrosis and steatosis. TE has been well validated in major liver diseases including chronic hepatitis B and C, non-alcoholic fatty liver disease, alcoholic liver disease, primary biliary cirrhosis, and primary sclerosing cholangitis. As alanine aminotransferase (ALT) is one of the major confounding factors of liver stiffness in chronic hepatitis B, an ALT-based algorithm has been developed and higher liver stiffness measurements (LSM) cutoff values for different stages of liver fibrosis should be used in patients with elevated ALT levels up to 5 times of the upper limit of normal. Otherwise falsely-high LSM results up to cirrhotic range may occur during ALT flare. TE is also useful in predicting patient prognosis such as development of hepatocellular carcinoma (HCC), portal hypertension, post-operative complications in HCC patients, and also survival. Unfortunately, failed acquisition of TE is common in obese patients. Furthermore, obese patients may have higher LSM results even in the same stage of liver fibrosis. The new XL probe, a larger probe with lower ultrasound frequency and deeper penetration, increases the success rate of TE in obese patients. The median LSM value with XL probe was found to be lower than that by the conventional M probe, hence cutoff values approximately 1.2 to 1.3 kPa lower than those of M probe should be adopted. Recent studies revealed a novel ultrasonic controlled attenuation parameter (CAP) of the machine is a useful parameter to detect even low-grade steatosis noninvasively. CAP may also be used to quantify liver steatosis by applying different cutoff values. As both LSM and CAP results are instantly available at same measurement, this makes TE a very convenient tool to assess any patients who are suspected or confirmed to suffer from chronic liver diseases.

© 2013 Baishideng. All rights reserved.

Key words: Biopsy; Cirrhosis; Fibrosis; Hepatitis; Fatty Liver; Steatosis of liver

Core tip: Transient elastography (TE, Fibroscan() is a non-invasive tool with satisfactory accuracy to estimate liver fibrosis and steatosis. Liver stiffness measurement (LSM) with TE has been well validated to detect advanced fibrosis in most liver diseases. LSM is useful in predicting hepatocellular carcinoma (HCC), portal hypertension, post-operative complications in HCC patients, and survival. The new XL probe increases the success rate of TE in obese patients. A novel ultrasonic controlled attenuation parameter (CAP) of the machine is useful to detect steatosis noninvasively. Simultaneous LSM and CAP results make TE very convenient to assess any patients with suspected or confirmed liver diseases.

Wong GLH. Transient elastography: Kill two birds with one stone?

World J Hepatol 2013;

Available from: URL: http://www.wjgnet.com/esps/

DOI: http://dx.doi.org/10.4254/wjh.v0.i0.0000

INTRODUCTION

Liver fibrosis is the natural wound-healing response to parenchymal injury in chronic liver diseases. Simple steatosis is a usually reversible and benign condition, but steatosis may be part of the more sinister condition in the setting of steatohepatitis where inflammation and hepatocyte changes co-exist[1-3]. Both liver fibrosis and steatohepatitis may eventually result in liver cirrhosis and its various complications. Sensitive detection and accurate staging of liver fibrosis and steatosis is now essentially indispensable in the decision process of treatment in chronic viral hepatitis as well as predicting disease prognosis[4,5]. It is also vital to monitor disease progression and response to treatment.

LIVER BIOPSY: DRAWBACK OF THIS “GOLD STANDARD”

Liver biopsy has been the “gold standard” for assessing liver fibrosis and steatosis in the last few decades[6,7]. However, it has numerous limitations namely its invasive nature, risk of complications, patient discomfort, and sampling errors[8,9]. Complications associated with liver biopsy are rare but can be severe and even life threatening. Pain and hypotension are the predominant complications for which patients are hospitalized[10]. Clinically significant intraperitoneal hemorrhage is the rarest but most serious bleeding complication of percutaneous liver biopsy, which may happen more often in older age patients with cirrhosis or liver cancer[11]. Inadvertent puncture of gallbladder may lead to choleperitoneum[12]. The mortality rate among patients after percutaneous liver biopsy is approximately 1 in 10 000 to 1 in 12 000[13]. All these problems make it impractical to perform serial biopsies to assess disease progression in routine clinical practice[5]. The cost of liver biopsy is generally high as an in-patient bed, at least as day admission to hospital, is required. Including the charges of specialist doctor, nursing care and histologic examinations, it usually costs at the range of USD $800 to USD $1200 in Hong Kong.

The diagnostic accuracy of liver biopsy is limited by the sampling variability[14-16]. The average size of biopsy is 15 mm in length, which represents 1/50 000 the size of the entire liver. There is significant variability in the histologic assessment of two readings of the same biopsy by the same pathologist, and between two pathologists, even among those who are highly specialized[8]. This variability is low for the diagnosis of cirrhosis (kappa coefficient of concordance ≥ 0.80), moderate for earlier fibrosis stages (kappa 0.70–0.80), but high for the activity grades (kappa 0.40–0.50)[8]. Fortunately, the variability is usually low for the diagnosis of steatosis (kappa coefficient of concordance ≥ 0.80)[4]. Given the above limitations to the practice of liver biopsy, a noninvasive transient elastography has been proposed as an alternative tool.

TRANSIENT ELASTOGRAPHY

Working principles of liver stiffness measurement

Transient elastography (TE; Fibroscan(; Echosens, Paris, France) measures liver stiffness[17] in patients suffering from different chronic liver diseases[18]. An ultrasound transducer probe is mounted on the axis of a vibrator. Vibrations of mild amplitude and low frequency (50 Hz) are transmitted by the transducer, inducing a plastic shear wave that propagates through the underlying tissues. Pulse-echo ultrasound acquisition is used to follow the propagation of the shear wave and to measure its velocity, which is directly related to tissue stiffness. The stiffer the tissue, the faster the shear wave propagates. TE measures liver stiffness in a volume that approximates a cylinder 1 cm in diameter and 4 cm in length, between 25 mm to 65 mm underneath the skin surface. This volume is at least 100 times bigger than a biopsy sample, and therefore should be more representative of the liver parenchyma[17]. Results of liver stiffness measurement (LSM) are expressed in kPa and correspond to the median of 10 validated measurements according to Sandrin et al[17]. According to the manufacturer, the examination is considered reliable if ≥10 valid measurements are acquired, the success rate (number of valid acquisitions divided by the number of attempts) is over 60%, and the ratio of the interquartile range to the median of 10 measurements (IQR/M) is ≤ 0.3[17].

Working principles of controlled attenuation parameter

It is important to assess liver steatosis, not only because NAFLD is the commonest liver disease[19], but also that steatosis often coexists in other chronic liver diseases likely chronic hepatitis C (CHC)[20]. A new physical parameter based on the properties of ultrasonic signals acquired by the machine has been recently developed to assess liver steatosis by applying the property that liver steatosis affects ultrasound propagation[21]. This controlled attenuation parameter (CAP), is measuring ultrasound attenuation (go and return path) at 3.5 MHz using signals acquired by the M probe of TE machine. Ultrasound attenuation is a physical property of the medium of propagation which corresponds to the loss of energy as ultrasound travels through the medium. Due to attenuation, the intensity of the emitted ultrasound decreases exponentially with depth[21]. At a given frequency, the ultrasound-attenuation coefficient (α) can be expressed in dB/m. The CAP is measured only on validated measurements according to the same criteria used for LSM, and on the same signals. This ensures that the operator obtains a liver ultrasonic attenuation simultaneously and in the same volume of liver parenchyma as the LSM. The final CAP value was the median of individual CAP values using the same valid measurements[22].

Practical issues

TE has the advantages of being painless, rapid (usually less than 5 min) and easy to perform at the bedside or in the outpatient clinic. The examination is performed on a non-fasting patient lying supine with the right arm placed behind the head to facilitate access to the right upper quadrant of the abdomen. The tip of the probe transducer is placed on the skin between the rib bones at the level of the right lobe of the liver where liver biopsy would be performed. Once the measurement area has been located, the operator presses the button on the probe to start an acquisition. The software determines whether each measurement is successful or not. The cost of a TE examination ranges from USD $100 to USD $150 in Hong Kong, which is much lower than a liver biopsy examination. It is obvious that TE is a user- and patient-friendly, but it would be even more important to be an accurate tool to assess liver fibrosis and steatosis.

ACCURACY OF TRANSIENT ELASTOGRAPHY

Liver stiffness measurement

Reproducibility of TE is an important feature for its widespread clinical application. The reproducibility of LSM was excellent for both inter-observer and intra-observer agreement, with intraclass correlation coefficients (ICC) of 0.98[23]. However, interobserver agreement was significantly reduced in patients with lower degrees of liver fibrosis (ICC for F0–1 and F2 were 0.60 and 0.99 respectively), with liver steatosis (ICC for steatosis < 25% and 25% of hepatocytes 0.98 and 0.90 respectively), and with increased body mass index (ICC for body mass index ≥ 25 kg/m2 and < 25 kg/m2 were 0.98 and 0.94 respectively).

Using TE to assess liver fibrosis has been widely validated in different liver diseases, including chronic hepatitis C (CHC)[4,24,25], chronic hepatitis B (CHB)[26-28], co-infection with HIV[29], non-alcoholic fatty liver disease (NAFLD)[30,31], alcoholic liver disease[32], primary biliary cirrhosis (PBC), primary sclerosing cholangitis (PSC)[33], post-liver transplantation setting[34], and in cystic fibrosis[35,36]. In these studies, TE was valid with liver histology being the gold standard. In general, all these studies confirm that TE has good overall accuracy to diagnose advanced fibrosis and cirrhosis (though some uncommon diseases like PSC and cystic fibrosis are under-represented by small numbers of patients), independent of the underlying etiology[37,38]. The remaining controversy is the optimal cutoff values to diagnose advanced fibrosis and cirrhosis, which differ according to particular etiologies. This has significant implication when a clinician interprets TE results. The suggested diagnostic performance and cutoff values for histologic cirrhosis (F4) based on published studies are summarized in Table 1.

Controlled attenuation parameter

In a retrospective study of 115 patients of mixed etiologies of chronic liver diseases, CAP was found efficient to detect low grade steatosis (> 10%), with a sensitivity of 91% and specificity of 81% at a cutoff value of 238 dB/m[21]. The accuracy of CAP was confirmed in two prospective studies of mixed etiologies[39,40], as well as in individual etiology, including CHB, CHC, NAFLD and alcoholic liver disease[41-44]. The suggested diagnostic performance and cutoff values for different degrees of steatosis are summarized in Table 2. As a well-validated tool, TE is also well-investigated in different aspects of clinical applications.

Clinical applications of transient elastography

Pre-treatment assessment of liver fibrosis

The severity of liver fibrosis is the key factor of timing and choice of therapy. This is particularly relevant in chronic viral hepatitis. Current international guidelines recommend antiviral therapy for CHB patients with significant liver fibrosis[45-47]. As TE has been repeatedly shown to have satisfactory accuracy to exclude and diagnose advanced fibrosis and cirrhosis as mentioned above, more than half of the patients might reach treatment decision without the need for confirmatory liver biopsies[26]. TE is also found to be more cost-effective than liver biopsy[48]. TE has been incorporated in the international guidelines of CHB and CHC[45,46]. TE, together with other non-invasive parameters, can also be used as the screening tool for cirrhosis in asymptomatic people[49-51], as well as the diagnostic and/or prognostic tool of NAFLD, such that the need of liver biopsy can be reduced[52,53].

Follow-up assessment of liver fibrosis

A few longitudinal studies have been reported that patients responding to treatment had low or decreased liver stiffness[54]. In fact, both reduction in fibrosis and necroinflammation might contribute to the decrease in liver stiffness[55]. In a prospective study of 71 CHB patients on antiviral therapy, paired liver biopsy and TE were both performed at baseline and at 1 year of treatment[56]. Although TE remained accurate in distinguishing patients with insignificant disease from those with advanced fibrosis or cirrhosis at both time points, the absolute change in liver stiffness correlated poorly with the change in histological fibrosis stage, and resolution of advanced fibrosis could only be assumed with significantly decreased liver stiffness to 5.0 kPa or less after antiviral treatment[56].

Predict portal hypertension and variceal bleeding

TE is found useful to identify cirrhotic patients with higher risk of portal hypertension, and cutoff values of 17.6 kPa and 21.0 kPa having sensitivity ≥ 90% in order to detect patients with hepatic venous pressure gradient (HVPG) above 10-12 mmHg[57,58]. Presence of varices could be excluded with a liver stiffness below 12.5-19.8 kPa[59,60]. Unfortunately, these suggested cutoff values overlap with those for detecting histologic cirrhosis in most chronic liver diseases. Hence there seems no significant new information provided by TE regarding screening endoscopy for varices among cirrhotic patients.

Predict hepatocellular carcinoma

TE is also useful to predict the risk other liver-related complications and death. A dose–response relationship between LSM and risk of hepatocellular carcinoma (HCC) was found in both CHB and CHC patients (Table 3). Taking patients with LSM ( 10.0 kPa as reference, the hazard ratios of developing HCC were 17, 21, 26, and 46 in patients with LSM at 10.1–15.0 kPa, 15.1–20.0 kPa, 20.1–25.0 kPa, and above 25.0 kPa respectively, in a prospective cohort of 866 CHC patients[61]. Patients with LSM ( 8.0 kPa acted as the control group, the hazard ratios of developing HCC were 3.1, 4.7, 5.6, and 6.6 in patients with LSM at 8.1–13.0 kPa, 13.1–18.0 kPa, 18.1–23.0 kPa, and above 23.0 kPa respectively in another cohort of 1,130 CHB patients[62]. LSM, as well as FibroTest, can also predict 5-year survival of patients with CHC; the prognostic values of LSM remained even after adjustments for treatment response, patient age, and degree of necroinflammation[63].

Predict post-operative outcomes

LSM is also an important prognostic tool in patients confirmed to have HCC. A prospective study of 105 HCC patients demonstrated that a LSM cutoff of 12.0 kPa had the sensitivity of 86% and specificity of 72% in predication of major post-operative complications[64]. This cutoff might also identify patients with more severe operative blood loss and higher transfusion rate[64]. Another study of 133 HCC patients revealed that patients of LSM ≥ 13.4 kPa had a nearly 2-fold increase in the risk of HCC recurrence compared to those with LSM < 13.4 kPa[65].

Assessment of liver steatosis

Liver steatosis is a common histological feature in the general population and in patients with chronic liver disease. Its prevalence is high: almost 30% in the general population[66, 67], 50% in patients with CHC[68], above 80% in severely obese patients[69]. Liver steatosis plays a pivotal role in CHC, as metabolically (instead of virally) induced steatosis is associated with a lower response rate to antiviral treatment[70] and liver fibrosis progression[71]. Steatosis may also increase the risk of HCC[72]. Detection of liver steatosis is also important to the potential donors for liver transplantation, as their extent of steatosis is directly related to primary non-functioning of the graft, which may result in mortality or the need for re-transplantation[73]. Liver steatosis is also a risk factor for post-operative complications and mortality after liver resection[74].

There have been enough data to prove TE is accurate and applicable in different clinical settings. How this tool also has a few shortcomings that any user should keep in mind.

LIMITATIONS OF TRANSIENT ELASTOGRAPHY

Factors affecting accuracy of measurements

Not only liver fibrosis but also other factors contribute to the liver stiffness. LSM has been consistently found to be falsely elevated in acute hepatitis manifested as alanine aminotransferase (ALT) flares[75,76]. Severe hepatic necroinflammation may lead to LSM values well within the cirrhotic range even in the absence of fibrosis on histology[55,77,78]. In this setting, LSM tends to decrease considerably after the resolution of acute hepatitis. Therefore, applying TE in this scenario can be misleading and not recommended until at least 3 mo after normalization or at least stabilization of ALT levels below 5 times the upper limit of normal[26,76] (Figure 1). An ALT-based algorithm has been developed and higher LSM cutoff values for different stages of liver fibrosis should be used in patients with elevated ALT levels (Figure 2). This also leads to another advantage of liver biopsy over TE that at this stage the necroinflammatory score is only available in histologic assessment.

Extrahepatic cholestasis[79], hepatic congestion[80,81], hepatic amyloidosis[82] and recent food intake (within 60 min)[83] were also found associated with a falsely high LSM values. Fortunately, the degree of liver steatosis does not appear to affect LSM results, therefore TE remains an accurate tool for fibrosis assessment in CHC and NAFLD[24,31]. A recent study found that the correlation between LSM and fibrosis stage was less strong in CHB and NAFLD than in CHC patients[84]. Our recent study showed that NAFLD patients with BMI 30 kg/m², the lowest limit of an abnormal BMI in NAFLD, would have higher LSM values by M probe even in the same fibrosis stage[85]. This provocative finding may lead to concern about the M probe accuracy in obese patients. The emergence of XL probe is a possible solution to this issue.

Factors affecting success rate of measurements

It has been noted that unreliable and failed LSM occur at about 3% and 11.6% to 18.4% in all TE examinations, respectively, and they are independently associated body mass index (BMI) > 30 kg/m² in both Caucasians and Chinese[86,87]. The success rate of LSM with M probe would be as low as 75% in NAFLD patients with BMI > 30 kg/m2[31]. The low LSM success rate among obese patients is likely related to the thick subcutaneous fat, which hinders the transmission of shear waves and ultrasound waves through the liver parenchyma[87]. Patients with extreme very high and very low BMI were recently found to have higher LSM values in an Indian population[88]. Subjects with narrow intercostal space, high riding liver, hyperinflated lungs, ascites or free peritoneal fluid[17] may also have lower success rate or failed acquisition of LSM.

A recent study challenged the validity of the reliability criteria suggested by the manufacturer of 1165 patients with chronic liver diseases who underwent LSM within 3 mo of liver biopsy. The investigators found the number of successful acquisitions, and its success rate having no influence on the diagnostic accuracy[89]. Furthermore, LSM remained reliable even if the ratio of the interquartile range to the median of 10 measurements (IQR/M) > 0.30, provided that the median LSM < 7.1 kPa. These new findings implied that LSM results were more reliable than what was previously described.

Validity and availability of controlled attenuation parameter

Only a few studies on CAP have been published so far, and a few of them were only in abstract form. Hence CAP needs further validation in larger populations. Furthermore, CAP is not yet available in the measurements with the XL probe, which is designed for overweight and obese patients who are particularly at risk of liver steatosis[69]. Therefore, further development and calibration of CAP in XL probe is warranted.

COMBINING TRANSIENT ELASTOGRAPHY WITH SERUM MARKERS

In general, serum markers have modest accuracy to diagnose advanced liver fibrosis[90,91]. TE has certain advantages over serum markers, as TE provides a more direct measurement of fibrosis, is less affected by inter-current health disorders, and is theoretically applicable to all chronic liver diseases. On the other hand, the diagnostic performance was particularly affected in patients with elevated serum ALT levels[55]. Hence a second non-invasive test independent of the serum ALT or AST levels may be a good supplementary test for LSM. Among various serum test formulae, Forns index[92] and Hui index[90] are composed of clinical parameters other than ALT or AST levels. We demonstrated that a combined LSM-Forns algorithm improved the accuracy to predict advanced liver fibrosis in 238 CHB patients[28]. In this combined algorithm, low LSM or low Forns index could be used to exclude advanced fibrosis with a high sensitivity of 95%. To confirm advanced fibrosis, agreement between high LSM and high Forns index could improve the specificity up to 99% to 100%[28].

The combination of TE and FibroTest was found to have the best diagnostic performance compared to either test alone in patients with CHC[4]. When TE and FibroTest matched (present in 70%-80% of cases), results were also concordant, respectively in 84%, 95% and 94% of patients with liver fibrosis ≥ F2, ≥ F3 and F = 4[4]. The combination of LSM and FibroTest allowed exclusion of significant fibrosis (≥ F2) in nearly 80% of 100 CHB patients in inactive carrier stage.

OTHER PROBES OF TRANSIENT ELASTOGRAPHY

The development of S and XL probes aim to cater for different population groups of various body-build types (Table 4). S probe contains a higher frequency ultrasonic transducer and shallower measurements below the skin surface, which suit pediatric subjects and those with small body build[93]. XL probe contains a lower frequency and a more sensitive transducer, a deeper focal length, larger vibration amplitude and a higher depth of measurements below the skin surface[94]. This probe serves obese subjects with “XL” body builds. Data concerning the validations of these new probes are emerging.

With the XL probe, LSM could be successfully performed in more obese patients compared to the M probe[95]. In our validation study involving 286 patients, LSM using XL probe documented reliable results in 92% of patients, compared to 80% using M probe (64). In another study of 193 NAFLD patients, a cutoff value had reasonable sensitivity (78%), specificity (78%), positive predictive value (60%), and good negative predictive value (89%) for F3 or greater disease[96]. However, the median LSM by the XL probe was consistently found to be approximately 1.0 kPa to 1.2 kPa lower than that of the M probe at the same stage of liver fibrosis in all of the histologic reports[95,96]. A recent exploratory study of 517 overweight patients having different etiologies, XL cutoff values of 4.8 kPa and 10.7 kPa, 6.0 kPa and 12.0 kPa with the M probe, for patients with BMI > 25-30 kg/m²[85]. Patients with BMI > 30 kg/m² might use M probe cut-offs for the XL probe. More studies are warranted to delineate the proper cutoff values of LSM using the XL probe in various etiologies.

SPLEEN STIFFNESS: MEASURES PORTAL HYPERTENSION NON-INVASIVELY

Recent enthusiasm on spleen stiffness measurement (SSM) leads us to the non-invasive evaluation of portal hypertension, which is conventionally assessed by HVPG via hepatic angiogram[97]. SSM was recently found accurate to predict portal hypertension and esophageal varices[98, 99]. The clinical role of SSM will be explored more in the near future.

NEW IMAGING TECHNOLOGIES

Acoustic radiation force impulse (ARFI) is another new imaging technology based on the shear acoustic waves remotely induced by the radiation force of a focused ultrasonic beam[100]. ARFI may be even more accurate than TE for both significant and severe classes of liver fibrosis in CHC patients[101]. ARFI was also used for SSM in CHB and CHC patients[102]. Another technique called real-time tissue elastography (RTE) is incoporated into B-mode ultrasography machine[103]. RTE is also found accurate to diagnose liver fibrosis and portal hypertension[104,105]. All these new technologies are also promising and should be further validated in the near future.

CONCLUSION

TE is a non-invasive, accurate and reproducible test of advanced liver fibrosis, cirrhosis and steatosis. This tool has been validated in a wide spectrum of liver diseases. TE is also useful to predict patient outcomes. Further studies should explore the appropriate cutoff values of newer XL and S probes, and exploring the prognostic role of CAP.

REFERENCES

1 Lonardo A, Bellentani S, Ratziu V, Loria P. Insulin resistance in nonalcoholic steatohepatitis: necessary but not sufficient - death of a dogma from analysis of therapeutic studies? Expert Rev Gastroenterol Hepatol 2011; 5: 279-289 [PMID: 21476922 DOI: 10.1586/egh.11.19]

2 Musso G, Gambino R, Cassader M, Pagano G. Meta-analysis: natural history of non-alcoholic fatty liver disease (NAFLD) and diagnostic accuracy of non-invasive tests for liver disease severity. Ann Med 2011; 43: 617-649 [PMID: 21039302 DOI: 10.3109/07853890.2010.518623]

3 Vernon G, Baranova A, Younossi ZM. Systematic review: the epidemiology and natural history of non-alcoholic fatty liver disease and non-alcoholic steatohepatitis in adults. Aliment Pharmacol Ther 2011; 34: 274-285 [PMID: 21623852 DOI: 10.1111/j.1365-2036.2011.04724.x]

4 Castéra L, Vergniol J, Foucher J, Le Bail B, Chanteloup E, Haaser M, Darriet M, Couzigou P, De Lédinghen V. Prospective comparison of transient elastography, Fibrotest, APRI, and liver biopsy for the assessment of fibrosis in chronic hepatitis C. Gastroenterology 2005; 128: 343-350 [PMID: 15685546]

5 Wong VW, Wong GL, Choi PC, Chan AW, Li MK, Chan HY, Chim AM, Yu J, Sung JJ, Chan HL. Disease progression of non-alcoholic fatty liver disease: a prospective study with paired liver biopsies at 3 years. Gut 2010; 59: 969-974 [PMID: 20581244 DOI: 10.1136/gut.2009.205088]

6 Bravo AA, Sheth SG, Chopra S. Liver biopsy. N Engl J Med 2001; 344: 495-500 [PMID: 11172192 DOI: 10.1056/NEJM200102153440706]

7 Campbell MS, Reddy KR. Review article: the evolving role of liver biopsy. Aliment Pharmacol Ther 2004; 20: 249-259 [PMID: 15274661 DOI: 10.1111/j.1365-2036.2004.02071.x]

8 Bedossa P, Dargère D, Paradis V. Sampling variability of liver fibrosis in chronic hepatitis C. Hepatology 2003; 38: 1449-1457 [PMID: 14647056 DOI: 10.1016/j.hep.2003.09.022]

9 Rockey DC, Caldwell SH, Goodman ZD, Nelson RC, Smith AD. Liver biopsy. Hepatology 2009; 49: 1017-1044 [PMID: 19243014 DOI: 10.1002/hep.22742]

10 Janes CH, Lindor KD. Outcome of patients hospitalized for complications after outpatient liver biopsy. Ann Intern Med 1993; 118: 96-98 [PMID: 8416324]

11 Piccinino F, Sagnelli E, Pasquale G, Giusti G. Complications following percutaneous liver biopsy. A multicentre retrospective study on 68,276 biopsies. J Hepatol 1986; 2: 165-173 [PMID: 3958472]

12 Di Virgilio D, Colella F, Lancia A, Nicolella U, Ravallese F, Lucherini M, Cavacece A. Intracholecystic hemorrhage: an atypical complication after liver needle biopsy. Ann Ital Med Int 1992; 7: 179-181 [PMID: 1457259]

13 McGill DB, Rakela J, Zinsmeister AR, Ott BJ. A 21-year experience with major hemorrhage after percutaneous liver biopsy. Gastroenterology 1990; 99: 1396-1400 [PMID: 2101588]

14 Poynard T, Benhamou Y, Thabut D, Ratziu V. Liver biopsy: the best standard...when everything else fails. J Hepatol 2009; 50: 1267-1268 [PMID: 19380171 DOI: 10.1016/j.jhep.2009.02.010]

15 Poynard T, Lenaour G, Vaillant JC, Capron F, Munteanu M, Eyraud D, Ngo Y, M'Kada H, Ratziu V, Hannoun L, Charlotte F. Liver biopsy analysis has a low level of performance for diagnosis of intermediate stages of fibrosis. Clin Gastroenterol Hepatol 2012; 10: 657-63.e7 [PMID: 22343514 DOI: 10.1016/j.cgh.2012.01.023]

16 Ratziu V, Bugianesi E, Dixon J, Fassio E, Ekstedt M, Charlotte F, Kechagias S, Poynard T, Olsson R. Histological progression of non-alcoholic fatty liver disease: a critical reassessment based on liver sampling variability. Aliment Pharmacol Ther 2007; 26: 821-830 [PMID: 17767466 DOI: 10.1111/j.1365-2036.2007.03425.x]

17 Sandrin L, Fourquet B, Hasquenoph JM, Yon S, Fournier C, Mal F, Christidis C, Ziol M, Poulet B, Kazemi F, Beaugrand M, Palau R. Transient elastography: a new noninvasive method for assessment of hepatic fibrosis. Ultrasound Med Biol 2003; 29: 1705-1713 [PMID: 14698338]

18 Wong VW, Chan HL. Transient elastography. J Gastroenterol Hepatol 2010; 25: 1726-1731 [PMID: 21039833 DOI: 10.1111/j.1440-1746.2010.06437.x]

19 Byron D, Minuk GY. Clinical hepatology: profile of an urban, hospital-based practice. Hepatology 1996; 24: 813-815 [PMID: 8855181 DOI: 10.1002/hep.510240410]

20 Clouston AD, Jonsson JR, Powell EE. Steatosis as a cofactor in other liver diseases: hepatitis C virus, alcohol, hemochromatosis, and others. Clin Liver Dis 2007; 11: 173-89, x [PMID: 17544978 DOI: 10.1016/j.cld.2007.02.007]

21 Sasso M, Beaugrand M, de Ledinghen V, Douvin C, Marcellin P, Poupon R, Sandrin L, Miette V. Controlled attenuation parameter (CAP): a novel VCTE™ guided ultrasonic attenuation measurement for the evaluation of hepatic steatosis: preliminary study and validation in a cohort of patients with chronic liver disease from various causes. Ultrasound Med Biol 2010; 36: 1825-1835 [PMID: 20870345 DOI: 10.1016/j.ultrasmedbio.2010.07.005]

22 Sasso M, Miette V, Sandrin L, Beaugrand M. The controlled attenuation parameter (CAP): a novel tool for the non-invasive evaluation of steatosis using Fibroscan. Clin Res Hepatol Gastroenterol 2012; 36: 13-20 [PMID: 21920839 DOI: 10.1016/j.clinre.2011.08.001]

23 Fraquelli M, Rigamonti C, Casazza G, Conte D, Donato MF, Ronchi G, Colombo M. Reproducibility of transient elastography in the evaluation of liver fibrosis in patients with chronic liver disease. Gut 2007; 56: 968-973 [PMID: 17255218 DOI: 10.1136/gut.2006.111302]

24 Arena U, Vizzutti F, Abraldes JG, Corti G, Stasi C, Moscarella S, Milani S, Lorefice E, Petrarca A, Romanelli RG, Laffi G, Bosch J, Marra F, Pinzani M. Reliability of transient elastography for the diagnosis of advanced fibrosis in chronic hepatitis C. Gut 2008; 57: 1288-1293 [PMID: 18448567 DOI: 10.1136/gut.2008.149708]

25 Ziol M, Handra-Luca A, Kettaneh A, Christidis C, Mal F, Kazemi F, de Lédinghen V, Marcellin P, Dhumeaux D, Trinchet JC, Beaugrand M. Noninvasive assessment of liver fibrosis by measurement of stiffness in patients with chronic hepatitis C. Hepatology 2005; 41: 48-54 [PMID: 15690481 DOI: 10.1002/hep.20506]

26 Chan HL, Wong GL, Choi PC, Chan AW, Chim AM, Yiu KK, Chan FK, Sung JJ, Wong VW. Alanine aminotransferase-based algorithms of liver stiffness measurement by transient elastography (Fibroscan) for liver fibrosis in chronic hepatitis B. J Viral Hepat 2009; 16: 36-44 [PMID: 18673426 DOI: 10.1111/j.1365-2893.2008.01037.x]

27 Marcellin P, Ziol M, Bedossa P, Douvin C, Poupon R, de Lédinghen V, Beaugrand M. Non-invasive assessment of liver fibrosis by stiffness measurement in patients with chronic hepatitis B. Liver Int 2009; 29: 242-247 [PMID: 18637064 DOI: 10.1111/j.1478-3231.2008.01802.x]

28 Wong GL, Wong VW, Choi PC, Chan AW, Chan HL. Development of a non-invasive algorithm with transient elastography (Fibroscan) and serum test formula for advanced liver fibrosis in chronic hepatitis B. Aliment Pharmacol Ther 2010; 31: 1095-1103 [PMID: 20180785 DOI: 10.1111/j.1365-2036.2010.04276.x]

29 de Lédinghen V, Douvin C, Kettaneh A, Ziol M, Roulot D, Marcellin P, Dhumeaux D, Beaugrand M. Diagnosis of hepatic fibrosis and cirrhosis by transient elastography in HIV/hepatitis C virus-coinfected patients. J Acquir Immune Defic Syndr 2006; 41: 175-179 [PMID: 16394849]

30 Nobili V, Vizzutti F, Arena U, Abraldes JG, Marra F, Pietrobattista A, Fruhwirth R, Marcellini M, Pinzani M. Accuracy and reproducibility of transient elastography for the diagnosis of fibrosis in pediatric nonalcoholic steatohepatitis. Hepatology 2008; 48: 442-448 [PMID: 18563842 DOI: 10.1002/hep.22376]

31 Wong VW, Vergniol J, Wong GL, Foucher J, Chan HL, Le Bail B, Choi PC, Kowo M, Chan AW, Merrouche W, Sung JJ, de Lédinghen V. Diagnosis of fibrosis and cirrhosis using liver stiffness measurement in nonalcoholic fatty liver disease. Hepatology 2010; 51: 454-462 [PMID: 20101745 DOI: 10.1002/hep.23312]

32 Nahon P, Kettaneh A, Tengher-Barna I, Ziol M, de Lédinghen V, Douvin C, Marcellin P, Ganne-Carrié N, Trinchet JC, Beaugrand M. Assessment of liver fibrosis using transient elastography in patients with alcoholic liver disease. J Hepatol 2008; 49: 1062-1068 [PMID: 18930329 DOI: 10.1016/j.jhep.2008.08.011]

33 Corpechot C, El Naggar A, Poujol-Robert A, Ziol M, Wendum D, Chazouillères O, de Lédinghen V, Dhumeaux D, Marcellin P, Beaugrand M, Poupon R. Assessment of biliary fibrosis by transient elastography in patients with PBC and PSC. Hepatology 2006; 43: 1118-1124 [PMID: 16628644 DOI: 10.1002/hep.21151]

34 Carrión JA, Navasa M, Bosch J, Bruguera M, Gilabert R, Forns X. Transient elastography for diagnosis of advanced fibrosis and portal hypertension in patients with hepatitis C recurrence after liver transplantation. Liver Transpl 2006; 12: 1791-1798 [PMID: 16823833 DOI: 10.1002/lt.20857]

35 Karlas T, Neuschulz M, Oltmanns A, Güttler A, Petroff D, Wirtz H, Mainz JG, Mössner J, Berg T, Tröltzsch M, Keim V, Wiegand J. Non-invasive evaluation of cystic fibrosis related liver disease in adults with ARFI, transient elastography and different fibrosis scores. PLoS One 2012; 7: e42139 [PMID: 22848732 DOI: 10.1371/journal.pone.0042139]

36 Witters P, De Boeck K, Dupont L, Proesmans M, Vermeulen F, Servaes R, Verslype C, Laleman W, Nevens F, Hoffman I, Cassiman D. Non-invasive liver elastography (Fibroscan) for detection of cystic fibrosis-associated liver disease. J Cyst Fibros 2009; 8: 392-399 [PMID: 19733131 DOI: 10.1016/j.jcf.2009.08.001]

37 Friedrich-Rust M, Ong MF, Martens S, Sarrazin C, Bojunga J, Zeuzem S, Herrmann E. Performance of transient elastography for the staging of liver fibrosis: a meta-analysis. Gastroenterology 2008; 134: 960-974 [PMID: 18395077 DOI: 10.1053/j.gastro.2008.01.034]

38 Talwalkar JA, Kurtz DM, Schoenleber SJ, West CP, Montori VM. Ultrasound-based transient elastography for the detection of hepatic fibrosis: systematic review and meta-analysis. Clin Gastroenterol Hepatol 2007; 5: 1214-1220 [PMID: 17916549 DOI: 10.1016/j.cgh.2007.07.020]

39 de Lédinghen V, Vergniol J, Foucher J, Merrouche W, le Bail B. Non-invasive diagnosis of liver steatosis using controlled attenuation parameter (CAP) and transient elastography. Liver Int 2012; 32: 911-918 [PMID: 22672642 DOI: 10.1111/j.1478-3231.2012.02820.x]

40 Myers RP, Pollett A, Kirsch R, Pomier-Layrargues G, Beaton M, Levstik M, Duarte-Rojo A, Wong D, Crotty P, Elkashab M. Controlled Attenuation Parameter (CAP): a noninvasive method for the detection of hepatic steatosis based on transient elastography. Liver Int 2012; 32: 902-910 [PMID: 22435761 DOI: 10.1111/j.1478-3231.2012.02781.x]

41 Beaugrand M, Tengher-Barna I, Ziol M, Nahon P, de Ledinghen V, Douvin C, Cosson E, Ganne-Carrie N, Grando-Lemaire V, Roulot D, Capeau J, Trinchet JC, Vicaut E. CAP: a novel non-invasive tool for the evaluation of alcohol induced steatosis. J Hepatol 2010

42 Beaugrand M, Ziol M, de Ledinghen V, Douvin C, Fournier C, Sandrin L, Nkontchou G, Bastard JP, Cosson E, Ganne-Carrie N, Grando-Lemaire V, Roulot D, Capeau J, Trinchet JC, Vicaut E. Controlled attenuation parameter for the detection and quantification of steatosis — preliminary study in an alcoholic and non-alcoholic steato-hepatitis cohort. Hepat Int 2010

43 Cardoso AC, Sasso M, Miette V, Fournier C, Sandrin L, Beaugrand M. Controlled attenuation parameter: a novel FibroScan-based tool to detect and quantify steatosis in chronic hepatitis B. Hepatol 2010; [Epub ahead of print]

44 Sasso M, Tengher-Barna I, Ziol M, Miette V, Fournier C, Sandrin L, Poupon R, Cardoso AC, Marcellin P, Douvin C, de Ledinghen V, Trinchet JC, Beaugrand M. Novel controlled attenuation parameter for noninvasive assessment of steatosis using Fibroscan(®): validation in chronic hepatitis C. J Viral Hepat 2012; 19: 244-253 [PMID: 22404722 DOI: 10.1111/j.1365-2893.2011.01534.x]

45 European Association For The Study Of The L. EASL clinical practice guidelines: Management of chronic hepatitis B virus infection. J Hepatol 2012; 57: 167-185 [PMID: 22436845 DOI: 10.1016/j.jhep.2012.02.010]

46 Liaw YF, Leung N, Kao JH, Piratvisuth T, Gane E, Han KH, Guan R, Lau GK, Locarnini S. Asian-Pacific consensus statement on the management of chronic hepatitis B: a 2008 update. Hepatol Int 2008; 2: 263-283 [PMID: 19669255 DOI: 10.1007/s12072-008-9080-3]

47 Lok AS, McMahon BJ. Chronic hepatitis B: update 2009. Hepatology 2009; 50: 661-662 [PMID: 19714720 DOI: 10.1002/hep.23190]

48 Carlson JJ, Kowdley KV, Sullivan SD, Ramsey SD, Veenstra DL. An evaluation of the potential cost-effectiveness of non-invasive testing strategies in the diagnosis of significant liver fibrosis. J Gastroenterol Hepatol 2009; 24: 786-791 [PMID: 19457153 DOI: 10.1111/j.1440-1746.2009.05778.x]

49 Castera L. Screening the general population for cirrhosis using transient elastography: finding a needle in a haystack? Gut 2011; 60: 883-884 [PMID: 21471569 DOI: 10.1136/gut.2010.234203]

50 Roulot D, Costes JL, Buyck JF, Warzocha U, Gambier N, Czernichow S, Le Clesiau H, Beaugrand M. Transient elastography as a screening tool for liver fibrosis and cirrhosis in a community-based population aged over 45 years. Gut 2011; 60: 977-984 [PMID: 21068129 DOI: 10.1136/gut.2010.221382]

51 Stepanova M, Aquino R, Alsheddi A, Gupta R, Fang Y, Younossi Z. Clinical predictors of fibrosis in patients with chronic liver disease. Aliment Pharmacol Ther 2010; 31: 1085-1094 [PMID: 20175770 DOI: 10.1111/j.1365-2036.2010.04266.x]

52 Ballestri S, Lonardo A, Romagnoli D, Carulli L, Losi L, Day CP, Loria P. Ultrasonographic fatty liver indicator, a novel score which rules out NASH and is correlated with metabolic parameters in NAFLD. Liver Int 2012; 32: 1242-1252 [PMID: 22520641 DOI: 10.1111/j.1478-3231.2012.02804.x]

53 Festi D, Schiumerini R, Marzi L, Di Biase AR, Mandolesi D, Montrone L, Scaioli E, Bonato G, Marchesini-Reggiani G, Colecchia A. Review article: the diagnosis of non-alcoholic fatty liver disease -- availability and accuracy of non-invasive methods. Aliment Pharmacol Ther 2013; 37: 392-400 [PMID: 23278163 DOI: 10.1111/apt.12186]

54 Arima Y, Kawabe N, Hashimoto S, Harata M, Nitta Y, Murao M, Nakano T, Shimazaki H, Kobayashi K, Ichino N, Osakabe K, Nishikawa T, Okumura A, Ishikawa T, Yoshioka K. Reduction of liver stiffness by interferon treatment in the patients with chronic hepatitis C. Hepatol Res 2010; 40: 383-392 [PMID: 20236358 DOI: 10.1111/j.1872-034X.2009.00618.x]

55 Wong GL, Wong VW, Choi PC, Chan AW, Chim AM, Yiu KK, Chan FK, Sung JJ, Chan HL. Increased liver stiffness measurement by transient elastography in severe acute exacerbation of chronic hepatitis B. J Gastroenterol Hepatol 2009; 24: 1002-1007 [PMID: 19457152 DOI: 10.1111/j.1440-1746.2009.05779.x]

56 Wong GL, Wong VW, Choi PC, Chan AW, Chim AM, Yiu KK, Chu SH, Chan FK, Sung JJ, Chan HL. On-treatment monitoring of liver fibrosis with transient elastography in chronic hepatitis B patients. Antivir Ther 2011; 16: 165-172 [PMID: 21447865 DOI: 10.3851/IMP1726]

57 Bureau C, Metivier S, Peron JM, Selves J, Robic MA, Gourraud PA, Rouquet O, Dupuis E, Alric L, Vinel JP. Transient elastography accurately predicts presence of significant portal hypertension in patients with chronic liver disease. Aliment Pharmacol Ther 2008; 27: 1261-1268 [PMID: 18397389 DOI: 10.1111/j.1365-2036.2008.03701.x]

58 Vizzutti F, Arena U, Romanelli RG, Rega L, Foschi M, Colagrande S, Petrarca A, Moscarella S, Belli G, Zignego AL, Marra F, Laffi G, Pinzani M. Liver stiffness measurement predicts severe portal hypertension in patients with HCV-related cirrhosis. Hepatology 2007; 45: 1290-1297 [PMID: 17464971 DOI: 10.1002/hep.21665]

59 Castéra L, Le Bail B, Roudot-Thoraval F, Bernard PH, Foucher J, Merrouche W, Couzigou P, de Lédinghen V. Early detection in routine clinical practice of cirrhosis and oesophageal varices in chronic hepatitis C: comparison of transient elastography (FibroScan) with standard laboratory tests and non-invasive scores. J Hepatol 2009; 50: 59-68 [PMID: 19013661 DOI: 10.1016/j.jhep.2008.08.018]

60 Kazemi F, Kettaneh A, N'kontchou G, Pinto E, Ganne-Carrie N, Trinchet JC, Beaugrand M. Liver stiffness measurement selects patients with cirrhosis at risk of bearing large oesophageal varices. J Hepatol 2006; 45: 230-235 [PMID: 16797100 DOI: 10.1016/j.jhep.2006.04.006]

61 Masuzaki R, Tateishi R, Yoshida H, Goto E, Sato T, Ohki T, Imamura J, Goto T, Kanai F, Kato N, Ikeda H, Shiina S, Kawabe T, Omata M. Prospective risk assessment for hepatocellular carcinoma development in patients with chronic hepatitis C by transient elastography. Hepatology 2009; 49: 1954-1961 [PMID: 19434742 DOI: 10.1002/hep.22870]

62 Jung KS, Kim SU, Ahn SH, Park YN, Kim do Y, Park JY, Chon CY, Choi EH, Han KH. Risk assessment of hepatitis B virus-related hepatocellular carcinoma development using liver stiffness measurement (FibroScan). Hepatology 2011; 53: 885-894 [PMID: 21319193 DOI: 10.1002/hep.24121]

63 Vergniol J, Foucher J, Terrebonne E, Bernard PH, le Bail B, Merrouche W, Couzigou P, de Ledinghen V. Noninvasive tests for fibrosis and liver stiffness predict 5-year outcomes of patients with chronic hepatitis C. Gastroenterology 2011; 140: 1970-199, 1970-199, [PMID: 21376047 DOI: 10.1053/j.gastro.2011.02.058]

64 Wong JS, Wong GL, Chan AW, Wong VW, Cheung YS, Chong CC, Wong J, Lee KF, Chan HL, Lai PB. Liver stiffness measurement by transient elastography as a predictor on post-hepatectomy outcomes.  Ann Surg 2012; In press

65 Jung KS, Kim SU, Choi GH, Park JY, Park YN, Kim do Y, Ahn SH, Chon CY, Kim KS, Choi EH, Choi JS, Han KH. Prediction of recurrence after curative resection of hepatocellular carcinoma using liver stiffness measurement (FibroScan®). Ann Surg Oncol 2012; 19: 4278-4286 [PMID: 22752370 DOI: 10.1245/s10434-012-2422-3]

66 Browning JD, Szczepaniak LS, Dobbins R, Nuremberg P, Horton JD, Cohen JC, Grundy SM, Hobbs HH. Prevalence of hepatic steatosis in an urban population in the United States: impact of ethnicity. Hepatology 2004; 40: 1387-1395 [PMID: 15565570 DOI: 10.1002/hep.20466]

67 Wong VW, Chu WC, Wong GL, Chan RS, Chim AM, Ong A, Yeung DK, Yiu KK, Chu SH, Woo J, Chan FK, Chan HL. Prevalence of non-alcoholic fatty liver disease and advanced fibrosis in Hong Kong Chinese: a population study using proton-magnetic resonance spectroscopy and transient elastography. Gut 2012; 61: 409-415 [PMID: 21846782 DOI: 10.1136/gutjnl-2011-300342]

68 Leandro G, Mangia A, Hui J, Fabris P, Rubbia-Brandt L, Colloredo G, Adinolfi LE, Asselah T, Jonsson JR, Smedile A, Terrault N, Pazienza V, Giordani MT, Giostra E, Sonzogni A, Ruggiero G, Marcellin P, Powell EE, George J, Negro F. Relationship between steatosis, inflammation, and fibrosis in chronic hepatitis C: a meta-analysis of individual patient data. Gastroenterology 2006; 130: 1636-1642 [PMID: 16697727 DOI: 10.1053/j.gastro.2006.03.014]

69 Dixon JB, Bhathal PS, O'Brien PE. Nonalcoholic fatty liver disease: predictors of nonalcoholic steatohepatitis and liver fibrosis in the severely obese. Gastroenterology 2001; 121: 91-100 [PMID: 11438497]

70 Poynard T, Ratziu V, McHutchison J, Manns M, Goodman Z, Zeuzem S, Younossi Z, Albrecht J. Effect of treatment with peginterferon or interferon alfa-2b and ribavirin on steatosis in patients infected with hepatitis C. Hepatology 2003; 38: 75-85 [PMID: 12829989 DOI: 10.1053/jhep.2003.50267]

71 Castéra L, Hézode C, Roudot-Thoraval F, Bastie A, Zafrani ES, Pawlotsky JM, Dhumeaux D. Worsening of steatosis is an independent factor of fibrosis progression in untreated patients with chronic hepatitis C and paired liver biopsies. Gut 2003; 52: 288-292 [PMID: 12524415]

72 Ohata K, Hamasaki K, Toriyama K, Matsumoto K, Saeki A, Yanagi K, Abiru S, Nakagawa Y, Shigeno M, Miyazoe S, Ichikawa T, Ishikawa H, Nakao K, Eguchi K. Hepatic steatosis is a risk factor for hepatocellular carcinoma in patients with chronic hepatitis C virus infection. Cancer 2003; 97: 3036-3043 [PMID: 12784339 DOI: 10.1002/cncr.11427]

73 Farrell GC, Larter CZ. Nonalcoholic fatty liver disease: from steatosis to cirrhosis. Hepatology 2006; 43: S99-S112 [PMID: 16447287 DOI: 10.1002/hep.20973]

74 McCormack L, Petrowsky H, Jochum W, Furrer K, Clavien PA. Hepatic steatosis is a risk factor for postoperative complications after major hepatectomy: a matched case-control study. Ann Surg 2007; 245: 923-930 [PMID: 17522518 DOI: 10.1097/01.sla.0000251747.80025.b7]

75 Coco B, Oliveri F, Maina AM, Ciccorossi P, Sacco R, Colombatto P, Bonino F, Brunetto MR. Transient elastography: a new surrogate marker of liver fibrosis influenced by major changes of transaminases. J Viral Hepat 2007; 14: 360-369 [PMID: 17439526 DOI: 10.1111/j.1365-2893.2006.00811.x]

76 Wong GL, Wong VW, Choi PC, Chan AW, Chum RH, Chan HK, Lau KK, Chim AM, Yiu KK, Chan FK, Sung JJ, Chan HL. Assessment of fibrosis by transient elastography compared with liver biopsy and morphometry in chronic liver diseases. Clin Gastroenterol Hepatol 2008; 6: 1027-1035 [PMID: 18456573 DOI: 10.1016/j.cgh.2008.02.038]

77 Arena U, Vizzutti F, Corti G, Ambu S, Stasi C, Bresci S, Moscarella S, Boddi V, Petrarca A, Laffi G, Marra F, Pinzani M. Acute viral hepatitis increases liver stiffness values measured by transient elastography. Hepatology 2008; 47: 380-384 [PMID: 18095306 DOI: 10.1002/hep.22007]

78 Sagir A, Erhardt A, Schmitt M, Häussinger D. Transient elastography is unreliable for detection of cirrhosis in patients with acute liver damage. Hepatology 2008; 47: 592-595 [PMID: 18098325 DOI: 10.1002/hep.22056]

79 Millonig G, Reimann FM, Friedrich S, Fonouni H, Mehrabi A, Büchler MW, Seitz HK, Mueller S. Extrahepatic cholestasis increases liver stiffness (FibroScan) irrespective of fibrosis. Hepatology 2008; 48: 1718-1723 [PMID: 18836992 DOI: 10.1002/hep.22577]

80 Millonig G, Friedrich S, Adolf S, Fonouni H, Golriz M, Mehrabi A, Stiefel P, Pöschl G, Büchler MW, Seitz HK, Mueller S. Liver stiffness is directly influenced by central venous pressure. J Hepatol 2010; 52: 206-210 [PMID: 20022130 DOI: 10.1016/j.jhep.2009.11.018]

81 Lebray P, Varnous S, Charlotte F, Varaut A, Poynard T, Ratziu V. Liver stiffness is an unreliable marker of liver fibrosis in patients with cardiac insufficiency. Hepatology 2008; 48: 2089 [PMID: 19003902 DOI: 10.1002/hep.22594]

82 Janssens F, Spahr L, Rubbia-Brandt L, Giostra E, Bihl F. Hepatic amyloidosis increases liver stiffness measured by transient elastography. Acta Gastroenterol Belg 2010; 73: 52-54 [PMID: 20458851]

83 Mederacke I, Wursthorn K, Kirschner J, Rifai K, Manns MP, Wedemeyer H, Bahr MJ. Food intake increases liver stiffness in patients with chronic or resolved hepatitis C virus infection. Liver Int 2009; 29: 1500-1506 [PMID: 19732330 DOI: 10.1111/j.1478-3231.2009.02100.x]

84 Gaia S, Carenzi S, Barilli AL, Bugianesi E, Smedile A, Brunello F, Marzano A, Rizzetto M. Reliability of transient elastography for the detection of fibrosis in non-alcoholic fatty liver disease and chronic viral hepatitis. J Hepatol 2011; 54: 64-71 [PMID: 20932598 DOI: 10.1016/j.jhep.2010.06.022]

85 Wong GL, Chan HL, Choi PC, Chan AW, Lo AO, Chim AM, Wong VW. Association between anthropometric parameters and measurements of liver stiffness by transient elastography. Clin Gastroenterol Hepatol 2013; 11: 295-302.e3 [PMID: 23022698 DOI: 10.1016/j.cgh.2012.09.025]

86 Castéra L, Foucher J, Bernard PH, Carvalho F, Allaix D, Merrouche W, Couzigou P, de Lédinghen V. Pitfalls of liver stiffness measurement: a 5-year prospective study of 13,369 examinations. Hepatology 2010; 51: 828-835 [PMID: 20063276 DOI: 10.1002/hep.23425]

87 Wong GL, Wong VW, Chim AM, Yiu KK, Chu SH, Li MK, Chan HL. Factors associated with unreliable liver stiffness measurement and its failure with transient elastography in the Chinese population. J Gastroenterol Hepatol 2011; 26: 300-305 [PMID: 21261720 DOI: 10.1111/j.1440-1746.2010.06510.x]

88 Das K, Sarkar R, Ahmed SM, Mridha AR, Mukherjee PS, Das K, Dhali GK, Santra A, Chowdhury A. "Normal" liver stiffness measure (LSM) values are higher in both lean and obese individuals: a population-based study from a developing country. Hepatology 2012; 55: 584-593 [PMID: 21952989 DOI: 10.1002/hep.24694]

89 Boursier J, Zarski JP, de Ledinghen V, Rousselet MC, Sturm N, Lebail B, Fouchard-Hubert I, Gallois Y, Oberti F, Bertrais S, Cales P. Determination of reliability criteria for liver stiffness evaluation by transient elastography. Hepatology 2012; [Epub ahead of print][PMID: 22899556 DOI: 10.1002/hep.25993]

90 Hui AY, Chan HL, Wong VW, Liew CT, Chim AM, Chan FK, Sung JJ. Identification of chronic hepatitis B patients without significant liver fibrosis by a simple noninvasive predictive model. Am J Gastroenterol 2005; 100: 616-623 [PMID: 15743360 DOI: 10.1111/j.1572-0241.2005.41289.x]

91 Rockey DC, Bissell DM. Noninvasive measures of liver fibrosis. Hepatology 2006; 43: S113-S120 [PMID: 16447288 DOI: 10.1002/hep.21046]

92 Forns X, Ampurdanès S, Llovet JM, Aponte J, Quintó L, Martínez-Bauer E, Bruguera M, Sánchez-Tapias JM, Rodés J. Identification of chronic hepatitis C patients without hepatic fibrosis by a simple predictive model. Hepatology 2002; 36: 986-992 [PMID: 12297848 DOI: 10.1053/jhep.2002.36128]

93 Engelmann G, Teufel U, Hoffmann GF. Feasibility study and control values of transient elastography in healthy children. Eur J Pediatr 2012; 171: 1417 [PMID: 22729245 DOI: 10.1007/s00431-012-1778-5]

94 de Lédinghen V, Vergniol J, Foucher J, El-Hajbi F, Merrouche W, Rigalleau V. Feasibility of liver transient elastography with FibroScan using a new probe for obese patients. Liver Int 2010; 30: 1043-1048 [PMID: 20492500 DOI: 10.1111/j.1478-3231.2010.02258.x]

95 de Lédinghen V, Wong VW, Vergniol J, Wong GL, Foucher J, Chu SH, Le Bail B, Choi PC, Chermak F, Yiu KK, Merrouche W, Chan HL. Diagnosis of liver fibrosis and cirrhosis using liver stiffness measurement: comparison between M and XL probe of FibroScan®. J Hepatol 2012; 56: 833-839 [PMID: 22173167 DOI: 10.1016/j.jhep.2011.10.017]

96 Wong VW, Vergniol J, Wong GL, Foucher J, Chan AW, Chermak F, Choi PC, Merrouche W, Chu SH, Pesque S, Chan HL, de Lédinghen V. Liver stiffness measurement using XL probe in patients with nonalcoholic fatty liver disease. Am J Gastroenterol 2012; 107: 1862-1871 [PMID: 23032979 DOI: 10.1038/ajg.2012.331]

97 Bosch J, Abraldes JG, Berzigotti A, García-Pagan JC. The clinical use of HVPG measurements in chronic liver disease. Nat Rev Gastroenterol Hepatol 2009; 6: 573-582 [PMID: 19724251 DOI: 10.1038/nrgastro.2009.149]

98 Abraldes JG, Reverter E, Berzigotti A. Spleen stiffness: Toward a noninvasive portal sphygmomanometer? Hepatology 2013; In press[PMID: 23339063 DOI: 10.1002/hep.26239]

99 Colecchia A, Montrone L, Scaioli E, Bacchi-Reggiani ML, Colli A, Casazza G, Schiumerini R, Turco L, Di Biase AR, Mazzella G, Marzi L, Arena U, Pinzani M, Festi D. Measurement of spleen stiffness to evaluate portal hypertension and the presence of esophageal varices in patients with HCV-related cirrhosis. Gastroenterology 2012; 143: 646-654 [PMID: 22643348 DOI: 10.1053/j.gastro.2012.05.035]

100 Palmeri ML, Wang MH, Dahl JJ, Frinkley KD, Nightingale KR. Quantifying hepatic shear modulus in vivo using acoustic radiation force. Ultrasound Med Biol 2008; 34: 546-558 [PMID: 18222031 DOI: 10.1016/j.ultrasmedbio.2007.10.009]

101 Rizzo L, Calvaruso V, Cacopardo B, Alessi N, Attanasio M, Petta S, Fatuzzo F, Montineri A, Mazzola A, L'abbate L, Nunnari G, Bronte F, Di Marco V, Craxì A, Cammà C. Comparison of transient elastography and acoustic radiation force impulse for non-invasive staging of liver fibrosis in patients with chronic hepatitis C. Am J Gastroenterol 2011; 106: 2112-2120 [PMID: 21971536 DOI: 10.1038/ajg.2011.341]

102 Chen SH, Li YF, Lai HC, Kao JT, Peng CY, Chuang PH, Su WP, Chiang IP. Noninvasive assessment of liver fibrosis via spleen stiffness measurement using acoustic radiation force impulse sonoelastography in patients with chronic hepatitis B or C. J Viral Hepat 2012; 19: 654-663 [PMID: 22863270 DOI: 10.1111/j.1365-2893.2012.01588.x]

103 Koizumi Y, Hirooka M, Kisaka Y, Konishi I, Abe M, Murakami H, Matsuura B, Hiasa Y, Onji M. Liver fibrosis in patients with chronic hepatitis C: noninvasive diagnosis by means of real-time tissue elastography--establishment of the method for measurement. Radiology 2011; 258: 610-617 [PMID: 21273523 DOI: 10.1148/radiol.10100319]

104 Colombo S, Buonocore M, Del Poggio A, Jamoletti C, Elia S, Mattiello M, Zabbialini D, Del Poggio P. Head-to-head comparison of transient elastography (TE), real-time tissue elastography (RTE), and acoustic radiation force impulse (ARFI) imaging in the diagnosis of liver fibrosis. J Gastroenterol 2012; 47: 461-469 [PMID: 22223175 DOI: 10.1007/s00535-011-0509-4]

105 Ochi H, Hirooka M, Koizumi Y, Miyake T, Tokumoto Y, Soga Y, Tada F, Abe M, Hiasa Y, Onji M. Real-time tissue elastography for evaluation of hepatic fibrosis and portal hypertension in nonalcoholic fatty liver diseases. Hepatology 2012; 56: 1271-1278 [PMID: 22488593 DOI: 10.1002/hep.25756]

106 Ganne-Carrié N, Ziol M, de Ledinghen V, Douvin C, Marcellin P, Castera L, Dhumeaux D, Trinchet JC, Beaugrand M. Accuracy of liver stiffness measurement for the diagnosis of cirrhosis in patients with chronic liver diseases. Hepatology 2006; 44: 1511-1517 [PMID: 17133503 DOI: 10.1002/hep.21420]

107 Foucher J, Chanteloup E, Vergniol J, Castéra L, Le Bail B, Adhoute X, Bertet J, Couzigou P, de Lédinghen V. Diagnosis of cirrhosis by transient elastography (FibroScan): a prospective study. Gut 2006; 55: 403-408 [PMID: 16020491 DOI: 10.1136/gut.2005.069153]

108 Gómez-Domínguez E, Mendoza J, Rubio S, Moreno-Monteagudo JA, García-Buey L, Moreno-Otero R. Transient elastography: a valid alternative to biopsy in patients with chronic liver disease. Aliment Pharmacol Ther 2006; 24: 513-518 [PMID: 16886917 DOI: 10.1111/j.1365-2036.2006.02999.x]

109 Vergara S, Macías J, Rivero A, Gutiérrez-Valencia A, González-Serrano M, Merino D, Ríos MJ, García-García JA, Camacho A, López-Cortés L, Ruiz J, de la Torre J, Viciana P, Pineda JA. The use of transient elastometry for assessing liver fibrosis in patients with HIV and hepatitis C virus coinfection. Clin Infect Dis 2007; 45: 969-974 [PMID: 17879910 DOI: 10.1086/521857]

110 Rigamonti C, Donato MF, Fraquelli M, Agnelli F, Ronchi G, Casazza G, Rossi G, Colombo M. Transient elastography predicts fibrosis progression in patients with recurrent hepatitis C after liver transplantation. Gut 2008; 57: 821-827 [PMID: 18218676 DOI: 10.1136/gut.2007.135046]

111 Yoneda M, Yoneda M, Fujita K, Inamori M, Tamano M, Hiriishi H, Nakajima A. Transient elastography in patients with non-alcoholic fatty liver disease (NAFLD). Gut 2007; 56: 1330-1331 [PMID: 17470477 DOI: 10.1136/gut.2007.126417]

P-Reviewers Guerrero-Romero F, Singh V, E Roeb, Al-Shamma S, Lonard A

S-Editor Gou SX   L-Editor    E-Editor

Table 1 Diagnostic performance and suggested cutoff values of liver stiffness measurement for the diagnosis of histologic cirrhosis (F4)

| Authors | Biopsies (n) | Prevalence of cirrhosis (F4; %) | Etiologies | Proposed cutoff values (kPa) | Sensitivity | Specificity | Negative predictive value | Positive predictive value | Positive LR | Negative LR | AUROC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Castéra et al[4], 2005 | 183 | 25 | HCV | 12.5 | 87% | 91% | 95% | 77% | 9.7 | 0.1 | 0.95 |
| Fraquelli et al[23], 2007 | 200 | 12 | All | 11.9 | 91% | 89% | 98% | 53% | 8.3 | 0.1 | 0.9 |
| Arena et al[24], 2008 | 150 | 19.3 | HCV | 14.8 | 94% | 92% | 98% | 73% | 11.3 | 0.07 | 0.99 |
| Ziol et al[25], 2005 | 251 | 19 | HCV | 14.6 | 86% | 96% | 97% | 78% | 23.1 | 0.1 | 0.97 |
| Chan et al[26], 2009 | 161 | 25 | HBV | 13.4 | 60% | 93% | 88% | 75% | 85 | 0.43 | 0.93 |
| Marcellin et al[27], 2009 | 173 | 8 | HBV | 11 | 93% | 87% | 99% | 38% | 7 | 0.08 | 0.93 |
| Wong et al[28], 20101 | 238 | 23.5 | HBV | 9.0 (normal ALT) | 12.0 (elevated ALT) | 54% | 99% | 67% | 98% | 3.3 | 0.7 | 0.88 |
| de Lédinghen et al[29], 2006 | 72 | 23.6 | HCV-HIV | 11.8 | 100% | 92.7% | 82% | 100% | 13.7 | 0 | 0.97 |
| Nobili et al[30], 20081 | 52 | 5.8 | NAFLD | 10.2 | 100% | 100% | 100% | 100% |  | 0 | 1 |
| Wong et al[31], 2010 | 246 | 10.1 | NAFLD | 10.3 | 92% | 88% | 99% | 46% | 7.5 | 0.09 | 0.95 |
| Nahon et al[32], 2008 | 174 | 53.7 | ALD | 22.7 | 84% | 83% | 82% | 85% | 5.24 | 0.19 | 0.87 |
| Corpechot et al[33], 2006 | 95 | (66 PBC, 29 PSC) | 16 | PBC/PSC | 17.3 | 93% | 95% | 99% | 78% | 18.6 | 0.1 | 0.96 |
| Carrión et al[34], 2006 | 124 | 11 | HCV-LT | 12.5 | 100% | 87% | 100% | 50% | 7.7 | 0核实 | 0.98 |
| Witters et al[36], 2009 | 66 | NA | Cystic fibrosis | 6.5 | 100% | 81% | NA | NA | NA | NA | 0.92 |
| Coco et al[75], 2007 | 228 | 20.2 | HCV/HBV | 14 | 78% | 98% | 82% | 98% | 39 | 0.2 | 0.96 |
| Ganne-Carrie et al106], 2006 | 775 | 15.5 | All | 14.6 | 79% | 95% | 96% | 74% | 15.8 | 0.1 | 0.95 |
| Foucher et al[107], 2006 | 354 | 13.3 | All | 17.6 | 77% | 97% | 92% | 91% | 25.7 | 0.2 | 0.96 |
| Gómez-Domínguez et al[108], 2006 | 94 | 17 | All | 16 | 89% | 96% | 98% | 80% | 22.3 | 0.1 | 0.94 |
| Vergara et al[109], 2007 | 169 | 38.5 | HCV-HIV | 14.6 | 93% | 88% | 94% | 86% | 7.8 | 0.1 | 0.95 |
| Rigamonti et al[110], 2008 | 95 | 17 | HCV-LT | 12 | 93% | 93% | 99% | 74% | 14 | 0.1 | 0.9 |
| Yoneda et al[111], 2007 | 67 | 7.5 | NAFLD | 17 | 100% | 98% | 95% | 64% | 50 | 0 | 0.99 |

1Cut-off values proposed for advanced fibrosis (F3 or above). ALD: Alcoholic liver disease; ALT: Alanine aminotransferase; AUROC: Area under receiver operating characteristics curves; HBV: Hepatitis B virus infection; HCV: Hepatitis C virus infection; HCV-HIV: Hepatitis B virus and human immunodeficiency virus co-infection; HCV-LT: Hepatitis C virus infection recurrence after liver transplantation; LR: Likelihood ratio; NAFLD: Non-alcoholic fatty liver disease; PBC: Primary biliary cirrhosis; PSC: Primary sclerosing cholangitis.

Table 2 Diagnostic performance and suggested cutoff values of controlled attenuation parameter for the diagnosis of liver steatosis

| Ref. | Biopsies (n) | Study design | Etiologies | AUROC S1 (11%) | AUROC S2 (34%) | AUROC S3 (67%) | Cutoff values for S1 (dB/m) | Sensitivity | Specificity | Negative predictive value | Positive predictive value | Cutoff values for S2 (dB/m) | Sensitivity | Specificity | Negative predictive value | Positive predictive value | Cutoff values for S3 (dB/m) | Sensitivity | Specificity | Negative predictive value | Positive predictive value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sasso et al[21], 2010 | 115 | Retrospective | All | 0.91 | 0.95 | 0.89 | 238 | 91% | 81% | 87% | 87% | 259 | 89% | 86% | 92% | 80% | 292 | 100% | 78% | 100% | 28% |
| de Lédinghen et al[39], 2012 | 112 | Prospective | All | 0.84 | 0.86 | 0.93 | 215 |  |  |  |  | 252 |  |  |  |  | 296 |  |  |  |  |
| Myers et al[40], 2012 | 153 | Prospective | All | 0.81 |  |  | 283 | 76% | 79% | 64% | 87% |  |  |  |  |  |  |  |  |  |  |
| Beaugrand et al[41], 2010 | 74 | Retrospective | ALD | 0.81 | 0.87 | 0.82 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Beaugrand et al[42], 2010 | 96 | Retrospective | ALD / NAFLD | 0.86 | 0.87 | 0.77 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cardoso et al[43], 2010 | 133 | Retrospective | CHB | 0.82 | 0.81 | - |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sasso et al[44], 2012 | 615 | Retrospective | CHC | 0.8 | 0.86 | 0.88 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

ALD: Alcoholic liver disease; AUROC: Area under receiver operating characteristics curves; HBV: Hepatitis B virus infection, HCV: Hepatitis C virus infection; LR: Likelihood ratio; NAFLD: Non-alcoholic fatty liver disease.

Table 3 Liver stiffness measurement and the risk of hepatocellular carcinoma  in chronic hepatitis B or C patients

| Chronic hepatitis B patients | Chronic hepatitis C patients |
| --- | --- |
| LSM | Hazard ratios of HCC | LSM | Hazard ratios of HCC |
| ( 10.0 kPa | Referent | ( 8.0 kPa | Referent |
| 10.1–15.0 kPa | 17 | 8.1–13.0 kPa | 3.1 |
| 15.1–20.0 kPa | 21 | 13.1–18.0 kPa | 4.7 |
| 20.1–25.0 kPa | 26 | 18.1–23.0 kPa | 5.6 |
| > 25.0 kPa | 46 | > 23.0 kPa | 6.6 |

LSM: Liver stiffness measurement; HCC: Hepatocellular carcinoma.

Table 4 The characteristic of the new S and XL probes comparing to M probe

| Probe | Frequency of ultrasound (MHz) | Depth (mm) |
| --- | --- | --- |
| S | 5 | 15-40 |
| M | 3.5 | 25-65 |
| XL | 2.5 | 35-75 |

Figure 1 Falsely elevated liver stiffness measurement results in a patient with grossly elevated alanine aminotransferase levels. Liver stiffness measurement (LSM) values decreased considerably after the resolution of acute hepatitis. Modified from Wong et al[35]. ALT: Alanine aminotransferase.

Figure 2 An alanine aminotransferase-based algorithm. A: Normal alanine aminotransferase (ALT); B: Elevated ALT levels up to 5 times of upper limit of normal to exclude or establish advanced liver fibrosis for chronic hepatitis B patients. Modified from Chan et al[16].

# Text boxes

ALT (IU/l)

LSM (kPa)

30.0

20.0

10.0

0

4              8               12             16             20             24
                                                    Weeks

3 months after normalization of ALT level

Normal ALT

≤ 6.0 kPa

>6.0 kPa – 9.0 kPa

>9.0 kPa

93% sensitivity to
exclude advanced 
fibrosis

Gray zone

100% specificity to 
diagnose advanced 
fibrosis

A

Elevated ALT 
(>1-5xULN)

≤ 7.5 kPa

>7.5 kPa – 12.5 kPa

>12.5 kPa

92% sensitivity to
exclude advanced 
fibrosis

Gray zone

98% specificity to 
diagnose advanced 
fibrosis

B