Copyright Information of the Article Published Online

| TITLE | Advanced gastrointestinal endoscopic imaging for inflammatory bowel diseases |
| --- | --- |
| AUTHOR(s) | Gian Eugenio Tontini, Timo Rath, Helmut Neumann |
| CITATION | Tontini GE, Rath T, Neumann H. Advanced gastrointestinal endoscopic imaging for inflammatory bowel diseases. World J Gastroenterol 2016; 22(3): 1246-1259 |
| URL | http://www.wjgnet.com/1007-9327/full/v22/i3/1246.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v22.i3.1246 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Gastrointestinal luminal endoscopy is of paramount importance for diagnosis, monitoring and dysplasia surveillance in patients with Crohn’s disease and ulcerative colitis. Within this review, we describe how novel endoscopic approaches and advanced endoscopic imaging methods such as high definition imaging, high magnification endoscopy, dye-based and dye-less chromoendoscopy, confocal laser endomicroscopy, endocytoscopy and molecular imaging now allow for the accurate and highly resolved assessment of mucosal inflammation on the cellular level and describe the potential of these techniques for dysplasia detection. |
| KEY WORDS | Ulcerative colitis; Crohn’s disease; Advanced endoscopic imaging; Chromoendoscopy; Mucosal healing; Colitis associated cancer; Confocal laser endomicroscopy; Endocytoscopy; Molecular imaging |
| COPYRIGHT | © The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) and 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

REVIEW

Advanced gastrointestinal endoscopic imaging for inflammatory bowel diseases

Gian Eugenio Tontini, Timo Rath, Helmut Neumann

Gian Eugenio Tontini, Gastroenterology and Digestive Endoscopy Unit, IRCCS Policlinico San Donato, 20097 San Donato Milanese, Italy

Timo Rath, Helmut Neumann, Department of Medicine 1, Division of Gastroenterology, University Hospital Erlangen, 91054 Erlangen, Germany

Author contributions: Tontini GE designed the study, provided a critical revision oft he manuscript for important intellectual content, and was involved in editing the manuscript; Rath T performed data analysis and wrote the manuscript; Neumann H co-ordinated the study, provided a critical revision of t he manuscript for important intellectual content and was the study supervisor.

Correspondence to: Helmut Neumann, MD, PhD, Professor, Department of Medicine 1, Division of Gastroenterology, University Hospital Erlangen, FAU Erlangen-Nuremberg, Ulmenweg 18, 91054 Erlangen, Germany. helmut.neumann@uk-erlangen.de

Telephone: +49-9131-8535204  Fax: +49-9131-8535209

Received: August 11, 2015  Revised: October 15, 2015  Accepted: November 9, 2015

Published online: January 21, 2016

Abstract

Gastrointestinal luminal endoscopy is of paramount importance for diagnosis, monitoring and dysplasia surveillance in patients with both, Crohn’s disease and ulcerative colitis. Moreover, with the recent recognition that mucosal healing is directly linked to the clinical outcome of patients with inflammatory bowel disorders, a growing demand exists for the precise, timely and detailed endoscopic assessment of superficial mucosal layer. Further, the novel field of molecular imaging has tremendously expanded the clinical utility and applications of modern endoscopy, now encompassing not only diagnosis, surveillance, and treatment but also the prediction of individual therapeutic responses. Within this review, we describe how novel endoscopic approaches and advanced endoscopic imaging methods such as high definition and high magnification endoscopy, dye-based and dye-less chromoendoscopy, confocal laser endomicroscopy, endocytoscopy and molecular imaging now allow for the precise and ultrastructural assessment of mucosal inflammation and describe the potential of these techniques for dysplasia detection.

Key words: Ulcerative colitis; Crohn’s disease; Advanced endoscopic imaging; Chromoendoscopy; Mucosal healing; Colitis associated cancer; Confocal laser endomicroscopy; Endocytoscopy; Molecular imaging

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: Gastrointestinal luminal endoscopy is of paramount importance for diagnosis, monitoring and dysplasia surveillance in patients with Crohn’s disease and ulcerative colitis. Within this review, we describe how novel endoscopic approaches and advanced endoscopic imaging methods such as high definition imaging, high magnification endoscopy, dye-based and dye-less chromoendoscopy, confocal laser endomicroscopy, endocytoscopy and molecular imaging now allow for the accurate and highly resolved assessment of mucosal inflammation on the cellular level and describe the potential of these techniques for dysplasia detection.

Tontini GE, Rath T, Neumann H. Advanced gastrointestinal endoscopic imaging for inflammatory bowel diseases. World J Gastroenterol 2016; 22(3): 1246-1259  Available from: URL: http://www.wjgnet.com/1007-9327/full/v22/i3/1246.htm  DOI: http://dx.doi.org/10.3748/wjg.v22.i3.1246

INTRODUCTION

Inflammatory bowel diseases (IBD) comprises the two major forms Crohn’s disease (CD) and ulcerative colitis (UC) both of which are immunopathogenic complex diseases in which, on the basis of a genetic susceptibility host, an excessive mucosal immune response towards the complex enteric microbiota plays a role for the initiation and perpetuation of intestinal inflammation[1-4]. Recent studies estimate that approximately 1.2 million people in the US and 3.7 million people in Europe suffer from IBD and in most parts of the world IBD incidence rates increase over time[5,6]. With its profound involvement in diagnosis of UC and CD, in monitoring response to anti-inflammatory therapy as well as in dysplasia surveillance, gastrointestinal luminal endoscopy is of paramount importance for the management of IBD patients.

In the recent past, mucosal healing has increasingly been recognized as a key clinical treatment goal in IBD patients. Since it has been shown that complete mucosal healing is one of the most crucial aspects that predicts sustained clinical remission and resection-free survival of patients[7], the precise and detailed assessment of the superficial mucosal layer in real-time becomes more important than ever for the medical management of IBD patients. In this context, advanced endoscopic imaging techniques including dye-based and dye-less chromoendoscopy, endocytoscopy and confocal laser endomicroscopy have been shown to allow precise, ultrastructural and even microscopic characterization of the inflammation within the luminal gastrointestinal tract in real time, thereby tremendously facilitating the diagnosis of IBD and the direct evaluation of response to medical therapy.

Apart from assessing the degree and extent of inflammation, regular surveillance endoscopies for dysplasia screening is another important aspect in the management of IBD patients. Several studies documented that the chronic inflammatory stimulus associated with IBD confers an increased risk for developing colitis associated cancer (CAC) in both, UC and CD patients[8] and the individual colon cancer risk mainly depends on disease duration, severity and anatomic extent of the disease[9-13]. Due to the close association between disease duration and the development of CAC, current European and US guidelines recommending regular surveillance endoscopy starting 6 to 8 years after first manifestation of the disease[14,15] and a large number of case series[16-19] and case-control studies[20-22] provided evidence of the clinical benefit of surveillance colonoscopy for IBD patients. However, at the same time routine white-light endoscopic examinations is limited for the accurate identification of dysplasia and intraepithelial neoplasia[23] and at the same time, random biopsies have a low yield for dysplasia detection[23,24].

While several reports have shown that traditional dye-based chromoendoscopy (DBC) with targeted mucosal biopsies is superior for dysplasia detection in IBD patients[23,24], it is a time- and cost intensive procedure that requires a certain level of expertise and training. These confinements associated with DBC have led to the rapid evolvement of novel advanced endoscopic imaging techniques such as digital [i.e., Fujinon Intelligent Color Enhancement (FICE), i-scan, Storz Professional Image Enhancement Systems (SPIES)] or optical [i.e., Narrow band imaging (NBI), Compound band imaging (CBI)] dye-less chromoendoscopy which offer the advantage of enhancing mucosal vascular and mucosal surface pattern morphology by just pushing a button on the handle of the endoscope thereby potentially reducing time and costs associated with conventional dye-based chromoendoscopy[25,26].

Within this article, we review the current literature on the role of advanced endoscopic imaging techniques such as high-definition and optical magnification endoscopy, dye-based and dye-less chromoendoscopy, confocal laser endomicroscopy and endocytoscopy for the assessment of the extent and degree of inflammation and the surveillance of colitis-associated cancer. Further, we provide an outlook on how first studies have utilized molecular imaging to visualize single molecular structures and also to stratify patients according to the expression of certain molecular targets, thereby allowing to make predictions of responses to medical therapies.

HIGH-DEFINITION AND OPTICAL MAGNIFICATION ENDOSCOPY

The chips used in current high-definition (HD) endoscopes produce signal images with resolutions that range from 850000 pixels to more than 1 million pixels and the general definition of a HD image (or display) is one with more than 650 to 720 lines of resolution[27,28]. In order to obtain true HD images, all components utilized (i.e., endoscope video chip, processor, monitor, transmission cables) have to be HD capable. As compared to standard definition (SD) video chips, HD chips have a considerably lower light sensitivity due to the smaller size of their pixels, thereby requiring a strong light source which is typically a 300 watt Xenon lamp or a laser source[27].

As shown in a recent meta-analysis of over 4000 non-IBD patients comparing the diagnostic yield of colonic polyps between high-definition and standard white-light colonoscopy, HD exhibited only a marginally increased yield for the detection of colorectal polyps of 3.5% compared to SD and the number needed to treat was calculated to be 28[29].

However, while HD offers only an incremental increase for the detection of sporadic adenomas, its relevance for the detection of dysplastic changes in IBD is remarkable. In patients with IBD, dysplastic lesions often develop as flat lesions within the mucosa rather than as protruding into the intestinal lumen. As shown in a retrospective cohort study based on 369 subjects with long-standing colonic IBD, HD colonoscopy could detect significantly more adenomas especially within flat or right-sided lesions, as compared to standard definition white light colonoscopy[30]. Overall, the adjusted prevalence ratio of detecting dysplastic lesions on targeted biopsies was calculated as 2.99 for HD colonoscopy[30].

Optical magnification endoscopy

Otpical magnification utilizes a movable lens to vary the degree of magnification thereby allowing to magnify the mucosa of the gastrointestinal tract from 6-fold up to 150-fold[31]. Since this magnification is based on an optical zoom, the image quality is maintained while zooming. In contrast to this optical magnification, electronic or digital magnification simply enlarges the image on the display, leading to decreased pixel density and decreased image quality[27]. In one of the earliest studies, optical magnification endoscopy has been shown to be able to differentiate true neoplasms from non-neoplastic colonic lesions by analyzing the mucosal pit pattern. Hence, as shown in this landmark trial, magnification endoscopy can provide an accurate and instantaneous prediction of the histology of colorectal tumorous lesions[31].

This observation in colorectal polyps has recently been extended to other neoplastic and non-neoplastic diseases in the upper and lower gastrointestinal tract, and was especially used in combination with dye-based chromoendoscopy[32-38]. In one of the earliest prospective randomized trials, Kiesslich and co-workers were able to show that methylene blue-aided chromoendoscopy in combination with optical magnification not only allowed for a better assessment of the degree and extent of colonic inflammation compared to conventional colonoscopy, but also to detected significantly more intraepithelial neoplasia compared to standard white-light endoscopy[24]. Consistent with these observations, in a prospective trial on 350 patients with long-standing UC, significantly more intraepithelial neoplastic lesions were detected by magnification chromoendoscopy compared with 350 disease-matched controls that received conventional endoscopy. Importantly, of the 67 lesions with intraepithelial neoplasia that were found, 53 (79%) were detected using magnification chromoendoscopy alone. In addition, magnification endoscopy was able to predict neoplastic and non-neoplastic mucosal changes with high overall accuracy[34]. Several lines of evidence now support the concept of enhanced dysplasia detection with magnification (chromo)endoscopy and it appears that especially the high-resolution and high magnification visualization of the pit and vascular pattern is a key component and of paramount importance for the identification of dysplastic areas in IBD[34,39-43].

Apart from dysplasia detection, high magnification chromoendoscopy has been utilized for the assessment of disease extent and disease severity in IBD. In one of the earliest pilot study, magnification endoscopy was utilized to grade the rectal network pattern and cryptal opening in 41 patients with mild to moderate UC. When both features were combined, patients with visible network pattern and cryptal opening had a lower clinical activity and lower grade of histologic inflammation compared to patients in which both findings could not be visualized. Therefore, these data provide evidence that magnification endoscopy is capable of predicting the histologic degree of inflammation[44]. In a prospective trial on 113 patients with quiescent UC, Nishio and co-workers studied the role of magnification endoscopy for predicting the clinical course of disease[45]. The authors classified the rectal pit pattern appearance into four groups according to its irregularity: grade 1, small, round, and regularly arranged pits; grade 2, rather large, oval pits, somewhat irregular in arrangement; grade 3, pits various shapes and sizes, and irregularly arranged; grade 4, dispersed pits varying in morphology, associated with small erosions. Using this classification, the authors found that magnification endoscopy grading correlated to histopathological findings and acts as a significant predictor of relapse with a relative risk of 2.0[45]. Further, magnification endoscopy calculated a relapse risk of 60% in the following 12 mo in patients who had a grade 4 rectal pit pattern, but who had only mild or no endoscopic features of disease activity at the time of endoscopy[45]. Consistent with these data, Hurlstone et al[35] found a good correlation between the Saitoh criteria for magnification imaging and Matts’ histopathological criteria in a prospective trial including 325 UC patients. In a biphasic examination, all colonic segments were first inspected with conventional white-light endoscopy, followed by high magnification chromoendoscopy. It has been shown, that magnification imaging results in a significantly better prediction of disease extent than conventional endoscopy.

CHROMOENDOSCOPY

Chromoendoscopy enhances the mucosal architecture and/or submucosal microvasculature by the use of various dyes (Dye-based chromoendoscopy, DBC) or endoscopic optical and computer-based color programs (Dye-less chromoendoscopy, DLC). This contrast enhancement of the mucosal layer results in the improved detection of lesions that are often subtle or even nearly invisible at conventional white-light endoscopy.

DBC uses different dye agents which are divided into absorptive agents (Lugol solution, methylene blue, toluidine blue, and cresyl violet), contrast agents (indigo carmine, acetic acid) and reactive staining agents (congo red, phenol red), all of which are mostly applied via standard spraying or plain biliary ERCP catheters[46]. As briefly mentioned above, DBC has been shown to improve detection of dysplasia in IBD, and chromoendoscopy is recommended as the preferred modality for surveillance in patients with colonic IBD by the British Society of Gastroenterology[47] and the European Crohn’s and Colitis organization[48]. However, DBC also requires increased efforts, skills, time, and costs. These confinements associated with the use of traditional dye agents have finally led to the development of dye-less chromoendoscopy techniques (DLC).

DLC is further subdivided into optical chromoendoscopy (NBI, Olympus, Japan; CBI, Aohua Photoelectricity, Shanghai, China) and digital chromoendoscopy (i-scan, Pentax, Tokyo, Japan; FICE, Fujifilm, Tokyo, Japan; SPIES, Karl Storz, Tuttlingen, Germany). Optical DLC utilizes optical filters within the light source of the endoscope to narrow the bandwidth of spectral transmittance, thereby enhancing and facilitating the visualization of blood vessels. In contrast, digital DLC uses digital postprocessing algorithms that reconstruct the endoscopic image from the video processor in real time, thereby resulting in an improved contrast of the mucosal capillary pattern and an enhancement of the mucosal surface pattern morphology[25,46].

Importantly, both optical and digital DLC are simple “push-of-a-button” techniques that are readily available during the endoscopic examination. Thus, compared to traditionally used dye-based chromoendoscopy, DLC theoretically offers the advantage of dye-enhanced mucosal imaging without the efforts in time and costs of applying contrast agents during the endoscopic examination. Further, data derived from the in vivo assessment of colorectal polyp histology impressively demonstrated that DLC can be readily learned even by “non-expert” endoscopists[49-51]. Hence, endoscopists with varying levels of experience can accurately use digital chromoendoscopy after a single training session[52,53] with comparable diagnostic accuracies between non-expert and expert endoscopists[54].

In one of the earliest prospective randomized trials on the relevance of DBC for the assessment of mucosal inflammation and dysplasia in ulcerative colitis, Kiesslich and co-workers directly compared DBC and conventional colonoscopy in a large cohort of UC patients. Importantly, DBC with methylene blue not only permitted a more accurate diagnosis of the extent and severity of the inflammatory activity in UC compared with conventional colonoscopy, but also significantly improved the early detection of intraepithelial neoplasia and CAC[24]. Another “back-to-back” study evaluated pancolonic indigo carmine staining 0.1% for the detection of UC-associated dysplasia[23]. As shown in this study, DBC with indigo carmine led to a higher dysplasia detection rate while at the same time reducing the total amount of biopsies[23]. Consistent with these results, another prospective trial also included patients with Crohn’s colitis (CC), and similarly, in both UC and CC, targeted biopsies after dye spraying (methylene blue) detected significantly more dysplastic lesions than random biopsies[55]. Those results have been summarized and quantified in a recent meta-analysis of six randomized controlled trials, verifying that dye-based chromoendoscopy has a medium to high sensitivity and a high diagnostic accuracy for detection of dysplastic lesions in UC[56]. In its totality, this profound evidence on the superiority of DBC for the detection of colitis-associated neoplasia, together with the knowledge of a cumulative colorectal cancer (CRC) risk in UC patients of 18% after 30 years of disease[10], have led to the recommendation to perform chromoendoscopy with targeted biopsies as the surveillance procedure of choice in IBD patients in US and European guidelines[14,15,47,48]. Furthermore, international multidisciplinary unifying consensus guidelines, the so-called SCENIC (Surveillance for Colorectal Endoscopic Neoplasia Detection and Management in Inflammatory Bowel Disease Patients: International Consensus Recommendations) recommendations, have been launched just recently. In these guidelines, performance of pancolonic chromoendoscopy with indigo carmine or methylene blue is the modality of choice for IBD surveillance, and also high-definition colonoscopy is preferred over standard white-light colonoscopy[57,58].

While the superiority of DBC for dysplasia detection during IBD surveillance is undeniable, DBC is in general a time- and cost-consuming procedure, both factors working against its routine implementation into daily routine clinical practice. In terms of costs associated with DBC, a recent study evaluated whether DBC is cost-effective for colorectal cancer surveillance in UC patients and found that DBC with targeted biopsies is not only more effective but also less costly compared to conventional white-light endoscopy with four quadrant random biopsies taken every 10 cm[59]. Thereby, from this study it appears that the cost-savings associated with targeted biopsies outcompetes the costs associated with increased time and materials required for DBC and targeted biopsies. In terms of additional time requirements, it has been shown that, even in expert hands, pancolonic dye spraying requires 4 to 10 min additional time, resulting in a 30%-40% increase in total procedure duration[60,61]. Finally, DBC has some other potential limitations other than increase in costs and efforts: the dye does not coat the mucosa evenly and dye pooling can lead to difficult observation and interpretation. In addition, DBC cannot provide a detailed evaluation of the mucosal vascular pattern morphology, which is a critical component in the diagnosis of disease activity and dysplasia detection in IBD.

In an attempt to overcome these potential limitations and hurdles associated with the use of DBC, dye-less chromoendoscopy techniques have rapidly evolved in the recent past.

The first description of optical dye-less chromoendoscopy (DLC; i.e., NBI) for identification of colitis associated neoplasia was published in 2006. In this report on a 63-year-old man with longstanding ulcerative colitis and a previous history of dysplasia associated lesions or masses (DALM), it was shown for the first time that visualization of the pit pattern and the mucosal vascular pattern intensity by NBI might help in DALM detection and to discriminate dysplastic from non-dysplastic areas in ulcerative colitis[62]. As shown in this report, especially the capillary vasculature exhibited a higher vascular pattern and appeared darker on NBI in dysplastic lesions compared to adjacent normal mucosa[62]. Since then, various trials have studied the potential of NBI to assess the degree of mucosal inflammation and colitis associated preneoplastic and neoplastic changes. In one of the earliest prospective randomized trials, the accuracy of NBI for the detection of neoplasia in patients with longstanding ulcerative colitis was compared against standard colonoscopy[63]. In general, more suspicious lesions were found with NBI, however the sensitivity of NBI for neoplasia detection was similar to conventional white-light endoscopy[63]. Soon thereafter, the same group assessed the value of NBI for surveillance in UC in two other studies[64,65]. In these studies, pit pattern analysis of neoplastic lesions exhibited only a moderate accuracy for the prediction of histology[64]. Compared to high-definition endoscopy, NBI did not improve the detection of UC associated neoplastic lesions[65]. Subsequently, trials comparing NBI against dye-based chromoendoscopy for the detection of colonic dysplasia in IBD found no significant differences between both techniques for dysplasia detection[66,67].

Consistent with this, a recent meta-analysis of four studies comparing dye-based chromoendoscopy and NBI found a non-significant lower dysplasia detection rate with NBI[57,58]. The result of this meta-analysis indicates that a meaningful benefit of NBI over chromoendoscopy is unlikely. However, at the same time the study also did not documented a benefit of chromoendoscopy over NBI and clearly, higher powered studies are needed to address this question[68,69]. Based on the above mentioned evidence, NBI is, at the moment, not recommended to replace dye-based chromoendoscopy for cancer surveillance in IBD patients[57,58].

Data on the relevance of digital chromoendoscopy for IBD surveillance are scare to date. First evidence that digital chromoendoscopy with FICE might be superior to white-light colonoscopy with standard definition for the detection of dysplastic lesions in UC comes from a prospective, randomized trial that was just recently presented at the ECCO 2015 meeting[70].

The role of dye-less chromoendoscopy to assess mucosal inflammation associated with IBD has also been studied. In one of the earliest reports, Kudo and colleagues analyzed the mucosal vascular pattern (MVP) in patients with asymptomatic or mildly active UC using NBI and HD white-light endoscopy[71]. The authors found that areas with obscure MVP on NBI exhibit increased numbers of acute inflammatory cell infiltrates, goblet cell depletion and basal plasmacytosis and that evaluation of the MVP with NBI yielded a more precise determination of acute microscopic inflammation in patients with quiescent UC[71]. The typical appearance of active UC and inactive, quiescent disease on NBI have been summarized by the same group of authors[72]. In addition to that, another pilot study on 14 IBD patients was able to demonstrate that areas that appear normal on WLE, but positive on NBI (as defined by a stronger capillary vascular pattern), exhibit an increased leukocyte infiltrate and a significantly increased microvessel density on immunohistology, thus providing first evidence that NBI might allow in vivo imaging of intestinal angiogenesis in IBD patients[73].

Data on the relevance of digital DLC for the assessment of mucosal inflammation in IBD patients are limited. To date, only one study evaluated FICE in IBD patients and showed that FICE is not helpful to improve the detection or delineation of ulcers and erosions in CD[74]. Just recently, a study on 78 IBD patients that were randomized to receive either HD white-light endoscopy or HD endoscopy with i-scan, was able to demonstrate that i-scan allows a considerably improved prediction of disease extent and disease activity compared to white-light endoscopy (i-scan: 92% and 90% vs WLE: 49% and 54%)[75]. Of note, examination time was not different between WLE and i-scan, consistent with the idea that dye-less chromoendoscopy is a push-of-a-button technology that can be readily incorporated into the existing examination[75]. Although no studies have directly assessed the relevance of digital chromoendoscopy for the detection of colitis-associated neoplasia and cancer, it has been shown that HD endoscopy with i-scan can significantly detect more neoplastic lesions and more flat adenomas than standard resolution endoscopy[76] and is as precise as dye-based chromoendoscopy for the characterization of small colorectal lesions in non-IBD patients[77]. Based on these results, data on the assessment of colitis associated dysplasia by digital DLC are eagerly awaited.

CONFOCAL LASER ENDOMICROSCOPY

Confocal laser endomicroscopy (CLE) can visualize structures at the (sub)cellular level[78], and since its introduction in 2003 CLE has emerged as a technique that can be utilized for precise histologic real time in vivo imaging of various diseases[79-83]. Technically, after topical (acriflavine hydrochloride, cresyl violet) or systemic (fluorescein sodium) administration of contrast agents, CLE emits a low power blue laser light onto the tissue, which is then reflected from the tissue and refocused on the detection system by the same lens, leading to microscopic imaging at 1000-fold magnification in real time[81]. Currently, two different FDA-approved and CE-certified CLE devices are available[84]: (1) a probe based CLE system that can be advanced through the accessory channel of a standard endoscope (pCLE, Cellvizio, Mauna Kea Technologies, Paris, France); and (2) an integrated device where the CLE probe is integrated into the distal end of a high-resolution endoscope (“integrated”, iCLE; Pentax, Tokyo, Japan). Both pCLE and iCLE emit blue laser light with wavelength of 488 nm, and light reflection from the tissue is detected at wavelengths between 205 and 585 nm. The iCLE-system acquires images at a manually adjustable scan rate of 1.6 frames/s with a resolution of 1024 × 512 pixels, or at 0.8 frames per second with a resolution of 1024 × 1024 pixels. The depth of scanning and the laser power can be adjusted from 0 to 250 m and from 0 and 1000 W, respectively. The optical slice thickness is 7 m, with lateral and axial resolution of 0.7 m and a confocal image field of view of 475 m × 475 m.

The pCLE system utilizes separately available confocal probes, and specific probes for different indications throughout the entire gastrointestinal tract are available. Probe-based CLE utilizes a fixed laser power and a fixed imaging plane depth for image acquisition. Lateral resolution ranges between 3.5 mol/L and 1 mol/L, resulting in a field of view of 600 mol/L-240 mol/L, depending on the confocal probe used. Images are acquired at 12 frames/s, leading to real-time videos. Single video frames either in real time or post processed with an increased field of view (4 mm × 2 mm) can be reconstructed using a special computer algorithm (Mosaicing, Mauna Kea Technologies, Paris, France). Probe based CLE in IBD is mostly being performed by using the ColoFlex UHD probe, which requires a 2.8 mm working channel. Hence, these probes can be advanced through the working channel of most endoscopes used in clinical practice.

Both CLE-systems offer unique advantages and specifications and their utilization depends on the clinical scenario. Advantages of iCLE are its higher resolution, the possibility to alter the laser power and imaging plane depth and it also allows to simultaneously take biopsies and thus to directly compare confocal imaging with histopathological results. The major advantages of the pCLE system are its ad hoc usage in existing endoscopes and the possibility to perform real time video recording.

Technical characteristics of the iCLE systems and different CLE probes are summarized in Table 1.

The utilization of confocal endomicroscopy and the interpretation of images in IBD patients require only a short learning curve. In this regard, data from a prospective evaluation demonstrated that after the initial three examinations, performance parameters of CLE imaging improved with a significant decrease in the overall CLE procedure time and an increase in images in focus acquired. Further, agreement between CLE and histopathology improved over time with kappa values of 0.81 after twenty-six cases. Thus, CLE is a procedure that can be readily learned in a short time frame and that can be successfully applied in IBD patients[85].

In one of the first in vivo randomized trials on the relevance of CLE for UC surveillance, it was shown that by using chromoendoscopy (with methylene blue) together with endomicroscopy, 4.75-fold more neoplasias could be detected than with conventional colonoscopy, although 50% fewer biopsies were required and CLE exhibited an excellent diagnostic accuracy for the prediction of neoplastic changes[86]. In addition, using the modified Mainz confocal criteria for the in vivo diagnosis of adenoma-like mass (ALM) and DALM in a pilot study on 16 UC patients, it has also been shown that CLE can accurately differentiate between DALM and ALM with an almost perfect kappa coefficient of agreement between CLE and histopathologic evaluation[87]. This is important since such an approach can significantly facilitate the clinical decision whether patients should receive endoluminal endoscopic resection or be rather referred for proctocolectomy[87]. Importantly, these studies utilized the integrated CLE system (iCLE) and subsequently, another pilot study on 22 UC patients demonstrated that surveillance in UC is also feasible with the stand-alone CLE probe (pCLE) with reasonable diagnostic accuracy of the pCLE system for dysplasia detection[88]. These results were also confirmed by a recent meta-analysis that included a total of fifteen studies involving 719 patients with either sporadic polyps or IBD. In this work, it has been calculated that CLE can distinguish neoplasms from non-neoplastic tissue in IBD patients with a sensitivity of 83% and specificity of 90%, thereby confirming that CLE can indeed differentiate between neoplastic and non-neoplastic tissue[89]. Morphologically, dysplasia on CLE is in general characterized by dark cells with crypt density attenuation, a ridged-lined irregular epithelial layer with loss of crypts and dilated and distorted vessels with elevated leakage and irregular vascular architecture. In contrast, inflamed mucosa is in general characterized by dilation of crypt openings, enlarged spaces between crypt, and microvascular alterations with fluorescein leaks into the crypt lumen therefore making the lumen brighter than the surrounding epithelium[78,90].

Apart from dysplasia detection, several reports have assessed the value of CLE for the real-time in vivo assessment of the histologic degree and the extent of mucosal inflammation associated with IBD. One of the earliest pilot studies evaluated the morphologic differences of the colonic mucosa between active and inactive UC. The crypts in UC patients with non-active disease were small, round and slightly irregular in arrangement with a small and round crypt lumen. In contrast, colonic crypts in active UC were large, variously shaped and irregular in arrangement whereas colonic crypts in active UC appeared large, variously shaped, irregularly arranged with numerous inflammatory cells and capillaries in the lamina propria[91].

These results were also confirmed by several other studies. A study by Li and colleagues on 73 UC patients assessed the inflammatory activity by CLE with a 4-grade CLE classification system of crypt architecture, as well as by analysis of microvascular alterations and fluorescein leakage, demonstrating that all three parameters (crypt architecture, fluorescein leakage, microvasculature) showed good correlations with histopathology[92]. Of note, more than half of the patients with normal mucosa seen on conventional white-light endoscopy showed acute inflammation on histology, whereas no patients with normal mucosa seen on CLE showed acute inflammation on histology[92]. Another recently published study by the same group showed that CLE can be used to predict disease relapse in UC. In this report, UC patients with macroscopic normal mucosa on WLE, but endomicroscopic sings of active inflammation (as assessed by analysis of the crypt architecture with CLE), exhibited a significantly higher relapse rate than patients with non-active disease on CLE[93]. Finally, Buda et al[94] have further confirmed that mucosal changes detected in vivo by CLE in remittent UC patients can predict disease relapse.

Results from our own group demonstrate that CLE can also reliably assess Crohn’s disease activity and also be utilized to differentiate Crohn’s disease from ulcerative colitis[95,96]. In a study on 54 patients with Crohn’s disease, we were able to show that a significantly higher proportion of patients with active CD had increased colonic crypt tortuosity, enlarged crypt lumen, microerosions, augmented vascularization, and increased cellular infiltrates within the lamina propria while, in quiescent CD, a significant increase in crypt and goblet cell number was detected compared with controls[95] and based on these findings, the Crohn’s Disease Endomicroscopic Activity Score (CDEAS) for the assessment of CD activity in vivo was proposed. The CDEAS does not only allow differentiating between quiescent CD and controls but also between quiescent and active disease and showed strong correlation to serum levels of the C-reactive protein[95]. In a recently published prospective trial on 79 IBD patients we were able to show that patients with CD showed significantly more discontinuous inflammation, more focal cryptitis and more discontinuous crypt architectural abnormality on CLE than patients with ulcerative colitis. Conversely, ulcerative colitis was associated with severe, widespread crypt distortion, decreased crypt density and irregular surface and based on these findings, the so-called IDEA (IBD Differentiation based on Endomicroscopic Assessment) scoring system was developed exhibiting an excellent diagnostic accuracy when compared with the historical clinical diagnosis and histopathology[96].

Hence, the CLE based scoring systems such as the CDEAS or the IDEA appear as precise tools for the accurate prediction of disease severity in CD patients and for the differential diagnosis between CD and UC[95,96]. However, validation trials are highly warranted to proof the early results.

Another important feature for the endomicroscopic evaluation of inflammatory activity by CLE are the so-called epithelial gaps[97]. Epithelial gaps, originally discovered in the terminal ileum and rectum of patients undergoing surveillance colonoscopy, have a diameter of an individual epithelial cell (10 m) and pathomorphologically result from shedding of epithelial cells. In this context it has been shown that in IL-10 deficient mice, as a murine model of inflammatory bowel diseases, as well as patients with CD exhibited a significantly higher epithelial gap density compared to controls[98]. A study including 21 CD and 20 UC patients with a median follow-up of 14 mo provided first evidence that assessment of epithelial gaps by CLE has important clinical relevance. In this report, patients with elevated gap density were at significantly higher risk for hospitalization or surgery[99]. Further, patients with elevated gap density were at increased risk for hospitalization and surgery and gap density was a significant predictor for risk of major events, with a hazard ratio of 1.10 associated with each increase of 1% in gap density. Additionally, gap density also correlated with IBD disease duration[99]. These results are corroborated by another trial on 47 UC and 11 CD patients in clinical and mucosal remission in which increased cell shedding with fluorescein leakage was associated with subsequent relapse within 12 mo after endomicroscopic examination. Further, endomicroscopic grading of the local barrier dysfunction by the so called Watson grade exhibited a very high specificity and good overall accuracy for predicting disease flares[100].

The role of CLE for the assessment of mucosal inflammation, for the prediction of therapeutic response and for cancer surveillance in IBD has recently been summarized in a systemic review[101]. In their totality, the above discussed studies demonstrate that CLE can be used to reliably assess the macro- and microscopic inflammatory activity in IBD patients and to obtain optical biopsies in real-time. Since the precise determination of mucosal inflammation is one of the most critical components for defining and achieving mucosal healing, which itself has been identified as a key prognostic parameter and important treatment goal in IBD patients[7], it is likely that CLE will become more important in the foreseeable future not only to facilitate and optimize the management and surveillance of IBD patients but also to prospectively identify patients that are under risk of experiencing a disease flare.

ENDOCYTOSCOPY

Endocytoscopy (EC; Olympus, Tokyo, Japan) is an advanced imaging technology that uses contact light microscopy with a fixed-focus, high-power objective lens to allow in vivo microscopic imaging of the GI tract with up to 1390-fold magnification[102-104]. The depth of field of EC ranges from 0 to 50 m, thereby only the very superficial mucosal layer can be visualized. As a prerequisite before image acquisition, EC requires thorough mucolysis (e.g., with N-acetyl-cysteine) and staining of the mucosa with an absorptive agent (e.g., methylene blue, toluidine blue, cresyl violet). Data from ex vivo studies suggest that optimum conditions for endocytoscopic observation can be obtained after staining with 0.25% toluidine blue in the colon, after 60 s of exposure to the dye[105], but a combination of different dye agents might be required for optimal tissue contrast[106].

Similar to CLE, a probe based endocytoscopy system (pEC) as well as an integrated endocytoscopy (iEC) device are available[103]. The integrated devices use two different lenses and are integrated into endocopes for the upper (103 cm in length) and lower (133 cm in length) GI tract. iEC provides a 580x-fold image magnification and also allows conventional optical magnification with narrow band imaging capabilities. Recently, another integrated endocytoscope system (GIF-Y0002) was introduced which contains only one lens that allows to continuously increase the zoom from the conventional endoscopy level up to 380-fold (tissue field of view, 700 mm × 600 mm) using a hand lever. Using digital magnification (× 1.6) in addition, the magnifying power can be increased to 600-fold, providing a tissue field of view measuring 440 mm × 380 mm[104,107]. With these characteristics, this new endoscope-generation allows continous magnification from standard overview to the (sub)cellular level.

For the pEC device, two different probes are available, providing either 450-fold (XEC 300F) or 1390-fold (XEC 120 U) magnification[103,104]. The horizontal observation field is 300 m × 300 m (0.09 mm2) for the 450-fold magnification probe and 120 m × 120 m for the 1390-fold magnification probe and both probes require an accessory channel of 3.7 mm.

Compared with CLE, less data on the assessment of mucosal inflammation in IBD are available for EC. In an initial report on 55 UC patients, a newly introduced endocytoscopy scoring system (ECSS) was compared with Matt’s histopathological grading to evaluate the degree of inflammation. As shown in this report, assessing the shape and distance between crypts as well as the visibility of superficial microvessels with a 450-fold magnification showed a strong correlation with Matts’ histopathological grading[108] and further, the ECSS showed a high reproducibility between different investigators[108]. Recently, our group tackled the issue whether EC can be used not only for the determination of mucosal inflammation, but also for the identification and visualization of single inflammatory cells. For this purpose, we used the probe-based EC system with 1390-fold magnification[109]. In this report, we were able to demonstrate that EC is able to visualize not only different cellular structures within the intestinal mucosa such as size, arrangement, and density of cells but also ultrastructural patterns such as size and shape of nuclei and the nucleus-to-cytoplasm ratio[109]. With these features, EC allowed to reliably distinguish single inflammatory cells, namely neutrophilic, basophilic and eosinophilic granulocytes, and lymphocytes[109]. Further, concordance between endocytoscopy and standard histopathologic grading of disease activity was 100% and EC exhibited a substantial interobserver and almost perfect intraobserver agreement[109].

The detection of colitis- associated neoplasia or cancer with EC has not been studied to date. However, first evidence suggests that EC can identify dysplasia in aberrant crypt foci as the earliest precursor lesions of colorectal cancer in the dysplasia-carcinoma sequence[110] and in colonic polyps, EC is capable to even detect and distinguish focal high-grade intraepithelial neoplasia[111]. Potential clinical applications of endocytoscopy in the upper and lower GI tract as well as at other mucosal surfaces have been recently reviewed[104].

MOLECULAR IMAGING

One limitation of the above discussed techniques is that, although they allow precise visualization of cellular structures, they are dependent on the presence of morphologic changes to detect pathology. In the recent past, techniques such as CLE have been combined with the utilization of fluorophores with specificity towards a defined molecular target, thereby enabling the visualization and quantification of biochemical structures or processes on the molecular level in real-time during ongoing endoscopy. This novel field of gastrointestinal endoscopy is referred to as “molecular imaging” or “in vivo immunohistochemistry” and is now a rapidly evolving field in gastroenterology. Since molecular imaging is based on the utilization of exogenous probes, criteria for the ideal probes utilized for molecular imaging in the gastrointestinal tract have been defined. As such, ideal probes for labeling molecular structures should exhibit a high diversity, high affinity binding, rapid binding kinetics within minutes, adequate tissue penetration, low immunogenicity, ability for large scale synthesis and florescent labelling[112]. These criteria can be fulfilled by different agents and so far the following substance classes have been successfully utilized for molecular imaging: antibodies, lectins, affinity peptides, activatable probes, nanoparticles and physiological substances[113-115].

To date, mucosal inflammation as well as cancer development within the GI tract has been successfully studied with molecular imaging, in both, mice and humans. Just recently, Mitsunaga and co-workers utilized a topically applied enzymatically activatable probe (gGlu-HMRG), which exhibits a fluorescent signal in the presence of the enzyme -glutamyltranspeptidase (GGT) to visualize cancer development by fluorescence colonoscopy in the AOM/DSS mouse model of colitis-associated cancer[116]. Fluorescent lesions were detected 5 min after topical administration of gGlu-HMRG, even in small lesions, and fluorescence signal persisted for at least 30 min. Fluorescence guided biopsy revealed that all fluorescent lesions contained cancer or dysplasia and although microscopic inflammatory infiltration also had variable fluorescence, these signals were general approximately 10-fold lower than the cancerous tissue[116]. Consistent with these observations, other studies utilized protease-sensing probes, such as a cathepsin reporter probes[117,118], MMP-activatable probes[119], GGT substrates[116,120], or certain peptides[121,122] to detect and visualize intestinal dysplasia and polyps in murine and xenograft models.

Furthermore, molecular targets that are upregulated from colorectal cancer cells and which are already established therapeutic targets, such as epidermal growth factor receptor (EGFR) or vascular endothelial growth factor receptor (VEGFR), have been utilized as fluorescent probes for the visualization and precise discrimination of cancer tissue[123-125].

Just recently, a first prospective human study in vivo on the molecular labelling of EGFR was conducted in 37 patients with CRC[126]. In this study, an Alexa 488 conjugate-labeled mouse anti-hEGFR antibody was topically applied via a spraying catheter and subsequently, confocal imaging was performed. An EGFR-specific fluorescence signal was present in 18 out of 19 patients with CRC and 12 out of 18 patients with intestinal adenomas while normal mucosa exhibited no or only weak fluorescence[126]. Importantly, no side effects were observed during in vivo CLE imaging and at the 4-6 wk follow-up. Further, no human-anti mouse antibodies were detected serologically, although this aspect was assessed in serum samples of only 4 patients[126].

A potential clinical relevance of the visualization of EGFR during ongoing endoscopy has been portrayed out in a recent study in which colon cancer xenografts were induced by transplanting either cetuximab-sensitive (HT29) or cetuximab-resistant (SW620) human CRC cell lines into nude mice. CLE was performed 48 h after injection of a fluorescently labelled cetuximab test dose and the initial fluorescence intensity was examined in relation to clinical readouts such as tumor growth, thriving and mortality. The initial fluorescence signal was significantly stronger in cetuximab-treated HT29 tumors than in HT29 controls or cetuximab-treated SW620 tumors and accorded with significantly slower tumor progression, better overall survival and better physical condition. Further, cetuximab sensitivity could be predicted from fluorescence intensity at day 0 with a high positive predictive value. Importantly, molecular imaging was for the first time linked to an early prediction of response to targeted therapy in models of human CRC. Therefore, these results may indicate a promising principle for early patient stratification.

These findings were directly translated into clinical applications and one first clinical trial has already proven that the visualization of molecular targets can be used to make a risk stratification of IBD patients prior to the initiation of treatment into responders and non-responders, thereby allowing a prediction on the therapeutic success. In this landmark phase 1 clinical trial, a FITC (fluorescein isothiocyanate) labeled anti-TNF antibody was manufactured under GMP conform conditions and topically applied during endoscopy to the inflamed mucosa of IBD patients that were naïve to anti-TNF antibody treatment. Subsequently, the amount of intestinal mTNF+ cells was quantified via CLE[127]. Importantly, patients with high numbers of mTNF+ cells showed significantly higher short-term response rates (92%) at week 12 upon subsequent anti-TNF therapy as compared to patients with low amounts of mTNF(+) cells (15%), despite comparable severity of mucosal inflammation in both patient groups. This clinical response in patients with high amounts of intestinal mTNF+ cells was sustained over a follow-up period of 1 year and was associated with mucosal healing observed at follow-up endoscopy[127].

These data were the first to provide direct evidence that molecular imaging with fluorescent antibodies and CLE can be utilized to predict therapeutic responses to biological treatment in Crohn’s disease prior to the initiation of therapy and thus might be used for an a priori risk stratification according to their treatment response. The establishment of such a personalized medicine approach and its integration into clinical routine and patient care would have a tremendous impact since it would allow avoiding unnecessary risk exposure associated with biological therapies and lead to a considerable economization of the treatment regimens at the same time.

CONCLUSION

In recent years, emerging strategies for the management of patients with IBD have radically changed the role of advanced endoscopic imaging techniques in both, research trials and clinical practice. Image-enhanced technologies including high-definition, optical magnification, and chromoendoscopy can remarkably refine the characterization of mucosal inflammation and clearly have the potential to improve the detection of non-polypoid dysplastic lesions in daily clinical practice. In addition, recent developments in optical biopsy techniques such as endocytoscopy and confocal laser endomicroscopy have made available the microscopic assessment of mucosal changes in real time during ongoing endoscopy, thereby predicting several histologic features with a high level of accuracy. The path traced by rapidly evolving molecular imaging technologies promises to transcend the known spectrum of plain morphological assessment of conventional luminal gastrointestinal tract to visualization of molecular structures and pathways in IBD patients that allow individual predictions about therapeutic responses.

REFERENCES

1	Abraham C, Cho JH. Inflammatory bowel disease. N Engl J Med 2009; 361: 2066-2078 [PMID: 19923578 DOI: 10.1056/NEJMra0804647]

2	Kaser A, Zeissig S, Blumberg RS. Inflammatory bowel disease. Annu Rev Immunol 2010; 28: 573-621 [PMID: 20192811 DOI: 10.1146/annurev-immunol-030409-101225]

3	Maloy KJ, Powrie F. Intestinal homeostasis and its breakdown in inflammatory bowel disease. Nature 2011; 474: 298-306 [PMID: 21677746 DOI: 10.1038/nature10208]

4	Neurath MF. Cytokines in inflammatory bowel disease. Nat Rev Immunol 2014; 14: 329-342 [PMID: 24751956 DOI: 10.1038/nri3661]

5	Kappelman MD, Moore KR, Allen JK, Cook SF. Recent trends in the prevalence of Crohn’s disease and ulcerative colitis in a commercially insured US population. Dig Dis Sci 2013; 58: 519-525 [PMID: 22926499 DOI: 10.1007/s10620-012-2371-5]

6	Lovasz BD, Golovics PA, Vegh Z, Lakatos PL. New trends in inflammatory bowel disease epidemiology and disease course in Eastern Europe. Dig Liver Dis 2013; 45: 269-276 [PMID: 23010518 DOI: 10.1016/j.dld.2012.08.020]

7	Neurath MF, Travis SP. Mucosal healing in inflammatory bowel diseases: a systematic review. Gut 2012; 61: 1619-1635 [PMID: 22842618 DOI: 10.1136/gutjnl-2012-302830]

8	Ullman TA, Itzkowitz SH. Intestinal inflammation and cancer. Gastroenterology 2011; 140: 1807-1816 [PMID: 21530747 DOI: 10.1053/j.gastro.2011.01.057]

9	Bernstein CN, Blanchard JF, Kliewer E, Wajda A. Cancer risk in patients with inflammatory bowel disease: a population-based study. Cancer 2001; 91: 854-862 [PMID: 11241255]

10	Eaden JA, Abrams KR, Mayberry JF. The risk of colorectal cancer in ulcerative colitis: a meta-analysis. Gut 2001; 48: 526-535 [PMID: 11247898]

11	Ekbom A, Helmick C, Zack M, Adami HO. Ulcerative colitis and colorectal cancer. A population-based study. N Engl J Med 1990; 323: 1228-1233 [PMID: 2215606 DOI: 10.1056/nejm199011013231802]

12	Gupta RB, Harpaz N, Itzkowitz S, Hossain S, Matula S, Kornbluth A, Bodian C, Ullman T. Histologic inflammation is a risk factor for progression to colorectal neoplasia in ulcerative colitis: a cohort study. Gastroenterology 2007; 133: 1099-1105; quiz 1340-1341 [PMID: 17919486 DOI: 10.1053/j.gastro.2007.08.001]

13	Jess T, Loftus EV, Velayos FS, Harmsen WS, Zinsmeister AR, Smyrk TC, Tremaine WJ, Melton LJ, Munkholm P, Sandborn WJ. Incidence and prognosis of colorectal dysplasia in inflammatory bowel disease: a population-based study from Olmsted County, Minnesota. Inflamm Bowel Dis 2006; 12: 669-676 [PMID: 16917220]

14	Farraye FA, Odze RD, Eaden J, Itzkowitz SH, McCabe RP, Dassopoulos T, Lewis JD, Ullman TA, James T, McLeod R, Burgart LJ, Allen J, Brill JV. AGA medical position statement on the diagnosis and management of colorectal neoplasia in inflammatory bowel disease. Gastroenterology 2010; 138: 738-745 [PMID: 20141808 DOI: 10.1053/j.gastro.2009.12.037]

15	Van Assche G, Dignass A, Bokemeyer B, Danese S, Gionchetti P, Moser G, Beaugerie L, Gomollón F, Häuser W, Herrlinger K, Oldenburg B, Panes J, Portela F, Rogler G, Stein J, Tilg H, Travis S, Lindsay JO. Second European evidence-based consensus on the diagnosis and management of ulcerative colitis part 3: special situations. J Crohns Colitis 2013; 7: 1-33 [PMID: 23040453 DOI: 10.1016/j.crohns.2012.09.005]

16	Jonsson B, Ahsgren L, Andersson LO, Stenling R, Rutegård J. Colorectal cancer surveillance in patients with ulcerative colitis. Br J Surg 1994; 81: 689-691 [PMID: 8044548]

17	Löfberg R, Broström O, Karlén P, Tribukait B, Ost A. Colonoscopic surveillance in long-standing total ulcerative colitis--a 15-year follow-up study. Gastroenterology 1990; 99: 1021-1031 [PMID: 2394325]

18	Nugent FW, Haggitt RC, Gilpin PA. Cancer surveillance in ulcerative colitis. Gastroenterology 1991; 100: 1241-1248 [PMID: 2013371]

19	Rosenstock E, Farmer RG, Petras R, Sivak MV, Rankin GB, Sullivan BH. Surveillance for colonic carcinoma in ulcerative colitis. Gastroenterology 1985; 89: 1342-1346 [PMID: 4054527]

20	Choi PM, Nugent FW, Schoetz DJ, Silverman ML, Haggitt RC. Colonoscopic surveillance reduces mortality from colorectal cancer in ulcerative colitis. Gastroenterology 1993; 105: 418-424 [PMID: 8335197]

21	Eaden J, Abrams K, Ekbom A, Jackson E, Mayberry J. Colorectal cancer prevention in ulcerative colitis: a case-control study. Aliment Pharmacol Ther 2000; 14: 145-153 [PMID: 10651654]

22	Karlén P, Kornfeld D, Broström O, Löfberg R, Persson PG, Ekbom A. Is colonoscopic surveillance reducing colorectal cancer mortality in ulcerative colitis? A population based case control study. Gut 1998; 42: 711-714 [PMID: 9659169]

23	Rutter MD, Saunders BP, Schofield G, Forbes A, Price AB, Talbot IC. Pancolonic indigo carmine dye spraying for the detection of dysplasia in ulcerative colitis. Gut 2004; 53: 256-260 [PMID: 14724160]

24	Kiesslich R, Fritsch J, Holtmann M, Koehler HH, Stolte M, Kanzler S, Nafe B, Jung M, Galle PR, Neurath MF. Methylene blue-aided chromoendoscopy for the detection of intraepithelial neoplasia and colon cancer in ulcerative colitis. Gastroenterology 2003; 124: 880-888 [PMID: 12671882 DOI: 10.1053/gast.2003.50146]

25	Neumann H, Neurath MF, Mudter J. New endoscopic approaches in IBD. World J Gastroenterol 2011; 17: 63-68 [PMID: 21218085 DOI: 10.3748/wjg.v17.i1.63]

26	Neumann H, Vieth M, Langner C, Neurath MF, Mudter J. Cancer risk in IBD: how to diagnose and how to manage DALM and ALM. World J Gastroenterol 2011; 17: 3184-3191 [PMID: 21912466 DOI: 10.3748/wjg.v17.i27.3184]

27	ASGE Technology Committee. High-definition and high-magnification endoscopes. Gastrointest Endosc 2014; 80: 919-927 [PMID: 25442091 DOI: 10.1016/j.gie.2014.06.019]

28	Tanaka S, Kaltenbach T, Chayama K, Soetikno R. High-magnification colonoscopy (with videos). Gastrointest Endosc 2006; 64: 604-613 [PMID: 16996357 DOI: 10.1016/j.gie.2006.06.007]

29	Subramanian V, Mannath J, Hawkey CJ, Ragunath K. High definition colonoscopy vs. standard video endoscopy for the detection of colonic polyps: a meta-analysis. Endoscopy 2011; 43: 499-505 [PMID: 21360420 DOI: 10.1055/s-0030-1256207]

30	Subramanian V, Ramappa V, Telakis E, Mannath J, Jawhari AU, Hawkey CJ, Ragunath K. Comparison of high definition with standard white light endoscopy for detection of dysplastic lesions during surveillance colonoscopy in patients with colonic inflammatory bowel disease. Inflamm Bowel Dis 2013; 19: 350-355 [PMID: 22552948 DOI: 10.1002/ibd.23002]

31	Kudo S, Tamura S, Nakajima T, Yamano H, Kusaka H, Watanabe H. Diagnosis of colorectal tumorous lesions by magnifying endoscopy. Gastrointest Endosc 1996; 44: 8-14 [PMID: 8836710]

32	Coda S, Thillainayagam AV. State of the art in advanced endoscopic imaging for the detection and evaluation of dysplasia and early cancer of the gastrointestinal tract. Clin Exp Gastroenterol 2014; 7: 133-150 [PMID: 24868168 DOI: 10.2147/ceg.s58157]

33	Hayee B, Inoue H, Sato H, Santi EG, Yoshida A, Onimaru M, Ikeda H, Kudo SE. Magnification narrow-band imaging for the diagnosis of early gastric cancer: a review of the Japanese literature for the Western endoscopist. Gastrointest Endosc 2013; 78: 452-461 [PMID: 23632326 DOI: 10.1016/j.gie.2013.03.1333]

34	Hurlstone DP, Sanders DS, Lobo AJ, McAlindon ME, Cross SS. Indigo carmine-assisted high-magnification chromoscopic colonoscopy for the detection and characterisation of intraepithelial neoplasia in ulcerative colitis: a prospective evaluation. Endoscopy 2005; 37: 1186-1192 [PMID: 16329015 DOI: 10.1055/s-2005-921032]

35	Hurlstone DP, Sanders DS, McAlindon ME, Thomson M, Cross SS. High-magnification chromoscopic colonoscopy in ulcerative colitis: a valid tool for in vivo optical biopsy and assessment of disease extent. Endoscopy 2006; 38: 1213-1217 [PMID: 17163321 DOI: 10.1055/s-2006-944732]

36	Inoue H, Kaga M, Ikeda H, Sato C, Sato H, Minami H, Santi EG, Hayee B, Eleftheriadis N. Magnification endoscopy in esophageal squamous cell carcinoma: a review of the intrapapillary capillary loop classification. Ann Gastroenterol 2015; 28: 41-48 [PMID: 25608626]

37	Neumann H, Mönkemüller K, Günther C, Atreya R, Vieth M, Neurath MF. Advanced endoscopic imaging for diagnosis of Crohn’s disease. Gastroenterol Res Pract 2012; 2012: 301541 [PMID: 22144998 DOI: 10.1155/2012/301541]

38	Singh R, Hussain A, Loong CK. Narrow band imaging with magnification for the diagnosis of lesions in the upper gastrointestinal tract. World J Gastrointest Endosc 2013; 5: 584-589 [PMID: 24368933 DOI: 10.4253/wjge.v5.i12.584]

39	Hlavaty T, Huorka M, Koller T, Zita P, Kresanova E, Rychly B, Toth J. Colorectal cancer screening in patients with ulcerative and Crohn’s colitis with use of colonoscopy, chromoendoscopy and confocal endomicroscopy. Eur J Gastroenterol Hepatol 2011; 23: 680-689 [PMID: 21602687 DOI: 10.1097/MEG.0b013e32834791b4]

40	Hurlstone DP, McAlindon ME, Sanders DS, Koegh R, Lobo AJ, Cross SS. Further validation of high-magnification chromoscopic-colonoscopy for the detection of intraepithelial neoplasia and colon cancer in ulcerative colitis. Gastroenterology 2004; 126: 376-378 [PMID: 14753220]

41	Kiesslich R, Neurath MF. Chromo- and magnifying endoscopy for colorectal lesions. Eur J Gastroenterol Hepatol 2005; 17: 793-801 [PMID: 16003126]

42	Nishiyama S, Oka S, Tanaka S, Hayashi N, Hayashi R, Nagai K, Ueno Y, Shimamoto F, Arihiro K, Chayama K. Is it possible to discriminate between neoplastic and nonneoplastic lesions in ulcerative colitis by magnifying colonoscopy? Inflamm Bowel Dis 2014; 20: 508-513 [PMID: 24412994 DOI: 10.1097/01.mib.0000441199.33325.75]

43	Sada M, Igarashi M, Yoshizawa S, Kobayashi K, Katsumata T, Saigenji K, Otani Y, Okayasu I, Mitomi H. Dye spraying and magnifying endoscopy for dysplasia and cancer surveillance in ulcerative colitis. Dis Colon Rectum 2004; 47: 1816-1823 [PMID: 15622573]

44	Matsumoto T, Kuroki F, Mizuno M, Nakamura S, Iida M. Application of magnifying chromoscopy for the assessment of severity in patients with mild to moderate ulcerative colitis. Gastrointest Endosc 1997; 46: 400-405 [PMID: 9402112]

45	Nishio Y, Ando T, Maeda O, Ishiguro K, Watanabe O, Ohmiya N, Niwa Y, Kusugami K, Goto H. Pit patterns in rectal mucosa assessed by magnifying colonoscope are predictive of relapse in patients with quiescent ulcerative colitis. Gut 2006; 55: 1768-1773 [PMID: 16682428 DOI: 10.1136/gut.2005.086900]

46	Mönkemüller K, Fry LC, Zimmermann L, Mania A, Zabielski M, Jovanovic I. Advanced endoscopic imaging methods for colon neoplasia. Dig Dis 2010; 28: 629-640 [PMID: 21088415 DOI: 10.1159/000320065]

47	Cairns SR, Scholefield JH, Steele RJ, Dunlop MG, Thomas HJ, Evans GD, Eaden JA, Rutter MD, Atkin WP, Saunders BP, Lucassen A, Jenkins P, Fairclough PD, Woodhouse CR. Guidelines for colorectal cancer screening and surveillance in moderate and high risk groups (update from 2002). Gut 2010; 59: 666-689 [PMID: 20427401 DOI: 10.1136/gut.2009.179804]

48	Annese V, Daperno M, Rutter MD, Amiot A, Bossuyt P, East J, Ferrante M, Götz M, Katsanos KH, Kießlich R, Ordás I, Repici A, Rosa B, Sebastian S, Kucharzik T, Eliakim R. European evidence based consensus for endoscopy in inflammatory bowel disease. J Crohns Colitis 2013; 7: 982-1018 [PMID: 24184171 DOI: 10.1016/j.crohns.2013.09.016]

49	Ignjatovic A, Thomas-Gibson S, East JE, Haycock A, Bassett P, Bhandari P, Man R, Suzuki N, Saunders BP. Development and validation of a training module on the use of narrow-band imaging in differentiation of small adenomas from hyperplastic colorectal polyps. Gastrointest Endosc 2011; 73: 128-133 [PMID: 21184878 DOI: 10.1016/j.gie.2010.09.021]

50	Raghavendra M, Hewett DG, Rex DK. Differentiating adenomas from hyperplastic colorectal polyps: narrow-band imaging can be learned in 20 minutes. Gastrointest Endosc 2010; 72: 572-576 [PMID: 20561618 DOI: 10.1016/j.gie.2010.03.1124]

51	Rastogi A, Pondugula K, Bansal A, Wani S, Keighley J, Sugar J, Callahan P, Sharma P. Recognition of surface mucosal and vascular patterns of colon polyps by using narrow-band imaging: interobserver and intraobserver agreement and prediction of polyp histology. Gastrointest Endosc 2009; 69: 716-722 [PMID: 19251016 DOI: 10.1016/j.gie.2008.09.058]

52	Bouwens MW, de Ridder R, Masclee AA, Driessen A, Riedl RG, Winkens B, Sanduleanu S. Optical diagnosis of colorectal polyps using high-definition i-scan: an educational experience. World J Gastroenterol 2013; 19: 4334-4343 [PMID: 23885144 DOI: 10.3748/wjg.v19.i27.4334]

53	Neumann H, Vieth M, Fry LC, Günther C, Atreya R, Neurath MF, Mönkemüller K. Learning curve of virtual chromoendoscopy for the prediction of hyperplastic and adenomatous colorectal lesions: a prospective 2-center study. Gastrointest Endosc 2013; 78: 115-120 [PMID: 23528656 DOI: 10.1016/j.gie.2013.02.001]

54	Testoni PA, Notaristefano C, Di Leo M, Vailati C, Mazzoleni G, Viale E. High-definition with i-Scan gives comparable accuracy for detecting colonic lesions by non-expert and expert endoscopists. Dig Liver Dis 2013; 45: 481-486 [PMID: 23375148 DOI: 10.1016/j.dld.2012.12.014]

55	Marion JF, Waye JD, Present DH, Israel Y, Bodian C, Harpaz N, Chapman M, Itzkowitz S, Steinlauf AF, Abreu MT, Ullman TA, Aisenberg J, Mayer L. Chromoendoscopy-targeted biopsies are superior to standard colonoscopic surveillance for detecting dysplasia in inflammatory bowel disease patients: a prospective endoscopic trial. Am J Gastroenterol 2008; 103: 2342-2349 [PMID: 18844620 DOI: 10.1111/j.1572-0241.2008.01934.x]

56	Wu L, Li P, Wu J, Cao Y, Gao F. The diagnostic accuracy of chromoendoscopy for dysplasia in ulcerative colitis: meta-analysis of six randomized controlled trials. Colorectal Dis 2012; 14: 416-420 [PMID: 21073646 DOI: 10.1111/j.1463-1318.2010.02505.x]

57	Laine L, Kaltenbach T, Barkun A, McQuaid KR, Subramanian V, Soetikno R. SCENIC international consensus statement on surveillance and management of dysplasia in inflammatory bowel disease. Gastrointest Endosc 2015; 81: 489-501.e26 [PMID: 25708752 DOI: 10.1016/j.gie.2014.12.009]

58	Laine L, Kaltenbach T, Barkun A, McQuaid KR, Subramanian V, Soetikno R. SCENIC international consensus statement on surveillance and management of dysplasia in inflammatory bowel disease. Gastroenterology 2015; 148: 639-651.e28 [PMID: 25702852 DOI: 10.1053/j.gastro.2015.01.031]

59	Konijeti GG, Shrime MG, Ananthakrishnan AN, Chan AT. Cost-effectiveness analysis of chromoendoscopy for colorectal cancer surveillance in patients with ulcerative colitis. Gastrointest Endosc 2014; 79: 455-465 [PMID: 24262637 DOI: 10.1016/j.gie.2013.10.026]

60	Pohl J, Schneider A, Vogell H, Mayer G, Kaiser G, Ell C. Pancolonic chromoendoscopy with indigo carmine versus standard colonoscopy for detection of neoplastic lesions: a randomised two-centre trial. Gut 2011; 60: 485-490 [PMID: 21159889 DOI: 10.1136/gut.2010.229534]

61	Kahi CJ, Anderson JC, Waxman I, Kessler WR, Imperiale TF, Li X, Rex DK. High-definition chromocolonoscopy vs. high-definition white light colonoscopy for average-risk colorectal cancer screening. Am J Gastroenterol 2010; 105: 1301-1307 [PMID: 20179689 DOI: 10.1038/ajg.2010.51]

62	East JE, Suzuki N, von Herbay A, Saunders BP. Narrow band imaging with magnification for dysplasia detection and pit pattern assessment in ulcerative colitis surveillance: a case with multiple dysplasia associated lesions or masses. Gut 2006; 55: 1432-1435 [PMID: 16966701 DOI: 10.1136/gut.2005.087171]

63	Dekker E, van den Broek FJ, Reitsma JB, Hardwick JC, Offerhaus GJ, van Deventer SJ, Hommes DW, Fockens P. Narrow-band imaging compared with conventional colonoscopy for the detection of dysplasia in patients with longstanding ulcerative colitis. Endoscopy 2007; 39: 216-221 [PMID: 17385106 DOI: 10.1055/s-2007-966214]

64	van den Broek FJ, Fockens P, van Eeden S, Reitsma JB, Hardwick JC, Stokkers PC, Dekker E. Endoscopic tri-modal imaging for surveillance in ulcerative colitis: randomised comparison of high-resolution endoscopy and autofluorescence imaging for neoplasia detection; and evaluation of narrow-band imaging for classification of lesions. Gut 2008; 57: 1083-1089 [PMID: 18367559 DOI: 10.1136/gut.2007.144097]

65	van den Broek FJ, Fockens P, van Eeden S, Stokkers PC, Ponsioen CY, Reitsma JB, Dekker E. Narrow-band imaging versus high-definition endoscopy for the diagnosis of neoplasia in ulcerative colitis. Endoscopy 2011; 43: 108-115 [PMID: 21165822 DOI: 10.1055/s-0030-1255956]

66	Efthymiou M, Allen PB, Taylor AC, Desmond PV, Jayasakera C, De Cruz P, Kamm MA. Chromoendoscopy versus narrow band imaging for colonic surveillance in inflammatory bowel disease. Inflamm Bowel Dis 2013; 19: 2132-2138 [PMID: 23899540 DOI: 10.1097/MIB.0b013e31829637b9]

67	Pellisé M, López-Cerón M, Rodríguez de Miguel C, Jimeno M, Zabalza M, Ricart E, Aceituno M, Fernández-Esparrach G, Ginès A, Sendino O, Cuatrecasas M, Llach J, Panés J. Narrow-band imaging as an alternative to chromoendoscopy for the detection of dysplasia in long-standing inflammatory bowel disease: a prospective, randomized, crossover study. Gastrointest Endosc 2011; 74: 840-848 [PMID: 21802681 DOI: 10.1016/j.gie.2011.05.013]

68	Pai CG. Dysplasia detection in inflammatory bowel diseases: is narrow-band imaging in the race at all? Gastrointest Endosc 2012; 75: 927-928; author rreply 928 [PMID: 22440207 DOI: 10.1016/j.gie.2011.11.002]

69	Sinha SR, Shah SB. Enhanced imaging technologies in detecting dysplasia in IBD: narrowing or widening our options? Gastroenterology 2012; 143: 1108-1110 [PMID: 22917863 DOI: 10.1053/j.gastro.2012.08.019]

70	Cassinotti A, Ardizzone S, Buffoli F, Fociani P, Villanacci V, Nebuloni M, Fichera M, Salemme M, Lombardini M, Molteni P, Sampietro G, Furfaro F, Dell’Era A, Gambitta P, Foschi D, Duca P, de Franchis R, Maconi G. Virtual chromoendoscopy with FICE is superior to standard colonoscopic surveillaillance for flat visibile dysplasic lesions and raised lesions (polyps and pseudopolyps) evaluation in long-standing ulcerative colitis: a prospective, randomized, trial. J Crohn’s colitis 2015; 9 (Suppl 1): S1-479

71	Kudo T, Matsumoto T, Esaki M, Yao T, Iida M. Mucosal vascular pattern in ulcerative colitis: observations using narrow band imaging colonoscopy with special reference to histologic inflammation. Int J Colorectal Dis 2009; 24: 495-501 [PMID: 19145441 DOI: 10.1007/s00384-008-0631-9]

72	Esaki M, Kubokura N, Kudo T, Matsumoto T. Endoscopic findings under narrow band imaging colonoscopy in ulcerative colitis. Dig Endosc 2011; 23 Suppl 1: 140-142 [PMID: 21535220 DOI: 10.1111/j.1443-1661.2011.01110.x]

73	Danese S, Fiorino G, Angelucci E, Vetrano S, Pagano N, Rando G, Spinelli A, Malesci A, Repici A. Narrow-band imaging endoscopy to assess mucosal angiogenesis in inflammatory bowel disease: a pilot study. World J Gastroenterol 2010; 16: 2396-2400 [PMID: 20480525 DOI: 10.3748/wjg.v16.i19.2396]

74	Neumann H, Fry LC, Bellutti M, Malfertheiner P, Mönkemüller K. Double-balloon enteroscopy-assisted virtual chromoendoscopy for small-bowel disorders: a case series. Endoscopy 2009; 41: 468-471 [PMID: 19418402 DOI: 10.1055/s-0029-1214603]

75	Neumann H, Vieth M, Günther C, Neufert C, Kiesslich R, Grauer M, Atreya R, Neurath MF. Virtual chromoendoscopy for prediction of severity and disease extent in patients with inflammatory bowel disease: a randomized controlled study. Inflamm Bowel Dis 2013; 19: 1935-1942 [PMID: 23839228 DOI: 10.1097/MIB.0b013e318290550e]

76	Hoffman A, Sar F, Goetz M, Tresch A, Mudter J, Biesterfeld S, Galle PR, Neurath MF, Kiesslich R. High definition colonoscopy combined with i-Scan is superior in the detection of colorectal neoplasias compared with standard video colonoscopy: a prospective randomized controlled trial. Endoscopy 2010; 42: 827-833 [PMID: 20803419 DOI: 10.1055/s-0030-1255713]

77	Hoffman A, Kagel C, Goetz M, Tresch A, Mudter J, Biesterfeld S, Galle PR, Neurath MF, Kiesslich R. Recognition and characterization of small colonic neoplasia with high-definition colonoscopy using i-Scan is as precise as chromoendoscopy. Dig Liver Dis 2010; 42: 45-50 [PMID: 19473893 DOI: 10.1016/j.dld.2009.04.005]

78	Kiesslich R, Burg J, Vieth M, Gnaendiger J, Enders M, Delaney P, Polglase A, McLaren W, Janell D, Thomas S, Nafe B, Galle PR, Neurath MF. Confocal laser endoscopy for diagnosing intraepithelial neoplasias and colorectal cancer in vivo. Gastroenterology 2004; 127: 706-713 [PMID: 15362025]

79	Goetz M, Malek NP, Kiesslich R. Microscopic imaging in endoscopy: endomicroscopy and endocytoscopy. Nat Rev Gastroenterol Hepatol 2014; 11: 11-18 [PMID: 23897286 DOI: 10.1038/nrgastro.2013.134]

80	Kiesslich R, Canto MI. Confocal laser endomicroscopy. Gastrointest Endosc Clin N Am 2009; 19: 261-272 [PMID: 19423023 DOI: 10.1016/j.giec.2009.02.007]

81	Neumann H, Kiesslich R, Wallace MB, Neurath MF. Confocal laser endomicroscopy: technical advances and clinical applications. Gastroenterology 2010; 139: 388-392, 392.e1-e2 [PMID: 20561523 DOI: 10.1053/j.gastro.2010.06.029]

82	Neumann H, Vieth M, Raithel M, Mudter J, Kiesslich R, Neurath MF. Confocal laser endomicroscopy for the in vivo detection of intraepithelial neoplasia in Peutz-Jeghers polyps. Endoscopy 2010; 42 Suppl 2: E139-E140 [PMID: 20405384 DOI: 10.1055/s-0029-1244052]

83	Tontini GE, Pastorelli L, Ishaq S, Neumann H. Advances in endoscopic imaging in ulcerative colitis. Expert Rev Gastroenterol Hepatol 2015; 9: 1393-1405 [PMID: 26365308]

84	Liu J, Dlugosz A, Neumann H. Beyond white light endoscopy: the role of optical biopsy in inflammatory bowel disease. World J Gastroenterol 2013; 19: 7544-7551 [PMID: 24282344 DOI: 10.3748/wjg.v19.i43.7544]

85	Neumann H, Vieth M, Atreya R, Neurath MF, Mudter J. Prospective evaluation of the learning curve of confocal laser endomicroscopy in patients with IBD. Histol Histopathol 2011; 26: 867-872 [PMID: 21630216]

86	Kiesslich R, Goetz M, Lammersdorf K, Schneider C, Burg J, Stolte M, Vieth M, Nafe B, Galle PR, Neurath MF. Chromoscopy-guided endomicroscopy increases the diagnostic yield of intraepithelial neoplasia in ulcerative colitis. Gastroenterology 2007; 132: 874-882 [PMID: 17383417 DOI: 10.1053/j.gastro.2007.01.048]

87	Hurlstone DP, Thomson M, Brown S, Tiffin N, Cross SS, Hunter MD. Confocal endomicroscopy in ulcerative colitis: differentiating dysplasia-associated lesional mass and adenoma-like mass. Clin Gastroenterol Hepatol 2007; 5: 1235-1241 [PMID: 17690019 DOI: 10.1016/j.cgh.2007.06.003]

88	van den Broek FJ, van Es JA, van Eeden S, Stokkers PC, Ponsioen CY, Reitsma JB, Fockens P, Dekker E. Pilot study of probe-based confocal laser endomicroscopy during colonoscopic surveillance of patients with longstanding ulcerative colitis. Endoscopy 2011; 43: 116-122 [PMID: 21165821 DOI: 10.1055/s-0030-1255954]

89	Su P, Liu Y, Lin S, Xiao K, Chen P, An S, He J, Bai Y. Efficacy of confocal laser endomicroscopy for discriminating colorectal neoplasms from non-neoplasms: a systematic review and meta-analysis. Colorectal Dis 2013; 15: e1-e12 [PMID: 23006609 DOI: 10.1111/codi.12033]

90	De Palma GD, Staibano S, Siciliano S, Maione F, Siano M, Esposito D, Persico G. In-vivo characterization of DALM in ulcerative colitis with high-resolution probe-based confocal laser endomicroscopy. World J Gastroenterol 2011; 17: 677-680 [PMID: 21350720 DOI: 10.3748/wjg.v17.i5.677]

91	Watanabe O, Ando T, Maeda O, Hasegawa M, Ishikawa D, Ishiguro K, Ohmiya N, Niwa Y, Goto H. Confocal endomicroscopy in patients with ulcerative colitis. J Gastroenterol Hepatol 2008; 23 Suppl 2: S286-S290 [PMID: 19120913 DOI: 10.1111/j.1440-1746.2008.05559.x]

92	Li CQ, Xie XJ, Yu T, Gu XM, Zuo XL, Zhou CJ, Huang WQ, Chen H, Li YQ. Classification of inflammation activity in ulcerative colitis by confocal laser endomicroscopy. Am J Gastroenterol 2010; 105: 1391-1396 [PMID: 19935787 DOI: 10.1038/ajg.2009.664]

93	Li CQ, Liu J, Ji R, Li Z, Xie XJ, Li YQ. Use of confocal laser endomicroscopy to predict relapse of ulcerative colitis. BMC Gastroenterol 2014; 14: 45 [PMID: 24618122 DOI: 10.1186/1471-230x-14-45]

94	Buda A, Hatem G, Neumann H, D’Incà R, Mescoli C, Piselli P, Jackson J, Bruno M, Sturniolo GC. Confocal laser endomicroscopy for prediction of disease relapse in ulcerative colitis: a pilot study. J Crohns Colitis 2014; 8: 304-311 [PMID: 24094597 DOI: 10.1016/j.crohns.2013.09.005]

95	Neumann H, Vieth M, Atreya R, Grauer M, Siebler J, Bernatik T, Neurath MF, Mudter J. Assessment of Crohn’s disease activity by confocal laser endomicroscopy. Inflamm Bowel Dis 2012; 18: 2261-2269 [PMID: 22344873 DOI: 10.1002/ibd.22907]

96	Tontini GE, Mudter J, Vieth M, Atreya R, Günther C, Zopf Y, Wildner D, Kiesslich R, Vecchi M, Neurath MF, Neumann H. Confocal laser endomicroscopy for the differential diagnosis of ulcerative colitis and Crohn’s disease: a pilot study. Endoscopy 2015; 47: 437-443 [PMID: 25521573 DOI: 10.1055/s-0034-1391226]

97	Kiesslich R, Goetz M, Angus EM, Hu Q, Guan Y, Potten C, Allen T, Neurath MF, Shroyer NF, Montrose MH, Watson AJ. Identification of epithelial gaps in human small and large intestine by confocal endomicroscopy. Gastroenterology 2007; 133: 1769-1778 [PMID: 18054549 DOI: 10.1053/j.gastro.2007.09.011]

98	Liu JJ, Madsen KL, Boulanger P, Dieleman LA, Meddings J, Fedorak RN. Mind the gaps: confocal endomicroscopy showed increased density of small bowel epithelial gaps in inflammatory bowel disease. J Clin Gastroenterol 2011; 45: 240-245 [PMID: 21030873 DOI: 10.1097/MCG.0b013e3181fbdb8a]

99	Turcotte JF, Wong K, Mah SJ, Dieleman LA, Kao D, Kroeker K, Claggett B, Saltzman JR, Wine E, Fedorak RN, Liu JJ. Increased epithelial gaps in the small intestine are predictive of hospitalization and surgery in patients with inflammatory bowel disease. Clin Transl Gastroenterol 2012; 3: e19 [PMID: 23238291 DOI: 10.1038/ctg.2012.13]

100	Kiesslich R, Duckworth CA, Moussata D, Gloeckner A, Lim LG, Goetz M, Pritchard DM, Galle PR, Neurath MF, Watson AJ. Local barrier dysfunction identified by confocal laser endomicroscopy predicts relapse in inflammatory bowel disease. Gut 2012; 61: 1146-1153 [PMID: 22115910 DOI: 10.1136/gutjnl-2011-300695]

101	Rasmussen DN, Karstensen JG, Riis LB, Brynskov J, Vilmann P. Confocal Laser Endomicroscopy in Inflammatory Bowel Disease - A Systematic Review. J Crohns Colitis 2015; 9: 1152-1159 [PMID: 26209861 DOI: 10.1093/ecco-jcc/jjv131]

102	Inoue H, Kudo SE, Shiokawa A. Technology insight: Laser-scanning confocal microscopy and endocytoscopy for cellular observation of the gastrointestinal tract. Nat Clin Pract Gastroenterol Hepatol 2005; 2: 31-37 [PMID: 16265098 DOI: 10.1038/ncpgasthep0072]

103	Kwon RS, Wong Kee Song LM, Adler DG, Conway JD, Diehl DL, Farraye FA, Kantsevoy SV, Kaul V, Kethu SR, Mamula P, Pedrosa MC, Rodriguez SA, Tierney WM. Endocytoscopy. Gastrointest Endosc 2009; 70: 610-613 [PMID: 19788978 DOI: 10.1016/j.gie.2009.06.030]

104	Neumann H, Fuchs FS, Vieth M, Atreya R, Siebler J, Kiesslich R, Neurath MF. Review article: in vivo imaging by endocytoscopy. Aliment Pharmacol Ther 2011; 33: 1183-1193 [PMID: 21457290 DOI: 10.1111/j.1365-2036.2011.04647.x]

105	Kodashima S, Fujishiro M, Takubo K, Kammori M, Nomura S, Kakushima N, Muraki Y, Tateishi A, Kaminishi M, Omata M. Ex-vivo study of high-magnification chromoendoscopy in the gastrointestinal tract to determine the optimal staining conditions for endocytoscopy. Endoscopy 2006; 38: 1115-1121 [PMID: 17111333 DOI: 10.1055/s-2006-944915]

106	Minami H, Inoue H, Yokoyama A, Ikeda H, Satodate H, Hamatani S, Haji A, Kudo S. Recent advancement of observing living cells in the esophagus using CM double staining: endocytoscopic atypia classification. Dis Esophagus 2012; 25: 235-241 [PMID: 21895852 DOI: 10.1111/j.1442-2050.2011.01241.x]

107	Kumagai Y, Kawada K, Yamazaki S, Iida M, Odajima H, Ochiai T, Kawano T, Takubo K. Current status and limitations of the newly developed endocytoscope GIF-Y0002 with reference to its diagnostic performance for common esophageal lesions. J Dig Dis 2012; 13: 393-400 [PMID: 22788924 DOI: 10.1111/j.1751-2980.2012.00612.x]

108	Bessho R, Kanai T, Hosoe N, Kobayashi T, Takayama T, Inoue N, Mukai M, Ogata H, Hibi T. Correlation between endocytoscopy and conventional histopathology in microstructural features of ulcerative colitis. J Gastroenterol 2011; 46: 1197-1202 [PMID: 21805068 DOI: 10.1007/s00535-011-0439-1]

109	Neumann H, Vieth M, Neurath MF, Atreya R. Endocytoscopy allows accurate in vivo differentiation of mucosal inflammatory cells in IBD: a pilot study. Inflamm Bowel Dis 2013; 19: 356-362 [PMID: 22644957 DOI: 10.1002/ibd.23025]

110	Cipolletta L, Bianco MA, Rotondano G, Piscopo R, Meucci C, Prisco A, Cipolletta F, de Gregorio A, Salvati A. Endocytoscopy can identify dysplasia in aberrant crypt foci of the colorectum: a prospective in vivo study. Endoscopy 2009; 41: 129-132 [PMID: 19214891 DOI: 10.1055/s-0028-1103452]

111	Neumann H, Vieth M, Neurath MF. Image of the month. Endocytoscopy-based detection of focal high-grade intraepithelial neoplasia in colonic polyps. Clin Gastroenterol Hepatol 2011; 9: e13 [PMID: 20851217 DOI: 10.1016/j.cgh.2010.09.004]

112	Li M, Wang TD. Targeted endoscopic imaging. Gastrointest Endosc Clin N Am 2009; 19: 283-298 [PMID: 19423025 DOI: 10.1016/j.giec.2009.02.001]

113	Atreya R, Goetz M. Molecular imaging in gastroenterology. Nat Rev Gastroenterol Hepatol 2013; 10: 704-712 [PMID: 23856892 DOI: 10.1038/nrgastro.2013.125]

114	Atreya R, Neurath MF. Novel imaging modalities for immune cell monitoring in the intestine. Curr Opin Gastroenterol 2014; 30: 553-558 [PMID: 25197780 DOI: 10.1097/mog.0000000000000120]

115	Hoetker MS, Goetz M. Molecular imaging in endoscopy. United European Gastroenterol J 2013; 1: 84-92 [PMID: 24917945 DOI: 10.1177/2050640613483291]

116	Mitsunaga M, Kosaka N, Choyke PL, Young MR, Dextras CR, Saud SM, Colburn NH, Sakabe M, Nagano T, Asanuma D, Urano Y, Kobayashi H. Fluorescence endoscopic detection of murine colitis-associated colon cancer by topically applied enzymatically rapid-activatable probe. Gut 2013; 62: 1179-1186 [PMID: 22698650 DOI: 10.1136/gutjnl-2011-301795]

117	Alencar H, Funovics MA, Figueiredo J, Sawaya H, Weissleder R, Mahmood U. Colonic adenocarcinomas: near-infrared microcatheter imaging of smart probes for early detection--study in mice. Radiology 2007; 244: 232-238 [PMID: 17507718 DOI: 10.1148/radiol.2441052114]

118	Marten K, Bremer C, Khazaie K, Sameni M, Sloane B, Tung CH, Weissleder R. Detection of dysplastic intestinal adenomas using enzyme-sensing molecular beacons in mice. Gastroenterology 2002; 122: 406-414 [PMID: 11832455]

119	Yoon SM, Myung SJ, Kim IW, Do EJ, Ye BD, Ryu JH, Park K, Kim K, Kwon IC, Kim MJ, Moon DH, Yang DH, Kim KJ, Byeon JS, Yang SK, Kim JH. Application of near-infrared fluorescence imaging using a polymeric nanoparticle-based probe for the diagnosis and therapeutic monitoring of colon cancer. Dig Dis Sci 2011; 56: 3005-3013 [PMID: 21465144 DOI: 10.1007/s10620-011-1685-z]

120	Urano Y, Sakabe M, Kosaka N, Ogawa M, Mitsunaga M, Asanuma D, Kamiya M, Young MR, Nagano T, Choyke PL, Kobayashi H. Rapid cancer detection by topically spraying a γ-glutamyltranspeptidase-activated fluorescent probe. Sci Transl Med 2011; 3: 110ra119 [PMID: 22116934 DOI: 10.1126/scitranslmed.3002823]

121	Joshi BP, Liu Z, Elahi SF, Appelman HD, Wang TD. Near-infrared-labeled peptide multimer functions as phage mimic for high affinity, specific targeting of colonic adenomas in vivo (with videos). Gastrointest Endosc 2012; 76: 1197-1206.e1-e5 [PMID: 23022051 DOI: 10.1016/j.gie.2012.07.017]

122	Liu Z, Miller SJ, Joshi BP, Wang TD. In vivo targeting of colonic dysplasia on fluorescence endoscopy with near-infrared octapeptide. Gut 2013; 62: 395-403 [PMID: 22427239 DOI: 10.1136/gutjnl-2011-301913]

123	Foersch S, Kiesslich R, Waldner MJ, Delaney P, Galle PR, Neurath MF, Goetz M. Molecular imaging of VEGF in gastrointestinal cancer in vivo using confocal laser endomicroscopy. Gut 2010; 59: 1046-1055 [PMID: 20639250 DOI: 10.1136/gut.2009.202986]

124	Goetz M, Ziebart A, Foersch S, Vieth M, Waldner MJ, Delaney P, Galle PR, Neurath MF, Kiesslich R. In vivo molecular imaging of colorectal cancer with confocal endomicroscopy by targeting epidermal growth factor receptor. Gastroenterology 2010; 138: 435-446 [PMID: 19852961 DOI: 10.1053/j.gastro.2009.10.032]

125	Hoetker MS, Kiesslich R, Diken M, Moehler M, Galle PR, Li Y, Goetz M. Molecular in vivo imaging of gastric cancer in a human-murine xenograft model: targeting epidermal growth factor receptor. Gastrointest Endosc 2012; 76: 612-620 [PMID: 22771099 DOI: 10.1016/j.gie.2012.05.013]

126	Liu J, Zuo X, Li C, Yu T, Gu X, Zhou C, Li Z, Goetz M, Kiesslich R, Li Y. In vivo molecular imaging of epidermal growth factor receptor in patients with colorectal neoplasia using confocal laser endomicroscopy. Cancer Lett 2013; 330: 200-207 [PMID: 23220286 DOI: 10.1016/j.canlet.2012.11.044]

127	Atreya R, Neumann H, Neufert C, Waldner MJ, Billmeier U, Zopf Y, Willma M, App C, Münster T, Kessler H, Maas S, Gebhardt B, Heimke-Brinck R, Reuter E, Dörje F, Rau TT, Uter W, Wang TD, Kiesslich R, Vieth M, Hannappel E, Neurath MF. In vivo imaging using fluorescent antibodies to tumor necrosis factor predicts therapeutic response in Crohn’s disease. Nat Med 2014; 20: 313-318 [PMID: 24562382 DOI: 10.1038/nm.3462]

Footnotes

Conflict-of-interest statement: None of the authors has any conflicts of interest related to this article/work to declare.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: August 12, 2015

First decision: September 29, 2015

Article in press: November 9, 2015

P- Reviewer: Aytac E, Agresta F, Mentes O    S- Editor: Qi Y    L- Editor: A    E- Editor: Zhang DN

# Text boxes

Table 1  Technical characteristics of probe based and integrated integrated confocal laser endomicroscopy devices

|  | Endoscope based CLE | Probe based CLE |
| --- | --- | --- |
|  | iCLE | GastroFlex | GastroFlexUHD | ColoFlex | ColoFlexUHD |
| Image-plane depth (m) | 0-250 | 70-130 | 55-65 | 70-130 | 55-65 |
| Lateral resolution (m) | 0.7 | 3.5 | 1 | 3.5 | 1 |
| Field-of-view (m) | 475 × 475 | 600 × 600 | 240 × 240 | 600 × 600 | 240 × 240 |
| Frames per second | 0.8-1.6 | 12 | 12 | 12 | 12 |
| Magnification | 1000-fold | 1000-fold | 1000-fold | 1000-fold | 1000-fold |
| Required operating channel (mm) |  | ≥ 2.8 | ≥ 2.8 | ≥ 2.8 | ≥ 2.8 |
| Length (cm) | 120 and 180 | 300 | 300 | 400 | 400 |

iCLE: Integrated confocal laser endomicroscopy; UHD: Ultra-high definition.