Name of Journal: World Journal of Cardiology

ESPS Manuscript NO: 22612

Manuscript Type: Case Report

Single lead catheter of implantable cardioverter-defibrillator with floating atrial sensing dipole implanted via persistent left superior vena cava

Malagù M et al. ICD DX in left superior vena cava

Michele Malagù, Tiziano Toselli, Matteo Bertini

Michele Malagù, Tiziano Toselli, Matteo Bertini, Department of Cardiology, S. Anna Hospital, University of Ferrara, 44124 Cona-Ferrara, Italy

Author contributions: All authors have contributed significantly to the submitted work and approved submission of the manuscript.

Institutional review board statement: The paper entitled “Single lead catheter of implantable cardioverter-defibrillator with floating atrial sensing dipole implanted via persistent left superior vena cava” has been reviewed and approved at an internal meeting of the Department of Cardiology, S. Anna Hospital, University of Ferrara, Italy for submission to the World Journal of Cardiology.

Informed consent statement: All the involved persons gave the informed consent prior to the writing of this study. Any detail that might disclose the identity of the patient has been omitted or anonymized.

Conflict-of-interest statement: The authors have no conflicting interest, including but not limited to commercial, personal, political, intellectual or religious interest, related to this study.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Matteo Bertini, MD, PhD, Department of Cardiology, S.Anna University Hospital of Ferrara, Via Aldo Moro 8, 44124 Cona-Ferrara, Italy. doc.matber@gmail.com

Telephone: +39-532-236269

Fax: +39-532-236593

Received: October 8, 2015

Peer-review started: October 8, 2015

First decision: December 4, 2015

Revised: December 22, 2015

Accepted: January 5, 2016

Article in press:

Published online:

Abstract

Persistent left superior vena cava (LSVC) is a congenital anomaly with 0.3%-1% prevalence in the general population. It is usually asymptomatic but in case of transvenous lead positioning, i.e., for pacemaker or implantable cardioverter defibrillator (ICD), may be a cause for significant complications or unsuccessful implantation. Single lead ICD with atrial sensing dipole (ICD DX) is a safe and functional technology in patients without congenital abnormalities. We provide a review of the literature and a case report of successful implantation of an ICD DX in a patient with LSVC and its efficacy in treating ventricular arrhythmias.

Key words: Implantable cardioverter defibrillator; Floating atrial sensing dipole; Left superior vena cava

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: The implantation of devices in patients with left superior vena cava is often unsuccessful. In case of single lead implantable cardioverter defibrillator with atrial sensing dipole implantation, little is known about the efficacy of the device during follow-up. This case report represents not only a successful implantation, but also the first case of effectiveness of anti-tachycardia therapy during follow-up.

Malagù M, Toselli T, Bertini M. Single lead catheter of implantable cardioverter-defibrillator with floating atrial sensing dipole implanted via persistent left superior vena cava. World J Cardiol 2016; In press

INTRODUCTION

About 0.3%-1% of the general population has a persistent left superior vena cava (LSVC)[1,2], which drains blood from the left upper part of the body into the coronary sinus[3]. Persistence of LSVC is generally asymptomatic and may be an incidental finding, however it may also be associated with an increased risk of cardiac arrhythmias[4]. Device implantation in patients with LSVC is a challenge for two main reasons: the congenital anomaly is often an incidental finding during the procedure, leading to possible complications or implant failure. In addition, little is known on the effectiveness of shock therapy in the treatment of malignant arrhythmias.

Single lead ICD with floating atrial sensing dipole (ICD DX, Biotronik SE and Co, Berlin, Germany) is a safe and functional technology in patients without congenital abnormalities[5]. Previous experiences with VDD leads with a similar floating atrial dipole, however, were burdened by instability of the atrial sensing amplitude[6]. Thus, in patient with LSVC, the presence of a floating atrial sensing dipole on the ventricular lead may result in uncorrect positioning and unsatisfactory atrial sensing. To our knowledge, only one case of successful ICD DX implantation in presence of LSVC has been previously reported, without any information at follow-up[3]. There are no data in literature about follow-up stability and effectiveness of therapy in these patients.

CASE REPORT

A 58 years old man was referred to our cardiological institution from our heart failure center with indication to ICD implantation in primary prevention of sudden cardiac death. He suffered 14 years ago of myocardial infarction treated with medical therapy. A previous coronary angiogram showed chronic total occlusion of proximal left anterior descending artery. The ECG showed sinus rhythm with right bundle branch block and left anterior fascicular block. The echocardiogram documented a severe left ventricular dilation with reduced ejection fraction (< 35%). His NYHA functional class was between II and III.

During the implant procedure, the catheter inserted via the left cephalic vein took an anomalous route to coronary sinus. A venous angiography via the cubitalis vein revealed a previously unknown persistence of left superior vena cava draining into the coronary sinus. The right superior vena cava was present, normally draining into the right atrium.     We then performed ICD DX implantation with insertion of a single-coil single lead with atrial sensing dipole (Biotronik Linox Smart S DX) via the left cephalic vein through LSVC and coronary sinus. The catheter was positioned in the right ventricular posterior wall towards the apex, with the atrial sensing dipole into the right atrium at a postero-inferior level and with the defibrillation coil near the interatrial septum inserted beyond the tricuspid valve (Figure 1). Electrical measurements showed acceptable values of atrial and ventricular sensing (4.3 mV and 5.7 mV, respectively), as well as ventricular pacing (0.6 V pacing threshold), impedance (377 Ohm) and shock impedance (65 Ohm). Total X-ray exposure time was 26 min and 24 s. Defibrillation test was not performed. The patient was then discharged and followed-up with remote monitoring (Biotronik Home Monitoring).

During 10 mo of follow-up, several events were reported. In particular, the patient experienced 4 episodes of sustained ventricular tachycardia/ventricular fibrillation. Of these, 3 were interrupted with antitachycardia pacing (ATP) and the fourth with a single 40 Joule DC-shock (vector between right ventricular coil and anterior can), which restored sinus rhythm (Figure 2). No atrial arrhythmias were detected. Diagnostics also revealed sensing/pacing time with 90% AS-VS, which indicate spontaneous rhythm, and only few times of pacing. Remote monitoring showed acceptable values of atrial and ventricular sensing, stable over time, indicating stable position of the lead (Figure 3).

DISCUSSION

In our patient, given the posterior position of RV catheter, we expect normal or even better efficacy of ICD since defibrillation vector, directed from posterior (right ventricle) to anterior (can) could include huge critical ventricular mass. This consideration should discourage the implantation in the right side. Furthermore, in one third of cases of LSVC there is absence of right superior vena cava[1]. Therefore, in patients with LSVC it is in any case more appropriate to implant the device on the left side.

In conclusion, this case report gives a contribution to the knowledge on this subject by confirming the possibility of successful implantation and effectiveness of the therapy. During 10 mo of follow-up, our patient presented a few episodes of ventricular arrhythmias, which were effectively recognized and treated either with ATP and with DC-shock.

COMMENTS

Case characteristics

Ischemic cardiomyopathy with reduced ejection fraction, scheduled for implantation of single lead implantable cardioverter defibrillator (ICD) with atrial sensing dipole.

Clinical diagnosis

Persistent left superior vena cava.

Imaging diagnosis

Fluoroscopy and angiography during ICD implantation.

Treatment

Single lead ICD with atrial sensing dipole implantation via persistent left superior vena cava.

Related reports

Stability of lead and effective ICD therapy both with antitachycardia pacing and DC-shock during follow-up.

Experiences and lessons

Single lead ICD with atrial sensing dipole is a safe and effective technology even in patients with persistent left superior vena cava.

Peer-review

The paper reports the implantation and follow-up data of a patient with persistent left superior vena cava who underwent ICD implantation with a single lead capable of atrial sensing.

REFERENCES

1 Biffi M, Bertini M, Ziacchi M, Martignani C, Valzania C, Diemberger I, Branzi A, Boriani G. Clinical implications of left superior vena cava persistence in candidates for pacemaker or cardioverter-defibrillator implantation. Heart Vessels 2009; 24: 142-146 [PMID: 19337799 DOI: 10.1007/s00380-008-1091-4]

2 Polewczyk A, Kutarski A, Czekajska-Chehab E, Adamczyk P, Boczar K, Polewczyk M, Janion M. Complications of permanent cardiac pacing in patients with persistent left superior vena cava. Cardiol J 2014; 21: 128-137 [PMID: 24526508 DOI: 10.5603/CJ.a2014.0006]

3 Guenther M, Kolschmann S, Rauwolf TP, Christoph M, Sandfort V, Strasser RH, Wunderlich C. Implantable cardioverter defibrillator lead implantation in patients with a persistent left superior vena cava--feasibility, chances, and limitations: representative cases in adults. Europace 2013; 15: 273-277 [PMID: 22997221 DOI: 10.1093/europace/eus287]

4 Morgan LG, Gardner J, Calkins J. The incidental finding of a persistent left superior vena cava: implications for primary care providers-case and review. Case Rep Med 2015; 2015: 198754 [PMID: 25632278]

5 Iori M, Giacopelli D, Quartieri F, Bottoni N, Manari A. Implantable cardioverter defibrillator system with floating atrial sensing dipole: a single-center experience. Pacing Clin Electrophysiol 2014; 37: 1265-1273 [PMID: 24809851 DOI: 10.1111/pace.12421]

6 Sun ZH, Stjernvall J, Laine P, Toivonen L. Extensive variation in the signal amplitude of the atrial floating VDD pacing electrode. Pacing Clin Electrophysiol 1998; 21: 1760-1765 [PMID: 9744440 DOI: 10.1111/j.1540-8159.1998.tb00276.x]

P-Reviewer: De Ponti R, Landesberg G, Petix NR   S-Editor: Qi Y   L-Editor:   E-Editor:

Figure 1 Final position of implantable cardioverter defibrillator sensing dipole. A: Fluoroscopic posteroanterior view during implantation; B: Chest X-ray after implantation. Note the position of atrial sensing dipole (white arrow) and defibrillation coil (black arrow).

Figure 2 Ventricular fibrillation event.

Figure 3 Trends of atrial and ventricular sensing during 10 mo of follow-up. AD: Right atrium; VD: Right ventricle.