Name of Journal: World Journal of Gastroenterology

ESPS Manuscript NO: 24371

Manuscript Type: TOPIC HIGHLIGHT

2016 Gastric Cancer: Global view

HER2 testing in gastric cancer: an update

Abrahao-Machado LF et al. Update in HER2 testing in gastric cancer

Lucas Faria Abrahao-Machado, Cristovam Scapulatempo-Neto

Lucas Faria Abrahao-Machado, Cristovam Scapulatempo-Neto, Department of Pathology, Barretos Cancer Hospital, Barretos, SP 14784-400, Brazil

Author contributions: Abrahao-Machado LF performed research, developed and wrote the overall manuscript; and Scapulatempo-Neto C contributed by critically reviewing the manuscript for important intellectual content.

Conflict-of-interest statement: No conflict of interest.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Correspondence to: Lucas Faria Abrahão-Machado, MD, Department of Pathology, Barretos Cancer Hospital, Rua Antenor Duarte Villela 1331, Barretos, SP 14784-400, Brazil. lucasfariamachado@yahoo.com

Telephone: +55-17-33216600-6860

Fax: +55-17-33216600-7117

Received: January 19, 2016

Peer-review started: January 21, 2016

First decision: February 18, 2016

Revised: March 2, 2016

Accepted: March 30, 2016

Article in press:

Published online:

Abstract

Human epidermal growth factor receptor 2 (HER2) overexpression is increasingly recognized as a frequent molecular abnormality in gastric and gastroesophageal cancer. With the recent introduction of HER2 molecular targeted therapy for patients with advanced gastric cancer, determination of HER2 status is crucial in order to select patients who may benefit from this treatment. This paper provides an update on our knowledge of HER2 in gastric and gastroesophageal cancer, including the prognostic relevance of HER2, the key differences between HER2 protein expression interpretation in breast and gastric cancer, the detection methods and the immunohistochemistry scoring system.

Key words: Human epidermal growth factor receptor 2 testing; Gastric cancer; Immunohistochemistry; Scoring system; Trastuzumab

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: It is clear that human epidermal growth factor receptor 2 (HER2) protein over-expression and gene amplification are much more heterogeneous in gastric cancer compared to breast cancer. Gastric and gastroesophageal tumors require a unique immunohistochemistry scoring system and interpretation expertise. We aimed to clarify the key differences in immunohistochemistry interpretation of gastric cancer, providing a practical update on HER2 testing and scoring.

Abrahao-Machado LF, Scapulatempo-Neto C. HER2 testing in gastric cancer: an update. World J Gastroenterol 2016; In press

INTRODUCTION

Human epidermal growth factor receptor 2 (HER2), also known as CerbB-2 and ERBB2, is a proto-oncogene located on chromosome 17q21 that encodes a transmembrane protein with tyrosine kinase activity, a member of the HER receptor family and is involved in signal transduction pathways, leading to cell growth and differentiation[1].

Amplification of the HER2 gene and overexpression of its product were first discovered in breast cancer and are significantly associated with worse outcomes[2]. Many studies have demonstrated that HER2 is also present in several other malignancies, including colorectal cancer, ovarian cancer, prostate cancer, lung cancer and, particularly, gastric and gastroesophageal cancer[3].

In gastric and gastroesophageal cancer, the frequency of HER2 overexpression varies widely in the literature; studies have yielded inconsistent findings regarding its prognostic relevance[4-12]. With the recent introduction of trastuzumab for the treatment of patients with advanced gastric cancer, the clinical demand for HER2 assessment is rapidly increasing. However, HER2 testing in gastric cancer differs from testing in breast cancer because of inherent differences in tumor biology, intratumoral heterogeneity of HER2 expression and incomplete membrane staining that are commonly observed in gastric tumors[13].

This paper aims to summarize the current evidence regarding HER2 in gastric and gastroesophageal cancer and to provide a practical update on HER2 testing and scoring that is essential for appropriate selection of patients who are eligible for treatment with trastuzumab.

RELEVANCE OF HER2 IN GASTRIC AND GASTROESOPHAGEAL CANCER

The frequency of HER2 overexpression in gastric and gastroesophageal cancer ranges from 4.4% to 53.4%, with a mean of 17.9%[4-14].

Although some small-scale studies have not demonstrated the prognostic properties of HER2[4,5,9,12], a larger number of studies indicate that HER2 is a negative prognostic factor, showing more aggressive biological behavior and higher frequencies of recurrence in HER2-positive tumors[1,6-8,11,14].

Given this controversy of HER2 prognostic values, a systematic review of a large number of studies was recently conducted in order to address this issue[14]. Forty-two publications with a total of 12749 patients were reviewed; the majority (71%) of the publications showed that a HER2-positive status was associated with decreased survival and clinicopathological features of tumor progression, such as serosal invasion, metastases and disease stage[14]. The results clearly set HER2 as a negative prognostic factor, suggesting that HER2 overexpression/amplification is a molecular abnormality that might be associated with the development of gastric cancer[7,14].

HER2 MOLECULAR TARGETED THERAPY

Trastuzumab is a monoclonal antibody directed against HER2; as one of the first molecular-targeted drugs to be developed, it was first introduced for the treatment of HER2-positive advanced breast cancer[2].

There is no consensus on the mechanism in which trastuzumab acts in cancer cells, but the evidence is that in addition to preventing dimerization of HER2 with other HER family members and stimulating endocytosis, it seems to induce cell mediated immunity and inhibit angiogenesis[15].

In the ToGA trial, patients with HER2-expressing unresectable gastric and gastroesophageal tumors were treated with chemotherapy and trastuzumab or with chemotherapy alone. A statistically significant increase in overall survival was observed in patients who received trastuzumab[16].

Although only a modest improvement of 2.7 months in the median overall survival was observed in HER2-positive patients with the addition of trastuzumab, according to the ToGA trial, there was an improvement of 4.2 mo in the median overall survival in a post-hoc analysis[14,16-18].

Other molecular HER2-targeted agents have been tested or are currently being tested such as pertuzumab, lapatinib, the antibody-drug conjugate trastuzumab-emtansine (TDM-1)[19-23] and afatinib (NIH study trial registration number NCT01522768; ClinicalTrials.gov). However, the efficacy of these agents has been shown to be either unsatisfactory or as modest as trastuzumab[22,24]. Trastuzumab is the first molecular targeted agent approved as a standard treatment in gastric cancer, but it remains under investigation for more potent utilization.

Thus, it is imperative to determine the HER2 status in advanced gastric or gastroesophageal junction adenocarcinoma in order to select patients who may benefit from this promising treatment.

HER2 TESTING METHODS

HER2 status is mainly assessed by immunohistochemistry (IHC) or in situ hybridization (ISH) assays. Both methods can be done on formalin-fixed and paraffin-embedded biopsy tissues or surgical specimens and occasionally, cytological samples[25]. Fluorescent in situ hybridization (FISH) is regarded to be the gold standard; however, because of its higher cost and time consumption, as well as the need for a fluorescence microscope, generally only equivocal cases are subjected to this technique. Furthermore, the high concordance between FISH and IHC that is reported in the literature supports the use of IHC, the most familiar and readily accommodated method in most surgical pathology laboratories[26-29].

Thus, IHC should be used as the first screening method for HER2 evaluation and those cases with results considered equivocal for HER2 overexpression (2+) should be referred for FISH analysis or other alternative in situ hybridization method[28] (Figure 1). A simple and practical alternative to FISH for these equivocal cases is provided by the employment of other in situ hybridization techniques such as silver in situ hybridization (SISH), chromogenic in situ hybridization (CISH) and dual-color dual-hapten in situ hybridization (DDISH). These three methods can be easily analyzed under a conventional bright field microscope and have shown excellent correlation with results obtained by FISH[30-32].

Because IHC is the easiest, least expensive and most widespread method of HER2 assessment, this paper focuses on IHC. Table 1 shows the different HER2 methods and their advantages and disadvantages.

Differences between HER2 Expression in Breast and Gastric Cancer

The key differences between HER2 expression in breast and gastric and gastroesophageal cancer are listed[17,30]: (1) The membranous distribution of the antibody in the neoplastic cells of breast cancer is predominantly circumferential, whereas in gastric cancer, it is generally incomplete, predominantly basolateral (“U”-shaped) or lateral (parallel lines) (Figure 2). Thus, unlike for breast cancer, circularity of IHC staining is not a criterion for HER2 IHC scoring in gastric cancer; (2) Intratumoral heterogeneity, defined as the presence of areas with different HER2 scores within the same tumor, i.e., focal or patchy positivity, is a common pattern encountered in gastric tumors but is only rarely seen in breast cancer (Figure 3). It may cause sampling errors when randomly sampled biopsies are examined (see below). Although the causes of intratumoral heterogeneity of HER2 expression are not yet fully understood, some studies indicate that it could be explained merely by tumor inherent genetic heterogeneity[33,34]. Since Helicobacter pylori (H. pylori) is widely accepted as the principal causative agent of gastric cancer[35], we speculate whether among the diverse bacterial factors, concomitant infection with different strains and diverse host responses there could be a reasonable link with HER2 intratumoral heterogeneity. Interestingly, Tegtmeyer et al[36] showed that some H. pylori strains could in fact activate HER2, while infection with other strains suppressed HER2 activity. However, this correlation of the bacterium with HER2 intratumoral heterogeneity is still a matter of debate and requires further studies; and (3) Variation of the incidence of HER2 expression with anatomic location does not occur in breast cancer, whereas it is more frequent in the proximal stomach, including the esophageal-gastric junction, than in the distal stomach. With the introduction of the seventh edition of TNM classification, a large number of tumors that were formerly categorized as gastric are now considered as esophageal and gastroesophageal junction tumors instead, with relatively high HER2-positivity rates in these primary neoplasms[37].

IHC score system

Given these differences between HER2 expression in breast and gastric cancer, an appropriate scoring system, exclusive for gastric tumors, was developed, because just transferring the breast cancer IHC scoring roles to gastric cancer could lead to a significant loss of patients. The system proposed by Hofmann et al[38] that has been assimilated by CAP and FDA, besides being specific for gastric tumors, also distinguishes biopsies from surgical specimens[17]. Table 2 shows the IHC score system for HER2 in gastric cancer and Figure 4 illustrates it.

Differences among samples

As mentioned above, mainly because of intratumoral heterogeneity, the size of the tissue sample might interfere in HER2 analysis. Although Hofmann's HER2 scoring system was formulated for evaluating HER2 status in biopsy and surgical specimens, discordant HER2 results in paired specimens were observed in a small percentage of tumors[39]. Intratumoral heterogeneity appears likewise to be the subject of conflicting results of HER2 expression in primary and metastatic tumor samples[33]. Moreover, in a previous study, we showed a significant difference in sensibility when analyzing HER2 expression in whole-tissue sections and in tissue microarrays[13]. Our personal experience suggests that it is prudent to extend the evaluation to more than one sample and, if feasible, to also evaluate metastatic foci. In fact, testing all available specimens should be considered so that discrepancies can be excluded. When only biopsies are available, it is recommended to have at least four fragments containing tumor cells[40]. We also recommend that all surgical specimens from patients that previously obtained HER2-negative results in biopsies should also be tested to increase the chance of finding HER2-positive tumors.

IHC antibodies

The results of the HER2 test might differ according to the antibody used and, consequently, the antibody might considerably influence therapeutic decisions. An optimal IHC antibody should be adequately sensitive to select the greatest possible number of candidates for treatment and should have the lowest possible false-positive rate in order to avoid overtreatment.

The commercial antibodies currently available are the HercepTest and A0485 (Dako, Glostrup, Denmark), SP3 (Labvision; Thermo Fisher Scientific, Fremont, CA, United States), 4B5 (Ventana Medical Systems, Tucson, AZ, United States) and CB11 (Novocastra, Newcastle upon Tyne, England). Some studies have shown substantial divergence among the antibodies regarding the results of HER2 expression in gastric tumors[13,29,41]. Our previous study compared HercepTest, SP3 and 4B5. We observed that the 4B5 and SP3 antibodies showed similar good performance, with high NPV (negative predictive value) and AUC (area under the ROC curve) values that indicated higher accuracy compared to the HercepTest[13]. Based on these results and on our personal experience, we believe that 4B5 and SP3 antibodies are more reasonable for first-line tests than the HercepTest in gastric tumors.

CONCLUSION

Given the recent introduction of trastuzumab for the treatment of patients with advanced gastric cancer, assessment of HER2 status is now mandatory for selecting patients eligible for this treatment. Although the development of automated platforms and image analysis should broaden the availability of in situ hybridization technologies, immunohistochemistry continues to play an essential role in HER2 status assessment. The overall reliability of HER2 evaluation by IHC, however, can be affected by diverse pre-analytical, analytical and post-analytical variables. Therefore, gastric and gastroesophageal cancer requires a unique scoring system, but above all, it requires expertise in interpretation.

References

1 Akiyama T, Sudo C, Ogawara H, Toyoshima K, Yamamoto T. The product of the human c-erbB-2 gene: a 185-kilodalton glycoprotein with tyrosine kinase activity. Science 1986; 232: 1644-1646 [PMID: 3012781 DOI: 10.1126/science.3012781]

2 Slamon DJ, Clark GM, Wong SG, Levin WJ, Ullrich A, McGuire WL. Human breast cancer: correlation of relapse and survival with amplification of the HER-2/neu oncogene. Science 1987; 235: 177-182 [PMID: 3798106 DOI: 10.1126/science.3798106]

3 Yan M, Schwaederle M, Arguello D, Millis SZ, Gatalica Z, Kurzrock R. HER2 expression status in diverse cancers: review of results from 37,992 patients. Cancer Metastasis Rev 2015; 34: 157-164 [PMID: 25712293 DOI: 10.1007/s10555-015-9552-6]

4 He C, Bian XY, Ni XZ, Shen DP, Shen YY, Liu H, Shen ZY, Liu Q. Correlation of human epidermal growth factor receptor 2 expression with clinicopathological characteristics and prognosis in gastric cancer. World J Gastroenterol 2013; 19: 2171-2178 [PMID: 23599643 DOI: 10.3748/wjg.v19.i14.2171]

5 Janjigian YY, Werner D, Pauligk C, Steinmetz K, Kelsen DP, Jäger E, Altmannsberger HM, Robinson E, Tafe LJ, Tang LH, Shah MA, Al-Batran SE. Prognosis of metastatic gastric and gastroesophageal junction cancer by HER2 status: a European and USA International collaborative analysis. Ann Oncol 2012; 23: 2656-2662 [PMID: 22689179]

6 Baykara M, Benekli M, Ekinci O, Irkkan SC, Karaca H, Demirci U, Akinci MB, Unal OU, Dane F, Turkoz FP, Balakan O, Eser EP, Ozturk SC, Ozkan M, Oksuzoglu B, Sevinc A, Demir N, Harputluoglu H, Yalcin B, Coskun U, Uner A, Ozet A, Buyukberber S. Clinical Significance of HER2 Overexpression in Gastric and Gastroesophageal Junction Cancers. J Gastrointest Surg 2015; 19: 1565-1571 [PMID: 26179664]

7 Kurokawa Y, Matsuura N, Kimura Y, Adachi S, Fujita J, Imamura H, Kobayashi K, Yokoyama Y, Shaker MN, Takiguchi S, Mori M, Doki Y. Multicenter large-scale study of prognostic impact of HER2 expression in patients with resectable gastric cancer. Gastric Cancer 2015; 18: 691-697 [PMID: 25224659]

8 Allgayer H, Babic R, Gruetzner KU, Tarabichi A, Schildberg FW, Heiss MM. c-erbB-2 is of independent prognostic relevance in gastric cancer and is associated with the expression of tumor-associated protease systems. J Clin Oncol 2000; 18: 2201-2209 [PMID: 10829039]

9 Grabsch H, Sivakumar S, Gray S, Gabbert HE, Müller W. HER2 expression in gastric cancer: Rare, heterogeneous and of no prognostic value - conclusions from 924 cases of two independent series. Cell Oncol 2010; 32: 57-65 [PMID: 20208134]

10 Kim KC, Koh YW, Chang HM, Kim TH, Yook JH, Kim BS, Jang SJ, Park YS. Evaluation of HER2 protein expression in gastric carcinomas: comparative analysis of 1,414 cases of whole-tissue sections and 595 cases of tissue microarrays. Ann Surg Oncol 2011; 18: 2833-2840 [PMID: 21468783 DOI: 10.1245/s10434-011-1695-2]

11 Park DI, Yun JW, Park JH, Oh SJ, Kim HJ, Cho YK, Sohn CI, Jeon WK, Kim BI, Yoo CH, Son BH, Cho EY, Chae SW, Kim EJ, Sohn JH, Ryu SH, Sepulveda AR. HER-2/neu amplification is an independent prognostic factor in gastric cancer. Dig Dis Sci 2006; 51: 1371-1379 [PMID: 16868827 DOI: 10.1007/s10620-005-9057-1]

12 Wang S, Zheng G, Chen L, Xiong B. Effect of HER-2/neu over-expression on prognosis in gastric cancer: a meta-analysis. Asian Pac J Cancer Prev 2011; 12: 1417-1423 [PMID: 22229170]

13 Abrahão-Machado LF, Jácome AA, Wohnrath DR, dos Santos JS, Carneseca EC, Fregnani JH, Scapulatempo-Neto C. HER2 in gastric cancer: comparative analysis of three different antibodies using whole-tissue sections and tissue microarrays. World J Gastroenterol 2013; 19: 6438-6446 [PMID: 24151362 DOI: 10.3748/wjg.v19.i38.6438]

14 Jørgensen JT, Hersom M. HER2 as a Prognostic Marker in Gastric Cancer - A Systematic Analysis of Data from the Literature. J Cancer 2012; 3: 137-144 [PMID: 22481979 DOI: 10.7150/jca.4090]

15 Hudis CA. Trastuzumab--mechanism of action and use in clinical practice. N Engl J Med 2007; 357: 39-51 [PMID: 17611206 DOI: 10.1056/NEJMra043186]

16 Bang YJ, Van Cutsem E, Feyereislova A, Chung HC, Shen L, Sawaki A, Lordick F, Ohtsu A, Omuro Y, Satoh T, Aprile G, Kulikov E, Hill J, Lehle M, Rüschoff J, Kang YK. Trastuzumab in combination with chemotherapy versus chemotherapy alone for treatment of HER2-positive advanced gastric or gastro-oesophageal junction cancer (ToGA): a phase 3, open-label, randomised controlled trial. Lancet 2010; 376: 687-697 [PMID: 20728210 DOI: 10.1016/S0140-6736(10)61121-X]

17 Rüschoff J, Dietel M, Baretton G, Arbogast S, Walch A, Monges G, Chenard MP, Penault-Llorca F, Nagelmeier I, Schlake W, Höfler H, Kreipe HH. HER2 diagnostics in gastric cancer-guideline validation and development of standardized immunohistochemical testing. Virchows Arch 2010; 457: 299-307 [PMID: 20665045]

18 Van Cutsem E, Bang YJ, Feng-Yi F, Xu JM, Lee KW, Jiao SC, Chong JL, López-Sanchez RI, Price T, Gladkov O, Stoss O, Hill J, Ng V, Lehle M, Thomas M, Kiermaier A, Rüschoff J. HER2 screening data from ToGA: targeting HER2 in gastric and gastroesophageal junction cancer. Gastric Cancer 2015; 18: 476-484 [PMID: 25038874]

19 Kang YK, Rha SY, Tassone P, Barriuso J, Yu R, Szado T, Garg A, Bang YJ. A phase IIa dose-finding and safety study of first-line pertuzumab in combination with trastuzumab, capecitabine and cisplatin in patients with HER2-positive advanced gastric cancer. Br J Cancer 2014; 111: 660-666 [PMID: 24960402 DOI: 10.1038/bjc.2014.356]

20 Satoh T, Xu RH, Chung HC, Sun GP, Doi T, Xu JM, Tsuji A, Omuro Y, Li J, Wang JW, Miwa H, Qin SK, Chung IJ, Yeh KH, Feng JF, Mukaiyama A, Kobayashi M, Ohtsu A, Bang YJ. Lapatinib plus paclitaxel versus paclitaxel alone in the second-line treatment of HER2-amplified advanced gastric cancer in Asian populations: TyTAN--a randomized, phase III study. J Clin Oncol 2014; 32: 2039-2049 [PMID: 24868024 DOI: 10.1200/JCO.2013.53.6136]

21 Barok M, Tanner M, Köninki K, Isola J. Trastuzumab-DM1 is highly effective in preclinical models of HER2-positive gastric cancer. Cancer Lett 2011; 306: 171-179 [PMID: 21458915 DOI: 10.1016/j.canlet.2011.03.002]

22 Digklia A, Wagner AD. Advanced gastric cancer: Current treatment landscape and future perspectives. World J Gastroenterol 2016; 22: 2403-2414 [PMID: 26937129 doi: 10.3748/wjg.v22.i8.2403]

23 Lordick F, Janjigian YY. Clinical impact of tumour biology in the management of gastroesophageal cancer. Nat Rev Clin Oncol 2016; Epub ahead of print [PMID: 26925958]

24 Matsuoka T, Yashiro M. Recent advances in the HER2 targeted therapy of gastric cancer. World J Clin Cases 2015; 3: 42-51 [PMID: 25610849 DOI: 10.12998/wjcc.v3.i1.42]

25 Wong DD, de Boer WB, Platten MA, Jo VY, Cibas ES, Kumarasinghe MP. HER2 testing in malignant effusions of metastatic gastric carcinoma: is it feasible? Diagn Cytopathol 2015; 43: 80-85 [PMID: 25363414 DOI: 10.1002/dc.23212]

26 Manion E, Hornick JL, Lester SC, Brock JE. A comparison of equivocal immunohistochemical results with anti-HER2/neu antibodies A0485 and SP3 with corresponding FISH results in routine clinical practice. Am J Clin Pathol 2011; 135: 845-851 [PMID: 21571957 DOI: 10.1309/AJCPIP5LOO3NGDJG]

27 Yano T, Doi T, Ohtsu A, Boku N, Hashizume K, Nakanishi M, Ochiai A. Comparison of HER2 gene amplification assessed by fluorescence in situ hybridization and HER2 protein expression assessed by immunohistochemistry in gastric cancer. Oncol Rep 2006; 15: 65-71 [PMID: 16328035 DOI: 10.3892/or.15.1.65]

28 Hoang MP, Sahin AA, Ordòñez NG, Sneige N. HER-2/neu gene amplification compared with HER-2/neu protein overexpression and interobserver reproducibility in invasive breast carcinoma. Am J Clin Pathol 2000; 113: 852-859 [PMID: 10874886 DOI: 10.1309/VACP-VLQA-G9DX-VUDF]

29 Boers JE, Meeuwissen H, Methorst N. HER2 status in gastro-oesophageal adenocarcinomas assessed by two rabbit monoclonal antibodies (SP3 and 4B5) and two in situ hybridization methods (FISH and SISH). Histopathology 2011; 58: 383-394 [PMID: 21323962 DOI: 10.1111/j.1365-2559.2011.03760.x]

30 Albarello L, Pecciarini L, Doglioni C. HER2 testing in gastric cancer. Adv Anat Pathol 2011; 18: 53-59 [PMID: 21169738 DOI: 10.1097/PAP.0b013e3182026d72]

31 Dietel M, Ellis IO, Höfler H, Kreipe H, Moch H, Dankof A, Kölble K, Kristiansen G. Comparison of automated silver enhanced in situ hybridisation (SISH) and fluorescence ISH (FISH) for the validation of HER2 gene status in breast carcinoma according to the guidelines of the American Society of Clinical Oncology and the College of American Pathologists. Virchows Arch 2007; 451: 19-25 [PMID: 17562074]

32 Koh YW, Lee HJ, Lee JW, Kang J, Gong G. Dual-color silver-enhanced in situ hybridization for assessing HER2 gene amplification in breast cancer. Mod Pathol 2011; 24: 794-800 [PMID: 21317877]

33 Kim MA, Lee HJ, Yang HK, Bang YJ, Kim WH. Heterogeneous amplification of ERBB2 in primary lesions is responsible for the discordant ERBB2 status of primary and metastatic lesions in gastric carcinoma. Histopathology 2011; 59: 822-831 [PMID: 22092393 DOI: 10.1111/j.1365-2559.2011.04012.x]

34 Cho EY, Park K, Do I, Cho J, Kim J, Lee J, Kim S, Kim KM, Sohn TS, Kang WK, Kim S. Heterogeneity of ERBB2 in gastric carcinomas: a study of tissue microarray and matched primary and metastatic carcinomas. Mod Pathol 2013; 26: 677-684 [PMID: 23238628]

35 Sitas F. Twenty five years since the first prospective study by Forman et al. (1991) on Helicobacter pylori and stomach cancer risk. Cancer Epidemiol 2016; 41: 159-164 [PMID: 26922171]

36 Tegtmeyer N, Zabler D, Schmidt D, Hartig R, Brandt S, Backert S. Importance of EGF receptor, HER2/Neu and Erk1/2 kinase signalling for host cell elongation and scattering induced by the Helicobacter pylori CagA protein: antagonistic effects of the vacuolating cytotoxin VacA. Cell Microbiol 2009; 11: 488-505 [PMID: 19046339]

37 Koopman T, Smits MM, Louwen M, Hage M, Boot H, Imholz AL. HER2 positivity in gastric and esophageal adenocarcinoma: clinicopathological analysis and comparison. J Cancer Res Clin Oncol 2015; 141: 1343-1351 [PMID: 25544671 DOI: 10.1007/s00432-014-1900-3]

38 Hofmann M, Stoss O, Shi D, Büttner R, van de Vijver M, Kim W, Ochiai A, Rüschoff J, Henkel T. Assessment of a HER2 scoring system for gastric cancer: results from a validation study. Histopathology 2008; 52: 797-805 [PMID: 18422971 DOI: 10.1111/j.1365-2559.2008.03028.x]

39 Huang SC, Ng KF, Lee SE, Chen KH, Yeh TS, Chen TC. HER2 testing in paired biopsy and excision specimens of gastric cancer: the reliability of the scoring system and the clinicopathological factors relevant to discordance. Gastric Cancer 2016; 19: 176-182 [PMID: 25512144]

40 Ahn S, Ahn S, Van Vrancken M, Lee M, Ha SY, Lee H, Min BH, Lee JH, Kim JJ, Choi S, Jung SH, Choi MG, Lee JH, Sohn TS, Bae JM, Kim S, Kim KM. Ideal number of biopsy tumor fragments for predicting HER2 status in gastric carcinoma resection specimens. Oncotarget 2015; 6: 38372-38380 [PMID: 26460823]

41 Cho EY, Srivastava A, Park K, Kim J, Lee MH, Do I, Lee J, Kim KM, Sohn TS, Kang WK, Kim S. Comparison of four immunohistochemical tests and FISH for measuring HER2 expression in gastric carcinomas. Pathology 2012; 44: 216-220 [PMID: 22437741 DOI: 10.1097/PAT.0b013e3283513e8b]

P-Reviewer: Coccolini F, Guo JM S-Editor: Ma YJ L-Editor:   E-Editor:

Figure 1 HER2 testing algorithm. HER2: human epidermal growth factor receptor 2; IHC: immunohistochemistry; FISH: Fluorescent in situ hybridization; CEP17: Chromosome 17.

Figure 2 HER2 expression in gastric and breast tumors.  A: A HER2-positive (3+) case of gastric adenocarcinoma; the cytoplasmic membranous immunostaining is incomplete and predominantly basolateral (400 X); B: A HER2-positive (3+) case of invasive ductal carcinoma of the breast; the cytoplasmic membranous staining is fully circumferential (400 X). HER2: human epidermal growth factor receptor 2.

Figure 3 Representative image of the intratumoral heterogeneity of HER2 expression. Arrows indicate areas with strong continuous membranous staining (score 3+) and arrowheads indicate negative areas (score 0) (100 X). HER2: human epidermal growth factor receptor 2.

Figure 4 HER2 protein expression in gastric and gastroesophageal tumors. A: a negative (0) case; B: a negative (+1) case; C: an equivocal (2+) case; D: a positive (3+) case. HER2: human epidermal growth factor receptor 2.

Table 1 Advantages and disadvantages of the HER2 testing methods

| Method | Advantages | Disadvantages |
| --- | --- | --- |
| IHC | Quick to perform; Most laboratories use fully automated processes; Widely used and familiar to all pathologists; Results can be viewed using a conventional bright-field microscope; Permits parallel viewing of tumor cell morphological features; Stained tissues do not degrade over time. | Equivocal cases (2+) need another method for conclusion; Accuracy is more dependent on pre-analytic variables. |
| FISH | Very objective and accurate; Actual copies of HER2 genes can be counted; Considered the golden standard of HER2 testing. | Technically more demanding; Usually performed only in large laboratories/institutions; Costs are substantially high; Requires the use of fluorescence microscope and dark room; Comparatively more time consuming; Reagents degrade over time. |
| SISH/CISH/DDISH | Quick to perform; Very objective and accurate; Technique is fully automated; Results can be viewed using a conventional bright-field microscope; Permits parallel viewing of tumor cell morphological features; Slides can be stored because the signal is stable; Double-stranded probes labeled with two haptens can detect both markers on a single slide (DDISH) | More expensive than IHC; Unfamiliar to non-specialist pathologists. |

IHC: Immunohistochemistry; FISH: Fluorescent in situ hybridization; SISH: Silver in situ hybridization; CISH: Chromogenic in situ hybridization; DDISH: Dual-color dual-hapten in situ hybridization.

Table 2 Immunohistochemistry scoring for HER2 expression in gastric and gastroesophageal junction cancer[17]

| Score | Surgical specimen | Biopsy | HER2 overexpression assessment |
| --- | --- | --- | --- |
| 0 | no membranous staining or staining of < 10% of the tumor cells | no membranous staining or staining only in rare cells (less than 5 cohesive cells) | Negative |
| 1+ | staining is weak or detected in only one part of the membrane in ≥ 10% of the cells | staining is weak or detected in only one part of the membrane of at least 5 cohesive cells | Negative |
| 2+ | moderate/weak complete or basolateral membranous staining in ≥ 10% of the cells | moderate/weak complete or basolateral membranous staining of at least 5 cohesive cells | Equivocal |
| 3+ | strong complete or basolateral membranous staining in ≥ 10% of the neoplastic cells | strong complete or basolateral membranous staining of at least 5 cohesive cells | Positive |

HER2: human epidermal growth factor receptor 2.