**Name of journal: World Journal of Immunology**

**ESPS Manuscript NO: 2457**

**Columns: REVIEW**

**Role of the clinical immunology laboratory in disease monitoring**

Maher J. Disease monitoring in clinical immunology

John Maher

**John Maher**, Department of Immunology, Barnet and Chase Farm NHS Trust, Barnet, Hertfordshire, EN5 3DJ, United Kingdom

**John Maher**, King’s College London, King’s Health Partners Integrated Cancer Center, Department of Research Oncology, Guy’s Hospital Campus, Great Maze Pond, London SE1 9RT, United Kingdom

**John Maher**, Department of Clinical Immunology and Allergy, King’s College Hospital NHS Foundation Trust, Denmark Hill, London SE5 9RS, United Kingdom

**Author contributions:** Maher J solely contributed to this paper.

**Correspondence to: John Maher, PhD,** Department of Research Oncology, King’s College London, Guy’s Hospital, Great Maze Pond, London SE1 9RT, United Kingdom. John.maher@kcl.ac.uk

**Telephone:** +44-207-1881468 **Fax:** +44-207-1880919

**Received:** February 22, 2013 **Revised:** April 24, 2013

**Accepted:** May 16, 2013

**Published online:**

**Abstract**

Immunological investigations provide useful information to guide diagnosis of several disorders. Many such tests are also commonly repeated at intervals, in an effort to facilitate disease monitoring. In general however, immunology test results are often slow to alter. Furthermore, audit activity has indicated that repeated testing accounts for a substantial workload in many immunology services, which may waste resources and compromise the efficient completion of necessary tests. Consequently, the need and appropriate minimum interval between repeated testing requires critical evaluation. In this review, the clinical utility of repeated performance of several common immunology investigations has been evaluated, based upon published evidence. In some cases (*e.g.*,paraprotein quantification, or measurement of anti-glomerular basement membrane antibodies), repeated testing provides vital clinical information and can be justified on a frequent and individualized basis. However, many other investigations provided by immunology services provide less valuable information when used to aid disease monitoring rather than diagnosis. It is hoped that the data summarized here will facilitate a more evidence-based approach to repeated testing. Such information may also assist with the local implementation of demand management strategies based upon setting of minimum retesting intervals for these investigations.

© 2013 Baishideng. All rights reserved.

**Key words**: Clinical immunology; Immune monitoring; Retest; Test interval

**Core tip:** Immunological investigations provide useful information to guide diagnosis of several disorders. Many such tests are also commonly repeated at intervals, in an effort to facilitate disease monitoring. Here, the evidence underlying the need and appropriate minimum interval between repeated testing has been critically evaluated.

John Maher. Role of the clinical immunology laboratory in disease monitoring. **Available from: URL:**

**DOI:**

**INTRODUCTION**

The clinical immunology laboratory serves an important role in the diagnosis of several disorders. Equally, periodic immunological testing can contribute to the monitoring of disease status. However, such tests are expensive, relatively slow to undergo change and are commonly repeated. In two recently published audits, up to 30% of tests were unnecessarily repeated within a 3-mo time window[[1](#_ENREF_1), [2](#_ENREF_2)]. Most clinical immunology laboratories experience a continued year on year increase in test requests. For example, combined data from two large National Health Service Trusts has indicated that requests for serological screening for coeliac disease had doubled over a 5 year interval[[3](#_ENREF_3)]. Consequently, as part of their demand management strategy, some services have imposed minimum retesting intervals in order to reduce misuse and unnecessary investigation. However, the evidence base for the implementation of such protocols is scattered throughout several publications and is variable in quality. In this review, the role of several immunology tests in disease monitoring has been examined. The overall goal was to provide an evidence base to support the need for repeated testing and, where possible, to provide guidance on intervals that may be appropriate between retesting.

**RHEUMATOLOGY AND NEPHROLOGY**

***Anti-nuclear antibody***

Testing for antinuclear antibodies (ANA) plays an important role the diagnosis of several rheumatological and other conditions. However, the major limitation of ANA testing is the high frequency of false positive results. Up to 30% of healthy individuals have ANA at a serum dilution (titre) of 1:40, while 5% remain positive at a titre of 1:160[[4](#_ENREF_4)]. This finding emphasises the importance of performing this test only in individuals who are suspected to have an ANA-associated illness. Once a diagnosis has been established, repeat testing for ANA in positive individuals is generally not useful unless clinical features change. This is because there is no evidence to indicate that alteration in ANA titre (or immunofluorescence pattern) provides useful information to guide the management of any illness[[4-6](#_ENREF_4)]. In summary therefore, there is no clear indication to repeat a positive ANA unless the result is not compatible with the clinical presentation, in which case the test should not have been requested in the first instance.

Because ANA-associated illnesses are often dynamic, it is sometimes reasonable to retest individuals with such a diagnosis where ANA testing has been negative. In general, the presence of ANA generally precedes diagnosis in relevant rheumatological conditions[[7](#_ENREF_7)]. However, in systemic lupus erythematosis (SLE) for example, ANA may occasionally be undetectable at the onset of symptoms (“ANA negative SLE”). While many factors may account for this finding, it has been estimated that up to 18% of such ANA negative SLE patients will “seroconvert” over the course of their illness[[6](#_ENREF_6), [8](#_ENREF_8)], providing a rationale for retesting in highly selected cases.

***Anti-double stranded DNA antibody***

The only disorder for which the detection of anti-double stranded (ds)DNA antibodies is diagnostically useful is SLE. The level or titre of these antibodies is dynamic and can provide useful information in monitoring the activity of SLE. A rise in anti-dsDNA antibodies often precedes SLE exacerbation by a few weeks[[9](#_ENREF_9)]. High titers have been identified in lupus nephritis and their levels tend to rise and fall in direct proportion to disease activity[[10](#_ENREF_10)]. However, the relationship between titre of anti-dsDNA antibodies and disease activity in SLE is not absolute. Thus, an increment in the titre of anti-DNA antibody does not predict with certainty that a subsequent SLE flare will occur[[11](#_ENREF_11)]. The converse is also true in that SLE patients may have a disease flare without a prior increase in anti-dsDNA antibody levels[[11](#_ENREF_11)]. Two recently conducted prospective case series have highlighted the limitations of anti-dsDNA antibody testing in mirroring disease status[[12](#_ENREF_12), [13](#_ENREF_13)]. Consequently, alterations in the level of these antibodies should never be used in isolation to guide disease management. Against this background, the optimum frequency of retesting of anti-dsDNA antibodies is unknown[[11](#_ENREF_11)]. However, since the half-life of most IgG sub-classes is approximately 3 wk, the minimum period required to detect significant alterations of antibody titres should be at least an interval of 4 or more weeks[[5](#_ENREF_5), [6](#_ENREF_6), [14](#_ENREF_14), [15](#_ENREF_15)].

***Antibody against extractable nuclear antigens***

Antibodies against extractable nuclear antigens (ENA) (*e.g.*, SSA/Ro, SSB/La, Sm and/ or U1-RNP) are commonly used to support the diagnosis of several conditions, notably SLE, Sjogren’s syndrome and mixed connective tissue disease. The presence of these antibodies tends to be stable over time so that if the test is positive, repeat testing is generally not helpful[[16](#_ENREF_16), [17](#_ENREF_17)]. Furthermore, alterations in titre of these antibodies do not predict the need for changes in disease management[[18](#_ENREF_18)]. Similarly, anti-centromere and anti-scl70 antibodies tend to remain stable over time and do not correlate with disease activity[[19](#_ENREF_19)]. Occasionally however, it is recognised that autoantibodies within the above groups may either emerge or recede over time in patients with rheumatological conditions[[8](#_ENREF_8)], providing a rationale for selected retesting.

***Rheumatoid factor***

Rheumatoid factor (RF) is a generic term for antibodies that react with the Fc portion of the IgG molecules. The presence of RF in both children and adults with rheumatoid arthritis (RA) correlates with a more aggressive and erosive disease course[[20](#_ENREF_20)]. Recent studies have indicated that RF tends to be stable over time other than a trend to reduction in levels[[21-23](#_ENREF_21)]. Consequently, there seems little point in repeating this test over time.

***Anti-cyclic citrullinated peptide antibodies***

Anti-cyclic citrullinated peptide(CCP) antibodies are directed against citrulline residues, formed as a result of the post-translational modification of arginine. The presence of anti-CCP antibodies is a highly specific diagnostic marker of RA, correlating like RF with more aggressive disease. Current (2010) American College of Rheumatology guidelines include the use of anti-CCP antibodies in the classification of rheumatoid arthritis. In further similarity to RF, recent data indicate that anti-CCP antibodies remain stable over a period of up to 5 years. Consequently, re-testing over this period is not supported by evidence[[21-23](#_ENREF_21)]. Furthermore, repeated measurement of anti-CCP-antibodies does not help to evaluate disease activity[[24](#_ENREF_24)].

***Anti-phospholipid antibodies***

Anti-phospholipid (aPL) antibodies are a heterogenous group of antibodies with reactivity against cell surface phospholipids and/ or associated cofactor proteins. These antibodies may be found in patients with the anti-phospholipid syndrome (APS). Commonly, the diagnosis of APS is based upon the revised Sapporo classification criteria (also called the Sydney criteria)[[25](#_ENREF_25), [26](#_ENREF_26)] and requires one clinical (thrombotic or pregnancy-associated morbidity) and one laboratory criterion. The laboratory requirements for diagnosis of APS include either the presence of (1) lupus anticoagulant; (2) IgG and/ or IgM anti-cardiolipin antibodies; or (3) IgG and/ or IgM antibodies against  glycoprotein I (GPI). However, false positive antibodies may be found in several circumstances, including infection and even in normal individuals. Consequently, in patients with initial positive results, the test must be repeated and found positive on a second occasion, after a minimum interval of 12 wk. Experience indicates that in the majority of cases, repeat testing does not confirm the presence of these antibodies, highlighting the importance of such confirmatory testing[[27](#_ENREF_27)].

In light of these considerations, it is recommended that the minimum re-testing interval for all three tests is set at 12 wk. Although evidence is limited, it appears that anti-phospholipid antibodies are generally stable for over 2 years from diagnosis and are not influenced by commonly used therapies such as warfarin, aspirin and/ or hydroxychloroquine[[28](#_ENREF_28)]. Poor assay standardisation makes comparison of serial results from different assays challenging and the relationship of titre to disease activity in SLE is also contentious[[28](#_ENREF_28)]. Consequently, the role of repeated testing beyond the diagnostic phase would appear to be limited.

***Anti-neutrophil cytoplasmic antibody***

Anti-neutrophil cytoplasmic antibody (ANCA) detection is a valuable tool for diagnosing small-vessel vasculitis, including granulomatosis with polyangiitis (GPA, Wegener’s granulomatosis), microscopic polyangiitis, eosinophilic GPA (Churg-Strauss syndrome) and primary pauci-immune crescentic glomerulonephritis. International guidelines for ANCA testing recommend screening for ANCA by indirect immunofluorescence microscopy, followed by ELISA testing of positive samples[[29](#_ENREF_29), [30](#_ENREF_30)]. Positive immunofluorescence staining may be cytoplasmic (c-ANCA) or peri-nuclear (p-ANCA) in distribution. Commonly, but not always, c-ANCA positivity is associated with ELISA reactivity against proteinase 3 (PR3) while p-ANCA correlates with binding of myeloperoxidase (MPO). Initially, it was reported that ANCA quantification could reliably predict relapse of necrotising vasculitides and thereby guide treatment decisions[[31](#_ENREF_31), [32](#_ENREF_32)]. More recently however, evidence from several sources has indicated that this application of ANCA testing is not sufficiently robust to be clinically useful in the majority of cases[[33-35](#_ENREF_33)]. This viewpoint has been confirmed in a recent meta-analysis[[36](#_ENREF_36)]. For individual patients in whom an association between PR3-ANCA levels and disease activity has been established, serial ANCA testing may have some predictive value for subsequent relapse[[37](#_ENREF_37)]. It is well recognised that PR3-ANCA positive patients are more likely to relapse than those with MPO-ANCA, indicating the need for closer monitoring of the former group[[38](#_ENREF_38)]. Furthermore, there is evidence that in PR3-ANCA positive patients, it is safer to progress from cyclophosphamide-based remission induction therapy to azathioprine maintenance therapy when ANCA have reverted to negativity[[39](#_ENREF_39)]. However, once clinical remission has been achieved, renal transplantation is equally successful, regardless of ANCA levels[[40](#_ENREF_40)]. Taken together, this indicates that serial ANCA measurement may be useful in some selected cases but that a straightforward role linking test results to disease activity is lacking.

***Complement C3 and C4***

In SLE, serum C3 and C4 levels commonly fall close to the time of a flare and return to higher concentrations after a minimum of several weeks of appropriate treatment. However, these findings are not uniform. Some patients have disease flares without a reduction in C3 or C4 levels. In keeping with this, a recent 6 year prospective study demonstrated that C3, C4 and anti-dsDNA antibody measurements had a satisfactory negative predictive value for lupus nephritis but that positive predictive value was inadequate[[12](#_ENREF_12)]. Furthermore, a second prospective study has highlighted the inadequacy of C3, C4 and anti-dsDNA antibody testing in monitoring disease activity in lupus[[13](#_ENREF_13)]. There are a number of reasons why reductions in C3 and C4 in particular may not necessarily indicate disease flare. For example, low levels of C4 are commonly seen in inactive SLE due to inherited partial C4 deficiency, which is common in SLE[[41](#_ENREF_41)]. Furthermore, C4 may be reduced even during the inactive stage of SLE. Nonetheless, serial C3 and C4 measurements may be useful in disease monitoring in individual patients. Furthermore, it has been suggested that C3 and C4 levels should be monitored monthly during pregnancy in patients with lupus[[42](#_ENREF_42)].

***C1q antibodies***

Anti-C1q antibodies bind to C1q, which is the first component of the classical complement pathway. These antibodies have been found in patients with SLE in addition to several other inflammatory rheumatological conditions, notably hypocomplementaemic urticarial vasculitis. In SLE, these antibodies are found more commonly in patients with lupus nephritis. Furthermore, antibody titre tends to be higher in association with active disease. Although disease flare may be seen in their absence, evidence is emerging to suggest that these antibodies provide one of the strongest biomarkers of active disease and serial measurement warrants further investigation[[12](#_ENREF_12), [43](#_ENREF_43), [44](#_ENREF_44)].

***Anti-glomerular basement membrane antibody***

Glomerular basement membrane (GBM) antibody disease is associated with auto-antibodies that bind the non-collagenous 1 domain of the 3 / 5 chains of type IV collagen, found in the GBM and alveoli. Patients with anti-GBM antibodies commonly present with pulmonary renal syndrome and require intensive immunosuppression using cyclophosphamide, corticosteroids and plasmapheresis. In this context, frequent repeated antibody measurement can be used to guide therapy[[45](#_ENREF_45)]. Typically, plasmapheresis is performed every 1-2 d for at least 14 d or until anti-GBM antibodies are no longer detectable[[46](#_ENREF_46)]. In general, anti-GBM disease does not relapse and consequently does not require long-term immunosuppression. However, a proportion of patients also have ANCA and behave clinically more like patients with ANCA-associated vasculitis (*e.g.*, with a propensity to relapse). In patients with anti-GBM disease who require renal transplantation, it is recommended that anti-GBM antibodies are undetectable for at least 6 mo previously in order to minimise the risk of disease recurrence [[46](#_ENREF_46)].

**NEUROLOGY**

***Disorders of the neuromuscular junction***

Myasthenia gravis (MG) is characterised by an immune-mediated failure of neuromuscular transmission. In part, the disease is mediated by auto-antibodies that bind to the postsynaptic nicotinic acetylcholine receptor (AChR) and muscle-specific receptor tyrosine kinase (MuSK) receptor complex. However, no studies have confirmed the usefulness of serial auto-antibody measurement in MG[[47](#_ENREF_47)].

Antibodies directed against the AChR are detected in approximately 80% of patients with MG and thus contribute importantly to diagnosis of this disease. Although individual patients may vary, neither the presence nor the level of AChR antibodies on serial testing correlates well in general with disease severity[[48](#_ENREF_48),[49](#_ENREF_49)] or response to immunosuppressive therapy[[50](#_ENREF_50)]. Nonetheless, about 15% of patients who are initially seronegative may become seropositive within 12 mo, warranting re-testing in this population[[51](#_ENREF_51)]. Furthermore, such seroconversion can be delayed for several years in some cases[[51](#_ENREF_51)].

About 70% of the AChR seronegative population has antibodies directed against muscle specific tyrosine kinase (MuSK). In this scenario, a correlation between antibody titre and disease severity has been observed[[52](#_ENREF_52)]. Patients with MuSK-specific antibodies tend to respond less well to acetylcholinesterase inhibition and often require immunosuppressive therapy. Consequently, it is possible that repeated measurement of these antibodies may be useful to aid disease monitoring, in conjunction with other parameters.

Anti-striated muscle antibodies may also be found in patients with myasthenia gravis and these correlate with increased risk of co-existing thymoma. The primary target of these antibodies is Titin. Emergence of these antibodies in a patient with myasthenia have also been linked to thymoma[[53](#_ENREF_53)].

***Autoimmune “channelopathies”***

Antibodies to the water channel, aquaporin-4, are a sensitive and highly specific serological marker for neuromyelitis optica. Furthermore, titres of aquaporin-4 antibodies correlate at the population level with disease activity[[54](#_ENREF_54)]. In the individual patient however, changes in antibody levels are not sufficiently predictive of disease relapse and the need to modify therapeutic approach[[55](#_ENREF_55)].

Antibodies that bind to neuronal voltage-gated potassium channels may be found in neuromyotonia, limbic encephalitis and Morvan's syndrome. These conditions commonly respond to immunosuppressive therapy although they may occasionally signal the presence of underlying malignancy. A correlation has been observed in several cases between reduction in antibody titre and therapeutic response[[56](#_ENREF_56)], providing a rationale for repeated measurement of antibodies in these patients.

Antibodies that bind to neuronal voltage-gated calcium channels are associated with both paraneoplastic and idiopathic forms of the Lambert-Eaton myasthenic syndrome. They antibodies are not diagnostic however in that they also occur in other neurological and malignant disorders. Antibody titre does not correlate well with clinical and electrophysiological parameters of disease. Serial antibody titres may reflect clinical status, at least in some patients, although clinical remission may be accompanied by persistence of high titre antibody levels[[57](#_ENREF_57), [58](#_ENREF_58)].

Finally, a series of complex encephalitic conditions may be considered in this category of which the prototype is associated with antibodies to an ion channel, namely the N-methyl-D aspartate receptor. Other targets include the glycine, GABAB and AMPA receptors. Once again, some cases may be tumour-associated (*e.g.*, ovarian teratoma). Autoantibody concentrations are generally higher in serum than in CSF in these conditions. However, intrathecal synthesis of antibody also occurs, and the role of serological monitoring of these patients is presently unclear[[59](#_ENREF_59)].

***Disorders associated with antibodies to glycolipid and glycoprotein-related saccharides***

Several neurological disorders have been associated with this class of autoantibody (Table 1). Pre-eminent among these are anti-ganglioside antibodies. Molecular mimicry between lipooligosaccharides on the surface of infectious agents (most commonly Campylobacter jejuni) and ganglioside antigens on neural cells may induce cross-reactive antibody responses, targeted against ganglioside complexes. Alternatively, these antibodies may manifest as non-malignant IgM monoclonal gammopathies. Complement fixation by these antibodies appears to be an important contributor to disease pathogenesis[[60](#_ENREF_60)].

Although assays are not standardised, these antibodies have important diagnostic utility. Furthermore, several of these antibodies appear to have pathogenic relevance in these neurological conditions. In some cases, an association has been observed between antibody titre and disease activity[[61](#_ENREF_61)] or response to immunosuppressive therapy[[62](#_ENREF_62)]. Once again however, the temporal relationship between antibody levels and disease status is not straightforward. To further complicate matters, IgG antibodies directed against some of these targets can be found in pooled immunoglobulin, which is commonly used to treat these disorders.

***Antibodies associated with paraneoplastic disorders***

Several antibodies have been described in paraneoplastic disorders, including anti-Hu, Ri, Yo, Tr, CV2/CRMP5, amphiphysin, recoverin and Ma1/Ma2[[63](#_ENREF_63)]. When used diagnostically, detection of these antibodies may be predictive of the presence of underlying malignancy. Some, but not all anecdotal reports have suggested that antibody levels may increase prior to emergence of clinical cancer relapse[[64](#_ENREF_64)]. Once again however, the role of repeated measurement of these antibodies in disease monitoring is not established.

Monitoring of paraproteins is discussed elsewhere in this review.

**ENDOCRINOLOGY**

***Type 1 diabetes***

Antibodies against islet cells and associated autoantigens (glutamate decarboxylase, islet antigen-2 and insulin) are commonly detectable in individuals with type 1 diabetes and in latent forms of this disease[[65](#_ENREF_65)]. Multiplicity of antibody positivity is associated with greater risk of disease development. However, in the absence of proven interventions to decease disease risk, such use of these tests would appear unwarranted outside of research protocols. These antibodies may also be detected in a sub-group of patients with type 2 diabetes who have a greater risk of progression to require insulin. Once again however, there is no firm evidence that this information either leads to improved outcome or altered management. The presence of islet-reactive autoantibodies can be useful in categorising patients with features of both type 1 and type 2 diabetes, or in predicting risk of future diabetes in women with gestational diabetes. In none of these situations however is there evidence to support repeat antibody measurement.

***Steroid cell autoantibodies***

Adrenal antibodies are found in individuals with established or evolving primary adrenal failure[[66](#_ENREF_66)], either alone or as part of one of the autoimmune polyglandular syndromes. In about 15% of cases, antibodies cross-react with other steroid hormone producing cells (*e.g.*, Leydig cells, theca cells, syncytiotrophoblast), indicating a high risk of progression to primary gonadal failure, particularly in women with high titre antibodies. The principal autoantigen recognized by adrenal antibodies is 21-hydroxylase whereas the latter “steroid cell antibodies” commonly react with 17 hydroxylase. While these antibodies have no pathogenetic role, their detection is useful both for diagnostic purposes and also in the identification of subjects at high-risk for future development of clinical adrenal failure.

There is no evidence to support retesting for these antibodies, either in the event of positive or negative results. In the context of polyglandular autoimmunity, periodic reassessment for the presence of several autoantibodies would appear to be justifiable. In this context, it has been suggested that in patients with primary adrenal failure, autoantibody testing is repeated every 2-3 years[[67](#_ENREF_67)]. The rationale underlying this proposed strategy is the detection of serological markers of other clinical manifestations of one of the associated autoimmune polyglandular syndromes, leading in turn to appropriate functional testing and diagnostic reclassification.

***Thyroid autoantibodies***

Antibodies with reactivity to thyroid peroxidase are commonly used markers of autoimmune thyroid disease, including Hashimoto’s disease, Graves disease, autoimmune post-partum thyroiditis and sub-clinical autoimmune thyroid disease. However, antibody levels do not correlate with disease severity. Consequently, repeated measurement of these antibodies in general has no clinical value[[68](#_ENREF_68)].

**HAEMATO-ONCOLOGY**

***Monitoring of serum and urinary paraproteins***

A paraprotein or M (monoclonal) protein is a clonal intact immunoglobulin or light chain that is produced in excess. Paraproteins can be detected in multiple myeloma, Waldenström’s macroglobulinaemia, other clonal B-cell/ plasma cell disorders or, more commonly, as a manifestation of monoclonal gammopathy of undetermined significance (MGUS). When intact, paraproteins are best detected in the serum. By contrast, light chain paraproteins (also known as Bence Jones proteins) are often easier to detect in urine, owing to their smaller size. Paraproteins are generally detected and/ or quantified using one of four assay systems. In serum, this is achieved by agarose gel electrophoresis or capillary zone electrophoresis. By contrast. light chain paraproteins are traditionally detected by urine electrophoresis but may also be detected and quantified using the recently developed free light chain assay. This is a sensitive, latex-enhanced immunonephelometric test that quantitates free and  light chains, generally in serum samples[[69](#_ENREF_69)]. Finally, in some carefully selected cases, paraprotein quantification is best achieved by measurement of the relevant immunoglobulin isotype, although this approach requires caution.

The role of paraprotein measurement in the diagnosis of haematological malignancy/ MGUS is beyond the scope of this review and the reader is referred to a number of recent articles for a more comprehensive discussion of this area[[70](#_ENREF_70), [71](#_ENREF_71)]. The common causes of paraproteins are listed in Table 2, together with relevant diagnostic features. In the discussion that follows, the role of these assays in disease monitoring is considered.

Changes in paraprotein levels are the principal indicators used to evaluate therapeutic response in patients with multiple myeloma, except in those patients with oligo- or non-secretory disease. Owing to the limitations of the assays involved, measurable disease has been defined as a serum paraprotein of ≥ 10 g/L or a urine paraprotein of ≥ 200 mg per day[[72](#_ENREF_72)]. In serum, reductions in paraprotein levels of at least 25% and 50% respectively are considered minimal and partial responses. By analogy, a reduction in urinary paraprotein (per day) of at least 50% and 90% respectively are classified as minimal and partial responses[[72](#_ENREF_72)]. A “very good partial response” is defined as the situation where a serum/ urine paraprotein is detectable by immunofixation but not on electrophoresis or where a 90% or greater reduction in serum paraprotein has occurred, together with a urine paraprotein level of **<** 100 mg per day. A complete response requires the demonstration that a previously identified paraprotein is no longer present when sought using immunofixation electrophoresis and that bone marrow plasma cells are < 5% with resolution of any plasmacytomas. A “stringent complete remission” also requires that the serum free light chains (see below) have normalised and clonal bone marrow cells are absent.

If the paraprotein level is 15 g/L or lower and the patient is asymptomatic with no other laboratory or clinical abnormalities, MGUS is probable. In patients with low-risk MGUS, paraproteins can be rechecked in 6 mo, and then once every two years or only at the time of symptoms for evidence of progression. All other subsets of patients need to be rechecked in 6 mo, and then yearly thereafter[[73](#_ENREF_73)]. Patients with smouldering multiple myeloma (Table 2) need more frequent follow up than those with MGUS; at least every 3–4 mo and especially with IgA paraproteins[[73](#_ENREF_73)].

Patients who are treated with plasmapheresis may require frequent paraprotein measurements in addition to serum or plasma viscosity to guide this therapy.

***Monitoring of serum free light chains***

The serum free light chain assay quantifies circulating free and immunoglobulin light chains. The assay is useful in three circumstances. First, measurement of free light chains is useful as a component of screening for paraprotein-related illness. Second, baseline free light chain levels provide valuable prognostic information in virtually all paraprotein-related conditions, from MGUS through to myeloma. Third, and of greatest relevance to this review, repeated measurement of free light chains can be useful in monitoring of these disorders under the following selected circumstances.

In the absence of a serum or urine paraprotein that is “measurable” according to the definitions described in section 5.1, myeloma can be considered as “oligosecretory”. In this setting, the International Myeloma Working Group (IMWG) has recommended that the serum free light chain assay can be used to monitor disease, provided that the paraprotein (*e.g.*, involved free light chain) is ≥ 100 mg/L and that the free light chain / ratio is abnormal. Using this threshold for “measurable disease, a 50% decrease in paraprotein level indicates partial response[[72](#_ENREF_72)]. A recent consensus statement has recommended the additional use of this assay for monitoring of other oligosecretory plasma cell disorders, including amyloidosis AL and the majority of patients with “non-secretory” myeloma[[74](#_ENREF_74)]. The free light chain ratio is not a useful monitoring tool in this setting owing to treatment-related suppression of the disease-unrelated light chain. It is also important to emphasise that the free light chain assay is not recommended as a replacement for 24-hour urine protein electrophoresis for monitoring of myeloma patients with measurable urinary paraproteins.

There is no clear evidence to guide appropriate retesting intervals. However, rapid changes are possible in particular since the half-life of serum free light chains (2 to 4 h) is much shorter than intact immunoglobulins (8-21 d). In myeloma kidney, recovery of renal function in patients requires an early substantial reduction in serum free light chain concentrations, warranting frequent retesting[[75](#_ENREF_75)], perhaps at monthly or quarterly intervals.

Caution is warranted in the interpretation of repeated measurement of free light chains. There can be significant lot-to-lot variation between batches of polyclonal free light chain antiserum. Indeed, the / ratio can even “double” artifactually in a patient with a stable disease[[76](#_ENREF_76)]. Thus, as in the case for 24-hour urine protein measurements, a change of up to 50% in the involved free light chain concentration may not necessarily be significant. Furthermore, antigen excess errors can cause highly spurious trends in repeat measurements, which sometimes can lead to the erroneous conclusion that disease progression is occurring[[77](#_ENREF_77)].

*****2-microglobulin***

2-microglobulin concentration at presentation is the best prognostic indicator for multiple myeloma[[78](#_ENREF_78)]. Half-life is only 1-3 h providing a rationale for frequent repeated measurement in this disease. However, falls in 2-microglobulin parallel those observed for paraproteins and it has been argued that little additional information is gained from measurement of both of these disease markers[[79](#_ENREF_79)].

**ALLERGY**

***Specific IgE in food allergy***

In general, the magnitude of specific IgE that is reactive against a food allergen correlates with the likelihood but not severity of true IgE-mediated allergy. In keeping with this, values of specific IgE have been defined that have a positive predictive value (PPV) of 95% for childhood allergy to egg, milk, peanuts, tree nuts or fish[[80](#_ENREF_80)]. With lower levels and depending upon the history, diagnosis of food allergy may also require additional testing such as skin prick tests and supervised open food challenge.

In the setting of previously diagnosed food allergy, serial measurement of specific IgE may also be useful in monitoring of allergic status. This is particularly the case in children with allergy to cows milk and egg. Over 90% of children with cows milk allergy will become tolerant by 6 years of age[[81](#_ENREF_81)] while 66% of children with egg allergy acquire tolerance after 5 years of follow-up[[82](#_ENREF_82)]. Progressive development of tolerance can be predicted by lowered levels of specific IgE, combined with declining reactivity in skin prick testing and may be confirmed by judicious use of open food challenge[[83](#_ENREF_83)].

***Total IgE***

In some circumstances, serial measurement of total IgE may be if use in disease monitoring. For example, in patients with allergic bronchopulmonary aspergillosis, total serum IgE provides a measure of disease status and response to corticosteroids[[84](#_ENREF_84)]. However, IgE measurement is not useful in monitoring the depletion of this isotype by anti-IgE (omalizumab) therapy since commonly used assays do not distinguish between free and omalizumab-complexed forms of this antibody[[85](#_ENREF_85)].

**GASTROENTEROLOGY AND HEPATOLOGY**

***Coeliac serology***

Coeliac screening generally involves the measurement of IgA anti-tissue transglutaminase (tTG) antibodies, often followed by confirmatory testing for IgA anti-endomysial antibodies. Serological testing for these antibodies is highly useful in identifying individuals who may have coeliac disease (and who generally require duodenal biopsy while on a gluten-containing diet to confirm the diagnosis). Antibody testing has been advocated to aid disease monitoring in two circumstances. First, periodic retesting may be performed in an effort to assess compliance with a gluten-free diet in patients with an established diagnosis of coeliac disease. Second, repeated serological screening is commonly undertaken to detect the development of coeliac disease, particularly individuals at higher risk such as patients with type 1 diabetes. Importantly however, sequential serological testing in coeliac disease is compromised by the fact that assays are not standardised[[86](#_ENREF_86)].

In the sections that follow, these potential areas of disease monitoring are considered in turn.

**Monitoring compliance with a gluten-free diet:** Both anti-tTG IgA and anti-endomysial IgA antibodies can normalise on a gluten-free diet and can increase in titre following re-exposure to gluten. However, the value of repeated measurement of these antibodies in the monitoring of patients with coeliac disease remains complex and controversial. Anti-tTG IgA antibody levels were reported to be scarcely reliable in some[[87-89](#_ENREF_87)], but not all[[90](#_ENREF_90)] studies in detecting compliance with a gluten-free diet, when compared with duodenal biopsy. Despite following such a diet for 2 years with normalisation of anti-tTG IgA antibody levels, villous atrophy had not improved in 25% of asymptomatic adults[[91](#_ENREF_91)]. Furthermore, in patients with associated autoimmune disorders such as type 1 diabetes, anti-tTG IgA antibody levels may remain elevated despite dietary compliance and thus may not be useful for this purpose in such patients[[92](#_ENREF_92)]. In keeping with this, Armstrong and colleagues have recently concluded that repeat testing of anti-tTG IgA in patients diagnosed with coeliac disease and managed with a gluten-free diet is not indicated to confirm response to treatment. They acknowledge that studies have shown that quantitative results of anti-tTG IgA assays do commonly change in response to the initiation of a gluten-free diet. However, they point out that there is no evidence to suggest that regular, continued monitoring of anti-tTG titres improves outcomes[[93](#_ENREF_93)].

The Ontario Health Technology Advisory Committee have also commented on this issue. They concluded that: “Repeat serologic testing for patients diagnosed with celiac disease is reasonable for those patients who remain symptomatic despite strict adherence to a gluten-free diet. In this case, serologic testing for celiac disease should not be repeated more that once a year for each patient”[[94](#_ENREF_94)]. Taken together, these considerations argue that repeated testing of anti-tTG IgA antibodies in patients with an established diagnosis of coeliac disease is of highly limited value.

**Monitoring high-risk populations for development of coeliac disease:** High-risk populations such as individuals with type 1 diabetes are often monitored periodically using anti-tTG IgA and/ or anti-endomysial IgA assays for the development of coeliac disease. To facilitate this process, the European Society for Pediatric Gastroenterology, Hepatology and Nutrition (ESPGHAN) have recently recommended initial testing for coeliac disease-associated HLA alleles (HLA-DQ2/ DQ8) in order to ascertain which of these children warrant such monitoring. However, no firm evidence exists as to how frequently coeliac serology should be re-tested in individuals who have these disease-associated alleles. In the face of this lack of evidence, it was the opinion of the ESPGHAN working group that testing should be undertaken every 2 to 3 years[[95](#_ENREF_95)]. To complicate matters further, recent data suggests that positivity for one or both coeliac disease-associated antibodies can spontaneously revert in some individuals, particularly children, who maintain a gluten-containing diet[[96](#_ENREF_96), [97](#_ENREF_97)].

The National Institute for Clinical Excellence has also commented on the issue of repeated serological testing for coeliac disease. It has concluded that “there is a lack of evidence on the need for repeat testing. Studies are needed to determine whether serological tests should be repeated if the initial results are negative and there is no high clinical suspicion of coeliac disease, and if so, when and how often they should be repeated”[[98](#_ENREF_98)]. It is clear that further research is required to clarify the optimum means to achieve such monitoring.

***Autoimmune liver disease***

Autoimmune hepatitis is characterized by hypergammaglobulinaemia accompanied by either ANA and anti-smooth muscle (ASM) antibodies (type 1) or anti-liver kidney microsomal (LKM)-1 antibodies (type 2 disease). Anti-LC1 antibodies may also be detected, more commonly in European patients and in the absence of ANA or SMA[[99](#_ENREF_99)]. However, autoantibody titers in adults correlate imprecisely with disease severity, clinical course, and treatment response[[4](#_ENREF_4), [100](#_ENREF_100)]. By contrast, IgG levels and autoantibody titres have all been correlated with disease activity in children with this disease[[101](#_ENREF_101)], providing a rationale for repeated measurement.

Anti-mitochondrial antibodies reactive against the 2-oxodehydrogenase complex – previously named anti-M2 mitochondrial antibodies – are excellent serological markers for the serological diagnosis of primary biliary cirrhosis. However, these antibodies do not correlate with any clinical, histological or laboratory parameters of disease. Antibody titres remain stable over time[[102](#_ENREF_102)] and are not influenced by ursodeoxhcholate treatment. Furthermore, antibody titres decrease only transiently after liver transplantation[[103](#_ENREF_103), [104](#_ENREF_104)].

**HUMAN IMMUNODEFICIENCY VIRUS INFECTION**

***CD4 counts in HIV***

Monitoring CD4 cell counts in asymptomatic HIV-1 infected patients to decide when to start antiretroviral therapy is unanimously recommended and is cost-effective. However, no recommendations have yet been formulated regarding the optimal frequency of CD4 monitoring, which most UK practitioners perform every 3–4 mo[[105](#_ENREF_105)]. Although formal guidelines do not exist, a recent study suggests that this frequency of testing may be excessive in those whose CD4 counts are well above the treatment threshold[[106](#_ENREF_106)].

**DERMATOLOGY**

In autoimmune blistering skin disease, diagnosis relies upon histopathological analysis of a skin biopsy together with direct immunofluorescence microscopy to demonstrate tissue-bound autoantibodies and/or C3 in the patient’s skin or mucous membranes. Nonetheless, skin antibody testing (commonly by indirect immunfluorescence) provides useful information in the monitoring of these conditions. Increasingly however, as target autoantigens are being identified, ELISAs are being produced which can be used to measure antibody levels over the course of the disease. Target antigens include desmoglein 3 (pemphigus vulgaris), desmoglein 1 (pemphigus foliaceus), envoplakin (paraneoplastic pemphigus), NC16A domain of BP180 (bullous pemphigoid/ pemphigus gestationis/ mucous membrane pemphigoid) and type VII collagen (epidermolysis bullosa acquisita). In general, a reduction in antibody level can be demonstrated with disease remission, although the correlation is by no means absolute[[107-109](#_ENREF_107)].

**IMMUNE MONITORING IN CLINICAL IMMUNOLOGY**

***Serum immunoglobulin measurements***

Serum immunoglobulin concentrations (IgG, IgA, and IgM) are markedly raised in many autoimmune diseases. However, the magnitude of increase of these proteins is not related to the severity of disease; repeated measurements are therefore not useful[[110](#_ENREF_110)].

Trough IgG levels provide a useful marker of adequacy of immunoglobulin replacement therapy in many patients with hypogammaglobulinaemia. Repeated measurement at least quarterly is recommended by the UK primary immunodeficiency network. (<http://www.ukpin.org.uk/home/standards-CVID.htm>, accessed February 21st, 2013).

**CONCLUSION**

Immunology laboratories make an enormous contribution to the diagnosis of several disorders. However, the role of immunology testing in disease monitoring has been subject to considerably less scrutiny. In this review, evidence has been evaluated to assess the role of several commonly requested tests in disease monitoring. Some investigations, such as paraprotein quantification or measurement of anti-GBM antibody titres, provide critical information to inform therapeutic decision-making. However, in many other cases, repeated performance of immunology tests generates data that do not alter disease management or accurately reflect disease status. As ever, liaison between clinical and laboratory staff remains vital to achieve optimal evidence-based selection and interpretation of test results to guide disease management.

**REFERENCES**

1 **Huissoon AP**, Carlton SA. Unnecessary repeat requesting of tests in a university teaching hospital immunology laboratory: an audit. *J Clin Pathol* 2002; **55**: 78 [PMID: 11825933 DOI: 10.1136/jcp.55.1.78-a]

2 **Kwok J**, Jones B. Unnecessary repeat requesting of tests: an audit in a government hospital immunology laboratory. *J Clin Pathol* 2005; **58**: 457-462 [PMID: 15858114 DOI: 10.1136/jcp.2004.021691]

3 **Unsworth DJ**, Smith FJ, Lock RJ. Targeting coeliac disease serology. *BMJ* 2012; **345**: e8120 [PMID: 23230228 DOI: 10.1136/bmj.e8120]

4 **Solomon DH**, Kavanaugh AJ, Schur PH. Evidence-based guidelines for the use of immunologic tests: antinuclear antibody testing. *Arthritis Rheum* 2002; **47**: 434-444 [PMID: 12209492 DOI: 10.1002/art.10561]

5 **Tozzoli R**, Bizzaro N, Tonutti E, Villalta D, Bassetti D, Manoni F, Piazza A, Pradella M, Rizzotti P. Guidelines for the laboratory use of autoantibody tests in the diagnosis and monitoring of autoimmune rheumatic diseases. *Am J Clin Pathol* 2002; **117**: 316-324 [PMID: 11863229 DOI: 10.1309/Y5VF-C3DM-L8XV-U053]

6 **Kavanaugh A**, Tomar R, Reveille J, Solomon DH, Homburger HA. Guidelines for clinical use of the antinuclear antibody test and tests for specific autoantibodies to nuclear antigens. American College of Pathologists. *Arch Pathol Lab Med* 2000; **124**: 71-81 [PMID: 10629135]

7 **Arbuckle MR**, McClain MT, Rubertone MV, Scofield RH, Dennis GJ, James JA, Harley JB. Development of autoantibodies before the clinical onset of systemic lupus erythematosus. *N Engl J Med* 2003; **349**: 1526-1533 [PMID: 14561795 DOI: 10.1056/NEJMoa021933]

8 . Guidelines for referral and management of systemic lupus erythematosus in adults. American College of Rheumatology Ad Hoc Committee on Systemic Lupus Erythematosus Guidelines. *Arthritis Rheum* 1999; **42**: 1785-1796 [PMID: 10513791 DOI: 3.0.CO; 2-#']

9 **ter Borg EJ**, Horst G, Hummel EJ, Limburg PC, Kallenberg CG. Measurement of increases in anti-double-stranded DNA antibody levels as a predictor of disease exacerbation in systemic lupus erythematosus. A long-term, prospective study. *Arthritis Rheum* 1990; **33**: 634-643 [PMID: 2346519 DOI: 10.1002/art.1780330505]

10 **Egner W**. The use of laboratory tests in the diagnosis of SLE. *J Clin Pathol* 2000; **53**: 424-432 [PMID: 10911799 DOI: 10.1136/jcp.53.6.424]

11 **Kavanaugh AF**, Solomon DH. Guidelines for immunologic laboratory testing in the rheumatic diseases: anti-DNA antibody tests. *Arthritis Rheum* 2002; **47**: 546-555 [PMID: 12382306 DOI: 10.1002/art.10558]

12 **Moroni G**, Radice A, Giammarresi G, Quaglini S, Gallelli B, Leoni A, Li Vecchi M, Messa P, Sinico RA. Are laboratory tests useful for monitoring the activity of lupus nephritis? A 6-year prospective study in a cohort of 228 patients with lupus nephritis. *Ann Rheum Dis* 2009; **68**: 234-237 [PMID: 18718989 DOI: 10.1136/ard.2008.094508]

13 **Villegas-Zambrano N**, Martínez-Taboada VM, Bolívar A, San Martín M, Alvarez L, Marín MJ, López-Hoyos M. Correlation between clinical activity and serological markers in a wide cohort of patients with systemic lupus erythematosus: an eight-year prospective study. *Ann N Y Acad Sci* 2009; **1173**: 60-66 [PMID: 19758133 DOI: 10.1111/j.1749-6632.2009.04650.x]

14 **Lane SK**, Gravel JW. Clinical utility of common serum rheumatologic tests. *Am Fam Physician* 2002; **65**: 1073-1080 [PMID: 11925083]

15 **Moder KG**. Use and interpretation of rheumatologic tests: a guide for clinicians. *Mayo Clin Proc* 1996; **71**: 391-396 [PMID: 8637264 DOI: 10.4065/71.4.391]

16 **Tench CM**, Isenberg DA. The variation in anti-ENA characteristics between different ethnic populations with systemic lupus erythematosus over a 10-year period. *Lupus* 2000; **9**: 374-376 [PMID: 10878731 DOI: 10.1191/096120300678828451]

17 **Faria AC**, Barcellos KS, Andrade LE. Longitudinal fluctuation of antibodies to extractable nuclear antigens in systemic lupus erythematosus. *J Rheumatol* 2005; **32**: 1267-1272 [PMID: 15996063]

18 **Benito-Garcia E**, Schur PH, Lahita R. Guidelines for immunologic laboratory testing in the rheumatic diseases: anti-Sm and anti-RNP antibody tests. *Arthritis Rheum* 2004; **51**: 1030-1044 [PMID: 15593352 DOI: 10.1002/art.20836]

19 **Reveille JD**, Solomon DH. Evidence-based guidelines for the use of immunologic tests: anticentromere, Scl-70, and nucleolar antibodies. *Arthritis Rheum* 2003; **49**: 399-412 [PMID: 12794797 DOI: 10.1002/art.11113]

20 **Wagner-Weiner L**. Laboratory evaluation of children with rheumatic disease. *Pediatr Ann* 2002; **31**: 362-371 [PMID: 12073740]

21 **Ursum J**, Bos WH, van Dillen N, Dijkmans BA, van Schaardenburg D. Levels of anti-citrullinated protein antibodies and IgM rheumatoid factor are not associated with outcome in early arthritis patients: a cohort study. *Arthritis Res Ther* 2010; **12**: R8 [PMID: 20064278 DOI: 10.1186/ar2907]

22 **Burr ML**, Viatte S, Bukhari M, Plant D, Symmons DP, Thomson W, Barton A. Long-term stability of anti-cyclic citrullinated peptide antibody status in patients with early inflammatory polyarthritis. *Arthritis Res Ther* 2012; **14**: R109 [PMID: 22571727 DOI: 10.1186/ar3834]

23 **Barra L**, Pope J, Bessette L, Haraoui B, Bykerk V. Lack of seroconversion of rheumatoid factor and anti-cyclic citrullinated peptide in patients with early inflammatory arthritis: a systematic literature review. *Rheumatology (Oxford)* 2011; **50**: 311-316 [PMID: 20621983 DOI: 10.1093/rheumatology/keq190]

24 **Landmann T**, Kehl G, Bergner R. The continuous measurement of anti-CCP-antibodies does not help to evaluate the disease activity in anti-CCP-antibody-positive patients with rheumatoid arthritis. *Clin Rheumatol* 2010; **29**: 1449-1453 [PMID: 20838835 DOI: 10.1007/s10067-010-1557-5]

25 **Wilson WA**, Gharavi AE, Koike T, Lockshin MD, Branch DW, Piette JC, Brey R, Derksen R, Harris EN, Hughes GR, Triplett DA, Khamashta MA. International consensus statement on preliminary classification criteria for definite antiphospholipid syndrome: report of an international workshop. *Arthritis Rheum* 1999; **42**: 1309-1311 [PMID: 10403256 DOI: 3.0.CO; 2-F']

26 **Miyakis S**, Lockshin MD, Atsumi T, Branch DW, Brey RL, Cervera R, Derksen RH, DE Groot PG, Koike T, Meroni PL, Reber G, Shoenfeld Y, Tincani A, Vlachoyiannopoulos PG, Krilis SA. International consensus statement on an update of the classification criteria for definite antiphospholipid syndrome (APS). *J Thromb Haemost* 2006; **4**: 295-306 [PMID: 16420554 DOI: 10.1111/j.1538-7836.2006.01753.x]

27 **Vila P**, Hernández MC, López-Fernández MF, Batlle J. Prevalence, follow-up and clinical significance of the anticardiolipin antibodies in normal subjects. *Thromb Haemost* 1994; **72**: 209-213 [PMID: 7831653]

28 **Erkan D**, Derksen WJ, Kaplan V, Sammaritano L, Pierangeli SS, Roubey R, Lockshin MD. Real world experience with antiphospholipid antibody tests: how stable are results over time? *Ann Rheum Dis* 2005; **64**: 1321-1325 [PMID: 15731290 DOI: 10.1136/ard.2004.031856]

29 **Savige J**, Gillis D, Benson E, Davies D, Esnault V, Falk RJ, Hagen EC, Jayne D, Jennette JC, Paspaliaris B, Pollock W, Pusey C, Savage CO, Silvestrini R, van der Woude F, Wieslander J, Wiik A. International Consensus Statement on Testing and Reporting of Antineutrophil Cytoplasmic Antibodies (ANCA) *Am J Clin Pathol* 1999; **111**: 507-513 [PMID: 10191771]

30 **Savige J**, Dimech W, Fritzler M, Goeken J, Hagen EC, Jennette JC, McEvoy R, Pusey C, Pollock W, Trevisin M, Wiik A, Wong R. Addendum to the International Consensus Statement on testing and reporting of antineutrophil cytoplasmic antibodies. Quality control guidelines, comments, and recommendations for testing in other autoimmune diseases. *Am J Clin Pathol* 2003; **120**: 312-318 [PMID: 14502794 DOI: 10.1309/WAEPADW0K4LPUHFN]

31 **Tervaert JW**, Huitema MG, Hené RJ, Sluiter WJ, The TH, van der Hem GK, Kallenberg CG. Prevention of relapses in Wegener's granulomatosis by treatment based on antineutrophil cytoplasmic antibody titre. *Lancet* 1990; **336**: 709-711 [PMID: 1975893 DOI: 10.1016/0140-6736(90)92205-V]

32 **Boomsma MM**, Stegeman CA, van der Leij MJ, Oost W, Hermans J, Kallenberg CG, Limburg PC, Tervaert JW. Prediction of relapses in Wegener's granulomatosis by measurement of antineutrophil cytoplasmic antibody levels: a prospective study. *Arthritis Rheum* 2000; **43**: 2025-2033 [PMID: 11014352 DOI: 3.0.CO; 2-O']

33 **Nowack R**, Grab I, Flores-Suarèz LF, Schnülle P, Yard B, van der Woude FJ. ANCA titres, even of IgG subclasses, and soluble CD14 fail to predict relapses in patients with ANCA-associated vasculitis. *Nephrol Dial Transplant* 2001; **16**: 1631-1637 [PMID: 11477166 DOI: 10.1093/ndt/16.8.1631]

34 **Birck R**, Schmitt WH, Kaelsch IA, van der Woude FJ. Serial ANCA determinations for monitoring disease activity in patients with ANCA-associated vasculitis: systematic review. *Am J Kidney Dis* 2006; **47**: 15-23 [PMID: 16377381 DOI: 10.1053/j.ajkd.2005.09.022]

35 **Finkielman JD**, Merkel PA, Schroeder D, Hoffman GS, Spiera R, St Clair EW, Davis JC, McCune WJ, Lears AK, Ytterberg SR, Hummel AM, Viss MA, Peikert T, Stone JH, Specks U. Antiproteinase 3 antineutrophil cytoplasmic antibodies and disease activity in Wegener granulomatosis. *Ann Intern Med* 2007; **147**: 611-619 [PMID: 17975183 DOI: 10.7326/0003-4819-147-9-200711060-00005]

36 **Tomasson G**, Grayson PC, Mahr AD, Lavalley M, Merkel PA. Value of ANCA measurements during remission to predict a relapse of ANCA-associated vasculitis--a meta-analysis. *Rheumatology (Oxford)* 2012; **51**: 100-109 [PMID: 22039267 DOI: 10.1093/rheumatology/ker280]

37 **Specks U**. Controversies in ANCA testing. *Cleve Clin J Med* 2012; **79** Suppl **3**: S7-11 [PMID: 23203649 DOI: 10.3949/ccjm.79.s3.02]

38 **Walsh M**, Flossmann O, Berden A, Westman K, Höglund P, Stegeman C, Jayne D. Risk factors for relapse of antineutrophil cytoplasmic antibody-associated vasculitis. *Arthritis Rheum* 2012; **64**: 542-548 [PMID: 21953279 DOI: 10.1002/art.33361]

39 **Slot MC**, Tervaert JW, Boomsma MM, Stegeman CA. Positive classic antineutrophil cytoplasmic antibody (C-ANCA) titer at switch to azathioprine therapy associated with relapse in proteinase 3-related vasculitis. *Arthritis Rheum* 2004; **51**: 269-273 [PMID: 15077271 DOI: 10.1002/art.20234]

40 **Geetha D**, Seo P. Renal transplantation in the ANCA-associated vasculitides. *Am J Transplant* 2007; **7**: 2657-2662 [PMID: 17908271 DOI: 10.1111/j.1600-6143.2007.01988.x]

41 **Ting CK**, Hsieh KH. A long-term immunological study of childhood onset systemic lupus erythematosus. *Ann Rheum Dis* 1992; **51**: 45-51 [PMID: 1540037 DOI: 10.1136/ard.51.1.45]

42 Tsokos GC, Gordon C, Smolen JS. (2007) Systemic Lupus Erythematosis. 1st edition Mosby.

43 **Sinico RA**, Rimoldi L, Radice A, Bianchi L, Gallelli B, Moroni G. Anti-C1q autoantibodies in lupus nephritis. *Ann N Y Acad Sci* 2009; **1173**: 47-51 [PMID: 19758131 DOI: 10.1111/j.1749-6632.2009.04746.x]

44 **Akhter E**, Burlingame RW, Seaman AL, Magder L, Petri M. Anti-C1q antibodies have higher correlation with flares of lupus nephritis than other serum markers. *Lupus* 2011; **20**: 1267-1274 [PMID: 21813587 DOI: 10.1177/0961203311411597]

45 **Sinclair D**, Stevens JM. Role of antineutrophil cytoplasmic antibodies and glomerular basement membrane antibodies in the diagnosis and monitoring of systemic vasculitides. *Ann Clin Biochem* 2007; **44**: 432-442 [PMID: 17761028 DOI: 10.1258/000456307781646049]

46 **Sanchez AP**, Ward DM. Therapeutic apheresis for renal disorders. *Semin Dial* 2012; **25**: 119-131 [PMID: 22428811 DOI: 10.1111/j.1525-139X.2011.01022.x]

47 **Gilhus NE**, Owe JF, Hoff JM, Romi F, Skeie GO, Aarli JA. Myasthenia gravis: a review of available treatment approaches. *Autoimmune Dis* 2011; **2011**: 847393 [PMID: 22007295 DOI: 10.4061/2011/847393]

48 **Tindall RS**. Humoral immunity in myasthenia gravis: clinical correlations of anti-receptor antibody avidity and titer. *Ann N Y Acad Sci* 1981; **377**: 316-331 [PMID: 6803647 DOI: 10.1111/j.1749-6632.1981.tb33741.x]

49 **Vincent A**, Newsom Davis J. Anti-acetylcholine receptor antibodies. *J Neurol Neurosurg Psychiatry* 1980; **43**: 590-600 [PMID: 7400823 DOI: 10.1136/jnnp.43.7.590]

50 **Blum S**, Gillis D, Brown H, Boyle R, Henderson R, Heyworth-Smith D, Hogan P, Kubler P, Lander C, Limberg N, Pillans P, Prain K, Staples C, Walsh M, McCombe P, Wong R. Use and monitoring of low dose rituximab in myasthenia gravis. *J Neurol Neurosurg Psychiatry* 2011; **82**: 659-663 [PMID: 21071753 DOI: 10.1136/jnnp.2010.220475]

51 **Chan KH**, Lachance DH, Harper CM, Lennon VA. Frequency of seronegativity in adult-acquired generalized myasthenia gravis. *Muscle Nerve* 2007; **36**: 651-658 [PMID: 17654558 DOI: 10.1002/mus.20854]

52 **Bartoccioni E**, Scuderi F, Minicuci GM, Marino M, Ciaraffa F, Evoli A. Anti-MuSK antibodies: correlation with myasthenia gravis severity. *Neurology* 2006; **67**: 505-507 [PMID: 16894117 DOI: 10.1212/01.wnl.0000228225.23349.5d]

53 **Romi F**. Thymoma in myasthenia gravis: from diagnosis to treatment. *Autoimmune Dis* 2011; **2011**: 474512 [PMID: 21860784 DOI: 10.4061/2011/474512]

54 **Sellner J**, Boggild M, Clanet M, Hintzen RQ, Illes Z, Montalban X, Du Pasquier RA, Polman CH, Sorensen PS, Hemmer B. EFNS guidelines on diagnosis and management of neuromyelitis optica. *Eur J Neurol* 2010; **17**: 1019-1032 [PMID: 20528913 DOI: 10.1111/j.1468-1331.2010.03066.x]

55 **Chanson JB**, de Seze J, Eliaou JF, Vincent T. Immunological follow-up of patients with neuromyelitis optica: is there a good biomarker? *Lupus* 2013; **22**: 229-232 [PMID: 23172901]

56 **Jaben EA**, Winters JL. Plasma exchange as a therapeutic option in patients with neurologic symptoms due to antibodies to voltage-gated potassium channels: a report of five cases and review of the literature. *J Clin Apher* 2012; **27**: 267-273 [PMID: 22532193 DOI: 10.1002/jca.21233]

57 **Simister RJ**, Ng K, Lang B, Beckles M, Chao D, McCabe DJ. Sequential fluctuating paraneoplastic ocular flutter-opsoclonus-myoclonus syndrome and Lambert-Eaton myasthenic syndrome in small-cell lung cancer. *J Neurol Neurosurg Psychiatry* 2011; **82**: 344-346 [PMID: 20392978 DOI: 10.1136/jnnp.2009.172684]

58 **Maddison P**, Lang B, Mills K, Newsom-Davis J. Long term outcome in Lambert-Eaton myasthenic syndrome without lung cancer. *J Neurol Neurosurg Psychiatry* 2001; **70**: 212-217 [PMID: 11160470 DOI: 10.1136/jnnp.70.2.212]

59 **Irani SR**, Vincent A. The expanding spectrum of clinically-distinctive, immunotherapy-responsive autoimmune encephalopathies. *Arq Neuropsiquiatr* 2012; **70**: 300-304 [PMID: 22510741 DOI: 10.1590/S0004-282X2012000400015]

60 **Chavada G**, Willison HJ. Autoantibodies in immune-mediated neuropathies. *Curr Opin Neurol* 2012; **25**: 550-555 [PMID: 22941260 DOI: 10.1097/WCO.0b013e328357a77f]

61 **Press R**, Matá S, Lolli F, Zhu J, Andersson T, Link H. Temporal profile of anti-ganglioside antibodies and their relation to clinical parameters and treatment in Guillain-Barré syndrome. *J Neurol Sci* 2001; **190**: 41-47 [PMID: 11574105 DOI: 10.1016/S0022-510X(01)00580-9]

62 **Tagawa Y**, Yuki N, Ohnishi A, Hirata K, Hosokawa S. Parameters for monitoring treatment effects in CIDP with anti-MAG/SGPG IgM antibody. *Muscle Nerve* 2001; **24**: 701-704 [PMID: 11317283 DOI: 10.1002/mus.1059]

63 **Graus F**, Delattre JY, Antoine JC, Dalmau J, Giometto B, Grisold W, Honnorat J, Smitt PS, Vedeler Ch, Verschuuren JJ, Vincent A, Voltz R. Recommended diagnostic criteria for paraneoplastic neurological syndromes. *J Neurol Neurosurg Psychiatry* 2004; **75**: 1135-1140 [PMID: 15258215 DOI: 10.1136/jnnp.2003.034447]

64 **Stich O**, Rasiah C, Rauer S. Paraneoplastic antibody during follow-up of a patient with anti-Ri-associated paraneoplastic neurological syndrome. *Acta Neurol Scand* 2009; **119**: 338-340 [PMID: 18822086 DOI: 10.1111/j.1600-0404.2008.01102.x]

65 **Bingley PJ**. Clinical applications of diabetes antibody testing. *J Clin Endocrinol Metab* 2010; **95**: 25-33 [PMID: 19875480 DOI: 10.1210/jc.2009-1365]

66 **Falorni A**, Brozzetti A, Calcinaro F, Marzotti S, Santeusanio F. Recent advances in adrenal autoimmunity. Expert Review in Clinical Endocrinology and Metabolism. 2009; **4**: 333-348. doi: 10.1586/eem.09.20

67 **Betterle C**, Dal Pra C, Mantero F, Zanchetta R. Autoimmune adrenal insufficiency and autoimmune polyendocrine syndromes: autoantibodies, autoantigens, and their applicability in diagnosis and disease prediction. *Endocr Rev* 2002; **23**: 327-364 [PMID: 12050123 DOI: 10.1210/er.23.3.327]

68 **Sinclair D**. Clinical and laboratory aspects of thyroid autoantibodies. *Ann Clin Biochem* 2006; **43**: 173-183 [PMID: 16704751 DOI: 10.1258/000456306776865043]

69 **Kyle RA**, Rajkumar SV. Criteria for diagnosis, staging, risk stratification and response assessment of multiple myeloma. *Leukemia* 2009; **23**: 3-9 [PMID: 18971951 DOI: 10.1038/leu.2008.291]

70 **Charafeddine KM**, Jabbour MN, Kadi RH, Daher RT. Extended use of serum free light chain as a biomarker in lymphoproliferative disorders: a comprehensive review. *Am J Clin Pathol* 2012; **137**: 890-897 [PMID: 22586047 DOI: 10.1309/AJCP4INKZ6LYAQXW]

71 **Dimopoulos M**, Kyle R, Fermand JP, Rajkumar SV, San Miguel J, Chanan-Khan A, Ludwig H, Joshua D, Mehta J, Gertz M, Avet-Loiseau H, Beksaç M, Anderson KC, Moreau P, Singhal S, Goldschmidt H, Boccadoro M, Kumar S, Giralt S, Munshi NC, Jagannath S. Consensus recommendations for standard investigative workup: report of the International Myeloma Workshop Consensus Panel 3. *Blood* 2011; **117**: 4701-4705 [PMID: 21292778 DOI: 10.1182/blood-2010-10-299529]

72 **Durie BG**, Harousseau JL, Miguel JS, Bladé J, Barlogie B, Anderson K, Gertz M, Dimopoulos M, Westin J, Sonneveld P, Ludwig H, Gahrton G, Beksac M, Crowley J, Belch A, Boccadaro M, Cavo M, Turesson I, Joshua D, Vesole D, Kyle R, Alexanian R, Tricot G, Attal M, Merlini G, Powles R, Richardson P, Shimizu K, Tosi P, Morgan G, Rajkumar SV. International uniform response criteria for multiple myeloma. *Leukemia* 2006; **20**: 1467-1473 [PMID: 16855634 DOI: 10.1038/sj.leu.2404284]

73 **Rajkumar SV**, Lacy MQ, Kyle RA. Monoclonal gammopathy of undetermined significance and smoldering multiple myeloma. *Blood Rev* 2007; **21**: 255-265 [PMID: 17367905 DOI: 10.1016/j.blre.2007.01.002]

74 **Dispenzieri A**, Kyle R, Merlini G, Miguel JS, Ludwig H, Hajek R, Palumbo A, Jagannath S, Blade J, Lonial S, Dimopoulos M, Comenzo R, Einsele H, Barlogie B, Anderson K, Gertz M, Harousseau JL, Attal M, Tosi P, Sonneveld P, Boccadoro M, Morgan G, Richardson P, Sezer O, Mateos MV, Cavo M, Joshua D, Turesson I, Chen W, Shimizu K, Powles R, Rajkumar SV, Durie BG. International Myeloma Working Group guidelines for serum-free light chain analysis in multiple myeloma and related disorders. *Leukemia* 2009; **23**: 215-224 [PMID: 19020545 DOI: 10.1038/leu.2008.307]

75 **Hutchison CA**, Bladé J, Cockwell P, Cook M, Drayson M, Fermand JP, Kastritis E, Kyle R, Leung N, Pasquali S, Winearls C. Novel approaches for reducing free light chains in patients with myeloma kidney. *Nat Rev Nephrol* 2012; **8**: 234-243 [PMID: 22349488 DOI: 10.1038/nrneph.2012.14]

76 **Tate JR**, Mollee P, Dimeski G, Carter AC, Gill D. Analytical performance of serum free light-chain assay during monitoring of patients with monoclonal light-chain diseases. *Clin Chim Acta* 2007; **376**: 30-36 [PMID: 16945362 DOI: 10.1016/j.cca.2006.07.011]

77 **Murata K**, Clark RJ, Lockington KS, Tostrud LJ, Greipp PR, Katzmann JA. Sharply increased serum free light-chain concentrations after treatment for multiple myeloma. *Clin Chem* 2010; **56**: 16-18 [PMID: 20040623 DOI: 10.1373/clinchem.2009.133041]

78 **Cuzick J**, De Stavola BL, Cooper EH, Chapman C, MacLennan IC. Long-term prognostic value of serum beta 2 microglobulin in myelomatosis. *Br J Haematol* 1990; **75**: 506-510 [PMID: 2119793 DOI: 10.1111/j.1365-2141.1990.tb07790.x]

79 **Sinclair D**, Cranfield T, Ganczakowski M. Paraprotein and beta2-microglobulin analyses in multiple myeloma--do we need to monitor both? *Clin Lab* 2003; **49**: 129-134 [PMID: 12705694]

80 **Stiefel G**, Roberts G. How to use serum-specific IgE measurements in diagnosing and monitoring food allergy. *Arch Dis Child Educ Pract Ed* 2012; **97**: 29-36; quiz 34 [PMID: 22241905 DOI: 10.1136/archdischild-2011-300569]

81 **Koletzko S**, Niggemann B, Arato A, Dias JA, Heuschkel R, Husby S, Mearin ML, Papadopoulou A, Ruemmele FM, Staiano A, Schäppi MG, Vandenplas Y. Diagnostic approach and management of cow's-milk protein allergy in infants and children: ESPGHAN GI Committee practical guidelines. *J Pediatr Gastroenterol Nutr* 2012; **55**: 221-229 [PMID: 22569527 DOI: 10.1097/MPG.0b013e31825c9482]

82 **Boyano-Martínez T**, García-Ara C, Díaz-Pena JM, Martín-Esteban M. Prediction of tolerance on the basis of quantification of egg white-specific IgE antibodies in children with egg allergy. *J Allergy Clin Immunol* 2002; **110**: 304-309 [PMID: 12170273 DOI: 10.1067/mai.2002.126081]

83 **Thong BY**, Hourihane JO. Monitoring of IgE-mediated food allergy in childhood. *Acta Paediatr* 2004; **93**: 759-764 [PMID: 15244223 DOI: 10.1111/j.1651-2227.2004.tb03014.x]

84 **Agarwal R**, Garg M, Aggarwal AN, Saikia B, Gupta D, Chakrabarti A. Serologic allergic bronchopulmonary aspergillosis (ABPA-S): long-term outcomes. *Respir Med* 2012; **106**: 942-947 [PMID: 22445696 DOI: 10.1016/j.rmed.2012.03.001]

85 **Korn S**, Haasler I, Fliedner F, Becher G, Strohner P, Staatz A, Taube C, Buhl R. Monitoring free serum IgE in severe asthma patients treated with omalizumab. *Respir Med* 2012; **106**: 1494-1500 [PMID: 22884459 DOI: 10.1016/j.rmed.2012.07.010]

86 **Li M**, Yu L, Tiberti C, Bonamico M, Taki I, Miao D, Murray JA, Rewers MJ, Hoffenberg EJ, Agardh D, Mueller P, Stern M, Bonifacio E, Liu E. A report on the International Transglutaminase Autoantibody Workshop for Celiac Disease. *Am J Gastroenterol* 2009; **104**: 154-163 [PMID: 19098864 DOI: 10.1038/ajg.2008.8]

87 **Vahedi K**, Mascart F, Mary JY, Laberenne JE, Bouhnik Y, Morin MC, Ocmant A, Velly C, Colombel JF, Matuchansky C. Reliability of antitransglutaminase antibodies as predictors of gluten-free diet compliance in adult celiac disease. *Am J Gastroenterol* 2003; **98**: 1079-1087 [PMID: 12809831 DOI: S0002927002060069]

88 **Kaukinen K**, Sulkanen S, Mäki M, Collin P. IgA-class transglutaminase antibodies in evaluating the efficacy of gluten-free diet in coeliac disease. *Eur J Gastroenterol Hepatol* 2002; **14**: 311-315 [PMID: 11953698 DOI: 10.1097/00042737-200203000-00017]

89 **Monzani A**, Rapa A, Fonio P, Tognato E, Panigati L, Oderda G. Use of deamidated gliadin peptide antibodies to monitor diet compliance in childhood celiac disease. *J Pediatr Gastroenterol Nutr* 2011; **53**: 55-60 [PMID: 21694536 DOI: 10.1097/MPG.0b013e3182145511]

90 **Bazzigaluppi E**, Roggero P, Parma B, Brambillasca MF, Meroni F, Mora S, Bosi E, Barera G. Antibodies to recombinant human tissue-transglutaminase in coeliac disease: diagnostic effectiveness and decline pattern after gluten-free diet. *Dig Liver Dis* 2006; **38**: 98-102 [PMID: 16386476]

91 **Vivas S**, Ruiz de Morales JG, Riestra S, Arias L, Fuentes D, Alvarez N, Calleja S, Hernando M, Herrero B, Casqueiro J, Rodrigo L. Duodenal biopsy may be avoided when high transglutaminase antibody titers are present. *World J Gastroenterol* 2009; **15**: 4775-4780 [PMID: 19824110 DOI: 10.3748/wjg.15.4775]

92 **Pietzak MM**. Follow-up of patients with celiac disease: achieving compliance with treatment. *Gastroenterology* 2005; **128**: S135-S141 [PMID: 15825121 DOI: 10.1053/j.gastro.2005.02.025]

93 **Armstrong D**, Don-Wauchope AC, Verdu EF. Testing for gluten-related disorders in clinical practice: the role of serology in managing the spectrum of gluten sensitivity. *Can J Gastroenterol* 2011; **25**: 193-197 [PMID: 21523259]

94 Medical Advisory Secretariat. Clinical utility of serologic testing for celiac disease in Ontario: an evidence-based analysis. Ont Health Technol Assess Ser [Internet]. 2010 December [cited 2013 01 05]; 10(21) 1-111. Available from: http: //www.health.gov.on.ca/english/providers/program/mas/tech/reviews/pdf/rev\_celiac\_20101210.pdf.

95 **Husby S**, Koletzko S, Korponay-Szabó IR, Mearin ML, Phillips A, Shamir R, Troncone R, Giersiepen K, Branski D, Catassi C, Lelgeman M, Mäki M, Ribes-Koninckx C, Ventura A, Zimmer KP. European Society for Pediatric Gastroenterology, Hepatology, and Nutrition guidelines for the diagnosis of coeliac disease. *J Pediatr Gastroenterol Nutr* 2012; **54**: 136-160 [PMID: 22197856 DOI: 10.1097/MPG.0b013e31821a23d0]

96 **Waisbourd-Zinman O**, Hojsak I, Rosenbach Y, Mozer-Glassberg Y, Shalitin S, Phillip M, Shamir R. Spontaneous normalization of anti-tissue transglutaminase antibody levels is common in children with type 1 diabetes mellitus. *Dig Dis Sci* 2012; **57**: 1314-1320 [PMID: 22173747 DOI: 10.1007/s10620-011-2016-0]

97 **Lundin KE**. Commentary: transient coeliac disease back on stage again? *Scand J Gastroenterol* 2005; **40**: 1137-1139 [PMID: 16165700 DOI: 10.1080/00365520500206608]

98 National Institute for Health and Clinical Excellence. (2009) Coeliac disease. Recognition and assessment of coeliac disease. NICE clinical guideline 86: http: //publications.nice.org.uk/coeliac-disease-cg86.

99 **Manns MP**, Czaja AJ, Gorham JD, Krawitt EL, Mieli-Vergani G, Vergani D, Vierling JM. Diagnosis and management of autoimmune hepatitis. *Hepatology* 2010; **51**: 2193-2213 [PMID: 20513004 DOI: 10.1002/hep.23584]

100 **Czaja AJ**. Behavior and significance of autoantibodies in type 1 autoimmune hepatitis. *J Hepatol* 1999; **30**: 394-401 [PMID: 10190720 DOI: 10.1016/S0168-8278(99)80096-8]

101 **Gregorio GV**, McFarlane B, Bracken P, Vergani D, Mieli-Vergani G. Organ and non-organ specific autoantibody titres and IgG levels as markers of disease activity: a longitudinal study in childhood autoimmune liver disease. *Autoimmunity* 2002; **35**: 515-519 [PMID: 12765477 DOI: 10.1080/0891693021000056721]

102 **Benson GD**, Kikuchi K, Miyakawa H, Tanaka A, Watnik MR, Gershwin ME. Serial analysis of antimitochondrial antibody in patients with primary biliary cirrhosis. *Clin Dev Immunol* 2004; **11**: 129-133 [PMID: 15330448 DOI: 10.1080/10446670410001722113]

103 **Klein R**, Huizenga JR, Gips CH, Berg PA. Antimitochondrial antibody profiles in patients with primary biliary cirrhosis before orthotopic liver transplantation and titres of antimitochondrial antibody-subtypes after transplantation. *J Hepatol* 1994; **20**: 181-189 [PMID: 8006398 DOI: 10.1016/S0168-8278(05)80056-X]

104 **Nann D**, Berg CP, Preuss BE, Klein R. Analysis of the clinical relevance of antimitochondrial antibodies to the β- and γ-subunits of the F1F0-ATPase in patients with primary biliary cirrhosis. *BMC Gastroenterol* 2012; **12**: 152 [PMID: 23095491 DOI: 10.1186/1471-230X-12-152]

105 **Lomax N**, Curtis H, Johnson M. A national review of assessment and monitoring of HIV-infected patients. *HIV Med* 2009; **10**: 125-128 [PMID: 18795966 DOI: 10.1111/j.1468-1293.2008.00642.x]

106 **Buclin T**, Telenti A, Perera R, Csajka C, Furrer H, Aronson JK, Glasziou PP. Development and validation of decision rules to guide frequency of monitoring CD4 cell count in HIV-1 infection before starting antiretroviral therapy. *PLoS One* 2011; **6**: e18578 [PMID: 21494630 DOI: 10.1371/journal.pone.0018578]

107 **Leuci S**, Gürcan HM, Ahmed AR. Serological studies in bullous pemphigoid: a literature review of antibody titers at presentation and in clinical remission. *Acta Derm Venereol* 2010; **90**: 115-121 [PMID: 20169293 DOI: 10.2340/00015555-0819]

108 **Kim JH**, Kim YH, Kim S, Noh EB, Kim SE, Vorobyev A, Schmidt E, Zillikens D, Kim SC. Serum levels of anti-type VII collagen antibodies detected by enzyme-linked immunosorbent assay in patients with epidermolysis bullosa acquisita are correlated with the severity of skin lesions. *J Eur Acad Dermatol Venereol* 2013; **27**: e224-e230 [PMID: 22731917]

109 **Schmidt E**, Zillikens D. The diagnosis and treatment of autoimmune blistering skin diseases. *Dtsch Arztebl Int* 2011; **108**: 399-405, I-III [PMID: 21712975]

110 **Sheldon J**. Laboratory testing in autoimmune rheumatic diseases. *Best Pract Res Clin Rheumatol* 2004; **18**: 249-269 [PMID: 15158740]

**P-Reviewer** La Cava A  **S-Editor** Wen LL  **L-Editor**  **E-Editor**

**Table 1 A summary of clinically relevant antibodies targeted against glycolipid and glycoprotein-related saccharides**

|  |  |  |
| --- | --- | --- |
| **Neuropathy syndrome** | **Antibody target** | **Antibody isotype** |
| Chronic Sensory-Motor Demyelinating | Myelin-associated glycoprotein  Sulfoglucuronyl paragloboside | IgM (monoclonal) |
| Chronic ataxic neuropathy | GD1b, GQ1b | IgM (monoclonal) |
| Multifocal Motor neuropathy | GM1, GM2, GD1b | IgM (polyclonal or monoclonal) |
| Sensory neuropathy | Sulfatide | IgM (monoclonal or polyclonal) |
| Acute motor axonal neuropathy | GM1, GD1a, GalNAc GD1a, GM1b | IgG |
| Acute inflammatory demyelinating polyneuropathy | variable | variable |
| Miller-Fisher syndrome Bickerstaff's brainstem encephalitis Acute ophthalmoparesis Ataxic Guillain-Barré syndrome | GQ1b (“anti-GQ1b antibody syndrome”), GT1a | IgG |
| Pharyngeal-cervical-brachial weakness | GT1a (GQ1b) | IgG |
| Amyotrophic lateral sclerosis | GM1 | ?IgG |

Modified from <http://www.aetna.com/cpb/medical/data/300_399/0340.html> (accessed 8.12.2012)

**Table 2 Common clinical associations of paraproteins**[[70](#_ENREF_70)]

|  |  |
| --- | --- |
| **Disorder** | **Diagnostic features** |
| Monoclonal gammopathy of undetermined significance | **All three criteria must be met:**   * Serum monoclonal protein **<**30 g/L * Clonal bone marrow plasma cells **<**10% and * Absence of end-organ damage (“CRAB”) *e.g.* hyper**c**alcemia, **r**enal insufficiency, **a**naemia and bone lesions (CRAB) due to the plasma cell disorder |
| Smouldering myeloma | **Both criteria must be met:**   * Serum monoclonal protein (IgG or IgA) **>**30 g/L and/or clonal bone marrow plasma cells **>**10% * Absence of “CRAB”, as defined above |
| Multiple myeloma | **All three criteria must be met:**   * Clonal bone marrow plasma cells **>**10% * Presence of serum and/or urinary monoclonal protein (except in patients with true non-secretory multiple myeloma) * Evidence of “CRAB”, as defined above |
| Waldenström’s macroglobulinaemia | **Both criteria must be met:**   * IgM monoclonal gammopathy and * 10% bone marrow infiltration (usually intertrabecular) by lymphoplasmacytic cells (morphology/ immunophenotype)1 |
| IgM monoclonal gammopathy of undetermined significance | **All three criteria must be met:**   * Serum IgM monoclonal protein **<** 30 g/L * bone marrow lymphoplasmacytic infiltration **<** 10% * No evidence of anemia, constitutional symptoms, hyperviscosity, lymphadenopathy or hepatosplenomegaly |
| Smoldering Waldenström’s macroglobulinemia | **Both criteria must be met:**   * Serum IgM monoclonal protein **>** 30g/L and/or bone marrow lymphoplasmacytic infiltration **>**10% * No evidence of end-organ damage such as anemia, constitutional symptoms, hyperviscosity, lymphadenopathy or hepatosplenomegaly due to a lymphoplasma cell proliferative disorder |

1Note that other clonal B-cell disorders may be associated with paraproteins and may require careful clinical, morphological and immunophenotypic assessment for diagnosis (*e.g.*,chronic lymphocytic leukaemia, mantle cell lymphoma *etc.*).