Copyright Information of the Article Published Online

| TITLE | Application of stapling devices in liver surgery: Current status and future prospects |
| --- | --- |
| AUTHOR(s) | Dian-Bo Yao, Shuo-Dong Wu |
| CITATION | Yao DB, Wu SD. Application of stapling devices in liver surgery: Current status and future prospects. World J Gastroenterol 2016; 22(31): 7091-7098 |
| URL | http://www.wjgnet.com/1007-9327/full/v22/i31/7091.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v22.i31.7091 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Stapling devices are crucial for safe and rapid anastomosis in gastrointestinal surgery. They have been gradually introduced in open hepatectomy and laparoscopic liver surgery for dividing vascular and biliary structures and parenchymal transection. Staplers make manipulation more simple, rapid and safe. Even in single incision laparoscopic surgery, staplers are also utilized, especially in single incision laparoscopic left lateral hepatectomy. More related designs and modifications are still needed for safe application of stapling devices in liver surgery, and more randomized studies are needed to demonstrate the benefits and find broader indications for the use of stapling devices. |
| KEY WORDS | Staplers; Liver resection; Laparoscopy |
| COPYRIGHT | © The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) and 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

MINIREVIEWS

Application of stapling devices in liver surgery: Current status and future prospects

Dian-Bo Yao, Shuo-Dong Wu

Dian-Bo Yao, Shuo-Dong Wu, Second Department of General Surgery, Shengjing Hospital of China Medical University, Shenyang 110004, Liaoning Province, China

Author contributions: Yao DB and Wu SD analyzed the literature and wrote the manuscript.

Correspondence to: Shuo-Dong Wu, MD, PhD, Second Department of General Surgery, Shengjing Hospital of China Medical University, No. 36, San Hao Street, Heping District, Shenyang 110004, Liaoning Province, China. wushuodong1949@163.com

Telephone: +86-24-96615-31211   Fax: +86-24-96615-31211

Received: March 21, 2016  Revised: June 7, 2016   Accepted: June 15, 2016

Published online: August 21, 2016

Abstract

The liver is a vascular-rich solid organ. Safe and effective dissection of the vessels and liver parenchyma, and control of intraoperative bleeding are the main concerns when performing liver resection. Several studies have confirmed that intraoperative blood loss and postoperative transfusion are predictors of postoperative morbidity and mortality in liver surgery. Various methods and instruments have been developed during hepatectomy. Stapling devices are crucial for safe and rapid anastomosis. They are used to divide hepatic veins and portal branches, and to transect liver parenchyma in open liver resection. In recent years, laparoscopic liver surgery has developed rapidly, and is now preferred by many surgeons. Stapling devices have also been gradually introduced in laparoscopic liver surgery, from dividing vascular and biliary structures to parenchymal transection. This may be because staplers make manipulation more simple, rapid and safe. Even in single incision laparoscopic surgery, which is recognized as a new minimally invasive technique, staplers are also utilized, especially in left lateral hepatectomy. For safe application of stapling devices in liver surgery, more related designs and modifications, such as application of a suitable laparoscopic articulating liver tissue crushing device, a staple line reinforcement technique with the absorbable polymer membrane or radiofrequency ablation assistance, are still needed. More randomized studies are needed to demonstrate the benefits and find broader indications for the use of stapling devices, to help expand their application in liver surgery.

Key words: Staplers; Liver resection; Laparoscopy

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Yao DB, Wu SD. Application of stapling devices in liver surgery: Current status and future prospects. World J Gastroenterol 2016; 22(31): 7091-7098  Available from: URL: http://www.wjgnet.com/1007-9327/full/v22/i31/7091.htm  DOI: http://dx.doi.org/10.3748/wjg.v22.i31.7091

Core tip: Stapling devices are crucial for safe and rapid anastomosis in gastrointestinal surgery. They have been gradually introduced in open hepatectomy and laparoscopic liver surgery for dividing vascular and biliary structures and parenchymal transection. Staplers make manipulation more simple, rapid and safe. Even in single incision laparoscopic surgery, staplers are also utilized, especially in single incision laparoscopic left lateral hepatectomy. More related designs and modifications are still needed for safe application of stapling devices in liver surgery, and more randomized studies are needed to demonstrate the benefits and find broader indications for the use of stapling devices.

INTRODUCTION

The liver is a vascular-rich organ, with the need to seal and divide multiple vascular and biliary structures during resection. Over the past 30 years our understanding of hepatic anatomy and improvement in technical skills to control major vascular and biliary structures has advanced; as a result, liver resection, including wedge resection, segmental resection, left lateral sectionectomy and hemihepatectomy, has gradually developed as the main effective treatment for primary and secondary malignancies, as well as for benign diseases of the liver.

During liver resection, safe and effective dissection of liver parenchyma, and control of intraoperative bleeding are the major concerns. Several studies have confirmed that intraoperative blood loss and postoperative transfusion are predictors of postoperative morbidity and mortality in liver surgery[1,2]. Surgical technique is a major factor in prevention of complications, and various methods and instruments have been developed for safe dissection of the vessels and liver parenchyma. During liver surgery, suture and ligation of vascular and biliary structures are difficult and may be hazardous. Recently, several methods for parenchymal transection have emerged, including some selective and non-selective dissection methods. The former include the Cavitron Ultrasonic Surgical Aspirator technique and the jet cutter, whereas non-selective dissection methods include ultrasonic scalpel, scissors, high-frequency coagulation, laser technique and staplers[3]. In this review, we outline the current status of application of stapling devices in open liver surgery, laparoscopic liver surgery, and single incision laparoscopic liver surgery (SILS), and look forward to their development and future application.

TENTATIVE APPLICATION OF STAPLING DEVICES IN OPEN LIVER SURGERY

Staplers are vital instruments in rectal, colonic and esophageal surgery, allowing safe and rapid anastomosis of the gastrointestinal tract even when surgical exposure is compromised[4]. Their application has expanded in many surgical procedures, and as early as 1989 they were already being used in open liver surgery to control the hepatic veins within the hepatic parenchyma[5]. When precise isolation of the veins is difficult to achieve because they are located at the very bottom of the major scissura along the line of resection with oozing sidewalls, stapling devices can be placed over the tissue, compressed and fired to transect the hepatic vein[5]. This stapled control of the hepatic veins can be used repeatedly with uniform success, and it is recommended as a quick and efficient technique for completing hepatic resection[5]. Staplers have also been used to divide hepatic veins and portal branches. They can control both of the veins before parenchymal transection, reduce hemorrhage associated with major hepatic resection and efficiently assist in averting blood loss, thereby reducing the requirement for inflow occlusion[3,5-8]. The use of staplers can also improve the speed and safety of ligation of both inflow and outflow vessels, and facilitate liver resection[7-9].

Staplers have also been used for the transection of liver parenchyma, because they can seal any unexpectedly injured bile ducts or blood vessels[7,9]. Transection of hepatic parenchyma with vascular staplers has been assessed, and its advantages include a low rate of biliary complications (i.e. bile fistulas and bilioma) and reduced bleeding[10]. Stapled wedge resection of the liver and left lateral segmentectomy have been conducted, with favorable results[8,11]. In performing hemihepatectomy or extended hemihepatectomy, adequate hepatic arterial, portal venous branch and appropriate hepatic veins can be divided with the endo-GIA vascular stapler or via suturing. To allow for subsequent dissection of the thicker hepatic parenchyma, the liver tissue can be fractured stepwise with a clamp and subsequently divided with endo-GIA vascular staplers[10]. When necessary, intraoperative ultrasound can also be used to guide the dissection. Using this technique of liver resection, there is no need to perform Pringle’s maneuver or other vascular control methods in most patients[10,12]. It has been demonstrated that parenchymal transection with endo-GIA vascular staplers is a feasible and safe technique for liver resection with low mortality (4%) and morbidity (33%) in open liver surgery[12].

APPLICATION OF STAPLING DEVICES IN LAPAROSCOPIC LIVER SURGERY

Laparoscopy has gradually become a widely accepted technical platform in nearly all areas of surgery, since its introduction with laparoscopic cholecystectomy in the late 1980s[13]. Acting as a less-invasive alternative to open hepatectomy, laparoscopic liver resection has shown its superiority with regard to blood loss, postoperative recovery and hospital stay in selected patients[14,15]. The application of surgical staplers has also been attempted and extended to laparoscopic liver resection, and staplers have also been proven as a convenient and effective method[16]. Staplers are being more frequently utilized in laparoscopic surgery, possibly because they make manipulation simpler and perhaps safer.

Similar to open liver surgery, application of staplers in laparoscopic liver surgery also began with ligation and dissection of inflow and outflow vessels of the liver. After complete or incomplete mobilization, total laparoscopic resection was performed with two or more endoscopic staples, applied sequentially, when necessary, across the portal pedicle and hepatic vein. Scuderi et al[16] retrospectively compared 35 laparoscopic liver resections with the Tri-Staple technology vs 57 laparoscopic liver resections without stapling. They found that, although the tumor size and number in the stapled group were larger than in the non-stapled group, the mean surgical time and blood loss of the two groups were similar. Furthermore, in the stapled group, the Pringle maneuver was also used less frequently, and the conversion and morbidity rates were lower, proving that the use of staplers is one of the most relevant technological advancements in laparoscopic liver resection, for safely dividing vascular and biliary structures.

Among laparoscopic liver resections, increasingly complex operations, such as extended right hepatectomy, mesohepatectomy and two-stage liver resection, have gradually been performed by experienced surgical groups or centers[16-18]. In some of the reported cases, staples have also been used in parenchymal transection, and are thought to be a safer alternative for parenchymal dissection in laparoscopic liver surgery[16,17]. Unlike open liver surgery, where the thicker hepatic parenchyma is fractured stepwise with a clamp, O’Rourke et al[17] have reported stratified dissection of the liver parenchyma, with the thin arm of the stapler insinuated through the liver, and the stapler fired after resistance is achieved. A repeat firing of the stapler, or suture ligation, is used to control the bleeding that most commonly occurs from branches of the middle vein. Buell et al[19] analyzed an international database of 1499 laparoscopic liver resections and compared 764 stapler hepatectomies with 735 electrosurgical resections. They found that, although used in larger tumors, stapler hepatectomy was completed within a shorter time, with less blood loss and shorter length of stay. This suggests that stapler hepatectomy is a safe and efficacious technique, especially for major hepatectomy, during laparoscopic liver resection. Buell et al[19] also found that, although having a smaller pathological margin, stapler hepatectomy still led to a similar incidence of recurrence as with electrosurgical dissection. One disadvantage of staplers in laparoscopic liver surgery, for ligation and dissection of inflow and outflow vessels, and even parenchymal transection, is the increased cost of the disposable devices. It is reported that up to nine vascular staplers are used for parenchymal transection[17]. However, the added costs of the staplers may be offset by shorter operating time and length of stay[19].

APPLICATION OF STAPLING DEVICES IN SILS

Recently, SILS has emerged as a minimally invasive technique for further minimizing surgical trauma by reducing the number of access ports. SILS has shown a remarkable increase in use, as a result of the desire of surgeons for less-invasive procedures and the request of patients for techniques with better cosmetic outcome. SILS has now been applied in many fields of abdominal surgery, including liver surgery[20-22]. However, during SILS, several laparoscopic instruments are introduced together with the endoscope through one single port. This can result in crossed instruments, and the proximity of the endoscope to the operating instruments can lead to instrument or trocar collision, making the operation more difficult to learn and perform than traditional laparoscopic surgery. The complex procedures of liver surgery make the application of single incision laparoscopic liver surgery (SIL-LS) more difficult and slow down its progress. To date, 200 cases have been reported[23-62] (Table 1), and non-anatomical resection, segmentectomy and left lateral sectionectomy are still mainly performed for localized lesions and solitary tumors in the anterolateral segments of the liver, or left liver lobe[26,29,37] (Table 1). Left hepatic resection has been reported in only two cases, and right hepatic resection in only one[33,36].

For tumor enucleation, wedge resection or segmentectomy of the liver in SILS, the surrounding liver parenchyma is frequently transected through the proposed division line using an ultrasonic scalpel, LigaSure and endoclips. When approaching larger structures, such as branches of the hepatic veins and Glisson bundles, an endoscopic linear stapler is sometimes utilized. For some suitable cases, linear staplers were also selected for local tumor resection[37], as in traditional laparoscopic wedge resection[11]. Single-incision laparoscopic left lateral liver sectionectomy (SIL-LLS) has been reported in 83 cases. A stapler was not used in 10 cases[23,46]. In the remaining 73 cases, a stapler was applied, most frequently for dividing the hepatic vein (70 cases) and the hepatic pedicle (hepatic artery, portal vein or bile duct) (64 cases) (Table 2). In addition, in single incision laparoscopic left (2 cases) and right (1 case) hepatectomy, a stapler was used for dissection of the hepatic vein. The hepatic duct was sectioned and clamped with a vascular stapler in 2 cases, and the portal vein was stapled and divided in 1[33,36].

Stapling devices are helpful for vascular control and routinely used in traditional laparoscopic hepatectomy[63]. Stapling devices are also beneficial in SIL-LS. With the help of staplers, SIL-LLS can be finished smoothly. Hu et al[26] compared single-port and multi-port laparoscopic left lateral liver sectionectomy for surgical treatment of benign liver disease. They found that the two groups had similar mean operating times and volumes of intraoperative blood loss, which was similar to the results reported by Aldrighetti et al[64]. In addition, the average operating time and intraoperative blood loss for single-port laparoscopic left lateral hepatectomy (Table 2) were comparable with those for traditional laparoscopic hepatectomy[65,66]. Unlike open surgery or traditional laparoscopic hepatectomy, in SIL-LS, staplers have not been reported for parenchymal transection in left lateral, left or right hepatectomy. As more SIL-LS procedures are performed, staplers may be attempted for parenchymal transection in left lateral, left or right hepatectomy, and more major hepatic resections may be attempted in SILS.

FUTURE PROSPECTS FOR APPLICATION OF STAPLING DEVICES IN LAPAROSCOPIC LIVER SURGERY

Staplers have been used successfully in multi-port laparoscopic hepatectomy for parenchymal transection, especially for larger tumors[19]. However, in traditional laparoscopic hepatectomy and SIL-LS, staplers have been mostly limited to the division of major vascular and biliary structures. However, as more major hepatectomies are performed, staplers might gradually become effective and important devices in the near future, even in SIL-LS.

In hepatectomy, it is reported that, if liver tissues are thick and brittle, stapling is more likely to fail during the operation[67]. Therefore, some suitable modifications of operating methods and skills might be needed, to improve the application of staplers for parenchymal transection in laparoscopic hepatectomy. When investigating the success rate of surgical stapling in ex vivo pig livers, tissue thickness had a greater effect on the success rate of surgical stapling than did tissue stiffness[67]. If tissue thickness was 5-10 mm, the success rate of surgical stapling was high, and if tissue thickness was > 10 mm, the success rate was affected by nonlinear viscoelastic parameters[67]. O’Rourke et al[17] showed that, when the thickness of liver tissue was high, liver parenchyma was dissected in a stratified fashion, with the thin arm of the stapler insinuated through the liver parenchyma, and the stapler fired after resistance was achieved. It could be that, as with the procedure in open liver surgery, stepwise fracture of the liver tissue with a suitable clamp and subsequent dissection of the thick hepatic parenchyma is a more appropriate method[10]. Although Otsuka et al[68] proposed that a stapler could also be used as a crush-clamp device, a more suitable laparoscopic articulating liver tissue crushing device would be more helpful for using a stapler in parenchymal transection in laparoscopic hepatectomy, including SIL-LS. Buell et al[19] also reported that stapler hepatectomy could result in a trend towards more complications, including bile leaks, but a new staple line reinforcement technique might resolve the problem[69]. An absorbable polymer membrane was incorporated into the stapler system, to buttress the transected solid organ, decrease hemorrhage and prevent bile duct leakage at the staple line after liver resection, and the reliability and effectiveness was confirmed[69-71]. Although staple line reinforcement with the absorbable polymer membrane might increase intraoperative cost, it may eliminate more expensive reoperations associated with staple line hemorrhage and bile leakage, to reduce the final overall cost[69]. In addition, some other auxiliary methods, such as radiofrequency ablation[72], could also be helpful for reducing blood loss and improving safety. Certainly, these related designs and modifications, such as application of a suitable laparoscopic articulating liver tissue crushing device, a staple line reinforcement technique with the absorbable polymer membrane or radiofrequency ablation assistance, are still further needed for safe application of stapling devices in open surgery and laparoscopic surgery, and even in SILS. More randomized studies are needed to prove the benefits and find broader indications for the use of stapling devices, to help expand the applications of staplers in liver surgery in the future.

REFERENCES

1	Kooby DA, Stockman J, Ben-Porat L, Gonen M, Jarnagin WR, Dematteo RP, Tuorto S, Wuest D, Blumgart LH, Fong Y. Influence of transfusions on perioperative and long-term outcome in patients following hepatic resection for colorectal metastases. Ann Surg 2003; 237: 860-869; discussion 869-870 [PMID: 12796583]

2	Bossola M, Pacelli F, Bellantone R, Doglietto GB. Influence of transfusions on perioperative and long-term outcome in patients following hepatic resection for colorectal metastases. Ann Surg 2005; 241: 381 [PMID: 15650652]

3	DeMatteo RP, Fong Y, Jarnagin WR, Blumgart LH. Recent advances in hepatic resection. Semin Surg Oncol 2000; 19: 200-207 [PMID: 11126383]

4	Kuthe A, Haemmerle A, Ludwig K, Falck S, Hiller W, Mainik F, Freys S, Dubovoy L, Jaehne J, Oldhafer K. Multicenter prospective evaluation of a new articulating 5-mm endoscopic linear stapler. Surg Endosc 2016; 30: 1883-1893 [PMID: 26208498]

5	Voyles CR, Vogel SB. Hepatic resection using stapling devices to control the hepatic veins. Am J Surg 1989; 158: 459-460 [PMID: 2817228]

6	McEntee GP, Nagorney DM. Use of vascular staplers in major hepatic resections. Br J Surg 1991; 78: 40-41 [PMID: 1998861]

7	Fong Y, Blumgart LH. Useful stapling techniques in liver surgery. J Am Coll Surg 1997; 185: 93-100 [PMID: 9208969]

8	Jurim O, Colonna JO, Colquhoun SD, Shaked A, Busuttil RW. A stapling technique for hepatic resection. J Am Coll Surg 1994; 178: 510-511 [PMID: 8167890]

9	Raoof M, Aloia TA, Vauthey JN, Curley SA. Morbidity and mortality in 1,174 patients undergoing hepatic parenchymal transection using a stapler device. Ann Surg Oncol 2014; 21: 995-1001 [PMID: 24248530 DOI: 10.1245/s10434-013-3331-9]

10	Schemmer P, Friess H, Dervenis C, Schmidt J, Weitz J, Uhl W, Büchler MW. The use of endo-GIA vascular staplers in liver surgery and their potential benefit: a review. Dig Surg 2007; 24: 300-305 [PMID: 17657156]

11	Lefor AT, Flowers JL. Laparoscopic wedge biopsy of the liver. J Am Coll Surg 1994; 178: 307-308 [PMID: 8149028]

12	Schemmer P, Friess H, Hinz U, Mehrabi A, Kraus TW, Z’graggen K, Schmidt J, Uhl W, Büchler MW. Stapler hepatectomy is a safe dissection technique: analysis of 300 patients. World J Surg 2006; 30: 419-430 [PMID: 16467982]

13	Mühe E. Laparoscopic cholecystectomy--late results. Langenbecks Arch Chir Suppl Kongressbd 1991; 416-423 [PMID: 1838946]

14	Chan AC, Poon RT, Cheung TT, Chok KS, Dai WC, Chan SC, Lo CM. Laparoscopic versus open liver resection for elderly patients with malignant liver tumors: a single-center experience. J Gastroenterol Hepatol 2014; 29: 1279-1283 [PMID: 24517319 DOI: 10.1111/jgh.12539]

15	Nguyen KT, Gamblin TC, Geller DA. World review of laparoscopic liver resection-2,804 patients. Ann Surg 2009; 250: 831-841 [PMID: 19801936 DOI: 10.1097/SLA.0b013e3181b0c4df]

16	Scuderi V, Troisi RI. Tissue management with tri-staple technology in major and minor laparoscopic liver resections. Int Surg 2014; 99: 606-611 [PMID: 25216429 DOI: 10.9738/INTSURG-D-13-00101.1]

17	O’Rourke N, Fielding G. Laparoscopic right hepatectomy: surgical technique. J Gastrointest Surg 2004; 8: 213-216 [PMID: 15036198]

18	Nomi T, Fuks D, Govindasamy M, Mal F, Nakajima Y, Gayet B. Risk factors for complications after laparoscopic major hepatectomy. Br J Surg 2015; 102: 254-260 [PMID: 25522176 DOI: 10.1002/bjs.9726]

19	Buell JF, Gayet B, Han HS, Wakabayashi G, Kim KH, Belli G, Cannon R, Saggi B, Keneko H, Koffron A, Brock G, Dagher I. Evaluation of stapler hepatectomy during a laparoscopic liver resection. HPB (Oxford) 2013; 15: 845-850 [PMID: 23458439 DOI: 10.1111/hpb.12043]

20	Chang SK, Lee KY. Therapeutic advances: single incision laparoscopic hepatopancreatobiliary surgery. World J Gastroenterol 2014; 20: 14329-14337 [PMID: 25339820 DOI: 10.3748/wjg.v20.i39.14329]

21	Ban D, Kudo A, Irie T, Ochiai T, Aihara A, Matsumura S, Tanaka S, Tanabe M. Advances in reduced port laparoscopic liver resection. Asian J Endosc Surg 2015; 8: 11-15 [PMID: 25510567 DOI: 10.1111/ases.12164]

22	Gkegkes ID, Iavazzo C. Single incision laparoscopic hepatectomy: A systematic review. J Minim Access Surg 2014; 10: 107-112 [PMID: 25013325 DOI: 10.4103/0972-9941.134872]

23	Weiss M, Mittermair C, Brunner E, Schirnhofer J, Obrist C, Pimpl K, Hell T, Weiss H. Inline radiofrequency pre-coagulation simplifies single-incision laparoscopic minor liver resection. J Hepatobiliary Pancreat Sci 2015; 22: 831-836 [PMID: 26510122 DOI: 10.1002/jhbp.295]

24	Igami T, Tsuchiya T, Ebata T, Yokoyama Y, Sugawara G, Mizuno T, Nagino M. Application of a Z-Shaped Umbilical Incision and a Saline-Cooled Radiofrequency Device to Single-Incision Laparoscopic Surgery for a Huge Liver Cyst: Report of a Case. Int Surg 2015; 100: 1098-1103 [PMID: 26414832 DOI: 10.9738/INTSURG-D-14-00198.1]

25	Willems K, Monsivais S, Vassaur H, Buckley FP. Single-incision laparoscopic management of a giant hepatic cyst. J Surg Case Rep 2015; 2015: [PMID: 26224889 DOI: 10.1093/jscr/rjv073]

26	Hu M, Zhao G, Wang F, Xu D, Liu R. Single-port and multi-port laparoscopic left lateral liver sectionectomy for treating benign liver diseases: a prospective, randomized, controlled study. World J Surg 2014; 38: 2668-2673 [PMID: 24867469 DOI: 10.1007/s00268-014-2610-3]

27	Machado MA, Surjan RC, Makdissi FF. Intrahepatic glissonian approach for single-port laparoscopic liver resection. J Laparoendosc Adv Surg Tech A 2014; 24: 534-537 [PMID: 24927363 DOI: 10.1089/lap.2013.0539]

28	Mantke R, Wicht S. Single-port liver cyst fenestration combined with single-port laparoscopic cholecystectomy using completely reusable instruments. Surg Laparosc Endosc Percutan Tech 2010; 20: e28-e30 [PMID: 20173606 DOI: 10.1097/SLE.0b013e3181cdf19f]

29	Tan EK, Lee VT, Chang SK, Ganpathi IS, Madhavan K, Lomanto D. Laparoendoscopic single-site minor hepatectomy for liver tumors. Surg Endosc 2012; 26: 2086-2091 [PMID: 22234591 DOI: 10.1007/s00464-011-2128-9]

30	Gaujoux S, Kingham TP, Jarnagin WR, D’Angelica MI, Allen PJ, Fong Y. Single-incision laparoscopic liver resection. Surg Endosc 2011; 25: 1489-1494 [PMID: 20976489 DOI: 10.1007/s00464-010-1419-x]

31	Sasaki K, Watanabe G, Matsuda M, Hashimoto M, Harano T. Original method of transumbilical single-incision laparoscopic deroofing for liver cyst. J Hepatobiliary Pancreat Sci 2010; 17: 733-734 [PMID: 20703853 DOI: 10.1007/s00534-010-0279-z]

32	Toyama Y, Yoshida S, Okui N, Kitamura H, Yanagisawa S, Yanaga K. Transumbilical single-incision laparoscopic hepatectomy using precoagulation and clipless technique in a patient with combined hepatocellular-cholangiocarcinoma: a case report. Surg Laparosc Endosc Percutan Tech 2013; 23: e194-e199 [PMID: 24105295 DOI: 10.1097/SLE.0b013e31828b8602]

33	Shetty GS, You YK, Choi HJ, Na GH, Hong TH, Kim DG. Extending the limitations of liver surgery: outcomes of initial human experience in a high-volume center performing single-port laparoscopic liver resection for hepatocellular carcinoma. Surg Endosc 2012; 26: 1602-1608 [PMID: 22179464 DOI: 10.1007/s00464-011-2077-3]

34	Soni HN, Nagpal AP, Zumkhawala BR, Haribhakti SP. Single-incision laparoscopic percutaneous hydatid cystectomy: a novel curative approach for segment 7 hydatid cyst of liver. Surg Laparosc Endosc Percutan Tech 2011; 21: e253-e255 [PMID: 22002288 DOI: 10.1097/SLE.0b013e318230f732]

35	Wu S, Yu XP, Tian Y, Siwo EA, Li Y, Yu H, Yao D, Lv C. Transumbilical single-incision laparoscopic resection of focal hepatic lesions. JSLS 2014; 18: e2014.00397 [PMID: 25392646 DOI: 10.4293/JSLS.2014.00397]

36	Camps Lasa J, Cugat Andorrà E, Herrero Fonollosa E, García Domingo MI, Sánchez Martínez R, Vargas Pierola H, Rodríguez Campos A. Single-port laparoscopic approach of the left liver: initial experience. Cir Esp 2014; 92: 589-594 [PMID: 24999088 DOI: 10.1016/j.ciresp.2014.05.009]

37	Zhao G, Hu M, Liu R, Xu D, Ouyang C, Xu Y, Jiao H, Wang B, Gu X. Laparoendoscopic single-site liver resection: a preliminary report of 12 cases. Surg Endosc 2011; 25: 3286-3293 [PMID: 21533971 DOI: 10.1007/s00464-011-1706-1]

38	Pan M, Jiang Z, Cheng Y, Xu X, Zhang Z, Zhou C, He G, Xu T, Liu H, Gao Y. Single-incision laparoscopic hepatectomy for benign and malignant hepatopathy: initial experience in 8 Chinese patients. Surg Innov 2012; 19: 446-451 [PMID: 22474017 DOI: 10.1177/1553350612438412]

39	Chen CW, Hsiao KH, Chang YJ, Lai CW. Single-incision laparoscopic surgery using a homemade transumbilical port for synchronous colon and hepatic lesions: a case report. Surg Laparosc Endosc Percutan Tech 2013; 23: e164-e167 [PMID: 23917608 DOI: 10.1097/SLE.0b013e31828b8177]

40	Tayar C, Subar D, Salloum C, Malek A, Laurent A, Azoulay D. Single incision laparoscopic hepatectomy: Advances in laparoscopic liver surgery. J Minim Access Surg 2014; 10: 14-17 [PMID: 24501503 DOI: 10.4103/0972-9941.124454]

41	Kandil E, Noureldine SI, Saggi B, Buell JF. Robotic liver resection: initial experience with three-arm robotic and single-port robotic technique. JSLS 2013; 17: 56-62 [PMID: 23743372 DOI: 10.4293/108680812X13517013317671]

42	Kim G, Lau AC, Chang SK. Single-incision laparoscopic hepatic resection in patients with previous hepatic resections: a mini case series. Asian J Endosc Surg 2014; 7: 63-66 [PMID: 24450347 DOI: 10.1111/ases.12072]

43	Cipriani F, Catena M, Ratti F, Paganelli M, Ferla F, Aldrighetti L. LESS technique for liver resection: the progress of the mini-invasive approach: a single-centre experience. Minim Invasive Ther Allied Technol 2012; 21: 55-58 [PMID: 22049945 DOI: 10.3109/13645706.2011.632013]

44	Tzanis D, Lainas P, Tranchart H, Pourcher G, Devaquet N, Perlemuter G, Naveau S, Dagher I. Atypical as well as anatomical liver resections are feasible by laparoendoscopic single-site surgery. Int J Surg Case Rep 2014; 5: 580-583 [PMID: 25108073 DOI: 10.1016/j.ijscr.2013.11.009]

45	Patel AG, Belgaumkar AP, James J, Singh UP, Carswell KA, Murgatroyd B. Video. Single-incision laparoscopic left lateral segmentectomy of colorectal liver metastasis. Surg Endosc 2011; 25: 649-650 [PMID: 20652322 DOI: 10.1007/s00464-010-1237-1]

46	Dapri G, Dimarco L, Cadière GB, Donckier V. Initial experience in single-incision transumbilical laparoscopic liver resection: indications, potential benefits, and limitations. HPB Surg 2012; 2012: 921973 [PMID: 23082044 DOI: 10.1155/2012/921973]

47	Wu S, Li Y, Tian Y, Li M. Single-incision laparoscopic surgery versus standard laparoscopic surgery for unroofing of hepatic cysts. JSLS 2014; 18: 246-251 [PMID: 24960488 DOI: 10.4293/108680813X13753907291512]

48	Zhang G, Liu S, Yu W, Wang L, Liu N, Li F, Hu S. Gasless laparoendoscopic single-site surgery with abdominal wall lift in general surgery: initial experience. Surg Endosc 2011; 25: 298-304 [PMID: 20607566 DOI: 10.1007/s00464-010-1177-9]

49	Barbaros U, Sümer A, Tunca F, Gözkün O, Demirel T, Bilge O, Randazzo V, Dinççağ A, Seven R, Mercan S, Budak D. Our early experiences with single-incision laparoscopic surgery: the first 32 patients. Surg Laparosc Endosc Percutan Tech 2010; 20: 306-311 [PMID: 20975500 DOI: 10.1097/SLE.0b013e3181f20cf6]

50	Kashiwagi H, Kumagai K, Nozue M. Single incision laparoscopic surgery for a life-threatening, cyst of liver. Tokai J Exp Clin Med 2011; 36: 13-16 [PMID: 21547887]

51	Røsok BI, Edwin B. Single-Incision Laparoscopic Liver Resection for Colorectal Metastasis through Stoma Site at Time of Reversal of Diversion Ileostomy: A Case Report. Minim Invasive Surg 2011; 2011: 502176 [PMID: 22091359 DOI: 10.1155/2011/502176]

52	Aikawa M, Miyazawa M, Okamoto K, Toshimitsu Y, Okada K, Ueno Y, Yamaguchi S, Koyama I. Single-port laparoscopic hepatectomy: technique, safety, and feasibility in a clinical case series. Surg Endosc 2012; 26: 1696-1701 [PMID: 22179479 DOI: 10.1007/s00464-011-2095-1]

53	Chinnusamy P, Ahluwalia JS, Palanisamy S, Seshiyer RP. Single incision multi-trocar hepatic cyst excision with partial splenectomy. J Minim Access Surg 2013; 9: 91-94 [PMID: 23741118 DOI: 10.4103/0972-9941.110972]

54	Choi CJ, Kim YH, Roh YH, Jung GJ, Seo JW, Baek YH, Lee SW, Roh MH, Han SY, Jeong JS. Management of giant hepatic cysts in the laparoscopic era. J Korean Surg Soc 2013; 85: 116-122 [PMID: 24020020 DOI: 10.4174/jkss.2013.85.3.116]

55	Imamura H, Kawashita Y, Koga N, Sanada Y, Azuma T, Matsuo S, Eguchi S. A large hepatic cyst with obstructive jaundice successfully treated with single-incision laparoscopic deroofing. Case Rep Gastroenterol 2013; 7: 503-510 [PMID: 24474900 DOI: 10.1159/000357304]

56	Eryılmaz R, Bilecik T, Mayir B, Ensari CÖ. SILS hepatectomy for hepatic hydatid disease: a case report. Int J Clin Exp Med 2014; 7: 443-445 [PMID: 24600503]

57	Belli G, Fantini C, D’Agostino A, Cioffi L, Russo G, Belli A, Limongelli P. Laparoendoscopic single site liver resection for recurrent hepatocellular carcinoma in cirrhosis: first technical note. Surg Laparosc Endosc Percutan Tech 2011; 21: e166-e168 [PMID: 21857451 DOI: 10.1097/SLE.0b013e3182207d3a]

58	Gocho T, Misawa T, Suzuki F, Ito R, Shiba H, Futagawa Y, Wakiyama S, Ishida Y, Yanaga K. Single-incision laparoscopic surgery for giant hepatic cyst. Asian J Endosc Surg 2013; 6: 237-240 [PMID: 23879420 DOI: 10.1111/ases.12021]

59	Cai W, Xu J, Zheng M, Qin M, Zhao H. Combined laparoendoscopic single-site surgery: initial experience of a single center. Hepatogastroenterology 2012; 59: 986-989 [PMID: 22456281 DOI: 10.5754/hge12245]

60	Kobayashi S, Nagano H, Marubashi S, Wada H, Eguchi H, Takeda Y, Tanemura M, Sekimoto M, Doki Y, Mori M. A single-incision laparoscopic hepatectomy for hepatocellular carcinoma: initial experience in a Japanese patient. Minim Invasive Ther Allied Technol 2010; 19: 367-371 [PMID: 20945973 DOI: 10.3109/13645706.2010.518731]

61	Karabicak I, Yuruker S, Seren DT, Kesicioglu T, Cinar H, Ozen N. Single incision laparoscopic surgery for hepatic hydatid disease. Report of a case. Ann Ital Chir 2013; 84: 451-453 [PMID: 23241840]

62	Cai XJ, Zhu ZY, Liang X, Yu H, Wang YF, He JK, Li ZY. Single incision laparoscopic liver resection: a case report. Chin Med J (Engl) 2010; 123: 2619-2620 [PMID: 21034639]

63	Linden BC, Humar A, Sielaff TD. Laparoscopic stapled left lateral segment liver resection--technique and results. J Gastrointest Surg 2003; 7: 777-782 [PMID: 13129556]

64	Aldrighetti L, Ratti F, Catena M, Pulitanò C, Ferla F, Cipriani F, Ferla G. Laparoendoscopic single site (LESS) surgery for left-lateral hepatic sectionectomy as an alternative to traditional laparoscopy: case-matched analysis from a single center. Surg Endosc 2012; 26: 2016-2022 [PMID: 22278101 DOI: 10.1007/s00464-012-2147-1]

65	Zhang Y, Chen XM, Sun DL. Comparison of laparoscopic versus open left lateral segmentectomy. Int J Clin Exp Med 2015; 8: 904-909 [PMID: 25785073]

66	Dokmak S, Raut V, Aussilhou B, Ftériche FS, Farges O, Sauvanet A, Belghiti J. Laparoscopic left lateral resection is the gold standard for benign liver lesions: a case-control study. HPB (Oxford) 2014; 16: 183-187 [PMID: 23600942 DOI: 10.1111/hpb.12108]

67	Tsukune M, Kobayashi Y, Otsuka Y, Maeda T, Yamazaki N, Watanabe H, Ando T, Kaneko H, Fujie MG. Effect of the thickness and nonlinear elasticity of tissue on the success of surgical stapling for laparoscopic liver resection. Conf Proc IEEE Eng Med Biol Soc 2014; 2014: 353-356 [PMID: 25569970 DOI: 10.1109/EMBC.2014.6943602]

68	Otsuka Y, Kaneko H, Cleary SP, Buell JF, Cai X, Wakabayashi G. What is the best technique in parenchymal transection in laparoscopic liver resection? Comprehensive review for the clinical question on the 2nd International Consensus Conference on Laparoscopic Liver Resection. J Hepatobiliary Pancreat Sci 2015; 22: 363-370 [PMID: 25631462 DOI: 10.1002/jhbp.216]

69	Consten EC, Gagner M. Perioperative outcome of laparoscopic left lateral liver resection is improved by using staple line reinforcement technique: a case report. J Gastrointest Surg 2005; 9: 360-364 [PMID: 15749597]

70	Consten EC, Gagner M. Staple-line reinforcement techniques with different buttressing materials used for laparoscopic gastrointestinal surgery: a new strategy to diminish perioperative complications. Surg Technol Int 2004; 13: 59-63 [PMID: 15744676]

71	Consten EC, Dakin GF, Robertus JL, Bardaro S, Milone L, Gagner M. Perioperative outcome of laparoscopic left lateral liver resection is improved by using a bioabsorbable staple line reinforcement material in a porcine model. Surg Endosc 2008; 22: 1188-1193 [PMID: 18246395 DOI: 10.1007/s00464-007-9718-6]

72	Yao P, Gunasegaram A, Ladd LA, Chu F, Morris DL. InLine radiofrequency ablation-assisted laparoscopic liver resection: first experiment with stapling device. ANZ J Surg 2007; 77: 480-484 [PMID: 17501891]

Footnotes

Manuscript source: Invited manuscript

Specialty type: Gastroenterology and hepatology

Country of origin: China

Peer-review report classification

Grade A (Excellent): 0

Grade B (Very good): B

Grade C (Good): C

Grade D (Fair): 0

Grade E (Poor): 0

Conflict-of-interest statement: The authors have no conflicts of interest to report.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: March 22, 2016

First decision: May 27, 2016

Article in press: June 15, 2016

P- Reviewer: Ambra L, Matsuda A    S- Editor: Ma YJ    L- Editor: Filipodia    E- Editor: Ma S

# Text boxes

Table 1  Demographics and interventions of 218 reported cases with single incision laparoscopic liver resection

| Ref. | No. of cases | Lesion type | Intervention1 |
| --- | --- | --- | --- |
|  |  | Hepatic cysts | Hydatid disease of liver | FNH | CRC | HCC | Hepatic adenoma | Liver hemangioma | Others | Fenestration | Wedge resection | Segmentectomy | Left lateral sectionectomy | Others |
| Weiss et al[23], (2015) | 21 |  |  | 4 | 6 | 1 |  | 2 | 8 (1 abscess, 1 Caroli syndrome, 2 cholangiocellular cancer, 4 malignant metastasis from neuroendocrine tumor, gastric cancer, prostatic cancer or esophageal cancer) |  | 111 | 2 | 9 |  |
| Igami et al[24], (2015) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Willems et al[25], (2015) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Hu et al[26], (2014)1 | 18 |  |  | 2 |  |  | 3 | 7 | 6 (Hepatolithiasis) |  |  |  | 18 |  |
| Machado et al[27], (2014) | 8 |  |  | 1 |  |  | 6 |  | 1 (cholangiocarcinoma) |  |  |  | 8 |  |
| Mantke et al[28], (2010) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Tan et al[29], (2012) | 7 |  |  |  | 22 | 4 | 2 |  |  |  | 2 |  | 5 |  |
| Gaujoux et al[30], (2011) | 5 | 1 |  |  | 2 | 1 |  |  | 1 (Ovarian serous carcinoma liver metastasis) | 1 | 4 |  |  |  |
| Sasaki et al[31], (2010) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Toyama et al[32], (2013) | 1 |  |  |  |  |  |  |  | 1 (Hepatocellular- cholangiocarcinoma) |  | 1 |  |  |  |
| Shetty et al[33], (2012) | 243 |  |  |  |  | 24 |  |  |  |  | 4 | 13 | 4 | 1 LH, 1 RH |
| Soni et al[34], (2011) | 1 |  | 1 |  |  |  |  |  |  |  |  |  |  | Percutaneous hydatid cystectomy |
| Wu et al[35], (2014) | 17 |  |  | 1 | 2 | 4 | 2 | 6 | 2 (Hepatolithiasis) |  | 8 |  | 9 |  |
| Camps Lasa et al[36], (2014) | 5 |  | 1 |  | 4 |  |  |  |  |  |  |  | 4 | 1 LH |
| Zhao et al[37], (2011) | 12 |  |  | 3 |  | 2 | 1 | 6 |  |  | 8 |  | 4 |  |
| Pan et al[38], (2012) | 8 | 2 |  |  | 1 | 4 |  | 1 |  |  | 2 | 3 | 3 |  |
| Chen et al[39], (2013) | 1 |  |  |  |  |  |  | 1 |  |  | 1 |  |  |  |
| Tayar et al[40], (2014) | 7 |  |  |  | 2 | 2 | 3 |  |  |  | 7 |  |  |  |
| Kandil et al[41], (2013) | 2 |  |  |  | 1 |  | 1 |  |  |  |  |  | 2 |  |
| Kim et al[42], (2014) | 3 |  |  |  |  | 3 |  |  |  |  |  | 2 | 1 |  |
| Cipriani et al[43], (2012) | 14 |  |  | 3 | 3 | 5 |  | 2 | 1 (Peripheric cholangiocarcinoma) |  | 1 |  | 13 |  |
| Tzanis et al[44], (2014) | 3 |  |  | 1 |  | 1 | 1 |  |  |  | 2 |  | 1 |  |
| Patel et al[45], (2011) | 1 |  |  |  | 1 |  |  |  |  |  |  |  | 1 |  |
| Dapri et al[46], (2012) | 6 | 3 | 2 |  | 1 |  |  |  |  | 3 | 1 | 1 | 1 |  |
| Wu et al[47], (2014) | 15 | 15 |  |  |  |  |  |  |  | 15 |  |  |  |  |
| Zhang et al[48], (2011) | 4 | 4 |  |  |  |  |  |  |  | 4 |  |  |  |  |
| Barbaros et al[49], (2010) | 1 |  |  |  |  |  | 1 |  |  |  | 1 |  |  |  |
| Kashiwagi et al[50], (2011) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Røsok et al[51], (2011) | 1 |  |  |  | 1 |  |  |  |  |  | 1 |  |  |  |
| Aikawa et al[52], (2012) | 8 |  |  |  | 1 | 5 |  | 1 | 1 (Neuroendocrine tumor) |  |  | 8 |  |  |
| Chinnusamy et al[53], (2013) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Choi et al[54], (2013) | 2 | 2 |  |  |  |  |  |  |  | 2 |  |  |  |  |
| Imamura et al[55], (2013) | 1 | 1 |  |  |  |  |  |  |  | 1 |  |  |  |  |
| Eryılmaz et al[56], (2014) | 1 |  | 1 |  |  |  |  |  |  |  |  | 1 |  |  |
| Belli et al[57], (2011) | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |
| Gocho et al[58], (2013) | 6 | 6 |  |  |  |  |  |  |  | 6 |  |  |  |  |
| Cai et al[59], (2012) | 5 | 5 |  |  |  |  |  |  |  | 5 |  |  |  |  |
| Kobayashi et al[60], (2010) | 1 |  |  |  |  | 1 |  |  |  |  | 1 |  |  |  |
| Karabicak et al[61], (2013) | 1 |  | 1 |  |  |  |  |  |  |  | 1 |  |  |  |
| Cai et al[62], (2010) | 1 |  |  |  |  |  |  | 1 |  |  | 1 |  |  |  |

1One patient was converted to multiport laparoscopy, and the related data was not included in the article; 2One case with a 3-mm metastatic adenocarcinoma of colorectal origin found in postoperative diagnosis after HCC resection including a double- segment wedge resection; 3The detailed medical record of one patient was not available. CRC: Colorectal liver metastases; FNH: Focal nodular hyperplasia; HCC: Hepatocellular carcinoma; LH: Left hemihepatectomy; RH: Right hemihepatectomy.

Table 2  Application of stapling devices in single incision laparoscopic left lateral liver sectionectomy

| Ref. | No. of cases with left lateral liver sectionectomy | Application of stapling devices | Average or mean operation time, min | Average intraoperative blood loss, mL |
| --- | --- | --- | --- | --- |
|  |  | Glisson sheath | Hepatic veins |  |  |
| Weiss et al[23] | 9 | (-) | (-) | - | - |
| Hu et al[26] | 18 | (+) | (+) | 105 ± 23 | 75 ± 18 |
| Machado et al[27] | 8 | (+) | (+) | 68 | < 100 |
| Tan et al[29] | 5 | (+) | (+) | 133.6 ± 29.5 | 230.0 ± 148.3 |
| Shetty et al[33] | 4 | (-) | (+) | 193.8 ± 50.0 | 487.5 ± 201.6 |
| Wu et al[35] | 9 | (+) | (+) | 205.6 ± 233.2 | 133.3 ± 49.4 |
| Camps Lasa et al[36] | 4 | (-) | (+) | 138.8 ± 28.4 | - |
| Zhao et al[37] | 4 | (+) | (+) | 107.5 ± 17.1 | 262.5 ± 359.1 |
| Pan et al[38] | 3 | (+) | (+) | 101.0 ± 27.6 | 78.3 ± 25.7 |
| Kandil et al[41] | 2 | (+) | (-) | 60.5 ± 13.4 | 22.5 ± 10.6 |
| Kim et al[42] | 1 | (+) | (-) | 228 | 250 |
| Cipriani et al[43] | 13 | (+) | (+) | 195 (125-330) | 175 (100-220) |
| Tzanis et al[44] | 1 | (-) | (+) | 110 | 50 |
| Patel et al[45] | 1 | (+) | (+) | - | - |
| Dapri et al[46] | 1 | (-) | (-) | 96 | 350 |