Name of journal: World Journal of Orthopedics

ESPS Manuscript NO: 2583

Columns: BRIEF ARTICLE

Comparison of straight median sternotomy and interlocking sternotomy with respect to biomechanical stability

Küçükdurmaz F et al. Interlocking sternotomy

Fatih Küçükdurmaz, İsmail Ağır, Murat Bezer

Fatih Küçükdurmaz, Clinic of Orthopaedics and Traumatology, Bezmi Alem Foundation University School of Medicine, Istanbul 34093, Turkey

İsmail Ağır, Departments of Orthopaedics and Traumatology, Adiyaman University School of Medicine, Adiyaman 02040, Turkey

Murat Bezer, Departments of Orthopaedics and Traumatology, Marmara University School of Medicine, Pendik 34899, Istanbul, Turkey

Author contributions: All authors contributed to conception and design, acquisition of data, or analysis and interpretation of data; drafting the article or revising it critically for important intellectual content and final approval of the version to be published.

Correspondence to: Dr. Fatih Küçükdurmaz, Clinic of Orthopaedics and Traumatology, Bezmi Alem Foundation University School of Medicine, Adnan Menderes Blv, Istanbul 34093, Turkey. fatihmfk@hotmail.com

Telephone: +90-212-4531700   Fax: +90-212-6217580

Received: March 1, 2013    Revised: April 15, 2013

Accepted: June 1, 2013

Published online:

Abstract

AIM: To increase the stability of sternotomy and so decrease the complications because of instability.

METHODS: Tests were performed on 20 fresh sheep sterna which were isolated from the sterno-costal joints of the ribs. Median straight and interlocking sternotomies were performed on 10 sterna each, set as groups 1 and 2, respectively. Both sternotomies were performed with an oscillating saw and closed at three points with a No. 5 straight stainless-steel wiring. Fatigue testing was performed in cranio-caudal, anterio-posterior and lateral directions by a computerized materials-testing machine cycling between loads of 0 to 400 N per 5 s (0.2 Hz). The amount of displacement in anterio-posterior, lateral and cranio-caudal directions were measured and also the opposing bone surface at the osteotomy areas were calculated at the two halves of sternum.

RESULTS: The mean displacement in cranio-caudal direction was 9.66 ± 3.34 mm for median sternotomy and was 1.26 ± 0.97 mm for interlocking sternotomy, P < 0.001. The mean displacement in anterio-posterior direction was 9.12 ± 2.74 mm for median sternotomy and was 1.20 ± 0.55 mm for interlocking sternotomy,  P < 0.001. The mean displacement in lateral direction was 8.95 ± 3.86 mm for median sternotomy and was 7.24 ± 2.43 mm for interlocking sternotomy,  P > 0.001. The mean surface area was 10.40 ± 0.49 cm² for median sternotomy and was 16.8 ± 0.78 cm² for interlocking sternotomy, P < 0.001. The displacement in anterio-posterior and cranio-caudal directions is less in group 2 and it is statistically significant. Displacement in lateral direction in group 2 is less but it is statistically not significant. Surface area in group 2 is significantly wider than group 1.

CONCLUSION: Our test results demonstrated improved primary stability and wider opposing bone surfaces in interlocking sternotomy compared to median sternotomy.

© 2013 Baishideng. All rights reserved.

Key words: Median sternotomy; Interlocking stenotomy; Stability; Osseos healing; Biomechanics

Core tip: Sternal healing after median sternotomy can be compromised by an unstable closure. In this in vitro study, we found that the biomechanical characteristics of the median interlocking sternotomy were superior to those of the straight median sternotomy. The zigzag cuts made the sternotomy line significantly more stable and provided more surface area for bony healing. These improved features are highly associated with improved bony healing. We believe that the interlocking sternotomy will decrease the complications associated with sternotomy in clinical basis by providing a better bony healing.

Küçükdurmaz F,Ağır İ, Bezer M. Comparison of straight median sternotomy and interlocking sternotomy with respect to biomechanical stability.

World J Orthop 2013;

Available from: URL: http://www.wjgnet.com/esps/

DOI: http://dx.doi.org/10.5312/wjo.v0.i0.0000

INTRODUCTION

Median sternotomies are the most commonly performed osteotomy in the world[1]. Sternotomy is the best trans-sternal approach for accessing lesions localized to the vertebral bodies of the upper thoracic spine[2,3], and it is a standard incision for thoracic and cardiac surgery.

Despite the popularity of median sternotomy, complications such as nonunion, persistent pain, and infection occur in 0.3% to 5% of cases and are associated with a 14% to 47% mortality rate if mediastinitis supervenes[4]. The morbidity, mortality, and expenses associated with these complications continue to make their prevention and treatment of great importance.

The continuous motion between the halves of the divided sternum resulting from the lack of immobilization causes postoperative sternal instability[5], which is the most important factor in postoperative morbidity and mortality. Providing greater stability[3,4,6] and promoting primary osseous healing is crucial for preventing these complications[7-11] .

More than 40 different techniques have been described for closing median sternotomy[12-16]. The biomechanical characteristics of different sternal closures may substantially improve sternotomy reduction and stability[17-19]. In particular, interlocking sternotomy appears to offer better stability and greater surface area for bone healing than other techniques. However, the biomechanical characteristics of this technique have not been assessed. Accordingly, in this experimental study, we compared the biomechanical characteristics of interlocking sternal closure with those of straight sternal closure in a study of sheep sterna.

MATERIALS AND METHODS

We obtained sterna freshly isolated from the sterno-costal joints of the ribs of 20 sheep (Ovis ammon aries) in same age and weight from slaughterhouse. We had instutional ecthical approval from Marmara University ethical committee. Median straight (Figure 1A) and interlocking (Figure 1B) sternotomies were performed on 10 sterna each.

Sternotomy procedure

Interlocking sternotomy was created with 3 zigzag osteotomy lines approximately 150 degrees to each other in the coronal plane. Each osteotomy line was perpendicular to the previous line in the axial plane (Figure 2). Median sternotomy was performed as a straight osteotomy line in the cranio-caudal (CC) direction. We measured the dimension of the cut surface and simply calculated the area of surface for interlocking sternotomy and median sternotomy.

Both sternotomies were performed with an oscillating saw and closed at three points with No. 5 straight stainless-steel wiring (Figure 1). The wire tension during closure is done by free hand, with 5 times twisting the wire for each suture.

The sterna were attached to custom fixtures designed to produce displacement in one of three directions: (1) CC shear; (2) anterio-posterior (AP) shear; and (3) lateral (distraction) shear. The test was done in CC, AP and distraction directions sequentially. The fixtures designed to have 3 grasping jigs in 3 directions like the x, y and z dimensions.

Biomechanical testing

Fatigue testing was performed by a computerized materials-testing machine (High Capacity 8802, Instro, Norwood, MA, United States). The sterna were attached (Figure 3) to custom fixtures designed to produce displacement in one of three directions: (1) CC shear; (2) AP shear; and (3) lateral (distraction) shear. The displacement between the halves of the sternum was measured and recorded automatically by the testing device.

Fatigue testing was performed by cycling between loads of 1 and 400 N per 5 s (0.2 Hz) for 60 cycles of distraction and release. One sterna in each group was distracted for 180 cycles. The test was ended if the wires were torn from the bone or if the bone broke.

Statistical analysis

Mean displacement was measured after completion of distraction in all three directions and was compared between the two groups with Student’s t-test for independent groups. The data conformed to the assumptions of the t-test, and all tests were two-tailed. Alpha was set at 0.05. The “SPSS 16.0” statistical software program was used in the analyses was used.

RESULTS

Two sterna in each group broke during the calibration of the testing machine so they were excluded from analyses. Fractures were related to fixation apparatus not related to test, and after the fractures it was revised and test began from the beginning. Displacement in all directions was smaller in the interlocking sternotomies (Table 1).

The mean displacement in CC direction was 9.66 ± 3.34 mm for median sternotomy and was 1.26 ± 0.97 mm for interlocking sternotomy, P < 0.001. The mean displacement in AP direction was 9.12 mm ± 2.74 for median sternotomy and was 1.20 ± 0.55 mm for interlocking sternotomy, P < 0.001. The mean displacement in lateral direction was 8.95 ± 3.86 mm for median sternotomy and was 7.24 ± 2.43 mm for interlocking sternotomy,  P > 0.001. The mean surface area was 10.40 ± 0.49 cm² for median sternotomy and was 16.80 ± 0.78 cm² for interlocking sternotomy, P < 0.001. The displacement in anterio-posterior and cranio-caudal directions is less in group 2 and it is statistically significant. Displacement in lateral direction in group 2 is less but it is statistically not significant. Surface area in group 2 is significantly wider than group 1.

DISCUSSION

Normal breathing, coughing, and movement apply pressure to the sternum, creating a combination of lateral displacement forces and anterior-posterior shear and cranial-caudal shear[20]. After sternotomy, these forces can interfere with bony healing and cause serious complications[21-23]. An unstable sternotomy can increase postoperative sternal pain, which can lead to atelectasis and pneumonia, secondary to a decreased inspiratory effort[9]. Other serious complications related to instability include sternal dehiscence, deep sternal infection, fulminant medistinitis, osteomylelitis, and chronic sternal instability[4,24-26]. These complications are associated with a 14% to 47% mortality rate[4]. Providing a more stable osteotomy and improving sternal osteosynthesis is the best way to prevent these complications[3,4,27,28].

More than 40 different techniques with various materials have been described for sternal closure[12-16]. Most techniques revolve around a different pattern of wire cerclage, rigid plate fixation, or various non-rigid methods of closure[29-36]. The techniques those provide more rigid fixation are associated with relatively fewer wound infection and even mortality[3]. However, one has to consider the movements of sternal halves at AP and CC directions. Current methods provide sufficient lateral stability, but does not provide adequate AP and CC stability[20]. Due to this three dimensional movement of sternum during physiological activities, providing stability in AP and CC directions is important as well as stability in lateral direction.

The sternal fixation with using plate and screw provides relatively more stability in AP and CC directions. However, this method has some serious disadvantages[3]. Drilling into the sternum increases the obvious risks to the heart and bypass conduits[3], and the costs of plate fixation are about 10 times higher than those of wire fixation[6]. In addition, the screw holes closest to the midline tend to break through the adjacent bone[6]. That is why the plate and screw fixation does not gain popularity. Also, in an in vitro study, Saito et al[35] compared wire fixation with wire fixation plus an intrasternal pin. The intrasternal pin was presented, as a technical modification required increasing stiffness in the AP and CC directions. Intrasternal pin fixation did provide significantly more stability than did wire fixation alone. However, the clinical application of this technique is not reported yet.

Current methods aiming to increase the stability of sternotomy are focused on different implants and configuration of suturing with wire. On the other hand, it is well known that, improving the stability of an osteotomy line can be increased by selecting the correct osteotomy technique[37,38]. In our study, we focused on decreasing AP and CC interfragmentary motion at the same time by changing the configuration of the osteotomy line itself. In our literature search we determined, two clinical studies have shown that the stability of the sterna can be increased by the sternotomy configuration itself. Joshi et al[36] performed a lazy-S-shaped sternotomy, which minimized post-operative pain, was also associated with better respiratory function, and reduced rates of sternal dehiscence and mediastinitis. Lee et al[39] performed curvilinear paramedian sternotomy and found this technique ensuring precise open reduction and internal fixation. These results may indicate that the changing the sternotomy technique prevents CC motion, on the other hand, these sternotomy techniques still does not prevent the AP motion.

In our study, we focused on decreasing AP and CC interfragmentary motion at the same time by changing the configuration of the osteotomy line itself. The interlocking osteotomy created an inherently more stable closure that was less affected by displacement and shear forces and that provided a greater mean surface area than that provided by straight sternotomies. Although the interlocking sternotomy indirectly reduced lateral displacement, the amount of displacement was not statistically significant.

Increasing the opposing surface areas of an osteotomy is important for primary bone healing[36]. The interlocking sternotomy maximizes the opposing surfaces of the sternal halves. By preventing the slippage of sternal ends in the AP and CC directions, the interlocking sternotomy ensures appropriate approximation during closing and should substantially improve the osseous healing.

In this in vitro study, we found that the biomechanical characteristics of the median interlocking sternotomy were superior to those of the straight median sternotomy. The zigzag cuts made the sternotomy line significantly more stable and provided more surface area for bony healing. Our method does not require any extra equipments or implants. The wires are used as fixation material, already employed and the surgeons are familiar with. Also this technique does not require surgeons to make great changes in their routine practice. It is possible to make this sternum incision with sternotomy saws in routine use. We believe that the interlocking sternotomy provide a significantly more stable sternotomy without extra costs. Although no clinical or animal experiment study has been performed with interlocking sternotomy, our biomechanical study may be evidence of superiority in primary osseos healing if interlocking sternotomy is performed in clinical practice.

COMMENTS

Background

The continuous motion between the halves of the divided sternum resulting from the lack of immobilization causes postoperative sternal instability, which is the most important factor in postoperative morbidity and mortality. Providing greater stability and more surface area promoting primary osseous healing is crucial for preventing these complications.

Research frontiers

Interlocking sternotomy appears to offer better stability and greater surface area for bone healing than other techniques. However, the biomechanical characteristics of this technique have not been assessed. In this study, authors compared the biomechanical characteristics of interlocking sternal closure with those of straight sternal closure in a study of sheep sterna and compared the surface area of two osteotomies.

Innovations and breakthroughs

More than 40 different techniques with various materials have been described for sternal closure. The techniques those provide more rigid fixation are associated with relatively fewer wound infection and even mortality. Current methods provide sufficient lateral stability, but do not provide adequate anterio-posterior (AP) and cranio-caudal (CC) stability. Interlocking sternal closure provide stability in AP, CC and in lateral direction and more surface area.

Applications

Authors believe that the interlocking sternotomy provide a significantly more stable sternotomy and more surface area for bony healing so decreasing the complications without extra costs.

Terminology

The interlocking sternotomy is a zigzag cut in three dimension. CC movement is a movement of one half of sternum superior while the other half inferior.

Peer review

The sterna were attached to custom fixtures designed to produce displacement in one of three directions: (1) CC shear, (2) AP shear, and (3) lateral (distraction) shear. The displacement between the halves of the sternum was measured and recorded automatically by the testing device. The zigzag cuts made the sternotomy line significantly more stable and provided more surface area for bony healing.

REFERENCES

1 Raman J, Straus D, Song DH. Rigid plate fixation of the sternum. Ann Thorac Surg 2007; 84: 1056-1058 [PMID: 17720442 DOI: 10.1016/j.athoracsur.2006.11.045]

2 Cauchoix J, Binet JP. Anterior Surgical Approaches to the Spine. Ann R Coll Surg Engl 1957; 21: 237-243 [PMID: 19310112]

3 -Stephen M, Papadopoulos F, Fesler RG., 1999. Surgical approaches and exposures of the vertebral coloumn. In: Benzel EC (ed) Spine surgery. Churchill Livingstone, Philadelphia, pp 157-169.

4 Losanoff JE, Richman BW, Jones JW. Disruption and infection of median sternotomy: a comprehensive review. Eur J Cardiothorac Surg 2002; 21: 831-839 [PMID: 12062271 DOI: 10.1016/S1010-7940(02)00124-0]

5 El-Ansary D, Waddington G, Adams R. Measurement of non-physiological movement in sternal instability by ultrasound. Ann Thorac Surg 2007; 83: 1513-1516 [PMID: 17383368 DOI: 10.1016/j.athoracsur.2006.10.058]

6 Song DH, Lohman RF, Renucci JD, Jeevanandam V, Raman J. Primary sternal plating in high-risk patients prevents mediastinitis. Eur J Cardiothorac Surg 2004; 26: 367-372 [PMID: 15296898 DOI: 10.1016/j.ejcts.2004.04.038]

7 Negri A, Manfredi J, Terrini A, Rodella G, Bisleri G, El Quarra S, Muneretto C. Prospective evaluation of a new sternal closure method with thermoreactive clips. Eur J Cardiothorac Surg 2002; 22: 571-575 [PMID: 12297174 DOI: 10.1016/S1010-7940(02)00411-6]

8 Sharma R, Puri D, Panigrahi BP, Virdi IS. A modified parasternal wire technique for prevention and treatment of sternal dehiscence. Ann Thorac Surg 2004; 77: 210-213 [PMID: 14726063 DOI: 10.1016/S0003-4975(03)01339-0]

9 Ozaki W, Buchman SR, Iannettoni MD, Frankenburg EP. Biomechanical study of sternal closure using rigid fixation techniques in human cadavers. Ann Thorac Surg 1998; 65: 1660-1665 [PMID: 9647077 DOI: 10.1016/S0003-4975(98)00231-8]

10 Casha AR, Yang L, Kay PH, Saleh M, Cooper GJ. A biomechanical study of median sternotomy closure techniques. Eur J Cardiothorac Surg 1999; 15: 365-369 [PMID: 10333037 DOI: 10.1016/S1010-7940(99)00014-7]

11 Cheng W, Cameron DE, Warden KE, Fonger JD, Gott VL. Biomechanical study of sternal closure techniques. Ann Thorac Surg 1993; 55: 737-740 [PMID: 8452440 DOI: 10.1016/0003-4975(93)90285-P]

12 Franco S, Herrera AM, Atehortúa M, Vélez L, Botero J, Jaramillo JS, Vélez JF, Fernández H. Use of steel bands in sternotomy closure: implications in high-risk cardiac surgical population. Interact Cardiovasc Thorac Surg 2009; 8: 200-205 [PMID: 19038981 DOI: 10.1510/icvts.2008.188136]

13 López Almodóvar LF, Bustos G, Lima P, Cañas A, Paredes I, Buendía JA. Transverse plate fixation of sternum: a new sternal-sparing technique. Ann Thorac Surg 2008; 86: 1016-1017 [PMID: 18721609 DOI: 10.1016/j.athoracsur.2008.02.046]

14 Voss B, Bauernschmitt R, Will A, Krane M, Kröss R, Brockmann G, Libera P, Lange R. Sternal reconstruction with titanium plates in complicated sternal dehiscence. Eur J Cardiothorac Surg 2008; 34: 139-145 [PMID: 18455410 DOI: 10.1016/j.ejcts.2008.03.030]

15 Lundy JB, Gallo DR, Eastman DP, Perkins JH. The use of rigid sternal fixation for complex poststernotomy wounds and a military-unique fracture at an Army medical center. Mil Med 2007; 172: 1125-1128 [PMID: 17985780 DOI: PMID: ]

16 Hallock GG, Szydlowski GW. Rigid fixation of the sternum using a new coupled titanium transverse plate fixation system. Ann Plast Surg 2007; 58: 640-644 [PMID: 17522487 DOI: 10.1097/01.sap.0000248134.37753.1a]

17 Fawzy H, Osei-Tutu K, Errett L, Latter D, Bonneau D, Musgrave M, Mahoney J. Sternal plate fixation for sternal wound reconstruction: initial experience (retrospective study). J Cardiothorac Surg 2011; 6: 63 [PMID: 21529357 DOI: 10.1186/1749-8090-6-63]

18 Tekümit H, Cenal AR, Tataroğlu C, Uzun K, Akinci E. Comparison of figure-of-eight and simple wire sternal closure techniques in patients with non-microbial sternal dehiscence. Anadolu Kardiyol Derg 2009; 9: 411-416 [PMID: 19819794]

19 Losanoff JE, Basson MD, Gruber SA, Huff H, Hsieh FH. Single wire versus double wire loops for median sternotomy closure: experimental biomechanical study using a human cadaveric model. Ann Thorac Surg 2007; 84: 1288-1293 [PMID: 17888985 DOI: 10.1016/j.athoracsur.2007.05.023]

20 Brevins EC. Anatomy of thorax. In: Shields TW, LoCicero J, Ponn RB (ed). General thoracic surgery. Lippincott Williams and Wilkins Philadelphia, 2001: 3-7

21 Grossi EA, Culliford AT, Krieger KH, Kloth D, Press R, Baumann FG, Spencer FC. A survey of 77 major infectious complications of median sternotomy: a review of 7,949 consecutive operative procedures. Ann Thorac Surg 1985; 40: 214-223 [PMID: 4037913 DOI: 10.1016/S0003-4975(10)60030-6]

22 Fariñas MC, Gald Peralta F, Bernal JM, Rabasa JM, Revuelta JM, González-Macías J. Suppurative mediastinitis after open-heart surgery: a case-control study covering a seven-year period in Santander, Spain. Clin Infect Dis 1995; 20: 272-279 [PMID: 7742429 DOI: 10.1093/clinids/20.2.272]

23 Ottino G, De Paulis R, Pansini S, Rocca G, Tallone MV, Comoglio C, Costa P, Orzan F, Morea M. Major sternal wound infection after open-heart surgery: a multivariate analysis of risk factors in 2,579 consecutive operative procedures. Ann Thorac Surg 1987; 44: 173-179 [PMID: 3619541 DOI: 10.1016/S0003-4975(10)62035-8]

24 Bitkover CY, Gårdlund B. Mediastinitis after cardiovascular operations: a case-control study of risk factors. Ann Thorac Surg 1998; 65: 36-40 [PMID: 9456092 DOI: 10.1016/S0003-4975(97)01003-5]

25 Stoney WS, Alford WC, Burrus GR, Frist RA, Thomas CS. Median sternotomy dehiscence. Ann Thorac Surg 1978; 26: 421-426 [PMID: 380487 DOI: 10.1016/S0003-4975(10)62920-7]

26 Gårdlund B, Bitkover CY, Vaage J. Postoperative mediastinitis in cardiac surgery - microbiology and pathogenesis. Eur J Cardiothorac Surg 2002; 21: 825-830 [PMID: 12062270 DOI: 10.1016/S1010-7940(02)00084-2]

27 Comiskey DP, Macdonald BJ, McCartney WT, Synnott K, O'Byrne J. The role of interfragmentary strain on the rate of bone healing-a new interpretation and mathematical model. J Biomech 2010; 43: 2830-2834 [PMID: 20655536 DOI: 10.1016/j.jbiomech.2010.06.016]

28 Jagodzinski M, Krettek C. Effect of mechanical stability on fracture healing--an update. Injury 2007; 38 Suppl 1: S3-10 [PMID: 17383483 DOI: 10.1016/j.injury.2007.02.005]

29 Sirivella S, Zikria EA, Ford WB, Samadani SR, Miller WH, Sullivan ME. Improved technique for closure of median sternotomy incision. Mersilene tapes versus standard wire closure. J Thorac Cardiovasc Surg 1987; 94: 591-595 [PMID: 3309481]

30 Sommerhaug RG, Reid DA, Wolfe SF, Lindsey DE. Sternal dehiscence: pericostal guy wires equals sternal stability. Ann Thorac Surg 1986; 42: 107-108 [PMID: 3729606 DOI: 10.1016/S0003-4975(10)61857-7]

31 Soroff HS, Hartman AR, Pak E, Sasvary DH, Pollak SB. Improved sternal closure using steel bands: early experience with three-year follow-up. Ann Thorac Surg 1996; 61: 1172-1176 [PMID: 8607678 DOI: 10.1016/0003-4975(96)00025-2]

32 Kalush SL, Bonchek LI. Peristernal closure of median sternotomy using stainless steel bands. Ann Thorac Surg 1976; 21: 172-173 [PMID: 1267917 DOI: 10.1016/S0003-4975(10)64285-3]

33 Currey JD, Brear K, Zioupos P, Reilly GC. Effect of formaldehyde fixation on some mechanical properties of bovine bone. Biomaterials 1995; 16: 1267-1271 [PMID: 8589198 DOI: 10.1016/0142-9612(95)98135-2]

34 Di Marco RF, Lee MW, Bekoe S, Grant KJ, Woelfel GF, Pellegrini RV. Interlocking figure-of-8 closure of the sternum. Ann Thorac Surg 1989; 47: 927-929 [PMID: 2667479 DOI: 10.1016/0003-4975(89)90042-8]

35 Saito T, Iguchi A, Sakurai M, Tabayashi K. Biomechanical study of a poly-L-lactide (PLLA) sternal pin in sternal closure after cardiothoracic surgery. Ann Thorac Surg 2004; 77: 684-687 [PMID: 14759459 DOI: 10.1016/S0003-4975(03)01341-9]

36 Joshi R, Abraham S, Sampath Kumar A. Interlocking sternotomy: initial experience. Asian Cardiovasc Thorac Ann 2004; 12: 16-18 [PMID: 14977735]

37 John S, Weil L, Weil LS, Chase K. Scarf osteotomy for the correction of adolescent hallux valgus. Foot Ankle Spec 2010; 3: 10-14 [PMID: 20400434 DOI: 10.1177/1938640009352806]

38 Coles CP, Barei DP, Nork SE, Taitsman LA, Hanel DP, Bradford Henley M. The olecranon osteotomy: a six-year experience in the treatment of intraarticular fractures of the distal humerus. J Orthop Trauma 2006; 20: 164-171 [PMID: 16648697 DOI: 10.1177/1938640009352806]

39 Lee ME, Blanche C. Curvilinear paramedian sternotomy. Ann Thorac Surg 1984; 38: 414 [PMID: 6486957 DOI: 10.1016/S0003-4975(10)62299-0]

P-Reviewers Elias J, Laudner K, Lorbach O, Maruyama T, Mashreky SR, Kobayashi S

S-Editor Gou SX L-Editor  E-Editor

AB

Figure 1 Sternotomy. A: Fixated median straight sternotomy, anterior view; B: Fixated interlocking sternotomy, anterior view.

Figure 2 Sternotomy planes of interlocking sternotomy. Each zigzag osteotomy line was perpendicular to the previous line in the axial plane, which are showed with arrows.

Figure 3 The sterna were attached to custom fixtures designed to produce displacement in one of three directions.

Table 1 Biomechanical characteristics of median sternotomies in fresh sheep sterna 4 d after surgery

| Characteristic | Median straight sternotomy (n = 8), mean (range) | Median interlocking sternotomy (n = 8), mean (range) | Difference (95%CI) |
| --- | --- | --- | --- |
| CC displacement (mm) | 9.66 ± 3.34 (5.24 to 15.35) | 1.26 ± 0.97 (0.3 to 2.8) | 6.08 to 10.71 P < 0.001 |
| AP displacement (mm) | 9.12 ± 2.74 (5.48 to 14.78) | 1.20 ± 0.55 (0.3 to 2.5) | 6.06 to 9.77 P < 0.001 |
| Lateral displacement, (mm) | 8.95 ± 3.86 (5.1 to 17.1) | 7.24 ± 2.43 (3.26 to 11.11) | -1.32 to 4.74 P > 0.001 |
| Surface area (cm²) | 10.40 ± 0.49 (9.6 to 10.9 ) | 16.8 ± 0.78 (15.3 to 18.3) | -7.01 to 5.78 P < 0.001 |

CC: Cranio-caudal; AP: Anterio-posterior.