Name of Journal: World Journal of Gastroenterology

ESPS Manuscript NO: 25961

Manuscript Type: Topic Highlights

2016 Gastrointestinal Endoscopy: Global view

Recent traction methods for endoscopic submucosal dissection

Tsuji K et al. Traction for ESD

Kunihiro Tsuji, Naohiro Yoshida, Hiroyoshi Nakanishi, Kenichi Takemura, Shinya Yamada, Hisashi Doyama

Kunihiro Tsuji, Naohiro Yoshida, Hiroyoshi Nakanishi, Kenichi Takemura, Shinya Yamada, Hisashi Doyama, Department of Gastroenterology, Ishikawa Prefectural Central Hospital, Kanazawa, Ishikawa 920-8530, Japan

Author contributions: Tsuji K and Doyama H wrote the paper; Nakanishi H, Yoshida N, Takemura K and Yamada S contributed to revision of the manuscript for important content.

Conflict-of-interest statement: No conflict of interest.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Manuscript source: Invited manuscript

Correspondence to: Hisashi Doyama, MD, PhD, Department of Gastroenterology, Ishikawa Prefectural Central Hospital, 2-1 Kuratukihigashi, Kanazawa, Ishikawa 920-8530, Japan. doyama.134@ipch.jp

Tel: +81-76-237-8211

Fax: +81-76-238-5366

Telephone: +1-51-49341934

Fax: +1-51-48431434

Received: March 26, 2016

Peer-review started: March 28, 2016

First decision: May 27, 2016

Revised: June 5, 2016

Accepted: June 15, 2016

Article in press:

Published online:

Abstract

Endoscopic mucosal resection (EMR) is problematic with regard to en bloc and curable resection rates. Advancements in endoscopic techniques have enabled novel endoscopic approaches such as endoscopic submucosal dissection (ESD), which has overcome some EMR problems, and has become the standard treatment for gastrointestinal tumors. However, ESD is technically difficult. Procedure time is longer and complications such as intraoperative perforation and bleeding occur more frequently than in EMR. Recently various traction methods have been introduced to facilitate ESD procedures, such as clip with line, external forceps, clip and snare, internal traction, double scope, and magnetic anchor. Each method must be used appropriately according to the anatomical characteristics. In this review we discuss recently proposed traction methods for ESD based on the characteristics of various anatomical sites.

Key words: Endoscopic submucosal dissection; Traction; Pharyngeal cancer; Esophageal cancer; Gastric cancer; Colorectal cancer

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Core tip: Endoscopic submucosal dissection (ESD) is technically one of the most difficult endoscopic procedures. Recently, traction methods have been introduced to facilitate ESD procedures, various types of which have been proposed. Each traction method must be used appropriately according to anatomical characteristics. We discuss recently proposed traction methods for ESD based on the characteristics of various anatomical sites.

Tsuji K, Yoshida N, Nakanishi H, Takemura K, Yamada S, Doyama H. Recent traction methods for endoscopic submucosal dissection. World J Gastroenterol 2016; In press

INTRODUCTION

Endoscopic mucosal resection (EMR) has been performed for the treatment of superficial gastrointestinal tumors since the 1980s[1,2]. However, EMR is problematic with regard to the rates of en bloc and curable resection[1]. Advancements in endoscopic techniques has led to novel endoscopic approaches such as endoscopic submucosal dissection (ESD)[3-5], which has overcome some of the problems associated with EMR and has been applied to previously unresectable lesions, such as large tumors and tumors with ulcer scarring. Although endoscopic treatment is generally less invasive than open surgery, the technique of ESD is complicated and difficult. Because of its technical difficulty, the procedure time is longer and complications such as perforation and bleeding occur more frequently than in EMR[6,7]. In addition, technical difficulties have prevented its widespread use, and ESD remains unpopular in Western countries[8,9].

Recently, new concepts have been devised to facilitate the ESD procedure, one of which is the traction method[10]. New devices and techniques have been reported for this ESD approach. Traction methods are essentially used to facilitate visualization of the submucosal layer, thus enabling accurate identification of the cutting line and submucosal vessels. Traction is thus a promising approach to help reduce the procedure time and complications, and may lead to more widespread adoption of ESD.

ESD was developed primarily as a treatment for gastric tumor, but is now also used for pharyngeal, esophageal, and colorectal tumors. Types of traction methods include clip with line, external forceps, clip and snare, internal traction, double scope, and magnetic anchor[10]. Each traction technique has its own characteristics and must be used appropriately in accordance with individual anatomical considerations. Although Imaeda et al[10] reviewed the advantages and disadvantages of the traction method, they did not discuss its use based on anatomical features. Here, we describe in brief the various traction methods available (Table 1), followed by a discussion of recent traction techniques for ESD based on the characteristics of different anatomical sites.

CHARACTERISTICS OF EACH TRACTION METHOD

Clip-with-line method

The clip-with-line method was reported by Oyama et al[11,12] and Jeon et al[13], and is carried out as follows. A 3-0 silk line is tied to the arm part of the clip. After circumferential cutting, a clip applicator device is inserted into the accessory channel of the endoscope, and the clip with line is mounted on the tip of the applicator. The scope is inserted again, and the clip with line is attached to the edge of the lesion. The lesion is then pulled toward the oral side using the line. Although this technique is simple, traction is directed solely through pulling (Figure 1).

External forceps method

Imaeda et al[14,15] reported the efficacy of an ESD procedure using an external grasping forceps, performed as follows. After circumferential cutting, an external grasping forceps is grasped by a second grasping forceps inserted through the accessory channel. The external forceps is delivered with the help of the second grasping forceps, taking care to avoid injuring the mucosa, especially at the esophagocardial junction. After the external grasping forceps is anchored at the edge of the lesion, the second forceps is released. The direction of traction is controlled not only by pulling but also by pushing, using the external grasping forceps (Figure 2).

Clip-and-snare method

The clip-and-snare method (CSM), which uses a hemiclip and snare, has been reported by Yasuda et al[16], Baldaque-Silva et al[17], and Jin et al[18]. The traction of this method involves pulling and pushing the lesion by a hemoclip grasped with the snare. However, delivery of the snare is sometimes difficult[19]. Moreover, Yoshida et al[19] reported use of the CSM with a prelooping technique (CSM-PLT), which improved delivery of the snare (Figure 3). CSM-PLT is carried out as follows. After circumferential cutting, the endoscope is withdrawn once to preloop a snare over it. The scope and snare are reinserted. A clip is inserted through the working channel of the endoscope and is used to grasp the mucosal flap. The prelooping snare is loosened and moved along the forceps up to the clip. The snare is then tightened to grasp the clip. Finally, the clip is released from its deployment device. Traction is maintained by the snare and clip independent of the scope. This method can be applied to any site.

Internal traction method

Internal traction can employ several methods, such as the medical ring, the clip band technique, and clip modifications[20-22]. Although some differences exist among methods, internal traction is generally carried out as follows. First, a rubber band, medical ring, or nylon line is connected to the clip after circumferential cutting. Next, the clip is inserted into the working channel of the endoscope and attached to the edge of the resected lesion, then the second clip with the band is attached to the opposite mucosa. Dissection is facilitated by continuous traction exerted by this system (Figure 4).

Double-scope method

The double-scope method was reported by Morita et al[23], Higuchi et al[24], and Fujii et al[25], and is carried out as follows. Circumferential cutting is performed by the main endoscope, which is then left in the stomach after the lesion is grasped with the loop. A small-caliber endoscope is inserted along the main scope. A grasping forceps is inserted through the channel of the small-caliber endoscope and the lesion is grasped by a grasping forceps. The traction can be adjusted by the small-caliber endoscope in any direction (Figure 5).

TRACTION METHODS PERTAINING TO ANATOMICAL SITE

Head and neck

Recent advances in endoscopic devices, including magnifying endoscopy and narrow-band imaging, have enabled improvement in the early diagnosis of superficial head and neck carcinoma[26-28], and the use of ESD for such superficial lesions has been reported[29,30]. Although the anatomical structure of the head and neck is generally complex, approaching the lesion using a traction device is relatively easy because of the oral proximity. Iizuka et al[31] reported ESD using Fraenkel laryngeal forceps, whose length is approximately 23 cm (Figure 6A). This method is useful to facilitate visualization of the submucosal layer because it can be adjusted in any direction as needed (Figure 6B). However, disadvantages of this method are interference between the endoscope and forceps, the need for an assistant to operate the Fraenkel laryngeal forceps, and, crucially, potential damage to the specimen. The epithelium of the pharynx is frail and easily exfoliated; histological examination of the lateral margin is unclear in some cases[32]. Iizuka et al[31] proposed that the rear side of the specimen, instead of the edge, should be grasped by the Fraenkel laryngeal forceps to prevent specimen damage. Proficiency in the use of Fraenkel laryngeal forceps may be required to achieve proper traction.

Recently, endoscopic laryngopharyngeal surgery (ELPS), which was developed by modifying the ESD procedure, was reported (Figure 7)[33,34]. ELPS is similar to ESD but less invasive[35]. This procedure is performed by a head and neck surgeon with both hands under the guidance of a gastrointestinal scope. In a retrospective analysis, Tateya et al[35] reported that the operation time (35 min) of ELPS was shorter than that of ESD (50–65.3 min). Although ELPS is becoming a major option in the treatment of superficial head and neck carcinoma, it requires an experienced head and neck surgeon and is expensive. A prospective, randomized controlled trial is warranted to compare the functional and oncological results of ELPS and ESD.

Esophagus

The esophagus is a tube running from the pharynx to the stomach. Although its anatomical structure is not complex, the esophageal lumen is narrower than that of other organs, so most ESD procedures for esophageal tumor are performed only from the frontal view. Traction devices in the esophagus are required not to interfere with the endoscope in this narrow lumen. An approach such as the double-scope method is not suitable in terms of endoscope interference, while an internal traction method presents difficulty in setting two clips connected by a rubber or nylon ring because the space is limited.

The clip-with-line method was reported by Oyama et al[11,12], Ohta et al[36], Jeon et al[13], and Tsao et al[37]. This technique is simple and does not require special devices and equipment[11,12]. Although the counteraction of this method is adjusted only by pulling, it is sufficient for esophageal tumor because ESD for such a tumor is performed only from the frontal view. A prospective study was performed to confirm the safety and efficacy of this technique by Koike et al[38], who demonstrated that the dissection time (19.8 min) of the traction method was shorter than that of conventional ESD (31.8 min), without complications. Given the established safety and shorter dissection time[38], the clip-with-line method for esophageal ESD is a viable option in the treatment of superficial esophageal tumor.

Another promising newly developed technique for esophageal ESD, reported by Ohata et al[39], Hirota et al[40], and Motohashi et al[41], is the modified external forceps method. The reported method uses an overtube equipped with a side channel or an Impact Shooter (TOP Co., Tokyo, Japan) mounted on the scope. The grasping forceps is inserted into the side channel to grasp the edge of the lesion in order to provide traction. Although this method is more difficult than the clip-with-line method in terms of interference, the advantage is that traction can be adjusted not only by pulling but also by rotation. The feasibility and potential efficacy of this method have been demonstrated[40,41], although the sample size was small. Further studies are warranted, including a prospective study.

Stomach

The stomach is a J-shaped organ that is distensible and may take on various shapes, and is divided into five regions: cardia, fundus, body, antrum, and pylorus. Given the idiosyncrasies of each area, the difficulty of ESD varies depending on region and/or lesion.

The clip-with-line method is useful for stomach lesions. Jeon et al[13], He et al[42], Yoshida et al[43], and Suzuki et al[44] reported that this technique is effective and safe for ESD to treat gastric neoplasms. Okamoto et al[45] reported a similar method. Like ESD for esophageal tumor, the advantage of this technique is its simplicity. This method reduced procedure time without increasing adverse events in a matched case-control study[43,44]. Yoshida et al[43] reported that the procedure time (43 ± 24 min) in the traction group was shorter compared with that for conventional ESD (52 ± 30 min), consistent with the findings of Suzuki et al[44] (procedure time 82.2 ± 79.5 min for traction vs 118.2 ± 71.6 min for conventional ESD). A prospective, randomized controlled study with the aim of confirming the efficacy of this technique in Japan is now under way, registered in the UMIN Clinical Trial Registry as UMIN000018266. However, this technique is hampered by the fact that the direction of traction is limited. This disadvantage also applies to the pulley method, which is similar to the clip-with-line approach[46]. Oyama et al[11] reported that the clip with line is especially useful when the cancer exists in the greater curvature of the gastric body.

The external forceps method is an option for the treatment of gastric tumor. In a retrospective analysis, Imaeda et al[14,15] reported the efficacy and safety of ESD using an external grasping forceps for gastric neoplasia. The direction of traction was controlled not only by pulling but also by pushing using these forceps. However, disadvantages include injury to the patient and difficulty in carrying out the procedure for lesions in the cardia, lesser curvature, or posterior wall of the upper gastric body[15].

Yasuda et al[16], Baldaque-Silva et al[17], and Jin et al[18] reported on their experience with the CSM. Traction using a snare, which is a conventional endoscopic device, enables the lesion to be pulled and pushed. As the snare is more flexible than forceps, ensuing damage is less than occurs using external forceps. Although this technique is a potential improvement on external grasping forceps, delivery of the snare is sometimes difficult and risks gastric tissue injury, especially when lesions are located in the upper body[19]. CSM-PLT, which improved the delivery of the snare, was reported by Yoshida et al[19]. Using a prelooping technique enabled delivery of the snare to any location, and required no special device. CSM-PLT was considered effective and safe for gastric ESD. Yoshida et al[47] demonstrated that the procedure time (38.5 min) for the CSM-PLT group was shorter than that for the control group (59.5 min) in a retrospective matched-pair comparison (P < 0.023).

The internal traction method for gastric tumor was reported by Matsumoto et al[20], Parra-Blanco et al[21], and Chen et al[22]. However, this method also has problems. First, control of the traction direction is sometimes difficult because the traction is automatic. If the clips are incorrectly placed, traction might be applied in an incorrect direction. Parra-Blanco et al[21] recommend pushing the clip’s sheath distantly to the lesion to apply the second clip to the most adequate area. Second, this method might not be applicable for lesions in the pylorus or the cardia, where space is limited[22]. Third, this technique requires special devices and equipment.

The double-scope method is also an option for the treatment of gastric tumor[23-25]. This technique uses a small-caliber endoscope in addition to the main scope. The traction is adjusted in any direction by the small-caliber endoscope. Maneuvering the endoscope, changing the angle, and inserting the endoscope to apply the traction are easily accomplished. However, this method has two disadvantages. First, the two endoscopes tend to interfere with each other. Second, this method is not simple. Morita et al[23] and Fujii et al[25] reported that the technique required two light sources and instruments, as well as substantial space in the endoscopy room. Although Higuchi et al[24] reported using a single light source that could be transferred between endoscopes, this technique required time and effort.

Other less reported approaches include the percutaneous traction method, the magnetic anchor method, and the robot-assisted method. von Delius et al[48] reported a percutaneously assisted ESD using a PEG-minitrocar. However, this method is limited to the area of lesions and is more invasive than other traction methods. The magnetic anchor and robot-assisted methods have the potential to facilitate and change the procedure itself[49-51]. However, these systems are not yet practicable in clinical practice. Further research is required for continued improvement.

Colon and rectum

The colon is long, the lumen is angulated, and the intestinal wall is thin. Colorectal ESD is consequently limited to a few high-expertise centers, thus hampering its broader application to Western countries[52]. Moreover, colorectal ESD is not widely performed even by Eastern endoscopists because of its technical difficulty, longer procedure time, and increased risk of related complications[53,54]. Traction methods have been attempted to facilitate the procedure of colorectal ESD. Although it is easy to apply any traction methods to the rectum, it is difficult to do so in the deep colon because of difficulty in reinserting the endoscope and adjusting the traction[10]. It is therefore important to distinguish between the rectum and deep colon.

The double-scope method for colorectal tumors was reported by Uraoka et al[55]. This approach requires a second endoscopist to operate the thin endoscope for traction, and is limited to the rectum and distal sigmoid colon because of difficulty in inserting the thin endoscope[55]. ESD for rectal cancers using an external forceps was reported by Imaeda et al[56]. ESD using an external forceps was possible only for rectal tumors because of difficulty in inserting and controlling the forceps[56], making it too difficult to apply to the deep colon.

Internal traction methods such as rubber strips, S-O clips, loop-attached rubber bands, and latex bands are also promising for the treatment of colorectal tumors[57-62]. Although control of the traction direction is difficult and a special device is required, internal traction can be advantageous for deep colon procedures. First, internal traction methods do not require reinsertion of the endoscope, as clips connected by a rubber ring or nylon are used. Clips such as the S-O clip can be passed through the instrument channel of the endoscope. Second, this system is independent, and is thus not limited by endoscopic movement. A prospective study was performed to confirm the safety and efficacy of this method by Ritsuno et al[60], who demonstrated that the procedure time for the S-O clip-assisted ESD was significantly shorter than that for conventional ESD (37.4 ± 32.6 min vs 67.1 ± 44.1 min, P = 0.03). Saito et al[63] reported on a similar concept, a sinker-assisted endoscopic submucosal dissection. However, this technique required reinsertion of the scope to set up the sinker, and is therefore difficult to apply to the deep colon.

Recently, two novel traction methods that do not require special devices or equipment and enable access to the deep colon have been reported. Yamasaki et al[64,65] reported their modified clip-with-line method, which does not require withdrawal and reinsertion of the endoscope. However, it has two disadvantages. First, it is difficult to adjust the traction. The counteraction is adjusted solely by pulling, whereby it is difficult to add further traction to tighten the line. Second, the procedural success rate of traction-assisted clip and line was 87%[65]. Yamasaki et al[65] recommended pulling gently on the line within the proximal colon because the clip detached from three lesions, all of which were in the proximal colon.

The second method, reported by Yamada et al[66] and Ota et al[67], uses the CSM-PLT approach to deep colon endoscopy. Although this method requires reinsertion of the endoscope, it can applied to any colon using the prelooping technique and a balloon overtube (ST-CB1; Olympus, Tokyo). Traction is maintained by the snare and the clip independent of the scope[66,67]. This method requires no special equipment, and is superior to the aforementioned method in two aspects. First, the clip-and-snare method enabled pushing and pulling movements for traction (Figure 8). Second, it has more flexibility. We were able to perform the ESD not only from the frontal but also the retroflex view using the clip-and-snare method. Moreover, this method enables widespread access to the submucosa through the placement of multiple clips on different edges of a lesion. This flexibility is important when ESD is performed for colorectal lesions because the clinical situation can change from moment to moment[67]. Yamada et al[66] demonstrated in a retrospective study that the procedure time for CSM-PLT was significantly shorter than that for a control group (45.6 min vs 70.1 min; P = 0.047). However, the number of patients was small. Further prospective studies are warranted to confirm the efficacy and safety of this method.

Conclusion

Various traction methods have been reported for ESD based on specific characteristics of each anatomical site. Each method has advantages and disadvantages, as delineated in Tables 1 and 2. Appropriate application of traction methods combined with technical proficiency will improve the outcomes of ESD procedures. Further advancements should be assessed through prospective, randomized controlled studies.

REFERENCES

1 Uedo N, Takeuchi Y, Ishihara R. Endoscopic management of early gastric cancer: endoscopic mucosal resection or endoscopic submucosal dissection: data from a Japanese high-volume center and literature review. Ann Gastroenterol 2012; 25: 281-290 [PMID: 24714247]

2 Tamura S, Nakajo K, Yokoyama Y, Ohkawauchi K, Yamada T, Higashidani Y, Miyamoto T, Ueta H, Onishi S. Evaluation of endoscopic mucosal resection for laterally spreading rectal tumors. Endoscopy 2004; 36: 306-312 [PMID: 15057679]

3 Ribeiro-Mourão F, Pimentel-Nunes P, Dinis-Ribeiro M. Endoscopic submucosal dissection for gastric lesions: results of an European inquiry. Endoscopy 2010; 42: 814-819 [PMID: 20886399 DOI: 10.1055/s-0030-1255778]

4 Draganov PV, Coman RM, Gotoda T. Training for complex endoscopic procedures: how to incorporate endoscopic submucosal dissection skills in the West? Expert Rev Gastroenterol Hepatol 2014; 8: 119-121 [PMID: 24308749 DOI: 10.1586/17474124]

5 Ono H, Kondo H, Gotoda T, Shirao K, Yamaguchi H, Saito D, Hosokawa K, Shimoda T, Yoshida S. Endoscopic mucosal resection for treatment of early gastric cancer. Gut 2001; 48: 225-229 [PMID: 11156645]

6 Ohkuwa M, Hosokawa K, Boku N, Ohtu A, Tajiri H, Yoshida S. New endoscopic treatment for intramucosal gastric tumors using an insulated-tip diathermic knife. Endoscopy 2001; 33: 221-226 [PMID: 11293753]

7 Gotoda T, Yamamoto H, Soetikno RM. Endoscopic submucosal dissection of early gastric cancer. J Gastroenterol 2006; 41: 929-942 [PMID: 17096062]

8 Rösch T, Sarbia M, Schumacher B, Deinert K, Frimberger E, Toermer T, Stolte M, Neuhaus H. Attempted endoscopic en bloc resection of mucosal and submucosal tumors using insulated-tip knives: a pilot series. Endoscopy 2004; 36: 788-801 [PMID: 15326574]

9 Teoh AY, Chiu PW, Wong SK, Sung JJ, Lau JY, Ng EK. Difficulties and outcomes in starting endoscopic submucosal dissection. Surg Endosc 2010; 24: 1049-1054 [PMID: 19911227 DOI: 10.1007/s00464-009-0724-8]

10 Imaeda H, Hosoe N, Kashiwagi K, Ohmori T, Yahagi N, Kanai T, Ogata H. Advanced endoscopic submucosal dissection with traction. World J Gastrointest Endosc 2014; 6: 286-295 [PMID: 25031787 DOI: 10.4253/wjge.v6.i7.286]

11 Oyama T, Kikuchi Y, Shimaya S, Tomori A, Hotta K, Miyata Y, Yamada S. Endoscopic mucosal resection using a hooking knife (hooking EMR). Stomach Intestine 2002; 37: 1155-1161

12 Oyama T. Counter traction makes endoscopic submucosal dissection easier. Clin Endosc 2012; 45: 375-378 [PMID: 23251884 DOI: 10.5946/ce.2012.45.4.375]

13 Jeon WJ, You IY, Chae HB, Park SM, Youn SJ. A new technique for gastric endoscopic submucosal dissection: peroral traction-assisted endoscopic submucosal dissection. Gastrointest Endosc 2009; 69: 29-33 [PMID: 19111686 DOI: 10.1016/j.gie.2008.03.1126]

14 Imaeda H, Iwao Y, Ogata H, Ichikawa H, Mori M, Hosoe N, Masaoka T, Nakashita M, Suzuki H, Inoue N, Aiura K, Nagata H, Kumai K, Hibi T. A new technique for endoscopic submucosal dissection for early gastric cancer using an external grasping forceps. Endoscopy 2006; 38: 1007-1010 [PMID: 16673308]

15 Imaeda H, Hosoe N, Ida Y, Kashiwagi K, Morohoshi Y, Suganuma K, Nagakubo S, Komatsu K, Suzuki H, Saito Y, Aiura K, Ogata H, Iwao Y, Kumai K, Kitagawa Y, Hibi T. Novel technique of endoscopic submucosal dissection using an external grasping forceps for superficial gastric neoplasia. Dig Endosc 2009; 21: 122-127 [PMID: 19691787 DOI: 10.1111/j.1443-1661.2009.00842.x]

16 Yasuda M, Naito Y, Kokura S, Yoshida N, Yoshikawa T. Newly-developed ESD (CSL-ESD) for early gastric cancer using convenient and low-cost lifting method (lifting method using clips and snares) for lesions is clinically useful. Gastrointest Endosc 2012; 75: AB244

17 Baldaque-Silva F, Vilas-Boas F, Velosa M, Macedo G. Endoscopic submucosal dissection of gastric lesions using the "yo-yo technique". Endoscopy 2013; 45: 218-221 [PMID: 23212725 DOI: 10.1055/s-0032-1325868]

18 Jin P, Yu Y, Fu KI, Yu DL, Li AQ, Sheng JQ. A new traction method with use of the snare as a "second hand" during endoscopic submucosal dissection. Endoscopy 2015; 47 Suppl 1 UCTN: E286-E287 [PMID: 26099096 DOI: 10.1055/s-0034-1392028]

19 Yoshida N, Doyama H, Ota R, Tsuji K. The clip-and-snare method with a pre-looping technique during gastric endoscopic submucosal dissection. Endoscopy 2014; 46 Suppl 1 UCTN: E611-E612 [PMID: 25502265 DOI: 10.1055/s-0034-1390752]

20 Matsumoto K, Nagahara A, Sakamoto N, Suyama M, Konuma H, Morimoto T, Sagawa E, Ueyama H, Takahashi T, Beppu K, Shibuya T, Osada T, Yoshizawa T, Ogihara T, Watanabe S. A new traction device for facilitating endoscopic submucosal dissection (ESD) for early gastric cancer: the "medical ring". Endoscopy 2011; 43 Suppl 2 UCTN: E67-E68 [PMID: 21341187 DOI: 10.1055/s-0030-1255923]

21 Parra-Blanco A, Nicolas D, Arnau MR, Gimeno-Garcia AZ, Rodrigo L, Quintero E. Gastric endoscopic submucosal dissection assisted by a new traction method: the clip-band technique. A feasibility study in a porcine model (with video). Gastrointest Endosc 2011; 74: 1137-1141 [PMID: 22032320 DOI: 10.1016/j.gie.2011.07.037]

22 Chen PJ, Chu HC, Chang WK, Hsieh TY, Chao YC. Endoscopic submucosal dissection with internal traction for early gastric cancer (with video). Gastrointest Endosc 2008; 67: 128-132 [PMID: 18054010]

23 Morita Y, Masuda M, Tanaka S, Fujiwara M, Wakahara C, Toyonaga A new T, Azuma T. A new approach to treating difficult cases of early gastric cancer: development of a double scope-ESD using transnasal endoscope with a “Split Barrel” [in Japanese with English abstract]. Endoscopia Digestiva 2010; 22: 846-851

24 Higuchi K, Tanabe S, Azuma M, Sasaki T, Katada C, Ishido K, Naruke A, Mikami T, Koizumi W. Double-endoscope endoscopic submucosal dissection for the treatment of early gastric cancer accompanied by an ulcer scar (with video). Gastrointest Endosc 2013; 78: 266-273 [PMID: 23472995 DOI: 10.1016/j.gie.2013.01.010]

25 Fujii L, Onkendi EO, Bingener-Casey J, Levy MJ, Gostout CJ. Dual-scope endoscopic deep dissection of proximal gastric tumors (with video). Gastrointest Endosc 2013; 78: 365-369 [PMID: 23394839 DOI: 10.1016/j.gie.2012.12.010]

26 Muto M, Nakane M, Katada C, Sano Y, Ohtsu A, Esumi H, Ebihara S, Yoshida S. Squamous cell carcinoma in situ at oropharyngeal and hypopharyngeal mucosal sites. Cancer 2004; 101: 1375-1381 [PMID: 15368325]

27 Muto M, Katada C, Sano Y, Yoshida S. Narrow band imaging: a new diagnostic approach to visualize angiogenesis in superficial neoplasia. Clin Gastroenterol Hepatol 2005; 3: S16-S20 [PMID: 16012987]

28 Muto M, Minashi K, Yano T, Saito Y, Oda I, Nonaka S, Omori T, Sugiura H, Goda K, Kaise M, Inoue H, Ishikawa H, Ochiai A, Shimoda T, Watanabe H, Tajiri H, Saito D. Early detection of superficial squamous cell carcinoma in the head and neck region and esophagus by narrow band imaging: a multicenter randomized controlled trial. J Clin Oncol 2010; 28: 1566-1572 [PMID: 20177025 DOI: 10.1200/JCO.2009.25.4680]

29 Muto M, Satake H, Yano T, Minashi K, Hayashi R, Fujii S, Ochiai A, Ohtsu A, Morita S, Horimatsu T, Ezoe Y, Miyamoto S, Asato R, Tateya I, Yoshizawa A, Chiba T. Long-term outcome of transoral organ-preserving pharyngeal endoscopic resection for superficial pharyngeal cancer. Gastrointest Endosc 2011; 74: 477-484 [PMID: 21704994 DOI: 10.1016/j.gie.2011.04.027]

30 Emura F, Baron TH, Gralnek IM. The pharynx: examination of an area too often ignored during upper endoscopy. Gastrointest Endosc 2013; 78: 143-149 [PMID: 23582474 DOI: 10.1016/j.gie.2013.02.021]

31 Iizuka T, Kikuchi D, Hoteya S, Takeda H, Kaise M. A new technique for pharyngeal endoscopic submucosal dissection: peroral countertraction (with video). Gastrointest Endosc 2012; 76: 1034-1038 [PMID: 22906853 DOI: 10.1016/j.gie.2012.07.013]

32 Iizuka T, Kikuchi D, Hoteya S, Nakamura M, Yamashita S, Mitani T, Takeda H, Yahagi N. Clinical advantage of endoscopic submucosal dissection over endoscopic mucosal resection for early mesopharyngeal and hypopharyngeal cancers. Endoscopy 2011; 43: 839-843 [PMID: 21833903 DOI: 10.1055/s-0031-1271112]

33 Satou Y, Omori T, Tagawa M. [Treatment of superficial carcinoma in the hypopharynx]. Nihon Jibiinkoka Gakkai Kaiho 2006; 109: 581-586 [PMID: 16910578]

34 Tateya I, Muto M, Morita S, Miyamoto S, Hayashi T, Funakoshi M, Aoyama I, Higuchi H, Hirano S, Kitamura M, Ishikawa S, Kishimoto Y, Morita M, Ito J. Endoscopic laryngo-pharyngeal surgery for superficial laryngo-pharyngeal cancer. Surg Endosc 2016; 30: 323-329 [PMID: 25917165 DOI: 10.1007/s00464-015-4213-y]

35 Tateya I, Shiotani A, Satou Y, Tomifuji M, Morita S, Muto M, Ito J. Transoral surgery for laryngo-pharyngeal cancer - The paradigm shift of the head and cancer treatment. Auris Nasus Larynx 2016; 43: 21-32 [PMID: 26298233 DOI: 10.1016/j.anl.2015.06.013]

36 Ota M, Nakamura T, Hayashi K, Ohki T, Narumiya K, Sato T, Shirai Y, Kudo K, Yamamoto M. Usefulness of clip traction in the early phase of esophageal endoscopic submucosal dissection. Dig Endosc 2012; 24: 315-318 [PMID: 22925282 DOI: 10.1111/j.1443-1661.2012.01286.x]

37 Tsao SK, Toyonaga T, Morita Y, Fujita T, Hayakumo T, Azuma T. Modified fishing-line traction system in endoscopic submucosal dissection of large esophageal tumors. Endoscopy 2011; 43 Suppl 2 UCTN: E119 [PMID: 21425004 DOI: 10.1055/s-0030-1256148]

38 Koike Y, Hirasawa D, Fujita N, Maeda Y, Ohira T, Harada Y, Suzuki K, Yamagata T, Tanaka M. Usefulness of the thread-traction method in esophageal endoscopic submucosal dissection: randomized controlled trial. Dig Endosc 2015; 27: 303-309 [PMID: 25357187 DOI: 10.1111/den.12396]

39 Ohata K, Fu K, Shouzushima M, Hamanaka J, Ono A, Ito T, Tsuji Y, Chiba H, Matsuhashi N. A novel traction system for esophageal endoscopic submucosal dissection. Endoscopy 2012; 44 Suppl 2 UCTN: E410-E411 [PMID: 23169040 DOI: 10.1055/s-0032-1325735]

40 Hirota M, Kato M, Yamasaki M, Kawai N, Miyazaki Y, Yamada T, Takahashi T, Takehara T, Mori M, Doki Y, Nakajima K. A novel endoscopic submucosal dissection technique with robust and adjustable tissue traction. Endoscopy 2014; 46: 499-502 [PMID: 24473906 DOI: 10.1055/s-0034-1364879]

41 Motohashi O, Nishimura K, Nakayama N, Takagi S, Yanagida N. Endoscopic submucosal dissection (two-point fixed ESD) for early esophageal cancer. Dig Endosc 2009; 21: 176-179 [PMID: 19691765 DOI: 10.1111/j.1443-1661.2009.00881.x]

42 He Y, Fu K, Leung J, Du Y, Wang J, Jin P, Yu Y, Yu D, Wang X, Sheng J. Traction with dental floss and endoscopic clip improves trainee success in performing gastric endoscopic submucosal dissection (ESD): a live porcine study (with video). Surg Endosc 2015; Epub ahead of print

43 Yoshida M, Takizawa K, Ono H, Igarashi K, Sugimoto S, Kawata N, Tanaka M, Kakushima N, Ito S, Imai K, Hotta K, Matsubayashi H. Efficacy of endoscopic submucosal dissection with dental floss clip traction for gastric epithelial neoplasia: a pilot study (with video). Surg Endosc 2015; Epub ahead of print [PMID: 26487208]

44 Suzuki S, Gotoda T, Kobayashi Y, Kono S, Iwatsuka K, Yagi-Kuwata N, Kusano C, Fukuzawa M, Moriyasu F. Usefulness of a traction method using dental floss and a hemoclip for gastric endoscopic submucosal dissection: a propensity score matching analysis (with videos). Gastrointest Endosc 2016; 83: 337-346 [PMID: 26320698 DOI: 10.1016/j.gie.2015.07.014]

45 Okamoto K, Okamura S, Muguruma N, Kitamura S, Kimura T, Imoto Y, Miyamoto H, Okahisa T, Takayama T. Endoscopic submucosal dissection for early gastric cancer using a cross-counter technique. Surg Endosc 2012; 26: 3676-3681 [PMID: 22692462 DOI: 10.1007/s00464-012-2364-7]

46 Li CH, Chen PJ, Chu HC, Huang TY, Shih YL, Chang WK, Hsieh TY. Endoscopic submucosal dissection with the pulley method for early-stage gastric cancer (with video). Gastrointest Endosc 2011; 73: 163-167 [PMID: 21030018 DOI: 10.1016/j.gie.2010.08.041]

47 Yoshida N, Doyama, H, Ota R, Takeda Y, Nakanishi H, Tominaga H, Tsuji S, Takemura K. Effectiveness of clip-and-snare method using pre-looping technique for gastric endoscopic submucosal dissection. World J Gastrointest Endsc 2016; in press

48 von Delius S, Karagianni A, von Weyhern CH, Feussner H, Schuster T, Schmid RM, Frimberger E. Percutaneously assisted endoscopic surgery using a new PEG-minitrocar for advanced endoscopic submucosal dissection (with videos). Gastrointest Endosc 2008; 68: 365-369 [PMID: 18561928 DOI: 10.1016/j.gie.2008.02.093]

49 Gotoda T, Oda I, Tamakawa K, Ueda H, Kobayashi T, Kakizoe T. Prospective clinical trial of magnetic-anchor-guided endoscopic submucosal dissection for large early gastric cancer (with videos). Gastrointest Endosc 2009; 69: 10-15 [PMID: 18599053 DOI: 10.1016/j.gie.2008.03.1127]

50 Ho KY, Phee SJ, Shabbir A, Low SC, Huynh VA, Kencana AP, Yang K, Lomanto D, So BY, Wong YY, Chung SC. Endoscopic submucosal dissection of gastric lesions by using a Master and Slave Transluminal Endoscopic Robot (MASTER). Gastrointest Endosc 2010; 72: 593-599 [PMID: 20646698 DOI: 10.1016/j.gie.2010.04.009]

51 Chiu PW, Phee SJ, Bhandari P, Sumiyama K, Ohya T, Wong J, Poon CC, Tajiri H, Nakajima K, Ho KY. Enhancing proficiency in performing endoscopic submucosal dissection (ESD) by using a prototype robotic endoscope. Endosc Int Open 2015; 3: E439-E442 [PMID: 26528498 DOI: 10.1055/s-0034-1393178]

52 Bartel MJ, Brahmbhatt BS, Wallace MB. Management of colorectal T1 carcinoma treated by endoscopic resection from the Western perspective. Dig Endosc 2016; 28: 330-341 [PMID: 26718885 DOI: 10.1111/den.12598]

53 Tanaka S, Oka S, Kaneko I, Hirata M, Mouri R, Kanao H, Yoshida S, Chayama K. Endoscopic submucosal dissection for colorectal neoplasia: possibility of standardization. Gastrointest Endosc 2007; 66: 100-107 [PMID: 17591481]

54 Nakajima T, Saito Y, Tanaka S, Iishi H, Kudo SE, Ikematsu H, Igarashi M, Saitoh Y, Inoue Y, Kobayashi K, Hisasbe T, Matsuda T, Ishikawa H, Sugihara K. Current status of endoscopic resection strategy for large, early colorectal neoplasia in Japan. Surg Endosc 2013; 27: 3262-3270 [PMID: 23508817 DOI: 10.1007/s00464-013-2903-x]

55 Uraoka T, Ishikawa S, Kato J, Higashi R, Suzuki H, Kaji E, Kuriyama M, Saito S, Akita M, Hori K, Harada K, Ishiyama S, Shiode J, Kawahara Y, Yamamoto K. Advantages of using thin endoscope-assisted endoscopic submucosal dissection technique for large colorectal tumors. Dig Endosc 2010; 22: 186-191 [PMID: 20642607 DOI: 10.1111/j.1443-1661.2010.00992.x]

56 Imaeda H, Hosoe N, Ida Y, Nakamizo H, Kashiwagi K, Kanai T, Iwao Y, Hibi T, Ogata H. Novel technique of endoscopic submucosal dissection by using external forceps for early rectal cancer (with videos). Gastrointest Endosc 2012; 75: 1253-1257 [PMID: 22624814 DOI: 10.1016/j.gie.2012.02.018]

57 Takeda T, Murakami T, Sakamoto N, Goto SP, Ritsuno H, Ueyama H, Mori H, Matsumoto K, Shibuya T, Osada T, Nagahara A, Ogihara T, Watanabe S. Traction device to remove an adenoma in the appendiceal orifice by endoscopic submucosal dissection. Endoscopy 2013; 45 Suppl 2 UCTN: E239-E240 [PMID: 24008444 DOI: 10.1055/s-0032-1309711]

58 Sakamoto N, Osada T, Shibuya T, Beppu K, Matsumoto K, Shimada Y, Konno A, Kurosawa A, Nagahara A, Ohkusa T, Ogihara T, Watanabe S. The facilitation of a new traction device (S-O clip) assisting endoscopic submucosal dissection for superficial colorectal neoplasms. Endoscopy 2008; 40 Suppl 2: E94-E95 [PMID: 19085712 DOI: 10.1055/s-2007-995603]

59 Sakamoto N, Osada T, Shibuya T, Beppu K, Matsumoto K, Mori H, Kawabe M, Nagahara A, Otaka M, Ogihara T, Watanabe S. Endoscopic submucosal dissection of large colorectal tumors by using a novel spring-action S-O clip for traction (with video). Gastrointest Endosc 2009; 69: 1370-1374 [PMID: 19403131 DOI: 10.1016/j.gie.2008.12.245]

60 Ritsuno H, Sakamoto N, Osada T, Goto SP, Murakami T, Ueyama H, Mori H, Matsumoto K, Beppu K, Shibuya T, Nagahara A, Ogihara T, Watanabe S. Prospective clinical trial of traction device-assisted endoscopic submucosal dissection of large superficial colorectal tumors using the S-O clip. Surg Endosc 2014; 28: 3143-3149 [PMID: 24879138 DOI: 10.1007/s00464-014-3572-0]

61 Osada T, Sakamoto N, Shibuya T, Beppu K, Matsumoto K, Shimada Y, Mori H, Konno A, Kurosawa A, Nagahara A, Otaka M, Ohkusa T, Ogihara T, Watanabe S. "Loops-attached rubber band" facilitation of endoscopic submucosal dissection of superficial colorectal neoplasm. Endoscopy 2008; 40 Suppl 2: E101-E102 [PMID: 19085706 DOI: 10.1055/s-2007-995605]

62 Tomiki Y, Ishiyama S, Sugimoto K, Takahashi M, Kojima Y, Tanaka M, Sakamoto K. Colorectal endoscopic submucosal dissection by using latex-band traction. Endoscopy 2011; 43 Suppl 2 UCTN: E250-E251 [PMID: 21837598 DOI: 10.1055/s-0030-1256513]

63 Saito Y, Emura F, Matsuda T, Uraoka T, Nakajima T, Ikematsu H, Gotoda T, Saito D, Fujii T. A new sinker-assisted endoscopic submucosal dissection for colorectal cancer. Gastrointest Endosc 2005; 62: 297-301 [PMID: 16046999]

64 Yamasaki Y, Takeuchi Y, Hanaoka N, Higashino K, Uedo N, Ishihara R, Iishi H. A novel traction method using an endoclip attached to a nylon string during colonic endoscopic submucosal dissection. Endoscopy 2015; 47 Suppl 1 UCTN: E238-E239 [PMID: 26069981 DOI: 10.1055/s-0034-1391868]

65 Yamasaki Y, Takeuchi Y, Uedo N, Kato M, Hamada K, Aoi K, Tonai Y, Matsuura N, Kanesaka T, Yamashina T, Akasaka T, Hanaoka N, Higashino K, Ishihara R, Iishi H. Traction-assisted colonic endoscopic submucosal dissection using clip and line: a feasibility study. Endosc Int Open 2016; 4: E51-E55 [PMID: 26793785 DOI: 10.1055/s-0041-107779]

66 Yamada S, Doyama H, Ota R, Takeda Y, Tsuji K, Tsuji S, Yoshida N. Impact of the clip and snare method using the prelooping technique for colorectal endoscopic submucosal dissection. Endoscopy 2016; 48: 281-285 [PMID: 26517845 DOI: 10.1055/s-0034-1393241]

67 Ota R, Doyama H, Tsuji K, Yamada S. Deep colonic endoscopic submucosal dissection using a modified clip and snare method incorporating a pre-looping technique. BMJ Case Rep 2015; 2015: [PMID: 25616654 DOI: 10.1136/bcr-2014-207918]

P-Reviewer: Guo xy, Lorenzo-Zuniga v S-Editor: Ma YJ L-Editor:   E-Editor:

A

B

Figure 1 The clip with the line was placed on the lesion (A), and the clip and line method facilitated adequate traction (B).

A

B

Figure 2 The external grasping forceps was carefully delivered with the help of the another grasping forceps (A) and the lesion was grasped by the external grasping forceps (B).

a                                       b

C                                      D

Figure 3 Schematic of our clip and snare method incorporating a pre-looping technique. A: Endoscope with the prelooped snare; B: The clip was inserted through the working channel of the endoscope and used to grasp the mucosal flap on one side of the lesion; C: The snare, which had been pre-looped over the scope, was loosened and moved along the forceps up to the clip. We tightened the snare to grasp the clip; D: We were then able to release the clip from the forceps (from Ota et al[67]).

Figure 4 Schematic view of internal traction method (from Chen et al[22]).

Figure 5 Schematic view of double-scope method (from Fujii et al[25]).

A

B

Figure 6 Fraenkel laryngeal forceps (A) and the lesion was grasped by the Fraenkel laryngeal forceps (B).

Figure 7 Schematic view and surgical setup of endoscopic laryngopharyngeal surgery (from Tateya et al[35]).

A                                      B

C

Figure 8 the clip-and-snare method enabled pushing and pulling movements for traction. A: The lesion was pulled anally in retroflexion view using a balloon overtube in the deep colon; B: Pushing the snare to facilitate visualization of submucosal layer; C: Traction is maintained by the snare and the clip independent of the scope.

Table 1 Characteristics of each traction method

|  | Traction direction | Control of traction | Complexity of procedure | Required device |
| --- | --- | --- | --- | --- |
| Clip with line method | Only pull | Possible | Simple | Requires no special device |
| External forceps method | Push and Pull | Possible | Simple | Requires no special device |
| Clip and snare methods using prelooping technique | Push and Pull | Possible | Simple | Requires no special device |
| Internal traction method | Any direction | Impossible | Complex | Requires special device |
| Double scope method | Any direction | Possible | Complex | Need for space and another endoscope |

Table 2 Traction method based on the anatomical site

|  | Head and Neck | Esophagus | Stomach | Colon and rectum |
| --- | --- | --- | --- | --- |
| Clip with line method | No report, but theoretically possible | Very useful | Useful, especially in the greater curvature of gastric body | Modified method is useful in any colon |
| External forceps method | Useful | Useful | Difficult in the cardia and the lesser curvature of upper gastric body | Rectum only |
| Clip and snare methods using prelooping technique | No report, but theoretically possible | No report, but theoretically possible | Useful | Useful, but requires overtube in deep colon |
| Internal traction method | No report | No report | Difficult in the pylorus and the cardia | Useful |
| Double scope method | No report, but theoretically possible | No report | Useful | Rectum only |