**Name of journal: World Journal of Gastrointestinal Endoscopy**

**ESPS Manuscript NO: 2646**

**Columns: BRIEF ARTICLE**

Ultrathin endoscope flexibility can predict discomfort associated with unsedated transnasal esophagogastroduodenoscopy

**Ono S *et al*.** Endoscope flexibility affects transnasal EGD-associated discomfort

Satoshi Ono, Keiko Niimi, Mitsuhiro Fujishiro, Tomoko Nakao, Kazushi Suzuki, Yumiko Ohike, Shinya Kodashima, Nobutake Yamamichi, Tsutomu Yamazaki, Kazuhiko Koike

**Satoshi Ono, Tomoko Nakao, Kazushi Suzuki, Yumiko Ohike,Tsutomu Yamazaki,** Center for Epidemiology and Preventive Medicine,Graduate School of Medicine, The University of Tokyo, Tokyo 153-8902, Japan

**Keiko Niimi, Mitsuhiro Fujishiro,** Department of Endoscopy and Endoscopic Surgery,Graduate School of Medicine, The University of Tokyo, Tokyo 153-8902, Japan

**Satoshi Ono, Keiko Niimi, Mitsuhiro Fujishiro, Shinya Kodashima, Kazuhiko Koike,** Department of Gastroenterology, Graduate School of Medicine, The University of Tokyo, Tokyo 153-8902, Japan

**Author contributions:** Ono S, Niimi K and Fujishiro M designed the study, protocol and analyzed the data; Ono S made drafting of the article; Niimi K, Fujishiro M, Nakao T, Suzuki K, Ohike Y and Yamamichi N made critical revision of the article for important intellectual content; Yamazaki T and Koike K made final approval of the article.

**Correspondence to: Satoshi Ono, MD, PhD,** Center for Epidemiology and Preventive Medicine, Graduate School of Medicine, The University of Tokyo, 7-3-1 Hongo, Bunkyo-ku, Tokyo 153-8902, Japan. satoshi-tky@umin.ac.jp

**Telephone:** +81-3-38155411 **Fax:** +81-3-58008806

**Received:** March 15, 2013 **Revised:** April 27, 2013

**Accepted:** June 18, 2013

 **Published online:**

**Abstract**

**AIM:** To evaluate the effects of choice of insertion route and ultrathin endoscope types.

**METHODS**: This prospective study (January–June 2012) included 882 consecutive patients who underwent annual health checkups. Transnasal esophagogastroduodenoscopy (EGD) was performed in 503 patients and transoral EGD in 235 patients using six types of ultrathin endoscopes. Patients were given a choice of insertion route, either transoral or transnasal, prior to EGD examination. For transoral insertion, the endoscope was equipped with a thin-type mouthpiece and tongue depressor. Conscious sedation was not used for any patient. EGD-associated discomfort was assessed using a visual analog scale (VAS; no discomfort 0 – maximum discomfort 10).

**RESULTS:** Rates of preference for transnasal insertion were significantly higher in male (M/F 299/204 *vs* 118/117) and younger patients (56.8 ± 11.2 years *vs* 61.3 ± 13.0 years), although no significant difference was found in VAS scores between transoral and transnasal insertion (3.9 ± 2.3 *vs* 4.1 ± 2.5). Multivariate analysis revealed that gender, age, operator, and endoscope were independent significant predictors of VAS for transnasal insertion, although gender, age, and endoscope were those for transoral insertion. Further analysis revealed only the endoscopic flexibility index (EFI) as an independent significant predictor of VAS for transnasal insertion. Both EFI and tip diameter were independent significant predictors of VAS for transoral insertion.

**CONCLUSION:** Flexibility of ultrathin endoscopes can be a predictor of EGD-associated discomfort, especially in transnasal insertion.

© 2013 Baishideng. All rights reserved.

**Key words:** Esophagogastroduodenoscopy; Ultrathin endoscope; Visual analog scale; discomfort; surveillance

**Core tip:** To evaluate the effects of choice of insertion route and ultrathin endoscope types for unsedated surveillance esophagogastroduodenoscopy (EGD), this prospective study was conducted including 882 consecutive patients who underwent annual health checkup using six types of ultrathin endoscopes in a single institute. EGD-associated discomfort was assessed using a visual analog scale (VAS) by patients themselves. Statistical analysis of VAS revealed the following two points; Transnasal insertion of ultrathin endoscopy for unsedated EGD can be preferable for younger males rather than elder females. Flexibility of ultrathin endoscopes can be a reliable predictor of reduction in transnasal EGD-associated discomfort rather than thinness of tip.

Ono S, Niimi K, Fujishiro M, Nakao T, Suzuki K, Ohike Y, Kodashima S, Yamamichi N, Yamazaki T, Koike K. Ultrathin endoscope flexibility can predict discomfort associated with unsedated transnasal esophagogastroduodenoscopy.

**Available from: URL:**

**DOI:**

**INTRODUCTION**

With improvements in resolution and image enhancement, gastrointestinal endoscopic technology has advanced considerably, detecting an increasing number of superficial neoplasms during surveillance esophagogastroduodenoscopy (EGD)[1-5]. New endoscopic treatments for superficial neoplasms, including endoscopic submucosal dissection, have been reported to be effective and less invasive compared with traditional open surgical exploration and treatment[6-10]. Against the backdrop of such concerns, importance of detecting them in early stage has been emphasized more than ever to achieve curative resection endoscopically.

 Although identification of patients at high risk for superficial esophageal squamous cell carcinoma (SESCC) and early gastric cancer (EGC) has been reported as useful, diagnoses must still be confirmed by histopathological assessment of biopsy specimens obtained via endoscopy[11-13]. However, EGD-associated discomfort is a major problem for many patients, who are reluctant to undergo subsequent EGD procedures. Although sedation is possible for reduction of EGD-associated discomfort, cost and various adverse events associated with use of sedative agents must be considered among the risks and benefits of this option[14-17].

Use of an ultrathin endoscope may also reduce unsedated EGD-associated discomfort. Transnasal insertion of ultrathin endoscopes is reported to be a promising alternative in terms of patient satisfaction and cardiopulmonary function[18-21]. Although various types of ultrathin endoscopes are available at present, predictors of discomfort associated with EGD performed using ultrathin endoscopes have not been determined.

This prospective study was conducted to identify predictors of discomfort associated with unsedated EGD performed using ultrathin endoscopes.

**MATERIALS AND METHODS**

This study was conducted at the Center for Epidemiology and Preventive Medicine of the University of Tokyo after receiving ethics committee approval. From January to June 2012, 882 consecutive patients who underwent annual health checkups were included in this study. Subjects were given a choice of insertion route, either transoral or transnasal, prior to EGD examination. The subjects were prepared for transnasal insertion using the modified spray method, which involves spraying 0.05% naphazoline nitrate into each nostril, followed by injection of a viscous gel of 2% lidocaine hydrochloride[22]. Conscious sedation was not used for any patient.

 Six ultrathin endoscopes (A: GIF-XP260N, B: GIF-XP260NS, C: EG-530NW, D: EG-580NW, E: EG16-K10, and F: prototype EG17-K10) from three manufacturers (Olympus Corp., Tokyo, Japan; Fujifilm Holdings Corp., Tokyo, Japan; and Hoya Corp., Tokyo, Japan) were utilized in this study. Prototype EG17-K10 was equipped as part of a collaborative effort by the University of Tokyo Hospital and Hoya Corporation. Profiles of these endoscopies are shown in Table 1. All endoscopes were utilized for this study after being used for more than one hundred EGDs.

 The flexibility of each endoscope was evaluated as follows. We fixed the middle portion of the endoscope to a flat surface, and allowed the tip of the endoscope to bend freely under the influence of gravity. After adjusting the length of endoscope from 150 to 400 mm allowed free movement under the influence of gravity, we mapped the position of the tip of the endoscope on a two dimensional grid. Continuous two-dimensional horizontal and vertical distances were plotted, as shown in Figure 1. The mean horizontal distances at the fixed points of 200 mm, 250 mm, 300 mm, 350 mm, and 400 mm were utilized as an endoscopic flexibility index (EFI) to provide a surrogate value of flexibility for each endoscope. Measurements of EFI for each endoscope were performed at room temperature.

 The combination of endoscopes changed depending on the day of the week. Consequently, the patients were randomly allocated to six endoscope groups.

 All examinations were performed by two operators who had been certified by the Japanese Gastroenterological Endoscopy Society. For transoral insertion, the endoscope was equipped with a thin-type mouthpiece and tongue depressor (Endo-leader; Top Corp.; Tokyo, Japan)[23]. In cases where transnasal insertion failed due to narrowness of nasal cavity or intolerable discomfort, transoral insertion was performed continuously after confirmation with the patient. After completion of the examination, EGD-associated discomfort was evaluated using a visual analogue scale (VAS) by patients themselves in another room from 0 to 10, which were minimum and maximum of discomfort respectively.

 Parameters analyzed in this study were examination time and VAS score. Moreover, the insertion success rate and nasal bleeding rate were evaluated for each endoscope for transnasal insertion. Patients with a past history of surgical resection in the upper gastrointestinal tract and those in whom biopsy or another procedure had been performed were excluded from the analyses to avoid effects of these factors on examination time or VAS scores.

***Statistical analysis***

Statistical analyses were performed using Student's *t*-test, 2 test, and Fisher's exact test. For multivariate analysis, the least-squares method was employed using dummy variables for nominal variables. All analyses were performed using JMP software (SAS Institute Inc., Cary, NC, United States). *P <* 0.05 was considered significant.

**RESULTS**

Among the 882 patients, 91 patients were excluded because of invalid responses or missing data. Thirty-nine patients were excluded because of past history of surgery in the upper gastrointestinal tract (*n* = 19) and biopsy during the examination (*n* = 20). One asymptomatic patient in whom anisakiasis was coincidentally discovered and who underwent endoscopy for removal of this parasite was also excluded from the analysis. In total, data of 751 patients were analyzed, as shown in Figure 2. Among them, 516 patients (68.7%) preferred transnasal insertion and 235 patients (31.3%) preferred transoral insertion. Thirteen patients who preferred transnasal insertion were switched to transoral insertion after failure of transnasal insertion. EGD was performed more than once in 665 patients (88.5%).

 Characteristics of patients and outcomes are shown in Table 2. Rates of preference for transnasal insertion were significantly higher in male patients (M/F 299/204 *vs* 118/117 for transnasal *vs* transoral insertion, respectively; *P <* 0.05) and younger patients (56.8 ± 11.2 years *vs* 61.3 ± 13.0 years; *P <* 0.05). Examination time for transnasal insertion was significantly longer than that for transoral insertion, although no significant difference was found between VAS scores for transnasal and transoral insertion (3.9 ± 2.3 *vs* 4.1 ± 2.5; NS).

 For multivariate analysis of VAS scores, six parameters were employed: gender, age, experience of previous EGD, operator, type of endoscope, and examination time. Results of multivariate analysis of VAS scores for transnasal and transoral insertion are shown in Tables 3 and 4, respectively. For transnasal insertion, gender (positive correlation with female gender), age, operator, and endoscope (negative correlation with endoscope E) were independent significant predictors of VAS scores. On the other hand, gender (positive correlation with female gender), age, and endoscope (positive correlation with endoscope C) were independent significant predictors of VAS scores for transoral insertion.

 Multivariate analysis was also performed using EFI and tip diameter as alternative features of the endoscopes. Although both EFI and tip diameter were independent significant predictors of VAS scores for transoral insertion, only EFI was an independent significant predictor of VAS scores for transnasal insertion as shown in Table 5.

**DISCUSSION**

The appropriate usage of ultrathin endoscopes in the transoral and transnasal insertion techniques remains controversial[24]. In addition, although various ultrathin endoscopes are presently available, predictors of EGD-associated discomfort are unclear. This study demonstrated that both tip diameter and flexibility of ultrathin endoscopes can be predictors in reducing EGD-associated discomfort, especially for transnasal insertion.

Greater flexibility of the endoscope may lead to poorer handleability, resulting in prolonged examination time, which may in turn increase the discomfort accompanying EGD. However, although the most flexible endoscope (endoscope E) in this study required the longest examination time among the six endoscopes, VAS scores were lowest for EGD using this endoscope for transnasal insertion. This result indicates that prolonging the examination for a certain amount of time may be acceptable in terms of the level of tolerable discomfort.

 In a high proportion of regular patients in this study, EGD had been periodically performed in the past. Almost all patients selected the insertion route based on their experience with discomfort in previous examinations. Consequently, although no significant difference in VAS scores was observed between transoral and transnasal insertion, patient characteristics and preferences showed their propensity for discomfort with either one technique or the other. Table 2 shows the trend toward preference for transnasal insertion among males and younger patients. We speculate that younger patients preferred transnasal insertion to suppress a stronger gagging reflex that is reported by Enomoto et al[25]. By contrast, smaller female patients may have preferred transoral insertion because of their narrower nasal cavities, which are more prone to discomfort caused by transnasal insertion. However, VAS scores are reported to be affected by gender[26]. Additionally, there might be a gender deference in diminishing of gaging reflex or nasal pain by aging. We need further accumulation of data for appropriate insertion route in each gender or age—groups.

 One limitation of this study is its unequal allocation of patients to each endoscope because of the system utilized in our institute. Moreover, the objectivity and reproducibility of VAS and EFI are questionable. EFI is affected by the weight of the endoscope, whose mass/length is not homogenous. However, this parameter can be a surrogate marker that can be evaluated simply and non-destructively.

 In summary, this study demonstrated that flexibility of the ultrathin endoscope can be a reliable predictor of reduction in transnasal EGD-associated discomfort. Although further analysis of details concerning appropriate location and degree of flexibility is required, patient compliance can be improved for follow-up and surveillance EGD by utilizing less uncomfortable tools.

**COMMENTS**

***Background***
As gastrointestinal endoscopic technology has advanced considerably with improvements in resolution and image enhancement, importance of surveillance esophagogastroduodenoscopy (EGD) to detect superficial neoplasms in early stage has been emphasized more than ever to achieve curative resection.

***Research frontier***Although EGD using an ultrathin endoscope has been accepted as a minimally invasive modality, the effects of choice of insertion route and ultrathin endoscope types have not been evaluated.

***Innovation and breakthrough***

The authors’ study using six types of ultrathin endoscopes demonstrated that flexibility of the ultrathin endoscope can be a reliable predictor of reduction in transnasal EGD-associated discomfort.

***Application***

To decrease unsedated EGD-associated discomfort, transnasal insertion of ultrathin endoscopy should be chosen for younger males. A flexible ultrathin endoscope can reduce transnasal EGD-associated discomfort for the other people.

***Terminology***

Endoscopic flexibility index is a surrogate marker that can be evaluated simply and non-destructively.

***Peer review***

This is the first report of comparison of the difference between several models of ultrathin endoscope. The conclusion that the discomfort is associated with the flexibility of the endoscope is a novel and unique.

**REFERENCES**

1 **Yoshida T**, Inoue H, Usui S, Satodate H, Fukami N, Kudo SE. Narrow-band imaging system with magnifying endoscopy for superficial esophageal lesions. *Gastrointest Endosc* 2004; **59**: 288-295 [PMID: 14745410 DOI: 10.1016/S0016-5107(03)02532-X]

2 **Kuraoka K**, Hoshino E, Tsuchida T, Fujisaki J, Takahashi H, Fujita R. Early esophageal cancer can be detected by screening endoscopy assisted with narrow-band imaging (NBI). *Hepatogastroenterology* 2009; **56**: 63-66 [PMID: 19453030]

3 **Yoshizawa M**, Osawa H, Yamamoto H, Kita H, Nakano H, Satoh K, Shigemori M, Tsukui M, Sugano K. Diagnosis of elevated-type early gastric cancers by the optimal band imaging system. *Gastrointest Endosc* 2009; **69**: 19-28 [PMID: 19111685 DOI: 10.1016/j.gie.2008.09.007]

4 **Kodashima S**, Fujishiro M. Novel image-enhanced endoscopy with i-scan technology. *World J Gastroenterol* 2010; **16**: 1043-1049 [PMID: 20205272]

5 **Muto M**, Minashi K, Yano T, Saito Y, Oda I, Nonaka S, Omori T, Sugiura H, Goda K, Kaise M, Inoue H, Ishikawa H, Ochiai A, Shimoda T, Watanabe H, Tajiri H, Saito D. Early detection of superficial squamous cell carcinoma in the head and neck region and esophagus by narrow band imaging: a multicenter randomized controlled trial. *J Clin Oncol* 2010; **28**: 1566-1572 [PMID: 20177025 DOI: 10.1200/JCO.2009.25.4680]

6 **Ohkuwa M**, Hosokawa K, Boku N, Ohtu A, Tajiri H, Yoshida S. New endoscopic treatment for intramucosal gastric tumors using an insulated-tip diathermic knife. *Endoscopy* 2001; **33**: 221-226 [PMID: 11293753 DOI: 10.1055/s-2001-12805]

7 **Yahagi N**, Fujishiro M, Kakushima N, KobayashiK, Hashimoto T, Oka M, Iguchi M, Enomoto S, Ichinose M, Niwa H, OmataM. Endoscopic submucosal dissection for early gastric cancer using the tip of an electrosurgical snare (thin type). Dig Endosc 2004; **16**: 34-38[DOI: 10.1111/j.1443-1661.2004.00313.x]

8 **Oda I**, Gotoda T, Hamanaka H, Eguchi T, Saito Y, Matsuda T, Bhandari P, Emura F, Saito D, Ono H. Endoscopic submucosal dissection for early gastric cancer: technical feasibility, operation time and complications from a large consecutive series. Dig Endosc 2005; **17**: 54-58[DOI: 10.1111/j.1443-1661.2005.00459.x]

9 **Oyama T**, Tomori A, Hotta K, Morita S, Kominato K, Tanaka M, Miyata Y. Endoscopic submucosal dissection of early esophageal cancer. *Clin Gastroenterol Hepatol* 2005; **3**: S67-S70 [PMID: 16013002]

10 **Fujishiro M**, Yahagi N, Kakushima N, Kodashima S, Muraki Y, Ono S, Yamamichi N, Tateishi A, Shimizu Y, Oka M, Ogura K, Kawabe T, Ichinose M, Omata M. Endoscopic submucosal dissection of esophageal squamous cell neoplasms. *Clin Gastroenterol Hepatol* 2006; **4**: 688-694 [PMID: 16713746 DOI: 10.1016/j.cgh.2006.03.024]

11 **Uemura N**, Okamoto S, Yamamoto S, Matsumura N, Yamaguchi S, Yamakido M, Taniyama K, Sasaki N, Schlemper RJ. Helicobacter pylori infection and the development of gastric cancer. *N Engl J Med* 2001; **345**: 784-789 [PMID: 11556297 DOI: 10.1056/NEJMoa001999]

12 **Mukoubayashi C**, Yanaoka K, Ohata H, Arii K, Tamai H, Oka M, Ichinose M. Serum pepsinogen and gastric cancer screening. *Intern Med* 2007; **46**: 261-266 [PMID: 17379991]

13 **Yokoyama A**, Kumagai Y, Yokoyama T, Omori T, Kato H, Igaki H, Tsujinaka T, Muto M, Yokoyama M, Watanabe H. Health risk appraisal models for mass screening for esophageal and pharyngeal cancer: an endoscopic follow-up study of cancer-free Japanese men. *Cancer Epidemiol Biomarkers Prev* 2009; **18**: 651-655 [PMID: 19190142 DOI: 10.1158/1055-9965.EPI-08-0758]

14 **Freeman ML**. Sedation and monitoring for gastrointestinal endoscopy. *Gastrointest Endosc Clin N Am* 1994; **4**: 475-499 [PMID: 8069473]

15 **Waring JP**, Baron TH, Hirota WK, Goldstein JL, Jacobson BC, Leighton JA, Mallery JS, Faigel DO. Guidelines for conscious sedation and monitoring during gastrointestinal endoscopy. *Gastrointest Endosc* 2003; **58**: 317-322 [PMID: 14528201]

16 **Trevisani L**, Sartori S, Gaudenzi P, Gilli G, Matarese G, Gullini S, Abbasciano V. Upper gastrointestinal endoscopy: are preparatory interventions or conscious sedation effective? A randomized trial. *World J Gastroenterol* 2004; **10**: 3313-3317 [PMID: 15484307]

17 **Yi SY**, Shin JE. Midazolam for patients undergoing upper gastrointestinal endoscopy: a prospective, single-blind and randomized study to determine the appropriate amount and time of initiation of endoscopy. *J Gastroenterol Hepatol* 2005; **20**: 1873-1879 [PMID: 16336447 DOI: 10.1111/j.1440-1746.2004.04081.x]

18 **Yagi J**, Adachi K, Arima N, Tanaka S, Ose T, Azumi T, Sasaki H, Sato M, Kinoshita Y. A prospective randomized comparative study on the safety and tolerability of transnasal esophagogastroduodenoscopy. *Endoscopy* 2005; **37**: 1226-1231 [PMID: 16329022 DOI: 10.1055/s-2005-921037]

19 **Hayashi Y**, Yamamoto Y, Suganuma T, Okada K, Nego M, Imada S, Imai M, Yoshimoto K, Ueki N, Hirasawa T, Uragami N, Tsuchida T, Fujisaki J, Hoshino E, Takahashi H, Igarashi M. Comparison of the diagnostic utility of the ultrathin endoscope and the conventional endoscope in early gastric cancer screening. *Dig Endosc* 2009; **21**: 116-121 [PMID: 19691786 DOI: 10.1111/j.1443-1661.2009.00840.x]

20 **Toyoizumi H**, Kaise M, Arakawa H, Yonezawa J, Yoshida Y, Kato M, Yoshimura N, Goda K, Tajiri H. Ultrathin endoscopy versus high-resolution endoscopy for diagnosing superficial gastric neoplasia. *Gastrointest Endosc* 2009; **70**: 240-245 [PMID: 19386304 DOI: 10.1016/j.gie.2008.10.064]

21 **Yuki M**, Amano Y, Komazawa Y, Fukuhara H, Shizuku T, Yamamoto S, Kinoshita Y. Unsedated transnasal small-caliber esophagogastroduodenoscopy in elderly and bedridden patients. *World J Gastroenterol* 2009; **15**: 5586-5591 [PMID: 19938199 DOI: 10.3748/wjg.15.5586.]

22 **Abe K**, Miyaoka M. Trial of transnasal esophagogastroduodenoscopy. Dig Endosc 2006; **18**: 212-217[DOI: 10.1111/j.0915-5635.2006.00609.x]

23 **Kataoka H**, Hayano J, Mizushima T, et al. Cardiovascular tolerance and autonomic nervous responses in unsedated upper gastrointestinal small-caliber endoscopy: a comparison between transnasal and peroral procedures with newly developed mouthpiece. Dig Endosc 2011; **23**: 78-85.[DOI: 10.1111/j.1443-1661.2010.01064.x]

24 Classification of patients who experience a higher distress level to transoral esophagogastroduodenoscopy than to transnasal esophagogastroduodenoscopy. *Dig Endosc* 2012; [PMID: 23368664 DOI: 10.1111/den.12006]

25 **Enomoto S**, Watanabe M, Yoshida T, Mukoubayashi C, Moribata K, Muraki Y, Shingaki N, Deguchi H, Ueda K, Inoue I, Maekita T, Iguchi M, Tamai H, Kato J, Fujishiro M, Oka M, Mohara O, Ichinose M. Relationship between vomiting reflex during esophagogastroduodenoscopy and dyspepsia symptoms. *Dig Endosc* 2012; **24**: 325-330 [PMID: 22925284 DOI: 10.1111/j.1443-1661.2012.01241.x]

26 **Aubrun F**, Salvi N, Coriat P, Riou B. Sex- and age-related differences in morphine requirements for postoperative pain relief. *Anesthesiology* 2005; **103**: 156-160 [PMID: 15983468]

**P-Reviewers** Nishiwaki S, Deutsch JC, Herrerias-Gutierrez JM  **S-Editor** Wen LL  **L-Editor**  **E-Editor**

FIGURE LEGENDS

**Figure 1 A two-dimensional plot of the transition from the tip of the endoscope.** L: The length of endoscope allowed free movement under the influence of gravity.

**Figure 2 Flowchart of patient involvement in this study.**

**Table 1 Profiles of six endoscopes and outcomes for transnasal insertion**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | **A** | **B** | **C** | **D** | **E** | **F** |
| EFI(mm) | 224.0 | 192.4 | 175.2 | 174.8 | 146.0 | 166.6 |
| Tip diameter(mm) | 5.0 | 5.4 | 5.9 | 5.9 | 5.2 | 5.4 |
|  |  |  |  |  |  |  |
| Transnasal insertion |  |  |  |  |  |  |
| Insertion success rate | 58/59 | 110/112 | 119/123 | 112/118 | 47/47 | 57/57 |
| Nasal bleeding rate | 0/58 | 2/110 | 2/119 | 2/112 | 1/47 | 0/57 |
| VAS | 4.2±2.7 | 4.0±2.1 | 4.0±2.4 | 4.0±2.3 | 3.2±2.2 | 3.8±2.3 |
| Examination time(s) | 351.0±58.8 | 345.8±62.2 | 324.9±61.1 | 340.0±48.1 | 376.7±61.7 | 349.1±57.3 |

VAS: Visual analog scale; EFI: Endoscopic flexibility index; EGD: Esophagogastroduodenoscopy.

**Table2 Characteristics of patients**

|  |  |  |  |
| --- | --- | --- | --- |
|  | Transnasal insertion(*n*=503) | Transoral insertion(*n*=235) | *P* value |
| Gender M/F | 299/204 | 118/117 | <0.05 |
| Age (yr) | 56.8±11.2 (25-84) | 61.3±13.0(27-88) | <0.05 |
| 1st examination Y/N | 54/449 | 19/216 | 0.29 |
| Operator A/B | 326/177 | 143/92 | 0.32 |
| Endoscope | **A** | 58 | 31 | 0.36 |
| **B** | 110 | 52 |
| **C** | 119 | 58 |
| **D** | 112 | 61 |
| **E** | 47 | 17 |
| **F** | 57 | 16 |
| Examination time (s) | 343.4±59.4 (210-630) | 324.5±59.8 (196-600) | <0.05 |
| VAS | 3.9±2.3 (0-10) | 4.1±2.5 (0-10) | 0.90 |

VAS: Visual analog scale; M: Male; F: Female.

|  |  |  |
| --- | --- | --- |
|  | **Parameter estimate ± SE** | ***P* value** |
| Gender (F) | 0.780 ± 0.100 | <0.05 |
| Age | -0.0193 ± 0.00886 | <0.05 |
| 1st examination (N) | 0.252 ± 0.160 | 0.12 |
| Operator (A) | -0.341 ± 0.110 | <0.05 |
| Scope (E) | -0.719 ± 0.281 | <0.05 |
| Examination time | 0.00270 ± 0.00180 | 0.134 |

**Table3 Multivariate analysis for visual analog scale in transnasal insertion**

|  |  |  |
| --- | --- | --- |
|  | **Parameter estimate ± SE** | ***P* value** |
| Gender (F) | 0.575 ± 0.156 | <0.05 |
| Age | -0.0343 ± 0.0125 | <0.05 |
| 1st examination (N) | -0.00289 ± 0.294 | 0.99 |
| Operator (A) | -0.297 ± 0.177 | 0.10 |
| Scope (C) | 0.634 ± 0.313 | <0.05 |
| Examination time | -0.00159 ± 0.00291 | 0.59 |

**Table 4 Results of multivariate analysis of visual analog scale scores for transoral insertion**

**Table 5 Parameters of endoscopic flexibility index and tip diameter by multivariate analysis for visual analog scale**

|  |  |  |
| --- | --- | --- |
|  | **Transnasal insertion** | **Transoral insertion** |
| EFI | 0.0125 ± 0.00563 (*P <* 0.05) | 0.0212 ± 0.00966 (*P <* 0.05) |
| Tip diameter | 0.450 ± 0.338 (*P* = 0.18) | 1.33 ± 0.561 (*P <* 0.05) |

EFI: Endoscopic flexibility index.