**Name of Journal: *World Journal of Cardiology***

**ESPS Manuscript NO: 28612**

**Manuscript Type: Minireviews**

**Ambulatory pulmonary artery pressure monitoring in advanced heart failure patients**

Yandrapalli S *et al*. Ambulatory PAP monitoring

**Srikanth Yandrapalli, Anoshia Raza, Sohaib Tariq, Wilbert S Aronow**

**Srikanth Yandrapalli, Anoshia Raza, Sohaib Tariq, Wilbert S Aronow,** Department of Cardiology, New York Medical College at Westchester Medical Center, Valhalla, NY 10595, United States

**Author contributions:** Yandrapalli S, Raza A, Tariq S and Aronow W identified the current topic, collected relevant literature, and wrote the paper.

**Institutional review board statement:** Exempt.

**Informed consent statement:** Not needed due to the non-clinical study design.

**Conflict-of-interest statement:** None of the authors report any conflicts of interest.

**Open-Access:** This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: <http://creativecommons.org/licenses/by-nc/4.0/>

**Manuscript source:** Invited manuscript

**Correspondence to:** **Wilbert S Aronow, MD, FACC, FAHA, Professor** of Medicine, Department of Cardiology, New York Medical College at Westchester Medical Center, Macy Pavilion, Room 141, Valhalla, NY 10595, United States. wsaronow@aol.com

**Telephone:** +1-914-4935311

**Fax:** +1-914-2356274

**Received:** July 7, 2016

**Peer-review started:** July 14, 2016

**First decision:** September 12, 2016

**Revised:** September 18, 2016

**Accepted:** November 16, 2016

**Article in press:**

**Published online:**

**Abstract**

Heart failure (HF) is an emerging epidemic associate with significant morbidity, mortality, and health care expenditure. Although there were major advances in pharmacologic and device based therapies for the management of HF, mortality of this condition remains high. Accurate monitoring of HF patients for exacerbations is very important to reduce recurrent hospitalizations and its associated complications. With the failure of clinical signs, tele-monitoring, and laboratory bio-markers to function as early markers of HF exacerbations, more sophisticated techniques were sought to accurately predict the circulatory status in HF patients in order to execute timely pharmacological intervention to reduce frequent hospitalizations. CardioMEMSTM (St. Jude Medical, Inc., Saint Paul, Minnesota) is an implantable, wireless pulmonary arterial pressure (PAP) monitoring system which transmits the patient’s continuous PAPs to the treating health care provider in the ambulatory setting. PAP-guided medical therapy modification has been shown to significantly reduce HF-related hospitalization and overall mortality. In advanced stages of HF, wireless access to hemodynamic information correlated with earlier left ventricular assist device implantation and shorter time to heart transplantation.

**Key words:** CardioMEMS; Heart failure; Remote heart failure monitoring; Pulmonary arterial pressure monitoring; Left ventricular assist device

**© The Author(s) 2016.** Published by Baishideng Publishing Group Inc. All rights reserved.

**Core tip:** Traditional heart failure monitoring methods have failed to accurately and timely identify worsening heart failure. Remote pulmonary artery pressure monitoring *via* CardioMEMSTM heart failure system identified heart failure exacerbations earlier and more accurately than clinical signs, and timely medical interventions resulted in reduced hospitalizations and mortality. Remote pulmonary artery pressure monitoring appears to have positive clinical implications in patients with mechanical circulatory support.

Yandrapalli S, Raza A, Tariq S, Aronow WS. Ambulatory pulmonary artery pressure monitoring in advanced heart failure patients. *World J Cardiol* 2016; In press

**INTRODUCTION**

Heart failure (HF) is a chronic debilitating condition which impairs the ability of the heart to effectively pump the blood to the body to meet its metabolic requirements. HF is an emerging epidemic with an estimated prevalence of 5.8 million in the United States, and over 23 million worldwide[1].Within the United States, the incidence of HF exceeds 650000 each year with an estimated annual financial burden of around 30.7 billion dollars[2,3].Although there were major advances in pharmacologic and device based therapies for the management of HF which improved the overall survival over time, mortality of this condition remains high. The estimated survival after the diagnosis of HF is 50% at 5 years and 10% at 10 years[1].Hospitalization for acute decompensated HF serves as a poor prognostic indicator with an approximate 30% and 50% readmission rates at 1-mo and 6-mo, respectively[1,3].With improved survival of patients after acute myocardial infarction, a growing elderly population, and frequent hospitalizations in the HF population owing to acute exacerbations, HF continuous to be one of the leading causes of morbidity, mortality, and health care expenditures in the US and worldwide.

Around 150000-250000 Americans suffer from advanced stage HF[4].Although cardiac transplantation is the gold standard treatment in such patients, limited organ availability restricts the number of heart transplants to around 2500 per year (https://www.unos.org/data/transplant-trends/#transplants\_by\_organ). More than 4000 patients are currently on the waiting list for a cardiac transplant (www.unos.org/data/transplant-trends/#waitlists\_by\_organ), a number which is expected to increase significantly because of the increasing number of patients living with advanced HF and an increasing elderly population. Left ventricle assist device (LVAD) has emerged as a life-saving option for these patients as either bridge to transplant, bridge to decision, bridge to recovery or as destination therapy. Around 15000 HF patients across the world are currently supported with LVADs[5]. LVAD serves as destination therapy in more than 45% of the patients living with the device[5].

**PREVIOUSLY TESTED METHODS FOR MONITORING HF PATIENTS**

Identification of physical manifestations such as weight gain, extremity edema, fatigue, shortness of breath, orthopnea, paroxysmal nocturnal dyspnea, jugular venous distention, third heart sounds, and rales etc. have poor to moderate sensitivities and are often late manifestations of worsening HF, thereby, relying on these markers have limited impact on reducing HF hospitalizations[6]. Also, such efforts largely employ patient self-management strategies, including diuretic dose adjustments based on clinical worsening, and are unsuccessful in patients with poor self-care skills and compliance[6].Two large trials which investigated the benefits of tele-monitoring in HF population failed to show any significant decrease in the all-cause mortality and HF hospitalizations in the tele-monitored group[6]. A smart-phone based electrocardiographic monitoring of HF has been recently proposed, but there is not much data exploring this idea[7].

Lainchbury *et al*[8] compared N-terminal pro–B-type natriuretic (NT-proBNP) guided titration of medical therapy in HF patients with intensive clinical management and with usual care in a randomized sample of 564 patients. There was a reduction in the 3-year mortality in the NT-proBNP- guided group compared to the clinically-guided group (30.9%; *P* = 0.048) and to those with usual care (31.3%; *P* = 0.021). These benefits were selectively seen in patients ≤ 75 years of age. However, there was no statistically significant difference in the overall hospitalizations for HF and the secondary outcomes among all the groups[8]. Another study monitored plasma B-type natriuretic peptide (BNP) levels in up to 558 chronic stable HF patients in an ambulatory setting to predict imminent decompensation[9]. The study showed that both symptomatic and asymptomatic HF patients had a wide range of plasma BNP levels. Interestingly, 21% of symptomatic decompensated HF patients had BNP levels below the diagnostic threshold of < 100 pg/mL[9].

**REMOTE HEMODYNAMIC MONITORING IN HF PATIENTS**

With the failure of reliable clinical symptoms/signs, tele-monitoring, and laboratory bio-markers to help reduce the hospitalizations, and health care expenditure in the HF population, more sophisticated techniques were sought to accurately predict the circulatory status in HF patients in order to execute timely pharmacological intervention to prevent the primary onus of this disease i.e. hospitalizations. Echocardiography is being used as a monitoring system in the hospitalized and ambulatory population, but it is associated with significant costs, less accuracy, and observer variability. Traditionally, in hospitalized HF patients, right heart catheterization (RHC) provides invaluable information regarding the volume status and filling pressures which can form the basis of successful medical management. However, RHC is not routinely recommended to aid in the management of hospitalized decompensated HF patients owing to its invasive nature and associated risks. We had no such accurate monitoring systems in the ambulatory setting until scientific advances led to the development of implantable hemodynamic monitors (IHMs) which provided hemodynamic information comparable to the information obtained from a RHC[10]. The idea of IHM based monitoring and necessary interventions in HF patients was innovative and exiting.

Earlier trials of implantable hemodynamic monitoring in HF patients did not show significant clinical benefit or were unable to adequately assess clinical efficacy. The COMPASS-HF (Chronicle Offers Management to Patients with Advanced Signs and Symptoms of Heart Failure) trial using Chronicle (Medtronic Inc., Minneapolis, Minnesota) to estimate right ventricular pressures and guide medical therapy, did not show a significant reduction in HF-related events when compared to the control group[11]. The Reducing Decompensation Events Utilizing Intracardiac Pressures in Patients With Chronic Heart Failure (REDUCEhf ) study employed a device combining IHM and implantable cardioverter-defibrillator technology to measure right ventricular pressures and guide medical therapy[12]. The REDUCEhf study was unable to test clinical efficacy end points adequately and findings from this study did not show a difference in the rate of HF-equivalents when medical therapy was guided based on the information obtained from the IHM[12].

The Hemodynamically Guided Home Self-Therapy in Severe Heart Failure Patients (HOMEOSTASIS) trial is a small study of 40 patients in which the benefit of physician-directed patient self-management of left atrial pressures as measured with the implantable HeartPOD (St.Jude Medical Inc, Minneapolis, Minnesota) was investigated[13]. Left atrial pressure guided medical therapy was associated with an improved event-free survival (death or hospitalization for acute decompensated HF), reduced mean daily left atrial pressures, improved New York Heart Association (NYHA) functional class, improved left ventricular ejection fraction, increased doses of neuro-hormonal antagonists, and reduced diuretic doses[13]. Encouraging results from this smaller study formed the basis of the larger and currently ongoing LAPTOP-HF (Left Atrial Pressure Monitoring to Optimize Heart Failure Therapy) trial which will investigate the role of implantable left atrial pressure monitoring in conjunction with a new HF treatment paradigm across the spectrum of HF patients[14].

**CardioMEMSTM AND REMOTE PULMONARY ARTERIAL PRESSURE MONITORING**

CardioMEMSTM (St. Jude Medical, Inc., Saint Paul, Minnesota) is a wireless pulmonary arterial (PA) pressure monitoring system. It measures PA pressures from a battery free capacitive electromechanical sensor which is permanently implanted with a delivery system in the distal pulmonary artery with a RHC *via* transvenous access. An electronic system transmits the generated data to a secure network where it is readily available for interpretation by the treating clinician. Verdejo *et al*[15] showed that wireless PA pressure monitoring using the CardioMEMS sensor correlated with Swan-Ganz catheter and echocardiographic PA pressure measurements. The outcomes of remote management of HF patients guided by wireless PA pressure monitoring was investigated in the landmark CHAMPION (CardioMEMS Heart Sensor Allows Monitoring of Pressure to Improve Outcomes in NYHA Class III Heart Failure Patients) trial[16].

The CHAMPION trial is a randomized, controlled, multi-center, single-blind trial in which 550 NYHA class III HF patients were implanted with the wireless CardioMEMS HF pressure sensor system[16]. Physicians had access to the PA pressures of the patients in the treatment group only, in which medications were adjusted based on the generated data. The control group received traditional HF management. The primary efficacy endpoint was the rate of HF-related hospitalizations at 6 mo. In comparison to the control group, there was a remarkable 28% reduction in HF-related hospitalizations at 6 mo, and 37% at 15 mo in the treatment group (Hazard ratio 0.63, *P* < 0.0001)[17]. There were no pressure sensor failures and 98.6% of the study population was free from device-related or system-related complications[17]. A sub-analysis of the original trial in HF with preserved ejection fraction (HFpEF) patients showed that there was a 50% reduction (*P* < 0.0001) in HF-related hospitalizations at 17 mo in the treatment group[18]. These landmark findings led to the Food and Drug Administration approval of the CardioMEMSTM HF system for ambulatory hemodynamic monitoring in NYHA class III HF with reduced ejection fraction (HFrEF) and HFpEF patients, who are on optimal medical therapy, and had a HF hospitalization in the previous year[19].In the 2016 European society of Cardiology guidelines, CardioMEMS received a Class IIb recommendation for directed therapy management and monitoring tool in HF patients[20].

Numerous sub-analyses supported the encouraging results obtained from the original CHAMPION trial. The reduced HF-related hospitalization rate was postulated to be from physician controlled effective changes in diuretic dosing in the treatment group (*P* < 0.0001 for more frequent diuretic dose changes in treatment group compared to control)[21]. Wireless PA pressure-guided HF management was superior to clinical signs-guided management with a 67% relative risk reduction (*P* = 0.0007) in HF hospitalizations when diuretic doses were adjusted based on PA pressure alone *vs* clinical signs alone[22]. At 6 mo, the target group experienced a higher frequency of medication adjustments with significant increases in the doses of diuretics, vasodilators, and neuro-hormonal antagonists with preserved renal function despite intensification of diuretic therapy[23]. Remote PA pressure-guided treatment resulted in similar reductions in HF hospitalization in HFrEF patients with and without a cardiac resynchronization therapy (CRT) device, suggesting that HF management guided by PA pressures may provide additive benefits to CRT[24].

Wireless PA-pressure monitoring on top of guideline-directed medical therapy and CRT or ICD, had an additive effect in improving HF hospitalizations and mortality[25]. There were significant reductions in all-cause hospitalization (*P* < 0.0032), and in the number of deaths or all-cause hospitalization in the treatment group (*P* = 0.0017)[26].Interestingly, it was observed that measurement of PA pressures using RHC alone may result in under-diagnosing pulmonary hypertension related to HF. Of the 217 patients who did not meet criteria for pulmonary hypertension during implantation RHC, 49% met criteria for pulmonary hypertension based in the first week IHM data[27]. Alam *et al*[28] compared 34 HF patients who had an implanted CardioMEMS HF system with 32 HF patients without an IHM, and reported a three-fold improvement in the Kansas City Cardiomyopathy Questionnaire scores (*P* < 0.001) and increased 6-minute walk distance (*P* < 0.001) in the CardioMEMS group. These findings represent improved quality of life and exercise capacity. Results from the CHAMPION trial and subsequent sub-analysis confirmed that early and appropriate medical interventions following early detection of elevated PA pressures resulted in a significant reduction of HF-related hospitalizations, readmission rates and mortality.

There is an increasing trend in the number of HF patients living with LVADs and an increasing use of LVAD as destination therapy for advanced HF patients. Feldman *et al*[29] conducted a sub-analysis of the CHAMPION trial to determine the validity of remote PA pressure directed therapy on optimization of medications, pump parameters, and timing of heart transplantation in patients receiving a LVAD. Of the 27 patients who received an LVAD, 15 patients were assigned to the treatment group where their medical therapy was modified based on PA pressures and 12 patients in the control group received standard care. The data obtained from CardioMEMS HF system led to significantly more medication changes in the treatment arm (*P* = 0.025). Wireless access to hemodynamic information correlated with earlier LVAD implantation (*P* = 0.001) and shorter time to transplantation (*P* = 0.001) in the treatment arm[29].

Over the last few decades, efforts have been directed at reducing recurrent hospitalizations for worsening HF in this patient population. A variety of markers varying from clinical symptoms and signs to laboratory testing have been investigated to identify acute decompensated HF early enough to prevent hospitalizations, subsequent morbidity, and health care expenditure. Daily weight monitoring is a cornerstone for managing HF patients. It has been shown that increases in body weight begin at least 1 week before a HF hospitalization[30]. However, less than a half of the HF patients including those recently discharged after a hospitalization for HF exacerbation check their weight on a daily basis[31]. Daily electronic body weight transmission to a HF clinic in patients with severe HF who had a recent HF hospitalization did not show any benefit in reducing HF re-hospitalization or death[32].

**CONCLUSION**

HF continues to be a major public health problem with a significant financial burden. As more and more people are living with HF, it is important have a simple, reliable, and valid monitoring system to aid in the early identification and appropriate management of worsening HF in the ambulatory setting. IHM is an innovative and exciting monitoring system for HF management. CardioMEMS has steered HF research into a new direction which will serve as the gateway to future therapies and innovations in the management of chronic HF patients. Also with increasing number of people living with LVADs and LVAD being used as destination therapy in a large percentage of the LVAD population, CardioMEMS will be a promising monitoring system to better manage HF as well as the LVAD device in this population. However, given the small number of participants involved in many of the available trials, large multicenter randomized clinical trials are needed to make valid recommendations in an effort to lower mortality and improve quality of life in the chronically sick HF population. Wireless left atrial pressure-guided and PA pressure-guided management of HF can have a substantial positive effect on reducing the financial burden of HF and improving the overall morbidity and mortality in this population.

**REFERENCES**

1 **Roger VL**. Epidemiology of heart failure. *Circ Res* 2013; **113**: 646-659 [PMID: 23989710 DOI: 10.1161/CIRCRESAHA.113.300268]

2 **Mozaffarian D**, Benjamin EJ, Go AS, Arnett DK, Blaha MJ, Cushman M, Das SR, de Ferranti S, Després JP, Fullerton HJ, Howard VJ, Huffman MD, Isasi CR, Jiménez MC, Judd SE, Kissela BM, Lichtman JH, Lisabeth LD, Liu S, Mackey RH, Magid DJ, McGuire DK, Mohler ER, Moy CS, Muntner P, Mussolino ME, Nasir K, Neumar RW, Nichol G, Palaniappan L, Pandey DK, Reeves MJ, Rodriguez CJ, Rosamond W, Sorlie PD, Stein J, Towfighi A, Turan TN, Virani SS, Woo D, Yeh RW, Turner MB. Heart Disease and Stroke Statistics-2016 Update: A Report From the American Heart Association. *Circulation* 2016; **133**: e38-360 [PMID: 26673558 DOI: 10.1161/CIR.0000000000000350]

3 **Yancy CW**, Jessup M, Bozkurt B, Butler J, Casey DE, Drazner MH, Fonarow GC, Geraci SA, Horwich T, Januzzi JL, Johnson MR, Kasper EK, Levy WC, Masoudi FA, McBride PE, McMurray JJ, Mitchell JE, Peterson PN, Riegel B, Sam F, Stevenson LW, Tang WH, Tsai EJ, Wilkoff BL. 2013 ACCF/AHA guideline for the management of heart failure: a report of the American College of Cardiology Foundation/American Heart Association Task Force on Practice Guidelines. *J Am Coll Cardiol* 2013; **62**: e147-e239 [PMID: 23747642 DOI: 10.1016/j.jacc.2013.05.019]

4 **Miller LW**, Guglin M. Patient selection for ventricular assist devices: a moving target. *J Am Coll Cardiol* 2013; **61**: 1209-1221 [PMID: 23290542 DOI: 10.1016/j.jacc.2012.08.1029]

5 **Kirklin JK**, Naftel DC, Pagani FD, Kormos RL, Stevenson LW, Blume ED, Myers SL, Miller MA, Baldwin JT, Young JB. Seventh INTERMACS annual report: 15,000 patients and counting. *J Heart Lung Transplant* 2015; **34**: 1495-1504 [PMID: 26520247 DOI: 10.1016/j.healun.2015.10.003]

6 **Lampert BC**, Emani S. Remote hemodynamic monitoring for ambulatory left ventricular assist device patients. *J Thorac Dis* 2015; **7**: 2165-2171 [PMID: 26793337 DOI: 10.3978/j.issn.2072-1439.2015.10.45]

7 **Madias JE**. A proposal for monitoring patients with heart failure via "smart phone technology"-based electrocardiograms. *J Electrocardiol* 2016; **49**: 699-706 [PMID: 27334627 DOI: 10.1016/j.jelectrocard.2016.06.001]

8 **Lainchbury JG**, Troughton RW, Strangman KM, Frampton CM, Pilbrow A, Yandle TG, Hamid AK, Nicholls MG, Richards AM. N-terminal pro-B-type natriuretic peptide-guided treatment for chronic heart failure: results from the BATTLESCARRED (NT-proBNP-Assisted Treatment To Lessen Serial Cardiac Readmissions and Death) trial. *J Am Coll Cardiol* 2009; **55**: 53-60 [PMID: 20117364 DOI: 10.1016/j.jacc.2009.02.095]

9 **Tang WH**, Girod JP, Lee MJ, Starling RC, Young JB, Van Lente F, Francis GS. Plasma B-type natriuretic peptide levels in ambulatory patients with established chronic symptomatic systolic heart failure. *Circulation* 2003; **108**: 2964-2966 [PMID: 14662703 DOI: 10.1161/01.CIR.0000106903.98196.B6]

10 **Merchant FM**, Dec GW, Singh JP. Implantable sensors for heart failure. *Circ Arrhythm Electrophysiol* 2010; **3**: 657-667 [PMID: 21156777 DOI: 10.1161/CIRCEP.110.95950]

11 **Bourge RC**, Abraham WT, Adamson PB, Aaron MF, Aranda JM, Magalski A, Zile MR, Smith AL, Smart FW, O'Shaughnessy MA, Jessup ML, Sparks B, Naftel DL, Stevenson LW. Randomized controlled trial of an implantable continuous hemodynamic monitor in patients with advanced heart failure: the COMPASS-HF study. *J Am Coll Cardiol* 2008; **51**: 1073-1079 [PMID: 18342224 DOI: 10.1016/j.jacc.2007.10.061]

12 **Adamson PB**, Gold MR, Bennett T, Bourge RC, Stevenson LW, Trupp R, Stromberg K, Wilkoff BL, Costanzo MR, Luby A, Aranda JM, Heywood JT, Baldwin HA, Aaron M, Smith A, Zile M. Continuous hemodynamic monitoring in patients with mild to moderate heart failure: results of The Reducing Decompensation Events Utilizing Intracardiac Pressures in Patients With Chronic Heart Failure (REDUCEhf) trial. *Congest Heart Fail* 2011; **17**: 248-254 [PMID: 21906250 DOI: 10.1111/j.1751-7133.2011.00247.x]

13 **Ritzema J**, Troughton R, Melton I, Crozier I, Doughty R, Krum H, Walton A, Adamson P, Kar S, Shah PK, Richards M, Eigler NL, Whiting JS, Haas GJ, Heywood JT, Frampton CM, Abraham WT. Physician-directed patient self-management of left atrial pressure in advanced chronic heart failure. *Circulation* 2010; **121**: 1086-1095 [PMID: 20176990 DOI: 10.1161/CIRCULATIONAHA.108.800490]

14 **Maurer MS**, Adamson PB, Costanzo MR, Eigler N, Gilbert J, Gold MR, Klapholz M, Saxon LA, Singh JP, Troughton R, Abraham WT. Rationale and Design of the Left Atrial Pressure Monitoring to Optimize Heart Failure Therapy Study (LAPTOP-HF). *J Card Fail* 2015; **21**: 479-488 [PMID: 25921522 DOI: 10.1016/j.cardfail.2015.04.012]

15 **Verdejo HE**, Castro PF, Concepción R, Ferrada MA, Alfaro MA, Alcaíno ME, Deck CC, Bourge RC. Comparison of a radiofrequency-based wireless pressure sensor to swan-ganz catheter and echocardiography for ambulatory assessment of pulmonary artery pressure in heart failure. *J Am Coll Cardiol* 2007; **50**: 2375-2382 [PMID: 18154961 DOI: 10.1016/j.jacc.2007.06.061]

16 **Adamson PB**, Abraham WT, Aaron M, Aranda JM, Bourge RC, Smith A, Stevenson LW, Bauman JG, Yadav JS. CHAMPION trial rationale and design: the long-term safety and clinical efficacy of a wireless pulmonary artery pressure monitoring system. *J Card Fail* 2011; **17**: 3-10 [PMID: 21187258 DOI: 10.1016/j.cardfail.2010.08.002]

17 **Abraham WT**, Adamson PB, Bourge RC, Aaron MF, Costanzo MR, Stevenson LW, Strickland W, Neelagaru S, Raval N, Krueger S, Weiner S, Shavelle D, Jeffries B, Yadav JS. Wireless pulmonary artery haemodynamic monitoring in chronic heart failure: a randomised controlled trial. *Lancet* 2011; **377**: 658-666 [PMID: 21315441 DOI: 10.1016/S0140-6736(11)60101-3]

18 **Adamson PB**, Abraham WT, Bourge RC, Costanzo MR, Hasan A, Yadav C, Henderson J, Cowart P, Stevenson LW. Wireless pulmonary artery pressure monitoring guides management to reduce decompensation in heart failure with preserved ejection fraction. *Circ Heart Fail* 2014; **7**: 935-944 [PMID: 25286913 DOI: 10.1161/CIRCHEARTFAILURE.113.001229]

19 US Food and Drug Administration Center for Devices and Radiological Health. CardioMEMSTM HF System approval letter. [accessed 2014 Jul 2]. Available from: URL: http//www.accessdata.fda.gov/cdrh\_docs/pdf10/P100045a.pdf

20 **Ponikowski P**, Voors AA, Anker SD, Bueno H, Cleland JG, Coats AJ, Falk V, González-Juanatey JR, Harjola VP, Jankowska EA, Jessup M, Linde C, Nihoyannopoulos P, Parissis JT, Pieske B, Riley JP, Rosano GM, Ruilope LM, Ruschitzka F, Rutten FH, van der Meer P. 2016 ESC Guidelines for the diagnosis and treatment of acute and chronic heart failure: The Task Force for the diagnosis and treatment of acute and chronic heart failure of the European Society of Cardiology (ESC). Developed with the special contribution of the Heart Failure Association (HFA) of the ESC. *Eur J Heart Fail* 2016; **18**: 891-975 [PMID: 27207191 DOI: 10.1002/ejhf.592]

21 **Costanzo MR**, Adamson PB, AbrahamWT, Jeffries B, Neville S, Cowart P. Diuretic use guided by a wireless implanted pulmonary artery pressure monitoring system in NYHA class III heart failure patients: Observations from the CHAMPION trial. *Circulation* 2012; **126**: A19396

22 **Goldberg LR**, Desai AS, Costanzo MR, Stevenson LW, Adamson PB, Heywood JT, Abraham WT. Pressure for action: implantable pulmonary artery pressure sensor measurements alone beat clinical signs to guide prevention of heart failure hospitalizations, Boston: 2015. Available from: URL: http//www.abstractsonline.com/pp8/#!/3647/presentation/13016

23 **Costanzo MR**, Stevenson LW, Adamson PB, Desai AS, Heywood JT, Bourge RC, Bauman J, Abraham WT. Interventions Linked to Decreased Heart Failure Hospitalizations During Ambulatory Pulmonary Artery Pressure Monitoring. *JACC Heart Fail* 2016; **4**: 333-344 [PMID: 26874388 DOI: 10.1016/j.jchf.2015.11.011]

24 **Weiner S**, Abraham WT, Adamson PB, Neville S, Henderson, J. Effect of CRT on heart failure related hospitalizations in patients with reduced EF utilizing remote pulmonary artery pressures in the CHAMPION trial. *Heart Rhythm* 2011; **8**: S437

25 **Abraham WT**, Adamson PB, Stevenson LW, Costanzo MR, Bourge RC, Bauman J, Yadav J. Pulmonary artery pressure management in heart failure patients with cardiac resynchronization therapy or implantable cardioverter defibrillator devices significantly reduces heart failure hospitalizations and mortality above and beyond background guide-directed medical therapy, Boston: 2015. Available from: URL: http//www.abstractsonline.com/pp8/#!/3647/presentation/12502

26 **Adamson PB**, Abraham WT, Stevenson L, Neville S, Cowart P, Yadav J. Benefits of pulmonary artery pressure monitoring extend to reduction of all-cause rehospitalizations. *Amer Colle Cardiol* 2014; **63**: A746 [DOI: 10.1016/S0735-1097(14)60746-4]

27 **Raina A**, Abraham WT, Adamson PB, Bauman J, Benza RL. Limitations of right heart catheterization in the diagnosis and risk stratification of patients with pulmonary hypertension related to left heart disease: insights from a wireless pulmonary artery pressure monitoring system. *J Heart Lung Transplant* 2015; **34**: 438-447 [PMID: 25813770 DOI: 10.1016/j.healun.2015.01.983]

28 **Alam A**, Jermyn R, Joseph M, Patel S, Jorde U, Saeed O. Improved quality of life scores and exercise capacity with remote pulmonary artery pressure monitoring in patients with chronic heart failure, Chicago: 2016. Available from: URL: http//www.abstractsonline.com/pp8/#!/3874/presentation/43252

29 **Feldman D**, Naka Y, Cabuay B, Yakayama H, Bauman J, Cowart P, Corcoran K. A wireless hemodynamic pressure sensor before and after ventricular assist device placement: A sub-study of the CHAMPION trial. *J Heart Lung Transplant* 2011; **30**: S86 [DOI: 10.1016/j.healun.2011.01.248]

30 **Chaudhry SI**, Wang Y, Concato J, Gill TM, Krumholz HM. Patterns of weight change preceding hospitalization for heart failure. *Circulation* 2007; **116**: 1549-1554 [PMID: 17846286 DOI: 10.1161/CIRCULATIONAHA.107.690768]

31 **Bui AL**, Fonarow GC. Home monitoring for heart failure management. *J Am Coll Cardiol* 2012; **59**: 97-104 [PMID: 22222071 DOI: 10.1016/j.jacc.2011.09.044]

32 **Lyngå P**, Persson H, Hägg-Martinell A, Hägglund E, Hagerman I, Langius-Eklöf A, Rosenqvist M. Weight monitoring in patients with severe heart failure (WISH). A randomized controlled trial. *Eur J Heart Fail* 2012; **14**: 438-444 [PMID: 22371525 DOI: 10.1093/eurjhf/hfs023]

**P-Reviewer:** Farand F, Kataoka H, Sochman J **S-Editor:** Qiu S **L-Editor: E-Editor:**