Copyright Information of the Article Published Online

| TITLE | Endoscopy-guided ablation of pancreatic lesions: Technical possibilities and clinical outlook |
| --- | --- |
| AUTHOR(s) | Marianna Signoretti, Roberto Valente, Alessandro Repici, Gianfranco Delle Fave, Gabriele Capurso, Silvia Carrara |
| CITATION | Signoretti M, Valente R, Repici A, Delle Fave G, Capurso G, Carrara S. Endoscopy-guided ablation of pancreatic lesions: Technical possibilities and clinical outlook. World J Gastrointest Endosc 2017; 9(2): 41-54 |
| URL | http://www.wjgnet.com/1948-5190/full/v9/i2/41.htm |
| DOI | http://dx.doi.org/10.4253/wjge.v9.i2.41 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Endoscopic ablation is a procedure with interesting potential for the treatment of locally advanced pancreatic ductal adenocarcinoma, functioning pancreatic endocrine tumours, and pancreatic cystic neoplasms in patients unfit for surgery. There is limited evidence regarding the feasibility, safety, and efficacy of such treatments. Both endoscopic ultrasound and endoscopic retrograde cholangiopancreatography have been employed to guide ablation with several chemo-physical agents (including alcohol-chemo ablation, radiofrequency ablation, and cryo-therm-ablation). However, evidence regarding the best treatment and the ideal clinical setting for ablation strategies is still lacking. In the multidisciplinary approach to pancreatic cancers, these emerging local ablation techniques will probably be the future for individualized patient treatments. |
| KEY WORDS | Endoscopic ablation; Radiofrequency ablation; Cryoablation; Endoscopic ultrasound-guided ablation; Ethanol; Alcohol ablation; Chemoablation; Endoscopic ultrasound; Pancreatic cancer; Endoscopic retrograde cholagiopancreatography; Pancreatic cystic neoplasm; Pancreatic endocrine tumours |
| COPYRIGHT | © The Author(s) 2017. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Gastrointestinal Endoscopy |
| ISSN | 1948-5190 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

REVIEW

Endoscopy-guided ablation of pancreatic lesions: Technical possibilities and clinical outlook

Marianna Signoretti, Roberto Valente, Alessandro Repici, Gianfranco Delle Fave, Gabriele Capurso, Silvia Carrara

Marianna Signoretti, Roberto Valente, Gianfranco Delle Fave, Gabriele Capurso, Digestive and Liver Disease Unit, S.Andrea Hospital, University Sapienza, 00199 Rome, Italy

Alessandro Repici, Silvia Carrara, Digestive Endoscopy Unit, Division of Gastroenterology, Humanitas Research Hospital, 20121 Milan, Italy

Author contributions: Signoretti M, Valente R, Capurso G and Carrara S designed the study; Signoretti M, Valente R, Repici A, Delle Fave G, Capurso G and Carrara S gave substantial contribution to acquisition and analysis of the data and drafting of the article; Signoretti M, Valente R, Capurso G and Carrara S revised the manuscript critically and approved the version to be published; Signoretti M and Valente R contributed equally to this manuscript.

Correspondence to: Gabriele Capurso, MD, PhD, Digestive and Liver Disease Unit, S.Andrea Hospital, University Sapienza, Via di Grottarossa 1035, 00199 Rome, Italy. gabriele.capurso@gmail.com

Telephone: +39-06-33775691   Fax: +39-06-33775526

Received: August 30, 2016   Revised: October 19, 2016   Accepted: December 7, 2016

Published online: February 16, 2017

Abstract

Endoscopic ultrasound (EUS) and endoscopic retrograde cholangiopancreatography (ERCP)-guided ablation procedures are emerging as a minimally invasive therapeutic alternative to radiological and surgical treatments for locally advanced pancreatic cancer (LAPC), pancreatic neuroendocrine tumours (PNETs), and pancreatic cystic lesions (PCLs). The advantages of treatment under endoscopic control are the real-time imaging guidance and the possibility to reach a deep target like the pancreas. Currently, radiofrequency probes specifically designed for ERCP or EUS ablation are available as well as hybrid cryotherm probe combining radiofrequency with cryotechnology. To date, many reports and case series have confirmed the safety and feasibility of that kind of ablation technique in the pancreatic setting. Moreover, EUS-guided fine-needle injection is emerging as a method to deliver ablative and anti-tumoral agents inside the tumuor. Ethanol injection has been proposed mostly for the treatment of PCLs and for symptomatic functioning PNETs, and the use of gemcitabine and paclitaxel is also interesting in this setting. EUS-guided injection of chemical or biological agents including mixed lymphocyte culture, oncolytic viruses, and immature dendritic cells has been investigated for the treatment of LAPC. Data on the long-term efficacy of these approaches, and large prospective randomized studies are needed to confirm the real clinical benefits of these techniques for the management of pancreatic lesions.

Key words: Endoscopic ablation; Radiofrequency ablation; Cryoablation; Endoscopic ultrasound-guided ablation; Ethanol; Alcohol ablation; Chemoablation; Endoscopic ultrasound; Pancreatic cancer; Endoscopic retrograde cholagiopancreatography; Pancreatic cystic neoplasm; Pancreatic endocrine tumours

© The Author(s) 2017. Published by Baishideng Publishing Group Inc. All rights reserved.

Signoretti M, Valente R, Repici A, Delle Fave G, Capurso G, Carrara S. Endoscopy-guided ablation of pancreatic lesions: Technical possibilities and clinical outlook. World J Gastrointest Endosc 2017; 9(2): 41-54  Available from: URL: http://www.wjgnet.com/1948-5190/full/v9/i2/41.htm  DOI: http://dx.doi.org/10.4253/wjge.v9.i2.41

Core tip: Endoscopic ablation is a procedure with interesting potential for the treatment of locally advanced pancreatic ductal adenocarcinoma, functioning pancreatic endocrine tumours, and pancreatic cystic neoplasms in patients unfit for surgery. There is limited evidence regarding the feasibility, safety, and efficacy of such treatments. Both endoscopic ultrasound and endoscopic retrograde cholangiopancreatography have been employed to guide ablation with several chemo-physical agents (including alcohol-chemo ablation, radiofrequency ablation, and cryo-therm-ablation). However, evidence regarding the best treatment and the ideal clinical setting for ablation strategies is still lacking. In the multidisciplinary approach to pancreatic cancers, these emerging local ablation techniques will probably be the future for individualized patient treatments.

INTRODUCTION

The technical possibilities for treating pancreatic tumours under endoscopic retrograde colangiopancreatography (ERCP) and endosonographic (EUS) guidance have been evolving thanks to the development of biotechnologies applied to endoscopy. During the last 15 years, EUS has expanded more and more into a therapeutic tool and many studies have tested new probes and devices, especially in porcine models. The EUS-guided delivery of anti-tumour agents has been proposed as an alternative method to treat pancreatic cancer[1]. The concept is that if you can get in with a needle to acquire tissue, you can also insert a needle to release drugs or you can insert a probe to ablate tissues by using physical agents. Among the techniques proposed, the most promising are delivery of antitumoural drugs like TNF-erade[2], local immunotherapy with Cytoimplant[3], modified viruses[4], alcohol[5,6], and physical agents like monopolar or bipolar radiofrequency probes[7,8], cryotherm probes[9,10], and Nd:YAG laser[11,12]. All the studies carried out in in vivo animal models have demonstrated that the EUS-guided ablation of the pancreas is feasible, efficient and safe, but they all concluded that its clinical application in humans requires further evaluation in future studies. However, while a number of technologies for the local treatment of pancreatic masses are available, the real clinical indications and the outcomes of treatment still need to be elucidated. The current review will present different kinds of technologies, how they work, and their possible present and future applications in the treatment of different types of pancreatic lesions.

Locally advanced pancreatic cancer

Pancreatic cancer has a poor prognosis, with a 5-years survival rate < 10% for all stages[13]. Radical resection is the only treatment for resectable disease, but, unfortunately, at diagnosis only 15%-20% of patients are candidates for surgery[14]. About 40% of pancreatic cancer patients have locally advanced unresectable disease[15]. An autopsy series identified 30% of patients with pancreatic cancer who died because of locally destructive disease, without evidence of distant progression. The authors of this study concluded that the determination of DPC4 gene status at diagnosis might play a role in the choice of patient’s treatment: Systemic vs loco-regional[16].

Several studies have shown improved outcomes and survival when a multidisciplinary team evaluates patients[17]. In this context, EUS plays a role as a diagnostic and staging tool, but it becomes also an alternative/additional therapeutic approach to pancreatic cancer, and the gastroenterologist can join the oncology team in the treatment of patients with pancreatic cancer by administering anticancer drugs.

Patients who would benefit more from loco-regional treatment are those with unresectable locally advanced pancreatic cancer (LAPC). LAPC is defined by the National Comprehensive Cancer Network as a local disease, with no distant metastasis, with a contact with the superior mesenteric artery (SMA) or the celiac artery (CA) > 180° (head-uncinate process cancer), or a contact > 180° with the SMA or CA, or CA and aortic involvement (body and tail cancer)[18]. This vascular involvement makes the surgery ineffective and impossible even in case of small solid masses. Usually, LAPC is classified into borderline resectable (< 10% of pancreatic cancers) and unresectable disease (20%-30%)[19]. The American Society of Clinical Oncology Clinical Practice Guidelines suggest that “for patients who have tumours that are anatomically resectable but are characterized by a high likelihood of metastatic disease or margin-positive resection, a preoperative strategy is appealing because the results of an initial surgical strategy are particularly poor”[20].

A local ablative treatment that allows selective destruction of the tumour might improve the efficacy of chemo-radiation therapy in patients with vascular involvement that precludes resection as a first treatment (Table 1). EUS-guided ablation allows a minimally invasive approach to target pancreatic lesions that are extremely difficult to reach by a percutaneous approach by obtaining real-time imaging.

Pancreatic neuroendocrine tumours

Pancreatic neuroendocrine tumours (PNETs) are usually considered rare neoplasms, but their incidence has steadily increased over the past decades[21]. Furthermore, as the prognosis of PNETs is good even in the advanced disease setting, they represent about 10% of all pancreatic neoplasms by prevalence[22]. PNETs are categorized according to their diagnosis as sporadic or as genetically determined in the setting of inherited syndromes. They are further classified depending on the disease stage and histological grade, which depends on ki67 immunostaining, and, from a clinical viewpoint, based on the presence or absence of symptoms due to the secretion of hormones. Functioning PNETs produce hormones such as insulin, gastrin, and glucagon that can determine specific syndromes[23]. However, the majority of PNETs are non-functioning. All the above-mentioned features of PNETs are important to plan the most appropriate therapeutic strategy[24]. Most functioning PNETs present with a resectable disease and therefore have an indication for surgery. Given the high risks related with pancreatic surgery, however, some patients might benefit from alternative treatments able to reduce the symptoms due to hormone hypersecretion. Endoscopic-guided ablative techniques might therefore have a role in this setting, although limited data are available so far (Table 2).

Pancreatic cystic lesions

Pancreatic cystic lesions (PCLs) are extremely common, being incidentally diagnosed in about 10% of subjects undergoing abdominal imaging[25]. EUS imaging is an important method to evaluate PCLs and to determine the internal structure such as the presence of septa, wall thickness, and mural nodules or masses[26]. The epithelium of mucinous cystic lesions of the pancreas, which include intraductal papillary mucinous neoplasms (IPMNs) and mucinous cystic neoplasms (MCNs), can undergo dysplastic changes ranging from benign to borderline or malignant. Others cystic lesions such as serous cystadenomas (SCA) instead have a negligible malignant potential and surgery is required only in case of mass-related symptoms[27]. As a large part of patients diagnosed with PCLs are elderly and/or not good surgical candidates, the interest in a minimally invasive approach such as an endoscopic-guided one to treat such lesions has increased considerably in the past few years (Table 3).

RADIOFREQUENCY ABLATION

Physical and biological considerations

Radiofrequency ablation (RFA) works at high local temperatures to induce irreversible cellular damage, cellular apoptosis, and the coagulative necrosis of the tissue[28]. The technical advantages of loco-regional thermo-ablative techniques, when compared to surgical procedures, are lower rates of morbidity, the preservation of healthy surrounding tissues, shorter hospital stay and overall lower costs. In addition to that, evidence supports a possible immuno-modulation with an additional overall anti-cancer effect[29]. Radiofrequencies cause hyper-thermal damage through the delivery of high energies eventually resulting in a destruction of the tumour microenvironment, damages to the cell membrane, and sub-cellular injuries[30].

It is noteworthy that cancer cells are more heat-sensitive when compared to normal tissue probably due to a higher metabolic stress, a lower thermal conductance, and a lower cancer microenvironment pH[31].

Inside the ablated field, three areas can be easily recognised: (1) a zone of coagulative necrosis in direct contact with the probe; (2) a surrounding peripheral zone with a sub-lethal injury (whose final destiny is either apoptosis or complete “restitutio ad integrum”); and (3) a healthy, surrounding, non-ablated zone. The process that leads to tumoural destruction takes place in two phases: One direct and the other indirect. In fact, cellular damages occur in parallel at multiple levels, either subcellular and tissutal. In general, the thermal-mediated toxicity varies according to the amount of energy delivered and to the thermal sensitivity of the treated tissue. In addition, other processes, such as the loss of membrane integrity, the occurrence of mitochondrial dysfunction, and the inhibition of the replication, play also a role in the killing process[30]. Finally, indirect hits such as oxidative stress and inflammatory processes also occur. The former is due to ischemia-reperfusion injury, while the latter is due to the strong infiltration of the marginal zone by neutrophils, macrophages, dendritic cells, natural killer lymphocytes, T and B lymphocyte[32].

These inflammatory cells have been also highlighted in the blood stream at a distance from the tumour, reflecting a possible systemic, autoimmune reaction triggered by RFA and mediated by the interplay of various interleukins. The levels of heat shock proteins (particularly HSP70) seem also to be increased after RFA, being recognised as a potential early marker of good therapeutic response.

From a physical point of view, temperatures ranging between 60 ℃ and 100 ℃ are generated by high frequency alternating currents that induce frictional heating, which is also known as resistive heating.

Interestingly, temperatures above 100 ℃ are less efficient in local ablation, probably due to a process of the immediate vaporization and drying of the tissue surrounding the probe, which finally leads to a higher thermal impedance and ultimately a lower ablative efficiency.

Another limitation of RFA is the heat-shrink effect, a phenomenon occurring when the heat is absorbed by the blood stream of an adjacent vessel, dissipating hyperthermia and thus limiting the effectiveness of treatment[33].

From a technical point of view, two different types of radiofrequency probes are available on the market: Monopolar and bipolar. Monopolar probes include a generator, a delivering electrode, and a dispersive electrode (ground pad). The delivering electrode releases high-density current providing localized heating. The ground pad disperses energy in order to avoid possible thermal injury on the skin. Bipolar probes include two interstitial electrodes (in the middle of which, the electrical pulses oscillate) and the ground pad. In bipolar probes, energy delivering is confined between the two electrodes with the advantage of a more rapid and focal heating, overall with less perfusion conductance, potentially less injuries to the surrounding tissue but an overall minor ablative capacity[34].

Previous applications

RFA is a polyhedral technique, interestingly applied in many different oncological setting. Particularly it has been described for obtaining local control of lesions potentially evolving into high grade, as in cases of Barrett’s oesophagus for which RFA is considered the ablative procedure of choice[35].

RFA has also been widely studied with curative intent in hepatocellular carcinoma (HCC). Currently, clinical practice guidelines for the management of HCC support the use of loco-regional ablation with RFA as a standard of care in patients with Barcelona Clinic Liver Cancer stage 0 unsuitable for surgery. Particularly, the treatment is recommended in most instances, as the ablation of masses < 5 cm leads to a significant better control of the disease[36].

RFAs have been employed elsewhere, with palliative aims, in case of lung and bone metastasis, breast, adrenal cancer, head and neck lesions, and cholangiocarcinoma[37,38].

Pancreatic applications

Despite numerous applications in different settings, pancreatic RFA per se has always been regarded with reluctance by clinicians, for the fear of adverse events such as thermal induced pancreatitis, thermal injury to adjacent structures (e.g., the duodenum, stomach, mesenteric artery and vein, and bile duct), as well as for technical limitations, due to the fact that pancreatic cancer has generally poorly defined margins, making it difficult to ablate all the tumoural mass in a single session[39].

Although most of the clinical experiences with thermo-ablative procedures on the pancreas continue to be confined to a surgical setting[40], the potential use of an endoscopic guided approach provides undoubted advantages, such as the possibility of real-time imaging during the procedure, the ability to monitor the evolution of the treated lesion, and the possibility, compared to percutaneous approaches, to reach extremely distant and inaccessible anatomical areas[41].

On the other hand, the pancreas is a highly thermo-sensitive organ, with a potential susceptibility to iatrogenic injury leading to pancreatitis, peripancreatic fluid collections, stomach or intestinal perforation, and peritonitis, as suggested by some studies conducted on animal models[7].

In fact, initial clinical studies on animal models showed a high rate of mortality (25%). Anyway, it is noteworthy that all these preliminary studies were performed by applying high temperatures above 90 ℃ and treating large tumours[42].

Interestingly, the previous surgical experiences suggest that the iatrogenic injuries might be limited by applying some technical precautions, such as the reduction of the ablation temperature (< 90 ℃), the maintenance of a safety margin from major vessels or from the duodenum (which can also be irrigated by cold saline), and the use of a step-up approach in case of large size lesions[28,38].

So far, some studies on animal models or in small surgical human series have been performed to assess the feasibility and safety profile of the procedure.

Goldberg et al[7] conducted preliminary studies on the effect of RFA on normal pancreatic tissue on Yorkshire pigs (500 kHz for 6 min in order to obtain a temperature of 90 ℃). Histological examination was performed immediately after the procedure or 15 d later, showing respectively a bleeding zone surrounding the central coagulative necrotic area that after 2 wk was organized in fibrotic scar tissue.

Gaidhane et al[43] performed EUS-guided RFA in the normal pancreas of 5 Yucatan pigs by testing different powers (4, 5, 6 Watt), different exposure times (12-300 s) and application lengths (6 mm vs 10 mm). They reported no mortality and a mild pancreatitis rate of 25%, without other major complications.

For pancreatic applications, the currently available commercial probes have been designed to be used during either ERCP or EUS. ERCP probe (Habib EndoHBP catheter, EMcision London United Kingdom) has a catheter compatible with standard Duodenoscopes (3.2 mm working reeds) and can be passed over a 0.035 inch guidewire and connected to an RFA generator which delivers energy at 400 kHz (1500 RF generator; RITA Medical Systems, Inc., Fremont, CA, United States).

The clinical experience with this kind of probe comes mostly from the palliative treatment of inoperable cholangiocarcinomas, while “pure” pancreatic applications have been less extensively studied and pancreatic duct treatment has not been described so far.

Figueroa-Barojas et al[44] reported the palliation of obstructive jaundice, in a small series of pancreatic cancers and cholangiocarcinomas. They treated 22 patients with obstructive jaundice, including 16 with cholagiocarcinomas, 7 with stage Ⅲ pancreatic cancer and 1 with high-grade dysplasia IPMN, with RFA of the bile duct. The outcome of the study was the assessment of efficacy and safety profile. The procedure was effective in 100% of cases. Overall complications have been reported in 5 patients, 1 of whom required a surgical drainage. In contrast to what described in animal studies, no major complications on the surrounding organs were observed.

Kallis et al[45] performed a retrospective case-control analysis on 23 patients with malignant biliary obstruction and unresectable pancreatic carcinoma and undergoing endoscopic SEMS positioning and RFA and 46 controls (matched for sex, age, metastases, ASA score, and comorbidities ). The median survival was 226 d in the RFA group vs 123.5 d in controls (P = 0.010). RFA was found to be an independent predictor of survival at 90 d and 180 d (respectively OR = 21.07, 95%CI: 1.45-306.64, and OR = 4.48, 95%CI: 1.04-19.30), potentially conferring a concrete early survival benefit.

Currently, three commercial probes specifically designed for EUS are available on the market[46]: (1) EUS RFA System (STARMED, Koyang, South Korea), which consists of a prototype 19 g, 140 cm long needle electrode, with an inner internal part, isolated in all its length except for the distal centimetre which delivers energy. It is provided with an internal cooling system and can be connected to a RF generator (VIVA, STARMED, Seoul, South Korea); (2) habib EUS-monopolar RFA catheter (EMcision Ltd, London, United Kingdom), which is a 1 Fr wire (0.33 mm, with a working length of 190 cm) which can be connected to RITA (Electrosurgical RF Generator). The catheter is placed through EUS control through a 19-gauge biopsy needle with a stylet and RF energy is then generally applied for 90-120 s; and (3) mixed radio-cryoablation probes, which are a flexible bipolar hybrid ablation device (ERBE Elektromedizin, Tübingen, Germany) combining bipolar RF ablation with cryotechnology.

EUS guided pancreatic RFA has been applied in small human case series (mostly stage Ⅲ pancreatic cancer or neuroendocrine tumours).

Wang et al[47] reported a series of three patients with stage Ⅲ pancreatic cancers treated by EUS guided RFA through a 22 gauge needle, delivering a 10 watts to 15 watts current for 2 min. Multiple EUS-RFA procedures were performed when needed, according to the size of tumour with a mean reduction in tumour size of 13.94%, a significant reduction in CA19-9 and without any complications.

Song et al[48] performed an ablation procedure by applying radiofrequency 20-50 W, for 10 s on a total of six patients with pancreatic cancer, either locally advanced (four patients) or metastatic (two patients). The procedure was successfully performed in 100% of the patients without major complications such as pancreatitis, bleeding, duodenal lesions, portal vein thrombosis, or splenoportal vein. Even in this small series, mortality was 0%.

Interestingly a preliminary application of RFA to treat pancreatic cystic neoplasms has also been recently described.

Pai et al[8] performed a multi-center, pilot safety and feasibility study describing RFA in eight patients, including six with cystic lesions (four mucinous cysts, one intraductal papillary mucinous neoplasm, and one microcystic adenoma) and two with neuroendocrine tumours of the pancreatic head. EUS-RFA was successfully completed in 100% of cases, with a complete resolution in 2/6 patients and a 50% size reduction in 3/6 patients with pancreatic cystic neoplasms. PNET also displayed a change in vascularity, with central necrosis after EUS-RFA. No major complications occurred. Two patients developed mild, self-limiting abdominal pain.

In addition to that, other clinical experiences with RFA of neuroendocrine tumours have been reported so far. Armellini et al[49] successfully treated a 20 mm G2 endocrine tumour by EUS-guided RFA in an asymptomatic 76-year-old patient who had refused surgery. The lesion was completely ablated without complications and one month computed tomography (CT) scan confirmed the efficacy of treatment.

A small series of three patients, unfit for surgery, with symptomatic neuroendocrine tumours successfully treated by EUS guided RFA has also been described by Lakhtakia et al[50]. No procedure related complications occurred. Similarly, Waung et al[51] reported the successful treatment of a symptomatic 18 mm insulinoma in a patient unfit for surgery (due to comorbidity) in which other medical treatments had failed. The patient underwent three consecutive treatments and eventually the full control of hypoglicaemic symptoms was obtained.

With a similar purpose, radiofrequency treatment has also recently been proposed as an additional treatment to endoscopic resection margins after ampullectomy, in case of recurring intraductal growing ampullary adenoma[52].

RFA for locally advanced or metastatic pancreatic cancer, functional neuroendocrine tumours and potentially in the future, pancreatic cystic tumours, through a mini-invasive ERCP or EUS-guided approach, can reasonably be an effective, not curative, cytoreductive treatment. In a multidisciplinary setting, those approaches might confer a better response to therapy, palliation of symptoms, and survival improvement in patients unfit for surgery.

CRYO-THERM ABLATION

Previous applications

A hybrid bipolar cryotherm probe (CTP) has been developed (ERBE Elektromedizin, Tübingen, Germany). The choice to create a bipolar device was sustained by the fact that bipolar systems ablate with less collateral thermal damage than monopolar systems but with the trade-off of less efficiency overall[53,54].

By combining the effects of the two technologies (RFA and cryotechnology), this flexible ablation device increases the effects of the two approaches and overcomes the disadvantage of less efficiency. It is known that the interstitial devitalization of tissues induced by radiofrequency is increased by the cooling effect of cryogenic gas[55].

Cryoablation has been used successfully for many years for the local treatment of many cancers (kidney, prostate, breast, and skin).

Besides the local tissue ablation, a systemic inflammatory response to cryoablation has been postulated as a reaction that can lead to an antitumour response, not only in the treated area, but also, in distant metastasis.

Most of these effects have been studied in mouse tumour models. Joosten et al[56] implanted subcutaneously two fragments of colon 26-B tumours into the thigh and flank of BALB/c mice. The thigh tumours were treated by either cryoablation or resection. Cryoablation clearly induced the inhibition of adjacent tumour growth, compared to the mere excision of the primary tumour. Plasma levels of TNF and IL-1 were significantly elevated after cryoablation. The authors concluded that cryosurgery leads to a systemic inflammatory response that can lead to the inhibition of tumour growth. Another experiment in mice with MT-901 mammary adenocarcinoma demonstrated that cryoablation prior to surgical resection of breast cancer generated tumour specific T-cells. This immune response could be used for adjuvant adoptive cellular immunotherapy[57].

The CTP developed by ERBE is a hybrid RFA probe that is internally cooled with carbon dioxide, which allows efficient cooling because of the Joule-Thomson effect. The probe has been created on the model of a 19G needle for EUS-fine needle aspiration, with the distal tip that is sharp and stiff enough to penetrate the gastric and duodenal wall and pancreatic parenchyma with no need to apply current. The electrically active part of the CTP has a diameter of 1.8 mm.

A protective tube covers the entire probe so that it can be safely passed through the operative channel of the echoendoscope without the risk of damaging the instrument. The commercially available generator VIO 300D (ERBE) is used for power delivery, together with the ERBOKRYO CA system (ERBE) which is used for cooling. The pressure of the gas exiting through the expansion vessel, the power setting of the generator, and the duration of application can be varied independently. In the initial study in an in vivo animal model, the power and pressure settings were standardized according to previous laboratory experiments (respectively 16 W and 650 psi) and the application time ranged from 120 to 900 s[9]. The probe was applied under real-time EUS guidance in the pancreas of 14 pigs. Some of them received more than one application. The CTP was easily recognized during the ablation as a hyperchoic line. During the power delivery, a hyperechoic elliptic area was visualized around the distal tip of the probe, surrounded by a hypoechoic margin. The study demonstrated the ability of EUS to guide the placement of the probe and to measure the ablated area. There was a positive correlation between the size of the ablated area and the duration of application. The procedure was safe and the mortality was zero, while the morbidity was significant due to gastric wall burns and gut adhesions. There was one major complication (7%), while the overall rate for minor complications was 43%. The complications were clearly dose-dependent: The pig with the major complication (necrotic pancreatitis with peritonitis) was treated for more than 900 s.

At histological evaluation two weeks after ablation, the ablated area was clearly demarcated from the surrounding pancreatic parenchyma. An inflammatory wall with a remarkable number of lymphocytes and polymorphonucleated neutrophil granulocytes, and granulation tissue with fibroblastic reaction and new blood vessels surrounded a central necrosis (cellular debris and amorphous material).

The CTP was applied also in the liver and spleen of the pigs with no complications and with a good correlation between the application time and the size of the ablated area[58].

Pancreatic applications

Based on the results of the preliminary study in pigs, the CTP was used for the first time under EUS guidance in a pilot compassionate study in patients with LAPC with disease progression after standard chemotherapy ± radiotherapy[10].

Twenty-two patients were enrolled. The cryotherm ablation was feasible in 16 patients, but in six, it was not possible to apply the probe because of the stiffness of the gastro-duodenal wall and of the tumour due to desmoplastic reaction or fibrosis after radiation. The power (heating) was set at 18 W; the pressure (cooling) was set at 650 psi; the mean application time was 107 ± 86 s (range 10-360 s). Before the calculated application time, a computer connected to the energy delivery system automatically stopped the power when a rapid increase of electric resistance induced by fast desiccation and devitalization of the tumour tissue occurred. The probe was well visible inside the tumour and the effect of the ablation was followed under real-time EUS guidance.

There were no complications during or immediately after the ablation. Late complications were mostly related to tumour progression. One major limitation of this study is the difficulty of objectifying the size of the ablated area by CT scan. The low specificity of imaging techniques like B-mode EUS cannot distinguish between reactive oedema and the persistence of tumour. Some studies have demonstrated the role of contrast-enhanced ultrasonography (CEUS) in the surveillance of radiofrequency-ablated renal tumours[59]. Other studies have focused on the image fusion, demonstrating that the CEUS-CT/RM image fusion is feasible also intraoperatively during ablation of HCC and can improve the ablated margins by guiding supplementary ablation of margins[60]. Such good results are expected by the use of contrast-enhanced endoscopic ultrasound in the evaluation of devitalized tissues, but more studies are required.

ALCOHOL/CHEMO ABLATION

Previous applications

Ethanol is a low viscosity, cost effective chemical agent that induces coagulative necrosis, and subsequent fibrosis, small vessel thrombosis and granulomatous tissue formation[61]. It can be easily injectable through a small gauge needle. Percutaneous ethanol injection therapy, indeed, has been used for the ablation of several solid and cystic lesions.

Ethanol is the most common sclerosing material used for cyst ablation. After the initial success in the sclerosis of renal cysts[62], ethanol has been also used for the percutaneous ablation of hepatic cysts. US-guided aspiration with ethanol sclerosis is a relatively non-invasive, safe and effective procedure with low complication rates (that potentially can range from mild fever and loco-regional pain to systematic reactions such as shock and intoxication)[61]. The 95%, 96% and 99% alcohol solutions are equally safe and effective without a dose-related adverse event[63].

Ethanol has been administered percutaneously as a safe therapeutic modality for patients with solid neoplastic lesions such as small HCC[64] and adrenal tumours[65]. In HCCs, the toxic effect of ethanol is facilitated by the hypervascularity and soft consistency of the tumour (softer compared to surrounding cirrhotic liver) that permit a selectively diffusion of alcohol within the nodule. EUS-guided fine needle injection (EIUS-FNI) is a safe and minimally invasive therapeutic EUS technique. It has been used for precise delivery of antitumour agents into target lesion. However, to date, there are few data regarding the use of chemotherapeutic and biologic agents, limited to animal feasibility studies, human case series, and phase Ⅰ/Ⅱ studies (see pancreatic application). As regards EUS-guided ethanol injection, it has been previously reported for celiac necrolysis[66] and more recently it has also been used for ablation of abdominal tumour such as gastrointestinal stromal tumour of the stomach[67], solid hepatic metastasis[68], metastatic pelvic lymph nodes[69], and adrenal metastatic carcinoma[70].

Pancreatic applications

EUS-guided ethanol ablation therapy: Some clinical trials of PCL ablation have been published so far (Table 3). To date, all studies about EUS-guided pancreatic cyst ablation have used a 22-gauge needle under EUS guidance to aspirate the cystic fluid. Through the needle, ethanol is injected in the collapsed cyst using a volume equal to the aspirate. The cavity can be alternately filled and emptied for 5 min[71].

Gan et al[5] first showed that EUS-guided ethanol injection for the ablation of pancreatic cysts is a feasible and safe procedure. They treated 25 patients with pancreatic cysts (13 MCN, 4 IPMN, 3 SCA, 3 pseudocysts, and 2 of unknown origin) and cyst resolution was achieved in 35% of patients during the follow-up (6-12 mo). Five patients (33%) underwent surgical resection and a variable degree of epithelial ablation (up to complete) was described on pathology.

Oh et al[72] evaluated the results of EUS-guided pancreatic cyst ablation after injection of ethanol and paclitaxel that was injected into the cyst after alcohol lavage and left in place. Paclitaxel is chemotherapeutic agent (viscous and hydrophobic) which interferes with G2 mitotic-phase cell replication by the arrest of cellular microtubule assembly.

An initial study[72] on 14 patients found that complete resolution of pancreatic cystic tumours was achieved in 11 out of 14 patients followed for more than 6 mo. After treatment, minor complications were observed in one patient (including hyperamylasemia and abdominal pain). The same authors reported the results of 10 patients with septated cysts[73]. They observed a 60% rate of complete radiological cyst resolution, proving that the presence of septations within the cyst is not an absolute contraindication to injection therapy. The same group published a subsequent study in 2011 involving a larger population (n = 52)[74], reporting a complete resolution in 62% of the patients without any major complications.

DeWitt et al[75] conducted a randomized double-blind trial comparing ethanol with saline lavage in 42 patients. The study showed that EUS-guided lavage with 80% ethanol achieved a greater reduction in cystic size compared with saline solution injection, providing further evidence for pancreatic cyst ablation efficacy. As demonstrated by a CT scan, complete resolution was obtained in 33% of patients. Epithelial ablation was observed from 0% (with saline solution injection) to 50% or 100% (with one or two ethanol lavages, respectively) in the four patients who underwent surgery.

In 2011 the same group[76] analyzed retrospectively the efficacy of multiple EUS-guided lavages with ethanol for the treatment of pancreatic cystic tumours. The authors concluded that a complete cyst resolution was achieved in 38% of 13 patients who underwent two EUS-ethanol lavage sequential treatments.

Recently, Park at al[77] presented data on the longest follow-up and the largest number of patients with clinically indeterminate PCLs treated by EUS injection with 99% ethanol. They showed that the success rate of EUS-guided ethanol ablation therapy was significantly dependent upon findings of cystic fluid analyses (SCN, 58%; MCN, 50%; IPMN, 11%; uncategorized cyst, 39%; P < 0.0001). Another prognostic factor determining success rate of EUS-guided ethanol ablation therapy was the size of the cyst (smaller diameters had a significantly higher treatment success rate after EUS-guided ethanol ablation therapy).

Since complete ablation rates of 60%-79% have been reached in studies that added paclitaxel to ethanol, Moyer et al[78] recently published a prospective randomized trial pilot study (CHARM). The authors compared the efficacy of either an ablation with saline plus a chemotherapy cocktail of gemcitabine and paclitaxel or of an alcohol-free regimen with saline and the same chemotherapeutic agents in 10 patients with PLCs. Similar ablation rates were found in the two groups (a 67% complete ablation rate in the alcohol-free arm compared to 75% in the ethanol group), showing the efficacy of EUS-FNI of chemotherapeutic agents alone in treating PCLs.

Heterotopic pancreatic tissue and pancreatic tumours also have been directly injected with absolute ethanol without reported major complication as showed by porcine animal studies[79,80]. The role of contrast-enhanced EUS has been also described in a porcine model showing that this procedure can be used not only in the detection of small pancreatic lesions but also for monitoring necrosis after pancreatic tissue ablation[80]. Phase Ⅰ and Ⅱ studies will be necessary on this topic.

Facciorusso et al[81] prospectively enrolled 123 patients with advanced PDAC to compare the efficacy and safety of EUS-FNI ethanol ablation combined with EUS-guided celiac plexus neurolysis (EUS-CPN) with respect to EUS-CPN alone for pain management. They also reported data about ablation rate of the tumour and the overall survival. At 48-h CT-scan imaging, ablation was confirmed in 55 patients (84.6%) treated with the combined approach and, at 3 mo, the response was maintained in 13 patients (20%). Moreover, a significantly longer median overall survival was observed after the combined therapy (8.3 mo vs 6.5 mo; P = 0.05).

In patients with a small endocrine tumour, EUS-guided ethanol injection could also be an alternative to surgery (Table 2). A retrospective study was conducted by Levy et al[82] that reported the data of eight patients with symptomatic insulinomas who received EUS and intraoperative US ethanol ablation after incomplete surgical resection. In five patients who underwent EUS-guided ethanol injection, hypoglycemia-related symptoms completely disappeared without complications.

Ethanol ablation was also successfully performed in a South Korean pilot study performed in 14 neuroendocrine tumours[83] (4 insulinomas) with a response rate of 53.8%, and three cases of mild pancreatitis were observed after treatment. After multiple treatment sessions performed in other three patients with residual enhancing tumours, the successful rate increased to 61.5%.

A recent study[84] reported a success rate of 75% in a cohort of six PNETs less than 2 cm (2 cases of nonfunctioning NETs, 3 cases of insulinomas, and 1 case of gastrinoma). Complete remission was obtained in five patients (the median follow-up period was 16.5 mo). Moreover, four patients with functioning NETs reported complete relief from tumour-related symptoms. Three mild adverse events were reported after the procedure: One case of abdominal pain, self-limiting fever, and acute pancreatitis each.

EUS-guided injection of anti-tumoural agents: Various anti-tumoural agents have been considered for the treatment of pancreatic adenocarcinoma trough EUS injection such as mixed lymphocyte culture, oncolytic viruses, and immature dendritic cells.

Allogenic Mixed Lymphocyte Culture (Cytoimplant): The first phase I trial was published in 2000 by Chang et al[3] who used EUS-FNI to deliver allogenic mixed lymphocyte culture (Cytoimplant) in eight patients with advanced pancreatic adenocarcinoma to induce cytokine production and activate the host immune effector mechanism. They reported no adverse events and a median survival of 13.2 mo, with 2 partial responses (> 50% reduction in tumour size measured on imaging) and 1 minor response (< 50%).

Immunotherapy/dendritic cells: To date two pilot trials evaluated EUS injection of immature dendritics cells to stimulate primary T-cell response against tumour antigens in 7 and 5 patients with unresectable pancreatic cancer[85,86], respectively. The first study reported a median survival of 9.9 mo with one complete response, three partial remissions while 3 out of 5 patients demonstrated effective response (1 partial response and 2 stable disease over 6 mo) in the later trial that combined systemic gemcitabine with EUS injection.

Adenovirus ONYX-015: Intravenous gemcitabine and EUS-guided ONYX-015[4] injection was observed in 21 patients with unresectable pancreatic cancers. ONYX-015 is a modified adenovirus (deletion in the E1B gene) which replicates preferentially in tumour cells, leading to cell death. In this phase Ⅰ/Ⅱ trial, no patients showed tumour regression with the injection alone after five weeks while two partial responses were described when administrated in combination with gemcitabine. Two patients had sepsis and two others duodenal perforation.

Tumour necrosis factor erade: Hecht et al[87] published a phase Ⅰ/Ⅱ study about the efficacy of TNFerade (replication-deficient adenovirus vector that expresses human TNF-alpha gene, which is inducible by chemotherapy and radiation) EUS injected in 50 patients with locally advanced PDAC. They reported three cases of partial response, one case of complete response and 12 cases of stable disease (median survival of 297 d). Dose-limiting toxicities were observed in three patients (pancreatitis and cholangitis). Although one case of complete pathologic response and six clear margins were observed among the seven patients surgically treated after treatment, the subsequent large randomized multicenter phase Ⅲ study[88] involving 304 patients reported no survival benefit of adding intratumoural TNFerade injection to 5-fluorouracil and radiotherapy compared with chemotherapy alone.

BC-819: A phase Ⅰ/Ⅱa trial[89-91] assessed the safety and tolerability and preliminary efficacy of a DNA plasmid that targets the expression of diphtheria-toxin gene under the control of H19 regulatory sequences that can potentially treat pancreatic adenocarcinoma overexpressing the H19 gene. It was injected into unresectable non-metastatic PDAC under EUS (six patients) or TC guidance (three patients). No serious major complications occurred. Two patients were successfully down-staged for surgery and three achieved partial response.

CONCLUSION

The rapid improvement in the development of devices for pancreaticobiliary endoscopy, particularly for EUS, has led to an increasing number of indications for endoscopically guided pancreatic lesions ablation. As regards pancreatic adenocarcinoma, the recent improvement of survival obtained thanks to more efficient chemotherapy regimens will most likely lead to a more widespread use of different ablative techniques, with EUS presenting the advantage of a minimally invasive technique with low risk and direct imaging of the lesions. The most efficient treatment has yet to be identified and there is a need of well-designed randomized controlled trials. Pancreatic cystic lesions are epidemic, and most of them require follow-up as potential preneoplastic lesions[25,27]. The use of cyst ablation in incidentally identified lesions or those that may not meet the criteria for surgical resection is controversial, while it could be proposed to those patients with high-risk stigmata or symptomatic pancreatic cysts who either refuse or are not fit for surgery.

In this setting, although EUS-guided ethanol injection has proved to be a safe and minimally invasive procedure, the total ablation of cystic epithelium was not always reached and it seemed less effective in IPMNs that are the most common lesions and those with a preneoplastic potential. The intracystic treatment with paclitaxel and gemcitabine is an interesting option that requires further evaluation.

EUS-guided ethanol ablation therapy for PNETs seems to be a promising technique for patients with functioning tumours who refuse or are unfit for surgery. Nevertheless one should notice that all the above-mentioned local ablative techniques are not completely free from complications. The decision to treat a pancreatic lesion by a loco-regional ablation technique can sometimes represent a very difficult task, particularly in cases of cystic lesions, demanding the need of well-trained operators and high volume centers. Clinical trials enrolling more patients with longer follow-up are required in order to better understand the complete ablation rate as well as the risk of metastasis after ablation.

REFERENCES

1	Hara K, Yamao K, Mizuno N, Hijioka S, Sawaki A, Tajika M, Kawai H, Kondo S, Shimizu Y, Niwa Y. Interventional endoscopic ultrasonography for pancreatic cancer. World J Clin Oncol 2011; 2: 108-114 [PMID: 21603319 DOI: 10.5306/wjco.v2.i2.108]

2	Chang KJ, Lee JG, Holcombe RF, Kuo J, Muthusamy R, Wu ML. Endoscopic ultrasound delivery of an antitumor agent to treat a case of pancreatic cancer. Nat Clin Pract Gastroenterol Hepatol 2008; 5: 107-111 [PMID: 18253139 DOI: 10.1038/ncpgasthep1033]

3	Chang KJ, Nguyen PT, Thompson JA, Kurosaki TT, Casey LR, Leung EC, Granger GA. Phase I clinical trial of allogeneic mixed lymphocyte culture (cytoimplant) delivered by endoscopic ultrasound-guided fine-needle injection in patients with advanced pancreatic carcinoma. Cancer 2000; 88: 1325-1335 [PMID: 10717613]

4	Hecht JR, Bedford R, Abbruzzese JL, Lahoti S, Reid TR, Soetikno RM, Kirn DH, Freeman SM. A phase I/II trial of intratumoral endoscopic ultrasound injection of ONYX-015 with intravenous gemcitabine in unresectable pancreatic carcinoma. Clin Cancer Res 2003; 9: 555-561 [PMID: 12576418]

5	Gan SI, Thompson CC, Lauwers GY, Bounds BC, Brugge WR. Ethanol lavage of pancreatic cystic lesions: initial pilot study. Gastrointest Endosc 2005; 61: 746-752 [PMID: 15855986]

6	Jürgensen C, Schuppan D, Neser F, Ernstberger J, Junghans U, Stölzel U. EUS-guided alcohol ablation of an insulinoma. Gastrointest Endosc 2006; 63: 1059-1062 [PMID: 16733126 DOI: 10.1016/j.gie.2005.10.034]

7	Goldberg SN, Mallery S, Gazelle GS, Brugge WR. EUS-guided radiofrequency ablation in the pancreas: results in a porcine model. Gastrointest Endosc 1999; 50: 392-401 [PMID: 10462663 DOI: 10.1053/ge.1999.v50.98847]

8	Pai M, Habib N, Senturk H, Lakhtakia S, Reddy N, Cicinnati VR, Kaba I, Beckebaum S, Drymousis P, Kahaleh M, Brugge W. Endoscopic ultrasound guided radiofrequency ablation, for pancreatic cystic neoplasms and neuroendocrine tumors. World J Gastrointest Surg 2015; 7: 52-59 [PMID: 25914783 DOI: 10.4240/wjgs.v7.i4.52]

9	Carrara S, Arcidiacono PG, Albarello L, Addis A, Enderle MD, Boemo C, Campagnol M, Ambrosi A, Doglioni C, Testoni PA. Endoscopic ultrasound-guided application of a new hybrid cryotherm probe in porcine pancreas: a preliminary study. Endoscopy 2008; 40: 321-326 [PMID: 18389449 DOI: 10.1055/s-2007-995595]

10	Arcidiacono PG, Carrara S, Reni M, Petrone MC, Cappio S, Balzano G, Boemo C, Cereda S, Nicoletti R, Enderle MD, Neugebauer A, von Renteln D, Eickhoff A, Testoni PA. Feasibility and safety of EUS-guided cryothermal ablation in patients with locally advanced pancreatic cancer. Gastrointest Endosc 2012; 76: 1142-1151 [PMID: 23021160 DOI: 10.1016/j.gie.2012.08.006]

11	Di Matteo F, Martino M, Rea R, Pandolfi M, Panzera F, Stigliano E, Schena E, Saccomandi P, Silvestri S, Pacella CM, Breschi L, Perrone G, Coppola R, Costamagna G. US-guided application of Nd: YAG laser in porcine pancreatic tissue: an ex vivo study and numerical simulation. Gastrointest Endosc 2013; 78: 750-755 [PMID: 23680175 DOI: 10.1016/j.gie.2013.04.178]

12	Di Matteo F, Martino M, Rea R, Pandolfi M, Rabitti C, Masselli GM, Silvestri S, Pacella CM, Papini E, Panzera F, Valeri S, Coppola R, Costamagna G. EUS-guided Nd: YAG laser ablation of normal pancreatic tissue: a pilot study in a pig model. Gastrointest Endosc 2010; 72: 358-363 [PMID: 20541187 DOI: 10.1016/j.gie.2010.02.027]

13	Axtner J, Steele M, Kröz M, Spahn G, Matthes H, Schad F. Health services research of integrative oncology in palliative care of patients with advanced pancreatic cancer. BMC Cancer 2016; 16: 579 [PMID: 27485618 DOI: 10.1186/s12885-016-2594-5]

14	Raimondi S, Maisonneuve P, Lowenfels AB. Epidemiology of pancreatic cancer: an overview. Nat Rev Gastroenterol Hepatol 2009; 6: 699-708 [PMID: 19806144 DOI: 10.1038/nrgastro. 2009.177]

15	Vincent A, Herman J, Schulick R, Hruban RH, Goggins M. Pancreatic cancer. Lancet 2011; 378: 607-620 [PMID: 21620466 DOI: 10.1016/S0140-6736(10)62307-0]

16	Iacobuzio-Donahue CA, Fu B, Yachida S, Luo M, Abe H, Henderson CM, Vilardell F, Wang Z, Keller JW, Banerjee P, Herman JM, Cameron JL, Yeo CJ, Halushka MK, Eshleman JR, Raben M, Klein AP, Hruban RH, Hidalgo M, Laheru D. DPC4 gene status of the primary carcinoma correlates with patterns of failure in patients with pancreatic cancer. J Clin Oncol 2009; 27: 1806-1813 [PMID: 19273710 DOI: 10.1200/jco.2008.17.7188]

17	Prades J, Remue E, van Hoof E, Borras JM. Is it worth reorganising cancer services on the basis of multidisciplinary teams (MDTs)? A systematic review of the objectives and organisation of MDTs and their impact on patient outcomes. Health Policy 2015; 119: 464-474 [PMID: 25271171 DOI: 10.1016/j.healthpol.2014.09.006]

18	National Comprehensive Cancer Network. NCCN guidelines version. Pancreatic adenocarcinoma, 2016: 1

19	He J, Page AJ, Weiss M, Wolfgang CL, Herman JM, Pawlik TM. Management of borderline and locally advanced pancreatic cancer: where do we stand? World J Gastroenterol 2014; 20: 2255-2266 [PMID: 24605025 DOI: 10.3748/wjg.v20.i9.2255]

20	Khorana AA, Mangu PB, Berlin J, Engebretson A, Hong TS, Maitra A, Mohile SG, Mumber M, Schulick R, Shapiro M, Urba S, Zeh HJ, Katz MH. Potentially Curable Pancreatic Cancer: American Society of Clinical Oncology Clinical Practice Guideline. J Clin Oncol 2016; 34: 2541-2556 [PMID: 27247221 DOI: 10.1200/jco.2016.67.5553]

21	Yao JC, Hassan M, Phan A, Dagohoy C, Leary C, Mares JE, Abdalla EK, Fleming JB, Vauthey JN, Rashid A, Evans DB. One hundred years after “carcinoid”: epidemiology of and prognostic factors for neuroendocrine tumors in 35,825 cases in the United States. J Clin Oncol 2008; 26: 3063-3072 [PMID: 18565894 DOI: 10.1200/JCO.2007.15.4377]

22	Fitzgerald TL, Hickner ZJ, Schmitz M, Kort EJ. Changing incidence of pancreatic neoplasms: a 16-year review of statewide tumor registry. Pancreas 2008; 37: 134-138 [PMID: 18665072 DOI: 10.1097/MPA.0b013e318163a329]

23	Falconi M, Eriksson B, Kaltsas G, Bartsch DK, Capdevila J, Caplin M, Kos-Kudla B, Kwekkeboom D, Rindi G, Klöppel G, Reed N, Kianmanesh R, Jensen RT. ENETS Consensus Guidelines Update for the Management of Patients with Functional Pancreatic Neuroendocrine Tumors and Non-Functional Pancreatic Neuroendocrine Tumors. Neuroendocrinology 2016; 103: 153-171 [PMID: 26742109 DOI: 10.1159/000443171]

24	Merola E, Rinzivillo M, Cicchese N, Capurso G, Panzuto F, Delle Fave G. Digestive neuroendocrine neoplasms: A 2016 overview. Dig Liver Dis 2016; 48: 829-835 [PMID: 27212431 DOI: 10.1016/j.dld.2016.04.008]

25	Buscarini E, Pezzilli R, Cannizzaro R, De Angelis C, Gion M, Morana G, Zamboni G, Arcidiacono P, Balzano G, Barresi L, Basso D, Bocus P, Calculli L, Capurso G, Canzonieri V, Casadei R, Crippa S, D’Onofrio M, Frulloni L, Fusaroli P, Manfredi G, Pacchioni D, Pasquali C, Rocca R, Ventrucci M, Venturini S, Villanacci V, Zerbi A, Falconi M. Italian consensus guidelines for the diagnostic work-up and follow-up of cystic pancreatic neoplasms. Dig Liver Dis 2014; 46: 479-493 [PMID: 24809235 DOI: 10.1016/j.dld.2013.12.019]

26	Khashab MA, Kim K, Lennon AM, Shin EJ, Tignor AS, Amateau SK, Singh VK, Wolfgang CL, Hruban RH, Canto MI. Should we do EUS/FNA on patients with pancreatic cysts? The incremental diagnostic yield of EUS over CT/MRI for prediction of cystic neoplasms. Pancreas 2013; 42: 717-721 [PMID: 23558241 DOI: 10.1097/MPA.0b013e3182883a91]

27	Del Chiaro M, Verbeke C, Salvia R, Klöppel G, Werner J, McKay C, Friess H, Manfredi R, Van Cutsem E, Löhr M, Segersvärd R. European experts consensus statement on cystic tumours of the pancreas. Dig Liver Dis 2013; 45: 703-711 [PMID: 23415799 DOI: 10.1016/j.dld.2013.01.010]

28	Paiella S, Salvia R, Ramera M, Girelli R, Frigerio I, Giardino A, Allegrini V, Bassi C. Local Ablative Strategies for Ductal Pancreatic Cancer (Radiofrequency Ablation, Irreversible Electroporation): A Review. Gastroenterol Res Pract 2016; 2016: 4508376 [PMID: 26981115 DOI: 10.1155/2016/4508376]

29	Haen SP, Pereira PL, Salih HR, Rammensee HG, Gouttefangeas C. More than just tumor destruction: immunomodulation by thermal ablation of cancer. Clin Dev Immunol 2011; 2011: 160250 [PMID: 22242035 DOI: 10.1155/2011/160250]

30	Chu KF, Dupuy DE. Thermal ablation of tumours: biological mechanisms and advances in therapy. Nat Rev Cancer 2014; 14: 199-208 [PMID: 24561446 DOI: 10.1038/nrc3672]

31	Nikfarjam M, Muralidharan V, Christophi C. Mechanisms of focal heat destruction of liver tumors. J Surg Res 2005; 127: 208-223 [PMID: 16083756 DOI: 10.1016/j.jss.2005.02.009]

32	Zerbini A, Pilli M, Penna A, Pelosi G, Schianchi C, Molinari A, Schivazappa S, Zibera C, Fagnoni FF, Ferrari C, Missale G. Radiofrequency thermal ablation of hepatocellular carcinoma liver nodules can activate and enhance tumor-specific T-cell responses. Cancer Res 2006; 66: 1139-1146 [PMID: 16424051 DOI: 10.1158/ 0008-5472.can-05-2244]

33	Wright AS, Sampson LA, Warner TF, Mahvi DM, Lee FT. Radiofrequency versus microwave ablation in a hepatic porcine model. Radiology 2005; 236: 132-139 [PMID: 15987969 DOI: 10.1148/radiol.2361031249]

34	Yoon WJ, Brugge WR. Endoscopic ultrasonography-guided tumor ablation. Gastrointest Endosc Clin N Am 2012; 22: 359-369, xi [PMID: 22632957 DOI: 10.1016/j.giec.2012.04.017]

35	Spechler SJ, Souza RF. Barrett’s esophagus. N Engl J Med 2014; 371: 836-845 [PMID: 25162890 DOI: 10.1056/NEJMra1314704]

36	EASL-EORTC clinical practice guidelines: management of hepatocellular carcinoma. J Hepatol 2012; 56: 908-943 [PMID: 22424438 DOI: 10.1016/j.jhep.2011.12.001]

37	Laquière A, Boustière C, Leblanc S, Penaranda G, Désilets E, Prat F. Safety and feasibility of endoscopic biliary radiofrequency ablation treatment of extrahepatic cholangiocarcinoma. Surg Endosc 2016; 30: 1242-1248 [PMID: 26162420 DOI: 10.1007/s00464- 015-4322-7]

38	Girelli R, Frigerio I, Giardino A, Regi P, Gobbo S, Malleo G, Salvia R, Bassi C. Results of 100 pancreatic radiofrequency ablations in the context of a multimodal strategy for stage III ductal adenocarcinoma. Langenbecks Arch Surg 2013; 398: 63-69 [PMID: 23053459 DOI: 10.1007/s00423-012-1011-z]

39	Kim J. Endoscopic Ultrasound-Guided Treatment of Pancreatic Cystic and Solid Masses. Clin Endosc 2015; 48: 308-311 [PMID: 26240804 DOI: 10.5946/ce.2015.48.4.308]

40	Spiliotis JD, Datsis AC, Michalopoulos NV, Kekelos SP, Vaxevanidou A, Rogdakis AG, Christopoulou AN. Radiofrequency ablation combined with palliative surgery may prolong survival of patients with advanced cancer of the pancreas. Langenbecks Arch Surg 2007; 392: 55-60 [PMID: 17089173 DOI: 10.1007/s00423-006-0098-5]

41	Carrara S, Petrone MC, Testoni PA, Arcidiacono PG. Tumors and new endoscopic ultrasound-guided therapies. World J Gastrointest Endosc 2013; 5: 141-147 [PMID: 23596535 DOI: 10.4253/wjge.v5.i4.141]

42	Keane MG, Bramis K, Pereira SP, Fusai GK. Systematic review of novel ablative methods in locally advanced pancreatic cancer. World J Gastroenterol 2014; 20: 2267-2278 [PMID: 24605026 DOI: 10.3748/wjg.v20.i9.2267]

43	Gaidhane M, Smith I, Ellen K, Gatesman J, Habib N, Foley P, Moskaluk C, Kahaleh M. Endoscopic Ultrasound-Guided Radiofrequency Ablation (EUS-RFA) of the Pancreas in a Porcine Model. Gastroenterol Res Pract 2012; 2012: 431451 [PMID: 23049547 DOI: 10.1155/2012/431451]

44	Figueroa-Barojas P, Bakhru MR, Habib NA, Ellen K, Millman J, Jamal-Kabani A, Gaidhane M, Kahaleh M. Safety and efficacy of radiofrequency ablation in the management of unresectable bile duct and pancreatic cancer: a novel palliation technique. J Oncol 2013; 2013: 910897 [PMID: 23690775 DOI: 10.1155/2013/910897]

45	Kallis Y, Phillips N, Steel A, Kaltsidis H, Vlavianos P, Habib N, Westaby D. Analysis of Endoscopic Radiofrequency Ablation of Biliary Malignant Strictures in Pancreatic Cancer Suggests Potential Survival Benefit. Dig Dis Sci 2015; 60: 3449-3455 [PMID: 26038094 DOI: 10.1007/s10620-015-3731-8]

46	Changela K, Patil R, Duddempudi S, Gaduputi V. Endoscopic Ultrasound-Guided Radiofrequency Ablation of the Pancreatic Tumors: A Promising Tool in Management of Pancreatic Tumors. Can J Gastroenterol Hepatol 2016; 2016: 4189358 [PMID: 27478820 DOI: 10.1155/2016/4189358]

47	Wang DJZ, Lei W, Leung JW, Li Z. Endoscopic Ultrasound Guided Radiofrequency Ablation for the Treatment of Advanced Pancreatic Carcinoma. Gastrointest Endosc 2013; 77: No 5S

48	Song TJ, Seo DW, Lakhtakia S, Reddy N, Oh DW, Park do H, Lee SS, Lee SK, Kim MH. Initial experience of EUS-guided radiofrequency ablation of unresectable pancreatic cancer. Gastrointest Endosc 2016; 83: 440-443 [PMID: 26344883 DOI: 10.1016/j.gie.2015.08.048]

49	Armellini E, Crinò SF, Ballarè M, Occhipinti P. Endoscopic ultrasound-guided radiofrequency ablation of a pancreatic neuroendocrine tumor. Endoscopy 2015; 47 Suppl 1 UCTN: E600-E601 [PMID: 26671543 DOI: 10.1055/s-0034-1393677]

50	Lakhtakia S, Ramchandani M, Galasso D, Gupta R, Venugopal S, Kalpala R, Reddy DN. EUS-guided radiofrequency ablation for management of pancreatic insulinoma by using a novel needle electrode (with videos). Gastrointest Endosc 2016; 83: 234-239 [PMID: 26394384 DOI: 10.1016/j.gie.2015.08.085]

51	Waung JA, Todd JF, Keane MG, Pereira SP. Successful management of a sporadic pancreatic insulinoma by endoscopic ultrasound-guided radiofrequency ablation. Endoscopy 2016; 48 Suppl 1: E144-E145 [PMID: 27081874 DOI: 10.1055/s-0042- 104650]

52	Valente R, Urban O, Del Chiaro M, Capurso G, Blomberg J, Löhr JM, Arnelo U. ERCP-directed radiofrequency ablation of ampullary adenomas: a knife-sparing alternative in patients unfit for surgery. Endoscopy 2015; 47 Suppl 1 UCTN: E515-E516 [PMID: 26528678 DOI: 10.1055/s-0034-1392866]

53	Van Goethem BERK, Kirpensteijn J. Monopolar versus bipolar electrocoagulation in canine laparoscopic ovariectomy: a non-randomized, prospective, clinical trial. Vet Surg 2003; 32: 464-470

54	Lee JM, Han JK, Choi SH, Kim SH, Lee JY, Shin KS, Han CJ, Choi BI. Comparison of renal ablation with monopolar radiofrequency and hypertonic-saline-augmented bipolar radiofrequency: in vitro and in vivo experimental studies. AJR Am J Roentgenol 2005; 184: 897-905 [PMID: 15728615 DOI: 10.2214/ajr.184.3.01840897]

55	Hines-Peralta A, Hollander CY, Solazzo S, Horkan C, Liu ZJ, Goldberg SN. Hybrid radiofrequency and cryoablation device: preliminary results in an animal model. J Vasc Interv Radiol 2004; 15: 1111-1120 [PMID: 15466798 DOI: 10.1097/01.rvi.0000136031. 91939.ec]

56	Joosten JJ, van Muijen GN, Wobbes T, Ruers TJ. Cryosurgery of tumor tissue causes endotoxin tolerance through an inflammatory response. Anticancer Res 2003; 23: 427-432 [PMID: 12680243]

57	Sabel MS, Arora A, Su G, Chang AE. Adoptive immunotherapy of breast cancer with lymph node cells primed by cryoablation of the primary tumor. Cryobiology 2006; 53: 360-366 [PMID: 16973145 DOI: 10.1016/j.cryobiol.2006.07.004]

58	Carrara S, Arcidiacono PG, Albarello L, Addis A, Enderle MD, Boemo C, Neugebauer A, Campagnol M, Doglioni C, Testoni PA. Endoscopic ultrasound-guided application of a new internally gas-cooled radiofrequency ablation probe in the liver and spleen of an animal model: a preliminary study. Endoscopy 2008; 40: 759-763 [PMID: 18702032 DOI: 10.1055/s-2008-1077520]

59	Li K, Su ZZ, Xu EJ, Ju JX, Meng XC, Zheng RQ. Improvement of ablative margins by the intraoperative use of CEUS-CT/MR image fusion in hepatocellular carcinoma. BMC Cancer 2016; 16: 277 [PMID: 27090513 DOI: 10.1186/s12885-016-2306-1]

60	Allard CB, Coret A, Dason S, Tajzler C, Shayegan B, Matsumoto ED, Kapoor A. Contrast-enhanced Ultrasonography for Surveillance of Radiofrequency-ablated Renal Tumors: A Prospective, Radiologist-blinded Pilot Study. Urology 2015; 86: 1174-1178 [PMID: 26123518 DOI: 10.1016/j.urology.2015.04.062]

61	Gelczer RK, Charboneau JW, Hussain S, Brown DL. Complications of percutaneous ethanol ablation. J Ultrasound Med 1998; 17: 531-533 [PMID: 9697961]

62	Bean WJ. Renal cysts: treatment with alcohol. Radiology 1981; 138: 329-331 [PMID: 7455112 DOI: 10.1148/radiology.138. 2.7455112]

63	Larssen TB, Jensen DK, Viste A, Horn A. Single-session alcohol sclerotherapy in symptomatic benign hepatic cysts. Long-term results. Acta Radiol 1999; 40: 636-638 [PMID: 10598853]

64	Livraghi T, Bolondi L, Lazzaroni S, Marin G, Morabito A, Rapaccini GL, Salmi A, Torzilli G. Percutaneous ethanol injection in the treatment of hepatocellular carcinoma in cirrhosis. A study on 207 patients. Cancer 1992; 69: 925-929 [PMID: 1310435]

65	Xiao YY, Tian JL, Li JK, Yang L, Zhang JS. CT-guided percutaneous chemical ablation of adrenal neoplasms. AJR Am J Roentgenol 2008; 190: 105-110 [PMID: 18094300 DOI: 10.2214/AJR.07.2145]

66	Levy MJ, Wiersema MJ. EUS-guided celiac plexus neurolysis and celiac plexus block. Gastrointest Endosc 2003; 57: 923-930 [PMID: 12776048 DOI: 10.1067/mge.2003.239]

67	Günter E, Lingenfelser T, Eitelbach F, Müller H, Ell C. EUS-guided ethanol injection for treatment of a GI stromal tumor. Gastrointest Endosc 2003; 57: 113-115 [PMID: 12518147 DOI: 10.1067/mge.2003.39]

68	Barclay RL, Perez-Miranda M, Giovannini M. EUS-guided treatment of a solid hepatic metastasis. Gastrointest Endosc 2002; 55: 266-270 [PMID: 11818938 DOI: 10.1067/mge.2002.120784]

69	DeWitt J, Mohamadnejad M. EUS-guided alcohol ablation of metastatic pelvic lymph nodes after endoscopic resection of polypoid rectal cancer: the need for long-term surveillance. Gastrointest Endosc 2011; 74: 446-447 [PMID: 21481867 DOI: 10.1016/j.gie.2011.01.064]

70	Artifon EL, Lucon AM, Sakai P, Gerhardt R, Srougi M, Takagaki T, Ishioka S, Bhutani MS. EUS-guided alcohol ablation of left adrenal metastasis from non-small-cell lung carcinoma. Gastrointest Endosc 2007; 66: 1201-1205 [PMID: 18061721 DOI: 10.1016/j.gie.2007.05.051]

71	DeWitt J. Endoscopic ultrasound-guided pancreatic cyst ablation. Gastrointest Endosc Clin N Am 2012; 22: 291-302, ix-x [PMID: 22632951 DOI: 10.1016/j.giec.2012.04.001]

72	Oh HC, Seo DW, Lee TY, Kim JY, Lee SS, Lee SK, Kim MH. New treatment for cystic tumors of the pancreas: EUS-guided ethanol lavage with paclitaxel injection. Gastrointest Endosc 2008; 67: 636-642 [PMID: 18262182 DOI: 10.1016/j.gie.2007.09.038]

73	Oh HC, Seo DW, Kim SC, Yu E, Kim K, Moon SH, Park DY, Lee SS, Lee SK, Kim MH. Septated cystic tumors of the pancreas: is it possible to treat them by endoscopic ultrasonography-guided intervention? Scand J Gastroenterol 2009; 44: 242-247 [PMID: 18949629 DOI: 10.1080/00365520802495537]

74	Oh HC, Seo DW, Song TJ, Moon SH, Park DH, Soo Lee S, Lee SK, Kim MH, Kim J. Endoscopic ultrasonography-guided ethanol lavage with paclitaxel injection treats patients with pancreatic cysts. Gastroenterology 2011; 140: 172-179 [PMID: 20950614 DOI: 10.1053/j.gastro.2010.10.001]

75	DeWitt J, McGreevy K, Schmidt CM, Brugge WR. EUS-guided ethanol versus saline solution lavage for pancreatic cysts: a randomized, double-blind study. Gastrointest Endosc 2009; 70: 710-723 [PMID: 19577745 DOI: 10.1016/j.gie.2009.03.1173]

76	DiMaio CJ, DeWitt JM, Brugge WR. Ablation of pancreatic cystic lesions: the use of multiple endoscopic ultrasound-guided ethanol lavage sessions. Pancreas 2011; 40: 664-668 [PMID: 21562447 DOI: 10.1097/MPA.0b013e3182128d06]

77	Park JK, Song BJ, Ryu JK, Paik WH, Park JM, Kim J, Lee SH, Kim YT. Clinical Outcomes of Endoscopic Ultrasonography-Guided Pancreatic Cyst Ablation. Pancreas 2016; 45: 889-894 [PMID: 26765962 DOI: 10.1097/MPA.0000000000000567]

78	Moyer MT, Dye CE, Sharzehi S, Ancrile B, Mathew A, McGarrity TJ, Gusani N, Yee N, Wong J, Levenick J, Dougherty-Hamod B, Mathers B. Is alcohol required for effective pancreatic cyst ablation? The prospective randomized CHARM trial pilot study. Endosc Int Open 2016; 4: E603-E607 [PMID: 27227122 DOI: 10.1055/s-0042-105431]

79	Matthes K, Mino-Kenudson M, Sahani DV, Holalkere N, Fowers KD, Rathi R, Brugge WR. EUS-guided injection of paclitaxel (OncoGel) provides therapeutic drug concentrations in the porcine pancreas (with video). Gastrointest Endosc 2007; 65: 448-453 [PMID: 17173909 DOI: 10.1016/j.gie.2006.06.030]

80	Giday SA, Magno P, Gabrielson KL, Buscaglia JM, Canto MI, Ko CW, Clarke JO, Kalloo AN, Jagannath SB, Shin EJ, Kantsevoy SV. The utility of contrast-enhanced endoscopic ultrasound in monitoring ethanol-induced pancreatic tissue ablation: a pilot study in a porcine model. Endoscopy 2007; 39: 525-529 [PMID: 17554648 DOI: 10.1055/s-2007-966391]

81	Facciorusso A, Di Maso M, Serviddio G, Larghi A, Costamagna G, Muscatiello N. Echoendoscopic ethanol ablation of tumor combined with celiac plexus neurolysis in patients with pancreatic adenocarcinoma. J Gastroenterol Hepatol 2016; Epub ahead of print [PMID: 27356212 DOI: 10.1111/jgh.13478]

82	Levy MJ, Thompson GB, Topazian MD, Callstrom MR, Grant CS, Vella A. US-guided ethanol ablation of insulinomas: a new treatment option. Gastrointest Endosc 2012; 75: 200-206 [PMID: 22078104 DOI: 10.1016/j.gie.2011.09.019]

83	Park DH, Choi JH, Oh D, Lee SS, Seo DW, Lee SK, Kim MH. Endoscopic ultrasonography-guided ethanol ablation for small pancreatic neuroendocrine tumors: results of a pilot study. Clin Endosc 2015; 48: 158-164 [PMID: 25844345 DOI: 10.5946/ce.2015.48.2.158]

84	Paik WH, Seo DW, Dhir V, Wang HP. Safety and Efficacy of EUS-Guided Ethanol Ablation for Treating Small Solid Pancreatic Neoplasm. Medicine (Baltimore) 2016; 95: e2538 [PMID: 26825894 DOI: 10.1097/MD.0000000000002538]

85	Irisawa A, Takagi T, Kanazawa M, Ogata T, Sato Y, Takenoshita S, Ohto H, Ohira H. Endoscopic ultrasound-guided fine-needle injection of immature dendritic cells into advanced pancreatic cancer refractory to gemcitabine: a pilot study. Pancreas 2007; 35: 189-190 [PMID: 17632329 DOI: 10.1097/01.mpa.0000250141.25639.e9]

86	Hirooka Y, Itoh A, Kawashima H, Hara K, Nonogaki K, Kasugai T, Ohno E, Ishikawa T, Matsubara H, Ishigami M, Katano Y, Ohmiya N, Niwa Y, Yamamoto K, Kaneko T, Nieda M, Yokokawa K, Goto H. A combination therapy of gemcitabine with immunotherapy for patients with inoperable locally advanced pancreatic cancer. Pancreas 2009; 38: e69-e74 [PMID: 19276867 DOI: 10.1097/MPA.0b013e318197a9e3]

87	Hecht JR, Farrell JJ, Senzer N, Nemunaitis J, Rosemurgy A, Chung T, Hanna N, Chang KJ, Javle M, Posner M, Waxman I, Reid A, Erickson R, Canto M, Chak A, Blatner G, Kovacevic M, Thornton M. EUS or percutaneously guided intratumoral TNFerade biologic with 5-fluorouracil and radiotherapy for first-line treatment of locally advanced pancreatic cancer: a phase I/II study. Gastrointest Endosc 2012; 75: 332-338 [PMID: 22248601 DOI: 10.1016/j.gie.2011.10.007]

88	Herman JM, Wild AT, Wang H, Tran PT, Chang KJ, Taylor GE, Donehower RC, Pawlik TM, Ziegler MA, Cai H, Savage DT, Canto MI, Klapman J, Reid T, Shah RJ, Hoffe SE, Rosemurgy A, Wolfgang CL, Laheru DA. Randomized phase III multi-institutional study of TNFerade biologic with fluorouracil and radiotherapy for locally advanced pancreatic cancer: final results. J Clin Oncol 2013; 31: 886-894 [PMID: 23341531 DOI: 10.1200/JCO.2012.44.7516]

89	Hanna N, Ohana P, Konikoff FM, Leichtmann G, Hubert A, Appelbaum L, Kopelman Y, Czerniak A, Hochberg A. Phase 1/2a, dose-escalation, safety, pharmacokinetic and preliminary efficacy study of intratumoral administration of BC-819 in patients with unresectable pancreatic cancer. Cancer Gene Ther 2012; 19: 374-381 [PMID: 22498722 DOI: 10.1038/cgt.2012.10]

90	Deprez PH, Claessens A, Borbath I, Gigot JF, Maiter D. Successful endoscopic ultrasound-guided ethanol ablation of a sporadic insulinoma. Acta Gastroenterol Belg 2008; 71: 333-337 [PMID: 19198582]

91	Muscatiello N, Salcuni A, Macarini L, Cignarelli M, Prencipe S, di Maso M, Castriota M, D’Agnessa V, Ierardi E. Treatment of a pancreatic endocrine tumor by ethanol injection guided by endoscopic ultrasound. Endoscopy 2008; 40 Suppl 2: E258-E259 [PMID: 19090457 DOI: 10.1055/s-2007-966962]

Footnotes

Conflict-of-interest statement: The authors declare no conflicts of interest regarding this manuscript.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Manuscript source: Invited manuscript

Peer-review started: September 2, 2016

First decision: September 29, 2016

Article in press: December 9, 2016

P- Reviewer: Aseni P, Balla A, Fabbri C    S- Editor: Qiu S    L- Editor: Wang TQ    E- Editor: Li D

Table 1  Characteristics and findings of studies of endoscopy-guided ablation for locally advanced pancreatic adenocarcinoma

| Ref. | Year | No. | Endoscopy technique | Type of ablation | Stage of PDAC n (%) | Median survival (mo) | Complications n (%) | Response rate n (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chang et al[3] | 2000 | 8 | EUS-FNI | EUS-FNI Cytoimplant | 4 (50) Ⅱ 3 (37) Ⅲ 1 (12.5) Ⅳ | 13.2 | 8 (86) fever, 3 (37.5) GI toxicities, 3 (37.5) hyperbilirubinemia | 3 (37) PR |
| Irisawa et al[85] | 2007 | 7 | EUS-FNI | EUS-FNI DCs | 7 (100) Ⅳ | 9.9 | None | 1 (14) CR 3 (43) PR |
| Hirooka et al[86] | 2009 | 5 | EUS-FNI | EUS-FNI DCs plus systemic GEM | 5 (100) Ⅲ | 15.9 | None | 1 (20) PR |
| Hecht et al[4] | 2003 | 21 | EUS-FNI | ONYX-015 plus systemic GEM | 3 (48) Ⅲ 2 (52) Ⅳ | 7.5 | 2 (10) sepsis, 2 (10) duodenal perforation, 2 (10) cystic fluid collection, 1 (5) fever | 2 (10) PR |
| Hecht et al[87] | 2012 | 50 | EUS-FNI or percutaneous | TNFerade plus radiation and 5-FU | (100) Ⅲ | 13.2 | 6 (12) GI bleeding, 6 (12) deep vein thrombosis, 2 (4) pulmonary embolism, 9 (18) abdominal pain, 2 (4) pancreatitis, 1 (2) cholangitis | 1 (2) CR 3 (6) PR |
| Herman et al[88] | 2013 | 304 | EUS-FNI or percutaneous | TNFerade plus radiation (180 pts) and 5-FU vs radiation and 5-FU (90 pts) | NR (Unresectable PDAC) | 10 (the same in two groups) NR (7 pts alive at 6 mo and 2 at 12 mo) | 34 (20) vs 10 (11) GI toxicities grade 3-4, 60 (33) vs 32 (35) hematologic toxicities grade 3-4, 22 (12) vs 7 (10), non-GI/nonhematologic toxicities (e.g., fever, fatigue) grade 3-4 | 8 (8.2) vs 6 (12) PR 3 PR |
| Hanna et al[89] | 2012 | 9 | EUS-FNI or percutaneous (TC-guided) | BC-819 | 8 (88.9) Ⅲ 1 (10.1) Ⅳ |  | 4 (44) gastrointestinal disorders, 2 (22) abdominal pain, 1 (11) influenza like illness, 1 (11) fatigue, 2 (22) back pain, 2 (22) hypertension 2 (22) metabolic disorders, 1 (11) syncope |  |
| Facciorusso et al[81] | 2016 | 123 | EUS-FNI | CPN plus ethanol (65 pts) vs CPN alone (58 pts) | 25 (20.4) Ⅳ 98 (79.6) Ⅲ | 8.3 vs 6.5 | 16 (25) vs 14 (24) diarrhoea 31 (48) vs 11 (19) fever | NR |
| Waung et al[51] | 2016 | 3 | EUS-guided | RFA | 3 (100) Ⅲ | NR | 30 (46) vs 20 (34) abdominal pain None | NR (14% mean reduction in size) |
| Song et al[48] | 2016 | 6 | EUS-guided | RFA | 4 (67) Ⅲ 2 (33) Ⅳ | NR | 2 (33) abdominal pain | NR |
| Figueroa-Barojas et al[44] | 2013 | 22 | ERCP-guided | RFA | 7 Ⅲ plus 16 CHR 1 HGD IPMN | NR | 5 (23) (1 pancreatitis post ERCP with cholecystitis, 5 abdominal pain) | NR |
| Kallis et al[45] | 2015 | 69 | ERCP-guided | RFA plus SEMS stenting (23 pts) vs SEMS stenting alone (46 pts) | 100% Ⅲ | 7.5 vs 4.1 | 1 (1.4) cholangitis, 1 (1.4) asymptomatic hyperamylasaemia | NR |

PDAC: Pancreatic ductal adenocarcinoma; EUS: Endoscopic ultrasound; ERCP: Endoscopic retrograde cholagiopancreatography; EUS-FNI: Endoscopic ultrasound fine-needle injection; RFA: Radiofrequency ablation; CHR: Cholangiocarcinoma; DCs: Dendritics cells; GEM: Gemcitabine; IPMN: Intraductal papillary mucinous neoplasia; SEMS: Self-expandable metal stent; NR: Not reported; CR: Complete response; PR: Partial response; 5-FU: 5-fluorouracil; CPN: Celiac plexus neurolysis; GI: Gastrointestinal; HGD: High grade dysplasia.

Table 2  Characteristics and findings of studies of endoscopic ultrasound-guided ablation of pancreatic neuroendocrine tumours

| Ref. | Year | No. | Endoscopy technique | Type of ablation | Tumour type n (%) | Clinical response (mo) | Complications n (%) | Morphological response n (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pai et al[8] | 2015 | 2 | EUS guided | RFA | 2 NF-PNET | NR | 2 abdominal pain | Complete necrosis of NF-PNET |
| Armellini et al[49] | 2015 | 1 | EUS guided | RFA | NF-PNET G2 (the patient refused surgery) | NR | No complications | CA on CT scan (one month later) |
| Lakhatia et al[50] | 2016 | 3 | EUS guided | RFA | Symptomatic insulinomas in patients unfit for surgery | All patients asymptomatic 12 mo after the procedure | No complications | 1 disease free at 8 mo, 1 residual asymptomatic disease at 12 mo, 1 CA and asymptomatic at 11 mo |
| Waung et al[51] | 2016 | 1 | EUS-guided | 3 consecutive RFA sessions | Symptomatic insulinoma (resistant to medical therapy) | Asymptomatic at 10 mo FU | No complications | NR |
| Levy et al[82] | 2012 | 8 | EUS-guided or intraoperative US (IOUS) guided | Ethanol | 8 (100) insulinomas | 5 patients asymptomatic, 3 clinical improvement | 1 minor peritumoural bleeding (IOUS) | NR |
| Park et al[83] | 2015 | 10 (13 tumours) | EUS-guided | Ethanol | 10 NF-PNETs 4 insulinomas | 2 asymptomatic pts with insulinomas | 3 mild pancreatitis, 1 abdominal pain | 13 (61.5) CA |
| Paik et al[84] | 2016 | 8 | EUS-guided | Ethanol | 2 NF-PNETs, 3 insulinomas, 1 gastrinoma, 2 SPN | 4 patients asymptomatic | 1 severe acute pancreatitis, 2 abdominal pain, 1 fever | 6 CA |
| Deprez et al[90] | 2008 | 1 | EUS-guided | Ethanol | 1 insulinoma | Asynmptomatic | Ulceration of duodenal wall | CA |
| Jürgensen et al[6] | 2006 | 1 | EUS-guided | Ethanol | 1 insulinoma | Asynmptomatic | 1 mild acute pancreatitis | CA |
| Muscatiello et al[91] | 2008 | 1 | EUS-guided | Ethanol | 1 insulinoma |  | 1 pancreatic necroting lesion | CA |

EUS: Endoscopic ultrasound; RFA: Radiofrequency ablation; MCN: Mucinous cystic lesions; IPMN: Intraductal papillary mucinous neoplasia; SPN: Solid pseudopapillary tumours; NET: Pancreatic endocrine tumour; NF-PNET: Non-functioning pancreatic neuroendocrine tumour; FU: Follow-up; NR: Not reported; CT: Computed tomography; CA: Complete ablation.

Table 3  Characteristics and findings of studies of endoscopic ultrasound-guided alcohol ablation in pancreatic cystic lesions

| Ref. | Year | No. | Ablative agent | Clinical diagnosis (%) | Size mm (range) | Septated cysts n (%) | Follow-up months (range) | Complications | Percentage of ablated cysts |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gan et al[5] | 2005 | 25 | Ethanol | MCN 56%, IPMN 12%, SCA 12%, PCs 4%, unknown 8% | 19.4 mean (6-37) | 7 (28) | 6-12 | 0% | 35% |
| Oh et al[72] | 2008 | 14 | Ethanol and paclitaxel | MCN 14%, SCA 2%, lymphangioma 21%, unknown 43% | 25.5 median (17-52) | 3 (21.4) | 9 median (6-23) | AP (7%) | 79% |
| Oh et al[73] | 2009 | 10 | Ethanol and paclitaxel | MCN 30%, SCA 40%, unknown 30% | 29.5 median (20-68) | 10 (100) | 8.5 median (6-18) | AP (10%) | 60% |
| DeWitt et al[75] | 2009 | 42 | Ethanol vs saline | MCN 40%, IPMN 40%, SCA 12%, PCs 7% | 20.5 (10-40) | 17 (40.5) | 3-4 mo after 2nd lavage | AP (2.4%), intracystic bleeding (2.4%), abdominal pain (24%), major complications, (24%) | 33% (ethanol) 0% (saline) |
| Oh et al[74] | 2011 | 52 | Ethanol and paclitaxel | MCN 17%, SCA 29% PCs 4%, unknown 50% | 31.8 (17-68) | 20 (38.5) | 21.7 mean (2-44) | Fever (2%), AP (2%), abdominal pain (2%), splenic vein obliteration (2%) | 62% |
| DiMaio et al[76] | 2011 | 13 | Ethanol | IPMN 100% | 20.1 mean (13-27.2) | 7 (54) | 3-6 mo after 2nd lavage | Abdominal pain (15%) | 38% |
| Park et al[77] | 2016 | 91 | Ethanol | Indeterminate | 30 (20-50) | 64 (70) | 40 median (13-117) | Fever (9%), abdominal pain (20%) AP (3%) | 45% |
| Moyer et al[78] | 2016 | 10 | Ethanol or saline plus paclitaxel and gemcitabine | MCN 70%, IPMN 30%, unknown 10% | 30 | Unilocular predominantly | 12 | AP (10 %) | 75% (ethanol plus paclitaxel and gemcitabine) 67% (alcohol free harm) |

MCN: Mucinous cystic neoplasm; IPMN: Intraductal papillary mucinous neoplasm; SCA: Serous cystadenoma; PC: Pseudocyst; AP: Acute pancreatitis.