Copyright Information of the Article Published Online

| TITLE | Prosthetic reconstruction of the trachea: A historical perspective |
| --- | --- |
| AUTHOR(s) | Jagdeep S Virk, Henry Zhang, Reza Nouraei, Guri Sandhu |
| CITATION | Virk JS, Zhang H, Nouraei R, Sandhu G. Prosthetic reconstruction of the trachea: A historical perspective. World J Clin Cases 2017; 5(4): 128-133 |
| URL | http://www.wjgnet.com/2307-8960/full/v5/i4/128.htm |
| DOI | http://dx.doi.org/10.12998/wjcc.v5.i4.128 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Reconstruction of tracheal defects has historically been difficult, predominantly due to the lack of an intrinsic blood supply. Direct anastomosis is generally considered to be the best option. For larger defects, stenting and prosthetic reconstruction remain the primary methodologies. In light of the recent scandal surrounding tracheal replacement, this article aims to give a historical review of tracheal reconstruction methods. |
| KEY WORDS | Tracheal stenosis; Trachea; Prostheses and implants; Stents |
| COPYRIGHT | © The Author(s) 2017. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Clinical Cases |
| ISSN | 2307-8960 |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | Http://www.wjgnet.com |

MINIREVIEWS

Prosthetic reconstruction of the trachea: A historical perspective

Jagdeep S Virk, Henry Zhang, Reza Nouraei, Guri Sandhu

Jagdeep S Virk, Department of Otolaryngology, Head and Neck Surgery, Royal National Throat, Nose, and Ear Hospital, London WC1X 8DA, United Kingdom

Henry Zhang, Department of Otolaryngology, Head and Neck Surgery, Queen’s Hospital, Romford RM7 0AG, United Kingdom

Reza Nouraei, Guri Sandhu, Department of Otolaryngology, Head and Neck Surgery, Charing Cross Hospital, London W6 8RF, United Kingdom

Author contributions: All authors contributed to this manuscript.

Correspondence to: Henry Zhang, BMedSci MRCS, Specialty Registrar in Otolaryngology, Head and Neck Surgery, Queen’s Hospital, Rom Valley Way, Romford RM7 0AG, United Kingdom. henry.zhang@nhs.net

Telephone: +44-792-1265304

Received: November 24, 2016    Revised: January 17, 2017    Accepted: February 18, 2017

Published online: April 16, 2017

Abstract

This review discusses the history of tracheal reconstruction; from early work to future challenges. The focus is primarily on prosthetic tracheal reconstruction in the form of intraluminal stents, patch repairs, circumferential repairs and replacement of the trachea. A historical perspective of materials used such as foreign materials, autografts, allografts, xenografts and techniques, along with their advantages and disadvantages, is provided.

Key words: Tracheal stenosis; Trachea; Prostheses and implants; Stents

© The Author(s) 2017. Published by Baishideng Publishing Group Inc. All rights reserved.

Virk JS, Zhang H, Nouraei R, Sandhu G. Prosthetic reconstruction of the trachea: A historical perspective. World J Clin Cases 2017; 5(4): 128-133  Available from: URL: http://www.wjgnet.com/2307-8960/full/v5/i4/128.htm  DOI: http://dx.doi.org/10.12998/wjcc.v5.i4.128

Core tip: Reconstruction of tracheal defects has historically been difficult, predominantly due to the lack of an intrinsic blood supply. Direct anastomosis is generally considered to be the best option. For larger defects, stenting and prosthetic reconstruction remain the primary methodologies. In light of the recent scandal surrounding tracheal replacement, this article aims to give a historical review of tracheal reconstruction methods.

INTRODUCTION

Tracheal reconstruction has been widely researched over the last 50 years. There are numerous indications for tracheal reconstruction, most frequently post-intubation injuries, idiopathic stenosis, neoplasia and re-stenosis following surgery[1].

Following tracheal resection, primary reconstruction with direct anastomosis of the patient’s own tracheobronchial tissue is generally accepted as the best option[2-7]. Anatomical studies suggest that up to half of the trachea can be resected in adults and directly anastomosed, without undue tension, by implementing mobilisation techniques such as suprahyoid release incisions and/or dissection of the hilum and pulmonary ligament[8]. This has been corroborated in large studies, with acceptable safety profiles and good long-term results, although the limits vary depending upon the patient’s age, body habitus, local anatomy, co-morbidities and previous treatments[1,9-12].

In patients with very extensive pathology, direct anastomosis following resection is not possible and as such, either stenting or replacement with a prosthesis remain the two principle options. This provides a sig–nificant subset of patients. For example, long-segment defects (greater than 50% of the trachea) constitute approximately half of tracheal stenosis cases, although more recently this has been innovatively and successfully managed via a slide tracheoplasty procedure[13,14]. A range of materials have been attempted and no ideal prosthesis has yet been developed. The ideal prosthesis is airtight, of adequate consistency to prevent collapse, well accepted by the host thus causing minimal inflammatory reaction, impervious to fibroblastic and bacterial invasion of the lumen and allows ingrowth of respiratory epithelium along the lumen[15,16].

In this review article we will provide a historical overview of tracheal reconstructive trends.

EARLY WORK

In the late 1890s and into the twentieth century, interest in tracheal reconstruction evolved[17-20]. Initially, as with many surgical specialities, a knowledge base was formed principally through isolated case reports. The focus at this time was autogenous replacements such as skin alone, or skin and fascial grafts[21,22]. Daniel et al[23] heralded the advent of a more scientific approach with experimental animal studies. Throughout this period there was a transition from autogenous materials to solid prostheses such as tantalum, polyethylene, acrylic and steel tubes[24-27]. No ideal prosthesis was found and outcomes were variable. Indeed, often composite approaches were taken, usually in the form of a solid prosthesis with fascia lata grafts. The level of evidence remained low.

1950s TO THE POROUS PROSTHESIS

Following this initial interest and in vivo work (Table 1), Gebauer was amongst the first to develop porous prostheses to counteract some of the drawbacks of solid prostheses[28,29]. It was found that a porous prosthesis more closely approximates the function of tracheal cartilages as compared to a solid prosthesis[30]. However complications including strictures, granulation formation, chronic infection, pressure necrosis from the prosthesis and dislodgement remained problematic. Erosion of the brachiocephalic artery was also not infrequent. The porous structure was calculated to permit ingrowth of host connective tissue thus incorporating the prosthesis into the tracheal site; it was found that a minimal porosity of 40 to 60 m is necessary for capillary ingrowth[31]. There was a proliferation of literature and animal studies in this field during the 1950s and 1960s[32-36]. This culminated in a better understanding of an ideal prosthesis in that the graft should be airtight, have adequate consistency, be well accepted by the host, cause minimal inflammatory reaction, be impervious to fibroblastic and bacterial invasion into the lumen but ideally allow ingrowth of respiratory epithelium along the lumen[15,33,35]. The decision of material to trial was often dependent upon industrial and commercial advances and availability, ranging from steel wire, tantalum, marlex, PTFE, dacron and teflon[2,29-36]. Combinations of materials were often employed. Towards the end of this period, as a result, prosthetic reconstruction of the trachea was being performed in human patients[37,38]. The most promising outcomes were with Silicone prostheses. The Neville group pioneered this approach and developed the Neville prosthesis, a silicone based mould under high compression available as straight or bifurcated tubes[15,16]. In this series of 62 patients, outcomes were reported to be good and the use of silicone was explicated by its resilience, non-reactivity, smooth inner surface and ability to be readily moulded[15,39]. This, therefore, fulfilled all the criteria for an ideal graft except for ciliated epithelium traversing the inner surface. Suture line granulomas remained problematic and were treated endoscopically[15,16,37]. This connective tissue ingrowth initially serves to fix and integrate the porous prostheses but this continued proliferation leads to scar tissue, obstruction and stenosis alongside with resultant chronic infection[31].

At this time, progress was also being made in surgical techniques, led by Grillo’s team in Boston. Anatomic studies indicated that up to half the trachea in adults can be resected and closed primarily with an end to end anastomosis[8]. The same group has validated this with resulting large case series with low morbidity and mortality[3,4,9-11,13,31]. Slide tracheoplasty and other mobilisation techniques including suprahyoid release incisions, dissection of the hilum and pulmonary ligament have all been successfully used to achieve primary closure. Undoubtedly this remains the gold standard management of tracheal resection. However, it is not always possible and is dependent upon the patient’s age, body habitus, local anatomy, extent of disease, co-morbidities and previous treatments such as radiotherapy[3,4,9-11,13,31].

These studies therefore established that primary repair remains the method of choice and should be employed wherever possible. In addition, it was concluded that an entirely satisfactory tracheal graft will never be available[31,35]. The silicone airway is at least as satisfactory as any prosthesis yet fashioned for tracheal replacement and any alternative must be wholly dependable with minimal morbidity and mortality[31]. This remains the case today.

1990s ONWARDS

Further avenues of research have evolved in the last few decades. This has focussed on homografts, various composite strategies (including further work on porous prostheses) and latterly, tissue engineering[1,5,9,10,12,14,40-67].

Scherer et al[67] were first to experiment with bioprostheses by transplanting tracheas from various animals as autografts, allografts and xenografts. Rejection seemed to be avoided[31,67]. This preceded a plethora of animal studies, particularly transplantation studies, and in the last few years, attempts to translate this to patients[40,41,43,44,49,50,54,56,61]. Recently, research has focused on tracheal stem cell regeneration. Despite initial positive results, the outcomes have been generally poor and as such should be used with caution[42]. Pedicled flaps may serve to implant and maintain the stem cell generated trachea prior to reconstruction[41]. A recent pilot study has used three-dimensional printing of an artificial tracheal graft[40]. In addition, there has been some focus on the use of intestinal (either jejunal or oesophageal) tubes to replace the trachea[66]. This autogenous tissue reconstruction can be categorised into free grafts with and without foreign material support (e.g., the composite wire and fascia or dermal grafts); vascularised tissue flaps (e.g., pedicled intercostal muscle) and autogenous tube construction (e.g., oesophagus)[31]. Autologous tracheal replacement using radial forearm fasciocutaneous free flap has also demonstrated positive outcomes[68].

Further homografts include pericardium and aorta[50,54,56]. Patch repair of the trachea using pericardial allografts[69] and xenografts[70] have been shown to have good outcomes[71]. More recently, aortic homografts used as a bioprosthetic device for patch repair have also shown favourable results[72,73]. Circumferential replacement of the trachea using aortic allografts has shown poorer results, in both animal[74] and human[75] models. Wurtz demonstrated that silicone-stented aortic allografts have no cartilage regeneration, probably due to ischaemia prior to neoangiogenesis[76]. This led to proposals of a composite, fascial flap-wrapped allogeneic aortic graft with external cartilage ring support[77]. Again, no reconstruction has been as successful as direct anastomosis, or even silicone prostheses alone.

CONTROVERSIES AND FUTURE DEVELOPMENTS

The intriguing yet unsolved surgical dilemma of tracheal replacement remains a challenge to clinicians. Currently, work from the Leuven group (Delaere et al[78]) have shown promising results with the judicious use of allotransplants. Surgical ingenuity will lead to novel approaches to these problems[3]. However, it is important to note that these techniques should not create more problems than they solve and patients are to be treated as an individual with a duty of care attached to that. As a corollary to this, it is worth highlighting that where a series of animal experiments are successful, application of these procedures to humans almost inevitably presents greater issues and a higher failure rate[3]. Work on tracheal regeneration using stem-cell implanted scaffolds[44,48,79], which has been the centre of recent controversy, showed questionable data and ultimately poor results.

CONCLUSION

Direct revascularisation of the trachea is unsuitable due to its lack of an intrinsic blood supply. Its anatomical features (proximity to major vessels, segmental blood supply) and the presence of a variety of different tissue types (respiratory epithelium, cartilage, blood vessels) make reconstruction difficult. Recent attempts with tissue-engineered transplants have all failed due to this reason[80]. Tracheal reconstruction is optimal when primary anastomosis is possible with undue tension. Patients requiring reconstruction should be managed in a multidisciplinary team at a high volume tertiary referral centre to optimise treatment. Tracheal replacement can be divided into prosthesis, homograft and autogenous tissue reconstruction, or a combinatorial methodology. None have proven ideal conduits as tracheal replacements. The most convincing evidence has historically been silicone based prostheses, and more recently revascularised tracheal homografts and allotransplants. Stenting of the trachea has shown poor results. In emergent situations, endobronchial debulking and laser is preferable over stenting as this may prevent primary surgery.

REFERENCES

1	Grillo HC. Development of tracheal surgery: a historical review. Part 2: Treatment of tracheal diseases. Ann Thorac Surg 2003; 75: 1039-1047 [PMID: 12645751 DOI: 10.1016/s0003-4975 (02)04109-7]

2	Cotton BH, Hills B, Penido JR. Resection of the trachea for carcinoma; report of two cases. J Thorac Surg 1952; 24: 231-245 [PMID: 13000917]

3	Grillo HC. Tracheal replacement. Ann Thorac Surg 1990; 49: 864-865 [PMID: 2369183 DOI: 10.1016/0003-4975(90)90857-3]

4	Grillo HC, Mathisen DJ. The trachea. Ann Thorac Surg 1990; 49: 845-846 [PMID: 2187427 DOI: 10.1016/0003-4975(90)90045-8]

5	Preciado D, Cotton RT, Rutter MJ. Single-stage tracheal resection for severe tracheal stenosis in older children. Int J Pediatr Otorhinolaryngol 2004; 68: 1-6 [PMID: 14687680 DOI: 10.1016/j.ijporl.2003.08.054]

6	Toomes H, Mickisch G, Vogt-Moykopf I. Experiences with prosthetic reconstruction of the trachea and bifurcation. Thorax 1985; 40: 32-37 [PMID: 3969653 DOI: 10.1136/thx.40.1.32]

7	Wychulis AR, Neville WE. Tracheal and bronchial reconstructive procedures. Surg Gynecol Obstet 1974; 139: 433-445 [PMID: 4605394]

8	Grillo HC, Dignan EF, Miura T. Extensive resection and reconstruction of mediastinal trachea without prosthesis or graft: an anatomical study in man. J Thorac Cardiovasc Surg 1964; 48: 741-749 [PMID: 14221240]

9	Grillo HC, Mark EJ, Mathisen DJ, Wain JC. Idiopathic laryngotracheal stenosis and its management. Ann Thorac Surg 1993; 56: 80-87 [PMID: 8328880 DOI: 10.1016/0003-4975(93)90406-8]

10	Grillo HC, Donahue DM, Mathisen DJ, Wain JC, Wright CD. Postintubation tracheal stenosis. Treatment and results. J Thorac Cardiovasc Surg 1995; 109: 486-492; discussion 492-493 [PMID: 7877309 DOI: 10.1016/S0022-5223(95)70279-2]

11	Grillo HC, Zannini P, Michelassi F. Complications of tracheal reconstruction. Incidence, treatment, and prevention. J Thorac Cardiovasc Surg 1986; 91: 322-328 [PMID: 3512918]

12	Donahue DM, Grillo HC, Wain JC, Wright CD, Mathisen DJ. Reoperative tracheal resection and reconstruction for unsuccessful repair of postintubation stenosis. J Thorac Cardiovasc Surg 1997; 114: 934-938; discussion 934-938 [PMID: 9434688 DOI: 10.1016/S0022-5223(97)70007-2]

13	Grillo HC, Wright CD, Vlahakes GJ, MacGillivray TE. Management of congenital tracheal stenosis by means of slide tracheoplasty or resection and reconstruction, with long-term follow-up of growth after slide tracheoplasty. J Thorac Cardiovasc Surg 2002; 123: 145-152 [PMID: 11782768 DOI: 10.1067/mtc.2002.119068]

14	Fuchs JR, Terada S, Ochoa ER, Vacanti JP, Fauza DO. Fetal tissue engineering: in utero tracheal augmentation in an ovine model. J Pediatr Surg 2002; 37: 1000-1006; discussion 1000-1006 [PMID: 12077758]

15	Neville WE. Reconstruction of the trachea and stem bronchi with Neville prosthesis. Int Surg 1982; 67: 229-234 [PMID: 7160980]

16	Neville WE. Prosthetic reconstruction of trachea. Rev Laryngol Otol Rhinol (Bord) 1982; 103: 153-154 [PMID: 7146682]

17	Bruns P. Resektion der Trachea hei primaren trachealkrebs. Beitr Z Klin Chir 1898; 21: 1

18	Hohmeier F. A new procedure for closing tracheal defects. Munchen Med Wehnschr 1911; 58: 1

19	Levit H. Repair of tracheal defects with free grafts of fascia lata. Arch F Klin Chir 1912; 97: 1

20	Fairchild FR. Reconstruction of the trachea. Surg Gynecol Obstet 1927; 44: 4

21	LeJeune F, Owens N. Chronic Laryngeal Stenosis. Ann Otol Rhinol Laryngol 1935; 44: 1 [DOI: 10.1177/000348943504400206]

22	Crafoord C, Lindgren AGH. Mucous and salivary gland tumours in the bronchi and trachea. Acta Chir Scandinav 1945; 92: 1

23	Daniel RA. The regeneration of defects of the trachea and bronchi; an experimental study. J Thorac Surg 1948; 17: 335-349 [PMID: 18865477]

24	Belsey R. Stainless steel wire suture technique in thoracic surgery. Thorax 1946; 1: 39-47 [PMID: 20986398 DOI: 10.1136/thx.1.1.39]

25	Clagett OT, Grindlay JH, Moersch HJ. Resection of the trachea; an experimental study and a report of a case. Arch Surg 1948; 57: 253-266 [PMID: 18099766 DOI: 10.1001/archsurg.1948.01240 020258008]

26	Longmire WP. The repair of large defects of the trachea. Ann Otol Rhinol Laryngol 1948; 57: 875-883 [PMID: 18885460 DOI: 10.1177/000348944805700322]

27	Rob CG, Bateman GH. Reconstruction of the trachea and cervical oesophagus; preliminary report. Br J Surg 1949; 37: 202-205, illust [PMID: 15395088 DOI: 10.1002/bjs.18003714609]

28	Gebauer PW. Further experiences with dermal grafts for healed tuberculous stenosis of the bronchi and trachea. J Thorac Surg 1950; 20: 628-667; passim [PMID: 14779363]

29	Gebauer PW. Experiences with surgical reconstruction of the trachea. Am Rev Tuberc 1950; 62: 176-189 [PMID: 15432880]

30	Bucher RM, Burnett WE, Rosemond GP. Experimental reconstruction of tracheal and bronchial defects with stainless steel wire mesh. J Thorac Surg 1951; 21: 572-583 [PMID: 14841793]

31	Grillo HC. Tracheal replacement: a critical review. Ann Thorac Surg 2002; 73: 1995-2004 [PMID: 12078821 DOI: 10.1016/S0003- 4975(02)03564-6]

32	Pressman JJ. Experimental tracheal implants. Trans Annu Meet Am Bronchoesophagol Assoc 1953; 45: 18-29 [PMID: 13169194]

33	Graziano JL, Spinazzola A, Neville WE. Prosthetic replacement of the tracheal carina. Ann Thorac Surg 1967; 4: 1-11 [PMID: 6035883 DOI: 10.1016/S0003-4975(10)66472-7]

34	Pearson FG, Henderson RD, Gross AE, Ginsberg RJ, Stone RM. The reconstruction of circumferential tracheal defects with a porous prosthesis. An experimental and clinical study using heavy Marlex mesh. J Thorac Cardiovasc Surg 1968; 55: 605-616 [PMID: 5651571]

35	Beall AC, Harrington OB, Greenberg SD, Morris GC, Usher FC. Tracheal replacement with heavy Marlex mesh. Circumferential replacement of the cervical trachea. Arch Surg 1962; 84: 390-396 [PMID: 13866123 DOI: 10.1001/archsurg.1962.01300220014002]

36	Aletras H, Bjoerk VO, Hultquist G, Rodriguez L. A new method for tracheal reconstruction. Thorax 1964; 19: 358-368 [PMID: 14214931 DOI: 10.1136/thx.19.4.358]

37	Neville WE, Bolanowski PJ, Soltanzadeh H. Prosthetic reconstruction of the trachea and carina. J Thorac Cardiovasc Surg 1976; 72: 525-538 [PMID: 966785]

38	Montgomery WW. Silicone tracheal T-tube. Ann Otol Rhinol Laryngol 1974; 83: 71-75 [PMID: 4811582 DOI: 10.1177/000348947408300112]

39	Neville WE, Bolanowski JP, Kotia GG. Clinical experience with the silicone tracheal prosthesis. J Thorac Cardiovasc Surg 1990; 99: 604-612; discussion 612-613 [PMID: 2319780]

40	Chang JW, Park SA, Park JK, Choi JW, Kim YS, Shin YS, Kim CH. Tissue-engineered tracheal reconstruction using three-dimensionally printed artificial tracheal graft: preliminary report. Artif Organs 2014; 38: E95-E105 [PMID: 24750044 DOI: 10.1111/aor.12310]

41	Jana T, Khabbaz E, Bush CM, Prosser JD, Birchall MA, Nichols CA, Postma GN, Weinberger PM. The body as a living bioreactor: a feasibility study of pedicle flaps for tracheal transplantation. Eur Arch Otorhinolaryngol 2013; 270: 181-186 [PMID: 22829157 DOI: 10.1007/s00405-012-2105-5]

42	Farwell DG, Birchall MA, Macchiarini P, Luu QC, de Mattos AM, Gallay BJ, Perez RV, Grow MP, Ramsamooj R, Salgado MD, Brodie HA, Belafsky PC. Laryngotracheal transplantation: technical modifications and functional outcomes. Laryngoscope 2013; 123: 2502-2508 [PMID: 23483551 DOI: 10.1002/lary.24053]

43	Tani A, Tada Y, Takezawa T, Imaizumi M, Nomoto Y, Nakamura T, Omori K. Regeneration of tracheal epithelium using a collagen vitrigel-sponge scaffold containing basic fibroblast growth factor. Ann Otol Rhinol Laryngol 2012; 121: 261-268 [PMID: 22606930 DOI: 10.1177/000348941212100412]

44	Jungebluth P, Moll G, Baiguera S, Macchiarini P. Tissue-engineered airway: a regenerative solution. Clin Pharmacol Ther 2012; 91: 81-93 [PMID: 22130120 DOI: 10.1038/clpt.2011.270]

45	Gray FL, Turner CG, Ahmed A, Calvert CE, Zurakowski D, Fauza DO. Prenatal tracheal reconstruction with a hybrid amniotic mesenchymal stem cells-engineered construct derived from decellularized airway. J Pediatr Surg 2012; 47: 1072-1079 [PMID: 22703772 DOI: 10.1016/j.jpedsurg.2012.03.006]

46	Elliott MJ, De Coppi P, Speggiorin S, Roebuck D, Butler CR, Samuel E, Crowley C, McLaren C, Fierens A, Vondrys D, Cochrane L, Jephson C, Janes S, Beaumont NJ, Cogan T, Bader A, Seifalian AM, Hsuan JJ, Lowdell MW, Birchall MA. Stem-cell-based, tissue engineered tracheal replacement in a child: a 2-year follow-up study. Lancet 2012; 380: 994-1000 [PMID: 22841419 DOI: 10.1016/S0140-6736(12)60737-5]

47	Yu P, Clayman GL, Walsh GL. Long-term outcomes of microsurgical reconstruction for large tracheal defects. Cancer 2011; 117: 802-808 [PMID: 20872878 DOI: 10.1002/cncr.25492]

48	Jungebluth P, Alici E, Baiguera S, Blomberg P, Bozóky B, Crowley C, Einarsson O, Gudbjartsson T, Le Guyader S, Henriksson G, Hermanson O, Juto JE, Leidner B, Lilja T, Liska J, Luedde T, Lundin V, Moll G, Roderburg C, Strömblad S, Sutlu T, Watz E, Seifalian A, Macchiarini P. Tracheobronchial transplantation with a stem-cell-seeded bioartificial nanocomposite: a proof-of-concept study. Lancet 2011; 378: 1997-2004 [PMID: 22119609 DOI: 10.1016/S0140-6736(11)61715-7]

49	Sato T, Araki M, Nakajima N, Omori K, Nakamura T. Biodegradable polymer coating promotes the epithelization of tissue-engineered airway prostheses. J Thorac Cardiovasc Surg 2010; 139: 26-31 [PMID: 19660391 DOI: 10.1016/j.jtcvs.2009.04.006]

50	Makris D, Holder-Espinasse M, Wurtz A, Seguin A, Hubert T, Jaillard S, Copin MC, Jashari R, Duterque-Coquillaud M, Martinod E, Marquette CH. Tracheal replacement with cryopreserved allogenic aorta. Chest 2010; 137: 60-67 [PMID: 19801581 DOI: 10.1378/chest.09-1275]

51	Nakamura T, Sato T, Araki M, Ichihara S, Nakada A, Yoshitani M, Itoi S, Yamashita M, Kanemaru S, Omori K, Hori Y, Endo K, Inada Y, Hayakawa K. In situ tissue engineering for tracheal reconstruction using a luminar remodeling type of artificial trachea. J Thorac Cardiovasc Surg 2009; 138: 811-819 [PMID: 19660365 DOI: 10.1016/j.jtcvs.2008.07.072]

52	Sato T, Tao H, Araki M, Ueda H, Omori K, Nakamura T. Replacement of the left main bronchus with a tissue-engineered prosthesis in a canine model. Ann Thorac Surg 2008; 86: 422-428 [PMID: 18640308 DOI: 10.1016/j.athoracsur.2008.04.015]

53	Sato T, Nakamura T. Tissue-engineered airway replacement. Lancet 2008; 372: 2003-2004 [PMID: 19022497 DOI: 10.1016/S0140-6736(08)61599-8]

54	Jaillard S, Holder-Espinasse M, Hubert T, Copin MC, Duterque-Coquillaud M, Wurtz A, Marquette CH. Tracheal replacement by allogenic aorta in the pig. Chest 2006; 130: 1397-1404 [PMID: 17099016 DOI: 10.1378/chest.130.5.1397]

55	Shi H, Xu Z, Qin X, Zhao X, Lu D. Experimental study of replacing circumferential tracheal defects with new prosthesis. Ann Thorac Surg 2005; 79: 672-676; discussion 676-677 [PMID: 15680856 DOI: 10.1016/j.athoracsur.2004.01.013]

56	Martinod E, Seguin A, Holder-Espinasse M, Kambouchner M, Duterque-Coquillaud M, Azorin JF, Carpentier AF. Tracheal regeneration following tracheal replacement with an allogenic aorta. Ann Thorac Surg 2005; 79: 942-948; discussion 949 [PMID: 15734409 DOI: 10.1016/j.athoracsur.2004.08.035]

57	Kim J, Suh SW, Shin JY, Kim JH, Choi YS, Kim H. Replacement of a tracheal defect with a tissue-engineered prosthesis: early results from animal experiments. J Thorac Cardiovasc Surg 2004; 128: 124-129 [PMID: 15224031 DOI: 10.1016/j.jtcvs.2003.09.045]

58	Pfitzmann R, Kaiser D, Weidemann H, Neuhaus P. Plastic reconstruction of an extended corrosive injury of the posterior tracheal wall with an autologous esophageal patch. Eur J Cardiothorac Surg 2003; 24: 463-465 [PMID: 12965325 DOI: 10.1016/S1010- 7940(03)00340-3]

59	Sekine T, Nakamura T, Shimizu Y, Liu Y, Ueda H, Matsumoto K. Experimental carinal replacement with an Y-shaped collagen-conjugated prosthesis. Thorac Cardiovasc Surg 2000; 48: 125-129 [PMID: 10903056 DOI: 10.1055/s-2000-9635]

60	Teramachi M, Nakamura T, Yamamoto Y, Kiyotani T, Takimoto Y, Shimizu Y. Porous-type tracheal prosthesis sealed with collagen sponge. Ann Thorac Surg 1997; 64: 965-969 [PMID: 9354510 DOI: 10.1016/S0003-4975(97)00755-8]

61	Kiriyama M, Masaoka A, Yamakawa Y, Niwa H, Fujii Y. Experimental reconstruction of the mediastinal trachea with a wing-shaped reversed esophageal flap. Ann Thorac Surg 1997; 64: 349-354 [PMID: 9262573 DOI: 10.1016/S0003-4975(97)00448-7]

62	Elliott MJ, Haw MP, Jacobs JP, Bailey CM, Evans JN, Herberhold C. Tracheal reconstruction in children using cadaveric homograft trachea. Eur J Cardiothorac Surg 1996; 10: 707-712 [PMID: 8905270 DOI: 10.1016/S1010-7940(96)80328-9]

63	Okumura N, Nakamura T, Natsume T, Tomihata K, Ikada Y, Shimizu Y. Experimental study on a new tracheal prosthesis made from collagen-conjugated mesh. J Thorac Cardiovasc Surg 1994; 108: 337-345 [PMID: 8041181]

64	East C, Grant H, Jones B. Tracheal reconstruction using a composite microvascular temporoparietal fascia flap and nasal septal graft. J Laryngol Otol 1992; 106: 741-743 [PMID: 1402371 DOI: 10.1017/S0022215100120754]

65	Letang E, Sánchez-Lloret J, Gimferrer JM, Ramírez J, Vicens A. Experimental reconstruction of the canine trachea with a free revascularized small bowel graft. Ann Thorac Surg 1990; 49: 955-958 [PMID: 2369195 DOI: 10.1016/0003-4975(90)90875-7]

66	Kato R, Onuki AS, Watanabe M, Hashizume T, Kawamura M, Kikuchi K, Kobayashi K, Ishihara T. Tracheal reconstruction by esophageal interposition: an experimental study. Ann Thorac Surg 1990; 49: 951-954 [PMID: 2369194 DOI: 10.1016/0003-4975(90)90873-5]

67	Scherer MA, Ascherl R, Geissdörfer K, Mang W, Blümel G, Lichti H, Fraefel W. Experimental bioprosthetic reconstruction of the trachea. Arch Otorhinolaryngol 1986; 243: 215-223 [PMID: 3778294 DOI: 10.1007/BF00464433]

68	Fabre D, Kolb F, Fadel E, Mercier O, Mussot S, Le Chevalier T, Dartevelle P. Successful tracheal replacement in humans using autologous tissues: an 8-year experience. Ann Thorac Surg 2013; 96: 1146-1155 [PMID: 23998399 DOI: 10.1016/j.athoracsur.2013.05.073]

69	Foroulis CN, Simeoforidou M, Michaloudis D, Hatzitheofilou K. Pericardial patch repair of an extensive longitudinal iatrogenic rupture of the intrathoracic membranous trachea. Interact Cardiovasc Thorac Surg 2003; 2: 595-597 [PMID: 17670132 DOI: 10.1016/S1569-9293(03)00142-7]

70	Carter JJ, Evans D, Shah P, Ura M. Iatrogenic tracheal rupture: bovine pericardial patch repair without flap reinforcement. Interact Cardiovasc Thorac Surg 2012; 14: 502-503 [PMID: 22228286 DOI: 10.1093/icvts/ivr132]

71	Fanous N, Husain SA, Ruzmetov M, Rodefeld MD, Turrentine MW, Brown JW. Anterior pericardial tracheoplasty for long-segment tracheal stenosis: long-term outcomes. J Thorac Cardiovasc Surg 2010; 139: 18-23; discussion 23-25 [PMID: 19910004 DOI: 10.1016/j.jtcvs.2009.09.040]

72	Udelsman BV, Eaton J, Muniappan A, Morse CR, Wright CD, Mathisen DJ. Repair of large airway defects with bioprosthetic materials. J Thorac Cardiovasc Surg 2016; 152: 1388-1397 [PMID: 27751243 DOI: 10.1016/j.jtcvs.2016.07.074]

73	Chahine AA, Tam V, Ricketts RR. Use of the aortic homograft in the reconstruction of complex tracheobronchial tree injuries. J Pediatr Surg 1999; 34: 891-894 [PMID: 10359201 DOI: 10.1016/S0022-3468(99)90393-7]

74	Tsukada H, Ernst A, Gangadharan S, Ashiku S, Garland R, Litmanovich D, DeCamp M. Tracheal replacement with a silicone-stented, fresh aortic allograft in sheep. Ann Thorac Surg 2010; 89: 253-258 [PMID: 20103247 DOI: 10.1016/j.athoracsur.2009.09.005]

75	Wurtz A, Porte H, Conti M, Desbordes J, Copin MC, Azorin J, Martinod E, Marquette CH. Tracheal replacement with aortic allografts. N Engl J Med 2006; 355: 1938-1940 [PMID: 17079776 DOI: 10.1056/NEJMc066336]

76	Wurtz A, Porte H, Conti M, Dusson C, Desbordes J, Copin MC, Marquette CH. Surgical technique and results of tracheal and carinal replacement with aortic allografts for salivary gland-type carcinoma. J Thorac Cardiovasc Surg 2010; 140: 387-393.e2 [PMID: 20381819 DOI: 10.1016/j.jtcvs.2010.01.043]

77	Wurtz A, Hysi I, Kipnis E, Zawadzki C, Hubert T, Jashari R, Copin MC, Jude B. Tracheal reconstruction with a composite graft: fascial flap-wrapped allogenic aorta with external cartilage-ring support. Interact Cardiovasc Thorac Surg 2013; 16: 37-43 [PMID: 23049080 DOI: 10.1093/icvts/ivs422]

78	Delaere P, Van Raemdonck D. Tracheal replacement. J Thorac Dis 2016; 8: S186-S196 [PMID: 26981270]

79	Macchiarini P, Jungebluth P, Go T, Asnaghi MA, Rees LE, Cogan TA, Dodson A, Martorell J, Bellini S, Parnigotto PP, Dickinson SC, Hollander AP, Mantero S, Conconi MT, Birchall MA. Clinical transplantation of a tissue-engineered airway. Lancet 2008; 372: 2023-2030 [PMID: 19022496 DOI: 10.1016/S0140- 6736(08)61598-6]

80	Delaere P, Vranckx J, Verleden G, De Leyn P, Van Raemdonck D. Tracheal allotransplantation after withdrawal of immunosuppressive therapy. N Engl J Med 2010; 362: 138-145 [PMID: 20071703 DOI: 10.1056/NEJMoa0810653]

Footnotes

Conflict-of-interest statement: The authors of this article have no conflicts of interest.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Manuscript source: Invited manuscript

Peer-review started: November 25, 2016

First decision: December 15, 2016

Article in press: February 20, 2017

P- Reviewer: Boonsarngsuk V, Hoetzenecker K    S- Editor: Ji FF    L- Editor: A    E- Editor: Li D

Table 1  Tracheal reconstruction methodology over time

| Year | First author | Category1 | Material | Study type (number) |
| --- | --- | --- | --- | --- |
| 1898 | Bruns[17] |  | Prosthesis unknown | Human |
| 1911 | Hohmeier[18] | Autogenous | Fascia lata | Animal |
| 1912 | Levit[19] | Autogenous | Fascia | Human (1) |
| 1927 | Fairchild[20] | Autogenous | Skin | Human (1) |
| 1935 | LeJeune[21] | Autogenous | Split thickness skin graft | Human (2) |
| 1945 | Crafoord[22] | Autogenous | Cutaneous and costal cartilage | Human (1) |
| 1946 | Belsey[24] | Solid prosthesis | Steel with fascia lata | Human (1) |
| 1948 | Clagett[25] | Solid prosthesis | Polyethylene | Human (1) |
| 1948 | Daniel[23] | Solid prosthesis | Fascia, Metal Tube | Animal |
| 1948 | Longmire[26] | Solid prosthesis | Acrylic tube | Human (1) |
| 1949 | Rob[27] | Solid prosthesis | Tantalum with fascia lata | Human (4) |
| 1949 | Kergin | Autogenous | Pericardium and bronchus | Human (1) |
| 1950 | Jarvis | Solid prosthesis | Stainless Steel | Human (1) |
| 1950 | Gebauer[29] | Porous prosthesis | Wire-enforced dermal graft | Human (11) |
| 1951 | Bucher[30] | Porous prosthesis | Stainless steel wire mesh | Animal |
| 1952 | Cotton[2] | Solid prosthesis | Stainless steel tube | Human (2) |
| 1953 | Edgerton | Solid prosthesis | Split grafts with foam rubber | Human (12) |
| 1953 | Pressman[32] | Autogenous | Decalcified bone | Animal |
| 1955 | Morfit | Solid prosthesis | Polyethylene | Animal |
| 1962 | Beall[35] | Solid prosthesis | Polyethylene | Animal |
| 1964 | Aletras | Solid prosthesis | Teflon frame with pericardium | Animal |
| 1967 | Graziano[33] | Porous prosthesis | Silicon with dacron | Animal |
| 1968 | Pearson[34] | Porous prosthesis | Marlex (Polyethylene) | Animal |
| 1973 | Monk | Autogenous | Dermal grafts | Human (6) |
| 1973 | Demos | Porous prosthesis | Silicone | Animal |
| 1974 | Montgomery[38] | Porous prosthesis | Silicone t tube | Human (94) |
| 1974 | Pearson | Porous prosthesis | Marlex (Polyethylene) | Human (6) |
| 1976 | Neville[37] | Porous prosthesis | Silicone | Human (26) |
| 1977 | Lindholm | Autogenous | Bone/periosteum/muscle | Human (2) |
| 1982 | Neville[15] | Porous prosthesis | Neville prosthesis (silicon with dacron rings) | Human (54) |
| 1982 | Westaby | Porous prosthesis | Bifurcated silicone stent | Human (1) |
| 1985 | Toomes[6] | Porous prosthesis | Neville prosthesis (silicon with dacron rings) | Human (9) |
| 1986 | Scherer[67] | Tissue engineering | Bioprosthesis | Animal |
| 1989 | Har-El | Autogenous | Alloplast implanted muscle flap | Animal |
| 1990 | Neville[39] | Porous prosthesis | Silicone tubes | Human (62) |
| 1990 | Cull | Porous prosthesis | PTFE | Animal |
| 1990 | Jorge | Porous prosthesis | PTFE | Animal |
| 1990 | Kato[66] | Autogenous | Oesophagus and Silicone T tube | Animal |
| 1990 | Letang[65] | Homograft | Jejunum and Silicone T tube | Animal |
| 1990 | Varela | Porous prosthesis | Stainless steel wire mesh | Human (5) |
| 1992 | East[64] | Autogenous | Composite fascia, septum | Human (1) |
| 1994 | Okumura[63] | Porous prosthesis | Collagen and Marlex mesh | Animal |
| 1996 | Sharpe | Porous prosthesis | Marlex and pericardium | Human (1) |
| 1996 | Elliott[62] | Homograft | Homograft | Human (5) |
| 1997 | Kiriyama[61] | Homograft | Oesophageal autograft | Animal |
| 1997 | Teramachi[60] | Porous prosthesis | Marlex with collagen | Animal |
| 2000 | Sekine[59] | Porous prosthesis | Marlex | Animal |
| 2003 | Pfitzmann[58] | Homograft | Oesophagus | Human (1) |
| 2004 | Kim[57] | Porous prosthesis | Skin and polypropylene mesh | Animal |
| 2005 | Martinod[56] | Homograft | Allogenic aorta | Animal |
| 2005 | Shi[55] | Porous prosthesis | Polyprophyelene mesh with polyurethane/collagen | Animal |
| 2006 | Jaillard[54] | Homograft | Allograft aorta | Animal |
| 2008 | Sato[53] | Porous prosthesis | Polyprophyelene mesh with collagen | Animal |
| 2008 | Macchiarini[79] | Homograft | Stem cell seeded homograft | Human |
| 2009 | Nakamura[51] | Porous prosthesis | Polyprophlene with additional collagen, stem cells | Animal |
| 2010 | Makris[50] | Homograft | Allograft aorta | Animal |
| 2010 | Sato[49] | Tissue engineering | Bioprosthesis | Animal |
| 2010 | Tsukada[74] | Tissue engineering | Bioprosthesis | Animal |
| 2011 | Yu[47] | Autogenous/prosthesis | Radial forearm flap with PTFE or polyethlene | Human (7) |
| 2011 | Jungebluth[48] | Tissue engineering | Stem cell bioartificial scaffold | Human (1) |
| 2012 | Elliott[46] | Tissue engineering | Stem cell bioartificial scaffold | Human (1) |
| 2012 | Gray[45] | Tissue engineering | Stem cell bioartificial scaffold | Animal |
| 2012 | Tani | Tissue engineering | Collagen scaffold with FGF | Animal |
| 2012 | Wurtz[77] | Homograft | Allograft aorta with fascial graft and external cartilage | Animal |
| 2014 | Chang[40] | Tissue engineering | Stem cell bioartificial (3D Printed) scaffold | Animal |
| 2016 | Delaere[78] | Allotransplant | Vascularised allograft | Human |

1A number of these are composite strategies. PTFE: Polytetrafluoroethylene; FGF: Fibroblast growth factor.