Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 334

Columns: BRIEF ARTICLE

Conventional endoscopic retrograde cholangiopancreaticography versus the Olympus V-scope system

Raithel M et al. Olympus V-scope versus conventional ERCP

Martin Raithel M, Andreas Nägel, Jürgen Maiss, Dane Wildner, Alexander Fritzkarl Hagel, Sandra Braun, Hiwot Diebel, Eckhart Georg Hahn

Dept. Medicine 1, Gastroenterology, Endoscopy, University Erlangen – Nuremberg

Ulmenweg 18, 91054 Erlangen, Germany

All authors have (1) made substantial contributions to conception and design, acquisition

of data, or analysis and interpretation of data; (2) been involved in drafting the article or revising it critically for important intellectual content; and (3) final approval of the version to be published.

Author’s contribution: Raithel M, Hagel AF, and Hahn EG designed the study Raithel M, Nägel A, Maiss J, Wildner D, Braun S, and Diebel H performed the examinations; Hagel AF, Wildner D and Nägel A analysed the data; Raithel M, Maiss J, and Hahn EG wrote the paper.

Corresponding author:

# Address: Martin Raithel, MD, Professor of Medicine

# Department of Medicine 1, Gastroenterology, Funct. Tissue Diagnostics

# University Erlangen – Nuremberg, Ulmenweg 18, 91054 Erlangen, Germany

# Email: Martin.Raithel(uk-erlangen.de

Tel/Fax:  ++49(0)9131/85-35151, /-35152,

# Abstract

Aim:

To compare the new Olympus V-scope (VS) to conventional endoscopic retrograde cholangiopancreaticography (ERCP).

Methods:

Forty-nine patients with previous endoscopic papillotomy who were admitted for interventional ERCP for one of several reasons were included in this single-center, prospective randomized study. consecutive patients were randomized either to the VS group or to the conventional ERCP group. ERCP-naive patients who had not undergone papillotomy were excluded. The main study parameters  were interventional examination time, x-ray time and dose, and premedication dose (all given below as the median, range) and were investigated in addition to each patients’s clinical outcome and complications Subjective scores to assess each procedure were also provided by the physicians and endoscopy assistants who carried out the procedures. A statistical analysis was carried out using the Wilcoxon rank-sum test.

Results:

Twenty-five patients with 50 interventions were examined with the VS ERCP technique, and 24 patients with 47 interventions were examined using the conventional ERCP technique. There were no significant differences between the two groups concerning age, sex, indications, degree of ERCP difficulty, or interventions performed. The main study parameters in the VS group showed a nonsignificant trend towards a shorter interventional examination time (29 min, 5–50 min vs 31 min, 7–90 min; P = 0.28), shorter X-ray time (5.8 min, 0.6–14.1 min vs 6.1 min, 1.6–18.8 min; P = 0.48), and lower X-ray dose (1351 cGy/m2, 159–5039 cGy/m2 vs 1296 cGy/m2, 202.2–6421 cGy/m2; P = 0.34). A nonsignificant trend towards fewer adverse events occurred in the VS group as compared with the conventional ERCP group (cholangitis: 12% vs 16%, P = 0.12; pain: 4% vs 12.5%, P = 0.33; post-ERCP pancreatitis: 4% vs 12.5%, P = 0.14). In addition, there were no statistically significant differences in assessment by the physicians and endoscopy assistants using subjective questionnaires.Conclusions:

ERCP using the short guidewire V-system did not significantly improve ERCP performance or patient outcomes, but it may reduce and simplify the ERCP procedure in difficult settings.

© 2012 Baishideng. All rights reserved.

Key words: Endoscopic retrograde cholangiopancreaticography (ERCP), short guidewire ERCP system, x-ray protection, V-scope, bile duct stenosis

Raithel M, Nägel A, Maiss J, Hagel AF, Braun S, Diebel H, Hahn EG

Conventional endoscopic retrograde cholangiopancreaticography versus the Olympus V-scope system

Please provide all authors’ abbreviation names and manuscript title here. The abbreviation names should be the same as the copyright.

World J Gastroenterol 2012;

Available from: URL: http://www.wjgnet.com/esps/

DOI: http://dx.doi.org/10.3748/wjg.18.0000

# Introduction:

Endoscopic retrograde cholangiopancreaticography (ERCP) is a complex diagnostic and therapeutic approach that is used to identify and treat various hepatobiliary and pancreatic diseases. ERCP is time-consuming, expensive andlaborious method that requires the patient to be exposed to substantial doses of premedication, contrast media and X–rays especially when difficult cannulation of the papilla, biliary or pancreatic ducts or strictures occur and/or difficult interventions were performed[1-5]. Thus, future advances to simplify the technical process of ERCP, reduce known ERCP risks for the patient, and to reduce time and effort of the physician for this procedure, as well as attempts to reduce costs, are important issues given the restricted financial resources for the hospitalsregarding radiation protection, hygiene, and the need for greater patient safety [5-10].

With the release of a specialised side-viewing endoscope from Olympus (V–scope) , which contains a specialised elevator lever with a V-groove in combination with the use of a specialised short guidewire system and a V-holder,  further optimization of the entire ERCP process appears to be possible. The V-scope, including the V-groove of the elevator lever and the V-holder and its dedicated guidewires, was constructed to help the endoscopist to secure the guidewire at a particular visible length during accessory exchange. This allows the physician to perform a guidewire or accessory exchange by him/herself and may thus lead to a quicker instrumentation when working with and without the assistance[11-14]. In addition, the availability of a specialised short guidewire (2.6 m in length) and corresponding accessories promises to improve guidewire handling during ERCPand to increase hygienic aspects of ERCP, and it may also reduce the efforts of physicians and assistants[12-14].

To analyse this procedure systematically, we performed a randomized prospective pilot trial to explore and document whether clinical, practical and subjective improvements occur in daily ERCP practice when using the V-scope and its dedicated guidewire system as compared with conventional ERCP (without V–scope, usually long guidewires of 4 – 4.5m in length). The main objectives were to evaluate  theparameters of interventional examination time, X ray time and dose, premedication dose, and interventions, . In addition, subjective scores from physicians and endoscopy assistants were obtained to provide information about practical handling, hygienic aspects, and the convenience of this new ERCP method at a tertiary care university medical center.

# Materials and Methods

# Patient population

From June to October, 2007, 49 consecutive patients who were admitted to the Department of Medicine 1 of the University Erlangen–Nuremberg for interventional ERCP were included in this ERCP pilot trial, if they they had a previous endoscopic papillotomy and had one or more of the following conditions choledocholithiasis or hepaticolithiasis, malignant or benign bile duct stenosis, and chronic pancreatitis or pancreatic tumour. In addition, patients agreed to participate in this pilot trial with randomization to one ERCP technique, the collection of prospective scientific documentation, and the evaluation of their clinical and ERCP findings. Patient characteristics and indications for interventional ERCP are given in table 1. All patients gave informed consent to participate and agreed to collection of scientific documentation of the examination results. This clinical study was carried out in accordance with the Helsinki declaration.

Becuase cannulation of native papilla, papillotomy, and potential treatment of its associated risks may require a substantial amount of time, ERCP naive patients without papillotomy were excluded from this study, as well as patients with coagulation disorders, septic cholangitis, severe cardiovascular or pulmonary disease or who were pregnant[5,9,15,16]..

Informed consent to participate in this practice study was obtained the evening before the scheduled ERCP. Thirty minutes before the scheduled ERCP procedure patients were randomized either to ERCP using V-scope and its dedicated (short) guidewire system (VS group) or to conventional ERCP.

# ERCP and interventions

ERCP in the VS group was performed with the commercially available Olympus side-viewing V-scope (TJF160 VR, Olympus, Hamburg Germany) which contains a modified  elevator lever with a V-groove and aspecialised fixable guidewire system. This V-groove of the elevator lever induces an increased angle of articulation in the V-scope and allows to complete locking of a specialised guidewire for use of the V-scope [13,14,17]. This guidewire consists of a linear guide and a flexible hydrophilic tip (5 cm in length) combined with a long, stiff nitinol wire (0.35 mm in diameter, 2.6 or 4.2 m in length); both the linear guide and the nitinol wire have endoscopically visible markings at 5 cm (Olympus). In addition, a V-holder, which attaches to the working channel of the V-scope, allows the physician, in conjunction with securing the guidewire by the newly constructed V-elevator, to perform changes of instruments and accessories (e.g. appropriate baskets, balloons, papillotomes etc., Olympus) with or without assistants. This procedure accelerates instrumentation and, possibly, to reduce X-ray time because of endoscopically visible control of the fixed guidewire [13,14,17].

ERCP in the conventional ERCP group was performed with a side viewing duodenoscope (Olympus TJF160, Hamburg, Germany), and typical4 – 4.8m long guidewires (Terumo radifocus guide wire, flexible hydrophilic, Terumo Corporation, Leuven, Belgium; straight green guidewire teflon coated, Dispomedica, Hamburg, Germany; tracer metro wire Guide, Aqua Coat Tip, Cook Ireland Ltd., Limerick, Ireland) and corresponding accessories (catheters, bougies, baskets, balloons etc.) [1,2,18-20]. Exchange of instruments was performed conventionally, and only if necessary, using fluoroscopywith the endoscopist pressing down the elevator leverand carefully withdrawing the instrument, while the assistants tried to keep the position of the guidewire in the cannulated area.

In brief, interventional ERCP in both groups was performed using the following steps: first prosthesis extraction (if necessary for exchange), cannulation of papilla, visualization of the biliary system or pancreatic ducts by contrast medium (Peritrast 300/60%, Dr. Köhler Chemie GmBH, Alsbach Hähnlein, Germany), radiological documentation of pathological findings in two radiological axes, selective cannulation of pathologically changed biliary or pancreatic ducts using appropriate guidewires, performance of one or more interventions (e.g., bougienage, concrement extraction, prosthesis insertion etc.), and radiological and endoscopic documentation of results.

Of note, interventional examination time of ERCP did not include insertion of the side-viewing duodenoscope down to the papilla or extraction of the endoprosthesis. To appropriately focus on the effects of VS guided ERCP, the interventional examination time was defined as start of the ERCP once the side-viewing endoscope had been appropriately positioned in front of the papilla.Timing was started with a  stopwatch once the cannulation catheter had been introduced to the working channel of the endoscope for the first time. The Interventional examination time ended when the last intervention (endoprosthesis insertion, stone extraction etc) was completed and the final endoscopic picture for documentation had been made. Withdrawal of the endoscope from the patient was not included in the interventional examination time.

X-ray time and dose of each ERCP from the first cannulation untilthe entire procedure until the final intervention had been finished was automatically registered and documented by the multifunctional digital Axiom artis fluoroscope (AXIOM Artis MP, Siemens, Munich, Germany) for each patient.

ERCPs were done by two experienced investigators with >10 years experience in gastrointestinal endoscopy, each of whom had performed more than 1500 ERCPs.  Before start of the trial both investigators and the endoscopy assistants personal underwent 2 months of learning and training to become familiar with the V-scope and its fixable guidewire system. During this learning phase each investigator performed more than 20 V-scope ERCPs. From this training phase, it became clear, that handling, time requirements, radiological or endoscopic control of intrahepatically or –panctreatically placed guidewires, and the methodof performing instrument exchange has to be learned and require repeated trainingto improve skills and perhaps to reduce intervention times. From the team of endoscopy assistants , four individuals, each with experience of >1000 ERCPs, were involved in this prospective randomised study.

Physicians and assistants completed the study documents immediately after end of the ERCP and independently gave subjective scores (0 – 10, best – worst) in terms of “overall performance of ERCP”, “difficulty of ERCP” and “hygienic performance”. “Overall performance of ERCP” concerned global assessment of the course of the entire ERCP process. “Difficulty of ERCP” was described the degree of interventional technical difficulty of the ERCP. “Hygienic performance” concerned whether the guidewire or accessories exchange was perfectly hygienic and whether guidewires contacted the patient’s face or head, were ever outside the covered sterile working area, etc.

Premedication was achieved in most patients with midazolam/pethidine and in younger patients with high levels of anxiety or patients with high consumption of alcohol with propofol/pethidine. Conscious sedation was administered and monitored by a second physician who was responsible for analgo-sedation and documentation of all findings relevant to the study. All patients received continuous measurement of cutaneous oxygen saturation, pulse, blood pressure and adequate oxygen supply during ERCP, which was performed in prone position.

Cost analysis was also performed from each ERCP case for all consumables used during the study. The institutional costs for the side-viewing endoscopes and personal costs for training purposes were not included in this analysis.

# Statistical analysis

Statistical analysis was done by using SPSS (SPSS for Windows Version 16.0.2 Ehningen, Germany) with descriptive statistics (median and range) for all parameters and performance of the Wilcoxon rank-sum test (U-Test). The statistical hypothesis was that use of the Olympus V-scope and its fixable guidewire system in the VS group would make ERCP faster (interventional examination time), reduces the X-ray time and dose and reduce the premedication time. Additional statistical description are provided for subjective scores describing the convenience and performance of each ERCP procedure given by the endoscopist and the assistants.

# Results

Table 2 and 3 list all objective and subjective parameters used to compare ERCP in the VS group and in the conventional group.

Age, indications, number and difficulty of intervention were not different between the VS group and the control group. Although the median interventional examination time was 2 min shorter in the VS group (29 vs 31min), the difference was not statistically significant. Similarly, median X-ray time and dose, as well as premedication dose, were nearly the same in both groups.

Interestingly, fewer adverse events were seen in the VS group, but this difference was also not statistically significant perhaps because of the low number of cases(Table 2)..

Subjective assessment scores by physicians and endoscopy assistants concerning “overall performance of ERCP” also did not reveal any significant differences between the VS group and the conventional ERCP group. Scores were also the same for  “hygienic aspects of the ERCP” as assessed by the assistants personal.

Individual cost analysis of the ERCP materials and accessories used during the ERCP study revealed no significant difference in consumables used. Accessories used in the VS-group amounted to 349 EU (44 – 673) and costs in the conventional ERCP group were 335 EU (135 – 604).

# Discussion

ERCP is a resource-intensive, complex, interventional, multi-step endoscopic-radiologic procedure for the treatment of various biliary or pancreatic diseases[1-5,19-22]. However, performance of ERCP,whether it results in therapeutic success or technical failure, harbours a known risk of side effects for the patient (e.g., cholangitis, post-ERCP pancreatitis, analgo-sedation-induced complications etc), including a radiation risk, which the endoscopy team also experiences.. ERCP requires the substantial use of fluoroscopy and expensive materials (balloons, guidewires etc), and technical success is often accompanied by substantial time and psychological efforts of the endoscopist and his/her team of assistants. Thus, further innovations are currently being studied to make ERCP safer for patients, to reduce X-ray dose and premedication, and to simplify the technical ERCP process[2-6,9,17,21]. One possible future approach for more convenient and, perhaps more safer, faster, and easier ERCP procedure may be the use of specialized fixable (short) guidewire systems as compared with the use of conventional long guidewires (4 – 4.5m), which require longer exchange times. Several studies have been published using prototype V-scopes and prototype linear guidewires that demonstrated shorter accessory exchange times and a reduced need for guidewire adjustments[13,14,17,23]. However, the benefit of the use of this Olympus V-system with respect to the overall ERCP outcome, interventional examination time, and fluoroscopy requirements has not been completely evaluated in daily ERCP practice. Thus, in an effort to optimize ERCP quality and hospital costs in a high-volume ERCP center, an investigator driven, prospective, randomized pilot trial was performed to explore whether the use of the Olympus V-scope and its dedicated guidewire system significantly improves the outcome of patients undergoingERCPor reduces intervention time, fluoroscopy, or the endoscopists’ and assistants´ work, handling and efforts.

This prospective, single center study did not, however, reveal any statistically significant differences between ERCP using the V-system or conventionally performed ERCP in terms of interventional examination time, fluoroscopy, analago-sedation requirements, or subjective assessments obtained from the endoscopists and the endoscopy assistants. Interestingly, interventional examination time was somewhat shorter in the VS group (29min) than in the control group (31min), despite the need to perform additional endoprosthesis insertions in the VS group (table 2), raising the question whether the study population was too small for observe significant differences. Alternatively, this result merely reflect the high quality and training status of the individuals who carry out conventional ERCP at a high-volume tertiary ERCP center (> 1000 ERCPs per year).

Joyce et al., in a previous multicentre comparative trial, also did not demonstrate any significant effect of the V-system on ERCP examination time or on fluoroscopy time, although they did demonstrate significant benefits of the V-system when particular individual ERCP working steps were analysed, such as the median exchange time of accessories or the need for guidewire repositioning[17]. Combined with our findings, these data show that a possible improvement of one single working step in ERCP (e.g. exchange of accessories) is not obligatory coupled with an improvement or reduction in the entire examination or fluoroscopy time, especially when varying degrees of case difficulties are being treated by various experienced endoscopists[5,7,11-14,17,24]. However, the real benefit of the V-system guided ERCP may become relevant when the high interindividual variation in ERCP complexity and the different experiences of endoscopists are compensated for in an appropriate follow-up study protocol in which one patient is examined by the same investigator during follow-up interventions, such as endoprosthesis change, stone extraction etc. using both ERCP techniques. Such a stratified study protocol that would compare both ERCP techniques performed by one endoscopist on the same patient with the same therapeutic indication promises to better demonstrate whether a real benefit exists concerning interventional examination time and possibly other ERCP parameters including quality or outcome findings when using the V-system.

This small, prospective, randomized single center pilot ERCP study in routine patients showed that several other uncontrolled factors during ERCP intervention influenced on examination time and radiation requirements more than the proposed time saving that isattributed to the V-system[11-14,17-19,21,25,26]. Thus, from the experience gained during the use of the V-scope and its short guidewire system, it became apparent that the V-system may be helpful in such individual cases with repetitive interventions and several instrument changes (e.g. multiple stenting, numerous stone extractions), but these impressions are not yet objectively proven by a corresponding interventional ERCP study.

Although previous studies dealing with the use of the V-system focussed primarily on technical aspects and time requirements of single ERCP working steps[14,15,17], this prospective pilot trial also documented all adverse events and analgo-sedation requirements in each group. Interestingly, in the VS group, the frequency of adverse events tended in terms of abdominal pain lasting longer than 24 hours, cholangitis and post-ERCP pancreatitis, was not significantly different as compared with that of the conventional ERCP group. However, the tendency of the fewer instances of post-ERCP pancreatitis in the VS group raises the question of whether the completely fixed guidewire within the pancreatic duct reduces mechanical irritation of pancreatic tissue, which may be a cause of an inflammatory response during conventional ERCP. This unexpected observation warrants further prospective studies, because post-ERCP pancreatitis is still a major adverse event following ERCP procedures[4,16,18,19].

Cost evaluation of the consumables used in each case revealed that both ERCP techniques have nearly the same cost to the hospital according to Germany University prices  .This analysis can also not favour the exclusive use of only one ERCP technique.

In addition, evaluation of the subjective assessment scores from endoscopists and the endoscopy assistants also demonstrated no advantage of the V-system as compared with the  conventional ERCP technique. The overall performance of ERCP and the hygienic aspects of ERCP were similar in the VS group and in the coventional group, although working with shorter guidewires may be more convenient for the personal than with longer guidewires[12-15,17]. However, as discussed above, these results may be related to the high training status of the personnel at our high-volume ERCP centre and to the fact that performing a safe and effective bougienage within the biliary system or pancreas requires the use of the long linear guide wire (4.2m), which may have influenced the judgement of the personal. Subjective assessment may vary according to the training status of the endoscopy team, which would preclude the translation of these results to low-volume endoscopy hospitals.

In conclusion, this prospective ERCP trial using the V-scope and V-system did not show a significant advantage of this dedicated short guidewire system at a high-volume ERCP centre as compared with the conventional ERCP technique. The real value of this V-system in ERCP practice requires further investigation in follow-up interventional studies that compensate for interindividual variation in both patients and endoscopists. Studies should be performed in low-volume endoscopy centres as well.

ACKNOWLEDGMENTS

ERCP materials were provided by Olympus, Hamburg, Germany.

COMMENTS

COMMENTS

Endoscopic retrograde cholangiopancreaticography (ERCP) is a complex and cost-intensive diagnostic and therapeutic approach for the identification and treatment of hepatobiliary and pancreatic disorders. To simplify this method, many new endoscopic techniques and instruments are currently being developed. In this pilot study, we compared the new Olympus V-Scope system with the normal Olympus duodenoscope in patients admitted for interventional ERCP.

Research frontiers

The new V-Scope system with its specialized fixable guidewire system (Olympus TJF160 VR) was evaluated and compared to the conventional ERCP technique (Olympus TJF160) with respect to the interventional examination time, X-ray time and dose, premedication dose, frequency of adverse events, handling in daily routine, and cost effectiveness.

Innovations and breakthroughs

Although detailed parameters of the ERCP technique and the outcomes were carefully assessed, no statistically significant differences were found between ERCPs performed with the V-scope and V-system and those performed using the conventional ERCP technique. Objective parameters such as interventional examination time and X-ray dose, outcome parameters such as adverse events, and subjective assessment scores by the endoscopy personnel were all similar in both ERCP technique groups. However, the study group was small, various levels of ERCP difficulty were included, and the results may have been influenced by the high-level training status of the personnel at our high-volume ERCP centre.

Applications

Regarding the fairly small number of patients, this study was designed as a pilot study to provide preliminary results concerning future study parameters for sample size estimations, outcome parameters, and cost assessments. In further studies with a larger number of patients, the potential benefits of the Olympus V-system may be better evaluated when including only one or two defined ERCP indications and by including endoscopists who examine the same patient during follow-up and use both ERCP techniques.

Terminology

Endoscopic retrograde cholangiopancreaticography: a diagnostic and therapeutic tool for selective radiographic illustration of the biliary tract and pancreatic ducts that enables important interventions such as endoprosthesis insertion for drainage, stone extraction, or tumour palliation via short or long guidewire techniques.

The Olympus side-viewing V-scope contains a modified elevator lever with a V-groove, which allows the use of short guidewires that can be fixed. However, these potential advantages have not yet been shown to improve the technical aspects of ERCP instrumentation, patient outcomes, or adverse events.

Peer review

This pilot study carefully assessed several outcomes and technical and subjective parameters of both ERCP techniques. Perhaps because of the small number of patients, no significant differences were demonstrated between ERCP using the V-system technique and conventional ERCP. The results obtained may be used for sample size calculation for a larger, more definitive study with more homogeneous ERCP indications.

# References

- Mutignani M, Tringali A, Shah SG, Perri V, Familiari P, Iacopini F, Spada C, ostamagna G. Combined endoscopic stent insertion in malignant biliary and duodenal obstruction. Endoscopy 2007; 39: 440-447 [PMID 17516351 DOI: 10.1055/s-2007-966327]

- Kawakami H, Maguchi H, Mukai T, Hayashi T, Sasaki T, Isayama H, Nakai Y, Yasuda I, Irisawa A, Niido T, Okabe Y, Ryozawa S, Itoi T, Hanada K, Kikuyama M, Arisaka Y, Kikuchi S; Japan Bile Duct Cannulation Study Group. A multicenter, prospective, randomized study of selective bile duct cannulation performed by multiple endoscopists: The Bidmen study. Gastrointest Endosc 2012; 75(2): 362-372 [PMID 22248605 DOI:10.1016/j.gie.2011.10.012 ]

- Raithel M, Dormann H, Naegel A, Boxberger F, Hahn EG, Neurath MF, Maiss J. Double balloon enteroscopy based endoscopic retrograde cholangio– pancreaticography in postsurgical patients. World J Gastroenterol 2011; 17(18): 2302-2314 [PMID 21633596 DOI: 10.3748/wjg.v17.i18.2302.]

- Andriulli A, Loperfido S, Napoletano G, Niro G, Valvano MR, Spirito F, Pilotto A, Forlano R. Incidence rates of post-ERCP complications: A systematic survey of prospective studies. Am J Gastroenterol 2007; 102: 1-8 [PMID 17509029 DOI:10.1111/j.1572-0241.2007.01279.x]

- Shah JN, Marson F, Weilert F, Bhat YM, Nguyen-Tang T, Shaw RE, Binmoeller KF. EUS-guided ERCP in failed ERCP or inaccessible papilla. Gastrointest Endosc 2011; 75: 56-64 [PMID 22018554 DOI: 10.1016/j.gie.2011.08.032.]

- Chen CC. The efficacy of endoscopic ultrasound for the diagnosis of common bile duct stones as compared to CT, MRCP and ERCP. J Chin Med Assoc 2012; 75(7): 301-302 [PMID 22824042 DOI: 10.1016/j.jcma.2012.05.002]

- Shteyer E, Wengrower D, Benuri-Silbiger I, Gozal D, Wilschanski M, Goldin E. Endoscopic retrograde cholangiopancreaticography in neonatal cholestasis. J Pediatr Gastroenterol Nutr 2012; 55(2): 142-145 [PMID: 22790901 doi: 10.1097/MPG.0b013e318259267a.]

- American Society of Gastrointestinal Endoscopy (ASGE): Technology Assessment Status Evaluation: guidewires in gastrointestinal endoscopy. Gastrointest Endosc 1998; 47: 579 – 583 [PMID: 9647403 DOI: 10.1016/S0016-5107(98)70271-8]

- Ross AS, Roth J, Waxmann I. Resource-intensive endoscopic procedures: do the dollars make sense? Gastrointest Endosc 2008; 68: 642 – 646 [PMID: 18534582 DOI: 10.1016/j.gie.2008.02.056]

- Tabibian JH, Asham EH, Goldstein L, Han StH, Saab S, Tong MJ, Busuttil RW, Durazo FA. Endoscopic treatment with multiple stents for post-liver transplantation nonanastomotic biliary strictures. Gastrointest Endosc 2009; 69: 1236 – 1243 [PMID 19249040 DOI: 10.1016/j.gie.2008.09.057]

- Papachristou GI, Baron TH, Gleeson F, Levy MJ, Topazian MD. Endoscopic retrograde cholangiopancreatography catheter and accessory exchange using a short hydrophilic guide wire: a prospective study. Endoscopy. 2006 Nov;38(11):1133-6. [PMID 17111336 DOI: 0.1055/s-2006-944739]

- Reddy SC, Draganov PV. ERCP wire systems: the long and the short of it. World J Gastroenterol. 2009;15:55-60 [PMID 19115468 DOI: 10.3748/wjg.15.55]

- Beilstein MC, Ahmad NA, Kochman ML, Long WB, Shah JN, Ginsberg GG. Initial evaluation of a duodenoscope modified to allow guidewire fixation during ERCP. Gastrointest Endosc 2004; 60: 284 – 287 [PMID: 15278065 DOI: 10.1016/S0016-5107(04)01686-4]

- Shah RJ, Somogyi L, Petersen BT, Tierney WM, Adler DG, Chand B, Conway JD, Croffie JM, Disario JA, Mishkin DS, Wong Kee Song LM. Short-wire ERCP systems. Gastrointest Endosc 2007; 66: 650 – 657 [PMID: 17655847 DOI: 10.1016/j.gie.2007.05.030]

- Sakai Y, Ishihara T, Tsuyuguchi T, Tawada K, Saito M, Kurosawa J, Tamura R, Togo S, Mikata R, Tada M, Yokosuka O. New cannulation method for pancreatic duct cannulation-bile duct guidewire-indwelling method World J Gastrointest Endosc. 2011 Nov 16;3(11):231-4. doi: 10.4253/wjge.v3.i11.231. Dig Liver Dis. 2011 Aug;43(8):596-603. [PMID 22110840 doi: 10.1016/j.dld.2011.01.019.]

- Testoni PA, Testoni S, Giussani A. Difficult biliary cannulation during ERCP: how to facilitate biliary access and minimize the risk of post-ERCP pancreatitis. Dig Liver Dis. 2011 Aug;43(8):596-603. [PMID 21377462 doi: 10.1016/j.dld.2011.01.019.]

- Joyce AM, Ahmad NA, Beilstein MC, Kochmann ML, Long WB, Baron T, Sherman S, Fogel E, Lehman GA, McHenry Jr L, Watkins J, Ginsberg GG. Multicenter comparative trial of the V-scope system for therapeutic ERCP. Endoscopy 2006; 38(7): 713 – 716. [PMID: 16810594 DOI: 10.1055/s-2006-925446]

# Vihervaara H, Salminen P, Hurme S, Gullichsen R, Laine S, Grönroos JM. Female gender and post-ERCP pancreatitis: is the association caused by difficult cannulation? Scand J Gastroenterol. 2011 Dec;46(12):1498-502. [PMID 21936723 doi: 10.3109/00365521.2011.619275.]

# Testoni PA, Giussani A, Vailati C, Testoni S, Di Leo M, Mariani A. Precut sphincterotomy, repeated cannulation and post-ERCP pancreatitis in patients with bile duct stone disease. Dig Liver Dis. 2011 Oct;43(10):792-6. [PMID 21733768 doi: 10.1016/j.dld.2011.05.010]

- Kim TH, Oh HJ, Lee JY, Sohn YW. Can a small endoscopic sphincterotomy plus a large-balloon dilation reduce the use of mechanical lithotripsy in patients with large bile duct stones? Surg Endosc. 2011 Oct;25(10):3330-7. [PMID 21533521 doi: 10.1007/s00464-011-1720-3.]

- Sulieman A, Paroutoglou G, Kapsoritakis A, Kapatenakis A, Potamianos S, Vlychou M, Theodorou K. Reduction of radiation doses to patients and staff during endoscopic retrograde cholangiopancreatography. Saudi J Gastroenterol. 2011 Jan-Feb;17(1):23-9. [PMID 21196649 doi: 10.4103/1319-3767.74456]

# Albrecht H, Konturek P, Diebel H, Kraus F, Hahn EG, Raithel M. Successful interventional treatment of postoperative bile duct leakage after Billroth II resection by unusual procedure using double balloon enteroscopy. Med Sci Mon 2011, Feb25; 17(3): CS 29-33 [PMID 21358608]

# Dhir V, Kwek BE, Bhandari S, Bapat M, Maydeo A. EUS-guided biliary rendezvous using a short hydrophilic guidewire. J Interv Gastroenterol. 2011 Oct;1(4):153-159. [PMID 22586528 DOI: 10.4161/jig.1.4.19967]

- López A, Ferrer I, Villagrasa RA, Ortiz I, Maroto N, Montón C, Hinojosa J, Moreno-Osset E. A new guidewire cannulation technique in ERCP: successful deep biliary access with triple-lumen sphincterotome and guidewire controlled by the endoscopist. Surg Endosc. 2011 Jun;25(6):1876-82. doi: 10.1007/s00464-010-1479-y. [PMID 21136105 DOI: 10.1007/s00464-010-1479-y]

# Meining A, Shah RJ, Slivka A, Pleskow D, Chuttani R, Stevens PD, Becker V, Chen YK. Classification of probe-based confocal laser endomicroscopy findings in pancreaticobiliary strictures. Endoscopy. 2012 Mar;44(3):251-7. [PMID 22261749 doi: 10.1055/s-0031-1291545.]

# Halme L, Arola J, Numminen K, Krogerus L, Mäkisalo H, Färkkilä M. Biliary dysplasia in patients with primary sclerosing cholangitis: additional value of DNA ploidity. Liver Int. 2012 May;32(5):783-9. [PMID 22098817 doi: 10.1111/j.1478-3231.2011.02672.x].

# Tables

# Table 1 Patient characteristics and indications for endoscopic retrograde cholangiopancreaticography

ERCP with	Conventional

V-scope/V-system	ERCP

Examinations (n)	25	24

Age in years, range (median)	33–83 (57)	19–96 (57)

Sex (M/F)	8/17	8/16

Hepaticolithiasis	4	5

Biliary strictures (benign/malignant)	7 (4/3)	5 (4/1)

Chronic pancreatitis	12	12

Pancreatic tumour	2	2

ERCP: endoscopic retrograde cholangiopancreaticography

Table 2 Objective results from the comparison of endoscopic retrograde cholangiopancreaticography using the V-scope with conventional endoscopic retrograde cholangiopancreaticography

ERCP with	Conventional	p

V-scope & -system	ERCP

Interventions total (n)	50	47

- Bougienage bile ducts	7	6

- Bougienage pancreas	2	8

- Endoprosthesis insertion	24	16

- Extraction biliary concrements	10	9

- Extraction pancreatic concrements	3	3

- Biopsy bile duct	1	0

- Nasobiliary Catheter	1	2

- Partial guidewire dislocation	1	3

- Guide wire lost	1	0

Examination time (min), range (median)	5–50 (29)	7–90 (31)                 0.28

X-ray time (min), range (median)	0.6–14.15 (5.87)	1.67–18.85 (6.12)    0.48

X-ray dose (cGy/m2), range (median)	159–5039.2 (1351)	202.3–6421 (1296)  0.34

# Premedication dose (mg), range (median)

- Midazolam	0–11.5 (7)	0–11.5 (6.75)           0.33

- Pethidine	0–200 (100)	0–200 (100)             0.48

- Propofol	0–720 (0)	0–490 (0)                 0.42

- Diazepam	0–10 (0)	0–15 (0)                   0.33

# Adverse events (n patients, % of each group)

- Abdominal pain >24 h without inflammation
		1 (4%)	3 (12.5%)                0.59

- Cholangitis*	3 (12%)	4 (16.7%)                0.77

- Post-ERCP pancreatitis**	1 (4%)	3 (12.5%)                0.59

- Perforation	0	0

Legend for table 2

Cholangitis was diagnosed by post-procedural elevations of inflammatory markers in conjunction with an intermittent increase of cholestatic enzymes and/or bilirubine, or subfebril/febril temperatures after ERCP. Cholangitis was mild, and all cases resolved within 8 days (median, 2-10).

Post-ERCP pancreatits was diagnosed by elevations of lipase (more than two-fold of upper normal value) and the presence of abdominal pain after ERCP. These patients had mild pancreatitis and all cases resolved after 4 days (median, 2-7).

Table 3 Subjective score results from the comparison of endoscopic retrograde cholangiopancreaticography using the V-scope with conventional endoscopic retrograde cholangiopancreaticography

ERCP with	Conventional

V-scope/V-system	ERCP	P

# Endoscopy assistants (n = 4), range (median)

- Overall performance of ERCP	1–8 (3)	1–7 (2)           0.51

- Hygienic aspects of ERCP	1–6 (3)	1–7 (3)           0.33

Endoscopists (n = 2), range (median)

- Overall performance of ERCP	1–8 (3)	1–7 (3)           0.47

- Position to papilla	1–7 (3)	1–7 (4)           0.29

Difficulty of ERCP, range (median)	1–2 (2)	1–3 (2)           0.49

(0–10 scale, best to worst assessment)