NAME of journal: World Journal of Orthopedics

ESPS Manuscript NO: 338

Columns: Minireviews

Unicompartmental knee prosthetization: Which key-points to consider?

Salvi AE et al. Hints and tips for UKA prosthetization

Andrea Emilio Salvi, Anthony Vatroslav Florschutz

Andrea Emilio Salvi, Orthopaedics and Traumatology Department, Mellino Mellini Hospital Trust, Civil Hospital of Iseo, 25124 Brescia,  Italy

Anthony Vatroslav Florschutz, Department of Orthopaedic Surgery, Medical College of Georgia, Augusta, GA 30912, United States

Author contributions: Salvi AE wrote the article; Florschutz AV gave additional informations according to his experience in prosthetic fields; Both the authors reviewed the final version of the article.

Correspondence to: Andrea Emilio Salvi, MD, Orthopaedics and Traumatology Department, Mellino Mellini Hospital Trust, Civil Hospital of Iseo (Brescia), Via Cipro 30, 25124 Brescia, Italy. andreasalvi@bresciaonline.it

Telephone: +39-347-4485570           Fax: +39-030-220652

Received: August 30, 2012  Revised: December 6,2012

Accepted: January 29, 2013

Published online:

Abstract

Unicompartmental knee arthroplasty (UKA) has evolved into a suitable option for diseased knees that cannot be managed with arthroscopic treatment and at the same time are not good candidates for total knee replacement. Since meticulous execution of the surgical technique is essential to optimizing UKA outcome, some procedural key-points are mandatory. Templates (phantoms) are then used to size the required prosthetic component (using these radiographs. Arthritic varus (or valgus) knees with an asymptomatic patello-femoral joint are typically ideal for UKA. Metal-backed tibial components should be favourite instead of all-polyethylene tibial components to avoid polyethylene creep that may occur in fixed bearings. Moreover, a proper thickness of the polyethylene layer is mandatory, in order to avoid early failure.

© 2013 Baishideng. All rights reserved.

Key words: Knee; Unicompartmental knee prosthesis; Procedure; Surgery

Salvi A E, Florschutz AV. Unicompartmental knee prosthetization: Which key-points to consider?

Available from:

DOI:

UNICOMPARTMENTAL KNEE ARTHROPLASTY

Unicompartmental knee arthroplasty (UKA) has evolved into a suitable option for diseased knees that cannot be managed with arthroscopic treatment and at the same time are not good candidates for total knee replacement (TKR). On initial consideration, UKA has several potential advantages over TKR, namely preservation of bone stock, cruciate ligament conservation, and sparing of the contralateral compartment and the patello-femoral joint[1]. Since meticulous execution of the surgical technique is essential to optimizing UKA outcome[2], some procedural key-points are mandatory. Preoperatively, appropriate implant selection requires the use of weight-bearing radiographs of the affected knee to better delineate true varus or valgus features of the arthritic compartment. Templates (phantoms)[3] are then used to size the required prosthetic component (Figure 1) using these radiographs. Arthritic varus (or valgus) knees with an asymptomatic patello-femoral joint are typically ideal for UKA[4].  If there is concern regarding the cartilaginous condition of patello-femoral joint, magnetic resonance imaging and subsequent arthroscopic evaluations[5] are suggested prior to selecting the definitive prosthetic solution as skyline knee radiographs may not be an accurate reflection of the joint condition. If patello-femoral joint disease is present, a TKR should be performed as there is a high likelihood that revision after UKA will be is a more suitable option as progression of arthritis may involve not only the un-prosthetized contralateral compartment, but also the patello-femoral joint with progressive degeneration[6] and consequent surgical prosthesis revision. In general, metal-backed tibial components should be favourite instead of all-polyethylene tibial components to avoid polyethylene creep[7] that may occur in fixed bearings. Moreover, a proper thickness of the polyethylene layer is mandatory, in order to avoid early failure[8]. At the time of surgery, traditional Von Langenbeck’s medial or lateral parapatellar surgical approach should be performed since the entire articulation (anterior and posterior compartments) should be evaluated to avoid leaving intra-articular bony particulate, residual sections of meniscus, posterior condylar bony cams, posteriorly extruded cement, and hidden osteophytes that may significantly contribute to implant failure[9] (Figure 2). Moreover, since all the three compartments are visualized, Von Langenbecks’s approach allows thorough evaluation of ligament balance, avoiding over- and under-corrections, and permits a good assessment of patellar tracking (Figure 3). The same approach is mandatory in bi-unicompartmental knee replacement, an alternative prosthetic solution[10,11] that employs two unicompartmental prostheses and is utilizable in selected patients with asymptomatic patello-femoral articulation (Figure 4). In contrast, the use of minimally invasive approaches leads to reduced access to surgical landmarks[12] and is more likely to result in anatomic malalignment. Bent narrow Hohmann retractors are recommended instead of straight ones in order to minimize soft tissue stress during retraction and in a less invasive way protect the posterior neurovascular bundle during power-saw cutting of the condylus and the tibial plate. To conclude, it is also strongly suggested to use pulsed lavage irrigation to increase cement penetration and decrease both bone and poly-methyl-methacrylate debris particles[13,14] that may be responsible for third-body polyethylene abrasive wear.

REFERENCES

1 Scott RD, Santore RF. Unicondylar unicompartmental replacement for osteoarthritis of the knee. J Bone Joint Surg Am 1981; 63: 536-544 [PMID: 7217120]

2 Borus T, Thornhill T. Unicompartmental knee arthroplasty. J Am Acad Orthop Surg 2008; 16: 9-18 [PMID: 18180388]

3 Bothra V, Lemon G, Lang D, Smith DM, Ali AM. Reliability of templating in estimating the size of uni-condylar knee arthroplasty. J Arthroplasty 2003; 18: 780-783 [PMID: 14513454 DOI: 10.1016/S0883-5403(03)00112-8]

4 Della Valle C, Berger R, Rosenberg A. Minimally Invasive Unicompartmental Knee Arthroplasty Using Intramedullary Femoral Alignment Oper Tech Orthop 2006; 16: 186-194DOI: 10.1053/j.oto.2006.06.002

5 Rappeport ED, Wieslander SB, Stephensen S, Lausten GS, Thomsen HS. MRI preferable to diagnostic arthroscopy in knee joint injuries. A double-blind comparison of 47 patients. Acta Orthop Scand 1997; 68: 277-281 [PMID: 9246993 DOI: 10.3109/17453679708996701]

6 Berger RA, Meneghini RM, Sheinkop MB, Della Valle CJ, Jacobs JJ, Rosenberg AG, Galante JO. The progression of patellofemoral arthrosis after medial unicompartmental replacement: results at 11 to 15 years. Clin Orthop Relat Res 2004;(428): 92-99 [PMID: 15534526 DOI: 10.1097/01.blo.0000147700.89433.a5]

7 Suwanprateeb J, Tanner KE, Turner S, Bonfield W. Creep in polyethylene and hydroxyapatite reinforced polyethylene composites. J Mat Sci.: Materials in Medicine 1995, 6: 804  DOI:10.1007/BF00134321

8 Palmer SH, Morrison PJ, Ross AC. Early catastrophic tibial component wear after unicompartmental knee arthroplasty. Clin Orthop Relat Res 1998; (350): 143-148 [PMID: 9602813]

9 Salvi AE, Alia T. Von Langenbeck's medial parapatellar approach for unicompartmental knee arthroplasty (with reply). Orthopedics 2009; 32: 470; author reply 470 [PMID: 19634858]

10 Salvi AE, Alia T. RE: Bi-unicondylar knee prosthesis: the steering knee. J Surg Orthop Adv 2010; 19: 134-135 [PMID: 20795304]

11 Confalonieri N, Manzotti A, Cerveri P, De Momi E. Bi-unicompartmental versus total knee arthroplasty: a matched paired study with early clinical results. Arch Orthop Trauma Surg 2009; 129: 1157-1163 [PMID: 18696093]

12 Cool S, Victor J, De Baets T. Does a minimally invasive approach affect positioning of components in unicompartmental knee arthroplasty? Early results with survivorship analysis. Acta Orthop Belg 2006; 72: 709-715 [PMID: 17260608]

13 Maistrelli GL, Antonelli L, Fornasier V, Mahomed N. Cement penetration with pulsed lavage versus syringe irrigation in total knee arthroplasty. Clin Orthop Relat Res 1995;(312): 261-265 [PMID: 7634612]

14 Niki Y, Matsumoto H, Otani T, Tomatsu T, Toyama Y. How much sterile saline should be used for efficient lavage during total knee arthroplasty? Effects of pulse lavage irrigation on removal of bone and cement debris. J Arthroplasty 2007; 22: 95-99 [PMID: 17197315 DOI: 10.1016/j.arth.2006.02.078]

P-Reviewer Rajalingham S S-Editor Zhai HH L-Editor E-Editor

Figure 1 Example of a preoperative surgical plan of a medial unicompartmental knee arthroplasty right knee. Weight-bearing radiographs are templated against acetate phantoms. Immediate post-operation radiographs show correct positioning of the prosthetic implants.

Figure 2 Knee bone cuts and positioning of trial components. A: A curved instrument available in different sizes allows to check the curvature of the condylus to prosthetize along with the amount of bone to remove; B: Femoral and tibial bony cuts. At this stage of the operation is essential to check eventual meniscal fragments, bony particulate and bony prominences that is made possible through a standard parapatellar approach; C: Femoral and tibial trials inserted with patella in place. Accurate trials size to choose definitive implants must be carefully checked.

Figure 3 Cemented prosthetic components in place and patellar tracking assessment. A: Cemented tibial metal-back component in place with proper thickness of polyethylene insert; B: Cemented femoral and tibial components inserted along with patella in place. At this moment it is possible to verify ligament balance and patellar tracking.

Figure 4 Bi-unicompartmental knee arthroplasty. A: In selected cases, bi-unicompartmental knee replacement is a feasible prosthetic solution that allows to maintain ligamentous compartments; B: This permits to have a more physiologic knee functionality, replacing only the affected parts of the articulation.