Name of journal: World Journal of Experimental Medicine

ESPS Manuscript NO: 3876

Columns: Review

Role of oral-fluid based measles diagnostic methods for measles global elimination

Nigatu W et al. Measles, oral fluid, laboratory, elimination

Wondatir Nigatu, Antoine Nsabimana

Wondatir Nigatu, Ethiopian Health and Nutrition, Research Institute, 1142 Addis Ababa, Ethiopia

Wondatir Nigatu, Applied Biology Department, Kigali Institute of Science and Technology, BP 3900 Kigali, Rwanda

Antoine Nsabimana, Faculty of Science, Kigali Institute of Science and Technology, BP 3900 Kigali, Rwanda

Author contributions: Nigatu W and Nsabimana A were contributed in commenting and facilitating necessary materials for the manuscript preparation.

Correspondence to: Wondatir Nigatu, Professor, Applied Biology Department, Kigali Institute of Science and Technology, Avenue de l’Arměe, BP 3900, Kigali, Rwanda. wnigatu1891@yahoo.co.uk

Telephone: +250-783-628866         Fax: +250-252-571925

Received: May 29, 2013         Revised: September 8, 2013

Accepted: October 15, 2013

Published online:

Abstract

Measles eradication is biologically feasible. There is an availability of a safe, effective and inexpensive vaccine; a proven elimination strategy; high Local demand; and an effective global partnership and initiative to support vaccination. Measles eradication is a cost-effective scenario and a good investment to avoid expensive epidemics and save those children die due to measles. Laboratory investigations are indispensable to monitor the progress of measles elimination. This role will require the development of more sensitive diagnostic methods suitable for diagnosis and surveillance, genetic analysis of measles strains and a technology which is transferable worldwide. Measles diagnosis relies increasingly on serological tests. The practical utility of oral-fluid (OF) methods (antibody and genetic) in evaluating and refining measles immunization programs would, additionally, provide support for a global surveillance initiative. The utility of in a population survey, in a vaccine sero-conversion study and application in molecular epidemiological use is demonstrated in this review. It is to be hoped that this review will assist in the wider uptake and acceptance of methodology in both developed and developing country situation. More research needed for further evaluation of a recently developed point-of-care test for measles diagnosis: detection of measles-specific IgM antibodies and viral nucleic acid for wider use OF methodology. There is a strong case and imperative for the promotion of methods by World Health Organization in its global program of control/eradication of measles over the coming decade.

© 2013 Baishideng. All rights reserved.

Key words: Measles elimination; Oral-fluid test methods; Laboratory diagnosis

Core tip: Laboratory investigations play a critical role in monitoring the success of measles elimination strategies. The role requires the development of more sensitive diagnostic which is transferable worldwide. Measles diagnosis relies increasingly on serological tests. Promotion of the use of oral fluid as viral diagnostic alternative to serum may be of advantage in communities where reliable age-specific notification and vaccination data are unavailable or in groups that are ‘hard to reach’. This review will assist in the wider uptake and acceptance of OF methodology in both developed and developing country situation for global measles elimination.

Nigatu W, Nsabimana A. Role of oral-fluid based measles diagnostic methods for measles global elimination.

Available from:

DOI:

PHASES OF MEASLES CONTROL AND ELIMINATION

Measles is a highly contagious disease caused by a virus. It is one of the leading causes of death among young children. In 1980, before widespread vaccination, measles caused an estimated 2.6 million deaths each year. It remains one of the leading causes of death globally, despite the availability of a safe and effective vaccine. It is estimated that approximately 158 000 people died from measles in 2011, mostly children under the age of five[1].

Based on implementation of a combination of vaccination and surveillance strategies, countries are considered to be in 1 of 3 stages: control, outbreak prevention, or elimination [2, 3] (Figure 1).

MEASLES CONTROL

Control is defined as the reduction of disease incidence and/or prevalence to an acceptable level as a result of deliberate efforts, requiring continued interruption measures. In the control stage, the objective is to achieve high routine coverage with 1 dose of measles vaccine among infants to reduce measles morbidity and mortality. To accelerate measles control in large urban and other high-risk areas with a substantial proportion of unvaccinated children and measles associated deaths, mass vaccination campaigns targeting children aged 9 mo to 3-14 years have been recommended[4,5]. Countries in all regions have committed to the mortality reduction goal. Global measles deaths are decreased by 78% between 2000 and 2008, averting an estimated 4.3 million deaths[6,7]. The Southeast Asia region is already exceeding 90% measles mortality reduction [8].

MEASLES OUTBREAK PREVENTION

Measles outbreak prevention aims to maintain low incidence and prevent outbreaks by the administration of supplemental doses of measles vaccine through mass vaccination campaigns. As programmes plan for elimination of measles, a high coverage of single dose vaccine with supplementary immunization is assumed be sufficient to interrupt transmission[9]. A second dose is required to eliminate susceptibles from the population and interrupt measles transmission[10]. The Africa region is adopting to raise routine vaccine coverage to at least 80% and using supplemental campaigns in all non-polio-reservoir countries by 2003[11]. The Western Pacific Region from 1996 to 2009, 235 million persons received measles vaccine during 94 immunization campaigns in 30 countries and areas[12]. In the same region during 2009, 32 countries and areas provided 2 routine doses of measles vaccine[12]. The steady increase in routine measles coverage is shown from 71% to 82% globally between 2000 and 2009[8]. Between 2000 and 2008, administration of more than 600 million doses of measles vaccine in mass vaccination campaigns were made globally[7,13].

MEASLES ELIMINATION

Elimination is defined as the reduction of endemic incidence of a disease to zero as a result of deliberate efforts, requiring continued control measures. An alternative approach to documenting measles elimination are molecular evidence to confirm the lack of a circulating endemic genotype for at least one year and maintenance of 95% coverage of one dose of measles-containing vaccine, with an opportunity for a second dose[14]. It is well understood that laboratory testing and confirmation of suspected measles infection is crucial in countries that are in elimination phase of measles[15-17]. Generally, all 6 World Health Organization regions have committed to measles elimination, and 5 (except Southeast Asia) set target date to move from regional measles mortality reduction to the regional elimination of indigenous transmission[6].

GLOBAL PROGRESSES TOWARDS ELIMINATION

Although there has been tremendous success in the reduction of measles endemic incidence in many countries with measles elimination, the total interruption of measles transmission remains a major challenge due to importation of measles cases to America and Europe regions[18-20]. For example, the ongoing transmission of endemic measles was declared eliminated in the United States  in 2000[21].  However, within five months period starting from January to May 2011, 118 cases were reported in the United States in which 46% of the cases were imported[18]. The elimination of measles deaths in Southern Africa in 2000 joins the region of the Americas to be free from measles deaths[22, 23]. However, from July 2003 to November 2005, 1676 laboratory-confirmed measles cases were reported in South Africa [24] and silent causalities’ the disease was also reported [25].

# The WHO Europe strategic plan for measles 2010-15 sets targets of 90% measles vaccination coverage, and reductions in the number of cases to fewer than five per million and in mortality by 95% compared with 2000 levels[26,27]. The 37 countries and areas of the WHO Western Pacific Region have targeted measles for elimination by 2012[12].

# Between 1997 and 2011, the goal of interrupting measles transmission was adopted toward the elimination of measles in the Eastern Mediterranean Region (EMR). For the 22 EMR member countries, routine coverage with the first dose of a measles-containing vaccine (MCV) increased from 70% in 1997 to 82% in 2009. Reported measles cases decreased by 86% during 1998-2008, and estimated measles mortality decreased by 93% during 2000-2008, accounting for 17% of global measles mortality reduction during that period. Despite these successes, EMR was not being able to achieve measles elimination by the end of 2010[28].

# Many Progresses have been achieved toward measles elimination in the People's Republic of China between 2000-2009 and in the Russian Federation between 2003-2009[29,30]. Globally, the number of measles deaths worldwide fell by 78% between 2000 and 2008, from an estimated 733000-164000[31]. Despite the efforts measles elimination, measles remains a disease still endemic in many parts of Europe[32]. For instance, between 2009 and 2011, Austria, France, Germany, Ireland, Italy, Greece, the Netherlands, Spain, Bulgaria, Norway and United Kingdom have all seen outbreaks[32-41].

Estimates indicate that almost a quarter of all lives saved annually towards achieving Millennium Development Goal 4 are the result of progress towards achieving a 90% reduction in measles deaths [7,10,13].

STRATEGIES FOR MEASLES CONTROL AND ELIMINATION

Key strategies for the local elimination/total eradication of measles as a disease are as follows. The spread of measles infection through a population requires that a chain of invectives should be maintained. Protection against this spread of infection can be taken at two points. First, the route from susceptible to recovered (return to immunized state after vaccine uptake) can be short-circuited by the establishment of immunization[42-45]. Second is to interrupt the mixing of invectives (carrier of the infections) and susceptible with protective barriers (e.g., isolation)[46]. Incidence rises as susceptible individuals enter the population. Acquisition of immunity through exposure to the wild virus or vaccination decreases the number of susceptible individual in the population and measles incidence falls [47]. The greatest potential is with vaccination.

Acquired immunity after measles illness is permanent. Live attenuated measles virus, when administered at recommended ages, produces about 85% immunity after one dose and greater than 90% immunity after two doses[5,48,49]. Vaccine-induced immunity is long lasting and protective to all the diverse geographic origin strains. Widespread vaccination has resulted in interruption of measles virus transmission in a number of countries. For instance, the Gambia in 1968-1969, the English speaking Caribbean islands, Cuba, Chile, the United States over short periods in 1993, 1995, and 1996[50,51]. Similar achievements were obtained in England and Wales through 1995-2000[20]. Estimate indicates increase in routine measles coverage from 71% to 82% globally between 2000 and 2009, and from 56% to 73% in the 47 countries with the greatest burden of measles deaths [7,8].

The success of recent mass vaccination campaigns in these countries has suggested that global eradication of measles is possible biologically, technically, and operationally[19,52]. Reaching this goal will require continued commitment to increase vaccination coverage levels with a co-coordinated global effort.

Vaccine investments rose from donors in United Kingdom, Japan, United States, etc., to provide additional funding to the Global Alliance for Vaccines and Immunization (GAVI) for its childhood immunization program save many children's lives. Vaccination is one of the most cost-effective health interventions[53]. Studies show that measles eradication by 2020 was found to be the most cost-effective scenario globally [54].

Programmatic and technological innovation will be needed to sustain recent successes in reduction of the global burden of measles. Delivery of the measles vaccine through the respiratory tract could help this effort[55]. It has many advantages compared to the injectable vaccines in which the major one can be stated as follows[55-58]. Respiratory delivery generates robust local and systemic immune responses which resulted in superior and longer lasting protection and boosting better responses in seropositive people than are injectable vaccines[57,58]. This route is less likely to be blocked by maternal antibodies in infants than is a subcutaneous measles vaccine. Aerosol administration of vaccines needs fewer skills than injectable vaccines. Use of non-injectable vaccines reduces the likelihood of unsafe disposal and reuse of syringes in immunization program.

An important component of the measles control and elimination strategy is information obtained from laboratory. Currently the World Health Organization (WHO) Global Measles and Rubella Laboratory Network (LabNet) include 690 laboratories serving 183 countries[59].

### MEASLES VACCINATION

Different factors affect the response to immunization, such as, age and maternal antibody level[60]. Wesley et al[61] reported that the response to measles immunization was delayed among malnourished children. The optimal age at delivery of measles vaccine depends upon the relationship between the average age at infection and the rate of loss (average duration) of maternal antibodies specific to measles[62,63]. Maternal antibodies typically provide protection during the first 6 months of life, but often longer[63,64]. Interference with the replication of vaccine virus is frequently still seen at the age of 12 mo [65]. As a consequence vaccination in the first year of life gives inadequate immunity to measles, meaning the earlier at the age of vaccination the lower the sero conversion rate[63,64]. The requirement for delay until maternally derived antibodies vanish is an impediment for early vaccination. The duration of maternally derived immunity in a child depends on the mother’s antibody titer, the efficiency of transfer across the placenta and the rate of catabolism in the child[66,67]. A child exposed to many infections makes a large variety of immunoglobulin G (IgG); in order to keep the total blood IgG level in the normal range, catabolism is accelerated and passively acquired antibodies are swept out at an accelerated pace. In this way, early susceptibility to measles is strongly correlated with low economic status[67]. To meet this challenge age cross-sectional sero-epidemiological surveys and sero conversion studies are important for recommending the proper age for vaccination. An evaluation of the routine immunization program in Ethiopian children, reported here[68], gives support for the WHO recommended age for measles vaccination at 9 mo[69]. The ability of a measles vaccine to induce an immune response, particularly in the presence of maternal antibody, varies according to the strain and the dose of vaccine[63].

Acquired immunity after measles illness is permanent. Live attenuated measles virus, when administered at recommended ages, produces about 85% immunity after one dose and greater than 90% immunity after two doses[5,48,49]. Vaccine-induced immunity is long lasting and protective to all the diverse geographic origin strains.

Developed and developing countries of the world have different measles vaccination policy. In developed countries children are immunized at the age between 12-18 mo (depending up on the policy of different countries), as part of a three-part MMR-vaccine. The vaccination is not given earlier than this because children younger than 12 mo usually retain anti-measles immunoglobulin’s transmitted from the mother during pregnancy.  A second dose is usually given to children between the ages of four and five. In developing countries where measles is highly endemic, it is recommend that two doses of vaccine be given at six months and at nine months of age. Serological studies in developing countries have shown sero-conversion rates following immunization at age 9 mo of 80%-90%[70,71]. Generally, the two-dose schedule is beneficial when there is a need to increase net vaccine efficacy, after coverage has been maximized with a one-dose schedule[64,72,73].

Role of laboratory for measles control and elimination

Laboratory investigation will play a critical role in monitoring the success of measles control strategies[15,16,59,74]. This role will require the development of more sensitive diagnostic methods suitable for diagnosis and surveillance, genetic analysis of measles strains and a technology which is transferable worldwide. Measles diagnosis relies increasingly on serological tests[75]. Serum based diagnosis can be made by virus isolation, by demonstration of a significant increase in specific IgG titers, or by the detection of anti-measles virus (MV) IgM antibodies by using radio-immunoassays (RIA), enzyme-linked immune sorbent assays (ELISAs) and direct or indirect fluorescence-antibody techniques[10,76,77]. Genetic characterization of wild-type measles viruses from different types of specimen sources provides a means to study the transmission pathways of the virus and is an essential component of laboratory-based surveillance[78-82].

The effectiveness of an immunization program can be evaluated though serological survey methods. Using dried blood spot (DBS) sample-drops of whole blood collected on filter paper from a simple finger prick-provides a minimally invasive method for collecting blood samples in nonclinical settings for serological and genetic analysis of measles [83-87]. The measles laboratory network required the use of alternative sampling techniques for surveillance [88]. The need for techniques that obviate the requirement for blood sampling promotes the application of oral-fluid based methods to the evaluation of the immunization programs. Oral-fluid based testing has an advantage of convenience, avoidance of inadvertent transmission of blood-borne pathogens, ease of use in pediatric and geriatric populations; as well as the potential for blood-free home and work place collection of patient samples.

Of the "ten elements of surveillance" summarized by WHO[89] at least in six of them visa a VIS, morbidity reporting, epidemic reporting, laboratory investigations, individual case investigations, epidemic field investigations and surveys, the laboratory has a role in providing serological results for measles surveillance. This indicates that the general advantages of measles surveillance data depend in large part on laboratory results[59,90]. The requirement of blood specimens for laboratory results can limit the yield of data for measles surveillance. In this respect we need another source of human biological material for measles surveillance, which is inexpensive and simple to collect, acceptable to donor and collector and provides accurate representation of serological status. Oral fluid has been explored as a source of human biological material for surveillance of viral diseases[91,92]. It has clear advantages over venipuncture in surveillance and epidemiology of viral diseases. In the United Kingdom, oral-fluid sampling and screening has been used for the surveillance of measles, mumps and rubella (MMR) since 1994[20]. This has permitted the impact of MMR vaccination program to be monitored and evaluated in a way which may not have been possible through blood collection alone. Measles serological surveys could play a role in the evaluation of immunization programs[93,94]. Immuno-serological cross-sectional measles surveys have particular importance to determine immunization program strategy in relation to age groups, geographic areas, socio-economic groups and risk population groups. Follow-up serological measurements in measles immunized persons has importance to determine the proportion developing immune responses, quality and extent of response, duration of response and level of protection against measles infection. Periodic measles serological surveys have advantage to identify groups who are not receiving measles vaccines or who have inadequate responses. The importance of sero epidemiology for such purposes is paramount although the necessity for vein puncture reduces the ease and acceptability of this method. New methods that obviate the requirement for blood sampling could further encourage the application of measles serological surveys for the evaluation of measles immunization program. To achieve the aforementioned roles at better performance work was undertaken for measles vaccination program evaluation and surveillance based on oral-fluid collection and screening methods[95]. The purpose of this review is, therefore, to explore the development and evaluation of oral fluid as a diagnostic specimen for measles virus with particular reference to the developing country setting. The technologies developed[68,77,81] have increased the level of sensitivity and specificity where salivary examination for measles IgG and IgM is practical and convenient. Using PCR technology we found oral-fluid from measles cases to be useful in the molecular characterization of measles virus. Success of the measles vaccination program can be assessed using oral fluid specimens as markers of sero-conversion.

ORAL-FLUID AS CLINICAL SPECIMENS

Laboratory investigation will play a critical role in monitoring the success of measles elimination strategies. As we shall see in this review the role will require the development of more sensitive diagnostic methods suitable for diagnosis and surveillance, genetic analysis of measles strains and a technology which is transferable worldwide.

Measles virus can be detected from various clinical samples by using serological methods, cell cultures techniques or molecular techniques. Samples that can be collected at different stages of the measles infection for virus isolation and serological tests are outlined in Table 1.

The concentration of antibody in saliva was found at much lower levels compared to plasma[96]. This has limited its use as diagnostic specimen for viral immunological assays. However, research demonstrated that salivary antibody has two sources, the parotid and crevicular crevice, with different concentration levels of immunoglobulin’s [96]. The transudate that comes from the gingival crevice, whilst being lower in concentration, closely reflects the immunoglobulin class and specificities of antibody found in plasma[92,97]. The major reason for this is that the majority of the antibody present in the transudate comes from the small capillary bed beneath the margin that separates the teeth and gum. These properties of crevicular fluid lead investigators for measurements of virological markers of immune activation as an alternative to serum.

The other problem associated to the use of saliva as a viral diagnostic fluid is the need of immunological assays that have higher sensitivity. The development of antibody capture assays, 125I labeled (RIA) or ELISA, that are able to generate higher signals by capturing a higher proportion of the total immunoglobulin (present in the oral fluid) specific for the antigen under test, enabled saliva to be used for successful immunological assays[98,99]. Presently the production of purified nucleoprotein through Baculovirus expression[100] increases the utility of saliva in diagnostic enzyme immunoassays.

The value of OF in screening for HIV infection is now well established with the use of IgG captures radioimmunoassay[101,102]. The methodology has been applied to OF diagnosis of measles, mumps, rubella, Epstein-Barr virus and hepatitis A and B infection[77,101-105]. Veterinarians found it useful for detecting feline immunodeficiency virus (FIV)[106], and feline leukemia virus[107]. HCV antibodies can be able detected from oral fluid[108]. Its potential application in bacteria was demonstrated with the measurement of specific IgA antibody to Bordetella pertussis antigens in saliva for diagnosis of whooping cough[109]. Other possibilities were seen in the diagnosis of cysticercoids by measuring specific salivary antibody to Taenia solium larvae[47]. Measuring of specific IgA antibodies to gliadin is used as a screening marker for coeliac disease[111]. Methods that can detect microbial antibodies in oral fluid such as Helicobacter pylori antibodies have been developed[112]. The potential to use oral fluid as Porcine Reproductive and Respiratory Syndrome virus (PRRSV) in swine, cardiac diagnostics, oral cancer, systemic diseases, water-borne diseases, alcohol and drug testing specimen has been the subject of considerable scientific interest[113-119]. Generally OF as diagnostic fluid has the following advantages: (1) humanitarian- the patients are spared the discomfort of repeated venipunctures; (2) clinical- with less stress, non-risk of anemia, infection or thrombosis; (3) for children- saliva sampling is the technique of choice; (4) economic- patients can collect themselves, thereby saving technicians’ time, samples may also be mailed, eliminating travel time; and (5) Eliminates the issue of protection of privacy and adulteration during sample collection; the ease and low cost of collection are major benefits in large-scale studies.

STUDIES PERFORMED ON MEASLES ORAL-FLUID BASED TEST METHODS

The works so far done can be specifically summarized as follows: (1) The development of a GACELISA for the detection of measles specific IgG in oral-fluid, with performance (sensitivity and specificity) that makes it suitable for replacement of serum assays, particularly for estimating population immunity[77]. By comparison with the serum measles IgG assay, the oral fluid GACELISA had a sensitivity of 97.4% (95%CI: 95.9, 98.2) and a specificity of 90.0% (81.9, 94.3), with no significant differences observed by age group. It is concluded that the overall performance of the GACELISA was satisfactory, showing close agreement to the serum ELISA, and has potential to serve as an easily transferable tool for large scale epidemiological studies as required for the World Health Organization’s program for the global control of measles; (2) The development of a MACELISA for the detection of measles specific IgM in oral-fluid, suitable in performance to replace serum assays[68]; Screening of sera was undertaken using commercial indirect ELISA kits, and of oral fluids using an in-house IgM-capture ELISA. Pre-vaccination serology showed 1.4% IgM positive, 2.0% IgG positive, and 97.0% sero negative; Post-vaccination seroprevalence of IgM and IgG was 91.3% and 85.0%, respectively, and 92.9% overall.  The seroconversion rate was 92.6% (95%CI 88.2-95.7); Based on oral fluid results, 87.3% (95%CI: 82.0-91.4) of children showed specific IgM antibody conversion.  These results are in support of the recommended age for measles vaccination in Addis Ababa, and show the merit of oral-fluid IgM screening as a non-invasive alternative to blood for assessing vaccine immunogenicity; (3) Demonstration of the use of these assays in the estimation of measles antibody (immunity) prevalence in the vaccine-targeted population and in monitoring the outcome of a measles vaccination program (routine and campaign) in a developing country setting[68,97-99]; (4) Demonstrate the utility of oral fluid to study the molecular epidemiology of measles virus in both developed and developing country situations in a period of accelerated measles control[81,82,110]; (5) Oral fluid for the serological and molecular diagnosis of measles in a developed country setting[110,120]. These studies demonstrate the use of oral fluid samples for the detection of measles virus in the United Kingdom and the Belgian measles surveillance system and other studies in the framework of the WHO elimination program; (6) Technical refinements of sample collection and laboratory screening of oral fluid, and, importantly, comparisons with existing methods based on serum prior to wider adoption of non-invasive methods. This work includes the evaluation OF relative to serum and DBS for the detection of measles specific IgM in suspected measles cases in relation to assay type and sample timing post onset of rash.  Works done to assess the performance (sensitivity and specificity) of a commercial IgG antibody capture method for oral fluid in relation to currently used assays for serum/blood spots is in preparation for publication (Dr. Nigatu W personal communication); (7) The studies emphasize the potential and suitability of oral-fluid to substitute serum in estimating and monitoring measles IgG antibodies, during community surveys[119-121,137]; (8) Applicability of oral fluid collected onto filter paper for detection and genetic characterization of measles virus strains[120,122]. The former study showed molecular nested RT-PCR using oral fluid was validated against the standard assay on nasopharyngeal secretions and gave a sensitivity of 100% and specificity of 100%.The latter study demonstrate that oral fluid dried onto filter paper can be used for the detection and characterization of MV strains. Using this approach, an MV-positive sample by reverse transcriptase PCR could be obtained from 67% of serologically confirmed acute measles cases. (9) Determination of measles immunization status using oral-fluid samples [123]. The presence of antibodies in oral fluid specimens correlated with that in serum with sensitivity and specificity: measles, 97% and 100%, respectively. This study assessed protective antibodies to measles by means of an oral fluid sample with good reliability. and (10) Evaluation of the performance of a newly developed point-of-care test (POCT) for the detection of measles-specific IgM antibodies in serum and oral fluid specimens and to assess if measles virus nucleic acid could be recovered from used POCT strips[124]. With oral fluids POCT showed sensitivity and specificity of 90.0% (63/70) and 96.2% (200/208), respectively. Both H and N genes were reliably detected in POCT strips and the N genes could be sequenced for genotyping. Measles virus genes could be recovered from POCT strips after storage for 5 wk at 20-25 °C. The POCT has the sensitivity and specificity required of a field-based test for measles diagnosis. However, its role in global measles control programs requires further evaluation.

PRESENT AND FUTURE APPLICATIONS OF MEASLES ORAL-FLUID METHODS

Present applications

Community surveys of measles specific IgG/IgM are useful to guide the design of measles control programs. For example these help in (1) defining levels of immunity to measles pre- and post-vaccination efforts, i.e., assessing the effectiveness of the vaccination program; (2) identifying age groups in which a significant susceptible proportion remain; and (3) assessing sero-conversion rates following vaccination. Analysis of the genetic characteristics of wild-type measles helps to elucidate the origin and transmission pathways of measles virus [125]. The genetic data when analyzed with other epidemiological data provides a means to assess the efficacy of measles control programs. For such molecular studies measles RNA can be detected by RT-PCR from isolates, oral fluid, blood, throat-swabs, urine collected from acute cases. There have been no systematic studies made to evaluate the relative sensitivity of these different samples. The primary role of this review is in the demonstration of the use of oral fluid as a clinical specimen for detecting IgG/IgM antibody for evaluating measles control strategies and the virus genome for molecular epidemiological studies.

Future technical development

The low concentration of IgG/IgM antibodies in oral fluid relative to other diagnostic specimens such as plasma[96] demanded the development of an enhanced immuno assays and of diagnostic techniques based on nucleic acid amplification.

Promotion of the use of oral fluid as viral diagnostic fluid requires that immunological assays have higher sensitivity. The development of antibody capture assays, either 125I labeled (RIA) or ELISA, that are able to generate higher signals by capturing the proportion of specific to the total immunoglobulin (present in the oral fluid), enabled oral fluid to be used for successful immunological assays[98-100]. The RIA have associated problems in disposing of radioactive waste from aspect of health may decrease its acceptability. Capture ELISA is better for wide-scale use in many laboratories. A study also showed that the capture ELISA with saliva was more sensitive than the radioimmunoassay for specific rubella IgG[103]. Hence sensitivity enhancement is required to make best advantage of ELISA. This review shows that FITC/anti-FITC enhanced capture ELISA that can be used for population and vaccine surveys [68,77].

The production of measles antigen for measles diagnosis, such as the one we used for GAC- and MAC-ELISA, benefited from tissue culture. However, production of purified measles antigens in tissue culture can be difficult. The capture format has been revolutionized by the raising of purified antigen and monoclonal antibodies for use in oral-fluid measles diagnostics. Cloning and expression of measles genes provides a relatively straightforward alternative approach[100,126], simplifying purification and enabling large-scale production for improvement in measles oral-fluid diagnostic assays.

Kits based on the use of recombinant antigens such as the Light Diagnostic kit (Chemicon Temecula, CA, United States) benefited from the cloning and expression approach. More recently IgG and IgM kits specific to measles have been developed based on such an alternative approach by Microimmune Ltd (Brentford, Middlesex, United Kingdom) for both oral-fluid and serum samples. However, there are problems associated with the use of recombinant antigens associated with the production of ‘incorrectly’ processed antigens by most expression systems[100,126] and the problem of using a single cloned antigen to detect a measles antigen that may vary between isolates. This may be resolved by cloning and expressing the most conserved region of the measles gene identified from sequence data of different isolates. Notwithstanding this problem measles antibody assays that are increasingly based on the use of cloned proteins will continue to play a prominent role in oral-fluid diagnostic development. Such immuno-assays may be useful in the future when they become better suited to use with automated systems that are capable of handling all stages of testing from specimen preparation to issuing of diagnostic results.

Microimmune assays are observed to be easy to use, but have not yet been evaluated under a wide range of conditions such as in highly vaccinated populations. The procedure and principle of the OF Microimmune EIA methodology is described in Figure 2.

Studies of rubella revealed problems of sensitivity in enhanced GACELISA in older age groups. This appears to be due to decay in the level of specific antibody in serum and in oral fluid[99,103,127]. Age-related variation in sensitivity was not seen as a big problem in measles assays[77,99]. However, low-level measles antibodies resulting from vaccine-induced immunity is a feature of many communities, particularly those with high-level routine immunizations coverage. Future work is required to evaluate the performance of newly developed kit assays in such settings.

Assays of measles nucleic acid are fundamentally different from those of measles antibodies, since they detect a component of the measles virus itself, rather than serological evidence of its past presence. Among the several techniques used to detect viral nucleic acids the Polymerase Chain Reaction (PCR) is the one widely used for detection of measles nucleic acid[128-130]. In contrast to direct hybridisation, whose application is restricted to where high concentration of the virus is present, PCR amplifies the probe signal by means of a sequential series of secondary, tertiary, etc. stages. The signal amplification thus increases the sensitivity of detection to a range where it can detect viruses at low concentration in various specimens[130]. PCR is suitable for the detection of the low concentration of measles virus present in oral fluid. Actually oral fluid is better for nucleic acid extraction than serum or blood because of the absence of PCR inhibitors, such as haem or porphyrin, in the oral fluid[130]. In addition, oral fluid specimens do not need pre-treatment for nucleic acid extraction.  In future developments of measles oral-fluid diagnosis based on the nucleic acid amplification systems are likely to play an increasing part. The new tool developed by Roche Molecular Biochemicals, MagNA Pure LC DNA isolation kit, for the isolation of nucleic acid from various types of specimen including oral fluid, is a breakthrough that has shortened the tedious manual RNA extraction process in measles nucleic acid detection. This is now practiced in many laboratories of industrialized countries but may be restricted to laboratories that have specialised requirements and too costly for most developing countries. Recently Health Protection Agency (HPA) has developed point-of-care test (POCT) for the detection of measles-specific IgM antibodies in serum and oral fluid specimens and to assess if measles virus nucleic acid could be recovered from used POCT strips [124]. Further evaluation of this test method under different scenario will refine the technique for wider future application.

IgG can be measured in terms of its functional binding avidity. The binding strength between the IgG and the virus antigen is supposed to be low in primary infection and changes to high in past infection. This avidity can be measured by disrupting the interaction using protein denaturants such as urea or diethylamine[131]. Diagnosis of primary infection by IgG avidity assay using serum samples has got relevance for the diagnosis of viral infection such as rubella[132-133]. The detection of antibody with low or high avidity enables a more accurate diagnosis in differentiating primary infection from past infection.

IgG avidity is useful when the IgM assay result is indeterminate. It may also help in distinguishing primary and secondary (”boosting”) response to measles vaccine. Future development of IgG avidity in oral-fluid measured by GACELISA may allow specific, sensitive and accurate diagnosis of primary infection. Our study[68] show the problem of MACELISA in detecting IgM in oral-fluid samples collected at early onset of measles rash. The future development of IgG avidity that can determine IgM in early-collected oral fluid samples makes MACELISA better use.

Another interesting area to look at in the future is the differentiation between antibodies resulting from vaccine strain and wild type measles virus. This assists in defining vaccine uptake and estimating continued measles transmission. It may be difficult to explain the technical development at this stage. However, it is an area for future research.

Evaluation of a new diagnostic test has the potential sources of bias introduced by the study design. The test’s discriminatory ability, sensitivity, and specificity depend upon the composition of the study population. The study design we used for evaluation of the present measles oral- fluid diagnostic assays[68,77] is an area that can be followed in the future for other viral diagnostic test evaluation.

Future wider applications of oral-fluid methods

The application of oral-fluid methods to population surveys, vaccine surveys, diagnosis of clinical cases, and case surveillance for different vaccine uptake settings of a country/district are illustrated in Table 2. The following is a description of some of the applications of oral-fluid methods.

Population surveys: Measles antibody population surveys can used to define the proportions of susceptible and immune in the population. Population immunity may result from natural measles infection or/and measles routine and campaign vaccination. Current methods cannot distinguish between the two whether the immunity is induced by wild or vaccine virus. Population immunity surveys can identify in which age groups large pockets of susceptibles remain in unvaccinated populations, in a population with routine immunization, and before and after a vaccine campaign. This would provide valuable information on the age groups to target for vaccination and effectiveness of the routine or campaign vaccination, and clues to where future outbreaks might arise. Similarly, through such surveys hard-to-reach groups in rural/urban under different geographical settings can be reached.

Population surveys may be appropriate at all stages of vaccination programmes, in country/settings of vaccine uptake for low to high, with or without campaigns/accelerated measures. Predominantly, such surveys could assess specific antibody status. However, post-campaigns there might be a role for IgM testing in community survey to establish what proportion of the population actually responded to vaccine. Based on surveys cluster sampling techniques, as for EPI vaccine cluster sampling, and using of the-shelf EIA kits, the surveys would be rapid and simple to effect.

Vaccine surveys: Vaccine surveys assess the level of population immunity attending vaccine clinic to a measles routine vaccination. It can identify the responses to routine vaccine in pre- and post-vaccinated children. The widespread use of serological determinants of vaccine responsiveness is limited by the need to carry out follow up of vaccinees at 2 (IgM) and < 4 (IgG) weeks after vaccination. OF sampling will not improve greatly up on this situation, except that compliance for second samples is likely to be greater than if blood samples are required. However, the future development of oral-fluid IgG avidity measurement cannot be ruled out that may improve this situation.

Diagnosis: Measurement of measles antibody present in oral-fluid samples provides information on the status of current and past infection by use of tests for IgG and IgM antibody. Laboratory diagnosis of suspected measles clinical cases can assist in (1) confirmation of the occurrence of measles clinical illness (2) capability of physicians to diagnose illness and (3) reporting of the infection to health department. The usefulness of oral fluid in this capacity is at present hindered by the relatively low sensitivity of IgM assays in samples taken early after onset of rash. A study showed the oral fluid measles IgM detection rate increased from 63%-67% at 2 d and 3%-100% at days 6 and 7[82]. Delay in collecting a sample may be impractical. Improved sensitivity of assays remains a need.

Case surveillance: The recognition and identification of measles outbreaks and sporadic cases using a system of reporting and oral-fluid sampling is established in the United Kingdom[20,76,134]. For measles epidemic investigation in Ethiopia, where infrastructure is poor and locations of the remote, oral-fluid sampling was found to be appropriate. Especially in the situations where community beliefs or attitudes like “measles sick should not get injection” are present, in which communities declined to give blood specimens, oral-fluid specimens are preferable. Provided reasonable storage conditions while in transit or awaiting transit to the laboratory are made, oral-fluid is a robust sample for IgG testing, IgM testing and viral genome detection (United Kingdom surveillance and in these studies in Ethiopia)[77,135]. However, further stability studies of OF at different temperature in field conditions are required in the future.

Another area of increasing importance is the application of sequence data obtained from oral-fluid nucleic acid amplification techniques. Genetic information is valuable, in combination with other traditional epidemiological data, to enhance the ability to determine measles transmission pathways and to assess the success of measles control strategies[79,125,136].

ACKNOWLEDGEMENTS

Part of the studies performed in the development and evaluations of measles oral-fluid methods done by the author was financially supported by the Wellcome Trust (Ref. No. 047413) and WHO (GPV, DVB Project Grant No.V21/181/133). Additional fund was acquired from the INITIATIVE FOR VACCINE RESEARCH (IVR)/ IMMUNIZATION, VACCINES AND BIOLOGICALS (IVB) for the period of study between 01/07/05 and 31/08/07. Supplementary support was also obtained from BASICS, United States, and the British Council, Addis Ababa. Many people and organizations contributed towards OF research in UK and Ethiopia. We would like to thank group of experts involved in United Kingdom for making this work possible. We would like also to thank organizations in Ethiopia such as MOH, WHO/EPI country office, Butajira Rural Health Project, Arsi Zone Health Department, Asela Health Centre, Asela Hospital and Arada, Woreda 25 and Akaki Health Centres in Addis Ababa for permission to use their facilities for this study. We are grateful to the children and their mother or guardians who agreed to participate in the study. We acknowledge all the other participants, survey teams and medical personnel for their support this work.

REFERENCES

1 http: //www.who.int/mediacentre/factsheets/fs286/en/. Accessed on 11/2/13.

2 WHO. WHO guidelines for epidemic preparedness and response to measles outbreaks. Geneva, 1999; WHO/CDS/CSR/ISR/99.1.

3 Bull World Health Organ. Measles immunity in the first year after birth and the optimum age for vaccination in Kenyan children. Collaborative study by the Ministry of Health of Kenya and the World Health Organization. Bull World Health Organ 1977; 55: 21-31 [PMID: 302153]

4 de Quadros CA, Olivé JM, Hersh BS, Strassburg MA, Henderson DA, Brandling-Bennett D, Alleyne GA. Measles elimination in the Americas. Evolving strategies. JAMA 1996; 275: 224-229 [PMID: 8604176]

5 Cutts FT, Henao-Restrepo A, Olivé JM. Measles elimination: progress and challenges. Vaccine 1999; 17 Suppl 3: S47-S52 [PMID: 10559534]

6 Christie AS, Gay A. The Measles Initiative: moving toward measles eradication. J Infect Dis 2011; 204 Suppl 1: S14-S17 [PMID: 21666155]

7 Centers for Disease Control and Prevention (CDC). Global measles mortality, 2000-2008. MMWR Morb Mortal Wkly Rep 2009; 58: 1321-1326 [PMID: 19959985]

8 WHO, UNICEF, World Bank. State of the world's vaccines and immunization. Geneva: World Health Organization, 2009.

9 Expanded Programme on Immunization. Accelerated measles strategies. Wkly Epidemiol Rec 1994, 69: 229-236

10 Progress in global measles control and mortality reduction, 2000-2007. Wkly Epidemiol Rec 2008; 83: 441-448 [PMID: 19058416]

11 WHO/Afro. Report of the annual African task force in Pretoria of 2000. EPI Newsletter.

12 Sniadack DH, Mendoza-Aldana J, Jee Y, Bayutas B, Lorenzo-Mariano KM. Progress and challenges for measles elimination by 2012 in the Western Pacific Region. J Infect Dis 2011; 204 Suppl 1: S439-S446 [PMID: 21666197]

13 Wolfson LJ, Strebel PM, Gacic-Dobo M, Hoekstra EJ, McFarland JM, Hersh BS. Has the 2005 measles mortality reduction goal been achieved? A natural history modelling study. The Lancet 2007; 369: 191-200 [DOI: 10.1016/S0140-6736(07)60107-X]

14 Kelly H, Riddell M, Heywood A, Lambert S. WHO criteria for measles elimination: a critique with reference to criteria for polio elimination. Euro Surveill 2009; 14 [PMID: 20070932]

15 Riddell MA, Kelly HA, Featherstone D, Rota P. Laboratory testing and confirmation of suspected measles infection crucial in countries that have eliminated measles. Ann Emerg Med 2009; 54: 639-40; author reply 640 [PMID: 19769897]

16 Hyde TB, Nandy R, Hickman CJ, Langidrik JR, Strebel PM, Papania MJ, Seward JF, Bellini WJ. Laboratory confirmation of measles in elimination settings: experience from the Republic of the Marshall Islands, 2003. Bull World Health Organ 2009; 87: 93-98 [PMID: 19274360]

17 Tischer A, Santibanez S, Siedler A, Heider A, Hengel H. Laboratory investigations are indispensable to monitor the progress of measles elimination--results of the German Measles Sentinel 1999-2003. J Clin Virol 2004; 31: 165-178 [PMID: 15465408]

18 The Lancet Infectious Diseases. Lancet Infect Dis 2011; 11: 489 [DOI: 10.1016/S1473-3099(11)70152-9]

19 Pan American Health Organization. Experts assessing measles eradication feasibility. http://new.paho.org/hq/index.php?option=com_content&task=view&id=3282&Itemid=1926. accessed 20/9/2011

20 Ramsay ME, Jin L, White J, Litton P, Cohen B, Brown D. The elimination of indigenous measles transmission in England and Wales. J Infect Dis 2003; 187 Suppl 1: S198-S207 [PMID: 12721914]

21 http://www.ncbi.nlm.nih.gov/pmc/articles/PMC172858/pdf/080260.pdf.accessed 16/9/2011

22 Grabowsky M, Strebel P, Gay A, Hoekstra E, Kezaala R. The Lancet, Measles elimination in southern Africa. The Lance 2002; 360: 716 [DOI: 10.1016/S0140-6736(02)09843-4]

23 Biellik R, Madema S, Taole A, Kutsulukuta A, Allies E, Eggers R, Ngcobo N, Nxumalo M, Shearley A, Mabuzane E, Kufa E, Okwo-Bele JM. First 5 years of measles elimination in southern Africa: 1996-2000. Lancet 2002; 359: 1564-1568 [DOI: 10.1016/S0140-6736(02)08517-3]

24 McMorrow ML, Gebremedhin G, van den Heever J, Kezaala R, Harris BN, Nandy R, Strebel P, Jack A, Cairns KL. Measles outbreak in South Africa, 2003-2005. S Afr Med J 2009; 99: 314-319 [PMID: 19588791]

25 Albertyn C, van der Plas H, Hardie D, Candy S, Tomoka T, Leepan EB, Heckmann JM. Silent casualties from the measles outbreak in South Africa. S Afr Med J 2011; 101: 313-34, 313-334 [PMID: 21837871]

26 http://www.who.int/immunization/sage/IVB_Strat_Plan_2010-15_SAGE_YB_version.pdf. accessed 16/9/2011

27 Steffens I, Martin R, Lopalco P. Spotlight on measles 2010: measles elimination in Europe-a new commitment to meet the goal by 2015. Euro Surveill 2010; 15: 19749 [PMID: 21172176]

28 Naouri B, Ahmed H, Bekhit R, Teleb N, Mohsni E, Alexander JP. Progress toward measles elimination in the Eastern Mediterranean Region. J Infect Dis 2011; 204 Suppl 1: S289-S298 [PMID: 21666176]

29 Ma C, An Z, Hao L, Cairns KL, Zhang Y, Ma J, Cao L, Wen N, Xu W, Liang X, Yang W, Luo H. Progress toward measles elimination in the People's Republic of China, 2000-2009. J Infect Dis 2011; 204 Suppl 1: S447-S454 [PMID: 21666198]

30 Onishchenko G, Ezhlova E, Gerasimova A, Tsvirkun O, Shulga S, Lipskaya G, Mamayeva T, Aleshkin V, Tikhonova N. Progress toward measles elimination in the Russian Federation, 2003-2009. J Infect Dis 2011; 204 Suppl 1: S366-S372 [PMID: 21666186]

31http://www.who.int/mediacentre/news/releases/2009/measles_mdg_20091203/en/index.html. accessed 16/9/2011

32 http: //www.who.int/csr/don/2011_04_21/en/ accessed 16/9/2011

33 Filia A, Tavilla A, Bella A, Magurano F, Ansaldi F, Chironna M, Nicoletti L, Palù G, Iannazzo S, Declich S, Rota MC. Measles in Italy, July 2009 to September 2010. Euro Surveill 2011; 16: 19925 [PMID: 21801692]

34 Freymuth F, Vabret A. Measles, a re-emerging disease in France? Clin Microbiol Infect 2011; 17: 793 [PMID: 21682798 DOI: 10.1111/j.1469-0691.2011.03458.x]

35 Outbreak news. Measles outbreaks in Europe. Wkly Epidemiol Rec 2011; 86: 173-174 [PMID: 21608198]

36 López Hernández B, Laguna Sorinas J, Marín Rodríguez I, Gallardo García V, Pérez Morilla E, Mayoral Cortés JM. Spotlight on measles 2010: An ongoing outbreak of measles in an unvaccinated population in Granada,Spain, October to November 2010: an ongoing outbreak of measles in an unvaccinated population in Granada, Spain, October to November 2010. Euro Surveill 2010; 15:19746 [PMID: 21172172]

37 Smithson R, Irvine N, Hutton C, Doherty L, Watt A. Spotlight on measles 2010: ongoing measles outbreak in Northern Ireland following an imported case, September-October 2010. Euro Surveill 2010; 15 [PMID: 21087582]

38 Vainio K, Rønning K, Steen TW, Arnesen TM, Anestad G, Dudman S. Ongoing outbreak of measles in Oslo, Norway, January-February 2011. Euro Surveill 2011; 16: 19804 [PMID: 21371412]

39 Mayet A, Verret C, Haus-Cheymol R, Duron S, De Laval F, Sbai-Idrissi K, Imbert P, Janville M, Munoz P, Armand-Tolvy M, Thauvin X, Decam C, Meynard JB, Deparis X, Migliani R. Resurgence of measles in the French military forces in 2010. Eur J Clin Microbiol Infect Dis 2011; 30: 1023-1026 [PMID: 21311937]

40 Pervanidou D, Horefti E, Patrinos S, Lytras T, Triantafillou E, Mentis A, Bonovas S, Panagiotopoulos T. Spotlight on measles 2010: ongoing measles outbreak in Greece, January-July 2010. Euro Surveill 2010; 15: 19629 [PMID: 20684816]

41 Roggendorf H, Mankertz A, Kundt R, Roggendorf M. Spotlight on measles 2010: measles outbreak in a mainly unvaccinated community in Essen, Germany, March-June 2010. Euro Surveill 2010; 15: 19605 [PMID: 20619132]

42 Hinman E.H. World Eradication of Infectious Diseases. Springfield, Illinois: Thomas, 1966.

43 Spink WW. Infectious Diseases: Prevention and Treatment in the Nineteenth and Twentieth Centuries. Folkestone: Dawson, 1978

44 Nokes DJ, Swinton J. Vaccination in pulses: a strategy for global eradication of measles and polio? Trends Microbiol 1997; 5: 14-19 [PMID: 9025230]

45 WHO-UNICEF. Geneva: 2001. Measles mortality reduction and regional elimination strategic plan 2001-2005. WHO/V&B/01.13 Rev 1

46 Curtin PD. Medical knowledge and urban planning in tropical Africa. Am Hist Rev 1985; 90: 594-613 [PMID: 11611709]

47 Feldman M, Plancarte A, Sandoval M, Wilson M, Flisser A. Comparison of two assays (EIA and EITB) and two samples (saliva and serum) for the diagnosis of neurocysticercosis. Trans R Soc Trop Med Hyg 1990; 84: 559-562 [PMID: 2091351]

48 Hull HF, Williams PJ, Oldfield F. Measles mortality and vaccine efficacy in rural West Africa. Lancet 1983; 1: 972-975 [PMID: 6132278]

49 Strebel PM. Measles. Bull World Health Organ 1998; 76 Suppl 2: 154-155 [PMID: 10063702]

50 de Quadros CA, Hersh BS, Nogueira AC, Carrasco PA, da Silveira CM. Measles eradication: experience in the Americas. Bull World Health Organ 1998; 76 Suppl 2: 47-52 [PMID: 10063674]

51 Bellini WJ, Rota PA. Genetic diversity of wild-type measles viruses: implications for global measles elimination programs. Emerg Infect Dis 1998; 4: 29-35 [PMID: 9452396]

52 Schaaf CP, Scott DA, Wiszniewska J, Beaudet AL. The Lancet 2011; 377: 812 [DOI: 10.1016/S0140-6736(11)60299]

53 Kathryn Senior. Vaccine investments raise millions to save children's lives. The Lancet Infectious Diseases 2009; 9: 214 [DOI: 10.1016/S1473-3099(09)70099-4]

54 Levin A, Burgess C, Garrison LP, Bauch C, Babigumira J, Simons E, Dabbagh A. Global eradication of measles: an epidemiologic and economic evaluation. J Infect Dis 2011; 204 Suppl 1: S98-106 [PMID: 21666220]

55 Daisy Higginson, Evropi Theodoratou, Harish Nair, Tanvir Huda, Lina Zgaga, Suresh S Jadhav, Saad B Omer, Igor Rudan, Harry Campbell. An evaluation of respiratory administration of measles vaccine for prevention of acute lower respiratory infections in children. BMC Public Health 2011; 11 Suppl 3: S31 [DOI: 10.1186/1471-2458-11-S3-S31]

56 Omer SB, Hiremath GS, Halsey NA Respiratory administration of measles vaccine. The Lancet 2010; 375: 706-708[DOI: 10.1016/S0140-6736(09)62028-6]

57 Hiremath GS, Omer SB. A meta-analysis of studies comparing the respiratory route with the subcutaneous route of measles vaccine administration. Hum Vaccin 2005; 1: 30-36 [PMID: 17038828]

58 Sabin AB, Flores Arechiga A, Fernández de Castro J, Sever JL, Madden DL, Shekarchi I, Albrecht P. Successful immunization of children with and without maternal antibody by aerosolized measles vaccine. I. Different results with undiluted human diploid cell and chick embryo fibroblast vaccines. JAMA 1983; 249: 2651-2662 [PMID: 6341638]

59 Featherstone DA, Rota PA, Icenogle J, Mulders MN, Jee Y, Ahmed H, de Filippis AM, Ramamurty N, Gavrilin E, Byabamazima C, Dosseh A, Xu W, Komase K, Tashiro M, Brown D, Bellini WJ, Strebel P. Expansion of the global measles and rubella laboratory network 2005-09. J Infect Dis 2011; 204 Suppl 1: S491-S498 [PMID: 21666205]

60  Cutts FT. The immunological basis for immunization. WHO/EPI/GEN/93.17, 1993

61 Wesley A, Coovadia HM, Henderson L. Immunological recovery after measles. Clin Exp Immunol 1978; 32: 540-544 [PMID: 688697]

62 McLean AR, Anderson RM. Measles in developing countries. Part II. The predicted impact of mass vaccination. Epidemiol Infect 1988; 100: 419-442 [PMID: 3378585]

63 McLean AR, Nokes DJ, Anderson RM. Model-based comparisons of measles immunization strategies using high dose Edmonston-Zagreb type vaccines. Int J Epidemiol 1991; 20: 1107-1117 [PMID: 1800411]

64 Williams BG, Cutts FT, Dye C. Measles vaccination policy. Epidemiol Infect 1995; 115: 603-621 [PMID: 8557092]

65 Marks JS, Halpin TJ, Orenstein WA. Measles vaccine efficacy in children previously vaccinated at 12 months of age. Pediatrics 1978; 62: 955-960 [PMID: 733423]

66 Lee YL, Black FL, Chen CL, Wu CL, Berman LL. The optimal age for vaccination against measles in an Asiatic city, Taipei, Taiwan: reduction of vaccine induced titre by residual transplacental antibody. Int J Epidemiol 1983; 12: 340-343 [PMID: 6629623]

67 Black FL, Berman LL, Borgoño JM, Capper RA, Carvalho AA, Collins C, Glover O, Hijazi Z, Jacobson DL, Lee YL. Geographic variation in infant loss of maternal measles antibody and in prevalence of rubella antibody. Am J Epidemiol 1986; 124: 442-452 [PMID: 3740044]

68 Nigatu W, Nokes DJ, Cohen BJ, Brown DWG, Vyse AJ. Pre- and post-vaccine measles antibody status in infants using serum and oral-fluid testing: an evaluation of routine immunization in Addis Ababa, Ethiopia and Ethiop. J Health Dev 2003; 17: 149-155

69 Expanded programme on immunization. Measles immunization. Wkly Epidemiol Rec 1979; 54: 337-339

70 Black FL, Berman LL, Libel M, Reichelt CA, Pinheiro FD, Travassos da Rosa A, Figueira F, Siqueira Gonzales E. Inadequate immunity to measles in children vaccinated at an early age: effect of revaccination. Bull World Health Organ 1984; 62: 315-319 [PMID: 6610499]

71 Ndikuyeze A, Munoz A, Stewart J, Modlin J, Heymann D, Herrmann KL, Polk BF. Immunogenicity and safety of measles vaccine in ill African children. Int J Epidemiol 1988; 17: 448-455 [PMID: 3042653]

72 Garly ML, Martins CL, Balé C, da Costa F, Dias F, Whittle H, Aaby P. Early two-dose measles vaccination schedule in Guinea-Bissau: good protection and coverage in infancy. Int J Epidemiol 1999; 28: 347-352 [PMID: 10342702]

73 Rosenthal SR, Clements CJ. Two-dose measles vaccination schedules. Bull World Health Organ 1993; 71: 421-428 [PMID: 8324862]

74 Bellini WJ, Helfand RF. The challenges and strategies for laboratory diagnosis of measles in an international setting. J Infect Dis 2003; 187 Suppl 1: 283-290 [PMID: 12721927]

75 Arista S, Ferraro D, Cascio A, Vizzi E, di Stefano R. Detection of IgM antibodies specific for measles virus by capture and indirect enzyme immunoassays. Res Virol 1995; 146: 225-232 [PMID: 7481095]

76 Perry KR, Brown DW, Parry JV, Panday S, Pipkin C, Richards A. Detection of measles, mumps, and rubella antibodies in saliva using antibody capture radioimmunoassay. J Med Virol 1993; 40: 235-240 [PMID: 8355022]

77 Nigatu W, Nokes DJ, Enquselassie F, Brown DW, Cohen BJ, Vyse AJ, Cutts FT. Detection of measles specific IgG in oral fluid using an FITC/anti-FITC IgG capture enzyme linked immunosorbent assay (GACELISA). J Virol Methods 1999; 83: 135-144 [PMID: 10598091]

78 Rota PA, Featherstone DA, Bellini WJ. Molecular epidemiology of measles virus. Curr Top Microbiol Immunol 2009; 330: 129-150 [PMID: 19203108]

79 Rota PA, Brown K, Mankertz A, Santibanez S, Shulga S, Muller CP, Hübschen JM, Siqueira M, Beirnes J, Ahmed H, Triki H, Al-Busaidy S, Dosseh A, Byabamazima C, Smit S, Akoua-Koffi C, Bwogi J, Bukenya H, Wairagkar N, Ramamurty N, Incomserb P, Pattamadilok S, Jee Y, Lim W, Xu W, Komase K, Takeda M, Tran T, Castillo-Solorzano C, Chenoweth P, Brown D, Mulders MN, Bellini WJ, Featherstone D. Global distribution of measles genotypes and measles molecular epidemiology. J Infect Dis 2011; 204 Suppl 1: S514-S523 [PMID: 21666208]

80 Nomenclature for describing the genetic characteristics of wild-type measles viruses (update). Wkly Epidemiol Rec 2001; 76: 249-251 [PMID: 11561558]

81 Nigatu W, Nokes DJ, Afework A, Brown DW, Cutts FT, Jin L. Serological and molecular epidemiology of measles virus outbreaks reported in Ethiopia during 2000-2004. J Med Virol 2006; 78: 1648-1655 [PMID: 17063528]

82 Nigatu W, Jin L, Cohen BJ, Nokes DJ, Etana M, Cutts FT, Brown DW. Measles virus strains circulating in Ethiopia in 1998-1999: molecular characterisation using oral fluid samples and identification of a new genotype. J Med Virol 2001; 65: 373-380 [PMID: 11536247]

83 Mercader S, Featherstone D, Bellini WJ. Comparison of available methods to elute serum from dried blood spot samples for measles serology. J Virol Methods 2006; 137: 140-149 [PMID: 16860401]

84 Uzicanin A, Lubega I, Nanuynja M, Mercader S, Rota P, Bellini W, Helfand R. Dried blood spots on filter paper as an alternative specimen for measles diagnostics: detection of measles immunoglobulin M antibody by a commercial enzyme immunoassay. J Infect Dis 2011; 204 Suppl 1: S564-S569 [PMID: 21666214]

85 El Mubarak HS, Yüksel S, Mustafa OM, Ibrahim SA, Osterhaus AD, de Swart RL. Surveillance of measles in the Sudan using filter paper blood samples. J Med Virol 2004; 73: 624-630 [PMID: 15221910]

86 De Swart RL, Nur Y, Abdallah A, Kruining H, El Mubarak HS, Ibrahim SA, Van Den Hoogen B, Groen J, Osterhaus AD. Combination of reverse transcriptase PCR analysis and immunoglobulin M detection on filter paper blood samples allows diagnostic and epidemiological studies of measles. J Clin Microbiol 2001; 39: 270-273 [PMID: 11136782]

87 Asbury J. Letter: Sedation for local analgesia. Anaesthesia 1975; 30: 831-832 [PMID: 1211601]

88 Measles and rubella laboratory network: 2007 meeting on use of alternative sampling techniques for surveillance. Wkly Epidemiol Rec 2008; 83: 229-232 [PMID: 18572479]

89 WHO. Proceedings of the Twenty-first World Health Assembly. Geneva, 1968

91 Parry JV, Perry KR, Mortimer PP. Sensitive assays for viral antibodies in saliva: an alternative to tests on serum. Lancet 1987; 2: 72-75 [PMID: 2885575]

92 Mortimer PP, Parry JV. Non-invasive virological diagnosis: are saliva and urine specimen adequate substitutes for blood? Reviews in Medical Virology 1991; 1: 73-78

93 Babad HR, Nokes DJ, Gay NJ, Miller E, Morgan-Capner P, Anderson RM. Predicting the impact of measles vaccination in England and Wales: model validation and analysis of policy options. Epidemiol Infect 1995; 114: 319-344 [PMID: 7705494]

94 Cox MJ, Azevedo RS, Massad E, Fooks AR, Nokes DJ. Measles antibody levels in a vaccinated population in Brazil. Trans R Soc Trop Med Hyg 1998; 92: 227-230 [PMID: 9764341]

95 Nigatu W, Samuel D, Cohen B, Cumberland P, Lemma E, Brown DW, Nokes J. Evaluation of a measles vaccine campaign in Ethiopia using oral-fluid antibody surveys. Vaccine 2008; 26: 4769-4774 [PMID: 18644417]

96 Mortimer PP, Parry JV. The use of saliva for viral diagnosis and screening. Epidemiol Infect 1988; 101: 197-201 [PMID: 3141201]

97 Nishanian P, Aziz N, Chung J, Detels R, Fahey JL. Oral fluids as an alternative to serum for measurement of markers of immune activation. Clin Diagn Lab Immunol 1998; 5: 507-512 [PMID: 9665958]

98 Duermeyer W, Wielaard F, van der Veen J. A new principle for the detection of specific IgM antibodies applied in an ELISA for hepatitis A. J Med Virol 1979; 4: 25-32 [PMID: 231096]

99 Flehmig B, Ranke M, Berthold H, Gerth HJ. A solid-phase radioimmunoassay for detection of IgM antibodies to hepatitis A virus. J Infect Dis 1979; 140: 169-175 [PMID: 225390]

100 Hummel KB, Erdman DD, Heath J, Bellini WJ. Baculovirus expression of the nucleoprotein gene of measles virus and utility of the recombinant protein in diagnostic enzyme immunoassays. J Clin Microbiol 1992; 30: 2874-2880 [PMID: 1452657]

101 Parry JV. Simple and reliable salivary tests for HIV and hepatitis A and B virus diagnosis and surveillance. Ann N Y Acad Sci 1993; 694: 216-233[PMID: 8215057]

102 Emmons W. Accuracy of Oral Specimen Testing for Human Immunodeficiency Virus. The American Journal of Medicine 1997; 102: 15-20 [DOI: 10.1016/S0002-9343(97)00033-8]

103 Vyse AJ, Brown DW, Cohen BJ, Samuel R, Nokes DJ. Detection of rubella virus-specific immunoglobulin G in saliva by an amplification-based enzyme-linked immunosorbent assay using monoclonal antibody to fluorescein isothiocyanate. J Clin Microbiol 1999; 37: 391-395 [PMID: 9889225]

104 Sheppard C, Cohen B, Andrews N, Surridge H. Development and evaluation of an antibody capture ELISA for detection of IgG to Epstein-Barr virus in oral fluid samples. Journal of Virological Methods 2001, 93: 157-166 [DOI: 10.1016/S0166-0934(01)00264-6]

105 Reid F, Hassan J, Irwin F, Waters A, Hall W, Connell J. Epidemiologic and diagnostic evaluation of a recent mumps outbreak using oral fluid samples. Journal of Clinical Virology 2007; 41: 134-137 [DOI: 10.1016/j.jcv.2007.10.009]

106 Poli A, Giannelli C, Pistello M, Zaccaro L, Pieracci D, Bendinelli M, Malvaldi G. Detection of salivary antibodies in cats infected with feline immunodeficiency virus. J Clin Microbiol 1992; 30: 2038-2041 [PMID: 1323574]

107 Lewis MG, Wright KA, Lafrado LJ, Shanker PJ, Palumbo NE, Lemoine ED, Olsen RG. Saliva as a source of feline leukemia virus antigen for diagnosis of disease. J Clin Microbiol 1987; 25: 1320-1322

108 De Cock L, Hutse V, Verhaegen E, Quoilin S, Vandenberghe H, Vranckx R. Detection of HCV antibodies in oral fluid. Journal of Virological Methods 2004; 122: 179-183 [DOI: 10.1016/j.jviromet.2004.09.001]

109 Granström G, Askelöf P, Granström M. Specific immunoglobulin A to Bordetella pertussis antigens in mucosal secretion for rapid diagnosis of whooping cough. J Clin Microbiol 1988; 26: 869-874 [PMID: 2898484]

110 Jin L, Brown DW, Ramsay ME, Rota PA, Bellini WJ. The diversity of measles virus in the United Kingdom, 1992-1995. J Gen Virol 1997; 78: 1287-1294 [PMID: 9191920]

111 Hakeem V, Fifield R, al-Bayaty HF, Aldred MJ, Walker DM, Williams J, Jenkins HR. Salivary IgA antigliadin antibody as a marker for coeliac disease. Arch Dis Child 1992; 67: 724-727 [PMID: 1626993]

112 McKie A, Vyse A, Christopher Maple. Novel methods for the detection of microbial antibodies in oral fluid. Lancet Infect Dis 2002; 2: 18-24 [DOI: 10.1016/S1473-3099(01)00169-4]

113 Gammie A, Morris R, Wyn-Jones AP. Antibodies in crevicular fluid: an epidemiological tool for investigation of waterborne disease Epidemiol. Epidemiol Infect 2002; 128: 245-249 [DOI: 10.1017/S095026880100663X]

114 Crouch DJ. Oral fluid collection: The neglected variable in oral fluid testing. Forensic Sci Int Genet 2005; 150: 165-173 [DOI: 10.1016/j.forsciint.2005.02.028]

115 Drummer OH. Drug testing in oral fluid. Clin Biochem Rev 2006; 27: 147-159 [PMID: 17268583]

116 Gjerde H, Christophersen AS, Moan IS, Yttredal B, Walsh JM, Normann PT, Mørland J. Use of alcohol and drugs by Norwegian employees: a pilot study using questionnaires and analysis of oral fluid. J Occup Med Toxicol 2010; 5: 13 [PMID: 20550667]

117 http: //tastechip.com/www/saliva/saliva_diagnostics.html. accessed on 08/11/2011.

118 Wong DT. Salivary diagnostics powered by nanotechnologies, proteomics and genomics. J Am Dent Assoc 2006; 137: 313-321 http: //jada.ada.org/content/137/3/313.full

119 http: //www.pig333.com > Swine abstracts accessed on 08/11/2011.

120 Hutse V, Van Hecke K, De Bruyn R, Samu O, Lernout T, Muyembe JJ, Brochier B. Oral fluid for the serological and molecular diagnosis of measles. Int J Infect Dis 2010; 14: e991-e997 [PMID: 20851015]

121 Goyal A, Shaikh NJ, Kinikar AA, Wairagkar NS. Oral fluid, a substitute for serum to monitor measles IgG antibody? Indian J Med Microbiol 2009; 27: 351-353 [PMID: 19736406]

122 Chibo D, Riddell MA, Catton MG, Birch CJ. Applicability of oral fluid collected onto filter paper for detection and genetic characterization of measles virus strains. J Clin Microbiol 2005; 43: 3145-3149 [PMID: 16000427]

123 Thieme T, Piacentini S, Davidson S, Steingart K. Determination of measles, mumps, and rubella immunization status using oral fluid samples. JAMA 1994; 272: 219-221 [PMID: 8022041]

124 Warrener L, Slibinskas R, Chua KB, Nigatu W, Brown KE, Sasnauskas K, Samuel D, Brown D. A point-of-care test for measles diagnosis: detection of measles-specific IgM antibodies and viral nucleic acid. Bull World Health Organ 2011; 89: 675-682 [PMID: 21897488]

125 Rota JS, Heath JL, Rota PA, King GE, Celma ML, Carabaña J, Fernandez-Muñoz R, Brown D, Jin L, Bellini WJ. Molecular epidemiology of measles virus: identification of pathways of transmission and implications for measles elimination. J Infect Dis 1996; 173: 32-37 [PMID: 8537679]

126 Bouche FB, Brons NH, Houard S, Schneider F, Muller CP. Evaluation of hemagglutinin protein-specific immunoglobulin M for diagnosis of measles by an enzyme-linked immunosorbent assay based on recombinant protein produced in a high-efficiency mammalian expression system. J Clin Microbiol 1998; 36: 3509-3513 [PMID: 9817863]

127 Nokes DJ, Nigatu W, Abebe A, Messele T, Dejene A, Enquselassie F, Vyse A, Brown D, Cutts FT. A comparison of oral fluid and serum for the detection of rubella-specific antibodies in a community study in Addis Ababa, Ethiopia. Trop Med Int Health 1998; 3: 258-267 [PMID: 9623926]

128 Shimizu H, McCarthy CA, Smaron MF, Burns JC. Polymerase chain reaction for detection of measles virus in clinical samples. J Clin Microbiol 1993; 31: 1034-1039 [PMID: 8501204]

129 Saito H, Nakagomi O, Morita M. Molecular identification of two distinct hemagglutinin types of measles virus by polymerase chain reaction and restriction fragment length polymorphism (PCR-RFLP). Mol Cell Probes 1995; 9: 1-8 [PMID: 7760855]

130 Jin L, Richards A, Brown DW. Development of a dual target-PCR for detection and characterization of measles virus in clinical specimens. Mol Cell Probes 1996; 10: 191-200 [PMID: 8799373]

131 Thomas HI, Morgan-Capner P, Cradock-Watson JE, Enders G, Best JM, O'Shea S. Slow maturation of IgG1 avidity and persistence of specific IgM in congenital rubella: implications for diagnosis and immunopathology. J Med Virol 1993; 41: 196-200 [PMID: 8263500]

132 Thomas HI, Morgan-Capner P. Rubella-specific IgG subclass avidity ELISA and its role in the differentiation between primary rubella and rubella reinfection. Epidemiol Infect 1988; 101: 591-598 [PMID: 3215288]

133 Hedman K, Seppälä I. Recent rubella virus infection indicated by a low avidity of specific IgG. J Clin Immunol 1988; 8: 214-221 [PMID: 3292566]

134 Brown DW, Ramsay ME, Richards AF, Miller E. Salivary diagnosis of measles: a study of notified cases in the United Kingdom, 1991-3. BMJ 1994; 308: 1015-1017 [PMID: 8167513]

135 Morris M, Cohen B, Andrews N, Brown D. Stability of total and rubella-specific IgG in oral fluid samples: the effect of time and temperature. J Immunol Methods 2002; 266: 111-116 [PMID: 12133627]

136 WHO. Nomenclature for describing the genetic characteristics of wild-type measles viruses (update). Wkly Epidemiol Rec 2001; 76: 242-251

137 Hayford KT, Al-Emran HM, Moss WJ, Shomik MS, Bishai D, Levine OS.Validation of an anti-measles virus-specific IgG assay with oral fluid samples for immunization surveillance in Bangladesh. J Virol Methods 2013; 193: 512-518 [PMID: 23872267]

P-Reviewer Zarkovic N S-Editor Qi Y   L-Editor   E-Editor

Figure 1 Phases for measles control/eradication programmes.

Figure 2 Principle of the‘Microimmune’ measles IgM or IgG Capture EIA methodology. IgG: Immunoglobulin G; IgM: Immunoglobulin G.

Table 1 Samples for laboratory diagnosis of measles virus infections1

| Virus disease | Samples for virus isolation for detection of antigen | Samples for serology | Remarks |
| --- | --- | --- | --- |
| Acute measles | Blood (leukocytes), throat secretions (saliva/oral-fluid), conjunctival secretions, urine; skin biopsies | Acute and convalescent serum | Period of infectivity; prodromal stage until 1-2 d after rash; antibody rises occur at appearance of rash; in tropical measles, possibly prolonged virus excretion also in stools |
| Measles pneumonia | Blood (leukocytes), throat secretions, conjunctival secretions, urine | Acute and convalescent serum | Frequently no rash; prolonged period of infectivity |
| Acute measles encephalitis | Brain specimen (biopsy or autopsy specimen), cells in CSF | Serum and CSF | In most cases, no infectious virus is detectable; occasional local production of antibodies in the CNS |
| SSPE | Brain specimen (biopsy or autopsy specimen), cells in CSF, lymph node biopsy (?) | Serum and CSF | Virus antigen detected in CSF cell; virus isolation requires propagation of explants cultures and cocultivation with susceptible cells; hyper-immune antibody response; local production of antibodies in the CNS |

1Source: Modified from Norrby E and Oxman MN. Measles Virus. Virology 1990, New York: Raven Press, Ltd. 1990, 1033, Table 5.

## Table 2Application of oral-fluid methods under different countries settings

| Applications of oral-fluid methods | Setting for country/district |
| --- | --- |
|  | Low /Med uptake routine | High uptake routine | Campaign |
| Population survey | Methods: community surveys of IgG across wide age range. Including hard-to-reach groups, informal settlements. Purpose: immunity profiles. Identifies susceptibility gaps and age range for campaigns. Implications: increase in coverage, need for and age range for campaigns | As previous | As previous plus. Methods: Post-campaign surveys of IgG and perhaps IgM. Purpose: IgG-Identify immunity levels post-campaign. Susceptibility in target age group and outside target group. IgM-indicator of impact, i.e., proportion responding to vaccine. Implications: Age-range for future campaigns; locate problems of vaccine efficacy |
| Vaccine surveys | Methods: Vaccine clinic samples pre- and post-vaccination. IgM and/or IgG testing. Purpose: Assess efficacy of routine vaccination. Implications: Identify cause of low efficacy. | As previous | As previous plus. Methods: IgG survey of individuals attending vaccine clinics. Purpose: Identify proportion able to respond to vaccine. Implications: Assess potential effectiveness, and suggest alternative method for delivery eg hard-to-reach groups. |
| Diagnosis | Not indicated while measles incidence remains high | Method: IgM testing on demand. Purpose: Confirmation of clinical diagnosis | As previous |
| Case surveillance:serological and genetic | Not indicated while measles transmission remains high | Method: System of reporting and OF sampling from sporadic cases and outbreaks. IgM and Genotyping Purpose: verify cases, and monitor distribution of virus and endemicity Implications: need for additional control measures | As previous |

IgG: Immunoglobulin G; IgM: Immunoglobulin G.