Name of journal: World Journal of Stomatology

ESPS Manuscript NO: 4088

Columns: BRIEF ARTICLE

Cytotoxicity of a silorane-based dental composite on human gingival f0069broblasts

Orsini G et al. Human fibroblasts response to silorane composite

Giovanna Orsini, Alberto Catellani, Concetta Ferretti, Marco Gesi, Monica Mattioli-Belmonte, Angelo Putignano

Giovanna Orsini, Alberto Catellani, Angelo Putignano, Department of Clinical Sciences and Stomatology, Polytechnic University of Marche, 66020 Ancona, Italy

Concetta Ferretti, Monica Mattioli-Belmonte, Department of Clinical and Molecular Sciences, Polytechnic University of Marche, 66020 Ancona, Italy

Marco Gesi, Department of Translational Research and New Technology in Medicine and Surgery, University of Pisa, 56126 Pisa, Italy

Author contributions: Orsini G, Catellani A and Mattioli-Belmonte M equally contributed to this work; Catellani A and Orsini G wrote the paper; Ferretti C performed cell cultures and Mattioli-Belmonte M performed the scanning electron microscope and the statistical analyses; Orsini G and Putignano A designed the research; Gesi M helped for revision and editing of the final paper.

Correspondence to: Giovanna Orsini, DDS, PhD, Professor, Department of Clinical Sciences and Stomatology, Polytechnic University of Marche, Via Tronto 10, 66020 Ancona, Italy. giovorsini@yahoo.com

Telephone: +39-71-2206224          Fax: +39-71-2202324

Received: June 13, 2013        Revised: August 5, 2013

Accepted:  August 20, 2013

Published online:

Abstract

AIM: To evaluate the direct and indirect biocompatibility of Filtek Silorane on human gingival fibroblastic cells.

METHODS: Sixty-three standardized cylindrical specimens (8 mm diameter and 2 mm thickness) of restorative material were prepared using a light emitting diode-curing unit. The sample were built up in one increment and divided in 2 groups. In the first group 21 samples (unpolished samples) were left without a specific polishing procedure; in the second one 42 samples (polished samples) were polished with 4 different grains of discs. Fibroblast cultures, obtained from gingiva of 2 subjects without systemic and oral disease, were used to assess the direct and indirect biocompatibility. Cells cultured for 48 h in normal culture medium were used as a control.

RESULTS: The scanning electron microscope observations of fibroblasts cultured on the silorane samples, either polished or unpolished, confirmed the good biocompatibility of the material, favouring the cellular spreading. 3-dimethylthiazol-2, 5-diphenyltetrazolium bromide tests showed a significant reduction (P < 0.01) of gingival fibroblasts viability cultured both in polished samples (90.05% ± 19.00%) and unpolished samples (78.15% ± 11.00%) compared with the control. Cells growth in medium conditioned with the samples for 1 wk showed a significant viability reduction (P < 0.01) compared to the control. A reduction of cell viability was observed even in the groups containing the material for 3 wk (polished: 89.45% ± 10.00%; unpolished: 65.97% ± 10.00%), even if the cytotoxicity was reduced after this long time exposure.

CONCLUSION: Although the poor chromatic availability of this material remains a big limit that restricts its use to posterior sectors, the silorane-based material can be considered an option to perform restorations when aesthetic demands are not the priority, such as the class II restorations

© 2013 Baishideng. All rights reserved.

Key words: Silorane; Cytotoxicity; Resin composite; Fibroblasts

Core tip: The behaviour of silorane-based materials seems to be comparable to the one observed for conventional composite material, thus decreasing the citotoxicity after long time exposure. Further studies are still needed to characterize the biological response of these methacrylate-free composite formulations, in order to definitely demonstrate their safe use in restorative dentistry.

Orsini G, Catellani A, Ferretti C, Gesi M, Mattioli-Belmonte M, Putignano A. Cytotoxicity of a silorane-based dental composite on human gingival fibroblasts. World J Stomatol 2013;

Available from: URL: http://www.wjgnet.com/esps/

DOI: DOI:10.5321/wjs.v0.i0.0000

INTRODUCTION

Recently, the use of composite materials for restoring dental elements has significantly increased due to the growing esthetic demand of patients[1].

Despite extensive improvements in mechanical and aesthetic properties of dental composites, volumetric shrinkage and contraction stress during polymerization are still a problem[1]. Contraction stress transferred to the tooth may lead to cusp deflection or enamel micro cracks; additionally, contraction stress of tooth-composite interface can determinate post-operative sensitivity, microleakage, marginal discoloration and recurrent caries[2].

In several studies different techniques have been investigated in order to minimize polymerization shrinkage and contraction stress[3-7]. At the same purpose low-shrinkage materials have been proposed but none of them offered significant improvement to Bis-GMA-based composites[8].

In 2007, a low shrinkage dental composite based on silorane monomers has been introduced. This material contains traditional filler particles (quartz) and monomers based on a silane or a siloxane core bonded with several oxirane functional groups. The silorane monomers polymerize by a ring-opening polymerization process of the oxirane groups. According to its composition, this resin has two advantages: low polymerization shrinkage, due to the ring-opening oxirane monomer, and increased hydrophobicity, due to the presence of the siloxanes[9].

The release of substances from dental composite materials after polymerization and their possible toxicity have been widely examined during previous years[10-12]. Several in vitro studies have shown cytotoxic, genotoxic, mutagenic, or estrogenic effects of some monomers released by composite materials[13-17].

Limited information is available about the substance eluted from silorane composite and its cell or tissue compatibility. Kopperud et al[18] found no substance eluted from Filtek Silorane in water, while silorane were found in ethanol solution. Krifka et al[19] revealed no significant signs of cytotoxicity on human pulp-derived cells caused by silorane-based materials, while a slight increase in reactive oxygen species was detected.

The aim of present study was to evaluate the biocompatibility of Filtek silorane. The maintaining of surface architecture after finishing was also investigated. These properties were investigated in polished and unpolished silorane polymerized samples.

As regards biocompatibility, we studied the viability of human fibroblastic cells both after direct contact with silorane composite and after cells conditioning using a medium exposed to silorane.

MATERIALS AND METHODS

Sixty-three standardized cylindrical specimens (8 mm in diameter and 2 mm in thickness) were prepared using a transparent plastic molds. The molds were positioned on a glass plate and filled with Filtek silorane (3M ESPE, Seefeld, Germany). The samples were built up in one increment. The specimens were polymerized using a diode unit with a power of 1100 Mw/cm2 for 60 seconds (LE Demetron I; Kerr, Bioggio, Switzerland). 42 of these samples were polished using a slow speed hand-piece using 4 polishing discs of different grains (Sof-Lex discs, 3M ESPE; Seefeld, Germany), from the most (2382 C) to the least (2382 SF) abrasive. The remaining samples were left unpolished. All the samples were processed for observation under a scanning electron microscope (SEM: Philips XL20; FEI, Milano, Italy).

Cell culture

Cultured fibroblasts were obtained from subjects without systemic and oral disease, after signing informed consent. Biopsies (2 × 2 cm2 were taken from the gingiva of 2 subjects (40 years old), rinsed twice with phosphate buffered saline (PBS) at pH 7.4, containing penicillin (100 U/mL), streptomycin (100 μg/mL) and amphotericin B (2.5 μg/mL; all from Sigma Aldrich, Milan, Italy) and cut in small pieces with a sterile blazer. The tissue fragments were placed in culture flasks of 25 cm2 with Dulbecco Modified Essential Medium (DMEM), containing 1 mg/mL of collagenase (all from Sigma Aldrich), and incubated for 3h at 37° C. Afterwards, fragments were incubated at 37°C (5% CO2) in Petri plates of 35 mm containing DMEM supplemented with 10% of fetal bovine serum (FBS, Life Technologies-GIBCO), 4.5 g/L of glucose, penicillin (100 U/mL) and streptomycin (100 μg/mL) all from Sigma Aldrich. The first fibroblast cells were visible after 3-4 d. Culture medium was changed twice a week until cells confluence (2 wk). Using a trypsin/EDTA treatment (0.25% trypsin, 0.02% EDTA; Sigma Aldrich), the cells were detached and cultured in flasks of 75 cm2 until a new confluence was achieved. Cells between the 2nd and the 4th passage of subculture have been used.

For direct toxicity test, silorane samples have been disinfected with alcohol at 70% for 3 h and washed with PBS for 24 h after the alcohol removing. After a conditioning treatment in DMEM containing 10% FBS and penicillin (100 U/mL) and streptomycin (100 μg/mL) for 24h, the medium was discarded and samples considered suitable for cell seeding. Specimens were placed in ultra-low attachment 24/well plates (Corning®) and seeded with 1 × 104 cells/cm2.

To assess indirect toxicity assay, samples disinfected as previously described were placed in agitation in DMEM containing 10% FBS and penicillin (100 U/mL) and streptomycin (100 μg/mL) for 1 and 3 wk. The conditioned medium was placed in contact with fibroblasts (1 × 104 cells/cm²) seeded in 24/well polystyrene plates for 48 h.  Cells cultured for 48 h in normal culture medium were used as a control.

Cell culture processing for SEM analysis

The obtained monolayer cells were fixed in 2% glutaraldehyde in cacodylate buffer for one hour at 4°C. After fixation, cells were rinsed in cacodylate buffer 0.1 mol/L, pH 7.4 and 7% sucrose; cells were then post-fixed using 0.1% OsO4 in cacodylate buffer 0.1 mol/L, at 7.4 pH (1 h in dark at 4°C). After a second rinse in cacodylate buffer for 10 minutes, samples were dehydrated using a growing grade of ethanol (from 25% to 100%) at 4°C with Critical Point Drying at 31.3°C and 72.9 Atm. The samples were placed on aluminium stubs with a graphite-based glue, covered with gold, using an Edwards sputtering device, and observed with a SEM operating at 20 KV.

Cell culture processing for 3-dimethylthiazol-2, 5-diphenyltetrazolium bromide test

After 48 hours of culture, medium was removed and 200 μL of a solution (5 mg/ml in medium without phenol red) containing 3-dimethylthiazol-2, 5-diphenyltetrazolium bromide (MTT; Aldrich, Sigma, Milan, Italy) and 1.8 mL of medium was added to the monolayer cells. The plates were incubated at 37°C for 4 h. The supernatant was removed, the blue-violet formazan crystals were dissolved adding 2 mL of solvent (HCl 4% in isopropanol) and quantified with the spectrophotometer (Secoman; Anthelie light, 3.8 version, Contardi, Italia) at 570 and 690 nm. The results have been reported as viability percentage compared with the control culture.

Statistical analysis

Statistical analysis of the data was performed using two-ways analysis of variance (ANOVA). In detail, cell viability was evaluated on fibroblasts: (1) directly cultured on polished samples (P), unpolished samples (UnP) and control (CTRL); and (2) in contact with the eluates of P, UnP and CTRL samples at 1 and 3 wk.

Levels of P < 0.05 were considered to be statistically significant. The results were also evaluated in accordance with ISO standard 10993-5[20] which describes less than 25% inhibition as non-cytotoxic, 25% to 50% inhibition as slightly cytotoxic, 50% to 75% inhibition as moderately cytotoxic and more than 75% inhibition as highly cytotoxic[21].

RESULTS

Biocompatibility

MTT tests showed a significant reduction (P < 0.01) of gingival fibroblasts viability cultured both in polished samples (90.05% ± 19.03%) and in unpolished samples (78.15% ± 11.01%) compared with the control (100.00% ± 6.00%), as shown in Figure 1A.

As regards to indirect toxicity, the viability of fibroblastic cells incubated in a medium conditioned with both polished and unpolished samples, for 1 or 3 wk, respectively, was studied using MTT test.

Cells growth in medium conditioned for 1 week showed a significant viability reduction (P < 0.01) compared to the control: the group conditioned with polished samples showed a viability of 29.83% ± 1.92%, the one with unpolished sample: 47.06% ± 1.87% (Figure 1B).

A reduction of cell viability was also observed in both groups conditioned for 3 wk (polished: 89.45% ± 10.11%; unpolished: 65.97% ± 9.89%), but only in the second group this reduction was statistically significant (Figure 1B).

SEM observation

As shown in Figure 2, SEM observations of fibroblasts cultured on the silorane samples, either polished or unpolished, confirmed the good biocompatibility of this material, which favoured cell spreading. These observations showed that the surface of the silorane-based material is able to absorb a big quantity of the serum component from the culture medium.

DISCUSSION

Silorane-based composite is a candidate for use in conservative dentistry due to his low polymerization shrinkage. However, it cannot be excluded that the potential release of remaining monomer substances may exert harmful effects on cells of periodontal tissues[22]. The current limited literature indicates that silorane-based composite has a low toxicity presumably due to the low rate of free monomers released after polymerization[18]. In order to ensure a safe use of silorane-based materials, studies on the biocompatibility of this material are still needed.

Biocompatibility of a dental material can be studied exposing tissue directly to the material (direct toxicity) or placing it in a medium (conditioning), which will be used for additional tests (indirect toxicity)[23].

The results obtained in our study show a low direct cytotoxicity of both samples: polished and not polished. The percentage of survival is lower in unpolished than in polished probably due to the larger surface contact area between composite and fibroblasts. Furthermore, the presence of oxygen inhibits the polymerization, resulting in a higher percentage of unreacted composite on the composite surface. Incomplete polymerization not only causes a decrease in the mechanical properties, but it can cause tissue reaction, as shown by Spangberg et al[24]. Composite finishing and polishing may indeed decrease the toxicity, as hypothesized in the study of Mohsen and Vankerchoven[25,26]. A moderate (with a few peaks of high toxicity) indirect cytotoxicity was observed in the samples placed in culture medium conditioned for 1 wk with silorane eluates (being the unpolished samples slightly less cytotoxic than the polished ones). Slight indirect cytotoxicity values were obtained for the samples placed in culture with medium conditioned for 3 wk. Under this condition, the fibroblast cultures show a different behaviour, since cell viability was slightly greater in case of contact with polished samples than with unpolished ones. These findings are in agreement with Sheridan et al[27], reporting that the cytotoxic effect of acrylic resin was greater after polymerization and decreased with time for many resins. The authors concluded that the longer a prosthesis is soaked, the less cytotoxic effects it is likely to have regardless of the denture base resin it is manufactured from[27]. Due to the not univocal data among polished and unpolished samples, the surface roughness does not seem to be a determining factor in the study of indirect toxicity. Indirect toxicity can be determined by release of substances from silorane as widely described in scientific literature[22].

Scanning electron micrographs allow observing the characteristic fibroblastic spreading. This is consistent with a study of Balcells et al[28], which states that the adsorption of serum proteins present in the culture medium is the first event that occurs when cells are seeded on a material and the adsorbed protein layer influences cell adhesion, spreading and proliferation.

In conclusion, although the poor chromatic availability of this material remains a big limit that restricts its use to posterior sectors, the silorane-based material can be considered an option to perform restorations when aesthetic demands are not the priority, such as the class II restorations[29]. The behaviour of silorane-based materials seems to be comparable to the one observed for conventional composite material[30], thus decreasing the citotoxicity after long time exposure. Further studies are still needed to characterize the biological response of these methacrylate-free composite formulations, in order to definitely demonstrate their safe use in restorative dentistry.

ACKNOWLEDGEMENTS

Dr. Marcantoni, Dr. Morici and Dr. Kyriakidou are kindly acknowledged for technical assistance.

COMMENTS

Background

Despite extensive improvements in mechanical and aesthetic properties of dental composites, volumetric shrinkage and contraction stress during polymerization are still a problem.

Research frontiers

In several studies different techniques have been investigated in order to minimize polymerization shrinkage and contraction stress At the same purpose low-shrinkage materials have been proposed but none of them offered significant improvement to Bis-GMA-based composites.

Innovations and breakthroughs

The behaviour of silorane-based materials seems to be comparable to the one observed for conventional composite material, thus decreasing the citotoxicity after long time exposure.

Applications

Further studies are still needed to characterize the biological response of these methacrylate-free composite formulations, in order to definitely demonstrate their safe use in restorative dentistry.

Peer review

The authors considered and concluded that the materials are biocompatible.

REFERENCES

1 Condon JR, Ferracane JL. Assessing the effect of composite formulation on polymerization stress. J Am Dent Assoc 2000; 131: 497-503 [PMID: 10770013]

2 Hilton TJ. Can modern restorative procedures and materials reliably seal cavities? In vitro investigations. Part 1. Am J Dent 2002; 15: 198-210 [PMID: 12469759]

3 Gonçalves F, Pfeifer CS, Meira JB, Ballester RY, Lima RG, Braga RR. Polymerization stress of resin composites as a function of system compliance. Dent Mater 2008; 24: 645-652 [PMID: 17719626 DOI: 10.1016/j.dental.2007.06.032]

3 Gonçalves F, Pfeifer CS, Meira JB, Ballester RY, Lima RG, Braga RR. Polymerization stress of resin composites as a function of system compliance. Dent Mater 2008; 24: 645-652 [PMID: 17719626 DOI: 10.1016/j.dental.2007.06.032]

5 Witzel MF, Ballester RY, Meira JB, Lima RG, Braga RR. Composite shrinkage stress as a function of specimen dimensions and compliance of the testing system. Dent Mater 2007; 23: 204-210 [PMID: 16494936 DOI: 10.1016/j.dental.2006.01.016]

6 Chen HY, Manhart J, Hickel R, Kunzelmann KH. Polymerization contraction stress in light-cured packable composite resins. Dent Mater 2001; 17: 253-259 [PMID: 11257299 DOI: 10.1016/S0109-5641(00)00079-8]

7 Bouschlicher MR, Vargas MA, Boyer DB. Effect of composite type, light intensity, configuration factor and laser polymerization on polymerization contraction forces. Am J Dent 1997; 10: 88-96 [PMID: 9545896]

8 Braga RR, Ferracane JL. Alternatives in polymerization contraction stress management. Crit Rev Oral Biol Med 2004; 15: 176-184 [PMID: 15187035 DOI: 10.1177/154411130401500306]

9 Ilie N, Hickel R. Resin composite restorative materials. Aust Dent J 2011; 56 Suppl 1: 59-66 [PMID: 21564116 DOI: 10.1111/j.1834-7819.2010.01296.x]

10 Yap AU, Han VT, Soh MS, Siow KS. Elution of leachable components from composites after LED and halogen light irradiation. Oper Dent 2004; 29: 448-453 [PMID: 15279486]

11 Lee SY, Greener EH, Menis DL. Detection of leached moieties from dental composites in fluids simulating food and saliva. Dent Mater 1995; 11: 348-353 [PMID: 8595834 DOI: 10.1016/0109-5641(95)80033-6]

12 Geurtsen W. Substances released from dental resin composites and glass ionomer cements. Eur J Oral Sci 1998; 106: 687-695 [PMID: 9584902 DOI: 10.1046/j.0909-8836.1998.eos10602ii04.x]

13 Geurtsen W, Lehmann F, Spahl W, Leyhausen G. Cytotoxicity of 35 dental resin composite monomers/additives in permanent 3T3 and three human primary fibroblast cultures. J Biomed Mater Res 1998; 41: 474-480 [PMID: 9659618 DOI: 3.0.CO; 2-I']

14 Volk J, Leyhausen G, Dogan S, Geurtsen W. Additive effects of TEGDMA and hydrogenperoxide on the cellular glutathione content of human gingival fibroblasts. Dent Mater 2007; 23: 921-926 [PMID: 17049977 DOI: 10.1016/j.dental.2006.08.001]

15 Reichl FX, Simon S, Esters M, Seiss M, Kehe K, Kleinsasser N, Hickel R. Cytotoxicity of dental composite (co)monomers and the amalgam component Hg(2+) in human gingival fibroblasts. Arch Toxicol 2006; 80: 465-472 [PMID: 16474958 DOI: 10.1007/s00204-006-0073-5]

16 Yoshii E. Cytotoxic effects of acrylates and methacrylates: relationships of monomer structures and cytotoxicity. J Biomed Mater Res 1997; 37: 517-524 [PMID: 9407300 DOI: 3.0.CO; 2-5']

17 Poplawski T, Pawlowska E, Wisniewska-Jarosinska M, Ksiazek D, Wozniak K, Szczepanska J, Blasiak J. Cytotoxicity and genotoxicity of glycidyl methacrylate. Chem Biol Interact 2009; 180: 69-78 [PMID: 19428346 DOI: 10.1016/j.cbi.2009.02.001]

18 Kopperud HM, Schmidt M, Kleven IS. Elution of substances from a silorane-based dental composite. Eur J Oral Sci 2010; 118: 100-102 [PMID: 20156272 DOI: 10.1111/j.1600-0722.2009.00697.x]

19 Krifka S, Seidenader C, Hiller KA, Schmalz G, Schweikl H. Oxidative stress and cytotoxicity generated by dental composites in human pulp cells. Clin Oral Investig 2012; 16: 215-224 [PMID: 21243381 DOI: 10.1007/s00784-010-0508-5]

20 International Standards Organization, ISO 10993-5: Biological evaluation of Medical Devices-Part 5. Tests for Cytotoxicity: In Vitro Methods. Geneva: ISO, 1992

21 Jorge JH, Giampaolo ET, Vergani CE, Machado AL, Pavarina AC, Carlos IZ. Cytotoxicity of denture base resins: effect of water bath and microwave postpolymerization heat treatments. Int J Prosthodont 2004; 17: 340-344 [PMID: 15237883]

22 Schulz SD, König A, Steinberg T, Tomakidi P, Hellwig E, Polydorou O. Human gingival keratinocyte response to substances eluted from silorane composite material reveal impact on cell behavior reflected by RNA levels and induction of apoptosis. Dent Mater 2012; 28: e135-e142 [PMID: 22575741 DOI: 10.1016/j.dental.2012.04.018]

23 Schweikl H, Hiller KA, Bolay C, Kreissl M, Kreismann W, Nusser A, Steinhauser S, Wieczorek J, Vasold R, Schmalz G. Cytotoxic and mutagenic effects of dental composite materials. Biomaterials 2005; 26: 1713-1719 [PMID: 15576145 DOI: 10.1016/j.biomaterials.2004.05.025]

24 Spangberg L, Rodrigues H, Langeland L, Langeland K. Biologic effects of dental materials. 2. Toxicity of anterior tooth restorative materials on HeLa cells in vitro. Oral Surg Oral Med Oral Pathol 1973; 36: 713-724 [PMID: 4518036 DOI: 10.1016/0030-4220(73)90145-X]

25 Mohsen NM, Craig RG, Hanks CT. Cytotoxicity of urethane dimethacrylate composites before and after aging and leaching. J Biomed Mater Res 1998; 39: 252-260 [PMID: 9457555 DOI: 3.0.CO; 2-F']

26 Vankerckhoven H, Lambrechts P, van Beylen M, Davidson CL, Vanherle G. Unreacted methacrylate groups on the surfaces of composite resins. J Dent Res 1982; 61: 791-795 [PMID: 7045184 DOI: 10.1177/00220345820610062801]

27 Sheridan PJ, Koka S, Ewoldsen NO, Lefebvre CA, Lavin MT. Cytotoxicity of denture base resins. Int J Prosthodont 1997; 10: 73-77 [PMID: 9484073]

28 Balcells M, Klee D, Fabry M, Höcker H. Quantitative Assessment of Protein Adsorption by Combination of the Enzyme-Linked Immunosorbent Assay with Radioisotope-Based Studies. J Colloid Interface Sci 1999; 220: 198-204 [PMID: 10607434 DOI: 10.1006/jcis.1999.6527]

29 Goncalves FS, Castro CD, Bueno AC, Freitas AB, Moreira AN, Magalhaes CS. The short-term clinical performance of a silorane-based resin composite in the proximal contacts of class II restorations. J Contemp Dent Pract 2012; 13: 251-256 [PMID: 22917991]

30 Hahnel S, Henrich A, Bürgers R, Handel G, Rosentritt M. Investigation of mechanical properties of modern dental composites after artificial aging for one year. Oper Dent 2010; 35: 412-419 [PMID: 20672725 DOI: 10.2341/09-337-L]

P-Reviewers Brasileiro B, Eugenia KK, Jeng JH S-Editor Gou SX   L-Editor    E-Editor

a

A

a

a

ac

B

Figure 1 Histogram of cell viability. A: Cell viability of fibroblast cultured directly on control (CTRL), unpolished samples (UnP), and polished samples (P: finished surface using polishing discs); B: Cell viability of fibroblasts in contact with the eluates of control (CTRL), polished samples at 1 wk (P1w), not polished samples at 1 wk (UnP1w), polished samples at 3 wk (P3w), unpolished samples at 3 wk (UnP3w); aP < 0.05 vs CTRL; cP < 0.05 vs P3w.

A                                                                B

Figure 2 Scanning electron micrograph (× 2000 magnification). A: Gingival fibroblasts cultured directly on polished sample; B: Gingival fibroblasts cultured directly on unpolished sample.