Name of journal: World Journal of Gastrointestinal Endoscopy

ESPS Manuscript NO:

## Columns: MINIREVIEW

Pancreatoscopy: an up-date

## Number ID: 03251531

Authors: Luca De Luca, Alessandro Repici, Adea Koçollari, Francesco Auriemma, Mario Bianchetti, Benedetto Mangiavillano

Running title: Pancreatoscopy

Key-words: Pancreatoscopy; ERCP; SpyGlass

Luca De Luca (ORCID 0000-0002-3290-3103): Gastroenterology and Digestive Endoscopy Unit, Ospedali Riuniti Marche Nord, Via Cesare Lombroso 1, 61122 Pesaro, Italy

Alessandro Repici: Digestive Endoscopy Unit, Division of Gastroenterology, Humanitas Research Hospital, Via Alessandro Manzoni, 56, 20089 Rozzano (MI), Italy and Humanitas Huniversity – Hunimed - Via Rita Levi Montalcini, 4, 20090 Pieve Emanuele (MI), Italy.

Adea Koçollari: Gastroenterology Unit, University Medical Center “Mother Theresa” Hospital, Rruga e Dibrës 372, Tirana 1000, Albania

Francesco Auriemma (ORCID 0000-0002-2911-3098), Mario Bianchetti (ORCID 0000-0001-9476-640): Gastrointestinal Endoscopy Unit, Humanitas Mater Domini, Via Gerenzano 2, 21053 Castellanza, VA, Italy

Benedetto Mangiavillano (ORCID 0000-0003-0611-7448): Gastrointestinal Endoscopy Unit, Humanitas Mater Domini, Via Gerenzano 2, 21053 Castellanza, VA, Italy and Humanitas Huniversity – Hunimed - Via Rita Levi Montalcini, 4, 20090 Pieve Emanuele (MI), Italy

Supported by: No support

Conflict-of-interest: No conflicts of interest to declare

Corresponding to: Luca De Luca, MD; Gastroenterology and Digestive Endoscopy Unit

Ospedali Riuniti Marche Nord, Pesaro-Fano, Italy - Piazzale Cinelli, 1 – 61121 Pesaro (PU)

Phone: +39.721.362288; Fax: +39.721.362285 - e-mail: lucadeluca1210@gmail.com

Core tip

Multiple modalities are available for the investigation of pancreatic diseases, such as magnetic resonance cholangiopancreatography (MRCP), computed tomography (CT), transabdominal ultrasound (TUS), endoscopic retrograde cholangiopancreatography (ERCP) and endoscopic ultrasound (EUS).  Per-oral pancreatoscopy (POPS) was initially described in 1976. The available data for the moment suggest that, in selected patients, pancreatoscopy has an important and promising role to play in the diagnosis of indeterminate pancreatic duct strictures and the mapping of main pancreatic duct IPMNs following EUS-FNA prior to surgical resection. Considering its therapeutic role, pancreatoscopy with lithotripsy has achieved an high rates of ductal clearance in patients with chronic calcific pancreatitis.

INTRODUCTION

Per-oral pancreatoscopy (POPS) was initially described in 1976 by Kawai et al, in order to directly visualize the main pancreatic duct [1]. Multiple modalities are available for the investigation of pancreatic diseases, such as magnetic resonance cholangiopancreatography (MRCP), computed tomography (CT), transabdominal ultrasound (TUS), endoscopic retrograde cholangiopancreatography (ERCP) and endoscopic ultrasound (EUS). Even though there have been technological refinements in these imaging modalities, making a conclusive diagnosis in the setting and managing indeterminate pancreatico-biliary stricture may be difficult [2]. POPS specifically has the advantage of direct visualization of the pancreatic duct, allowing tissue acquisition and also directed therapies such as stones lithotripsy. The aim of this review is to analyze and summarize the literature around pancreatoscopy, by elucidating its diagnostic and therapeutic roles in the management of pancreatic diseases.

EQUIPMENTS AND TECHNIQUE

Pancreatoscopy consists in the classic technique of the “mother-baby” method in which a mini-endoscope is passed through the accessory channel of the therapeutic duodenoscope. The early versions were improved by allowing the control of tip movement and adding a channel for irrigation and insertion of biopsy device or lithotripsy probe [3, 4]. Electronic pancreatoscopes with improved optical resolution or narrow band imaging (NBI) modality [Figure 1] allow the detection and characterization of the vascular pattern of tumors and mucosal appearances. This “mother-baby’’ system has an important drawback, because of its reliance on two experienced endoscopists to simultaneously control the separate endoscopes. In 2007 was reported the first clinical experience with the single-operator cholangiopancreatoscopy system (SpyGlass DVS; Boston Scientific) [5]. Later, in 2015, this system was upgraded to a digital version in order to improve image quality (SpyGlass DS; Boston Scientific) [6] [Figure 2].

Pancreatoscopes with diameters from 2.6 to 4 mm can be passed through the 4.2-mm working channel of a therapeutic duodenoscope. The working channel of the pancreatoscope of 1.2-mm-diameter allows the use of a 0.035-inch guidewire, a 3-Fr biopsy forceps and electrohydraulic or laser lithotripsy. The fiberoptic image is converted by video adapters into a video format.

Intraprocedural antibiotics are recommended in patients undergoing pancreatoscopy considering the fact that there is a significant rate of transient bacteremia in patients undergoing cholangioscopy, probably because of increased pressure in the ductal system during saline irrigation leading to bacterial translocation into the bloodstream [7].

Pancreatoscopy is performed with the patient in the semi-prone-configuration, ensuring this way stability of the duodenoscope, which is very important to facilitate the pancreatoscope insertion end eventual manoeuvres. The introduction of the endoscope through the papilla is similar to that of the mother-baby cholangioscopy, most commonly through the major papilla although it may also be possible through the minor papilla [8]. In the absence of a patulous orifice typical of intraductal papillary mucinous neoplasia (IPMN), a pancreatic sphincterotomy might be necessary, depending on the device diameter. However, the decision of whether or not to perform sphincterotomy prior to pancreatic duct cannulation is variable for diagnostic indications, but may be very helpful in cases of complex stones or stricture. Moreover, it would seem intuitive to recommend it considering the diameter of the scope that can be easily damaged when used in suboptimal conditions and this may have an impact on financial feasibility of the procedures. No data or guidelines are actually published in literature about this issue.

After introduction of the pancreatoscope into the main pancreatic duct, a guidewire might be necessary to reach the caudal portion of the main pancreatic duct. The main pancreatic duct is examined under irrigation with saline and under fluoroscopy [Figure 3]. Advancing accessories, such as electrohydraulic lithotripsy (EHL)/laser lithotripsy probes or biopsy forceps, through the working channel, can sometimes be difficult although this is more often encountered during cholangioscopy in which the angulation is more accentuated and therefore it decreases the maneuverability. The Spyglass system, initially used for cholangioscopy, can provide better maneuverability within the main pancreatic duct.

Similarly to cholangioscopy, a few years ago direct POPS has been described, that uses ultraslim 4.9-mm gastroscopes, considering two techniques:

- An anchoring balloon catheter of 5-Fr is inflated in the main pancreatic duct in patients suspected for IPMN [9] [Figure 4].

- An overtube is used to prevent stomach loop formation during insertion of the ultraslim gastroscope over a guidewire left in the main pancreatic duct [10]. In a variation of the technique, the overtube can be punctured at 65 cm from its end to allow passage of the ultraslim gastroscope [11] [Figure 5].

In patients without chronic calcific pancreatitis, pancreatic sphincterotomy and / or ductal injection is considered high-risk for the development of post-ERCP pancreatitis. In these cases prophylactic measures are highly recommended, such as: rectal indomethacin, pancreatic stenting and hydration with lactated ringer’s solution [12, 13, 14, 15].

INDICATIONS

Pancreatoscopy has two primary indications for diagnostic purpose. First, it is used for visualization and histological diagnosis of IPMNs [16]. Second, it is used to determinate pancreatic duct strictures, differentiate between benign and malignant disease [17] and allows mapping the extent of the tumor prior to surgical resection [18]. Pancreatoscopy can also be used for therapeutical purpose, such as pancreatoscopy-guided lithotripsy in chronic painful pancreatitis with pancreatic duct stones [19]. Indications for pancreatoscopy are summarized in the Table 1.

Diagnostic role of pancreatoscopy

- Pancreatoscopy in IPMN

One of the main indications of pancreatoscopy is to characterize the location and extent of IPMNs. The risk of malignancy within this type of tumors is highly variable. They can be classified into three types: main duct, branch duct, and mixed-type IPMNs. The distinction between these different types is usually made at MRCP due to the fact that it helps to define adequate patient management [20]. Even though branch duct IPMNs contain malignant histology in a minority of cases, main pancreatic duct IPMNs contain malignancy in 57-92% [21]. The primary utility of pancreatoscopy in main pancreatic duct IPMN, is to confirm the diagnosis in equivocal cases. It is especially important when there is a question of chronic pancreatitis versus IPMN, considering the history and imaging of the patient. Pancreatosopy in these cases is very useful to assess the extent of malignancy and for the study of the IPMN in order to guide the surgery resection margins. On the other hand pancreatoscopy should not be used to distinguish different subtypes of pancreatic cystic neoplasm [22].

Protruding lesions has been well classified by Hara et al., considering their appearance on pancreatoscopy and this allowed discrimination of malignant from benign IPMNs with an accuracy of 88% for main duct IPMNs and 67% for branch duct IPMNs [23]. This classification consists of five groups [Figure 6]:

- Type 1: Granular mucosa

- Type 2: Fish-egg-like protrusions without vascular images

- Type 3: Fish-egg-like protrusions with vascular images

- Type 4: Villous protrusions

- Type 5: Vegetative protrusions

Hara et al. compared the pancreatoscopy findings to the histopathology of resected specimens in 60 patients with confirmed IPMNs. No case of malignancy were found in type 1 and 2, while type 3, 4 and 5 were found to be malignant, including carcinoma in situ and invasive carcinoma. The presence of type 3, 4 and 5 lesions was 78% specific and 68% sensitive for malignancy.

Pancreatoscopy can be very useful to assess main duct IPMN extent pre-operatively. Tyberg et al. have published the first report about the use of digital single-operator cholangiopancreatoscopy for pre-surgical mapping of pancreatobiiary malignancy [18]. From 13 patients undergoing surgery for IPMN, 8 (62%) had a change in their surgical plan based on preoperative pancreatoscopy; of these: 4 required more extensive surgery and 4 required less. These results suggest an important and promising role of pancreatoscopy in IPMNs treatment. POPS-guided-tattoo may be a new technique developed in the near future to optimize IPMNs treatment.

- Pancreatoscopy in indeterminate strictures of the main pancreatic duct

The conventional imaging modalities that are now widely used, often can be insufficient to differentiate between benign and malignant pancreatic duct strictures. This is particularly important in cases of chronic pancreatitis, which is associated with both benign and malignant strictures [24, 25]. Advances in charge coupled device chip technology including NBI and multiband imaging have the potential to improve the direct visual diagnosis of malignancy. As probe-based confocal laser endomicroscopy is a rapidly emerging field of gastroenterology that bridges the interface between endoscopy and histology expanding our ability to image living tissue in real time. El Hajj et al., have reported an important study considering their 13 years of experience, by doing a retrospective analysis of patients who underwent pancreatoscopy to evaluate an indeterminate pancreatic duct stricture (64%) or suspected IPMN (36%) [26]. 79 patients were enrolled in this study and the final diagnosis were based on surgical pathology. The diagnosis of pancreatic duct neoplasia was found in 33 patients, including adenocarcinoma and main duct pancreatic IPMN (12 and 21 respectively). 45 patients had a final diagnosis of non-pancreatic duct neoplasia, including benign stricture and branch-duct IPMN (40 and 5 respectively). It was reported by the authors that pancreatoscopy global visual impression was 87% accurate in distinguishing neoplastic from non-neoplastic lesions (Sn 87%, Sp 86%). In conclusion, pancreatoscopy might help to differentiate indeterminate main pancreatic duct strictures in a few highly selected cases with inconclusive findings from EUS-guided fine needle aspiration (FNA) [17, 27].

- Pancreatoscopy assisted-tissue sampling

Pancreatoscopy allows tissue sampling, but it can be technically difficult because of the limited maneuverability of the biopsy forceps in the pancreatic ducts. Cytopathological examination of pancreatic juice collected during pancreatoscopy, may be more useful, particularly in patients with IPMN. In a study of 102 patients with IPMN surgically resected [28], the pancreatic juice adequate for cytological diagnosis could be collected in 99% of patients. Sensitivity for the diagnosis of malignant IPMN was significantly higher if the pancreatic juice had been collected through pancreatoscopy while observing the lesion, or from a position close to the lesion, compared with collection using a catheter (68% and 38% respectively). Sensitivity was much lower for the diagnosis of non-IPMN pancreatic cancer (25%). However the collection of pancreatic juice for cytopathological examination should be considered if EUS-FNA sampling has been non-contributive, for example because of the high viscosity of the mucus [15]. In the study by El Hajj et al., the pancreatoscopy-directed or assisted biopsies were 87% sensitive and 100% specific, with an accuracy of 92%, for differentiating pancreatic duct neoplasia from non-neoplasia [26].

Therapeutic role of pancreatoscopy

In cases of pancreatic duct stones in chronic and painful pancreatitis, which are refractory to other therapies, pacreatoscopy with lithotripsy is indicated as a second line treatment. Available results are promising in terms of ductal clearance and pain relief compared to standard endoscopic techniques and ESWL as the current gold standard for lithotripsy. It can be performed using either EHL or laser lithotripsy. Both have been used for fragmentation and subsequent extraction of difficult to remove stones for many years, and have been shown to be safe and effective. These probes have to be precisely positioned on the stone to increase effectiveness and reduce complications. Direct visualization ensures that the shock waves are aimed at the stone and not the pancreatic duct wall, because shock waves delivered to the Wirsung wall can cause bleeding and perforation. From a recently published systematic review [29], authors identified 10 studies including a total of only 87 patients. There were no randomized data and two of the studies were prospective.  In the largest cohort study, ductal clearance was achieved in 70% and clinical success, as defined by reduction in pain score or opiate use by half, was found in 74% [30]. A retrospective multicenter cohort study, the second largest, including 28 patients treated with pancreatoscopy-guided holmium laser lithotripsy [31]. Results showed 79% complete ductal clearance and 89% clinical success at a median of 13 months. Recently studies by Shah et al. [32] and Navaneethan et al. [6] on patients undergoing digital, single operator cholangiopancreatoscopy showed complete pancreatic duct clearance in 100% (7/7 patients) and 80% (4/5 patients) using respectively, EHL and laser lithotripsy. Overall, pancreatoscopy-guided lithotripsy appears to be effective although its precise role in the treatment of ‘’difficult-to-manage’’ chronic painful pancreatitis with pancreatic duct stones remains to be clarified [33]. Moreover, the oncoming marketing of ancillary devices suitable for single-operator cholangiopancreatoscopy system, as nitinol disposable minisnare [Figure 7] and minibasket (SpyGlassTM Retrieval Snare – Boston Scientific) could open new additional options for therapeutic procedures (i.e. stone fragments extraction, proximally migrated pancreatic stent capture and retrieval) [34].

COMPLICATIONS AND LIMITATIONS

After diagnostic and therapeutic POPS in large series, complications were reported in 10%–12% of patients and mostly consisted of mild pancreatitis (19, 30). The success of POPS may be limited by anatomical factors as tortuous, narrow, or strictured ducts as well as obstructing stones or, in the case of IPMN, tumor location in the branch ducts. The visualization rate of the pancreatic duct in large series reached 70%–80%, depending on the indication, as outlined in dedicated section (Pancreatoscopy in indeterminate strictures of the main pancreatic duct). Some authors require a minimum diameter of 5 mm of the main pancreatic duct, before POPS is attempted.

CONCLUSION

Pancreatoscopy seems to be a procedure that should be reserved in specific subgroups of patients with a limited scope of benefit. The available data for the moment suggest that, in selected patients, pancreatoscopy has an important and promising role to play in the diagnosis of indeterminate pancreatic duct strictures and the mapping of main pancreatic duct IPMNs following EUS-FNA prior to surgical resection. Considering its therapeutic role, pancreatoscopy with lithotripsy has achieved a high rates of ductal clearance in patients with chronic calcific pancreatitis and difficult-to-manage pancreatic duct stones which are refractory with traditional technique. Further studies are necessary to elucidate and validate the pancreatoscopy role in the therapeutic algorithm of chronic pancreatitis.

Table 1: INDICATIONS FOR PANCREATOSCOPY

- Diagnostic:

  - Visualization and histological diagnosis of IPMN

  - Determine pancreatic duct strictures, differentiate between benign and malignant disease allows mapping the extent of the tumor prior to surgical resection

- Therapeutic:

  - Pancreatoscopy-guided lithotripsy in chronic painful pancreatitis with pancreatic duct stones

REFERENCES

Kawai K, Nakajima M, Akasaka Y, Shimamotu K, Murakami K. A new endoscopic method: the peroral choledocho-pancreatoscopy (author’s transl). Leber Magen Darm 1976; 6:121–124. [PMID: 966932]

Slattery JM, Sahani DV. What is the current state-of-the-art imaging for detection and staging of cholangiocarcinoma? Oncologist. 2006; 11:913–922. [PMID: 16951395]

Jung M, Zipf A, Schoonbroodt D, Herrmann G, Caspary WF. Is pancreatoscopy of any benefit in clarifying the diagnosis of pancreatic duct lesions? Endoscopy 1998; 30:273–280. [PMID: 9615876 DOI: 10.1055/s-2007-1001254]

Howell DA, Dy RM, Hanson BL, Nezhad SF, Broaddus SB. Endoscopic treatment of pancreatic duct stones using a 10F pancreatoscope and electrohydraulic lithotripsy. Gastrointest Endosc 1999; 50:829–833. [PMID: 10570346]

Chen YK, Pleskow DK. SpyGlass single-operator peroral cholangiopancreatoscopy system for the diagnosis and therapy of bile-duct disorders: a clinical feasibility study (with video). Gastrointest Endosc 2007; 65: 832–841. [PMID: 17466202]

Navaneethan U, Hasan MK, Kommaraju K, Zhu X, Hebert-Magee S, Hawes RH, Vargo JJ, Varadarajulu S, Parsi MA. Digital, single-operator cholangiopancreatoscopy in the diagnosis and management of pancreatobiliary disorders: a multicenter clinical experience (with video). Gastrointest Endosc 2016; 84:649–655. [PMID: 26995690 DOI: 10.1016/j.gie.2016.03.789]

Othman MO, Guerrero R, Elhanafi S, Davis B, Hernandez J, Houle J, Mallawaarachchi I, Dwivedi AK, Zuckerman MJ. A prospective study of the risk of bacteremia in directed cholangioscopic examination of the common bile duct. Gastrointest Endosc 2016; 83:151–157. [PMID: 26116469 DOI: 10.1016/j.gie.2015.05.018]

Brauer BC, Chen YK, Ringold D, Shah RJ. Peroral pancreatoscopy via the minor papilla for diagnosis and therapy of pancreatic diseases. Gastrointest Endosc 2013; 78: 545–549. [PMID: 23769144 DOI: 10.1016/j.gie.2013.05.005]

Cheon Y, Moon J, Choi H, Lee JE, Lee YN, Cho YD, Lee TH, Park SH, Kim SJ. Direct peroral pancreatoscopy with an ultraslim endoscope for the evaluation of intraductal papillary mucinous neoplasms. Endoscopy 2012; 43: E390–E391. [PMID: 22275014 DOI: 10.1055/s-0030-1256933]

Prachayakul V, Aswakul P, Kachintorn U. Overtube-assisted direct peroral pancreatoscopy using an ultraslim gastroscope in a patient suspected of having an intraductal papillary mucinous neoplasm. Endoscopy 2011; 43: E279–E280. [PMID: 21915825 DOI: 10.1055/s-0030-1256436]

Sung K-F, Chu Y-Y, Liu N-J, Hung CF, Chen TC, Chen JS, Lin CH. Direct peroral cholangioscopy and pancreatoscopy for diagnosis of a pancreatobiliary fistula caused by an intraductal papillary mucinous neoplasm of the pancreas: a case report. Dig Endosc 2011; 23: 247–250. [PMID: 21699570 DOI: 10.1111/j.1443-1661.2011.01126.x]

Buxbaum J, Yan A, Yeh K, Lane C, Nguyen N, Laine L. Aggressive hydration with lactated Ringer’s solution reduces pancreatitis after endoscopic retrograde cholangiopancreatography. Clin Gastroenterol Hepatol 2014; 12(2):303–307. [PMID: 23920031 PMCID: PMC3879172 DOI: 10.1016/j.cgh.2013.07.026]

Elmunzer BJ, Scheiman JM, Lehman GA, Chak A, Mosler P, Higgins PD, Hayward RA, Romagnuolo J, Elta GH, Sherman S, Waljee AK, Repaka A, Atkinson MR, Cote GA, Kwon RS, McHenry L, Piraka CR, Wamsteker EJ, Watkins JL, Korsnes SJ, Schmidt SE, Turner SM, Nicholson S, Fogel EL; U.S. Cooperative for Outcomes Research in Endoscopy (USCORE).. A randomized trial of rectal indomethacin to prevent post-ERCP pancreatitis. N Engl J Med 2012; 366:1414–1422. [PMID: 22494121 PMCID: PMC3339271 DOI: 10.1056/NEJMoa1111103]

Fan JH, Qian JB, Wang YM, Shi RH, Zhao CJ. Updated meta-analysis of pancreatic stent placement in preventing post-endoscopic retrograde cholangiopancreatography pancreatitis. World J Gastroenterol 2015; 21:7577–7583. [PMID: 26140006 PMCID: PMC4481455 DOI: 10.3748/wjg.v21.i24.7577]

- Tringali A, Lemmers A, Meves V, Terheggen G, Pohl J, Manfredi G, Häfner M, Costamagna G, Devière J, Neuhaus H, Caillol F, Giovannini M, Hassan C, Dumonceau JM. Intraductal biliopancreatic imaging: European Society of Gastrointestinal Endoscopy (ESGE) technology review 2015; 47(8):739-53. [PMID: 26147492 DOI: 10.1055/s-0034-1392584]

Miura T, Igarashi Y, Okano N, Miki K, Okubo Y. Endoscopic diagnosis of intraductal papillary-mucinous neoplasm of the pancreas by means of peroral pancreatoscopy using a small-diameter videoscope and narrow-band imaging. Dig Endosc 2010; 22:119–123. [PMID: 20447205 DOI: 10.1111/j.1443-1661.2010.00926.x]

Yamao K, Ohashi K, Nakamura T, Suzuki T, Sawaki A, Hara K, Fukutomi A, Baba T, Okubo K, Tanaka K, Moriyama I, Fukuda K, Matsumoto K, Shimizu Y. Efficacy of peroral pancreatoscopy in the diagnosis of pancreatic diseases. Gastrointest Endosc 2003; 57:205–209. [PMID: 12556785 DOI: 10.1067/mge.2003.72]

Tyberg A, Raijman I, Siddiqui A, et al. Digital pancreaticocholangioscopy for mapping of pancreaticobiliary neoplasia: can we alter the surgical resection margin? J Clin Gastroenterol 2018. Mar 6. doi: 10.1097/MCG.0000000000001008. [PMID: 29517713 DOI: 10.1097/MCG.0000000000001008]

Dumonceau JM, Delhaye M, Tringali A, Dominguez-Munoz JE, Poley JW, Arvanitaki M, Costamagna G, Costea F, Devière J, Eisendrath P, Lakhtakia S, Reddy N, Fockens P, Ponchon T, Bruno M. Endoscopic treatment of chronic pancreatitis: European Society of Gastrointestinal Endoscopy (ESGE) Clinical Guideline. Endoscopy 2012; 44:784–800. [PMID: 22752888 DOI: 10.1055/s-0032-1309840]

- Tanaka M, Fernandez-del Castillo C, Adsay, Chari S, Falconi M, Jang JY, Kimura W, Levy P, Pitman MB, Schmidt CM, Shimizu M, Wolfgang CL, Yamaguchi K, Yamao K; International Association of Pancreatology. International consensus guidelines 2012 for the management of IPMN and MCN of the pancreas. Pancreatology 2012; 12: 183–197. [PMID: 22687371 DOI: 10.1016/j.pan.2012.04.004]

Tanaka M, Chari S, Adsay V, Falconi M, Shimizu M, Yamaguchi K, Yamao K, Matsuno S; International Association of Pancreatology. International consensus guidelines for management of intraductal papillary mucinous neoplasms and mucinous cystic neoplasms of the pancreas. Pancreatology 2006; 6(1–2):17–32. [PMID: 16327281 DOI: 10.1159/000090023]

European Study Group on Cystic Tumors of the Pancreas. European evidence based guidelines on pancreatic cystic neoplasms. Gut 2018; 67:789–804. [PMID: 29574408 PMCID: PMC5890653 DOI: 10.1136/gutjnl-2018-316027]

Hara T, Yamaguchi T, Ishihara T, Tsuyuguchi T, Kondo F, Kato K, Asano T, Saisho H.. Diagnosis and patient management of intraductal papillary-mucinous tumor of the pancreas by using peroral pancreatoscopy and intraductal ultrasonography. Gastroenterology 2002; 122:34–43. [PMID: 11781278]

ASGE Standards of Practice Committee, Chandrasekhara V, Chathadi KV, Acosta RD, Decker GA, Early DS, Eloubeidi MA, Evans JA, Faulx AL, Fanelli RD, Fisher DA, Foley K, Fonkalsrud L, Hwang JH, Jue TL, Khashab MA, Lightdale JR, Muthusamy VR, Pasha SF, Saltzman JR, Sharaf R, Shaukat A, Shergill AK, Wang A, Cash BD, DeWitt JM. The role of endoscopy in benign pancreatic disease. Gastrointest Endosc 2015; 82:203–214. [PMID: 26077456 DOI: 10.1016/j.gie.2015.04.022]

Munigala S, Kanwal F, Xian H, Agarwal B. New diagnosis of chronic pancreatitis: risk of missing an underlying pancreatic cancer. Am J Gastroenterol 2014; 109:1824–1830. [PMID: 25286967 DOI: 10.1038/ajg.2014.318]

El Hajj I, Brauer BC, Wani S, Fukami N, Attwell AR, Shah RJ. Role of per-oral pancreatoscopy in the evaluation of suspected pancreatic duct neoplasia: a 13-year U.S. single center experience. Gastrointest Endosc 2017; 85:737–745. [PMID: 27473181 DOI: 10.1016/j.gie.2016.07.040]

Kodama T, Koshitani T, Sato H, Imamura Y, Kato K, Abe M, Wakabayashi N, Tatsumi Y, Horii Y, Yamane Y, Yamagishi H. Electronic pancreatoscopy for the diagnosis of pancreatic diseases. Am J Gastroenterol 2002; 97: 617–622. [PMID: 11922556 DOI: 10.1111/j.1572-0241.2002.05539.x]

Yamaguchi T, Shirai Y, Ishihara T, Sudo K, Nakagawa A, Ito H, Miyazaki M, Nomura F, Saisho H. Pancreatic juice cytology in the diagnosis of intraductal papillary mucinous neoplasm of the pancreas: significance of sampling by peroral pancreatoscopy. Cancer 2005; 104:2830–2836. [PMID: 16287152 DOI: 10.1002/cncr.21565]

Beyna T, Neuhaus H, Gerges C. Endoscopic treatment of pancreatic duct stones under direct vision: Revolution or resignation? Systematic review. Dig Endosc 2018; 30:29–37. [PMID: 28656688 DOI: 10.1111/den.12909]

Attwell AR, Brauer BC, Chen YK, Yen RD, Fukami N, Shah RJ. Endoscopic retrograde cholangiopancreatography with per oral pancreatoscopy for calcific chronic pancreatitis using endoscope and catheter-based pancreatoscopes: a 10-year single-center experience. Pancreas 2014; 43: 268–274. [PMID: 24518507 DOI: 10.1097/MPA.0b013e3182965d81]

Attwell AR, Patel S, Kahaleh M, Raijman IL, Yen R, Shah RJ. ERCP with per-oral pancreatoscopy guided laser lithotripsy for calcific chronic pancreatitis: a multicenter U.S. experience. Gastrointest Endosc 2015; 82:311–318. [PMID: 25841585 DOI: 10.1016/j.gie.2015.01.020]

Shah RJ, Raijman I, Brauer B, Gumustop B, Pleskow DK. Performance of a fully disposable, digital, single-operator cholangiopancreatoscope. Endoscopy 2017; 49:651–658. [PMID: 28511237 DOI: 10.1055/s-0043-106295]

- Miller CS, Chen YI. Current role of endoscopic pancreatoscopy. Curr Opin Gastroenterol 2018; 34(5):309-315. [PMID: 29847323 DOI: 10.1097/MOG.0000000000000453]

- Barakat MT, Banerjee S. Spycatcher: use of a novel cholangioscopic snare for capture and retrieval of a proximally migrated biliary stent. Dig Dis Sci 2018 Aug 4. doi:10.1007/s10620-018-5228-8 [Epub ahead of print]. [PMID: 30078117 DOI: 10.1007/s10620-018-5228-8]

Figures:

Figure 1: Figure 1. Video-colangiopancreatoscopy shows a normal main pancreatic duct in white light vision (a) and in Narrow Band Imaging mode (b)

Figure 2. Single-operator video-colangiopancreatoscopy digital system (SpyGlass DS, Boston Scientific)

Figure 3. Pancreatoscopy with SpyGlass DS

Figura 4. An ultraslim upper endoscope inserted into the pancreatic duct assisted by a 5-Fr an intraductal balloon catheter

Figure 5. Overtube of a single-balloon enteroscope assisted direct POPS with an ultraslim gastroscope

Figure 6. Endoscopic classification of the protruding lesions by POPS

Figure 7. SpyGlassTM Retrieval Snare