**Name of Journal:** *World Journal of Cardiology*

**Manuscript NO:** 50559

**Manuscript Type:** REVIEW

# Radial artery access site complications during cardiac procedures, clinical implications and potential solutions: The role of nitric oxide

# Coghill EM *et al*. Radial vasospasm: Current and future solutions

Emma M Coghill, Timothy Johnson, Russell E Morris, Ian L Megson, Stephen J Leslie

**Emma M Coghill, Ian L Megson,** Free Radical Research Facility, Division of Biomedical Sciences, University of the Highlands and Islands, Inverness IV2 3JH, United Kingdom

**Timothy Johnson,** Johnson Matthey Technology Centre, Blount’s Court, Sonning Common, Reading RG4 9NH, United Kingdom

**Russell E Morris,** School of Chemistry, University of St. Andrews, St Andrews KY16 9ST, United Kingdom

**Stephen J Leslie,** Department of Cardiology, NHS Highland, Inverness IV2 3UJ, United Kingdom

**ORCID number:** Emma M Coghill (0000-0002-7877-9582); Timothy Johnson (0000-0003-4651-7374); Russel E Morris (0000-0001-7809-0315); Ian L Megson (0000-0001-8287-2459); Stephen J Leslie (0000- 0002-1403-4733).

**Author contributions:** Coghill EM composed the basis of the article; Leslie SJ produced the clinical piece with all authors contributing equally to the editing.

**Supported by** the European Social Fund and Scottish Funding Council as part of Developing Scotland’s Workforce in the Scotland 2014-2020 European Structural and Investment Fund Programme.

**Conflict-of-interest statement:** Johnson T is employed by a company with an active research interest in the commercialisation of MOFs.

**Open-Access:** This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

**Manuscript source:** Unsolicited manuscript

**Corresponding author: Stephen J Leslie,** **FRCP (C), MBBS, MRCP, PhD, Professor,** Department of Cardiology, NHS Highland, Inverness IV2 3UJ, United Kingdom. stephen.leslie@nhs.net

**Telephone:** +44-146-3705462

**Received:** September 4, 2019

**Peer-review started:** September 4, 2019

**First decision:** September 28, 2019

**Revised:** November 5, 2019

**Accepted:** November 26, 2019

**Article in press:**

**Published online:**

# Abstract

Percutaneous coronary intervention for the treatment of coronary artery disease is most commonly performed in the UK through the radial artery, as this is considered to be safer than the femoral approach. However, despite improvements in technology and techniques, complications can occur. The most common complication, arterial spasm, can cause intense pain and, in some cases, procedural failure. The incidence of spasm is dependent on several variables, including operator experience, artery size, and equipment used. An anti-spasmolytic cocktail can be applied to reduce spasm, which usually includes an exogenous nitric oxide (NO) donor (glyceryl trinitrate). NO is an endogenous local vasodilator and therefore is a potential target for anti-spasm intervention. However, systemic administration can result in unwanted side-effects, such as hypotension. A method that adopts local delivery of NO might be advantageous. This review article describes the mechanisms involved in radial artery spasm, discusses the advantages and disadvantages of current strategies to reduce spasm, and highlight the potential of NO-loaded nanoporous materials for use in this setting.

# Key words: Radial artery; Cannulation; Spasm; Nitric oxide; Vasodilation; Nanoporous material

**© The Author(s) 2019.** Published by Baishideng Publishing Group Inc. All rights reserved.

# Core tip: Radial access during interventional cardiology procedures is much safer than femoral access although complications can still arise. However, the radial artery is more prone to spasm which can cause pain for the patient and lead to procedural failure. Current strategies to avoid spasm include administration of an anti- spasmolytic cocktail. Several disadvantages towards the use of this “cocktail” leaves a gap in the industry for a new product to dilate the artery without any systemic effects.

Coghill EM, Johnson T, Morris RE, Megson IL, Leslie SJ. Radial artery access site complications during cardiac procedures, clinical implications and potential solutions: The role of nitric oxide. *World J Cardiol* 2019; In press

# INTRODUCTION

Coronary artery disease is a major cause of mortality and morbidity worldwide[1,2]. The underlying disease process, atherosclerosis, results in the accumulation of lipid plaque in the arterial intima. Atherosclerosis is triggered by endothelial dysfunction and can lead to reduced coronary blood flow, resulting in angina or myocardial infarction with a reduction in patient survival and quality of life[3-5]. Treatments for occlusive coronary artery disease are divided into three major categories: medical therapy alone, concomitant coronary artery bypass grafting, or concomitant percutaneous coronary intervention (PCI). PCI was introduced in 1977 by Grüntzig *et al*[7] and is now the most common procedure used to treat diseased coronary arteries[6], improving symptoms and reducing mortality in certain patients[6,7].

There have been considerable technological advances in PCI since its inception, with the introduction of improved delivery equipment, intracoronary stents, improvement in stent design and introduction of anti-proliferation stent coatings, resulting in improved procedural success and patient outcomes. In the United Kingdom, PCI is most commonly performed through the radial artery (RA) because this is considered to be safer than the femoral approach. However, despite these developments, complications associated with PCI persist. These include vascular access site complications, coronary artery complications and procedure-related complications, such as embolism or renal dysfunction caused by radio-opaque contrast[8]. The most common complications are related to the vascular access site.

This review article describes the mechanisms that are involved in RA spasm and discusses strategies to reduce spasm and improve outcomes, with a particular focus on the potential for novel nitric oxide (NO) materials in this setting.

# PCI ACCESS SITES

Vascular access can be achieved via the femoral artery or, more recently, the RA[9-11]. Although femoral artery access is still used, it has several disadvantages compared to the RA approach, including longer bed rest, difficult access through the tortuous aorta, the need for puncture site compression after the procedure, and vascular complications of arteriovenous fistula and haematoma[9]. Furthermore, the femoral artery is an ‘end artery’ with limited alternative vascular pathways to contribute to lower limb perfusion. As a result, vascular complications can lead to limb loss[12]. The RA approach was introduced in 1989 by Campeau *et al*[13] and has been used increasingly for interventional and diagnostic cardiology over the last thirty years.

Studies have shown that, compared with the femoral approach, the radial method has reduced bleeding risk, earlier hospital discharge, lower cost, reduced haematoma formation, lower mortality and morbidity, and is preferred by most patients[14-18]. However, it carries technical challenges, not least on account of the small RA diameter, which hinders instrument insertion and increases artery-instrument contact, heightening the risk of disruption to the endothelial surface, which increases the risk of spasm.

As the RA approach is becoming more commonly used, there is a greater need to reduce the risk of complications.

# THE RADIAL ARTERY: ANATOMICAL AND PHYSIOLOGICAL CONSIDERATIONS

***Anatomy***

The RA runs along the lateral part of the front of the forearm beside the superficial branch of the radial nerve[19,20]. Variation in the anatomy of the RA is less frequent in the distal forearm, where arterial cannulation is commonly performed[18,19,21]. Arterial blood flow is provided to the hand through a dense anastomotic network of four arches created from the radial and ulnar arteries. The complexity of the anatomy of the RA ensures substantial collateral blood flow is instrumental in ensuring that cannulation (and occlusion) is generally well-tolerated.

The RA has a thick tunica media composed of mainly smooth muscle cells with a high density of α1 adrenoceptors (Figure 1). High density sympathetic innervation, coupled with a thick, muscular wall makes the RA highly susceptible to spasm; the predominance of α-adrenoceptors leads to rapid vasoconstriction in response to stress-induced local release of the catecholamine, noradrenaline[22,23]. Anomalous radial artery anatomy and small artery diameter are major predisposing factors which can determine the development of spasm[24]. During cannulation, spasm can cause the vessel to “clamp” onto the guide catheter, which can result in pain for the patient and procedural difficulty for the operator, limiting successful completion. Spasm then exacerbates friction between the arterial wall and the sheath, which acts to intensify the spasm and induce a positive feedback loop (Figure 1). This continuous cycle of events can lead ultimately to intimal tear and thrombus formation in the artery[25,26]. Once catheters are inserted through a sheath, spasm can occur at other sites at any level from the RA to the subclavian artery[26].

***NO - a powerful endogenous local vasodilator and anti-platelet agent***

NO is an endogenous biological signalling molecule that mediates a variety of biological functions in the cardiovascular, immune and nervous systems[5]. NO mediates vasodilatation, cell proliferation and inhibition of platelet adhesion[27-29].

The importance of NO in biological processes was first realised when it was identified as an endothelium-derived relaxing factor that is released by the vascular endothelium and mediates vasodilation. It has long been known that endogenous NO is reduced or absent in coronary arteries affected by atherosclerosis[27,30]. NO is now recognised to play a critical role in pathologic processes that culminate in the development of atherosclerotic lesions. Endothelial dysfunction is one of the earliest processes identified in atherosclerosis development. The normal homeostatic function of the endothelium requires NO, which has decreased bioavailability in patients with developing atherosclerosis[28]. Deficiency in NO generation or functional availability is a fundamental feature of atherosclerosis and many other processes associated with cardiovascular disease, including thrombosis, intimal hyperplasia and aneurysm[28,29].

# COMPLICATIONS FROM RADIAL ARTERY CANNULATION

Table 1 summarises the complications associated with radial artery cannulation.

***Spasm***

During RA cannulation, an early occurrence of RA spasm can result in difficulty to advance the sheath or guide catheter within the artery, or failure to cannulate altogether. RA spasm as a specific consequence of RA cannulation can occur at any stage of the procedure. Spasm at the end of the procedure can result in difficult and painful sheath removal. A report in 2004 indicated that severe spasm occurred in over 50% of patients that received transradial catheterization; incidence was inversely correlated with arterial diameter[33]. However, most recent studies report a much lower rate (1%-34%)[11,18,19,24,26,34-36], presumably due to improved technique. The large range in reported RA spasm incidence (Table 1) is likely due to a combination of factors, including sheath size, vessel size, procedural differences, experience of the interventionalist, and the different definitions of spasm[24]. RA spasm is more common in females, smaller patients and patients with vaso-occlusive disorders such as diabetes[22]. Spasm in the RA is generally temporary and resolves spontaneously, but more prolonged spasm can occur, leading to trapping of the catheter and increased risk of RA occlusion.

***Other complications***

It is out with the scope of this current review to discuss in detail other potential complications that can arise from RA cannulation, however their frequency is shown in Table 1. In summary, reported rates of RA occlusion vary greatly from 1%-3% to up to 19.7% (temporary occlusion)[11,19,24,26,35-37]. Perforation or rupture of the artery is a rare complication that can lead to forearm haematoma[24]. In the event that intervention is delayed, more serious complications, such as compartment syndrome, can occur[26,36]. Pseudoaneurysm is an extremely rare complication in the RA approach (more common in transfemoral procedures) and occurs when an artery wall is injured, resulting in possible haemorrhage and haematoma in the surrounding tissue[11,26]. RA cannulation can also cause direct damage to the endothelium, which can affect RA function[38,39] impairing endothelium-dependent vasodilatory, anti-thrombotic and anti-mitogenic properties.

# PREVENTING COMPLICATIONS

Administration of vasodilators, either alone or in an anti- spasmolytic cocktail is the most common approach to prevention or management of spasm (Table 2). However, hydrophilic coatings and structural alterations of the sheaths are alternative strategies that are available[32,37].

It is well recognised that RA spasm rates are lower in procedures conducted by experienced operators with good technique; patient preparation is recognised to be key to a successful procedure. Intraprocedural anticoagulation (usually heparin) is routinely administered to prevent thrombotic occlusion of the RA; the occlusion rate is inversely corelated to activated clotting time[15]. In selected cases, sedatives such as short acting benzodiazepines can be used (or at least offered to patients) as a means of reducing the incidence of spasm. Low dose sedation (opioid/benzodiazepine) has been shown to reduce spasm (2.6% in treatment group *vs* 8.3% in control group)[40].

Vasodilators, such as NO donor drugs and calcium channel blockers can be used alone, or in combination with other compounds, to form an anti-spasmolytic radial “cocktail”, to prevent or reduce RA spasm[26,28,32,34]. However, on account of the risk of systemic vasodilatory effects of spasmolytic drugs used in this setting, there are side-effects associated with systemic hypotension and this approach is contra-indicated in patients with pre-existing hypotension[15]. The use of a radial “cocktail” is based on the operator’s preference but is common practise in many units[37].

Depending on the unit, the cocktail components and concentrations differ (Table 2), along with their reported effectiveness. The L-type calcium channel antagonist, verapamil is reported to be the most widely used agent for preventing spasm[15,41]. Nitroglycerin [glyceryl trinitrate (GTN)] is also widely used in RA catheterisation. GTN is metabolised to release NO in smooth muscle, resulting in smooth muscle relaxation through activation of guanylate cyclase and increased cyclic guanosine monophosphate.

A recent review of individual drugs and drug cocktails found that the use of verapamil (5 mg) alone or in combination with GTN (100-200 µg) was effective at achieving a significant but modest reduction in the incidence of spasm (9% compared to 12% for placebo)[41]. Despite these reported benefits of verapamil in this setting, there is concern about the negative chronotropic and inotropic effect of verapamil, especially in those patients with left ventricular dysfunction, hypotension and bradycardia. It has been suggested that verapamil may not necessarily be required by high-volume trans-radial-operators[42]. GTN is thought to have a more favourable side-effect profile compared to verapamil and carries the additional benefit of inhibiting platelet aggregation. However, there are contraindications of GTN in certain patients (*e.g.*, severe aortic stenosis or severe hypotension[15,42]).

Development of a prophylactic vasodilator, with effects entirely localised to the vasculature affected by spasm would be a distinct advantage.

***Sheath type and materials***

It has been suggested that the success rate of the RA approach is influenced by the ratio of sheath diameter to vessel diameter. The anatomy of the RA varies between patients, so vessel sheath mismatch is a potential issue[37]. In clinical practice, operator experience and personal preference largely controls catheter selections[15]. Operators will generally use the smallest sheath possible and therefore there is limited opportunity to further reduce sheath size. Several trials have evaluated the impact of different sheaths and catheters on occurrence of RA spasm. Several investigations have studied the impact of sheath length and coating, or the impact of sheath coating alone. In a study conducted by Rathore *et al*[35], the application of 4 different introducer sheaths were examined: a long (23 cm) hydrophilic-coated, long uncoated, short (13 cm) hydrophilic-coated, and short uncoated. The results of this study showed that the hydrophilic sheath coating caused significantly less RA spasm (19% *vs* 39.9%) and patient discomfort (15.1% *vs* 28.5%), with no difference observed between long and short sheaths. Interestingly, RA occlusion was observed in 9.5% of patients, this was unaffected by sheath coating or length. One advantage of hydrophilic coatings is that larger sheaths can be used in smaller arteries[37]. Similar results have been found in other studies, but despite these approaches and advancements, RA spasm continues to affect a sizable proportion of patients, even with experienced operators.

***Opportunity for a novel approach***

The application of a novel sheath coating could be advantageous in the cardiovascular setting, although the components of the coating would have to be carefully designed to produce the desired effect without any adverse systemic effects. A sheath design that dilates the vessel without the use of vasodilator drugs would not only minimise the risk of RA spasm, but also reduce the risk of any unintended side-effects of the drugs used. The application of NO to the sheath used in RA approach might provide the local dilating effects of NO with the potential to avoid any unwanted systematic effects. It would be essential that NO is delivered in appropriate quantities for a suitable time scale, to prevent adverse effects and optimise vasodilation. The use of a NO releasing coating of a sheath could prevent local vasospasm without prompting systemic vasospasm, reducing patient pain and anxiety. The delivery of NO through this mechanism could also inhibit any platelet aggregation prompted by catheterisation, preventing thrombosis during the procedure. Novel nanoporous materials such as metal organic frameworks (MOFs) or zeolites are excellent gas storage and release materials. Zeolites are inorganic, microporous materials often used for large-scale catalytic applications[45,46]. MOFs are organic- inorganic crystalline microporous materials made up of organic spacers which connect metal ions[47,48]. MOFs and zeolites have attracted interest for use in drug storage and delivery due to the ability to tune their structure and function[45-48]. NO storage in both nanoporous materials has been studied extensively with very promising results. However, cytotoxicity of these compounds is yet to be examined in the cardiac setting.

Previous work examining NO-loaded zeolites showed evidence that these high capacity NO stores could inhibit platelet aggregation over several hours. NO release profiles could be easily tuned through manipulation of the metal ion, along with the composition and nature of the polymer used for production. Stability studies also found that NO-loaded zeolites were very stable in the absence of water, suggesting a long shelf life of months to years under vacuum[46]. These data show promise for potential use in a sheath coating. More recent developments in NO storage materials have focused on the use of MOFs. MOFs have an advantage over zeolites due to the infinite number of possible frameworks that can be synthesised. This ability to fine-tune their structures provides an opportunity to alter chemical characteristics the suit the required function. Many MOF structures have been developed to store and release NO. Previous work has examined the capability of storage and release of NO in MOFs with different incorporated metal ions. The alteration of metal ions allows for the delivery of biologically active, but non-toxic levels of NO. It has been shown that the use of Ni2+ as a dopant can improve the NO release performance of a MOF (CPO-27), delivering an appropriate bio-active concentration of NO. The results from this study highlights a significant advance in the development of a NO storage and delivery compound[47]. A 2017 study examined the release of NO from vascular catheters to prevent bacterial infection using a NO donor[49]. Results showed inhibition of bacterial adhesion without any cytotoxic effects towards mammalian cells. Another study investigated the release of NO from a coronary stent using a NO donor[50]. Results showed the promising positive effect of NO as a releasing agent to supress or prevent restenosis and thrombosis. Authors proposed further investigations using other NO carriers or donors to further improve NO release pattern.

The tuneable nature of these materials could allow for an appropriate release of NO over a desired period thus excluding any toxic effects that may occur from overexposure of NO. The effects of the NO released should ensure a larger intraluminal diameter making the procedure safer and easier for the operator. The localised nature of the NO release should inhibit inflammation and thrombosis at the site of access without any adverse systemic effects. The development of these nanoporous materials has the potential for long-lasting, low level NO generation that mimics endothelial NO, with the potential to both inhibit spasm and prevent localised thrombosis. The use of a nanoporous material in the coating of a sheath could prevent local vasospasm without prompting systemic vasospasm, reducing patient pain and anxiety. Overall the procedure efficiency and effectiveness could be improved.

This application might not only benefit cardiac catheterisation, but other situations where catheter thrombosis or platelet aggregation can be problematic such as peripheral and central venous cannulae.

# CONCLUSIONS

The use of the RA instead of the femoral artery has reduced complications at the time of coronary artery procedures. However, despite improvement in cannulation techniques, minimisation of sheath size, hydrophilic coatings and use of radial “cocktails” complications still occur, most commonly RA spasm, in a proportion of patients resulting is pain, procedural failure and RA damage. Novel approaches in sheath materials, perhaps to include NO releasing materials such as MOFs and zeolites might offer an exciting new target for improvement in outcomes.

**ACKNOWLEDGEMENTS**

The authors would like to thank Morven Stewart (St Andrews University) for her input into this review.

**REFERENCES**

1 **GBD 2013 Mortality and Causes of Death Collaborators**. Global, regional, and national age-sex specific all-cause and cause-specific mortality for 240 causes of death, 1990-2013: a systematic analysis for the Global Burden of Disease Study 2013. *Lancet* 2015; **385**: 117-171 [PMID: 25530442 DOI: 10.1016/S0140-6736(14)61682-2]

2 **Nichols M**, Townsend N, Scarborough P, Rayner M. Cardiovascular disease in Europe 2014: epidemiological update. *Eur Heart J* 2014; **35**: 2950-2959 [PMID: 25139896 DOI: 10.1093/eurheartj/ehu299]

3 **Peters SA**, Singhateh Y, Mackay D, Huxley RR, Woodward M. Total cholesterol as a risk factor for coronary heart disease and stroke in women compared with men: A systematic review and meta-analysis. *Atherosclerosis* 2016; **248**: 123-131 [PMID: 27016614 DOI: 10.1016/j.atherosclerosis.2016.03.016]

4 **Kumada M**, Kihara S, Sumitsuji S, Kawamoto T, Matsumoto S, Ouchi N, Arita Y, Okamoto Y, Shimomura I, Hiraoka H, Nakamura T, Funahashi T, Matsuzawa Y; Osaka CAD Study Group. Coronary artery disease. Association of hypoadiponectinemia with coronary artery disease in men. *Arterioscler Thromb Vasc Biol* 2003; **23**: 85-89 [PMID: 12524229 DOI: 10.1161/01.atv.0000048856.22331.50]

5 **Le Brocq M**, Leslie SJ, Milliken P, Megson IL. Endothelial dysfunction: from molecular mechanisms to measurement, clinical implications, and therapeutic opportunities. *Antioxid Redox Signal* 2008; **10**: 1631-1674 [PMID: 18598143 DOI: 10.1089/ars.2007.2013]

6 **Mamas MA**, Ratib K, Routledge H, Neyses L, Fraser DG, de Belder M, Ludman PF, Nolan J; British Cardiovascular Intervention Society and the National Institute for Cardiovascular Outcomes Research. Influence of arterial access site selection on outcomes in primary percutaneous coronary intervention: are the results of randomized trials achievable in clinical practice? *JACC Cardiovasc Interv* 2013; **6**: 698-706 [PMID: 23769648 DOI: 10.1016/j.jcin.2013.03.011]

7 **Grüntzig A**, Hirzel H, Goebel N, Gattiker R, Turina M, Myler R, Stertzer S, Kaltenbach M. [Percutaneous transluminal dilatation of chronic coronary stenoses. First experiences]. *Schweiz Med Wochenschr* 1978; **108**: 1721-1723 [PMID: 715409]

8 **Treweeke AT**, Maskrey BH, Hickson K, Miller JH, Leslie SJ, Megson IL. Iodixanol Has a Favourable Fibrinolytic Profile Compared to Iohexol in Cardiac Patients Undergoing Elective Angiography: A Double-Blind, Randomized, Parallel Group Study. *PLoS One* 2016; **11**: e0147196 [PMID: 26784323 DOI: 10.1371/journal.pone.0147196]

9 **Yip HK**, Chung SY, Chai HT, Youssef AA, Bhasin A, Yang CH, Chen SM, Hang CL, Hsieh YK, Chen CJ, Chang LT, Sun CK, Wu CJ. Safety and efficacy of transradial vs transfemoral arterial primary coronary angioplasty for acute myocardial infarction: single-center experience. *Circ J* 2009; **73**: 2050-2055 [PMID: 19755749 DOI: 10.1253/circj.cj-09-0334]

10 **Kok MM**, Weernink MGM, von Birgelen C, Fens A, van der Heijden LC, van Til JA. Patient preference for radial versus femoral vascular access for elective coronary procedures: The PREVAS study. *Catheter Cardiovasc Interv* 2018; **91**: 17-24 [PMID: 28470994 DOI: 10.1002/ccd.27039]

11 **Zhang J,** Liu C, Tian B, Lin X. Success rate, efficacy and complications of the transradial artery approach to percutaneous coronary intervention for coronary heart disease. *Int J Clin Exp Med* 2017; **10**: 12571-12576

12 **Gander JW**, Fisher JC, Reichstein AR, Gross ER, Aspelund G, Middlesworth W, Stolar CJ. Limb ischemia after common femoral artery cannulation for venoarterial extracorporeal membrane oxygenation: an unresolved problem. *J Pediatr Surg* 2010; **45**: 2136-2140 [PMID: 21034934 DOI: 10.1016/j.jpedsurg.2010.07.005]

13 **Campeau L**. Percutaneous radial artery approach for coronary angiography. *Cathet Cardiovasc Diagn* 1989; **16**: 3-7 [PMID: 2912567 DOI: 10.1002/ccd.1810160103]

14 **Anjum I**, Khan MA, Aadil M, Faraz A, Farooqui M, Hashmi A. Transradial vs. Transfemoral Approach in Cardiac Catheterization: A Literature Review. *Cureus* 2017; **9**: e1309 [PMID: 28690943 DOI: 10.7759/cureus.1309]

15 **Mason PJ**, Shah B, Tamis-Holland JE, Bittl JA, Cohen MG, Safirstein J, Drachman DE, Valle JA, Rhodes D, Gilchrist IC; American Heart Association Interventional Cardiovascular Care Committee of the Council on Clinical Cardiology; Council on Cardiovascular and Stroke Nursing; Council on Peripheral Vascular Disease; and Council on Genomic and Precision Medicine. An Update on Radial Artery Access and Best Practices for Transradial Coronary Angiography and Intervention in Acute Coronary Syndrome: A Scientific Statement From the American Heart Association. *Circ Cardiovasc Interv* 2018; **11**: e000035 [PMID: 30354598 DOI: 10.1161/HCV.0000000000000035]

16 **Elfandi A**, Safirstein JG. Transradial PCI and Same Day Discharge. *Curr Treat Options Cardiovasc Med* 2018; **20**: 10 [PMID: 29478204 DOI: 10.1007/s11936-018-0605-3]

17 **Valgimigli M**, Gagnor A, Calabró P, Frigoli E, Leonardi S, Zaro T, Rubartelli P, Briguori C, Andò G, Repetto A, Limbruno U, Cortese B, Sganzerla P, Lupi A, Galli M, Colangelo S, Ierna S, Ausiello A, Presbitero P, Sardella G, Varbella F, Esposito G, Santarelli A, Tresoldi S, Nazzaro M, Zingarelli A, de Cesare N, Rigattieri S, Tosi P, Palmieri C, Brugaletta S, Rao SV, Heg D, Rothenbühler M, Vranckx P, Jüni P; MATRIX Investigators. Radial versus femoral access in patients with acute coronary syndromes undergoing invasive management: a randomised multicentre trial. *Lancet* 2015; **385**: 2465-2476 [PMID: 25791214 DOI: 10.1016/S0140-6736(15)60292-6]

18 **Basavarajaiah S**, Brown A, Naganuma T, Gajendragadkar P, McCormick L, West N. Should Technical and Anatomical Difficulties Discourage Operators From Embarking on Transradial Access for Percutaneous Coronary Intervention? *J Invasive Cardiol* 2018; **30**: 341-347 [PMID: 30012888]

19 **Brzezinski M**, Luisetti T, London MJ. Radial artery cannulation: a comprehensive review of recent anatomic and physiologic investigations. *Anesth Analg* 2009; **109**: 1763-1781 [PMID: 19923502 DOI: 10.1213/ANE.0b013e3181bbd416]

20 **Singh R**, Malhotra R, Wadhawan M. Anomalies of radial and ulnar arteries. *J Vasc Bras* 2017; **16**: 56-59 [PMID: 29930625 DOI: 10.1590/1677-5449.011716]

21 **McCormack LJ**, Cauldwell EW, Anson BJ. Brachial and antebrachial arterial patterns; a study of 750 extremities. *Surg Gynecol Obstet* 1953; **96**: 43-54 [PMID: 13015348]

22 **Backman SB**. Radial artery spasm: Should we worry? *Can J Anaesth* 2017; **64**: 1165-1168 [PMID: 28822090 DOI: 10.1007/s12630-017-0946-5]

23 **He GW**, Yang CQ. Characteristics of adrenoceptors in the human radial artery: clinical implications. *J Thorac Cardiovasc Surg* 1998; **115**: 1136-1141 [PMID: 9605084 DOI: 10.1016/S0022-5223(98)70414-3]

24 **Ruiz-Salmerón RJ**, Mora R, Vélez-Gimón M, Ortiz J, Fernández C, Vidal B, Masotti M, Betriu A. [Radial artery spasm in transradial cardiac catheterization. Assessment of factors related to its occurrence, and of its consequences during follow-up]. *Rev Esp Cardiol* 2005; **58**: 504-511 [PMID: 15899196 DOI: 10.1016/S1885-5857(06)60730-5]

25 **Takashima K,** Shimomura R, Kitou T, Terada H, Yoshinaka K, Ikeuchi K. Contact and friction between catheter and blood vessel. *Tribol Int* 2007; **40**: 319-328 [DOI: 10.1016/j.triboint.2005.10.010]

26 **Elissa Altin S,** Singh VP. Managing Radial Access Complications. *Cardiac Interventions Today* 2012; 48–52

27 **Davignon J**, Ganz P. Role of endothelial dysfunction in atherosclerosis. *Circulation* 2004; **109**: III27-III32 [PMID: 15198963 DOI: 10.1161/01.CIR.0000131515.03336.f8]

28 **Barbato JE**, Tzeng E. Nitric oxide and arterial disease. *J Vasc Surg* 2004; **40**: 187-193 [PMID: 15218485 DOI: 10.1016/j.jvs.2004.03.043]

29 **Miller MR**, Megson IL. Recent developments in nitric oxide donor drugs. *Br J Pharmacol* 2007; **151**: 305-321 [PMID: 17401442 DOI: 10.1038/sj.bjp.0707224]

30 **Ludmer PL**, Selwyn AP, Shook TL, Wayne RR, Mudge GH, Alexander RW, Ganz P. Paradoxical vasoconstriction induced by acetylcholine in atherosclerotic coronary arteries. *N Engl J Med* 1986; **315**: 1046-1051 [PMID: 3093861 DOI: 10.1056/NEJM198610233151702]

31 **Chen J**, Kuhlencordt PJ, Astern J, Gyurko R, Huang PL. Hypertension does not account for the accelerated atherosclerosis and development of aneurysms in male apolipoprotein e/endothelial nitric oxide synthase double knockout mice. *Circulation* 2001; **104**: 2391-2394 [PMID: 11705813 DOI: 10.1161/hc4501.099729]

32 **Kiemeneij F**, Vajifdar BU, Eccleshall SC, Laarman G, Slagboom T, van der Wieken R. Evaluation of a spasmolytic cocktail to prevent radial artery spasm during coronary procedures. *Catheter Cardiovasc Interv* 2003; **58**: 281-284 [PMID: 12594687 DOI: 10.1002/ccd.10445]

33 **Fukuda N**, Iwahara S, Harada A, Yokoyama S, Akutsu K, Takano M, Kobayashi A, Kurokawa S, Izumi T. Vasospasms of the radial artery after the transradial approach for coronary angiography and angioplasty. *Jpn Heart J* 2004; **45**: 723-731 [PMID: 15557713 DOI: 10.1536/jhj.45.723]

34 **Waggoner T,** White R, Wassmer PV, Wassmer PC, Sanchez R, Rosenthal A. Radial Artery Spasm Prevention (RASP Study): A Retrospective Analysis of Oral Pharmacologic Prophylaxis for Prevention of Radial Artery Spasm During Transradial Access for Cardiac Catheterization. *Cath Lab Digest* 2014; **22**

35 **Rathore S**, Stables RH, Pauriah M, Hakeem A, Mills JD, Palmer ND, Perry RA, Morris JL. Impact of length and hydrophilic coating of the introducer sheath on radial artery spasm during transradial coronary intervention: a randomized study. *JACC Cardiovasc Interv* 2010; **3**: 475-483 [PMID: 20488402 DOI: 10.1016/j.jcin.2010.03.009]

36 **Ruzsa Z,** Szolnoky J. Radial artery cannulation: a systemic review. *J Anesthe Clinic Res* 2012; **4**:3 [DOI: 10.4172/2155-6148.1000313]

37 **Kindel M**, Rüppel R. Hydrophilic-coated sheaths increase the success rate of transradial coronary procedures and reduce patient discomfort but do not reduce the occlusion rate: randomized single-blind comparison of coated vs. non-coated sheaths. *Clin Res Cardiol* 2008; **97**: 609-614 [PMID: 18379854 DOI: 10.1007/s00392-008-0658-5]

38 **Antonopoulos AS**, Latsios G, Oikonomou E, Aznaouridis K, Papanikolaou A, Syrseloudis D, Siasos G, Vavuranakis M, Toutouzas K, Tousoulis D. Long-term endothelial dysfunction after trans-radial catheterization: A meta-analytic approach. *J Card Surg* 2017; **32**: 464-473 [PMID: 28833634 DOI: 10.1111/jocs.13181]

39 **Yonetsu T**, Kakuta T, Lee T, Takayama K, Kakita K, Iwamoto T, Kawaguchi N, Takahashi K, Yamamoto G, Iesaka Y, Fujiwara H, Isobe M. Assessment of acute injuries and chronic intimal thickening of the radial artery after transradial coronary intervention by optical coherence tomography. *Eur Heart J* 2010; **31**: 1608-1615 [PMID: 20413398 DOI: 10.1093/eurheartj/ehq102]

40 **Deftereos S**, Giannopoulos G, Raisakis K, Hahalis G, Kaoukis A, Kossyvakis C, Avramides D, Pappas L, Panagopoulou V, Pyrgakis V, Alexopoulos D, Stefanadis C, Cleman MW. Moderate procedural sedation and opioid analgesia during transradial coronary interventions to prevent spasm: a prospective randomized study. *JACC Cardiovasc Interv* 2013; **6**: 267-273 [PMID: 23517838 DOI: 10.1016/j.jcin.2012.11.005]

41 **Kwok CS**, Rashid M, Fraser D, Nolan J, Mamas M. Intra-arterial vasodilators to prevent radial artery spasm: a systematic review and pooled analysis of clinical studies. *Cardiovasc Revasc Med* 2015; **16**: 484-490 [PMID: 26365608 DOI: 10.1016/j.carrev.2015.08.008]

42 **Sandhu K**, Butler R, Nolan J. Expert Opinion: Transradial Coronary Artery Procedures: Tips for Success. *Interv Cardiol* 2017; **12**: 18-24 [PMID: 29588725 DOI: 10.15420/icr.2017:2:2]

43 **Hizoh I**, Majoros Z, Major L, Gulyas Z, Szabo G, Kerecsen G, Korda A, Molnar F, Kiss RG. Need for prophylactic application of verapamil in transradial coronary procedures: a randomized trial. The VITRIOL (is Verapamil In TransRadial Interventions OmittabLe?) trial. *J Am Heart Assoc* 2014; **3**: e000588 [PMID: 24732918 DOI: 10.1161/JAHA.113.000588]

44 **Pancholy SB**, Sanghvi KA, Patel TM. Radial artery access technique evaluation trial: randomized comparison of Seldinger versus modified Seldinger technique for arterial access for transradial catheterization. *Catheter Cardiovasc Interv* 2012; **80**: 288-291 [PMID: 22419562 DOI: 10.1002/ccd.23445]

45 **Doyle RA,** Russell SE, Morris RE. Nitric oxide production from nitrite by a series of zeolites produced via the ADOR route. *Micropor Mesopor Mat* 2019; **280**: 367-371 [DOI: 10.1016/j.micromeso.2019.02.019]

46 **Wheatley PS**, Butler AR, Crane MS, Fox S, Xiao B, Rossi AG, Megson IL, Morris RE. NO-releasing zeolites and their antithrombotic properties. *J Am Chem Soc* 2006; **128**: 502-509 [PMID: 16402837 DOI: 10.1021/ja0503579]

47 **Cattaneo D**, Warrender SJ, Duncan MJ, Kelsall CJ, Doherty MK, Whitfield PD, Megson IL, Morris RE. Tuning the nitric oxide release from CPO-27 MOFs. *RSC Adv* 2016; **6**: 14059-14067 [PMID: 27019705 DOI: 10.1039/C5RA24023A]

48 **McKinlay AC**, Morris RE, Horcajada P, Férey G, Gref R, Couvreur P, Serre C. BioMOFs: metal-organic frameworks for biological and medical applications. *Angew Chem Int Ed Engl* 2010; **49**: 6260-6266 [PMID: 20652915 DOI: 10.1002/anie.201000048]

49 **Pant J**, Goudie MJ, Chaji SM, Johnson BW, Handa H. Nitric oxide releasing vascular catheters for eradicating bacterial infection. *J Biomed Mater Res B Appl Biomater* 2018; **106**: 2849-2857 [PMID: 29266734 DOI: 10.1002/jbm.b.34065]

50 **Elnaggar MA**, Seo SH, Gobaa S, Lim KS, Bae IH, Jeong MH, Han DK, Joung YK. Nitric Oxide Releasing Coronary Stent: A New Approach Using Layer-by-Layer Coating and Liposomal Encapsulation. *Small* 2016; **12**: 6012-6023 [PMID: 27623489 DOI: 10.1002/smll.201600337]

**P-Reviewer:** Seto AH, Petix NR **S-Editor:** Dou Y **L-Editor: E-Editor:**

**Specialty type:** Cardiac and cardiovascular

**Country of origin:** United Kingdom

**Peer-review report classification**


Grade A (Excellent): 0

Grade B (Very good): 0

Grade C (Good): C

Grade D (Fair): D

Grade E (Poor): 0



**Figure 1 Composition of the radial artery.** The thick layer of tunica media contributes to the increased incidence of radial artery spasm. Vessel sheath mismatch induces spasm and friction. Spasm promotes friction which in turn induces more spasm, creating a continuous loop. The increased friction and spasm can lead to dissection of the artery lining.

**Table 1** **Complications from radial artery puncture**

|  |  |
| --- | --- |
| **Complication** | **Frequency (%)** |
| Radial artery spasm[11,18,19,24,26,34-36] | 1-34 |
| Radial artery occlusion[11,19,24,26,35-37] | Up to 19.7 |
| Haematoma[11,19,24,35] | Up to 14.4 |
| Dissection[35,36] | Very rare (0.4) |
| Compartment Syndrome[26,36] | Very rare |
| Pseudoaneurysm formation[11,19,26,35,36] | Very rare up to 2.78 |
| Infection[19,35] | Up to 3.4 |
| Perforation[26,36] | Very rare |

**Table 2** **Variations of anti-spasmolytic cocktail components**

|  |  |  |  |
| --- | --- | --- | --- |
| **Ref.** | **Radial cocktail**  **ingredients** | **Concentration** | **Drug class** |
| Kiemeneij *et al*[32] | Verapamil | 5 mg | Calcium channel blocker1 |
| Nitroglycerin | 0.2 mg | Nitrate2 |
| Pancholy *et al*[44] | Nitroglycerin | 0.2 mg | Nitrate2 |
| Diltiazem | 5 mg | Calcium channel blocker1 |
| Hizoh *et al*[43] | Verapamil | 5 mg | Calcium channel blocker1 |
| He *et al*[23] | Heparin | 2500 units | Anticoagulant3 |
| Nitroglycerin | 0.2 mg | Nitrate2 |
| Verapamil | 2.5 mg | Calcium channel blocker1 |
| Ruiz-Salmerón *et al*[24] | Heparin with | 5000 units | Anticoagulant3 |
| Verapamil or | 2.5 mg | Calcium channel blocker1 |
| Phentolamine | 2.5 mg | Alpha-adrenergic antagonist1 |

1Disrupts the movement of calcium through calcium channels**, c**ausing vasodilation. 2Activates guanyl cyclase and increases cyclic guanosine monophosphate causing vasodilation; 3Inhibits coagulation, preventing thrombus formation.