**Name of Journal:** *World Journal of Clinical Cases*

**Manuscript NO:** 56694

**Manuscript Type:** CASE REPORT

**Huge encrusted ureteral stent forgotten for over 25 years: A case report**

Kim DS *et al*. Long forgotten ureteral stent

Dong Soo Kim, Sang Hyub Lee

**Dong Soo Kim, Sang Hyub Lee,** Department of Urology, School of Medicine, Kyung Hee University, Seoul 02447, South Korea

**Author contributions:** Kim DS and Lee SH contributed equally to this work; Lee SH designed the research study; Kim DS performed the research; Kim DS and Lee SH wrote the manuscript; all authors have read and approve the final manuscript.

**Supported by** Kyung Hee University in 2018; No. KHU-20182183.

**Corresponding author: Sang Hyub Lee, MD, PhD, Associate Professor,** Department of Urology, School of Medicine, Kyung Hee University, Kyung Hee University Medical Center 23, Kyung Hee Dae-ro, Dongdaemun-gu, Seoul 02447, South Korea. uroshlee@khu.ac.kr

**Received:** June 30, 2020

**Revised:** October 19, 2020

**Accepted:** November 2, 2020

**Published online:** December 6, 2020

**Abstract**

BACKGROUND

Ureteral stent insertion is a relatively non-invasive procedure commonly used in the field of urology to resolve urinary obstruction. However, they are sometimes forgotten and the risk of complications increases with time.

CASE SUMMARY

A 43-year-old woman with a history of recurrent urinary tract infection visited our hospital for evaluation of persistent left flank pain, and lower urinary tract symptoms despite anti-biotic treatment. She had received urological surgery in her teens but did not know the details of her surgery. Kidney, ureter, and bladder x-ray and abdominopelvic computed tomography revealed a forgotten left ureteral stent with huge encrustation at both ends and a severely dilated left kidney with parenchymal thinning. In order to remove the ureteral stent, a laparoscopic nephroureterectomy was planned. The ureteral stent was successfully removed, and she was discharged after recovery. The patient was followed up for two years after surgery and did not show any signs of long-term complications.

CONCLUSION

Long indwelling stent can cause dire complications requiring radical interventions. Stent registry systems, novel stent material development, and proper patient education is important for complication prevention.

**Key Words:** Ureter; Stent; Calcification; Endoscopy; Nephroureterectomy; Complications; Case report

Kim DS, Lee SH. Huge encrusted ureteral stent forgotten for over 25 years: A case report. *World J Clin Cases* 2020; 8(23): 6043-6047 URL: https://www.wjgnet.com/2307-8960/full/v8/i23/6043.htm DOI: https://dx.doi.org/10.12998/wjcc.v8.i23.6043

**Core Tip:** Ureteral stents are commonly used in urology and with appropriate care, it is considered a safe and easy procedure to manage ureter obstruction. However, due to multiple factors, its removal may be delayed which can result in stent calcification and infection. Even longer prolongation can lead to renal function decrease and parenchymal thinning from long-term obstruction which may require invasive procedures such as nephroureterectomy. Research on new stent material and specialized medical recordings dedicated to tracking stented patients are a few of the many ways that have been devised to prevent complications. Most importantly, thorough medical follow ups and detailed patient education is necessary in all cases to ensure the patients’ safety.

**INTRODUCTION**

Ureteral stents are commonly placed before or after urologic surgeries, such as pyeloplasty or ureteroureterostomy, and are especially indispensable in endourologic surgeries. They help establish and maintain ureteral patency, and aid in preventing ureteral injuries and post-operative strictures. However, ureteral stents can cause complications, such as stent encrustation, urinary tract infection, misplacement, and migration. They are sometimes even forgotten for a long time[1] and the risk of complications increases when the stent indwelling time is prolonged[2]. Many case reports have described and discussed the complications caused by forgotten ureteral stents, and endoscopic procedures are usually enough to remove the catheter[3]. However, only a handful of case reports have been published which described kidneys severely deteriorated by forgotten ureteral stents[4,5]. We present a case of a 43-year-old woman who presented with a left kidney that was non-functioning because of a severely encrusted ureteral stent that had been placed in her and forgotten for 25 year.

**CASE PRESENTATION**

***Chief complaints***

A 43-year-old female visited our hospital because of lower urinary tract symptoms and left flank pain.

***History of present illness***

She had experienced previous episodes of intermittent gross hematuria, dysuria, and urinary tenesmus. Whenever she had these symptoms, she visited a private clinic and was given oral antibiotics. Her symptoms usually improved after medication. Recently. However, her lower urinary tract symptoms had not improved despite treatment, and she came to our clinic for further evaluation and treatment.

***History of past illness***

A detailed review of her past medical history revealed that she had received urologic surgery when she was a teenager.

***Personal and family history***

Her parents had passed away just after the surgery and the patient had no knowledge of what surgery was performed on her.

***Physical examination***

On admission her vital signs were normal, and she did not have fever. On physical examination she showed left costovertebral angle tenderness.

***Laboratory examinations***

Her initial complete blood cell count and blood chemistry lab tests were normal. However, her urinalysis showed leukocytosis, and urine microscopy showed hematuria, pyuria, and bacteriuria.

***Imaging examinations***

A plain kidney, ureter, and bladder x-ray (Figure 1) and abdominopelvic computed tomography (CT) was taken for initial evaluation. On the kidney, ureter, and bladder and CT scans, a left ureteral stent with large calcifications at both the distal and proximal pigtail ends was detected. The CT scan also showed a severely dilated left kidney with parenchymal thinning, consistent with decreased renal function.

**FINAL DIAGNOSIS**

The final diagnosis of the patient was a non-functioning Lt kidney due to a forgotten severely calcified ureteral stent.

**TREATMENT**

After consulting with the patient on her condition, we carried out a laparoscopic nephroureterectomy to remove the large calcified ureter catheter and atrophied kidney (Figure 2).

**OUTCOME AND FOLLOW-UP**

She recovered from her surgery without complications and had no discomfort during the two-year follow-up.

**DISCUSSION**

Infection and encrustation of the ureteral catheters are the most common reasons for complications. For slight encrustation, stents can be simply removed using a cystoscope[6]. Larger encrustation may require multiple sessions and multiple modalities, such as extra-corporeal shock-wave lithotripsy, cystolitholapaxy, ureteroscopy, and percutaneous nephrolithotomy[7]. For more severe systemic situations, pretreatment with percutaneous nephrostomy with antibiotics may be needed for complicated urinary tract infections, and nephrectomy could be considered in patients with decreased renal function[2,4,5]. In our case the patient had large encrustations of the ureteral catheter which had led to renal function deterioration, and laparoscopic nephroureterectomy was done to remove the non-functioning kidney and indwelling catheter.

The forgotten long-indwelling ureter catheter is a rare complication, because with proper patient education and appropriate planning, ureter stents will usually be removed or replaced within the recommended limit. However, as in our case, patients may forget of even be unaware of the presence of the stent and miss the opportunity to remove it. Considering the gravity of the consequences of missing a ureteral stent, many methods have been studied and developed for preventing such an error.

First, there have been many advances in ureter stent design and materials. Currently, polymers such as silicone and metals like nitinol (a nickel and titanium alloy) are commonly used as stent material because of their biocompatibility and effectiveness. Research on biodegradables such as chitosan, polyclycolic acid, and natural saccharides as candidates for ureteral stent materials is currently ongoing and will be able to prevent complications caused by long-term indwelling stents. However, more time will be needed for their use in the general population. Studies on stent coatings and stent design modifications also aim to decrease infection, encrustation, and pain[8].

Second, establishing a computerized electronic database to register stented patients will allow medical caretakers to keep track of those in need of management[9]. Many institutions keep logbooks or records of ureteral stent insertions in order to follow up on treated patients. However, no matter how dutiful the medical staff is, there is always room for clerical error or follow-up loss due to non-medical causes. Davis *et al*[9] compared the use of logbook tracking to a computerized registry with a “traffic-light” reminder about prolonged indwelling stents. They found that 4% of the patients registered in the logbook had prolonged stent insertions because of missed appointments or follow-ups at other clinics, but for the computerized registry group, all patients had their stents removed or changed within six months.

Third, patient education and direct reminders to alert them of their status will further help in preventing missed stents. Pre-stenting education about the risks and complications of stent insertion will help increase patients’ awareness of their status. Despite repeated counselling, some patients will still forget and be lost to future follow-ups. Withington *et al*[10] commented that they gave wrist bands to stented patients with a bar code that would serve as both a registry key and a visible reminder. Ziemba *et al*[11] describe using a mobile point-of-care application that can be accessed on mobile phones or through the internet. It allowed them to keep track of patients who had forgotten their scheduled visit for stent removal and to prevent further complications[11].

**CONCLUSION**

Forgotten stents are dangerous only if they are really forgotten by either the doctor or the patient. Education, along with dutiful planning by medical caregivers and backup with fail-proof automated systems, will help decrease the incidence of forgotten stents. Early retrieval of missed stents will prevent disastrous complications and lower the socio-economical burdens this rare complication imposes on the patients and the medical society.

**REFERENCES**

1 **Sali GM**, Joshi HB. Ureteric stents: Overview of current clinical applications and economic implications. *Int J Urol* 2020; **27**: 7-15 [PMID: 31549458 DOI: 10.1111/iju.14119]

2 **Polat H**, Yücel MÖ, Utangaç MM, Benlioğlu C, Gök A, Çift A, Kalyenci B, Lök U, Gülaçtı U. Management of Forgotten Ureteral Stents: Relationship Between Indwelling Time and Required Treatment Approaches. *Balkan Med J* 2017; **34**: 301-307 [PMID: 28443570 DOI: 10.4274/balkanmedj.2015.1562]

3 **Adanur S**, Ozkaya F. Challenges in treatment and diagnosis of forgotten/encrusted double-J ureteral stents: the largest single-center experience. *Ren Fail* 2016; **38**: 920-926 [PMID: 27089423 DOI: 10.3109/0886022X.2016.1172928]

4 **Bidnur S**, Huynh M, Hoag N, Chew B. An Indwelling Ureteral Stent Forgotten for Over 12 Years. *J Endourol Case Rep* 2016; **2**: 135-137 [PMID: 27579442 DOI: 10.1089/cren.2016.0073]

5 **Barreiro DM**, Losada JB, Montiel FC, Lafos N. Urinary Incontinence and Urosepsis due to Forgotten Ureteral Stent. *Urol Case Rep* 2016; **8**: 63-65 [PMID: 27547734 DOI: 10.1016/j.eucr.2016.07.004]

6 **Bostanci Y**, Ozden E, Atac F, Yakupoglu YK, Yilmaz AF, Sarikaya S. Single session removal of forgotten encrusted ureteral stents: combined endourological approach. *Urol Res* 2012; **40**: 523-529 [PMID: 22160282 DOI: 10.1007/s00240-011-0442-2]

7 **Ulker V**, Celik O. Endoscopic, Single-Session Management of Encrusted, Forgotten Ureteral Stents. *Medicina (Kaunas)* 2019; **55**: [PMID: 30813602 DOI: 10.3390/medicina55030058]

8 **Mosayyebi A**, Manes C, Carugo D, Somani BK. Advances in Ureteral Stent Design and Materials. *Curr Urol Rep* 2018; **19**: 35 [PMID: 29637309 DOI: 10.1007/s11934-018-0779-y]

9 **Davis NF**, Murray G, O'Connor T, Browne C, MacCraith E, Galvin D, Mulvin D, Quinlan D, Lennon G. Development and evaluation of a centralised computerised registry for ureteric stents: completing the audit cycle. *Ir J Med Sci* 2017; **186**: 1057-1060 [PMID: 28155098 DOI: 10.1007/s11845-016-1534-3]

10 **Withington J**, Wong K, Bultitude M, O'Brien T. The forgotten ureteric stent: what next? *BJU Int* 2014; **113**: 850-851 [PMID: 24053196 DOI: 10.1111/bju.12357]

11 **Ziemba JB**, Ludwig WW, Ruiz L, Carvalhal E, Matlaga BR. Preventing the Forgotten Ureteral Stent by Using a Mobile Point-of-Care Application. *J Endourol* 2017; **31**: 719-724 [PMID: 28443681 DOI: 10.1089/end.2017.0118]

**Footnotes**

**Informed consent statement:** This study was approved and reviewed by our Institutional Review Board.

**Conflict-of-interest statement:** The authors have no potential conflicts of interest to declare.

**CARE Checklist (2016) statement:** The authors have read the CARE Checklist (2016), and the manuscript was prepared and revised according to the CARE Checklist (2016).

**Open-Access:** This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/Licenses/by-nc/4.0/

**Manuscript source:** Unsolicited manuscript

**Peer-review started:** June 30, 2020

**First decision:** September 29, 2020

**Article in press:** November 2, 2020

**Specialty type:** Medicine, research and experimental

**Country/Territory of origin:** South Korea

**Peer-review report’s scientific quality classification**

Grade A (Excellent): 0

Grade B (Very good): B

Grade C (Good): 0

Grade D (Fair): 0

Grade E (Poor): 0


**P-Reviewer:** Cheng XW **S-Editor:** Zhang L **L-Editor:** A **P-Editor:** Li JH

**Figure Legends**

문신, 사진, 앉아있는, 테이블이(가) 표시된 사진

자동 생성된 설명

**Figure 1 Kidney, ureter, and bladder showing the missed ureter stent with large calculi at both ends.**

****

**Figure 2** **Post-operative specimen of nephroureterectomy.** A: The kidney, ureter and encrusted stent; B: Missed DJ stent with encrustation and discoloration.