**Name of Journal:** *World Journal of Methodology*

**Manuscript NO:** 62046

**Manuscript Type:** ORIGINAL ARTICLE

***Retrospective Study***

**Comparison of indirect immunofluorescence and western blot method in the diagnosis of hantavirus infections**

Vilibic-Cavlek T *et al*. Cross-reactivity among hantaviruses

Tatjana Vilibic-Cavlek, Ljubo Barbic, Vladimir Stevanovic, Vladimir Savic, Anna Mrzljak, Maja Bogdanic, Irena Tabain

**Tatjana Vilibic-Cavlek,** **Anna Mrzljak,** School of Medicine, University of Zagreb, Zagreb 10000, Croatia

**Tatjana Vilibic-Cavlek, Maja Bogdanic, Irena Tabain,** Department of Virology, Croatian Institute of Public Health, Zagreb 10000, Croatia

**Ljubo Barbic, Vladimir Stevanovic,** Department of Microbiology and Infectious Diseases with Clinic, Faculty of Veterinary Medicine, University of Zagreb, Zagreb 10000, Croatia

**Vladimir Savic,** Poultry Centre, Croatian Veterinary Institute, Zagreb 10000, Croatia

**Anna Mrzljak,** Department of Gastroenterology and Hepatology, University Hospital Zagreb, Zagreb 10000, Croatia

**Author contributions:** Vilibic-Cavlek T made contributions to the conception and design of the study and was involved in drafting and revising the manuscript; Stevanovic V, Savic V, Mrzljak A, and Bogdanic M were involved in collecting data and drafting and writing the manuscript; Barbic L and Tabain I revised the manuscript critically; All authors read and approved the final manuscript.

**Corresponding author: Tatjana Vilibic-Cavlek, MD, PhD, Associate Professor,** Department of Virology, Croatian Institute of Public Health, Rockefellerova 12, Zagreb 10000, Croatia. tatjana.vilibic-cavlek@hzjz.hr

**Received:** January 2, 2021

**Revised:** July 16, 2021

**Accepted:** August 31, 2021

**Published online:**

**Abstract**

BACKGROUND

Serologic cross-reactivity between hantaviruses often complicates the interpretation of the results.

AIM

To analyze the diagnostic value of indirect immunofluorescence assay (IFA) and western blot (WB) in the diagnosis of hantavirus infections.

METHODS

One hundred eighty-eight serum samples from Puumala (PUUV) and Dobrava (DOBV) orthohantavirus infected patients were analyzed. Serology was performed using commercial tests (Euroimmun, Lübeck, Germany).

RESULTS

Using IFA, 49.5% of acute-phase samples showed a monotypic response to PUUV, while 50.5% cross-reacted with other hantaviruses. The overall cross-reactivity was higher for immunoglobulin G (IgG) (50.0%) than for immunoglobulin M (IgM) (25.5%). PUUV IgM/IgG antibodies showed low/moderate reactivity with orthohantaviruses Hantaan (12.3%/31.5%), Seoul (7.5%/17.8%), DOBV (5.4%/28.1%), and Saaremaa (4.8%/15.7%). Both DOBV IgM and IgG antibodies were broadly reactive with Hantaan (76.2%/95.2%), Saaremaa (80.9%/83.3%), and Seoul (78.6%/85.7%) and moderate with PUUV (28.5%/38.1%). Using a WB, serotyping was successful in most cross-reactive samples (89.5%).

CONCLUSION

The presented results indicate that WB is more specific than IFA in the diagnosis of hantavirus infections, confirming serotype in most IFA cross-reactive samples.

**Key Words:** Hantaviruses; Serology; Cross-reactivity; Indirect immunofluorescence; Western blot

Vilibic-Cavlek T, Barbic L, Stevanovic V, Savic V, Mrzljak A, Bogdanic M, Tabain I. Comparison of indirect immunofluorescence and western blot method in the diagnosis of hantavirus infections. *World J Methodol* 2021; In press

**Core Tip:** Serologic cross-reactivity among hantaviruses often complicates the interpretation of the results. The overall cross-reactivity is generally higher for immunoglobulin G antibodies than for immunoglobulin M antibodies. Western blot seems to be a more specific serology method than indirect immunofluorescence assay in the diagnosis of hantavirus infections, confirming serotype in the majority of cross-reactive samples detected by indirect immunofluorescence assay.

**INTRODUCTION**

Hantaviruses represent a group of serologically related rodent-borne RNA viruses that belong to the genus *Orthohantavirus* of the family *Hantaviridae*. Two different diseases, hemorrhagic fever with renal syndrome (HFRS) and hantavirus pulmonary syndrome (HPS), are caused by hantaviruses in humans[1]. Orthohantaviruses Hantaan (HTNV), Dobrava (DOBV), Puumala (PUUV), Seoul (SEOV), and Saaremaa (SAAV) cause HFRS with varying degrees of severity. While HTNV and DOBV cause a severe form of HFRS in Asia and Europe, SEOV causes less severe disease worldwide[2,3]. SAAV is also found to be responsible for a relatively mild human disease in Europe[4]. PUUV is a causative agent of nephropathia epidemica, the mildest form of the disease, endemic in Western Europe and Scandinavia[2].

Diagnostic methods for hantavirus infections include serology, reverse transcription-polymerase chain reaction (RT-PCR), immunohistochemistry, and virus isolation[5].

Vero E6 cell culture has been used to isolate hantaviruses causing HFRS and HPS. Hantaviruses usually are not cytopathic in cultured cells; therefore, the detection of infection is confirmed using an immunofluorescence antibody test for viral antigen. Virus isolation is not performed as part of routine hantavirus diagnostics, since it is laborious and time-consuming and requires biosafety level 3 and 4 laboratories[6].

Serology is the main method for the diagnosis due to the hazardous nature of hantaviruses and a short-term viremia in infected humans[7,8]. Enzyme-linked immunosorbent assay and indirect immunofluorescence assay (IFA) are broadly used serologic tests used for detection of hantavirus immunoglobulin M (IgM) and immunoglobulin G (IgG) antibodies[9]. Immunoblot tests [western blot (WB) and line immunoassay] are also used in some laboratories[10].

Hantavirus nucleocapsid (N) protein is the major antigen in early humoral response in patients with hantavirus infection[11,12]. N protein is highly cross-reactive between different hantaviruses due to its conserved nature[11,13]. Overall, serologic cross-reactivity within the genus *Orthohantavirus* is the highest among viruses associated with (phylo)genetically closely related rodent species. DOBV is genetically and anti-genetically related to other orthohantaviruses transmitted by *Murinae* rodents (Old World mice and rats) such as HTNV, SEOV, and SAAV. PUUV is more distantly related to this group since its reservoirs belong to the *Arvicollinae* rodents (voles and lemmings)[14-16]. The interpretation of serology results is often complicated by the cross-reactivity, especially in areas where different hantaviruses co-circulate. Virus neutralization test is still the gold standard serologic test. Since this test has to be performed in biosafety level 3 laboratory, it is confined mainly to the reference laboratories[17].

Molecular diagnostic methods, including classic and real-time RT-PCR, are also widely used for the diagnosis of hantaviruses. Hantavirus RNA is detectable in blood early after the onset of symptoms; therefore, RT-PCR is a sensitive method for detecting hantavirus infections before the appearance of IgM antibodies. Primers specific for the hantavirus S and M segments have been used in different studies. The advantage of the molecular methods is that the RT-PCR product may be sequenced to identify the virus and perform phylogenetic analysis[5,18].

In Croatia, PUUV and DOBV have been demonstrated in humans[19-23], while SAAV and Tula orthohantavirus were also documented in rodents[24,25]. This study aimed to analyze the diagnostic value of IFA and WB methods in the diagnosis of hantavirus infections.

**MATERIALS AND METHODS**

A total of 188 serum samples from patients with serologically confirmed acute hantavirus infection (2015-2019) tested at the National Reference Laboratory for Arboviruses and Hantaviruses, Croatian Institute of Public Health were included in the study. Serologic tests were performed using a commercial IFA (Hantavirus mosaic; Euroimmun, Lübeck, Germany) to detect IgM/IgG antibodies of the most common hantaviruses: PUUV, DOBV, HTNV, SEOV, and SAAV. A fluorescence occurring as fine droplets in the cytoplasm of infected cells in a dilution 1:100 was considered a positive result.

Cross-reactive samples were further tested for hantavirus IgG antibodies using a WB (Euroline Hantavirus profile, Euroimmun). WB test strips were coated with nucleocapsid PUUV; DOBV and HTNV antigens. Band signal intensity at least as of IgG control was considered a positive result. According to the band intensity, results were interpreted as follows: Strong positive-very strong band (+++); positive-medium to strong band (+/++); borderline-very weak band (+/-).

The study was approved by the Ethics Committee of the Croatian Institute of Public Health (Decision number: 030-02/17-10/1). Informed consent was obtained from all subjects included in the study.

**RESULTS**

PUUV was confirmed in 146 (77.6%) and DOBV in 42 (32.4%). Using IFA, 93 (49.5%) of 188 acute-phase serum samples reacted only with the homologous PUUV antigen, while in 95 (50.5%) samples, cross-reactive IgM and/or IgG antibodies were found. The overall cross-reactivity was higher for IgG antibodies (94/188; 50.0%) than for IgM antibodies (48/188; 25.5%). Among 95 cross-reactive samples, 55 (57.9%) were confirmed as PUUV and 30 (31.6%) samples as DOBV using a WB.

Cross-reactive patterns to different hantavirus antigens in PUUV- and DOBV-infected patients detected using IFA are presented in Figures 1 and 2. Among PUUV positive samples, a low/very low IgM reactivity was observed with HTNV (18/146; 12.3%), SEOV (11/146; 7.5%), DOBV (8/146; 5.4%), and SAAV (7/146; 4.8%). PUUV IgG antibodies showed a moderate reactivity with HTNV (46/146; 31.5%) and DOBV (41/146; 28.1%), while reactivity with SEOV and SAAV was low (26/146; 17.8% and 23/146; 15.7%, respectively).

In DOBV positive samples, both IgM and IgG antibodies showed a high degree of cross-reactivity. Among IgM positive samples, the highest cross-reactivity was observed with SAAV (34/42; 80.9%), 33/42 (78.6%) with SEOV, and 32/42 (76.2%) with HTNV. In 12 samples (28.5%), cross-reactive antibodies with PUUV were found. DOBV IgG antibodies showed the highest reactivity with HTNV (40/42; 95.2%). Almost equally high reactivity was found with SEOV and SAAV (36/42; 85.7% and 35/42, 83.3%, respectively), and moderate reactivity was found with PUUV (16/42; 38.1%). The majority of DOBV-positive samples (IgM 24/42, 57.1%; IgG 35/42; 83.3%) showed reactivity with all three hantavirus antigens (HTNV + SEOV + SAAV).

Forty-six of 172 (24.5%) IgG-positive samples cross-reacted with other hantaviruses by WB. However, based on signal intensity, a very strong band to the homologous viral antigen was observed in most cross-reactive samples compared to a weak/medium band of the related hantavirus antigens (Figure 3). Among PUUV positive samples, 8 (5.5%) tested borderline to HTNV and 10 (6.8%) to DOBV. Among DOBV positive samples, 19 (45.2%) tested positive/borderline to HTNV and 5 (9.5%) to PUUV. Only 8 PUUV positive samples (5.5%) showed a very strong band to PUUV and DOBV antigens. Additionally, two DOBV positive samples (4.7%) showed a very strong band to both DOBV and HTNV antigens (Table 1). The detection of PUUV and DOBV IgM antibodies by IFA in these samples indicated acute PUUV and DOBV infection, respectively.

**DISCUSSION**

Results of this study indicated broadly cross-reactive patterns of hantaviruses detected by IFA, which were found to be much higher for DOBV compared to PUUV. One published multicenter study on the simultaneous detection of hantaviruses showed a high cross-reactivity of serum samples from DOBV-infected patients with SAAV, HTNV, and SEOV (60%-100%), while cross-reactivity with PUUV was moderate (up to 43%) using IFA[26]. This study observed a remarkably high cross-reactivity for both DOBV IgM/IgG antibodies with SAAV, HTNV, and SEOV antigens (IgM 76.2%-80.9%, IgG 83.3%-95.2%). In addition, 57.1% IgM and 83.3% IgG positive samples cross-reacted with all three hantavirus antigens. These results are in accordance with the phylogenetic relatedness of hantaviruses. However, a substantial cross-reactivity was also found with PUUV (IgM 28.5%, IgG 38.1%), although PUUV is phylogenetically distantly from DOBV.

IgM/IgG antibodies of PUUV-infected Croatian patients reacted moderately with HTNV (12.3%/31.5%). In a study by Lederer *et al*[26], even higher cross-reactivity between PUUV and HTNV IgM/IgG was found (49%/79%), while the reactivity to other tested hantaviruses was low, similar to our results.

In this study, a lower degree of cross-reactivity was also found by WB (24.5%). However, in all but 8 samples, differentiation of hantavirus serotype was possible based on powerful signal intensity to homologous antigen compared to weak/medium signal intensity to heterologous antigens. Some other studies which used WB for result confirmation showed similar results[27,28].

Since the clinical course and prognosis differ in PUUV and DOBV infection, the determination of hantavirus serotype is important for diagnosing acute HFRS cases. In addition, due to specific rodent hosts, identification of currently circulating hantavirus serotype is also useful for planning rodent control programs. Using IFA, serotype identification in seroepidemiological studies is often difficult because of extensive cross-reactivity among IgG antibodies. In DOBV infected individuals, considerable cross-reactivity was also observed between IgM antibodies. Using WB, differentiation of hantavirus serotype was possible in most cases by comparing the signal intensity in most IFA cross-reactive samples.

**CONCLUSION**

Although cross-reactivity among hantaviruses was detected in both IFA and WB, the results of this study showed that WB seems to be more specific than IFA, confirming hantavirus serotype in 89.5% of cross-reactive samples detected by IFA.

**ARTICLE HIGHLIGHTS**

***Research background***

The cross-reactivity among hantaviruses often complicates the interpretation of serology results, especially in areas where different hantaviruses co-circulate.

***Research motivation***

Data on the comparison of different serologic methods in the diagnosis of hantaviruses are scarce.

***Research objectives***

This study aimed to analyze the diagnostic value of indirect immunofluorescence (IFA) and western blot (WB) methods in diagnosing hantavirus infections.

***Research methods***

A commercial IFA was used to detect immunoglobulin M (IgM)/immunoglobulin G (IgG) antibodies to the most common orthohantaviruses: Puumala (PUUV), Dobrava (DOBV), Hantaan (HTNV), Seoul (SEOV), and Saaremaa (SAAV). Cross-reactive samples were additionally tested by a commercial WB using PUUV, DOBV, and HTNV antigens.

***Research results***

Using IFA, 49.5% of acute-phase serum samples reacted only with the homologous PUUV antigen, while in 50.5% samples, cross-reactive IgM and/or IgG antibodies were found. PUUV IgM/IgG antibodies cross-reacted with HTNV (12.3%/31.5%), SEOV (7.5%/17.8%), DOBV (5.4%/28.1%), and SAAV (4.8%/15.7%). Both DOBV IgM and IgG antibodies were broadly reactive with HTNV (76.2%/95.2%), SAAV (80.9%/83.3%), and SEOV (78.6%/85.7%) and moderate with PUUV (28.5%/38.1%). Using a WB, serotyping was successful in 89.5% cross-reactive samples.

***Research conclusions***

WB seems to be more specific than IFA, confirming hantavirus serotype in the majority of cross-reactive samples detected by IFA.

***Research perspectives***

Further studies on a large sample caused by different hantavirus serotypes are needed.

**REFERENCES**

1 **Manigold T**, Vial P. Human hantavirus infections: epidemiology, clinical features, pathogenesis and immunology. *Swiss Med Wkly* 2014; **144**: w13937 [PMID: 24652684 DOI: 10.4414/smw.2014.13937]

2 **Fulhorst CF,** Bowen MD. Hantaviruses. In: Versalovic J, Carroll KC, Funke G, Jorgensen JH, Landry ML, Warnock DW, editors. Manual of Clinical Microbiology. DC, Washington: ASM Press, 2011: 1504-13.

3 **Heyman P**, Baert K, Plyusnina A, Cochez C, Lundkvist A, Esbroeck MV, Goossens E, Vandenvelde C, Plyusnin A, Stuyck J. Serological and genetic evidence for the presence of Seoul hantavirus in Rattus norvegicus in Flanders, Belgium. *Scand J Infect Dis* 2009; **41**: 51-56 [PMID: 18821445 DOI: 10.1080/00365540802459994]

4 **Plyusnin A**, Vaheri A, Lundkvist A. Saaremaa hantavirus should not be confused with its dangerous relative, Dobrava virus. *J Clin Microbiol* 2006; **44**: 1608-9; author reply 1609-11 [PMID: 16597913 DOI: 10.1128/JCM.44.4.1608-1611.2006]

5 **Mattar S**, Guzmán C, Figueiredo LT. Diagnosis of hantavirus infection in humans. *Expert Rev Anti Infect Ther* 2015; **13**: 939-946 [PMID: 26091780 DOI: 10.1586/14787210.2015.1047825]

6 **Galeno H**, Mora J, Villagra E, Fernandez J, Hernandez J, Mertz GJ, Ramirez E. First human isolate of Hantavirus (Andes virus) in the Americas. *Emerg Infect Dis* 2002; **8**: 657-661 [PMID: 12095430 DOI: 10.3201/eid0807.010277]

7 **Hujakka H**, Koistinen V, Kuronen I, Eerikäinen P, Parviainen M, Lundkvist A, Vaheri A, Vapalahti O, Närvänen A. Diagnostic rapid tests for acute hantavirus infections: specific tests for Hantaan, Dobrava and Puumala viruses *vs* a hantavirus combination test. *J Virol Methods* 2003; **108**: 117-122 [PMID: 12565162 DOI: 10.1016/s0166-0934(02)00282-3]

8 **Meisel H**, Wolbert A, Razanskiene A, Marg A, Kazaks A, Sasnauskas K, Pauli G, Ulrich R, Krüger DH. Development of novel immunoglobulin G (IgG), IgA, and IgM enzyme immunoassays based on recombinant Puumala and Dobrava hantavirus nucleocapsid proteins. *Clin Vaccine Immunol* 2006; **13**: 1349-1357 [PMID: 17021245 DOI: 10.1128/CVI.00208-06]

9 **Biel SS**, Donoso Mantke O, Lemmer K, Vaheri A, Lundkvist A, Emmerich P, Hukic M, Niedrig M. Quality control measures for the serological diagnosis of hantavirus infections. *J Clin Virol* 2003; **28**: 248-256 [PMID: 14522063 DOI: 10.1016/s1386-6532(03)00009-x]

10 **Oldal M**, Németh V, Madai M, Kemenesi G, Dallos B, Péterfi Z, Sebők J, Wittmann I, Bányai K, Jakab F. Identification of hantavirus infection by Western blot assay and TaqMan PCR in patients hospitalized with acute kidney injury. *Diagn Microbiol Infect Dis* 2014; **79**: 166-170 [PMID: 24703877 DOI: 10.1016/j.diagmicrobio.2014.01.032]

11 **Kallio-Kokko H**, Leveelahti R, Brummer-Korvenkontio M, Lundkvist A, Vaheri A, Vapalahti O. Human immune response to Puumala virus glycoproteins and nucleocapsid protein expressed in mammalian cells. *J Med Virol* 2001; **65**: 605-613 [PMID: 11596100]

12 **Tischler ND**, Rosemblatt M, Valenzuela PD. Characterization of cross-reactive and serotype-specific epitopes on the nucleocapsid proteins of hantaviruses. *Virus Res* 2008; **135**: 1-9 [PMID: 18342973 DOI: 10.1016/j.virusres.2008.01.013]

13 **Lindkvist M**, Näslund J, Ahlm C, Bucht G. Cross-reactive and serospecific epitopes of nucleocapsid proteins of three hantaviruses: prospects for new diagnostic tools. *Virus Res* 2008; **137**: 97-105 [PMID: 18620010 DOI: 10.1016/j.virusres.2008.06.003]

14 **Plyusnin A**. Genetics of hantaviruses: implications to taxonomy. *Arch Virol* 2002; **147**: 665-682 [PMID: 12038679 DOI: 10.1007/s007050200017]

15 **Yoshimatsu K**, Arikawa J. Antigenic properties of N protein of hantavirus. *Viruses* 2014; **6**: 3097-3109 [PMID: 25123683 DOI: 10.3390/v6083097]

16 **Yoshimatsu K**, Arikawa J. Serological diagnosis with recombinant N antigen for hantavirus infection. *Virus Res* 2014; **187**: 77-83 [PMID: 24487183 DOI: 10.1016/j.virusres.2013.12.040]

17 **Li W**, Cao S, Zhang Q, Li J, Zhang S, Wu W, Qu J, Li C, Liang M, Li D. Comparison of serological assays to titrate Hantaan and Seoul hantavirus-specific antibodies. *Virol J* 2017; **14**: 133 [PMID: 28720142 DOI: 10.1186/s12985-017-0799-0]

18 **Evander M**, Eriksson I, Pettersson L, Juto P, Ahlm C, Olsson GE, Bucht G, Allard A. Puumala hantavirus viremia diagnosed by real-time reverse transcriptase PCR using samples from patients with hemorrhagic fever and renal syndrome. *J Clin Microbiol* 2007; **45**: 2491-2497 [PMID: 17537944 DOI: 10.1128/JCM.01902-06]

19 **Kuzman I**, Markotić A, Turcinov D, Beus I. [An epidemic of hemorrhagic fever with renal syndrome in Croatia in 1995]. *Lijec Vjesn* 1997; **119**: 311-315 [PMID: 9658776]

20 **Markotić A**, Nichol ST, Kuzman I, Sanchez AJ, Ksiazek TG, Gagro A, Rabatić S, Zgorelec R, Avsic-Zupanc T, Beus I, Dekaris D. Characteristics of Puumala and Dobrava infections in Croatia. *J Med Virol* 2002; **66**: 542-551 [PMID: 11857535 DOI: 10.1002/jmv.2179]

21 **Kuzman I**, Puljiz I, Turcinov D, Markotić A, Turković B, Aleraj B, Andrić Z, Petković D, Tutek V, Herendić B, Iskra M, Pandak N, Misetić Z, Perić L, Jelaska D, Majetić-Sekovanić M, Ledina D, Misić-Majerus L, Radonić R. [The biggest epidemic of hemorrhagic fever with renal syndrome in Croatia]. *Acta Med Croatica* 2003; **57**: 337-346 [PMID: 15011458]

22 **Vilibic-Cavlek T**, Furic A, Barbic L, Tabain I, Stevanovic V, Mlinaric-Galinovic G. Clinical and virological characteristics of hantavirus infections in a 2014 Croatian outbreak. *J Infect Dev Ctries* 2017; **11**: 73-80 [PMID: 28141593 DOI: 10.3855/jidc.7987]

23 **Lovrić Z**, Kolarić B, Kosanović Ličina ML, Tomljenović M, Đaković Rode O, Danis K, Kaić B, Tešić V. An outbreak of haemorrhagic fever with renal syndrome linked with mountain recreational activities in Zagreb, Croatia, 2017. *Epidemiol Infect* 2018; **146**: 1236-1239 [PMID: 29764527 DOI: 10.1017/S0950268818001231]

24 **Plyusnina A**, Krajinović LC, Margaletić J, Niemimaa J, Nemirov K, Lundkvist Å, Markotić A, Miletić-Medved M, Avšič-Županc T, Henttonen H, Plyusnin A. Genetic evidence for the presence of two distinct hantaviruses associated with Apodemus mice in Croatia and analysis of local strains. *J Med Virol* 2011; **83**: 108-114 [PMID: 21108346 DOI: 10.1002/jmv.21929]

25 **Scharninghausen JJ**, Pfeffer M, Meyer H, Davis DS, Honeycutt RL, Faulde M. Genetic evidence for tula virus in Microtus arvalis and Microtus agrestis populations in Croatia. *Vector Borne Zoonotic Dis* 2002; **2**: 19-27 [PMID: 12656127 DOI: 10.1089/153036602760260742]

26 **Lederer S**, Lattwein E, Hanke M, Sonnenberg K, Stoecker W, Lundkvist Å, Vaheri A, Vapalahti O, Chan PK, Feldmann H, Dick D, Schmidt-Chanasit J, Padula P, Vial PA, Panculescu-Gatej R, Ceianu C, Heyman P, Avšič-Županc T, Niedrig M. Indirect immunofluorescence assay for the simultaneous detection of antibodies against clinically important old and new world hantaviruses. *PLoS Negl Trop Dis* 2013; **7**: e2157 [PMID: 23593524 DOI: 10.1371/journal.pntd.0002157]

27 **Escadafal C**, Avšič-Županc T, Vapalahti O, Niklasson B, Teichmann A, Niedrig M, Donoso-Mantke O. Second external quality assurance study for the serological diagnosis of hantaviruses in Europe. *PLoS Negl Trop Dis* 2012; **6**: e1607 [PMID: 22509420 DOI: 10.1371/journal.pntd.0001607]

28 **Engler O**, Klingstrom J, Aliyev E, Niederhauser C, Fontana S, Strasser M, Portmann J, Signer J, Bankoul S, Frey F, Hatz C, Stutz A, Tschaggelar A, Mutsch M. Seroprevalence of hantavirus infections in Switzerland in 2009: difficulties in determining prevalence in a country with low endemicity. *Euro Surveill* 2013; **18**: 20660 [PMID: 24342520 DOI: 10.2807/1560-7917.es2013.18.50.20660]

**Footnotes**

**Institutional review board statement:** The study was approved by the Ethics Committee of the Croatian Institute of Public Health, No. 030-02/17-10/1.

**Informed consent statement:** All study participants or their legal guardian provided informed written consent about personal and medical data collection prior to study enrolment.

**Conflict-of-interest statement:** All authors declare no conflict of interest.

**Data sharing statement:** No sharing data.

**Open-Access:** This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/Licenses/by-nc/4.0/

**Manuscript source:** Invited manuscript

**Peer-review started:** January 2, 2021

**First decision:** July 8, 2021

**Article in press:**

**Specialty type:** Medical laboratory technology

**Country/Territory of origin:** Croatia

**Peer-review report’s scientific quality classification**

Grade A (Excellent): 0

Grade B (Very good): B


Grade C (Good): C

Grade D (Fair): 0


Grade E (Poor): 0

**P-Reviewer:** Khan S **S-Editor:** Fan JR **L-Editor:** Filipodia **P-Editor:**


**Figure Legends**



**Figure 1** **Cross-reactive patterns of hantavirus immunoglobulin M and immunoglobulin G antibodies in Puumala-infected patients by indirect immunofluorescence assay.** PUUV:Puumala; DOBV: Dobrava; HTNV: Hantaan; SEOV: Seoul; SAAV: Saaremaa; Ig: Immunoglobulin.



**Figure 2 Cross-reactive patterns of hantavirus immunoglobulin M and immunoglobulin G antibodies in Dobrava-infected patients by indirect immunofluorescence assay.** PUUV:Puumala; DOBV: Dobrava; HTNV: Hantaan; SEOV: Seoul; SAAV: Saaremaa; Ig: Immunoglobulin.



**Figure 3 Western blot analysis of Puumala and Dobrava- infected patients.** The test strips were coated with the affinity purified nucleocapsid Puumala (PUUV); Dobrava (DOBV) and Hantaan (HTNV) antigen. A correctly performed test for immunoglobulin (Ig)G antibodies against hantavirus antigens is indicated by a positive reaction of the control band and the IgG band. Some samples (strips 1, 3, 5, 6, 8-10) cross-reacted with other hantaviruses, however, based on signal intensity, a very strong band to the homologous virus antigen was detected compared to a very weak/weak band of the related hantavirus antigens.

**Table 1** **Cross-reactive patterns of hantavirus immunoglobulin G antibodies by western blot**

|  |  |  |  |
| --- | --- | --- | --- |
| **Band intensity** | **PUUV** | **HTNV** | **DOBV** |
| **PUUV-infected patients (*n* = 146)** |  |  |  |
| Strong positive (+++)1 | - | 0 (0%) | 8 (5.5%) |
| Positive (+, ++)2 | - | 0 (0%) | 0 (0%) |
| Borderline (+/-)3 | - | 8 (5.5%) | 10 (6.8%) |
| **DOBV-infected patients (*n* = 42)** |  |  |  |
| Strong positive (+++)1 | 0 (0%) | 2 (4.7%) | - |
| Positive (+, ++)2 | 1 (2.4%) | 8 (19.0%) | - |
| Borderline (+/-)3 | 4 (9.5%) | 11 (26.2%) | - |

1Very strong band; 2Medium to strong band; 3Very weak band. PUUV:Puumala; DOBV: Dobrava; HTNV: Hantaan.