Name of journal: World Journal of Gastrointestinal Endoscopy

ESPS Manuscript NO: 6522

Columns: EDITORIAL

# Virtual reality simulators for gastrointestinal endoscopy training

Triantafyllou  K et al. virtual endoscopic simulators

Konstantinos Triantafyllou, Lazaros Dimitrios Lazaridis, George D Dimitriadis

Konstantinos Triantafyllou, Lazaros Dimitrios Lazaridis, George D Dimitriadis, Hepatogastroenterology Unit, Second Department of Internal Medicine and Research Institute, Attikon University General Hospital, Medical School, Athens University, 12462 Athens, Greece

Author contributions: Triantafyllou K conceived the idea, reviewed the manuscript for intellectual content and finally approved it; Lazaridis LD searched the literature, drafted and finally approved the manuscript; and Dimitriadis GD reviewed the manuscript for intellectual content and finally approved it.

Correspondence to: Konstantinos Triantafyllou, Assistant Professor of Gastroenterology, Hepatogastroenterology Unit, Second Department of Internal Medicine and Research Institute, Attikon University General Hospital, Rimini 1, 12462 Athens, Greece. ktriant@med.uoa.gr

Telephone: +30-210-5832090  Fax: +30-210-5326422

Received: October 22, 2013    Revised: November 24, 2013

Accepted: December 17, 2013

Published online:

Abstract

The use of simulators as educational tools for medical procedures is spreading rapidly and many efforts have been made for their implementation in gastrointestinal endoscopy training. Endoscopy simulation training has been suggested for ascertaining patient safety, while influencing positively the trainees’ learning curve. Virtual simulators are the most promising tool among all available types of simulators. These integrated modalities offer a human-like endoscopy experience by combining virtual images of the gastrointestinal tube and haptic realism with using a customized endoscope. From their first steps in the 1980’s till today, research involving virtual endoscopic simulators can be divided in two categories: investigation of the impact of virtual simulator training in acquiring endoscopy skills and measuring competence. Emphasis should also be given to the financial impact of their implementation in endoscopy, including the cost of these state-of-the-art simulators and the potential economic benefits from their usage. Advances in technology will contribute to the upgrade of existing models and the development of new ones, while further research should be carried on to discover new fields of application.

© 2013 Baishideng Publishing Group Co., Limited. All rights reserved.

Key words: Virtual endoscopic simulators; GI mentor; Accutouch endoscopy simulator; Olympus endo TS-1; Endoscopy training

Core tip: Virtual endoscopic simulators have a great potential in endoscopy training. There are currently two virtual simulators available to purchase, while there are also others available for non-commercial use. The use of virtual simulators in endoscopy boosts training procedure for upper and lower gastrointestinal endoscopy; the benefits being more prominent in novice trainees. More data are needed to document their position in endoscopic retrograde cholangiopancreatography and endoscopic ultrasound training. Available simulators shouldn’t be considered as tool for assessing the skills of endoscopists. The main disadvantage of virtual simulators is their high cost.

Triantafyllou K, Lazaridis LD, Dimitriadis GD. Virtual reality simulators for gastrointestinal endoscopy training. World J Gastrointest Endosc 2013;

Available from:

DOI:

INTRODUCTION

The aim of endoscopy is to achieve the best diagnostic-therapeutic result while minimizing the risks of the patient. Acquiring skills to perform endoscopy needs experience and time and depends on the ability of the trainee, the feedback given by an experienced supervisor and the method of endoscopy training. Traditionally, novice residents commence their training by performing on - patient endoscopies, which might result in prolonged procedure time[1] and patient’s abdominal pain and discomfort[2], due to lack of experience. In the era of higher endoscopy costs and  increasing demand for advanced invasive procedures that minimize training opportunities[3], endoscopy simulation has been pointed out as a method of maintaining patient safety through reducing endoscopy errors[4-6] and achieving better and faster training results. Over the last decades, the use of endoscopy simulators is spreading rapidly and an increasing number of medical centers in various countries worldwide have already incorporated them in endoscopy training.

ENDOSCOPY SIMULATORS

The first attempts of developing endoscopy simulators are found in the end of 1960’s with the creation of the first mechanical models[7]. Mechanical simulators have given their position to other more useful and realistic types of simulators, such as live animal models, ex-vivo simulators and virtual simulators. Although animal models are considered to offer the most human-like endoscopy experience, they are not widely used due to ethical concerns, requirement for presence of experienced stuff, unavailability of necessary equipment and cost[8]. Ex–vivo simulators, which engage plastic materials with explanted animal organs are relatively cheap devices useful for scenario based training[9]. On the other hand the need of tissue replacement increases preparation time, raises the cost and limits trainee’s access to training sessions[9]. Virtual (computerized) endoscopy simulators are presented as the most promising tool in endoscopy training. Firstly developed in 1980’s[10,11], their use is spreading throughout the world and computer evolution aids the rapid improvement of these high–tech modalities. In this editorial we will focus on virtual simulators discussing their role in endoscopy training by reviewing the available literature.

VIRTUAL ENDOSCOPY SIMULATORS

Virtual endoscopy simulators are integrated systems that consist of mechanical parts and software. They run a computer program that simulates the procedure of endoscopy using endoscopic images of the gastrointestinal track while the trainee handles an endoscope attached to a processor that gives signal to a monitor. The moves of the endoscope interact with the monitor image offering the user a virtual environment for practicing theoretical and practical knowledge under various conditions[12]. There are currently two virtual simulators in the market: GI Mentor (Simbionix, Cleveland, United States) (Figure 1) and Accutouch Simulator – recently renamed as CAE EndoVR Simulator- (CAE Healthcare, Montreal, Quebec, Canada)[13-15].There are also simulators available for non – commercial use, such as the Endo TS-1 simulator (Olympus Keymed, Essex, United Kingdom), the construct validity of which has been tested in several trials.

GI Mentor

Simbionix, a Cleveland, Ohio, United States headquartered company with Israeli based Research Unit, produced the virtual simulator that offers the widest variety of tasks available. Suitable for upper and lower endoscopy training, GI Mentor provides a large library of modules from basic endoscopic skills and simple clinical procedures to complicated situations such as emergency gastric bleeding. There are also modules for endoscopic ultrasound (EUS) and endoscopic retrograde cholangiopancreatography (ERCP) training. The simulation program includes features like pain indicator and scope locator and trainees have also the opportunity to practice on virtual patient cases based on actual medical data[16] (Figure 1).

Accutouch endoscopy simulator

Although the company recently changed the name of the simulator, we will keep the old name throughout the manuscript because it appears as “Accoutach” in the available literature. The redesigned in 2012 simulator of CAE Healthcare (Canada) provides the user a new more realistic haptic sense of endoscopy. Modules of esophago-gastro-duodenoscopy (EGD), colonoscopy and endoscopic retrograde cholangiopancreatography (ERCP) are available and the trainee can also acquire skills in polypectomy, biopsy and hemostasis[17]. CAE’s simulator offers a complete endoscopy experience by combining the endoscopy procedure with the background of a virtual patient. Endoscopy starts with the patient’s history and various parameters change during endoscopy, such as vital signs and patient response to pain and discomfort. The trainee is also assigned to achieve the ideal virtual sedation without reducing the patient’s oxygen saturation[18] (Figure 2).

Olympus colonoscopy simulator (Endo TS-1)

The Endo TS-1 (Olympus Keymed, United Kingdom) is a second generation virtual reality simulator that provides real-time movements of the colonoscope[19]. An Olympus CF180L endoscope is customized for the needs of the simulator and gives the user a realistic colonoscopy - like haptic sense by simulating the moves of the endoscope and the patient[20]. Olympus’ Scope Guide, that provides a 3-dimensional image of the position and shape of the endoscope within the colon, was used as a pattern for Endo TS-1 and luminal view is accompanied by a training tutorial[20]. The software is currently updated and more complex procedures, like polypectomy, will be added[20].

USING VIRTUAL ENDOSCOPY SIMULATORS

From the first efforts of creating virtual endoscopy simulators till nowadays, the positioning of these modalities regarding endoscopy training remains questioned. Numerous studies tried to investigate the improvement of endoscopy skills of trainees with various experience in endoscopy after receiving sessions of virtual endoscopy training. Other studies focused on using virtual simulators for the evaluation of acquired skills. Undoubtedly, use expansion of these high tech computer based machines depends on giving answers to these important issues.

Training

The significant acceleration of training procedure to the threshold that trainees are considered to have acquired sufficient skill is the most important condition for the positive validation of a simulator[21,22]. Although modern virtual endoscopy simulators offer a large variety of modules, trials reviewed herein examine only the effect of virtual endoscopic training in upper gastrointestinal endoscopy, colonoscopy and flexible sigmoidoscopy. The results of the major trails that examined the influence of virtual endoscopy simulators in gastrointestinal endoscopy training of novice trainees are shown in Table 1.

Regarding upper gastrointestinal endoscopy, training with the GI Mentor simulator in combination with a mechanical and an ex-vivo simulator seems to influence positively the learning curve of novice endoscopists when combined with clinical training, while independent simulator training appears to be insufficient[23]. Data reviewed from a Medical University of Vienna study indicate that trainees who underwent training sessions with virtual endoscopy simulator before conventional training benefited in their first ten on-patient endoscopies regarding procedure completion time and technical accuracy (as rated by experts) in comparison to their non-simulator trained fellows. Statistically significant difference in gastroscopy duration was still observable after 60 endoscopic examinations[24]. On the other hand missed diagnosis of pathological findings, evaluated by blinded experts, was not significantly different between the two groups[24].

Three randomized, blinded, controlled trials have demonstrated the positive impact of three different virtual endoscopy simulators on the performance of novice colonoscopists. The first study, performed in Karolinska Hospital, Sweden, proved significant increase of colonoscopy completion rate and reduction of both procedure time and patient discomfort in trainees who had already achieved a predetermined performance in the Accutouch simulator, compared with controls[25]. In the second multicenter trial the influence of GI Mentor simulator pre - training was investigated. The results showed that the pre – trained residents achieved higher competency scores than their control trainees during their first 100 cases; the difference in performance being even more prominent in their first 80 colonoscopies[26]. A third multinational European trial proved that novice trainees trained with the Olympus virtual simulator received similar rates by blinded experts in three live colonoscopy cases in comparison to others who underwent traditional training only. However, they achieved better results in simulator metrics in three virtual simulator cases than their on-patient trained fellows[27].

Furthermore, one study demonstrated that skills acquired after sessions of colonoscopy training with virtual endoscopy simulators seem to be maintained for several months after the end of training[28]. The presence of a supervisor also boosts the training procedure, as trainees complete the colonoscopy simulation and reach simulator proficiency levels faster than individual training[29]. Finally, intensive hands – on colonoscopy courses using computer simulator and live case teaching influence positively trainees’ skills measured by a computer simulator and by a clinical index while results are maintained during a 9-mo follow-up period[30].

The use of sigmoidoscopy virtual simulators was investigated in two trials. The results of a prospective randomized trial were not promising, since trainees who were trained using virtual endoscopy simulators exclusively, experienced more technical difficulties regarding initial endoscope insertion, negotiation of the rectrosigmoid junction and ability to perform retroflexion, while their procedure completion rate was significantly lower than that of controls[3]. Another study demonstrated that a 3-h simulator pre-training course didn’t show measurable effect in the graded skills of identification of pathology and safe scope insertion of novice trainees performing sigmoidoscopy. However, the patients experienced less discomfort[31].

There is limited information regarding the usefulness of virtual simulators in ERCP training. In two United States surveys in which ERCP virtual endoscopy simulators were evaluated compared to other modes (a mechanical simulator in the first study, an ex-vivo simulator and a live porcine model in the second), virtual simulators received lower scores in terms of realism and usefulness, but they were ranked as more user friendly[32,33]. In another United States study, novice and expert endoscopists evaluated positively graphics and haptic realism of the ERCP module of GI Mentor and the vast majority of them claimed that it should be considered as a useful ERCP training tool[34].

Finally, there are no data about GI Mentor’s EUS mode contribution in trainees’ learning curve. Kefalides et al[35] tested this EUS simulator mode and claimed that improvement is needed before being used as training tool. At the same time, eight EUS experts gave EUS Mentor mode the highest score among a mechanical simulator, an ex-vivo simulator and a live pig model in terms of usefulness and realism but expressed a negative view about the virtual simulator’s EUS-FNA training mode[36].

Evaluation of endoscopic skills

Success of endoscopy depends on a number of factors including among others the endoscopist’s technique, patient’s condition and tolerance and the quality of equipment. As a result, it is difficult to assess endoscopic skills and there is no widely accepted scale for measuring competence. For a reliable evaluation of training process, virtual endoscopy simulators must correlate simulator based benchmarks with clinical skills[37] and simulators’ competitiveness scores with accepted clinical metrics[38].

The validation of the Olympus virtual simulator to evaluate colonoscopy skills has been tested in two different trials demonstrating promising results. One trial that included participants with no endoscopy experience, trainees with median experience and experts, showed significant reduction of simulator procedure time and better scores in parameters measuring technique, like the number and size of passed sigmoid loops and use of variable stiffness function that depended on user’s experience[20]. Another trial, that included novices and experts demonstrated that experts achieved higher scores in colonoscopy competence measured by an Olympus simulator scale but the difference was not statistically significant[39].

Surveys involving GI Mentor as a skills assessment tool have shown contradictory results. Two studies both dividing participants in novices, medium – experienced and experts endoscopists have shown significant differences between novices and the other groups regarding virtual colonoscopy completion time and other parameters such as the percentage of lumen surface examined. Differences though were less prominent after the users had reached certain endoscopic experience[40,41]. A third trial demonstrated that GI Mentor colonoscopy simulator modules with higher level of complexity were more suitable to distinguish endoscopists with different experience[42]. On the other hand two other surveys raised doubts about the reliability of GI Mentor to evaluate colonoscopy skills. A University of Pennsylvania, United States trial showed that the virtual simulator was unable to differentiate between novices and experts not only in colonoscopy modules but also in upper gastrointestinal endoscopy modules[43], while a Cleveland, United States study displayed a wide range of scores in virtual colonoscopies performed by experts, claiming that upgrade is needed for simulators to be considered accurate tools for measuring endoscopic skills[44].

The ability of GI Mentor ERCP module to discriminate between novices and experts was tested in a US study. The combination of results in two simulated cases proved statistically significant difference between the two groups but the study sample size was small and only one institution was involved[34].

The construct validity of the Accutouch sigmoidoscopy simulator has been tested in two trials. The simulator discriminated groups with different sigmoidoscopy experience but results from the simulator metrics were not statistically significant in one of the two studies where experts and senior trainees were compared[45,46].

Finally, an attempt for creating a universal scale for measuring competence using virtual simulators was made in a multicenter Canadian trial. The researchers developed the “Global Assessment of Gastrointestinal Endoscopic Skills” for upper gastrointestinal endoscopy and colonoscopy demonstrating statistically significant difference between the scores of novices and experts[47].

FINANCIAL IMPACT

The two virtual endoscopy simulators currently available in the market are quite expensive. The cost of GI Mentor starts from 64500 $ (gastroscopy and colonoscopy modes) but the purchase of more complicated modules, such as those available for ERCP and EUS training, can raise the cost up to 114000 $[9]. As far as the Accutouch simulator is concerned, upper and lower gastrointestinal endoscopy packages can be purchased separately. The cost of upper gastrointestinal endoscopy package is 46750 $ (bleeding mode upgrade adds 19000$ to the cost), while lower gastrointestinal endoscopy package is available at 74750 $. Addition of advanced modules, like ERCP module and colonoscopy biopsy module, increases the cost from 7175 to 8650 $ for each separate purchase[9]. This high cost is the main reason that precludes the widespread of these modalities in countries where the total number of endoscopy trainees doesn’t justify the cost, or current fiscal austerity measures impose tremendous cut in state public health spending[48].

Their main financial advantage in comparison to other types of simulators, like ex-vivo and animal models, is that after installation the expenses are minimized. The presence of a supervisor in virtual endoscopy training procedure is not cost effective according to a University of Alabama study[49]. The concept of mobile virtual endoscopy simulators, being shared by more than one institutions, proved successful[50] and collaborative use may reduce the cost of their use in the future. Use of virtual endoscopy simulators though seems to have also a positive influence in health economics by reducing procedure time related to trainee involvement in endoscopy[1] and by limiting potential procedural complications and incorrect diagnosis[51]. Further research should be carried on in order to quantify the profit from their use.

CONCLUSION

Virtual endoscopy simulators use at the early stages of endoscopy training has considerable impact in the performance of novice endoscopists not only in gastroscopy but also in colonoscopy. The benefit of their use for trainees who have acquired certain experience appears to be limited, while more data is needed to document their position in ERCP and EUS training. Despite the efforts for developing virtual simulators as tools for measuring endoscopic skills, the available modalities shouldn’t be considered as objective means for validating competitiveness of endoscopists. The main disadvantage of these computer – based simulators is their notably high price. The concept of mobile simulators and the purchase of basic modules of virtual simulators could be a solution for reducing cost. Rapid improvement in software and hardware technology promises even more realistic simulators and replacement of the first stages of conventional training with simulator training at a reasonable and affordable cost is the developers’ challenge for the future.

REFERENCES

1 McCashland T, Brand R, Lyden E, de Garmo P. The time and financial impact of training fellows in endoscopy. CORI Research Project. Clinical Outcomes Research Initiative. Am J Gastroenterol 2000; 95: 3129-3132 [PMID: 11095329 DOI: 10.1111/j.1572-0241.2000.03280.x] 2 Bini EJ, Firoozi B, Choung RJ, Ali EM, Osman M, Weinshel EH. Systematic evaluation of complications related to endoscopy in a training setting: A prospective 30-day outcomes study. Gastrointest Endosc 2003; 57: 8-16 [PMID: 12518123 DOI: 10.1067/mge.2003.15] 3 Gerson LB, Van Dam J. A prospective randomized trial comparing a virtual reality simulator to bedside teaching for training in sigmoidoscopy. Endoscopy 2003; 35: 569-575 [PMID: 12822091 DOI: 10.1055/s-2003-40243] 4 Ziv A, Wolpe PR, Small SD, Glick S. Simulation-based medical education: an ethical imperative. Acad Med 2003; 78: 783-788 [PMID: 12915366 DOI: 10.1097/00001888-200308000-00006] 5 Issenberg SB, McGaghie WC, Petrusa ER, Lee Gordon D, Scalese RJ. Features and uses of high-fidelity medical simulations that lead to effective learning: a BEME systematic review. Med Teach 2005; 27: 10-28 [PMID: 16147767 DOI: 10.1080/01421590500046924] 6 Sedlack RE, Kolars JC. Computer simulator training enhances the competency of gastroenterology fellows at colonoscopy: results of a pilot study. Am J Gastroenterol 2004; 99: 33-37 [PMID: 14687137 DOI: 10.1111/j.1572-0241.2004.04007.x] 7 Markman HD. A new system for teaching proctosigmoidoscopic morphology. Am J Gastroenterol 1969; 52: 65-69 [PMID: 5796685] 8 Parra-Blanco A, González N, González R, Ortiz-Fernández-Sordo J, Ordieres C. Animal models for endoscopic training: do we really need them? Endoscopy 2013; 45: 478-484 [PMID: 23733729 DOI: 10.1055/s-0033-1344153] 9 Desilets DJ, Banerjee S, Barth BA, Kaul V, Kethu SR, Pedrosa MC, Pfau PR, Tokar JL, Varadarajulu S, Wang A, Wong Kee Song LM, Rodriguez SA; ASGE Technology Committee. Endoscopic simulators. Gastrointest Endosc 2011; 73: 861-867 [PMID: 21521562 DOI: 10.1016/j.gie.2011.01.063] 10 Williams CB, Baillie J, Gillies DF, Borislow D, Cotton PB. Teaching gastrointestinal endoscopy by computer simulation: a prototype for colonoscopy and ERCP. Gastrointest Endosc 1990; 36: 49-54 [PMID: 2311883] 11 Noar MD. Robotics interactive endoscopy simulation of ERCP/sphincterotomy and EGD. Endoscopy 1992; 24 Suppl 2: 539-541 [PMID: 1396398 DOI: 10.1055/s-2007-1010539] 12 Sturm LP, Windsor JA, Cosman PH, Cregan P, Hewett PJ, Maddern GJ. A systematic review of skills transfer after surgical simulation training. Ann Surg 2008; 248: 166-179 [PMID: 18650625 DOI: 10.1097/SLA.0b013e318176bf24] 13 Bar-Meir S. A new endoscopic simulator. Endoscopy 2000; 32: 898-900 [PMID: 11085480] 14 Dunkin BJ. Flexible endoscopy simulators. Semin Laparosc Surg 2003; 10: 29-35 [PMID: 12695807] 15 Dunkin B, Adrales GL, Apelgren K, Mellinger JD. Surgical simulation: a current review. Surg Endosc 2007; 21: 357-366 [PMID: 17180270 DOI: 10.1007/s00464-006-9072-0] 16 Available from: URL: http: //simbionix.com/simulators/gi-bronch-gi-mentor/ 17 Available from: URL: https://caehealthcare.com/home/eng/product_services/product_details/endovr 18 Available from: URL: http://www.pennstatehershey.org/web/simulation/equipment/endoscopy 19 Williams CB, Thomas-Gibson S. Rational colonoscopy, realistic simulation, and accelerated teaching. Gastrointest Endosc Clin N Am 2006; 16: 457-470 [PMID: 16876718 DOI: 10.1016/j.giec.2006.03.012] 20 Haycock AV, Bassett P, Bladen J, Thomas-Gibson S. Validation of the second-generation Olympus colonoscopy simulator for skills assessment. Endoscopy 2009; 41: 952-958 [PMID: 19802776 DOI: 10.1055/s-0029-1215193] 21 Wexner SD, Litwin D, Cohen J, Earle D, Ferzli G, Flaherty J, Graham S, Horgan S, Katz BL, Kavic M, Kilkenny J, Meador J, Price R, Quebbemann B, Reed W, Sillin L, Vitale G, Xenos ES, Eisen GM, Dominitz J, Faigel D, Goldstein J, Kalloo A, Peterson B, Raddawi H, Ryan M, Vargo J, Young H, Simmang C, Hyman N, Eisenstat T, Anthony T, Cataldo P, Church J, Cohen J, Denstman F, Glennon E, Kilkenny J, McConnell J, Nogueras J, Orsay C, Otchy D, Place R, Rakinic J, Savoca P, Tjandra J. Principles of privileging and credentialing for endoscopy and colonoscopy. Gastrointest Endosc 2002; 55: 145-148 [PMID: 11818913 DOI: 10.1016/S0016-5107(02)70480-X] 22 Wexner SD, Eisen GM, Simmang C. Principles of privileging and credentialing for endoscopy and colonoscopy. Surg Endosc 2002; 16: 367-369 [PMID: 11967713 DOI: 10.1007/s00464-001-0073-8] 23 Ende A, Zopf Y, Konturek P, Naegel A, Hahn EG, Matthes K, Maiss J. Strategies for training in diagnostic upper endoscopy: a prospective, randomized trial. Gastrointest Endosc 2012; 75: 254-260 [PMID: 22153875 DOI: 10.1016/j.gie.2011.07.063] 24 Ferlitsch A, Schoefl R, Puespoek A, Miehsler W, Schoeniger-Hekele M, Hofer H, Gangl A, Homoncik M. Effect of virtual endoscopy simulator training on performance of upper gastrointestinal endoscopy in patients: a randomized controlled trial. Endoscopy 2010; 42: 1049-1056 [PMID: 20972956 DOI: 10.1055/s-0030-1255818] 25 Ahlberg G, Hultcrantz R, Jaramillo E, Lindblom A, Arvidsson D. Virtual reality colonoscopy simulation: a compulsory practice for the future colonoscopist? Endoscopy 2005; 37: 1198-1204 [PMID: 16329017 DOI: 10.1055/s-2005-921049] 26 Cohen J, Cohen SA, Vora KC, Xue X, Burdick JS, Bank S, Bini EJ, Bodenheimer H, Cerulli M, Gerdes H, Greenwald D, Gress F, Grosman I, Hawes R, Mullin G, Schnoll-Sussman F, Starpoli A, Stevens P, Tenner S, Villanueva G. Multicenter, randomized, controlled trial of virtual-reality simulator training in acquisition of competency in colonoscopy. Gastrointest Endosc 2006; 64: 361-368 [PMID: 16923483 DOI: 10.1016/j.gie.2005.11.062] 27 Haycock A, Koch AD, Familiari P, van Delft F, Dekker E, Petruzziello L, Haringsma J, Thomas-Gibson S. Training and transfer of colonoscopy skills: a multinational, randomized, blinded, controlled trial of simulator versus bedside training. Gastrointest Endosc 2010; 71: 298-307 [PMID: 19889408 DOI: 10.1016/j.gie.2009.07.017] 28 Snyder CW, Vandromme MJ, Tyra SL, Hawn MT. Retention of colonoscopy skills after virtual reality simulator training by independent and proctored methods. Am Surg 2010; 76: 743-746 [PMID: 20698383] 29 Kruglikova I, Grantcharov TP, Drewes AM, Funch-Jensen P. The impact of constructive feedback on training in gastrointestinal endoscopy using high-fidelity Virtual-Reality simulation: a randomised controlled trial. Gut 2010; 59: 181-185 [PMID: 19828469 DOI: 10.1136/gut.2009.191825] 30 Thomas-Gibson S, Bassett P, Suzuki N, Brown GJ, Williams CB, Saunders BP. Intensive training over 5 days improves colonoscopy skills long-term. Endoscopy 2007; 39: 818-824 [PMID: 17703392 DOI: 10.1055/s-2007-966763] 31 Sedlack RE, Kolars JC, Alexander JA. Computer simulation training enhances patient comfort during endoscopy. Clin Gastroenterol Hepatol 2004; 2: 348-352 [PMID: 15067632 DOI: 10.1016/S1542-3565(04)00067-9] 32 Leung J, Lim B, Ngo C, Lao WC, Wing LY, Hung I, Li M, Leung FW. Head-to-head comparison of practice with endoscopic retrograde cholangiopancreatography computer and mechanical simulators by experienced endoscopists and trainees. Dig Endosc 2012; 24: 175-181 [PMID: 22507092 DOI: 10.1111/j.1443-1661.2011.01209.x] 33 Sedlack R, Petersen B, Binmoeller K, Kolars J. A direct comparison of ERCP teaching models. Gastrointest Endosc 2003; 57: 886-890 [PMID: 12776037 DOI: 10.1067/mge.2003.236] 34 Bittner JG, Mellinger JD, Imam T, Schade RR, Macfadyen BV. Face and construct validity of a computer-based virtual reality simulator for ERCP. Gastrointest Endosc 2010; 71: 357-364 [PMID: 19922914 DOI: 10.1016/j.gie.2009.08.033] 35 Kefalides PT, Gress F. Simulator training for endoscopic ultrasound. Gastrointest Endosc Clin N Am 2006; 16: 543-52, viii [PMID: 16876724 DOI: 10.1016/j.giec.2006.03.018] 36 Matsuda K, Hawes RH, Sahai AV, Tajiri H. The role of simulators, models, phantoms. Where's the evidence? Endoscopy 2006; 38 Suppl 1: S61-S64 [PMID: 16802228 DOI: 10.1055/s-2006-946656] 37 Cohen J, Thompson CC. The next generation of endoscopic simulation. Am J Gastroenterol 2013; 108: 1036-1039 [PMID: 23820991 DOI: 10.1038/ajg.2012.390] 38 Cohen J, Bosworth BP, Chak A, Dunkin BJ, Early DS, Gerson LB, Hawes RH, Haycock AV, Hochberger JH, Hwang JH, Martin JA, McNally PR, Sedlack RE, Vassiliou MC. Preservation and Incorporation of Valuable Endoscopic Innovations (PIVI) on the use of endoscopy simulators for training and assessing skill. Gastrointest Endosc 2012; 76: 471-475 [PMID: 22809879 DOI: 10.1016/j.gie.2012.03.248] 39 Koch AD, Haringsma J, Schoon EJ, de Man RA, Kuipers EJ. A second-generation virtual reality simulator for colonoscopy: validation and initial experience. Endoscopy 2008; 40: 735-738 [PMID: 18698536 DOI: 10.1055/s-2008-1077508] 40 Koch AD, Buzink SN, Heemskerk J, Botden SM, Veenendaal R, Jakimowicz JJ, Schoon EJ. Expert and construct validity of the Simbionix GI Mentor II endoscopy simulator for colonoscopy. Surg Endosc 2008; 22: 158-162 [PMID: 17516114 DOI: 10.1007/s00464-007-9394-6] 41 Grantcharov TP, Carstensen L, Schulze S. Objective assessment of gastrointestinal endoscopy skills using a virtual reality simulator. JSLS 2005; 9: 130-133 [PMID: 15984697] 42 Fayez R, Feldman LS, Kaneva P, Fried GM. Testing the construct validity of the Simbionix GI Mentor II virtual reality colonoscopy simulator metrics: module matters. Surg Endosc 2010; 24: 1060-1065 [PMID: 19911225 DOI: 10.1007/s00464-009-0726-6] 43 Kim S, Spencer G, Makar GA, Ahmad NA, Jaffe DL, Ginsberg GG, Kuchenbecker KJ, Kochman ML. Lack of a discriminatory function for endoscopy skills on a computer-based simulator. Surg Endosc 2010; 24: 3008-3015 [PMID: 20464425 DOI: 10.1007/s00464-010-1077-z] 44 Phitayakorn R, Marks JM, Reynolds HL, Delaney CP. Expert benchmark for the GI Mentor II. Surg Endosc 2009; 23: 611-614 [PMID: 18813977 DOI: 10.1007/s00464-008-0166-8] 45 MacDonald J, Ketchum J, Williams RG, Rogers LQ. A lay person versus a trained endoscopist: can the preop endoscopy simulator detect a difference? Surg Endosc 2003; 17: 896-898 [PMID: 12632138 DOI: 10.1007/s00464-002-8559-6] 46 Datta V, Mandalia M, Mackay S, Darzi A. The PreOp flexible sigmoidoscopy trainer. Validation and early evaluation of a virtual reality based system. Surg Endosc 2002; 16: 1459-1463 [PMID: 12042913 DOI: 10.1007/s00464-002-9014-4] 47 Vassiliou MC, Kaneva PA, Poulose BK, Dunkin BJ, Marks JM, Sadik R, Sroka G, Anvari M, Thaler K, Adrales GL, Hazey JW, Lightdale JR, Velanovich V, Swanstrom LL, Mellinger JD, Fried GM. Global Assessment of Gastrointestinal Endoscopic Skills (GAGES): a valid measurement tool for technical skills in flexible endoscopy. Surg Endosc 2010; 24: 1834-1841 [PMID: 20112113 DOI: 10.1007/s00464-010-0882-8] 48 Triantafyllou K, Angeletopoulou C. IMF and European co-workers attack public health in Greece. Lancet 2011; 378: 1459-1460 [PMID: 22018010 DOI: 10.1016/S0140-6736(11)61639-5] 49 Snyder CW, Vandromme MJ, Tyra SL, Hawn MT. Proficiency-based laparoscopic and endoscopic training with virtual reality simulators: a comparison of proctored and independent approaches. J Surg Educ 2009; 66: 201-207 [PMID: 19896624 DOI: 10.1016/j.jsurg.2009.07.007] 50 Van Sickle KR, Buck L, Willis R, Mangram A, Truitt MS, Shabahang M, Thomas S, Trombetta L, Dunkin B, Scott D. A multicenter, simulation-based skills training collaborative using shared GI Mentor II systems: results from the Texas Association of Surgical Skills Laboratories (TASSL) flexible endoscopy curriculum. Surg Endosc 2011; 25: 2980-2986 [PMID: 21487880 DOI: 10.1007/s00464-011-1656-7] 51 Walsh CM, Sherlock ME, Ling SC, Carnahan H. Virtual reality simulation training for health professions trainees in gastrointestinal endoscopy. Cochrane Database Syst Rev 2012; 6: CD008237 [PMID: 22696375 DOI: 10.1002/14651858.CD008237.pub2]

P- Reviewers: Oda I, Seong WJ S- Editor: Ma YJ L- Editor:  E- Editor:

Table 1 Evaluation of virtual simulators for the training of novice endoscopists

| Ref. | Simulator | Procedure | Groups | Outcome measurement | Result |
| --- | --- | --- | --- | --- | --- |
| Ende et al[23] | GI Mentor (plus a mechanical and an ex-vivo simulator) | Gastroscopy | Clinical plus simulator training Clinical training only Simulator training only | Skills evaluation score Time (s) to pass pylorus | Median score: 7 vs 6 vs 5 (p = ns) 183 ± 65 vs 207 ± 61 vs 247 ± 66 (p = ns) |
| Ferlitsch et al[24] | GI Mentor | Gastroscopy | Simulator training before conventional training Conventional training | Time (s) to reach duodenum Percentage of unaided examinations (after 10 endoscopies) | 239 vs 310 (p < 0.000) 85% vs 72% (p < 0.01) |
| Ahlberg et al[25] | Accutouch simulator | Colonoscopy | Simulator group Control group | Cecum reached during the first 10 colonoscopies Time (min) to reach cecum Patient discomfort (estimated probability in group 2) | 52% vs 19% (p = 0.0011) 30 vs 40 (p = 0.037) 2.27 (95%CI: 1.14-4.76) |
| Cohen et al[26] | GI Mentor | Colonoscopy | Simulator group Control group | Competency after 100 cases Number of cases for reaching competency | Higher in group 1 (p < 0.0001) 160 in both groups (p = ns) |
| Haycock et al[27] | Olympus simulator | Colonoscopy | Simulator group On patient trained group | Live colonoscopy cases Completion rates Time taken Virtual simulator cases Cecum intubation Time (s) to cecum intubation | 11% vs 7% (p = ns) 20 vs 20 min (p = ns) 95% vs 70% (p < 0.01) 407 vs 743 (p < 0.01) |
| Gerson et al[6] | Accutouch simulator | Sigmoidoscopy | Virtual simulator training (without on-patient training) On patient training group | Time (min) to complete the live case Live cases that trainees completed independently | 24 vs 24 (p = ns) 29% vs 72% (p < 0.001) |
| Sedlack et al[31] | Accutouch simulator | Sigmoidoscopy | Simulator group Control group | Patient discomfort score (1-10) Competence score to perform endoscopy independently (1-10) | 1. 3 vs 4 (p < 0.01) 2. 8 vs 8 (p = ns) |

Figure 1 The GI Mentor II simulator (Simbionix, Cleveland, United States), photo provided courtesy simbionix.

Figure 2 The CAE EndoVR (previously Accutouch) simulator (CAE Healthcare, Montreal, Canada), ©2013 CAE. Photo provided courtesy of CAE healthcare.