**Name of journal:** **World Journal of Gastroenterology**

**ESPS Manuscript No: 6606**

**Columns: TOPIC HIGHLIGHTS**

WJG 20th Anniversary Special Issues (12): Fatty liver

**Radiologic evaluation of nonalcoholic fatty liver disease**

Lee SS *et al*. Nonalcoholic fatty liver disease

Seung Soo Lee, Seong Ho Park

**Seung Soo Lee, Seong Ho Park,** Department of Radiology and Research Institute of Radiology, University of Ulsan College of Medicine, Asan Medical Center, Seoul 138-736, South Korea

**Author contributions**: Lee SS and Park SH searched for and reviewed the references, and wrote the manuscript.

**Supported by** The Basic Science Research Program through the National Research Foundation of South Korea and funded by the Ministry of Education, Science and Technology, No. 2012R1A1A1005326

**Correspondence to: Seong Ho Park, MD, PhD,** Department of Radiology, University of Ulsan College of Medicine, Asan Medical Center, Asanbyeongwon-gil 86, Songpa-Gu, Seoul 138-736, South Korea. parksh.radiology@gmail.com

**Telephone:** +82-2-30104400 **Fax:**+82-2-4764719

**Received:** October 24, 2013 **Revised:** December 21, 2013

**Accepted:** January 19, 2014

**Published online:**

**Abstract**

Nonalcoholic fatty liver disease (NAFLD) is a frequent cause of chronic liver diseases, ranging from simple steatosis to nonalcoholic steatohepatitis (NASH)-related liver cirrhosis. Although liver biopsy is still the gold standard for the diagnosis of NAFLD, especially for the diagnosis of NASH, imaging methods have been increasingly accepted as noninvasive alternatives to liver biopsy. Ultrasonography is a well-established and cost-effective imaging technique for the diagnosis of hepatic steatosis, especially for screening a large population at risk of NAFLD. Ultrasonography has a reasonable accuracy in detecting moderate-to-severe hepatic steatosis although it is less accurate for detecting mild hepatic steatosis, operator-dependent, and rather qualitative. Computed tomography is not appropriate for general population assessment of hepatic steatosis given its inaccuracy in detecting mild hepatic steatosis and potential radiation hazard. However, computed tomography may be effective in specific clinical situations, such as evaluation of donor candidates for hepatic transplantation. Magnetic resonance spectroscopy and magnetic resonance imaging are now regarded as the most accurate practical methods of measuring liver fat in clinical practice, especially for longitudinal follow-up of patients with NAFLD. Ultrasound elastography and magnetic resonance elastography are increasingly used to evaluate the degree of liver fibrosis in patients with NAFLD and to differentiate NASH from simple steatosis. This article will review current imaging methods used to evaluate hepatic steatosis, including the diagnostic accuracy, limitations, and practical applicability of each method. It will also briefly describe the potential role of elastography techniques in the evaluation of patients with NAFLD.

© 2014 Baishideng Publishing Group Co., Limited. All rights reserved.

**Key words:** Nonalcoholic fatty liver disease; Nonalcoholic steatohepatitis; Liver steatosis; Magnetic resonance spectroscopy; Magnetic resonance imaging; Ultrasonography; Computed tomography; Elastography

**Core tip:** Ultrasonography is a cost-effective imaging technique for the diagnosis of hepatic steatosis in clinical practice. Magnetic resonance spectroscopy and magnetic resonance imaging are the most accurate and reliable methods of quantifying liver fat, especially for longitudinal follow-up of patients with nonalcoholic fatty liver disease. Ultrasound elastography and magnetic resonance elastography are promising imaging methods to evaluate the degree of liver fibrosis and to differentiate nonalcoholic steatohepatitis from simple hepatic steatosis.

Lee SS, Park SH. Radiologic evaluation of nonalcoholic fatty liver disease. World J Gastroenterol 2014;

**Available from:**

**DOI:**

**Introduction**

Nonalcoholic fatty liver disease (NAFLD) is one of the most common causes of chronic liver diseases in Western countries, occurring in approximately 30% of the general population[1,2]. NAFLD consists of a spectrum of diseases, including simple steatosis, nonalcoholic steatohepatitis (NASH), liver fibrosis, and liver cirrhosis[3,4]. Although the exact risk or incidence of progression from simple hepatic steatosis to advanced stages of fatty liver disease has yet to be determined, the progression of simple hepatic steatosis to cirrhosis through the development of steatohepatitis (NASH) and fibrosis has been established[2,5-11]. NASH, characterized by hepatocyte injury, inflammation, and fibrosis, is a clear risk factor for progression to cirrhosis, and such progression has been reported in up to 25% of patients[6,7,9]. NASH is also associated with an increased risk of liver cancer and death from cardiovascular diseases or liver-related causes[2,6,9,10,12]. NAFLD is closely related to obesity, insulin resistance, hypertension, and dyslipidemia and is now regarded as a hepatic manifestation of the metabolic syndrome[4,13,14]. NAFLD also adversely affects disease progression and response to treatment in patients with viral hepatitis C[15] and has negative effects on the prognosis of hepatic transplant recipients[16].

Liver biopsy is regarded as the gold standard for the assessment of NAFLD and is the only reliable method for differentiating NASH from simple steatosis. This method, however, is invasive and is, therefore, unsuitable for screening large numbers of subjects at risk, or for follow-up of patients with NAFLD after therapeutic intervention. Furthermore, as liver biopsy samples are small in size, they are subject to sampling variability[17,18]. The clinical importance of NAFLD and the limitations of liver biopsy have increased the need for accurate and noninvasive imaging methods to evaluate NAFLD. To date, various imaging methods have been utilized to evaluate patients with NAFLD, including ultrasonography (US), computed tomography (CT), magnetic resonance imaging (MRI), and magnetic resonance spectroscopy (MRS), with these methods mostly used to quantify hepatic steatosis. Each imaging method has its own advantages and disadvantages which are summarized in Table 1. More recently, several imaging methods that measure liver stiffness have been investigated for their usefulness in assessing inflammation and fibrosis in patients with NAFLD. This article will review the imaging methods currently utilized for the evaluation of NAFLD and discuss their practical applicability.

**US for evaluating hepatic steatosis**

Hepatic steatosis on US appears as a diffuse increase in hepatic echogenicity, or “bright liver”, due to increased reflection of US from the liver parenchyma, which is caused by intracellular accumulation of fat vacuoles. US evaluation of hepatic steatosis typically consists of a qualitative visual assessment of hepatic echogenicity, measurements of the difference between the liver and kidneys in echo amplitude, evaluation of echo penetration into the deep portion of the liver, and determination of the clarity of blood vessel structures in the liver (Figure 1). Severity is usually graded clinically using a four-point scale, as follows: normal (grade 0), mild (grade 1), moderate (grade 2), and severe (grade 3)[19-21]. The diagnostic performance of US in detecting hepatic steatosis has been reported to vary, depending on the exact definition of steatosis and the presence of coexisting chronic liver disease. In patients without coexisting liver disease, US offers a fairly accurate diagnosis of moderate-to-severe hepatic steatosis (*i.e.*, defined as histologic degree ≥ 30% or 33%), with reported sensitivity ranging from 81.8% to 100.0% and specificity as high as 98%[19,20]. In contrast, US was not accurate in diagnosing hepatic steatosis when all degrees of steatosis were considered (*i.e.*, ≥ 3% or 5%), with a reported sensitivity ranging from 53.3% to 66.6% and specificity ranging from 77.0% to 93.1%[19,21-23]. As hepatic fibrosis may also increase hepatic echogenicity[24,25], the presence of underlying chronic liver disease may reduce the accuracy of US in the diagnosis of hepatic steatosis. For example, one study that included hepatitis C patients[25] found that US had a sensitivity of 60% and a specificity of 73% in detecting histologically proven moderate-to-severe hepatic steatosis.

One major limitation of US is the substantial intra- and inter-observer variability. A retrospective study of 168 US examinations showed intra- and inter-observer agreements of 54.7%–67.9% and 47.0%–63.7%, respectively, when assessing the severity of hepatic steatosis using the traditional four-point visual grading system[26]. These findings are consistent with the results of a prospective study of 161 potential liver transplant donors[19], in that the results of 21.7% US examinations differed between two independent readers, with the two radiologists differing significantly in diagnosing hepatic steatosis by US[19]. These results indicate that US is highly dependent on the operator. Another limitation of US is the qualitative nature of the current four-point grading system. Although this grading system is the most widely used for US evaluation of hepatic steatosis in practice, it is too simplistic to account for small alterations in steatosis severity on follow-up. Thus, US may be inadequate for evaluating patients with NAFLD after therapeutic intervention. To overcome the limitations of US, computer-assisted quantitative US techniques were developed for the assessment of hepatic steatosis[27-29]. These techniques employ dedicated post-processing software programs to analyze US echo amplitude, attenuation, and/or texture-based information. The most robust parameter is the computerized hepatorenal index, defined as the ratio of the echo intensities of the liver and renal cortex. The results of two related studies were very promising, with this index demonstrating sensitivities of 92.7% and 100% and specificities of 91% and 92.5% in diagnosing hepatic steatosis ≥ 5%[28,29].

In summary, US is an established imaging technique for screening subjects at risk of NAFLD, with acceptable sensitivity and specificity in detecting moderate-to-severe hepatic steatosis. As US is easy to perform and less costly than other imaging methods, US is probably currently the most widely used imaging method for detecting hepatic steatosis in asymptomatic patients with elevated liver enzymes and suspected NAFLD[30]. However, because of its low accuracy in detecting mild steatosis, its operator dependency, and its qualitative nature in the absence of dedicated image post-processing, US may not be an adequate tool for monitoring NAFLD patients after therapeutic interventions. Computerized quantitative analysis methods for US may be able to overcome these limitations, but they require further clinical validation.

**CT for evaluating hepatic steatosis**

CT evaluation of hepatic steatosis is based on the attenuation values of the liver parenchyma, evaluated as Hounsfield units (HUs), and dependent on tissue composition. As the attenuation value of fat (*i.e.*, approximately -100 HU) is much lower than that of soft tissue, hepatic steatosis lowers the attenuation of liver parenchyma. Although a few studies reported that contrast-enhanced venous phase CT and unenhanced CT scan had comparable diagnostic accuracy in the diagnosis of hepatic steatosis[31,32], unenhanced CT scans are usually preferred to avoid the potential errors in contrast-enhanced CT caused by variations in liver attenuation related to contrast injection methods and scan timing. Several quantitative CT indices have been used to assess hepatic steatosis, with the two most frequently used being the absolute liver attenuation value (*i.e.*, HUliver) and the liver-to-spleen difference in attenuation (*i.e.*, CTL-S) (Figure 2). Despite HUliver showing a stronger correlation with histologic degree of hepatic steatosis than CTL-S, HUliver may be subject to errors resulting from variations in attenuation values across CT scanners from different vendors[33,34]. This error can be avoided, however, by using CTL-S, which incorporates spleen attenuation as an internal control[33].

Although the accuracy of CT in diagnosing hepatic steatosis was found to vary, CT was quite accurate for the diagnosis of moderate-to-severe steatosis but was not as accurate for detecting mild steatosis. The threshold values of CT indices for the diagnosis of hepatic steatosis were also quite variable, depending on the methods and populations used[19,21,35]. In one study, which included 154 potential living liver donor candidates[35], a threshold CTL-S value of -9 had a specificity of 100% and a sensitivity of 82% in detecting moderate-to-severe hepatic steatosis. Another study reported that a threshold CTL-S of 3.2 had a sensitivity of 72.7% and a specificity of 91.3%[19]. The variability in these reported threshold values limits the ability to generalize from the results of previous studies. To establish a more generalized threshold value of CT indices for the diagnosis of hepatic steatosis, a normal reference range for CTL-S (1-18 HU) was established using histologically proven, nonsteatotic healthy livers[36].An HUliver of 48 and a CTL-S of -2 were found to be threshold values for a 100% specific diagnosis of moderate-to-severe hepatic steatosis.

Several factors other than hepatic fat can influence liver attenuation on CT, including the presence of excess iron in the liver and the ingestion of certain drugs such as amiodarone[33,36,37]. Unlike conventional CT, dual-energy CT can differentiate among several chemical components in tissue, by using X rays at two different energy levels. This method has been applied to the evaluation of hepatic steatosis because it may more accurately evaluate hepatic steatosis in the absence of other factors affecting CT hepatic attenuation. To date, however, the theoretical advantage of dual-energy CT has not been established clinically. A recent study in animals using an up-to-date, dual-source, dual-energy CT scanner reported that the use of duel-energy CT did not improve the accuracy of conventional single-energy CT in assessing hepatic steatosis[38], reconfirming the results of a similar study in humans[39].

The low accuracy of CT in detecting a mild degree of hepatic steatosis suggests that this method may not be suitable for the evaluation of NAFLD because patients with NAFLD frequently have a mild degree of steatosis[9,40]. Moreover, the potential hazard of ionizing radiation makes CT unsuitable for use in children or for longitudinal monitoring of patients with NAFLD. CT for longitudinal follow-up of hepatic steatosis is also uncertain, due to a lack of knowledge about the reproducibility of serial CT measurements and the assay sensitivity of CT indices in detecting small changes in the severity of hepatic steatosis. Therefore, CT may not be appropriate for the evaluation of NAFLD, although it may be useful in evaluating hepatic steatosis in specific clinical scenarios. For example, CT can be used successfully to detect moderate-to-severe hepatic steatosis in donor candidates for liver transplantation[35,36,41], and CT measurement of fat in the liver may be useful for patients at risk of metabolic syndrome[42,43].

**Magnetic resonance methods for evaluating hepatic steatosis**

Unlike CT and US, which evaluate hepatic steatosis through proxy parameters (echogenicity and attenuation, respectively), MRI and MRS can more directly measure the quantity of hepatic fat. MRI and MRS both measure proton density fat fraction (PDFF), defined as the amount of protons bound to fat divided by the amount of all protons in the liver, including those bound to fat and water. The basic magnetic resonance (MR) physics used in both techniques to differentiate protons in fat from those in water is the chemical-shift phenomenon, *i.e.*, the difference in MR frequency between the protons in fat and water. The chemical-shift effect is directly visible on MRS spectra, displaying signals at their respective resonance frequencies. Moreover, the chemical-shift effect is used in a number of MRI techniques to generate MR images, with signal intensities reflecting the magnitude of protons bound to fat. Accurate quantitative measurement of hepatic steatosis using MRS and MRI premises that MR signal intensities from fat and water are entirely created by proton densities of fat and water without any influence from other factors. However, in reality, the differences in T1, T2, and T2\* relaxation times between fat and water inevitably affect the signal intensities of fat and water on MRS and/or MRI. Therefore, various techniques have been developed to minimize the confounding effects. Several clinically feasible MRS and MRI techniques are introduced in the following sections.

***MR spectroscopy: technical aspects***

MRS measures proton signals as a function of their resonant frequency and displays multiple peaks at different locations, according to the chemical structure of protons in these frequency domains. On MRS spectra of the liver, where fat and water are the most abundant proton-containing materials, most of the identifiable peaks are derived from water and fat, with water appearing as a single peak at 4.7 ppm and fat as multiple peaks due to the presence of various chemical bonds between the protons and adjacent atoms in fat, *e.g.*, a methylene (CH2) peak at 1.3 ppm and other smaller peaks at various locations (Figure 3). The signal intensities of fat and water peaks can be directly quantified by the spectral tracing of each peak, and PDFF can be calculated as the ratio of the sum of the signal intensities of the fat-derived peaks divided by the sum of the signal intensities of all fat- and water-derived peaks.

For hepatic fat quantification, MRS data is usually collected from a single voxel (typically 2 cm× 2 cm × 2 cmto 3 cm× 3 cm× 3 cm in size), manually placed in the liver parenchyma using 3-plane localizing images. Shimming is necessary to achieve a homogeneous magnetic field across the voxel. Either a stimulated echo acquisition mode (STEAM) or a point-resolved spectroscopy (PRESS) sequence can be used to acquire MRS spectra, with PRESS sequences providing a higher signal-to-noise-ratio (SNR) than STEAM sequences. STEAM, however, is considered more appropriate for fat quantification, as this sequence is less susceptible to a J-coupling effect and results in more reliable PDFF quantification[44,45]. As water and fat peaks are acquired, water or fat suppression must not be used to quantify liver fat using MRS. Unlike brain MRS, which requires multiple acquisitions of data to achieve a sufficiently high SNR to detect minute metabolites, MRS of the liver can be performed successfully with a single acquisition[45,46]. Therefore, MRS of the liver with a single acquisition can be performed in a short time during a single breath-hold, effectively avoiding respiratory movement-related problems; this method is currently preferred[47-51].

For unbiased fat quantification, MRS sequences should be optimized to minimize relaxation effects. A long repetition time (TR), *i.e.*, typically longer than 3000 ms at 1.5T, can minimize T1-relaxation effects. T2-relaxation effects can be reduced by using the shortest possible echo times (TEs). However, multi-echo MRS, which corrects for T2-relaxation effects using multiple spectra acquired at different TEs, allows for a more complete T2 correction[49,52]. Multi-echo MRS techniques are typically performed within a single breath-hold, with five single averaged spectra acquired at five different TEs[47,48,50,52].

***MR imaging: technical aspects***

Several different MRI methods have been introduced to quantify hepatic fat, including chemical-shift imaging (CSI), fat saturation, and fat-selective excitation approaches[45,53,54]. The CSI approach is most widely used because of its easy applicability and higher accuracy. Unlike MRS, which shows signals from fat and water at different locations on frequency domains, MRI displays the signal intensity of an image pixel as the vector sum of all signals from fat and water. CSI techniques separate MR signals into water and fat components based on the same MR physics as MRS (*i.e.*, the chemical shift between fat and water), but in a different way by using the chemical-shift-induced signal interference between the protons in fat and water.

The difference in resonance frequency between the dominant fat peak (*i.e.*, the methylene peak at 1.3 ppm) and the water peak (4.7 ppm) is 3.4 ppm, indicating that the water peak resonates 3.4 ppm faster than the methylene peak. Therefore, the protons in both methylene and water oscillate regularly and are positioned in opposed phase (OP) or in in-phase (IP) at certain TEs. The TEs corresponding to OP and IP depend on field strength: at 1.5T, the first OP and IP occurs at 2.3 ms and 4.6 ms, respectively, and OP and IP repeat at multiples of 4.6 ms after their first occurrence. At IP, the signals of methylene and water add constructively but, at OP, their signals cancel each other. Therefore, the difference in signal intensities between OP and IP images reflects the amount of fat (Figure 4).

Since their initial description[55], OP and IP image-based CSI techniques have improved. Dual-echo CSI utilizes a pair of OP and IP images for fat quantification. Although this technique is widely used for clinical MR imaging of the liver, fat quantification using dual-echo CSI is subject to bias from T1-and T2\*-relaxation effects. In addition to the proton densities of fat and water, the difference in T1-relaxation times between fat and water affects the signal intensities on IP and OP images. Because of the difference in TEs between OP and IP, T2\*-related signal decay during the interval from OP to IP also causes signal differences between OP and IP images. As these relaxation effects may lead to inaccurate quantification of fat[47,56,57], various techniques have been developed for correction. The T1 effect can be minimized with a low flip angle, whereas the T2\*-effect can be corrected with triple or multiple echo acquisitions. Triple-echo CSI acquires a second IP echo in addition to the pair of first OP and IP echoes. The signal intensities of the first OP and IP echoes are corrected for the T2\* effect using the T2\* time estimated from the signal decay between the first and second IP echoes, followed by a calculation of the T2\*-corrected PDFF. Multiple-echo CSI acquires three or more consecutive pairs of OP and IP echoes. Through signal modeling of multiple echoes, this technique allows for the estimation of the T2\* time of the liver and T2\*-corrected PDFF. These T1-independent, T2\*-corrected CSI methods have shown higher accuracies in fat quantification than the classic dual-echo CSI method, resulting in unbiased fat quantification even in the presence of excess hepatic iron deposition[47,50-52,58,59]. Recently, an algorithm for accurate spectral modeling of fat was developed and implemented in the T1-independent T2\*-corrected multi-echo CSI technique. This technique is based on fat having a complex chemical spectrum, consisting of multiple peaks with different resonance frequencies, and models the signal intensities on OP and IP images using the signal interferences among water and multiple fat peaks, not between water and a single methylene peak. Since all the aforementioned OP and IP image-based CSI methods use only the signal intensity information on images without phase information, they cannot determine whether fat or water is dominant in tissues. Thus, the signal intensities of OP and IP images are nearly the same for tissues containing 30% and 70% fat. Therefore, the dynamic range of PDFF is 0%–50% hepatic steatosis for these OP and IP image-based CSI methods.

The IDEAL (iterative decomposition of water and fat with echo asymmetry and least-squares estimation) method is a chemical-shift-based, water-fat separation method using both magnitude and phase information. To separate water and fat signals, this technique measures the local field map and demodulates it from the signal in the source images using three or more echoes at different TEs. Although technically complex, the use of phase information for the IDEAL method allows PDFF to be measured over a full dynamic range of 0%–100% hepatic steatosis. Following its initial development, the algorithms for reducing T1- and noise-related bias, for T2\*-correction, and for spectral modeling of fat, were implemented with the IDEAL method, allowing for T1-independent, T2\*-corrected estimation of PDFF[48,60-62].

CSI with MRI and MRS measures the same physical quantity (*i.e.*, PDFF) for the assessment of hepatic steatosis. Therefore, provided that CSI with MRI and MRS are correctly performed and interpreted, the PDFFs measured by the two techniques should be the same. As MRS estimates PDFF by directly measuring each water and fat peak, whereas CSI indirectly estimates PDFF using the signal interference between water and fat peaks, MRS has been considered more accurate than CSI in measuring PDFF. The feasibilities and accuracies of CSI methods were, therefore, initially validated by comparison with PDFF measured with MRS as the reference standard. The results of these studies demonstrated that PDFF estimated using CSI techniques with T2\*-correction and spectral fat modeling algorithms resulted in the most perfect agreement with MRS-derived PDFF, for both image-based and IDEAL-based approaches. Dual-echo CSI has been reported to generally underestimate PDFF, especially when excessive iron deposition is present[50-52,63]. These findings were recently reconfirmed by comparing PDFFs measured by CSI techniques and MRS with the histologic degree of hepatic steatosis[47,64]. This comparison found that multiple-echo CSI with T2\*-correction and spectral fat modeling was as accurate as MRS in fat quantification, with no confounding effects of subjects’ demographic factors and coexisting histologic abnormalities[47,64]. In contrast, dual-echo CSI was less accurate than MRS and multi-echo CSI in fat quantification and is confounded by the degree of hepatic iron deposition[47].

***Clinical application of the MR techniques***

Previous studies have compared the accuracies of MR techniques and other imaging modalities in the assessment of hepatic steatosis, with histologic grading as the reference standard[19-21]. These studies consistently demonstrated that MRS and MRI outperform CT and US in the diagnosis and grading of hepatic steatosis, even when MRS and MRI were performed without any of the sophisticated corrective methods described above (*i.e.*, correction of T2 or T2\* effects)[19,21]. The MRI sensitivities and specificities in detecting histologic steatosis ≥ 5% were 76.7%–90.0% and 87.1%–91%, respectively, and the corresponding MRS performances were 80.0%–91.0% and 80.2%–87.0%, respectively[19,21]. MRS and MRI have several additional advantages over CT and US in the assessment of hepatic steatosis. MRS and MRI can evaluate hepatic steatosis in an objective manner using the quantitative index (*i.e.*, PDFF). PDFF measurements using MRS and MRI have been reported very reproducible[1,50,51,65]. In one study, the standard deviation of PDFF values over repeated measurement was less than 1% for both MRS and MRI[51]. Another study found that the reproducibility of PDFF measurements was high across scanners with different field strengths and from different vendors: the 95% Bland-Altman limits-of-agreement between MRI-determined PDFF on 1.5 and 3.0T scanners were approximately 2%–4%[65].

Although histologic degree of hepatic steatosis has been used as the “gold standard” for comparisons, recent studies suggest that MRS- and MRI-derived PDFF can actually serve as a better reference standard for the amount of fat in the liver than histological evaluation, due to the high accuracy and reproducibility of these MR techniques[66-68]. Studies assessing fat content in liver samples by computerized analysis of microscopic images or biochemical lipid assays found that the fat content in these liver samples was better correlated with MRI- or MRS-determined PDFF than with the pathologist’s assessment of hepatic steatosis[66-68]. Histologic assessment of steatosis, including visual determination of percent hepatocytes containing fatty vacuoles or percent hepatic parenchymal area replaced by fat, is subject to large inter-observer variability[17]and may not accurately reflect the physical quantity of hepatic fat[66-68]. In addition, the traditional histological cutoffs categorizing the severity of steatosis (5%, approximately 30%, and approximately 60%) may be too blunt, especially in longitudinal follow-up. These findings and the inherent limitations of liver biopsy, including its invasiveness and ability to obtain very small samples, suggest that MRS and MRI may be the methods of choice, both as reference standards in research studies and in clinical practice, especially in the longitudinal follow-up of patients with hepatic steatosis after therapeutic intervention[69-74]. A recent study has validated the efficacy of MRI- or MRS-determined PDFF as an imaging biomarker to quantify changes in the amount of liver fat and to assess the effects of drug therapy in patients with NAFLD[71].

From a practical viewpoint, MRI appears to have several advantages over MRS. The acquisition and analysis of MRS data requires expertise and is time-consuming. Single-voxel MRS, the typical MRS method use to assess hepatic steatosis, collects data from a small portion of the liver (within a voxel ≤ 3 cm × 3 cm × 3 cm), which may be subject to sampling error, although it is much larger than a biopsy sample. By comparison, MRI is widely available, easily applicable, and can evaluate the entire liver within a short breath-hold. Since the scale of MRS- or MRI-determined PDFF (%) differs from the histologic degree (%) of hepatic steatosis (although both use percentages), clinical thresholds for MRS- or MRI-determined PDFF are needed. The largest MRS study to date, involving 2349 subjects in a general population, suggested that a PDFF value of 5.56% was the upper normal margin, as determined from the 95th percentile of PDFF in 345 subjects with no identifiable risk factors for hepatic steatosis[1].

**Imaging diagnosis of NASH and elastography**

Hepatic steatosis can progress to fibrosis and cirrhosis through a development of steatohepatitis (NASH), which is a clear risk factor for liver cirrhosis and liver-related mortality[9,10,75]. Therefore, it is clinically important to diagnose the development of steatohepatitis in patients with NAFL. In general, no imaging examinations have been found to accurately diagnose NASH, making liver biopsy the only reliable method of distinguishing NASH from simple steatosis. US elastography and MR elastography, however, are emerging as promising methods to diagnose NASH. US elastography and MR elastography evaluate liver stiffness by measuring the velocity of shear wave using US (US elastography) or MRI (MR elastography). Several US elastography techniques have been described, which differ in methods of shear wave generation and/or detection, including transient elastography, acoustic radiation force impulse elastography, supersonic shearwave elastography (Figure 5), and real-time tissue elastography. These techniques were first applied to the evaluation of liver fibrosis in patients with chronic viral hepatitis, and their clinical application has recently been expanded to other liver diseases, including NAFLD. US elastography techniques have demonstrated very promising results for the diagnosis of liver fibrosis in NAFLD[76-80]. They have shown a stepwise increase in liver stiffness as the severity of histologic liver fibrosis increased, and have been highly accurate in differentiating advanced liver fibrosis from mild liver fibrosis, with sensitivities ranging from 88.9% to 100% and specificities ranging from 75.0% to 100%[76-80]. Liver stiffness value did not correlate with the degree of hepatic steatosis or with hepatic inflammation[76-80], indicating that US elastography can assess hepatic fibrosis associated with steatosis without confounding by steatosis but would not be able to assess hepatic inflammation[76-80]. A study of MR elastography in 58 patients with NAFLD showed that liver stiffness in patients with steatosis and lobular inflammation was significantly higher than in patients with steatosis only, and significantly lower than in patients with steatosis and fibrosis[81]. Taken together, these results indicate that US elastography or MR elastography may play a potential role in screening for NASH and/or advanced fibrosis in patients with NAFLD.

**Conclusion**

US is a well-established and cost-effective imaging technique for screening subjects at risk of NAFLD with a reasonable sensitivity and specificity in detecting moderate and severe hepatic steatosis, despite its limited accuracy for mild hepatic steatosis and operator dependency. CT is inaccurate in detecting mild hepatic steatosis and involves a potential radiation hazard, making it inappropriate for assessing hepatic steatosis, especially for longitudinal follow-up of patients with NAFLD. CT, however, may be effective in specific clinical situations, such as the evaluation of hepatic donor candidates for transplantation. MRS is currently the most accurate imaging method used to diagnose hepatic steatosis. MRI, if performed and analyzed correctly, has a comparable accuracy to MRS, is more practical, and can cover the entire liver. Technical optimization of MRS and MRI may result in accurate and unbiased hepatic fat quantification. Both MRS and MRI are very reproducible and accurate in quantifying hepatic fat and may replace liver biopsy as the reference standard for research studies. US elastography and MR elastography can diagnose liver fibrosis associated with NAFLD and may play a role in identifying NASH or NAFLD patients who are at greater risk of progressive liver disease.

**References**

1 **Szczepaniak LS**, Nurenberg P, Leonard D, Browning JD, Reingold JS, Grundy S, Hobbs HH, Dobbins RL. Magnetic resonance spectroscopy to measure hepatic triglyceride content: prevalence of hepatic steatosis in the general population. *Am J Physiol Endocrinol Metab* 2005; **288**: E462-E468 [PMID: 15339742 DOI: 10.1152/ajpendo.00064.2004]

2 **Vernon G**, Baranova A, Younossi ZM. Systematic review: the epidemiology and natural history of non-alcoholic fatty liver disease and non-alcoholic steatohepatitis in adults. *Aliment Pharmacol Ther* 2011; **34**: 274-285 [PMID: 21623852 DOI: 10.1111/j.1365-2036.2011.04724.x]

3 **Farrell GC**, Larter CZ. Nonalcoholic fatty liver disease: from steatosis to cirrhosis. *Hepatology* 2006; **43**: S99-S112 [PMID: 16447287 DOI: 10.1002/hep.20973]

4 **de Alwis NM**, Day CP. Non-alcoholic fatty liver disease: the mist gradually clears. *J Hepatol* 2008; **48** Suppl 1: S104-S112 [PMID: 18304679 DOI: 10.1016/j.jhep.2008.01.009]

5 **Fierbinteanu-Braticevici C**, Negreanu L, Tarantino G. Is fatty liver always benign and should not consequently be treated? *J Physiol Pharmacol* 2013; **64**: 3-9 [PMID: 23568965]

6 **Day CP**. Natural history of NAFLD: remarkably benign in the absence of cirrhosis. *Gastroenterology* 2005; **129**: 375-378 [PMID: 16012969 DOI: 10.1053/j.gastro/2005/05/041]

7 **Wong VW**, Wong GL, Choi PC, Chan AW, Li MK, Chan HY, Chim AM, Yu J, Sung JJ, Chan HL. Disease progression of non-alcoholic fatty liver disease: a prospective study with paired liver biopsies at 3 years. *Gut* 2010; **59**: 969-974 [PMID: 20581244]

8 **Tarantino G**. What has the optimistic bias got to do with the need to differentiate fatty liver from nonalcoholic steatohepatitis? *J Gastrointestin Liver Dis* 2011; **20**: 229-231 [PMID: 21961086]

9 **Adams LA**, Sanderson S, Lindor KD, Angulo P. The histological course of nonalcoholic fatty liver disease: a longitudinal study of 103 patients with sequential liver biopsies. *J Hepatol* 2005; **42**: 132-138 [PMID: 15629518 DOI: 10.1016/j.jhep.2004.09.012]

10 **Ekstedt M**, Franzén LE, Mathiesen UL, Thorelius L, Holmqvist M, Bodemar G, Kechagias S. Long-term follow-up of patients with NAFLD and elevated liver enzymes. *Hepatology* 2006; **44**: 865-873 [PMID: 17006923 DOI: 10.1002/hep.21327]

11 **Tarantino G**. Is Assessing the Presence of NASH by Liver Histology or Surrogate Markers Always Advisable? *Hepat Mon* 2013; **13**: e7560 [PMID: 23610586 DOI: 10.5812/hepatmon.7560]

12 **Ascha MS**, Hanouneh IA, Lopez R, Tamimi TA, Feldstein AF, Zein NN. The incidence and risk factors of hepatocellular carcinoma in patients with nonalcoholic steatohepatitis. *Hepatology* 2010; **51**: 1972-1978 [PMID: 20209604 DOI: 10.1002/hep.23527]

13 **Juurinen L**, Tiikkainen M, Häkkinen AM, Hakkarainen A, Yki-Järvinen H. Effects of insulin therapy on liver fat content and hepatic insulin sensitivity in patients with type 2 diabetes. *Am J Physiol Endocrinol Metab* 2007; **292**: E829-E835 [PMID: 17090752 DOI: 10.1152/ajpendo.00133.2006]

14 **Korenblat KM**, Fabbrini E, Mohammed BS, Klein S. Liver, muscle, and adipose tissue insulin action is directly related to intrahepatic triglyceride content in obese subjects. *Gastroenterology* 2008; **134**: 1369-1375 [PMID: 18355813 DOI: 10.1053/j.gastro.2008.01.075]

15 **Cheung O**, Sanyal AJ. Hepatitis C infection and nonalcoholic fatty liver disease. *Clin Liver Dis* 2008; **12**: 573-85, viii-ix [PMID: 18625429 DOI: 10.1016/j.cld.2008.03.005]

16 **Marsman WA**, Wiesner RH, Rodriguez L, Batts KP, Porayko MK, Hay JE, Gores GJ, Krom RA. Use of fatty donor liver is associated with diminished early patient and graft survival. *Transplantation* 1996; **62**: 1246-1251 [PMID: 8932265 DOI: 10.1097/00007890-199611150-00011]

17 **Ratziu V**, Charlotte F, Heurtier A, Gombert S, Giral P, Bruckert E, Grimaldi A, Capron F, Poynard T. Sampling variability of liver biopsy in nonalcoholic fatty liver disease. *Gastroenterology* 2005; **128**: 1898-1906 [PMID: 15940625 DOI: 10.1053/j.gastro.2005.03.084]

18 **Wai CT**, Tan LH, Kaur M, Da Costa M, Quak SH, Tan KC. Pitfalls in interpreting liver biopsy results: the story of the blind men and the elephant. *Liver Transpl* 2002; **8**: 1200-1201 [PMID: 12474163 DOI: 10.1053/jlts.2002.36843]

19 **Lee SS**, Park SH, Kim HJ, Kim SY, Kim MY, Kim DY, Suh DJ, Kim KM, Bae MH, Lee JY, Lee SG, Yu ES. Non-invasive assessment of hepatic steatosis: prospective comparison of the accuracy of imaging examinations. *J Hepatol* 2010; **52**: 579-585 [PMID: 20185194 DOI: 10.1016/j.jhep.2010.01.008]

20 **Saadeh S**, Younossi ZM, Remer EM, Gramlich T, Ong JP, Hurley M, Mullen KD, Cooper JN, Sheridan MJ. The utility of radiological imaging in nonalcoholic fatty liver disease. *Gastroenterology* 2002; **123**: 745-750 [PMID: 12198701 DOI: 10.1053/gast.2002.35354]

21 **van Werven JR**, Marsman HA, Nederveen AJ, Smits NJ, ten Kate FJ, van Gulik TM, Stoker J. Assessment of hepatic steatosis in patients undergoing liver resection: comparison of US, CT, T1-weighted dual-echo MR imaging, and point-resolved 1H MR spectroscopy. *Radiology* 2010; **256**: 159-168 [PMID: 20574093 DOI: 10.1148/radiol.10091790]

22 **de Moura Almeida A**, Cotrim HP, Barbosa DB, de Athayde LG, Santos AS, Bitencourt AG, de Freitas LA, Rios A, Alves E. Fatty liver disease in severe obese patients: diagnostic value of abdominal ultrasound. *World J Gastroenterol* 2008; **14**: 1415-1418 [PMID: 18322958 DOI: 10.3748/wjg.14.1415]

23 **Palmentieri B**, de Sio I, La Mura V, Masarone M, Vecchione R, Bruno S, Torella R, Persico M. The role of bright liver echo pattern on ultrasound B-mode examination in the diagnosis of liver steatosis. *Dig Liver Dis* 2006; **38**: 485-489 [PMID: 16716779 DOI: 10.1016/j.dld.2006.03.021]

24 **Saverymuttu SH**, Joseph AE, Maxwell JD. Ultrasound scanning in the detection of hepatic fibrosis and steatosis. *Br Med J* (Clin Res Ed) 1986; **292**: 13-15 [PMID: 3080046 DOI: bmj.292.6512.13]

25 **Hepburn MJ**, Vos JA, Fillman EP, Lawitz EJ. The accuracy of the report of hepatic steatosis on ultrasonography in patients infected with hepatitis C in a clinical setting: a retrospective observational study. *BMC Gastroenterol* 2005; **5**: 14 [PMID: 15829009 DOI: 10.1186/1471-230X-5-14]

26 **Strauss S**, Gavish E, Gottlieb P, Katsnelson L. Interobserver and intraobserver variability in the sonographic assessment of fatty liver. *AJR Am J Roentgenol* 2007; **189**: W320-W323 [PMID: 18029843 DOI: 10.2214/AJR.07.2123]

27 **Kuroda H**, Kakisaka K, Kamiyama N, Oikawa T, Onodera M, Sawara K, Oikawa K, Endo R, Takikawa Y, Suzuki K. Non-invasive determination of hepatic steatosis by acoustic structure quantification from ultrasound echo amplitude. *World J Gastroenterol* 2012; **18**: 3889-3895 [PMID: 22876042 DOI: 10.3748/wjg.v18.i29.3889]

28 **Webb M**, Yeshua H, Zelber-Sagi S, Santo E, Brazowski E, Halpern Z, Oren R. Diagnostic value of a computerized hepatorenal index for sonographic quantification of liver steatosis. *AJR Am J Roentgenol* 2009; **192**: 909-914 [PMID: 19304694 DOI: 10.2214/AJR.07.4016]

29 **Borges VF**, Diniz AL, Cotrim HP, Rocha HL, Andrade NB. Sonographic hepatorenal ratio: a noninvasive method to diagnose nonalcoholic steatosis. *J Clin Ultrasound* 2013; **41**: 18-25 [PMID: 22997020 DOI: 10.1002/jcu.21994]

30 **Tarantino G**, Finelli C. What about non-alcoholic fatty liver disease as a new criterion to define metabolic syndrome? *World J Gastroenterol* 2013; **19**: 3375-3384 [PMID: 23801829 DOI: 10.3748/wjg.v19.i22.3375]

31 **Lawrence DA**, Oliva IB, Israel GM. Detection of hepatic steatosis on contrast-enhanced CT images: diagnostic accuracy of identification of areas of presumed focal fatty sparing. *AJR Am J Roentgenol* 2012; **199**: 44-47 [PMID: 22733892 DOI: 10.2214/AJR.11.7838]

32 **Kim DY**, Park SH, Lee SS, Kim HJ, Kim SY, Kim MY, Lee Y, Kim TK, Khalili K, Bae MH, Lee JY, Lee SG, Yu ES. Contrast-enhanced computed tomography for the diagnosis of fatty liver: prospective study with same-day biopsy used as the reference standard. *Eur Radiol* 2010; **20**: 359-366 [PMID: 19727755 DOI: 10.1007/s00330-009-1560-x]

33 **Pickhardt PJ**, Park SH, Hahn L, Lee SG, Bae KT, Yu ES. Specificity of unenhanced CT for non-invasive diagnosis of hepatic steatosis: implications for the investigation of the natural history of incidental steatosis. *Eur Radiol* 2012; **22**: 1075-1082 [PMID: 22138733 DOI: 10.1007/s00330-011-2349-2]

34 **Birnbaum BA**, Hindman N, Lee J, Babb JS. Multi-detector row CT attenuation measurements: assessment of intra- and interscanner variability with an anthropomorphic body CT phantom. *Radiology* 2007; **242**: 109-119 [PMID: 17185663 DOI: 10.1148/radiol.2421052066]

35 **Park SH**, Kim PN, Kim KW, Lee SW, Yoon SE, Park SW, Ha HK, Lee MG, Hwang S, Lee SG, Yu ES, Cho EY. Macrovesicular hepatic steatosis in living liver donors: use of CT for quantitative and qualitative assessment. *Radiology* 2006; **239**: 105-112 [PMID: 16484355 DOI: 10.1148/radiol.2391050361]

36 **Park YS**, Park SH, Lee SS, Kim DY, Shin YM, Lee W, Lee SG, Yu ES. Biopsy-proven nonsteatotic liver in adults: estimation of reference range for difference in attenuation between the liver and the spleen at nonenhanced CT. *Radiology* 2011; **258**: 760-766 [PMID: 21212369 DOI: 10.1148/radiol.10101233]

37 **Patrick D**, White FE, Adams PC. Long-term amiodarone therapy: a cause of increased hepatic attenuation on CT. *Br J Radiol* 1984; **57**: 573-576 [PMID: 6733404 DOI: 10.1259/0007-1285-57-679-573]

38 **Artz NS**, Hines CD, Brunner ST, Agni RM, Kühn JP, Roldan-Alzate A, Chen GH, Reeder SB. Quantification of hepatic steatosis with dual-energy computed tomography: comparison with tissue reference standards and quantitative magnetic resonance imaging in the ob/ob mouse. *Invest Radiol* 2012; **47**: 603-610 [PMID: 22836309 DOI: 10.1097/RLI.0b013e318261fad0]

39 **Mendler MH**, Bouillet P, Le Sidaner A, Lavoine E, Labrousse F, Sautereau D, Pillegand B. Dual-energy CT in the diagnosis and quantification of fatty liver: limited clinical value in comparison to ultrasound scan and single-energy CT, with special reference to iron overload. *J Hepatol* 1998; **28**: 785-794 [PMID: 9625313 DOI: 10.1016/S0168-8278(98)80228-6]

40 **Gholam PM**, Flancbaum L, Machan JT, Charney DA, Kotler DP. Nonalcoholic fatty liver disease in severely obese subjects. *Am J Gastroenterol* 2007; **102**: 399-408 [PMID: 17311652 DOI: 10.1111/j.1572-0241.2006.01041.x]

41 **Lee SW**, Park SH, Kim KW, Choi EK, Shin YM, Kim PN, Lee KH, Yu ES, Hwang S, Lee SG. Unenhanced CT for assessment of macrovesicular hepatic steatosis in living liver donors: comparison of visual grading with liver attenuation index. *Radiology* 2007; **244**: 479-485 [PMID: 17641368 DOI: 10.1148/radiol.2442061177]

42 **Lim S**, Kwon SY, Yoon JW, Kim SY, Choi SH, Park YJ, Yoon HI, Chang YS, Lee JH, Lee CT, Kim KW, Park KS, Jang HC. Association between body composition and pulmonary function in elderly people: the Korean Longitudinal Study on Health and Aging. *Obesity* (Silver Spring) 2011; **19**: 631-638 [PMID: 20706206 DOI: 10.1038/oby.2010.167]

43 **Ross R**. Advances in the application of imaging methods in applied and clinical physiology. *Acta Diabetol* 2003; **40** Suppl 1: S45-S50 [PMID: 14618432 DOI: 10.1007/s00592-003-0025-y]

44 **Hamilton G**, Middleton MS, Bydder M, Yokoo T, Schwimmer JB, Kono Y, Patton HM, Lavine JE, Sirlin CB. Effect of PRESS and STEAM sequences on magnetic resonance spectroscopic liver fat quantification. *J Magn Reson Imaging* 2009; **30**: 145-152 [PMID: 19557733 DOI: 10.1002/jmri.21809]

45 **Reeder SB**, Cruite I, Hamilton G, Sirlin CB. Quantitative Assessment of Liver Fat with Magnetic Resonance Imaging and Spectroscopy. *J Magn Reson Imaging* 2011; **34**: spcone [PMID: 22025886]

46 **Cassidy FH**, Yokoo T, Aganovic L, Hanna RF, Bydder M, Middleton MS, Hamilton G, Chavez AD, Schwimmer JB, Sirlin CB. Fatty liver disease: MR imaging techniques for the detection and quantification of liver steatosis. *Radiographics* 2009; **29**: 231-260 [PMID: 19168847 DOI: 10.1148/rg.291075123]

47 **Kang BK**, Yu ES, Lee SS, Lee Y, Kim N, Sirlin CB, Cho EY, Yeom SK, Byun JH, Park SH, Lee MG. Hepatic fat quantification: a prospective comparison of magnetic resonance spectroscopy and analysis methods for chemical-shift gradient echo magnetic resonance imaging with histologic assessment as the reference standard. *Invest Radiol* 2012; **47**: 368-375 [PMID: 22543969 DOI: 10.1097/RLI.0b013e31824baff3]

48 **Meisamy S**, Hines CD, Hamilton G, Sirlin CB, McKenzie CA, Yu H, Brittain JH, Reeder SB. Quantification of hepatic steatosis with T1-independent, T2-corrected MR imaging with spectral modeling of fat: blinded comparison with MR spectroscopy. *Radiology* 2011; **258**: 767-775 [PMID: 21248233 DOI: 10.1148/radiol.10100708]

49 **Pineda N**, Sharma P, Xu Q, Hu X, Vos M, Martin DR. Measurement of hepatic lipid: high-speed T2-corrected multiecho acquisition at 1H MR spectroscopy--a rapid and accurate technique. *Radiology* 2009; **252**: 568-576 [PMID: 19546430 DOI: 10.1148/radiol.2523082084]

50 **Yokoo T**, Bydder M, Hamilton G, Middleton MS, Gamst AC, Wolfson T, Hassanein T, Patton HM, Lavine JE, Schwimmer JB, Sirlin CB. Nonalcoholic fatty liver disease: diagnostic and fat-grading accuracy of low-flip-angle multiecho gradient-recalled-echo MR imaging at 1.5 T. *Radiology* 2009; **251**: 67-76 [PMID: 19221054 DOI: 10.1148/radiol.2511080666]

51 **Yokoo T**, Shiehmorteza M, Hamilton G, Wolfson T, Schroeder ME, Middleton MS, Bydder M, Gamst AC, Kono Y, Kuo A, Patton HM, Horgan S, Lavine JE, Schwimmer JB, Sirlin CB. Estimation of hepatic proton-density fat fraction by using MR imaging at 3.0 T. *Radiology* 2011; **258**: 749-759 [PMID: 21212366 DOI: 10.1148/radiol.10100659]

52 **Lee SS**, Lee Y, Kim N, Kim SW, Byun JH, Park SH, Lee MG, Ha HK. Hepatic fat quantification using chemical shift MR imaging and MR spectroscopy in the presence of hepatic iron deposition: validation in phantoms and in patients with chronic liver disease. *J Magn Reson Imaging* 2011; **33**: 1390-1398 [PMID: 21591008 DOI: 10.1002/jmri.22583]

53 **Cotler SJ**, Guzman G, Layden-Almer J, Mazzone T, Layden TJ, Zhou XJ. Measurement of liver fat content using selective saturation at 3.0 T. *J Magn Reson Imaging* 2007; **25**: 743-748 [PMID: 17347995 DOI: 10.1002/jmri.20865]

54 **Qayyum A**, Goh JS, Kakar S, Yeh BM, Merriman RB, Coakley FV. Accuracy of liver fat quantification at MR imaging: comparison of out-of-phase gradient-echo and fat-saturated fast spin-echo techniques--initial experience. *Radiology* 2005; **237**: 507-511 [PMID: 16244259 DOI: 10.1148/radiol.2372040539]

55 **Dixon WT**. Simple proton spectroscopic imaging. *Radiology* 1984; **153**: 189-194 [PMID: 6089263]

56 **McPherson S**, Jonsson JR, Cowin GJ, O'Rourke P, Clouston AD, Volp A, Horsfall L, Jothimani D, Fawcett J, Galloway GJ, Benson M, Powell EE. Magnetic resonance imaging and spectroscopy accurately estimate the severity of steatosis provided the stage of fibrosis is considered. *J Hepatol* 2009; **51**: 389-397 [PMID: 19505740 DOI: 10.1016/j.jhep.2009.04.012]

57 **Westphalen AC**, Qayyum A, Yeh BM, Merriman RB, Lee JA, Lamba A, Lu Y, Coakley FV. Liver fat: effect of hepatic iron deposition on evaluation with opposed-phase MR imaging. *Radiology* 2007; **242**: 450-455 [PMID: 17255416 DOI: 10.1148/radiol.2422052024]

58 **Guiu B**, Petit JM, Loffroy R, Ben Salem D, Aho S, Masson D, Hillon P, Krause D, Cercueil JP. Quantification of liver fat content: comparison of triple-echo chemical shift gradient-echo imaging and in vivo proton MR spectroscopy. *Radiology* 2009; **250**: 95-102 [PMID: 19092092 DOI: 10.1148/radiol.2493080217]

59 **O'Regan DP**, Callaghan MF, Wylezinska-Arridge M, Fitzpatrick J, Naoumova RP, Hajnal JV, Schmitz SA. Liver fat content and T2\*: simultaneous measurement by using breath-hold multiecho MR imaging at 3.0 T--feasibility. *Radiology* 2008; **247**: 550-557 [PMID: 18349314 DOI: 10.1148/radiol.2472070880]

60 **Hines CD**, Yu H, Shimakawa A, McKenzie CA, Brittain JH, Reeder SB. T1 independent, T2\* corrected MRI with accurate spectral modeling for quantification of fat: validation in a fat-water-SPIO phantom. *J Magn Reson Imaging* 2009; **30**: 1215-1222 [PMID: 19856457 DOI: 10.1002/jmri.21957]

61 **Reeder SB**, Robson PM, Yu H, Shimakawa A, Hines CDG, McKenzie CA, Brittain JH. Quantification of hepatic steatosis with MRI: The effects of accurate fat spectral modeling. *J Magn Reson Imaging* 2009; **29**: 1332-1339 [PMID: 19472390 DOI: 10.1002/jmri.21751]

62 **Yu H**, Shimakawa A, McKenzie CA, Brodsky E, Brittain JH, Reeder SB. Multiecho water-fat separation and simultaneous R2\* estimation with multifrequency fat spectrum modeling. *Magn Reson Med* 2008; **60**: 1122-1134 [PMID: 18956464 DOI: 10.1002/mrm.21737]

63 **Borra RJ**, Salo S, Dean K, Lautamäki R, Nuutila P, Komu M, Parkkola R. Nonalcoholic fatty liver disease: rapid evaluation of liver fat content with in-phase and out-of-phase MR imaging. *Radiology* 2009; **250**: 130-136 [PMID: 19017926 DOI: 10.1148/radiol.2501071934]

64 **Tang A**, Tan J, Sun M, Hamilton G, Bydder M, Wolfson T, Gamst AC, Middleton M, Brunt EM, Loomba R, Lavine JE, Schwimmer JB, Sirlin CB. Nonalcoholic fatty liver disease: MR imaging of liver proton density fat fraction to assess hepatic steatosis. *Radiology* 2013; **267**: 422-431 [PMID: 23382291 DOI: 10.1148/radiol.12120896]

65 **Kang GH**, Cruite I, Shiehmorteza M, Wolfson T, Gamst AC, Hamilton G, Bydder M, Middleton MS, Sirlin CB. Reproducibility of MRI-determined proton density fat fraction across two different MR scanner platforms. *J Magn Reson Imaging* 2011; **34**: 928-934 [PMID: 21769986 DOI: 10.1002/jmri.22701]

66 **Urdzik J**, Bjerner T, Wanders A, Weis J, Duraj F, Haglund U, Norén A. The value of pre-operative magnetic resonance spectroscopy in the assessment of steatohepatitis in patients with colorectal liver metastasis. *J Hepatol* 2012; **56**: 640-646 [PMID: 22027576 DOI: 10.1016/j.jhep.2011.10.006]

67 **Roldan-Valadez E**, Favila R, Martínez-López M, Uribe M, Ríos C, Méndez-Sánchez N. In vivo 3T spectroscopic quantification of liver fat content in nonalcoholic fatty liver disease: Correlation with biochemical method and morphometry. *J Hepatol* 2010; **53**: 732-737 [PMID: 20594607 DOI: 10.1016/j.jhep.2010.04.018]

68 **Raptis DA**, Fischer MA, Graf R, Nanz D, Weber A, Moritz W, Tian Y, Oberkofler CE, Clavien PA. MRI: the new reference standard in quantifying hepatic steatosis? *Gut* 2012; **61**: 117-127 [PMID: 21997548 DOI: 10.1136/gutjnl-2011-300155]

69 **Wong VW**, Chan RS, Wong GL, Cheung BH, Chu WC, Yeung DK, Chim AM, Lai JW, Li LS, Sea MM, Chan FK, Sung JJ, Woo J, Chan HL. Community-based lifestyle modification programme for non-alcoholic fatty liver disease: a randomized controlled trial. *J Hepatol* 2013; **59**: 536-542 [PMID: 23623998 DOI: 10.1016/j.jhep.2013.04.013]

70 **Ryan MC**, Itsiopoulos C, Thodis T, Ward G, Trost N, Hofferberth S, O'Dea K, Desmond PV, Johnson NA, Wilson AM. The Mediterranean diet improves hepatic steatosis and insulin sensitivity in individuals with non-alcoholic fatty liver disease. *J Hepatol* 2013; **59**: 138-143 [PMID: 23485520 DOI: 10.1016/j.jhep.2013.02.012]

71 **Noureddin M**, Lam J, Peterson MR, Middleton M, Hamilton G, Le TA, Bettencourt R, Changchien C, Brenner DA, Sirlin C, Loomba R. Utility of magnetic resonance imaging versus histology for quantifying changes in liver fat in nonalcoholic fatty liver disease trials. *Hepatology* 2013; **58**: 1930-1940 [PMID: 23696515 DOI: 10.1002/hep.26455]

72 **Le TA**, Chen J, Changchien C, Peterson MR, Kono Y, Patton H, Cohen BL, Brenner D, Sirlin C, Loomba R. Effect of colesevelam on liver fat quantified by magnetic resonance in nonalcoholic steatohepatitis: a randomized controlled trial. *Hepatology* 2012; **56**: 922-932 [PMID: 22431131 DOI: 10.1002/hep.25731]

73 **Machann J**, Thamer C, Stefan N, Schwenzer NF, Kantartzis K, Häring HU, Claussen CD, Fritsche A, Schick F. Follow-up whole-body assessment of adipose tissue compartments during a lifestyle intervention in a large cohort at increased risk for type 2 diabetes. *Radiology* 2010; **257**: 353-363 [PMID: 20713612 DOI: 10.1148/radiol.10092284]

74 **Johnson NA**, Sachinwalla T, Walton DW, Smith K, Armstrong A, Thompson MW, George J. Aerobic exercise training reduces hepatic and visceral lipids in obese individuals without weight loss. *Hepatology* 2009; **50**: 1105-1112 [PMID: 19637289 DOI: 10.1002/hep.23129]

75 **Angulo P**. Long-term mortality in nonalcoholic fatty liver disease: is liver histology of any prognostic significance? *Hepatology* 2010; **51**: 373-375 [PMID: 20101746 DOI: 10.1002/hep.23521]

76 **Ochi H**, Hirooka M, Koizumi Y, Miyake T, Tokumoto Y, Soga Y, Tada F, Abe M, Hiasa Y, Onji M. Real-time tissue elastography for evaluation of hepatic fibrosis and portal hypertension in nonalcoholic fatty liver diseases. *Hepatology* 2012; **56**: 1271-1278 [PMID: 22488593 DOI: 10.1002/hep.25756]

77 **Nobili V**, Vizzutti F, Arena U, Abraldes JG, Marra F, Pietrobattista A, Fruhwirth R, Marcellini M, Pinzani M. Accuracy and reproducibility of transient elastography for the diagnosis of fibrosis in pediatric nonalcoholic steatohepatitis. *Hepatology* 2008; **48**: 442-448 [PMID: 18563842 DOI: 10.1002/hep.22376]

78 **Orlacchio A**, Bolacchi F, Antonicoli M, Coco I, Costanzo E, Tosti D, Francioso S, Angelico M, Simonetti G. Liver elasticity in NASH patients evaluated with real-time elastography (RTE). *Ultrasound Med Biol* 2012; **38**: 537-544 [PMID: 22341049 DOI: 10.1016/j.ultrasmedbio.2011.12.023]

79 **Wong VW**, Vergniol J, Wong GL, Foucher J, Chan HL, Le Bail B, Choi PC, Kowo M, Chan AW, Merrouche W, Sung JJ, de Lédinghen V. Diagnosis of fibrosis and cirrhosis using liver stiffness measurement in nonalcoholic fatty liver disease. *Hepatology* 2010; **51**: 454-462 [PMID: 20101745 DOI: 10.1002/hep.23312]

80 **Palmeri ML**, Wang MH, Rouze NC, Abdelmalek MF, Guy CD, Moser B, Diehl AM, Nightingale KR. Noninvasive evaluation of hepatic fibrosis using acoustic radiation force-based shear stiffness in patients with nonalcoholic fatty liver disease. *J Hepatol* 2011; **55**: 666-672 [PMID: 21256907 DOI: 10.1016/j.jhep.2010.12.019]

81 **Chen J**, Talwalkar JA, Yin M, Glaser KJ, Sanderson SO, Ehman RL. Early detection of nonalcoholic steatohepatitis in patients with nonalcoholic fatty liver disease by using MR elastography. *Radiology* 2011; **259**: 749-756 [PMID: 21460032 DOI: 10.1148/radiol.11101942]

82 **Hamilton G**, Yokoo T, Bydder M, Cruite I, Schroeder ME, Sirlin CB, Middleton MS. In vivo characterization of the liver fat ¹H MR spectrum. *NMR Biomed* 2011; **24**: 784-790 [PMID: 21834002 DOI: 10.1002/nbm.1622]

**P-Reviewers:** Loguercio C, Shaffer EA, Tarantino G **S-Editor:** Ma YJ **L-Editor:** **E-Editor:**

**Table 1 Advantages and disadvantages of imaging techniques for evaluating hepatic steatosis**

|  |  |  |  |
| --- | --- | --- | --- |
| Techniques | Advantages | Disadvantages | Clinical applications |
| US | Widely available, easy to perform, less expensive | Operator dependency, limited accuracy in diagnosing mild hepatic steatosis, rather qualitative nature | Population screening, initial examination for subjects with suspected nonalcoholic fatty liver disease |
| CT | Widely available, easy to perform | Potential radiation hazard, limited accuracy in diagnosing mild hepatic steatosis | Detecting moderate-to-severe hepatic steatosis in donor candidates for liver transplantation |
| MRI | Highly accurate and reproducible for measuring hepatic fat | High cost, long examination time | Follow-up of response after therapy in practice or clinical trials |
| MRS | Highly accurate and reproducible for measuring hepatic fat | High cost, long examination time, evaluation of small portion of the liver, expertise required for data acquisition and analysis | Follow-up of response after therapy in practice or clinical trials |

US: Ultrasonography; CT: Computed tomography; MRI: Magnetic resonance imaging; MRS: Magnetic resonance spectroscopy.

**Figure 1 Ultrasonography evaluation of hepatic steatosis.** A: Ultrasonography (US) image of a normal liver, showing that the echogenicity of liver parenchyma (L) and kidney cortex (K) is similar; B: US image of a steatotic liver, showing increased echogenicity of the liver parenchyma (L) which is clearly brighter than the kidney cortex (K).

**Figure 2 Computed tomography evaluation of hepatic steatosis using computed tomographyL-S index.** A: Computed tomography (CT) image of a normal liver, showing that its attenuation (65 HU) measured using regions-of-interest (white circles) was higher than that of the spleen (50 HU), and the CTL-S value was 15 HU, which lies within the normal reference range; B: CT image of a steatotic liver, showing hepatic attenuation (10.5 HU) much lower than that of the spleen (51 HU), making the CTL-S value -40.5 HU, far below the normal reference range and indicating moderate-to-severe hepatic steatosis.

**Figure 3 Magnetic resonance spectroscopy spectrum of hepatic fat.** Water and fat peaks are displayed at different frequencies; Water appears as a single peak at 4.7 ppm, whereas fat appears as four peaks, including the dominant methylene (CH2) peak at 1.3 ppm (3), a methyl (CH3) peat at 0.9 ppm (4), an α-olefinic and α-carboxyl peak at 2.1 ppm (2), and a diacyl peak at 2.75 ppm (1); The areas of these four fat peaks and the water peak can be measured by spectral tracing. proton density fat fraction can be calculated as (sum of fat peaks) ÷ (sum of fat peaks + water peak)[45,82].

**Figure 4 Dual-echo opposed-phase and in-phase chemical shift images of steatotic liver.** A: At opposed-phase (OP) (echo time = 2.3 ms at 1.5T), the protons in water and those in methylene (the largest fat moiety) are placed in opposite directions, so that the signals of these two components cancel each other; Therefore, the liver appears dark (*i.e.*, decreased signal); B: At in-phase (IP), the protons in water and those in methylene are positioned in the same direction so that their signals are added; Liver fat fraction can be calculated based on signal intensities on OP and IP images as (signal at IP - signal at OP) ÷ 2 × signal on IP; The signal fat fraction calculated with dual-echo chemical shift images was not corrected for the T2\* effect, and therefore may not accurately determine proton density fat fraction.

**Figure 5 Supersonic shearwave elastography of simple steatosis *vs* nonalcoholic steatohepatitis.** A: Supersonic shearwave elastography image of the liver with simple steatosis shows a mean liver stiffness value of 2.9 kpa, which lies within the normal reference range; B: Supersonic shearwave elastography image of the liver with nonalcoholic steatohepatitis shows an elevated mean liver stiffness value of 11.6 kpa.