Name of journal: World Journal of Gastroenterology

ESPS Manuscript No: 6725

Columns: TOPIC HIGHLIGHTS

WJG 20th Anniversary Special Issues (11): Cirrhosis

Noninvasive diagnosis of cirrhosis: a review of different imaging modalities

De Robertis R et al. Noninvasive imaging diagnosis of cirrhosis

Riccardo De Robertis, Mirko D’Onofrio, Emanuele Demozzi, Stefano Crosara, Stefano Canestrini, Roberto Pozzi Mucelli

Riccardo De Robertis, Mirko D’Onofrio, Emanuele Demozzi, Stefano Crosara, Stefano Canestrini, Roberto Pozzi Mucelli, Department of Radiology, G.B. Rossi Hospital, University of Verona, Piazzale L.A. Scuro 10, 37134 Verona, Italy

Author contributions: All authors equally contributed to this paper; D’Onofrio M and Pozzi Mucelli R designed the research and gave their final approval for submission; Demozzi E, Crosara S and Canestrini S performed the research and revised the paper; De Robertis R performed the research, wrote and revised the paper.

Correspondence to: Riccardo De Robertis, MD, Department of Radiology, G.B. Rossi Hospital, University of Verona, Piazzale L.A. Scuro 10, 37134 Verona, Italy. riccardo.derobertis@hotmail.it

Telephone: +39-45-8124301   Fax: +39-45-8027490

Received: October 27, 2013  Revised: January 8, 2014

Accepted: April 8, 2014

Published online:

Abstract

Progressive hepatic fibrosis can lead to cirrhosis, so its early detection is fundamental. Staging fibrosis is also critical for prognosis and management. The gold standard for these aims is liver biopsy, but it has several drawbacks, as it is invasive, expensive, has poor acceptance, is prone to inter observer variability and sampling errors, has poor repeatability, and has a risk of complications and mortality. Therefore, non-invasive imaging tests have been developed. This review mainly focuses on the role of transient elastography, acoustic radiation force impulse imaging, and magnetic resonance-based methods for the noninvasive diagnosis of cirrhosis.

© 2014 Baishideng Publishing Group Co., Limited. All rights reserved.

Key words: Liver; Cirrhosis; Elastography; Acoustic radiation force impulse imaging; Magnetic resonance elastography

Core tip: In order to overcome the well-known drawbacks of liver biopsy, different non-invasive imaging tests have been developed for diagnosing and staging liver fibrosis. At present, transient elastography and acoustic radiation force impulse imaging are the most widely used. Reviewing literature, it seems that acoustic radiation force impulse imaging, having the advantage of being included in ultrasound equipments, could provide higher reproducibility and successful measurements rate, with a more precise examination than transient elastography. Magnetic resonance-based methods, especially hepatospecific contrast medium uptake/excretion measurements and elastography, are promising but still not universally available tools.

De Robertis R, D’Onofrio M, Demozzi E, Crosara S, Canestrini S, Pozzi Mucelli R. Noninvasive diagnosis of cirrhosis: a review of different imaging modalities.

Available from:

DOI:

Introduction

Fibrosis is the common result of several chronic hepatic diseases that, if progressive, can lead to cirrhosis, which is developed by 20%-30% of patients. Since fibrosis can be reversible, its early detection is fundamental[1,2]. Staging is also needed, because it is critical for prognosis and management, especially for chronic viral hepatitis: antiviral therapy is recommended in chronic hepatitis B (CHB) with cirrhosis, while in chronic hepatitis C (CHC) the treatment may not be indicated with minimal or absent fibrosis[3,4]. Furthermore, the assessment of residual fibrosis in CHC patients who achieved a sustained virological response to interferon is of strategic importance, for prognostication and to define a cost-effective surveillance, especially for patients with eradicated infection but ongoing complications[5]. Moreover, staging is needed for the treatment of CHC with protease inhibitors, which are effective but expensive[6]. Finally, staging is important in human immunodeficiency virus/hepatitis C virus co-infection, because of the more rapid progression and to the diminished response to therapy[7]. The gold standard for diagnosing and staging fibrosis is liver biopsy (LB), which gives information on presence and extent of fibrosis but also on other concomitant processes. Fibrosis is mainly staged with the METAVIR system, which comprises five stages: F0 (no fibrosis), F1 (portal fibrosis without septa: minimal fibrosis), F2 (portal fibrosis with few septa: moderate fibrosis or clinically significant fibrosis), F3 (septal fibrosis with many septa but no cirrhosis: severe fibrosis) and F4 (cirrhosis). LB has several drawbacks, as it is invasive, expensive, has poor acceptance, is prone to interobserver variability and sampling errors, has poor repeatability, and has a risk of severe complications of 0.57%, and a mortality rate of 0.009%-0.12%[8-10]. Therefore, non-invasive imaging tests for evaluation of liver fibrosis have been developed. This review focuses on the most widely used imaging methods and on possible future developments for the non-invasive diagnosis of cirrhosis, with particular emphasis on transient elastography, acoustic radiation force impulse imaging, and magnetic resonance (MR) elastography.

Elastographic techniques

This group comprises imaging techniques that observe tissue deformation after applying a force, that can be so slow that is considered “quasi-static” [strain elastography (SE) and strain-rate imaging (SRI)] or dynamic [acoustic radiation force impulse (ARFI), transient elastography (TE), point shear-wave elastography (pSWE), shear wave elastography (SWE)].

TE

Technical aspects

TE is a dynamic quantitative technique, which uses acoustic waves (“thumps” - 50 Hz), generated by an external driver. Liver stiffness (LS) measurement is performed in the right lobe, with patient in dorsal decubitus, with the right arm above the head. A portion of parenchyma free of large vessels, > 6 cm thick, must be chosen; LS is measured at depth of 25-65 mm, in a 1 cm x 4 cm area. At least 10 valid measurements must be obtained, with a success rate, defined as the number of valid acquisitions divided by the attempts, > 60%, and a ratio of the interquartile range to the median of 10 measurements ≤ 0.3. Liver elasticity is expressed in kilopascals (kPa).

Clinical applications, normal and pathological values

LS ranges from 2.5 kPa to 75 kPa; mean LS in normal adults is 5.81 ± 1.54 and 5.23 ± 1.59 kPa, respectively for men and women[11]. The main published meta-analyses have proved the reliability of TE and its usefulness (Table 1). Different cut-off values for different etiologies have been proposed for the diagnosis of cirrhosis: 12.5 kPa in CHC, 13.4 kPa in CHB, 10.3 kPa in non-alcoholic fatty liver disease (NAFLD), 22.4 kPa in alcoholic steato-hepatitis (ASH), 17.3 kPa in primary biliary cirrhosis and primary sclerosant cirrhosis[12-16]. Liver biopsy is often not recommended in the NAFLD patients, because of its cost, the potential risk of complications and the absence of consensus regarding the histopathological criteria that firmly differentiate between the NAFLD entities; due to the remarkable increase in the prevalence of NAFLD, which represents the most common chronic liver disease in the general population and is expected to increase in future as a result of an ageing population, and the concomitant efforts in developing novel therapies, a non-invasive, simple and reproducible technique as TE is needed in the clinical practice[17]. TE does not always provide a perfectly corresponding estimation of fibrosis stage; one of the known reasons for this is that LS is affected by other histological findings, as edema, steatosis, inflammation or necrosis. Acute or chronic inflammation, in fact, can produce higher LS, indicating the false presence higher fibrosis stages[18]. Several studies have reported the usefulness of TE for longitudinal monitoring of antiviral treatment, mainly reporting a decrease in LS, which could indicate a regression of fibrosis. Particularly, Martinez et al[19] performed TE at baseline and at weeks 24, 48, and 72 in patients with CHC: LS significantly decreased in treated patients and remained stable in untreated patients. These results are not universally accepted; it must be kept in mind that both reduction in fibrosis and necroinflammation might contribute to the decrease of LS. For example, Wong et al[20] reported that the absolute change in LS poorly correlated with the modifications of fibrosis stage, and resolution of advanced fibrosis could only be assumed with significantly decreased liver stiffness to 5.0 kPa or less after treatment.

Pros and cons

TE is rapid and easy to perform and can be repeated over time. TE can assess a sample area about 100 times bigger than a biopsy sample; therefore it should be more representative. Despite this, with TE is impossible to be sure that the chosen area is free of parenchymal inhomogeneities, which could affect the measurement. The success rate of TE is dependent on operator expertise, as well as on other factors (age, width of the intercostal space, ascites, BMI, visceral fat). Sporea et al[21] reported a rate of reliable measurements of 81.6%, which is in line with the Castera et al[22]. The obesity problem has been partially solved by the development of XL probe, increasing the success rate in obese patients from 45%-50% to about 75%[23,24]. As above mentioned, necroinflammation influences LS. D’Ambrosio et al[25] reported that 30% of patients with persistent F4 had LS values suggestive of a less severe disease, and this was explained with the onset of liver remodelling and necroinflammation. Park et al[26] reported that 3 mo after acute exacerbation ALT levels had decreased and stabilised, while LS required 3 more months for stabilisation: LS should be postponed for > 3 mo after stabilisation of ALT levels to restore the reliability. As patients with higher ALT levels tend to have higher LS, several authors suggested using different cut-offs to adjust the inflammation-induced overestimation. In particular, Chan et al[27] proposed that for patients with normal ALT, a LS value > 12 kPa would indicate F4, while for patients with ALT 1–5-times > ULN, this value should be > 13.4 kPa. Kim et al[28] reported that the cut-off value for F4 was 10.1 kPa in patients with normal ALT, whereas it was 15.5 kPa in those with elevated ALT.

ARFI

Technical aspects

ARFI is a dynamic technique that uses ultrasound-induced radiation force impulses to obtain both qualitative measure of displacement, both quantitative measure of shear waves speed (ARFI quantification). It involves targeting a region of interest (ROI) of 5 mm × 10 mm, at maximum depth of 8 cm, chosen while performing B-mode imaging. The ultrasound probe produces short-duration acoustic “push” pulses (262 ms), with a transmit frequency of 2.67 MHz, which generate shear waves, propagating perpendicularly, tracked using ultrasound, thus obtaining the shear wave speed quantification in m/s. Patients should be supine, with the right arm in maximum abduction. Probe is placed parallel to the intercostal space. 5-10 measurements are performed in the right lobe, with the patient holding breath gently. Several technical aspects must be taken into account. The influence of deep inspiration on measurement is still debated, as Karlas et al[29] reported that it could increases values by an average of 13%, while Horster et al[30] and Goertz et al[31] did not reported differences. Eiler et al[32] evaluated 132 healthy children, reporting a shear waves speed (SWS) of 1.16 ±  0.14  m/s, stating that neither age or depth had influence on results. This is in contrast with the study by Lee et al[33], who evaluated the age-related modifications in 202 healthy children, founding a mean SWS of 1.14 ± 0.020 < 5 years and of 1.08 ± 0.023 >10 years. Eiler’s et al[32] study is in contrast also with other two studies: Sirli et al[34], which found a poor correlation between subcapsularly-measured values and fibrosis; and Chang et al[35], which found that the measurement depth with lower variability was 4 cm. Moreover, also D’Onofrio et al[36] reported that higher values could be obtained in the superficial right lobe: the absence of this aspect in children is probably due to a lower age-related fibrosis in the superficial parenchyma. In the Eilers’ et al[32] study, an interlobar difference was found, with lower values in the right lobe. This difference have been reported also by other authors, reporting both higher both lower values in the left lobe[33-39]. Rifai et al[40], instead, reported that ARFI values of both lobes were comparable; in addiction, Goertz et al[41] reported a lowest number of faulty measurements in right posterior segments. There is no definite explanation for this: probably the presence of heart-beating artifacts in the left lobe and the direct compression with the probe during the examination can be issues; these aspects, however, should not to be considered as a limitation of ARFI, since they can also reflect real interlobar differences and heterogeneity in disease progression. Regarding this, it was demonstrated that biopsies taken in both lobes during laparoscopy presented differences in fibrosis stage in up to 33% of cases[42]. However, since the reference standard for the assessment of fibrosis is LB of the right lobe, it is recommend to measure LS in this lobe[43]; an approach with bilateral multiple measurements is worthy of further investigation, as it may lead to interesting diagnostic results. ARFI must be performed in fasting conditions: Popescu et al[44] reported that mean LS increased significantly 1 hour after food intake, but 3 h after the meal the difference was no longer significant.

Clinical applications, normal and pathological values

It is still difficult to definitely determine the real value of ARFI for the early diagnosis of fibrosis; it is also difficult to compare the large amount of published papers on this issue. It must be noted that the newest release of the Siemens ARFI system is based on two acoustic pulses, and the maximum depth nowadays achievable is 8 cm, so the more recent published data should be more indicative of what can be obtainable. Moreover, high variability in normal values has been reported; for example, in both the preliminary studies from the Verona group, D’Onofrio et al[36] and Gallotti et al[45] reported a mean value of about 1.5 m/s: these results should be considered a outliers, if compared to other studies, but however possible, as it has been also reported by other authors[46]. The main published meta-analyses suggest that ARFI is a reliable method for the diagnosis of cirrhosis (Table 2). Almost all published studies report an increase in SWS with the increase of fibrosis, despite there is a wide overlap between consecutive stages; moreover, mean values indicating cirrhosis have a wide range, while cut-offs have a narrower range. For these reasons, what is seems most important, more than the accurate staging, is to give the correct task to this new technique, as previously stated by D’Onofrio et al[47]: the correct use of ARFI must be based on the possibility of this technique to detect significant modifications of LS, related to the development of a significant amount of fibrosis. In fact, as for TE, it is seems unreal that this technique could identify very small and localized amount of fibrosis, as it happens in F1, or to differentiate between early stages; it seems to be more “real”, technically feasible and clinically useful the differentiation between the two extremes of the grading scale, i.e. the distinction between non-cirrhotics and cirrhotics. For example, in the study by Fierbinteanu-Braticevici[48] there is a wide overlap between F0-F1 and F2 stages, and the increase in SWS is more significant between F2 and F3 than between F1 and F2, an this is consistent with the more important increase in fibrosis deposit between stages F2 and F3 than between F1 and F2. In the international multicentric study by Sporea et al[49], the chosen cut-offs were really strict: F=1 > 1.19 m/s; F=2 > 1.33 m/s; F=3 > 1.43 m/s; F=4 > 1.55 m/s. The difference between non-cirrhotics and cirrhotics was just 0.12 m/s. In order to make ARFI a useful tool, the chosen cut-off values must not be too strict, but they should be adapted in relation to clinical aspects, imaging findings and technical settings, in order to avoid an overestimation of pathology and to identify inconsistent diseases. This is a further evidence of the necessity of placing ARFI in the right setting, in a protocol that includes an ultrasound (US) evaluation of the liver and a clinical evaluation of the patient, rather than use its results alone.

As above mentioned, liver biopsy is often not recommended in patients with non-alcoholic fatty liver disease (NAFLD), because of its cost, the potential risk of complications and the absence of consensus regarding the histopathological criteria that firmly differentiate between the NAFLD entities. ARFI can represent a useful tool in diagnosing the onset of fibrosis in NAFLD and non-alcoholic steatohepatitis (NASH), in which B-mode evaluation can be inaccurate; Fierbinteanu-Braticevici et al[50] reported a high diagnostic performance in predicting cirrhosis in these patients (AUROC = 0.984). Most studies report at least equivalence between TE and ARFI: Friedrich-Rust et al[51] (AUROCs of 0.91 and 0.91 for cirrhosis), Piscaglia et al[37] (high correlation, r = 0.891), Vermehren et al[52] (r = 0.75, P < 0.001), Bota et al[53] (mean difference in rDOR = 0.12), Cassinotto et al[54] (no significant difference). Some other studies reported a superiority of ARFI: in the 2013 multicentric study by Friedrich-Rust et al[55], the diagnostic accuracy for cirrhosis of ARFI and TE was 0.97 and 0.93; similarly, Rizzo has shown a superiority of ARFI vs TE regardless of fibrosis stage[56]. Other studies reported a slightly lower diagnostic accuracy of ARFI: the Friedrich-Rust et al[57] pooled meta-analysis reported a comparable accuracy of ARFI and TE for the diagnosis of significant and severe fibrosis in 2012, with a trend to be inferior for the diagnosis of cirrhosis; also in the 2012 international multicentric study by Sporea et al[49] TE was better than ARFI for predicting cirrhosis.

Pros and cons

A first advantage of ARFI is its integration into conventional US equipment, as opposed to TE: this enables preliminary the evaluation of the whole liver, seeking for signs of cirrhosis and for focal lesions. Then, ARFI is US-guided, so it should be more reliable than TE, for the possibility to position the ROI in an area free of vessels, lesions, biliary ducts or other inhomogeneities. Moreover, ARFI is easy, rapid, and painless; results are immediately available; intra-operator and inter-operator correlation is good[58]. Several studies reported higher rates of valid measurements in comparison to TE: Crespo et al[59] reported that ARFI was successfully performed in its whole cohort, while TE failed in 11% of patients; Rifai et al[40] reported that ARFI was feasible in all patients, while TE gave invalid results in 34% of patients. Then, ARFI can be performed in patients with ascites or in obese patients. Some limits of ARFI are that the elasticity measurement cannot be performed retrospectively; the ROI has a predetermined and not-changeable size. The influence of necroinflammation on measurements is a debated issue, as it initially appeared poorly relevant. However, a multicentric study[60] showed that, for the same fibrosis degree, the threshold was slightly lower for patients with normal ALT and higher for those with altered ALT; this study concluded that necroinflammation partially affects ARFI, but with lower extent than TE. The influence of steatosis is another debated issue: Guzman-Aroca et al[61] reported that ARFI was not influenced by the severity of steatosis; Marginean et al[39] found that SWS in patients with steatosis was statistically higher compared to healthy controls. Righi et al[62] reported the influence of chronic autoimmune diseases (primary biliary cirrhosis, autoimmune hepatitis, primary sclerosing cholangitis, overlap syndromes) on ARFI: SWS was significantly higher.

SWE

Is a dynamic technique, which does not require manual compression, similar to ARFI; it provides a quantitative measure of SWS using ultrasound-induced radiation forces to create a Mach cone. SWS is calculated as a colorimetric elastographic map, showing quantitative tissue stiffness, expressed as kilopascal. Few and controversial papers focuses on the application of SWE in chronic liver diseases. In particular, Leung et al[63] reported that the AUROC of SWE and TE was respectively 0.98 and 0.92 for F4; SWE had significantly higher accuracy than TE in all stages and a higher successful rate. Poynard et al[64] reported that the performance of SWE for staging was lower than those of TE. Ferraioli et al[65] reported an AUROC of 0.98 for SWE and 0.96 for TE when comparing F0-F3 vs F4.

Real-time strain elastography

It is based both on strains and on shear waves; the stress is manually induced or by internal body movements. Qualitative maps of the strain are produced, in which colors range from red for soft components to blue for hard components. LS evaluation can be either qualitative or semi-quantitative, by analyzing strain histograms and distribution pattern of the pixels in the ROIs[66]. Different quantitative assessment methods as elastic ratio or liver fibrosis index were proposed by Koizumi et al[67] and Tomeno et al[68]. Real-time strain elastography (RTE) has several advantages over TE, as it allows the evaluation of LS while performing the US exam. RTE does not seem to suffer from breathing artifacts, nor from ascites, steatosis, BMI, or skin thickness[69]. Some studies reported the utility of RTE to evaluate liver stiffness, but with controversial results[67-72].

Contrast-enhanced ultrasound

Very few studies have tested contrast-enhanced ultrasound (CEUS) for fibrosis assessment. Orlacchio et al[73] used time intensity curve analysis and found an AUROC of 0.88 for the distinction between F0-2 vs F3-4. Sugimoto et al[74] proposed a subjective assessment of CEUS images to identify morphologic changes of portal vein branches, reporting AUROCs of 0.96 for F1 vs F2-4 distinction, 0.97 for F1-2 vs F3-4, and 0.91 for F1-3 vs F4.

Perfusion computed tomography

Few studies have been performed on perfusion computed tomography applied to fibrosis evaluation; Ronot et al[75] found that mean transit time could differentiate F1 from F2-3 with a sensitivity of 0.71 and a specificity of 0.65. Motosugi et al[76] reported that portal venous perfusion in cirrhotics was significantly lower than in patients without cirrhosis. Kanda et al[77] reported that mean hepatic arterial perfusion and arterial perfusion fraction were significantly higher in cirrhotics than in healthy controls.

MR

Several MR-based techniques can be used to evaluate cirrhosis. Regarding unenhanced MR, Banerjee et al[78] reported that T1 mapping strongly correlated with fibrosis degree, with AUROC of 0.94; Hsiao et al[79] reported that standard deviation, mean, and entropy of pixel intensity in selected ROIs of dynamically grey-level scaled T2-weighted images were significantly smaller in patients with cirrhosis. Balassy et al[80] studied the modifications induced by fibrosis in susceptibility-weighted images and found that liver-to-muscle signal intensity (SI) ratio decreased in parallel with the increase of fibrosis and performed well in grading fibrosis (AUROC = 0.93 for F4). Regarding contrast-enhanced MR, especially with gadolinium-EOB-DTPA, a reduced SI in patients with cirrhosis is mostly reported. Particularly, Feier et al[81] found that relative enhancement values correlated strongly with fibrosis stage, with an AUC of 0.83 for > F4; Norén et al[82] found that liver-to-spleen contrast ratios at 10 and at 20 minutes and contrast uptake rate had AUROCs values of 0.80, 0.78, and 0.71 with regard to severe vs mild fibrosis; Verloh et al[83] found that the mean relative enhancement in patients with Child-Pugh Score A cirrhosis had significant increase between arterial, late arterial, portal and hepato-biliary phases, while for Child-Pugh B+C cirrhosis, relative enhancement increased until portal phase and was significantly reduced in C cirrhosis during hepatobiliary phase; Nojiri et al[84] found that SI at 25 minutes could discriminate F=0-3 vs F=4, with AUROC of 0.87; Goshima et al[85] reported that sensitivity, specificity, and AUROC demonstrated by linear regression formula generated by volumetric ratio and contrast enhancement index in predicting fibrous scores were 91%, 100% and 97% for F4. Kim et al[86] reported that the relative enhancement [(hepatocyte phase SI-precontrast SI)/pre-contrast SI] of patients with Child-Pugh cirrhosis was significantly higher than that of patients with Child-Pugh B or C cirrhosis. Few studies have been performed on perfusion MRI. Nilsson et al[87] quantitatively assessed hepatic uptake of gadolinium in the whole liver as well as on a segmental level, founding a larger parenchymal liver volume, lower hepatocyte function and more inhomogeneous distribution of function in cirrhotics. Hagiwara et al[88] reported that the most discriminating perfusion parameter to differentiate F0-2 vs F 3-4 was distribution volume (AUROC = 0.82, sensitivity = 0.77, specificity = 0.79). Diffusion-weighted imaging (DWI) uses the diffusion properties of water molecules in biological tissues; the microscopic movement of water molecules in biological tissues can be measured by apparent diffusion coefficient (ADC) values derived from DWI. Fibrosis should modify this movement, and this has been proved by several studies: Cece et al[89] found a significant difference between patients and controls and between different METAVIR stages in respect of liver mean ADC values. DWI images analysis could be also performed directly evaluating the SI of DWI images: Tosun et al[90] reported that the SI of cirrhotic liver in b = 1000 images was significantly higher than those of the normal volunteers. Despite these encouraging results, the correlation between ADC values of different diffusion b values and the influence of necroinflammation have not been definitely determined; for example, Onur et al[91] found that mean ADC values of CHC patients were significantly lower than mean ADC values of the control group at b = 100 and b = 600 gradients, while no significant difference was found at b = 1000 gradient; moreover, no significant correlation was found between ADC values and histopathologic scores of CHC; Bulow et al[92] stated that ADC values can be confounded by fat and iron. Finally, the Wang meta-analysis[93] reported that MRE outperformed DWI: the AUROC for DWI was 0.86 for F0 vs F1-4, 0.83 for F0-1 vs F2-4, and 0.86 for F0-2 vs F3-4, all significantly lower than the equivalent AUROCs for MRE. Diffusion tensor imaging (DTI) is an evolution of DWI, which uses additional gradients to detect the degree of diffusion in multiple dimensions. Tosun et al[90] reported that ADCs reconstructed from conventional DWI and DTI of the patients were significantly lower than those of the normal volunteers; despite this, DWI performed better than DTI for the diagnosis of fibrosis and inflammation. MR spectroscopy has been poorly used in the assessment of fibrosis. Some authors found that 31P-MR spectroscopy measurements correlate with the fibrosis stage whereas others found no correlation[94-99].

MR elastography

Technical aspects

MR elastography (MRE) provides a qualitative and quantitative imaging of LS by measuring acoustic shear waves progression. It uses vibrations produced by an external driver; the shear modulus of tissues can be then assessed using a specific MRI sequence. The resulting data are processed to generate quantitative maps (elastograms), displaying LS. The external device is triggered and synchronized with the MR pulse sequence. Different driving mechanisms have been developed, as electromechanical drivers, piezoelectric stack drivers, focused-ultrasound-based radiation force systems. Different pulse sequences can be used.

Clinical applications, normal and pathologic values

Although not as widely available as TE or ARFI, many studies confirm the usefulness of MRE in fibrosis detection. Yin et al[100] reported that a cut-off of 2.93 kPa is optimal for distinguishing healthy livers from fibrotic (sensitivity = 98%, specificity = 99%); Kim et al[101] reported that the best cut-off for advanced fibrosis was 4.15 kPa (AUROC = 0.954, sensitivity = 0.85, specificity = 0.929). Ichikawa et al[102] found that mean stiffness value increased with increasing stages of fibrosis: F0 = 2.10 ± 0.10 kPa; F1 = 2.42 ± 0.29 kPa; F2 = 3.16 ± 0.32 kPa; F3 = 4.21 ± 0.78 kPa; and F4 = 6.20 ± 1.08 kPa; the mean AUROC values for discriminating fibrosis stages were F1 = 0.984; F2 = 0.986; F3 = 0.973; and F4 = 0.976. Wang et al[93] reported an overall sensitivity, specificity, and AUROC of 0.83, 0.99, and 0.95 for the distinction between F0 and F1-4. Venkatesh et al[103] found that MRE was significantly more accurate than serum fibrosis markers for the detection of significant fibrosis (0.99 vs 0.55-0.73) and cirrhosis (0.98 vs 0.53-0.77); sensitivity, specificity, positive predictive and negative predictive values for MRE for significant fibrosis and cirrhosis were 97.4%, 100%, 100% and 96%, and 100%, 95.2%, 91.3% and 100%, respectively. Choi et al[104] found that LS values measured on MRE were more strongly correlated with fibrosis stage than with the contrast enhancement index (SIpost/SIpre, where SIpost and SIpre are, respectively, the liver-to-muscle signal intensity ratio on hepatobiliary phase images and on unenhanced images): MRE showed higher sensitivity and specificity for predicting F1 (91% and 87%), F2 (87% and 91%), F3 (80% and 89%), and F4 (81% and 85%) compared with contrast enhancement index.

Regarding NAFLD, Kim et al[101] reported that the best cutoff for advanced fibrosis was 4.15 kPa (AUROC = 0.954, sensitivity = 0.85, specificity = 0.929), concluding that MR elastography can be a useful diagnostic tool for detecting advanced fibrosis in NAFLD. Chen et al[105] reported that the mean hepatic stiffness for patients with simple steatosis (2.51 kPa) was lower than that for patients with inflammation but no fibrosis (3.24 kPa). The mean hepatic stiffness for patients with inflammation but no fibrosis was lower than that for patients with hepatic fibrosis (4.16 kPa). Liver stiffness had high accuracy (AUROC = 0.93) for discriminating patients with NASH from those with simple steatosis, with a sensitivity of 94% and a specificity 73% by using a threshold of 2.74 kPa; the author concluded that in patients with NAFLD, hepatic stiffness measurements with MR elastography can help identify individuals with steatohepatitis, even before the onset of fibrosis; NAFLD patients with inflammation but no fibrosis have greater liver stiffness than those with simple steatosis and lower mean stiffness than those with fibrosis.

Pros and cons

The main advantage of MRE is that the acquisition time is relatively short, so it could be included in standard protocols, providing a comprehensive evaluation of the liver. Second, it provides quantitative maps of tissue stiffness over large regions, so it is much less operator dependent than ultrasound-based techniques, and can accurately reflect the distribution of fibrosis in the whole liver. Finally, MRE has been reported to be more accurate than any non-invasive alternative, with a success rate higher than TE; moreover, it can be suitable for patients with obesity or ascites[106]. Despite these pros, MRE remains poorly available, more expensive and not suitable for patients with contraindications to MR.

Conclusion

At present, TE and ARFI are the most widely used non-invasive methods for the diagnosis of cirrhosis. ARFI has the great advantage of being included in standard US equipment, so it can be used as a complement to the conventional B-mode whole-liver evaluation, with higher reproducibility and success rate, providing also a more precise examination than TE. MR-based methods, especially hepatospecific contrast medium uptake/excretion measurement and MRE, are promising tools; in the future, a wider availability of these techniques should be expected, in order to add these measurements to standard MRI protocols, to obtain a better comprehensive liver assessment.

References

1 Schiff ER, Lee SS, Chao YC, Kew Yoon S, Bessone F, Wu SS, Kryczka W, Lurie Y, Gadano A, Kitis G, Beebe S, Xu D, Tang H, Iloeje U. Long-term treatment with entecavir induces reversal of advanced fibrosis or cirrhosis in patients with chronic hepatitis B. Clin Gastroenterol Hepatol 2011; 9: 274-276 [PMID: 21145419 DOI: 10.1016/j.cgh.2010.11.040]

2 Friedman SL, Bansal MB. Reversal of hepatic fibrosis -- fact or fantasy? Hepatology 2006; 43: S82-S88 [PMID: 16447275 DOI: 10.1002/hep.20974]

3 European Association For The Study Of The Liver. EASL clinical practice guidelines: Management of chronic hepatitis B virus infection. J Hepatol 2012; 57: 167-185 [PMID: 22436845 DOI: 10.1016/j.hep.2012.02.010]

4 Dienstag JL, McHutchison JG. American Gastroenterological Association technical review on the management of hepatitis C. Gastroenterology 2006; 130: 231-64; quiz 214-7 [PMID: 16401486 DOI: 10.1053/j.gastro.2005.11.010]

5 D'Ambrosio R, Aghemo A, Rumi MG, Ronchi G, Donato MF, Paradis V, Colombo M, Bedossa P. A morphometric and immunohistochemical study to assess the benefit of a sustained virological response in hepatitis C virus patients with cirrhosis. Hepatology 2012; 56: 532-543 [PMID: 22271347 DOI: 10.1002/hep.25606]

6 Ghany MG, Nelson DR, Strader DB, Thomas DL, Seeff LB. An update on treatment of genotype 1 chronic hepatitis C virus infection: 2011 practice guideline by the American Association for the Study of Liver Diseases. Hepatology 2011; 54: 1433-1444 [PMID: 21898493 DOI: 10.1002/hep.24641]

7 Benhamou Y, Bochet M, Di Martino V, Charlotte F, Azria F, Coutellier A, Vidaud M, Bricaire F, Opolon P, Katlama C, Poynard T. Liver fibrosis progression in human immunodeficiency virus and hepatitis C virus coinfected patients. The Multivirc Group. Hepatology 1999; 30: 1054-1058 [PMID: 10498659 DOI: 10.1002/hep.510300409]

8 West J, Card TR. Reduced mortality rates following elective percutaneous liver biopsies. Gastroenterology 2010; 139: 1230-1237 [PMID: 20547160 DOI: 10.1053/j.gastro.2010.06.015]

9 Terjung B, Lemnitzer I, Dumoulin FL, Effenberger W, Brackmann HH, Sauerbruch T, Spengler U. Bleeding complications after percutaneous liver biopsy. An analysis of risk factors. Digestion 2003; 67: 138-145 [PMID: 12853725 DOI: 10.1159/000071293]

10 Bedossa P, Dargère D, Paradis V. Sampling variability of liver fibrosis in chronic hepatitis C. Hepatology 2003; 38: 1449-1457 [PMID: 14647056 DOI: 10.1016/j.hep.2003.09.022]

11 Roulot D, Czernichow S, Le Clésiau H, Costes JL, Vergnaud AC, Beaugrand M. Liver stiffness values in apparently healthy subjects: influence of gender and metabolic syndrome. J Hepatol 2008; 48: 606-613 [PMID: 18222014 DOI: 10.1016/j.jhep.2007.11.020]

12 Castéra L, Vergniol J, Foucher J, Le Bail B, Chanteloup E, Haaser M, Darriet M, Couzigou P, De Lédinghen V. Prospective comparison of transient elastography, Fibrotest, APRI, and liver biopsy for the assessment of fibrosis in chronic hepatitis C. Gastroenterology 2005; 128: 343-350 [PMID: 15685546 DOI: 10.1053/j.gastro.2004.11.018]

13 Marcellin P, Ziol M, Bedossa P, Douvin C, Poupon R, de Lédinghen V, Beaugrand M. Non-invasive assessment of liver fibrosis by stiffness measurement in patients with chronic hepatitis B. Liver Int 2009; 29: 242-247 [PMID: 18637064 DOI: 10.1111/j.1478-3231.2008.01802.x]

14 Wong VW, Vergniol J, Wong GL, Foucher J, Chan HL, Le Bail B, Choi PC, Kowo M, Chan AW, Merrouche W, Sung JJ, de Lédinghen V. Diagnosis of fibrosis and cirrhosis using liver stiffness measurement in nonalcoholic fatty liver disease. Hepatology 2010; 51: 454-462 [PMID: 20101745 DOI: 10.1002/hep.23312]

15 Nahon P, Kettaneh A, Tengher-Barna I, Ziol M, de Lédinghen V, Douvin C, Marcellin P, Ganne-Carrié N, Trinchet JC, Beaugrand M. Assessment of liver fibrosis using transient elastography in patients with alcoholic liver disease. J Hepatol 2008; 49: 1062-1068 [PMID: 18930329 DOI: 10.1016/j.jhep.2008.08.011]

16 Corpechot C, El Naggar A, Poujol-Robert A, Ziol M, Wendum D, Chazouillères O, de Lédinghen V, Dhumeaux D, Marcellin P, Beaugrand M, Poupon R. Assessment of biliary fibrosis by transient elastography in patients with PBC and PSC. Hepatology 2006; 43: 1118-1124 [PMID: 16628644 DOI: 10.1002/hep.21151]

17 Abenavoli L, Beaugrand M. Transient elastography in non-alcoholic fatty liver disease. Ann Hepatol 2012; 11: 172-178 [PMID: 22345333]

18 Sandrin L, Fourquet B, Hasquenoph JM, Yon S, Fournier C, Mal F, Christidis C, Ziol M, Poulet B, Kazemi F, Beaugrand M, Palau R. Transient elastography: a new noninvasive method for assessment of hepatic fibrosis. Ultrasound Med Biol 2003; 29: 1705-1713 [PMID: 14698338 DOI: 10.1016/j.ultrasmedbio.2003.07.001]

19 Martinez SM, Foucher J, Combis JM, Métivier S, Brunetto M, Capron D, Bourlière M, Bronowicki JP, Dao T, Maynard-Muet M, Lucidarme D, Merrouche W, Forns X, de Lédinghen V. Longitudinal liver stiffness assessment in patients with chronic hepatitis C undergoing antiviral therapy. PLoS One 2012; 7: e47715 [PMID: 23082200 DOI: 10.1371/journal.pone.0047715]

20 Wong GL, Wong VW, Choi PC, Chan AW, Chim AM, Yiu KK, Chan FK, Sung JJ, Chan HL. Increased liver stiffness measurement by transient elastography in severe acute exacerbation of chronic hepatitis B. J Gastroenterol Hepatol 2009; 24: 1002-1007 [PMID: 19457152 DOI: 10.1111/j.1440-1746.2009.05779.x]

21 Sporea I, Jurchiş A, Şirli R, Bota S, Sendroiu M. Can transient elastography be a reliable method for assessing liver fibrosis in non alcoholic steatohepatitis (NASH)? Med Ultrason 2013; 15: 106-110 [PMID: 23702499]

22 Castéra L, Foucher J, Bernard PH, Carvalho F, Allaix D, Merrouche W, Couzigou P, de Lédinghen V. Pitfalls of liver stiffness measurement: a 5-year prospective study of 13,369 examinations. Hepatology 2010; 51: 828-835 [PMID: 20063276 DOI: 10.1002/hep.23425]

23 de Lédinghen V, Vergniol J, Foucher J, El-Hajbi F, Merrouche W, Rigalleau V. Feasibility of liver transient elastography with FibroScan using a new probe for obese patients. Liver Int 2010; 30: 1043-1048 [PMID: 20492500 DOI: 10.1111/j.1478-3231.2010.02258.x]

24 Myers RP, Pomier-Layrargues G, Kirsch R, Pollett A, Duarte-Rojo A, Wong D, Beaton M, Levstik M, Crotty P, Elkashab M. Feasibility and diagnostic performance of the FibroScan XL probe for liver stiffness measurement in overweight and obese patients. Hepatology 2012; 55: 199-208 [PMID: 21898479 DOI: 10.1002/hep.24624]

25 D'Ambrosio R, Aghemo A, Fraquelli M, Rumi MG, Donato MF, Paradis V, Bedossa P, Colombo M. The diagnostic accuracy of Fibroscan for cirrhosis is influenced by liver morphometry in HCV patients with a sustained virological response. J Hepatol 2013; 59: 251-256 [PMID: 23528378 DOI: 10.1016/j.jhep.2013.03.013]

26 Park H, Kim SU, Kim D, Kim do Y, Ahn SH, Han KH, Chon CY, Park JY. Optimal time for restoring the reliability of liver stiffness measurement in patients with chronic hepatitis B experiencing acute exacerbation. J Clin Gastroenterol 2012; 46: 602-607 [PMID: 22772739 DOI: 10.1097/MCG.0b013e3182582a31]

27 Chan HL, Wong GL, Choi PC, Chan AW, Chim AM, Yiu KK, Chan FK, Sung JJ, Wong VW. Alanine aminotransferase-based algorithms of liver stiffness measurement by transient elastography (Fibroscan) for liver fibrosis in chronic hepatitis B. J Viral Hepat 2009; 16: 36-44 [PMID: 18673426 DOI: 10.1111/j.1365-2893.2008.01037.x]

28 Kim BK, Han KH, Park JY, Ahn SH, Chon CY, Kim JK, Paik YH, Lee KS, Park YN, Kim do Y. A novel liver stiffness measurement-based prediction model for cirrhosis in hepatitis B patients. Liver Int 2010; 30: 1073-1081 [PMID: 20492510 DOI: 10.1111/j.1478-3231.2010.02269.x]

29 Karlas T, Pfrepper C, Wiegand J, Wittekind C, Neuschulz M, Mössner J, Berg T, Tröltzsch M, Keim V. Acoustic radiation force impulse imaging (ARFI) for non-invasive detection of liver fibrosis: examination standards and evaluation of interlobe differences in healthy subjects and chronic liver disease. Scand J Gastroenterol 2011; 46: 1458-1467 [PMID: 21916815 DOI: 10.3109/00365521.2011.610004]

30 Horster S, Mandel P, Zachoval R, Clevert DA. Comparing acoustic radiation force impulse imaging to transient elastography to assess liver stiffness in healthy volunteers with and without valsalva manoeuvre. Clin Hemorheol Microcirc 2010; 46: 159-168 [PMID: 21135491 DOI: 10.3233/CH-2010-1342]

31 Goertz RS, Egger C, Neurath MF, Strobel D. Impact of food intake, ultrasound transducer, breathing maneuvers and body position on acoustic radiation force impulse (ARFI) elastometry of the liver. Ultraschall Med 2012; 33: 380-385 [PMID: 22723037 DOI: 10.1055/s-0032-1312816]

32 Eiler J, Kleinholdermann U, Albers D, Dahms J, Hermann F, Behrens C, Luedemann M, Klingmueller V, Alzen GF. Standard value of ultrasound elastography using acoustic radiation force impulse imaging (ARFI) in healthy liver tissue of children and adolescents. Ultraschall Med 2012; 33: 474-479 [PMID: 23070933 DOI: 10.1055/s-0032-1313145]

33 Lee MJ, Kim MJ, Han KH, Yoon CS. Age-related changes in liver, kidney, and spleen stiffness in healthy children measured with acoustic radiation force impulse imaging. Eur J Radiol 2013; 82: e290-e294 [PMID: 23433651 DOI: 10.1016/j.ejrad.2013.01.018]

34 Sporea I, Sirli RL, Deleanu A, Popescu A, Focsa M, Danila M, Tudora A. Acoustic radiation force impulse elastography as compared to transient elastography and liver biopsy in patients with chronic hepatopathies. Ultraschall Med 2011; 32 Suppl 1: S46-S52 [PMID: 20603783 DOI: 10.1055/s-0029-1245360]

35 Chang S, Kim MJ, Kim J, Lee MJ. Variability of shear wave velocity using different frequencies in acoustic radiation force impulse (ARFI) elastography: a phantom and normal liver study. Ultraschall Med 2013; 34: 260-265 [PMID: 23023455 DOI: 10.1055/s-0032-1313008]

36 D'Onofrio M, Gallotti A, Mucelli RP. Tissue quantification with acoustic radiation force impulse imaging: Measurement repeatability and normal values in the healthy liver. AJR Am J Roentgenol 2010; 195: 132-136 [PMID: 20566806 DOI: 10.2214/AJR.09.3923]

37 Piscaglia F, Salvatore V, Di Donato R, D'Onofrio M, Gualandi S, Gallotti A, Peri E, Borghi A, Conti F, Fattovich G, Sagrini E, Cucchetti A, Andreone P, Bolondi L. Accuracy of VirtualTouch Acoustic Radiation Force Impulse (ARFI) imaging for the diagnosis of cirrhosis during liver ultrasonography. Ultraschall Med 2011; 32: 167-175 [PMID: 21321842 DOI: 10.1055/s-0029-1245948]

38. Toshima T, Shirabe K, Takeishi K, Motomura T, Mano Y, Uchiyama H, Yoshizumi T, Soejima Y, Taketomi A, Maehara Y. New method for assessing liverfibrosis based on acoustic radiation force impulse: a special reference tothe difference between right and left liver. J Gastroenterol 2011; 46: 705-711 [PMID: 21264479 DOI: 10.1007/s00535-010-0365-7]

39 Marginean CO, Marginean C. Elastographic assessment of liver fibrosis in children: A prospective single center experience. Eur J Radiol 2012; 81: e870-e874 [PMID: 22609320 DOI: 10.1016/j.ejrad.2012.04.014]

40 Rifai K, Cornberg J, Mederacke I, Bahr MJ, Wedemeyer H, Malinski P, Bantel H, Boozari B, Potthoff A, Manns MP, Gebel M. Clinical feasibility of liver elastography by acoustic radiation force impulse imaging (ARFI). Dig Liver Dis 2011; 43: 491-497 [PMID: 21439919 DOI: 10.1016/j.dld.2011.02.011]

41 Goertz RS, Zopf Y, Jugl V, Heide R, Janson C, Strobel D, Bernatik T, Haendl T. Measurement of liver elasticity with acoustic radiation force impulse (ARFI) technology: an alternative noninvasive method for staging liver fibrosis in viral hepatitis. Ultraschall Med 2010; 31: 151-155 [PMID: 20306380 DOI: 10.1055/s-0029-1245244]

42 Regev A, Berho M, Jeffers LJ, Milikowski C, Molina EG, Pyrsopoulos NT, Feng ZZ, Reddy KR, Schiff ER. Sampling error and intraobserver variation in liver biopsy in patients with chronic HCV infection. Am J Gastroenterol 2002; 97: 2614-2618 [PMID: 12385448 DOI: 10.1111/j.1572-0241.2002.06038.x]

43 Cosgrove D, Piscaglia F, Bamber J, Bojunga J, Correas JM, Gilja OH, Klauser AS, Sporea I, Calliada F, Cantisani V, D'Onofrio M, Drakonaki EE, Fink M, Friedrich-Rust M, Fromageau J, Havre RF, Jenssen C, Ohlinger R, Săftoiu A, Schaefer F, Dietrich CF. EFSUMB guidelines and recommendations on the clinical use of ultrasound elastography. Part 2: Clinical applications. Ultraschall Med 2013; 34: 238-253 [PMID: 23605169 DOI: 10.1055/s-0033-1335375]

44 Popescu A, Bota S, Sporea I, Sirli R, Danila M, Racean S, Suseanu D, Gradinaru O, Ivascu Siegfried C. The influence of food intake on liver stiffness values assessed by acoustic radiation force impulse elastography-preliminary results. Ultrasound Med Biol 2013; 39: 579-584 [PMID: 23415282 DOI: 10.1016/j.ultrasmedbio.2012.11.013]

45 Gallotti A, D'Onofrio M, Pozzi Mucelli R. Acoustic Radiation Force Impulse (ARFI) technique in ultrasound with Virtual Touch tissue quantification of the upper abdomen. Radiol Med 2010; 115: 889-897 [PMID: 20082227 DOI: 10.1007/s11547-010-0504-5]

46 Sporea I, Badea R, Sirli R, Lupsor M, Popescu A, Danila M, Focsa M, Deleanu A. How efficient is acoustic radiation force impulse elastography for the evaluation of liver stiffness? Hepat Mon 2011; 11: 532-538 [PMID: 22087190]

47 D'Onofrio M, Crosara S, De Robertis R, Canestrini S, Demozzi E, Gallotti A, Pozzi Mucelli R. Acoustic radiation force impulse of the liver. World J Gastroenterol 2013; 19: 4841-4849 [PMID: 23946588 DOI: 10.3748/wjg.v19.i30.4841]

48 Fierbinteanu-Braticevici C, Andronescu D, Usvat R, Cretoiu D, Baicus C, Marinoschi G. Acoustic radiation force imaging sonoelastography for noninvasive staging of liver fibrosis. World J Gastroenterol 2009; 15: 5525-5532 [PMID: 19938190 DOI: 10.3748/wjg.15.5525]

49 Sporea I, Bota S, Peck-Radosavljevic M, Sirli R, Tanaka H, Iijima H, Badea R, Lupsor M, Fierbinteanu-Braticevici C, Petrisor A, Saito H, Ebinuma H, Friedrich-Rust M, Sarrazin C, Takahashi H, Ono N, Piscaglia F, Borghi A, D'Onofrio M, Gallotti A, Ferlitsch A, Popescu A, Danila M. Acoustic Radiation Force Impulse elastography for fibrosis evaluation in patients with chronic hepatitis C: an international multicenter study. Eur J Radiol 2012; 81: 4112-4118 [PMID: 23000186 DOI: 10.1016/j.ejrad.2012.08.018]

50 Fierbinteanu Braticevici C, Sporea I, Panaitescu E, Tribus L. Value of acoustic radiation force impulse imaging elastography for non-invasive evaluation of patients with nonalcoholic fatty liver disease. Ultrasound Med Biol 2013; 39: 1942-1950 [PMID: 23932277 DOI: 10.1016/j.ultrasmedbio.2013.04.019]

51 Friedrich-Rust M, Wunder K, Kriener S, Sotoudeh F, Richter S, Bojunga J, Herrmann E, Poynard T, Dietrich CF, Vermehren J, Zeuzem S, Sarrazin C. Liver fibrosis in viral hepatitis: noninvasive assessment with acoustic radiation force impulse imaging versus transient elastography. Radiology 2009; 252: 595-604 [PMID: 19703889 DOI: 10.1148/radiol.2523081928]

52 Vermehren J, Polta A, Zimmermann O, Herrmann E, Poynard T, Hofmann WP, Bojunga J, Sarrazin C, Zeuzem S, Friedrich-Rust M. Comparison of acoustic radiation force impulse imaging with transient elastography for the detection of complications in patients with cirrhosis. Liver Int 2012; 32: 852-858 [PMID: 22222050 DOI: 10.1111/j.1478-3231.2011.02736.x]

53 Bota S, Herkner H, Sporea I, Salzl P, Sirli R, Neghina AM, Peck-Radosavljevic M. Meta-analysis: ARFI elastography versus transient elastography for the evaluation of liver fibrosis. Liver Int 2013; 33: 1138-1147 [PMID: 23859217 DOI: 10.1111/liv.12240]

54 Cassinotto C, Lapuyade B, Aït-Ali A, Vergniol J, Gaye D, Foucher J, Bailacq-Auder C, Chermak F, Le Bail B, de Lédinghen V. Liver fibrosis: noninvasive assessment with acoustic radiation force impulse elastography--comparison with FibroScan M and XL probes and FibroTest in patients with chronic liver disease. Radiology 2013; 269: 283-292 [PMID: 23630312 DOI: 10.1148/radiol.13122208]

55 Friedrich-Rust M, Buggisch P, de Knegt RJ, Dries V, Shi Y, Matschenz K, Schneider MD, Herrmann E, Petersen J, Schulze F, Zeuzem S, Sarrazin C. Acoustic radiation force impulse imaging for non-invasive assessment of liver fibrosis in chronic hepatitis B. J Viral Hepat 2013; 20: 240-247 [PMID: 23490368 DOI: 10.1111/j.1365-2893.2012.01646.x]

56 Rizzo L, Calvaruso V, Cacopardo B, Alessi N, Attanasio M, Petta S, Fatuzzo F, Montineri A, Mazzola A, L'abbate L, Nunnari G, Bronte F, Di Marco V, Craxì A, Cammà C. Comparison of transient elastography and acoustic radiation force impulse for non-invasive staging of liver fibrosis in patients with chronic hepatitis C. Am J Gastroenterol 2011; 106: 2112-2120 [PMID: 21971536 DOI: 10.1038/ajg.2011.341]

57 Friedrich-Rust M, Nierhoff J, Lupsor M, Sporea I, Fierbinteanu-Braticevici C, Strobel D, Takahashi H, Yoneda M, Suda T, Zeuzem S, Herrmann E. Performance of Acoustic Radiation Force Impulse imaging for the staging of liver fibrosis: a pooled meta-analysis. J Viral Hepat 2012; 19: e212-e219 [PMID: 22239521 DOI: 10.1111/j.1365-2893.2011.01537.x]

58 Bota S, Sporea I, Sirli R, Popescu A, Danila M, Costachescu D. Intra- and interoperator reproducibility of acoustic radiation force impulse (ARFI) elastography--preliminary results. Ultrasound Med Biol 2012; 38: 1103-1108 [PMID: 22579536 DOI: 10.1016/j.ultrasmedbio.2012.02.032]

59 Crespo G, Fernández-Varo G, Mariño Z, Casals G, Miquel R, Martínez SM, Gilabert R, Forns X, Jiménez W, Navasa M. ARFI, FibroScan, ELF, and their combinations in the assessment of liver fibrosis: a prospective study. J Hepatol 2012; 57: 281-287 [PMID: 22521355 DOI: 10.1016/j.jhep.2012.03.016]

60 Bota S, Sporea I, Peck-Radosavljevic M, Sirli R, Tanaka H, Iijima H, Saito H, Ebinuma H, Lupsor M, Badea R, Fierbinteanu-Braticevici C, Petrisor A, Friedrich-Rust M, Sarrazin C, Takahashi H, Ono N, Piscaglia F, Marinelli S, D'Onofrio M, Gallotti A, Salzl P, Popescu A, Danila M. The influence of aminotransferase levels on liver stiffness assessed by Acoustic Radiation Force Impulse Elastography: a retrospective multicentre study. Dig Liver Dis 2013; 45: 762-768 [PMID: 23510533 DOI: 10.1016/j.dld.2013.02.008]

61 Guzmán-Aroca F, Frutos-Bernal MD, Bas A, Luján-Mompeán JA, Reus M, Berná-Serna Jde D, Parrilla P. Detection of non-alcoholic steatohepatitis in patients with morbid obesity before bariatric surgery: preliminary evaluation with acoustic radiation force impulse imaging. Eur Radiol 2012; 22: 2525-2532 [PMID: 22648049 DOI: 10.1007/s00330-012-2505-3]

62 Righi S, Fiorini E, De Molo C, Cipriano V, Cassani F, Muratori L, Lenzi M, Morselli Labate AM, Serra C. ARFI elastography in patients with chronic autoimmune liver diseases: A preliminary study. J Ultrasound 2012; 15: 226-231 [PMID: 23730386 DOI: 10.1016/j.jus.2012.10.002]

63 Leung VY, Shen J, Wong VW, Abrigo J, Wong GL, Chim AM, Chu SH, Chan AW, Choi PC, Ahuja AT, Chan HL, Chu WC. Quantitative elastography of liver fibrosis and spleen stiffness in chronic hepatitis B carriers: comparison of shear-wave elastography and transient elastography with liver biopsy correlation. Radiology 2013; 269: 910-918 [PMID: 23912619 DOI: 10.1148/radiol.13130128]

64 Poynard T, Munteanu M, Luckina E, Perazzo H, Ngo Y, Royer L, Fedchuk L, Sattonnet F, Pais R, Lebray P, Rudler M, Thabut D, Ratziu V. Liver fibrosis evaluation using real-time shear wave elastography: applicability and diagnostic performance using methods without a gold standard. J Hepatol 2013; 58: 928-935 [PMID: 23321316 DOI: 10.1016/j.jhep.2012.12.021]

65 Ferraioli G, Tinelli C, Dal Bello B, Zicchetti M, Filice G, Filice C. Accuracy of real-time shear wave elastography for assessing liver fibrosis in chronic hepatitis C: a pilot study. Hepatology 2012; 56: 2125-2133 [PMID: 22767302 DOI: 10.1002/hep.25936]

66 Morikawa H, Fukuda K, Kobayashi S, Fujii H, Iwai S, Enomoto M, Tamori A, Sakaguchi H, Kawada N. Real-time tissue elastography as a tool for the noninvasive assessment of liver stiffness in patients with chronic hepatitis C. J Gastroenterol 2011; 46: 350-358 [PMID: 20697747 DOI: 10.1007/s00535-010-0301-x]

67 Koizumi Y, Hirooka M, Kisaka Y, Konishi I, Abe M, Murakami H, Matsuura B, Hiasa Y, Onji M. Liver fibrosis in patients with chronic hepatitis C: noninvasive diagnosis by means of real-time tissue elastography--establishment of the method for measurement. Radiology 2011; 258: 610-617 [PMID: 21273523 DOI: 10.1148/radiol.10100319]

68 Tomeno W, Yoneda M, Imajo K, Suzuki K, Ogawa Y, Shinohara Y, Mawatari H, Fujita K, Shibata W, Kirikoshi H, Maeda S, Nakajima A, Saito S. Evaluation of the Liver Fibrosis Index calculated by using real-time tissue elastography for the non-invasive assessment of liver fibrosis in chronic liver diseases. Hepatol Res 2013; 43: 735-742 [PMID: 23216963 DOI: 10.1111/hepr.12023]

69 Friedrich-Rust M, Ong MF, Herrmann E, Dries V, Samaras P, Zeuzem S, Sarrazin C. Real-time elastography for noninvasive assessment of liver fibrosis in chronic viral hepatitis. AJR Am J Roentgenol 2007; 188: 758-764 [PMID: 17312065 DOI: 10.2214/AJR.06.0322]

70 Colombo S, Buonocore M, Del Poggio A, Jamoletti C, Elia S, Mattiello M, Zabbialini D, Del Poggio P. Head-to-head comparison of transient elastography (TE), real-time tissue elastography (RTE), and acoustic radiation force impulse (ARFI) imaging in the diagnosis of liver fibrosis. J Gastroenterol 2012; 47: 461–469 [PMID: 22223175 DOI: 10.1007/s00535-011-0509-4]

71 Ferraioli G, Tinelli C, Malfitano A, Dal Bello B, Filice G, Filice C, Above E, Barbarini G, Brunetti E, Calderon W, Di Gregorio M, Lissandrin R, Ludovisi S, Maiocchi L, Michelone G, Mondelli M, Patruno SF, Perretti A, Poma G, Sacchi P, Zaramella M, Zicchetti M. Performance of real-time strain elastography, transient elastography, and aspartate-to-platelet ratio index in the assessment of fibrosis in chronic hepatitis C. AJR Am J Roentgenol 2012; 199: 19-25 [PMID: 22733889 DOI: 10.2214/AJR.11.7517]

72 Chung JH, Ahn HS, Kim SG, Lee YN, Kim YS, Jeong SW, Jang JY, Lee SH, Kim HS, Kim BS. The usefulness of transient elastography, acoustic-radiation-force impulse elastography, and real-time elastography for the evaluation of liver fibrosis. Clin Mol Hepatol 2013; 19: 156-164 [PMID: 23837140 DOI: 10.3350/cmh.2013.19.2.156]

73 Orlacchio A, Bolacchi F, Petrella MC, Pastorelli D, Bazzocchi G, Angelico M, Simonetti G. Liver contrast enhanced ultrasound perfusion imaging in the evaluation of chronic hepatitis C fibrosis: preliminary results. Ultrasound Med Biol 2011; 37: 1-6 [PMID: 21144954 DOI: 10.1016/j.ultrasmedbio.2010.10.012]

74 Sugimoto K, Shiraishi J, Moriyasu F, Ichimura S, Metoki R, Doi K. Analysis of intrahepatic vascular morphological changes of chronic liver disease for assessment of liver fibrosis stages by micro-flow imaging with contrast-enhanced ultrasound: preliminary experience. Eur Radiol 2010; 20: 2749-2757 [PMID: 20571803 DOI: 10.1007/s00330-010-1852-1]

75 Ronot M, Asselah T, Paradis V, Michoux N, Dorvillius M, Baron G, Marcellin P, Van Beers BE, Vilgrain V. Liver fibrosis in chronic hepatitis C virus infection: differentiating minimal from intermediate fibrosis with perfusion CT. Radiology 2010; 256: 135-142 [PMID: 20574090 DOI: 10.1148/radiol.10091295]

76 Motosugi U, Ichikawa T, Sou H, Morisaka H, Sano K, Araki T. Multi-organ perfusion CT in the abdomen using a 320-detector row CT scanner: preliminary results of perfusion changes in the liver, spleen, and pancreas of cirrhotic patients. Eur J Radiol 2012; 81: 2533-2537 [PMID: 22227262 DOI: 10.1016/j.ejrad.2011.11.054]

77 Kanda T, Yoshikawa T, Ohno Y, Kanata N, Koyama H, Takenaka D, Sugimura K. CT hepatic perfusion measurement: comparison of three analytic methods. Eur J Radiol 2012; 81: 2075-2079 [PMID: 21802233 DOI: 10.1016/j.ejrad.2011.07.003]

78 Banerjee R, Pavlides M, Tunnicliffe EM, Piechnik SK, Sarania N, Philips R, Collier JD, Booth JC, Schneider JE, Wang LM, Delaney DW, Fleming KA, Robson MD, Barnes E, Neubauer S. Multiparametric magnetic resonance for the non-invasive diagnosis of liver disease. J Hepatol 2014; 60: 69-77 [PMID: 24036007 DOI: 10.1016/j.jhep.2013.09.002]

79 Hshiao MH, Chen PC, Jao JC, Huang YH, Lee CC, Chao SY, Lin LW, Chen TB. Quantifying liver cirrhosis by extracting significant features from MRI T2 image. ScientificWorldJournal 2012; 2012: 343847 [PMID: 22778696 DOI: 10.1100/2012/343847]

80 Balassy C, Feier D, Peck-Radosavljevic M, Wrba F, Witoszynskyj S, Kiefer B, Reiter G, Dai Y, Ba-Ssalamah A. Susceptibility-weighted MR imaging in the grading of liver fibrosis: a feasibility study. Radiology 2014; 270: 149-158 [PMID: 23925270 DOI: 10.1148/radiol.13122440]

81 Feier D, Balassy C, Bastati N, Stift J, Badea R, Ba-Ssalamah A. Liver fibrosis: histopathologic and biochemical influences on diagnostic efficacy of hepatobiliary contrast-enhanced MR imaging in staging. Radiology 2013; 269: 460-468 [PMID: 23878281 DOI: 10.1148/radiol.13122482]

82 Norén B, Forsgren MF, Dahlqvist Leinhard O, Dahlström N, Kihlberg J, Romu T, Kechagias S, Almer S, Smedby Ö, Lundberg P. Separation of advanced from mild hepatic fibrosis by quantification of the hepatobiliary uptake of Gd-EOB-DTPA. Eur Radiol 2013; 23: 174-181 [PMID: 22836161 DOI: 10.1007/s00330-012-2583-2]

83 Verloh N, Haimerl M, Rennert J, Müller-Wille R, Nießen C, Kirchner G, Scherer MN, Schreyer AG, Stroszczynski C, Fellner C, Wiggermann P. Impact of liver cirrhosis on liver enhancement at Gd-EOB-DTPA enhanced MRI at 3 Tesla. Eur J Radiol 2013; 82: 1710-1715 [PMID: 23806531 DOI: 10.1016/j.ejrad.2013.05.033]

84 Nojiri S, Kusakabe A, Fujiwara K, Shinkai N, Matsuura K, Iio E, Miyaki T, Joh T. Noninvasive evaluation of hepatic fibrosis in hepatitis C virus-infected patients using ethoxybenzyl-magnetic resonance imaging. J Gastroenterol Hepatol 2013; 28: 1032-1039 [PMID: 23432660 DOI: 10.1111/jgh.12181]

85 Goshima S, Kanematsu M, Watanabe H, Kondo H, Kawada H, Moriyama N, Bae KT. Gd-EOB-DTPA-enhanced MR imaging: prediction of hepatic fibrosis stages using liver contrast enhancement index and liver-to-spleen volumetric ratio. J Magn Reson Imaging 2012; 36: 1148-1153 [PMID: 22848019 DOI: 10.1002/jmri.23758]

86 Kim HY, Choi JY, Park CH, Song MJ, Song do S, Kim CW, Bae SH, Yoon SK, Lee YJ, Rha SE. Clinical factors predictive of insufficient liver enhancement on the hepatocyte-phase of Gd-EOB-DTPA-enhanced magnetic resonance imaging in patients with liver cirrhosis. J Gastroenterol 2013; 48: 1180-1187 [PMID: 23354621 DOI: 10.1007/s00535-012-0740-7]

87 Nilsson H, Blomqvist L, Douglas L, Nordell A, Janczewska I, Näslund E, Jonas E. Gd-EOB-DTPA-enhanced MRI for the assessment of liver function and volume in liver cirrhosis. Br J Radiol 2013; 86: 20120653 [PMID: 23403453 DOI: 10.1259/bjr.20120653]

88 Hagiwara M, Rusinek H, Lee VS, Losada M, Bannan MA, Krinsky GA, Taouli B. Advanced liver fibrosis: diagnosis with 3D whole-liver perfusion MR imaging--initial experience. Radiology 2008; 246: 926-934 [PMID: 18195377 DOI: 10.1148/radiol.2463070077]

89 Cece H, Ercan A, Yıldız S, Karakas E, Karakas O, Boyacı FN, Aydogan T, Karakas EY, Cullu N, Ulas T. The use of DWI to assess spleen and liver quantitative ADC changes in the detection of liver fibrosis stages in chronic viral hepatitis. Eur J Radiol 2013; 82: e307-e312 [PMID: 23518145 DOI: 10.1016/j.ejrad.2013.02.022]

90 Tosun M, Inan N, Sarisoy HT, Akansel G, Gumustas S, Gürbüz Y, Demirci A. Diagnostic performance of conventional diffusion weighted imaging and diffusion tensor imaging for the liver fibrosis and inflammation. Eur J Radiol 2013; 82: 203-207 [PMID: 23122674 DOI: 10.1016/j.ejrad.2012.09.009]

91 Onur MR, Poyraz AK, Bozdag PG, Onder S, Aygun C. Diffusion weighted MRI in chronic viral hepatitis: correlation between ADC values and histopathological scores. Insights Imaging 2013; 4: 339-345 [PMID: 23666523 DOI: 10.1007/s13244-013-0252-x]

92 Bülow R, Mensel B, Meffert P, Hernando D, Evert M, Kühn JP. Diffusion-weighted magnetic resonance imaging for staging liver fibrosis is less reliable in the presence of fat and iron. Eur Radiol 2013; 23: 1281-1287 [PMID: 23138385 DOI: 10.1007/s00330-012-2700-2]

93 Wang QB, Zhu H, Liu HL, Zhang B. Performance of magnetic resonance elastography and diffusion-weighted imaging for the staging of hepatic fibrosis: A meta-analysis. Hepatology 2012; 56: 239-247 [PMID: 22278368 DOI: 10.1002/hep.25610]

94 Noren B, Dahlqvist O, Lundberg P, Almer S, Kechagias S, Ekstedt M, Franzén L, Wirell S, Smedby O. Separation of advanced from mild fibrosis in diffuse liver disease using 31P magnetic resonance spectroscopy. Eur J Radiol 2008; 66: 313-320 [PMID: 17646074 DOI: 10.1016/j.ejrad.2007.06.004]

95 Norén B, Lundberg P, Ressner M, Wirell S, Almer S, Smedby O. Absolute quantification of human liver metabolite concentrations by localized in vivo 31P NMR spectroscopy in diffuse liver disease. Eur Radiol 2005; 15: 148-157 [PMID: 15351899 DOI: 10.1007/s00330-004-2434-x]

96 Lim AK, Patel N, Hamilton G, Hajnal JV, Goldin RD, Taylor-Robinson SD. The relationship of in vivo 31P MR spectroscopy to histology in chronic hepatitis C. Hepatology 2003; 37: 788-794 [PMID: 12668971 DOI: 10.1053/jhep.2003.50149]

97 Corbin IR, Ryner LN, Singh H, Minuk GY. Quantitative hepatic phosphorus-31 magnetic resonance spectroscopy in compensated and decompensated cirrhosis. Am J Physiol Gastrointest Liver Physiol 2004; 287: G379-G384 [PMID: 15191882 DOI: 10.1152/ajpgi.00418.2003]

98 Dezortova M, Taimr P, Skoch A, Spicak J, Hajek M. Etiology and functional status of liver cirrhosis by 31P MR spectroscopy. World J Gastroenterol 2005; 11: 6926-6931 [PMID: 16437594].

99 Kiyono K, Shibata A, Sone S, Watanabe T, Oguchi M, Shikama N, Ichijo T, Kiyosawa K, Sodeyama T. Relationship of 31P MR spectroscopy to the histopathological grading of chronic hepatitis and response to therapy. Acta Radiol 1998; 39: 309-314 [PMID: 9571950 DOI: 10.1080/02841859809172201]

100 Yin M, Woollard J, Wang X, Torres VE, Harris PC, Ward CJ, Glaser KJ, Manduca A, Ehman RL. Quantitative assessment of hepatic fibrosis in an animal model with magnetic resonance elastography. Magn Reson Med 2007; 58: 346-353 [PMID: 17654577 DOI: 10.1002/mrm.21286]

101 Kim D, Kim WR, Talwalkar JA, Kim HJ, Ehman RL. Advanced fibrosis in nonalcoholic fatty liver disease: noninvasive assessment with MR elastography. Radiology 2013; 268: 411-419 [PMID: 23564711 DOI: 10.1148/radiol.13121193]

102 Ichikawa S, Motosugi U, Ichikawa T, Sano K, Morisaka H, Enomoto N, Matsuda M, Fujii H, Araki T. Magnetic resonance elastography for staging liver fibrosis in chronic hepatitis C. Magn Reson Med Sci 2012; 11: 291-297 [PMID: 23269016 DOI: 10.2463/mrms.11.291]

103 Venkatesh SK, Wang G, Lim SG, Wee A. Magnetic resonance elastography for the detection and staging of liver fibrosis in chronic hepatitis B. Eur Radiol 2014; 24: 70-78 [PMID: 23928932 DOI: 10.1007/s00330-013-2978-8]

104 Choi YR, Lee JM, Yoon JH, Han JK, Choi BI. Comparison of magnetic resonance elastography and gadoxetate disodium-enhanced magnetic resonance imaging for the evaluation of hepatic fibrosis. Invest Radiol 2013; 48: 607-613 [PMID: 23538889 DOI: 10.1097/RLI.0b013e318289ff8f]

105 Chen J, Talwalkar JA, Yin M, Glaser KJ, Sanderson SO, Ehman RL. Early detection of nonalcoholic steatohepatitis in patients with nonalcoholic fatty liver disease by using MR elastography. Radiology 2011; 259: 749-756 [PMID: 21460032 DOI: 10.1148/radiol.11101942]

106 Bonekamp S, Kamel I, Solga S, Clark J. Can imaging modalities diagnose and stage hepatic fibrosis and cirrhosis accurately? J Hepatol 2009; 50: 17-35 [PMID: 19022517 DOI: 10.1016/j.jhep.2008.10.016]

107 Shaheen AA, Wan AF, Myers RP. FibroTest and FibroScan for the prediction of hepatitis C-related fibrosis: a systematic review of diagnostic test accuracy. Am J Gastroenterol 2007; 102: 2589-2600 [PMID: 17850410 DOI: 10.1111/j.1572-0241.2007.01466.x]

108 Talwalkar JA, Kurtz DM, Schoenleber SJ, West CP, Montori VM. Ultrasound-based transient elastography for the detection of hepatic fibrosis: systematic review and meta-analysis. Clin Gastroenterol Hepatol 2007; 5: 1214-1220 [PMID: 17916549 DOI: 10.1016/j.cgh.2007.07.020]

109 Friedrich-Rust M, Ong MF, Martens S, Sarrazin C, Bojunga J, Zeuzem S, Herrmann E. Performance of transient elastography for the staging of liver fibrosis: a meta-analysis. Gastroenterology 2008; 134: 960-974 [PMID: 18395077 DOI: 10.1053/j.gastro.2008.01.034]

110 Tsochatzis EA, Gurusamy KS, Ntaoula S, Cholongitas E, Davidson BR, Burroughs AK. Elastography for the diagnosis of severity of fibrosis in chronic liver disease: a meta-analysis of diagnostic accuracy. J Hepatol 2011; 54: 650-659 [PMID: 21146892 DOI: 10.1016/j.jhep.2010.07.033]

111 Adebajo CO, Talwalkar JA, Poterucha JJ, Kim WR, Charlton MR. Ultrasound-based transient elastography for the detection of hepatic fibrosis in patients with recurrent hepatitis C virus after liver transplantation: a systematic review and meta-analysis. Liver Transpl 2012; 18: 323-331 [PMID: 22140010 DOI: 10.1002/lt.22460]

112 Stebbing J, Farouk L, Panos G, Anderson M, Jiao LR, Mandalia S, Bower M, Gazzard B, Nelson M. A meta-analysis of transient elastography for the detection of hepatic fibrosis. J Clin Gastroenterol 2010; 44: 214-219 [PMID: 19745758 DOI: 10.1097/MCG.0b013e3181b4af1f]

113 Abd El Rihim AY, Omar RF, Fathalah W, El Attar I, Hafez HA, Ibrahim W. Role of fibroscan and APRI in detection of liver fibrosis: a systematic review and meta-analysis. Arab J Gastroenterol 2013; 14: 44-50 [PMID: 23820499 DOI: 10.1016/j.ajg.2013.05.002]

114 Chon YE, Choi EH, Song KJ, Park JY, Kim do Y, Han KH, Chon CY, Ahn SH, Kim SU. Performance of transient elastography for the staging of liver fibrosis in patients with chronic hepatitis B: a meta-analysis. PLoS One 2012; 7: e44930 [PMID: 23049764 DOI: 10.1371/journal.pone.0044930]

115 Nierhoff J, Chávez Ortiz AA, Herrmann E, Zeuzem S, Friedrich-Rust M. The efficiency of acoustic radiation force impulse imaging for the staging of liver fibrosis: a meta-analysis. Eur Radiol 2013; 23: 3040-3053 [PMID: 23801420 DOI: 10.1007/s00330-013-2927-6]

P-Reviewer: S-Editor: Ma YJ L-Editor:  E-Editor:

Table 1 diagnostic performance of transient elastography for the diagnosis of cirrhosis in different chronic liver disease from different etiology, data from meta-analysis

| Meta-analysis | Number of studies | Etiology | Cut-off (kPa) | Sensitivity | Specificity | AUROC |
| --- | --- | --- | --- | --- | --- | --- |
| Bota et al[54] | 13 | Various | - | 89% | 87% | - |
| Shaheen et al[107] | 4 | HCV | 12.5 | 86% | 93% | 0.95 |
| Talwalkar et al[108] | 9 | Various | - | 87% | 91% | - |
| Friedrich-Rust et al[109] | 50 | Various | - | - | - | 0.94 |
| Tsochatzis et al[110] | 40 | HCV | 15 ± 4.1 | 83% | 89% | - |
| Adebajo et al[111] | 5 | HCV | - | 98% | 84% | - |
| Stebbing et al[112] | 22 | Various | 15.08 | 84.45% | 94.69% | - |
| Abd El Rihim et al[113] | 23 | Various | - | 83.4% | 92.4% | - |
| Chon et al[114] | 18 | HBV | 11.7 | 84.6% | 81.5% | 0.929 |

AUROC: area under receiver operating characteristic; HCV: hepatitis C virus; HBV: hepatitis B virus.

Table 2 diagnostic performance of acoustic radiation force impulse for the diagnosis of cirrhosis in different chronic liver disease from different etiology, data from main published meta-analysis

| Meta-analysis | Number of studies | Etiology | Cut-off (m/s) | Sensitivity | Specificity | AUROC |
| --- | --- | --- | --- | --- | --- | --- |
| Bota et al[54] | 13 | Various | - | 87% | 87% | - |
| Friedrich-Rust et al[58] | 9 | Various | 1.80 | - | - | 0.93 |
| Nierhoff et al[115] | 36 | Various | 1.87 | - | - | 0.91 |

AUROC: area under receiver operating characteristic.